## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-241_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-241_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-241_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-241_0_4_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_2701-241_0_4_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_2701-241_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_2701-241_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2701-241_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_2701-241_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2701-241_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2701-241_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2701-241_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2701-241_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2701-241_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2701-241_0_4_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_2701-241_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2701-241_0_4_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_2701-241_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_2701-241_0_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_2701-241_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_2701-241_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2701-241_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2701-241_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2701-241_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2701-241_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2701-241_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_2701-241_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2701-241_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2701-241_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2701-241_0_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_2701-241_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2701-241_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_2701-241_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2701-241_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2701-241_0_4_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_2701-241_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2701-241_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2701-241_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2701-241_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2701-241_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2701-241_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2701-241_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2701-241_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2701-241_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_2701-241_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_2701-241_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_2701-241_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_2701-241_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_MV_570_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-241_0_4_load_0 | 0 | 0.0050899 | 0.0012757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-241_0_4_load_3 | 2 | 0.00050886 | 0.00012753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-241_0_4_load_50 | 4 | 0.0092697 | 0.0023232 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-241_0_4_load_45 | 6 | 0.0037533 | 0.00094066 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-241_0_4_load_31 | 7 | 0.00038874 | 9.7428e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-241_0_4_load_32 | 8 | 0.0007575 | 0.00018985 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-241_0_4_load_10 | 9 | 0.0015052 | 0.00037724 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-241_0_4_load_11 | 10 | 0.02327 | 0.0058319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-241_0_4_load_12 | 11 | 0.0098585 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-241_0_4_load_13 | 12 | 0.011821 | 0.0029626 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-241_0_4_load_14 | 13 | 0.00061368 | 0.0001538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-241_0_4_load_71 | 14 | 0.0028271 | 0.00070853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-241_0_4_load_25 | 15 | 0.0012005 | 0.00030088 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-241_0_4_load_68 | 16 | 0.009856 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-241_0_4_load_76 | 17 | 0.0070554 | 0.0017682 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-241_0_4_load_23 | 19 | 0.00075437 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-241_0_4_load_15 | 20 | 0.0029115 | 0.00072968 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-241_0_4_load_16 | 21 | 0.0046195 | 0.0011578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-241_0_4_load_18 | 23 | 0.01486 | 0.0037243 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-241_0_4_load_58 | 25 | 0.0047309 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-241_0_4_load_33 | 28 | 0.0055983 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-241_0_4_load_60 | 29 | 0.00065546 | 0.00016427 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-241_0_4_load_49 | 30 | 0.0092586 | 0.0023204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-241_0_4_load_77 | 31 | 0.00016272 | 4.0781e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-241_0_4_load_24 | 32 | 0.001196 | 0.00029974 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-241_0_4_load_26 | 33 | 0.0011885 | 0.00029786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-241_0_4_load_72 | 34 | 0.002376 | 0.00059548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-241_0_4_load_36 | 35 | 0.050907 | 0.012758 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-241_0_4_load_70 | 36 | 0.0021241 | 0.00053235 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-241_0_4_load_37 | 37 | 0.0016734 | 0.00041939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-241_0_4_load_38 | 38 | 0.0010332 | 0.00025895 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-241_0_4_load_39 | 39 | 0.00075087 | 0.00018819 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-241_0_4_load_41 | 40 | 0.0016701 | 0.00041856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-241_0_4_load_40 | 41 | 0.00067762 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-241_0_4_load_46 | 42 | 0.0092664 | 0.0023224 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-241_0_4_load_47 | 43 | 0.012584 | 0.0031537 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-241_0_4_load_53 | 45 | 0.00028213 | 7.071e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-241_0_4_load_52 | 46 | 0.0050589 | 0.0012679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-241_0_4_load_54 | 47 | 0.00083238 | 0.00020861 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-241_0_4_line_0 |  | 0 | 1 | 0.0055523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-241_0_4_line_1 |  | 1 | 2 | 0.077451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-241_0_4_line_2 |  | 2 | 3 | 0.10318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-241_0_4_line_3 |  | 3 | 6 | 0.052477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-241_0_4_line_4 |  | 3 | 14 | 0.043844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-241_0_4_line_5 |  | 4 | 5 | 0.034033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-241_0_4_line_6 |  | 4 | 6 | 0.035487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2701-241_0_4_line_7 |  | 5 | 44 | 0.068593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-241_0_4_line_8 |  | 5 | 39 | 0.048615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-241_0_4_line_9 |  | 5 | 42 | 0.03588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-241_0_4_line_10 |  | 7 | 8 | 0.051086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-241_0_4_line_11 |  | 8 | 30 | 0.052785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-241_0_4_line_12 |  | 8 | 26 | 0.026697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-241_0_4_line_13 |  | 9 | 10 | 0.00086375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-241_0_4_line_14 |  | 9 | 11 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-241_0_4_line_15 |  | 10 | 12 | 0.0097842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-241_0_4_line_16 |  | 11 | 13 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-241_0_4_line_17 |  | 12 | 15 | 0.0017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-241_0_4_line_18 |  | 13 | 16 | 0.021407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-241_0_4_line_19 |  | 14 | 35 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-241_0_4_line_20 |  | 15 | 19 | 0.0034492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-241_0_4_line_21 |  | 16 | 18 | 0.052349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-241_0_4_line_22 |  | 17 | 18 | 0.12223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-241_0_4_line_23 |  | 19 | 32 | 0.0090346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-241_0_4_line_24 |  | 20 | 21 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-241_0_4_line_25 |  | 20 | 22 | 0.039149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-241_0_4_line_26 |  | 21 | 23 | 0.034568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-241_0_4_line_27 |  | 22 | 24 | 0.021649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-241_0_4_line_28 |  | 23 | 25 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-241_0_4_line_29 |  | 24 | 29 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-241_0_4_line_30 |  | 24 | 26 | 0.027837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-241_0_4_line_31 |  | 26 | 27 | 0.032106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-241_0_4_line_32 |  | 27 | 28 | 0.032167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-241_0_4_line_33 |  | 29 | 31 | 0.037771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-241_0_4_line_34 |  | 30 | 43 | 0.030222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-241_0_4_line_35 |  | 31 | 41 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-241_0_4_line_36 |  | 32 | 33 | 0.012372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-241_0_4_line_37 |  | 33 | 34 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-241_0_4_line_38 |  | 34 | 36 | 0.033686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-241_0_4_line_39 |  | 35 | 36 | 0.018952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-241_0_4_line_40 |  | 37 | 38 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-241_0_4_line_41 |  | 37 | 39 | 0.0029883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-241_0_4_line_42 |  | 39 | 40 | 0.0010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-241_0_4_line_43 |  | 42 | 43 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-241_0_4_line_44 |  | 44 | 45 | 0.024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-241_0_4_line_45 |  | 45 | 46 | 0.00060903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-241_0_4_line_46 |  | 46 | 47 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-241_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 48 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2612236.545 | 1270288.6539 | 2612236.5919 | 1270294.206
1 | 2612236.545 | 1270288.6539 | 2612216.3544 | 1270213.8809
2 | 2612207.2622 | 1270111.101 | 2612216.3544 | 1270213.8809
3 | 2612207.2622 | 1270111.101 | 2612185.8778 | 1270120.0968 | 2612156.869 | 1270124.0557
4 | 2612207.2622 | 1270111.101 | 2612201.4985 | 1270067.6371
5 | 2612128.6061 | 1270170.5042 | 2612160.752 | 1270159.3295
6 | 2612156.869 | 1270124.0557 | 2612160.752 | 1270159.3295
7 | 2612151.404 | 1270235.2189 | 2612128.6061 | 1270170.5042
8 | 2612122.183 | 1270122.3153 | 2612128.6061 | 1270170.5042
9 | 2612128.6061 | 1270170.5042 | 2612094.7164 | 1270182.2875
10 | 2611985.7638 | 1270206.1257 | 2611992.0855 | 1270225.5437 | 2611963.7603 | 1270237.2914
11 | 2611985.7638 | 1270206.1257 | 2612038.3777 | 1270201.8762
12 | 2611976.4519 | 1270181.1362 | 2611981.2368 | 1270192.2204 | 2611985.7638 | 1270206.1257
13 | 2612156.4708 | 1269972.8119 | 2612156.1536 | 1269972.0085
14 | 2612156.1536 | 1269972.0085 | 2612146.2351 | 1269946.8866
15 | 2612156.4708 | 1269972.8119 | 2612160.0639 | 1269981.9124
16 | 2612146.2351 | 1269946.8866 | 2612142.1076 | 1269936.4325 | 2612140.336 | 1269932.2991
17 | 2612160.6891 | 1269983.4961 | 2612160.0639 | 1269981.9124
18 | 2612131.9029 | 1269912.6232 | 2612140.336 | 1269932.2991
19 | 2612186.4947 | 1270055.1858 | 2612201.4985 | 1270067.6371
20 | 2612160.6891 | 1269983.4961 | 2612161.1184 | 1269984.5833 | 2612161.9205 | 1269986.7179
21 | 2612111.2804 | 1269864.5075 | 2612131.9029 | 1269912.6232
22 | 2611989.6061 | 1269876.1516 | 2612111.2804 | 1269864.5075
23 | 2612161.9205 | 1269986.7179 | 2612165.0986 | 1269995.1751
24 | 2611966.9778 | 1270120.5601 | 2611965.9082 | 1270115.8687 | 2611962.2232 | 1270104.7817
25 | 2611975.249 | 1270158.3843 | 2611972.6629 | 1270153.7314 | 2611970.5775 | 1270147.0113 | 2611969.7935 | 1270132.9108 | 2611966.9778 | 1270120.5601
26 | 2611962.2232 | 1270104.7817 | 2611951.3201 | 1270071.9782
27 | 2611975.249 | 1270158.3843 | 2611978.4727 | 1270160.2477 | 2611981.0025 | 1270162.977 | 2611982.6207 | 1270166.3271 | 2611992.3185 | 1270162.3438
28 | 2611941.8989 | 1270043.633 | 2611951.3201 | 1270071.9782
29 | 2611992.3185 | 1270162.3438 | 2612003.2291 | 1270158.4603
30 | 2611992.3185 | 1270162.3438 | 2611982.6207 | 1270166.3271 | 2611983.178 | 1270169.7528 | 2611982.7799 | 1270173.1878 | 2611981.4418 | 1270176.3985 | 2611979.2772 | 1270179.1072 | 2611976.4519 | 1270181.1362
31 | 2611948.7737 | 1270177.7559 | 2611954.2996 | 1270175.7989 | 2611958.734 | 1270174.1622 | 2611960.3902 | 1270177.3345 | 2611962.8752 | 1270179.9191 | 2611965.9937 | 1270181.6933 | 2611969.4827 | 1270182.5232 | 2611973.0717 | 1270182.3303 | 2611976.4519 | 1270181.1362
32 | 2611948.7737 | 1270177.7559 | 2611944.7378 | 1270179.4823 | 2611918.3764 | 1270188.2363
33 | 2612038.813 | 1270145.7947 | 2612003.2291 | 1270158.4603
34 | 2612038.3777 | 1270201.8762 | 2612066.9234 | 1270191.951
35 | 2612038.813 | 1270145.7947 | 2612053.1553 | 1270140.6897
36 | 2612169.4505 | 1270006.7564 | 2612165.0986 | 1269995.1751
37 | 2612169.4505 | 1270006.7564 | 2612180.396 | 1270005.0415
38 | 2612191.3951 | 1270036.8784 | 2612186.9193 | 1270023.2525 | 2612180.396 | 1270005.0415
39 | 2612186.4947 | 1270055.1858 | 2612191.3951 | 1270036.8784
40 | 2612119.2203 | 1270122.7058 | 2612106.3857 | 1270124.3975
41 | 2612119.2203 | 1270122.7058 | 2612122.183 | 1270122.3153
42 | 2612123.194 | 1270122.182 | 2612122.183 | 1270122.3153
43 | 2612094.7164 | 1270182.2875 | 2612066.9234 | 1270191.951
44 | 2612151.404 | 1270235.2189 | 2612160.1316 | 1270257.8452
45 | 2612160.1316 | 1270257.8452 | 2612160.3508 | 1270258.4134
46 | 2612160.3508 | 1270258.4134 | 2612165.8246 | 1270272.6045

## bus_geodata
| x | y | coords
0 | 2612236.5919 | 1270294.206
1 | 2612236.545 | 1270288.6539
2 | 2612216.3544 | 1270213.8809
3 | 2612207.2622 | 1270111.101
4 | 2612160.752 | 1270159.3295
5 | 2612128.6061 | 1270170.5042
6 | 2612156.869 | 1270124.0557
7 | 2611963.7603 | 1270237.2914
8 | 2611985.7638 | 1270206.1257
9 | 2612156.1536 | 1269972.0085
10 | 2612156.4708 | 1269972.8119
11 | 2612146.2351 | 1269946.8866
12 | 2612160.0639 | 1269981.9124
13 | 2612140.336 | 1269932.2991
14 | 2612201.4985 | 1270067.6371
15 | 2612160.6891 | 1269983.4961
16 | 2612131.9029 | 1269912.6232
17 | 2611989.6061 | 1269876.1516
18 | 2612111.2804 | 1269864.5075
19 | 2612161.9205 | 1269986.7179
20 | 2611966.9778 | 1270120.5601
21 | 2611962.2232 | 1270104.7817
22 | 2611975.249 | 1270158.3843
23 | 2611951.3201 | 1270071.9782
24 | 2611992.3185 | 1270162.3438
25 | 2611941.8989 | 1270043.633
26 | 2611976.4519 | 1270181.1362
27 | 2611948.7737 | 1270177.7559
28 | 2611918.3764 | 1270188.2363
29 | 2612003.2291 | 1270158.4603
30 | 2612038.3777 | 1270201.8762
31 | 2612038.813 | 1270145.7947
32 | 2612165.0986 | 1269995.1751
33 | 2612169.4505 | 1270006.7564
34 | 2612180.396 | 1270005.0415
35 | 2612186.4947 | 1270055.1858
36 | 2612191.3951 | 1270036.8784
37 | 2612119.2203 | 1270122.7058
38 | 2612106.3857 | 1270124.3975
39 | 2612122.183 | 1270122.3153
40 | 2612123.194 | 1270122.182
41 | 2612053.1553 | 1270140.6897
42 | 2612094.7164 | 1270182.2875
43 | 2612066.9234 | 1270191.951
44 | 2612151.404 | 1270235.2189
45 | 2612160.1316 | 1270257.8452
46 | 2612160.3508 | 1270258.4134
47 | 2612165.8246 | 1270272.6045
48 | 2612207.2622 | 1270111.101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98642 | -0.2588 | 0.0050899 | 0.0012757
1 | 0.98645 | -0.2583 | 0 | 0
2 | 0.98681 | -0.25124 | 0.00050886 | 0.00012753
3 | 0.98734 | -0.2409 | 0 | 0
4 | 0.99281 | -0.13635 | 0.0092697 | 0.0023232
5 | 0.9951 | -0.092758 | 0 | 0
6 | 0.99057 | -0.17909 | 0.0037533 | 0.00094066
7 | 0.98839 | -0.22222 | 0.00038874 | 9.7428e-05
8 | 0.98841 | -0.22186 | 0.0007575 | 0.00018985
9 | 0.9736 | -0.50881 | 0.0015052 | 0.00037724
10 | 0.97362 | -0.50835 | 0.02327 | 0.0058319
11 | 0.97291 | -0.52242 | 0.0098585 | 0.0024708
12 | 0.97409 | -0.49897 | 0.011821 | 0.0029626
13 | 0.97265 | -0.5275 | 0.00061368 | 0.0001538
14 | 0.98219 | -0.34063 | 0.0028271 | 0.00070853
15 | 0.9742 | -0.49697 | 0.0012005 | 0.00030088
16 | 0.97231 | -0.53418 | 0.009856 | 0.0024702
17 | 0.97116 | -0.55692 | 0.0070554 | 0.0017682
18 | 0.97197 | -0.541 | 0 | 0
19 | 0.97441 | -0.49284 | 0.00075437 | 0.00018906
20 | 0.98531 | -0.28199 | 0.0029115 | 0.00072968
21 | 0.98495 | -0.28916 | 0.0046195 | 0.0011578
22 | 0.98629 | -0.26294 | 0 | 0
23 | 0.98432 | -0.30134 | 0.01486 | 0.0037243
24 | 0.98683 | -0.25243 | 0 | 0
25 | 0.98419 | -0.30388 | 0.0047309 | 0.0011857
26 | 0.98757 | -0.23818 | 0 | 0
27 | 0.9874 | -0.24139 | 0 | 0
28 | 0.98724 | -0.24461 | 0.0055983 | 0.0014031
29 | 0.98682 | -0.25274 | 0.00065546 | 0.00016427
30 | 0.99013 | -0.18861 | 0.0092586 | 0.0023204
31 | 0.98679 | -0.25331 | 0.00016272 | 4.0781e-05
32 | 0.97496 | -0.48191 | 0.001196 | 0.00029974
33 | 0.97573 | -0.46669 | 0.0011885 | 0.00029786
34 | 0.97644 | -0.45284 | 0.002376 | 0.00059548
35 | 0.97994 | -0.38432 | 0.050907 | 0.012758
36 | 0.97866 | -0.4094 | 0.0021241 | 0.00053235
37 | 0.99999 | -0.000141 | 0.0016734 | 0.00041939
38 | 0.99998 | -0.00037418 | 0.0010332 | 0.00025895
39 | 1 | 0 | -0.22759 | -0.058062
40 | 1 | -2.9684e-05 | 0.0016701 | 0.00041856
41 | 0.98678 | -0.25349 | 0.00067762 | 0.00016983
42 | 0.99291 | -0.13484 | 0.0092664 | 0.0023224
43 | 0.99137 | -0.16465 | 0.012584 | 0.0031537
44 | 0.99472 | -0.10022 | 0 | 0
45 | 0.99458 | -0.10286 | 0.00028213 | 7.071e-05
46 | 0.99458 | -0.10292 | 0.0050589 | 0.0012679
47 | 0.99456 | -0.10314 | 0.00083238 | 0.00020861
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050899 | -0.0012757 | 0.0050901 | 0.0012757 | 1.2275e-07 | 7.6791e-09 | 0.0076781 | 0.0076781 | 0.0076781 | 0.98642 | -0.2588 | 0.98645 | -0.2583 | 2.1094
1 | -0.0050901 | -0.0012757 | 0.0050918 | 0.0012758 | 1.7122e-06 | 1.0668e-07 | 0.0076781 | 0.0076778 | 0.0076781 | 0.98645 | -0.2583 | 0.98681 | -0.25124 | 2.1094
2 | -0.0056006 | -0.0014033 | 0.0056034 | 0.0014038 | 2.7594e-06 | 4.4711e-07 | 0.0084451 | 0.0084446 | 0.0084451 | 0.98681 | -0.25124 | 0.98734 | -0.2409 | 2.3201
3 | -0.13347 | -0.033957 | 0.13387 | 0.034211 | 0.00039884 | 0.00025391 | 0.20133 | 0.20133 | 0.20133 | 0.98734 | -0.2409 | 0.99057 | -0.17909 | 27.6556
4 | 0.12787 | 0.032553 | -0.12726 | -0.032162 | 0.00061173 | 0.00039095 | 0.19289 | 0.19289 | 0.19289 | 0.98734 | -0.2409 | 0.98219 | -0.34063 | 52.9914
5 | -0.14718 | -0.037656 | 0.14749 | 0.037854 | 0.00031128 | 0.00019833 | 0.22086 | 0.22086 | 0.22086 | 0.99281 | -0.13635 | 0.9951 | -0.092758 | 30.3384
6 | 0.13791 | 0.035333 | -0.13762 | -0.035151 | 0.00028503 | 0.0001815 | 0.20697 | 0.20697 | 0.20697 | 0.99281 | -0.13635 | 0.99057 | -0.17909 | 28.43
7 | 0.0061764 | 0.0015477 | -0.0061742 | -0.0015472 | 2.1942e-06 | 5.1353e-07 | 0.0092358 | 0.0092361 | 0.0092361 | 0.9951 | -0.092758 | 0.99472 | -0.10022 | 2.5374
8 | -0.22057 | -0.056331 | 0.22156 | 0.056965 | 0.00099384 | 0.00063479 | 0.3302 | 0.3302 | 0.3302 | 0.9951 | -0.092758 | 1 | 0 | 45.3567
9 | 0.066902 | 0.016928 | -0.066767 | -0.016843 | 0.00013481 | 8.5816e-05 | 0.1001 | 0.1001 | 0.1001 | 0.9951 | -0.092758 | 0.99291 | -0.13484 | 27.4997
10 | -0.00038874 | -9.7428e-05 | 0.00038875 | 9.6777e-05 | 6.559e-09 | -6.5055e-07 | 0.00058525 | 0.00058502 | 0.00058525 | 0.98839 | -0.22222 | 0.98841 | -0.22186 | 0.16078
11 | -0.035469 | -0.0089261 | 0.035525 | 0.0089615 | 5.6467e-05 | 3.5461e-05 | 0.053411 | 0.05341 | 0.053411 | 0.98841 | -0.22186 | 0.99013 | -0.18861 | 14.6732
12 | 0.034323 | 0.0086394 | -0.034296 | -0.0086227 | 2.6743e-05 | 1.6774e-05 | 0.051685 | 0.051685 | 0.051685 | 0.98841 | -0.22186 | 0.98757 | -0.23818 | 14.1992
13 | -0.028924 | -0.0072597 | 0.028924 | 0.0072601 | 6.3308e-07 | 3.9443e-07 | 0.04421 | 0.04421 | 0.04421 | 0.9736 | -0.50881 | 0.97362 | -0.50835 | 12.1457
14 | 0.027419 | 0.0068824 | -0.027401 | -0.0068714 | 1.779e-05 | 1.105e-05 | 0.04191 | 0.04191 | 0.04191 | 0.9736 | -0.50881 | 0.97291 | -0.52242 | 11.5137
15 | -0.052194 | -0.013092 | 0.052217 | 0.013107 | 2.3349e-05 | 1.4822e-05 | 0.079774 | 0.079774 | 0.079774 | 0.97362 | -0.50835 | 0.97409 | -0.49897 | 21.9159
16 | 0.017542 | 0.0044006 | -0.017538 | -0.0043981 | 4.2485e-06 | 2.5237e-06 | 0.026832 | 0.026832 | 0.026832 | 0.97291 | -0.52242 | 0.97265 | -0.5275 | 7.3714
17 | -0.064038 | -0.016069 | 0.064044 | 0.016073 | 6.111e-06 | 3.8899e-06 | 0.097831 | 0.097831 | 0.097831 | 0.97409 | -0.49897 | 0.9742 | -0.49697 | 26.8768
18 | 0.016924 | 0.0042443 | -0.016919 | -0.0042411 | 5.3821e-06 | 3.1789e-06 | 0.025893 | 0.025893 | 0.025893 | 0.97265 | -0.5275 | 0.97231 | -0.53418 | 7.1135
19 | 0.12443 | 0.031454 | -0.12417 | -0.031287 | 0.00026008 | 0.00016621 | 0.18861 | 0.18861 | 0.18861 | 0.98219 | -0.34063 | 0.97994 | -0.38432 | 51.8147
20 | -0.065245 | -0.016374 | 0.065258 | 0.016382 | 1.2848e-05 | 8.1798e-06 | 0.099665 | 0.099665 | 0.099665 | 0.9742 | -0.49697 | 0.97441 | -0.49284 | 27.3805
21 | 0.007063 | 0.001771 | -0.0070607 | -0.0017702 | 2.2938e-06 | 8.19e-07 | 0.010809 | 0.01081 | 0.01081 | 0.97231 | -0.53418 | 0.97197 | -0.541 | 2.9697
22 | -0.0070554 | -0.0017682 | 0.0070607 | 0.0017702 | 5.3563e-06 | 1.9143e-06 | 0.01081 | 0.01081 | 0.01081 | 0.97116 | -0.55692 | 0.97197 | -0.541 | 2.9699
23 | -0.066012 | -0.016571 | 0.066047 | 0.016593 | 3.4436e-05 | 2.1926e-05 | 0.10082 | 0.10082 | 0.10082 | 0.97441 | -0.49284 | 0.97496 | -0.48191 | 27.697
24 | 0.024231 | 0.0060797 | -0.024223 | -0.0060746 | 8.2842e-06 | 5.0919e-06 | 0.036596 | 0.036596 | 0.036596 | 0.98531 | -0.28199 | 0.98495 | -0.28916 | 10.0538
25 | -0.027142 | -0.0068094 | 0.027167 | 0.0068246 | 2.467e-05 | 1.529e-05 | 0.040993 | 0.040992 | 0.040993 | 0.98531 | -0.28199 | 0.98629 | -0.26294 | 11.2617
26 | 0.019603 | 0.0049168 | -0.019592 | -0.00491 | 1.1371e-05 | 6.8376e-06 | 0.029617 | 0.029617 | 0.029617 | 0.98495 | -0.28916 | 0.98432 | -0.30134 | 8.1366
27 | -0.027167 | -0.0068246 | 0.027181 | 0.0068331 | 1.3642e-05 | 8.4545e-06 | 0.040992 | 0.040992 | 0.040992 | 0.98629 | -0.26294 | 0.98683 | -0.25243 | 11.2617
28 | 0.0047314 | 0.0011857 | -0.0047309 | -0.0011857 | 5.7305e-07 | -1.2879e-08 | 0.0071525 | 0.0071527 | 0.0071527 | 0.98432 | -0.30134 | 0.98419 | -0.30388 | 1.965
29 | 0.0014959 | 0.00037409 | -0.0014958 | -0.00037422 | 2.2089e-08 | -1.3382e-07 | 0.0022553 | 0.0022553 | 0.0022553 | 0.98683 | -0.25243 | 0.98682 | -0.25274 | 0.61959
30 | -0.028676 | -0.0072072 | 0.028696 | 0.0072193 | 1.9524e-05 | 1.214e-05 | 0.043248 | 0.043248 | 0.043248 | 0.98683 | -0.25243 | 0.98757 | -0.23818 | 11.8812
31 | 0.0056 | 0.0014033 | -0.0055991 | -0.0014032 | 8.5719e-07 | 1.3787e-07 | 0.0084377 | 0.0084379 | 0.0084379 | 0.98757 | -0.23818 | 0.9874 | -0.24139 | 2.3181
32 | 0.0055991 | 0.0014032 | -0.0055983 | -0.0014031 | 8.5883e-07 | 1.3829e-07 | 0.0084379 | 0.008438 | 0.008438 | 0.9874 | -0.24139 | 0.98724 | -0.24461 | 2.3181
33 | 0.00084037 | 0.00020995 | -0.00084035 | -0.00021042 | 2.2739e-08 | -4.6798e-07 | 0.001267 | 0.0012671 | 0.0012671 | 0.98682 | -0.25274 | 0.98679 | -0.25331 | 0.34811
34 | -0.044784 | -0.011282 | 0.044835 | 0.011314 | 5.1369e-05 | 3.2487e-05 | 0.067325 | 0.067325 | 0.067325 | 0.99013 | -0.18861 | 0.99137 | -0.16465 | 18.4958
35 | 0.00067763 | 0.00016964 | -0.00067762 | -0.00016983 | 5.9603e-09 | -1.9067e-07 | 0.0010218 | 0.0010218 | 0.0010218 | 0.98679 | -0.25331 | 0.98678 | -0.25349 | 0.28072
36 | -0.067243 | -0.016893 | 0.067292 | 0.016924 | 4.8879e-05 | 3.1128e-05 | 0.10264 | 0.10264 | 0.10264 | 0.97496 | -0.48191 | 0.97573 | -0.46669 | 28.1985
37 | -0.06848 | -0.017222 | 0.068525 | 0.017251 | 4.533e-05 | 2.8873e-05 | 0.10445 | 0.10445 | 0.10445 | 0.97573 | -0.46669 | 0.97644 | -0.45284 | 28.6964
38 | -0.070901 | -0.017846 | 0.071049 | 0.01794 | 0.00014755 | 9.401e-05 | 0.10808 | 0.10808 | 0.10808 | 0.97644 | -0.45284 | 0.97866 | -0.4094 | 29.6911
39 | 0.073261 | 0.018529 | -0.073173 | -0.018473 | 8.8047e-05 | 5.6112e-05 | 0.11131 | 0.11131 | 0.11131 | 0.97994 | -0.38432 | 0.97866 | -0.4094 | 30.5783
40 | 0.0010332 | 0.00025878 | -0.0010332 | -0.00025895 | 1.1475e-08 | -1.6249e-07 | 0.0015374 | 0.0015375 | 0.0015375 | 0.99999 | -0.000141 | 0.99998 | -0.00037418 | 0.42238
41 | -0.0027066 | -0.00067818 | 0.0027066 | 0.00067815 | 1.8177e-08 | -2.7571e-08 | 0.0040275 | 0.0040275 | 0.0040275 | 0.99999 | -0.000141 | 1 | 0 | 1.1064
42 | 0.0016701 | 0.00041855 | -0.0016701 | -0.00041856 | 2.3617e-09 | -1.1867e-08 | 0.0024851 | 0.0024851 | 0.0024851 | 1 | 0 | 1 | -2.9684e-05 | 0.68273
43 | 0.057501 | 0.01452 | -0.057419 | -0.014468 | 8.2013e-05 | 5.2109e-05 | 0.086212 | 0.086212 | 0.086212 | 0.99291 | -0.13484 | 0.99137 | -0.16465 | 23.6846
44 | 0.0061742 | 0.0015472 | -0.0061735 | -0.001547 | 7.7579e-07 | 1.8175e-07 | 0.0092361 | 0.0092362 | 0.0092362 | 0.99472 | -0.10022 | 0.99458 | -0.10286 | 2.5374
45 | 0.0058913 | 0.0014763 | -0.0058913 | -0.0014763 | 1.7743e-08 | 3.4518e-09 | 0.0088141 | 0.0088141 | 0.0088141 | 0.99458 | -0.10286 | 0.99458 | -0.10292 | 2.4215
46 | 0.00083239 | 0.00020842 | -0.00083238 | -0.00020861 | 8.8457e-09 | -1.9172e-07 | 0.0012453 | 0.0012454 | 0.0012454 | 0.99458 | -0.10292 | 0.99456 | -0.10314 | 0.34213

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22834 | 0.05825

## res_load
| p_mw | q_mvar
0 | 0.0050899 | 0.0012757
1 | 0.00050886 | 0.00012753
2 | 0.0092697 | 0.0023232
3 | 0.0037533 | 0.00094066
4 | 0.00038874 | 9.7428e-05
5 | 0.0007575 | 0.00018985
6 | 0.0015052 | 0.00037724
7 | 0.02327 | 0.0058319
8 | 0.0098585 | 0.0024708
9 | 0.011821 | 0.0029626
10 | 0.00061368 | 0.0001538
11 | 0.0028271 | 0.00070853
12 | 0.0012005 | 0.00030088
13 | 0.009856 | 0.0024702
14 | 0.0070554 | 0.0017682
15 | 0.00075437 | 0.00018906
16 | 0.0029115 | 0.00072968
17 | 0.0046195 | 0.0011578
18 | 0.01486 | 0.0037243
19 | 0.0047309 | 0.0011857
20 | 0.0055983 | 0.0014031
21 | 0.00065546 | 0.00016427
22 | 0.0092586 | 0.0023204
23 | 0.00016272 | 4.0781e-05
24 | 0.001196 | 0.00029974
25 | 0.0011885 | 0.00029786
26 | 0.002376 | 0.00059548
27 | 0.050907 | 0.012758
28 | 0.0021241 | 0.00053235
29 | 0.0016734 | 0.00041939
30 | 0.0010332 | 0.00025895
31 | 0.00075087 | 0.00018819
32 | 0.0016701 | 0.00041856
33 | 0.00067762 | 0.00016983
34 | 0.0092664 | 0.0023224
35 | 0.012584 | 0.0031537
36 | 0.00028213 | 7.071e-05
37 | 0.0050589 | 0.0012679
38 | 0.00083238 | 0.00020861

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1