## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-254_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-254_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-254_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-254_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-254_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-254_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2701-254_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2701-254_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-254_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2701-254_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2701-254_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2701-254_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-254_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2701-254_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2701-254_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2701-254_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2701-254_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_2701-254_0_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_2701-254_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2701-254_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2701-254_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2701-254_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_2701-254_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_2701-254_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-254_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2701-254_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2701-254_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-254_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2701-254_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_2701-254_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2701-254_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2701-254_0_4_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_2701-254_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2701-254_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2701-254_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2701-254_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2701-254_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2701-254_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2701-254_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2701-254_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2701-254_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_2701-254_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2701-254_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2701-254_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2701-254_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2701-254_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2701-254_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2701-254_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2701-254_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_2701-254_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_2701-254_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_2701-254_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2701-254_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2701-254_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2701-254_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2701-254_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2701-254_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2701-254_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_2701-254_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2701-254_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_2701-254_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_MV_561_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-254_0_4_load_0 | 0 | 0.0085271 | 0.0021371 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-254_0_4_load_1 | 1 | 0.0084709 | 0.002123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-254_0_4_load_2 | 2 | 0.0043883 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-254_0_4_load_3 | 3 | 0.0050542 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-254_0_4_load_4 | 4 | 0.006708 | 0.0016812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-254_0_4_load_8 | 5 | 0.0036644 | 0.00091838 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-254_0_4_load_6 | 7 | 0.0081479 | 0.0020421 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-254_0_4_load_11 | 8 | 0.0069781 | 0.0017489 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-254_0_4_load_12 | 9 | 0.005036 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-254_0_4_load_5 | 10 | 0.0033206 | 0.00083221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-254_0_4_load_7 | 11 | 0.0048689 | 0.0012203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-254_0_4_load_23 | 13 | 0.0052348 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-254_0_4_load_24 | 14 | 0.0048132 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-254_0_4_load_25 | 15 | 0.004626 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-254_0_4_load_50 | 16 | 0.0049824 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-254_0_4_load_61 | 17 | 0.0034283 | 0.00085921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-254_0_4_load_36 | 18 | 0.01601 | 0.0040125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-254_0_4_load_54 | 19 | 0.0047577 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-254_0_4_load_63 | 20 | 0.049045 | 0.012292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-254_0_4_load_52 | 21 | 0.003978 | 0.00099697 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-254_0_4_load_60 | 22 | 0.014808 | 0.0037111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-254_0_4_load_13 | 23 | 0.0047218 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-254_0_4_load_14 | 24 | 0.0018995 | 0.00047606 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-254_0_4_load_15 | 25 | 0.0043483 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-254_0_4_load_16 | 26 | 0.0037717 | 0.00094528 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-254_0_4_load_17 | 27 | 0.0043957 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-254_0_4_load_48 | 28 | 0.0066333 | 0.0016625 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-254_0_4_load_64 | 29 | 0.0066817 | 0.0016746 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-254_0_4_load_49 | 30 | 0.014703 | 0.0036848 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-254_0_4_load_62 | 31 | 0.0033284 | 0.00083416 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-254_0_4_load_18 | 32 | 0.0047151 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-254_0_4_load_19 | 33 | 0.0058141 | 0.0014571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-254_0_4_load_20 | 34 | 0.0019496 | 0.00048862 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-254_0_4_load_21 | 35 | 0.0038648 | 0.00096862 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-254_0_4_load_22 | 36 | 0.0032122 | 0.00080504 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-254_0_4_load_51 | 37 | 0.0032983 | 0.00082663 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-254_0_4_load_35 | 38 | 0.0050446 | 0.0012643 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-254_0_4_load_44 | 40 | 0.0105 | 0.0026314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-254_0_4_load_45 | 41 | 0.0063582 | 0.0015935 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-254_0_4_load_46 | 43 | 0.0097944 | 0.0024547 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-254_0_4_load_34 | 45 | 0.0067041 | 0.0016802 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-254_0_4_load_31 | 46 | 0.0059259 | 0.0014852 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-254_0_4_load_42 | 47 | 0.0056038 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-254_0_4_load_58 | 48 | 0.02152 | 0.0053934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-254_0_4_load_59 | 49 | 0.013887 | 0.0034804 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-254_0_4_load_32 | 50 | 0.0048146 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-254_0_4_load_33 | 51 | 0.0062367 | 0.0015631 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-254_0_4_load_37 | 52 | 0.0023762 | 0.00059552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-254_0_4_load_38 | 53 | 0.0051496 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-254_0_4_load_57 | 55 | 0.021598 | 0.005413 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-254_0_4_load_56 | 56 | 0.0073803 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-254_0_4_load_55 | 57 | 0.0024002 | 0.00060156 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-254_0_4_load_47 | 58 | 0.013324 | 0.0033393 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-254_0_4_load_43 | 59 | 0.0088401 | 0.0022155 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-254_0_4_load_53 | 60 | 0.016315 | 0.0040888 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-254_0_4_line_0 |  | 0 | 1 | 0.0014296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-254_0_4_line_1 |  | 0 | 2 | 0.0068645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-254_0_4_line_2 |  | 1 | 3 | 0.0053632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-254_0_4_line_3 |  | 2 | 4 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-254_0_4_line_4 |  | 3 | 5 | 0.0060314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-254_0_4_line_5 |  | 4 | 6 | 0.012178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-254_0_4_line_6 |  | 5 | 7 | 0.00089302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2701-254_0_4_line_7 |  | 6 | 8 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-254_0_4_line_8 |  | 6 | 9 | 0.0020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-254_0_4_line_9 |  | 7 | 10 | 0.0068349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2701-254_0_4_line_10 |  | 8 | 19 | 0.0035413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-254_0_4_line_11 |  | 9 | 20 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-254_0_4_line_12 |  | 10 | 11 | 0.0074775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2701-254_0_4_line_13 |  | 11 | 12 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-254_0_4_line_14 |  | 12 | 13 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-254_0_4_line_15 |  | 12 | 14 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-254_0_4_line_16 |  | 12 | 15 | 0.024477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-254_0_4_line_17 |  | 13 | 16 | 0.0015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-254_0_4_line_18 |  | 14 | 17 | 0.0076543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-254_0_4_line_19 |  | 15 | 18 | 0.0087159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-254_0_4_line_20 |  | 16 | 37 | 0.0093023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-254_0_4_line_21 |  | 17 | 31 | 0.003513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-254_0_4_line_22 |  | 18 | 38 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-254_0_4_line_23 |  | 19 | 21 | 0.0095904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-254_0_4_line_24 |  | 20 | 22 | 0.0059127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-254_0_4_line_25 |  | 21 | 60 | 0.0044324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-254_0_4_line_26 |  | 22 | 49 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-254_0_4_line_27 |  | 23 | 24 | 0.0061256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-254_0_4_line_28 |  | 23 | 25 | 0.0025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-254_0_4_line_29 |  | 24 | 26 | 0.00053581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-254_0_4_line_30 |  | 25 | 27 | 0.010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-254_0_4_line_31 |  | 26 | 28 | 0.0042251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-254_0_4_line_32 |  | 27 | 29 | 0.00041838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-254_0_4_line_33 |  | 28 | 30 | 0.0085677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-254_0_4_line_34 |  | 29 | 31 | 0.0086018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-254_0_4_line_35 |  | 30 | 43 | 0.0013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-254_0_4_line_36 |  | 32 | 33 | 0.0063074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-254_0_4_line_37 |  | 32 | 34 | 0.0023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-254_0_4_line_38 |  | 33 | 35 | 0.0099479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-254_0_4_line_39 |  | 34 | 36 | 0.0017551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-254_0_4_line_40 |  | 36 | 37 | 0.0045869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-254_0_4_line_41 |  | 38 | 51 | 0.0076925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-254_0_4_line_42 |  | 39 | 40 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-254_0_4_line_43 |  | 39 | 41 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-254_0_4_line_44 |  | 40 | 47 | 0.074794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-254_0_4_line_45 |  | 41 | 42 | 0.021221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-254_0_4_line_46 |  | 42 | 43 | 0.0091854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-254_0_4_line_47 |  | 44 | 45 | 0.034189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-254_0_4_line_48 |  | 44 | 46 | 0.028426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-254_0_4_line_49 |  | 46 | 50 | 0.0097864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-254_0_4_line_50 |  | 47 | 59 | 0.0068181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-254_0_4_line_51 |  | 48 | 49 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-254_0_4_line_52 |  | 50 | 51 | 0.0092636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-254_0_4_line_53 |  | 52 | 53 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-254_0_4_line_54 |  | 53 | 54 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-254_0_4_line_55 |  | 54 | 55 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-254_0_4_line_56 |  | 54 | 56 | 0.0043367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-254_0_4_line_57 |  | 55 | 57 | 0.0087815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-254_0_4_line_58 |  | 56 | 58 | 0.0059456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-254_0_4_line_59 |  | 57 | 60 | 0.0043582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-254_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 61 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611518.9329 | 1268304.987 | 2611520.2821 | 1268305.4598
1 | 2611518.9329 | 1268304.987 | 2611512.4546 | 1268302.7168
2 | 2611520.2821 | 1268305.4598 | 2611525.3436 | 1268307.2334
3 | 2611502.0292 | 1268299.0635 | 2611512.4546 | 1268302.7168
4 | 2611531.0356 | 1268309.228 | 2611525.3436 | 1268307.2334
5 | 2611490.5127 | 1268295.1112 | 2611491.9643 | 1268295.5365 | 2611502.0292 | 1268299.0635
6 | 2611531.8784 | 1268309.5234 | 2611531.0356 | 1268309.228
7 | 2611490.5127 | 1268295.1112 | 2611493.122 | 1268278.3631
8 | 2611490.5127 | 1268295.1112 | 2611490.0844 | 1268297.1194
9 | 2611538.3287 | 1268311.7837 | 2611531.8784 | 1268309.5234
10 | 2611493.122 | 1268278.3631 | 2611493.6671 | 1268274.864
11 | 2611487.8042 | 1268307.8096 | 2611490.0844 | 1268297.1194
12 | 2611538.3287 | 1268311.7837 | 2611545.3855 | 1268314.2566
13 | 2611559.6703 | 1268319.2623 | 2611545.3855 | 1268314.2566
14 | 2611559.6703 | 1268319.2623 | 2611565.3485 | 1268321.0969 | 2611572.5362 | 1268323.4223
15 | 2611559.6703 | 1268319.2623 | 2611555.3636 | 1268332.4802
16 | 2611559.6703 | 1268319.2623 | 2611566.7002 | 1268295.8164
17 | 2611574.0541 | 1268323.9134 | 2611572.5362 | 1268323.4223
18 | 2611555.3636 | 1268332.4802 | 2611552.9923 | 1268339.758
19 | 2611569.2034 | 1268287.4677 | 2611566.7002 | 1268295.8164
20 | 2611574.0541 | 1268323.9134 | 2611582.9047 | 1268326.7768
21 | 2611552.9923 | 1268339.758 | 2611551.904 | 1268343.0981
22 | 2611572.2303 | 1268277.3725 | 2611569.2034 | 1268287.4677
23 | 2611495.1434 | 1268265.3879 | 2611493.6671 | 1268274.864
24 | 2611487.8042 | 1268307.8096 | 2611486.5708 | 1268313.5922
25 | 2611495.1434 | 1268265.3879 | 2611495.8257 | 1268261.0084
26 | 2611483.2951 | 1268329.2637 | 2611484.0575 | 1268325.3756 | 2611486.5708 | 1268313.5922
27 | 2611545.1723 | 1268363.7587 | 2611543.2746 | 1268369.5829
28 | 2611545.1723 | 1268363.7587 | 2611545.9478 | 1268361.3786
29 | 2611543.1086 | 1268370.0923 | 2611543.2746 | 1268369.5829
30 | 2611549.1096 | 1268351.6745 | 2611545.9478 | 1268361.3786
31 | 2611543.1086 | 1268370.0923 | 2611541.7997 | 1268374.1096
32 | 2611549.1096 | 1268351.6745 | 2611549.2392 | 1268351.2767
33 | 2611541.7997 | 1268374.1096 | 2611539.1455 | 1268382.2558
34 | 2611551.904 | 1268343.0981 | 2611549.2392 | 1268351.2767
35 | 2611538.729 | 1268383.5339 | 2611539.1455 | 1268382.2558
36 | 2611597.1422 | 1268331.383 | 2611591.1411 | 1268329.4415
37 | 2611588.9388 | 1268328.729 | 2611591.1411 | 1268329.4415
38 | 2611597.1422 | 1268331.383 | 2611606.6071 | 1268334.4451
39 | 2611587.2689 | 1268328.1887 | 2611588.9388 | 1268328.729
40 | 2611587.2689 | 1268328.1887 | 2611582.9047 | 1268326.7768
41 | 2611572.2303 | 1268277.3725 | 2611574.4395 | 1268270.0041
42 | 2611550.8951 | 1268420.1162 | 2611565.564 | 1268424.1444
43 | 2611550.8951 | 1268420.1162 | 2611545.9529 | 1268410.9477
44 | 2611606.307 | 1268380.1282 | 2611588.8612 | 1268427.4731 | 2611585.3811 | 1268429.2008 | 2611566.5545 | 1268424.4163 | 2611565.564 | 1268424.1444
45 | 2611535.8834 | 1268392.2674 | 2611545.9529 | 1268410.9477
46 | 2611535.8834 | 1268392.2674 | 2611538.729 | 1268383.5339
47 | 2611589.1888 | 1268224.9313 | 2611557.9242 | 1268211.0966
48 | 2611589.1888 | 1268224.9313 | 2611585.0458 | 1268234.63 | 2611579.9107 | 1268251.7566
49 | 2611579.9107 | 1268251.7566 | 2611577.1001 | 1268261.1307
50 | 2611606.307 | 1268380.1282 | 2611608.6644 | 1268373.7306
51 | 2611480.1368 | 1268345.3706 | 2611483.2951 | 1268329.2637
52 | 2611577.1001 | 1268261.1307 | 2611574.4395 | 1268270.0041
53 | 2611470.358 | 1268229.7625 | 2611483.457 | 1268232.7653
54 | 2611499.6494 | 1268236.4654 | 2611498.5586 | 1268236.2298 | 2611489.9607 | 1268234.2563 | 2611483.457 | 1268232.7653
55 | 2611499.6494 | 1268236.4654 | 2611497.8484 | 1268248.0253
56 | 2611499.6494 | 1268236.4654 | 2611500.2743 | 1268232.174
57 | 2611497.8484 | 1268248.0253 | 2611496.4966 | 1268256.7021
58 | 2611500.2743 | 1268232.174 | 2611501.131 | 1268226.2905
59 | 2611495.8257 | 1268261.0084 | 2611496.4966 | 1268256.7021

## bus_geodata
| x | y | coords
0 | 2611518.9329 | 1268304.987
1 | 2611520.2821 | 1268305.4598
2 | 2611512.4546 | 1268302.7168
3 | 2611525.3436 | 1268307.2334
4 | 2611502.0292 | 1268299.0635
5 | 2611531.0356 | 1268309.228
6 | 2611490.5127 | 1268295.1112
7 | 2611531.8784 | 1268309.5234
8 | 2611493.122 | 1268278.3631
9 | 2611490.0844 | 1268297.1194
10 | 2611538.3287 | 1268311.7837
11 | 2611545.3855 | 1268314.2566
12 | 2611559.6703 | 1268319.2623
13 | 2611572.5362 | 1268323.4223
14 | 2611555.3636 | 1268332.4802
15 | 2611566.7002 | 1268295.8164
16 | 2611574.0541 | 1268323.9134
17 | 2611552.9923 | 1268339.758
18 | 2611569.2034 | 1268287.4677
19 | 2611493.6671 | 1268274.864
20 | 2611487.8042 | 1268307.8096
21 | 2611495.1434 | 1268265.3879
22 | 2611486.5708 | 1268313.5922
23 | 2611545.1723 | 1268363.7587
24 | 2611543.2746 | 1268369.5829
25 | 2611545.9478 | 1268361.3786
26 | 2611543.1086 | 1268370.0923
27 | 2611549.1096 | 1268351.6745
28 | 2611541.7997 | 1268374.1096
29 | 2611549.2392 | 1268351.2767
30 | 2611539.1455 | 1268382.2558
31 | 2611551.904 | 1268343.0981
32 | 2611591.1411 | 1268329.4415
33 | 2611597.1422 | 1268331.383
34 | 2611588.9388 | 1268328.729
35 | 2611606.6071 | 1268334.4451
36 | 2611587.2689 | 1268328.1887
37 | 2611582.9047 | 1268326.7768
38 | 2611572.2303 | 1268277.3725
39 | 2611550.8951 | 1268420.1162
40 | 2611565.564 | 1268424.1444
41 | 2611545.9529 | 1268410.9477
42 | 2611535.8834 | 1268392.2674
43 | 2611538.729 | 1268383.5339
44 | 2611589.1888 | 1268224.9313
45 | 2611557.9242 | 1268211.0966
46 | 2611579.9107 | 1268251.7566
47 | 2611606.307 | 1268380.1282
48 | 2611480.1368 | 1268345.3706
49 | 2611483.2951 | 1268329.2637
50 | 2611577.1001 | 1268261.1307
51 | 2611574.4395 | 1268270.0041
52 | 2611470.358 | 1268229.7625
53 | 2611483.457 | 1268232.7653
54 | 2611499.6494 | 1268236.4654
55 | 2611497.8484 | 1268248.0253
56 | 2611500.2743 | 1268232.174
57 | 2611496.4966 | 1268256.7021
58 | 2611501.131 | 1268226.2905
59 | 2611608.6644 | 1268373.7306
60 | 2611495.8257 | 1268261.0084
61 | 2611559.6703 | 1268319.2623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99933 | -0.012728 | 0.0085271 | 0.0021371
1 | 0.99947 | -0.010132 | 0.0084709 | 0.002123
2 | 0.99871 | -0.024696 | 0.0043883 | 0.0010998
3 | 1 | 0 | -0.4226 | -0.10629
4 | 0.99773 | -0.043561 | 0.006708 | 0.0016812
5 | 0.99944 | -0.010638 | 0.0036644 | 0.00091838
6 | 0.99668 | -0.063684 | 0 | 0
7 | 0.99936 | -0.012185 | 0.0081479 | 0.0020421
8 | 0.99538 | -0.088776 | 0.0069781 | 0.0017489
9 | 0.99648 | -0.067443 | 0.005036 | 0.0012621
10 | 0.99877 | -0.023551 | 0.0033206 | 0.00083221
11 | 0.99813 | -0.035783 | 0.0048689 | 0.0012203
12 | 0.99687 | -0.059947 | 0 | 0
13 | 0.99646 | -0.067794 | 0.0052348 | 0.001312
14 | 0.9956 | -0.084318 | 0.0048132 | 0.0012063
15 | 0.99577 | -0.081163 | 0.004626 | 0.0011594
16 | 0.99642 | -0.068573 | 0.0049824 | 0.0012487
17 | 0.99494 | -0.097115 | 0.0034283 | 0.00085921
18 | 0.99541 | -0.08802 | 0.01601 | 0.0040125
19 | 0.99513 | -0.093592 | 0.0047577 | 0.0011924
20 | 0.9955 | -0.086506 | 0.049045 | 0.012292
21 | 0.99449 | -0.10584 | 0.003978 | 0.00099697
22 | 0.99523 | -0.091729 | 0.014808 | 0.0037111
23 | 0.99303 | -0.1339 | 0.0047218 | 0.0011834
24 | 0.99265 | -0.14127 | 0.0018995 | 0.00047606
25 | 0.9932 | -0.13067 | 0.0043483 | 0.0010898
26 | 0.99262 | -0.1419 | 0.0037717 | 0.00094528
27 | 0.99392 | -0.11677 | 0.0043957 | 0.0011017
28 | 0.99238 | -0.14657 | 0.0066333 | 0.0016625
29 | 0.99395 | -0.11617 | 0.0066817 | 0.0016746
30 | 0.99194 | -0.15503 | 0.014703 | 0.0036848
31 | 0.99464 | -0.10278 | 0.0033284 | 0.00083416
32 | 0.99609 | -0.074971 | 0.0047151 | 0.0011817
33 | 0.99604 | -0.076043 | 0.0058141 | 0.0014571
34 | 0.99612 | -0.074385 | 0.0019496 | 0.00048862
35 | 0.996 | -0.076719 | 0.0038648 | 0.00096862
36 | 0.99615 | -0.073882 | 0.0032122 | 0.00080504
37 | 0.99623 | -0.072306 | 0.0032983 | 0.00082663
38 | 0.99514 | -0.093348 | 0.0050446 | 0.0012643
39 | 0.99078 | -0.1775 | 0 | 0
40 | 0.99043 | -0.18424 | 0.0105 | 0.0026314
41 | 0.99102 | -0.17289 | 0.0063582 | 0.0015935
42 | 0.99162 | -0.16111 | 0 | 0
43 | 0.99189 | -0.15601 | 0.0097944 | 0.0024547
44 | 0.99454 | -0.10494 | 0 | 0
45 | 0.99433 | -0.10898 | 0.0067041 | 0.0016802
46 | 0.99471 | -0.10158 | 0.0059259 | 0.0014852
47 | 0.98944 | -0.20346 | 0.0056038 | 0.0014044
48 | 0.99439 | -0.10793 | 0.02152 | 0.0053934
49 | 0.99471 | -0.10171 | 0.013887 | 0.0034804
50 | 0.99483 | -0.099401 | 0.0048146 | 0.0012067
51 | 0.99497 | -0.096555 | 0.0062367 | 0.0015631
52 | 0.99316 | -0.13154 | 0.0023762 | 0.00059552
53 | 0.99319 | -0.13098 | 0.0051496 | 0.0012906
54 | 0.99331 | -0.12877 | 0 | 0
55 | 0.99361 | -0.12293 | 0.021598 | 0.005413
56 | 0.99322 | -0.13035 | 0.0073803 | 0.0018497
57 | 0.99401 | -0.11521 | 0.0024002 | 0.00060156
58 | 0.99315 | -0.13175 | 0.013324 | 0.0033393
59 | 0.98939 | -0.20453 | 0.0088401 | 0.0022155
60 | 0.99422 | -0.1112 | 0.016315 | 0.0040888
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.20901 | -0.052706 | 0.20904 | 0.052723 | 2.5982e-05 | 1.6591e-05 | 0.31133 | 0.31133 | 0.31133 | 0.99933 | -0.012728 | 0.99947 | -0.010132 | 42.7656
1 | 0.20048 | 0.050569 | -0.20037 | -0.050496 | 0.00011479 | 7.3285e-05 | 0.29864 | 0.29864 | 0.29864 | 0.99933 | -0.012728 | 0.99871 | -0.024696 | 41.0216
2 | -0.21751 | -0.054846 | 0.21761 | 0.054913 | 0.00010553 | 6.7398e-05 | 0.32395 | 0.32395 | 0.32395 | 0.99947 | -0.010132 | 1 | 0 | 44.498
3 | 0.19598 | 0.049396 | -0.1958 | -0.049283 | 0.00017673 | 0.00011282 | 0.2921 | 0.2921 | 0.2921 | 0.99871 | -0.024696 | 0.99773 | -0.043561 | 40.1235
4 | 0.20334 | 0.051378 | -0.20324 | -0.051312 | 0.00010363 | 6.6167e-05 | 0.30272 | 0.30272 | 0.30272 | 1 | 0 | 0.99944 | -0.010638 | 41.5824
5 | 0.1891 | 0.047602 | -0.18892 | -0.047486 | 0.0001817 | 0.00011597 | 0.28209 | 0.28209 | 0.28209 | 0.99773 | -0.043561 | 0.99668 | -0.063684 | 38.7493
6 | 0.19957 | 0.050393 | -0.19956 | -0.050384 | 1.4796e-05 | 9.4461e-06 | 0.29726 | 0.29726 | 0.29726 | 0.99944 | -0.010638 | 0.99936 | -0.012185 | 40.833
7 | 0.084475 | 0.021255 | -0.084374 | -0.021191 | 0.00010115 | 6.4516e-05 | 0.12615 | 0.12615 | 0.12615 | 0.99668 | -0.063684 | 0.99538 | -0.088776 | 34.6563
8 | 0.10444 | 0.026231 | -0.10442 | -0.026219 | 1.8726e-05 | 1.1958e-05 | 0.15595 | 0.15595 | 0.15595 | 0.99668 | -0.063684 | 0.99648 | -0.067443 | 42.8422
9 | 0.19141 | 0.048342 | -0.1913 | -0.048275 | 0.00010419 | 6.6502e-05 | 0.28513 | 0.28513 | 0.28513 | 0.99936 | -0.012185 | 0.99877 | -0.023551 | 39.1665
10 | 0.077396 | 0.019442 | -0.077378 | -0.01943 | 1.7783e-05 | 1.1335e-05 | 0.11572 | 0.11572 | 0.11572 | 0.99538 | -0.088776 | 0.99513 | -0.093592 | 31.7904
11 | 0.099385 | 0.024957 | -0.099295 | -0.024899 | 9.0302e-05 | 5.7651e-05 | 0.14843 | 0.14843 | 0.14843 | 0.99648 | -0.067443 | 0.9955 | -0.086506 | 40.7763
12 | 0.18798 | 0.047443 | -0.18787 | -0.047373 | 0.00011006 | 7.0246e-05 | 0.28018 | 0.28019 | 0.28019 | 0.99877 | -0.023551 | 0.99813 | -0.035783 | 38.487
13 | 0.18301 | 0.046153 | -0.18279 | -0.046018 | 0.00021141 | 0.00013491 | 0.27293 | 0.27293 | 0.27293 | 0.99813 | -0.035783 | 0.99687 | -0.059947 | 37.4899
14 | 0.033092 | 0.0083008 | -0.033079 | -0.0082931 | 1.2373e-05 | 7.7427e-06 | 0.049398 | 0.049398 | 0.049398 | 0.99687 | -0.059947 | 0.99646 | -0.067794 | 13.5709
15 | 0.10026 | 0.025295 | -0.10014 | -0.025221 | 0.00011685 | 7.4603e-05 | 0.14971 | 0.14971 | 0.14971 | 0.99687 | -0.059947 | 0.9956 | -0.084318 | 41.1302
16 | 0.049444 | 0.012422 | -0.049394 | -0.01239 | 5.0012e-05 | 3.1689e-05 | 0.073815 | 0.073815 | 0.073815 | 0.99687 | -0.059947 | 0.99577 | -0.081163 | 20.2788
17 | 0.027845 | 0.0069811 | -0.027844 | -0.0069805 | 1.0344e-06 | 6.4122e-07 | 0.041581 | 0.041581 | 0.041581 | 0.99646 | -0.067794 | 0.99642 | -0.068573 | 11.4234
18 | 0.095329 | 0.024014 | -0.09527 | -0.023977 | 5.8303e-05 | 3.7214e-05 | 0.14252 | 0.14252 | 0.14252 | 0.9956 | -0.084318 | 0.99494 | -0.097115 | 39.154
19 | 0.044768 | 0.011231 | -0.044753 | -0.011221 | 1.4629e-05 | 9.2493e-06 | 0.066902 | 0.066902 | 0.066902 | 0.99577 | -0.081163 | 0.99541 | -0.08802 | 18.3797
20 | 0.022861 | 0.0057318 | -0.022857 | -0.0057293 | 4.0659e-06 | 2.4811e-06 | 0.034141 | 0.034141 | 0.034141 | 0.99642 | -0.068573 | 0.99623 | -0.072306 | 9.3793
21 | 0.091842 | 0.023118 | -0.091817 | -0.023102 | 2.4868e-05 | 1.587e-05 | 0.13739 | 0.13739 | 0.13739 | 0.99494 | -0.097115 | 0.99464 | -0.10278 | 37.7454
22 | 0.028743 | 0.0072089 | -0.028736 | -0.0072044 | 7.297e-06 | 4.5331e-06 | 0.042969 | 0.042969 | 0.042969 | 0.99541 | -0.08802 | 0.99514 | -0.093348 | 11.8046
23 | 0.072621 | 0.018238 | -0.072578 | -0.018211 | 4.2418e-05 | 2.7023e-05 | 0.1086 | 0.1086 | 0.1086 | 0.99513 | -0.093592 | 0.99449 | -0.10584 | 29.836
24 | 0.05025 | 0.012607 | -0.050237 | -0.012599 | 1.2511e-05 | 7.9299e-06 | 0.075116 | 0.075116 | 0.075116 | 0.9955 | -0.086506 | 0.99523 | -0.091729 | 20.6362
25 | 0.0686 | 0.017214 | -0.068583 | -0.017203 | 1.7514e-05 | 1.1152e-05 | 0.10265 | 0.10265 | 0.10265 | 0.99449 | -0.10584 | 0.99422 | -0.1112 | 28.2008
26 | 0.03543 | 0.0088882 | -0.035413 | -0.0088776 | 1.685e-05 | 1.0576e-05 | 0.052976 | 0.052976 | 0.052976 | 0.99523 | -0.091729 | 0.99471 | -0.10171 | 14.5539
27 | 0.06822 | 0.017141 | -0.068196 | -0.017126 | 2.4012e-05 | 1.5288e-05 | 0.10224 | 0.10224 | 0.10224 | 0.99303 | -0.1339 | 0.99265 | -0.14127 | 28.0879
28 | -0.072942 | -0.018324 | 0.072953 | 0.018331 | 1.1218e-05 | 7.1469e-06 | 0.10932 | 0.10932 | 0.10932 | 0.99303 | -0.1339 | 0.9932 | -0.13067 | 30.0317
29 | 0.066296 | 0.01665 | -0.066294 | -0.016648 | 1.9849e-06 | 1.2634e-06 | 0.099393 | 0.099393 | 0.099393 | 0.99265 | -0.14127 | 0.99262 | -0.1419 | 27.3057
30 | -0.077301 | -0.019421 | 0.077353 | 0.019454 | 5.1349e-05 | 3.2731e-05 | 0.11583 | 0.11583 | 0.11583 | 0.9932 | -0.13067 | 0.99392 | -0.11677 | 31.8215
31 | 0.062523 | 0.015703 | -0.062509 | -0.015694 | 1.3922e-05 | 8.8556e-06 | 0.093739 | 0.093739 | 0.093739 | 0.99262 | -0.1419 | 0.99238 | -0.14657 | 25.7524
32 | -0.081748 | -0.020556 | 0.081751 | 0.020557 | 2.3509e-06 | 1.4992e-06 | 0.12241 | 0.12241 | 0.12241 | 0.99392 | -0.11677 | 0.99395 | -0.11617 | 33.6294
33 | 0.055875 | 0.014032 | -0.055853 | -0.014017 | 2.2558e-05 | 1.4327e-05 | 0.083792 | 0.083792 | 0.083792 | 0.99238 | -0.14657 | 0.99194 | -0.15503 | 23.0199
34 | -0.088432 | -0.022232 | 0.088489 | 0.022268 | 5.6557e-05 | 3.6085e-05 | 0.13241 | 0.13241 | 0.13241 | 0.99395 | -0.11617 | 0.99464 | -0.10278 | 36.3774
35 | 0.04115 | 0.010333 | -0.041148 | -0.010331 | 1.9214e-06 | 1.2123e-06 | 0.061737 | 0.061737 | 0.061737 | 0.99194 | -0.15503 | 0.99189 | -0.15601 | 16.9607
36 | 0.0096795 | 0.0024259 | -0.009679 | -0.0024257 | 4.9455e-07 | 2.3441e-07 | 0.01446 | 0.01446 | 0.01446 | 0.99609 | -0.074971 | 0.99604 | -0.076043 | 3.9725
37 | -0.014395 | -0.0036077 | 0.014395 | 0.0036079 | 4.0137e-07 | 2.2674e-07 | 0.021504 | 0.021504 | 0.021504 | 0.99609 | -0.074971 | 0.99612 | -0.074385 | 5.9076
38 | 0.003865 | 0.00096857 | -0.0038648 | -0.00096862 | 1.2437e-07 | -4.9875e-08 | 0.005774 | 0.005774 | 0.005774 | 0.99604 | -0.076043 | 0.996 | -0.076719 | 1.5863
39 | -0.016345 | -0.0040965 | 0.016345 | 0.0040967 | 3.9234e-07 | 2.2825e-07 | 0.024416 | 0.024416 | 0.024416 | 0.99612 | -0.074385 | 0.99615 | -0.073882 | 6.7077
40 | -0.019557 | -0.0049018 | 0.019559 | 0.0049027 | 1.468e-06 | 8.7983e-07 | 0.029214 | 0.029214 | 0.029214 | 0.99615 | -0.073882 | 0.99623 | -0.072306 | 8.0259
41 | 0.023691 | 0.0059401 | -0.023687 | -0.0059379 | 3.6202e-06 | 2.217e-06 | 0.035426 | 0.035426 | 0.035426 | 0.99514 | -0.093348 | 0.99497 | -0.096555 | 9.7323
42 | 0.024965 | 0.006264 | -0.024957 | -0.0062591 | 8.0206e-06 | 4.9373e-06 | 0.037497 | 0.037497 | 0.037497 | 0.99078 | -0.1775 | 0.99043 | -0.18424 | 10.3013
43 | -0.024965 | -0.006264 | 0.024971 | 0.0062674 | 5.4917e-06 | 3.3805e-06 | 0.037497 | 0.037497 | 0.037497 | 0.99078 | -0.1775 | 0.99102 | -0.17289 | 10.3013
44 | 0.014458 | 0.0036277 | -0.014444 | -0.0036202 | 1.3235e-05 | 7.5088e-06 | 0.021722 | 0.021723 | 0.021723 | 0.99043 | -0.18424 | 0.98944 | -0.20346 | 5.9678
45 | -0.031329 | -0.0078609 | 0.031346 | 0.0078719 | 1.7612e-05 | 1.0998e-05 | 0.047044 | 0.047043 | 0.047044 | 0.99102 | -0.17289 | 0.99162 | -0.16111 | 12.9241
46 | -0.031346 | -0.0078719 | 0.031354 | 0.0078767 | 7.623e-06 | 4.7602e-06 | 0.047043 | 0.047043 | 0.047043 | 0.99162 | -0.16111 | 0.99189 | -0.15601 | 12.924
47 | 0.0067053 | 0.0016806 | -0.0067041 | -0.0016802 | 1.2904e-06 | 3.8233e-07 | 0.010032 | 0.010033 | 0.010033 | 0.99454 | -0.10494 | 0.99433 | -0.10898 | 2.7562
48 | -0.0067053 | -0.0016806 | 0.0067064 | 0.0016809 | 1.0729e-06 | 3.1773e-07 | 0.010032 | 0.010032 | 0.010032 | 0.99454 | -0.10494 | 0.99471 | -0.10158 | 2.7562
49 | -0.012632 | -0.0031661 | 0.012634 | 0.0031668 | 1.3105e-06 | 7.1168e-07 | 0.018897 | 0.018897 | 0.018897 | 0.99471 | -0.10158 | 0.99483 | -0.099401 | 5.1915
50 | 0.0088405 | 0.0022157 | -0.0088401 | -0.0022155 | 4.5195e-07 | 2.0168e-07 | 0.013295 | 0.013295 | 0.013295 | 0.98944 | -0.20346 | 0.98939 | -0.20453 | 3.6526
51 | -0.02152 | -0.0053934 | 0.021526 | 0.0053973 | 6.3829e-06 | 3.8721e-06 | 0.032203 | 0.032203 | 0.032203 | 0.99439 | -0.10793 | 0.99471 | -0.10171 | 8.8469
52 | -0.017448 | -0.0043734 | 0.017451 | 0.0043748 | 2.3661e-06 | 1.394e-06 | 0.026098 | 0.026098 | 0.026098 | 0.99483 | -0.099401 | 0.99497 | -0.096555 | 7.1699
53 | -0.0023762 | -0.00059552 | 0.0023762 | 0.00059539 | 6.3871e-08 | -1.3303e-07 | 0.0035601 | 0.00356 | 0.0035601 | 0.99316 | -0.13154 | 0.99319 | -0.13098 | 0.97805
54 | -0.0075258 | -0.001886 | 0.0075266 | 0.0018863 | 7.9185e-07 | 2.9181e-07 | 0.011275 | 0.011275 | 0.011275 | 0.99319 | -0.13098 | 0.99331 | -0.12877 | 3.0976
55 | -0.028233 | -0.0070767 | 0.028241 | 0.0070815 | 7.8481e-06 | 4.8713e-06 | 0.042295 | 0.042295 | 0.042295 | 0.99331 | -0.12877 | 0.99361 | -0.12293 | 11.6195
56 | 0.020707 | 0.0051904 | -0.020705 | -0.0051894 | 1.5648e-06 | 9.4535e-07 | 0.03102 | 0.03102 | 0.03102 | 0.99331 | -0.12877 | 0.99322 | -0.13035 | 8.5219
57 | -0.049839 | -0.012495 | 0.049858 | 0.012506 | 1.8346e-05 | 1.1628e-05 | 0.07464 | 0.07464 | 0.07464 | 0.99361 | -0.12293 | 0.99401 | -0.11521 | 20.5055
58 | 0.013325 | 0.0033398 | -0.013324 | -0.0033393 | 8.8853e-07 | 4.9172e-07 | 0.019963 | 0.019963 | 0.019963 | 0.99322 | -0.13035 | 0.99315 | -0.13175 | 5.4843
59 | -0.052258 | -0.013108 | 0.052268 | 0.013114 | 1.0003e-05 | 6.3452e-06 | 0.078233 | 0.078233 | 0.078233 | 0.99401 | -0.11521 | 0.99422 | -0.1112 | 21.4926

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42766 | 0.10756

## res_load
| p_mw | q_mvar
0 | 0.0085271 | 0.0021371
1 | 0.0084709 | 0.002123
2 | 0.0043883 | 0.0010998
3 | 0.0050542 | 0.0012667
4 | 0.006708 | 0.0016812
5 | 0.0036644 | 0.00091838
6 | 0.0081479 | 0.0020421
7 | 0.0069781 | 0.0017489
8 | 0.005036 | 0.0012621
9 | 0.0033206 | 0.00083221
10 | 0.0048689 | 0.0012203
11 | 0.0052348 | 0.001312
12 | 0.0048132 | 0.0012063
13 | 0.004626 | 0.0011594
14 | 0.0049824 | 0.0012487
15 | 0.0034283 | 0.00085921
16 | 0.01601 | 0.0040125
17 | 0.0047577 | 0.0011924
18 | 0.049045 | 0.012292
19 | 0.003978 | 0.00099697
20 | 0.014808 | 0.0037111
21 | 0.0047218 | 0.0011834
22 | 0.0018995 | 0.00047606
23 | 0.0043483 | 0.0010898
24 | 0.0037717 | 0.00094528
25 | 0.0043957 | 0.0011017
26 | 0.0066333 | 0.0016625
27 | 0.0066817 | 0.0016746
28 | 0.014703 | 0.0036848
29 | 0.0033284 | 0.00083416
30 | 0.0047151 | 0.0011817
31 | 0.0058141 | 0.0014571
32 | 0.0019496 | 0.00048862
33 | 0.0038648 | 0.00096862
34 | 0.0032122 | 0.00080504
35 | 0.0032983 | 0.00082663
36 | 0.0050446 | 0.0012643
37 | 0.0105 | 0.0026314
38 | 0.0063582 | 0.0015935
39 | 0.0097944 | 0.0024547
40 | 0.0067041 | 0.0016802
41 | 0.0059259 | 0.0014852
42 | 0.0056038 | 0.0014044
43 | 0.02152 | 0.0053934
44 | 0.013887 | 0.0034804
45 | 0.0048146 | 0.0012067
46 | 0.0062367 | 0.0015631
47 | 0.0023762 | 0.00059552
48 | 0.0051496 | 0.0012906
49 | 0.021598 | 0.005413
50 | 0.0073803 | 0.0018497
51 | 0.0024002 | 0.00060156
52 | 0.013324 | 0.0033393
53 | 0.0088401 | 0.0022155
54 | 0.016315 | 0.0040888

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1