## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-256_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-256_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-256_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-256_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-256_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-256_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_2701-256_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2701-256_0_4_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_2701-256_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2701-256_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_2701-256_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2701-256_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2701-256_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2701-256_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-256_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2701-256_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2701-256_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_2701-256_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_2701-256_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_2701-256_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2701-256_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2701-256_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-256_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-256_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-256_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2701-256_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2701-256_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_2701-256_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2701-256_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2701-256_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2701-256_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2701-256_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2701-256_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2701-256_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2701-256_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2701-256_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2701-256_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2701-256_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2701-256_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2701-256_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2701-256_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2701-256_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2701-256_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2701-256_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2701-256_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2701-256_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2701-256_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2701-256_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2701-256_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2701-256_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2701-256_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2701-256_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_2701-256_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2701-256_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2701-256_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2701-256_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2701-256_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2701-256_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2701-256_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_2701-256_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_MV_561_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-256_0_4_load_0 | 0 | 0.016016 | 0.0040141 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-256_0_4_load_1 | 1 | 0.015624 | 0.0039158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-256_0_4_load_2 | 2 | 0.0055603 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-256_0_4_load_3 | 3 | 0.006389 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-256_0_4_load_4 | 4 | 0.003749 | 0.00093958 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-256_0_4_load_54 | 5 | 0.0050203 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-256_0_4_load_55 | 7 | 0.0088524 | 0.0022186 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-256_0_4_load_36 | 8 | 0.0044599 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-256_0_4_load_52 | 9 | 0.0032962 | 0.0008261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-256_0_4_load_11 | 10 | 0.005307 | 0.00133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-256_0_4_load_5 | 11 | 0.0034424 | 0.00086275 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-256_0_4_load_6 | 12 | 0.0025377 | 0.000636 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-256_0_4_load_7 | 13 | 0.0032701 | 0.00081955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-256_0_4_load_8 | 14 | 0.0026784 | 0.00067127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-256_0_4_load_9 | 15 | 0.0025518 | 0.00063954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-256_0_4_load_53 | 16 | 0.004522 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-256_0_4_load_50 | 17 | 0.0063655 | 0.0015953 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-256_0_4_load_49 | 18 | 0.003253 | 0.00081528 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-256_0_4_load_10 | 19 | 0.0057635 | 0.0014445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-256_0_4_load_35 | 20 | 0.0077751 | 0.0019486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-256_0_4_load_13 | 21 | 0.0044274 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-256_0_4_load_16 | 24 | 0.042253 | 0.01059 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-256_0_4_load_17 | 25 | 0.0059358 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-256_0_4_load_26 | 27 | 0.0023821 | 0.00059701 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-256_0_4_load_24 | 29 | 0.0039471 | 0.00098924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-256_0_4_load_18 | 30 | 0.0030232 | 0.00075768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-256_0_4_load_19 | 31 | 0.0021432 | 0.00053714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-256_0_4_load_20 | 32 | 0.0021379 | 0.00053582 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-256_0_4_load_21 | 33 | 0.0032622 | 0.00081758 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-256_0_4_load_22 | 34 | 0.0034403 | 0.00086223 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-256_0_4_load_37 | 35 | 0.0039205 | 0.00098256 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-256_0_4_load_28 | 36 | 0.0026592 | 0.00066645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-256_0_4_load_29 | 37 | 0.0043487 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-256_0_4_load_23 | 38 | 0.006195 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-256_0_4_load_25 | 39 | 0.005092 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-256_0_4_load_27 | 40 | 0.0071108 | 0.0017821 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-256_0_4_load_34 | 41 | 0.0030351 | 0.00076067 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-256_0_4_load_33 | 42 | 0.0021382 | 0.00053588 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-256_0_4_load_30 | 43 | 0.0067944 | 0.0017028 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-256_0_4_load_32 | 44 | 0.0021225 | 0.00053196 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-256_0_4_load_31 | 45 | 0.0025967 | 0.0006508 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-256_0_4_load_38 | 46 | 0.0026415 | 0.00066203 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-256_0_4_load_39 | 47 | 0.0032895 | 0.00082442 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-256_0_4_load_51 | 49 | 0.0046948 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-256_0_4_load_48 | 50 | 0.0041884 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-256_0_4_load_59 | 51 | 0.004685 | 0.0011742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-256_0_4_load_42 | 52 | 0.022368 | 0.005606 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-256_0_4_load_43 | 53 | 0.031957 | 0.0080092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-256_0_4_load_44 | 54 | 0.017324 | 0.0043418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-256_0_4_load_45 | 55 | 0.015583 | 0.0039055 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-256_0_4_load_47 | 56 | 0.015475 | 0.0038785 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-256_0_4_load_60 | 57 | 0.013724 | 0.0034397 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-256_0_4_load_56 | 58 | 0.0054027 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-256_0_4_load_57 | 59 | 0.015388 | 0.0038566 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-256_0_4_line_0 |  | 0 | 1 | 0.0029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-256_0_4_line_1 |  | 0 | 2 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-256_0_4_line_2 |  | 1 | 3 | 0.0070963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-256_0_4_line_3 |  | 2 | 4 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-256_0_4_line_4 |  | 3 | 5 | 0.0031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-256_0_4_line_5 |  | 4 | 6 | 0.021768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-256_0_4_line_6 |  | 5 | 7 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-256_0_4_line_7 |  | 6 | 8 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-256_0_4_line_8 |  | 6 | 9 | 0.022125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-256_0_4_line_9 |  | 6 | 10 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-256_0_4_line_10 |  | 7 | 58 | 0.0012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-256_0_4_line_11 |  | 8 | 20 | 0.00021119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-256_0_4_line_12 |  | 9 | 16 | 0.0027779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-256_0_4_line_13 |  | 10 | 19 | 0.0066101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-256_0_4_line_14 |  | 11 | 12 | 0.0049126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-256_0_4_line_15 |  | 11 | 13 | 0.0032887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-256_0_4_line_16 |  | 12 | 14 | 0.004223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-256_0_4_line_17 |  | 13 | 15 | 0.008144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-256_0_4_line_18 |  | 14 | 16 | 0.0060151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-256_0_4_line_19 |  | 15 | 17 | 0.0007603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-256_0_4_line_20 |  | 17 | 18 | 0.0071103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-256_0_4_line_21 |  | 18 | 50 | 0.0097532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-256_0_4_line_22 |  | 20 | 35 | 0.013252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2701-256_0_4_line_23 |  | 21 | 22 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2701-256_0_4_line_24 |  | 21 | 23 | 0.028887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2701-256_0_4_line_25 |  | 22 | 24 | 0.003949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2701-256_0_4_line_26 |  | 23 | 25 | 0.024577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2701-256_0_4_line_27 |  | 24 | 26 | 0.021245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-256_0_4_line_28 |  | 25 | 27 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2701-256_0_4_line_29 |  | 26 | 28 | 0.008493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-256_0_4_line_30 |  | 27 | 29 | 0.0039179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-256_0_4_line_31 |  | 28 | 54 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-256_0_4_line_32 |  | 29 | 38 | 0.001285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2701-256_0_4_line_33 |  | 30 | 31 | 0.00051139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-256_0_4_line_34 |  | 30 | 32 | 0.0061902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-256_0_4_line_35 |  | 31 | 33 | 0.0074613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2701-256_0_4_line_36 |  | 32 | 34 | 0.0018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2701-256_0_4_line_37 |  | 33 | 35 | 0.00018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2701-256_0_4_line_38 |  | 34 | 36 | 0.0058804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2701-256_0_4_line_39 |  | 36 | 37 | 0.0034056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-256_0_4_line_40 |  | 37 | 43 | 0.0012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2701-256_0_4_line_41 |  | 38 | 39 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2701-256_0_4_line_42 |  | 39 | 40 | 0.0065901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2701-256_0_4_line_43 |  | 40 | 41 | 0.0062741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2701-256_0_4_line_44 |  | 41 | 42 | 0.0064505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2701-256_0_4_line_45 |  | 42 | 45 | 0.001507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2701-256_0_4_line_46 |  | 43 | 44 | 0.0029661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2701-256_0_4_line_47 |  | 44 | 45 | 0.005179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2701-256_0_4_line_48 |  | 46 | 47 | 0.0092082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-256_0_4_line_49 |  | 47 | 48 | 0.0044008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-256_0_4_line_50 |  | 48 | 49 | 0.014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-256_0_4_line_51 |  | 48 | 50 | 0.0060997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-256_0_4_line_52 |  | 49 | 51 | 0.0001723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-256_0_4_line_53 |  | 51 | 57 | 0.016294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-256_0_4_line_54 |  | 52 | 53 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-256_0_4_line_55 |  | 52 | 54 | 0.0095538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-256_0_4_line_56 |  | 53 | 55 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-256_0_4_line_57 |  | 55 | 56 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-256_0_4_line_58 |  | 58 | 59 | 0.00079884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-256_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 60 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611373.9992 | 1268162.4707 | 2611375.313 | 1268159.8454
1 | 2611373.9992 | 1268162.4707 | 2611373.8875 | 1268162.6938 | 2611370.7532 | 1268174.2866
2 | 2611375.313 | 1268159.8454 | 2611378.4888 | 1268153.4993
3 | 2611368.1242 | 1268184.0102 | 2611370.7532 | 1268174.2866
4 | 2611379.8893 | 1268150.7006 | 2611378.4888 | 1268153.4993
5 | 2611362.4428 | 1268205.0238 | 2611368.1242 | 1268184.0102
6 | 2611379.8893 | 1268150.7006 | 2611384.8296 | 1268140.8288
7 | 2611362.4428 | 1268205.0238 | 2611377.9487 | 1268208.5785
8 | 2611362.4428 | 1268205.0238 | 2611357.5768 | 1268226.6076
9 | 2611362.4428 | 1268205.0238 | 2611352.991 | 1268199.5182
10 | 2611384.8296 | 1268140.8288 | 2611385.368 | 1268139.7528
11 | 2611377.9487 | 1268208.5785 | 2611378.1546 | 1268208.6256
12 | 2611357.5768 | 1268226.6076 | 2611356.9658 | 1268229.3175
13 | 2611347.2793 | 1268196.1911 | 2611352.991 | 1268199.5182
14 | 2611353.6269 | 1268244.0957 | 2611354.1165 | 1268241.9561 | 2611354.7142 | 1268239.305
15 | 2611353.6269 | 1268244.0957 | 2611352.8932 | 1268247.3015
16 | 2611354.7142 | 1268239.305 | 2611355.643 | 1268235.1854
17 | 2611351.0763 | 1268255.2402 | 2611352.8932 | 1268247.3015
18 | 2611356.9658 | 1268229.3175 | 2611355.643 | 1268235.1854
19 | 2611350.9067 | 1268255.9814 | 2611351.0763 | 1268255.2402
20 | 2611350.9067 | 1268255.9814 | 2611349.3205 | 1268262.9125
21 | 2611347.1446 | 1268272.4198 | 2611349.3205 | 1268262.9125
22 | 2611378.1546 | 1268208.6256 | 2611391.0716 | 1268211.5868
23 | 2611502.9078 | 1268189.9057 | 2611503.4545 | 1268199.0576 | 2611503.1259 | 1268207.8056
24 | 2611499.6494 | 1268236.4654 | 2611502.4027 | 1268217.5575 | 2611503.0816 | 1268208.9861 | 2611503.1259 | 1268207.8056
25 | 2611502.9078 | 1268189.9057 | 2611502.5314 | 1268185.9747
26 | 2611499.6494 | 1268236.4654 | 2611498.5586 | 1268236.2298 | 2611489.9607 | 1268234.2563 | 2611475.6914 | 1268230.9852
27 | 2611500.9697 | 1268164.7954 | 2611501.285 | 1268172.9573 | 2611502.5314 | 1268185.9747
28 | 2611462.8884 | 1268228.0502 | 2611475.6914 | 1268230.9852
29 | 2611500.9697 | 1268164.7954 | 2611499.5035 | 1268164.1143 | 2611493.2478 | 1268161.2113
30 | 2611462.8884 | 1268228.0502 | 2611459.0696 | 1268227.1747
31 | 2611493.2478 | 1268161.2113 | 2611490.5184 | 1268159.9496 | 2611482.0373 | 1268155.8525 | 2611471.5206 | 1268150.7627
32 | 2611457.8171 | 1268226.8876 | 2611459.0696 | 1268227.1747
33 | 2611398.521 | 1268213.2945 | 2611399.0194 | 1268213.4087
34 | 2611405.0531 | 1268214.7919 | 2611399.0194 | 1268213.4087
35 | 2611391.2483 | 1268211.6273 | 2611398.521 | 1268213.2945
36 | 2611405.0531 | 1268214.7919 | 2611406.899 | 1268215.2151
37 | 2611391.0716 | 1268211.5868 | 2611391.2483 | 1268211.6273
38 | 2611406.899 | 1268215.2151 | 2611412.6307 | 1268216.529
39 | 2611415.9502 | 1268217.29 | 2611412.6307 | 1268216.529
40 | 2611415.9502 | 1268217.29 | 2611417.1836 | 1268217.5727
41 | 2611445.4179 | 1268224.0452 | 2611457.8171 | 1268226.8876
42 | 2611438.9945 | 1268222.5727 | 2611445.4179 | 1268224.0452
43 | 2611438.9945 | 1268222.5727 | 2611432.879 | 1268221.1708
44 | 2611426.5916 | 1268219.7294 | 2611432.879 | 1268221.1708
45 | 2611426.5916 | 1268219.7294 | 2611425.1228 | 1268219.3927
46 | 2611417.1836 | 1268217.5727 | 2611420.0747 | 1268218.2355
47 | 2611420.0747 | 1268218.2355 | 2611425.1228 | 1268219.3927
48 | 2611342.5711 | 1268291.5901 | 2611344.7449 | 1268282.6422
49 | 2611345.7839 | 1268278.3658 | 2611344.7449 | 1268282.6422
50 | 2611345.7839 | 1268278.3658 | 2611352.8713 | 1268279.2355 | 2611360.1409 | 1268280.7868
51 | 2611345.7839 | 1268278.3658 | 2611347.1446 | 1268272.4198
52 | 2611360.3094 | 1268280.8227 | 2611360.1409 | 1268280.7868
53 | 2611376.3043 | 1268283.9169 | 2611367.5401 | 1268282.3657 | 2611360.3094 | 1268280.8227
54 | 2611462.9209 | 1268146.6008 | 2611449.3977 | 1268140.056
55 | 2611462.9209 | 1268146.6008 | 2611471.5206 | 1268150.7627
56 | 2611449.3977 | 1268140.056 | 2611435.7069 | 1268133.43
57 | 2611435.7069 | 1268133.43 | 2611426.3756 | 1268128.914
58 | 2611385.368 | 1268139.7528 | 2611385.7255 | 1268139.0385

## bus_geodata
| x | y | coords
0 | 2611373.9992 | 1268162.4707
1 | 2611375.313 | 1268159.8454
2 | 2611370.7532 | 1268174.2866
3 | 2611378.4888 | 1268153.4993
4 | 2611368.1242 | 1268184.0102
5 | 2611379.8894 | 1268150.7006
6 | 2611362.4428 | 1268205.0238
7 | 2611384.8296 | 1268140.8288
8 | 2611377.9487 | 1268208.5785
9 | 2611357.5768 | 1268226.6076
10 | 2611352.991 | 1268199.5182
11 | 2611353.6269 | 1268244.0957
12 | 2611354.7142 | 1268239.305
13 | 2611352.8932 | 1268247.3015
14 | 2611355.643 | 1268235.1854
15 | 2611351.0763 | 1268255.2402
16 | 2611356.9658 | 1268229.3175
17 | 2611350.9067 | 1268255.9814
18 | 2611349.3205 | 1268262.9125
19 | 2611347.2793 | 1268196.1911
20 | 2611378.1546 | 1268208.6256
21 | 2611503.1259 | 1268207.8056
22 | 2611502.9078 | 1268189.9057
23 | 2611499.6494 | 1268236.4654
24 | 2611502.5314 | 1268185.9747
25 | 2611475.6914 | 1268230.9851
26 | 2611500.9697 | 1268164.7954
27 | 2611462.8884 | 1268228.0502
28 | 2611493.2478 | 1268161.2113
29 | 2611459.0696 | 1268227.1747
30 | 2611399.0194 | 1268213.4087
31 | 2611398.521 | 1268213.2945
32 | 2611405.0531 | 1268214.7919
33 | 2611391.2483 | 1268211.6273
34 | 2611406.899 | 1268215.2151
35 | 2611391.0716 | 1268211.5868
36 | 2611412.6307 | 1268216.529
37 | 2611415.9502 | 1268217.29
38 | 2611457.8171 | 1268226.8876
39 | 2611445.4179 | 1268224.0452
40 | 2611438.9945 | 1268222.5727
41 | 2611432.879 | 1268221.1708
42 | 2611426.5916 | 1268219.7294
43 | 2611417.1836 | 1268217.5727
44 | 2611420.0747 | 1268218.2355
45 | 2611425.1228 | 1268219.3927
46 | 2611342.5711 | 1268291.5901
47 | 2611344.7449 | 1268282.6422
48 | 2611345.7839 | 1268278.3658
49 | 2611360.1409 | 1268280.7868
50 | 2611347.1446 | 1268272.4198
51 | 2611360.3094 | 1268280.8227
52 | 2611462.9209 | 1268146.6008
53 | 2611449.3977 | 1268140.056
54 | 2611471.5206 | 1268150.7627
55 | 2611435.7069 | 1268133.43
56 | 2611426.3756 | 1268128.914
57 | 2611376.3043 | 1268283.9169
58 | 2611385.368 | 1268139.7528
59 | 2611385.7255 | 1268139.0385
60 | 2611362.4428 | 1268205.0238

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99279 | -0.1385 | 0.016016 | 0.0040141
1 | 0.99264 | -0.14144 | 0.015624 | 0.0039158
2 | 0.99361 | -0.12275 | 0.0055603 | 0.0013936
3 | 0.99238 | -0.14659 | 0.006389 | 0.0016012
4 | 0.99433 | -0.10885 | 0.003749 | 0.00093958
5 | 0.99228 | -0.14851 | 0.0050203 | 0.0012582
6 | 0.99596 | -0.077428 | 0 | 0
7 | 0.99198 | -0.15431 | 0.0088524 | 0.0022186
8 | 0.99711 | -0.05534 | 0.0044599 | 0.0011177
9 | 0.99464 | -0.10279 | 0.0032962 | 0.0008261
10 | 0.99585 | -0.079556 | 0.005307 | 0.00133
11 | 0.99373 | -0.12048 | 0.0034424 | 0.00086275
12 | 0.99396 | -0.11596 | 0.0025377 | 0.000636
13 | 0.99358 | -0.12331 | 0.0032701 | 0.00081955
14 | 0.99417 | -0.11189 | 0.0026784 | 0.00067127
15 | 0.99324 | -0.12984 | 0.0025518 | 0.00063954
16 | 0.99449 | -0.10582 | 0.004522 | 0.0011333
17 | 0.99321 | -0.13041 | 0.0063655 | 0.0015953
18 | 0.99298 | -0.135 | 0.003253 | 0.00081528
19 | 0.99582 | -0.080226 | 0.0057635 | 0.0014445
20 | 0.99713 | -0.055039 | 0.0077751 | 0.0019486
21 | 0.99117 | -0.16871 | 0.0044274 | 0.0011096
22 | 0.98998 | -0.19178 | 0 | 0
23 | 0.99316 | -0.1305 | 0 | 0
24 | 0.98971 | -0.19687 | 0.042253 | 0.01059
25 | 0.99485 | -0.098118 | 0.0059358 | 0.0014877
26 | 0.9877 | -0.23578 | 0 | 0
27 | 0.99579 | -0.08017 | 0.0023821 | 0.00059701
28 | 0.98689 | -0.25138 | 0 | 0
29 | 0.99607 | -0.074741 | 0.0039471 | 0.00098924
30 | 0.99882 | -0.022595 | 0.0030232 | 0.00075768
31 | 0.99878 | -0.023398 | 0.0021432 | 0.00053714
32 | 0.99933 | -0.012715 | 0.0021379 | 0.00053582
33 | 0.99817 | -0.034984 | 0.0032622 | 0.00081758
34 | 0.99949 | -0.0096589 | 0.0034403 | 0.00086223
35 | 0.99816 | -0.03526 | 0.0039205 | 0.00098256
36 | 1 | 0 | -0.39435 | -0.09967
37 | 0.99969 | -0.0059702 | 0.0043487 | 0.0010899
38 | 0.99617 | -0.072917 | 0.006195 | 0.0015526
39 | 0.99715 | -0.054183 | 0.005092 | 0.0012762
40 | 0.99767 | -0.044199 | 0.0071108 | 0.0017821
41 | 0.99819 | -0.034313 | 0.0030351 | 0.00076067
42 | 0.99874 | -0.023989 | 0.0021382 | 0.00053588
43 | 0.99957 | -0.0081415 | 0.0067944 | 0.0017028
44 | 0.99931 | -0.013057 | 0.0021225 | 0.00053196
45 | 0.99887 | -0.02155 | 0.0025967 | 0.0006508
46 | 0.99247 | -0.14475 | 0.0026415 | 0.00066203
47 | 0.9925 | -0.14432 | 0.0032895 | 0.00082442
48 | 0.99252 | -0.14386 | 0 | 0
49 | 0.99221 | -0.14982 | 0.0046948 | 0.0011766
50 | 0.99268 | -0.14073 | 0.0041884 | 0.0010497
51 | 0.99221 | -0.14987 | 0.004685 | 0.0011742
52 | 0.98386 | -0.31047 | 0.022368 | 0.005606
53 | 0.98299 | -0.32753 | 0.031957 | 0.0080092
54 | 0.98461 | -0.29579 | 0.017324 | 0.0043418
55 | 0.98255 | -0.33606 | 0.015583 | 0.0039055
56 | 0.9824 | -0.33896 | 0.015475 | 0.0038785
57 | 0.992 | -0.15383 | 0.013724 | 0.0034397
58 | 0.99196 | -0.15475 | 0.0054027 | 0.001354
59 | 0.99194 | -0.15497 | 0.015388 | 0.0038566
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.056707 | 0.014223 | -0.056699 | -0.014218 | 7.9533e-06 | 5.0522e-06 | 0.084997 | 0.084997 | 0.084997 | 0.99279 | -0.1385 | 0.99264 | -0.14144 | 23.3509
1 | -0.072723 | -0.018238 | 0.072778 | 0.018272 | 5.4619e-05 | 3.4798e-05 | 0.109 | 0.109 | 0.109 | 0.99279 | -0.1385 | 0.99361 | -0.12275 | 29.9458
2 | 0.041075 | 0.010303 | -0.041065 | -0.010296 | 1.009e-05 | 6.3658e-06 | 0.061576 | 0.061576 | 0.061576 | 0.99264 | -0.14144 | 0.99238 | -0.14659 | 16.9164
3 | -0.078338 | -0.019666 | 0.07839 | 0.019699 | 5.1999e-05 | 3.3149e-05 | 0.11733 | 0.11733 | 0.11733 | 0.99361 | -0.12275 | 0.99433 | -0.10885 | 32.2335
4 | 0.034676 | 0.008695 | -0.034672 | -0.008693 | 3.1729e-06 | 1.9902e-06 | 0.051996 | 0.051996 | 0.051996 | 0.99238 | -0.14659 | 0.99228 | -0.14851 | 14.2845
5 | -0.082139 | -0.020639 | 0.082263 | 0.020717 | 0.00012338 | 7.8679e-05 | 0.12294 | 0.12294 | 0.12294 | 0.99433 | -0.10885 | 0.99596 | -0.077428 | 33.7747
6 | 0.029652 | 0.0074348 | -0.029644 | -0.0074297 | 8.1855e-06 | 5.0961e-06 | 0.044467 | 0.044467 | 0.044467 | 0.99228 | -0.14851 | 0.99198 | -0.15431 | 12.2163
7 | -0.15865 | -0.039931 | 0.15882 | 0.040038 | 0.00016768 | 0.0001069 | 0.2371 | 0.2371 | 0.2371 | 0.99596 | -0.077428 | 0.99711 | -0.05534 | 32.5683
8 | 0.06532 | 0.016439 | -0.065241 | -0.016389 | 7.9061e-05 | 5.0311e-05 | 0.097615 | 0.097616 | 0.097616 | 0.99596 | -0.077428 | 0.99464 | -0.10279 | 26.8175
9 | 0.011072 | 0.0027751 | -0.011071 | -0.0027746 | 1.1224e-06 | 5.7602e-07 | 0.016542 | 0.016542 | 0.016542 | 0.99596 | -0.077428 | 0.99585 | -0.079556 | 4.5445
10 | 0.020792 | 0.005211 | -0.020791 | -0.0052108 | 4.3886e-07 | 2.6534e-07 | 0.031188 | 0.031188 | 0.031188 | 0.99198 | -0.15431 | 0.99196 | -0.15475 | 8.5682
11 | -0.16328 | -0.041156 | 0.16328 | 0.041157 | 2.3527e-06 | 1.5002e-06 | 0.24375 | 0.24375 | 0.24375 | 0.99711 | -0.05534 | 0.99713 | -0.055039 | 33.4825
12 | 0.061945 | 0.015563 | -0.061936 | -0.015557 | 8.9488e-06 | 5.6912e-06 | 0.092684 | 0.092684 | 0.092684 | 0.99464 | -0.10279 | 0.99449 | -0.10582 | 25.4627
13 | 0.0057637 | 0.0014445 | -0.0057635 | -0.0014445 | 1.8386e-07 | 3.1669e-08 | 0.0086123 | 0.0086123 | 0.0086123 | 0.99585 | -0.079556 | 0.99582 | -0.080226 | 2.366
14 | -0.052159 | -0.013092 | 0.05217 | 0.013099 | 1.124e-05 | 7.1298e-06 | 0.07811 | 0.07811 | 0.07811 | 0.99373 | -0.12048 | 0.99396 | -0.11596 | 21.4589
15 | 0.048717 | 0.012229 | -0.04871 | -0.012225 | 6.564e-06 | 4.1584e-06 | 0.072956 | 0.072956 | 0.072956 | 0.99373 | -0.12048 | 0.99358 | -0.12331 | 20.0428
16 | -0.054708 | -0.013735 | 0.054719 | 0.013742 | 1.0625e-05 | 6.7451e-06 | 0.081909 | 0.081909 | 0.081909 | 0.99396 | -0.11596 | 0.99417 | -0.11189 | 22.5026
17 | 0.04544 | 0.011405 | -0.045426 | -0.011396 | 1.4146e-05 | 8.948e-06 | 0.068058 | 0.068058 | 0.068058 | 0.99358 | -0.12331 | 0.99324 | -0.12984 | 18.6974
18 | -0.057397 | -0.014413 | 0.057414 | 0.014424 | 1.6651e-05 | 1.0579e-05 | 0.085918 | 0.085918 | 0.085918 | 0.99417 | -0.11189 | 0.99449 | -0.10582 | 23.6039
19 | 0.042874 | 0.010757 | -0.042873 | -0.010756 | 1.1764e-06 | 7.4307e-07 | 0.064235 | 0.064235 | 0.064235 | 0.99324 | -0.12984 | 0.99321 | -0.13041 | 17.6471
20 | 0.036507 | 0.0091607 | -0.036499 | -0.0091557 | 7.9777e-06 | 5.0137e-06 | 0.054699 | 0.054699 | 0.054699 | 0.99321 | -0.13041 | 0.99298 | -0.135 | 15.0271
21 | 0.033246 | 0.0083404 | -0.033237 | -0.0083348 | 9.0794e-06 | 5.6847e-06 | 0.049824 | 0.049824 | 0.049824 | 0.99298 | -0.135 | 0.99268 | -0.14073 | 13.6879
22 | -0.17106 | -0.043106 | 0.17122 | 0.043209 | 0.00016202 | 0.00010335 | 0.25536 | 0.25536 | 0.25536 | 0.99713 | -0.055039 | 0.99816 | -0.03526 | 35.0763
23 | 0.14577 | 0.036847 | -0.14561 | -0.036745 | 0.0001611 | 0.00010264 | 0.21895 | 0.21895 | 0.21895 | 0.99117 | -0.16871 | 0.98998 | -0.19178 | 30.076
24 | -0.1502 | -0.037957 | 0.15047 | 0.038133 | 0.00027566 | 0.00017568 | 0.2256 | 0.2256 | 0.2256 | 0.99117 | -0.16871 | 0.99316 | -0.1305 | 30.989
25 | 0.14561 | 0.036745 | -0.14557 | -0.036722 | 3.5497e-05 | 2.2616e-05 | 0.21895 | 0.21895 | 0.21895 | 0.98998 | -0.19178 | 0.98971 | -0.19687 | 30.076
26 | -0.15047 | -0.038133 | 0.15071 | 0.038282 | 0.00023453 | 0.00014946 | 0.2256 | 0.2256 | 0.2256 | 0.99316 | -0.1305 | 0.99485 | -0.098118 | 30.9889
27 | 0.10332 | 0.026132 | -0.10313 | -0.026009 | 0.00019246 | 0.0001229 | 0.15543 | 0.15543 | 0.15543 | 0.98971 | -0.19687 | 0.9877 | -0.23578 | 42.6996
28 | -0.15664 | -0.03977 | 0.15678 | 0.039856 | 0.00013541 | 8.6318e-05 | 0.23448 | 0.23448 | 0.23448 | 0.99485 | -0.098118 | 0.99579 | -0.08017 | 32.2084
29 | 0.10313 | 0.026009 | -0.10305 | -0.02596 | 7.6938e-05 | 4.9132e-05 | 0.15543 | 0.15543 | 0.15543 | 0.9877 | -0.23578 | 0.98689 | -0.25138 | 42.6996
30 | -0.15916 | -0.040453 | 0.1592 | 0.04048 | 4.1624e-05 | 2.6537e-05 | 0.23804 | 0.23804 | 0.23804 | 0.99579 | -0.08017 | 0.99607 | -0.074741 | 32.6974
31 | 0.10305 | 0.02596 | -0.10283 | -0.025821 | 0.00021841 | 0.00013947 | 0.15543 | 0.15543 | 0.15543 | 0.98689 | -0.25138 | 0.98461 | -0.29579 | 42.6996
32 | -0.16315 | -0.041469 | 0.16317 | 0.041478 | 1.4337e-05 | 9.1421e-06 | 0.24393 | 0.24393 | 0.24393 | 0.99607 | -0.074741 | 0.99617 | -0.072917 | 33.5073
33 | 0.18066 | 0.045616 | -0.18065 | -0.045611 | 6.9516e-06 | 4.4357e-06 | 0.26926 | 0.26926 | 0.26926 | 0.99882 | -0.022595 | 0.99878 | -0.023398 | 36.9857
34 | -0.18368 | -0.046374 | 0.18377 | 0.046429 | 8.6985e-05 | 5.5508e-05 | 0.27376 | 0.27376 | 0.27376 | 0.99882 | -0.022595 | 0.99933 | -0.012715 | 37.6044
35 | 0.17851 | 0.045074 | -0.17841 | -0.045011 | 9.9035e-05 | 6.3187e-05 | 0.26606 | 0.26606 | 0.26606 | 0.99878 | -0.023398 | 0.99817 | -0.034984 | 36.5471
36 | -0.1859 | -0.046965 | 0.18593 | 0.046982 | 2.7234e-05 | 1.738e-05 | 0.27694 | 0.27694 | 0.27694 | 0.99933 | -0.012715 | 0.99949 | -0.0096589 | 38.0416
37 | 0.17514 | 0.044193 | -0.17514 | -0.044192 | 2.3187e-06 | 1.4793e-06 | 0.2612 | 0.2612 | 0.2612 | 0.99817 | -0.034984 | 0.99816 | -0.03526 | 35.8791
38 | -0.18937 | -0.047844 | 0.18946 | 0.0479 | 8.7721e-05 | 5.5987e-05 | 0.28206 | 0.28206 | 0.28206 | 0.99949 | -0.0096589 | 1 | 0 | 38.7452
39 | 0.20324 | 0.051769 | -0.20318 | -0.051732 | 5.8515e-05 | 3.736e-05 | 0.30272 | 0.30272 | 0.30272 | 1 | 0 | 0.99969 | -0.0059702 | 41.582
40 | 0.19883 | 0.050642 | -0.19881 | -0.050629 | 2.0822e-05 | 1.3293e-05 | 0.29624 | 0.29624 | 0.29624 | 0.99969 | -0.0059702 | 0.99957 | -0.0081415 | 40.6929
41 | -0.16936 | -0.043031 | 0.16951 | 0.043128 | 0.0001529 | 9.7522e-05 | 0.25319 | 0.25319 | 0.25319 | 0.99617 | -0.072917 | 0.99715 | -0.054183 | 34.7784
42 | -0.1746 | -0.044404 | 0.17469 | 0.044458 | 8.4035e-05 | 5.361e-05 | 0.26079 | 0.26079 | 0.26079 | 0.99715 | -0.054183 | 0.99767 | -0.044199 | 35.8222
43 | -0.1818 | -0.04624 | 0.18189 | 0.046295 | 8.6645e-05 | 5.5289e-05 | 0.27139 | 0.27139 | 0.27139 | 0.99767 | -0.044199 | 0.99819 | -0.034313 | 37.279
44 | -0.18492 | -0.047056 | 0.18501 | 0.047115 | 9.2075e-05 | 5.876e-05 | 0.27592 | 0.27592 | 0.27592 | 0.99819 | -0.034313 | 0.99874 | -0.023989 | 37.9005
45 | -0.18715 | -0.047651 | 0.18717 | 0.047665 | 2.201e-05 | 1.4047e-05 | 0.2791 | 0.2791 | 0.2791 | 0.99874 | -0.023989 | 0.99887 | -0.02155 | 38.3381
46 | 0.19202 | 0.048926 | -0.19197 | -0.048897 | 4.5532e-05 | 2.9063e-05 | 0.28613 | 0.28613 | 0.28613 | 0.99957 | -0.0081415 | 0.99931 | -0.013057 | 39.3035
47 | 0.18985 | 0.048365 | -0.18977 | -0.048315 | 7.7755e-05 | 4.9627e-05 | 0.28297 | 0.28297 | 0.28297 | 0.99931 | -0.013057 | 0.99887 | -0.02155 | 38.8694
48 | -0.0026415 | -0.00066203 | 0.0026416 | 0.00066194 | 5.4161e-08 | -8.4333e-08 | 0.0039604 | 0.0039604 | 0.0039604 | 0.99247 | -0.14475 | 0.9925 | -0.14432 | 1.088
49 | -0.005931 | -0.0014864 | 0.0059312 | 0.0014864 | 1.3049e-07 | 2.664e-08 | 0.0088922 | 0.0088922 | 0.0088922 | 0.9925 | -0.14432 | 0.99252 | -0.14386 | 2.4429
50 | 0.023113 | 0.005796 | -0.023107 | -0.005792 | 6.563e-06 | 4.012e-06 | 0.034654 | 0.034654 | 0.034654 | 0.99252 | -0.14386 | 0.99221 | -0.14982 | 9.5202
51 | -0.029045 | -0.0072823 | 0.029049 | 0.007285 | 4.3374e-06 | 2.6971e-06 | 0.043546 | 0.043546 | 0.043546 | 0.99252 | -0.14386 | 0.99268 | -0.14073 | 11.9631
52 | 0.018412 | 0.0046153 | -0.018412 | -0.0046153 | 4.9264e-08 | 2.9305e-08 | 0.027613 | 0.027613 | 0.027613 | 0.99221 | -0.14982 | 0.99221 | -0.14987 | 7.5859
53 | 0.013727 | 0.0034411 | -0.013724 | -0.0034397 | 2.5896e-06 | 1.447e-06 | 0.020587 | 0.020587 | 0.020587 | 0.99221 | -0.14987 | 0.992 | -0.15383 | 5.6557
54 | 0.063081 | 0.015835 | -0.06303 | -0.015802 | 5.1291e-05 | 3.2636e-05 | 0.095415 | 0.095415 | 0.095415 | 0.98386 | -0.31047 | 0.98299 | -0.32753 | 26.213
55 | -0.08545 | -0.021441 | 0.085509 | 0.021479 | 5.9846e-05 | 3.818e-05 | 0.12925 | 0.12925 | 0.12925 | 0.98386 | -0.31047 | 0.98461 | -0.29579 | 35.5069
56 | 0.031073 | 0.0077931 | -0.03106 | -0.0077852 | 1.2621e-05 | 7.8846e-06 | 0.04704 | 0.04704 | 0.04704 | 0.98299 | -0.32753 | 0.98255 | -0.33606 | 12.923
57 | 0.015477 | 0.0038797 | -0.015475 | -0.0038785 | 2.1359e-06 | 1.2357e-06 | 0.02344 | 0.02344 | 0.02344 | 0.98255 | -0.33606 | 0.9824 | -0.33896 | 6.4396
58 | 0.015388 | 0.0038567 | -0.015388 | -0.0038566 | 1.5963e-07 | 9.185e-08 | 0.023084 | 0.023084 | 0.023084 | 0.99196 | -0.15475 | 0.99194 | -0.15497 | 6.3417

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39701 | 0.10034

## res_load
| p_mw | q_mvar
0 | 0.016016 | 0.0040141
1 | 0.015624 | 0.0039158
2 | 0.0055603 | 0.0013936
3 | 0.006389 | 0.0016012
4 | 0.003749 | 0.00093958
5 | 0.0050203 | 0.0012582
6 | 0.0088524 | 0.0022186
7 | 0.0044599 | 0.0011177
8 | 0.0032962 | 0.0008261
9 | 0.005307 | 0.00133
10 | 0.0034424 | 0.00086275
11 | 0.0025377 | 0.000636
12 | 0.0032701 | 0.00081955
13 | 0.0026784 | 0.00067127
14 | 0.0025518 | 0.00063954
15 | 0.004522 | 0.0011333
16 | 0.0063655 | 0.0015953
17 | 0.003253 | 0.00081528
18 | 0.0057635 | 0.0014445
19 | 0.0077751 | 0.0019486
20 | 0.0044274 | 0.0011096
21 | 0.042253 | 0.01059
22 | 0.0059358 | 0.0014877
23 | 0.0023821 | 0.00059701
24 | 0.0039471 | 0.00098924
25 | 0.0030232 | 0.00075768
26 | 0.0021432 | 0.00053714
27 | 0.0021379 | 0.00053582
28 | 0.0032622 | 0.00081758
29 | 0.0034403 | 0.00086223
30 | 0.0039205 | 0.00098256
31 | 0.0026592 | 0.00066645
32 | 0.0043487 | 0.0010899
33 | 0.006195 | 0.0015526
34 | 0.005092 | 0.0012762
35 | 0.0071108 | 0.0017821
36 | 0.0030351 | 0.00076067
37 | 0.0021382 | 0.00053588
38 | 0.0067944 | 0.0017028
39 | 0.0021225 | 0.00053196
40 | 0.0025967 | 0.0006508
41 | 0.0026415 | 0.00066203
42 | 0.0032895 | 0.00082442
43 | 0.0046948 | 0.0011766
44 | 0.0041884 | 0.0010497
45 | 0.004685 | 0.0011742
46 | 0.022368 | 0.005606
47 | 0.031957 | 0.0080092
48 | 0.017324 | 0.0043418
49 | 0.015583 | 0.0039055
50 | 0.015475 | 0.0038785
51 | 0.013724 | 0.0034397
52 | 0.0054027 | 0.001354
53 | 0.015388 | 0.0038566

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1