## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-259_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-259_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-259_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-259_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-259_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-259_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2701-259_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2701-259_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2701-259_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2701-259_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-259_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-259_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-259_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-259_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-259_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2701-259_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2701-259_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2701-259_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2701-259_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2701-259_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2701-259_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2701-259_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-259_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2701-259_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_2701-259_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2701-259_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2701-259_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2701-259_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2701-259_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2701-259_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2701-259_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2701-259_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2701-259_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2701-259_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2701-259_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2701-259_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2701-259_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_MV_561_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-259_0_4_load_0 | 0 | 0.017887 | 0.0044828 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-259_0_4_load_3 | 3 | 0.01153 | 0.0028898 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-259_0_4_load_4 | 4 | 0.011805 | 0.0029586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-259_0_4_load_19 | 5 | 0.023906 | 0.0059915 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-259_0_4_load_16 | 6 | 0.0091364 | 0.0022898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-259_0_4_load_18 | 7 | 0.021626 | 0.00542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-259_0_4_load_15 | 8 | 0.027125 | 0.0067981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-259_0_4_load_5 | 9 | 0.011307 | 0.0028337 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-259_0_4_load_6 | 10 | 0.017381 | 0.004356 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-259_0_4_load_7 | 11 | 0.0086539 | 0.0021689 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-259_0_4_load_9 | 13 | 0.014478 | 0.0036285 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-259_0_4_load_17 | 15 | 0.013136 | 0.0032923 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-259_0_4_load_21 | 16 | 0.0097073 | 0.0024329 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-259_0_4_load_10 | 17 | 0.030517 | 0.0076483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-259_0_4_load_11 | 18 | 0.053262 | 0.013349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-259_0_4_load_12 | 19 | 0.0091833 | 0.0023015 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-259_0_4_load_13 | 20 | 0.0046988 | 0.0011776 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-259_0_4_load_14 | 21 | 0.0091971 | 0.002305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-259_0_4_load_33 | 22 | 0.0046571 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-259_0_4_load_32 | 23 | 0.0069733 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-259_0_4_load_20 | 24 | 0.011367 | 0.0028488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-259_0_4_load_24 | 26 | 0.047197 | 0.011829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-259_0_4_load_25 | 27 | 0.0049745 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-259_0_4_load_26 | 28 | 0.0049818 | 0.0012486 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-259_0_4_load_27 | 29 | 0.058798 | 0.014736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-259_0_4_load_28 | 30 | 0.0053371 | 0.0013376 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-259_0_4_load_29 | 31 | 0.004992 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-259_0_4_load_30 | 32 | 0.0049219 | 0.0012335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-259_0_4_load_31 | 33 | 0.0049821 | 0.0012486 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-259_0_4_load_36 | 34 | 0.0067384 | 0.0016888 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-259_0_4_load_38 | 36 | 0.0042694 | 0.00107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-259_0_4_line_0 |  | 0 | 1 | 0.0099085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-259_0_4_line_1 |  | 0 | 2 | 0.0067551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-259_0_4_line_2 |  | 1 | 3 | 0.023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-259_0_4_line_3 |  | 2 | 4 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-259_0_4_line_4 |  | 3 | 5 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-259_0_4_line_5 |  | 4 | 6 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-259_0_4_line_6 |  | 5 | 7 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2701-259_0_4_line_7 |  | 6 | 8 | 0.0079383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-259_0_4_line_8 |  | 7 | 15 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-259_0_4_line_9 |  | 8 | 21 | 0.0010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2701-259_0_4_line_10 |  | 9 | 10 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-259_0_4_line_11 |  | 9 | 11 | 0.0090494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-259_0_4_line_12 |  | 10 | 12 | 0.026149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-259_0_4_line_13 |  | 11 | 13 | 0.0083257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-259_0_4_line_14 |  | 12 | 14 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-259_0_4_line_15 |  | 13 | 15 | 0.000599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-259_0_4_line_16 |  | 14 | 16 | 0.024903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-259_0_4_line_17 |  | 16 | 24 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-259_0_4_line_18 |  | 17 | 18 | 0.007745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2701-259_0_4_line_19 |  | 17 | 19 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-259_0_4_line_20 |  | 18 | 20 | 0.0085372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-259_0_4_line_21 |  | 19 | 21 | 0.008996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2701-259_0_4_line_22 |  | 20 | 22 | 0.0084487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-259_0_4_line_23 |  | 22 | 23 | 0.0078306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-259_0_4_line_24 |  | 23 | 33 | 0.0091154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-259_0_4_line_25 |  | 24 | 25 | 0.046721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-259_0_4_line_26 |  | 25 | 26 | 0.0022748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-259_0_4_line_27 |  | 27 | 28 | 0.0080644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-259_0_4_line_28 |  | 27 | 29 | 0.0083189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-259_0_4_line_29 |  | 28 | 30 | 0.0085767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-259_0_4_line_30 |  | 29 | 31 | 0.00039278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-259_0_4_line_31 |  | 30 | 32 | 0.0082499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-259_0_4_line_32 |  | 31 | 33 | 0.0081086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-259_0_4_line_33 |  | 32 | 34 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-259_0_4_line_34 |  | 34 | 35 | 0.0080625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-259_0_4_line_35 |  | 35 | 36 | 0.016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-259_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 37 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2611975.801 | 1268389.4693 | 2611974.5526 | 1268389.0443 | 2611966.4384 | 1268386.2259
1 | 2611964.7696 | 1268392.7716 | 2611966.4384 | 1268386.2259
2 | 2611975.801 | 1268389.4693 | 2611979.9548 | 1268374.6562 | 2611982.7591 | 1268366.6238
3 | 2611964.7696 | 1268392.7716 | 2611945.2096 | 1268383.801
4 | 2611982.7591 | 1268366.6238 | 2611985.0791 | 1268359.9784 | 2611987.3923 | 1268354.4966
5 | 2611945.2096 | 1268383.801 | 2611934.9159 | 1268379.0801
6 | 2611992.978 | 1268341.2592 | 2611987.3923 | 1268354.4966
7 | 2611934.9159 | 1268379.0801 | 2611927.7003 | 1268375.7709
8 | 2611992.978 | 1268341.2592 | 2611996.9317 | 1268331.8896
9 | 2611926.7655 | 1268375.3422 | 2611927.7003 | 1268375.7709
10 | 2612003.9906 | 1268315.3597 | 2612013.1864 | 1268293.8385
11 | 2612003.9906 | 1268315.3597 | 2612000.4349 | 1268323.6812
12 | 2612023.4609 | 1268269.7925 | 2612013.1864 | 1268293.8385
13 | 2612000.4349 | 1268323.6812 | 2611997.2534 | 1268331.1271 | 2611997.1645 | 1268331.3377
14 | 2612023.4609 | 1268269.7925 | 2612022.0097 | 1268269.2114 | 2612005.3992 | 1268262.5509
15 | 2611996.9317 | 1268331.8896 | 2611997.1645 | 1268331.3377
16 | 2612005.3992 | 1268262.5509 | 2611982.8807 | 1268251.9182
17 | 2611982.8807 | 1268251.9182 | 2611968.1629 | 1268244.9688
18 | 2611903.5969 | 1268364.7165 | 2611896.557 | 1268361.4879
19 | 2611918.5885 | 1268371.592 | 2611903.5969 | 1268364.7165
20 | 2611896.557 | 1268361.4879 | 2611888.797 | 1268357.929
21 | 2611918.5885 | 1268371.592 | 2611926.7655 | 1268375.3422
22 | 2611881.1174 | 1268354.407 | 2611888.797 | 1268357.929
23 | 2611881.1174 | 1268354.407 | 2611873.9997 | 1268351.1426
24 | 2611865.7141 | 1268347.3427 | 2611873.9997 | 1268351.1426
25 | 2611925.9144 | 1268225.02 | 2611968.1629 | 1268244.9688
26 | 2611925.9144 | 1268225.02 | 2611923.8509 | 1268224.0625
27 | 2611850.4251 | 1268340.3308 | 2611843.0949 | 1268336.969
28 | 2611857.9867 | 1268343.7987 | 2611850.4251 | 1268340.3308
29 | 2611835.299 | 1268333.3936 | 2611843.0949 | 1268336.969
30 | 2611857.9867 | 1268343.7987 | 2611858.3437 | 1268343.9624
31 | 2611835.299 | 1268333.3936 | 2611827.8001 | 1268329.9545
32 | 2611865.7141 | 1268347.3427 | 2611858.3437 | 1268343.9624
33 | 2611817.472 | 1268325.2178 | 2611827.8001 | 1268329.9545
34 | 2611810.1435 | 1268321.8568 | 2611817.472 | 1268325.2178
35 | 2611810.1435 | 1268321.8568 | 2611810.029 | 1268315.074 | 2611809.8564 | 1268305.0415

## bus_geodata
| x | y | coords
0 | 2611966.4384 | 1268386.2259
1 | 2611975.801 | 1268389.4693
2 | 2611964.7696 | 1268392.7716
3 | 2611982.7591 | 1268366.6238
4 | 2611945.2096 | 1268383.801
5 | 2611987.3923 | 1268354.4966
6 | 2611934.9159 | 1268379.0801
7 | 2611992.978 | 1268341.2592
8 | 2611927.7003 | 1268375.7709
9 | 2612003.9906 | 1268315.3597
10 | 2612013.1864 | 1268293.8385
11 | 2612000.4349 | 1268323.6812
12 | 2612023.4609 | 1268269.7925
13 | 2611997.1645 | 1268331.3377
14 | 2612005.3992 | 1268262.5509
15 | 2611996.9317 | 1268331.8896
16 | 2611982.8807 | 1268251.9182
17 | 2611903.5969 | 1268364.7165
18 | 2611896.557 | 1268361.4879
19 | 2611918.5885 | 1268371.592
20 | 2611888.797 | 1268357.929
21 | 2611926.7655 | 1268375.3422
22 | 2611881.1174 | 1268354.407
23 | 2611873.9997 | 1268351.1426
24 | 2611968.1629 | 1268244.9688
25 | 2611925.9144 | 1268225.02
26 | 2611923.8509 | 1268224.0625
27 | 2611850.4251 | 1268340.3308
28 | 2611843.0949 | 1268336.969
29 | 2611857.9867 | 1268343.7987
30 | 2611835.299 | 1268333.3936
31 | 2611858.3437 | 1268343.9624
32 | 2611827.8001 | 1268329.9545
33 | 2611865.7141 | 1268347.3427
34 | 2611817.472 | 1268325.2178
35 | 2611810.1435 | 1268321.8568
36 | 2611809.8564 | 1268305.0415
37 | 2611964.7696 | 1268392.7716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99199 | -0.15266 | 0.017887 | 0.0044828
1 | 0.99112 | -0.16938 | 0 | 0
2 | 0.99264 | -0.14022 | 0 | 0
3 | 0.98902 | -0.2098 | 0.01153 | 0.0028898
4 | 0.99471 | -0.10068 | 0.011805 | 0.0029586
5 | 0.98794 | -0.23051 | 0.023906 | 0.0059915
6 | 0.99586 | -0.078759 | 0.0091364 | 0.0022898
7 | 0.98692 | -0.25039 | 0.021626 | 0.00542
8 | 0.99669 | -0.062789 | 0.027125 | 0.0067981
9 | 0.98396 | -0.30754 | 0.011307 | 0.0028337
10 | 0.9821 | -0.34369 | 0.017381 | 0.004356
11 | 0.98478 | -0.29175 | 0.0086539 | 0.0021689
12 | 0.98044 | -0.37601 | 0 | 0
13 | 0.98559 | -0.27596 | 0.014478 | 0.0036285
14 | 0.97921 | -0.40007 | 0 | 0
15 | 0.98566 | -0.27467 | 0.013136 | 0.0032923
16 | 0.97763 | -0.43102 | 0.0097073 | 0.0024329
17 | 1 | 0 | -0.44989 | -0.1139
18 | 0.9994 | -0.011453 | 0.053262 | 0.013349
19 | 0.99792 | -0.039556 | 0.0091833 | 0.0023015
20 | 0.9985 | -0.028799 | 0.0046988 | 0.0011776
21 | 0.99682 | -0.060477 | 0.0091971 | 0.002305
22 | 0.99764 | -0.045301 | 0.0046571 | 0.0011672
23 | 0.99688 | -0.059981 | 0.0069733 | 0.0017477
24 | 0.97674 | -0.44842 | 0.011367 | 0.0028488
25 | 0.97469 | -0.48879 | 0 | 0
26 | 0.97459 | -0.49076 | 0.047197 | 0.011829
27 | 0.99507 | -0.09472 | 0.0049745 | 0.0012467
28 | 0.99488 | -0.098447 | 0.0049818 | 0.0012486
29 | 0.99531 | -0.090148 | 0.058798 | 0.014736
30 | 0.99471 | -0.10166 | 0.0053371 | 0.0013376
31 | 0.99534 | -0.089526 | 0.004992 | 0.0012511
32 | 0.9946 | -0.10397 | 0.0049219 | 0.0012335
33 | 0.99604 | -0.075981 | 0.0049821 | 0.0012486
34 | 0.99448 | -0.10618 | 0.0067384 | 0.0016888
35 | 0.99445 | -0.10679 | 0 | 0
36 | 0.99438 | -0.10805 | 0.0042694 | 0.00107
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.19204 | 0.048809 | -0.19189 | -0.04871 | 0.00015443 | 9.8579e-05 | 0.28831 | 0.28831 | 0.28831 | 0.99199 | -0.15266 | 0.99112 | -0.16938 | 39.6032
1 | -0.20993 | -0.053292 | 0.21005 | 0.053372 | 0.00012579 | 8.033e-05 | 0.31514 | 0.31514 | 0.31514 | 0.99199 | -0.15266 | 0.99264 | -0.14022 | 43.2887
2 | 0.19189 | 0.04871 | -0.19152 | -0.048473 | 0.00037238 | 0.00023771 | 0.28831 | 0.28831 | 0.28831 | 0.99112 | -0.16938 | 0.98902 | -0.2098 | 39.6032
3 | -0.21005 | -0.053372 | 0.21046 | 0.053628 | 0.00040071 | 0.0002559 | 0.31514 | 0.31514 | 0.31514 | 0.99264 | -0.14022 | 0.99471 | -0.10068 | 43.2887
4 | 0.17998 | 0.045583 | -0.17981 | -0.045469 | 0.00017881 | 0.0001141 | 0.27096 | 0.27096 | 0.27096 | 0.98902 | -0.2098 | 0.98794 | -0.23051 | 37.2203
5 | -0.22226 | -0.056586 | 0.2225 | 0.056737 | 0.00023518 | 0.00015022 | 0.3328 | 0.3328 | 0.3328 | 0.99471 | -0.10068 | 0.99586 | -0.078759 | 45.7144
6 | 0.1559 | 0.039477 | -0.15575 | -0.039382 | 0.00014872 | 9.4812e-05 | 0.23496 | 0.23496 | 0.23496 | 0.98794 | -0.23051 | 0.98692 | -0.25039 | 32.2743
7 | -0.23163 | -0.059027 | 0.23181 | 0.059141 | 0.00017865 | 0.00011413 | 0.34645 | 0.34645 | 0.34645 | 0.99586 | -0.078759 | 0.99669 | -0.062789 | 47.5896
8 | 0.13412 | 0.033962 | -0.13397 | -0.033862 | 0.00015615 | 9.9806e-05 | 0.20235 | 0.20235 | 0.20235 | 0.98692 | -0.25039 | 0.98566 | -0.27467 | 55.5906
9 | -0.25894 | -0.065939 | 0.25896 | 0.065957 | 2.8871e-05 | 1.8451e-05 | 0.38695 | 0.38695 | 0.38695 | 0.99669 | -0.062789 | 0.99682 | -0.060477 | 53.1522
10 | 0.086232 | 0.021836 | -0.086082 | -0.02174 | 0.00014943 | 9.5338e-05 | 0.13049 | 0.13049 | 0.13049 | 0.98396 | -0.30754 | 0.9821 | -0.34369 | 35.8477
11 | -0.097538 | -0.024669 | 0.097612 | 0.024717 | 7.3914e-05 | 4.719e-05 | 0.14758 | 0.14758 | 0.14758 | 0.98396 | -0.30754 | 0.98478 | -0.29175 | 40.5451
12 | 0.068702 | 0.017384 | -0.068595 | -0.017317 | 0.00010637 | 6.7747e-05 | 0.10415 | 0.10415 | 0.10415 | 0.9821 | -0.34369 | 0.98044 | -0.37601 | 28.6131
13 | -0.10627 | -0.026885 | 0.10635 | 0.026937 | 8.0588e-05 | 5.147e-05 | 0.16066 | 0.16066 | 0.16066 | 0.98478 | -0.29175 | 0.98559 | -0.27596 | 44.1374
14 | 0.068595 | 0.017317 | -0.068516 | -0.017266 | 7.8953e-05 | 5.0285e-05 | 0.10415 | 0.10415 | 0.10415 | 0.98044 | -0.37601 | 0.97921 | -0.40007 | 28.6132
15 | -0.12082 | -0.030565 | 0.12083 | 0.03057 | 7.483e-06 | 4.7815e-06 | 0.18252 | 0.18252 | 0.18252 | 0.98559 | -0.27596 | 0.98566 | -0.27467 | 50.1424
16 | 0.068516 | 0.017266 | -0.068415 | -0.017202 | 0.0001013 | 6.4519e-05 | 0.10415 | 0.10415 | 0.10415 | 0.97921 | -0.40007 | 0.97763 | -0.43102 | 28.6132
17 | 0.058708 | 0.014769 | -0.058659 | -0.014738 | 4.8756e-05 | 3.1e-05 | 0.089377 | 0.089377 | 0.089377 | 0.97763 | -0.43102 | 0.97674 | -0.44842 | 24.5541
18 | 0.1701 | 0.042828 | -0.17001 | -0.042769 | 9.3084e-05 | 5.9371e-05 | 0.25318 | 0.25318 | 0.25318 | 1 | 0 | 0.9994 | -0.011453 | 34.7773
19 | 0.27815 | 0.071076 | -0.27762 | -0.070737 | 0.00053098 | 0.00033939 | 0.41437 | 0.41437 | 0.41437 | 1 | 0 | 0.99792 | -0.039556 | 56.919
20 | 0.11674 | 0.02942 | -0.11665 | -0.029358 | 9.679e-05 | 6.1834e-05 | 0.17388 | 0.17388 | 0.17388 | 0.9994 | -0.011453 | 0.9985 | -0.028799 | 47.7683
21 | 0.26843 | 0.068435 | -0.26816 | -0.068262 | 0.00027079 | 0.00017307 | 0.40068 | 0.40068 | 0.40068 | 0.99792 | -0.039556 | 0.99682 | -0.060477 | 55.038
22 | 0.11195 | 0.028181 | -0.11186 | -0.028124 | 8.8226e-05 | 5.6354e-05 | 0.16687 | 0.16687 | 0.16687 | 0.9985 | -0.028799 | 0.99764 | -0.045301 | 45.8445
23 | 0.1072 | 0.026957 | -0.10713 | -0.026909 | 7.5106e-05 | 4.7966e-05 | 0.15993 | 0.15993 | 0.15993 | 0.99764 | -0.045301 | 0.99688 | -0.059981 | 43.9362
24 | 0.10015 | 0.025161 | -0.10008 | -0.025113 | 7.6418e-05 | 4.8789e-05 | 0.14952 | 0.14952 | 0.14952 | 0.99688 | -0.059981 | 0.99604 | -0.075981 | 41.0766
25 | 0.047292 | 0.011889 | -0.047201 | -0.011831 | 9.0979e-05 | 5.7643e-05 | 0.07206 | 0.072061 | 0.072061 | 0.97674 | -0.44842 | 0.97469 | -0.48879 | 19.7968
26 | 0.047201 | 0.011831 | -0.047197 | -0.011829 | 4.4297e-06 | 2.8067e-06 | 0.072061 | 0.072061 | 0.072061 | 0.97469 | -0.48879 | 0.97459 | -0.49076 | 19.7968
27 | 0.02626 | 0.0065849 | -0.026255 | -0.006582 | 4.6636e-06 | 2.8799e-06 | 0.03927 | 0.03927 | 0.03927 | 0.99507 | -0.09472 | 0.99488 | -0.098447 | 10.7884
28 | -0.031234 | -0.0078316 | 0.031241 | 0.0078359 | 6.8059e-06 | 4.2477e-06 | 0.046709 | 0.046709 | 0.046709 | 0.99507 | -0.09472 | 0.99531 | -0.090148 | 12.832
29 | 0.021273 | 0.0053335 | -0.02127 | -0.0053315 | 3.2562e-06 | 1.9726e-06 | 0.031819 | 0.031819 | 0.031819 | 0.99488 | -0.098447 | 0.99471 | -0.10166 | 8.7414
30 | -0.090039 | -0.022572 | 0.090042 | 0.022574 | 2.669e-06 | 1.7031e-06 | 0.13461 | 0.13461 | 0.13461 | 0.99531 | -0.090148 | 0.99534 | -0.089526 | 36.9817
31 | 0.015933 | 0.0039939 | -0.015931 | -0.0039929 | 1.7575e-06 | 1.0177e-06 | 0.023835 | 0.023835 | 0.023835 | 0.99471 | -0.10166 | 0.9946 | -0.10397 | 6.548
32 | -0.095034 | -0.023825 | 0.095095 | 0.023864 | 6.1379e-05 | 3.9177e-05 | 0.14208 | 0.14208 | 0.14208 | 0.99534 | -0.089526 | 0.99604 | -0.075981 | 39.0319
33 | 0.011009 | 0.0027593 | -0.011008 | -0.0027587 | 1.156e-06 | 5.9239e-07 | 0.016471 | 0.016471 | 0.016471 | 0.9946 | -0.10397 | 0.99448 | -0.10618 | 4.5251
34 | 0.0042697 | 0.0010699 | -0.0042696 | -0.00107 | 1.234e-07 | -2.563e-08 | 0.0063887 | 0.0063887 | 0.0063887 | 0.99448 | -0.10618 | 0.99445 | -0.10679 | 1.7551
35 | 0.0042696 | 0.00107 | -0.0042694 | -0.00107 | 2.5741e-07 | -5.3437e-08 | 0.0063887 | 0.0063888 | 0.0063888 | 0.99445 | -0.10679 | 0.99438 | -0.10805 | 1.7552

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48041 | 0.12155

## res_load
| p_mw | q_mvar
0 | 0.017887 | 0.0044828
1 | 0.01153 | 0.0028898
2 | 0.011805 | 0.0029586
3 | 0.023906 | 0.0059915
4 | 0.0091364 | 0.0022898
5 | 0.021626 | 0.00542
6 | 0.027125 | 0.0067981
7 | 0.011307 | 0.0028337
8 | 0.017381 | 0.004356
9 | 0.0086539 | 0.0021689
10 | 0.014478 | 0.0036285
11 | 0.013136 | 0.0032923
12 | 0.0097073 | 0.0024329
13 | 0.030517 | 0.0076483
14 | 0.053262 | 0.013349
15 | 0.0091833 | 0.0023015
16 | 0.0046988 | 0.0011776
17 | 0.0091971 | 0.002305
18 | 0.0046571 | 0.0011672
19 | 0.0069733 | 0.0017477
20 | 0.011367 | 0.0028488
21 | 0.047197 | 0.011829
22 | 0.0049745 | 0.0012467
23 | 0.0049818 | 0.0012486
24 | 0.058798 | 0.014736
25 | 0.0053371 | 0.0013376
26 | 0.004992 | 0.0012511
27 | 0.0049219 | 0.0012335
28 | 0.0049821 | 0.0012486
29 | 0.0067384 | 0.0016888
30 | 0.0042694 | 0.00107

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1