## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-260_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-260_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-260_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-260_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-260_0_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2701-260_0_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_2701-260_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2701-260_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2701-260_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2701-260_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_2701-260_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_2701-260_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2701-260_0_3_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_2701-260_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2701-260_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2701-260_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2701-260_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2701-260_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_2701-260_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2701-260_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_2701-260_0_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2701-260_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2701-260_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2701-260_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2701-260_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2701-260_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2701-260_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2701-260_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2701-260_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2701-260_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2701-260_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-260_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-260_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2701-260_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2701-260_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2701-260_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2701-260_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2701-260_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2701-260_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2701-260_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2701-260_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2701-260_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2701-260_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2701-260_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2701-260_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2701-260_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_2701-260_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2701-260_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_MV_561_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-260_0_3_load_0 | 0 | 0.0057001 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-260_0_3_load_1 | 1 | 0.0091914 | 0.0023036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-260_0_3_load_2 | 2 | 0.0050855 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-260_0_3_load_13 | 4 | 0.0052367 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-260_0_3_load_11 | 6 | 0.0050532 | 0.0012664 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-260_0_3_load_27 | 8 | 0.0142 | 0.003559 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-260_0_3_load_29 | 9 | 0.014049 | 0.003521 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-260_0_3_load_52 | 10 | 0.0062585 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-260_0_3_load_31 | 11 | 0.014133 | 0.0035421 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-260_0_3_load_4 | 12 | 0.020695 | 0.0051865 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-260_0_3_load_5 | 13 | 0.022907 | 0.0057409 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-260_0_3_load_10 | 15 | 0.017739 | 0.0044457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-260_0_3_load_36 | 17 | 0.014219 | 0.0035635 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-260_0_3_load_9 | 18 | 0.049064 | 0.012297 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-260_0_3_load_23 | 19 | 0.013646 | 0.00342 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-260_0_3_load_34 | 20 | 0.0078453 | 0.0019662 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-260_0_3_load_21 | 21 | 0.0044614 | 0.0011181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-260_0_3_load_12 | 22 | 0.0050784 | 0.0012728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-260_0_3_load_14 | 23 | 0.0050397 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-260_0_3_load_15 | 24 | 0.0050369 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-260_0_3_load_43 | 25 | 0.0050189 | 0.0012578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-260_0_3_load_25 | 27 | 0.01359 | 0.003406 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-260_0_3_load_30 | 28 | 0.01157 | 0.0028997 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-260_0_3_load_19 | 29 | 0.0083459 | 0.0020917 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-260_0_3_load_20 | 30 | 0.010889 | 0.002729 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-260_0_3_load_24 | 31 | 0.021638 | 0.0054231 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-260_0_3_load_26 | 32 | 0.0054749 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-260_0_3_load_44 | 33 | 0.0018848 | 0.00047237 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-260_0_3_load_42 | 34 | 0.0077689 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-260_0_3_load_45 | 35 | 0.0056998 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-260_0_3_load_41 | 36 | 0.00237 | 0.00059398 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-260_0_3_load_32 | 37 | 0.0045608 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-260_0_3_load_33 | 38 | 0.0078854 | 0.0019763 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-260_0_3_load_35 | 39 | 0.0019422 | 0.00048677 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-260_0_3_load_37 | 40 | 0.0026919 | 0.00067466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-260_0_3_load_38 | 41 | 0.0078545 | 0.0019685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-260_0_3_load_39 | 42 | 0.0023636 | 0.00059237 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-260_0_3_load_40 | 43 | 0.0023401 | 0.00058647 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-260_0_3_load_48 | 44 | 0.0025705 | 0.00064423 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-260_0_3_load_51 | 45 | 0.0021135 | 0.00052969 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-260_0_3_load_49 | 46 | 0.010687 | 0.0026783 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-260_0_3_load_50 | 47 | 0.00261 | 0.00065412 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-260_0_3_line_0 |  | 0 | 1 | 0.0011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-260_0_3_line_1 |  | 1 | 2 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-260_0_3_line_2 |  | 1 | 3 | 0.008571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-260_0_3_line_3 |  | 2 | 4 | 0.0077762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-260_0_3_line_4 |  | 3 | 5 | 0.0097719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-260_0_3_line_5 |  | 4 | 6 | 0.0082126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-260_0_3_line_6 |  | 5 | 10 | 0.005866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-260_0_3_line_7 |  | 5 | 11 | 0.018002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-260_0_3_line_8 |  | 6 | 22 | 0.0078323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-260_0_3_line_9 |  | 7 | 8 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2701-260_0_3_line_10 |  | 7 | 9 | 0.027011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2701-260_0_3_line_11 |  | 8 | 27 | 2.809e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-260_0_3_line_12 |  | 9 | 28 | 0.0083786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2701-260_0_3_line_13 |  | 10 | 15 | 0.00026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-260_0_3_line_14 |  | 11 | 28 | 0.0063818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2701-260_0_3_line_15 |  | 12 | 13 | 0.02863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-260_0_3_line_16 |  | 13 | 14 | 0.058792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-260_0_3_line_17 |  | 14 | 15 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-260_0_3_line_18 |  | 16 | 17 | 0.024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-260_0_3_line_19 |  | 16 | 18 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-260_0_3_line_20 |  | 16 | 19 | 0.031398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-260_0_3_line_21 |  | 17 | 20 | 0.012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-260_0_3_line_22 |  | 19 | 21 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-260_0_3_line_23 |  | 20 | 37 | 0.0076312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-260_0_3_line_24 |  | 21 | 29 | 0.0089246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-260_0_3_line_25 |  | 22 | 23 | 0.0079912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-260_0_3_line_26 |  | 23 | 24 | 0.008206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-260_0_3_line_27 |  | 25 | 26 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-260_0_3_line_28 |  | 26 | 33 | 0.024903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-260_0_3_line_29 |  | 26 | 34 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-260_0_3_line_30 |  | 26 | 32 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-260_0_3_line_31 |  | 27 | 31 | 0.033481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-260_0_3_line_32 |  | 29 | 30 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-260_0_3_line_33 |  | 31 | 32 | 0.00073259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-260_0_3_line_34 |  | 33 | 35 | 0.00093156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-260_0_3_line_35 |  | 34 | 36 | 0.0055673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-260_0_3_line_36 |  | 35 | 39 | 0.0046685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-260_0_3_line_37 |  | 36 | 42 | 0.0073039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-260_0_3_line_38 |  | 37 | 38 | 0.0069751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-260_0_3_line_39 |  | 38 | 39 | 0.0023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-260_0_3_line_40 |  | 40 | 41 | 0.0034492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-260_0_3_line_41 |  | 40 | 42 | 0.0030202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-260_0_3_line_42 |  | 41 | 43 | 0.00086936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-260_0_3_line_43 |  | 43 | 44 | 0.0077448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-260_0_3_line_44 |  | 44 | 45 | 0.00071879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-260_0_3_line_45 |  | 45 | 47 | 0.0073805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-260_0_3_line_46 |  | 46 | 47 | 0.0025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-260_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 48 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2611203.4385 | 1268306.2264 | 2611202.3521 | 1268305.7204
1 | 2611203.4385 | 1268306.2264 | 2611214.2547 | 1268311.1783
2 | 2611199.6837 | 1268313.9359 | 2611203.4385 | 1268306.2264
3 | 2611214.2547 | 1268311.1783 | 2611221.3252 | 1268314.4153
4 | 2611199.331 | 1268321.4293 | 2611196.8119 | 1268320.3572 | 2611199.6837 | 1268313.9359
5 | 2611228.7924 | 1268317.8339 | 2611221.3252 | 1268314.4153
6 | 2611199.331 | 1268321.4293 | 2611198.583 | 1268323.0068 | 2611196.815 | 1268326.7283
7 | 2611199.331 | 1268321.4293 | 2611215.9036 | 1268328.4595
8 | 2611228.7924 | 1268317.8339 | 2611235.9139 | 1268321.0943
9 | 2611254.3582 | 1268344.7719 | 2611252.2573 | 1268349.4268 | 2611249.5667 | 1268355.5733
10 | 2611254.3582 | 1268344.7719 | 2611229.492 | 1268334.2237
11 | 2611249.5667 | 1268355.5733 | 2611249.5554 | 1268355.5991
12 | 2611229.492 | 1268334.2237 | 2611221.7787 | 1268330.9517
13 | 2611196.815 | 1268326.7283 | 2611196.5719 | 1268326.6229
14 | 2611221.7787 | 1268330.9517 | 2611215.9036 | 1268328.4595
15 | 2611206.5168 | 1268233.8001 | 2611195.9599 | 1268260.4127
16 | 2611176.8024 | 1268315.9831 | 2611180.8754 | 1268303.0928 | 2611193.1564 | 1268267.4798 | 2611195.9599 | 1268260.4127
17 | 2611176.8024 | 1268315.9831 | 2611187.6601 | 1268320.8069 | 2611186.0348 | 1268324.6844 | 2611188.4258 | 1268325.8341 | 2611189.4008 | 1268323.5677 | 2611191.9725 | 1268324.6288 | 2611196.5719 | 1268326.6229
18 | 2611158.9644 | 1268381.4623 | 2611182.9231 | 1268387.0641
19 | 2611158.9644 | 1268381.4623 | 2611165.835 | 1268356.2417
20 | 2611158.9644 | 1268381.4623 | 2611152.2544 | 1268412.135
21 | 2611182.9231 | 1268387.0641 | 2611195.1538 | 1268389.9238
22 | 2611152.2544 | 1268412.135 | 2611150.0582 | 1268422.1742
23 | 2611202.5846 | 1268391.6612 | 2611195.1538 | 1268389.9238
24 | 2611148.1509 | 1268430.8926 | 2611150.0582 | 1268422.1742
25 | 2611243.1798 | 1268324.4208 | 2611235.9139 | 1268321.0943
26 | 2611250.641 | 1268327.8367 | 2611243.1798 | 1268324.4208
27 | 2611241.3762 | 1268400.7312 | 2611257.3994 | 1268404.4063
28 | 2611241.3762 | 1268400.7312 | 2611217.127 | 1268395.0614
29 | 2611241.3762 | 1268400.7312 | 2611239.0124 | 1268414.8226
30 | 2611241.3762 | 1268400.7312 | 2611243.2277 | 1268392.6623 | 2611244.689 | 1268386.1136
31 | 2611244.8485 | 1268385.3986 | 2611246.4989 | 1268378.0026 | 2611247.8716 | 1268372.3902 | 2611243.611 | 1268369.0687 | 2611246.3242 | 1268362.9806 | 2611249.5554 | 1268355.5991
32 | 2611148.1509 | 1268430.8926 | 2611145.423 | 1268443.3627
33 | 2611244.8485 | 1268385.3986 | 2611244.689 | 1268386.1136
34 | 2611216.2199 | 1268394.8493 | 2611217.127 | 1268395.0614
35 | 2611239.0124 | 1268414.8226 | 2611238.0914 | 1268420.3132
36 | 2611211.674 | 1268393.7864 | 2611216.2199 | 1268394.8493
37 | 2611238.0914 | 1268420.3132 | 2611236.883 | 1268427.5165
38 | 2611202.5846 | 1268391.6612 | 2611209.3765 | 1268393.2492
39 | 2611211.674 | 1268393.7864 | 2611209.3765 | 1268393.2492
40 | 2611236.3834 | 1268430.4951 | 2611235.8128 | 1268433.8968
41 | 2611236.3834 | 1268430.4951 | 2611236.883 | 1268427.5165
42 | 2611235.6689 | 1268434.7542 | 2611235.8128 | 1268433.8968
43 | 2611235.6689 | 1268434.7542 | 2611234.3877 | 1268442.3923
44 | 2611234.2687 | 1268443.1011 | 2611234.3877 | 1268442.3923
45 | 2611233.0477 | 1268450.38 | 2611234.2687 | 1268443.1011
46 | 2611232.63 | 1268452.87 | 2611233.0477 | 1268450.38

## bus_geodata
| x | y | coords
0 | 2611202.3521 | 1268305.7204
1 | 2611203.4385 | 1268306.2264
2 | 2611214.2547 | 1268311.1783
3 | 2611199.6837 | 1268313.9359
4 | 2611221.3252 | 1268314.4153
5 | 2611199.331 | 1268321.4293
6 | 2611228.7924 | 1268317.8339
7 | 2611254.3582 | 1268344.7719
8 | 2611249.5667 | 1268355.5733
9 | 2611229.492 | 1268334.2237
10 | 2611196.815 | 1268326.7283
11 | 2611215.9036 | 1268328.4595
12 | 2611206.5168 | 1268233.8001
13 | 2611195.9599 | 1268260.4127
14 | 2611176.8024 | 1268315.9831
15 | 2611196.5719 | 1268326.623
16 | 2611158.9644 | 1268381.4623
17 | 2611182.9231 | 1268387.0641
18 | 2611165.835 | 1268356.2417
19 | 2611152.2544 | 1268412.135
20 | 2611195.1538 | 1268389.9238
21 | 2611150.0582 | 1268422.1742
22 | 2611235.9139 | 1268321.0943
23 | 2611243.1798 | 1268324.4208
24 | 2611250.641 | 1268327.8367
25 | 2611257.3994 | 1268404.4063
26 | 2611241.3762 | 1268400.7312
27 | 2611249.5554 | 1268355.5991
28 | 2611221.7787 | 1268330.9517
29 | 2611148.1509 | 1268430.8926
30 | 2611145.4229 | 1268443.3627
31 | 2611244.8485 | 1268385.3986
32 | 2611244.689 | 1268386.1136
33 | 2611217.127 | 1268395.0614
34 | 2611239.0124 | 1268414.8226
35 | 2611216.2199 | 1268394.8493
36 | 2611238.0914 | 1268420.3132
37 | 2611202.5846 | 1268391.6612
38 | 2611209.3765 | 1268393.2492
39 | 2611211.674 | 1268393.7864
40 | 2611236.3834 | 1268430.4951
41 | 2611235.8128 | 1268433.8968
42 | 2611236.883 | 1268427.5165
43 | 2611235.6689 | 1268434.7542
44 | 2611234.3877 | 1268442.3923
45 | 2611234.2687 | 1268443.1011
46 | 2611232.63 | 1268452.87
47 | 2611233.0477 | 1268450.38
48 | 2611199.331 | 1268321.4293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99738 | -0.050237 | 0.0057001 | 0.0014286
1 | 0.99739 | -0.050117 | 0.0091914 | 0.0023036
2 | 0.99706 | -0.056483 | 0.0050855 | 0.0012745
3 | 0.99774 | -0.043298 | 0 | 0
4 | 0.99688 | -0.059953 | 0.0052367 | 0.0013124
5 | 0.99815 | -0.03553 | 0 | 0
6 | 0.99673 | -0.062864 | 0.0050532 | 0.0012664
7 | 0.99538 | -0.087948 | 0 | 0
8 | 0.9941 | -0.11227 | 0.0142 | 0.003559
9 | 0.99828 | -0.032574 | 0.014049 | 0.003521
10 | 0.99779 | -0.04247 | 0.0062585 | 0.0015685
11 | 1 | 0 | -0.37761 | -0.095615
12 | 0.99374 | -0.12046 | 0.020695 | 0.0051865
13 | 0.99428 | -0.11001 | 0.022907 | 0.0057409
14 | 0.99662 | -0.064919 | 0 | 0
15 | 0.99777 | -0.042754 | 0.017739 | 0.0044457
16 | 0.98109 | -0.36411 | 0 | 0
17 | 0.98305 | -0.32569 | 0.014219 | 0.0035635
18 | 0.9799 | -0.38736 | 0.049064 | 0.012297
19 | 0.98 | -0.38536 | 0.013646 | 0.00342
20 | 0.98422 | -0.30292 | 0.0078453 | 0.0019662
21 | 0.97978 | -0.38978 | 0.0044614 | 0.0011181
22 | 0.99662 | -0.064947 | 0.0050784 | 0.0012728
23 | 0.99655 | -0.06636 | 0.0050397 | 0.0012631
24 | 0.99651 | -0.067085 | 0.0050369 | 0.0012624
25 | 0.98955 | -0.19982 | 0.0050189 | 0.0012578
26 | 0.98962 | -0.19835 | 0 | 0
27 | 0.9941 | -0.11233 | 0.01359 | 0.003406
28 | 0.99924 | -0.014436 | 0.01157 | 0.0028997
29 | 0.97962 | -0.3929 | 0.0083459 | 0.0020917
30 | 0.97949 | -0.39543 | 0.010889 | 0.002729
31 | 0.99092 | -0.17333 | 0.021638 | 0.0054231
32 | 0.99086 | -0.17453 | 0.0054749 | 0.0013721
33 | 0.98662 | -0.25634 | 0.0018848 | 0.00047237
34 | 0.98906 | -0.20939 | 0.0077689 | 0.0019471
35 | 0.98651 | -0.25849 | 0.0056998 | 0.0014285
36 | 0.98887 | -0.21292 | 0.00237 | 0.00059398
37 | 0.98499 | -0.28804 | 0.0045608 | 0.001143
38 | 0.98572 | -0.27388 | 0.0078854 | 0.0019763
39 | 0.98598 | -0.26877 | 0.0019422 | 0.00048677
40 | 0.98857 | -0.21891 | 0.0026919 | 0.00067466
41 | 0.98848 | -0.22064 | 0.0078545 | 0.0019685
42 | 0.98865 | -0.21725 | 0.0023636 | 0.00059237
43 | 0.98846 | -0.22096 | 0.0023401 | 0.00058647
44 | 0.98833 | -0.22344 | 0.0025705 | 0.00064423
45 | 0.98832 | -0.22364 | 0.0021135 | 0.00052969
46 | 0.98821 | -0.22587 | 0.010687 | 0.0026783
47 | 0.98823 | -0.22539 | 0.00261 | 0.00065412
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0057001 | -0.0014286 | 0.0057001 | 0.0014286 | 3.25e-08 | 5.1602e-09 | 0.0085041 | 0.0085041 | 0.0085041 | 0.99738 | -0.050237 | 0.99739 | -0.050117 | 2.3363
1 | 0.030549 | 0.0076629 | -0.03054 | -0.0076571 | 9.2673e-06 | 5.7759e-06 | 0.045579 | 0.045579 | 0.045579 | 0.99739 | -0.050117 | 0.99706 | -0.056483 | 12.5216
2 | -0.045441 | -0.011395 | 0.045455 | 0.011404 | 1.4773e-05 | 9.3427e-06 | 0.067795 | 0.067795 | 0.067795 | 0.99739 | -0.050117 | 0.99774 | -0.043298 | 18.6251
3 | 0.025454 | 0.0063826 | -0.02545 | -0.00638 | 4.2084e-06 | 2.592e-06 | 0.037989 | 0.037989 | 0.037989 | 0.99706 | -0.056483 | 0.99688 | -0.059953 | 10.4366
4 | -0.045455 | -0.011404 | 0.045472 | 0.011415 | 1.6843e-05 | 1.0652e-05 | 0.067795 | 0.067795 | 0.067795 | 0.99774 | -0.043298 | 0.99815 | -0.03553 | 18.6251
5 | 0.020213 | 0.0050675 | -0.020211 | -0.0050659 | 2.8037e-06 | 1.6873e-06 | 0.030173 | 0.030173 | 0.030173 | 0.99688 | -0.059953 | 0.99673 | -0.062864 | 8.2892
6 | 0.067772 | 0.017051 | -0.06775 | -0.017037 | 2.2465e-05 | 1.4301e-05 | 0.10106 | 0.10106 | 0.10106 | 0.99815 | -0.03553 | 0.99779 | -0.04247 | 27.7628
7 | -0.11324 | -0.028466 | 0.11344 | 0.028589 | 0.00019247 | 0.00012295 | 0.16885 | 0.16885 | 0.16885 | 0.99815 | -0.03553 | 1 | 0 | 46.3879
8 | 0.015157 | 0.0037994 | -0.015156 | -0.0037985 | 1.504e-06 | 8.6047e-07 | 0.022629 | 0.022629 | 0.022629 | 0.99673 | -0.062864 | 0.99662 | -0.064947 | 6.2167
9 | 0.23587 | 0.059944 | -0.2356 | -0.059768 | 0.00027595 | 0.0001763 | 0.35291 | 0.35291 | 0.35291 | 0.99538 | -0.087948 | 0.9941 | -0.11227 | 48.4767
10 | -0.23587 | -0.059944 | 0.23651 | 0.060347 | 0.00063077 | 0.00040299 | 0.35291 | 0.35291 | 0.35291 | 0.99538 | -0.087948 | 0.99828 | -0.032574 | 48.4767
11 | 0.2214 | 0.056209 | -0.2214 | -0.056209 | 5.7933e-07 | 3.7004e-07 | 0.33165 | 0.33165 | 0.33165 | 0.9941 | -0.11227 | 0.9941 | -0.11233 | 45.557
12 | -0.25055 | -0.063868 | 0.25077 | 0.064009 | 0.00021957 | 0.0001403 | 0.37385 | 0.37385 | 0.37385 | 0.99828 | -0.032574 | 0.99924 | -0.014436 | 51.3531
13 | 0.061491 | 0.015469 | -0.06149 | -0.015468 | 8.3581e-07 | 5.3146e-07 | 0.091723 | 0.091723 | 0.091723 | 0.99779 | -0.04247 | 0.99777 | -0.042754 | 25.1986
14 | 0.26253 | 0.067025 | -0.26234 | -0.066908 | 0.00018301 | 0.00011696 | 0.39108 | 0.39108 | 0.39108 | 1 | 0 | 0.99924 | -0.014436 | 53.7197
15 | -0.020695 | -0.0051865 | 0.020705 | 0.0051928 | 1.0309e-05 | 6.2269e-06 | 0.030988 | 0.030988 | 0.030988 | 0.99374 | -0.12046 | 0.99428 | -0.11001 | 8.5131
16 | -0.043611 | -0.010934 | 0.043705 | 0.010993 | 9.3922e-05 | 5.9346e-05 | 0.065269 | 0.065269 | 0.065269 | 0.99428 | -0.11001 | 0.99662 | -0.064919 | 17.9311
17 | -0.043705 | -0.010993 | 0.043752 | 0.011022 | 4.6329e-05 | 2.9272e-05 | 0.065269 | 0.065269 | 0.065269 | 0.99662 | -0.064919 | 0.99777 | -0.042754 | 17.931
18 | -0.086507 | -0.021719 | 0.086666 | 0.021821 | 0.00015887 | 0.00010137 | 0.13122 | 0.13122 | 0.13122 | 0.98109 | -0.36411 | 0.98305 | -0.32569 | 36.0494
19 | 0.049118 | 0.012331 | -0.049064 | -0.012297 | 5.4414e-05 | 3.4495e-05 | 0.074505 | 0.074505 | 0.074505 | 0.98109 | -0.36411 | 0.9799 | -0.38736 | 20.4685
20 | 0.037389 | 0.0093881 | -0.037351 | -0.0093642 | 3.7872e-05 | 2.3842e-05 | 0.056714 | 0.056715 | 0.056715 | 0.98109 | -0.36411 | 0.98 | -0.38536 | 15.5809
21 | -0.10088 | -0.025384 | 0.10099 | 0.025454 | 0.00010989 | 7.017e-05 | 0.15274 | 0.15274 | 0.15274 | 0.98305 | -0.32569 | 0.98422 | -0.30292 | 41.9621
22 | 0.023705 | 0.0059443 | -0.0237 | -0.0059412 | 4.993e-06 | 3.0661e-06 | 0.035995 | 0.035995 | 0.035995 | 0.98 | -0.38536 | 0.97978 | -0.38978 | 9.8887
23 | -0.10884 | -0.02742 | 0.10892 | 0.02747 | 7.7535e-05 | 4.9525e-05 | 0.1646 | 0.1646 | 0.1646 | 0.98422 | -0.30292 | 0.98499 | -0.28804 | 45.2206
24 | 0.019239 | 0.0048231 | -0.019236 | -0.0048214 | 2.8573e-06 | 1.7163e-06 | 0.029219 | 0.029219 | 0.029219 | 0.97978 | -0.38978 | 0.97962 | -0.3929 | 8.0273
25 | 0.010077 | 0.0025258 | -0.010077 | -0.0025254 | 6.7842e-07 | 3.3007e-07 | 0.015046 | 0.015046 | 0.015046 | 0.99662 | -0.064947 | 0.99655 | -0.06636 | 4.1336
26 | 0.005037 | 0.0012624 | -0.0050369 | -0.0012624 | 1.7407e-07 | 4.4963e-09 | 0.0075211 | 0.0075212 | 0.0075212 | 0.99655 | -0.06636 | 0.99651 | -0.067085 | 2.0663
27 | -0.0050189 | -0.0012578 | 0.0050192 | 0.0012579 | 3.5112e-07 | 1.3517e-08 | 0.007547 | 0.007547 | 0.007547 | 0.98955 | -0.19982 | 0.98962 | -0.19835 | 2.0734
28 | 0.13144 | 0.033326 | -0.13107 | -0.033092 | 0.00036526 | 0.00023344 | 0.19777 | 0.19777 | 0.19777 | 0.98962 | -0.19835 | 0.98662 | -0.25634 | 54.3317
29 | 0.043414 | 0.010897 | -0.043391 | -0.010883 | 2.2836e-05 | 1.4432e-05 | 0.065284 | 0.065284 | 0.065284 | 0.98962 | -0.19835 | 0.98906 | -0.20939 | 17.9352
30 | -0.17987 | -0.045481 | 0.18008 | 0.045612 | 0.00020578 | 0.00013131 | 0.2706 | 0.2706 | 0.2706 | 0.98962 | -0.19835 | 0.99086 | -0.17453 | 37.1701
31 | 0.20781 | 0.052803 | -0.2072 | -0.052414 | 0.00060841 | 0.00038852 | 0.31131 | 0.31131 | 0.31131 | 0.9941 | -0.11233 | 0.99092 | -0.17333 | 42.7628
32 | 0.01089 | 0.0027297 | -0.010889 | -0.002729 | 1.3099e-06 | 6.7763e-07 | 0.016542 | 0.016542 | 0.016542 | 0.97962 | -0.3929 | 0.97949 | -0.39543 | 4.5445
33 | 0.18556 | 0.046991 | -0.18555 | -0.046984 | 1.0679e-05 | 6.8154e-06 | 0.27882 | 0.27882 | 0.27882 | 0.99092 | -0.17333 | 0.99086 | -0.17453 | 38.2994
34 | 0.12919 | 0.03262 | -0.12917 | -0.032612 | 1.3273e-05 | 8.4829e-06 | 0.19492 | 0.19492 | 0.19492 | 0.98662 | -0.25634 | 0.98651 | -0.25849 | 53.5508
35 | 0.035622 | 0.0089357 | -0.035616 | -0.0089319 | 5.9971e-06 | 3.7667e-06 | 0.053596 | 0.053596 | 0.053596 | 0.98906 | -0.20939 | 0.98887 | -0.21292 | 14.7242
36 | 0.12347 | 0.031183 | -0.12341 | -0.031144 | 6.0781e-05 | 3.884e-05 | 0.18633 | 0.18633 | 0.18633 | 0.98651 | -0.25849 | 0.98598 | -0.26877 | 51.1889
37 | 0.033246 | 0.008338 | -0.033239 | -0.0083337 | 6.8556e-06 | 4.2939e-06 | 0.05003 | 0.05003 | 0.05003 | 0.98887 | -0.21292 | 0.98865 | -0.21725 | 13.7444
38 | -0.11348 | -0.028613 | 0.11356 | 0.028662 | 7.6926e-05 | 4.9144e-05 | 0.17149 | 0.17149 | 0.17149 | 0.98499 | -0.28804 | 0.98572 | -0.27388 | 47.1134
39 | -0.12144 | -0.030638 | 0.12147 | 0.030657 | 2.976e-05 | 1.9016e-05 | 0.1834 | 0.1834 | 0.1834 | 0.98572 | -0.27388 | 0.98598 | -0.26877 | 50.3837
40 | 0.028182 | 0.0070651 | -0.028179 | -0.0070637 | 2.3276e-06 | 1.4454e-06 | 0.04242 | 0.04242 | 0.04242 | 0.98857 | -0.21891 | 0.98848 | -0.22064 | 11.6539
41 | -0.030873 | -0.0077398 | 0.030876 | 0.0077413 | 2.446e-06 | 1.5267e-06 | 0.046472 | 0.046472 | 0.046472 | 0.98857 | -0.21891 | 0.98865 | -0.21725 | 12.7671
42 | 0.020325 | 0.0050951 | -0.020324 | -0.005095 | 3.0519e-07 | 1.8418e-07 | 0.030596 | 0.030596 | 0.030596 | 0.98848 | -0.22064 | 0.98846 | -0.22096 | 8.4056
43 | 0.017984 | 0.0045085 | -0.017982 | -0.0045072 | 2.1288e-06 | 1.2632e-06 | 0.027074 | 0.027074 | 0.027074 | 0.98846 | -0.22096 | 0.98833 | -0.22344 | 7.4379
44 | 0.015412 | 0.003863 | -0.015412 | -0.0038629 | 1.4513e-07 | 8.367e-08 | 0.023204 | 0.023204 | 0.023204 | 0.98833 | -0.22344 | 0.98832 | -0.22364 | 6.3747
45 | 0.013298 | 0.0033332 | -0.013297 | -0.0033326 | 1.1095e-06 | 6.155e-07 | 0.020022 | 0.020022 | 0.020022 | 0.98832 | -0.22364 | 0.98823 | -0.22539 | 5.5005
46 | -0.010687 | -0.0026783 | 0.010687 | 0.0026785 | 2.4518e-07 | 1.2456e-07 | 0.016092 | 0.016092 | 0.016092 | 0.98821 | -0.22587 | 0.98823 | -0.22539 | 4.4208

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39175 | 0.099157

## res_load
| p_mw | q_mvar
0 | 0.0057001 | 0.0014286
1 | 0.0091914 | 0.0023036
2 | 0.0050855 | 0.0012745
3 | 0.0052367 | 0.0013124
4 | 0.0050532 | 0.0012664
5 | 0.0142 | 0.003559
6 | 0.014049 | 0.003521
7 | 0.0062585 | 0.0015685
8 | 0.014133 | 0.0035421
9 | 0.020695 | 0.0051865
10 | 0.022907 | 0.0057409
11 | 0.017739 | 0.0044457
12 | 0.014219 | 0.0035635
13 | 0.049064 | 0.012297
14 | 0.013646 | 0.00342
15 | 0.0078453 | 0.0019662
16 | 0.0044614 | 0.0011181
17 | 0.0050784 | 0.0012728
18 | 0.0050397 | 0.0012631
19 | 0.0050369 | 0.0012624
20 | 0.0050189 | 0.0012578
21 | 0.01359 | 0.003406
22 | 0.01157 | 0.0028997
23 | 0.0083459 | 0.0020917
24 | 0.010889 | 0.002729
25 | 0.021638 | 0.0054231
26 | 0.0054749 | 0.0013721
27 | 0.0018848 | 0.00047237
28 | 0.0077689 | 0.0019471
29 | 0.0056998 | 0.0014285
30 | 0.00237 | 0.00059398
31 | 0.0045608 | 0.001143
32 | 0.0078854 | 0.0019763
33 | 0.0019422 | 0.00048677
34 | 0.0026919 | 0.00067466
35 | 0.0078545 | 0.0019685
36 | 0.0023636 | 0.00059237
37 | 0.0023401 | 0.00058647
38 | 0.0025705 | 0.00064423
39 | 0.0021135 | 0.00052969
40 | 0.010687 | 0.0026783
41 | 0.00261 | 0.00065412

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1