## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-261_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-261_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-261_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-261_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-261_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2701-261_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2701-261_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2701-261_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2701-261_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2701-261_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-261_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2701-261_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2701-261_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-261_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2701-261_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_2701-261_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_2701-261_0_4_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_2701-261_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-261_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2701-261_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-261_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2701-261_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2701-261_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2701-261_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2701-261_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_2701-261_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2701-261_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-261_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2701-261_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2701-261_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2701-261_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-261_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2701-261_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2701-261_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2701-261_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2701-261_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2701-261_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_MV_559_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-261_0_4_load_0 | 0 | 0.0060509 | 0.0015165 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-261_0_4_load_13 | 6 | 0.011145 | 0.0027932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-261_0_4_load_14 | 8 | 0.010603 | 0.0026573 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-261_0_4_load_15 | 11 | 0.0071725 | 0.0017976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-261_0_4_load_29 | 13 | 0.0085991 | 0.0021551 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-261_0_4_load_26 | 14 | 0.013588 | 0.0034055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-261_0_4_load_34 | 15 | 0.074866 | 0.018763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-261_0_4_load_39 | 16 | 0.0053081 | 0.0013303 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-261_0_4_load_32 | 17 | 0.010907 | 0.0027335 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-261_0_4_load_28 | 18 | 0.026951 | 0.0067545 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-261_0_4_load_27 | 20 | 0.009835 | 0.0024649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-261_0_4_load_38 | 21 | 0.015677 | 0.0039289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-261_0_4_load_37 | 22 | 0.017439 | 0.0043706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-261_0_4_load_35 | 23 | 0.017953 | 0.0044995 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-261_0_4_load_31 | 24 | 0.0044331 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-261_0_4_load_33 | 25 | 0.0099126 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-261_0_4_load_16 | 26 | 0.0056003 | 0.0014036 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-261_0_4_load_17 | 27 | 0.0062392 | 0.0015637 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-261_0_4_load_18 | 28 | 0.039552 | 0.0099127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-261_0_4_load_19 | 29 | 0.015068 | 0.0037763 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-261_0_4_load_20 | 30 | 0.0037365 | 0.00093645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-261_0_4_load_21 | 31 | 0.017508 | 0.0043878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-261_0_4_load_22 | 32 | 0.0060821 | 0.0015243 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-261_0_4_load_23 | 33 | 0.0045389 | 0.0011376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-261_0_4_load_24 | 34 | 0.0084734 | 0.0021236 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-261_0_4_load_25 | 35 | 0.046783 | 0.011725 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-261_0_4_load_36 | 36 | 0.008178 | 0.0020496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-261_0_4_line_0 |  | 0 | 1 | 0.019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-261_0_4_line_1 |  | 0 | 2 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-261_0_4_line_2 |  | 1 | 3 | 0.009745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-261_0_4_line_3 |  | 2 | 4 | 0.029016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-261_0_4_line_4 |  | 3 | 8 | 0.014253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-261_0_4_line_5 |  | 4 | 11 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-261_0_4_line_6 |  | 5 | 6 | 0.040618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-261_0_4_line_7 |  | 5 | 7 | 0.042506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-261_0_4_line_8 |  | 6 | 17 | 0.0082143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-261_0_4_line_9 |  | 7 | 15 | 0.078087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-261_0_4_line_10 |  | 8 | 18 | 0.015733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-261_0_4_line_11 |  | 9 | 10 | 0.049604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-261_0_4_line_12 |  | 9 | 11 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-261_0_4_line_13 |  | 10 | 16 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-261_0_4_line_14 |  | 12 | 13 | 0.0076473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-261_0_4_line_15 |  | 12 | 14 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-261_0_4_line_16 |  | 13 | 19 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-261_0_4_line_17 |  | 14 | 20 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-261_0_4_line_18 |  | 15 | 23 | 0.037753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-261_0_4_line_19 |  | 17 | 25 | 0.0034809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-261_0_4_line_20 |  | 18 | 20 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-261_0_4_line_21 |  | 19 | 24 | 0.021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-261_0_4_line_22 |  | 19 | 32 | 0.019838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-261_0_4_line_23 |  | 21 | 22 | 0.0087991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-261_0_4_line_24 |  | 22 | 36 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-261_0_4_line_25 |  | 23 | 36 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-261_0_4_line_26 |  | 25 | 35 | 0.0026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2701-261_0_4_line_27 |  | 26 | 27 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-261_0_4_line_28 |  | 26 | 28 | 0.015068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2701-261_0_4_line_29 |  | 27 | 29 | 0.0045797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-261_0_4_line_30 |  | 28 | 30 | 0.0049158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-261_0_4_line_31 |  | 29 | 31 | 0.004962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-261_0_4_line_32 |  | 30 | 32 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-261_0_4_line_33 |  | 31 | 33 | 0.0090522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-261_0_4_line_34 |  | 33 | 34 | 0.0021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-261_0_4_line_35 |  | 34 | 35 | 0.006522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-261_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 37 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611859.7593 | 1268103.1797 | 2611851.6113 | 1268121.4425
1 | 2611844.3303 | 1268137.7621 | 2611851.6113 | 1268121.4425
2 | 2611859.7593 | 1268103.1797 | 2611850.9551 | 1268098.9481
3 | 2611826.5696 | 1268115.0663 | 2611838.1356 | 1268126.9199 | 2611844.3303 | 1268137.7621
4 | 2611850.9551 | 1268098.9481 | 2611837.9343 | 1268093.1508
5 | 2611826.5696 | 1268115.0663 | 2611817.1859 | 1268118.4056 | 2611813.3204 | 1268121.96
6 | 2611886.504 | 1268047.7387 | 2611853.0823 | 1268032.4278 | 2611849.274 | 1268031.8244
7 | 2611886.504 | 1268047.7387 | 2611900.4048 | 1268017.423 | 2611902.9884 | 1268012.547 | 2611904.0461 | 1268010.5477 | 2611904.7183 | 1268009.3482
8 | 2611841.1609 | 1268030.539 | 2611849.274 | 1268031.8244
9 | 2611904.7183 | 1268009.3482 | 2611834.816 | 1267974.5457
10 | 2611823.5612 | 1268086.7515 | 2611837.9343 | 1268093.1508
11 | 2611764.7902 | 1268126.763 | 2611784.9657 | 1268134.8198 | 2611806.1687 | 1268140.8772 | 2611812.0595 | 1268141.8007
12 | 2611812.0595 | 1268141.8007 | 2611808.961 | 1268133.1774 | 2611810.8753 | 1268124.2082 | 2611813.3204 | 1268121.96
13 | 2611764.7902 | 1268126.763 | 2611754.1722 | 1268122.5168 | 2611750.8865 | 1268120.9385
14 | 2611790.9751 | 1268072.2433 | 2611784.0318 | 1268069.0383
15 | 2611790.9751 | 1268072.2433 | 2611800.3074 | 1268076.3983
16 | 2611764.7265 | 1268060.1272 | 2611784.0318 | 1268069.0383
17 | 2611800.3074 | 1268076.3983 | 2611809.9751 | 1268080.7026
18 | 2611834.816 | 1267974.5457 | 2611801.0204 | 1267957.7198
19 | 2611837.7228 | 1268029.9943 | 2611841.1609 | 1268030.539
20 | 2611823.5612 | 1268086.7515 | 2611809.9751 | 1268080.7026
21 | 2611764.7265 | 1268060.1272 | 2611745.4929 | 1268051.2212
22 | 2611764.7265 | 1268060.1272 | 2611772.6226 | 1268041.9278
23 | 2611774.2157 | 1267944.3746 | 2611782.0926 | 1267948.2962
24 | 2611791.4129 | 1267952.9365 | 2611782.0926 | 1267948.2962
25 | 2611791.4129 | 1267952.9365 | 2611801.0204 | 1267957.7198
26 | 2611837.7228 | 1268029.9943 | 2611835.0659 | 1268029.5734
27 | 2611796.5362 | 1268023.4689 | 2611808.1005 | 1268025.3011
28 | 2611796.5362 | 1268023.4689 | 2611781.6543 | 1268021.1111 | 2611781.6543 | 1268021.1111
29 | 2611808.1005 | 1268025.3011 | 2611812.6238 | 1268026.0178
30 | 2611779.6977 | 1268025.6207 | 2611781.6543 | 1268021.1111
31 | 2611812.6238 | 1268026.0178 | 2611817.5246 | 1268026.7942
32 | 2611772.6226 | 1268041.9278 | 2611779.6977 | 1268025.6207
33 | 2611826.4653 | 1268028.2107 | 2611817.5246 | 1268026.7942
34 | 2611826.4653 | 1268028.2107 | 2611828.6242 | 1268028.5528
35 | 2611835.0659 | 1268029.5734 | 2611828.6242 | 1268028.5528

## bus_geodata
| x | y | coords
0 | 2611851.6113 | 1268121.4425
1 | 2611859.7593 | 1268103.1797
2 | 2611844.3303 | 1268137.7621
3 | 2611850.9551 | 1268098.9481
4 | 2611826.5696 | 1268115.0663
5 | 2611886.504 | 1268047.7387
6 | 2611849.274 | 1268031.8244
7 | 2611904.7183 | 1268009.3482
8 | 2611837.9343 | 1268093.1508
9 | 2611812.0595 | 1268141.8007
10 | 2611764.7902 | 1268126.763
11 | 2611813.3204 | 1268121.9599
12 | 2611790.9751 | 1268072.2433
13 | 2611784.0318 | 1268069.0383
14 | 2611800.3074 | 1268076.3983
15 | 2611834.816 | 1267974.5457
16 | 2611750.8865 | 1268120.9385
17 | 2611841.1609 | 1268030.539
18 | 2611823.5612 | 1268086.7515
19 | 2611764.7265 | 1268060.1272
20 | 2611809.9751 | 1268080.7026
21 | 2611774.2157 | 1267944.3746
22 | 2611782.0926 | 1267948.2962
23 | 2611801.0204 | 1267957.7198
24 | 2611745.4929 | 1268051.2212
25 | 2611837.7228 | 1268029.9943
26 | 2611796.5362 | 1268023.4689
27 | 2611808.1005 | 1268025.3011
28 | 2611781.6543 | 1268021.1111
29 | 2611812.6238 | 1268026.0178
30 | 2611779.6977 | 1268025.6207
31 | 2611817.5246 | 1268026.7942
32 | 2611772.6226 | 1268041.9278
33 | 2611826.4653 | 1268028.2107
34 | 2611828.6242 | 1268028.5528
35 | 2611835.0659 | 1268029.5734
36 | 2611791.4129 | 1267952.9365
37 | 2611796.6393 | 1268023.4853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98857 | -0.21999 | 0.0060509 | 0.0015165
1 | 0.98891 | -0.21338 | 0 | 0
2 | 0.98837 | -0.22397 | 0 | 0
3 | 0.98908 | -0.21016 | 0 | 0
4 | 0.98804 | -0.23043 | 0 | 0
5 | 0.99155 | -0.15999 | 0 | 0
6 | 0.99662 | -0.063905 | 0.011145 | 0.0027932
7 | 0.98624 | -0.26159 | 0 | 0
8 | 0.98932 | -0.20545 | 0.010603 | 0.0026573
9 | 0.98776 | -0.23588 | 0 | 0
10 | 0.98752 | -0.24058 | 0 | 0
11 | 0.98786 | -0.23382 | 0.0071725 | 0.0017976
12 | 0.99189 | -0.15567 | 0 | 0
13 | 0.99245 | -0.14491 | 0.0085991 | 0.0021551
14 | 0.99115 | -0.17007 | 0.013588 | 0.0034055
15 | 0.9765 | -0.45113 | 0.074866 | 0.018763
16 | 0.98744 | -0.24201 | 0.0053081 | 0.0013303
17 | 0.99718 | -0.053441 | 0.010907 | 0.0027335
18 | 0.98974 | -0.19729 | 0.026951 | 0.0067545
19 | 0.99416 | -0.11181 | 0 | 0
20 | 0.99051 | -0.18246 | 0.009835 | 0.0024649
21 | 0.97356 | -0.50911 | 0.015677 | 0.0039289
22 | 0.97369 | -0.50657 | 0.017439 | 0.0043706
23 | 0.97442 | -0.4921 | 0.017953 | 0.0044995
24 | 0.99408 | -0.11347 | 0.0044331 | 0.001111
25 | 0.99743 | -0.048678 | 0.0099126 | 0.0024843
26 | 0.99889 | -0.021213 | 0.0056003 | 0.0014036
27 | 0.99968 | -0.0061388 | 0.0062392 | 0.0015637
28 | 0.99791 | -0.039909 | 0.039552 | 0.0099127
29 | 1 | 0 | -0.40306 | -0.10226
30 | 0.99745 | -0.04872 | 0.0037365 | 0.00093645
31 | 0.99944 | -0.010531 | 0.017508 | 0.0043878
32 | 0.99585 | -0.079485 | 0.0060821 | 0.0015243
33 | 0.9985 | -0.028386 | 0.0045389 | 0.0011376
34 | 0.99828 | -0.032616 | 0.0084734 | 0.0021236
35 | 0.99764 | -0.044765 | 0.046783 | 0.011725
36 | 0.97401 | -0.50024 | 0.008178 | 0.0020496
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018542 | -0.0046491 | 0.018548 | 0.0046526 | 5.8417e-06 | 3.4822e-06 | 0.02791 | 0.02791 | 0.02791 | 0.98857 | -0.21999 | 0.98891 | -0.21338 | 7.6676
1 | 0.012491 | 0.0031326 | -0.012488 | -0.0031313 | 2.3691e-06 | 1.2871e-06 | 0.018802 | 0.018802 | 0.018802 | 0.98857 | -0.21999 | 0.98837 | -0.22397 | 5.1654
2 | -0.018548 | -0.0046526 | 0.01855 | 0.0046543 | 2.8466e-06 | 1.6968e-06 | 0.02791 | 0.02791 | 0.02791 | 0.98891 | -0.21338 | 0.98908 | -0.21016 | 7.6676
3 | 0.012488 | 0.0031313 | -0.012485 | -0.0031292 | 3.8467e-06 | 2.0902e-06 | 0.018802 | 0.018802 | 0.018802 | 0.98837 | -0.22397 | 0.98804 | -0.23043 | 5.1655
4 | -0.01855 | -0.0046543 | 0.018555 | 0.0046568 | 4.1634e-06 | 2.4816e-06 | 0.02791 | 0.02791 | 0.02791 | 0.98908 | -0.21016 | 0.98932 | -0.20545 | 7.6676
5 | 0.012485 | 0.0031292 | -0.012483 | -0.0031281 | 2.0166e-06 | 1.0959e-06 | 0.018802 | 0.018802 | 0.018802 | 0.98804 | -0.23043 | 0.98786 | -0.23382 | 5.1655
6 | -0.13615 | -0.034913 | 0.13679 | 0.035321 | 0.00063763 | 0.00040756 | 0.2046 | 0.2046 | 0.2046 | 0.99155 | -0.15999 | 0.99662 | -0.063905 | 56.2096
7 | 0.13615 | 0.034913 | -0.13548 | -0.034487 | 0.00066727 | 0.00042651 | 0.2046 | 0.2046 | 0.2046 | 0.99155 | -0.15999 | 0.98624 | -0.26159 | 56.2097
8 | -0.14793 | -0.038114 | 0.14801 | 0.038162 | 7.539e-05 | 4.8035e-05 | 0.22124 | 0.22124 | 0.22124 | 0.99662 | -0.063905 | 0.99718 | -0.053441 | 30.3905
9 | 0.13548 | 0.034487 | -0.13426 | -0.033703 | 0.0012258 | 0.00078355 | 0.2046 | 0.2046 | 0.2046 | 0.98624 | -0.26159 | 0.9765 | -0.45113 | 56.2098
10 | -0.029157 | -0.007314 | 0.029169 | 0.0073211 | 1.1348e-05 | 7.0608e-06 | 0.043857 | 0.043857 | 0.043857 | 0.98932 | -0.20545 | 0.98974 | -0.19729 | 12.0486
11 | 0.0053096 | 0.0013305 | -0.0053084 | -0.0013304 | 1.1901e-06 | 1.269e-07 | 0.0079986 | 0.0079989 | 0.0079989 | 0.98776 | -0.23588 | 0.98752 | -0.24058 | 2.1975
12 | -0.0053096 | -0.0013305 | 0.0053101 | 0.0013305 | 5.1956e-07 | 5.5292e-08 | 0.0079986 | 0.0079985 | 0.0079986 | 0.98776 | -0.23588 | 0.98786 | -0.23382 | 2.1974
13 | 0.0053084 | 0.0013304 | -0.0053081 | -0.0013303 | 3.6184e-07 | 3.8651e-08 | 0.0079989 | 0.0079989 | 0.0079989 | 0.98752 | -0.24058 | 0.98744 | -0.24201 | 2.1975
14 | -0.079676 | -0.020031 | 0.079717 | 0.020057 | 4.0987e-05 | 2.6133e-05 | 0.11955 | 0.11955 | 0.11955 | 0.99189 | -0.15567 | 0.99245 | -0.14491 | 32.8436
15 | 0.079676 | 0.020031 | -0.079621 | -0.019996 | 5.4751e-05 | 3.4909e-05 | 0.11955 | 0.11955 | 0.11955 | 0.99189 | -0.15567 | 0.99115 | -0.17007 | 32.8436
16 | -0.088316 | -0.022212 | 0.088456 | 0.022301 | 0.00013987 | 8.9239e-05 | 0.13244 | 0.13244 | 0.13244 | 0.99245 | -0.14491 | 0.99416 | -0.11181 | 36.3856
17 | 0.066033 | 0.016591 | -0.065994 | -0.016566 | 3.9014e-05 | 2.4832e-05 | 0.099151 | 0.099151 | 0.099151 | 0.99115 | -0.17007 | 0.99051 | -0.18246 | 27.2392
18 | 0.059391 | 0.01494 | -0.059275 | -0.014866 | 0.00011601 | 7.3772e-05 | 0.090521 | 0.090521 | 0.090521 | 0.9765 | -0.45113 | 0.97442 | -0.4921 | 24.8685
19 | -0.15891 | -0.040895 | 0.15895 | 0.040919 | 3.682e-05 | 2.3474e-05 | 0.23752 | 0.23752 | 0.23752 | 0.99718 | -0.053441 | 0.99743 | -0.048678 | 32.626
20 | -0.056119 | -0.014076 | 0.056159 | 0.014101 | 3.9704e-05 | 2.5219e-05 | 0.084376 | 0.084376 | 0.084376 | 0.98974 | -0.19729 | 0.99051 | -0.18246 | 23.1802
21 | 0.0044335 | 0.001111 | -0.0044331 | -0.001111 | 3.5e-07 | -5.0811e-08 | 0.0066358 | 0.0066359 | 0.0066359 | 0.99416 | -0.11181 | 0.99408 | -0.11347 | 1.823
22 | -0.09289 | -0.023412 | 0.093033 | 0.023504 | 0.0001439 | 9.1839e-05 | 0.13908 | 0.13908 | 0.13908 | 0.99416 | -0.11181 | 0.99585 | -0.079485 | 38.2086
23 | -0.015677 | -0.0039289 | 0.015679 | 0.00393 | 1.8944e-06 | 1.103e-06 | 0.023961 | 0.023961 | 0.023961 | 0.97356 | -0.50911 | 0.97369 | -0.50657 | 6.5826
24 | -0.033118 | -0.0083007 | 0.033128 | 0.0083069 | 1.0001e-05 | 6.2711e-06 | 0.050611 | 0.050611 | 0.050611 | 0.97369 | -0.50657 | 0.97401 | -0.50024 | 13.9042
25 | 0.041322 | 0.010367 | -0.041306 | -0.010357 | 1.6027e-05 | 1.0124e-05 | 0.063105 | 0.063105 | 0.063105 | 0.97442 | -0.4921 | 0.97401 | -0.50024 | 17.3366
26 | -0.16886 | -0.043403 | 0.1689 | 0.043424 | 3.2109e-05 | 2.0479e-05 | 0.25231 | 0.25231 | 0.25231 | 0.99743 | -0.048678 | 0.99764 | -0.044765 | 34.6573
27 | -0.14832 | -0.037484 | 0.14843 | 0.037552 | 0.00010728 | 6.8353e-05 | 0.22106 | 0.22106 | 0.22106 | 0.99889 | -0.021213 | 0.99968 | -0.0061388 | 30.3655
28 | 0.14272 | 0.03608 | -0.14259 | -0.035999 | 0.00012784 | 8.1421e-05 | 0.21272 | 0.21272 | 0.21272 | 0.99889 | -0.021213 | 0.99791 | -0.039909 | 29.2195
29 | -0.15467 | -0.039116 | 0.15471 | 0.039145 | 4.5563e-05 | 2.904e-05 | 0.23035 | 0.23035 | 0.23035 | 0.99968 | -0.0061388 | 1 | 0 | 31.6412
30 | 0.10304 | 0.026086 | -0.103 | -0.026059 | 4.3571e-05 | 2.7822e-05 | 0.15374 | 0.15374 | 0.15374 | 0.99791 | -0.039909 | 0.99745 | -0.04872 | 42.2366
31 | 0.2467 | 0.063115 | -0.24657 | -0.063035 | 0.00012568 | 8.0306e-05 | 0.36754 | 0.36754 | 0.36754 | 1 | 0 | 0.99944 | -0.010531 | 50.4867
32 | 0.099262 | 0.025122 | -0.099116 | -0.025029 | 0.00014634 | 9.3426e-05 | 0.14817 | 0.14817 | 0.14817 | 0.99745 | -0.04872 | 0.99585 | -0.079485 | 40.7053
33 | 0.22906 | 0.058647 | -0.22886 | -0.05852 | 0.00019792 | 0.00012643 | 0.34148 | 0.34148 | 0.34148 | 0.99944 | -0.010531 | 0.9985 | -0.028386 | 46.9063
34 | 0.22433 | 0.057383 | -0.22428 | -0.057353 | 4.5918e-05 | 2.933e-05 | 0.33471 | 0.33471 | 0.33471 | 0.9985 | -0.028386 | 0.99828 | -0.032616 | 45.9772
35 | 0.21581 | 0.05523 | -0.21568 | -0.055149 | 0.00012686 | 8.1019e-05 | 0.32208 | 0.32208 | 0.32208 | 0.99828 | -0.032616 | 0.99764 | -0.044765 | 44.2423

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41813 | 0.10604

## res_load
| p_mw | q_mvar
0 | 0.0060509 | 0.0015165
1 | 0.011145 | 0.0027932
2 | 0.010603 | 0.0026573
3 | 0.0071725 | 0.0017976
4 | 0.0085991 | 0.0021551
5 | 0.013588 | 0.0034055
6 | 0.074866 | 0.018763
7 | 0.0053081 | 0.0013303
8 | 0.010907 | 0.0027335
9 | 0.026951 | 0.0067545
10 | 0.009835 | 0.0024649
11 | 0.015677 | 0.0039289
12 | 0.017439 | 0.0043706
13 | 0.017953 | 0.0044995
14 | 0.0044331 | 0.001111
15 | 0.0099126 | 0.0024843
16 | 0.0056003 | 0.0014036
17 | 0.0062392 | 0.0015637
18 | 0.039552 | 0.0099127
19 | 0.015068 | 0.0037763
20 | 0.0037365 | 0.00093645
21 | 0.017508 | 0.0043878
22 | 0.0060821 | 0.0015243
23 | 0.0045389 | 0.0011376
24 | 0.0084734 | 0.0021236
25 | 0.046783 | 0.011725
26 | 0.008178 | 0.0020496

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1