## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-262_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-262_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-262_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-262_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-262_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-262_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2701-262_0_7_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_2701-262_0_7_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_2701-262_0_7_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-262_0_7_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2701-262_0_7_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2701-262_0_7_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_2701-262_0_7_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2701-262_0_7_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_2701-262_0_7_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_2701-262_0_7_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_2701-262_0_7_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2701-262_0_7_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2701-262_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2701-262_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-262_0_7_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-262_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-262_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-262_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-262_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2701-262_0_7_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2701-262_0_7_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2701-262_0_7_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_2701-262_0_7_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2701-262_0_7_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2701-262_0_7_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_2701-262_0_7_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2701-262_0_7_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2701-262_0_7_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2701-262_0_7_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2701-262_0_7_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2701-262_0_7_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2701-262_0_7_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2701-262_0_7_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2701-262_0_7_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2701-262_0_7_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2701-262_0_7_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2701-262_0_7_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2701-262_0_7_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2701-262_0_7_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2701-262_0_7_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2701-262_0_7_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2701-262_0_7_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2701-262_0_7_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2701-262_0_7_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2701-262_0_7_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_2701-262_0_7_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2701-262_0_7_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2701-262_0_7_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2701-262_0_7_node_56 | 0.4 | n |  | TRUE
55 | bus_MV_559_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-262_0_7_load_0 | 0 | 0.0034162 | 0.00085619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-262_0_7_load_1 | 1 | 0.02259 | 0.0056616 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-262_0_7_load_4 | 3 | 0.013631 | 0.0034162 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-262_0_7_load_34 | 6 | 0.004946 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-262_0_7_load_54 | 7 | 0.0031307 | 0.00078463 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-262_0_7_load_23 | 10 | 0.011975 | 0.0030012 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-262_0_7_load_45 | 11 | 0.025994 | 0.0065147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-262_0_7_load_35 | 12 | 0.0047578 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-262_0_7_load_55 | 13 | 0.0048263 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-262_0_7_load_22 | 14 | 0.011693 | 0.0029305 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-262_0_7_load_44 | 15 | 0.010673 | 0.002675 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-262_0_7_load_37 | 16 | 0.038502 | 0.0096495 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-262_0_7_load_27 | 17 | 0.0087082 | 0.0021825 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-262_0_7_load_10 | 18 | 0.014801 | 0.0037095 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-262_0_7_load_11 | 19 | 0.01113 | 0.0027893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-262_0_7_load_13 | 21 | 0.0091227 | 0.0022864 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-262_0_7_load_14 | 22 | 0.018518 | 0.0046412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-262_0_7_load_15 | 23 | 0.0076866 | 0.0019264 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-262_0_7_load_16 | 24 | 0.0056758 | 0.0014225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-262_0_7_load_24 | 25 | 0.0020276 | 0.00050817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-262_0_7_load_32 | 26 | 0.0019633 | 0.00049205 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-262_0_7_load_58 | 27 | 0.023187 | 0.0058111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-262_0_7_load_25 | 28 | 0.0135 | 0.0033833 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-262_0_7_load_30 | 29 | 0.026019 | 0.006521 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-262_0_7_load_53 | 30 | 0.0081737 | 0.0020485 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-262_0_7_load_17 | 31 | 0.026381 | 0.0066118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-262_0_7_load_18 | 32 | 0.0033308 | 0.00083477 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-262_0_7_load_19 | 33 | 0.012364 | 0.0030987 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-262_0_7_load_20 | 34 | 0.0075902 | 0.0019023 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-262_0_7_load_21 | 35 | 0.032003 | 0.0080208 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-262_0_7_load_26 | 36 | 0.0073943 | 0.0018532 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-262_0_7_load_28 | 37 | 0.0022429 | 0.00056212 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-262_0_7_load_29 | 38 | 0.004495 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-262_0_7_load_31 | 39 | 0.0051116 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-262_0_7_load_33 | 40 | 0.0037082 | 0.00092936 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-262_0_7_load_43 | 41 | 0.0038076 | 0.00095429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-262_0_7_load_42 | 42 | 0.0034742 | 0.00087071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-262_0_7_load_36 | 43 | 0.0022267 | 0.00055806 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-262_0_7_load_38 | 44 | 0.012113 | 0.0030357 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-262_0_7_load_39 | 45 | 0.0038734 | 0.00097076 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-262_0_7_load_40 | 46 | 0.0050853 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-262_0_7_load_41 | 47 | 0.0053476 | 0.0013402 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-262_0_7_load_47 | 48 | 0.071841 | 0.018005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-262_0_7_load_52 | 50 | 0.0033414 | 0.00083743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-262_0_7_load_50 | 51 | 0.040887 | 0.010247 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-262_0_7_load_49 | 52 | 0.0090914 | 0.0022785 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-262_0_7_load_51 | 53 | 0.008237 | 0.0020644 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-262_0_7_load_56 | 54 | 0.016369 | 0.0041024 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-262_0_7_line_0 |  | 0 | 1 | 0.030001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-262_0_7_line_1 |  | 0 | 2 | 0.046544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-262_0_7_line_2 |  | 2 | 3 | 0.059362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-262_0_7_line_3 |  | 3 | 4 | 0.03338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-262_0_7_line_4 |  | 4 | 5 | 0.12778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-262_0_7_line_5 |  | 4 | 6 | 0.050847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-262_0_7_line_6 |  | 5 | 7 | 0.045628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-262_0_7_line_7 |  | 6 | 12 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-262_0_7_line_8 |  | 7 | 13 | 0.0070444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-262_0_7_line_9 |  | 8 | 9 | 0.007192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-262_0_7_line_10 |  | 8 | 10 | 0.038723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-262_0_7_line_11 |  | 9 | 11 | 0.033778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-262_0_7_line_12 |  | 10 | 14 | 0.0094493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-262_0_7_line_13 |  | 11 | 15 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-262_0_7_line_14 |  | 12 | 43 | 0.002843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-262_0_7_line_15 |  | 13 | 54 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-262_0_7_line_16 |  | 14 | 22 | 0.0047811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-262_0_7_line_17 |  | 16 | 17 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-262_0_7_line_18 |  | 17 | 36 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-262_0_7_line_19 |  | 18 | 19 | 0.0029215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-262_0_7_line_20 |  | 18 | 20 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-262_0_7_line_21 |  | 19 | 21 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2701-262_0_7_line_22 |  | 20 | 22 | 0.033234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-262_0_7_line_23 |  | 20 | 23 | 0.0076099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2701-262_0_7_line_24 |  | 20 | 24 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2701-262_0_7_line_25 |  | 21 | 25 | 1.9747e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2701-262_0_7_line_26 |  | 23 | 26 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2701-262_0_7_line_27 |  | 24 | 27 | 0.0084501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-262_0_7_line_28 |  | 25 | 28 | 0.0043845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2701-262_0_7_line_29 |  | 26 | 29 | 0.0025368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-262_0_7_line_30 |  | 27 | 30 | 0.0021003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-262_0_7_line_31 |  | 28 | 37 | 0.0041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-262_0_7_line_32 |  | 29 | 38 | 0.0086238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-262_0_7_line_33 |  | 30 | 53 | 0.010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-262_0_7_line_34 |  | 31 | 32 | 0.0056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-262_0_7_line_35 |  | 31 | 33 | 0.0015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-262_0_7_line_36 |  | 32 | 34 | 0.0037844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-262_0_7_line_37 |  | 33 | 35 | 0.0091161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-262_0_7_line_38 |  | 34 | 36 | 0.0010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-262_0_7_line_39 |  | 35 | 37 | 0.0028927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-262_0_7_line_40 |  | 38 | 39 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-262_0_7_line_41 |  | 39 | 40 | 0.00036231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-262_0_7_line_42 |  | 40 | 41 | 0.00011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-262_0_7_line_43 |  | 41 | 42 | 0.010483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-262_0_7_line_44 |  | 42 | 47 | 0.0018948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-262_0_7_line_45 |  | 43 | 44 | 0.00036674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-262_0_7_line_46 |  | 44 | 45 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-262_0_7_line_47 |  | 45 | 46 | 0.00089454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-262_0_7_line_48 |  | 46 | 47 | 0.00084614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-262_0_7_line_49 |  | 48 | 49 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-262_0_7_line_50 |  | 49 | 50 | 0.028803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-262_0_7_line_51 |  | 50 | 51 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-262_0_7_line_52 |  | 51 | 52 | 0.0061617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-262_0_7_line_53 |  | 52 | 53 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-262_0_7_trafo_12 | 0.63 MVA 20/0.4 kV | 55 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2611879.446 | 1267751.1763 | 2611861.8625 | 1267775.4844
1 | 2611909.9893 | 1267719.0439 | 2611905.4291 | 1267718.7012 | 2611901.1416 | 1267721.1832 | 2611879.446 | 1267751.1763
2 | 2611909.9893 | 1267719.0439 | 2611953.8187 | 1267759.0794
3 | 2611978.4649 | 1267781.5921 | 2611953.8187 | 1267759.0794
4 | 2611978.4649 | 1267781.5921 | 2611992.2247 | 1267791.8048 | 2612038.284 | 1267832.9935 | 2612039.4782 | 1267837.9105 | 2612063.3958 | 1267864.044 | 2612068.0247 | 1267871.2474
5 | 2611978.4649 | 1267781.5921 | 2611963.6166 | 1267830.2233
6 | 2612068.0247 | 1267871.2474 | 2612060.5788 | 1267876.2247 | 2612048.8107 | 1267882.3606 | 2612046.1117 | 1267884.6457 | 2612037.4235 | 1267902.5084
7 | 2611963.6166 | 1267830.2233 | 2611960.5999 | 1267840.1037
8 | 2612037.4235 | 1267902.5084 | 2612034.3423 | 1267908.8432
9 | 2611907.5462 | 1268002.7381 | 2611905.7082 | 1268007.3487 | 2611904.7183 | 1268009.3482
10 | 2611907.5462 | 1268002.7381 | 2611920.2422 | 1267966.1557
11 | 2611904.7183 | 1268009.3482 | 2611935.1558 | 1268023.9951
12 | 2611923.3403 | 1267957.2288 | 2611920.2422 | 1267966.1557
13 | 2611946.684 | 1268029.5426 | 2611935.1558 | 1268023.9951
14 | 2611959.7697 | 1267842.8227 | 2611960.5999 | 1267840.1037
15 | 2612026.9912 | 1267923.9567 | 2612034.3423 | 1267908.8432
16 | 2611924.9078 | 1267952.712 | 2611923.3403 | 1267957.2288
17 | 2611865.3584 | 1267876.0965 | 2611874.6309 | 1267882.0486
18 | 2611883.1724 | 1267887.5313 | 2611874.6309 | 1267882.0486
19 | 2611923.4879 | 1267913.4097 | 2611921.0293 | 1267911.8316
20 | 2611935.8041 | 1267921.3154 | 2611923.4879 | 1267913.4097
21 | 2611921.0293 | 1267911.8316 | 2611910.5881 | 1267905.1294
22 | 2611935.8041 | 1267921.3154 | 2611924.9078 | 1267952.712
23 | 2611935.8041 | 1267921.3154 | 2611938.0263 | 1267914.0372
24 | 2611935.8041 | 1267921.3154 | 2611948.9223 | 1267934.5225
25 | 2611910.5881 | 1267905.1294 | 2611910.5715 | 1267905.1187
26 | 2611938.0263 | 1267914.0372 | 2611944.5686 | 1267892.6098
27 | 2611954.8773 | 1267940.5178 | 2611948.9223 | 1267934.5225
28 | 2611910.5715 | 1267905.1187 | 2611906.8818 | 1267902.7503
29 | 2611945.3093 | 1267890.1836 | 2611944.5686 | 1267892.6098
30 | 2611954.8773 | 1267940.5178 | 2611956.3574 | 1267942.0079
31 | 2611903.375 | 1267900.4993 | 2611906.8818 | 1267902.7503
32 | 2611945.3093 | 1267890.1836 | 2611947.8276 | 1267881.9356
33 | 2611956.3574 | 1267942.0079 | 2611963.87 | 1267949.5715
34 | 2611891.9741 | 1267893.1811 | 2611887.2201 | 1267890.1295
35 | 2611893.269 | 1267894.0123 | 2611891.9741 | 1267893.1811
36 | 2611887.2201 | 1267890.1295 | 2611884.0354 | 1267888.0852
37 | 2611893.269 | 1267894.0123 | 2611900.9406 | 1267898.9366
38 | 2611883.1724 | 1267887.5313 | 2611884.0354 | 1267888.0852
39 | 2611903.375 | 1267900.4993 | 2611900.9406 | 1267898.9366
40 | 2611951.9328 | 1267868.4902 | 2611947.8276 | 1267881.9356
41 | 2611952.0387 | 1267868.1437 | 2611951.9328 | 1267868.4902
42 | 2611952.0725 | 1267868.0328 | 2611952.0387 | 1267868.1437
43 | 2611952.0725 | 1267868.0328 | 2611955.1338 | 1267858.0063
44 | 2611955.1338 | 1267858.0063 | 2611955.6871 | 1267856.1941
45 | 2611959.7697 | 1267842.8227 | 2611959.6626 | 1267843.1735
46 | 2611959.6626 | 1267843.1735 | 2611956.1954 | 1267854.5293
47 | 2611956.1954 | 1267854.5293 | 2611955.9342 | 1267855.3849
48 | 2611955.9342 | 1267855.3849 | 2611955.6871 | 1267856.1941
49 | 2612012.3606 | 1267998.3905 | 2612003.9061 | 1268014.7182 | 2612002.3812 | 1268017.728
50 | 2612012.3606 | 1267998.3905 | 2611992.0625 | 1267977.9549
51 | 2611977.5242 | 1267963.3182 | 2611992.0625 | 1267977.9549
52 | 2611973.182 | 1267958.9465 | 2611977.5242 | 1267963.3182
53 | 2611973.182 | 1267958.9465 | 2611963.87 | 1267949.5715

## bus_geodata
| x | y | coords
0 | 2611879.446 | 1267751.1763
1 | 2611861.8625 | 1267775.4844
2 | 2611909.9893 | 1267719.0439
3 | 2611953.8187 | 1267759.0794
4 | 2611978.4649 | 1267781.5921
5 | 2612068.0247 | 1267871.2474
6 | 2611963.6166 | 1267830.2233
7 | 2612037.4235 | 1267902.5084
8 | 2611907.5462 | 1268002.7381
9 | 2611904.7183 | 1268009.3482
10 | 2611920.2422 | 1267966.1557
11 | 2611935.1558 | 1268023.9951
12 | 2611960.5999 | 1267840.1037
13 | 2612034.3423 | 1267908.8432
14 | 2611923.3403 | 1267957.2288
15 | 2611946.684 | 1268029.5426
16 | 2611865.3584 | 1267876.0965
17 | 2611874.6309 | 1267882.0486
18 | 2611923.4879 | 1267913.4097
19 | 2611921.0293 | 1267911.8316
20 | 2611935.8041 | 1267921.3154
21 | 2611910.5881 | 1267905.1294
22 | 2611924.9078 | 1267952.712
23 | 2611938.0263 | 1267914.0372
24 | 2611948.9223 | 1267934.5225
25 | 2611910.5715 | 1267905.1187
26 | 2611944.5686 | 1267892.6098
27 | 2611954.8773 | 1267940.5178
28 | 2611906.8818 | 1267902.7503
29 | 2611945.3093 | 1267890.1836
30 | 2611956.3574 | 1267942.0079
31 | 2611891.9741 | 1267893.1811
32 | 2611887.2201 | 1267890.1295
33 | 2611893.269 | 1267894.0123
34 | 2611884.0354 | 1267888.0852
35 | 2611900.9406 | 1267898.9366
36 | 2611883.1724 | 1267887.5313
37 | 2611903.375 | 1267900.4993
38 | 2611947.8276 | 1267881.9356
39 | 2611951.9328 | 1267868.4902
40 | 2611952.0387 | 1267868.1437
41 | 2611952.0725 | 1267868.0328
42 | 2611955.1338 | 1267858.0063
43 | 2611959.7697 | 1267842.8227
44 | 2611959.6626 | 1267843.1735
45 | 2611956.1954 | 1267854.5293
46 | 2611955.9342 | 1267855.3849
47 | 2611955.6871 | 1267856.1941
48 | 2612002.3812 | 1268017.728
49 | 2612012.3606 | 1267998.3905
50 | 2611992.0625 | 1267977.9549
51 | 2611977.5242 | 1267963.3182
52 | 2611973.182 | 1267958.9465
53 | 2611963.87 | 1267949.5715
54 | 2612026.9912 | 1267923.9567
55 | 2611907.5462 | 1268002.7381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98525 | -0.284 | 0.0034162 | 0.00085619
1 | 0.98463 | -0.29617 | 0.02259 | 0.0056616
2 | 0.98637 | -0.26229 | 0 | 0
3 | 0.98779 | -0.23467 | 0.013631 | 0.0034162
4 | 0.98901 | -0.21106 | 0 | 0
5 | 0.98614 | -0.26662 | 0 | 0
6 | 0.992 | -0.15327 | 0.004946 | 0.0012396
7 | 0.98512 | -0.28653 | 0.0031307 | 0.00078463
8 | 0.99564 | -0.083832 | 0 | 0
9 | 0.9954 | -0.08847 | 0 | 0
10 | 0.99693 | -0.058898 | 0.011975 | 0.0030012
11 | 0.99427 | -0.11028 | 0.025994 | 0.0065147
12 | 0.99265 | -0.14066 | 0.0047578 | 0.0011924
13 | 0.98498 | -0.28921 | 0.0048263 | 0.0012096
14 | 0.99735 | -0.05084 | 0.011693 | 0.0029305
15 | 0.99414 | -0.11269 | 0.010673 | 0.002675
16 | 0.99397 | -0.11597 | 0.038502 | 0.0096495
17 | 0.99436 | -0.10849 | 0.0087082 | 0.0021825
18 | 0.99874 | -0.024149 | 0.014801 | 0.0037095
19 | 0.99851 | -0.028598 | 0.01113 | 0.0027893
20 | 1 | 0 | -0.60195 | -0.15174
21 | 0.99759 | -0.04631 | 0.0091227 | 0.0022864
22 | 0.99761 | -0.045787 | 0.018518 | 0.0046412
23 | 0.99945 | -0.010524 | 0.0076866 | 0.0019264
24 | 0.99855 | -0.027689 | 0.0056758 | 0.0014225
25 | 0.99758 | -0.046337 | 0.0020276 | 0.00050817
26 | 0.9979 | -0.040066 | 0.0019633 | 0.00049205
27 | 0.99792 | -0.039865 | 0.023187 | 0.0058111
28 | 0.99728 | -0.052175 | 0.0135 | 0.0033833
29 | 0.99773 | -0.043373 | 0.026019 | 0.006521
30 | 0.99778 | -0.042468 | 0.0081737 | 0.0020485
31 | 0.9954 | -0.088404 | 0.026381 | 0.0066118
32 | 0.99506 | -0.094918 | 0.0033308 | 0.00083477
33 | 0.99553 | -0.085917 | 0.012364 | 0.0030987
34 | 0.99485 | -0.099062 | 0.0075902 | 0.0019023
35 | 0.9964 | -0.069214 | 0.032003 | 0.0080208
36 | 0.9948 | -0.10005 | 0.0073943 | 0.0018532
37 | 0.99675 | -0.062296 | 0.0022429 | 0.00056212
38 | 0.99676 | -0.061952 | 0.004495 | 0.0011265
39 | 0.99523 | -0.091204 | 0.0051116 | 0.0012811
40 | 0.99519 | -0.091926 | 0.0037082 | 0.00092936
41 | 0.99518 | -0.09215 | 0.0038076 | 0.00095429
42 | 0.99416 | -0.11169 | 0.0034742 | 0.00087071
43 | 0.99285 | -0.13696 | 0.0022267 | 0.00055806
44 | 0.99287 | -0.13647 | 0.012113 | 0.0030357
45 | 0.99383 | -0.11801 | 0.0038734 | 0.00097076
46 | 0.99391 | -0.11656 | 0.0050853 | 0.0012745
47 | 0.99398 | -0.11511 | 0.0053476 | 0.0013402
48 | 0.98956 | -0.2009 | 0.071841 | 0.018005
49 | 0.99099 | -0.17311 | 0 | 0
50 | 0.99289 | -0.13646 | 0.0033414 | 0.00083743
51 | 0.99431 | -0.10907 | 0.040887 | 0.010247
52 | 0.99497 | -0.096472 | 0.0090914 | 0.0022785
53 | 0.99648 | -0.067398 | 0.008237 | 0.0020644
54 | 0.98473 | -0.29416 | 0.016369 | 0.0041024
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022603 | 0.0056696 | -0.02259 | -0.0056616 | 1.3112e-05 | 8.0099e-06 | 0.034139 | 0.034139 | 0.034139 | 0.98525 | -0.284 | 0.98463 | -0.29617 | 9.3789
1 | -0.026019 | -0.0065258 | 0.026046 | 0.0065425 | 2.6956e-05 | 1.6658e-05 | 0.039298 | 0.039298 | 0.039298 | 0.98525 | -0.284 | 0.98637 | -0.26229 | 10.7963
2 | -0.026046 | -0.0065425 | 0.026081 | 0.0065637 | 3.4378e-05 | 2.1243e-05 | 0.039298 | 0.039298 | 0.039298 | 0.98637 | -0.26229 | 0.98779 | -0.23467 | 10.7962
3 | -0.039711 | -0.0099799 | 0.039756 | 0.010008 | 4.4811e-05 | 2.8251e-05 | 0.059832 | 0.059831 | 0.059832 | 0.98779 | -0.23467 | 0.98901 | -0.21106 | 16.4372
4 | 0.02442 | 0.0061545 | -0.024355 | -0.0061147 | 6.473e-05 | 3.9792e-05 | 0.036753 | 0.036754 | 0.036754 | 0.98901 | -0.21106 | 0.98614 | -0.26662 | 10.0973
5 | -0.064176 | -0.016163 | 0.064354 | 0.016276 | 0.00017788 | 0.00011319 | 0.096585 | 0.096585 | 0.096585 | 0.98901 | -0.21106 | 0.992 | -0.15327 | 26.5343
6 | 0.024355 | 0.0061147 | -0.024332 | -0.0061005 | 2.3114e-05 | 1.4211e-05 | 0.036754 | 0.036754 | 0.036754 | 0.98614 | -0.26662 | 0.98512 | -0.28653 | 10.0973
7 | -0.0693 | -0.017515 | 0.069342 | 0.017542 | 4.1904e-05 | 2.6685e-05 | 0.104 | 0.104 | 0.104 | 0.992 | -0.15327 | 0.99265 | -0.14066 | 28.5724
8 | 0.021201 | 0.0053158 | -0.021199 | -0.0053142 | 2.7094e-06 | 1.6443e-06 | 0.032025 | 0.032025 | 0.032025 | 0.98512 | -0.28653 | 0.98498 | -0.28921 | 8.7982
9 | 0.036715 | 0.0092193 | -0.036707 | -0.0092142 | 8.1222e-06 | 5.1047e-06 | 0.054878 | 0.054878 | 0.054878 | 0.99564 | -0.083832 | 0.9954 | -0.08847 | 15.0763
10 | -0.036715 | -0.0092193 | 0.036758 | 0.0092468 | 4.3731e-05 | 2.7483e-05 | 0.054878 | 0.054877 | 0.054878 | 0.99564 | -0.083832 | 0.99693 | -0.058898 | 15.0763
11 | 0.036707 | 0.0092142 | -0.036668 | -0.0091903 | 3.8147e-05 | 2.3976e-05 | 0.054878 | 0.054878 | 0.054878 | 0.9954 | -0.08847 | 0.99427 | -0.11028 | 15.0763
12 | -0.048733 | -0.012248 | 0.048752 | 0.01226 | 1.8755e-05 | 1.188e-05 | 0.072751 | 0.072751 | 0.072751 | 0.99693 | -0.058898 | 0.99735 | -0.05084 | 19.9865
13 | 0.010675 | 0.0026756 | -0.010673 | -0.002675 | 1.2245e-06 | 6.1775e-07 | 0.015976 | 0.015976 | 0.015976 | 0.99427 | -0.11028 | 0.99414 | -0.11269 | 4.3889
14 | -0.0741 | -0.018734 | 0.074113 | 0.018743 | 1.3168e-05 | 8.3905e-06 | 0.11114 | 0.11114 | 0.11114 | 0.99265 | -0.14066 | 0.99285 | -0.13696 | 30.5318
15 | 0.016372 | 0.0041046 | -0.016369 | -0.0041024 | 3.8558e-06 | 2.2538e-06 | 0.024734 | 0.024734 | 0.024734 | 0.98498 | -0.28921 | 0.98473 | -0.29416 | 6.7952
16 | -0.060445 | -0.01519 | 0.060459 | 0.0152 | 1.4586e-05 | 9.2727e-06 | 0.090196 | 0.090196 | 0.090196 | 0.99735 | -0.05084 | 0.99761 | -0.045787 | 24.7792
17 | -0.038502 | -0.0096495 | 0.038516 | 0.0096582 | 1.3727e-05 | 8.6426e-06 | 0.057639 | 0.057639 | 0.057639 | 0.99397 | -0.11597 | 0.99436 | -0.10849 | 15.8349
18 | -0.047224 | -0.011841 | 0.047243 | 0.011853 | 1.9009e-05 | 1.2034e-05 | 0.07067 | 0.07067 | 0.07067 | 0.99436 | -0.10849 | 0.9948 | -0.10005 | 19.4149
19 | 0.17479 | 0.043997 | -0.17475 | -0.043973 | 3.7168e-05 | 2.3711e-05 | 0.26048 | 0.26048 | 0.26048 | 0.99874 | -0.024149 | 0.99851 | -0.028598 | 35.7808
20 | -0.18959 | -0.047706 | 0.18981 | 0.047846 | 0.00021905 | 0.00013981 | 0.28254 | 0.28254 | 0.28254 | 0.99874 | -0.024149 | 1 | 0 | 38.8099
21 | 0.16362 | 0.041184 | -0.16348 | -0.041096 | 0.00013839 | 8.8243e-05 | 0.2439 | 0.2439 | 0.2439 | 0.99851 | -0.028598 | 0.99759 | -0.04631 | 33.5026
22 | 0.079151 | 0.019951 | -0.078978 | -0.019841 | 0.00017299 | 0.00011028 | 0.11782 | 0.11782 | 0.11782 | 1 | 0 | 0.99761 | -0.045787 | 32.3675
23 | 0.15984 | 0.040542 | -0.15976 | -0.040491 | 8.083e-05 | 5.1532e-05 | 0.23801 | 0.23801 | 0.23801 | 1 | 0 | 0.99945 | -0.010524 | 32.6938
24 | 0.1715 | 0.043396 | -0.17127 | -0.04325 | 0.00022757 | 0.00014515 | 0.25534 | 0.25534 | 0.25534 | 1 | 0 | 0.99855 | -0.027689 | 35.0745
25 | 0.15436 | 0.038809 | -0.15436 | -0.038809 | 1.9636e-07 | 1.2515e-07 | 0.23029 | 0.23029 | 0.23029 | 0.99759 | -0.04631 | 0.99758 | -0.046337 | 31.6334
26 | 0.15207 | 0.038564 | -0.15185 | -0.038427 | 0.00021563 | 0.00013742 | 0.22657 | 0.22657 | 0.22657 | 0.99945 | -0.010524 | 0.9979 | -0.040066 | 31.1219
27 | 0.1656 | 0.041828 | -0.1655 | -0.041766 | 9.6572e-05 | 6.1585e-05 | 0.24688 | 0.24688 | 0.24688 | 0.99855 | -0.027689 | 0.99792 | -0.039865 | 33.9127
28 | 0.15233 | 0.038301 | -0.15229 | -0.038274 | 4.2461e-05 | 2.7061e-05 | 0.22727 | 0.22727 | 0.22727 | 0.99758 | -0.046337 | 0.99728 | -0.052175 | 31.2179
29 | 0.14989 | 0.037935 | -0.14987 | -0.03792 | 2.379e-05 | 1.5159e-05 | 0.22364 | 0.22364 | 0.22364 | 0.9979 | -0.040066 | 0.99773 | -0.043373 | 30.7197
30 | 0.14231 | 0.035955 | -0.1423 | -0.035944 | 1.7751e-05 | 1.1306e-05 | 0.21231 | 0.21231 | 0.21231 | 0.99792 | -0.039865 | 0.99778 | -0.042468 | 29.1635
31 | 0.13879 | 0.034891 | -0.13872 | -0.034848 | 6.7039e-05 | 4.2851e-05 | 0.20712 | 0.20712 | 0.20712 | 0.99728 | -0.052175 | 0.99675 | -0.062296 | 56.9023
32 | 0.12385 | 0.031399 | -0.12374 | -0.031328 | 0.00011048 | 7.0597e-05 | 0.18483 | 0.18483 | 0.18483 | 0.99773 | -0.043373 | 0.99676 | -0.061952 | 50.7787
33 | 0.13412 | 0.033895 | -0.13396 | -0.033793 | 0.0001601 | 0.00010233 | 0.20012 | 0.20012 | 0.20012 | 0.99778 | -0.042468 | 0.99648 | -0.067398 | 54.9782
34 | 0.065593 | 0.016465 | -0.065573 | -0.016452 | 2.0372e-05 | 1.2965e-05 | 0.098064 | 0.098064 | 0.098064 | 0.9954 | -0.088404 | 0.99506 | -0.094918 | 26.9408
35 | -0.091975 | -0.023077 | 0.091986 | 0.023084 | 1.091e-05 | 6.9621e-06 | 0.1375 | 0.1375 | 0.1375 | 0.9954 | -0.088404 | 0.99553 | -0.085917 | 37.7752
36 | 0.062242 | 0.015618 | -0.06223 | -0.01561 | 1.2296e-05 | 7.8206e-06 | 0.093084 | 0.093084 | 0.093084 | 0.99506 | -0.094918 | 0.99485 | -0.099062 | 25.5724
37 | -0.10435 | -0.026183 | 0.10443 | 0.026236 | 8.3174e-05 | 5.3113e-05 | 0.15598 | 0.15598 | 0.15598 | 0.99553 | -0.085917 | 0.9964 | -0.069214 | 42.8523
38 | 0.05464 | 0.013708 | -0.054637 | -0.013706 | 2.5687e-06 | 1.6307e-06 | 0.081731 | 0.081731 | 0.081731 | 0.99485 | -0.099062 | 0.9948 | -0.10005 | 22.4535
39 | -0.13644 | -0.034257 | 0.13648 | 0.034286 | 4.5045e-05 | 2.8791e-05 | 0.20378 | 0.20378 | 0.20378 | 0.9964 | -0.069214 | 0.99675 | -0.062296 | 55.9824
40 | 0.11924 | 0.030202 | -0.11908 | -0.030095 | 0.00016727 | 0.00010687 | 0.17812 | 0.17812 | 0.17812 | 0.99676 | -0.061952 | 0.99523 | -0.091204 | 48.9353
41 | 0.11396 | 0.028814 | -0.11396 | -0.028811 | 3.9489e-06 | 2.5226e-06 | 0.17048 | 0.17048 | 0.17048 | 0.99523 | -0.091204 | 0.99519 | -0.091926 | 46.8357
42 | 0.11025 | 0.027882 | -0.11025 | -0.027881 | 1.183e-06 | 7.5559e-07 | 0.16494 | 0.16494 | 0.16494 | 0.99519 | -0.091926 | 0.99518 | -0.09215 | 45.3125
43 | 0.10644 | 0.026927 | -0.10634 | -0.026863 | 9.9692e-05 | 6.3667e-05 | 0.15924 | 0.15924 | 0.15924 | 0.99518 | -0.09215 | 0.99416 | -0.11169 | 43.7484
44 | 0.10287 | 0.025992 | -0.10285 | -0.025982 | 1.6861e-05 | 1.0766e-05 | 0.15404 | 0.15404 | 0.15404 | 0.99416 | -0.11169 | 0.99398 | -0.11511 | 42.3198
45 | -0.07634 | -0.019301 | 0.076341 | 0.019302 | 1.8022e-06 | 1.1486e-06 | 0.11447 | 0.11447 | 0.11447 | 0.99285 | -0.13696 | 0.99287 | -0.13647 | 31.4486
46 | -0.088454 | -0.022338 | 0.088532 | 0.022388 | 7.8318e-05 | 4.997e-05 | 0.13263 | 0.13263 | 0.13263 | 0.99287 | -0.13647 | 0.99383 | -0.11801 | 36.4357
47 | -0.092406 | -0.023359 | 0.092412 | 0.023363 | 6.4278e-06 | 4.1022e-06 | 0.13843 | 0.13843 | 0.13843 | 0.99383 | -0.11801 | 0.99391 | -0.11656 | 38.0289
48 | -0.097498 | -0.024637 | 0.097504 | 0.024641 | 6.7672e-06 | 4.32e-06 | 0.14604 | 0.14604 | 0.14604 | 0.99391 | -0.11656 | 0.99398 | -0.11511 | 40.1205
49 | -0.071841 | -0.018005 | 0.071936 | 0.018066 | 9.5231e-05 | 6.0668e-05 | 0.10803 | 0.10803 | 0.10803 | 0.98956 | -0.2009 | 0.99099 | -0.17311 | 29.6781
50 | -0.071936 | -0.018066 | 0.072062 | 0.018146 | 0.00012605 | 8.0301e-05 | 0.10803 | 0.10803 | 0.10803 | 0.99099 | -0.17311 | 0.99289 | -0.13646 | 29.6781
51 | -0.075404 | -0.018983 | 0.075503 | 0.019046 | 9.8846e-05 | 6.2994e-05 | 0.11304 | 0.11304 | 0.11304 | 0.99289 | -0.13646 | 0.99431 | -0.10907 | 31.0537
52 | -0.11639 | -0.029294 | 0.11646 | 0.029338 | 7.0137e-05 | 4.4808e-05 | 0.17422 | 0.17422 | 0.17422 | 0.99431 | -0.10907 | 0.99497 | -0.096472 | 47.8637
53 | -0.12555 | -0.031617 | 0.12573 | 0.031729 | 0.0001748 | 0.0001117 | 0.18782 | 0.18782 | 0.18782 | 0.99497 | -0.096472 | 0.99648 | -0.067398 | 51.599

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60195 | 0.15174

## res_load
| p_mw | q_mvar
0 | 0.0034162 | 0.00085619
1 | 0.02259 | 0.0056616
2 | 0.013631 | 0.0034162
3 | 0.004946 | 0.0012396
4 | 0.0031307 | 0.00078463
5 | 0.011975 | 0.0030012
6 | 0.025994 | 0.0065147
7 | 0.0047578 | 0.0011924
8 | 0.0048263 | 0.0012096
9 | 0.011693 | 0.0029305
10 | 0.010673 | 0.002675
11 | 0.038502 | 0.0096495
12 | 0.0087082 | 0.0021825
13 | 0.014801 | 0.0037095
14 | 0.01113 | 0.0027893
15 | 0.0091227 | 0.0022864
16 | 0.018518 | 0.0046412
17 | 0.0076866 | 0.0019264
18 | 0.0056758 | 0.0014225
19 | 0.0020276 | 0.00050817
20 | 0.0019633 | 0.00049205
21 | 0.023187 | 0.0058111
22 | 0.0135 | 0.0033833
23 | 0.026019 | 0.006521
24 | 0.0081737 | 0.0020485
25 | 0.026381 | 0.0066118
26 | 0.0033308 | 0.00083477
27 | 0.012364 | 0.0030987
28 | 0.0075902 | 0.0019023
29 | 0.032003 | 0.0080208
30 | 0.0073943 | 0.0018532
31 | 0.0022429 | 0.00056212
32 | 0.004495 | 0.0011265
33 | 0.0051116 | 0.0012811
34 | 0.0037082 | 0.00092936
35 | 0.0038076 | 0.00095429
36 | 0.0034742 | 0.00087071
37 | 0.0022267 | 0.00055806
38 | 0.012113 | 0.0030357
39 | 0.0038734 | 0.00097076
40 | 0.0050853 | 0.0012745
41 | 0.0053476 | 0.0013402
42 | 0.071841 | 0.018005
43 | 0.0033414 | 0.00083743
44 | 0.040887 | 0.010247
45 | 0.0090914 | 0.0022785
46 | 0.008237 | 0.0020644
47 | 0.016369 | 0.0041024

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1