## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-265_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-265_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-265_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-265_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-265_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-265_0_4_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_2701-265_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2701-265_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_2701-265_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_2701-265_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-265_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-265_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-265_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-265_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_2701-265_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2701-265_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2701-265_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2701-265_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2701-265_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-265_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2701-265_0_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2701-265_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2701-265_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_2701-265_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-265_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2701-265_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2701-265_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2701-265_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2701-265_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2701-265_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_2701-265_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-265_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2701-265_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2701-265_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_2701-265_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2701-265_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2701-265_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2701-265_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_2701-265_0_4_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_2701-265_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2701-265_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2701-265_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2701-265_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2701-265_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2701-265_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2701-265_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2701-265_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2701-265_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2701-265_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2701-265_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2701-265_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2701-265_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2701-265_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_2701-265_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2701-265_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_2701-265_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_MV_570_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-265_0_4_load_0 | 0 | 0.003451 | 0.00086491 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-265_0_4_load_1 | 1 | 0.0028383 | 0.00071134 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-265_0_4_load_2 | 2 | 0.004023 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-265_0_4_load_3 | 3 | 0.00067032 | 0.000168 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-265_0_4_load_4 | 4 | 0.004027 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-265_0_4_load_57 | 5 | 0.00063144 | 0.00015825 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-265_0_4_load_27 | 6 | 0.0085278 | 0.0021373 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-265_0_4_load_47 | 7 | 0.0032725 | 0.00082018 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-265_0_4_load_28 | 8 | 0.0024406 | 0.00061167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-265_0_4_load_5 | 9 | 0.0029982 | 0.00075143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-265_0_4_load_6 | 10 | 0.0080128 | 0.0020082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-265_0_4_load_7 | 11 | 0.0028978 | 0.00072627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-265_0_4_load_8 | 12 | 0.011627 | 0.002914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-265_0_4_load_38 | 13 | 0.024086 | 0.0060365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-265_0_4_load_14 | 14 | 0.013882 | 0.0034792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-265_0_4_load_10 | 15 | 0.0058646 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-265_0_4_load_11 | 16 | 0.027069 | 0.0067842 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-265_0_4_load_12 | 17 | 0.018705 | 0.0046879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-265_0_4_load_13 | 18 | 0.003047 | 0.00076364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-265_0_4_load_40 | 20 | 0.0020852 | 0.0005226 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-265_0_4_load_26 | 21 | 0.0090283 | 0.0022627 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-265_0_4_load_43 | 22 | 0.0020865 | 0.00052292 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-265_0_4_load_15 | 23 | 0.056173 | 0.014078 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-265_0_4_load_23 | 25 | 0.031568 | 0.0079118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-265_0_4_load_51 | 28 | 0.016013 | 0.0040132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-265_0_4_load_61 | 29 | 0.0039412 | 0.00098777 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-265_0_4_load_63 | 33 | 0.026543 | 0.0066523 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-265_0_4_load_39 | 34 | 0.0052614 | 0.0013186 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-265_0_4_load_37 | 35 | 0.0035886 | 0.0008994 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-265_0_4_load_35 | 36 | 0.0031351 | 0.00078573 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-265_0_4_load_50 | 37 | 0.0017387 | 0.00043576 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-265_0_4_load_60 | 38 | 0.0040777 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-265_0_4_load_59 | 39 | 0.0033601 | 0.00084212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-265_0_4_load_36 | 40 | 0.0022754 | 0.00057027 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-265_0_4_load_29 | 41 | 0.063877 | 0.016009 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-265_0_4_load_30 | 42 | 0.00083721 | 0.00020982 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-265_0_4_load_31 | 43 | 0.0036982 | 0.00092687 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-265_0_4_load_32 | 44 | 0.0036615 | 0.00091767 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-265_0_4_load_33 | 45 | 0.034056 | 0.0085352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-265_0_4_load_49 | 46 | 0.014501 | 0.0036343 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-265_0_4_load_58 | 47 | 0.0033687 | 0.00084428 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-265_0_4_load_42 | 48 | 0.011733 | 0.0029407 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-265_0_4_load_41 | 49 | 0.0054124 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-265_0_4_load_44 | 50 | 0.0015655 | 0.00039235 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-265_0_4_load_45 | 51 | 0.00079917 | 0.00020029 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-265_0_4_load_46 | 52 | 0.00062072 | 0.00015557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-265_0_4_load_48 | 53 | 0.00060454 | 0.00015151 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-265_0_4_load_62 | 54 | 0.00027369 | 6.8593e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-265_0_4_load_53 | 55 | 0.013073 | 0.0032764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-265_0_4_line_0 |  | 0 | 1 | 0.00749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-265_0_4_line_1 |  | 0 | 2 | 0.009141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-265_0_4_line_2 |  | 1 | 3 | 0.0010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-265_0_4_line_3 |  | 2 | 4 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-265_0_4_line_4 |  | 3 | 5 | 0.0017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-265_0_4_line_5 |  | 4 | 6 | 0.0099007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-265_0_4_line_6 |  | 5 | 7 | 0.0053653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-265_0_4_line_7 |  | 6 | 8 | 0.0090733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-265_0_4_line_8 |  | 7 | 51 | 0.010381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-265_0_4_line_9 |  | 8 | 32 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-265_0_4_line_10 |  | 9 | 10 | 0.003108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-265_0_4_line_11 |  | 9 | 11 | 0.0065628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-265_0_4_line_12 |  | 10 | 12 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-265_0_4_line_13 |  | 12 | 13 | 0.00080626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-265_0_4_line_14 |  | 13 | 14 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-265_0_4_line_15 |  | 14 | 20 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-265_0_4_line_16 |  | 14 | 17 | 0.025829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-265_0_4_line_17 |  | 15 | 16 | 0.0031469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-265_0_4_line_18 |  | 15 | 17 | 0.012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-265_0_4_line_19 |  | 16 | 18 | 0.0049065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-265_0_4_line_20 |  | 18 | 19 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-265_0_4_line_21 |  | 19 | 21 | 0.0050857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-265_0_4_line_22 |  | 20 | 22 | 0.0058034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-265_0_4_line_23 |  | 21 | 31 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2701-265_0_4_line_24 |  | 22 | 48 | 0.010159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-265_0_4_line_25 |  | 23 | 24 | 0.031843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-265_0_4_line_26 |  | 24 | 25 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-265_0_4_line_27 |  | 24 | 26 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-265_0_4_line_28 |  | 26 | 35 | 0.001439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-265_0_4_line_29 |  | 26 | 36 | 0.00061819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-265_0_4_line_30 |  | 27 | 28 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-265_0_4_line_31 |  | 27 | 29 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-265_0_4_line_32 |  | 28 | 37 | 0.0074755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2701-265_0_4_line_33 |  | 29 | 38 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-265_0_4_line_34 |  | 30 | 31 | 0.040711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-265_0_4_line_35 |  | 30 | 32 | 0.035189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2701-265_0_4_line_36 |  | 30 | 33 | 0.030567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-265_0_4_line_37 |  | 31 | 34 | 0.012901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-265_0_4_line_38 |  | 32 | 38 | 0.013237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2701-265_0_4_line_39 |  | 34 | 39 | 0.0082639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-265_0_4_line_40 |  | 36 | 40 | 0.0097809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-265_0_4_line_41 |  | 37 | 46 | 0.0029378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2701-265_0_4_line_42 |  | 39 | 47 | 0.0065013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-265_0_4_line_43 |  | 40 | 44 | 0.0098787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-265_0_4_line_44 |  | 41 | 42 | 0.0071495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-265_0_4_line_45 |  | 41 | 43 | 0.0068118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2701-265_0_4_line_46 |  | 42 | 44 | 0.012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-265_0_4_line_47 |  | 43 | 45 | 0.0070069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2701-265_0_4_line_48 |  | 45 | 46 | 0.014879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2701-265_0_4_line_49 |  | 48 | 49 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-265_0_4_line_50 |  | 50 | 51 | 0.0073847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-265_0_4_line_51 |  | 50 | 52 | 0.0038817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-265_0_4_line_52 |  | 52 | 53 | 0.0097145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-265_0_4_line_53 |  | 53 | 54 | 0.0078257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-265_0_4_line_54 |  | 54 | 55 | 0.10527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-265_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 56 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2611576.3102 | 1269540.4175 | 2611582.2642 | 1269535.8734
1 | 2611576.3102 | 1269540.4175 | 2611569.0437 | 1269545.9633
2 | 2611582.2642 | 1269535.8734 | 2611583.1062 | 1269535.2308
3 | 2611560.6873 | 1269552.3409 | 2611569.0437 | 1269545.9633
4 | 2611584.4624 | 1269534.1958 | 2611583.1062 | 1269535.2308
5 | 2611552.8169 | 1269558.3476 | 2611560.6873 | 1269552.3409
6 | 2611584.4624 | 1269534.1958 | 2611588.7275 | 1269530.9407
7 | 2611552.8169 | 1269558.3476 | 2611545.6042 | 1269563.8523
8 | 2611588.7275 | 1269530.9407 | 2611596.9797 | 1269524.6426
9 | 2611536.3151 | 1269571.9336 | 2611538.0124 | 1269569.6464 | 2611545.6042 | 1269563.8523
10 | 2611491.3871 | 1269692.022 | 2611494.3092 | 1269690.9632
11 | 2611491.3871 | 1269692.022 | 2611485.2168 | 1269694.2577
12 | 2611494.3092 | 1269690.9632 | 2611507.8379 | 1269686.0612
13 | 2611507.8379 | 1269686.0612 | 2611508.596 | 1269685.7866
14 | 2611522.3425 | 1269680.8057 | 2611508.596 | 1269685.7866
15 | 2611522.3425 | 1269680.8057 | 2611527.006 | 1269699.848
16 | 2611522.3425 | 1269680.8057 | 2611516.0476 | 1269656.2539 | 2611515.9277 | 1269655.7859
17 | 2611512.9386 | 1269644.1243 | 2611512.1572 | 1269641.076
18 | 2611512.9386 | 1269644.1243 | 2611515.9277 | 1269655.7859
19 | 2611512.1572 | 1269641.076 | 2611510.939 | 1269636.3231
20 | 2611506.2731 | 1269618.0301 | 2611510.6413 | 1269635.1618 | 2611510.939 | 1269636.3231
21 | 2611506.2731 | 1269618.0301 | 2611501.3426 | 1269619.277
22 | 2611527.006 | 1269699.848 | 2611528.3865 | 1269705.4848
23 | 2611491.6001 | 1269607.1607 | 2611493.1528 | 1269613.4793 | 2611495.6801 | 1269613.84 | 2611498.2958 | 1269615.1904 | 2611500.1581 | 1269617.0732 | 2611501.3426 | 1269619.277
24 | 2611530.8031 | 1269715.3526 | 2611528.3865 | 1269705.4848
25 | 2611612.9459 | 1269645.0012 | 2611583.3757 | 1269633.1856
26 | 2611607.2833 | 1269658.9222 | 2611612.9459 | 1269645.0012
27 | 2611612.9459 | 1269645.0012 | 2611620.2077 | 1269648.1288 | 2611623.7147 | 1269640.0076
28 | 2611623.7147 | 1269640.0076 | 2611625.0425 | 1269640.5623
29 | 2611623.7147 | 1269640.0076 | 2611623.1442 | 1269639.7695
30 | 2611541.3665 | 1269605.2558 | 2611550.9076 | 1269609.444
31 | 2611541.3665 | 1269605.2558 | 2611541.5005 | 1269602.1094 | 2611539.5716 | 1269595.2125
32 | 2611557.7526 | 1269612.4488 | 2611550.9076 | 1269609.444
33 | 2611536.6682 | 1269584.8312 | 2611539.5716 | 1269595.2125
34 | 2611491.6001 | 1269607.1607 | 2611489.8374 | 1269600.4859 | 2611491.5932 | 1269599.0772 | 2611492.5457 | 1269596.7552 | 2611492.5945 | 1269594.865 | 2611494.56 | 1269593.946 | 2611498.4897 | 1269592.7638 | 2611499.6417 | 1269592.3547 | 2611501.4183 | 1269591.8466 | 2611502.7509 | 1269591.3934 | 2611507.4483 | 1269590.1127 | 2611504.1667 | 1269579.054
35 | 2611504.1667 | 1269579.054 | 2611509.0594 | 1269574.0489 | 2611527.0584 | 1269569.2248 | 2611536.3151 | 1269571.9336
36 | 2611504.1667 | 1269579.054 | 2611496.5066 | 1269549.4628
37 | 2611491.6001 | 1269607.1607 | 2611479.0827 | 1269610.2833
38 | 2611536.3151 | 1269571.9336 | 2611535.2164 | 1269575.912 | 2611535.2839 | 1269579.8816 | 2611536.6682 | 1269584.8312
39 | 2611471.0645 | 1269612.2834 | 2611479.0827 | 1269610.2833
40 | 2611614.1182 | 1269636.0014 | 2611623.1442 | 1269639.7695
41 | 2611560.4557 | 1269613.5991 | 2611558.7693 | 1269612.8951 | 2611557.7526 | 1269612.4488
42 | 2611464.7566 | 1269613.857 | 2611471.0645 | 1269612.2834
43 | 2611605.002 | 1269632.1957 | 2611614.1182 | 1269636.0014
44 | 2611593.5357 | 1269627.4089 | 2611586.9381 | 1269624.6546
45 | 2611580.6521 | 1269622.0304 | 2611586.9381 | 1269624.6546
46 | 2611593.5357 | 1269627.4089 | 2611605.002 | 1269632.1957
47 | 2611580.6521 | 1269622.0304 | 2611574.186 | 1269619.331
48 | 2611560.4557 | 1269613.5991 | 2611574.186 | 1269619.331
49 | 2611533.6028 | 1269726.7846 | 2611530.8031 | 1269715.3526
50 | 2611602.85 | 1269520.1623 | 2611596.9797 | 1269524.6426
51 | 2611602.85 | 1269520.1623 | 2611605.9357 | 1269517.8074
52 | 2611605.9357 | 1269517.8074 | 2611613.6581 | 1269511.9136
53 | 2611613.6581 | 1269511.9136 | 2611618.533 | 1269508.1932 | 2611619.8621 | 1269507.144
54 | 2611619.8621 | 1269507.144 | 2611706.5304 | 1269566.8963

## bus_geodata
| x | y | coords
0 | 2611576.3102 | 1269540.4175
1 | 2611582.2642 | 1269535.8734
2 | 2611569.0437 | 1269545.9633
3 | 2611583.1062 | 1269535.2308
4 | 2611560.6873 | 1269552.3409
5 | 2611584.4624 | 1269534.1958
6 | 2611552.8169 | 1269558.3476
7 | 2611588.7275 | 1269530.9407
8 | 2611545.6042 | 1269563.8523
9 | 2611491.3871 | 1269692.022
10 | 2611494.3092 | 1269690.9632
11 | 2611485.2168 | 1269694.2577
12 | 2611507.8379 | 1269686.0612
13 | 2611508.596 | 1269685.7866
14 | 2611522.3425 | 1269680.8057
15 | 2611512.9386 | 1269644.1243
16 | 2611512.1572 | 1269641.076
17 | 2611515.9277 | 1269655.7859
18 | 2611510.939 | 1269636.3231
19 | 2611506.2731 | 1269618.0301
20 | 2611527.006 | 1269699.848
21 | 2611501.3426 | 1269619.277
22 | 2611528.3865 | 1269705.4848
23 | 2611583.3757 | 1269633.1856
24 | 2611612.9459 | 1269645.0012
25 | 2611607.2833 | 1269658.9222
26 | 2611623.7147 | 1269640.0076
27 | 2611541.3665 | 1269605.2558
28 | 2611550.9076 | 1269609.444
29 | 2611539.5716 | 1269595.2125
30 | 2611504.1667 | 1269579.054
31 | 2611491.6001 | 1269607.1607
32 | 2611536.3151 | 1269571.9336
33 | 2611496.5066 | 1269549.4628
34 | 2611479.0827 | 1269610.2833
35 | 2611625.0425 | 1269640.5623
36 | 2611623.1442 | 1269639.7695
37 | 2611557.7526 | 1269612.4488
38 | 2611536.6682 | 1269584.8312
39 | 2611471.0646 | 1269612.2834
40 | 2611614.1182 | 1269636.0014
41 | 2611586.9381 | 1269624.6546
42 | 2611593.5357 | 1269627.4089
43 | 2611580.6521 | 1269622.0304
44 | 2611605.002 | 1269632.1957
45 | 2611574.186 | 1269619.331
46 | 2611560.4557 | 1269613.5991
47 | 2611464.7566 | 1269613.857
48 | 2611530.8031 | 1269715.3526
49 | 2611533.6028 | 1269726.7846
50 | 2611602.85 | 1269520.1623
51 | 2611596.9797 | 1269524.6426
52 | 2611605.9357 | 1269517.8074
53 | 2611613.6581 | 1269511.9136
54 | 2611619.8621 | 1269507.144
55 | 2611706.5304 | 1269566.8963
56 | 2611541.3665 | 1269605.2558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99208 | -0.15129 | 0.003451 | 0.00086491
1 | 0.99191 | -0.15452 | 0.0028383 | 0.00071134
2 | 0.99231 | -0.14679 | 0.004023 | 0.0010083
3 | 0.99189 | -0.15492 | 0.00067032 | 0.000168
4 | 0.99261 | -0.14087 | 0.004027 | 0.0010093
5 | 0.99186 | -0.15555 | 0.00063144 | 0.00015825
6 | 0.99294 | -0.13459 | 0.0085278 | 0.0021373
7 | 0.99176 | -0.15747 | 0.0032725 | 0.00082018
8 | 0.99331 | -0.12747 | 0.0024406 | 0.00061167
9 | 0.97849 | -0.4146 | 0.0029982 | 0.00075143
10 | 0.9785 | -0.41427 | 0.0080128 | 0.0020082
11 | 0.97847 | -0.41495 | 0.0028978 | 0.00072627
12 | 0.97869 | -0.41063 | 0.011627 | 0.002914
13 | 0.97871 | -0.41025 | 0.024086 | 0.0060365
14 | 0.97938 | -0.39706 | 0.013882 | 0.0034792
15 | 0.98256 | -0.3348 | 0.0058646 | 0.0014698
16 | 0.98288 | -0.32859 | 0.027069 | 0.0067842
17 | 0.98141 | -0.35733 | 0.018705 | 0.0046879
18 | 0.9835 | -0.31652 | 0.003047 | 0.00076364
19 | 0.98594 | -0.26918 | 0 | 0
20 | 0.97899 | -0.40466 | 0.0020852 | 0.0005226
21 | 0.9866 | -0.25646 | 0.0090283 | 0.0022627
22 | 0.97889 | -0.40669 | 0.0020865 | 0.00052292
23 | 0.99102 | -0.17287 | 0.056173 | 0.014078
24 | 0.99265 | -0.14118 | 0 | 0
25 | 0.99222 | -0.14957 | 0.031568 | 0.0079118
26 | 0.994 | -0.11521 | 0 | 0
27 | 0.9976 | -0.04553 | 0 | 0
28 | 0.99876 | -0.023482 | 0.016013 | 0.0040132
29 | 0.99645 | -0.067399 | 0.0039412 | 0.00098777
30 | 0.9908 | -0.17548 | 0 | 0
31 | 0.98778 | -0.23368 | 0 | 0
32 | 0.99384 | -0.11722 | 0 | 0
33 | 0.99005 | -0.1899 | 0.026543 | 0.0066523
34 | 0.98763 | -0.23644 | 0.0052614 | 0.0013186
35 | 0.99399 | -0.1153 | 0.0035886 | 0.0008994
36 | 0.99405 | -0.11422 | 0.0031351 | 0.00078573
37 | 0.99965 | -0.0066507 | 0.0017387 | 0.00043576
38 | 0.99527 | -0.089942 | 0.0040777 | 0.001022
39 | 0.98758 | -0.23744 | 0.0033601 | 0.00084212
40 | 0.99489 | -0.097933 | 0.0022754 | 0.00057027
41 | 0.99757 | -0.046529 | 0.063877 | 0.016009
42 | 0.99691 | -0.059215 | 0.00083721 | 0.00020982
43 | 0.99808 | -0.036684 | 0.0036982 | 0.00092687
44 | 0.99577 | -0.081119 | 0.0036615 | 0.00091767
45 | 0.99862 | -0.026342 | 0.034056 | 0.0085352
46 | 1 | 0 | -0.46861 | -0.11874
47 | 0.98756 | -0.23783 | 0.0033687 | 0.00084428
48 | 0.97873 | -0.40986 | 0.011733 | 0.0029407
49 | 0.97867 | -0.41102 | 0.0054124 | 0.0013565
50 | 0.99149 | -0.1627 | 0.0015655 | 0.00039235
51 | 0.9916 | -0.16059 | 0.00079917 | 0.00020029
52 | 0.99143 | -0.16371 | 0.00062072 | 0.00015557
53 | 0.99131 | -0.16611 | 0.00060454 | 0.00015151
54 | 0.99121 | -0.16796 | 0.00027369 | 6.8593e-05
55 | 0.98995 | -0.19241 | 0.013073 | 0.0032764
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.024379 | 0.0061194 | -0.024375 | -0.0061171 | 3.7562e-06 | 2.3073e-06 | 0.036569 | 0.036569 | 0.036569 | 0.99208 | -0.15129 | 0.99191 | -0.15452 | 10.0465
1 | -0.02783 | -0.0069843 | 0.027836 | 0.006988 | 5.9737e-06 | 3.7051e-06 | 0.041746 | 0.041745 | 0.041746 | 0.99208 | -0.15129 | 0.99231 | -0.14679 | 11.4685
2 | 0.021537 | 0.0054057 | -0.021536 | -0.0054055 | 4.1467e-07 | 2.5172e-07 | 0.032311 | 0.032311 | 0.032311 | 0.99191 | -0.15452 | 0.99189 | -0.15492 | 8.8768
3 | -0.031859 | -0.0079962 | 0.031868 | 0.0080019 | 8.9986e-06 | 5.6233e-06 | 0.047778 | 0.047778 | 0.047778 | 0.99231 | -0.14679 | 0.99261 | -0.14087 | 13.1259
4 | 0.020866 | 0.0052375 | -0.020866 | -0.0052371 | 6.2702e-07 | 3.7927e-07 | 0.031306 | 0.031306 | 0.031306 | 0.99189 | -0.15492 | 0.99186 | -0.15555 | 8.6005
5 | -0.035895 | -0.0090111 | 0.035906 | 0.0090179 | 1.0752e-05 | 6.7535e-06 | 0.053815 | 0.053815 | 0.053815 | 0.99261 | -0.14087 | 0.99294 | -0.13459 | 14.7843
6 | 0.020234 | 0.0050788 | -0.020232 | -0.0050777 | 1.8544e-06 | 1.1175e-06 | 0.030359 | 0.030359 | 0.030359 | 0.99186 | -0.15555 | 0.99176 | -0.15747 | 8.3403
7 | -0.044433 | -0.011155 | 0.044449 | 0.011165 | 1.5089e-05 | 9.5399e-06 | 0.066595 | 0.066595 | 0.066595 | 0.99294 | -0.13459 | 0.99331 | -0.12747 | 18.2952
8 | 0.01696 | 0.0042575 | -0.016957 | -0.0042561 | 2.5211e-06 | 1.4796e-06 | 0.025449 | 0.025449 | 0.025449 | 0.99176 | -0.15747 | 0.9916 | -0.16059 | 6.9914
9 | -0.046889 | -0.011776 | 0.046912 | 0.011791 | 2.2946e-05 | 1.4525e-05 | 0.070251 | 0.070251 | 0.070251 | 0.99331 | -0.12747 | 0.99384 | -0.11722 | 19.2996
10 | -0.0058961 | -0.0014776 | 0.0058962 | 0.0014777 | 9.3703e-08 | 2.0929e-08 | 0.0089664 | 0.0089664 | 0.0089664 | 0.97849 | -0.4146 | 0.9785 | -0.41427 | 2.4633
11 | 0.0028979 | 0.00072622 | -0.0028978 | -0.00072627 | 4.7796e-08 | -5.1844e-08 | 0.0044069 | 0.0044069 | 0.0044069 | 0.97849 | -0.4146 | 0.97847 | -0.41495 | 1.2107
12 | -0.013909 | -0.0034859 | 0.013911 | 0.0034872 | 2.4141e-06 | 1.3642e-06 | 0.021151 | 0.021151 | 0.021151 | 0.9785 | -0.41427 | 0.97869 | -0.41063 | 5.8108
13 | -0.025538 | -0.0064012 | 0.025539 | 0.0064015 | 4.5585e-07 | 2.8161e-07 | 0.038829 | 0.038829 | 0.038829 | 0.97869 | -0.41063 | 0.97871 | -0.41025 | 10.6674
14 | -0.049625 | -0.012438 | 0.049656 | 0.012458 | 3.1212e-05 | 1.9792e-05 | 0.075449 | 0.075449 | 0.075449 | 0.97871 | -0.41025 | 0.97938 | -0.39706 | 20.7278
15 | 0.02133 | 0.0053501 | -0.021322 | -0.0053454 | 7.7221e-06 | 4.6955e-06 | 0.032409 | 0.032409 | 0.032409 | 0.97938 | -0.39706 | 0.97899 | -0.40466 | 8.9036
16 | -0.084868 | -0.021287 | 0.085029 | 0.02139 | 0.00016106 | 0.00010275 | 0.12895 | 0.12895 | 0.12895 | 0.97938 | -0.39706 | 0.98141 | -0.35733 | 35.4258
17 | -0.10971 | -0.027619 | 0.10974 | 0.02764 | 3.2593e-05 | 2.082e-05 | 0.16619 | 0.16619 | 0.16619 | 0.98256 | -0.3348 | 0.98288 | -0.32859 | 45.657
18 | 0.10385 | 0.026149 | -0.10373 | -0.026078 | 0.00011172 | 7.1347e-05 | 0.15731 | 0.15731 | 0.15731 | 0.98256 | -0.3348 | 0.98141 | -0.35733 | 43.217
19 | -0.13681 | -0.034424 | 0.13689 | 0.034474 | 7.8971e-05 | 5.0479e-05 | 0.20717 | 0.20717 | 0.20717 | 0.98288 | -0.32859 | 0.9835 | -0.31652 | 56.9154
20 | -0.13994 | -0.035238 | 0.14026 | 0.035441 | 0.00031753 | 0.00020298 | 0.21178 | 0.21178 | 0.21178 | 0.9835 | -0.31652 | 0.98594 | -0.26918 | 58.1819
21 | -0.14026 | -0.035441 | 0.14034 | 0.035496 | 8.5539e-05 | 5.468e-05 | 0.21178 | 0.21178 | 0.21178 | 0.98594 | -0.26918 | 0.9866 | -0.25646 | 58.1819
22 | 0.019237 | 0.0048228 | -0.019235 | -0.0048216 | 1.8606e-06 | 1.1178e-06 | 0.02924 | 0.02924 | 0.02924 | 0.97899 | -0.40466 | 0.97889 | -0.40669 | 8.0329
23 | -0.14937 | -0.037758 | 0.14953 | 0.037862 | 0.0001634 | 0.00010414 | 0.2254 | 0.2254 | 0.2254 | 0.9866 | -0.25646 | 0.98778 | -0.23368 | 30.9614
24 | 0.017149 | 0.0042987 | -0.017146 | -0.0042972 | 2.5889e-06 | 1.5292e-06 | 0.026068 | 0.026068 | 0.026068 | 0.97889 | -0.40669 | 0.97873 | -0.40986 | 7.1616
25 | -0.056173 | -0.014078 | 0.056258 | 0.014132 | 8.4949e-05 | 5.3956e-05 | 0.084344 | 0.084344 | 0.084344 | 0.99102 | -0.17287 | 0.99265 | -0.14118 | 23.1714
26 | 0.031581 | 0.0079197 | -0.031568 | -0.0079118 | 1.2627e-05 | 7.8869e-06 | 0.047342 | 0.047342 | 0.047342 | 0.99265 | -0.14118 | 0.99222 | -0.14957 | 13.0062
27 | -0.087839 | -0.022052 | 0.087948 | 0.022121 | 0.00010894 | 6.9506e-05 | 0.13169 | 0.13169 | 0.13169 | 0.99265 | -0.14118 | 0.994 | -0.11521 | 36.1775
28 | 0.0035887 | 0.00089939 | -0.0035886 | -0.0008994 | 1.5574e-08 | -8.6854e-09 | 0.0053722 | 0.0053722 | 0.0053722 | 0.994 | -0.11521 | 0.99399 | -0.1153 | 1.4759
29 | -0.091536 | -0.023021 | 0.091541 | 0.023024 | 4.3548e-06 | 2.779e-06 | 0.13706 | 0.13706 | 0.13706 | 0.994 | -0.11521 | 0.99405 | -0.11422 | 37.6533
30 | -0.24483 | -0.06249 | 0.24509 | 0.062656 | 0.00026112 | 0.00016685 | 0.36559 | 0.36559 | 0.36559 | 0.9976 | -0.04553 | 0.99876 | -0.023482 | 50.2181
31 | 0.24483 | 0.06249 | -0.24457 | -0.062325 | 0.00025839 | 0.0001651 | 0.36559 | 0.36559 | 0.36559 | 0.9976 | -0.04553 | 0.99645 | -0.067399 | 50.2182
32 | -0.2611 | -0.06667 | 0.26132 | 0.066806 | 0.00021258 | 0.00013586 | 0.38944 | 0.38944 | 0.38944 | 0.99876 | -0.023482 | 0.99965 | -0.0066507 | 53.4951
33 | 0.24063 | 0.061337 | -0.24037 | -0.06117 | 0.00026151 | 0.00016709 | 0.3597 | 0.3597 | 0.3597 | 0.99645 | -0.067399 | 0.99527 | -0.089942 | 49.4097
34 | 0.16198 | 0.041157 | -0.16152 | -0.040868 | 0.00045246 | 0.00028853 | 0.24346 | 0.24346 | 0.24346 | 0.9908 | -0.17548 | 0.98778 | -0.23368 | 33.4429
35 | -0.18854 | -0.04782 | 0.18907 | 0.048159 | 0.00052975 | 0.00033813 | 0.28336 | 0.28336 | 0.28336 | 0.9908 | -0.17548 | 0.99384 | -0.11722 | 38.9226
36 | 0.026561 | 0.0066635 | -0.026543 | -0.0066523 | 1.8242e-05 | 1.1281e-05 | 0.039893 | 0.039893 | 0.039893 | 0.9908 | -0.17548 | 0.99005 | -0.1899 | 10.9596
37 | 0.011992 | 0.0030059 | -0.011991 | -0.0030051 | 1.5789e-06 | 8.4539e-07 | 0.018066 | 0.018066 | 0.018066 | 0.98778 | -0.23368 | 0.98763 | -0.23644 | 4.9631
38 | -0.23598 | -0.059949 | 0.23629 | 0.060148 | 0.00031034 | 0.00019827 | 0.35361 | 0.35361 | 0.35361 | 0.99384 | -0.11722 | 0.99527 | -0.089942 | 48.5723
39 | 0.0067292 | 0.0016865 | -0.0067289 | -0.0016864 | 3.1854e-07 | 9.8122e-08 | 0.010139 | 0.010139 | 0.010139 | 0.98763 | -0.23644 | 0.98758 | -0.23744 | 2.7853
40 | -0.094676 | -0.023809 | 0.094749 | 0.023856 | 7.3699e-05 | 4.7041e-05 | 0.14175 | 0.14175 | 0.14175 | 0.99405 | -0.11422 | 0.99489 | -0.097933 | 38.9426
41 | -0.26305 | -0.067241 | 0.26314 | 0.067295 | 8.4658e-05 | 5.4104e-05 | 0.39203 | 0.39203 | 0.39203 | 0.99965 | -0.0066507 | 1 | 0 | 53.8506
42 | 0.0033688 | 0.00084424 | -0.0033687 | -0.00084428 | 6.2813e-08 | -4.2985e-08 | 0.0050758 | 0.0050759 | 0.0050759 | 0.98758 | -0.23744 | 0.98756 | -0.23783 | 1.3945
43 | -0.097025 | -0.024427 | 0.097103 | 0.024476 | 7.8053e-05 | 4.9826e-05 | 0.14515 | 0.14515 | 0.14515 | 0.99489 | -0.097933 | 0.99577 | -0.081119 | 39.8775
44 | 0.10177 | 0.025711 | -0.10171 | -0.025671 | 6.1841e-05 | 3.9485e-05 | 0.15188 | 0.15188 | 0.15188 | 0.99757 | -0.046529 | 0.99691 | -0.059215 | 41.724
45 | -0.16565 | -0.04172 | 0.16572 | 0.04177 | 7.802e-05 | 4.9755e-05 | 0.24716 | 0.24716 | 0.24716 | 0.99757 | -0.046529 | 0.99808 | -0.036684 | 33.9501
46 | 0.10087 | 0.025462 | -0.10076 | -0.025394 | 0.00010572 | 6.7496e-05 | 0.15063 | 0.15063 | 0.15063 | 0.99691 | -0.059215 | 0.99577 | -0.081119 | 41.3807
47 | -0.16942 | -0.042697 | 0.16951 | 0.04275 | 8.3876e-05 | 5.3497e-05 | 0.25267 | 0.25267 | 0.25267 | 0.99808 | -0.036684 | 0.99862 | -0.026342 | 34.7074
48 | -0.20356 | -0.051285 | 0.20382 | 0.051449 | 0.00025683 | 0.00016398 | 0.30341 | 0.30341 | 0.30341 | 0.99862 | -0.026342 | 1 | 0 | 41.6779
49 | 0.0054127 | 0.0013565 | -0.0054124 | -0.0013565 | 2.9889e-07 | 4.3389e-08 | 0.0082292 | 0.0082293 | 0.0082293 | 0.97873 | -0.40986 | 0.97867 | -0.41102 | 2.2608
50 | -0.016156 | -0.0040548 | 0.016158 | 0.0040558 | 1.6284e-06 | 9.4693e-07 | 0.024249 | 0.024249 | 0.024249 | 0.99149 | -0.1627 | 0.9916 | -0.16059 | 6.6619
51 | 0.014591 | 0.0036625 | -0.01459 | -0.0036621 | 6.9813e-07 | 3.9674e-07 | 0.0219 | 0.0219 | 0.0219 | 0.99149 | -0.1627 | 0.99143 | -0.16371 | 6.0165
52 | 0.013969 | 0.0035065 | -0.013968 | -0.0035056 | 1.6017e-06 | 8.9982e-07 | 0.020968 | 0.020968 | 0.020968 | 0.99143 | -0.16371 | 0.99131 | -0.16611 | 5.7605
53 | 0.013363 | 0.0033541 | -0.013362 | -0.0033534 | 1.181e-06 | 6.5497e-07 | 0.020061 | 0.020061 | 0.020061 | 0.99131 | -0.16611 | 0.99121 | -0.16796 | 5.5112
54 | 0.013088 | 0.0032849 | -0.013073 | -0.0032764 | 1.5243e-05 | 8.4004e-06 | 0.01965 | 0.019651 | 0.019651 | 0.99121 | -0.16796 | 0.98995 | -0.19241 | 5.3985

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48311 | 0.12238

## res_load
| p_mw | q_mvar
0 | 0.003451 | 0.00086491
1 | 0.0028383 | 0.00071134
2 | 0.004023 | 0.0010083
3 | 0.00067032 | 0.000168
4 | 0.004027 | 0.0010093
5 | 0.00063144 | 0.00015825
6 | 0.0085278 | 0.0021373
7 | 0.0032725 | 0.00082018
8 | 0.0024406 | 0.00061167
9 | 0.0029982 | 0.00075143
10 | 0.0080128 | 0.0020082
11 | 0.0028978 | 0.00072627
12 | 0.011627 | 0.002914
13 | 0.024086 | 0.0060365
14 | 0.013882 | 0.0034792
15 | 0.0058646 | 0.0014698
16 | 0.027069 | 0.0067842
17 | 0.018705 | 0.0046879
18 | 0.003047 | 0.00076364
19 | 0.0020852 | 0.0005226
20 | 0.0090283 | 0.0022627
21 | 0.0020865 | 0.00052292
22 | 0.056173 | 0.014078
23 | 0.031568 | 0.0079118
24 | 0.016013 | 0.0040132
25 | 0.0039412 | 0.00098777
26 | 0.026543 | 0.0066523
27 | 0.0052614 | 0.0013186
28 | 0.0035886 | 0.0008994
29 | 0.0031351 | 0.00078573
30 | 0.0017387 | 0.00043576
31 | 0.0040777 | 0.001022
32 | 0.0033601 | 0.00084212
33 | 0.0022754 | 0.00057027
34 | 0.063877 | 0.016009
35 | 0.00083721 | 0.00020982
36 | 0.0036982 | 0.00092687
37 | 0.0036615 | 0.00091767
38 | 0.034056 | 0.0085352
39 | 0.014501 | 0.0036343
40 | 0.0033687 | 0.00084428
41 | 0.011733 | 0.0029407
42 | 0.0054124 | 0.0013565
43 | 0.0015655 | 0.00039235
44 | 0.00079917 | 0.00020029
45 | 0.00062072 | 0.00015557
46 | 0.00060454 | 0.00015151
47 | 0.00027369 | 6.8593e-05
48 | 0.013073 | 0.0032764

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1