## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-268_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-268_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-268_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-268_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-268_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-268_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-268_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_2701-268_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2701-268_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2701-268_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2701-268_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_2701-268_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2701-268_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2701-268_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-268_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2701-268_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2701-268_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-268_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_2701-268_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2701-268_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-268_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2701-268_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_2701-268_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2701-268_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-268_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2701-268_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2701-268_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2701-268_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2701-268_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2701-268_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2701-268_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2701-268_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2701-268_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_2701-268_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2701-268_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2701-268_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2701-268_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2701-268_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_2701-268_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2701-268_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2701-268_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2701-268_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2701-268_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2701-268_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2701-268_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2701-268_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_MV_572_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-268_0_3_load_0 | 0 | 0.0049294 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-268_0_3_load_3 | 3 | 0.0074819 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-268_0_3_load_4 | 4 | 0.012783 | 0.0032037 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-268_0_3_load_5 | 5 | 0.015792 | 0.0039579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-268_0_3_load_19 | 6 | 0.032097 | 0.0080442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-268_0_3_load_16 | 7 | 0.018592 | 0.0046596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-268_0_3_load_20 | 8 | 0.016646 | 0.0041718 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-268_0_3_load_26 | 10 | 0.013691 | 0.0034312 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-268_0_3_load_25 | 11 | 0.014077 | 0.0035281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-268_0_3_load_6 | 12 | 0.0043739 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-268_0_3_load_7 | 13 | 0.0078208 | 0.0019601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-268_0_3_load_8 | 14 | 0.014339 | 0.0035936 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-268_0_3_load_9 | 15 | 0.010344 | 0.0025924 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-268_0_3_load_10 | 16 | 0.013356 | 0.0033475 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-268_0_3_load_28 | 20 | 0.0096394 | 0.0024159 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-268_0_3_load_43 | 21 | 0.0022089 | 0.00055361 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-268_0_3_load_11 | 22 | 0.022417 | 0.0056182 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-268_0_3_load_17 | 25 | 0.052521 | 0.013163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-268_0_3_load_18 | 26 | 0.0059871 | 0.0015005 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-268_0_3_load_27 | 27 | 0.00089134 | 0.00022339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-268_0_3_load_23 | 29 | 0.0026956 | 0.00067558 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-268_0_3_load_34 | 30 | 0.0018267 | 0.00045782 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-268_0_3_load_33 | 33 | 0.0030675 | 0.00076878 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-268_0_3_load_21 | 35 | 0.014693 | 0.0036823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-268_0_3_load_32 | 36 | 0.0033937 | 0.00085055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-268_0_3_load_45 | 37 | 0.0036759 | 0.00092126 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-268_0_3_load_39 | 39 | 0.0043751 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-268_0_3_load_42 | 41 | 0.040386 | 0.010122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-268_0_3_load_31 | 42 | 0.0028099 | 0.00070423 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-268_0_3_load_37 | 43 | 0.00069347 | 0.0001738 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-268_0_3_load_35 | 44 | 0.0011012 | 0.00027598 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-268_0_3_load_47 | 45 | 0.022566 | 0.0056555 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-268_0_3_line_0 |  | 0 | 1 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-268_0_3_line_1 |  | 0 | 2 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-268_0_3_line_2 |  | 1 | 3 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-268_0_3_line_3 |  | 2 | 4 | 0.039166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-268_0_3_line_4 |  | 2 | 5 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-268_0_3_line_5 |  | 3 | 6 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-268_0_3_line_6 |  | 4 | 7 | 0.042398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-268_0_3_line_7 |  | 6 | 8 | 0.036109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-268_0_3_line_8 |  | 7 | 9 | 0.032947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-268_0_3_line_9 |  | 8 | 35 | 0.039076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-268_0_3_line_10 |  | 9 | 24 | 0.046844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-268_0_3_line_11 |  | 9 | 22 | 0.041608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-268_0_3_line_12 |  | 10 | 11 | 0.032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-268_0_3_line_13 |  | 11 | 24 | 0.024721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-268_0_3_line_14 |  | 12 | 13 | 0.016347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-268_0_3_line_15 |  | 12 | 14 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-268_0_3_line_16 |  | 13 | 15 | 0.030406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-268_0_3_line_17 |  | 14 | 16 | 0.01081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-268_0_3_line_18 |  | 15 | 17 | 0.039061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-268_0_3_line_19 |  | 16 | 18 | 0.041421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-268_0_3_line_20 |  | 17 | 19 | 0.009101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-268_0_3_line_21 |  | 17 | 20 | 0.071639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-268_0_3_line_22 |  | 18 | 21 | 0.012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-268_0_3_line_23 |  | 19 | 45 | 0.031125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-268_0_3_line_24 |  | 21 | 34 | 0.020612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-268_0_3_line_25 |  | 22 | 23 | 0.038533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-268_0_3_line_26 |  | 23 | 25 | 0.047784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-268_0_3_line_27 |  | 23 | 26 | 0.022559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-268_0_3_line_28 |  | 24 | 27 | 0.052394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-268_0_3_line_29 |  | 25 | 32 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-268_0_3_line_30 |  | 26 | 33 | 0.028914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-268_0_3_line_31 |  | 27 | 34 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-268_0_3_line_32 |  | 28 | 29 | 0.015462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-268_0_3_line_33 |  | 28 | 30 | 0.023645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-268_0_3_line_34 |  | 28 | 31 | 0.051987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-268_0_3_line_35 |  | 29 | 35 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-268_0_3_line_36 |  | 30 | 36 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-268_0_3_line_37 |  | 31 | 37 | 0.056077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-268_0_3_line_38 |  | 31 | 38 | 0.054693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-268_0_3_line_39 |  | 32 | 39 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-268_0_3_line_40 |  | 33 | 42 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-268_0_3_line_41 |  | 38 | 43 | 0.049463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-268_0_3_line_42 |  | 38 | 44 | 0.043266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-268_0_3_line_43 |  | 39 | 40 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-268_0_3_line_44 |  | 40 | 41 | 0.008771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-268_0_3_trafo_16 | 0.63 MVA 20/0.4 kV | 46 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2611248.3482 | 1269137.7747 | 2611267.7225 | 1269136.6243
1 | 2611286.4487 | 1269135.512 | 2611283.5515 | 1269135.6844 | 2611267.7225 | 1269136.6243
2 | 2611248.3482 | 1269137.7747 | 2611227.2856 | 1269138.9915
3 | 2611286.4487 | 1269135.512 | 2611286.8244 | 1269143.7074 | 2611288.2441 | 1269174.6366
4 | 2611286.4487 | 1269135.512 | 2611287.442 | 1269135.4583 | 2611289.7749 | 1269135.3182 | 2611306.2705 | 1269134.3358
5 | 2611227.2856 | 1269138.9915 | 2611212.7537 | 1269139.8311 | 2611212.7537 | 1269139.8311
6 | 2611288.2441 | 1269174.6366 | 2611290.1882 | 1269216.9903
7 | 2611206.6909 | 1269172.1689 | 2611205.4736 | 1269149.88 | 2611205.2769 | 1269146.4661 | 2611207.2995 | 1269143.2454 | 2611209.9301 | 1269140.8376 | 2611212.7537 | 1269139.8311
8 | 2611291.7014 | 1269249.9027 | 2611291.6437 | 1269248.635 | 2611291.5785 | 1269247.2784 | 2611290.1882 | 1269216.9903
9 | 2611206.6909 | 1269172.1689 | 2611208.8217 | 1269211.1867
10 | 2611291.7014 | 1269249.9027 | 2611291.8594 | 1269249.903 | 2611296.1258 | 1269249.8667 | 2611305.9377 | 1269249.7741 | 2611317.5403 | 1269249.6739 | 2611334.3875 | 1269249.5282 | 2611338.6839 | 1269249.4919
11 | 2611291.7014 | 1269249.9027 | 2611290.0213 | 1269262.9198 | 2611291.7022 | 1269291.3528
12 | 2611335.7239 | 1269192.1225 | 2611337.4141 | 1269224.8038
13 | 2611338.6839 | 1269249.4919 | 2611338.2995 | 1269241.997 | 2611338.2559 | 1269241.1407 | 2611338.0456 | 1269237.0152 | 2611337.4141 | 1269224.8038
14 | 2611401.9861 | 1269164.4323 | 2611398.3041 | 1269148.505
15 | 2611401.9861 | 1269164.4323 | 2611404.6962 | 1269176.1557
16 | 2611392.239 | 1269118.7273 | 2611394.0884 | 1269130.2693 | 2611398.3041 | 1269148.505
17 | 2611406.8328 | 1269186.7504 | 2611406.2582 | 1269183.6748 | 2611405.4985 | 1269179.626 | 2611404.6962 | 1269176.1557
18 | 2611387.443 | 1269079.9877 | 2611389.0769 | 1269098.9932 | 2611392.239 | 1269118.7273
19 | 2611414.4433 | 1269227.4659 | 2611413.125 | 1269220.4139 | 2611412.7228 | 1269218.2783 | 2611406.8328 | 1269186.7504
20 | 2611387.1594 | 1269070.8919 | 2611387.443 | 1269079.9877
21 | 2611387.443 | 1269079.9877 | 2611389.0609 | 1269079.913 | 2611399.3629 | 1269079.4102 | 2611459.0317 | 1269077.3327
22 | 2611414.4433 | 1269227.4659 | 2611412.1703 | 1269227.7951 | 2611411.0188 | 1269227.9596 | 2611408.9039 | 1269228.2558 | 2611402.4462 | 1269229.1774
23 | 2611387.1594 | 1269070.8919 | 2611385.7223 | 1269070.878 | 2611374.669 | 1269070.7345 | 2611356.0357 | 1269070.9015
24 | 2611404.3406 | 1269249.6844 | 2611404.113 | 1269242.8235 | 2611402.4462 | 1269229.1774
25 | 2611298.4131 | 1269328.9713 | 2611297.7922 | 1269327.091 | 2611293.8721 | 1269315.1974 | 2611292.952 | 1269312.4159 | 2611292.1499 | 1269298.9271 | 2611291.7022 | 1269291.3528
26 | 2611298.4131 | 1269328.9713 | 2611303.7209 | 1269327.2802 | 2611310.5785 | 1269325.6699 | 2611345.6918 | 1269323.6945
27 | 2611298.4131 | 1269328.9713 | 2611293.8004 | 1269329.1849 | 2611286.2906 | 1269329.5264 | 2611275.8776 | 1269330.0075
28 | 2611338.6839 | 1269249.4919 | 2611376.3424 | 1269249.8419 | 2611385.71 | 1269249.9266 | 2611391.0761 | 1269249.8717
29 | 2611345.6918 | 1269323.6945 | 2611359.5219 | 1269330.3888
30 | 2611275.8776 | 1269330.0075 | 2611262.0154 | 1269330.6478 | 2611246.9945 | 1269331.341
31 | 2611404.3406 | 1269249.6844 | 2611397.6061 | 1269249.8049 | 2611391.0761 | 1269249.8717
32 | 2611210.3102 | 1269238.4294 | 2611210.0556 | 1269233.7812 | 2611209.4663 | 1269222.9903
33 | 2611210.3102 | 1269238.4294 | 2611210.7393 | 1269246.2691 | 2611212.6235 | 1269261.9502
34 | 2611210.3102 | 1269238.4294 | 2611158.5194 | 1269242.9462
35 | 2611209.4663 | 1269222.9903 | 2611208.8217 | 1269211.1867
36 | 2611215.3424 | 1269284.5791 | 2611212.6235 | 1269261.9502
37 | 2611158.5194 | 1269242.9462 | 2611153.7583 | 1269246.0172 | 2611150.5007 | 1269249.8027 | 2611147.7093 | 1269253.7335 | 2611145.5308 | 1269259.8671 | 2611141.1016 | 1269293.6653
38 | 2611158.5194 | 1269242.9462 | 2611153.2423 | 1269216.273 | 2611152.2145 | 1269210.656 | 2611152.5631 | 1269205.3085 | 2611153.1544 | 1269198.9718 | 2611152.0717 | 1269194.5221 | 2611147.8346 | 1269191.0117
39 | 2611359.5219 | 1269330.3888 | 2611360.273 | 1269343.3981
40 | 2611234.3484 | 1269332.4301 | 2611238.6268 | 1269332.4382 | 2611244.8888 | 1269331.4382 | 2611246.9945 | 1269331.341
41 | 2611147.8346 | 1269191.0117 | 2611140.249 | 1269187.5284 | 2611139.5087 | 1269165.0444 | 2611138.8947 | 1269146.4346
42 | 2611147.8346 | 1269191.0117 | 2611141.7793 | 1269233.8523
43 | 2611361.6194 | 1269366.7185 | 2611360.273 | 1269343.3981
44 | 2611352.8597 | 1269367.5357 | 2611361.6194 | 1269366.7185

## bus_geodata
| x | y | coords
0 | 2611267.7225 | 1269136.6243
1 | 2611248.3482 | 1269137.7747
2 | 2611286.4487 | 1269135.512
3 | 2611227.2856 | 1269138.9915
4 | 2611288.2441 | 1269174.6366
5 | 2611306.2705 | 1269134.3358
6 | 2611212.7537 | 1269139.8311
7 | 2611290.1882 | 1269216.9903
8 | 2611206.6909 | 1269172.1689
9 | 2611291.7014 | 1269249.9027
10 | 2611335.7239 | 1269192.1225
11 | 2611337.4141 | 1269224.8038
12 | 2611401.9861 | 1269164.4323
13 | 2611398.3041 | 1269148.505
14 | 2611404.6962 | 1269176.1557
15 | 2611392.239 | 1269118.7273
16 | 2611406.8328 | 1269186.7504
17 | 2611387.4429 | 1269079.9877
18 | 2611414.4433 | 1269227.4659
19 | 2611387.1594 | 1269070.8919
20 | 2611459.0317 | 1269077.3327
21 | 2611402.4462 | 1269229.1774
22 | 2611291.7022 | 1269291.3528
23 | 2611298.4131 | 1269328.9713
24 | 2611338.6839 | 1269249.4919
25 | 2611345.6918 | 1269323.6945
26 | 2611275.8776 | 1269330.0075
27 | 2611391.0761 | 1269249.8717
28 | 2611210.3102 | 1269238.4294
29 | 2611209.4663 | 1269222.9903
30 | 2611212.6235 | 1269261.9502
31 | 2611158.5194 | 1269242.9462
32 | 2611359.5219 | 1269330.3888
33 | 2611246.9945 | 1269331.341
34 | 2611404.3406 | 1269249.6844
35 | 2611208.8217 | 1269211.1867
36 | 2611215.3424 | 1269284.5791
37 | 2611141.1016 | 1269293.6653
38 | 2611147.8346 | 1269191.0117
39 | 2611360.273 | 1269343.3981
40 | 2611361.6194 | 1269366.7185
41 | 2611352.8597 | 1269367.5357
42 | 2611234.3484 | 1269332.4301
43 | 2611138.8947 | 1269146.4346
44 | 2611141.7793 | 1269233.8523
45 | 2611356.0357 | 1269070.9015
46 | 2611291.7014 | 1269249.9027

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99008 | -0.18984 | 0.0049294 | 0.0012354
1 | 0.98857 | -0.21898 | 0 | 0
2 | 0.99162 | -0.16012 | 0 | 0
3 | 0.98694 | -0.25076 | 0.0074819 | 0.0018751
4 | 0.99541 | -0.087473 | 0.012783 | 0.0032037
5 | 0.99134 | -0.16568 | 0.015792 | 0.0039579
6 | 0.98591 | -0.27079 | 0.032097 | 0.0080442
7 | 1 | 0 | -0.36971 | -0.094326
8 | 0.98442 | -0.2998 | 0.016646 | 0.0041718
9 | 0.99627 | -0.070579 | 0 | 0
10 | 0.99032 | -0.1844 | 0.013691 | 0.0034312
11 | 0.99073 | -0.17644 | 0.014077 | 0.0035281
12 | 0.97914 | -0.40074 | 0.0043739 | 0.0010962
13 | 0.97837 | -0.41572 | 0.0078208 | 0.0019601
14 | 0.97975 | -0.38877 | 0.014339 | 0.0035936
15 | 0.97717 | -0.43931 | 0.010344 | 0.0025924
16 | 0.98044 | -0.37522 | 0.013356 | 0.0033475
17 | 0.976 | -0.4623 | 0 | 0
18 | 0.98361 | -0.3135 | 0 | 0
19 | 0.97581 | -0.46606 | 0 | 0
20 | 0.97536 | -0.47495 | 0.0096394 | 0.0024159
21 | 0.98454 | -0.29552 | 0.0022089 | 0.00055361
22 | 0.99122 | -0.1672 | 0.022417 | 0.0056182
23 | 0.98734 | -0.2421 | 0 | 0
24 | 0.99136 | -0.16426 | 0 | 0
25 | 0.98305 | -0.32558 | 0.052521 | 0.013163
26 | 0.98709 | -0.24689 | 0.0059871 | 0.0015005
27 | 0.9872 | -0.24408 | 0.00089134 | 0.00022339
28 | 0.98311 | -0.3254 | 0 | 0
29 | 0.98326 | -0.32242 | 0.0026956 | 0.00067558
30 | 0.98299 | -0.32763 | 0.0018267 | 0.00045782
31 | 0.98284 | -0.33054 | 0 | 0
32 | 0.98241 | -0.33799 | 0 | 0
33 | 0.98694 | -0.24993 | 0.0030675 | 0.00076878
34 | 0.98616 | -0.26419 | 0 | 0
35 | 0.98341 | -0.31957 | 0.014693 | 0.0036823
36 | 0.98292 | -0.32903 | 0.0033937 | 0.00085055
37 | 0.98265 | -0.33426 | 0.0036759 | 0.00092126
38 | 0.98275 | -0.33232 | 0 | 0
39 | 0.98187 | -0.34853 | 0.0043751 | 0.0010965
40 | 0.981 | -0.3656 | 0 | 0
41 | 0.98067 | -0.37202 | 0.040386 | 0.010122
42 | 0.98691 | -0.25057 | 0.0028099 | 0.00070423
43 | 0.98272 | -0.33294 | 0.00069347 | 0.0001738
44 | 0.98271 | -0.33318 | 0.0011012 | 0.00027598
45 | 0.97516 | -0.47893 | 0.022566 | 0.0056555
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.084718 | 0.021388 | -0.0846 | -0.021313 | 0.00011809 | 7.5331e-05 | 0.12738 | 0.12738 | 0.12738 | 0.99008 | -0.18984 | 0.98857 | -0.21898 | 34.9947
1 | -0.089648 | -0.022624 | 0.089776 | 0.022705 | 0.00012781 | 8.1555e-05 | 0.13479 | 0.13479 | 0.13479 | 0.99008 | -0.18984 | 0.99162 | -0.16012 | 37.03
2 | 0.0846 | 0.021313 | -0.084472 | -0.021231 | 0.00012837 | 8.1889e-05 | 0.12738 | 0.12738 | 0.12738 | 0.98857 | -0.21898 | 0.98694 | -0.25076 | 34.9947
3 | -0.10557 | -0.026665 | 0.10594 | 0.026901 | 0.00036894 | 0.00023562 | 0.15849 | 0.15849 | 0.15849 | 0.99162 | -0.16012 | 0.99541 | -0.087473 | 43.5421
4 | 0.015796 | 0.0039603 | -0.015792 | -0.0039579 | 4.184e-06 | 2.4217e-06 | 0.023704 | 0.023704 | 0.023704 | 0.99162 | -0.16012 | 0.99134 | -0.16568 | 6.5122
5 | 0.07699 | 0.019356 | -0.076916 | -0.019309 | 7.3577e-05 | 4.6904e-05 | 0.1161 | 0.1161 | 0.1161 | 0.98694 | -0.25076 | 0.98591 | -0.27079 | 31.8957
6 | -0.11872 | -0.030105 | 0.11923 | 0.030425 | 0.0005015 | 0.00032041 | 0.1776 | 0.1776 | 0.1776 | 0.99541 | -0.087473 | 1 | 0 | 48.7917
7 | 0.04482 | 0.011265 | -0.044758 | -0.011225 | 6.1982e-05 | 3.9209e-05 | 0.067657 | 0.067657 | 0.067657 | 0.98591 | -0.27079 | 0.98442 | -0.2998 | 18.5871
8 | 0.24884 | 0.0639 | -0.24799 | -0.063358 | 0.00084947 | 0.0005428 | 0.37082 | 0.37082 | 0.37082 | 1 | 0 | 0.99627 | -0.070579 | 50.9371
9 | 0.028112 | 0.0070536 | -0.028086 | -0.0070372 | 2.6463e-05 | 1.644e-05 | 0.042496 | 0.042496 | 0.042496 | 0.98442 | -0.2998 | 0.98341 | -0.31957 | 11.6748
10 | 0.11493 | 0.029428 | -0.11441 | -0.029097 | 0.00051893 | 0.00033151 | 0.17187 | 0.17188 | 0.17188 | 0.99627 | -0.070579 | 0.99136 | -0.16426 | 47.2184
11 | 0.13306 | 0.03393 | -0.13245 | -0.033535 | 0.00061756 | 0.0003947 | 0.19895 | 0.19895 | 0.19895 | 0.99627 | -0.070579 | 0.99122 | -0.1672 | 54.6559
12 | -0.013691 | -0.0034312 | 0.013696 | 0.0034341 | 5.1931e-06 | 2.9023e-06 | 0.020571 | 0.020571 | 0.020571 | 0.99032 | -0.1844 | 0.99073 | -0.17644 | 5.6514
13 | -0.027773 | -0.0069623 | 0.027789 | 0.0069723 | 1.6131e-05 | 1.0005e-05 | 0.041714 | 0.041714 | 0.041714 | 0.99073 | -0.17644 | 0.99136 | -0.16426 | 11.46
14 | 0.050513 | 0.012713 | -0.050477 | -0.01269 | 3.6143e-05 | 2.2926e-05 | 0.076784 | 0.076784 | 0.076784 | 0.97914 | -0.40074 | 0.97837 | -0.41572 | 21.0946
15 | -0.054887 | -0.013809 | 0.054918 | 0.013829 | 3.1409e-05 | 1.995e-05 | 0.083431 | 0.083431 | 0.083431 | 0.97914 | -0.40074 | 0.97975 | -0.38877 | 22.9207
16 | 0.042656 | 0.01073 | -0.042608 | -0.0107 | 4.8011e-05 | 3.0346e-05 | 0.06489 | 0.06489 | 0.06489 | 0.97837 | -0.41572 | 0.97717 | -0.43931 | 17.8269
17 | -0.069257 | -0.017423 | 0.069302 | 0.017451 | 4.4871e-05 | 2.8581e-05 | 0.10521 | 0.10521 | 0.10521 | 0.97975 | -0.38877 | 0.98044 | -0.37522 | 28.9035
18 | 0.032264 | 0.0081072 | -0.032229 | -0.0080851 | 3.5369e-05 | 2.2148e-05 | 0.049139 | 0.049139 | 0.049139 | 0.97717 | -0.43931 | 0.976 | -0.4623 | 13.4997
19 | -0.082658 | -0.020799 | 0.082903 | 0.020955 | 0.00024456 | 0.000156 | 0.12548 | 0.12548 | 0.12548 | 0.98044 | -0.37522 | 0.98361 | -0.3135 | 34.4724
20 | 0.022583 | 0.0056664 | -0.022579 | -0.0056639 | 4.0465e-06 | 2.476e-06 | 0.034433 | 0.034433 | 0.034433 | 0.976 | -0.4623 | 0.97581 | -0.46606 | 9.4597
21 | 0.0096452 | 0.0024187 | -0.0096394 | -0.0024159 | 5.8097e-06 | 2.8235e-06 | 0.014706 | 0.014706 | 0.014706 | 0.976 | -0.4623 | 0.97536 | -0.47495 | 4.0401
22 | -0.082903 | -0.020955 | 0.082974 | 0.021 | 7.1553e-05 | 4.564e-05 | 0.12548 | 0.12548 | 0.12548 | 0.98361 | -0.3135 | 0.98454 | -0.29552 | 34.4724
23 | 0.022579 | 0.0056639 | -0.022566 | -0.0056555 | 1.3839e-05 | 8.4684e-06 | 0.034433 | 0.034433 | 0.034433 | 0.97581 | -0.46606 | 0.97516 | -0.47893 | 9.4597
24 | -0.085183 | -0.021554 | 0.085311 | 0.021636 | 0.00012826 | 8.1827e-05 | 0.12882 | 0.12882 | 0.12882 | 0.98454 | -0.29552 | 0.98616 | -0.26419 | 35.3895
25 | 0.11003 | 0.027917 | -0.10963 | -0.027664 | 0.00039481 | 0.00025218 | 0.1653 | 0.1653 | 0.1653 | 0.99122 | -0.1672 | 0.98734 | -0.2421 | 45.411
26 | 0.097766 | 0.024689 | -0.097377 | -0.024441 | 0.00038937 | 0.00024859 | 0.14741 | 0.14741 | 0.14741 | 0.98734 | -0.2421 | 0.98305 | -0.32558 | 40.4972
27 | 0.011868 | 0.002975 | -0.011865 | -0.0029736 | 2.7065e-06 | 1.4437e-06 | 0.017887 | 0.017887 | 0.017887 | 0.98734 | -0.2421 | 0.98709 | -0.24689 | 4.9139
28 | 0.086618 | 0.022124 | -0.086285 | -0.021912 | 0.00033287 | 0.00021237 | 0.13016 | 0.13016 | 0.13016 | 0.99136 | -0.16426 | 0.9872 | -0.24408 | 35.7586
29 | 0.044855 | 0.011278 | -0.044829 | -0.011261 | 2.6572e-05 | 1.6811e-05 | 0.067909 | 0.067909 | 0.067909 | 0.98305 | -0.32558 | 0.98241 | -0.33799 | 18.6564
30 | 0.0058783 | 0.0014731 | -0.0058774 | -0.0014729 | 8.5141e-07 | 1.7536e-07 | 0.0088613 | 0.0088614 | 0.0088614 | 0.98709 | -0.24689 | 0.98694 | -0.24993 | 2.4345
31 | 0.085394 | 0.021689 | -0.085311 | -0.021636 | 8.2551e-05 | 5.2663e-05 | 0.12882 | 0.12882 | 0.12882 | 0.9872 | -0.24408 | 0.98616 | -0.26419 | 35.3895
32 | -0.010694 | -0.0026775 | 0.010695 | 0.0026783 | 1.5189e-06 | 7.7603e-07 | 0.016185 | 0.016185 | 0.016185 | 0.98311 | -0.3254 | 0.98326 | -0.32242 | 4.4465
33 | 0.0052212 | 0.0013083 | -0.0052207 | -0.0013082 | 5.5377e-07 | 5.4631e-08 | 0.0079027 | 0.0079028 | 0.0079028 | 0.98311 | -0.3254 | 0.98299 | -0.32763 | 2.1711
34 | 0.0054727 | 0.0013692 | -0.0054714 | -0.001369 | 1.3374e-06 | 1.9694e-07 | 0.0082826 | 0.0082828 | 0.0082828 | 0.98311 | -0.3254 | 0.98284 | -0.33054 | 2.2755
35 | -0.013391 | -0.0033539 | 0.013393 | 0.0033549 | 1.8204e-06 | 1.0151e-06 | 0.020265 | 0.020265 | 0.020265 | 0.98326 | -0.32242 | 0.98341 | -0.31957 | 5.5672
36 | 0.0033939 | 0.0008504 | -0.0033937 | -0.00085055 | 2.2559e-07 | -1.4453e-07 | 0.0051375 | 0.0051376 | 0.0051376 | 0.98299 | -0.32763 | 0.98292 | -0.32903 | 1.4114
37 | 0.0036765 | 0.00092097 | -0.0036759 | -0.00092126 | 6.5152e-07 | -2.9355e-07 | 0.005566 | 0.0055663 | 0.0055663 | 0.98284 | -0.33054 | 0.98265 | -0.33426 | 1.5292
38 | 0.0017949 | 0.00044805 | -0.0017947 | -0.00044865 | 1.5139e-07 | -5.9617e-07 | 0.0027168 | 0.002717 | 0.002717 | 0.98284 | -0.33054 | 0.98275 | -0.33232 | 0.74643
39 | 0.044829 | 0.011261 | -0.044806 | -0.011247 | 2.2536e-05 | 1.4258e-05 | 0.067909 | 0.06791 | 0.06791 | 0.98241 | -0.33799 | 0.98187 | -0.34853 | 18.6565
40 | 0.00281 | 0.00070412 | -0.0028099 | -0.00070423 | 8.5668e-08 | -1.0781e-07 | 0.0042366 | 0.0042366 | 0.0042366 | 0.98694 | -0.24993 | 0.98691 | -0.25057 | 1.1639
41 | 0.00069349 | 0.00017319 | -0.00069347 | -0.0001738 | 2.0447e-08 | -6.1363e-07 | 0.0010498 | 0.00105 | 0.00105 | 0.98275 | -0.33232 | 0.98272 | -0.33294 | 0.28847
42 | 0.0011012 | 0.00027546 | -0.0011012 | -0.00027598 | 4.5104e-08 | -5.1932e-07 | 0.0016672 | 0.0016674 | 0.0016674 | 0.98275 | -0.33232 | 0.98271 | -0.33318 | 0.45808
43 | 0.040431 | 0.01015 | -0.040398 | -0.010129 | 3.2894e-05 | 2.0757e-05 | 0.061279 | 0.061279 | 0.061279 | 0.98187 | -0.34853 | 0.981 | -0.3656 | 16.8349
44 | 0.040398 | 0.010129 | -0.040386 | -0.010122 | 1.2351e-05 | 7.794e-06 | 0.061279 | 0.061279 | 0.061279 | 0.981 | -0.3656 | 0.98067 | -0.37202 | 16.835

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38831 | 0.098985

## res_load
| p_mw | q_mvar
0 | 0.0049294 | 0.0012354
1 | 0.0074819 | 0.0018751
2 | 0.012783 | 0.0032037
3 | 0.015792 | 0.0039579
4 | 0.032097 | 0.0080442
5 | 0.018592 | 0.0046596
6 | 0.016646 | 0.0041718
7 | 0.013691 | 0.0034312
8 | 0.014077 | 0.0035281
9 | 0.0043739 | 0.0010962
10 | 0.0078208 | 0.0019601
11 | 0.014339 | 0.0035936
12 | 0.010344 | 0.0025924
13 | 0.013356 | 0.0033475
14 | 0.0096394 | 0.0024159
15 | 0.0022089 | 0.00055361
16 | 0.022417 | 0.0056182
17 | 0.052521 | 0.013163
18 | 0.0059871 | 0.0015005
19 | 0.00089134 | 0.00022339
20 | 0.0026956 | 0.00067558
21 | 0.0018267 | 0.00045782
22 | 0.0030675 | 0.00076878
23 | 0.014693 | 0.0036823
24 | 0.0033937 | 0.00085055
25 | 0.0036759 | 0.00092126
26 | 0.0043751 | 0.0010965
27 | 0.040386 | 0.010122
28 | 0.0028099 | 0.00070423
29 | 0.00069347 | 0.0001738
30 | 0.0011012 | 0.00027598
31 | 0.022566 | 0.0056555

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1