## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-272_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-272_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-272_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-272_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-272_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-272_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2701-272_0_6_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_2701-272_0_6_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_2701-272_0_6_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2701-272_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-272_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-272_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-272_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-272_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-272_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2701-272_0_6_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2701-272_0_6_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2701-272_0_6_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_2701-272_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2701-272_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-272_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-272_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-272_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-272_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2701-272_0_6_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2701-272_0_6_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_2701-272_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2701-272_0_6_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_2701-272_0_6_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2701-272_0_6_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2701-272_0_6_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2701-272_0_6_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_2701-272_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2701-272_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2701-272_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2701-272_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2701-272_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2701-272_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2701-272_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2701-272_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2701-272_0_6_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2701-272_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2701-272_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2701-272_0_6_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_2701-272_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2701-272_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2701-272_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2701-272_0_6_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_2701-272_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2701-272_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_2701-272_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2701-272_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2701-272_0_6_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_2701-272_0_6_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2701-272_0_6_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_2701-272_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2701-272_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2701-272_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2701-272_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2701-272_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2701-272_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_2701-272_0_6_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2701-272_0_6_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2701-272_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_2701-272_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2701-272_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_2701-272_0_6_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_2701-272_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2701-272_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2701-272_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2701-272_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2701-272_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_2701-272_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_MV_570_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-272_0_6_load_0 | 0 | 0.0037268 | 0.00093403 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-272_0_6_load_1 | 1 | 0.0037293 | 0.00093466 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-272_0_6_load_2 | 2 | 0.0080249 | 0.0020112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-272_0_6_load_3 | 3 | 0.0080155 | 0.0020089 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-272_0_6_load_4 | 4 | 0.003853 | 0.00096565 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-272_0_6_load_50 | 6 | 0.0080969 | 0.0020293 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-272_0_6_load_72 | 7 | 0.0064946 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-272_0_6_load_49 | 8 | 0.0037319 | 0.00093531 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-272_0_6_load_5 | 9 | 0.006551 | 0.0016418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-272_0_6_load_6 | 10 | 0.0058125 | 0.0014567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-272_0_6_load_7 | 11 | 0.0038275 | 0.00095925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-272_0_6_load_8 | 12 | 0.0037163 | 0.00093141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-272_0_6_load_9 | 13 | 0.0037083 | 0.0009294 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-272_0_6_load_23 | 14 | 0.0038496 | 0.0009648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-272_0_6_load_30 | 15 | 0.0063439 | 0.0015899 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-272_0_6_load_24 | 16 | 0.0058316 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-272_0_6_load_29 | 17 | 0.0037298 | 0.00093477 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-272_0_6_load_10 | 18 | 0.002972 | 0.00074486 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-272_0_6_load_11 | 19 | 0.0070963 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-272_0_6_load_12 | 20 | 0.005614 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-272_0_6_load_13 | 21 | 0.0075438 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-272_0_6_load_14 | 22 | 0.0061639 | 0.0015448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-272_0_6_load_47 | 23 | 0.005615 | 0.0014072 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-272_0_6_load_26 | 24 | 0.007684 | 0.0019258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-272_0_6_load_45 | 25 | 0.0082024 | 0.0020557 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-272_0_6_load_27 | 26 | 0.0054344 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-272_0_6_load_35 | 28 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-272_0_6_load_36 | 29 | 0.0073563 | 0.0018437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-272_0_6_load_31 | 30 | 0.005468 | 0.0013704 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-272_0_6_load_73 | 31 | 0.0061586 | 0.0015435 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-272_0_6_load_16 | 32 | 0.0026704 | 0.00066926 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-272_0_6_load_17 | 33 | 0.0041401 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-272_0_6_load_19 | 35 | 0.013989 | 0.0035059 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-272_0_6_load_20 | 36 | 0.0075096 | 0.0018821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-272_0_6_load_21 | 37 | 0.0048438 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-272_0_6_load_22 | 38 | 0.0059213 | 0.001484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-272_0_6_load_41 | 39 | 0.0054552 | 0.0013672 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-272_0_6_load_59 | 40 | 0.0028558 | 0.00071573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-272_0_6_load_28 | 41 | 0.0079998 | 0.0020049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-272_0_6_load_39 | 42 | 0.0022335 | 0.00055976 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-272_0_6_load_60 | 43 | 0.0048535 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-272_0_6_load_25 | 44 | 0.0042575 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-272_0_6_load_32 | 45 | 0.0061296 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-272_0_6_load_34 | 46 | 0.0088781 | 0.0022251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-272_0_6_load_56 | 47 | 0.044114 | 0.011056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-272_0_6_load_43 | 48 | 0.003606 | 0.00090376 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-272_0_6_load_61 | 49 | 0.0058895 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-272_0_6_load_57 | 50 | 0.003394 | 0.00085063 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-272_0_6_load_44 | 51 | 0.002873 | 0.00072004 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-272_0_6_load_62 | 52 | 0.0034255 | 0.00085852 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-272_0_6_load_71 | 53 | 0.0033734 | 0.00084545 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-272_0_6_load_70 | 54 | 0.0033792 | 0.00084692 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-272_0_6_load_55 | 55 | 0.093592 | 0.023456 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-272_0_6_load_51 | 56 | 0.019409 | 0.0048643 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-272_0_6_load_53 | 58 | 0.0047857 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-272_0_6_load_42 | 59 | 0.014877 | 0.0037285 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-272_0_6_load_40 | 60 | 0.0054363 | 0.0013625 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-272_0_6_load_67 | 61 | 0.0056813 | 0.0014239 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-272_0_6_load_65 | 62 | 0.0044251 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-272_0_6_load_46 | 63 | 0.0062185 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-272_0_6_load_48 | 64 | 0.008156 | 0.0020441 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-272_0_6_load_63 | 65 | 0.002507 | 0.00062831 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-272_0_6_load_74 | 67 | 0.058989 | 0.014784 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-272_0_6_load_58 | 68 | 0.0034116 | 0.00085503 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-272_0_6_load_69 | 69 | 0.0065095 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-272_0_6_load_68 | 70 | 0.0081573 | 0.0020444 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-272_0_6_load_64 | 71 | 0.016956 | 0.0042496 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-272_0_6_load_66 | 72 | 0.004085 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-272_0_6_line_0 |  | 0 | 1 | 0.0080988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-272_0_6_line_1 |  | 0 | 2 | 0.0021726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-272_0_6_line_2 |  | 1 | 3 | 0.0032358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-272_0_6_line_3 |  | 2 | 4 | 0.0059226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-272_0_6_line_4 |  | 3 | 5 | 0.043314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-272_0_6_line_5 |  | 4 | 6 | 0.0076487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-272_0_6_line_6 |  | 5 | 7 | 0.078763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-272_0_6_line_7 |  | 6 | 8 | 0.00045881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-272_0_6_line_8 |  | 7 | 31 | 0.0050041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-272_0_6_line_9 |  | 8 | 44 | 0.0078053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-272_0_6_line_10 |  | 9 | 10 | 0.0029309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-272_0_6_line_11 |  | 9 | 11 | 0.00036618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-272_0_6_line_12 |  | 10 | 12 | 0.00079777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-272_0_6_line_13 |  | 11 | 13 | 0.0039993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-272_0_6_line_14 |  | 12 | 14 | 0.0080975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-272_0_6_line_15 |  | 13 | 15 | 0.0055508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-272_0_6_line_16 |  | 14 | 16 | 0.0036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-272_0_6_line_17 |  | 15 | 17 | 0.0025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-272_0_6_line_18 |  | 16 | 44 | 0.0048041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-272_0_6_line_19 |  | 17 | 36 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-272_0_6_line_20 |  | 18 | 19 | 0.0075353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-272_0_6_line_21 |  | 18 | 20 | 0.00032731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-272_0_6_line_22 |  | 19 | 21 | 0.00035375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-272_0_6_line_23 |  | 20 | 22 | 0.0052394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-272_0_6_line_24 |  | 21 | 23 | 0.0056318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-272_0_6_line_25 |  | 22 | 24 | 0.0078567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-272_0_6_line_26 |  | 23 | 25 | 0.0099027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-272_0_6_line_27 |  | 24 | 26 | 0.0027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-272_0_6_line_28 |  | 25 | 63 | 0.0022925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-272_0_6_line_29 |  | 26 | 41 | 0.012478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-272_0_6_line_30 |  | 27 | 28 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-272_0_6_line_31 |  | 27 | 29 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-272_0_6_line_32 |  | 27 | 30 | 0.033586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-272_0_6_line_33 |  | 28 | 48 | 0.0031515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-272_0_6_line_34 |  | 29 | 49 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-272_0_6_line_35 |  | 30 | 45 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-272_0_6_line_36 |  | 32 | 33 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-272_0_6_line_37 |  | 32 | 34 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-272_0_6_line_38 |  | 33 | 35 | 0.0027621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-272_0_6_line_39 |  | 34 | 36 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-272_0_6_line_40 |  | 34 | 37 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2701-272_0_6_line_41 |  | 34 | 38 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2701-272_0_6_line_42 |  | 35 | 39 | 0.0067575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-272_0_6_line_43 |  | 37 | 40 | 0.0092784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2701-272_0_6_line_44 |  | 38 | 41 | 4.3354e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-272_0_6_line_45 |  | 39 | 42 | 0.0024135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-272_0_6_line_46 |  | 40 | 43 | 0.0061286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2701-272_0_6_line_47 |  | 42 | 60 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-272_0_6_line_48 |  | 43 | 69 | 0.0044729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2701-272_0_6_line_49 |  | 45 | 46 | 0.0016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-272_0_6_line_50 |  | 46 | 47 | 0.017936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-272_0_6_line_51 |  | 47 | 50 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-272_0_6_line_52 |  | 48 | 51 | 0.0077096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2701-272_0_6_line_53 |  | 49 | 52 | 0.00067317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-272_0_6_line_54 |  | 50 | 68 | 0.0065528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-272_0_6_line_55 |  | 51 | 61 | 0.00076967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2701-272_0_6_line_56 |  | 52 | 55 | 0.03983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-272_0_6_line_57 |  | 53 | 54 | 0.0065038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-272_0_6_line_58 |  | 54 | 68 | 0.0065322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-272_0_6_line_59 |  | 56 | 57 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-272_0_6_line_60 |  | 57 | 58 | 0.055908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-272_0_6_line_61 |  | 57 | 59 | 0.058778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-272_0_6_line_62 |  | 59 | 60 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-272_0_6_line_63 |  | 61 | 62 | 0.0094371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2701-272_0_6_line_64 |  | 62 | 71 | 0.00026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2701-272_0_6_line_65 |  | 63 | 64 | 0.0022881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-272_0_6_line_66 |  | 64 | 65 | 0.006753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-272_0_6_line_67 |  | 65 | 66 | 0.022788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-272_0_6_line_68 |  | 66 | 67 | 0.067803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-272_0_6_line_69 |  | 69 | 70 | 0.0084732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2701-272_0_6_line_70 |  | 70 | 72 | 0.00077339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2701-272_0_6_line_71 |  | 71 | 72 | 0.010559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-272_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 73 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611470.963 | 1269699.4224 | 2611478.5773 | 1269696.6635
1 | 2611470.963 | 1269699.4224 | 2611468.9203 | 1269700.1626
2 | 2611478.5773 | 1269696.6635 | 2611481.6196 | 1269695.5611
3 | 2611463.352 | 1269702.1802 | 2611468.9203 | 1269700.1626
4 | 2611522.3425 | 1269680.8057 | 2611481.6196 | 1269695.5611
5 | 2611456.1608 | 1269704.7858 | 2611463.352 | 1269702.1802
6 | 2611522.3425 | 1269680.8057 | 2611541.0779 | 1269757.3076
7 | 2611455.7294 | 1269704.9421 | 2611456.1608 | 1269704.7858
8 | 2611541.0779 | 1269757.3076 | 2611542.2683 | 1269762.1681
9 | 2611448.391 | 1269707.6011 | 2611455.7294 | 1269704.9421
10 | 2611429.3695 | 1269714.4933 | 2611432.1251 | 1269713.4949
11 | 2611429.0252 | 1269714.6181 | 2611429.3695 | 1269714.4933
12 | 2611432.1251 | 1269713.4949 | 2611432.8751 | 1269713.2231
13 | 2611425.2651 | 1269715.9805 | 2611429.0252 | 1269714.6181
14 | 2611432.8751 | 1269713.2231 | 2611440.4883 | 1269710.4646
15 | 2611425.2651 | 1269715.9805 | 2611420.0464 | 1269717.8714
16 | 2611443.8743 | 1269709.2377 | 2611440.4883 | 1269710.4646
17 | 2611420.0464 | 1269717.8714 | 2611417.62 | 1269718.7506
18 | 2611448.391 | 1269707.6011 | 2611443.8743 | 1269709.2377
19 | 2611405.7889 | 1269723.0374 | 2611417.62 | 1269718.7506
20 | 2611407.1132 | 1269768.9673 | 2611409.6697 | 1269776.0557
21 | 2611407.0021 | 1269768.6594 | 2611407.1132 | 1269768.9673
22 | 2611409.6697 | 1269776.0557 | 2611409.7897 | 1269776.3884
23 | 2611405.2245 | 1269763.7308 | 2611407.0021 | 1269768.6594
24 | 2611409.7897 | 1269776.3884 | 2611411.7004 | 1269781.6862
25 | 2611405.2245 | 1269763.7308 | 2611402.559 | 1269756.3401
26 | 2611415.0601 | 1269791.0015 | 2611411.7004 | 1269781.6862
27 | 2611402.559 | 1269756.3401 | 2611401.638 | 1269753.7865
28 | 2611415.0601 | 1269791.0015 | 2611415.8379 | 1269793.1581
29 | 2611397.4044 | 1269742.0482 | 2611401.638 | 1269753.7865
30 | 2611360.5256 | 1269639.4759 | 2611363.4447 | 1269647.4316 | 2611366.519 | 1269656.7885 | 2611366.825 | 1269657.6323
31 | 2611360.5256 | 1269639.4759 | 2611359.9008 | 1269639.6415 | 2611356.9501 | 1269640.3808 | 2611345.8002 | 1269643.1735
32 | 2611360.5256 | 1269639.4759 | 2611364.7483 | 1269638.5389 | 2611374.9624 | 1269636.2568 | 2611393.1982 | 1269631.7078
33 | 2611366.825 | 1269657.6323 | 2611367.8992 | 1269660.5951
34 | 2611331.1261 | 1269646.8489 | 2611345.8002 | 1269643.1735
35 | 2611404.4214 | 1269628.908 | 2611393.1982 | 1269631.7078
36 | 2611355.4226 | 1269741.3132 | 2611371.179 | 1269735.5892
37 | 2611392.3095 | 1269727.9216 | 2611391.7072 | 1269728.1317 | 2611371.179 | 1269735.5892
38 | 2611355.4226 | 1269741.3132 | 2611352.8265 | 1269742.2563
39 | 2611392.3095 | 1269727.9216 | 2611405.7889 | 1269723.0374
40 | 2611392.3095 | 1269727.9216 | 2611387.624 | 1269714.9986
41 | 2611392.3095 | 1269727.9216 | 2611397.3897 | 1269742.0074
42 | 2611352.8265 | 1269742.2563 | 2611346.4751 | 1269744.5637
43 | 2611387.624 | 1269714.9986 | 2611384.4614 | 1269706.2758
44 | 2611397.3897 | 1269742.0074 | 2611397.4044 | 1269742.0482
45 | 2611344.2067 | 1269745.3878 | 2611346.4751 | 1269744.5637
46 | 2611384.4614 | 1269706.2758 | 2611382.3725 | 1269700.5142
47 | 2611344.2067 | 1269745.3878 | 2611332.7237 | 1269749.5593
48 | 2611380.8478 | 1269696.3091 | 2611382.3725 | 1269700.5142
49 | 2611404.4214 | 1269628.908 | 2611406.0297 | 1269628.5069
50 | 2611423.4327 | 1269624.1656 | 2611406.0297 | 1269628.5069
51 | 2611423.4327 | 1269624.1656 | 2611439.4471 | 1269620.1706
52 | 2611367.8992 | 1269660.5951 | 2611370.527 | 1269667.843
53 | 2611331.1261 | 1269646.8489 | 2611330.4731 | 1269647.0125
54 | 2611439.4471 | 1269620.1706 | 2611445.8051 | 1269618.5846
55 | 2611370.527 | 1269667.843 | 2611370.7893 | 1269668.5665
56 | 2611291.8364 | 1269656.6898 | 2611330.4731 | 1269647.0125
57 | 2611458.4536 | 1269615.4293 | 2611452.1431 | 1269617.0035
58 | 2611445.8051 | 1269618.5846 | 2611452.1431 | 1269617.0035
59 | 2611265.1693 | 1269774.1007 | 2611262.8471 | 1269764.823 | 2611258.9563 | 1269749.0248
60 | 2611265.1693 | 1269774.1007 | 2611267.8609 | 1269783.0121 | 2611279.2769 | 1269828.1911
61 | 2611265.1693 | 1269774.1007 | 2611320.4151 | 1269754.0309
62 | 2611320.4151 | 1269754.0309 | 2611332.7237 | 1269749.5593
63 | 2611374.006 | 1269677.4385 | 2611370.7893 | 1269668.5665
64 | 2611374.006 | 1269677.4385 | 2611374.0969 | 1269677.6892
65 | 2611415.8379 | 1269793.1581 | 2611416.6141 | 1269795.3104
66 | 2611416.6141 | 1269795.3104 | 2611418.9053 | 1269801.6629
67 | 2611426.5094 | 1269823.1435 | 2611424.4896 | 1269817.1465 | 2611418.9053 | 1269801.6629
68 | 2611426.5094 | 1269823.1435 | 2611425.8996 | 1269823.3425 | 2611361.8725 | 1269843.6204
69 | 2611380.8478 | 1269696.3091 | 2611377.9597 | 1269688.3433
70 | 2611377.6961 | 1269687.6162 | 2611377.9597 | 1269688.3433
71 | 2611374.0969 | 1269677.6892 | 2611377.6961 | 1269687.6162

## bus_geodata
| x | y | coords
0 | 2611470.963 | 1269699.4224
1 | 2611478.5773 | 1269696.6635
2 | 2611468.9203 | 1269700.1626
3 | 2611481.6196 | 1269695.5611
4 | 2611463.352 | 1269702.1802
5 | 2611522.3425 | 1269680.8057
6 | 2611456.1608 | 1269704.7858
7 | 2611541.0779 | 1269757.3076
8 | 2611455.7294 | 1269704.9421
9 | 2611429.3695 | 1269714.4933
10 | 2611432.1251 | 1269713.4949
11 | 2611429.0252 | 1269714.6181
12 | 2611432.8751 | 1269713.2231
13 | 2611425.2651 | 1269715.9805
14 | 2611440.4883 | 1269710.4646
15 | 2611420.0464 | 1269717.8714
16 | 2611443.8743 | 1269709.2377
17 | 2611417.62 | 1269718.7506
18 | 2611407.1132 | 1269768.9673
19 | 2611409.6697 | 1269776.0557
20 | 2611407.0021 | 1269768.6594
21 | 2611409.7897 | 1269776.3884
22 | 2611405.2245 | 1269763.7308
23 | 2611411.7004 | 1269781.6862
24 | 2611402.559 | 1269756.3401
25 | 2611415.0601 | 1269791.0015
26 | 2611401.638 | 1269753.7865
27 | 2611360.5256 | 1269639.4759
28 | 2611366.825 | 1269657.6323
29 | 2611345.8002 | 1269643.1735
30 | 2611393.1982 | 1269631.7078
31 | 2611542.2683 | 1269762.1681
32 | 2611371.179 | 1269735.5892
33 | 2611355.4226 | 1269741.3132
34 | 2611392.3095 | 1269727.9216
35 | 2611352.8265 | 1269742.2563
36 | 2611405.7889 | 1269723.0374
37 | 2611387.624 | 1269714.9986
38 | 2611397.3897 | 1269742.0074
39 | 2611346.4751 | 1269744.5637
40 | 2611384.4614 | 1269706.2758
41 | 2611397.4044 | 1269742.0482
42 | 2611344.2067 | 1269745.3878
43 | 2611382.3725 | 1269700.5142
44 | 2611448.391 | 1269707.6011
45 | 2611404.4214 | 1269628.908
46 | 2611406.0297 | 1269628.5069
47 | 2611423.4327 | 1269624.1656
48 | 2611367.8992 | 1269660.5951
49 | 2611331.1261 | 1269646.8489
50 | 2611439.4471 | 1269620.1706
51 | 2611370.527 | 1269667.843
52 | 2611330.4731 | 1269647.0125
53 | 2611458.4536 | 1269615.4293
54 | 2611452.1431 | 1269617.0035
55 | 2611291.8364 | 1269656.6898
56 | 2611258.9563 | 1269749.0248
57 | 2611265.1693 | 1269774.1007
58 | 2611279.2769 | 1269828.1911
59 | 2611320.4151 | 1269754.0309
60 | 2611332.7237 | 1269749.5593
61 | 2611370.7893 | 1269668.5665
62 | 2611374.006 | 1269677.4385
63 | 2611415.8379 | 1269793.1581
64 | 2611416.6141 | 1269795.3104
65 | 2611418.9053 | 1269801.6629
66 | 2611426.5094 | 1269823.1435
67 | 2611361.8725 | 1269843.6204
68 | 2611445.8051 | 1269618.5846
69 | 2611380.8478 | 1269696.3091
70 | 2611377.9597 | 1269688.3433
71 | 2611374.0969 | 1269677.6892
72 | 2611377.6961 | 1269687.6162
73 | 2611392.3095 | 1269727.9216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99202 | -0.15335 | 0.0037268 | 0.00093403
1 | 0.99184 | -0.15685 | 0.0037293 | 0.00093466
2 | 0.99208 | -0.15227 | 0.0080249 | 0.0020112
3 | 0.99178 | -0.15804 | 0.0080155 | 0.0020089
4 | 0.99228 | -0.14848 | 0.003853 | 0.00096565
5 | 0.99128 | -0.16776 | 0 | 0
6 | 0.99255 | -0.14306 | 0.0080969 | 0.0020293
7 | 0.99037 | -0.18545 | 0.0064946 | 0.0016277
8 | 0.99258 | -0.14267 | 0.0037319 | 0.00093531
9 | 0.99413 | -0.11254 | 0.006551 | 0.0016418
10 | 0.99393 | -0.11643 | 0.0058125 | 0.0014567
11 | 0.99416 | -0.11201 | 0.0038275 | 0.00095925
12 | 0.99388 | -0.11741 | 0.0037163 | 0.00093141
13 | 0.99447 | -0.10597 | 0.0037083 | 0.0009294
14 | 0.9934 | -0.12681 | 0.0038496 | 0.0009648
15 | 0.99493 | -0.097231 | 0.0063439 | 0.0015899
16 | 0.99319 | -0.13075 | 0.0058316 | 0.0014615
17 | 0.99515 | -0.092881 | 0.0037298 | 0.00093477
18 | 0.99343 | -0.12587 | 0.002972 | 0.00074486
19 | 0.99271 | -0.13976 | 0.0070963 | 0.0017785
20 | 0.99346 | -0.12525 | 0.005614 | 0.001407
21 | 0.99268 | -0.14037 | 0.0075438 | 0.0018907
22 | 0.994 | -0.1148 | 0.0061639 | 0.0015448
23 | 0.99221 | -0.14931 | 0.005615 | 0.0014072
24 | 0.99486 | -0.098313 | 0.007684 | 0.0019258
25 | 0.99145 | -0.16406 | 0.0082024 | 0.0020557
26 | 0.99518 | -0.092255 | 0.0054344 | 0.001362
27 | 0.99471 | -0.10113 | 0 | 0
28 | 0.99637 | -0.069286 | 0.012095 | 0.0030314
29 | 0.99318 | -0.13067 | 0.0073563 | 0.0018437
30 | 0.99231 | -0.14748 | 0.005468 | 0.0013704
31 | 0.99034 | -0.186 | 0.0061586 | 0.0015435
32 | 0.9962 | -0.072762 | 0.0026704 | 0.00066926
33 | 0.99512 | -0.093491 | 0.0041401 | 0.0010376
34 | 0.9977 | -0.043985 | 0 | 0
35 | 0.99496 | -0.096709 | 0.013989 | 0.0035059
36 | 0.9963 | -0.070878 | 0.0075096 | 0.0018821
37 | 0.99906 | -0.017857 | 0.0048438 | 0.001214
38 | 0.9967 | -0.06316 | 0.0059213 | 0.001484
39 | 0.99463 | -0.10292 | 0.0054552 | 0.0013672
40 | 1 | 0 | -0.5946 | -0.15029
41 | 0.99669 | -0.063267 | 0.0079998 | 0.0020049
42 | 0.99453 | -0.10491 | 0.0022335 | 0.00055976
43 | 0.99952 | -0.0091789 | 0.0048535 | 0.0012164
44 | 0.99295 | -0.13552 | 0.0042575 | 0.001067
45 | 0.99154 | -0.16237 | 0.0061296 | 0.0015362
46 | 0.99144 | -0.16433 | 0.0088781 | 0.0022251
47 | 0.99049 | -0.18269 | 0.044114 | 0.011056
48 | 0.99657 | -0.065588 | 0.003606 | 0.00090376
49 | 0.99175 | -0.15821 | 0.0058895 | 0.001476
50 | 0.99029 | -0.18666 | 0.003394 | 0.00085063
51 | 0.99705 | -0.056387 | 0.002873 | 0.00072004
52 | 0.99169 | -0.15937 | 0.0034255 | 0.00085852
53 | 0.99017 | -0.18902 | 0.0033734 | 0.00084545
54 | 0.99019 | -0.18863 | 0.0033792 | 0.00084692
55 | 0.98827 | -0.22567 | 0.093592 | 0.023456
56 | 0.99181 | -0.15755 | 0.019409 | 0.0048643
57 | 0.99227 | -0.14867 | 0 | 0
58 | 0.99202 | -0.15341 | 0.0047857 | 0.0011994
59 | 0.99357 | -0.12353 | 0.014877 | 0.0037285
60 | 0.99404 | -0.1145 | 0.0054363 | 0.0013625
61 | 0.9971 | -0.055456 | 0.0056813 | 0.0014239
62 | 0.99771 | -0.043735 | 0.0044251 | 0.001109
63 | 0.99129 | -0.16714 | 0.0062185 | 0.0015585
64 | 0.99114 | -0.16997 | 0.008156 | 0.0020441
65 | 0.99076 | -0.17734 | 0.002507 | 0.00062831
66 | 0.98952 | -0.20124 | 0 | 0
67 | 0.98584 | -0.2727 | 0.058989 | 0.014784
68 | 0.99023 | -0.18785 | 0.0034116 | 0.00085503
69 | 0.99917 | -0.015757 | 0.0065095 | 0.0016314
70 | 0.99854 | -0.02791 | 0.0081573 | 0.0020444
71 | 0.99773 | -0.043397 | 0.016956 | 0.0042496
72 | 0.99848 | -0.028983 | 0.004085 | 0.0010238
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02442 | 0.006127 | -0.024416 | -0.0061245 | 4.0754e-06 | 2.5037e-06 | 0.036632 | 0.036632 | 0.036632 | 0.99202 | -0.15335 | 0.99184 | -0.15685 | 10.0637
1 | -0.028147 | -0.007061 | 0.028148 | 0.0070619 | 1.4524e-06 | 9.015e-07 | 0.042222 | 0.042222 | 0.042222 | 0.99202 | -0.15335 | 0.99208 | -0.15227 | 11.5995
2 | 0.020687 | 0.0051898 | -0.020685 | -0.0051891 | 1.1689e-06 | 7.0633e-07 | 0.031037 | 0.031037 | 0.031037 | 0.99184 | -0.15685 | 0.99178 | -0.15804 | 8.5267
3 | -0.036173 | -0.0090731 | 0.03618 | 0.0090773 | 6.5386e-06 | 4.1082e-06 | 0.054259 | 0.054259 | 0.054259 | 0.99208 | -0.15227 | 0.99228 | -0.14848 | 14.9062
4 | 0.01267 | 0.0031802 | -0.012664 | -0.003177 | 5.8704e-06 | 3.1984e-06 | 0.019011 | 0.019011 | 0.019011 | 0.99178 | -0.15804 | 0.99128 | -0.16776 | 5.2228
5 | -0.040033 | -0.010043 | 0.040043 | 0.010049 | 1.0338e-05 | 6.5177e-06 | 0.060036 | 0.060036 | 0.060036 | 0.99228 | -0.14848 | 0.99255 | -0.14306 | 16.4935
6 | 0.012664 | 0.003177 | -0.012653 | -0.0031712 | 1.0675e-05 | 5.8177e-06 | 0.019011 | 0.019011 | 0.019011 | 0.99128 | -0.16776 | 0.99037 | -0.18545 | 5.2229
7 | -0.04814 | -0.012079 | 0.048141 | 0.012079 | 8.9628e-07 | 5.6769e-07 | 0.072175 | 0.072175 | 0.072175 | 0.99255 | -0.14306 | 0.99258 | -0.14267 | 19.8283
8 | 0.0061587 | 0.0015435 | -0.0061586 | -0.0015435 | 1.6068e-07 | 3.8445e-08 | 0.0092534 | 0.0092534 | 0.0092534 | 0.99037 | -0.18545 | 0.99034 | -0.186 | 2.5421
9 | -0.051873 | -0.013015 | 0.05189 | 0.013026 | 1.7703e-05 | 1.1229e-05 | 0.07777 | 0.07777 | 0.07777 | 0.99258 | -0.14267 | 0.99295 | -0.13552 | 21.3653
10 | 0.075429 | 0.018953 | -0.075415 | -0.018944 | 1.4014e-05 | 8.9311e-06 | 0.11292 | 0.11292 | 0.11292 | 0.99413 | -0.11254 | 0.99393 | -0.11643 | 31.0217
11 | -0.08198 | -0.020594 | 0.081982 | 0.020596 | 2.0682e-06 | 1.3189e-06 | 0.12272 | 0.12272 | 0.12272 | 0.99413 | -0.11254 | 0.99416 | -0.11201 | 33.7155
12 | 0.069603 | 0.017487 | -0.069599 | -0.017485 | 3.2493e-06 | 2.0692e-06 | 0.10422 | 0.10422 | 0.10422 | 0.99393 | -0.11643 | 0.99388 | -0.11741 | 28.6311
13 | -0.08581 | -0.021555 | 0.085834 | 0.021571 | 2.4746e-05 | 1.5785e-05 | 0.12845 | 0.12845 | 0.12845 | 0.99416 | -0.11201 | 0.99447 | -0.10597 | 35.2894
14 | 0.065883 | 0.016553 | -0.065853 | -0.016535 | 2.9553e-05 | 1.8809e-05 | 0.098653 | 0.098653 | 0.098653 | 0.99388 | -0.11741 | 0.9934 | -0.12681 | 27.1025
15 | -0.089543 | -0.0225 | 0.08958 | 0.022524 | 3.7377e-05 | 2.3849e-05 | 0.134 | 0.134 | 0.134 | 0.99447 | -0.10597 | 0.99493 | -0.097231 | 36.8137
16 | 0.062004 | 0.01557 | -0.061992 | -0.015562 | 1.1652e-05 | 7.4109e-06 | 0.092887 | 0.092887 | 0.092887 | 0.9934 | -0.12681 | 0.99319 | -0.13075 | 25.5184
17 | -0.095924 | -0.024114 | 0.095944 | 0.024127 | 1.9926e-05 | 1.2719e-05 | 0.14349 | 0.14349 | 0.14349 | 0.99493 | -0.097231 | 0.99515 | -0.092881 | 39.4203
18 | 0.056161 | 0.014101 | -0.056148 | -0.014093 | 1.2757e-05 | 8.1023e-06 | 0.08415 | 0.08415 | 0.08415 | 0.99319 | -0.13075 | 0.99295 | -0.13552 | 23.1181
19 | -0.099674 | -0.025061 | 0.099779 | 0.025128 | 0.00010486 | 6.6946e-05 | 0.14907 | 0.14907 | 0.14907 | 0.99515 | -0.092881 | 0.9963 | -0.070878 | 40.9524
20 | 0.10481 | 0.026454 | -0.10474 | -0.02641 | 6.9703e-05 | 4.4512e-05 | 0.15706 | 0.15706 | 0.15706 | 0.99343 | -0.12587 | 0.99271 | -0.13976 | 43.1478
21 | -0.10778 | -0.027199 | 0.10779 | 0.027201 | 3.2017e-06 | 2.0449e-06 | 0.16151 | 0.16151 | 0.16151 | 0.99343 | -0.12587 | 0.99346 | -0.12525 | 44.3708
22 | 0.097645 | 0.024631 | -0.097642 | -0.02463 | 2.844e-06 | 1.8156e-06 | 0.14642 | 0.14642 | 0.14642 | 0.99271 | -0.13976 | 0.99268 | -0.14037 | 40.2256
23 | -0.1134 | -0.028608 | 0.11346 | 0.028645 | 5.6727e-05 | 3.6238e-05 | 0.16992 | 0.16992 | 0.16992 | 0.99346 | -0.12525 | 0.994 | -0.1148 | 46.6809
24 | 0.090098 | 0.022739 | -0.09006 | -0.022714 | 3.8554e-05 | 2.4602e-05 | 0.13511 | 0.13511 | 0.13511 | 0.99268 | -0.14037 | 0.99221 | -0.14931 | 37.119
25 | -0.11962 | -0.030189 | 0.11972 | 0.03025 | 9.4555e-05 | 6.0413e-05 | 0.17915 | 0.17915 | 0.17915 | 0.994 | -0.1148 | 0.99486 | -0.098313 | 49.2158
26 | 0.084445 | 0.021307 | -0.084385 | -0.021269 | 5.9605e-05 | 3.802e-05 | 0.12669 | 0.12669 | 0.12669 | 0.99221 | -0.14931 | 0.99145 | -0.16406 | 34.8056
27 | -0.1274 | -0.032176 | 0.12744 | 0.032199 | 3.6997e-05 | 2.3643e-05 | 0.19064 | 0.19064 | 0.19064 | 0.99486 | -0.098313 | 0.99518 | -0.092255 | 52.3732
28 | 0.076183 | 0.019213 | -0.076172 | -0.019206 | 1.1247e-05 | 7.1688e-06 | 0.11438 | 0.11438 | 0.11438 | 0.99145 | -0.16406 | 0.99129 | -0.16714 | 31.4236
29 | -0.13287 | -0.033561 | 0.13306 | 0.033679 | 0.00018487 | 0.00011815 | 0.19876 | 0.19876 | 0.19876 | 0.99518 | -0.092255 | 0.99669 | -0.063267 | 54.6055
30 | -0.18929 | -0.047782 | 0.18958 | 0.047966 | 0.00028922 | 0.0001846 | 0.28329 | 0.28329 | 0.28329 | 0.99471 | -0.10113 | 0.99637 | -0.069286 | 38.913
31 | 0.11086 | 0.028014 | -0.1107 | -0.027914 | 0.00015673 | 0.00010011 | 0.16592 | 0.16592 | 0.16592 | 0.99471 | -0.10113 | 0.99318 | -0.13067 | 45.5817
32 | 0.078433 | 0.019767 | -0.07826 | -0.019656 | 0.0001735 | 0.0001106 | 0.11737 | 0.11737 | 0.11737 | 0.99471 | -0.10113 | 0.99231 | -0.14748 | 32.2444
33 | -0.20168 | -0.050998 | 0.20171 | 0.05102 | 3.5774e-05 | 2.2772e-05 | 0.30135 | 0.30135 | 0.30135 | 0.99637 | -0.069286 | 0.99657 | -0.065588 | 27.5961
34 | 0.10335 | 0.026071 | -0.10321 | -0.025984 | 0.00013611 | 8.6912e-05 | 0.1549 | 0.1549 | 0.1549 | 0.99318 | -0.13067 | 0.99175 | -0.15821 | 42.5538
35 | 0.072792 | 0.018286 | -0.07274 | -0.018253 | 5.1697e-05 | 3.2937e-05 | 0.10917 | 0.10917 | 0.10917 | 0.99231 | -0.14748 | 0.99154 | -0.16237 | 29.9917
36 | 0.0705 | 0.017735 | -0.070431 | -0.01769 | 6.9743e-05 | 4.4418e-05 | 0.10533 | 0.10533 | 0.10533 | 0.9962 | -0.072762 | 0.99512 | -0.093491 | 28.9366
37 | -0.073171 | -0.018404 | 0.073271 | 0.018468 | 0.00010074 | 6.4178e-05 | 0.10932 | 0.10932 | 0.10932 | 0.9962 | -0.072762 | 0.9977 | -0.043985 | 30.0324
38 | 0.066291 | 0.016653 | -0.06628 | -0.016646 | 1.018e-05 | 6.4795e-06 | 0.099138 | 0.099138 | 0.099138 | 0.99512 | -0.093491 | 0.99496 | -0.096709 | 27.2359
39 | 0.10743 | 0.027099 | -0.10729 | -0.02701 | 0.00013812 | 8.8211e-05 | 0.16028 | 0.16028 | 0.16028 | 0.9977 | -0.043985 | 0.9963 | -0.070878 | 44.0337
40 | -0.32781 | -0.082822 | 0.32822 | 0.083085 | 0.00041112 | 0.00026258 | 0.48915 | 0.48915 | 0.48915 | 0.9977 | -0.043985 | 0.99906 | -0.017857 | 44.7937
41 | 0.14711 | 0.037255 | -0.14698 | -0.037169 | 0.00013533 | 8.6221e-05 | 0.21955 | 0.21955 | 0.21955 | 0.9977 | -0.043985 | 0.9967 | -0.06316 | 30.1576
42 | 0.052292 | 0.01314 | -0.052276 | -0.013131 | 1.5503e-05 | 9.8345e-06 | 0.078218 | 0.078218 | 0.078218 | 0.99496 | -0.096709 | 0.99463 | -0.10292 | 21.4884
43 | -0.33307 | -0.084299 | 0.33335 | 0.084481 | 0.00028575 | 0.00018251 | 0.49636 | 0.49636 | 0.49636 | 0.99906 | -0.017857 | 1 | 0 | 45.4544
44 | 0.14106 | 0.035685 | -0.14106 | -0.035684 | 7.2181e-07 | 4.6139e-07 | 0.21071 | 0.21071 | 0.21071 | 0.9967 | -0.06316 | 0.99669 | -0.063267 | 57.8866
45 | 0.046821 | 0.011763 | -0.046817 | -0.011761 | 4.4419e-06 | 2.8115e-06 | 0.070057 | 0.070057 | 0.070057 | 0.99463 | -0.10292 | 0.99453 | -0.10491 | 19.2463
46 | 0.2596 | 0.065814 | -0.25948 | -0.065741 | 0.00011447 | 7.3019e-05 | 0.38655 | 0.38655 | 0.38655 | 1 | 0 | 0.99952 | -0.0091789 | 35.3985
47 | 0.044583 | 0.011201 | -0.044563 | -0.011188 | 2.0391e-05 | 1.2892e-05 | 0.066715 | 0.066715 | 0.066715 | 0.99453 | -0.10491 | 0.99404 | -0.1145 | 18.3283
48 | 0.25463 | 0.064524 | -0.25455 | -0.064473 | 8.0451e-05 | 5.1313e-05 | 0.37933 | 0.37933 | 0.37933 | 0.99952 | -0.0091789 | 0.99917 | -0.015757 | 34.7368
49 | 0.066611 | 0.016717 | -0.066604 | -0.016713 | 6.2121e-06 | 3.9543e-06 | 0.099971 | 0.099971 | 0.099971 | 0.99154 | -0.16237 | 0.99144 | -0.16433 | 27.4646
50 | 0.057726 | 0.014488 | -0.057676 | -0.014456 | 5.0497e-05 | 3.2087e-05 | 0.086646 | 0.086647 | 0.086647 | 0.99144 | -0.16433 | 0.99049 | -0.18269 | 23.804
51 | 0.013562 | 0.0033998 | -0.013559 | -0.0033983 | 2.5693e-06 | 1.4319e-06 | 0.020374 | 0.020374 | 0.020374 | 0.99049 | -0.18269 | 0.99029 | -0.18666 | 5.5973
52 | -0.20532 | -0.051924 | 0.20541 | 0.051982 | 9.067e-05 | 5.7727e-05 | 0.30673 | 0.30673 | 0.30673 | 0.99657 | -0.065588 | 0.99705 | -0.056387 | 28.0892
53 | 0.09732 | 0.024508 | -0.097314 | -0.024504 | 5.3854e-06 | 3.438e-06 | 0.14606 | 0.14606 | 0.14606 | 0.99175 | -0.15821 | 0.99169 | -0.15937 | 40.1262
54 | 0.010165 | 0.0025477 | -0.010165 | -0.0025474 | 5.7329e-07 | 2.8261e-07 | 0.015274 | 0.015274 | 0.015274 | 0.99029 | -0.18666 | 0.99023 | -0.18785 | 4.1962
55 | -0.20828 | -0.052702 | 0.20829 | 0.052708 | 9.3067e-06 | 5.9262e-06 | 0.31102 | 0.31102 | 0.31102 | 0.99705 | -0.056387 | 0.9971 | -0.055456 | 28.4819
56 | 0.093889 | 0.023646 | -0.093592 | -0.023456 | 0.00029661 | 0.00018932 | 0.14092 | 0.14092 | 0.14092 | 0.99169 | -0.15937 | 0.98827 | -0.22567 | 38.7142
57 | -0.0033734 | -0.00084545 | 0.0033734 | 0.00084541 | 6.268e-08 | -4.3543e-08 | 0.0050695 | 0.0050695 | 0.0050695 | 0.99017 | -0.18902 | 0.99019 | -0.18863 | 1.3927
58 | -0.0067527 | -0.0016923 | 0.0067529 | 0.0016924 | 2.5224e-07 | 7.7408e-08 | 0.010148 | 0.010148 | 0.010148 | 0.99019 | -0.18863 | 0.99023 | -0.18785 | 2.7878
59 | -0.019409 | -0.0048643 | 0.019417 | 0.0048692 | 8.2145e-06 | 4.9237e-06 | 0.029119 | 0.029119 | 0.029119 | 0.99181 | -0.15755 | 0.99227 | -0.14867 | 7.9998
60 | 0.0047868 | 0.0011994 | -0.0047857 | -0.0011994 | 1.0803e-06 | -3.0599e-08 | 0.0071782 | 0.0071784 | 0.0071784 | 0.99227 | -0.14867 | 0.99202 | -0.15341 | 1.9721
61 | -0.024204 | -0.0060686 | 0.024233 | 0.0060864 | 2.904e-05 | 1.7825e-05 | 0.036297 | 0.036297 | 0.036297 | 0.99227 | -0.14867 | 0.99357 | -0.12353 | 9.9718
62 | -0.03911 | -0.0098149 | 0.039126 | 0.0098255 | 1.6851e-05 | 1.0615e-05 | 0.058577 | 0.058577 | 0.058577 | 0.99357 | -0.12353 | 0.99404 | -0.1145 | 16.0926
63 | -0.21397 | -0.054132 | 0.21409 | 0.054208 | 0.00012042 | 7.6698e-05 | 0.3195 | 0.3195 | 0.3195 | 0.9971 | -0.055456 | 0.99771 | -0.043735 | 29.2583
64 | -0.21852 | -0.055317 | 0.21852 | 0.05532 | 3.544e-06 | 2.2577e-06 | 0.3261 | 0.3261 | 0.3261 | 0.99771 | -0.043735 | 0.99773 | -0.043397 | 29.8626
65 | 0.069953 | 0.017648 | -0.069944 | -0.017642 | 9.4682e-06 | 6.0302e-06 | 0.10505 | 0.10505 | 0.10505 | 0.99129 | -0.16714 | 0.99114 | -0.16997 | 28.8591
66 | 0.061788 | 0.015598 | -0.061766 | -0.015584 | 2.181e-05 | 1.3871e-05 | 0.092802 | 0.092802 | 0.092802 | 0.99114 | -0.16997 | 0.99076 | -0.17734 | 25.4952
67 | 0.059259 | 0.014955 | -0.059191 | -0.014912 | 6.7745e-05 | 4.3064e-05 | 0.089037 | 0.089037 | 0.089037 | 0.99076 | -0.17734 | 0.98952 | -0.20124 | 24.4608
68 | 0.059191 | 0.014912 | -0.058989 | -0.014784 | 0.00020157 | 0.00012814 | 0.089037 | 0.089038 | 0.089038 | 0.98952 | -0.20124 | 0.98584 | -0.2727 | 24.4609
69 | 0.24804 | 0.062841 | -0.2479 | -0.062749 | 0.00014471 | 9.2281e-05 | 0.36963 | 0.36963 | 0.36963 | 0.99917 | -0.015757 | 0.99854 | -0.02791 | 33.8491
70 | 0.23974 | 0.060705 | -0.23973 | -0.060697 | 1.2354e-05 | 7.8761e-06 | 0.35748 | 0.35748 | 0.35748 | 0.99854 | -0.02791 | 0.99848 | -0.028983 | 32.7359
71 | -0.23548 | -0.059569 | 0.23564 | 0.059673 | 0.00016298 | 0.00010389 | 0.35139 | 0.35139 | 0.35139 | 0.99773 | -0.043397 | 0.99848 | -0.028983 | 32.1784

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59745 | 0.15101

## res_load
| p_mw | q_mvar
0 | 0.0037268 | 0.00093403
1 | 0.0037293 | 0.00093466
2 | 0.0080249 | 0.0020112
3 | 0.0080155 | 0.0020089
4 | 0.003853 | 0.00096565
5 | 0.0080969 | 0.0020293
6 | 0.0064946 | 0.0016277
7 | 0.0037319 | 0.00093531
8 | 0.006551 | 0.0016418
9 | 0.0058125 | 0.0014567
10 | 0.0038275 | 0.00095925
11 | 0.0037163 | 0.00093141
12 | 0.0037083 | 0.0009294
13 | 0.0038496 | 0.0009648
14 | 0.0063439 | 0.0015899
15 | 0.0058316 | 0.0014615
16 | 0.0037298 | 0.00093477
17 | 0.002972 | 0.00074486
18 | 0.0070963 | 0.0017785
19 | 0.005614 | 0.001407
20 | 0.0075438 | 0.0018907
21 | 0.0061639 | 0.0015448
22 | 0.005615 | 0.0014072
23 | 0.007684 | 0.0019258
24 | 0.0082024 | 0.0020557
25 | 0.0054344 | 0.001362
26 | 0.012095 | 0.0030314
27 | 0.0073563 | 0.0018437
28 | 0.005468 | 0.0013704
29 | 0.0061586 | 0.0015435
30 | 0.0026704 | 0.00066926
31 | 0.0041401 | 0.0010376
32 | 0.013989 | 0.0035059
33 | 0.0075096 | 0.0018821
34 | 0.0048438 | 0.001214
35 | 0.0059213 | 0.001484
36 | 0.0054552 | 0.0013672
37 | 0.0028558 | 0.00071573
38 | 0.0079998 | 0.0020049
39 | 0.0022335 | 0.00055976
40 | 0.0048535 | 0.0012164
41 | 0.0042575 | 0.001067
42 | 0.0061296 | 0.0015362
43 | 0.0088781 | 0.0022251
44 | 0.044114 | 0.011056
45 | 0.003606 | 0.00090376
46 | 0.0058895 | 0.001476
47 | 0.003394 | 0.00085063
48 | 0.002873 | 0.00072004
49 | 0.0034255 | 0.00085852
50 | 0.0033734 | 0.00084545
51 | 0.0033792 | 0.00084692
52 | 0.093592 | 0.023456
53 | 0.019409 | 0.0048643
54 | 0.0047857 | 0.0011994
55 | 0.014877 | 0.0037285
56 | 0.0054363 | 0.0013625
57 | 0.0056813 | 0.0014239
58 | 0.0044251 | 0.001109
59 | 0.0062185 | 0.0015585
60 | 0.008156 | 0.0020441
61 | 0.002507 | 0.00062831
62 | 0.058989 | 0.014784
63 | 0.0034116 | 0.00085503
64 | 0.0065095 | 0.0016314
65 | 0.0081573 | 0.0020444
66 | 0.016956 | 0.0042496
67 | 0.004085 | 0.0010238

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1