## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-278_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-278_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-278_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-278_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-278_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-278_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-278_0_3_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_2701-278_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2701-278_0_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2701-278_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_2701-278_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_2701-278_0_3_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_2701-278_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2701-278_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-278_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2701-278_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2701-278_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-278_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_2701-278_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-278_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-278_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-278_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-278_0_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_2701-278_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_2701-278_0_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_2701-278_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2701-278_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2701-278_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2701-278_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2701-278_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2701-278_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2701-278_0_3_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_2701-278_0_3_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_2701-278_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_2701-278_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_2701-278_0_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_2701-278_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2701-278_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2701-278_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2701-278_0_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_2701-278_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2701-278_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2701-278_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2701-278_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2701-278_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2701-278_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2701-278_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2701-278_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2701-278_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2701-278_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2701-278_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2701-278_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2701-278_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2701-278_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2701-278_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2701-278_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_2701-278_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2701-278_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_2701-278_0_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2701-278_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2701-278_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2701-278_0_3_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_2701-278_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2701-278_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_2701-278_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2701-278_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_2701-278_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2701-278_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2701-278_0_3_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2701-278_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_MV_561_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-278_0_3_load_0 | 0 | 0.0042165 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-278_0_3_load_1 | 1 | 0.0032194 | 0.00080686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-278_0_3_load_3 | 3 | 0.007682 | 0.0019253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-278_0_3_load_4 | 4 | 0.0054064 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-278_0_3_load_5 | 5 | 0.0039995 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-278_0_3_load_56 | 6 | 0.0026747 | 0.00067034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-278_0_3_load_57 | 8 | 0.0037382 | 0.00093688 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-278_0_3_load_28 | 9 | 0.0049282 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-278_0_3_load_69 | 11 | 0.0039295 | 0.00098483 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-278_0_3_load_6 | 12 | 0.0079499 | 0.0019924 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-278_0_3_load_7 | 13 | 0.0079859 | 0.0020014 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-278_0_3_load_8 | 14 | 0.0079163 | 0.001984 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-278_0_3_load_9 | 15 | 0.012087 | 0.0030293 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-278_0_3_load_10 | 16 | 0.0055099 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-278_0_3_load_64 | 17 | 0.0086301 | 0.0021629 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-278_0_3_load_13 | 18 | 0.0059587 | 0.0014934 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-278_0_3_load_11 | 19 | 0.0059614 | 0.0014941 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-278_0_3_load_12 | 20 | 0.0074696 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-278_0_3_load_14 | 21 | 0.0027665 | 0.00069336 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-278_0_3_load_51 | 22 | 0.0035767 | 0.00089641 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-278_0_3_load_43 | 23 | 0.005275 | 0.001322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-278_0_3_load_62 | 24 | 0.0036048 | 0.00090345 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-278_0_3_load_42 | 25 | 0.0032055 | 0.00080338 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-278_0_3_load_15 | 26 | 0.0033987 | 0.00085179 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-278_0_3_load_16 | 27 | 0.0044486 | 0.0011149 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-278_0_3_load_17 | 28 | 0.0045991 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-278_0_3_load_18 | 29 | 0.003397 | 0.00085137 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-278_0_3_load_54 | 31 | 0.0031837 | 0.00079791 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-278_0_3_load_67 | 32 | 0.0058749 | 0.0014724 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-278_0_3_load_66 | 33 | 0.0052949 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-278_0_3_load_55 | 34 | 0.0031979 | 0.00080148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-278_0_3_load_70 | 35 | 0.0038546 | 0.00096605 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-278_0_3_load_35 | 37 | 0.0084619 | 0.0021207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-278_0_3_load_36 | 38 | 0.0051159 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-278_0_3_load_65 | 39 | 0.0054937 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-278_0_3_load_20 | 40 | 0.0075734 | 0.0018981 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-278_0_3_load_21 | 41 | 0.0038943 | 0.000976 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-278_0_3_load_23 | 42 | 0.0036923 | 0.00092538 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-278_0_3_load_53 | 43 | 0.0053103 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-278_0_3_load_24 | 44 | 0.0079437 | 0.0019909 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-278_0_3_load_30 | 45 | 0.007945 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-278_0_3_load_29 | 47 | 0.0021305 | 0.00053396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-278_0_3_load_34 | 48 | 0.0074049 | 0.0018559 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-278_0_3_load_49 | 49 | 0.0060244 | 0.0015098 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-278_0_3_load_47 | 50 | 0.0082308 | 0.0020628 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-278_0_3_load_31 | 51 | 0.0079098 | 0.0019824 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-278_0_3_load_32 | 52 | 0.0041922 | 0.0010507 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-278_0_3_load_33 | 53 | 0.0080741 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-278_0_3_load_37 | 54 | 0.0047051 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-278_0_3_load_39 | 55 | 0.0056684 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-278_0_3_load_52 | 56 | 0.0092113 | 0.0023086 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-278_0_3_load_68 | 57 | 0.031384 | 0.0078656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-278_0_3_load_63 | 58 | 0.0055455 | 0.0013898 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-278_0_3_load_44 | 59 | 0.0032159 | 0.00080597 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-278_0_3_load_61 | 61 | 0.0032079 | 0.00080397 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-278_0_3_load_58 | 62 | 0.0040397 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-278_0_3_load_72 | 63 | 0.0032097 | 0.00080443 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-278_0_3_load_59 | 64 | 0.0063376 | 0.0015884 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-278_0_3_load_46 | 65 | 0.0040069 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-278_0_3_load_48 | 66 | 0.0042567 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-278_0_3_load_50 | 67 | 0.005121 | 0.0012835 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-278_0_3_load_71 | 68 | 0.0032135 | 0.00080539 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-278_0_3_load_60 | 69 | 0.0078243 | 0.0019609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-278_0_3_line_0 |  | 0 | 1 | 0.0051514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-278_0_3_line_1 |  | 0 | 2 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-278_0_3_line_2 |  | 1 | 3 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-278_0_3_line_3 |  | 2 | 4 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-278_0_3_line_4 |  | 2 | 5 | 0.021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-278_0_3_line_5 |  | 3 | 6 | 0.0013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-278_0_3_line_6 |  | 5 | 7 | 0.00076046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-278_0_3_line_7 |  | 6 | 8 | 0.0093182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-278_0_3_line_8 |  | 7 | 11 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-278_0_3_line_9 |  | 8 | 69 | 0.0056276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-278_0_3_line_10 |  | 9 | 10 | 0.018041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-278_0_3_line_11 |  | 10 | 47 | 0.01815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-278_0_3_line_12 |  | 10 | 45 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-278_0_3_line_13 |  | 11 | 48 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-278_0_3_line_14 |  | 12 | 13 | 0.0080232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-278_0_3_line_15 |  | 12 | 14 | 0.0077288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-278_0_3_line_16 |  | 13 | 15 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-278_0_3_line_17 |  | 14 | 16 | 0.0073817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-278_0_3_line_18 |  | 15 | 17 | 0.0017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-278_0_3_line_19 |  | 16 | 18 | 0.0060491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-278_0_3_line_20 |  | 18 | 19 | 0.00050457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-278_0_3_line_21 |  | 19 | 20 | 0.0064169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-278_0_3_line_22 |  | 20 | 21 | 0.0059191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-278_0_3_line_23 |  | 21 | 22 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-278_0_3_line_24 |  | 21 | 23 | 0.013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-278_0_3_line_25 |  | 22 | 24 | 0.01264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-278_0_3_line_26 |  | 23 | 25 | 0.0052536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-278_0_3_line_27 |  | 24 | 58 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-278_0_3_line_28 |  | 25 | 59 | 0.0076384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-278_0_3_line_29 |  | 26 | 27 | 0.0014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-278_0_3_line_30 |  | 26 | 28 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-278_0_3_line_31 |  | 27 | 29 | 0.0070796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-278_0_3_line_32 |  | 28 | 30 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-278_0_3_line_33 |  | 29 | 31 | 0.0016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-278_0_3_line_34 |  | 30 | 32 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-278_0_3_line_35 |  | 30 | 33 | 0.013877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-278_0_3_line_36 |  | 31 | 34 | 0.0064662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-278_0_3_line_37 |  | 32 | 35 | 0.0057418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-278_0_3_line_38 |  | 33 | 39 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-278_0_3_line_39 |  | 34 | 68 | 0.0013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-278_0_3_line_40 |  | 35 | 67 | 0.0067516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-278_0_3_line_41 |  | 36 | 37 | 0.025896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-278_0_3_line_42 |  | 36 | 38 | 0.024859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-278_0_3_line_43 |  | 37 | 53 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-278_0_3_line_44 |  | 38 | 54 | 0.0097671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-278_0_3_line_45 |  | 39 | 46 | 0.025649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-278_0_3_line_46 |  | 40 | 41 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-278_0_3_line_47 |  | 41 | 42 | 0.008037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-278_0_3_line_48 |  | 42 | 43 | 0.0090632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-278_0_3_line_49 |  | 43 | 46 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-278_0_3_line_50 |  | 44 | 45 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-278_0_3_line_51 |  | 47 | 49 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-278_0_3_line_52 |  | 48 | 52 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-278_0_3_line_53 |  | 49 | 50 | 0.0032281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-278_0_3_line_54 |  | 50 | 65 | 0.0075695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-278_0_3_line_55 |  | 51 | 52 | 0.0040714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-278_0_3_line_56 |  | 51 | 53 | 0.0079863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-278_0_3_line_57 |  | 54 | 55 | 0.0080352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-278_0_3_line_58 |  | 55 | 56 | 0.009241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-278_0_3_line_59 |  | 57 | 58 | 0.0034641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-278_0_3_line_60 |  | 59 | 60 | 0.0012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-278_0_3_line_61 |  | 60 | 61 | 0.0048665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-278_0_3_line_62 |  | 60 | 62 | 0.015201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2701-278_0_3_line_63 |  | 61 | 63 | 0.0077559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-278_0_3_line_64 |  | 62 | 64 | 0.0095072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2701-278_0_3_line_65 |  | 63 | 68 | 0.0049626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-278_0_3_line_66 |  | 64 | 69 | 0.0076462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-278_0_3_line_67 |  | 65 | 66 | 0.0077482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-278_0_3_line_68 |  | 66 | 67 | 0.0014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-278_0_3_trafo_59 | 0.63 MVA 20/0.4 kV | 70 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1
0 | 2611233.7362 | 1268669.5691 | 2611233.4161 | 1268674.7105
1 | 2611234.5717 | 1268656.1536 | 2611233.7362 | 1268669.5691
2 | 2611232.7842 | 1268684.8572 | 2611233.4161 | 1268674.7105
3 | 2611234.5717 | 1268656.1536 | 2611251.5322 | 1268657.2643
4 | 2611234.5717 | 1268656.1536 | 2611212.6753 | 1268654.5539
5 | 2611232.7842 | 1268684.8572 | 2611232.6998 | 1268686.2119
6 | 2611211.9168 | 1268654.4985 | 2611212.6753 | 1268654.5539
7 | 2611232.6998 | 1268686.2119 | 2611232.1207 | 1268695.5121
8 | 2611211.9168 | 1268654.4985 | 2611201.5805 | 1268653.8032
9 | 2611231.7709 | 1268701.1288 | 2611232.1207 | 1268695.5121
10 | 2611291.5744 | 1268659.8865 | 2611273.5717 | 1268658.7075
11 | 2611291.5744 | 1268659.8865 | 2611290.8319 | 1268678.0214
12 | 2611291.5744 | 1268659.8865 | 2611307.3829 | 1268660.912
13 | 2611189.0819 | 1268652.9625 | 2611201.5805 | 1268653.8032
14 | 2611168.2545 | 1268729.573 | 2611160.2499 | 1268729.0288
15 | 2611168.2545 | 1268729.573 | 2611175.9656 | 1268730.0972
16 | 2611160.2499 | 1268729.0288 | 2611146.8098 | 1268728.1151
17 | 2611183.3303 | 1268730.5979 | 2611175.9656 | 1268730.0972
18 | 2611146.8098 | 1268728.1151 | 2611145.0995 | 1268727.9988
19 | 2611189.3654 | 1268731.0081 | 2611183.3303 | 1268730.5979
20 | 2611189.8689 | 1268731.0424 | 2611189.3654 | 1268731.0081
21 | 2611196.271 | 1268731.4776 | 2611189.8689 | 1268731.0424
22 | 2611202.1764 | 1268731.8791 | 2611196.271 | 1268731.4776
23 | 2611202.1764 | 1268731.8791 | 2611201.9691 | 1268746.3193
24 | 2611202.1764 | 1268731.8791 | 2611215.6407 | 1268732.6318
25 | 2611201.9691 | 1268746.3193 | 2611201.7876 | 1268758.9578
26 | 2611220.886 | 1268732.925 | 2611215.6407 | 1268732.6318
27 | 2611201.7876 | 1268758.9578 | 2611201.6209 | 1268770.5659
28 | 2611220.886 | 1268732.925 | 2611228.5125 | 1268733.3514
29 | 2611265.2683 | 1268734.8806 | 2611263.8371 | 1268734.8218
30 | 2611275.9449 | 1268735.3194 | 2611265.2683 | 1268734.8806
31 | 2611256.7635 | 1268734.531 | 2611263.8371 | 1268734.8218
32 | 2611288.4651 | 1268735.8341 | 2611275.9449 | 1268735.3194
33 | 2611256.7635 | 1268734.531 | 2611255.1165 | 1268734.4633
34 | 2611288.4651 | 1268735.8341 | 2611289.0374 | 1268721.8563
35 | 2611288.4651 | 1268735.8341 | 2611302.3063 | 1268736.8361
36 | 2611255.1165 | 1268734.4633 | 2611248.6557 | 1268734.1978
37 | 2611289.2722 | 1268716.1193 | 2611289.0374 | 1268721.8563
38 | 2611316.1979 | 1268737.8418 | 2611302.3063 | 1268736.8361
39 | 2611247.3302 | 1268734.1433 | 2611248.6557 | 1268734.1978
40 | 2611289.2722 | 1268716.1193 | 2611289.5484 | 1268709.3734
41 | 2611122.9819 | 1268648.5161 | 2611148.8198 | 1268650.2541
42 | 2611122.9819 | 1268648.5161 | 2611123.205 | 1268673.3739
43 | 2611148.8198 | 1268650.2541 | 2611165.992 | 1268651.4093
44 | 2611123.2927 | 1268683.1406 | 2611123.205 | 1268673.3739
45 | 2611341.7796 | 1268739.6938 | 2611316.1979 | 1268737.8418
46 | 2611343.4461 | 1268710.5403 | 2611344.2742 | 1268696.0526
47 | 2611342.9874 | 1268718.5643 | 2611343.4461 | 1268710.5403
48 | 2611342.9874 | 1268718.5643 | 2611342.4702 | 1268727.6127
49 | 2611341.7796 | 1268739.6938 | 2611342.4702 | 1268727.6127
50 | 2611307.3829 | 1268660.912 | 2611330.1657 | 1268662.39
51 | 2611290.3668 | 1268689.3826 | 2611290.8319 | 1268678.0214
52 | 2611189.0819 | 1268652.9625 | 2611178.0225 | 1268652.2185
53 | 2611290.3668 | 1268689.3826 | 2611290.2348 | 1268692.608
54 | 2611289.9251 | 1268700.1712 | 2611290.2348 | 1268692.608
55 | 2611178.0225 | 1268652.2185 | 2611173.9603 | 1268651.9453
56 | 2611165.992 | 1268651.4093 | 2611173.9603 | 1268651.9453
57 | 2611123.3648 | 1268691.1755 | 2611123.2927 | 1268683.1406
58 | 2611123.3648 | 1268691.1755 | 2611123.4478 | 1268700.4161
59 | 2611201.5712 | 1268774.0296 | 2611201.6209 | 1268770.5659
60 | 2611229.76 | 1268733.4211 | 2611228.5125 | 1268733.3514
61 | 2611229.76 | 1268733.4211 | 2611234.6224 | 1268733.621
62 | 2611229.76 | 1268733.4211 | 2611230.7048 | 1268718.2491
63 | 2611234.6224 | 1268733.621 | 2611242.3718 | 1268733.9395
64 | 2611230.7048 | 1268718.2491 | 2611231.2957 | 1268708.7602
65 | 2611247.3302 | 1268734.1433 | 2611242.3718 | 1268733.9395
66 | 2611231.7709 | 1268701.1288 | 2611231.2957 | 1268708.7602
67 | 2611289.9251 | 1268700.1712 | 2611289.6082 | 1268707.9129
68 | 2611289.5484 | 1268709.3734 | 2611289.6082 | 1268707.9129

## bus_geodata
| x | y | coords
0 | 2611233.7362 | 1268669.5691
1 | 2611233.4161 | 1268674.7105
2 | 2611234.5717 | 1268656.1536
3 | 2611232.7842 | 1268684.8572
4 | 2611251.5322 | 1268657.2643
5 | 2611212.6753 | 1268654.5539
6 | 2611232.6998 | 1268686.2119
7 | 2611211.9168 | 1268654.4985
8 | 2611232.1207 | 1268695.5121
9 | 2611273.5717 | 1268658.7075
10 | 2611291.5744 | 1268659.8865
11 | 2611201.5805 | 1268653.8032
12 | 2611168.2545 | 1268729.573
13 | 2611160.2499 | 1268729.0288
14 | 2611175.9656 | 1268730.0972
15 | 2611146.8098 | 1268728.1151
16 | 2611183.3303 | 1268730.5979
17 | 2611145.0995 | 1268727.9988
18 | 2611189.3655 | 1268731.0081
19 | 2611189.8689 | 1268731.0424
20 | 2611196.271 | 1268731.4776
21 | 2611202.1764 | 1268731.8791
22 | 2611201.9691 | 1268746.3193
23 | 2611215.6407 | 1268732.6318
24 | 2611201.7876 | 1268758.9578
25 | 2611220.886 | 1268732.925
26 | 2611265.2683 | 1268734.8806
27 | 2611263.8371 | 1268734.8218
28 | 2611275.9449 | 1268735.3194
29 | 2611256.7635 | 1268734.531
30 | 2611288.4651 | 1268735.8341
31 | 2611255.1165 | 1268734.4633
32 | 2611289.0374 | 1268721.8563
33 | 2611302.3063 | 1268736.8361
34 | 2611248.6557 | 1268734.1978
35 | 2611289.2722 | 1268716.1193
36 | 2611122.9819 | 1268648.5161
37 | 2611148.8198 | 1268650.2541
38 | 2611123.205 | 1268673.3739
39 | 2611316.1979 | 1268737.8418
40 | 2611344.2742 | 1268696.0526
41 | 2611343.4461 | 1268710.5403
42 | 2611342.9874 | 1268718.5643
43 | 2611342.4702 | 1268727.6127
44 | 2611330.1657 | 1268662.39
45 | 2611307.3829 | 1268660.912
46 | 2611341.7796 | 1268739.6938
47 | 2611290.8319 | 1268678.0214
48 | 2611189.0819 | 1268652.9625
49 | 2611290.3668 | 1268689.3826
50 | 2611290.2348 | 1268692.608
51 | 2611173.9603 | 1268651.9453
52 | 2611178.0225 | 1268652.2185
53 | 2611165.992 | 1268651.4093
54 | 2611123.2927 | 1268683.1406
55 | 2611123.3648 | 1268691.1755
56 | 2611123.4478 | 1268700.4161
57 | 2611201.5712 | 1268774.0296
58 | 2611201.6209 | 1268770.5659
59 | 2611228.5125 | 1268733.3514
60 | 2611229.76 | 1268733.4211
61 | 2611234.6224 | 1268733.621
62 | 2611230.7048 | 1268718.2491
63 | 2611242.3718 | 1268733.9395
64 | 2611231.2957 | 1268708.7602
65 | 2611289.9251 | 1268700.1712
66 | 2611289.6082 | 1268707.9129
67 | 2611289.5484 | 1268709.3734
68 | 2611247.3302 | 1268734.1433
69 | 2611231.7709 | 1268701.1288
70 | 2611229.76 | 1268733.4211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99677 | -0.061872 | 0.0042165 | 0.0010568
1 | 0.99714 | -0.054799 | 0.0032194 | 0.00080686
2 | 0.99586 | -0.079357 | 0 | 0
3 | 0.99789 | -0.040281 | 0.007682 | 0.0019253
4 | 0.99577 | -0.080972 | 0.0054064 | 0.001355
5 | 0.99448 | -0.10589 | 0.0039995 | 0.0010024
6 | 0.998 | -0.038162 | 0.0026747 | 0.00067034
7 | 0.99443 | -0.10676 | 0 | 0
8 | 0.99879 | -0.023192 | 0.0037382 | 0.00093688
9 | 0.98871 | -0.21726 | 0.0049282 | 0.0012351
10 | 0.9888 | -0.21568 | 0 | 0
11 | 0.99382 | -0.11858 | 0.0039295 | 0.00098483
12 | 0.99251 | -0.144 | 0.0079499 | 0.0019924
13 | 0.9923 | -0.14808 | 0.0079859 | 0.0020014
14 | 0.99277 | -0.13899 | 0.0079163 | 0.001984
15 | 0.99204 | -0.15302 | 0.012087 | 0.0030293
16 | 0.99307 | -0.13318 | 0.0055099 | 0.0013809
17 | 0.99203 | -0.15328 | 0.0086301 | 0.0021629
18 | 0.99334 | -0.12782 | 0.0059587 | 0.0014934
19 | 0.99337 | -0.12732 | 0.0059614 | 0.0014941
20 | 0.99373 | -0.1203 | 0.0074696 | 0.0018721
21 | 0.99411 | -0.11304 | 0.0027665 | 0.00069336
22 | 0.99353 | -0.12429 | 0.0035767 | 0.00089641
23 | 0.99554 | -0.085413 | 0.005275 | 0.001322
24 | 0.99306 | -0.13334 | 0.0036048 | 0.00090345
25 | 0.99612 | -0.074183 | 0.0032055 | 0.00080338
26 | 0.99345 | -0.12566 | 0.0033987 | 0.00085179
27 | 0.99358 | -0.12314 | 0.0044486 | 0.0011149
28 | 0.9925 | -0.14383 | 0.0045991 | 0.0011527
29 | 0.99425 | -0.11015 | 0.003397 | 0.00085137
30 | 0.99145 | -0.16416 | 0 | 0
31 | 0.99441 | -0.10703 | 0.0031837 | 0.00079791
32 | 0.99068 | -0.17913 | 0.0058749 | 0.0014724
33 | 0.99106 | -0.17185 | 0.0052949 | 0.001327
34 | 0.99507 | -0.09443 | 0.0031979 | 0.00080148
35 | 0.99039 | -0.18469 | 0.0038546 | 0.00096605
36 | 0.99099 | -0.1733 | 0 | 0
37 | 0.99158 | -0.16195 | 0.0084619 | 0.0021207
38 | 0.99043 | -0.1842 | 0.0051159 | 0.0012822
39 | 0.99072 | -0.17827 | 0.0054937 | 0.0013769
40 | 0.98971 | -0.19805 | 0.0075734 | 0.0018981
41 | 0.98981 | -0.19609 | 0.0038943 | 0.000976
42 | 0.98989 | -0.19445 | 0.0036923 | 0.00092538
43 | 0.99002 | -0.19201 | 0.0053103 | 0.0013309
44 | 0.9884 | -0.2234 | 0.0079437 | 0.0019909
45 | 0.98857 | -0.22017 | 0.007945 | 0.0019912
46 | 0.99024 | -0.1876 | 0 | 0
47 | 0.98914 | -0.20894 | 0.0021305 | 0.00053396
48 | 0.99313 | -0.13201 | 0.0074049 | 0.0018559
49 | 0.98938 | -0.2043 | 0.0060244 | 0.0015098
50 | 0.98947 | -0.20263 | 0.0082308 | 0.0020628
51 | 0.9924 | -0.14601 | 0.0079098 | 0.0019824
52 | 0.99258 | -0.14247 | 0.0041922 | 0.0010507
53 | 0.9921 | -0.15184 | 0.0080741 | 0.0020236
54 | 0.99025 | -0.1876 | 0.0047051 | 0.0011792
55 | 0.99015 | -0.18973 | 0.0056684 | 0.0014206
56 | 0.99007 | -0.19124 | 0.0092113 | 0.0023086
57 | 0.99257 | -0.14284 | 0.031384 | 0.0078656
58 | 0.99267 | -0.14092 | 0.0055455 | 0.0013898
59 | 0.997 | -0.057449 | 0.0032159 | 0.00080597
60 | 0.99714 | -0.054644 | 0 | 0
61 | 0.99659 | -0.06518 | 0.0032079 | 0.00080397
62 | 0.99889 | -0.021195 | 0.0040397 | 0.0010125
63 | 0.99574 | -0.081559 | 0.0032097 | 0.00080443
64 | 1 | 0 | -0.36306 | -0.091525
65 | 0.98973 | -0.19762 | 0.0040069 | 0.0010042
66 | 0.99002 | -0.19194 | 0.0042567 | 0.0010668
67 | 0.99008 | -0.19076 | 0.005121 | 0.0012835
68 | 0.99521 | -0.091773 | 0.0032135 | 0.00080539
69 | 0.99928 | -0.013796 | 0.0078243 | 0.0019609
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.078618 | -0.019827 | 0.078645 | 0.019844 | 2.6628e-05 | 1.6975e-05 | 0.11741 | 0.11741 | 0.11741 | 0.99677 | -0.061872 | 0.99714 | -0.054799 | 32.2548
1 | 0.074401 | 0.01877 | -0.074339 | -0.01873 | 6.2231e-05 | 3.9653e-05 | 0.11111 | 0.11111 | 0.11111 | 0.99677 | -0.061872 | 0.99586 | -0.079357 | 30.5255
2 | -0.081864 | -0.02065 | 0.081921 | 0.020687 | 5.6941e-05 | 3.6309e-05 | 0.12221 | 0.12221 | 0.12221 | 0.99714 | -0.054799 | 0.99789 | -0.040281 | 33.5747
3 | 0.0054068 | 0.001355 | -0.0054064 | -0.001355 | 4.1601e-07 | 4.5119e-08 | 0.0080788 | 0.0080789 | 0.0080789 | 0.99586 | -0.079357 | 0.99577 | -0.080972 | 2.2195
4 | 0.068932 | 0.017375 | -0.068845 | -0.017319 | 8.7402e-05 | 5.5652e-05 | 0.10303 | 0.10303 | 0.10303 | 0.99586 | -0.079357 | 0.99448 | -0.10589 | 28.3061
5 | -0.089603 | -0.022612 | 0.089612 | 0.022618 | 9.0941e-06 | 5.8025e-06 | 0.13367 | 0.13367 | 0.13367 | 0.99789 | -0.040281 | 0.998 | -0.038162 | 36.7217
6 | 0.064845 | 0.016317 | -0.064843 | -0.016315 | 2.686e-06 | 1.7091e-06 | 0.09705 | 0.09705 | 0.09705 | 0.99448 | -0.10589 | 0.99443 | -0.10676 | 26.662
7 | -0.092287 | -0.023288 | 0.092353 | 0.02333 | 6.6214e-05 | 4.2255e-05 | 0.13765 | 0.13765 | 0.13765 | 0.998 | -0.038162 | 0.99879 | -0.023192 | 37.8172
8 | 0.064843 | 0.016315 | -0.064806 | -0.016292 | 3.659e-05 | 2.3284e-05 | 0.09705 | 0.09705 | 0.09705 | 0.99443 | -0.10676 | 0.99382 | -0.11858 | 26.6621
9 | -0.096091 | -0.024267 | 0.096134 | 0.024295 | 4.329e-05 | 2.7632e-05 | 0.14322 | 0.14322 | 0.14322 | 0.99879 | -0.023192 | 0.99928 | -0.013796 | 39.3472
10 | -0.0049282 | -0.0012351 | 0.0049286 | 0.0012351 | 3.7218e-07 | 6.7991e-09 | 0.007417 | 0.0074169 | 0.007417 | 0.98871 | -0.21726 | 0.9888 | -0.21568 | 2.0376
11 | -0.020822 | -0.0052197 | 0.020829 | 0.0052237 | 6.6829e-06 | 4.0441e-06 | 0.031335 | 0.031335 | 0.031335 | 0.9888 | -0.21568 | 0.98914 | -0.20894 | 8.6085
12 | 0.015893 | 0.0039845 | -0.01589 | -0.0039826 | 3.3984e-06 | 1.9718e-06 | 0.023918 | 0.023918 | 0.023918 | 0.9888 | -0.21568 | 0.98857 | -0.22017 | 6.5709
13 | 0.060877 | 0.015307 | -0.060838 | -0.015282 | 3.9043e-05 | 2.4825e-05 | 0.091166 | 0.091166 | 0.091166 | 0.99382 | -0.11858 | 0.99313 | -0.13201 | 25.0457
14 | 0.028713 | 0.0072001 | -0.028708 | -0.0071966 | 5.576e-06 | 3.465e-06 | 0.04305 | 0.04305 | 0.04305 | 0.99251 | -0.144 | 0.9923 | -0.14808 | 11.8269
15 | -0.036663 | -0.0091925 | 0.036672 | 0.009198 | 8.7574e-06 | 5.5048e-06 | 0.054969 | 0.054969 | 0.054969 | 0.99251 | -0.144 | 0.99277 | -0.13899 | 15.1013
16 | 0.020722 | 0.0051951 | -0.020717 | -0.0051922 | 4.878e-06 | 2.948e-06 | 0.031075 | 0.031075 | 0.031075 | 0.9923 | -0.14808 | 0.99204 | -0.15302 | 8.537
17 | -0.044588 | -0.011182 | 0.044601 | 0.01119 | 1.2365e-05 | 7.818e-06 | 0.066834 | 0.066834 | 0.066834 | 0.99277 | -0.13899 | 0.99307 | -0.13318 | 18.361
18 | 0.0086302 | 0.0021629 | -0.0086301 | -0.0021629 | 1.0772e-07 | 4.6808e-08 | 0.012945 | 0.012945 | 0.012945 | 0.99204 | -0.15302 | 0.99203 | -0.15328 | 3.5563
19 | -0.050111 | -0.012571 | 0.050123 | 0.012579 | 1.279e-05 | 8.1076e-06 | 0.07509 | 0.07509 | 0.07509 | 0.99307 | -0.13318 | 0.99334 | -0.12782 | 20.6292
20 | -0.056082 | -0.014072 | 0.056083 | 0.014073 | 1.3356e-06 | 8.4825e-07 | 0.084016 | 0.084016 | 0.084016 | 0.99334 | -0.12782 | 0.99337 | -0.12732 | 23.0814
21 | -0.062045 | -0.015567 | 0.062066 | 0.01558 | 2.0788e-05 | 1.3221e-05 | 0.092946 | 0.092946 | 0.092946 | 0.99337 | -0.12732 | 0.99373 | -0.1203 | 25.5347
22 | -0.069535 | -0.017452 | 0.069559 | 0.017468 | 2.4068e-05 | 1.5327e-05 | 0.10413 | 0.10413 | 0.10413 | 0.99373 | -0.1203 | 0.99411 | -0.11304 | 28.6075
23 | 0.044168 | 0.011091 | -0.044145 | -0.011076 | 2.3677e-05 | 1.4966e-05 | 0.066121 | 0.066121 | 0.066121 | 0.99411 | -0.11304 | 0.99353 | -0.12429 | 18.165
24 | -0.11649 | -0.029253 | 0.11665 | 0.029351 | 0.0001538 | 9.8255e-05 | 0.17439 | 0.17439 | 0.17439 | 0.99411 | -0.11304 | 0.99554 | -0.085413 | 47.9101
25 | 0.040568 | 0.01018 | -0.040551 | -0.010169 | 1.7501e-05 | 1.1037e-05 | 0.060764 | 0.060764 | 0.060764 | 0.99353 | -0.12429 | 0.99306 | -0.13334 | 16.6934
26 | -0.12192 | -0.030673 | 0.12199 | 0.030715 | 6.5456e-05 | 4.1824e-05 | 0.18228 | 0.18228 | 0.18228 | 0.99554 | -0.085413 | 0.99612 | -0.074183 | 50.0762
27 | 0.036946 | 0.0092656 | -0.036932 | -0.0092572 | 1.3343e-05 | 8.3896e-06 | 0.055362 | 0.055362 | 0.055362 | 0.99306 | -0.13334 | 0.99267 | -0.14092 | 15.2095
28 | -0.12519 | -0.031518 | 0.12529 | 0.031582 | 0.00010024 | 6.4051e-05 | 0.18707 | 0.18707 | 0.18707 | 0.99612 | -0.074183 | 0.997 | -0.057449 | 51.3916
29 | -0.099896 | -0.025159 | 0.099908 | 0.025167 | 1.2034e-05 | 7.6829e-06 | 0.14967 | 0.14967 | 0.14967 | 0.99345 | -0.12566 | 0.99358 | -0.12314 | 41.1186
30 | 0.096498 | 0.024307 | -0.096414 | -0.024254 | 8.3763e-05 | 5.347e-05 | 0.14458 | 0.14458 | 0.14458 | 0.99345 | -0.12566 | 0.9925 | -0.14383 | 39.7201
31 | -0.10436 | -0.026282 | 0.10442 | 0.026323 | 6.4885e-05 | 4.1435e-05 | 0.15633 | 0.15633 | 0.15633 | 0.99358 | -0.12314 | 0.99425 | -0.11015 | 42.9489
32 | 0.091815 | 0.023101 | -0.091726 | -0.023044 | 8.9081e-05 | 5.685e-05 | 0.13769 | 0.13769 | 0.13769 | 0.9925 | -0.14383 | 0.99145 | -0.16416 | 37.8258
33 | -0.10782 | -0.027174 | 0.10784 | 0.027185 | 1.6106e-05 | 1.0287e-05 | 0.16142 | 0.16142 | 0.16142 | 0.99425 | -0.11015 | 0.99441 | -0.10703 | 44.3456
34 | 0.060431 | 0.015188 | -0.060387 | -0.015161 | 4.3168e-05 | 2.7447e-05 | 0.090712 | 0.090712 | 0.090712 | 0.99145 | -0.16416 | 0.99068 | -0.17913 | 24.9209
35 | 0.031295 | 0.0078562 | -0.031284 | -0.007849 | 1.1483e-05 | 7.1702e-06 | 0.046974 | 0.046974 | 0.046974 | 0.99145 | -0.16416 | 0.99106 | -0.17185 | 12.9049
36 | -0.11102 | -0.027983 | 0.11109 | 0.028025 | 6.6965e-05 | 4.2774e-05 | 0.16618 | 0.16618 | 0.16618 | 0.99441 | -0.10703 | 0.99507 | -0.09443 | 45.6544
37 | 0.054513 | 0.013688 | -0.054498 | -0.013679 | 1.4438e-05 | 9.1667e-06 | 0.081888 | 0.081888 | 0.081888 | 0.99068 | -0.17913 | 0.99039 | -0.18469 | 22.4967
38 | 0.025989 | 0.006522 | -0.025981 | -0.006517 | 7.9539e-06 | 4.9111e-06 | 0.039024 | 0.039024 | 0.039024 | 0.99106 | -0.17185 | 0.99072 | -0.17827 | 10.7208
39 | -0.11428 | -0.028827 | 0.1143 | 0.028836 | 1.4541e-05 | 9.289e-06 | 0.17096 | 0.17096 | 0.17096 | 0.99507 | -0.09443 | 0.99521 | -0.091773 | 46.9682
40 | 0.050644 | 0.012713 | -0.050629 | -0.012704 | 1.4661e-05 | 9.2963e-06 | 0.076097 | 0.076097 | 0.076097 | 0.99039 | -0.18469 | 0.99008 | -0.19076 | 20.9057
41 | -0.024719 | -0.0062015 | 0.024732 | 0.0062098 | 1.338e-05 | 8.2293e-06 | 0.037119 | 0.037119 | 0.037119 | 0.99099 | -0.1733 | 0.99158 | -0.16195 | 10.1974
42 | 0.024719 | 0.0062015 | -0.024706 | -0.0061936 | 1.2844e-05 | 7.9e-06 | 0.037119 | 0.037119 | 0.037119 | 0.99099 | -0.1733 | 0.99043 | -0.1842 | 10.1975
43 | -0.033194 | -0.0083305 | 0.03321 | 0.0083405 | 1.6017e-05 | 1.0029e-05 | 0.049817 | 0.049817 | 0.049817 | 0.99158 | -0.16195 | 0.9921 | -0.15184 | 13.6859
44 | 0.01959 | 0.0049115 | -0.019587 | -0.0049096 | 3.1729e-06 | 1.905e-06 | 0.029433 | 0.029433 | 0.029433 | 0.99043 | -0.1842 | 0.99025 | -0.1876 | 8.0859
45 | 0.020487 | 0.0051402 | -0.020478 | -0.0051347 | 9.108e-06 | 5.499e-06 | 0.030773 | 0.030773 | 0.030773 | 0.99072 | -0.17827 | 0.99024 | -0.1876 | 8.454
46 | -0.0075734 | -0.0018981 | 0.0075741 | 0.0018983 | 7.0554e-07 | 2.6505e-07 | 0.011387 | 0.011387 | 0.011387 | 0.98971 | -0.19805 | 0.98981 | -0.19609 | 3.1282
47 | -0.011468 | -0.0028743 | 0.011469 | 0.0028748 | 8.9588e-07 | 4.7005e-07 | 0.017241 | 0.017241 | 0.017241 | 0.98981 | -0.19609 | 0.98989 | -0.19445 | 4.7365
48 | -0.015162 | -0.0038002 | 0.015163 | 0.0038012 | 1.7654e-06 | 1.0133e-06 | 0.022791 | 0.022791 | 0.022791 | 0.98989 | -0.19445 | 0.99002 | -0.19201 | 6.2613
49 | -0.020474 | -0.0051321 | 0.020478 | 0.0051347 | 4.2971e-06 | 2.5945e-06 | 0.030773 | 0.030773 | 0.030773 | 0.99002 | -0.19201 | 0.99024 | -0.1876 | 8.454
50 | -0.0079437 | -0.0019909 | 0.0079449 | 0.0019914 | 1.2244e-06 | 4.9098e-07 | 0.011959 | 0.011959 | 0.011959 | 0.9884 | -0.2234 | 0.98857 | -0.22017 | 3.2854
51 | -0.022959 | -0.0057577 | 0.022964 | 0.0057608 | 5.0869e-06 | 3.1096e-06 | 0.03454 | 0.03454 | 0.03454 | 0.98914 | -0.20894 | 0.98938 | -0.2043 | 9.4889
52 | 0.053433 | 0.013427 | -0.053406 | -0.01341 | 2.665e-05 | 1.6913e-05 | 0.080071 | 0.080071 | 0.080071 | 0.99313 | -0.13201 | 0.99258 | -0.14247 | 21.9977
53 | -0.028989 | -0.0072706 | 0.028991 | 0.0072721 | 2.3012e-06 | 1.4313e-06 | 0.0436 | 0.0436 | 0.0436 | 0.98938 | -0.2043 | 0.98947 | -0.20263 | 11.9781
54 | -0.037222 | -0.0093349 | 0.03723 | 0.0093405 | 8.8948e-06 | 5.5954e-06 | 0.055978 | 0.055978 | 0.055978 | 0.98947 | -0.20263 | 0.98973 | -0.19762 | 15.3786
55 | -0.049205 | -0.012354 | 0.049214 | 0.012359 | 8.3125e-06 | 5.2674e-06 | 0.073787 | 0.073787 | 0.073787 | 0.9924 | -0.14601 | 0.99258 | -0.14247 | 20.2711
56 | 0.041296 | 0.010371 | -0.041284 | -0.010364 | 1.1485e-05 | 7.2473e-06 | 0.061927 | 0.061927 | 0.061927 | 0.9924 | -0.14601 | 0.9921 | -0.15184 | 17.0128
57 | 0.014882 | 0.0037304 | -0.01488 | -0.0037295 | 1.5069e-06 | 8.6103e-07 | 0.022363 | 0.022363 | 0.022363 | 0.99025 | -0.1876 | 0.99015 | -0.18973 | 6.1436
58 | 0.009212 | 0.0023089 | -0.0092113 | -0.0023086 | 6.6417e-07 | 3.0622e-07 | 0.013844 | 0.013844 | 0.013844 | 0.99015 | -0.18973 | 0.99007 | -0.19124 | 3.8033
59 | -0.031384 | -0.0078656 | 0.031387 | 0.0078674 | 2.8756e-06 | 1.7956e-06 | 0.04705 | 0.04705 | 0.04705 | 0.99257 | -0.14284 | 0.99267 | -0.14092 | 12.9257
60 | -0.12851 | -0.032388 | 0.12853 | 0.032399 | 1.7248e-05 | 1.1022e-05 | 0.19187 | 0.19187 | 0.19187 | 0.997 | -0.057449 | 0.99714 | -0.054644 | 52.7102
61 | 0.12414 | 0.031387 | -0.12408 | -0.031347 | 6.2699e-05 | 4.0064e-05 | 0.18536 | 0.18536 | 0.18536 | 0.99714 | -0.054644 | 0.99659 | -0.06518 | 50.9218
62 | -0.25267 | -0.063786 | 0.25308 | 0.064046 | 0.00040558 | 0.00025917 | 0.37722 | 0.37722 | 0.37722 | 0.99714 | -0.054644 | 0.99889 | -0.021195 | 51.816
63 | 0.12087 | 0.030543 | -0.12078 | -0.030483 | 9.4828e-05 | 6.0589e-05 | 0.18057 | 0.18057 | 0.18057 | 0.99659 | -0.06518 | 0.99574 | -0.081559 | 49.6059
64 | -0.25712 | -0.065058 | 0.25738 | 0.065225 | 0.00026181 | 0.00016731 | 0.38324 | 0.38324 | 0.38324 | 0.99889 | -0.021195 | 1 | 0 | 52.6426
65 | 0.11757 | 0.029678 | -0.11751 | -0.029641 | 5.7494e-05 | 3.6732e-05 | 0.17577 | 0.17577 | 0.17577 | 0.99574 | -0.081559 | 0.99521 | -0.091773 | 48.2882
66 | 0.10403 | 0.0263 | -0.10396 | -0.026256 | 6.8776e-05 | 4.3917e-05 | 0.15487 | 0.15487 | 0.15487 | 1 | 0 | 0.99928 | -0.013796 | 42.5481
67 | -0.041237 | -0.010345 | 0.041249 | 0.010352 | 1.117e-05 | 7.0491e-06 | 0.062002 | 0.062002 | 0.062002 | 0.98973 | -0.19762 | 0.99002 | -0.19194 | 17.0336
68 | -0.045505 | -0.011419 | 0.045508 | 0.01142 | 2.5645e-06 | 1.6225e-06 | 0.0684 | 0.0684 | 0.0684 | 0.99002 | -0.19194 | 0.99008 | -0.19076 | 18.7913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36939 | 0.093114

## res_load
| p_mw | q_mvar
0 | 0.0042165 | 0.0010568
1 | 0.0032194 | 0.00080686
2 | 0.007682 | 0.0019253
3 | 0.0054064 | 0.001355
4 | 0.0039995 | 0.0010024
5 | 0.0026747 | 0.00067034
6 | 0.0037382 | 0.00093688
7 | 0.0049282 | 0.0012351
8 | 0.0039295 | 0.00098483
9 | 0.0079499 | 0.0019924
10 | 0.0079859 | 0.0020014
11 | 0.0079163 | 0.001984
12 | 0.012087 | 0.0030293
13 | 0.0055099 | 0.0013809
14 | 0.0086301 | 0.0021629
15 | 0.0059587 | 0.0014934
16 | 0.0059614 | 0.0014941
17 | 0.0074696 | 0.0018721
18 | 0.0027665 | 0.00069336
19 | 0.0035767 | 0.00089641
20 | 0.005275 | 0.001322
21 | 0.0036048 | 0.00090345
22 | 0.0032055 | 0.00080338
23 | 0.0033987 | 0.00085179
24 | 0.0044486 | 0.0011149
25 | 0.0045991 | 0.0011527
26 | 0.003397 | 0.00085137
27 | 0.0031837 | 0.00079791
28 | 0.0058749 | 0.0014724
29 | 0.0052949 | 0.001327
30 | 0.0031979 | 0.00080148
31 | 0.0038546 | 0.00096605
32 | 0.0084619 | 0.0021207
33 | 0.0051159 | 0.0012822
34 | 0.0054937 | 0.0013769
35 | 0.0075734 | 0.0018981
36 | 0.0038943 | 0.000976
37 | 0.0036923 | 0.00092538
38 | 0.0053103 | 0.0013309
39 | 0.0079437 | 0.0019909
40 | 0.007945 | 0.0019912
41 | 0.0021305 | 0.00053396
42 | 0.0074049 | 0.0018559
43 | 0.0060244 | 0.0015098
44 | 0.0082308 | 0.0020628
45 | 0.0079098 | 0.0019824
46 | 0.0041922 | 0.0010507
47 | 0.0080741 | 0.0020236
48 | 0.0047051 | 0.0011792
49 | 0.0056684 | 0.0014206
50 | 0.0092113 | 0.0023086
51 | 0.031384 | 0.0078656
52 | 0.0055455 | 0.0013898
53 | 0.0032159 | 0.00080597
54 | 0.0032079 | 0.00080397
55 | 0.0040397 | 0.0010125
56 | 0.0032097 | 0.00080443
57 | 0.0063376 | 0.0015884
58 | 0.0040069 | 0.0010042
59 | 0.0042567 | 0.0010668
60 | 0.005121 | 0.0012835
61 | 0.0032135 | 0.00080539
62 | 0.0078243 | 0.0019609

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1