## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-27_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-27_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-27_0_8_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2701-27_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-27_0_8_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2701-27_0_8_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2701-27_0_8_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_2701-27_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2701-27_0_8_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_2701-27_0_8_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-27_0_8_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_2701-27_0_8_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_2701-27_0_8_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_2701-27_0_8_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2701-27_0_8_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2701-27_0_8_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_2701-27_0_8_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_2701-27_0_8_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2701-27_0_8_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_2701-27_0_8_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_2701-27_0_8_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2701-27_0_8_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_2701-27_0_8_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2701-27_0_8_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2701-27_0_8_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2701-27_0_8_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2701-27_0_8_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2701-27_0_8_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2701-27_0_8_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2701-27_0_8_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2701-27_0_8_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2701-27_0_8_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2701-27_0_8_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2701-27_0_8_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2701-27_0_8_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2701-27_0_8_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2701-27_0_8_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2701-27_0_8_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-27_0_8_node_28 | 0.4 | n |  | TRUE
39 | bus_MV_557_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-27_0_8_load_0 | 0 | 0.026134 | 0.0065499 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-27_0_8_load_38 | 8 | 0.0084867 | 0.002127 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-27_0_8_load_36 | 10 | 0.019102 | 0.0047875 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-27_0_8_load_39 | 11 | 0.0010759 | 0.00026966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-27_0_8_load_31 | 12 | 0.0057379 | 0.0014381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-27_0_8_load_11 | 13 | 0.0069602 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-27_0_8_load_42 | 14 | 0.026361 | 0.0066066 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-27_0_8_load_32 | 15 | 0.006627 | 0.0016609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-27_0_8_load_35 | 16 | 0.00089267 | 0.00022372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-27_0_8_load_34 | 17 | 0.0049132 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-27_0_8_load_23 | 19 | 0.02645 | 0.0066291 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-27_0_8_load_9 | 20 | 0.0080066 | 0.0020067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-27_0_8_load_8 | 21 | 0.012628 | 0.0031649 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-27_0_8_load_10 | 22 | 0.0064243 | 0.0016101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-27_0_8_load_12 | 23 | 0.0027036 | 0.00067758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-27_0_8_load_13 | 24 | 0.067542 | 0.016928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-27_0_8_load_26 | 26 | 0.0063713 | 0.0015968 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-27_0_8_load_24 | 28 | 0.0039981 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-27_0_8_load_17 | 29 | 0.047208 | 0.011831 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-27_0_8_load_22 | 30 | 0.011959 | 0.0029973 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-27_0_8_load_18 | 31 | 0.01747 | 0.0043784 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-27_0_8_load_20 | 32 | 0.0118 | 0.0029574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-27_0_8_load_16 | 33 | 0.050748 | 0.012719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-27_0_8_load_19 | 34 | 0.019614 | 0.0049157 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-27_0_8_load_21 | 35 | 0.011839 | 0.0029673 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-27_0_8_load_25 | 36 | 0.0026138 | 0.00065509 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-27_0_8_load_27 | 37 | 0.011629 | 0.0029144 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-27_0_8_load_28 | 38 | 0.0013336 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-27_0_8_line_0 |  | 0 | 1 | 0.009668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-27_0_8_line_1 |  | 1 | 5 | 0.077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-27_0_8_line_2 |  | 2 | 3 | 0.056157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2701-27_0_8_line_3 |  | 2 | 4 | 0.20551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2701-27_0_8_line_4 |  | 3 | 6 | 0.057451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2701-27_0_8_line_5 |  | 4 | 11 | 0.002497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-27_0_8_line_6 |  | 4 | 7 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-27_0_8_line_7 |  | 4 | 9 | 0.1002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2701-27_0_8_line_8 |  | 5 | 12 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-27_0_8_line_9 |  | 5 | 13 | 0.032337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-27_0_8_line_10 |  | 5 | 14 | 0.12264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-27_0_8_line_11 |  | 6 | 15 | 0.045194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-27_0_8_line_12 |  | 7 | 8 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-27_0_8_line_13 |  | 9 | 10 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2701-27_0_8_line_14 |  | 10 | 18 | 0.04706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2701-27_0_8_line_15 |  | 12 | 17 | 0.041781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-27_0_8_line_16 |  | 13 | 20 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-27_0_8_line_17 |  | 15 | 23 | 0.03026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2701-27_0_8_line_18 |  | 16 | 17 | 0.011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-27_0_8_line_19 |  | 18 | 19 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2701-27_0_8_line_20 |  | 19 | 35 | 0.052595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2701-27_0_8_line_21 |  | 20 | 21 | 0.039363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2701-27_0_8_line_22 |  | 21 | 22 | 0.0025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2701-27_0_8_line_23 |  | 22 | 23 | 0.045002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2701-27_0_8_line_24 |  | 24 | 25 | 0.081499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-27_0_8_line_25 |  | 24 | 26 | 0.12258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-27_0_8_line_26 |  | 25 | 27 | 0.007188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-27_0_8_line_27 |  | 26 | 28 | 0.0092508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-27_0_8_line_28 |  | 27 | 29 | 0.046978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-27_0_8_line_29 |  | 28 | 36 | 0.00066605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-27_0_8_line_30 |  | 29 | 33 | 0.0068677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-27_0_8_line_31 |  | 30 | 31 | 0.02685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2701-27_0_8_line_32 |  | 30 | 32 | 0.033054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2701-27_0_8_line_33 |  | 31 | 33 | 0.043514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2701-27_0_8_line_34 |  | 32 | 34 | 0.0012917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2701-27_0_8_line_35 |  | 34 | 35 | 0.031655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2701-27_0_8_line_36 |  | 36 | 37 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-27_0_8_line_37 |  | 37 | 38 | 0.02262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-27_0_8_trafo_22 | 0.63 MVA 20/0.4 kV | 39 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2609844.0841 | 1268861.2551 | 2609845.8549 | 1268851.7506
1 | 2609844.0841 | 1268861.2551 | 2609838.5686 | 1268892.9461 | 2609831.7979 | 1268910.1915 | 2609857.4854 | 1268915.8602
2 | 2609912.6815 | 1268761.1319 | 2609880.8465 | 1268745.7569 | 2609872.2012 | 1268745.2978 | 2609865.7157 | 1268749.2232 | 2609863.7298 | 1268753.3339
3 | 2609863.7298 | 1268753.3339 | 2609865.7157 | 1268749.2232 | 2609872.2012 | 1268745.2978 | 2609880.8465 | 1268745.7569 | 2609882.0765 | 1268743.7353 | 2609889.8848 | 1268745.2383 | 2609906.3855 | 1268750.6473 | 2610051.3918 | 1268799.058 | 2610050.6214 | 1268800.7246 | 2610049.9931 | 1268802.9473
4 | 2609967.6546 | 1268776.9237 | 2609920.267 | 1268760.911 | 2609912.6815 | 1268761.1319
5 | 2610049.9931 | 1268802.9473 | 2610049.6601 | 1268804.092 | 2610049.3043 | 1268805.3478
6 | 2610048.6018 | 1268806.9589 | 2610050.3406 | 1268806.6283 | 2610052.2266 | 1268803.7628 | 2610052.291 | 1268801.2722 | 2610051.3918 | 1268799.058 | 2610050.6214 | 1268800.7246 | 2610049.9931 | 1268802.9473
7 | 2610049.9931 | 1268802.9473 | 2610050.6214 | 1268800.7246 | 2610051.3918 | 1268799.058 | 2610062.2136 | 1268802.9013 | 2610073.6212 | 1268807.4015 | 2610085.3739 | 1268812.4695 | 2610092.3135 | 1268815.9281 | 2610095.9372 | 1268817.8467 | 2610094.4577 | 1268820.5684 | 2610092.1417 | 1268819.5971 | 2610093.6379 | 1268820.3335 | 2610092.1638 | 1268824.3227 | 2610105.3929 | 1268828.4814 | 2610102.0358 | 1268837.949 | 2610105.8791 | 1268839.023 | 2610109.0982 | 1268839.9291 | 2610112.2646 | 1268840.8129 | 2610113.7915 | 1268841.238
8 | 2609857.4854 | 1268915.8602 | 2609867.0558 | 1268896.8635
9 | 2609857.4854 | 1268915.8602 | 2609889.3413 | 1268921.4197
10 | 2609857.4854 | 1268915.8602 | 2609840.4666 | 1269037.3176
11 | 2609967.6546 | 1268776.9237 | 2609951.7221 | 1268819.2161
12 | 2610048.6018 | 1268806.9589 | 2610043.9942 | 1268821.6948
13 | 2610113.7915 | 1268841.238 | 2610106.816 | 1268862.7265
14 | 2610099.6669 | 1268907.9165 | 2610098.4377 | 1268905.0902 | 2610097.2857 | 1268901.0632 | 2610097.036 | 1268897.438 | 2610097.4484 | 1268893.8695 | 2610098.3071 | 1268888.9453 | 2610100.2133 | 1268883.0666 | 2610106.816 | 1268862.7265
15 | 2609885.3691 | 1268859.3262 | 2609882.3917 | 1268866.4223 | 2609867.0558 | 1268896.8635
16 | 2609889.3413 | 1268921.4197 | 2609905.4716 | 1268924.2347 | 2609905.4716 | 1268924.2347
17 | 2609951.7221 | 1268819.2161 | 2609941.0546 | 1268847.533
18 | 2609885.3691 | 1268859.3262 | 2609889.9592 | 1268848.3866
19 | 2610099.6669 | 1268907.9165 | 2610097.6555 | 1268909.2696 | 2610094.7256 | 1268910.8991 | 2610084.1365 | 1268916.4184 | 2610079.5315 | 1268920.7581
20 | 2610079.5315 | 1268920.7581 | 2610076.0681 | 1268930.8816 | 2610062.6758 | 1268970.5783
21 | 2609924.2808 | 1268892.0586 | 2609913.4989 | 1268920.6789 | 2609905.4716 | 1268924.2347
22 | 2609924.2808 | 1268892.0586 | 2609925.1898 | 1268889.6458
23 | 2609925.1898 | 1268889.6458 | 2609941.0546 | 1268847.533
24 | 2610019.3874 | 1269143.4023 | 2610036.4448 | 1269152.5931 | 2610089.9317 | 1269184.1901
25 | 2610162.6762 | 1269085.5268 | 2610089.9317 | 1269184.1901
26 | 2610020.024 | 1269136.2427 | 2610019.3874 | 1269143.4023
27 | 2610162.6762 | 1269085.5268 | 2610167.4201 | 1269077.585
28 | 2610020.024 | 1269136.2427 | 2610040.9299 | 1269094.1726
29 | 2610167.7617 | 1269077.0132 | 2610167.4201 | 1269077.585
30 | 2610043.9861 | 1269088.0224 | 2610040.9299 | 1269094.1726
31 | 2610042.0478 | 1269033.2725 | 2610063.6551 | 1269049.2106
32 | 2610042.0478 | 1269033.2725 | 2610052.3546 | 1269001.8661
33 | 2610063.6551 | 1269049.2106 | 2610060.1602 | 1269055.7093 | 2610052.0441 | 1269071.8069 | 2610043.9861 | 1269088.0224
34 | 2610052.3546 | 1269001.8661 | 2610052.7574 | 1269000.6388
35 | 2610062.6758 | 1268970.5783 | 2610060.7234 | 1268976.3654 | 2610052.7574 | 1269000.6388
36 | 2610184.945 | 1269048.2463 | 2610167.7617 | 1269077.0132
37 | 2610184.945 | 1269048.2463 | 2610196.5448 | 1269028.8268

## bus_geodata
| x | y | coords
0 | 2609845.8549 | 1268851.7506
1 | 2609844.0841 | 1268861.2551
2 | 2609863.7298 | 1268753.3339
3 | 2609912.6815 | 1268761.1319
4 | 2610049.9931 | 1268802.9473
5 | 2609857.4854 | 1268915.8602
6 | 2609967.6546 | 1268776.9237
7 | 2610048.6018 | 1268806.9589
8 | 2610043.9942 | 1268821.6948
9 | 2610113.7915 | 1268841.238
10 | 2610106.816 | 1268862.7265
11 | 2610049.3043 | 1268805.3478
12 | 2609867.0558 | 1268896.8635
13 | 2609889.3413 | 1268921.4197
14 | 2609840.4666 | 1269037.3176
15 | 2609951.7221 | 1268819.2161
16 | 2609889.9592 | 1268848.3866
17 | 2609885.3691 | 1268859.3262
18 | 2610099.6669 | 1268907.9165
19 | 2610079.5315 | 1268920.7581
20 | 2609905.4716 | 1268924.2347
21 | 2609924.2808 | 1268892.0586
22 | 2609925.1898 | 1268889.6458
23 | 2609941.0546 | 1268847.533
24 | 2610089.9317 | 1269184.1901
25 | 2610019.3874 | 1269143.4023
26 | 2610162.6762 | 1269085.5268
27 | 2610020.024 | 1269136.2427
28 | 2610167.4201 | 1269077.585
29 | 2610040.9299 | 1269094.1726
30 | 2610042.0478 | 1269033.2725
31 | 2610063.6551 | 1269049.2106
32 | 2610052.3546 | 1269001.8661
33 | 2610043.9861 | 1269088.0224
34 | 2610052.7574 | 1269000.6388
35 | 2610062.6758 | 1268970.5783
36 | 2610167.7617 | 1269077.0132
37 | 2610184.945 | 1269048.2463
38 | 2610196.5448 | 1269028.8268
39 | 2610039.137 | 1269042.142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97205 | -0.53895 | 0.026134 | 0.0065499
1 | 0.97229 | -0.53429 | 0 | 0
2 | 0.98439 | -0.29772 | 0 | 0
3 | 0.98299 | -0.32489 | 0 | 0
4 | 0.98953 | -0.19895 | 0 | 0
5 | 0.97417 | -0.49726 | 0 | 0
6 | 0.98155 | -0.35276 | 0 | 0
7 | 0.98942 | -0.2011 | 0 | 0
8 | 0.9893 | -0.20343 | 0.0084867 | 0.002127
9 | 0.99226 | -0.14691 | 0 | 0
10 | 0.99287 | -0.13522 | 0.019102 | 0.0047875
11 | 0.98953 | -0.19899 | 0.0010759 | 0.00026966
12 | 0.97394 | -0.50177 | 0.0057379 | 0.0014381
13 | 0.9761 | -0.45929 | 0.0069602 | 0.0017444
14 | 0.97115 | -0.55682 | 0.026361 | 0.0066066
15 | 0.98043 | -0.37474 | 0.006627 | 0.0016609
16 | 0.9737 | -0.50642 | 0.00089267 | 0.00022372
17 | 0.97371 | -0.50623 | 0.0049132 | 0.0012314
18 | 0.99436 | -0.10694 | 0 | 0
19 | 0.99512 | -0.092521 | 0.02645 | 0.0066291
20 | 0.97718 | -0.43805 | 0.0080066 | 0.0020067
21 | 0.97863 | -0.4097 | 0.012628 | 0.0031649
22 | 0.97869 | -0.40863 | 0.0064243 | 0.0016101
23 | 0.97972 | -0.38857 | 0.0027036 | 0.00067758
24 | 0.98467 | -0.29476 | 0.067542 | 0.016928
25 | 0.99169 | -0.15875 | 0 | 0
26 | 0.98173 | -0.35211 | 0.0063713 | 0.0015968
27 | 0.99231 | -0.14685 | 0 | 0
28 | 0.98156 | -0.35539 | 0.0039981 | 0.001002
29 | 0.99636 | -0.069419 | 0.047208 | 0.011831
30 | 1 | 0 | -0.42104 | -0.1069
31 | 0.99872 | -0.024475 | 0.01747 | 0.0043784
32 | 0.99843 | -0.029698 | 0.0118 | 0.0029574
33 | 0.99681 | -0.06094 | 0.050748 | 0.012719
34 | 0.99837 | -0.030794 | 0.019614 | 0.0049157
35 | 0.9971 | -0.054965 | 0.011839 | 0.0029673
36 | 0.98155 | -0.35557 | 0.0026138 | 0.00065509
37 | 0.98115 | -0.36344 | 0.011629 | 0.0029144
38 | 0.98112 | -0.36398 | 0.0013336 | 0.00033422
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026134 | -0.0065499 | 0.02614 | 0.0065535 | 5.8027e-06 | 3.5938e-06 | 0.040006 | 0.040006 | 0.040006 | 0.97205 | -0.53895 | 0.97229 | -0.53429 | 10.9908
1 | -0.02614 | -0.0065535 | 0.026186 | 0.0065821 | 4.6214e-05 | 2.862e-05 | 0.040006 | 0.040006 | 0.040006 | 0.97229 | -0.53429 | 0.97417 | -0.49726 | 10.9908
2 | 0.10838 | 0.027534 | -0.10824 | -0.027446 | 0.00014154 | 8.7735e-05 | 0.16397 | 0.16397 | 0.16397 | 0.98439 | -0.29772 | 0.98299 | -0.32489 | 11.2615
3 | -0.10838 | -0.027534 | 0.1089 | 0.027855 | 0.00051796 | 0.00032099 | 0.16397 | 0.16396 | 0.16397 | 0.98439 | -0.29772 | 0.98953 | -0.19895 | 11.2614
4 | 0.10824 | 0.027446 | -0.1081 | -0.027356 | 0.0001448 | 8.9766e-05 | 0.16397 | 0.16397 | 0.16397 | 0.98299 | -0.32489 | 0.98155 | -0.35276 | 11.2615
5 | 0.0010759 | 0.00026963 | -0.0010759 | -0.00026966 | 2.4512e-09 | -3.0508e-08 | 0.0016179 | 0.001618 | 0.001618 | 0.98953 | -0.19895 | 0.98953 | -0.19899 | 0.44449
6 | 0.0084885 | 0.0021277 | -0.0084876 | -0.0021274 | 8.6933e-07 | 3.7362e-07 | 0.012765 | 0.012765 | 0.012765 | 0.98953 | -0.19895 | 0.98942 | -0.2011 | 3.5068
7 | -0.11847 | -0.030252 | 0.11876 | 0.030438 | 0.00029877 | 0.00018605 | 0.17834 | 0.17834 | 0.17834 | 0.98953 | -0.19895 | 0.99226 | -0.14691 | 12.2489
8 | 0.011547 | 0.0028946 | -0.011545 | -0.0028933 | 2.4817e-06 | 1.3235e-06 | 0.017639 | 0.017639 | 0.017639 | 0.97417 | -0.49726 | 0.97394 | -0.50177 | 4.8458
9 | -0.06417 | -0.01613 | 0.064286 | 0.016204 | 0.00011655 | 7.4186e-05 | 0.098035 | 0.098035 | 0.098035 | 0.97417 | -0.49726 | 0.9761 | -0.45929 | 26.9326
10 | 0.026436 | 0.0066531 | -0.026361 | -0.0066066 | 7.503e-05 | 4.6497e-05 | 0.04039 | 0.040391 | 0.040391 | 0.97417 | -0.49726 | 0.97115 | -0.55682 | 11.0963
11 | 0.1081 | 0.027356 | -0.10798 | -0.027285 | 0.00011391 | 7.0621e-05 | 0.16397 | 0.16397 | 0.16397 | 0.98155 | -0.35276 | 0.98043 | -0.37474 | 11.2616
12 | 0.0084876 | 0.0021274 | -0.0084867 | -0.002127 | 9.4318e-07 | 4.0541e-07 | 0.012765 | 0.012765 | 0.012765 | 0.98942 | -0.2011 | 0.9893 | -0.20343 | 3.5068
13 | -0.11876 | -0.030438 | 0.11883 | 0.03048 | 6.7366e-05 | 4.1946e-05 | 0.17834 | 0.17834 | 0.17834 | 0.99226 | -0.14691 | 0.99287 | -0.13522 | 12.2488
14 | -0.13793 | -0.035267 | 0.13812 | 0.035386 | 0.00018899 | 0.00011852 | 0.20697 | 0.20697 | 0.20697 | 0.99287 | -0.13522 | 0.99436 | -0.10694 | 14.215
15 | 0.0058071 | 0.0014552 | -0.0058058 | -0.0014549 | 1.2333e-06 | 2.6951e-07 | 0.0088722 | 0.0088724 | 0.0088724 | 0.97394 | -0.50177 | 0.97371 | -0.50623 | 2.4375
16 | -0.071246 | -0.017948 | 0.071319 | 0.017995 | 7.2479e-05 | 4.6181e-05 | 0.10865 | 0.10865 | 0.10865 | 0.9761 | -0.45929 | 0.97718 | -0.43805 | 29.8476
17 | 0.10136 | 0.025625 | -0.10129 | -0.025583 | 6.7201e-05 | 4.1483e-05 | 0.15391 | 0.15391 | 0.15391 | 0.98043 | -0.37474 | 0.97972 | -0.38857 | 10.5708
18 | -0.00089267 | -0.00022372 | 0.00089267 | 0.00022358 | 8.2788e-09 | -1.4227e-07 | 0.0013642 | 0.0013641 | 0.0013642 | 0.9737 | -0.50642 | 0.97371 | -0.50623 | 0.37477
19 | -0.13812 | -0.035386 | 0.13822 | 0.035446 | 9.6564e-05 | 6.0553e-05 | 0.20697 | 0.20697 | 0.20697 | 0.99436 | -0.10694 | 0.99512 | -0.092521 | 14.2149
20 | -0.16467 | -0.042076 | 0.16497 | 0.042265 | 0.00029965 | 0.00018904 | 0.24652 | 0.24652 | 0.24652 | 0.99512 | -0.092521 | 0.9971 | -0.054965 | 16.9313
21 | -0.079326 | -0.020001 | 0.079433 | 0.020069 | 0.00010777 | 6.7985e-05 | 0.12084 | 0.12084 | 0.12084 | 0.97718 | -0.43805 | 0.97863 | -0.4097 | 16.5985
22 | -0.092062 | -0.023234 | 0.092066 | 0.023237 | 4.7402e-06 | 2.9042e-06 | 0.14004 | 0.14004 | 0.14004 | 0.97863 | -0.4097 | 0.97869 | -0.40863 | 9.618
23 | -0.098491 | -0.024847 | 0.098585 | 0.024906 | 9.468e-05 | 5.8331e-05 | 0.14981 | 0.14981 | 0.14981 | 0.97869 | -0.40863 | 0.97972 | -0.38857 | 10.2889
24 | -0.093567 | -0.023479 | 0.094178 | 0.023869 | 0.00061112 | 0.00039007 | 0.14141 | 0.14141 | 0.14141 | 0.98467 | -0.29476 | 0.99169 | -0.15875 | 38.8482
25 | 0.026025 | 0.0065509 | -0.025954 | -0.0065069 | 7.1137e-05 | 4.3973e-05 | 0.039338 | 0.039339 | 0.039339 | 0.98467 | -0.29476 | 0.98173 | -0.35211 | 10.8074
26 | -0.094178 | -0.023869 | 0.094232 | 0.023903 | 5.3899e-05 | 3.4403e-05 | 0.14141 | 0.14141 | 0.14141 | 0.99169 | -0.15875 | 0.99231 | -0.14685 | 38.8481
27 | 0.019582 | 0.0049101 | -0.019579 | -0.0049083 | 3.0563e-06 | 1.8391e-06 | 0.029682 | 0.029682 | 0.029682 | 0.98173 | -0.35211 | 0.98156 | -0.35539 | 8.1544
28 | -0.094232 | -0.023903 | 0.094584 | 0.024128 | 0.00035226 | 0.00022484 | 0.14141 | 0.14141 | 0.14141 | 0.99231 | -0.14685 | 0.99636 | -0.069419 | 38.8481
29 | 0.015581 | 0.0039062 | -0.015581 | -0.0039062 | 1.3936e-07 | 8.0771e-08 | 0.023621 | 0.023621 | 0.023621 | 0.98156 | -0.35539 | 0.98155 | -0.35557 | 6.4893
30 | -0.14179 | -0.035959 | 0.14185 | 0.035996 | 5.7824e-05 | 3.6829e-05 | 0.21191 | 0.21191 | 0.21191 | 0.99636 | -0.069419 | 0.99681 | -0.06094 | 29.1083
31 | 0.21065 | 0.053464 | -0.21041 | -0.053307 | 0.00024769 | 0.00015712 | 0.31369 | 0.31369 | 0.31369 | 1 | 0 | 0.99872 | -0.024475 | 21.5448
32 | 0.20874 | 0.053433 | -0.20844 | -0.053242 | 0.00029973 | 0.0001901 | 0.31101 | 0.31101 | 0.31101 | 1 | 0 | 0.99843 | -0.029698 | 21.3603
33 | 0.19294 | 0.048929 | -0.1926 | -0.048715 | 0.00033758 | 0.00021377 | 0.28766 | 0.28766 | 0.28766 | 0.99872 | -0.024475 | 0.99681 | -0.06094 | 19.7571
34 | 0.19664 | 0.050285 | -0.19663 | -0.050278 | 1.0426e-05 | 6.605e-06 | 0.29342 | 0.29342 | 0.29342 | 0.99843 | -0.029698 | 0.99837 | -0.030794 | 20.1524
35 | 0.17702 | 0.045363 | -0.17681 | -0.045232 | 0.00020713 | 0.00013091 | 0.26419 | 0.26419 | 0.26419 | 0.99837 | -0.030794 | 0.9971 | -0.054965 | 18.1447
36 | 0.012967 | 0.0032511 | -0.012962 | -0.0032484 | 4.8561e-06 | 2.6845e-06 | 0.019658 | 0.019659 | 0.019659 | 0.98155 | -0.35557 | 0.98115 | -0.36344 | 5.4007
37 | 0.0013336 | 0.00033396 | -0.0013336 | -0.00033422 | 3.4698e-08 | -2.6346e-07 | 0.0020225 | 0.0020226 | 0.0020226 | 0.98115 | -0.36344 | 0.98112 | -0.36398 | 0.55565

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.433 | 0.10989

## res_load
| p_mw | q_mvar
0 | 0.026134 | 0.0065499
1 | 0.0084867 | 0.002127
2 | 0.019102 | 0.0047875
3 | 0.0010759 | 0.00026966
4 | 0.0057379 | 0.0014381
5 | 0.0069602 | 0.0017444
6 | 0.026361 | 0.0066066
7 | 0.006627 | 0.0016609
8 | 0.00089267 | 0.00022372
9 | 0.0049132 | 0.0012314
10 | 0.02645 | 0.0066291
11 | 0.0080066 | 0.0020067
12 | 0.012628 | 0.0031649
13 | 0.0064243 | 0.0016101
14 | 0.0027036 | 0.00067758
15 | 0.067542 | 0.016928
16 | 0.0063713 | 0.0015968
17 | 0.0039981 | 0.001002
18 | 0.047208 | 0.011831
19 | 0.011959 | 0.0029973
20 | 0.01747 | 0.0043784
21 | 0.0118 | 0.0029574
22 | 0.050748 | 0.012719
23 | 0.019614 | 0.0049157
24 | 0.011839 | 0.0029673
25 | 0.0026138 | 0.00065509
26 | 0.011629 | 0.0029144
27 | 0.0013336 | 0.00033422

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1