## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-281_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-281_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-281_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-281_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-281_0_3_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_2701-281_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2701-281_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_2701-281_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2701-281_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2701-281_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_2701-281_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-281_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2701-281_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_2701-281_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2701-281_0_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_2701-281_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2701-281_0_3_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_2701-281_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_2701-281_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2701-281_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2701-281_0_3_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2701-281_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_2701-281_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2701-281_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_2701-281_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2701-281_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2701-281_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2701-281_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_2701-281_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2701-281_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_2701-281_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2701-281_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_2701-281_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2701-281_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2701-281_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2701-281_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2701-281_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2701-281_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2701-281_0_3_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_2701-281_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_2701-281_0_3_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_2701-281_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_2701-281_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2701-281_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_2701-281_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2701-281_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2701-281_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2701-281_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2701-281_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_2701-281_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2701-281_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2701-281_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2701-281_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2701-281_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2701-281_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_MV_559_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-281_0_3_load_0 | 0 | 0.0041091 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-281_0_3_load_2 | 2 | 0.017839 | 0.0044709 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-281_0_3_load_34 | 4 | 0.027381 | 0.0068623 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-281_0_3_load_36 | 5 | 0.0057413 | 0.0014389 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-281_0_3_load_47 | 6 | 0.004497 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-281_0_3_load_20 | 7 | 0.010106 | 0.0025329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-281_0_3_load_37 | 8 | 0.012968 | 0.0032502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-281_0_3_load_49 | 12 | 0.0044948 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-281_0_3_load_56 | 14 | 0.0042466 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-281_0_3_load_55 | 16 | 0.0055346 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-281_0_3_load_28 | 17 | 0.0094332 | 0.0023642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-281_0_3_load_58 | 18 | 0.0030948 | 0.00077562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-281_0_3_load_45 | 21 | 0.0058625 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-281_0_3_load_44 | 23 | 0.0099793 | 0.002501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-281_0_3_load_33 | 25 | 0.012521 | 0.003138 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-281_0_3_load_57 | 27 | 0.0042335 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-281_0_3_load_54 | 28 | 0.0055224 | 0.001384 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-281_0_3_load_35 | 29 | 0.0096657 | 0.0024224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-281_0_3_load_48 | 30 | 0.0043863 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-281_0_3_load_52 | 32 | 0.0037758 | 0.00094631 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-281_0_3_load_26 | 33 | 0.022191 | 0.0055615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-281_0_3_load_41 | 34 | 0.026437 | 0.0066258 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-281_0_3_load_32 | 35 | 0.0060914 | 0.0015267 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-281_0_3_load_53 | 36 | 0.0037397 | 0.00093726 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-281_0_3_load_29 | 37 | 0.0061002 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-281_0_3_load_16 | 38 | 0.0067885 | 0.0017014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-281_0_3_load_17 | 39 | 0.0054381 | 0.0013629 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-281_0_3_load_18 | 40 | 0.0078098 | 0.0019573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-281_0_3_load_19 | 41 | 0.0078191 | 0.0019597 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-281_0_3_load_22 | 42 | 0.012621 | 0.0031631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-281_0_3_load_21 | 43 | 0.0057121 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-281_0_3_load_23 | 44 | 0.0060871 | 0.0015256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-281_0_3_load_24 | 45 | 0.0055963 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-281_0_3_load_31 | 46 | 0.013079 | 0.0032778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-281_0_3_load_30 | 47 | 0.0066492 | 0.0016664 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-281_0_3_load_25 | 48 | 0.0094039 | 0.0023568 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-281_0_3_load_27 | 49 | 0.0061792 | 0.0015487 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-281_0_3_load_46 | 50 | 0.0054741 | 0.0013719 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-281_0_3_load_39 | 51 | 0.0039063 | 0.00097902 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-281_0_3_load_42 | 52 | 0.0047815 | 0.0011984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-281_0_3_load_50 | 53 | 0.0037677 | 0.00094426 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-281_0_3_load_51 | 54 | 0.0037641 | 0.00094337 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-281_0_3_line_0 |  | 0 | 1 | 0.0088351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-281_0_3_line_1 |  | 1 | 2 | 0.042579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-281_0_3_line_2 |  | 1 | 3 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-281_0_3_line_3 |  | 3 | 4 | 0.020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-281_0_3_line_4 |  | 4 | 7 | 0.0048655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-281_0_3_line_5 |  | 5 | 6 | 0.0091352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-281_0_3_line_6 |  | 6 | 50 | 0.0087876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-281_0_3_line_7 |  | 7 | 40 | 0.012536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-281_0_3_line_8 |  | 8 | 9 | 0.047751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-281_0_3_line_9 |  | 9 | 31 | 0.004616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-281_0_3_line_10 |  | 10 | 11 | 0.007127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-281_0_3_line_11 |  | 10 | 12 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-281_0_3_line_12 |  | 11 | 17 | 0.0034152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-281_0_3_line_13 |  | 12 | 30 | 0.0081098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-281_0_3_line_14 |  | 13 | 14 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-281_0_3_line_15 |  | 13 | 15 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-281_0_3_line_16 |  | 13 | 16 | 0.011169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-281_0_3_line_17 |  | 14 | 27 | 0.0057437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-281_0_3_line_18 |  | 15 | 18 | 0.023766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-281_0_3_line_19 |  | 17 | 33 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-281_0_3_line_20 |  | 19 | 20 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-281_0_3_line_21 |  | 19 | 21 | 0.0035264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-281_0_3_line_22 |  | 20 | 34 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-281_0_3_line_23 |  | 20 | 26 | 0.005493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-281_0_3_line_24 |  | 21 | 23 | 0.0061736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-281_0_3_line_25 |  | 22 | 23 | 0.018952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-281_0_3_line_26 |  | 22 | 24 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-281_0_3_line_27 |  | 22 | 25 | 0.020039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-281_0_3_line_28 |  | 24 | 29 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-281_0_3_line_29 |  | 25 | 35 | 0.012379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-281_0_3_line_30 |  | 26 | 27 | 0.012082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-281_0_3_line_31 |  | 26 | 28 | 0.014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-281_0_3_line_32 |  | 28 | 36 | 0.010137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-281_0_3_line_33 |  | 29 | 37 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-281_0_3_line_34 |  | 30 | 50 | 0.0085503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-281_0_3_line_35 |  | 31 | 32 | 0.0255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-281_0_3_line_36 |  | 32 | 53 | 0.0069581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-281_0_3_line_37 |  | 33 | 48 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-281_0_3_line_38 |  | 34 | 52 | 0.018887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-281_0_3_line_39 |  | 35 | 47 | 0.0077892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-281_0_3_line_40 |  | 36 | 54 | 0.0070349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-281_0_3_line_41 |  | 37 | 49 | 0.0078761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-281_0_3_line_42 |  | 38 | 39 | 0.0082516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-281_0_3_line_43 |  | 38 | 40 | 0.0019428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-281_0_3_line_44 |  | 39 | 41 | 0.0035056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-281_0_3_line_45 |  | 41 | 42 | 0.0030326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-281_0_3_line_46 |  | 42 | 43 | 0.0070119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-281_0_3_line_47 |  | 43 | 44 | 0.0025932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-281_0_3_line_48 |  | 44 | 45 | 0.0050455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-281_0_3_line_49 |  | 45 | 46 | 0.0056241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-281_0_3_line_50 |  | 46 | 47 | 0.002482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2701-281_0_3_line_51 |  | 48 | 49 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-281_0_3_line_52 |  | 51 | 52 | 0.0068228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-281_0_3_line_53 |  | 53 | 54 | 0.0070526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-281_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 55 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611978.4649 | 1267781.5921 | 2611975.8849 | 1267790.0422
1 | 2611978.4649 | 1267781.5921 | 2611947.0273 | 1267752.8759
2 | 2611978.4649 | 1267781.5921 | 2611981.5724 | 1267770.7797
3 | 2611981.5724 | 1267770.7797 | 2611984.7711 | 1267759.5783 | 2611986.1282 | 1267754.6776 | 2611987.003 | 1267751.4914
4 | 2611987.003 | 1267751.4914 | 2611988.2911 | 1267746.7996
5 | 2611947.7119 | 1267738.8976 | 2611954.3626 | 1267745.1602
6 | 2611941.3143 | 1267732.8732 | 2611947.7119 | 1267738.8976
7 | 2611991.6106 | 1267734.7116 | 2611990.9276 | 1267737.1972 | 2611988.2911 | 1267746.7996
8 | 2612109.1361 | 1267688.4917 | 2612082.6316 | 1267728.2117
9 | 2612111.7028 | 1267684.6498 | 2612109.1361 | 1267688.4917
10 | 2611917.5402 | 1267710.4864 | 2611922.5629 | 1267705.4151
11 | 2611917.5402 | 1267710.4864 | 2611929.1853 | 1267721.452
12 | 2611922.5629 | 1267705.4151 | 2611923.3007 | 1267702.0806
13 | 2611935.0894 | 1267727.0116 | 2611929.1853 | 1267721.452
14 | 2612059.9233 | 1267617.275 | 2612060.7756 | 1267627.4839
15 | 2612045.0137 | 1267613.4977 | 2612057.2974 | 1267609.4753 | 2612059.0795 | 1267613.9932 | 2612059.9233 | 1267617.275
16 | 2612059.9233 | 1267617.275 | 2612069.4946 | 1267611.5194
17 | 2612060.7756 | 1267627.4839 | 2612060.7756 | 1267627.4839 | 2612059.7087 | 1267633.1277
18 | 2612045.0137 | 1267613.4977 | 2612042.2873 | 1267614.4039 | 2612036.4218 | 1267619.3177 | 2612030.4052 | 1267624.5314 | 2612025.856 | 1267627.2114
19 | 2611943.4806 | 1267685.4265 | 2611924.1047 | 1267698.4467 | 2611923.3007 | 1267702.0806
20 | 2612050.8966 | 1267648.2117 | 2612048.1807 | 1267647.6725 | 2612045.7266 | 1267647.9233 | 2612039.6289 | 1267652.2917
21 | 2612039.6289 | 1267652.2917 | 2612036.277 | 1267653.3875
22 | 2612050.8966 | 1267648.2117 | 2612056.8321 | 1267653.2829 | 2612066.0997 | 1267659.5215
23 | 2612054.0442 | 1267643.7038 | 2612050.8966 | 1267648.2117
24 | 2612030.3809 | 1267655.161 | 2612030.9754 | 1267655.1206 | 2612036.277 | 1267653.3875
25 | 2612012.726 | 1267657.8634 | 2612014.9151 | 1267658.3793 | 2612019.4974 | 1267659.0112 | 2612023.8244 | 1267655.6065 | 2612030.3809 | 1267655.161
26 | 2612012.726 | 1267657.8634 | 2612011.9888 | 1267657.6729 | 2612007.1825 | 1267656.1955 | 2612000.4745 | 1267653.4467 | 2611998.8089 | 1267650.8637
27 | 2612012.726 | 1267657.8634 | 2612007.4168 | 1267677.186
28 | 2611998.8089 | 1267650.8637 | 2611985.0449 | 1267657.4961 | 2611982.7082 | 1267659.0664
29 | 2612007.4168 | 1267677.186 | 2612004.137 | 1267689.1225
30 | 2612054.0442 | 1267643.7038 | 2612056.7235 | 1267640.04 | 2612059.6116 | 1267633.6414 | 2612059.7087 | 1267633.1277
31 | 2612054.0442 | 1267643.7038 | 2612065.4883 | 1267651.8308
32 | 2612065.4883 | 1267651.8308 | 2612073.7532 | 1267657.7001
33 | 2611973.3682 | 1267665.3426 | 2611982.7082 | 1267659.0664
34 | 2611941.3143 | 1267732.8732 | 2611935.0894 | 1267727.0116
35 | 2612111.7028 | 1267684.6498 | 2612090.9123 | 1267669.8855
36 | 2612085.2391 | 1267665.8567 | 2612090.9123 | 1267669.8855
37 | 2611943.4806 | 1267685.4265 | 2611958.5254 | 1267675.3167
38 | 2612066.0997 | 1267659.5215 | 2612081.7676 | 1267670.0685
39 | 2612004.137 | 1267689.1225 | 2612002.0733 | 1267696.6334
40 | 2612079.489 | 1267661.7733 | 2612073.7532 | 1267657.7001
41 | 2611973.3682 | 1267665.3426 | 2611966.831 | 1267669.7355
42 | 2611992.1253 | 1267732.8382 | 2611994.3116 | 1267724.8814
43 | 2611992.1253 | 1267732.8382 | 2611991.6106 | 1267734.7116
44 | 2611994.3116 | 1267724.8814 | 2611995.2404 | 1267721.5011
45 | 2611996.0439 | 1267718.5768 | 2611995.2404 | 1267721.5011
46 | 2611997.9017 | 1267711.8155 | 2611996.0439 | 1267718.5768
47 | 2611998.5887 | 1267709.315 | 2611997.9017 | 1267711.8155
48 | 2611998.5887 | 1267709.315 | 2611999.9255 | 1267704.4498
49 | 2612001.4157 | 1267699.0266 | 2611999.9255 | 1267704.4498
50 | 2612001.4157 | 1267699.0266 | 2612002.0733 | 1267696.6334
51 | 2611966.831 | 1267669.7355 | 2611958.5254 | 1267675.3167
52 | 2612081.7676 | 1267670.0685 | 2612087.4275 | 1267673.8784
53 | 2612085.2391 | 1267665.8567 | 2612079.489 | 1267661.7733

## bus_geodata
| x | y | coords
0 | 2611975.8849 | 1267790.0422
1 | 2611978.4649 | 1267781.5921
2 | 2611947.0273 | 1267752.8759
3 | 2611981.5724 | 1267770.7797
4 | 2611987.003 | 1267751.4914
5 | 2611954.3626 | 1267745.1602
6 | 2611947.7119 | 1267738.8976
7 | 2611988.2911 | 1267746.7996
8 | 2612082.6316 | 1267728.2117
9 | 2612109.1361 | 1267688.4917
10 | 2611917.5402 | 1267710.4864
11 | 2611922.5629 | 1267705.4151
12 | 2611929.1853 | 1267721.452
13 | 2612059.9233 | 1267617.275
14 | 2612060.7756 | 1267627.4839
15 | 2612045.0137 | 1267613.4977
16 | 2612069.4946 | 1267611.5194
17 | 2611923.3007 | 1267702.0806
18 | 2612025.856 | 1267627.2114
19 | 2612039.6289 | 1267652.2917
20 | 2612050.8966 | 1267648.2117
21 | 2612036.277 | 1267653.3875
22 | 2612012.726 | 1267657.8634
23 | 2612030.3809 | 1267655.161
24 | 2611998.8089 | 1267650.8637
25 | 2612007.4168 | 1267677.186
26 | 2612054.0442 | 1267643.7038
27 | 2612059.7087 | 1267633.1277
28 | 2612065.4883 | 1267651.8308
29 | 2611982.7082 | 1267659.0664
30 | 2611935.0894 | 1267727.0116
31 | 2612111.7028 | 1267684.6498
32 | 2612090.9123 | 1267669.8855
33 | 2611943.4806 | 1267685.4265
34 | 2612066.0997 | 1267659.5215
35 | 2612004.137 | 1267689.1225
36 | 2612073.7532 | 1267657.7001
37 | 2611973.3682 | 1267665.3426
38 | 2611992.1253 | 1267732.8382
39 | 2611994.3116 | 1267724.8814
40 | 2611991.6106 | 1267734.7116
41 | 2611995.2404 | 1267721.5011
42 | 2611996.0439 | 1267718.5768
43 | 2611997.9017 | 1267711.8155
44 | 2611998.5887 | 1267709.315
45 | 2611999.9255 | 1267704.4498
46 | 2612001.4157 | 1267699.0266
47 | 2612002.0733 | 1267696.6334
48 | 2611958.5254 | 1267675.3167
49 | 2611966.831 | 1267669.7355
50 | 2611941.3143 | 1267732.8732
51 | 2612087.4275 | 1267673.8784
52 | 2612081.7676 | 1267670.0685
53 | 2612085.2391 | 1267665.8567
54 | 2612079.489 | 1267661.7733
55 | 2612012.726 | 1267657.8634

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99527 | -0.090906 | 0.0041091 | 0.0010298
1 | 0.99531 | -0.090268 | 0 | 0
2 | 0.99461 | -0.10364 | 0.017839 | 0.0044709
3 | 0.99553 | -0.085925 | 0 | 0
4 | 0.99593 | -0.078192 | 0.027381 | 0.0068623
5 | 0.9887 | -0.21759 | 0.0057413 | 0.0014389
6 | 0.98875 | -0.21666 | 0.004497 | 0.001127
7 | 0.99615 | -0.073976 | 0.010106 | 0.0025329
8 | 0.99032 | -0.18619 | 0.012968 | 0.0032502
9 | 0.99089 | -0.17519 | 0 | 0
10 | 0.98946 | -0.20275 | 0 | 0
11 | 0.98962 | -0.19963 | 0 | 0
12 | 0.9891 | -0.20976 | 0.0044948 | 0.0011265
13 | 0.992 | -0.15376 | 0 | 0
14 | 0.99208 | -0.1522 | 0.0042466 | 0.0010643
15 | 0.99194 | -0.15492 | 0 | 0
16 | 0.99194 | -0.15486 | 0.0055346 | 0.0013871
17 | 0.9897 | -0.19814 | 0.0094332 | 0.0023642
18 | 0.99187 | -0.15623 | 0.0030948 | 0.00077562
19 | 0.99359 | -0.12304 | 0 | 0
20 | 0.99259 | -0.1423 | 0 | 0
21 | 0.99386 | -0.1177 | 0.0058625 | 0.0014693
22 | 0.99614 | -0.073831 | 0 | 0
23 | 0.99438 | -0.10772 | 0.0099793 | 0.002501
24 | 0.99485 | -0.098589 | 0 | 0
25 | 0.99787 | -0.040592 | 0.012521 | 0.003138
26 | 0.99233 | -0.14723 | 0 | 0
27 | 0.99215 | -0.15089 | 0.0042335 | 0.001061
28 | 0.9919 | -0.15556 | 0.0055224 | 0.001384
29 | 0.9934 | -0.12653 | 0.0096657 | 0.0024224
30 | 0.98895 | -0.21266 | 0.0043863 | 0.0010993
31 | 0.99095 | -0.17412 | 0 | 0
32 | 0.99125 | -0.16825 | 0.0037758 | 0.00094631
33 | 0.99055 | -0.18176 | 0.022191 | 0.0055615
34 | 0.99198 | -0.1541 | 0.026437 | 0.0066258
35 | 0.99902 | -0.018764 | 0.0060914 | 0.0015267
36 | 0.99164 | -0.16059 | 0.0037397 | 0.00093726
37 | 0.9926 | -0.14203 | 0.0061002 | 0.0015289
38 | 0.99695 | -0.058606 | 0.0067885 | 0.0017014
39 | 0.99751 | -0.047899 | 0.0054381 | 0.0013629
40 | 0.99683 | -0.060898 | 0.0078098 | 0.0019573
41 | 0.99776 | -0.04302 | 0.0078191 | 0.0019597
42 | 0.998 | -0.038386 | 0.012621 | 0.0031631
43 | 0.99864 | -0.026134 | 0.0057121 | 0.0014316
44 | 0.99889 | -0.021348 | 0.0060871 | 0.0015256
45 | 0.9994 | -0.011506 | 0.0055963 | 0.0014026
46 | 1 | 0 | -0.33529 | -0.084346
47 | 0.99976 | -0.0046398 | 0.0066492 | 0.0016664
48 | 0.99148 | -0.16368 | 0.0094039 | 0.0023568
49 | 0.99208 | -0.15204 | 0.0061792 | 0.0015487
50 | 0.98883 | -0.21506 | 0.0054741 | 0.0013719
51 | 0.99181 | -0.15748 | 0.0039063 | 0.00097902
52 | 0.99183 | -0.15701 | 0.0047815 | 0.0011984
53 | 0.99136 | -0.16619 | 0.0037677 | 0.00094426
54 | 0.99149 | -0.16362 | 0.0037641 | 0.00094337
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0041091 | -0.0010298 | 0.0041092 | 0.0010298 | 1.2504e-07 | -3.4795e-08 | 0.0061434 | 0.0061433 | 0.0061434 | 0.99527 | -0.090906 | 0.99531 | -0.090268 | 1.6877
1 | 0.017851 | 0.0044777 | -0.017839 | -0.0044709 | 1.1373e-05 | 6.7258e-06 | 0.026689 | 0.026689 | 0.026689 | 0.99531 | -0.090268 | 0.99461 | -0.10364 | 7.3321
2 | -0.02196 | -0.0055075 | 0.021964 | 0.0055102 | 4.5468e-06 | 2.7637e-06 | 0.032832 | 0.032832 | 0.032832 | 0.99531 | -0.090268 | 0.99553 | -0.085925 | 9.0198
3 | -0.021964 | -0.0055102 | 0.021972 | 0.0055152 | 8.1e-06 | 4.9234e-06 | 0.032832 | 0.032832 | 0.032832 | 0.99553 | -0.085925 | 0.99593 | -0.078192 | 9.0198
4 | -0.049353 | -0.012377 | 0.049363 | 0.012384 | 9.9215e-06 | 6.2864e-06 | 0.073741 | 0.073741 | 0.073741 | 0.99593 | -0.078192 | 0.99615 | -0.073976 | 20.2586
5 | -0.0057413 | -0.0014389 | 0.0057416 | 0.001439 | 2.5578e-07 | 4.6537e-08 | 0.0086409 | 0.0086408 | 0.0086409 | 0.9887 | -0.21759 | 0.98875 | -0.21666 | 2.3739
6 | -0.010239 | -0.002566 | 0.010239 | 0.0025664 | 7.8239e-07 | 3.8801e-07 | 0.015409 | 0.015408 | 0.015409 | 0.98875 | -0.21666 | 0.98883 | -0.21506 | 4.2331
7 | -0.05947 | -0.014917 | 0.059507 | 0.01494 | 3.71e-05 | 2.358e-05 | 0.088838 | 0.088838 | 0.088838 | 0.99615 | -0.073976 | 0.99683 | -0.060898 | 24.406
8 | -0.012968 | -0.0032502 | 0.012975 | 0.0032539 | 6.7989e-06 | 3.7365e-06 | 0.019486 | 0.019485 | 0.019486 | 0.99032 | -0.18619 | 0.99089 | -0.17519 | 5.3532
9 | -0.012975 | -0.0032539 | 0.012976 | 0.0032543 | 6.5722e-07 | 3.6116e-07 | 0.019485 | 0.019485 | 0.019485 | 0.99089 | -0.17519 | 0.99095 | -0.17412 | 5.3531
10 | -0.024607 | -0.0061719 | 0.024611 | 0.0061742 | 3.6603e-06 | 2.2511e-06 | 0.037008 | 0.037008 | 0.037008 | 0.98946 | -0.20275 | 0.98962 | -0.19963 | 10.1669
11 | 0.024607 | 0.0061719 | -0.024599 | -0.0061669 | 8.215e-06 | 5.0522e-06 | 0.037008 | 0.037008 | 0.037008 | 0.98946 | -0.20275 | 0.9891 | -0.20976 | 10.167
12 | -0.024611 | -0.0061742 | 0.024613 | 0.0061752 | 1.754e-06 | 1.0787e-06 | 0.037008 | 0.037008 | 0.037008 | 0.98962 | -0.19963 | 0.9897 | -0.19814 | 10.1669
13 | 0.020104 | 0.0050404 | -0.020102 | -0.0050387 | 2.7821e-06 | 1.6765e-06 | 0.030246 | 0.030246 | 0.030246 | 0.9891 | -0.20976 | 0.98895 | -0.21266 | 8.3093
14 | -0.0086301 | -0.0021624 | 0.0086307 | 0.0021627 | 6.4376e-07 | 2.7974e-07 | 0.012945 | 0.012945 | 0.012945 | 0.992 | -0.15376 | 0.99208 | -0.1522 | 3.5563
15 | 0.0030951 | 0.00077528 | -0.003095 | -0.00077544 | 1.7112e-07 | -1.6378e-07 | 0.0046426 | 0.0046427 | 0.0046427 | 0.992 | -0.15376 | 0.99194 | -0.15492 | 1.2755
16 | 0.0055349 | 0.0013872 | -0.0055346 | -0.0013871 | 2.887e-07 | 4.0589e-08 | 0.0083025 | 0.0083025 | 0.0083025 | 0.992 | -0.15376 | 0.99194 | -0.15486 | 2.2809
17 | -0.012877 | -0.003227 | 0.012878 | 0.0032274 | 8.0351e-07 | 4.4008e-07 | 0.019314 | 0.019314 | 0.019314 | 0.99208 | -0.1522 | 0.99215 | -0.15089 | 5.3062
18 | 0.003095 | 0.00077544 | -0.0030948 | -0.00077562 | 1.9211e-07 | -1.8382e-07 | 0.0046427 | 0.0046428 | 0.0046428 | 0.99194 | -0.15492 | 0.99187 | -0.15623 | 1.2755
19 | -0.034046 | -0.0085394 | 0.034072 | 0.0085561 | 2.6597e-05 | 1.6674e-05 | 0.05119 | 0.05119 | 0.05119 | 0.9897 | -0.19814 | 0.99055 | -0.18176 | 14.0633
20 | 0.085928 | 0.021593 | -0.085849 | -0.021542 | 7.8938e-05 | 5.0356e-05 | 0.12871 | 0.12871 | 0.12871 | 0.99359 | -0.12304 | 0.99259 | -0.1423 | 35.3594
21 | -0.085928 | -0.021593 | 0.08595 | 0.021607 | 2.1907e-05 | 1.3975e-05 | 0.12871 | 0.12871 | 0.12871 | 0.99359 | -0.12304 | 0.99386 | -0.1177 | 35.3594
22 | 0.035146 | 0.0088161 | -0.035126 | -0.0088037 | 1.9759e-05 | 1.2401e-05 | 0.052691 | 0.052691 | 0.052691 | 0.99259 | -0.1423 | 0.99198 | -0.1541 | 14.4756
23 | 0.050703 | 0.012726 | -0.050691 | -0.012719 | 1.1903e-05 | 7.5471e-06 | 0.076017 | 0.076017 | 0.076017 | 0.99259 | -0.1423 | 0.99233 | -0.14723 | 20.8839
24 | -0.091813 | -0.023076 | 0.091856 | 0.023104 | 4.3761e-05 | 2.7927e-05 | 0.13749 | 0.13749 | 0.13749 | 0.99386 | -0.1177 | 0.99438 | -0.10772 | 37.7708
25 | 0.102 | 0.02571 | -0.10184 | -0.025605 | 0.00016511 | 0.00010542 | 0.15242 | 0.15242 | 0.15242 | 0.99614 | -0.073831 | 0.99438 | -0.10772 | 41.8733
26 | 0.088011 | 0.022229 | -0.087907 | -0.022162 | 0.00010429 | 6.6535e-05 | 0.13153 | 0.13153 | 0.13153 | 0.99614 | -0.073831 | 0.99485 | -0.098589 | 36.1346
27 | -0.19001 | -0.047939 | 0.19031 | 0.048133 | 0.00030294 | 0.00019336 | 0.28395 | 0.28395 | 0.28395 | 0.99614 | -0.073831 | 0.99787 | -0.040592 | 39.004
28 | 0.087907 | 0.022162 | -0.08779 | -0.022087 | 0.00011739 | 7.4892e-05 | 0.13153 | 0.13153 | 0.13153 | 0.99485 | -0.098589 | 0.9934 | -0.12653 | 36.1346
29 | -0.20284 | -0.051271 | 0.20305 | 0.051406 | 0.00021256 | 0.00013571 | 0.30262 | 0.30262 | 0.30262 | 0.99787 | -0.040592 | 0.99902 | -0.018764 | 41.5686
30 | 0.017115 | 0.0042902 | -0.017112 | -0.0042885 | 2.9841e-06 | 1.7538e-06 | 0.025664 | 0.025664 | 0.025664 | 0.99233 | -0.14723 | 0.99215 | -0.15089 | 7.0505
31 | 0.033577 | 0.0084287 | -0.033563 | -0.0084203 | 1.3346e-05 | 8.3599e-06 | 0.050354 | 0.050354 | 0.050354 | 0.99233 | -0.14723 | 0.9919 | -0.15556 | 13.8334
32 | 0.028041 | 0.0070363 | -0.028034 | -0.0070321 | 6.7277e-06 | 4.1749e-06 | 0.042069 | 0.042069 | 0.042069 | 0.9919 | -0.15556 | 0.99164 | -0.16059 | 11.5575
33 | 0.078124 | 0.019665 | -0.078066 | -0.019628 | 5.7817e-05 | 3.6857e-05 | 0.11705 | 0.11705 | 0.11705 | 0.9934 | -0.12653 | 0.9926 | -0.14203 | 32.1571
34 | 0.015715 | 0.0039394 | -0.015713 | -0.0039383 | 1.7928e-06 | 1.0377e-06 | 0.023646 | 0.023646 | 0.023646 | 0.98895 | -0.21266 | 0.98883 | -0.21506 | 6.4962
35 | -0.012976 | -0.0032543 | 0.012979 | 0.0032563 | 3.6306e-06 | 1.995e-06 | 0.019485 | 0.019485 | 0.019485 | 0.99095 | -0.17412 | 0.99125 | -0.16825 | 5.3531
36 | -0.016755 | -0.0042026 | 0.016757 | 0.0042035 | 1.6509e-06 | 9.6685e-07 | 0.025153 | 0.025153 | 0.025153 | 0.99125 | -0.16825 | 0.99136 | -0.16619 | 6.9102
37 | -0.056263 | -0.014118 | 0.056312 | 0.014148 | 4.8563e-05 | 3.0847e-05 | 0.084526 | 0.084526 | 0.084526 | 0.99055 | -0.18176 | 0.99148 | -0.16368 | 23.2213
38 | 0.0086891 | 0.0021779 | -0.0086879 | -0.0021773 | 1.2033e-06 | 5.2631e-07 | 0.013034 | 0.013034 | 0.013034 | 0.99198 | -0.1541 | 0.99183 | -0.15701 | 3.5808
39 | -0.20914 | -0.052933 | 0.20928 | 0.053024 | 0.00014189 | 9.0605e-05 | 0.31169 | 0.31169 | 0.31169 | 0.99902 | -0.018764 | 0.99976 | -0.0046398 | 42.8149
40 | 0.024295 | 0.0060948 | -0.024291 | -0.0060927 | 3.5064e-06 | 2.1534e-06 | 0.036458 | 0.036458 | 0.036458 | 0.99164 | -0.16059 | 0.99149 | -0.16362 | 10.0158
41 | 0.071966 | 0.018099 | -0.071931 | -0.018077 | 3.4391e-05 | 2.1908e-05 | 0.10791 | 0.10791 | 0.10791 | 0.9926 | -0.14203 | 0.99208 | -0.15204 | 29.6448
42 | -0.074112 | -0.018604 | 0.07415 | 0.018628 | 3.7871e-05 | 2.4129e-05 | 0.11063 | 0.11063 | 0.11063 | 0.99695 | -0.058606 | 0.99751 | -0.047899 | 30.3923
43 | 0.067324 | 0.016902 | -0.067316 | -0.016897 | 7.358e-06 | 4.6838e-06 | 0.1005 | 0.1005 | 0.1005 | 0.99695 | -0.058606 | 0.99683 | -0.060898 | 27.6087
44 | -0.079588 | -0.019991 | 0.079607 | 0.020002 | 1.8535e-05 | 1.1817e-05 | 0.11874 | 0.11874 | 0.11874 | 0.99751 | -0.047899 | 0.99776 | -0.04302 | 32.621
45 | -0.087426 | -0.021962 | 0.087445 | 0.021974 | 1.9338e-05 | 1.2337e-05 | 0.1304 | 0.1304 | 0.1304 | 0.99776 | -0.04302 | 0.998 | -0.038386 | 35.8246
46 | -0.10007 | -0.025137 | 0.10012 | 0.025175 | 5.8549e-05 | 3.7379e-05 | 0.14922 | 0.14922 | 0.14922 | 0.998 | -0.038386 | 0.99864 | -0.026134 | 40.9942
47 | -0.10584 | -0.026606 | 0.10586 | 0.026622 | 2.4193e-05 | 1.545e-05 | 0.15773 | 0.15773 | 0.15773 | 0.99864 | -0.026134 | 0.99889 | -0.021348 | 43.3325
48 | -0.11195 | -0.028147 | 0.112 | 0.028181 | 5.264e-05 | 3.3624e-05 | 0.1668 | 0.1668 | 0.1668 | 0.99889 | -0.021348 | 0.9994 | -0.011506 | 45.8236
49 | -0.1176 | -0.029584 | 0.11766 | 0.029625 | 6.4686e-05 | 4.1325e-05 | 0.17513 | 0.17513 | 0.17513 | 0.9994 | -0.011506 | 1 | 0 | 48.1127
50 | 0.21598 | 0.054721 | -0.21593 | -0.05469 | 4.8128e-05 | 3.0737e-05 | 0.32159 | 0.32159 | 0.32159 | 1 | 0 | 0.99976 | -0.0046398 | 44.1743
51 | -0.065716 | -0.016505 | 0.065752 | 0.016529 | 3.651e-05 | 2.3237e-05 | 0.098639 | 0.098639 | 0.098639 | 0.99148 | -0.16368 | 0.99208 | -0.15204 | 27.0986
52 | -0.0039063 | -0.00097902 | 0.0039064 | 0.00097898 | 8.7879e-08 | -3.1808e-08 | 0.0058607 | 0.0058607 | 0.0058607 | 0.99181 | -0.15748 | 0.99183 | -0.15701 | 1.6101
53 | -0.020525 | -0.0051478 | 0.020527 | 0.0051493 | 2.5103e-06 | 1.5156e-06 | 0.030808 | 0.030808 | 0.030808 | 0.99136 | -0.16619 | 0.99149 | -0.16362 | 8.4639

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34837 | 0.087624

## res_load
| p_mw | q_mvar
0 | 0.0041091 | 0.0010298
1 | 0.017839 | 0.0044709
2 | 0.027381 | 0.0068623
3 | 0.0057413 | 0.0014389
4 | 0.004497 | 0.001127
5 | 0.010106 | 0.0025329
6 | 0.012968 | 0.0032502
7 | 0.0044948 | 0.0011265
8 | 0.0042466 | 0.0010643
9 | 0.0055346 | 0.0013871
10 | 0.0094332 | 0.0023642
11 | 0.0030948 | 0.00077562
12 | 0.0058625 | 0.0014693
13 | 0.0099793 | 0.002501
14 | 0.012521 | 0.003138
15 | 0.0042335 | 0.001061
16 | 0.0055224 | 0.001384
17 | 0.0096657 | 0.0024224
18 | 0.0043863 | 0.0010993
19 | 0.0037758 | 0.00094631
20 | 0.022191 | 0.0055615
21 | 0.026437 | 0.0066258
22 | 0.0060914 | 0.0015267
23 | 0.0037397 | 0.00093726
24 | 0.0061002 | 0.0015289
25 | 0.0067885 | 0.0017014
26 | 0.0054381 | 0.0013629
27 | 0.0078098 | 0.0019573
28 | 0.0078191 | 0.0019597
29 | 0.012621 | 0.0031631
30 | 0.0057121 | 0.0014316
31 | 0.0060871 | 0.0015256
32 | 0.0055963 | 0.0014026
33 | 0.013079 | 0.0032778
34 | 0.0066492 | 0.0016664
35 | 0.0094039 | 0.0023568
36 | 0.0061792 | 0.0015487
37 | 0.0054741 | 0.0013719
38 | 0.0039063 | 0.00097902
39 | 0.0047815 | 0.0011984
40 | 0.0037677 | 0.00094426
41 | 0.0037641 | 0.00094337

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1