## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-284_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-284_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-284_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-284_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-284_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-284_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2701-284_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_2701-284_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_2701-284_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2701-284_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2701-284_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2701-284_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2701-284_0_4_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_2701-284_0_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_2701-284_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_2701-284_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2701-284_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2701-284_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2701-284_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2701-284_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2701-284_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2701-284_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2701-284_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2701-284_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2701-284_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2701-284_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2701-284_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2701-284_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2701-284_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2701-284_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_2701-284_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2701-284_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2701-284_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2701-284_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2701-284_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2701-284_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2701-284_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2701-284_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-284_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2701-284_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2701-284_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2701-284_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2701-284_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_MV_560_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-284_0_4_load_0 | 0 | 0.012905 | 0.0032342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-284_0_4_load_1 | 1 | 0.042956 | 0.010766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-284_0_4_load_2 | 2 | 0.0095049 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-284_0_4_load_9 | 5 | 0.0091948 | 0.0023044 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-284_0_4_load_23 | 6 | 0.0096375 | 0.0024154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-284_0_4_load_24 | 7 | 0.024539 | 0.0061501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-284_0_4_load_6 | 8 | 0.018468 | 0.0046285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-284_0_4_load_33 | 11 | 0.011698 | 0.0029317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-284_0_4_load_31 | 12 | 0.0059175 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-284_0_4_load_45 | 13 | 0.04957 | 0.012423 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-284_0_4_load_5 | 14 | 0.015027 | 0.003766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-284_0_4_load_7 | 15 | 0.024392 | 0.0061133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-284_0_4_load_22 | 16 | 0.0089271 | 0.0022373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-284_0_4_load_19 | 17 | 0.011649 | 0.0029196 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-284_0_4_load_11 | 18 | 0.033186 | 0.0083171 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-284_0_4_load_18 | 21 | 0.0085377 | 0.0021397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-284_0_4_load_25 | 23 | 0.067123 | 0.016822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-284_0_4_load_41 | 24 | 0.0031757 | 0.00079591 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-284_0_4_load_46 | 25 | 0.0052601 | 0.0013183 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-284_0_4_load_32 | 26 | 0.031617 | 0.007924 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-284_0_4_load_26 | 27 | 0.0040604 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-284_0_4_load_39 | 28 | 0.0076141 | 0.0019083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-284_0_4_load_47 | 29 | 0.0040256 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-284_0_4_load_38 | 31 | 0.0030945 | 0.00077556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-284_0_4_load_34 | 32 | 0.0058794 | 0.0014735 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-284_0_4_load_43 | 33 | 0.022287 | 0.0055856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-284_0_4_load_20 | 35 | 0.0098289 | 0.0024634 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-284_0_4_load_30 | 36 | 0.0053711 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-284_0_4_load_27 | 37 | 0.0040375 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-284_0_4_load_29 | 38 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-284_0_4_load_28 | 39 | 0.011141 | 0.0027923 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-284_0_4_load_35 | 40 | 0.0046153 | 0.0011567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-284_0_4_load_37 | 41 | 0.0055734 | 0.0013968 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-284_0_4_load_40 | 42 | 0.017048 | 0.0042727 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-284_0_4_line_0 |  | 0 | 1 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-284_0_4_line_1 |  | 0 | 2 | 0.0048821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-284_0_4_line_2 |  | 1 | 3 | 0.026473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-284_0_4_line_3 |  | 2 | 4 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-284_0_4_line_4 |  | 3 | 5 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-284_0_4_line_5 |  | 4 | 6 | 0.027173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-284_0_4_line_6 |  | 4 | 7 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-284_0_4_line_7 |  | 4 | 8 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-284_0_4_line_8 |  | 6 | 12 | 0.00036744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-284_0_4_line_9 |  | 7 | 13 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-284_0_4_line_10 |  | 8 | 14 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-284_0_4_line_11 |  | 9 | 10 | 0.004147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-284_0_4_line_12 |  | 9 | 11 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-284_0_4_line_13 |  | 10 | 16 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-284_0_4_line_14 |  | 10 | 17 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-284_0_4_line_15 |  | 12 | 36 | 0.0063477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2701-284_0_4_line_16 |  | 14 | 15 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-284_0_4_line_17 |  | 16 | 26 | 0.0017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-284_0_4_line_18 |  | 17 | 35 | 0.0004835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-284_0_4_line_19 |  | 18 | 19 | 0.019339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-284_0_4_line_20 |  | 19 | 20 | 0.008061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-284_0_4_line_21 |  | 19 | 21 | 0.023648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-284_0_4_line_22 |  | 20 | 22 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-284_0_4_line_23 |  | 20 | 23 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2701-284_0_4_line_24 |  | 21 | 26 | 0.0035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-284_0_4_line_25 |  | 22 | 24 | 0.0093326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-284_0_4_line_26 |  | 22 | 25 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-284_0_4_line_27 |  | 23 | 27 | 0.0018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-284_0_4_line_28 |  | 24 | 28 | 0.0090081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-284_0_4_line_29 |  | 25 | 29 | 0.00014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-284_0_4_line_30 |  | 27 | 37 | 0.0046394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-284_0_4_line_31 |  | 28 | 42 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-284_0_4_line_32 |  | 30 | 31 | 0.031927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-284_0_4_line_33 |  | 30 | 32 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-284_0_4_line_34 |  | 32 | 40 | 0.0054506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-284_0_4_line_35 |  | 33 | 34 | 0.016042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-284_0_4_line_36 |  | 34 | 42 | 0.0035731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-284_0_4_line_37 |  | 34 | 41 | 0.0083578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-284_0_4_line_38 |  | 36 | 39 | 0.0029763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2701-284_0_4_line_39 |  | 37 | 38 | 0.0048334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-284_0_4_line_40 |  | 38 | 39 | 0.0019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2701-284_0_4_line_41 |  | 40 | 41 | 0.0046854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-284_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 43 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611539.0303 | 1267857.6539 | 2611531.4131 | 1267871.0021
1 | 2611539.0303 | 1267857.6539 | 2611541.4501 | 1267853.4137
2 | 2611518.2923 | 1267893.9944 | 2611531.4131 | 1267871.0021
3 | 2611548.7864 | 1267840.5272 | 2611547.7518 | 1267842.3709 | 2611541.4501 | 1267853.4137
4 | 2611518.2923 | 1267893.9944 | 2611505.3451 | 1267886.5408
5 | 2611548.7864 | 1267840.5272 | 2611541.5306 | 1267836.9772 | 2611524.613 | 1267828.1222
6 | 2611548.7864 | 1267840.5272 | 2611549.5571 | 1267838.9609 | 2611559.5579 | 1267823.172
7 | 2611548.7864 | 1267840.5272 | 2611568.4553 | 1267850.804
8 | 2611524.2874 | 1267827.9518 | 2611524.613 | 1267828.1222
9 | 2611559.5579 | 1267823.172 | 2611571.1811 | 1267804.8215
10 | 2611579.287 | 1267856.2655 | 2611576.0633 | 1267854.7791 | 2611568.4553 | 1267850.804
11 | 2611452.4224 | 1267856.0738 | 2611452.8593 | 1267851.9495
12 | 2611452.4224 | 1267856.0738 | 2611462.7606 | 1267862.0254
13 | 2611452.8593 | 1267851.9495 | 2611461.0378 | 1267836.4234
14 | 2611452.8593 | 1267851.9495 | 2611448.1835 | 1267849.1608 | 2611444.9961 | 1267847.2644 | 2611438.828 | 1267843.5835
15 | 2611524.2874 | 1267827.9518 | 2611518.6635 | 1267825.0081
16 | 2611579.287 | 1267856.2655 | 2611594.4069 | 1267863.2371
17 | 2611461.8793 | 1267834.918 | 2611461.1911 | 1267836.1323 | 2611461.0378 | 1267836.4234
18 | 2611438.828 | 1267843.5835 | 2611438.4128 | 1267843.3357
19 | 2611476.5232 | 1267812.0672 | 2611469.2377 | 1267808.2727 | 2611460.2655 | 1267801.6958
20 | 2611481.4877 | 1267805.7057 | 2611480.3258 | 1267807.1711 | 2611476.5232 | 1267812.0672
21 | 2611476.5232 | 1267812.0672 | 2611474.9386 | 1267814.1767 | 2611472.8107 | 1267817.0191 | 2611465.8808 | 1267827.8577 | 2611463.6155 | 1267831.8547
22 | 2611481.4877 | 1267805.7057 | 2611482.5816 | 1267804.3068 | 2611488.0662 | 1267797.5682
23 | 2611481.4877 | 1267805.7057 | 2611491.7658 | 1267810.9292 | 2611504.3489 | 1267817.5155
24 | 2611463.6155 | 1267831.8547 | 2611461.8793 | 1267834.918
25 | 2611488.0662 | 1267797.5682 | 2611489.5373 | 1267795.7698 | 2611493.9713 | 1267790.3413
26 | 2611488.0662 | 1267797.5682 | 2611490.7641 | 1267799.6304 | 2611490.9301 | 1267803.2889 | 2611494.6473 | 1267806.9605
27 | 2611505.9455 | 1267818.3512 | 2611504.3489 | 1267817.5155
28 | 2611499.6698 | 1267783.3648 | 2611493.9713 | 1267790.3413
29 | 2611494.7536 | 1267807.0656 | 2611494.6473 | 1267806.9605
30 | 2611510.0559 | 1267820.5027 | 2611505.9455 | 1267818.3512
31 | 2611499.6698 | 1267783.3648 | 2611507.661 | 1267773.5812
32 | 2611534.1752 | 1267737.5043 | 2611558.8241 | 1267752.6851 | 2611561.4448 | 1267754.101
33 | 2611534.1752 | 1267737.5043 | 2611520.8072 | 1267755.8635
34 | 2611520.8072 | 1267755.8635 | 2611517.5989 | 1267760.2698
35 | 2611509.9213 | 1267770.814 | 2611505.1795 | 1267767.1022 | 2611497.163 | 1267761.0909
36 | 2611509.9213 | 1267770.814 | 2611507.661 | 1267773.5812
37 | 2611509.9213 | 1267770.814 | 2611514.8409 | 1267764.0575
38 | 2611518.6635 | 1267825.0081 | 2611516.0266 | 1267823.6279
39 | 2611510.0559 | 1267820.5027 | 2611514.3382 | 1267822.7441
40 | 2611514.3382 | 1267822.7441 | 2611516.0266 | 1267823.6279
41 | 2611517.5989 | 1267760.2698 | 2611514.8409 | 1267764.0575

## bus_geodata
| x | y | coords
0 | 2611539.0303 | 1267857.6539
1 | 2611531.4131 | 1267871.0021
2 | 2611541.4501 | 1267853.4137
3 | 2611518.2923 | 1267893.9944
4 | 2611548.7864 | 1267840.5272
5 | 2611505.3451 | 1267886.5408
6 | 2611524.613 | 1267828.1222
7 | 2611559.5579 | 1267823.172
8 | 2611568.4553 | 1267850.804
9 | 2611452.4224 | 1267856.0738
10 | 2611452.8593 | 1267851.9495
11 | 2611462.7606 | 1267862.0254
12 | 2611524.2874 | 1267827.9518
13 | 2611571.1811 | 1267804.8215
14 | 2611579.287 | 1267856.2655
15 | 2611594.4069 | 1267863.2371
16 | 2611461.0378 | 1267836.4234
17 | 2611438.828 | 1267843.5835
18 | 2611460.2655 | 1267801.6958
19 | 2611476.5232 | 1267812.0672
20 | 2611481.4877 | 1267805.7057
21 | 2611463.6155 | 1267831.8547
22 | 2611488.0662 | 1267797.5682
23 | 2611504.3489 | 1267817.5155
24 | 2611493.9713 | 1267790.3413
25 | 2611494.6473 | 1267806.9605
26 | 2611461.8793 | 1267834.918
27 | 2611505.9455 | 1267818.3512
28 | 2611499.6698 | 1267783.3648
29 | 2611494.7536 | 1267807.0656
30 | 2611534.1752 | 1267737.5043
31 | 2611561.4448 | 1267754.101
32 | 2611520.8072 | 1267755.8635
33 | 2611497.163 | 1267761.0909
34 | 2611509.9213 | 1267770.814
35 | 2611438.4128 | 1267843.3357
36 | 2611518.6635 | 1267825.0081
37 | 2611510.0559 | 1267820.5027
38 | 2611514.3382 | 1267822.7441
39 | 2611516.0266 | 1267823.6279
40 | 2611517.5989 | 1267760.2698
41 | 2611514.8409 | 1267764.0575
42 | 2611507.661 | 1267773.5812
43 | 2611548.7864 | 1267840.5272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99516 | -0.093052 | 0.012905 | 0.0032342
1 | 0.99443 | -0.10717 | 0.042956 | 0.010766
2 | 0.99545 | -0.087464 | 0.0095049 | 0.0023821
3 | 0.9942 | -0.11146 | 0 | 0
4 | 0.99645 | -0.068036 | 0 | 0
5 | 0.99408 | -0.11388 | 0.0091948 | 0.0023044
6 | 0.99901 | -0.018899 | 0.0096375 | 0.0024154
7 | 0.99507 | -0.094657 | 0.024539 | 0.0061501
8 | 0.99528 | -0.090613 | 0.018468 | 0.0046285
9 | 0.99261 | -0.14218 | 0 | 0
10 | 0.99265 | -0.14132 | 0 | 0
11 | 0.99248 | -0.14465 | 0.011698 | 0.0029317
12 | 0.99905 | -0.018205 | 0.0059175 | 0.0014831
13 | 0.99409 | -0.11363 | 0.04957 | 0.012423
14 | 0.99485 | -0.099032 | 0.015027 | 0.003766
15 | 0.99448 | -0.10619 | 0.024392 | 0.0061133
16 | 0.99319 | -0.13103 | 0.0089271 | 0.0022373
17 | 0.99233 | -0.14753 | 0.011649 | 0.0029196
18 | 0.99468 | -0.10217 | 0.033186 | 0.0083171
19 | 0.99527 | -0.09087 | 0 | 0
20 | 0.99612 | -0.074509 | 0 | 0
21 | 0.99349 | -0.12516 | 0.0085377 | 0.0021397
22 | 0.99537 | -0.088946 | 0 | 0
23 | 0.99839 | -0.030759 | 0.067123 | 0.016822
24 | 0.99478 | -0.10033 | 0.0031757 | 0.00079591
25 | 0.99526 | -0.090953 | 0.0052601 | 0.0013183
26 | 0.99325 | -0.12974 | 0.031617 | 0.007924
27 | 0.99861 | -0.026646 | 0.0040604 | 0.0010176
28 | 0.99423 | -0.11083 | 0.0076141 | 0.0019083
29 | 0.99526 | -0.090964 | 0.0040256 | 0.0010089
30 | 0.99311 | -0.13254 | 0 | 0
31 | 0.99302 | -0.13429 | 0.0030945 | 0.00077556
32 | 0.99317 | -0.1313 | 0.0058794 | 0.0014735
33 | 0.9931 | -0.1328 | 0.022287 | 0.0055856
34 | 0.99342 | -0.12648 | 0 | 0
35 | 0.99233 | -0.14761 | 0.0098289 | 0.0024634
36 | 0.99969 | -0.0059023 | 0.0053711 | 0.0013461
37 | 0.99917 | -0.015899 | 0.0040375 | 0.0010119
38 | 0.99976 | -0.0045459 | 0.0043985 | 0.0011024
39 | 1 | 0 | -0.50508 | -0.12706
40 | 0.99322 | -0.13043 | 0.0046153 | 0.0011567
41 | 0.99328 | -0.12931 | 0.0055734 | 0.0013968
42 | 0.99356 | -0.12386 | 0.017048 | 0.0042727
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.052188 | 0.013094 | -0.052153 | -0.013071 | 3.51e-05 | 2.2264e-05 | 0.07804 | 0.07804 | 0.07804 | 0.99516 | -0.093052 | 0.99443 | -0.10717 | 21.4396
1 | -0.065093 | -0.016328 | 0.06511 | 0.016339 | 1.7346e-05 | 1.1038e-05 | 0.097336 | 0.097336 | 0.097336 | 0.99516 | -0.093052 | 0.99545 | -0.087464 | 26.7407
2 | 0.0091977 | 0.0023058 | -0.0091958 | -0.0023049 | 1.8805e-06 | 8.6016e-07 | 0.013763 | 0.013763 | 0.013763 | 0.99443 | -0.10717 | 0.9942 | -0.11146 | 3.7812
3 | -0.074615 | -0.018721 | 0.074685 | 0.018765 | 6.9187e-05 | 4.4086e-05 | 0.11154 | 0.11154 | 0.11154 | 0.99545 | -0.087464 | 0.99645 | -0.068036 | 30.644
4 | 0.0091958 | 0.0023049 | -0.0091948 | -0.0023044 | 1.0613e-06 | 4.855e-07 | 0.013763 | 0.013763 | 0.013763 | 0.9942 | -0.11146 | 0.99408 | -0.11388 | 3.7812
5 | -0.20691 | -0.05199 | 0.20739 | 0.0523 | 0.00048654 | 0.00031067 | 0.30902 | 0.30902 | 0.30902 | 0.99645 | -0.068036 | 0.99901 | -0.018899 | 42.4482
6 | 0.074248 | 0.018662 | -0.074154 | -0.018602 | 9.424e-05 | 6.0048e-05 | 0.11089 | 0.1109 | 0.1109 | 0.99645 | -0.068036 | 0.99507 | -0.094657 | 30.4657
7 | 0.057974 | 0.014563 | -0.057911 | -0.014523 | 6.2388e-05 | 3.964e-05 | 0.086584 | 0.086584 | 0.086584 | 0.99645 | -0.068036 | 0.99528 | -0.090613 | 23.7869
8 | -0.21703 | -0.054716 | 0.21704 | 0.05472 | 7.2047e-06 | 4.6014e-06 | 0.32338 | 0.32338 | 0.32338 | 0.99901 | -0.018899 | 0.99905 | -0.018205 | 44.42
9 | 0.049615 | 0.012452 | -0.04957 | -0.012423 | 4.4847e-05 | 2.842e-05 | 0.074199 | 0.074199 | 0.074199 | 0.99507 | -0.094657 | 0.99409 | -0.11363 | 20.3845
10 | 0.039443 | 0.0098944 | -0.039427 | -0.0098845 | 1.5825e-05 | 9.9703e-06 | 0.058973 | 0.058974 | 0.058974 | 0.99528 | -0.090613 | 0.99485 | -0.099032 | 16.2015
11 | -0.011699 | -0.0029324 | 0.011699 | 0.0029327 | 4.7833e-07 | 2.5252e-07 | 0.017538 | 0.017538 | 0.017538 | 0.99261 | -0.14218 | 0.99265 | -0.14132 | 4.8181
12 | 0.011699 | 0.0029324 | -0.011698 | -0.0029317 | 1.3759e-06 | 7.2642e-07 | 0.017538 | 0.017538 | 0.017538 | 0.99261 | -0.14218 | 0.99248 | -0.14465 | 4.8182
13 | -0.033184 | -0.0083195 | 0.0332 | 0.0083297 | 1.6284e-05 | 1.0195e-05 | 0.049745 | 0.049745 | 0.049745 | 0.99265 | -0.14132 | 0.99319 | -0.13103 | 13.6662
14 | 0.021485 | 0.0053868 | -0.021478 | -0.005383 | 6.3545e-06 | 3.8558e-06 | 0.032207 | 0.032207 | 0.032207 | 0.99265 | -0.14132 | 0.99233 | -0.14753 | 8.8481
15 | -0.22296 | -0.056204 | 0.22309 | 0.056287 | 0.00013134 | 8.3891e-05 | 0.33219 | 0.33219 | 0.33219 | 0.99905 | -0.018205 | 0.99969 | -0.0059023 | 45.6307
16 | 0.024401 | 0.0061184 | -0.024392 | -0.0061133 | 8.3171e-06 | 5.1069e-06 | 0.036498 | 0.036498 | 0.036498 | 0.99485 | -0.099032 | 0.99448 | -0.10619 | 10.0269
17 | -0.042127 | -0.010567 | 0.04213 | 0.010569 | 2.5768e-06 | 1.6269e-06 | 0.06312 | 0.06312 | 0.06312 | 0.99319 | -0.13103 | 0.99325 | -0.12974 | 17.3406
18 | 0.009829 | 0.0024634 | -0.0098289 | -0.0024634 | 3.9386e-08 | 1.8961e-08 | 0.014739 | 0.014739 | 0.014739 | 0.99233 | -0.14753 | 0.99233 | -0.14761 | 4.0491
19 | -0.033186 | -0.0083171 | 0.033204 | 0.0083283 | 1.7874e-05 | 1.1188e-05 | 0.049645 | 0.049645 | 0.049645 | 0.99468 | -0.10217 | 0.99527 | -0.09087 | 13.6387
20 | -0.11564 | -0.029057 | 0.11573 | 0.029115 | 9.0386e-05 | 5.7742e-05 | 0.17292 | 0.17292 | 0.17292 | 0.99527 | -0.09087 | 0.99612 | -0.074509 | 47.505
21 | 0.082436 | 0.020729 | -0.082301 | -0.020643 | 0.00013476 | 8.594e-05 | 0.12327 | 0.12327 | 0.12327 | 0.99527 | -0.09087 | 0.99349 | -0.12516 | 33.8663
22 | 0.078752 | 0.019805 | -0.078697 | -0.01977 | 5.4265e-05 | 3.4594e-05 | 0.11766 | 0.11766 | 0.11766 | 0.99612 | -0.074509 | 0.99537 | -0.088946 | 32.3255
23 | -0.19448 | -0.048919 | 0.19489 | 0.049179 | 0.00040739 | 0.00026006 | 0.29058 | 0.29058 | 0.29058 | 0.99612 | -0.074509 | 0.99839 | -0.030759 | 39.9152
24 | 0.073763 | 0.018503 | -0.073747 | -0.018493 | 1.6118e-05 | 1.027e-05 | 0.11049 | 0.11049 | 0.11049 | 0.99349 | -0.12516 | 0.99325 | -0.12974 | 30.3533
25 | 0.069411 | 0.017442 | -0.069373 | -0.017418 | 3.7695e-05 | 2.4003e-05 | 0.10378 | 0.10378 | 0.10378 | 0.99537 | -0.088946 | 0.99478 | -0.10033 | 28.5115
26 | 0.0092865 | 0.0023276 | -0.0092857 | -0.0023272 | 8.8775e-07 | 4.0853e-07 | 0.013883 | 0.013883 | 0.013883 | 0.99537 | -0.088946 | 0.99526 | -0.090953 | 3.814
27 | -0.26201 | -0.066002 | 0.26206 | 0.066035 | 5.1558e-05 | 3.295e-05 | 0.39062 | 0.39062 | 0.39062 | 0.99839 | -0.030759 | 0.99861 | -0.026646 | 53.657
28 | 0.066198 | 0.016622 | -0.066164 | -0.016601 | 3.3129e-05 | 2.1086e-05 | 0.099032 | 0.099032 | 0.099032 | 0.99478 | -0.10033 | 0.99423 | -0.11083 | 27.2065
29 | 0.0040256 | 0.0010089 | -0.0040256 | -0.0010089 | 2.0294e-09 | -6.4291e-10 | 0.0060186 | 0.0060186 | 0.0060186 | 0.99526 | -0.090953 | 0.99526 | -0.090964 | 1.6535
30 | -0.26612 | -0.067052 | 0.26626 | 0.06714 | 0.00013688 | 8.7479e-05 | 0.39667 | 0.39667 | 0.39667 | 0.99861 | -0.026646 | 0.99917 | -0.015899 | 54.4881
31 | 0.05855 | 0.014693 | -0.058514 | -0.01467 | 3.6382e-05 | 2.3121e-05 | 0.087636 | 0.087636 | 0.087636 | 0.99423 | -0.11083 | 0.99356 | -0.12386 | 24.0758
32 | 0.0030948 | 0.00077532 | -0.0030945 | -0.00077556 | 2.5744e-07 | -2.4831e-07 | 0.0046369 | 0.0046371 | 0.0046371 | 0.99311 | -0.13254 | 0.99302 | -0.13429 | 1.2739
33 | -0.0030948 | -0.00077532 | 0.003095 | 0.00077514 | 1.8311e-07 | -1.7668e-07 | 0.0046369 | 0.0046368 | 0.0046369 | 0.99311 | -0.13254 | 0.99317 | -0.1313 | 1.2739
34 | -0.0089744 | -0.0022487 | 0.0089748 | 0.0022488 | 3.6952e-07 | 1.6596e-07 | 0.013446 | 0.013446 | 0.013446 | 0.99317 | -0.1313 | 0.99322 | -0.13043 | 3.6939
35 | -0.022287 | -0.0055856 | 0.022293 | 0.0055897 | 6.7083e-06 | 4.0857e-06 | 0.033394 | 0.033394 | 0.033394 | 0.9931 | -0.1328 | 0.99342 | -0.12648 | 9.1741
36 | -0.04146 | -0.010394 | 0.041466 | 0.010397 | 5.1677e-06 | 3.2611e-06 | 0.062103 | 0.062103 | 0.062103 | 0.99342 | -0.12648 | 0.99356 | -0.12386 | 17.0613
37 | 0.019167 | 0.0048043 | -0.019164 | -0.0048028 | 2.5833e-06 | 1.5451e-06 | 0.02871 | 0.02871 | 0.02871 | 0.99342 | -0.12648 | 0.99328 | -0.12931 | 7.8873
38 | -0.22846 | -0.057634 | 0.22852 | 0.057675 | 6.4581e-05 | 4.1254e-05 | 0.34019 | 0.34019 | 0.34019 | 0.99969 | -0.0059023 | 1 | 0 | 46.7289
39 | -0.2703 | -0.068152 | 0.27044 | 0.068246 | 0.00014696 | 9.3925e-05 | 0.40269 | 0.40269 | 0.40269 | 0.99917 | -0.015899 | 0.99976 | -0.0045459 | 55.314
40 | -0.27484 | -0.069348 | 0.2749 | 0.069386 | 5.9843e-05 | 3.825e-05 | 0.40923 | 0.40923 | 0.40923 | 0.99976 | -0.0045459 | 1 | 0 | 56.2132
41 | -0.01359 | -0.0034055 | 0.013591 | 0.0034059 | 7.2836e-07 | 4.0551e-07 | 0.02036 | 0.02036 | 0.02036 | 0.99322 | -0.13043 | 0.99328 | -0.12931 | 5.5935

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51622 | 0.12985

## res_load
| p_mw | q_mvar
0 | 0.012905 | 0.0032342
1 | 0.042956 | 0.010766
2 | 0.0095049 | 0.0023821
3 | 0.0091948 | 0.0023044
4 | 0.0096375 | 0.0024154
5 | 0.024539 | 0.0061501
6 | 0.018468 | 0.0046285
7 | 0.011698 | 0.0029317
8 | 0.0059175 | 0.0014831
9 | 0.04957 | 0.012423
10 | 0.015027 | 0.003766
11 | 0.024392 | 0.0061133
12 | 0.0089271 | 0.0022373
13 | 0.011649 | 0.0029196
14 | 0.033186 | 0.0083171
15 | 0.0085377 | 0.0021397
16 | 0.067123 | 0.016822
17 | 0.0031757 | 0.00079591
18 | 0.0052601 | 0.0013183
19 | 0.031617 | 0.007924
20 | 0.0040604 | 0.0010176
21 | 0.0076141 | 0.0019083
22 | 0.0040256 | 0.0010089
23 | 0.0030945 | 0.00077556
24 | 0.0058794 | 0.0014735
25 | 0.022287 | 0.0055856
26 | 0.0098289 | 0.0024634
27 | 0.0053711 | 0.0013461
28 | 0.0040375 | 0.0010119
29 | 0.0043985 | 0.0011024
30 | 0.011141 | 0.0027923
31 | 0.0046153 | 0.0011567
32 | 0.0055734 | 0.0013968
33 | 0.017048 | 0.0042727

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1