## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-290_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-290_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-290_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-290_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-290_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-290_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2701-290_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2701-290_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2701-290_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2701-290_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-290_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-290_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-290_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2701-290_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2701-290_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2701-290_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2701-290_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_2701-290_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_2701-290_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_2701-290_0_3_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_2701-290_0_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_2701-290_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2701-290_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2701-290_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2701-290_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2701-290_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2701-290_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2701-290_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2701-290_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_2701-290_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2701-290_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2701-290_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2701-290_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2701-290_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2701-290_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2701-290_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2701-290_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2701-290_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2701-290_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2701-290_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2701-290_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2701-290_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2701-290_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_MV_559_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-290_0_3_load_0 | 0 | 0.0057355 | 0.0014374 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-290_0_3_load_1 | 1 | 0.0067986 | 0.0017039 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-290_0_3_load_2 | 2 | 0.0068014 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-290_0_3_load_3 | 3 | 0.0056408 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-290_0_3_load_4 | 4 | 0.0068473 | 0.0017161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-290_0_3_load_14 | 5 | 0.0067967 | 0.0017034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-290_0_3_load_15 | 6 | 0.0069951 | 0.0017531 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-290_0_3_load_8 | 7 | 0.0043486 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-290_0_3_load_16 | 8 | 0.0067991 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-290_0_3_load_5 | 9 | 0.0052447 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-290_0_3_load_6 | 10 | 0.0052899 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-290_0_3_load_9 | 12 | 0.0020685 | 0.00051841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-290_0_3_load_10 | 13 | 0.018605 | 0.0046628 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-290_0_3_load_11 | 14 | 0.0094426 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-290_0_3_load_12 | 15 | 0.0046163 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-290_0_3_load_42 | 16 | 0.017788 | 0.0044581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-290_0_3_load_44 | 17 | 0.031246 | 0.0078309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-290_0_3_load_37 | 18 | 0.0091413 | 0.002291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-290_0_3_load_43 | 19 | 0.0094235 | 0.0023618 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-290_0_3_load_39 | 20 | 0.0066062 | 0.0016557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-290_0_3_load_25 | 21 | 0.0065603 | 0.0016442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-290_0_3_load_17 | 22 | 0.011078 | 0.0027765 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-290_0_3_load_18 | 23 | 0.010197 | 0.0025556 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-290_0_3_load_20 | 25 | 0.0058468 | 0.0014653 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-290_0_3_load_21 | 26 | 0.0054134 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-290_0_3_load_23 | 27 | 0.0059516 | 0.0014916 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-290_0_3_load_40 | 28 | 0.0076033 | 0.0019056 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-290_0_3_load_22 | 29 | 0.0047941 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-290_0_3_load_41 | 30 | 0.010062 | 0.0025217 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-290_0_3_load_26 | 31 | 0.014499 | 0.0036338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-290_0_3_load_27 | 32 | 0.0068998 | 0.0017292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-290_0_3_load_28 | 33 | 0.008902 | 0.002231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-290_0_3_load_29 | 34 | 0.0069099 | 0.0017318 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-290_0_3_load_30 | 35 | 0.0023363 | 0.00058554 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-290_0_3_load_31 | 36 | 0.0082127 | 0.0020583 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-290_0_3_load_32 | 37 | 0.01122 | 0.002812 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-290_0_3_load_33 | 38 | 0.0072845 | 0.0018257 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-290_0_3_load_38 | 39 | 0.0061851 | 0.0015501 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-290_0_3_load_34 | 41 | 0.00432 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-290_0_3_load_35 | 42 | 0.014691 | 0.0036818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-290_0_3_line_0 |  | 0 | 1 | 0.004872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-290_0_3_line_1 |  | 0 | 2 | 0.0092261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-290_0_3_line_2 |  | 1 | 3 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-290_0_3_line_3 |  | 2 | 4 | 0.0072273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-290_0_3_line_4 |  | 3 | 5 | 0.0014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-290_0_3_line_5 |  | 4 | 6 | 0.0068406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-290_0_3_line_6 |  | 5 | 7 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2701-290_0_3_line_7 |  | 6 | 8 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-290_0_3_line_8 |  | 7 | 10 | 0.00032494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-290_0_3_line_9 |  | 8 | 20 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-290_0_3_line_10 |  | 9 | 10 | 0.014158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2701-290_0_3_line_11 |  | 9 | 11 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-290_0_3_line_12 |  | 11 | 12 | 0.02583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-290_0_3_line_13 |  | 11 | 13 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-290_0_3_line_14 |  | 11 | 14 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-290_0_3_line_15 |  | 12 | 15 | 0.0088389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-290_0_3_line_16 |  | 13 | 16 | 0.00013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2701-290_0_3_line_17 |  | 14 | 17 | 0.0016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-290_0_3_line_18 |  | 16 | 18 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2701-290_0_3_line_19 |  | 17 | 19 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-290_0_3_line_20 |  | 18 | 42 | 0.0042018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-290_0_3_line_21 |  | 20 | 21 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-290_0_3_line_22 |  | 22 | 23 | 0.012578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-290_0_3_line_23 |  | 22 | 24 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-290_0_3_line_24 |  | 23 | 25 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-290_0_3_line_25 |  | 24 | 26 | 0.02329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-290_0_3_line_26 |  | 25 | 27 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-290_0_3_line_27 |  | 26 | 28 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-290_0_3_line_28 |  | 27 | 29 | 0.010717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-290_0_3_line_29 |  | 28 | 30 | 0.00029632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-290_0_3_line_30 |  | 30 | 35 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-290_0_3_line_31 |  | 31 | 32 | 0.0036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-290_0_3_line_32 |  | 31 | 33 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-290_0_3_line_33 |  | 32 | 34 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-290_0_3_line_34 |  | 33 | 35 | 0.00022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-290_0_3_line_35 |  | 34 | 36 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-290_0_3_line_36 |  | 36 | 37 | 0.001991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-290_0_3_line_37 |  | 37 | 38 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-290_0_3_line_38 |  | 38 | 39 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-290_0_3_line_39 |  | 39 | 40 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-290_0_3_line_40 |  | 40 | 41 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-290_0_3_line_41 |  | 41 | 42 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-290_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 43 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2612255.608 | 1268605.6441 | 2612260.3523 | 1268606.7519
1 | 2612255.608 | 1268605.6441 | 2612246.6235 | 1268603.5462
2 | 2612260.3523 | 1268606.7519 | 2612272.6467 | 1268609.6227
3 | 2612246.6235 | 1268603.5462 | 2612239.5856 | 1268601.9028
4 | 2612274.0875 | 1268609.9591 | 2612272.6467 | 1268609.6227
5 | 2612232.9242 | 1268600.3474 | 2612239.5856 | 1268601.9028
6 | 2612274.0875 | 1268609.9591 | 2612287.7331 | 1268613.1454
7 | 2612219.161 | 1268597.1336 | 2612232.9242 | 1268600.3474
8 | 2612287.7331 | 1268613.1454 | 2612288.0495 | 1268613.2193
9 | 2612205.8455 | 1268594.0245 | 2612219.161 | 1268597.1336
10 | 2612301.8367 | 1268616.4386 | 2612288.0495 | 1268613.2193
11 | 2612317.1703 | 1268620.4856 | 2612310.1538 | 1268618.3807 | 2612301.8367 | 1268616.4386
12 | 2612317.1703 | 1268620.4856 | 2612313.0145 | 1268632.3075 | 2612308.5995 | 1268644.8519
13 | 2612317.1703 | 1268620.4856 | 2612322.1859 | 1268606.0603
14 | 2612317.1703 | 1268620.4856 | 2612325.8244 | 1268624.0171 | 2612343.5963 | 1268631.5433
15 | 2612305.6651 | 1268653.1894 | 2612308.5995 | 1268644.8519
16 | 2612322.2304 | 1268605.9324 | 2612322.1859 | 1268606.0603
17 | 2612343.5963 | 1268631.5433 | 2612345.1499 | 1268632.2012
18 | 2612322.2304 | 1268605.9324 | 2612328.4717 | 1268587.9818
19 | 2612355.7871 | 1268636.7059 | 2612345.1499 | 1268632.2012
20 | 2612329.8516 | 1268584.013 | 2612328.4717 | 1268587.9818
21 | 2612191.5721 | 1268590.6916 | 2612205.8455 | 1268594.0245
22 | 2612203.7939 | 1268525.6476 | 2612210.7378 | 1268515.1606
23 | 2612218.4563 | 1268503.3436 | 2612215.1874 | 1268508.4405 | 2612210.7378 | 1268515.1606
24 | 2612203.7939 | 1268525.6476 | 2612196.8202 | 1268536.1797
25 | 2612218.4563 | 1268503.3436 | 2612240.038 | 1268512.0981
26 | 2612196.8202 | 1268536.1797 | 2612192.5792 | 1268542.5848 | 2612190.4779 | 1268546.517
27 | 2612250.5821 | 1268516.3752 | 2612240.038 | 1268512.0981
28 | 2612190.4779 | 1268546.517 | 2612185.4271 | 1268555.969
29 | 2612250.8567 | 1268516.4866 | 2612250.5821 | 1268516.3752
30 | 2612250.8567 | 1268516.4866 | 2612263.7572 | 1268521.7196
31 | 2612277.3353 | 1268527.2274 | 2612273.9422 | 1268525.851
32 | 2612263.9696 | 1268521.8057 | 2612273.9422 | 1268525.851
33 | 2612277.3353 | 1268527.2274 | 2612289.2042 | 1268532.042
34 | 2612263.9696 | 1268521.8057 | 2612263.7572 | 1268521.7196
35 | 2612300.6927 | 1268536.7022 | 2612289.2042 | 1268532.042
36 | 2612300.6927 | 1268536.7022 | 2612302.5377 | 1268537.4506
37 | 2612315.9177 | 1268542.8781 | 2612302.5377 | 1268537.4506
38 | 2612315.9177 | 1268542.8781 | 2612327.9645 | 1268547.7648
39 | 2612341.5027 | 1268553.589 | 2612332.4356 | 1268549.5784 | 2612327.9645 | 1268547.7648
40 | 2612341.5027 | 1268553.589 | 2612337.792 | 1268561.1755 | 2612333.1438 | 1268574.5442
41 | 2612333.1438 | 1268574.5442 | 2612329.8516 | 1268584.013

## bus_geodata
| x | y | coords
0 | 2612255.608 | 1268605.6441
1 | 2612260.3523 | 1268606.7519
2 | 2612246.6235 | 1268603.5462
3 | 2612272.6467 | 1268609.6227
4 | 2612239.5856 | 1268601.9028
5 | 2612274.0875 | 1268609.9591
6 | 2612232.9242 | 1268600.3474
7 | 2612287.7331 | 1268613.1454
8 | 2612219.161 | 1268597.1336
9 | 2612301.8367 | 1268616.4386
10 | 2612288.0495 | 1268613.2193
11 | 2612317.1703 | 1268620.4856
12 | 2612308.5995 | 1268644.8519
13 | 2612322.1859 | 1268606.0603
14 | 2612343.5963 | 1268631.5433
15 | 2612305.6651 | 1268653.1894
16 | 2612322.2304 | 1268605.9324
17 | 2612345.1499 | 1268632.2012
18 | 2612328.4717 | 1268587.9818
19 | 2612355.7871 | 1268636.7059
20 | 2612205.8455 | 1268594.0245
21 | 2612191.5721 | 1268590.6916
22 | 2612210.7378 | 1268515.1606
23 | 2612203.7939 | 1268525.6476
24 | 2612218.4563 | 1268503.3436
25 | 2612196.8202 | 1268536.1797
26 | 2612240.038 | 1268512.0981
27 | 2612190.4779 | 1268546.517
28 | 2612250.5821 | 1268516.3752
29 | 2612185.4271 | 1268555.969
30 | 2612250.8567 | 1268516.4866
31 | 2612273.9422 | 1268525.851
32 | 2612277.3353 | 1268527.2274
33 | 2612263.9696 | 1268521.8057
34 | 2612289.2042 | 1268532.042
35 | 2612263.7572 | 1268521.7196
36 | 2612300.6927 | 1268536.7022
37 | 2612302.5377 | 1268537.4506
38 | 2612315.9177 | 1268542.8781
39 | 2612327.9645 | 1268547.7648
40 | 2612341.5027 | 1268553.589
41 | 2612333.1438 | 1268574.5442
42 | 2612329.8516 | 1268584.013
43 | 2612317.1703 | 1268620.4856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99911 | -0.017162 | 0.0057355 | 0.0014374
1 | 0.99931 | -0.01322 | 0.0067986 | 0.0017039
2 | 0.99877 | -0.023706 | 0.0068014 | 0.0017046
3 | 0.99992 | -0.0015161 | 0.0056408 | 0.0014137
4 | 0.99854 | -0.027976 | 0.0068473 | 0.0017161
5 | 1 | 0 | -0.33353 | -0.08452
6 | 0.99838 | -0.031201 | 0.0069951 | 0.0017531
7 | 0.99826 | -0.032984 | 0.0043486 | 0.0010899
8 | 0.99812 | -0.036137 | 0.0067991 | 0.001704
9 | 0.99653 | -0.065986 | 0.0052447 | 0.0013145
10 | 0.99822 | -0.033738 | 0.0052899 | 0.0013258
11 | 0.99467 | -0.10152 | 0 | 0
12 | 0.99451 | -0.10457 | 0.0020685 | 0.00051841
13 | 0.99327 | -0.12819 | 0.018605 | 0.0046628
14 | 0.99336 | -0.12685 | 0.0094426 | 0.0023665
15 | 0.99447 | -0.10528 | 0.0046163 | 0.001157
16 | 0.99326 | -0.1284 | 0.017788 | 0.0044581
17 | 0.99329 | -0.12806 | 0.031246 | 0.0078309
18 | 0.99184 | -0.15556 | 0.0091413 | 0.002291
19 | 0.99319 | -0.12998 | 0.0094235 | 0.0023618
20 | 0.99796 | -0.039287 | 0.0066062 | 0.0016557
21 | 0.99787 | -0.04097 | 0.0065603 | 0.0016442
22 | 0.97644 | -0.45448 | 0.011078 | 0.0027765
23 | 0.97613 | -0.46065 | 0.010197 | 0.0025556
24 | 0.97694 | -0.44472 | 0 | 0
25 | 0.97594 | -0.46448 | 0.0058468 | 0.0014653
26 | 0.97776 | -0.42863 | 0.0054134 | 0.0013567
27 | 0.97581 | -0.46687 | 0.0059516 | 0.0014916
28 | 0.97822 | -0.41965 | 0.0076033 | 0.0019056
29 | 0.97577 | -0.46781 | 0.0047941 | 0.0012015
30 | 0.97823 | -0.41938 | 0.010062 | 0.0025217
31 | 0.97975 | -0.38955 | 0.014499 | 0.0036338
32 | 0.98005 | -0.38379 | 0.0068998 | 0.0017292
33 | 0.97903 | -0.40367 | 0.008902 | 0.002231
34 | 0.98116 | -0.36206 | 0.0069099 | 0.0017318
35 | 0.97902 | -0.40393 | 0.0023363 | 0.00058554
36 | 0.98231 | -0.33953 | 0.0082127 | 0.0020583
37 | 0.98251 | -0.33562 | 0.01122 | 0.002812
38 | 0.98412 | -0.30441 | 0.0072845 | 0.0018257
39 | 0.98565 | -0.27469 | 0.0061851 | 0.0015501
40 | 0.98747 | -0.23948 | 0 | 0
41 | 0.99027 | -0.18575 | 0.00432 | 0.0010827
42 | 0.99154 | -0.16124 | 0.014691 | 0.0036818
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.046376 | -0.011634 | 0.046385 | 0.01164 | 8.7169e-06 | 5.515e-06 | 0.069074 | 0.069074 | 0.069074 | 0.99911 | -0.017162 | 0.99931 | -0.01322 | 18.9763
1 | 0.04064 | 0.010197 | -0.040628 | -0.010189 | 1.2677e-05 | 7.9924e-06 | 0.060531 | 0.060532 | 0.060532 | 0.99911 | -0.017162 | 0.99877 | -0.023706 | 16.6295
2 | -0.053183 | -0.013343 | 0.053213 | 0.013362 | 2.9695e-05 | 1.8839e-05 | 0.079197 | 0.079197 | 0.079197 | 0.99931 | -0.01322 | 0.99992 | -0.0015161 | 21.7574
3 | 0.033826 | 0.008484 | -0.033819 | -0.0084797 | 6.884e-06 | 4.3112e-06 | 0.050398 | 0.050398 | 0.050398 | 0.99877 | -0.023706 | 0.99854 | -0.027976 | 13.8457
4 | -0.058854 | -0.014776 | 0.058858 | 0.014779 | 4.2569e-06 | 2.705e-06 | 0.087591 | 0.087591 | 0.087591 | 0.99992 | -0.0015161 | 1 | 0 | 24.0635
5 | 0.026972 | 0.0067636 | -0.026968 | -0.006761 | 4.1444e-06 | 2.563e-06 | 0.040195 | 0.040195 | 0.040195 | 0.99854 | -0.027976 | 0.99838 | -0.031201 | 11.0425
6 | 0.27302 | 0.069742 | -0.27258 | -0.069464 | 0.00043462 | 0.00027779 | 0.40672 | 0.40672 | 0.40672 | 1 | 0 | 0.99826 | -0.032984 | 55.8682
7 | 0.019973 | 0.0050079 | -0.019968 | -0.0050051 | 4.6968e-06 | 2.8212e-06 | 0.029769 | 0.029769 | 0.029769 | 0.99838 | -0.031201 | 0.99812 | -0.036137 | 8.1783
8 | 0.26823 | 0.068374 | -0.26822 | -0.068368 | 9.7597e-06 | 6.2377e-06 | 0.40024 | 0.40024 | 0.40024 | 0.99826 | -0.032984 | 0.99822 | -0.033738 | 54.9779
9 | 0.013169 | 0.0033011 | -0.013167 | -0.0033 | 1.9764e-06 | 1.0862e-06 | 0.019633 | 0.019633 | 0.019633 | 0.99812 | -0.036137 | 0.99796 | -0.039287 | 5.3936
10 | -0.26253 | -0.066781 | 0.26293 | 0.067042 | 0.00040866 | 0.00026117 | 0.39235 | 0.39235 | 0.39235 | 0.99653 | -0.065986 | 0.99822 | -0.033738 | 53.8947
11 | 0.25728 | 0.065466 | -0.25684 | -0.065185 | 0.00043987 | 0.0002811 | 0.38452 | 0.38452 | 0.38452 | 0.99653 | -0.065986 | 0.99467 | -0.10152 | 52.819
12 | 0.0066859 | 0.0016756 | -0.0066849 | -0.0016754 | 9.6903e-07 | 2.8497e-07 | 0.010002 | 0.010002 | 0.010002 | 0.99467 | -0.10152 | 0.99451 | -0.10457 | 2.7479
13 | 0.19998 | 0.05091 | -0.19972 | -0.050746 | 0.00025678 | 0.00016394 | 0.29945 | 0.29945 | 0.29945 | 0.99467 | -0.10152 | 0.99327 | -0.12819 | 41.1332
14 | 0.050175 | 0.012599 | -0.050115 | -0.012561 | 6.0541e-05 | 3.8375e-05 | 0.075071 | 0.075071 | 0.075071 | 0.99467 | -0.10152 | 0.99336 | -0.12685 | 20.6239
15 | 0.0046165 | 0.0011569 | -0.0046163 | -0.001157 | 1.5814e-07 | -1.3474e-08 | 0.0069073 | 0.0069074 | 0.0069074 | 0.99451 | -0.10457 | 0.99447 | -0.10528 | 1.8976
16 | 0.18112 | 0.046083 | -0.18112 | -0.046082 | 1.8731e-06 | 1.1953e-06 | 0.27158 | 0.27158 | 0.27158 | 0.99327 | -0.12819 | 0.99326 | -0.1284 | 37.3047
17 | 0.040672 | 0.010195 | -0.04067 | -0.010193 | 2.3486e-06 | 1.4813e-06 | 0.060926 | 0.060926 | 0.060926 | 0.99336 | -0.12685 | 0.99329 | -0.12806 | 16.738
18 | 0.16333 | 0.041624 | -0.16311 | -0.041488 | 0.00021377 | 0.00013632 | 0.24493 | 0.24493 | 0.24493 | 0.99326 | -0.1284 | 0.99184 | -0.15556 | 33.6443
19 | 0.0094244 | 0.0023622 | -0.0094235 | -0.0023618 | 8.6348e-07 | 4.0312e-07 | 0.014118 | 0.014118 | 0.014118 | 0.99329 | -0.12806 | 0.99319 | -0.12998 | 3.8787
20 | 0.15397 | 0.039197 | -0.15393 | -0.03917 | 4.2119e-05 | 2.6848e-05 | 0.23122 | 0.23122 | 0.23122 | 0.99184 | -0.15556 | 0.99154 | -0.16124 | 31.7604
21 | 0.0065608 | 0.0016443 | -0.0065603 | -0.0016442 | 5.2601e-07 | 1.4515e-07 | 0.0097825 | 0.0097826 | 0.0097826 | 0.99796 | -0.039287 | 0.99787 | -0.04097 | 2.6875
22 | 0.026802 | 0.0067213 | -0.026794 | -0.0067165 | 7.8688e-06 | 4.8788e-06 | 0.040845 | 0.040845 | 0.040845 | 0.97644 | -0.45448 | 0.97613 | -0.46065 | 11.2212
23 | -0.03788 | -0.0094979 | 0.037898 | 0.009509 | 1.7639e-05 | 1.1112e-05 | 0.057728 | 0.057728 | 0.057728 | 0.97644 | -0.45448 | 0.97694 | -0.44472 | 15.8593
24 | 0.016597 | 0.0041609 | -0.016594 | -0.0041591 | 3.0322e-06 | 1.7828e-06 | 0.025301 | 0.025301 | 0.025301 | 0.97613 | -0.46065 | 0.97594 | -0.46448 | 6.9508
25 | -0.037898 | -0.009509 | 0.037927 | 0.0095273 | 2.9105e-05 | 1.8335e-05 | 0.057728 | 0.057728 | 0.057728 | 0.97694 | -0.44472 | 0.97776 | -0.42863 | 15.8592
26 | 0.010747 | 0.0026938 | -0.010746 | -0.0026931 | 1.2224e-06 | 6.3067e-07 | 0.016386 | 0.016386 | 0.016386 | 0.97594 | -0.46448 | 0.97581 | -0.46687 | 4.5017
27 | -0.04334 | -0.010884 | 0.043359 | 0.010896 | 1.8568e-05 | 1.1741e-05 | 0.065966 | 0.065966 | 0.065966 | 0.97776 | -0.42863 | 0.97822 | -0.41965 | 18.1225
28 | 0.0047943 | 0.0012015 | -0.0047941 | -0.0012015 | 2.148e-07 | 3.5974e-09 | 0.0073108 | 0.0073108 | 0.0073108 | 0.97581 | -0.46687 | 0.97577 | -0.46781 | 2.0085
29 | -0.050962 | -0.012801 | 0.050963 | 0.012802 | 6.6795e-07 | 4.2377e-07 | 0.077532 | 0.077532 | 0.077532 | 0.97822 | -0.41965 | 0.97823 | -0.41938 | 21.2999
30 | -0.061025 | -0.015323 | 0.06107 | 0.015352 | 4.4994e-05 | 2.8621e-05 | 0.092837 | 0.092837 | 0.092837 | 0.97823 | -0.41938 | 0.97902 | -0.40393 | 25.5046
31 | -0.086856 | -0.021834 | 0.08688 | 0.021849 | 2.3903e-05 | 1.5252e-05 | 0.13194 | 0.13194 | 0.13194 | 0.97975 | -0.38955 | 0.98005 | -0.38379 | 36.2468
32 | 0.072357 | 0.0182 | -0.072309 | -0.018169 | 4.8759e-05 | 3.107e-05 | 0.10992 | 0.10992 | 0.10992 | 0.97975 | -0.38955 | 0.97903 | -0.40367 | 30.1972
33 | -0.09378 | -0.023579 | 0.093878 | 0.023641 | 9.7416e-05 | 6.2184e-05 | 0.14241 | 0.14241 | 0.14241 | 0.98005 | -0.38379 | 0.98116 | -0.36206 | 39.1248
34 | 0.063407 | 0.015938 | -0.063406 | -0.015938 | 7.9834e-07 | 5.0806e-07 | 0.096388 | 0.096388 | 0.096388 | 0.97903 | -0.40367 | 0.97902 | -0.40393 | 26.4802
35 | -0.10079 | -0.025373 | 0.1009 | 0.025442 | 0.00010868 | 6.9399e-05 | 0.15289 | 0.15289 | 0.15289 | 0.98116 | -0.36206 | 0.98231 | -0.33953 | 42.0038
36 | -0.10911 | -0.0275 | 0.10913 | 0.027513 | 2.041e-05 | 1.3037e-05 | 0.16533 | 0.16533 | 0.16533 | 0.98231 | -0.33953 | 0.98251 | -0.33562 | 45.4215
37 | -0.12035 | -0.030325 | 0.12053 | 0.03044 | 0.00018 | 0.00011502 | 0.18233 | 0.18233 | 0.18233 | 0.98251 | -0.33562 | 0.98412 | -0.30441 | 50.0898
38 | -0.12781 | -0.032266 | 0.128 | 0.032382 | 0.00018223 | 0.00011646 | 0.19334 | 0.19334 | 0.19334 | 0.98412 | -0.30441 | 0.98565 | -0.27469 | 53.1157
39 | -0.13418 | -0.033932 | 0.13441 | 0.034078 | 0.00022705 | 0.00014513 | 0.20268 | 0.20268 | 0.20268 | 0.98565 | -0.27469 | 0.98747 | -0.23948 | 55.6809
40 | -0.13441 | -0.034078 | 0.13476 | 0.0343 | 0.00034813 | 0.00022251 | 0.20268 | 0.20268 | 0.20268 | 0.98747 | -0.23948 | 0.99027 | -0.18575 | 55.6809
41 | -0.13908 | -0.035383 | 0.13924 | 0.035488 | 0.00016448 | 0.00010514 | 0.20917 | 0.20917 | 0.20917 | 0.99027 | -0.18575 | 0.99154 | -0.16124 | 57.4642

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34032 | 0.086224

## res_load
| p_mw | q_mvar
0 | 0.0057355 | 0.0014374
1 | 0.0067986 | 0.0017039
2 | 0.0068014 | 0.0017046
3 | 0.0056408 | 0.0014137
4 | 0.0068473 | 0.0017161
5 | 0.0067967 | 0.0017034
6 | 0.0069951 | 0.0017531
7 | 0.0043486 | 0.0010899
8 | 0.0067991 | 0.001704
9 | 0.0052447 | 0.0013145
10 | 0.0052899 | 0.0013258
11 | 0.0020685 | 0.00051841
12 | 0.018605 | 0.0046628
13 | 0.0094426 | 0.0023665
14 | 0.0046163 | 0.001157
15 | 0.017788 | 0.0044581
16 | 0.031246 | 0.0078309
17 | 0.0091413 | 0.002291
18 | 0.0094235 | 0.0023618
19 | 0.0066062 | 0.0016557
20 | 0.0065603 | 0.0016442
21 | 0.011078 | 0.0027765
22 | 0.010197 | 0.0025556
23 | 0.0058468 | 0.0014653
24 | 0.0054134 | 0.0013567
25 | 0.0059516 | 0.0014916
26 | 0.0076033 | 0.0019056
27 | 0.0047941 | 0.0012015
28 | 0.010062 | 0.0025217
29 | 0.014499 | 0.0036338
30 | 0.0068998 | 0.0017292
31 | 0.008902 | 0.002231
32 | 0.0069099 | 0.0017318
33 | 0.0023363 | 0.00058554
34 | 0.0082127 | 0.0020583
35 | 0.01122 | 0.002812
36 | 0.0072845 | 0.0018257
37 | 0.0061851 | 0.0015501
38 | 0.00432 | 0.0010827
39 | 0.014691 | 0.0036818

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1