## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-291_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-291_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-291_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-291_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-291_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-291_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2701-291_0_6_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2701-291_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2701-291_0_6_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_2701-291_0_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_2701-291_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2701-291_0_6_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2701-291_0_6_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_2701-291_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2701-291_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2701-291_0_6_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_2701-291_0_6_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2701-291_0_6_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_2701-291_0_6_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_2701-291_0_6_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_2701-291_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2701-291_0_6_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_2701-291_0_6_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_2701-291_0_6_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_2701-291_0_6_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_2701-291_0_6_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_2701-291_0_6_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_2701-291_0_6_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_2701-291_0_6_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_2701-291_0_6_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2701-291_0_6_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_2701-291_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_2701-291_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2701-291_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2701-291_0_6_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2701-291_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2701-291_0_6_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_2701-291_0_6_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2701-291_0_6_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_2701-291_0_6_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2701-291_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2701-291_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2701-291_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2701-291_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2701-291_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2701-291_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2701-291_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2701-291_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2701-291_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2701-291_0_6_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_2701-291_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2701-291_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2701-291_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2701-291_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2701-291_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2701-291_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2701-291_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2701-291_0_6_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2701-291_0_6_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_2701-291_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2701-291_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2701-291_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2701-291_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_2701-291_0_6_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_2701-291_0_6_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_2701-291_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2701-291_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2701-291_0_6_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_2701-291_0_6_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_2701-291_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_2701-291_0_6_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_2701-291_0_6_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2701-291_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_559_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-291_0_6_load_0 | 0 | 0.0025915 | 0.00064948 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-291_0_6_load_1 | 1 | 0.0020943 | 0.00052487 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-291_0_6_load_2 | 2 | 0.00327 | 0.00081954 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-291_0_6_load_3 | 3 | 0.0026311 | 0.00065941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-291_0_6_load_42 | 8 | 0.0065671 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-291_0_6_load_41 | 9 | 0.004754 | 0.0011915 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-291_0_6_load_24 | 11 | 0.0027949 | 0.00070047 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-291_0_6_load_50 | 12 | 0.0028351 | 0.00071054 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-291_0_6_load_70 | 15 | 0.0043167 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-291_0_6_load_56 | 17 | 0.005684 | 0.0014245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-291_0_6_load_59 | 18 | 0.0062633 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-291_0_6_load_60 | 19 | 0.0040823 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-291_0_6_load_49 | 21 | 0.0099096 | 0.0024836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-291_0_6_load_69 | 22 | 0.037318 | 0.0093528 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-291_0_6_load_5 | 23 | 0.0075013 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-291_0_6_load_6 | 24 | 0.0089264 | 0.0022372 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-291_0_6_load_7 | 25 | 0.0090215 | 0.002261 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-291_0_6_load_8 | 26 | 0.0074539 | 0.0018681 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-291_0_6_load_9 | 27 | 0.0075055 | 0.0018811 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-291_0_6_load_10 | 28 | 0.006356 | 0.001593 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-291_0_6_load_48 | 29 | 0.0075136 | 0.0018831 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-291_0_6_load_11 | 30 | 0.0050813 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-291_0_6_load_46 | 31 | 0.0089644 | 0.0022467 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-291_0_6_load_31 | 32 | 0.0047082 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-291_0_6_load_32 | 33 | 0.0050897 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-291_0_6_load_52 | 34 | 0.0074324 | 0.0018627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-291_0_6_load_22 | 35 | 0.0024633 | 0.00061737 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-291_0_6_load_61 | 36 | 0.0045648 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-291_0_6_load_51 | 37 | 0.0023963 | 0.00060057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-291_0_6_load_71 | 38 | 0.0064854 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-291_0_6_load_55 | 39 | 0.010385 | 0.0026027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-291_0_6_load_23 | 40 | 0.012978 | 0.0032525 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-291_0_6_load_25 | 41 | 0.0041266 | 0.0010342 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-291_0_6_load_33 | 42 | 0.0041802 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-291_0_6_load_34 | 43 | 0.0076572 | 0.0019191 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-291_0_6_load_26 | 44 | 0.0092168 | 0.00231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-291_0_6_load_27 | 45 | 0.023208 | 0.0058166 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-291_0_6_load_28 | 46 | 0.0092323 | 0.0023138 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-291_0_6_load_29 | 47 | 0.0069381 | 0.0017388 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-291_0_6_load_54 | 49 | 0.021089 | 0.0052855 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-291_0_6_load_40 | 50 | 0.0048822 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-291_0_6_load_38 | 51 | 0.0084508 | 0.002118 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-291_0_6_load_36 | 52 | 0.011432 | 0.0028652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-291_0_6_load_37 | 53 | 0.011373 | 0.0028503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-291_0_6_load_39 | 54 | 0.038241 | 0.0095841 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-291_0_6_load_47 | 55 | 0.0062999 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-291_0_6_load_45 | 56 | 0.0097108 | 0.0024338 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-291_0_6_load_62 | 57 | 0.0088901 | 0.0022281 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-291_0_6_load_43 | 58 | 0.0062948 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-291_0_6_load_44 | 59 | 0.0074872 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-291_0_6_load_57 | 60 | 0.0057396 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-291_0_6_load_58 | 61 | 0.0048985 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-291_0_6_load_77 | 63 | 0.0020252 | 0.00050757 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-291_0_6_load_76 | 64 | 0.011377 | 0.0028514 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-291_0_6_load_78 | 68 | 0.04896 | 0.012271 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-291_0_6_load_72 | 69 | 0.023916 | 0.0059939 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-291_0_6_load_73 | 71 | 0.0017325 | 0.00043421 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-291_0_6_load_74 | 72 | 0.0020363 | 0.00051033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-291_0_6_line_0 |  | 0 | 1 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2701-291_0_6_line_1 |  | 0 | 2 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2701-291_0_6_line_2 |  | 1 | 3 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-291_0_6_line_3 |  | 2 | 4 | 0.0067167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-291_0_6_line_4 |  | 3 | 5 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-291_0_6_line_5 |  | 4 | 6 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-291_0_6_line_6 |  | 4 | 7 | 0.035475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-291_0_6_line_7 |  | 5 | 8 | 0.019593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2701-291_0_6_line_8 |  | 5 | 9 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-291_0_6_line_9 |  | 6 | 10 | 0.015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-291_0_6_line_10 |  | 6 | 11 | 0.037281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-291_0_6_line_11 |  | 7 | 22 | 0.066567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-291_0_6_line_12 |  | 7 | 20 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-291_0_6_line_13 |  | 8 | 36 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2701-291_0_6_line_14 |  | 9 | 33 | 0.0008969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2701-291_0_6_line_15 |  | 10 | 12 | 0.0034088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-291_0_6_line_16 |  | 11 | 34 | 0.026011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-291_0_6_line_17 |  | 11 | 35 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-291_0_6_line_18 |  | 12 | 37 | 0.008722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-291_0_6_line_19 |  | 13 | 14 | 0.00868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-291_0_6_line_20 |  | 13 | 15 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-291_0_6_line_21 |  | 14 | 19 | 0.004718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2701-291_0_6_line_22 |  | 15 | 38 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-291_0_6_line_23 |  | 16 | 17 | 0.0073086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-291_0_6_line_24 |  | 16 | 18 | 0.021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2701-291_0_6_line_25 |  | 17 | 39 | 0.0085243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2701-291_0_6_line_26 |  | 18 | 19 | 0.0025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2701-291_0_6_line_27 |  | 20 | 21 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-291_0_6_line_28 |  | 23 | 24 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-291_0_6_line_29 |  | 23 | 25 | 0.0090839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-291_0_6_line_30 |  | 24 | 26 | 0.00079133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2701-291_0_6_line_31 |  | 25 | 27 | 0.0039174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-291_0_6_line_32 |  | 26 | 28 | 0.0027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-291_0_6_line_33 |  | 27 | 29 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-291_0_6_line_34 |  | 28 | 30 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-291_0_6_line_35 |  | 29 | 31 | 0.0049192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-291_0_6_line_36 |  | 30 | 32 | 0.0025297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-291_0_6_line_37 |  | 31 | 59 | 0.0080578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-291_0_6_line_38 |  | 32 | 33 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2701-291_0_6_line_39 |  | 35 | 40 | 0.009735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-291_0_6_line_40 |  | 36 | 57 | 0.010079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2701-291_0_6_line_41 |  | 38 | 69 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-291_0_6_line_42 |  | 39 | 60 | 0.0032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2701-291_0_6_line_43 |  | 40 | 41 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-291_0_6_line_44 |  | 41 | 42 | 0.0090244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-291_0_6_line_45 |  | 42 | 43 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-291_0_6_line_46 |  | 43 | 47 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-291_0_6_line_47 |  | 44 | 45 | 0.0091557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-291_0_6_line_48 |  | 44 | 46 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-291_0_6_line_49 |  | 45 | 47 | 0.0049135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-291_0_6_line_50 |  | 48 | 49 | 0.048086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-291_0_6_line_51 |  | 48 | 50 | 0.047818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-291_0_6_line_52 |  | 50 | 51 | 0.0086426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-291_0_6_line_53 |  | 51 | 52 | 0.00010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-291_0_6_line_54 |  | 52 | 53 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-291_0_6_line_55 |  | 53 | 54 | 0.0059444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-291_0_6_line_56 |  | 54 | 55 | 0.0078296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-291_0_6_line_57 |  | 55 | 56 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-291_0_6_line_58 |  | 56 | 58 | 0.0012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-291_0_6_line_59 |  | 57 | 61 | 0.0014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2701-291_0_6_line_60 |  | 58 | 59 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-291_0_6_line_61 |  | 60 | 61 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2701-291_0_6_line_62 |  | 62 | 63 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-291_0_6_line_63 |  | 62 | 64 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-291_0_6_line_64 |  | 63 | 70 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-291_0_6_line_65 |  | 64 | 67 | 0.014807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-291_0_6_line_66 |  | 65 | 66 | 0.024029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-291_0_6_line_67 |  | 65 | 67 | 0.27668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-291_0_6_line_68 |  | 66 | 68 | 0.0011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-291_0_6_line_69 |  | 67 | 69 | 0.0079081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-291_0_6_line_70 |  | 70 | 72 | 0.0028625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-291_0_6_line_71 |  | 71 | 72 | 0.018513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-291_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 73 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2612535.8147 | 1268670.6033 | 2612529.1748 | 1268683.0594
1 | 2612535.8147 | 1268670.6033 | 2612541.1154 | 1268660.6593
2 | 2612522.6614 | 1268694.2895 | 2612529.0727 | 1268683.2509 | 2612529.1748 | 1268683.0594
3 | 2612544.9272 | 1268655.1423 | 2612541.7424 | 1268659.4831 | 2612541.1154 | 1268660.6593
4 | 2612516.6112 | 1268704.7064 | 2612522.6614 | 1268694.2895
5 | 2612550.9774 | 1268644.4364 | 2612544.9272 | 1268655.1423
6 | 2612544.9272 | 1268655.1423 | 2612552.8502 | 1268659.1174 | 2612558.1416 | 1268662.0529 | 2612563.2081 | 1268664.621 | 2612577.3908 | 1268669.1208
7 | 2612516.6112 | 1268704.7064 | 2612512.0219 | 1268714.9706 | 2612508.1611 | 1268722.3743
8 | 2612516.6112 | 1268704.7064 | 2612509.7092 | 1268701.8898 | 2612493.3625 | 1268694.9673
9 | 2612550.9774 | 1268644.4364 | 2612558.2301 | 1268630.8978
10 | 2612550.9774 | 1268644.4364 | 2612516.7856 | 1268629.5781
11 | 2612577.3908 | 1268669.1208 | 2612575.6758 | 1268672.3083 | 2612545.8237 | 1268727.7266
12 | 2612577.3908 | 1268669.1208 | 2612583.6265 | 1268670.2904 | 2612587.365 | 1268663.9161 | 2612590.9871 | 1268655.629
13 | 2612501.6888 | 1268734.5996 | 2612507.0352 | 1268724.5335 | 2612508.1611 | 1268722.3743
14 | 2612492.5366 | 1268694.6175 | 2612493.3625 | 1268694.9673
15 | 2612558.2301 | 1268630.8978 | 2612555.2008 | 1268629.3347 | 2612555.2008 | 1268629.3347
16 | 2612516.7856 | 1268629.5781 | 2612526.0521 | 1268605.2736
17 | 2612516.7856 | 1268629.5781 | 2612505.2933 | 1268624.584
18 | 2612555.2008 | 1268629.3347 | 2612559.1538 | 1268621.56
19 | 2612461.7787 | 1268782.4903 | 2612453.5449 | 1268779.6711
20 | 2612453.5449 | 1268779.6711 | 2612443.79 | 1268775.2628
21 | 2612461.7787 | 1268782.4903 | 2612463.5938 | 1268778.1355
22 | 2612443.79 | 1268775.2628 | 2612432.9947 | 1268770.3844
23 | 2612481.5995 | 1268771.6465 | 2612483.9482 | 1268767.6598 | 2612485.2175 | 1268765.2978
24 | 2612481.5995 | 1268771.6465 | 2612477.2174 | 1268780.0766 | 2612474.46 | 1268781.6386 | 2612471.0583 | 1268781.8093 | 2612465.8771 | 1268779.2593
25 | 2612489.2528 | 1268757.7891 | 2612485.2175 | 1268765.2978
26 | 2612465.8771 | 1268779.2593 | 2612463.5938 | 1268778.1355 | 2612463.5938 | 1268778.1355
27 | 2612590.9871 | 1268655.629 | 2612604.3525 | 1268662.7265
28 | 2612456.6129 | 1268679.4043 | 2612467.822 | 1268684.1512
29 | 2612456.6129 | 1268679.4043 | 2612448.2482 | 1268675.862
30 | 2612467.822 | 1268684.1512 | 2612468.5507 | 1268684.4598
31 | 2612444.6409 | 1268674.3343 | 2612448.2482 | 1268675.862
32 | 2612468.5507 | 1268684.4598 | 2612471.084 | 1268685.5326
33 | 2612432.6713 | 1268669.2653 | 2612444.6409 | 1268674.3343
34 | 2612471.084 | 1268685.5326 | 2612480.5628 | 1268689.5468
35 | 2612432.6713 | 1268669.2653 | 2612428.1415 | 1268667.347
36 | 2612482.8922 | 1268690.5332 | 2612480.5628 | 1268689.5468
37 | 2612420.7216 | 1268664.2048 | 2612428.1415 | 1268667.347
38 | 2612492.5366 | 1268694.6175 | 2612482.8922 | 1268690.5332
39 | 2612496.3649 | 1268620.7041 | 2612505.2933 | 1268624.584
40 | 2612501.6888 | 1268734.5996 | 2612499.4727 | 1268738.7721 | 2612496.9379 | 1268743.4887
41 | 2612416.8248 | 1268763.0772 | 2612432.9947 | 1268770.3844
42 | 2612489.2528 | 1268757.7891 | 2612490.7732 | 1268754.96
43 | 2612496.3649 | 1268620.7041 | 2612482.06 | 1268614.4878
44 | 2612473.7833 | 1268610.891 | 2612482.06 | 1268614.4878
45 | 2612462.1867 | 1268605.8516 | 2612473.7833 | 1268610.891
46 | 2612462.1867 | 1268605.8516 | 2612449.0998 | 1268600.1646
47 | 2612436.1963 | 1268594.5573 | 2612444.5934 | 1268598.2063
48 | 2612436.1963 | 1268594.5573 | 2612421.4115 | 1268588.1324
49 | 2612449.0998 | 1268600.1646 | 2612444.5934 | 1268598.2063
50 | 2612317.1703 | 1268620.4856 | 2612313.0145 | 1268632.3075 | 2612301.2106 | 1268665.8461
51 | 2612317.1703 | 1268620.4856 | 2612325.8244 | 1268624.0171 | 2612361.2495 | 1268639.0192
52 | 2612361.2495 | 1268639.0192 | 2612369.2078 | 1268642.3894
53 | 2612369.2078 | 1268642.3894 | 2612369.3077 | 1268642.4317
54 | 2612383.0483 | 1268648.2507 | 2612369.3077 | 1268642.4317
55 | 2612383.0483 | 1268648.2507 | 2612388.5221 | 1268650.5688
56 | 2612395.7319 | 1268653.622 | 2612388.5221 | 1268650.5688
57 | 2612395.7319 | 1268653.622 | 2612407.3109 | 1268658.5255
58 | 2612408.4227 | 1268658.9964 | 2612407.3109 | 1268658.5255
59 | 2612496.2587 | 1268744.7526 | 2612496.9379 | 1268743.4887
60 | 2612408.4227 | 1268658.9964 | 2612420.7216 | 1268664.2048
61 | 2612496.2587 | 1268744.7526 | 2612490.7732 | 1268754.96
62 | 2612385.5253 | 1268748.151 | 2612388.691 | 1268742.0756 | 2612381.0548 | 1268738.4628
63 | 2612385.5253 | 1268748.151 | 2612396.2926 | 1268753.3662
64 | 2612365.6046 | 1268731.1531 | 2612381.0548 | 1268738.4628
65 | 2612409.6184 | 1268759.8207 | 2612396.2926 | 1268753.3662
66 | 2612372.5621 | 1268851.7415 | 2612361.7193 | 1268873.2007
67 | 2612361.7193 | 1268873.2007 | 2612376.0808 | 1268881.9924 | 2612368.3224 | 1268900.2335 | 2612315.1523 | 1268871.3026 | 2612293.7597 | 1268860.2616 | 2612295.7206 | 1268850.859 | 2612409.6184 | 1268759.8207
68 | 2612372.5621 | 1268851.7415 | 2612371.8215 | 1268850.8819
69 | 2612409.6184 | 1268759.8207 | 2612416.8248 | 1268763.0772
70 | 2612365.6046 | 1268731.1531 | 2612363.0173 | 1268729.9285
71 | 2612346.2845 | 1268722.0083 | 2612363.0173 | 1268729.9285

## bus_geodata
| x | y | coords
0 | 2612535.8147 | 1268670.6033
1 | 2612529.1748 | 1268683.0594
2 | 2612541.1154 | 1268660.6593
3 | 2612522.6614 | 1268694.2895
4 | 2612544.9272 | 1268655.1423
5 | 2612516.6112 | 1268704.7064
6 | 2612550.9774 | 1268644.4364
7 | 2612577.3908 | 1268669.1208
8 | 2612508.1611 | 1268722.3743
9 | 2612493.3625 | 1268694.9673
10 | 2612558.2301 | 1268630.8978
11 | 2612516.7856 | 1268629.5781
12 | 2612555.2008 | 1268629.3347
13 | 2612453.5449 | 1268779.6711
14 | 2612461.7787 | 1268782.4903
15 | 2612443.79 | 1268775.2628
16 | 2612481.5995 | 1268771.6465
17 | 2612485.2175 | 1268765.2978
18 | 2612465.8771 | 1268779.2593
19 | 2612463.5938 | 1268778.1355
20 | 2612590.9871 | 1268655.629
21 | 2612604.3525 | 1268662.7265
22 | 2612545.8237 | 1268727.7266
23 | 2612456.6129 | 1268679.4043
24 | 2612467.822 | 1268684.1512
25 | 2612448.2482 | 1268675.862
26 | 2612468.5507 | 1268684.4598
27 | 2612444.6409 | 1268674.3343
28 | 2612471.084 | 1268685.5326
29 | 2612432.6713 | 1268669.2653
30 | 2612480.5628 | 1268689.5468
31 | 2612428.1415 | 1268667.347
32 | 2612482.8922 | 1268690.5332
33 | 2612492.5366 | 1268694.6175
34 | 2612526.0521 | 1268605.2736
35 | 2612505.2933 | 1268624.584
36 | 2612501.6888 | 1268734.5996
37 | 2612559.1538 | 1268621.56
38 | 2612432.9947 | 1268770.3844
39 | 2612489.2528 | 1268757.7891
40 | 2612496.3649 | 1268620.7041
41 | 2612482.06 | 1268614.4878
42 | 2612473.7833 | 1268610.891
43 | 2612462.1867 | 1268605.8516
44 | 2612436.1963 | 1268594.5573
45 | 2612444.5934 | 1268598.2063
46 | 2612421.4115 | 1268588.1324
47 | 2612449.0998 | 1268600.1646
48 | 2612317.1703 | 1268620.4856
49 | 2612301.2106 | 1268665.8461
50 | 2612361.2495 | 1268639.0192
51 | 2612369.2078 | 1268642.3894
52 | 2612369.3077 | 1268642.4317
53 | 2612383.0483 | 1268648.2507
54 | 2612388.5221 | 1268650.5688
55 | 2612395.7319 | 1268653.622
56 | 2612407.3109 | 1268658.5255
57 | 2612496.9379 | 1268743.4887
58 | 2612408.4227 | 1268658.9964
59 | 2612420.7216 | 1268664.2048
60 | 2612490.7732 | 1268754.96
61 | 2612496.2587 | 1268744.7526
62 | 2612385.5253 | 1268748.151
63 | 2612381.0548 | 1268738.4628
64 | 2612396.2926 | 1268753.3662
65 | 2612361.7193 | 1268873.2007
66 | 2612372.5621 | 1268851.7415
67 | 2612409.6184 | 1268759.8207
68 | 2612371.8215 | 1268850.8819
69 | 2612416.8248 | 1268763.0772
70 | 2612365.6046 | 1268731.1531
71 | 2612346.2845 | 1268722.0083
72 | 2612363.0173 | 1268729.9285
73 | 2612516.6112 | 1268704.7064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99065 | -0.17832 | 0.0025915 | 0.00064948
1 | 0.9913 | -0.16592 | 0.0020943 | 0.00052487
2 | 0.99015 | -0.18807 | 0.00327 | 0.00081954
3 | 0.9919 | -0.15436 | 0.0026311 | 0.00065941
4 | 0.9897 | -0.19659 | 0 | 0
5 | 0.99246 | -0.14346 | 0 | 0
6 | 0.98862 | -0.21749 | 0 | 0
7 | 0.98816 | -0.22645 | 0 | 0
8 | 0.99151 | -0.16173 | 0.0065671 | 0.0016459
9 | 0.99488 | -0.0973 | 0.004754 | 0.0011915
10 | 0.98855 | -0.21892 | 0 | 0
11 | 0.98551 | -0.27767 | 0.0027949 | 0.00070047
12 | 0.98853 | -0.21924 | 0.0028351 | 0.00071054
13 | 0.98794 | -0.23041 | 0 | 0
14 | 0.98821 | -0.2252 | 0 | 0
15 | 0.98744 | -0.24006 | 0.0043167 | 0.0010819
16 | 0.98919 | -0.20635 | 0 | 0
17 | 0.98944 | -0.20152 | 0.005684 | 0.0014245
18 | 0.98844 | -0.22079 | 0.0062633 | 0.0015697
19 | 0.98836 | -0.22237 | 0.0040823 | 0.0010231
20 | 0.98796 | -0.23048 | 0 | 0
21 | 0.98782 | -0.23316 | 0.0099096 | 0.0024836
22 | 0.98588 | -0.2709 | 0.037318 | 0.0093528
23 | 0.99899 | -0.019077 | 0.0075013 | 0.00188
24 | 0.99767 | -0.044169 | 0.0089264 | 0.0022372
25 | 1 | 0 | -0.51769 | -0.13154
26 | 0.99759 | -0.045762 | 0.0074539 | 0.0018681
27 | 0.99982 | -0.0033975 | 0.0075055 | 0.0018811
28 | 0.9973 | -0.051179 | 0.006356 | 0.001593
29 | 0.99898 | -0.019474 | 0.0075136 | 0.0018831
30 | 0.99625 | -0.071096 | 0.0050813 | 0.0012735
31 | 0.99838 | -0.031013 | 0.0089644 | 0.0022467
32 | 0.996 | -0.075921 | 0.0047082 | 0.00118
33 | 0.99497 | -0.095637 | 0.0050897 | 0.0012756
34 | 0.98534 | -0.28114 | 0.0074324 | 0.0018627
35 | 0.98459 | -0.29567 | 0.0024633 | 0.00061737
36 | 0.99087 | -0.17412 | 0.0045648 | 0.001144
37 | 0.98851 | -0.21961 | 0.0023963 | 0.00060057
38 | 0.98638 | -0.26053 | 0.0064854 | 0.0016254
39 | 0.98975 | -0.19561 | 0.010385 | 0.0026027
40 | 0.98389 | -0.30925 | 0.012978 | 0.0032525
41 | 0.98296 | -0.3274 | 0.0041266 | 0.0010342
42 | 0.98246 | -0.33725 | 0.0041802 | 0.0010477
43 | 0.9818 | -0.3501 | 0.0076572 | 0.0019191
44 | 0.98081 | -0.36941 | 0.0092168 | 0.00231
45 | 0.98097 | -0.36635 | 0.023208 | 0.0058166
46 | 0.98068 | -0.37211 | 0.0092323 | 0.0023138
47 | 0.98116 | -0.36265 | 0.0069381 | 0.0017388
48 | 0.99198 | -0.1543 | 0 | 0
49 | 0.99105 | -0.17228 | 0.021089 | 0.0052855
50 | 0.9929 | -0.13646 | 0.0048822 | 0.0012236
51 | 0.99311 | -0.13249 | 0.0084508 | 0.002118
52 | 0.99311 | -0.13242 | 0.011432 | 0.0028652
53 | 0.99374 | -0.12034 | 0.011373 | 0.0028503
54 | 0.99405 | -0.11433 | 0.038241 | 0.0095841
55 | 0.99473 | -0.10116 | 0.0062999 | 0.0015789
56 | 0.9959 | -0.078642 | 0.0097108 | 0.0024338
57 | 0.99041 | -0.18288 | 0.0088901 | 0.0022281
58 | 0.99602 | -0.076277 | 0.0062948 | 0.0015776
59 | 0.99746 | -0.048679 | 0.0074872 | 0.0018765
60 | 0.98987 | -0.19319 | 0.0057396 | 0.0014385
61 | 0.99035 | -0.18405 | 0.0048985 | 0.0012277
62 | 0.98411 | -0.30442 | 0 | 0
63 | 0.98402 | -0.30602 | 0.0020252 | 0.00050757
64 | 0.98417 | -0.30318 | 0.011377 | 0.0028514
65 | 0.97174 | -0.54545 | 0 | 0
66 | 0.97064 | -0.56719 | 0 | 0
67 | 0.9844 | -0.2986 | 0 | 0
68 | 0.97059 | -0.56822 | 0.04896 | 0.012271
69 | 0.98489 | -0.2892 | 0.023916 | 0.0059939
70 | 0.98396 | -0.30718 | 0 | 0
71 | 0.98393 | -0.30795 | 0.0017325 | 0.00043421
72 | 0.98395 | -0.30737 | 0.0020363 | 0.00051033
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14946 | -0.037811 | 0.14955 | 0.037867 | 8.9028e-05 | 5.6433e-05 | 0.22463 | 0.22463 | 0.22463 | 0.99065 | -0.17832 | 0.9913 | -0.16592 | 20.5704
1 | 0.14687 | 0.037161 | -0.1468 | -0.037118 | 6.8632e-05 | 4.3489e-05 | 0.22074 | 0.22074 | 0.22074 | 0.99065 | -0.17832 | 0.99015 | -0.18807 | 20.2139
2 | -0.15165 | -0.038392 | 0.15173 | 0.038445 | 8.4191e-05 | 5.338e-05 | 0.22777 | 0.22777 | 0.22777 | 0.9913 | -0.16592 | 0.9919 | -0.15436 | 20.8582
3 | 0.14353 | 0.036298 | -0.14348 | -0.036261 | 5.8661e-05 | 3.737e-05 | 0.21582 | 0.21582 | 0.21582 | 0.99015 | -0.18807 | 0.9897 | -0.19659 | 29.6459
4 | -0.15436 | -0.039105 | 0.15444 | 0.039156 | 8.0852e-05 | 5.1278e-05 | 0.23172 | 0.23172 | 0.23172 | 0.9919 | -0.15436 | 0.99246 | -0.14346 | 21.2197
5 | 0.096098 | 0.02433 | -0.096001 | -0.024269 | 9.6317e-05 | 6.1485e-05 | 0.14457 | 0.14457 | 0.14457 | 0.9897 | -0.19659 | 0.98862 | -0.21749 | 39.717
6 | 0.047377 | 0.01193 | -0.04731 | -0.011888 | 6.7538e-05 | 4.2769e-05 | 0.071252 | 0.071252 | 0.071252 | 0.9897 | -0.19659 | 0.98816 | -0.22645 | 19.5747
7 | 0.15943 | 0.040531 | -0.15929 | -0.040442 | 0.00014017 | 8.8952e-05 | 0.23923 | 0.23923 | 0.23923 | 0.99246 | -0.14346 | 0.99151 | -0.16173 | 21.9079
8 | -0.31387 | -0.079687 | 0.31457 | 0.080133 | 0.00069884 | 0.00044628 | 0.47095 | 0.47095 | 0.47095 | 0.99246 | -0.14346 | 0.99488 | -0.0973 | 43.1275
9 | 0.0052319 | 0.0013111 | -0.0052315 | -0.001311 | 3.5693e-07 | 3.1638e-08 | 0.0078747 | 0.0078748 | 0.0078748 | 0.98862 | -0.21749 | 0.98855 | -0.21892 | 2.1634
10 | 0.090769 | 0.022958 | -0.090508 | -0.022791 | 0.00026123 | 0.00016671 | 0.1367 | 0.1367 | 0.1367 | 0.98862 | -0.21749 | 0.98551 | -0.27767 | 37.5537
11 | 0.037397 | 0.0094026 | -0.037318 | -0.0093528 | 7.9194e-05 | 4.9833e-05 | 0.056325 | 0.056325 | 0.056325 | 0.98816 | -0.22645 | 0.98588 | -0.2709 | 15.4739
12 | 0.0099127 | 0.0024851 | -0.0099108 | -0.0024842 | 1.9033e-06 | 9.2639e-07 | 0.014927 | 0.014927 | 0.014927 | 0.98816 | -0.22645 | 0.98796 | -0.23048 | 4.1009
13 | 0.15272 | 0.038796 | -0.15263 | -0.038738 | 9.0977e-05 | 5.7691e-05 | 0.22938 | 0.22938 | 0.22938 | 0.99151 | -0.16173 | 0.99087 | -0.17412 | 21.0054
14 | -0.31932 | -0.081324 | 0.31935 | 0.081341 | 2.5623e-05 | 1.6364e-05 | 0.47806 | 0.47806 | 0.47806 | 0.99488 | -0.0973 | 0.99497 | -0.095637 | 43.7786
15 | 0.0052315 | 0.001311 | -0.0052315 | -0.001311 | 7.927e-08 | 7.031e-09 | 0.0078748 | 0.0078748 | 0.0078748 | 0.98855 | -0.21892 | 0.98853 | -0.21924 | 2.1634
16 | 0.0074337 | 0.0018632 | -0.0074324 | -0.0018627 | 1.2288e-06 | 4.5508e-07 | 0.011224 | 0.011224 | 0.011224 | 0.98551 | -0.27767 | 0.98534 | -0.28114 | 3.0836
17 | 0.08028 | 0.020227 | -0.080211 | -0.020183 | 6.9084e-05 | 4.4054e-05 | 0.12125 | 0.12125 | 0.12125 | 0.98551 | -0.27767 | 0.98459 | -0.29567 | 33.3108
18 | 0.0023964 | 0.00060049 | -0.0023963 | -0.00060057 | 4.2558e-08 | -8.4577e-08 | 0.0036072 | 0.0036072 | 0.0036072 | 0.98853 | -0.21924 | 0.98851 | -0.21961 | 0.99099
19 | -0.10179 | -0.025872 | 0.10182 | 0.025888 | 2.5547e-05 | 1.6016e-05 | 0.15344 | 0.15344 | 0.15344 | 0.98794 | -0.23041 | 0.98821 | -0.2252 | 14.0517
20 | 0.10179 | 0.025872 | -0.10174 | -0.025842 | 4.7258e-05 | 2.9971e-05 | 0.15344 | 0.15344 | 0.15344 | 0.98794 | -0.23041 | 0.98744 | -0.24006 | 21.0776
21 | -0.10182 | -0.025888 | 0.10183 | 0.025897 | 1.3886e-05 | 8.7055e-06 | 0.15344 | 0.15344 | 0.15344 | 0.98821 | -0.2252 | 0.98836 | -0.22237 | 14.0517
22 | 0.097427 | 0.02476 | -0.097331 | -0.024699 | 9.5917e-05 | 6.1236e-05 | 0.14694 | 0.14694 | 0.14694 | 0.98744 | -0.24006 | 0.98638 | -0.26053 | 40.3681
23 | -0.11226 | -0.028544 | 0.11229 | 0.02856 | 2.6098e-05 | 1.6422e-05 | 0.16902 | 0.16902 | 0.16902 | 0.98919 | -0.20635 | 0.98944 | -0.20152 | 15.4779
24 | 0.11226 | 0.028544 | -0.11218 | -0.028495 | 7.8028e-05 | 4.9097e-05 | 0.16902 | 0.16902 | 0.16902 | 0.98919 | -0.20635 | 0.98844 | -0.22079 | 15.478
25 | -0.11797 | -0.029985 | 0.11801 | 0.030006 | 3.3596e-05 | 2.1173e-05 | 0.17757 | 0.17757 | 0.17757 | 0.98944 | -0.20152 | 0.98975 | -0.19561 | 16.2607
26 | 0.10592 | 0.026925 | -0.10591 | -0.02692 | 8.1019e-06 | 5.0874e-06 | 0.15959 | 0.15959 | 0.15959 | 0.98844 | -0.22079 | 0.98836 | -0.22237 | 14.6145
27 | 0.0099108 | 0.0024842 | -0.0099096 | -0.0024836 | 1.2645e-06 | 6.1554e-07 | 0.014927 | 0.014927 | 0.014927 | 0.98796 | -0.23048 | 0.98782 | -0.23316 | 4.1009
28 | 0.35822 | 0.091572 | -0.35779 | -0.091294 | 0.00043424 | 0.00027743 | 0.53421 | 0.53421 | 0.53421 | 0.99899 | -0.019077 | 0.99767 | -0.044169 | 48.9206
29 | -0.36572 | -0.093452 | 0.36606 | 0.093668 | 0.00033774 | 0.0002158 | 0.54539 | 0.54539 | 0.54539 | 0.99899 | -0.019077 | 1 | 0 | 49.9437
30 | 0.34886 | 0.089057 | -0.34883 | -0.08904 | 2.684e-05 | 1.7146e-05 | 0.5209 | 0.5209 | 0.5209 | 0.99767 | -0.044169 | 0.99759 | -0.045762 | 47.7014
31 | 0.14998 | 0.037873 | -0.14996 | -0.037858 | 2.4411e-05 | 1.5469e-05 | 0.22328 | 0.22328 | 0.22328 | 1 | 0 | 0.99982 | -0.0033975 | 20.4464
32 | 0.34138 | 0.087172 | -0.34129 | -0.087115 | 8.9367e-05 | 5.7087e-05 | 0.50978 | 0.50978 | 0.50978 | 0.99759 | -0.045762 | 0.9973 | -0.051179 | 46.6832
33 | 0.14245 | 0.035977 | -0.14234 | -0.035907 | 0.00010965 | 6.9834e-05 | 0.2121 | 0.2121 | 0.2121 | 0.99982 | -0.0033975 | 0.99898 | -0.019474 | 29.1353
34 | 0.33493 | 0.085522 | -0.33461 | -0.085316 | 0.00032206 | 0.00020572 | 0.5003 | 0.5003 | 0.5003 | 0.9973 | -0.051179 | 0.99625 | -0.071096 | 45.8148
35 | 0.13483 | 0.034024 | -0.13475 | -0.033976 | 7.4464e-05 | 4.7593e-05 | 0.20091 | 0.20091 | 0.20091 | 0.99898 | -0.019474 | 0.99838 | -0.031013 | 55.196
36 | 0.32953 | 0.084043 | -0.32945 | -0.083994 | 7.6764e-05 | 4.903e-05 | 0.49271 | 0.49271 | 0.49271 | 0.99625 | -0.071096 | 0.996 | -0.075921 | 45.1198
37 | 0.12579 | 0.031729 | -0.12568 | -0.031661 | 0.00010629 | 6.7921e-05 | 0.18755 | 0.18755 | 0.18755 | 0.99838 | -0.031013 | 0.99746 | -0.048679 | 51.5254
38 | 0.32475 | 0.082814 | -0.32444 | -0.082616 | 0.00030881 | 0.00019723 | 0.48567 | 0.48567 | 0.48567 | 0.996 | -0.075921 | 0.99497 | -0.095637 | 44.4757
39 | 0.077747 | 0.019566 | -0.077697 | -0.019534 | 5.0426e-05 | 3.2149e-05 | 0.11753 | 0.11753 | 0.11753 | 0.98459 | -0.29567 | 0.98389 | -0.30925 | 32.2881
40 | 0.14806 | 0.037594 | -0.148 | -0.037555 | 6.2385e-05 | 3.9537e-05 | 0.22252 | 0.22252 | 0.22252 | 0.99087 | -0.17412 | 0.99041 | -0.18288 | 20.3777
41 | 0.090846 | 0.023074 | -0.09072 | -0.022994 | 0.00012518 | 7.9887e-05 | 0.13716 | 0.13716 | 0.13716 | 0.98638 | -0.26053 | 0.98489 | -0.2892 | 37.6803
42 | -0.12839 | -0.032609 | 0.12841 | 0.032618 | 1.4982e-05 | 9.4649e-06 | 0.19318 | 0.19318 | 0.19318 | 0.98975 | -0.19561 | 0.98987 | -0.19319 | 17.6904
43 | 0.064719 | 0.016281 | -0.064663 | -0.016245 | 5.606e-05 | 3.5681e-05 | 0.097901 | 0.097901 | 0.097901 | 0.98389 | -0.30925 | 0.98296 | -0.3274 | 26.896
44 | 0.060536 | 0.015211 | -0.060508 | -0.015193 | 2.8429e-05 | 1.808e-05 | 0.091655 | 0.091655 | 0.091655 | 0.98296 | -0.3274 | 0.98246 | -0.33725 | 25.1798
45 | 0.056328 | 0.014145 | -0.056293 | -0.014124 | 3.4519e-05 | 2.1932e-05 | 0.085323 | 0.085323 | 0.085323 | 0.98246 | -0.33725 | 0.9818 | -0.3501 | 23.4405
46 | 0.048636 | 0.012204 | -0.048607 | -0.012186 | 2.9079e-05 | 1.843e-05 | 0.073718 | 0.073718 | 0.073718 | 0.9818 | -0.3501 | 0.98116 | -0.36265 | 20.2523
47 | -0.01845 | -0.0046244 | 0.018453 | 0.004626 | 2.6901e-06 | 1.6061e-06 | 0.027992 | 0.027992 | 0.027992 | 0.98081 | -0.36941 | 0.98097 | -0.36635 | 7.69
48 | 0.0092335 | 0.0023144 | -0.0092323 | -0.0023138 | 1.1863e-06 | 5.5581e-07 | 0.014008 | 0.014009 | 0.014009 | 0.98081 | -0.36941 | 0.98068 | -0.37211 | 3.8485
49 | -0.041661 | -0.010443 | 0.041669 | 0.010447 | 7.3587e-06 | 4.6476e-06 | 0.063196 | 0.063196 | 0.063196 | 0.98097 | -0.36635 | 0.98116 | -0.36265 | 17.3615
50 | 0.021108 | 0.0052965 | -0.021089 | -0.0052855 | 1.808e-05 | 1.0951e-05 | 0.031665 | 0.031665 | 0.031665 | 0.99198 | -0.1543 | 0.99105 | -0.17228 | 8.6991
51 | -0.021108 | -0.0052965 | 0.021126 | 0.0053074 | 1.7979e-05 | 1.0889e-05 | 0.031665 | 0.031664 | 0.031665 | 0.99198 | -0.1543 | 0.9929 | -0.13646 | 8.6991
52 | -0.026008 | -0.006531 | 0.026013 | 0.006534 | 4.9247e-06 | 3.04e-06 | 0.038981 | 0.038981 | 0.038981 | 0.9929 | -0.13646 | 0.99311 | -0.13249 | 10.7091
53 | -0.034463 | -0.008652 | 0.034464 | 0.008652 | 1.0847e-07 | 6.8016e-08 | 0.051643 | 0.051643 | 0.051643 | 0.99311 | -0.13249 | 0.99311 | -0.13242 | 14.1877
54 | -0.045896 | -0.011517 | 0.045922 | 0.011534 | 2.6466e-05 | 1.6745e-05 | 0.068772 | 0.068772 | 0.068772 | 0.99311 | -0.13242 | 0.99374 | -0.12034 | 18.8935
55 | -0.057295 | -0.014384 | 0.057312 | 0.014395 | 1.6411e-05 | 1.0426e-05 | 0.085802 | 0.085802 | 0.085802 | 0.99374 | -0.12034 | 0.99405 | -0.11433 | 23.572
56 | -0.095552 | -0.023979 | 0.095613 | 0.024017 | 6.0079e-05 | 3.8349e-05 | 0.14305 | 0.14305 | 0.14305 | 0.99405 | -0.11433 | 0.99473 | -0.10116 | 39.2983
57 | -0.10191 | -0.025596 | 0.10202 | 0.025666 | 0.00010962 | 6.9993e-05 | 0.15247 | 0.15247 | 0.15247 | 0.99473 | -0.10116 | 0.9959 | -0.078642 | 41.8873
58 | -0.11173 | -0.0281 | 0.11175 | 0.028108 | 1.2624e-05 | 8.0638e-06 | 0.16698 | 0.16698 | 0.16698 | 0.9959 | -0.078642 | 0.99602 | -0.076277 | 45.8734
59 | 0.13911 | 0.035327 | -0.1391 | -0.035322 | 7.8471e-06 | 4.9668e-06 | 0.20917 | 0.20917 | 0.20917 | 0.99041 | -0.18288 | 0.99035 | -0.18405 | 19.1545
60 | -0.11804 | -0.029685 | 0.1182 | 0.029785 | 0.00015582 | 9.9553e-05 | 0.17638 | 0.17638 | 0.17638 | 0.99602 | -0.076277 | 0.99746 | -0.048679 | 48.4569
61 | -0.13415 | -0.034057 | 0.1342 | 0.034094 | 5.8992e-05 | 3.7308e-05 | 0.20181 | 0.20181 | 0.20181 | 0.98987 | -0.19319 | 0.99035 | -0.18405 | 18.4805
62 | 0.0057947 | 0.0014519 | -0.0057943 | -0.0014518 | 4.4041e-07 | 8.7507e-08 | 0.0087617 | 0.0087618 | 0.0087618 | 0.98411 | -0.30442 | 0.98402 | -0.30602 | 2.4071
63 | -0.0057947 | -0.0014519 | 0.0057951 | 0.001452 | 3.4441e-07 | 6.8407e-08 | 0.0087617 | 0.0087617 | 0.0087617 | 0.98411 | -0.30442 | 0.98417 | -0.30318 | 2.4071
64 | 0.0037691 | 0.00094424 | -0.0037688 | -0.00094432 | 2.082e-07 | -8.3868e-08 | 0.0056993 | 0.0056994 | 0.0056994 | 0.98402 | -0.30602 | 0.98396 | -0.30718 | 1.5658
65 | -0.017172 | -0.0043034 | 0.017176 | 0.0043056 | 3.743e-06 | 2.2073e-06 | 0.025964 | 0.025964 | 0.025964 | 0.98417 | -0.30318 | 0.9844 | -0.2986 | 7.1329
66 | 0.049014 | 0.012304 | -0.048963 | -0.012272 | 5.0769e-05 | 3.2195e-05 | 0.075061 | 0.075061 | 0.075061 | 0.97174 | -0.54545 | 0.97064 | -0.56719 | 20.6213
67 | -0.049014 | -0.012304 | 0.049598 | 0.012675 | 0.00058457 | 0.00037065 | 0.075061 | 0.07506 | 0.075061 | 0.97174 | -0.54545 | 0.9844 | -0.2986 | 20.6213
68 | 0.048963 | 0.012272 | -0.04896 | -0.012271 | 2.3972e-06 | 1.5202e-06 | 0.075061 | 0.075061 | 0.075061 | 0.97064 | -0.56719 | 0.97059 | -0.56822 | 20.6213
69 | -0.066774 | -0.016981 | 0.066805 | 0.017 | 3.0265e-05 | 1.9269e-05 | 0.10102 | 0.10102 | 0.10102 | 0.9844 | -0.2986 | 0.98489 | -0.2892 | 27.7537
70 | 0.0037688 | 0.00094432 | -0.0037688 | -0.00094434 | 3.4868e-08 | -1.4043e-08 | 0.0056994 | 0.0056994 | 0.0056994 | 0.98396 | -0.30718 | 0.98395 | -0.30737 | 1.5658
71 | -0.0017325 | -0.00043421 | 0.0017326 | 0.000434 | 4.7657e-08 | -2.0463e-07 | 0.0026201 | 0.00262 | 0.0026201 | 0.98393 | -0.30795 | 0.98395 | -0.30737 | 0.71981

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52671 | 0.1338

## res_load
| p_mw | q_mvar
0 | 0.0025915 | 0.00064948
1 | 0.0020943 | 0.00052487
2 | 0.00327 | 0.00081954
3 | 0.0026311 | 0.00065941
4 | 0.0065671 | 0.0016459
5 | 0.004754 | 0.0011915
6 | 0.0027949 | 0.00070047
7 | 0.0028351 | 0.00071054
8 | 0.0043167 | 0.0010819
9 | 0.005684 | 0.0014245
10 | 0.0062633 | 0.0015697
11 | 0.0040823 | 0.0010231
12 | 0.0099096 | 0.0024836
13 | 0.037318 | 0.0093528
14 | 0.0075013 | 0.00188
15 | 0.0089264 | 0.0022372
16 | 0.0090215 | 0.002261
17 | 0.0074539 | 0.0018681
18 | 0.0075055 | 0.0018811
19 | 0.006356 | 0.001593
20 | 0.0075136 | 0.0018831
21 | 0.0050813 | 0.0012735
22 | 0.0089644 | 0.0022467
23 | 0.0047082 | 0.00118
24 | 0.0050897 | 0.0012756
25 | 0.0074324 | 0.0018627
26 | 0.0024633 | 0.00061737
27 | 0.0045648 | 0.001144
28 | 0.0023963 | 0.00060057
29 | 0.0064854 | 0.0016254
30 | 0.010385 | 0.0026027
31 | 0.012978 | 0.0032525
32 | 0.0041266 | 0.0010342
33 | 0.0041802 | 0.0010477
34 | 0.0076572 | 0.0019191
35 | 0.0092168 | 0.00231
36 | 0.023208 | 0.0058166
37 | 0.0092323 | 0.0023138
38 | 0.0069381 | 0.0017388
39 | 0.021089 | 0.0052855
40 | 0.0048822 | 0.0012236
41 | 0.0084508 | 0.002118
42 | 0.011432 | 0.0028652
43 | 0.011373 | 0.0028503
44 | 0.038241 | 0.0095841
45 | 0.0062999 | 0.0015789
46 | 0.0097108 | 0.0024338
47 | 0.0088901 | 0.0022281
48 | 0.0062948 | 0.0015776
49 | 0.0074872 | 0.0018765
50 | 0.0057396 | 0.0014385
51 | 0.0048985 | 0.0012277
52 | 0.0020252 | 0.00050757
53 | 0.011377 | 0.0028514
54 | 0.04896 | 0.012271
55 | 0.023916 | 0.0059939
56 | 0.0017325 | 0.00043421
57 | 0.0020363 | 0.00051033

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1