## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-295_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-295_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-295_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-295_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-295_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-295_0_4_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_2701-295_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2701-295_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_2701-295_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2701-295_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2701-295_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2701-295_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_2701-295_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2701-295_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2701-295_0_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_2701-295_0_4_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_2701-295_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2701-295_0_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2701-295_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_2701-295_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2701-295_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2701-295_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_2701-295_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2701-295_0_4_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_2701-295_0_4_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_2701-295_0_4_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_2701-295_0_4_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_2701-295_0_4_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_2701-295_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2701-295_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2701-295_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2701-295_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-295_0_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_2701-295_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2701-295_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2701-295_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_2701-295_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2701-295_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_2701-295_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2701-295_0_4_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_2701-295_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2701-295_0_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_2701-295_0_4_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_2701-295_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2701-295_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2701-295_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2701-295_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2701-295_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2701-295_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2701-295_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2701-295_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_2701-295_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_2701-295_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2701-295_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2701-295_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2701-295_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_2701-295_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2701-295_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2701-295_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2701-295_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2701-295_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2701-295_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2701-295_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_2701-295_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2701-295_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_MV_558_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-295_0_4_load_0 | 0 | 0.036078 | 0.0090421 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-295_0_4_load_1 | 1 | 0.0049916 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-295_0_4_load_2 | 2 | 0.0041042 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-295_0_4_load_3 | 3 | 0.0027488 | 0.00068892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-295_0_4_load_68 | 5 | 0.0015851 | 0.00039727 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-295_0_4_load_12 | 6 | 0.0033761 | 0.00084612 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-295_0_4_load_36 | 7 | 0.0028046 | 0.00070289 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-295_0_4_load_29 | 8 | 0.0057396 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-295_0_4_load_22 | 10 | 0.011705 | 0.0029335 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-295_0_4_load_23 | 11 | 0.0064032 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-295_0_4_load_10 | 12 | 0.031253 | 0.0078328 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-295_0_4_load_69 | 14 | 0.0062469 | 0.0015656 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-295_0_4_load_62 | 15 | 0.007708 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-295_0_4_load_47 | 17 | 0.0049568 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-295_0_4_load_48 | 18 | 0.0030653 | 0.00076823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-295_0_4_load_44 | 19 | 0.0030022 | 0.00075242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-295_0_4_load_57 | 21 | 0.0012152 | 0.00030457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-295_0_4_load_54 | 22 | 0.0012876 | 0.0003227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-295_0_4_load_5 | 23 | 0.020561 | 0.0051532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-295_0_4_load_6 | 24 | 0.0029521 | 0.00073986 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-295_0_4_load_7 | 25 | 0.01064 | 0.0026666 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-295_0_4_load_8 | 26 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-295_0_4_load_9 | 27 | 0.0042276 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-295_0_4_load_35 | 28 | 0.0030189 | 0.00075662 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-295_0_4_load_25 | 29 | 0.0038137 | 0.00095581 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-295_0_4_load_24 | 31 | 0.015585 | 0.0039061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-295_0_4_load_67 | 32 | 0.0047952 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-295_0_4_load_28 | 33 | 0.0021665 | 0.00054298 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-295_0_4_load_30 | 34 | 0.0019171 | 0.00048046 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-295_0_4_load_64 | 35 | 0.0010727 | 0.00026883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-295_0_4_load_70 | 36 | 0.0081228 | 0.0020358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-295_0_4_load_66 | 37 | 0.014435 | 0.0036178 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-295_0_4_load_61 | 38 | 0.0046419 | 0.0011634 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-295_0_4_load_65 | 39 | 0.0063302 | 0.0015865 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-295_0_4_load_60 | 41 | 0.0049521 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-295_0_4_load_58 | 42 | 0.0032708 | 0.00081974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-295_0_4_load_45 | 43 | 0.0071012 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-295_0_4_load_43 | 44 | 0.0037818 | 0.00094781 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-295_0_4_load_34 | 45 | 0.0060168 | 0.001508 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-295_0_4_load_53 | 46 | 0.0038046 | 0.00095353 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-295_0_4_load_26 | 47 | 0.0067894 | 0.0017016 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-295_0_4_load_31 | 48 | 0.0054287 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-295_0_4_load_32 | 49 | 0.0058454 | 0.001465 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-295_0_4_load_37 | 50 | 0.0024907 | 0.00062422 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-295_0_4_load_63 | 51 | 0.00319 | 0.0007995 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-295_0_4_load_41 | 52 | 0.0058371 | 0.0014629 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-295_0_4_load_38 | 53 | 0.012582 | 0.0031532 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-295_0_4_load_39 | 54 | 0.0026344 | 0.00066024 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-295_0_4_load_40 | 55 | 0.0032766 | 0.00082119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-295_0_4_load_42 | 56 | 0.0091078 | 0.0022826 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-295_0_4_load_52 | 57 | 0.010257 | 0.0025707 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-295_0_4_load_51 | 58 | 0.0032709 | 0.00081976 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-295_0_4_load_46 | 59 | 0.0027864 | 0.00069834 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-295_0_4_load_50 | 60 | 0.0032668 | 0.00081874 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-295_0_4_load_49 | 61 | 0.0011912 | 0.00029854 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-295_0_4_load_59 | 62 | 0.0037669 | 0.00094408 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-295_0_4_load_56 | 63 | 0.0032309 | 0.00080975 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-295_0_4_load_55 | 64 | 0.0032542 | 0.00081558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-295_0_4_line_0 |  | 0 | 1 | 0.00091661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-295_0_4_line_1 |  | 0 | 2 | 0.030229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-295_0_4_line_2 |  | 1 | 3 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-295_0_4_line_3 |  | 2 | 4 | 0.020648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-295_0_4_line_4 |  | 3 | 5 | 0.0079351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-295_0_4_line_5 |  | 4 | 6 | 0.030356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-295_0_4_line_6 |  | 5 | 7 | 0.0075852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-295_0_4_line_7 |  | 6 | 8 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-295_0_4_line_8 |  | 7 | 30 | 0.029821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-295_0_4_line_9 |  | 8 | 33 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-295_0_4_line_10 |  | 9 | 10 | 0.038347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-295_0_4_line_11 |  | 9 | 11 | 0.02728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-295_0_4_line_12 |  | 9 | 12 | 0.03885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-295_0_4_line_13 |  | 11 | 32 | 0.00042604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-295_0_4_line_14 |  | 13 | 14 | 0.0063141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-295_0_4_line_15 |  | 13 | 15 | 0.003356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-295_0_4_line_16 |  | 15 | 38 | 0.0086077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-295_0_4_line_17 |  | 16 | 17 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-295_0_4_line_18 |  | 16 | 18 | 0.017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-295_0_4_line_19 |  | 16 | 19 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-295_0_4_line_20 |  | 17 | 41 | 0.0087176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-295_0_4_line_21 |  | 18 | 42 | 0.0098333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-295_0_4_line_22 |  | 19 | 43 | 0.0050817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-295_0_4_line_23 |  | 20 | 21 | 0.0013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-295_0_4_line_24 |  | 20 | 22 | 0.010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-295_0_4_line_25 |  | 21 | 35 | 0.0098291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-295_0_4_line_26 |  | 22 | 46 | 0.0087048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-295_0_4_line_27 |  | 23 | 24 | 0.004756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-295_0_4_line_28 |  | 23 | 25 | 0.0070598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-295_0_4_line_29 |  | 24 | 26 | 0.0084589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-295_0_4_line_30 |  | 25 | 27 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-295_0_4_line_31 |  | 26 | 28 | 0.0085619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-295_0_4_line_32 |  | 27 | 29 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-295_0_4_line_33 |  | 28 | 30 | 0.01699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-295_0_4_line_34 |  | 29 | 31 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-295_0_4_line_35 |  | 30 | 50 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-295_0_4_line_36 |  | 30 | 48 | 0.035865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-295_0_4_line_37 |  | 31 | 47 | 0.0042351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-295_0_4_line_38 |  | 32 | 40 | 0.052688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-295_0_4_line_39 |  | 34 | 35 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-295_0_4_line_40 |  | 36 | 37 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-295_0_4_line_41 |  | 37 | 40 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-295_0_4_line_42 |  | 38 | 62 | 0.0084145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-295_0_4_line_43 |  | 39 | 40 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-295_0_4_line_44 |  | 40 | 47 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-295_0_4_line_45 |  | 41 | 62 | 0.0083985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-295_0_4_line_46 |  | 42 | 63 | 0.0077022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-295_0_4_line_47 |  | 43 | 59 | 0.0072338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-295_0_4_line_48 |  | 44 | 45 | 0.0048594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-295_0_4_line_49 |  | 45 | 49 | 0.00028618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-295_0_4_line_50 |  | 46 | 64 | 0.0032992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-295_0_4_line_51 |  | 48 | 49 | 0.0058509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-295_0_4_line_52 |  | 50 | 51 | 0.0021268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-295_0_4_line_53 |  | 51 | 52 | 0.0068932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-295_0_4_line_54 |  | 52 | 54 | 0.0044399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-295_0_4_line_55 |  | 53 | 54 | 0.0077993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-295_0_4_line_56 |  | 53 | 55 | 0.0032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-295_0_4_line_57 |  | 55 | 56 | 0.0021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-295_0_4_line_58 |  | 56 | 57 | 0.0098552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-295_0_4_line_59 |  | 57 | 58 | 3.0134e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-295_0_4_line_60 |  | 58 | 61 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-295_0_4_line_61 |  | 59 | 60 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-295_0_4_line_62 |  | 60 | 61 | 0.0020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-295_0_4_line_63 |  | 63 | 64 | 0.010855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-295_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 65 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2612090.4207 | 1267427.6736 | 2612090.0881 | 1267426.8195
1 | 2612090.0881 | 1267426.8195 | 2612079.1191 | 1267398.6503
2 | 2612095.4704 | 1267440.8227 | 2612093.9641 | 1267436.7733 | 2612090.4207 | 1267427.6736
3 | 2612073.9785 | 1267378.7365 | 2612075.0111 | 1267385.4099 | 2612076.7054 | 1267392.4516 | 2612079.1191 | 1267398.6503
4 | 2612098.2369 | 1267448.26 | 2612095.4704 | 1267440.8227
5 | 2612073.9785 | 1267378.7365 | 2612043.8923 | 1267382.7761
6 | 2612098.2369 | 1267448.26 | 2612100.8814 | 1267455.3692
7 | 2612030.1188 | 1267384.6255 | 2612043.8923 | 1267382.7761
8 | 2612111.2782 | 1267483.319 | 2612100.8814 | 1267455.3692
9 | 2612030.1188 | 1267384.6255 | 2612009.2923 | 1267387.4218
10 | 2612208.1299 | 1267380.8121 | 2612246.4404 | 1267382.4859
11 | 2612208.1299 | 1267380.8121 | 2612208.4242 | 1267408.0907
12 | 2612208.1299 | 1267380.8121 | 2612169.2881 | 1267380.0025
13 | 2612208.4242 | 1267408.0907 | 2612208.4288 | 1267408.5168
14 | 2612045.2418 | 1267560.3943 | 2612048.3433 | 1267565.8941
15 | 2612045.2418 | 1267560.3943 | 2612043.5933 | 1267557.4711
16 | 2612039.3651 | 1267549.9734 | 2612043.5933 | 1267557.4711
17 | 2612014.9212 | 1267506.6285 | 2612026.8242 | 1267527.7353
18 | 2612014.9212 | 1267506.6285 | 2612006.6315 | 1267491.4141
19 | 2612014.9212 | 1267506.6285 | 2612026.7134 | 1267503.7759
20 | 2612026.8242 | 1267527.7353 | 2612031.1064 | 1267535.3287
21 | 2612001.9268 | 1267482.7793 | 2612006.6315 | 1267491.4141
22 | 2612031.6527 | 1267502.581 | 2612026.7134 | 1267503.7759
23 | 2611982.3466 | 1267446.8431 | 2611981.7358 | 1267445.6687
24 | 2611982.3466 | 1267446.8431 | 2611987.3047 | 1267455.9427
25 | 2611977.2001 | 1267436.9486 | 2611981.7358 | 1267445.6687
26 | 2611991.4695 | 1267463.5866 | 2611987.3047 | 1267455.9427
27 | 2612149.0833 | 1267474.7396 | 2612144.4453 | 1267475.7921
28 | 2612149.0833 | 1267474.7396 | 2612155.968 | 1267473.1772
29 | 2612136.1961 | 1267477.6642 | 2612144.4453 | 1267475.7921
30 | 2612170.3592 | 1267469.9112 | 2612155.968 | 1267473.1772
31 | 2612136.1961 | 1267477.6642 | 2612127.8465 | 1267479.559
32 | 2612170.3592 | 1267469.9112 | 2612180.1353 | 1267467.6927
33 | 2612111.2782 | 1267483.319 | 2612127.8465 | 1267479.559
34 | 2612190.0003 | 1267465.454 | 2612180.1353 | 1267467.6927
35 | 2612111.2782 | 1267483.319 | 2612096.7161 | 1267486.8417
36 | 2612111.2782 | 1267483.319 | 2612124.4647 | 1267516.6715
37 | 2612190.0003 | 1267465.454 | 2612194.1304 | 1267464.5167
38 | 2612208.7323 | 1267461.203 | 2612208.8 | 1267442.9347 | 2612208.4288 | 1267408.5168
39 | 2611977.2001 | 1267436.9486 | 2611970.7704 | 1267424.5874
40 | 2612244.0988 | 1267460.6606 | 2612226.2344 | 1267460.9346
41 | 2612208.7323 | 1267461.203 | 2612226.2344 | 1267460.9346
42 | 2612035.2318 | 1267542.6441 | 2612039.3651 | 1267549.9734
43 | 2612208.7323 | 1267461.203 | 2612213.0249 | 1267486.2371
44 | 2612208.7323 | 1267461.203 | 2612194.1304 | 1267464.5167
45 | 2612035.2318 | 1267542.6441 | 2612031.1064 | 1267535.3287
46 | 2612001.9268 | 1267482.7793 | 2611998.2417 | 1267476.0159
47 | 2612038.6836 | 1267500.8802 | 2612031.6527 | 1267502.581
48 | 2612128.5078 | 1267526.8977 | 2612126.7211 | 1267522.3787
49 | 2612126.7211 | 1267522.3787 | 2612126.6159 | 1267522.1125
50 | 2611991.4695 | 1267463.5866 | 2611993.0479 | 1267466.4836
51 | 2612124.4647 | 1267516.6715 | 2612126.6159 | 1267522.1125
52 | 2612096.7161 | 1267486.8417 | 2612094.6489 | 1267487.3417
53 | 2612087.9489 | 1267488.9625 | 2612094.6489 | 1267487.3417
54 | 2612083.6335 | 1267490.0064 | 2612087.9489 | 1267488.9625
55 | 2612083.6335 | 1267490.0064 | 2612076.0529 | 1267491.8403
56 | 2612072.8583 | 1267492.6131 | 2612076.0529 | 1267491.8403
57 | 2612070.784 | 1267493.1148 | 2612072.8583 | 1267492.6131
58 | 2612061.2051 | 1267495.4321 | 2612070.784 | 1267493.1148
59 | 2612061.2051 | 1267495.4321 | 2612061.1758 | 1267495.4391
60 | 2612051.4404 | 1267497.7942 | 2612061.1758 | 1267495.4391
61 | 2612049.4936 | 1267498.2652 | 2612038.6836 | 1267500.8802
62 | 2612051.4404 | 1267497.7942 | 2612049.4936 | 1267498.2652
63 | 2611993.0479 | 1267466.4836 | 2611998.2417 | 1267476.0159

## bus_geodata
| x | y | coords
0 | 2612090.0881 | 1267426.8195
1 | 2612090.4207 | 1267427.6736
2 | 2612079.1191 | 1267398.6503
3 | 2612095.4704 | 1267440.8227
4 | 2612073.9785 | 1267378.7365
5 | 2612098.2369 | 1267448.26
6 | 2612043.8923 | 1267382.7761
7 | 2612100.8814 | 1267455.3692
8 | 2612030.1188 | 1267384.6255
9 | 2612208.1299 | 1267380.8121
10 | 2612246.4404 | 1267382.4859
11 | 2612208.4242 | 1267408.0907
12 | 2612169.2881 | 1267380.0025
13 | 2612045.2418 | 1267560.3943
14 | 2612048.3433 | 1267565.8941
15 | 2612043.5933 | 1267557.4711
16 | 2612014.9212 | 1267506.6285
17 | 2612026.8242 | 1267527.7353
18 | 2612006.6315 | 1267491.4141
19 | 2612026.7134 | 1267503.7759
20 | 2611982.3466 | 1267446.8431
21 | 2611981.7358 | 1267445.6687
22 | 2611987.3047 | 1267455.9427
23 | 2612149.0833 | 1267474.7396
24 | 2612144.4453 | 1267475.7921
25 | 2612155.968 | 1267473.1772
26 | 2612136.1961 | 1267477.6642
27 | 2612170.3592 | 1267469.9113
28 | 2612127.8465 | 1267479.559
29 | 2612180.1353 | 1267467.6927
30 | 2612111.2782 | 1267483.319
31 | 2612190.0003 | 1267465.454
32 | 2612208.4288 | 1267408.5168
33 | 2612009.2923 | 1267387.4218
34 | 2611970.7704 | 1267424.5874
35 | 2611977.2001 | 1267436.9486
36 | 2612244.0988 | 1267460.6606
37 | 2612226.2344 | 1267460.9346
38 | 2612039.3651 | 1267549.9734
39 | 2612213.0249 | 1267486.2371
40 | 2612208.7323 | 1267461.203
41 | 2612031.1064 | 1267535.3287
42 | 2612001.9268 | 1267482.7793
43 | 2612031.6527 | 1267502.581
44 | 2612128.5078 | 1267526.8977
45 | 2612126.7211 | 1267522.3787
46 | 2611991.4695 | 1267463.5866
47 | 2612194.1304 | 1267464.5167
48 | 2612124.4647 | 1267516.6715
49 | 2612126.6159 | 1267522.1125
50 | 2612096.7161 | 1267486.8417
51 | 2612094.6489 | 1267487.3417
52 | 2612087.9489 | 1267488.9625
53 | 2612076.0529 | 1267491.8403
54 | 2612083.6335 | 1267490.0064
55 | 2612072.8583 | 1267492.6131
56 | 2612070.784 | 1267493.1148
57 | 2612061.2051 | 1267495.4321
58 | 2612061.1758 | 1267495.4391
59 | 2612038.6836 | 1267500.8802
60 | 2612049.4936 | 1267498.2652
61 | 2612051.4404 | 1267497.7942
62 | 2612035.2318 | 1267542.6441
63 | 2611998.2417 | 1267476.0159
64 | 2611993.0479 | 1267466.4836
65 | 2612111.2782 | 1267483.319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99839 | -0.03096 | 0.036078 | 0.0090421
1 | 0.99843 | -0.030135 | 0.0049916 | 0.001251
2 | 0.99797 | -0.039098 | 0.0041042 | 0.0010286
3 | 0.99915 | -0.01624 | 0.0027488 | 0.00068892
4 | 0.99775 | -0.043177 | 0 | 0
5 | 0.99958 | -0.0080408 | 0.0015851 | 0.00039727
6 | 0.99744 | -0.049175 | 0.0033761 | 0.00084612
7 | 1 | 0 | -0.36411 | -0.091867
8 | 0.99734 | -0.051101 | 0.0057396 | 0.0014385
9 | 0.98585 | -0.27252 | 0 | 0
10 | 0.98543 | -0.28058 | 0.011705 | 0.0029335
11 | 0.98693 | -0.25153 | 0.0064032 | 0.0016048
12 | 0.98473 | -0.29432 | 0.031253 | 0.0078328
13 | 0.98793 | -0.23238 | 0 | 0
14 | 0.98789 | -0.23308 | 0.0062469 | 0.0015656
15 | 0.98795 | -0.232 | 0.007708 | 0.0019318
16 | 0.98931 | -0.20553 | 0 | 0
17 | 0.98859 | -0.21947 | 0.0049568 | 0.0012423
18 | 0.98896 | -0.21236 | 0.0030653 | 0.00076823
19 | 0.98992 | -0.19378 | 0.0030022 | 0.00075242
20 | 0.98844 | -0.22247 | 0 | 0
21 | 0.98844 | -0.22257 | 0.0012152 | 0.00030457
22 | 0.98848 | -0.22169 | 0.0012876 | 0.0003227
23 | 0.99539 | -0.088108 | 0.020561 | 0.0051532
24 | 0.99571 | -0.082058 | 0.0029521 | 0.00073986
25 | 0.99459 | -0.10353 | 0.01064 | 0.0026666
26 | 0.99609 | -0.074743 | 0.002906 | 0.00072832
27 | 0.99305 | -0.13308 | 0.0042276 | 0.0010595
28 | 0.99648 | -0.067199 | 0.0030189 | 0.00075662
29 | 0.99204 | -0.15246 | 0.0038137 | 0.00095581
30 | 0.99728 | -0.051948 | 0 | 0
31 | 0.99106 | -0.17136 | 0.015585 | 0.0039061
32 | 0.98695 | -0.25115 | 0.0047952 | 0.0012018
33 | 0.9973 | -0.051899 | 0.0021665 | 0.00054298
34 | 0.98838 | -0.22357 | 0.0019171 | 0.00048046
35 | 0.98841 | -0.2231 | 0.0010727 | 0.00026883
36 | 0.98908 | -0.20984 | 0.0081228 | 0.0020358
37 | 0.98921 | -0.20726 | 0.014435 | 0.0036178
38 | 0.98806 | -0.22986 | 0.0046419 | 0.0011634
39 | 0.98942 | -0.20309 | 0.0063302 | 0.0015865
40 | 0.98957 | -0.20023 | 0 | 0
41 | 0.98838 | -0.22371 | 0.0049521 | 0.0012411
42 | 0.98879 | -0.2157 | 0.0032708 | 0.00081974
43 | 0.99019 | -0.1886 | 0.0071012 | 0.0017797
44 | 0.99649 | -0.06718 | 0.0037818 | 0.00094781
45 | 0.9965 | -0.066858 | 0.0060168 | 0.001508
46 | 0.98852 | -0.22084 | 0.0038046 | 0.00095353
47 | 0.99071 | -0.17812 | 0.0067894 | 0.0017016
48 | 0.99659 | -0.065202 | 0.0054287 | 0.0013606
49 | 0.99651 | -0.066808 | 0.0058454 | 0.001465
50 | 0.99557 | -0.084664 | 0.0024907 | 0.00062422
51 | 0.99533 | -0.089224 | 0.00319 | 0.0007995
52 | 0.99459 | -0.10363 | 0.0058371 | 0.0014629
53 | 0.99334 | -0.12764 | 0.012582 | 0.0031532
54 | 0.99413 | -0.11247 | 0.0026344 | 0.00066024
55 | 0.99304 | -0.13331 | 0.0032766 | 0.00082119
56 | 0.99286 | -0.13687 | 0.0091078 | 0.0022826
57 | 0.99209 | -0.15174 | 0.010257 | 0.0025707
58 | 0.99209 | -0.15178 | 0.0032709 | 0.00081976
59 | 0.99061 | -0.18031 | 0.0027864 | 0.00069834
60 | 0.9913 | -0.16702 | 0.0032668 | 0.00081874
61 | 0.99143 | -0.16452 | 0.0011912 | 0.00029854
62 | 0.9882 | -0.22707 | 0.0037669 | 0.00094408
63 | 0.98868 | -0.21786 | 0.0032309 | 0.00080975
64 | 0.98855 | -0.22029 | 0.0032542 | 0.00081558
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.051477 | -0.012905 | 0.051479 | 0.012906 | 2.0233e-06 | 1.2829e-06 | 0.076723 | 0.076723 | 0.076723 | 0.99839 | -0.03096 | 0.99843 | -0.030135 | 21.0778
1 | 0.015399 | 0.0038625 | -0.015393 | -0.003859 | 5.9715e-06 | 3.4266e-06 | 0.022951 | 0.022952 | 0.022952 | 0.99839 | -0.03096 | 0.99797 | -0.039098 | 6.3054
2 | -0.05647 | -0.014157 | 0.056508 | 0.014181 | 3.7415e-05 | 2.3761e-05 | 0.084162 | 0.084162 | 0.084162 | 0.99843 | -0.030135 | 0.99915 | -0.01624 | 23.1215
3 | 0.011288 | 0.0028304 | -0.011286 | -0.0028293 | 2.1937e-06 | 1.1342e-06 | 0.016832 | 0.016832 | 0.016832 | 0.99797 | -0.039098 | 0.99775 | -0.043177 | 4.6242
4 | -0.059257 | -0.01487 | 0.05928 | 0.014884 | 2.3178e-05 | 1.473e-05 | 0.088256 | 0.088256 | 0.088256 | 0.99915 | -0.01624 | 0.99958 | -0.0080408 | 24.2462
5 | 0.011286 | 0.0028293 | -0.011283 | -0.0028276 | 3.2252e-06 | 1.6678e-06 | 0.016832 | 0.016832 | 0.016832 | 0.99775 | -0.043177 | 0.99744 | -0.049175 | 4.6242
6 | -0.060865 | -0.015282 | 0.060888 | 0.015296 | 2.3356e-05 | 1.4849e-05 | 0.090616 | 0.090616 | 0.090616 | 0.99958 | -0.0080408 | 1 | 0 | 24.8944
7 | 0.0079069 | 0.0019815 | -0.0079062 | -0.0019812 | 7.2512e-07 | 2.827e-07 | 0.011796 | 0.011796 | 0.011796 | 0.99744 | -0.049175 | 0.99734 | -0.051101 | 3.2406
8 | 0.30157 | 0.076571 | -0.30082 | -0.076091 | 0.00075178 | 0.00047997 | 0.44909 | 0.44909 | 0.44909 | 1 | 0 | 0.99728 | -0.051948 | 41.1253
9 | 0.0021666 | 0.00054276 | -0.0021665 | -0.00054298 | 8.2338e-08 | -2.2151e-07 | 0.0032324 | 0.0032325 | 0.0032325 | 0.99734 | -0.051101 | 0.9973 | -0.051899 | 0.88806
10 | 0.011709 | 0.0029359 | -0.011705 | -0.0029335 | 4.4922e-06 | 2.3862e-06 | 0.017674 | 0.017675 | 0.017675 | 0.98585 | -0.27252 | 0.98543 | -0.28058 | 4.8557
11 | -0.042995 | -0.010789 | 0.043038 | 0.010816 | 4.3091e-05 | 2.723e-05 | 0.064901 | 0.064901 | 0.064901 | 0.98585 | -0.27252 | 0.98693 | -0.25153 | 17.83
12 | 0.031286 | 0.0078531 | -0.031253 | -0.0078328 | 3.2494e-05 | 2.0301e-05 | 0.047227 | 0.047227 | 0.047227 | 0.98585 | -0.27252 | 0.98473 | -0.29432 | 12.9744
13 | -0.049442 | -0.012421 | 0.049443 | 0.012422 | 8.8806e-07 | 5.6291e-07 | 0.074555 | 0.074555 | 0.074555 | 0.98693 | -0.25153 | 0.98695 | -0.25115 | 20.4822
14 | 0.0062471 | 0.0015657 | -0.0062469 | -0.0015656 | 2.0963e-07 | 5.332e-08 | 0.0094094 | 0.0094094 | 0.0094094 | 0.98793 | -0.23238 | 0.98789 | -0.23308 | 2.585
15 | -0.0062471 | -0.0015657 | 0.0062472 | 0.0015657 | 1.1142e-07 | 2.8338e-08 | 0.0094094 | 0.0094094 | 0.0094094 | 0.98793 | -0.23238 | 0.98795 | -0.232 | 2.585
16 | -0.013955 | -0.0034975 | 0.013957 | 0.0034983 | 1.4261e-06 | 8.0244e-07 | 0.021019 | 0.021019 | 0.021019 | 0.98795 | -0.232 | 0.98806 | -0.22986 | 5.7744
17 | 0.032307 | 0.0081097 | -0.032286 | -0.0080963 | 2.1461e-05 | 1.3424e-05 | 0.048598 | 0.048598 | 0.048598 | 0.98931 | -0.20553 | 0.98859 | -0.21947 | 13.3511
18 | 0.022132 | 0.0055512 | -0.022125 | -0.0055468 | 7.2009e-06 | 4.3861e-06 | 0.033291 | 0.033291 | 0.033291 | 0.98931 | -0.20553 | 0.98896 | -0.21236 | 9.1458
19 | -0.05444 | -0.013661 | 0.05447 | 0.01368 | 3.0509e-05 | 1.937e-05 | 0.081889 | 0.081889 | 0.081889 | 0.98931 | -0.20553 | 0.98992 | -0.19378 | 22.4969
20 | 0.027329 | 0.006854 | -0.027324 | -0.0068505 | 5.5321e-06 | 3.4288e-06 | 0.041137 | 0.041137 | 0.041137 | 0.98859 | -0.21947 | 0.98838 | -0.22371 | 11.3014
21 | 0.01906 | 0.0047786 | -0.019057 | -0.0047768 | 3.0329e-06 | 1.8149e-06 | 0.028679 | 0.028679 | 0.028679 | 0.98896 | -0.21236 | 0.98879 | -0.2157 | 7.8788
22 | -0.057473 | -0.014433 | 0.057487 | 0.014442 | 1.4226e-05 | 9.0393e-06 | 0.086401 | 0.086401 | 0.086401 | 0.98992 | -0.19378 | 0.99019 | -0.1886 | 23.7366
23 | 0.0042051 | 0.0010536 | -0.0042051 | -0.0010536 | 1.9893e-08 | -4.2362e-09 | 0.0063303 | 0.0063304 | 0.0063304 | 0.98844 | -0.22247 | 0.98844 | -0.22257 | 1.7391
24 | -0.0042051 | -0.0010536 | 0.0042053 | 0.0010536 | 1.5572e-07 | -3.3168e-08 | 0.0063303 | 0.0063303 | 0.0063303 | 0.98844 | -0.22247 | 0.98848 | -0.22169 | 1.7391
25 | 0.0029898 | 0.00074907 | -0.0029898 | -0.00074914 | 7.467e-08 | -7.8193e-08 | 0.0045009 | 0.0045009 | 0.0045009 | 0.98844 | -0.22257 | 0.98841 | -0.2231 | 1.2365
26 | -0.0054929 | -0.0013763 | 0.0054931 | 0.0013763 | 2.2318e-07 | 3.1244e-08 | 0.0082686 | 0.0082686 | 0.0082686 | 0.98848 | -0.22169 | 0.98852 | -0.22084 | 2.2716
27 | -0.14545 | -0.036759 | 0.1455 | 0.036785 | 4.2203e-05 | 2.6886e-05 | 0.21755 | 0.21755 | 0.21755 | 0.99539 | -0.088108 | 0.99571 | -0.082058 | 29.8829
28 | 0.12489 | 0.031605 | -0.1248 | -0.031546 | 9.239e-05 | 5.9038e-05 | 0.18681 | 0.18681 | 0.18681 | 0.99539 | -0.088108 | 0.99459 | -0.10353 | 51.3215
29 | -0.14845 | -0.037525 | 0.1485 | 0.037558 | 5.2092e-05 | 3.3009e-05 | 0.22196 | 0.22196 | 0.22196 | 0.99571 | -0.082058 | 0.99609 | -0.074743 | 20.3259
30 | 0.11416 | 0.02888 | -0.114 | -0.028777 | 0.00016161 | 0.00010324 | 0.17089 | 0.17089 | 0.17089 | 0.99459 | -0.10353 | 0.99305 | -0.13308 | 46.9483
31 | -0.15141 | -0.038287 | 0.15146 | 0.038321 | 5.4808e-05 | 3.4743e-05 | 0.2263 | 0.2263 | 0.2263 | 0.99609 | -0.074743 | 0.99648 | -0.067199 | 20.7234
32 | 0.10977 | 0.027717 | -0.10967 | -0.027652 | 0.0001018 | 6.502e-05 | 0.16456 | 0.16456 | 0.16456 | 0.99305 | -0.13308 | 0.99204 | -0.15246 | 45.208
33 | -0.15448 | -0.039078 | 0.15459 | 0.03915 | 0.00011313 | 7.1742e-05 | 0.23081 | 0.23081 | 0.23081 | 0.99648 | -0.067199 | 0.99728 | -0.051948 | 21.1363
34 | 0.10586 | 0.026696 | -0.10576 | -0.026635 | 9.5705e-05 | 6.1121e-05 | 0.15884 | 0.15884 | 0.15884 | 0.99204 | -0.15246 | 0.99106 | -0.17136 | 43.6365
35 | 0.12514 | 0.031651 | -0.12494 | -0.031526 | 0.00019608 | 0.00012529 | 0.18681 | 0.18681 | 0.18681 | 0.99728 | -0.051948 | 0.99557 | -0.084664 | 51.3227
36 | 0.021087 | 0.00529 | -0.021074 | -0.005282 | 1.3316e-05 | 8.0546e-06 | 0.031466 | 0.031466 | 0.031466 | 0.99728 | -0.051948 | 0.99659 | -0.065202 | 8.6445
37 | 0.090174 | 0.022729 | -0.090145 | -0.02271 | 2.9132e-05 | 1.859e-05 | 0.13544 | 0.13544 | 0.13544 | 0.99106 | -0.17136 | 0.99071 | -0.17812 | 37.2078
38 | -0.054238 | -0.013623 | 0.05437 | 0.013707 | 0.00013216 | 8.3906e-05 | 0.081785 | 0.081785 | 0.081785 | 0.98695 | -0.25115 | 0.98957 | -0.20023 | 22.4684
39 | -0.0019171 | -0.00048046 | 0.0019171 | 0.00048031 | 4.3523e-08 | -1.5072e-07 | 0.0028862 | 0.0028861 | 0.0028862 | 0.98838 | -0.22357 | 0.98841 | -0.2231 | 0.7929
40 | -0.0081228 | -0.0020358 | 0.0081238 | 0.0020362 | 1.0005e-06 | 4.1102e-07 | 0.01222 | 0.01222 | 0.01222 | 0.98908 | -0.20984 | 0.98921 | -0.20726 | 3.3573
41 | -0.022559 | -0.005654 | 0.022567 | 0.0056586 | 7.5588e-06 | 4.6128e-06 | 0.033934 | 0.033934 | 0.033934 | 0.98921 | -0.20726 | 0.98957 | -0.20023 | 9.3227
42 | -0.018599 | -0.0046617 | 0.018601 | 0.0046632 | 2.4755e-06 | 1.4765e-06 | 0.02801 | 0.028009 | 0.02801 | 0.98806 | -0.22986 | 0.9882 | -0.22707 | 7.6949
43 | -0.0063302 | -0.0015865 | 0.0063311 | 0.0015867 | 8.6326e-07 | 2.2623e-07 | 0.0095202 | 0.0095201 | 0.0095202 | 0.98942 | -0.20309 | 0.98957 | -0.20023 | 2.6154
44 | -0.083268 | -0.020953 | 0.083356 | 0.021009 | 8.807e-05 | 5.6172e-05 | 0.12524 | 0.12524 | 0.12524 | 0.98957 | -0.20023 | 0.99071 | -0.17812 | 34.4064
45 | 0.022372 | 0.0056094 | -0.022368 | -0.0056072 | 3.5729e-06 | 2.179e-06 | 0.033682 | 0.033682 | 0.033682 | 0.98838 | -0.22371 | 0.9882 | -0.22707 | 9.2532
46 | 0.015786 | 0.003957 | -0.015785 | -0.0039561 | 1.6301e-06 | 9.4449e-07 | 0.023757 | 0.023757 | 0.023757 | 0.98879 | -0.2157 | 0.98868 | -0.21786 | 6.5266
47 | -0.064588 | -0.016221 | 0.064614 | 0.016238 | 2.5562e-05 | 1.6266e-05 | 0.097073 | 0.097073 | 0.097073 | 0.99019 | -0.1886 | 0.99061 | -0.18031 | 26.6684
48 | -0.0037818 | -0.00094781 | 0.0037819 | 0.00094778 | 5.8114e-08 | -2.6113e-08 | 0.0056472 | 0.0056472 | 0.0056472 | 0.99649 | -0.06718 | 0.9965 | -0.066858 | 1.5514
49 | -0.0097987 | -0.0024557 | 0.0097987 | 0.0024557 | 2.2975e-08 | 1.0976e-08 | 0.014632 | 0.014632 | 0.014632 | 0.9965 | -0.066858 | 0.99651 | -0.066808 | 4.0197
50 | -0.0092977 | -0.0023299 | 0.009298 | 0.00233 | 2.4234e-07 | 1.128e-07 | 0.013996 | 0.013996 | 0.013996 | 0.98852 | -0.22084 | 0.98855 | -0.22029 | 3.845
51 | 0.015645 | 0.0039214 | -0.015644 | -0.0039207 | 1.1973e-06 | 6.9005e-07 | 0.02336 | 0.02336 | 0.02336 | 0.99659 | -0.065202 | 0.99651 | -0.066808 | 6.4177
52 | 0.12245 | 0.030902 | -0.12242 | -0.030884 | 2.6736e-05 | 1.7084e-05 | 0.18309 | 0.18309 | 0.18309 | 0.99557 | -0.084664 | 0.99533 | -0.089224 | 50.3
53 | 0.11923 | 0.030085 | -0.11915 | -0.030032 | 8.2199e-05 | 5.2518e-05 | 0.17832 | 0.17832 | 0.17832 | 0.99533 | -0.089224 | 0.99459 | -0.10363 | 48.9898
54 | 0.11331 | 0.02857 | -0.11327 | -0.028539 | 4.7885e-05 | 3.0589e-05 | 0.16959 | 0.16959 | 0.16959 | 0.99459 | -0.10363 | 0.99413 | -0.11247 | 46.5907
55 | -0.11055 | -0.027827 | 0.11063 | 0.027879 | 8.0251e-05 | 5.126e-05 | 0.16565 | 0.16565 | 0.16565 | 0.99334 | -0.12764 | 0.99413 | -0.11247 | 45.5074
56 | 0.097969 | 0.024674 | -0.097942 | -0.024657 | 2.6561e-05 | 1.6957e-05 | 0.1468 | 0.1468 | 0.1468 | 0.99334 | -0.12764 | 0.99304 | -0.13331 | 40.3296
57 | 0.094666 | 0.023836 | -0.09465 | -0.023826 | 1.6112e-05 | 1.0284e-05 | 0.14189 | 0.14189 | 0.14189 | 0.99304 | -0.13331 | 0.99286 | -0.13687 | 38.9808
58 | 0.085542 | 0.021543 | -0.085481 | -0.021504 | 6.0778e-05 | 3.877e-05 | 0.12824 | 0.12824 | 0.12824 | 0.99286 | -0.13687 | 0.99209 | -0.15174 | 35.2308
59 | 0.075224 | 0.018934 | -0.075224 | -0.018934 | 1.4392e-07 | 9.1729e-08 | 0.11286 | 0.11286 | 0.11286 | 0.99209 | -0.15174 | 0.99209 | -0.15178 | 31.0043
60 | 0.071953 | 0.018114 | -0.071909 | -0.018086 | 4.377e-05 | 2.7884e-05 | 0.10795 | 0.10795 | 0.10795 | 0.99209 | -0.15178 | 0.99143 | -0.16452 | 29.6565
61 | -0.0674 | -0.016936 | 0.067443 | 0.016963 | 4.2763e-05 | 2.7225e-05 | 0.10126 | 0.10126 | 0.10126 | 0.99061 | -0.18031 | 0.9913 | -0.16702 | 27.8182
62 | -0.07071 | -0.017782 | 0.070718 | 0.017787 | 8.4649e-06 | 5.3917e-06 | 0.10616 | 0.10616 | 0.10616 | 0.9913 | -0.16702 | 0.99143 | -0.16452 | 29.1654
63 | 0.012554 | 0.0031464 | -0.012552 | -0.0031456 | 1.4532e-06 | 7.9085e-07 | 0.018894 | 0.018894 | 0.018894 | 0.98868 | -0.21786 | 0.98855 | -0.22029 | 5.1907

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36691 | 0.09257

## res_load
| p_mw | q_mvar
0 | 0.036078 | 0.0090421
1 | 0.0049916 | 0.001251
2 | 0.0041042 | 0.0010286
3 | 0.0027488 | 0.00068892
4 | 0.0015851 | 0.00039727
5 | 0.0033761 | 0.00084612
6 | 0.0028046 | 0.00070289
7 | 0.0057396 | 0.0014385
8 | 0.011705 | 0.0029335
9 | 0.0064032 | 0.0016048
10 | 0.031253 | 0.0078328
11 | 0.0062469 | 0.0015656
12 | 0.007708 | 0.0019318
13 | 0.0049568 | 0.0012423
14 | 0.0030653 | 0.00076823
15 | 0.0030022 | 0.00075242
16 | 0.0012152 | 0.00030457
17 | 0.0012876 | 0.0003227
18 | 0.020561 | 0.0051532
19 | 0.0029521 | 0.00073986
20 | 0.01064 | 0.0026666
21 | 0.002906 | 0.00072832
22 | 0.0042276 | 0.0010595
23 | 0.0030189 | 0.00075662
24 | 0.0038137 | 0.00095581
25 | 0.015585 | 0.0039061
26 | 0.0047952 | 0.0012018
27 | 0.0021665 | 0.00054298
28 | 0.0019171 | 0.00048046
29 | 0.0010727 | 0.00026883
30 | 0.0081228 | 0.0020358
31 | 0.014435 | 0.0036178
32 | 0.0046419 | 0.0011634
33 | 0.0063302 | 0.0015865
34 | 0.0049521 | 0.0012411
35 | 0.0032708 | 0.00081974
36 | 0.0071012 | 0.0017797
37 | 0.0037818 | 0.00094781
38 | 0.0060168 | 0.001508
39 | 0.0038046 | 0.00095353
40 | 0.0067894 | 0.0017016
41 | 0.0054287 | 0.0013606
42 | 0.0058454 | 0.001465
43 | 0.0024907 | 0.00062422
44 | 0.00319 | 0.0007995
45 | 0.0058371 | 0.0014629
46 | 0.012582 | 0.0031532
47 | 0.0026344 | 0.00066024
48 | 0.0032766 | 0.00082119
49 | 0.0091078 | 0.0022826
50 | 0.010257 | 0.0025707
51 | 0.0032709 | 0.00081976
52 | 0.0027864 | 0.00069834
53 | 0.0032668 | 0.00081874
54 | 0.0011912 | 0.00029854
55 | 0.0037669 | 0.00094408
56 | 0.0032309 | 0.00080975
57 | 0.0032542 | 0.00081558

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1