## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-305_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-305_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-305_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-305_0_6_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2701-305_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-305_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-305_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2701-305_0_6_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_2701-305_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2701-305_0_6_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_2701-305_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2701-305_0_6_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2701-305_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2701-305_0_6_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_2701-305_0_6_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_2701-305_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2701-305_0_6_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_2701-305_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2701-305_0_6_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2701-305_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2701-305_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2701-305_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2701-305_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2701-305_0_6_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_2701-305_0_6_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_2701-305_0_6_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_2701-305_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2701-305_0_6_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_2701-305_0_6_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_2701-305_0_6_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_2701-305_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2701-305_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_2701-305_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2701-305_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2701-305_0_6_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_2701-305_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2701-305_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2701-305_0_6_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2701-305_0_6_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_2701-305_0_6_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_2701-305_0_6_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2701-305_0_6_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_2701-305_0_6_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_2701-305_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2701-305_0_6_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_2701-305_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_2701-305_0_6_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_2701-305_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2701-305_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2701-305_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_2701-305_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_2701-305_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2701-305_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2701-305_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2701-305_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2701-305_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2701-305_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2701-305_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2701-305_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_2701-305_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_2701-305_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2701-305_0_6_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_2701-305_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_MV_564_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-305_0_6_load_0 | 0 | 0.0070543 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-305_0_6_load_1 | 1 | 0.0054065 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-305_0_6_load_3 | 2 | 0.0041985 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-305_0_6_load_25 | 6 | 0.010942 | 0.0027424 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-305_0_6_load_60 | 7 | 0.0047636 | 0.0011939 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-305_0_6_load_50 | 13 | 0.037991 | 0.0095214 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-305_0_6_load_48 | 14 | 0.028115 | 0.0070463 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-305_0_6_load_58 | 16 | 0.0063514 | 0.0015918 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-305_0_6_load_55 | 18 | 0.0065932 | 0.0016524 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-305_0_6_load_23 | 21 | 0.030675 | 0.0076878 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-305_0_6_load_62 | 23 | 0.0052498 | 0.0013157 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-305_0_6_load_53 | 24 | 0.0038977 | 0.00097687 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-305_0_6_load_57 | 25 | 0.0038856 | 0.00097383 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-305_0_6_load_69 | 27 | 0.0046103 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-305_0_6_load_70 | 28 | 0.011072 | 0.0027749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-305_0_6_load_65 | 29 | 0.0056481 | 0.0014155 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-305_0_6_load_21 | 30 | 0.0053062 | 0.0013298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-305_0_6_load_54 | 31 | 0.036951 | 0.0092609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-305_0_6_load_26 | 32 | 0.0055709 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-305_0_6_load_61 | 34 | 0.0065438 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-305_0_6_load_29 | 35 | 0.020552 | 0.0051509 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-305_0_6_load_52 | 36 | 0.0044266 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-305_0_6_load_51 | 37 | 0.0038499 | 0.00096487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-305_0_6_load_67 | 38 | 0.0050935 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-305_0_6_load_68 | 39 | 0.0077156 | 0.0019337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-305_0_6_load_49 | 40 | 0.030315 | 0.0075977 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-305_0_6_load_59 | 41 | 0.097863 | 0.024527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-305_0_6_load_56 | 42 | 0.0051197 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-305_0_6_load_24 | 43 | 0.034489 | 0.0086438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-305_0_6_load_63 | 44 | 0.0077681 | 0.0019469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-305_0_6_load_22 | 45 | 0.0038884 | 0.00097452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-305_0_6_load_27 | 46 | 0.008566 | 0.0021468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-305_0_6_load_41 | 47 | 0.0061566 | 0.001543 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-305_0_6_load_42 | 48 | 0.0036049 | 0.00090346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-305_0_6_load_28 | 49 | 0.018475 | 0.0046302 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-305_0_6_load_30 | 50 | 0.0044666 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-305_0_6_load_43 | 51 | 0.004405 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-305_0_6_load_32 | 52 | 0.0050397 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-305_0_6_load_33 | 53 | 0.0040389 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-305_0_6_load_34 | 54 | 0.0038522 | 0.00096545 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-305_0_6_load_35 | 55 | 0.0039841 | 0.0009985 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-305_0_6_load_38 | 57 | 0.0084551 | 0.002119 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-305_0_6_load_44 | 58 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-305_0_6_load_37 | 59 | 0.0050633 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-305_0_6_load_45 | 60 | 0.0077662 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-305_0_6_load_39 | 61 | 0.0072024 | 0.0018051 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-305_0_6_load_46 | 62 | 0.0076631 | 0.0019206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-305_0_6_line_0 |  | 0 | 1 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-305_0_6_line_1 |  | 1 | 2 | 0.011908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-305_0_6_line_2 |  | 2 | 3 | 0.024041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-305_0_6_line_3 |  | 3 | 11 | 0.005294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-305_0_6_line_4 |  | 3 | 8 | 0.024728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-305_0_6_line_5 |  | 4 | 5 | 0.008376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2701-305_0_6_line_6 |  | 4 | 6 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2701-305_0_6_line_7 |  | 5 | 7 | 0.023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2701-305_0_6_line_8 |  | 6 | 32 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2701-305_0_6_line_9 |  | 7 | 33 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2701-305_0_6_line_10 |  | 8 | 9 | 0.00339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-305_0_6_line_11 |  | 8 | 10 | 0.026309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-305_0_6_line_12 |  | 9 | 34 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2701-305_0_6_line_13 |  | 9 | 35 | 0.0082999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-305_0_6_line_14 |  | 10 | 13 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-305_0_6_line_15 |  | 10 | 31 | 0.026569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-305_0_6_line_16 |  | 11 | 30 | 0.0068803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-305_0_6_line_17 |  | 11 | 26 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-305_0_6_line_18 |  | 12 | 13 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-305_0_6_line_19 |  | 12 | 14 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-305_0_6_line_20 |  | 14 | 40 | 0.034303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-305_0_6_line_21 |  | 15 | 16 | 0.020546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2701-305_0_6_line_22 |  | 15 | 17 | 0.055836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-305_0_6_line_23 |  | 15 | 18 | 0.024943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2701-305_0_6_line_24 |  | 16 | 41 | 0.02421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2701-305_0_6_line_25 |  | 17 | 22 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-305_0_6_line_26 |  | 17 | 23 | 0.0069572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-305_0_6_line_27 |  | 18 | 42 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_2701-305_0_6_line_28 |  | 19 | 20 | 0.040803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-305_0_6_line_29 |  | 19 | 21 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-305_0_6_line_30 |  | 20 | 24 | 0.001725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_2701-305_0_6_line_31 |  | 20 | 25 | 0.0065575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2701-305_0_6_line_32 |  | 21 | 43 | 0.0069913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-305_0_6_line_33 |  | 22 | 29 | 0.051356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-305_0_6_line_34 |  | 23 | 44 | 0.052739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-305_0_6_line_35 |  | 24 | 37 | 0.0084673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2701-305_0_6_line_36 |  | 25 | 42 | 0.0097902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_2701-305_0_6_line_37 |  | 26 | 27 | 0.0020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-305_0_6_line_38 |  | 26 | 28 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-305_0_6_line_39 |  | 27 | 39 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-305_0_6_line_40 |  | 30 | 45 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-305_0_6_line_41 |  | 32 | 46 | 0.0054557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_2701-305_0_6_line_42 |  | 33 | 61 | 0.0011494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2701-305_0_6_line_43 |  | 34 | 51 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2701-305_0_6_line_44 |  | 35 | 49 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-305_0_6_line_45 |  | 36 | 37 | 0.0096321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-305_0_6_line_46 |  | 38 | 39 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-305_0_6_line_47 |  | 41 | 62 | 0.004344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2701-305_0_6_line_48 |  | 46 | 47 | 0.0079567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2701-305_0_6_line_49 |  | 47 | 48 | 0.0044033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_2701-305_0_6_line_50 |  | 48 | 51 | 0.0080908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_2701-305_0_6_line_51 |  | 49 | 50 | 0.0016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-305_0_6_line_52 |  | 52 | 53 | 0.0098912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_2701-305_0_6_line_53 |  | 52 | 54 | 0.009592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2701-305_0_6_line_54 |  | 53 | 55 | 0.0088025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_2701-305_0_6_line_55 |  | 54 | 56 | 0.032243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2701-305_0_6_line_56 |  | 55 | 57 | 0.0060169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_2701-305_0_6_line_57 |  | 56 | 58 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2701-305_0_6_line_58 |  | 57 | 59 | 0.0042974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2701-305_0_6_line_59 |  | 58 | 60 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2701-305_0_6_line_60 |  | 59 | 61 | 0.014111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2701-305_0_6_line_61 |  | 60 | 62 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-305_0_6_trafo_51 | 0.63 MVA 20/0.4 kV | 63 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2609725.0024 | 1267411.7659 | 2609712.5096 | 1267410.8745
1 | 2609700.632 | 1267410.0271 | 2609712.5096 | 1267410.8745
2 | 2609676.6519 | 1267408.316 | 2609700.632 | 1267410.0271
3 | 2609676.5455 | 1267413.6084 | 2609676.6519 | 1267408.316
4 | 2609676.6519 | 1267408.316 | 2609676.928 | 1267400.5333 | 2609676.983 | 1267399.1435 | 2609681.5436 | 1267399.4622 | 2609681.6437 | 1267398.0837 | 2609682.3141 | 1267388.5114
5 | 2609769.4738 | 1267397.1043 | 2609777.8499 | 1267397.7519
6 | 2609769.4738 | 1267397.1043 | 2609756.7771 | 1267396.138
7 | 2609777.8499 | 1267397.7519 | 2609779.6837 | 1267374.4087
8 | 2609740.9927 | 1267394.9368 | 2609756.7771 | 1267396.138
9 | 2609780.6482 | 1267362.1316 | 2609779.6837 | 1267374.4087
10 | 2609682.3141 | 1267388.5114 | 2609685.7083 | 1267388.7059
11 | 2609657.303 | 1267388.493 | 2609665.7171 | 1267388.9403 | 2609668.4942 | 1267389.0893 | 2609674.8537 | 1267389.4444 | 2609674.9537 | 1267388.088 | 2609682.3141 | 1267388.5114
12 | 2609685.7083 | 1267388.7059 | 2609685.562 | 1267390.7182 | 2609703.3276 | 1267392.0703
13 | 2609685.7083 | 1267388.7059 | 2609686.3098 | 1267380.4278
14 | 2609657.303 | 1267388.493 | 2609658.7506 | 1267371.969
15 | 2609657.303 | 1267388.493 | 2609641.0774 | 1267387.3214 | 2609630.7803 | 1267387.5899
16 | 2609676.5455 | 1267413.6084 | 2609676.8595 | 1267420.4815
17 | 2609660.0165 | 1267413.9151 | 2609667.4907 | 1267413.7716 | 2609676.5455 | 1267413.6084
18 | 2609660.6007 | 1267350.8498 | 2609658.7506 | 1267371.969
19 | 2609660.6007 | 1267350.8498 | 2609644.3353 | 1267349.6716
20 | 2609644.3353 | 1267349.6716 | 2609630.2941 | 1267348.6546 | 2609631.3525 | 1267328.4568
21 | 2609689.0635 | 1267269.6837 | 2609709.5628 | 1267271.0616
22 | 2609688.5341 | 1267215.7563 | 2609684.9553 | 1267264.1621 | 2609685.1481 | 1267265.9192 | 2609686.1165 | 1267267.4996 | 2609687.5973 | 1267268.7585 | 2609689.0635 | 1267269.6837
23 | 2609689.0635 | 1267269.6837 | 2609687.8067 | 1267294.5954
24 | 2609709.5628 | 1267271.0616 | 2609733.7183 | 1267272.6852
25 | 2609670.5017 | 1267214.5483 | 2609688.5341 | 1267215.7563
26 | 2609688.5341 | 1267215.7563 | 2609689.0473 | 1267208.818
27 | 2609687.8067 | 1267294.5954 | 2609687.2426 | 1267305.778
28 | 2609664.5537 | 1267303.6009 | 2609665.3667 | 1267312.7975 | 2609666.0637 | 1267314.6555 | 2609667.613 | 1267315.3585 | 2609672.5425 | 1267315.7335 | 2609671.8669 | 1267323.8714 | 2609679.8935 | 1267321.972 | 2609686.419 | 1267322.105
29 | 2609664.5537 | 1267303.6009 | 2609660.8586 | 1267303.2947 | 2609649.1837 | 1267300.8833
30 | 2609686.419 | 1267322.105 | 2609686.3125 | 1267323.8267
31 | 2609686.419 | 1267322.105 | 2609686.7493 | 1267315.5558
32 | 2609642.3369 | 1267299.4691 | 2609649.1837 | 1267300.8833
33 | 2609670.5017 | 1267214.5483 | 2609674.243 | 1267163.3283
34 | 2609689.0473 | 1267208.818 | 2609692.9376 | 1267156.2229
35 | 2609685.7901 | 1267332.2778 | 2609686.3125 | 1267323.8267
36 | 2609686.7493 | 1267315.5558 | 2609687.2426 | 1267305.778
37 | 2609660.0165 | 1267413.9151 | 2609659.8955 | 1267415.9471
38 | 2609660.0165 | 1267413.9151 | 2609659.0424 | 1267406.5973 | 2609640.694 | 1267405.6113 | 2609640.5684 | 1267405.5872
39 | 2609660.2727 | 1267439.7004 | 2609659.4981 | 1267422.6204 | 2609659.8955 | 1267415.9471
40 | 2609676.8595 | 1267420.4815 | 2609677.7152 | 1267439.2082
41 | 2609740.9927 | 1267394.9368 | 2609735.5527 | 1267394.5228
42 | 2609780.6482 | 1267362.1316 | 2609780.7384 | 1267360.9857
43 | 2609715.1608 | 1267392.9708 | 2609703.3276 | 1267392.0703
44 | 2609686.3098 | 1267380.4278 | 2609687.607 | 1267362.5764
45 | 2609685.7901 | 1267332.2778 | 2609685.1959 | 1267341.8916
46 | 2609660.9976 | 1267455.6863 | 2609660.2727 | 1267439.7004
47 | 2609738.0525 | 1267272.9765 | 2609733.7183 | 1267272.6852
48 | 2609727.6189 | 1267393.919 | 2609735.5527 | 1267394.5228
49 | 2609727.6189 | 1267393.919 | 2609723.2283 | 1267393.5848
50 | 2609715.1608 | 1267392.9708 | 2609723.2283 | 1267393.5848
51 | 2609687.7255 | 1267360.9454 | 2609687.607 | 1267362.5764
52 | 2609783.3461 | 1267327.8608 | 2609784.1223 | 1267318.0002
53 | 2609784.8751 | 1267308.4378 | 2609784.1223 | 1267318.0002
54 | 2609783.3461 | 1267327.8608 | 2609782.6553 | 1267336.6361
55 | 2609787.4055 | 1267276.2937 | 2609784.8751 | 1267308.4378
56 | 2609782.1831 | 1267342.6345 | 2609782.6553 | 1267336.6361
57 | 2609787.4055 | 1267276.2937 | 2609768.8266 | 1267275.045
58 | 2609782.1831 | 1267342.6345 | 2609781.8458 | 1267346.9187
59 | 2609768.8266 | 1267275.045 | 2609753.2237 | 1267273.9962
60 | 2609780.7384 | 1267360.9857 | 2609781.8458 | 1267346.9187
61 | 2609738.0525 | 1267272.9765 | 2609753.2237 | 1267273.9962

## bus_geodata
| x | y | coords
0 | 2609725.0024 | 1267411.7659
1 | 2609712.5096 | 1267410.8745
2 | 2609700.632 | 1267410.0271
3 | 2609676.6519 | 1267408.316
4 | 2609769.4738 | 1267397.1043
5 | 2609777.8499 | 1267397.7519
6 | 2609756.7771 | 1267396.138
7 | 2609779.6837 | 1267374.4087
8 | 2609682.3141 | 1267388.5114
9 | 2609685.7083 | 1267388.7059
10 | 2609657.303 | 1267388.4929
11 | 2609676.5455 | 1267413.6084
12 | 2609660.6007 | 1267350.8498
13 | 2609658.7506 | 1267371.969
14 | 2609644.3353 | 1267349.6716
15 | 2609689.0635 | 1267269.6837
16 | 2609709.5628 | 1267271.0616
17 | 2609688.5341 | 1267215.7563
18 | 2609687.8067 | 1267294.5954
19 | 2609664.5537 | 1267303.6009
20 | 2609686.419 | 1267322.105
21 | 2609649.1837 | 1267300.8833
22 | 2609670.5017 | 1267214.5483
23 | 2609689.0473 | 1267208.818
24 | 2609686.3125 | 1267323.8267
25 | 2609686.7493 | 1267315.5558
26 | 2609660.0165 | 1267413.9151
27 | 2609659.8955 | 1267415.9471
28 | 2609640.5684 | 1267405.5872
29 | 2609674.243 | 1267163.3283
30 | 2609676.8595 | 1267420.4815
31 | 2609630.7803 | 1267387.5899
32 | 2609740.9927 | 1267394.9368
33 | 2609780.6482 | 1267362.1316
34 | 2609703.3276 | 1267392.0703
35 | 2609686.3098 | 1267380.4278
36 | 2609685.1959 | 1267341.8916
37 | 2609685.7901 | 1267332.2778
38 | 2609660.9976 | 1267455.6863
39 | 2609660.2727 | 1267439.7004
40 | 2609631.3525 | 1267328.4568
41 | 2609733.7183 | 1267272.6852
42 | 2609687.2426 | 1267305.778
43 | 2609642.3369 | 1267299.4691
44 | 2609692.9376 | 1267156.2229
45 | 2609677.7152 | 1267439.2082
46 | 2609735.5527 | 1267394.5228
47 | 2609727.6189 | 1267393.919
48 | 2609723.2283 | 1267393.5848
49 | 2609687.607 | 1267362.5764
50 | 2609687.7255 | 1267360.9454
51 | 2609715.1608 | 1267392.9708
52 | 2609784.1223 | 1267318.0002
53 | 2609783.3461 | 1267327.8608
54 | 2609784.8751 | 1267308.4378
55 | 2609782.6553 | 1267336.6361
56 | 2609787.4055 | 1267276.2937
57 | 2609782.1831 | 1267342.6345
58 | 2609768.8266 | 1267275.045
59 | 2609781.8458 | 1267346.9187
60 | 2609753.2237 | 1267273.9962
61 | 2609780.7384 | 1267360.9857
62 | 2609738.0525 | 1267272.9765
63 | 2609686.419 | 1267322.105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97404 | -0.49985 | 0.0070543 | 0.001768
1 | 0.97413 | -0.49823 | 0.0054065 | 0.001355
2 | 0.97426 | -0.4955 | 0.0041985 | 0.0010522
3 | 0.97464 | -0.48815 | 0 | 0
4 | 0.98011 | -0.38088 | 0 | 0
5 | 0.98054 | -0.37247 | 0 | 0
6 | 0.97946 | -0.39369 | 0.010942 | 0.0027424
7 | 0.98175 | -0.34898 | 0.0047636 | 0.0011939
8 | 0.97589 | -0.46352 | 0 | 0
9 | 0.97609 | -0.45964 | 0 | 0
10 | 0.9748 | -0.48496 | 0 | 0
11 | 0.97445 | -0.49181 | 0 | 0
12 | 0.97215 | -0.53716 | 0 | 0
13 | 0.9733 | -0.51434 | 0.037991 | 0.0095214
14 | 0.97126 | -0.55475 | 0.028115 | 0.0070463
15 | 0.99435 | -0.10696 | 0 | 0
16 | 0.99264 | -0.13959 | 0.0063514 | 0.0015918
17 | 0.9934 | -0.12535 | 0 | 0
18 | 0.99652 | -0.06585 | 0.0065932 | 0.0016524
19 | 0.99654 | -0.066202 | 0 | 0
20 | 0.99896 | -0.019649 | 0 | 0
21 | 0.99561 | -0.084093 | 0.030675 | 0.0076878
22 | 0.99331 | -0.12715 | 0 | 0
23 | 0.99332 | -0.12695 | 0.0052498 | 0.0013157
24 | 0.99913 | -0.01634 | 0.0038977 | 0.00097687
25 | 0.99837 | -0.030743 | 0.0038856 | 0.00097383
26 | 0.97401 | -0.50046 | 0 | 0
27 | 0.97398 | -0.50112 | 0.0046103 | 0.0011554
28 | 0.97375 | -0.50573 | 0.011072 | 0.0027749
29 | 0.99304 | -0.13227 | 0.0056481 | 0.0014155
30 | 0.97439 | -0.49298 | 0.0053062 | 0.0013298
31 | 0.97388 | -0.50298 | 0.036951 | 0.0092609
32 | 0.97867 | -0.40901 | 0.0055709 | 0.0013962
33 | 0.9824 | -0.33643 | 0 | 0
34 | 0.97694 | -0.44288 | 0.0065438 | 0.00164
35 | 0.97575 | -0.46625 | 0.020552 | 0.0051509
36 | 0.99996 | -0.0007432 | 0.0044266 | 0.0011094
37 | 1 | 0 | -0.56806 | -0.14541
38 | 0.97362 | -0.50821 | 0.0050935 | 0.0012765
39 | 0.9737 | -0.50672 | 0.0077156 | 0.0019337
40 | 0.97029 | -0.57398 | 0.030315 | 0.0075977
41 | 0.99065 | -0.17764 | 0.097863 | 0.024527
42 | 0.9975 | -0.047197 | 0.0051197 | 0.0012831
43 | 0.99539 | -0.088334 | 0.034489 | 0.0086438
44 | 0.99294 | -0.13419 | 0.0077681 | 0.0019469
45 | 0.97432 | -0.49431 | 0.0038884 | 0.00097452
46 | 0.97841 | -0.41418 | 0.008566 | 0.0021468
47 | 0.97803 | -0.42149 | 0.0061566 | 0.001543
48 | 0.97783 | -0.42543 | 0.0036049 | 0.00090346
49 | 0.97537 | -0.47377 | 0.018475 | 0.0046302
50 | 0.97536 | -0.4739 | 0.0044666 | 0.0011194
51 | 0.97747 | -0.43258 | 0.004405 | 0.001104
52 | 0.98487 | -0.28868 | 0.0050397 | 0.0012631
53 | 0.98429 | -0.29972 | 0.0040389 | 0.0010123
54 | 0.98543 | -0.2778 | 0.0038522 | 0.00096545
55 | 0.98379 | -0.30943 | 0.0039841 | 0.0009985
56 | 0.98735 | -0.2409 | 0 | 0
57 | 0.98345 | -0.31599 | 0.0084551 | 0.002119
58 | 0.98845 | -0.21965 | 0.010658 | 0.0026712
59 | 0.98322 | -0.32055 | 0.0050633 | 0.001269
60 | 0.98941 | -0.20125 | 0.0077662 | 0.0019464
61 | 0.98246 | -0.33526 | 0.0072024 | 0.0018051
62 | 0.99037 | -0.18298 | 0.0076631 | 0.0019206
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0070543 | -0.001768 | 0.0070549 | 0.0017682 | 5.4546e-07 | 1.9318e-07 | 0.010777 | 0.010777 | 0.010777 | 0.97404 | -0.49985 | 0.97413 | -0.49823 | 2.9606
1 | -0.012461 | -0.0031232 | 0.012463 | 0.003124 | 1.618e-06 | 8.8725e-07 | 0.019035 | 0.019035 | 0.019035 | 0.97413 | -0.49823 | 0.97426 | -0.4955 | 5.2294
2 | -0.016661 | -0.0041763 | 0.016667 | 0.0041797 | 5.8381e-06 | 3.4369e-06 | 0.025448 | 0.025447 | 0.025448 | 0.97426 | -0.4955 | 0.97464 | -0.48815 | 6.9911
3 | 0.037712 | 0.0094603 | -0.037705 | -0.0094561 | 6.5819e-06 | 4.1464e-06 | 0.057579 | 0.057579 | 0.057579 | 0.97464 | -0.48815 | 0.97445 | -0.49181 | 15.8185
4 | -0.054379 | -0.01364 | 0.054443 | 0.013681 | 6.3923e-05 | 4.0602e-05 | 0.083027 | 0.083027 | 0.083027 | 0.97464 | -0.48815 | 0.97589 | -0.46352 | 22.8096
5 | -0.27855 | -0.070407 | 0.27867 | 0.070478 | 0.00011247 | 7.145e-05 | 0.42312 | 0.42312 | 0.42312 | 0.98011 | -0.38088 | 0.98054 | -0.37247 | 23.2482
6 | 0.27855 | 0.070407 | -0.27838 | -0.070298 | 0.00017097 | 0.00010862 | 0.42312 | 0.42312 | 0.42312 | 0.98011 | -0.38088 | 0.97946 | -0.39369 | 23.2482
7 | -0.27867 | -0.070478 | 0.27898 | 0.070678 | 0.0003144 | 0.00019974 | 0.42312 | 0.42312 | 0.42312 | 0.98054 | -0.37247 | 0.98175 | -0.34898 | 23.2482
8 | 0.26744 | 0.067556 | -0.26724 | -0.067431 | 0.00019618 | 0.00012456 | 0.40649 | 0.40649 | 0.40649 | 0.97946 | -0.39369 | 0.97867 | -0.40901 | 22.3348
9 | -0.28374 | -0.071872 | 0.28392 | 0.07198 | 0.00017105 | 0.00010869 | 0.43034 | 0.43034 | 0.43034 | 0.98175 | -0.34898 | 0.9824 | -0.33643 | 23.6449
10 | -0.18826 | -0.047389 | 0.1883 | 0.047412 | 3.4936e-05 | 2.2232e-05 | 0.28713 | 0.28713 | 0.28713 | 0.97589 | -0.46352 | 0.97609 | -0.45964 | 26.294
11 | 0.13382 | 0.033709 | -0.13368 | -0.033622 | 0.000137 | 8.6695e-05 | 0.2041 | 0.2041 | 0.2041 | 0.97589 | -0.46352 | 0.9748 | -0.48496 | 18.6909
12 | -0.23181 | -0.058326 | 0.232 | 0.058443 | 0.00018586 | 0.00011771 | 0.35347 | 0.35347 | 0.35347 | 0.97609 | -0.45964 | 0.97694 | -0.44288 | 19.4215
13 | 0.043516 | 0.010914 | -0.043502 | -0.010906 | 1.3699e-05 | 8.6633e-06 | 0.066341 | 0.066341 | 0.066341 | 0.97609 | -0.45964 | 0.97575 | -0.46625 | 18.2256
14 | 0.096697 | 0.024341 | -0.096562 | -0.024255 | 0.0001356 | 8.6575e-05 | 0.14765 | 0.14765 | 0.14765 | 0.9748 | -0.48496 | 0.9733 | -0.51434 | 40.5621
15 | 0.036983 | 0.0092809 | -0.036951 | -0.0092609 | 3.1758e-05 | 1.9995e-05 | 0.056459 | 0.056459 | 0.056459 | 0.9748 | -0.48496 | 0.97388 | -0.50298 | 15.5106
16 | 0.0091953 | 0.0023045 | -0.0091948 | -0.0023043 | 5.087e-07 | 2.3986e-07 | 0.014042 | 0.014042 | 0.014042 | 0.97445 | -0.49181 | 0.97439 | -0.49298 | 3.8576
17 | 0.02851 | 0.0071516 | -0.028498 | -0.0071443 | 1.1751e-05 | 7.315e-06 | 0.043538 | 0.043538 | 0.043538 | 0.97445 | -0.49181 | 0.97401 | -0.50046 | 11.961
18 | -0.058507 | -0.014693 | 0.058571 | 0.014733 | 6.3773e-05 | 4.0552e-05 | 0.089564 | 0.089564 | 0.089564 | 0.97215 | -0.53716 | 0.9733 | -0.51434 | 24.6056
19 | 0.058507 | 0.014693 | -0.058458 | -0.014661 | 4.9057e-05 | 3.1195e-05 | 0.089564 | 0.089564 | 0.089564 | 0.97215 | -0.53716 | 0.97126 | -0.55475 | 24.6056
20 | 0.030343 | 0.0076151 | -0.030315 | -0.0075977 | 2.7804e-05 | 1.737e-05 | 0.046491 | 0.046491 | 0.046491 | 0.97126 | -0.55475 | 0.97029 | -0.57398 | 12.7722
21 | 0.45585 | 0.11662 | -0.45513 | -0.11616 | 0.00071885 | 0.00045873 | 0.68301 | 0.68301 | 0.68301 | 0.99435 | -0.10696 | 0.99264 | -0.13959 | 37.5282
22 | 0.018688 | 0.0046898 | -0.018671 | -0.00468 | 1.6379e-05 | 9.7587e-06 | 0.027968 | 0.027968 | 0.027968 | 0.99435 | -0.10696 | 0.9934 | -0.12535 | 7.6836
23 | -0.47454 | -0.12131 | 0.47549 | 0.12191 | 0.00094565 | 0.0006036 | 0.71098 | 0.71098 | 0.71098 | 0.99435 | -0.10696 | 0.99652 | -0.06585 | 39.0649
24 | 0.44878 | 0.11457 | -0.44796 | -0.11404 | 0.00082361 | 0.00052555 | 0.67349 | 0.67349 | 0.67349 | 0.99264 | -0.13959 | 0.99065 | -0.17764 | 37.0051
25 | 0.0056499 | 0.0014158 | -0.0056494 | -0.0014158 | 4.8396e-07 | 7.6472e-08 | 0.008463 | 0.0084631 | 0.0084631 | 0.9934 | -0.12535 | 0.99331 | -0.12715 | 2.325
26 | 0.013022 | 0.0032642 | -0.013021 | -0.0032636 | 9.926e-07 | 5.452e-07 | 0.019505 | 0.019505 | 0.019505 | 0.9934 | -0.12535 | 0.99332 | -0.12695 | 5.3586
27 | -0.48208 | -0.12356 | 0.48252 | 0.12384 | 0.00043633 | 0.00027852 | 0.72083 | 0.72083 | 0.72083 | 0.99652 | -0.06585 | 0.9975 | -0.047197 | 39.6058
28 | -0.065226 | -0.016371 | 0.065371 | 0.016464 | 0.00014517 | 9.2375e-05 | 0.097403 | 0.097403 | 0.097403 | 0.99654 | -0.066202 | 0.99896 | -0.019649 | 26.7592
29 | 0.065226 | 0.016371 | -0.065171 | -0.016336 | 5.5605e-05 | 3.5384e-05 | 0.097403 | 0.097403 | 0.097403 | 0.99654 | -0.066202 | 0.99561 | -0.084093 | 26.7592
30 | -0.55755 | -0.14298 | 0.55764 | 0.14304 | 8.9484e-05 | 5.7157e-05 | 0.83166 | 0.83166 | 0.83166 | 0.99896 | -0.019649 | 0.99913 | -0.01634 | 45.6954
31 | 0.49218 | 0.12652 | -0.49191 | -0.12635 | 0.00026515 | 0.00016927 | 0.73425 | 0.73425 | 0.73425 | 0.99896 | -0.019649 | 0.99837 | -0.030743 | 40.3436
32 | 0.034496 | 0.0086481 | -0.034489 | -0.0086438 | 6.9691e-06 | 4.3693e-06 | 0.051558 | 0.051558 | 0.051558 | 0.99561 | -0.084093 | 0.99539 | -0.088334 | 14.1643
33 | 0.0056494 | 0.0014158 | -0.0056481 | -0.0014155 | 1.3794e-06 | 2.1823e-07 | 0.0084631 | 0.0084633 | 0.0084633 | 0.99331 | -0.12715 | 0.99304 | -0.13227 | 2.3251
34 | 0.0077708 | 0.0019479 | -0.0077681 | -0.0019469 | 2.6801e-06 | 1.0328e-06 | 0.011641 | 0.011641 | 0.011641 | 0.99332 | -0.12695 | 0.99294 | -0.13419 | 3.1981
35 | -0.56153 | -0.14401 | 0.56198 | 0.1443 | 0.00044538 | 0.00028449 | 0.83746 | 0.83746 | 0.83746 | 0.99913 | -0.01634 | 1 | 0 | 46.0143
36 | 0.48802 | 0.12537 | -0.48764 | -0.12512 | 0.00038964 | 0.00024873 | 0.72846 | 0.72846 | 0.72846 | 0.99837 | -0.030743 | 0.9975 | -0.047197 | 40.0254
37 | 0.017424 | 0.0043679 | -0.017423 | -0.0043676 | 5.4088e-07 | 3.2083e-07 | 0.026619 | 0.026619 | 0.026619 | 0.97401 | -0.50046 | 0.97398 | -0.50112 | 7.3129
38 | 0.011075 | 0.0027763 | -0.011072 | -0.0027749 | 2.7787e-06 | 1.4563e-06 | 0.016919 | 0.016919 | 0.016919 | 0.97401 | -0.50046 | 0.97375 | -0.50573 | 4.6481
39 | 0.012813 | 0.0032122 | -0.012809 | -0.0032103 | 3.4176e-06 | 1.8913e-06 | 0.019575 | 0.019576 | 0.019576 | 0.97398 | -0.50112 | 0.9737 | -0.50672 | 5.3779
40 | 0.0038886 | 0.00097445 | -0.0038884 | -0.00097452 | 2.4791e-07 | -7.4826e-08 | 0.0059384 | 0.0059385 | 0.0059385 | 0.97439 | -0.49298 | 0.97432 | -0.49431 | 1.6314
41 | 0.26167 | 0.066035 | -0.26161 | -0.065994 | 6.4824e-05 | 4.1144e-05 | 0.39802 | 0.39802 | 0.39802 | 0.97867 | -0.40901 | 0.97841 | -0.41418 | 21.8694
42 | -0.28392 | -0.07198 | 0.28393 | 0.07199 | 1.5964e-05 | 1.0144e-05 | 0.43034 | 0.43034 | 0.43034 | 0.9824 | -0.33643 | 0.98246 | -0.33526 | 23.6449
43 | -0.23854 | -0.060083 | 0.23866 | 0.060158 | 0.00011757 | 7.4498e-05 | 0.36344 | 0.36344 | 0.36344 | 0.97694 | -0.44288 | 0.97747 | -0.43258 | 19.9692
44 | 0.02295 | 0.0057547 | -0.022941 | -0.0057497 | 8.2218e-06 | 5.0385e-06 | 0.034999 | 0.034999 | 0.034999 | 0.97575 | -0.46625 | 0.97537 | -0.47377 | 9.6152
45 | -0.0044266 | -0.0011094 | 0.0044268 | 0.0011094 | 1.5673e-07 | -2.6056e-08 | 0.0065871 | 0.0065871 | 0.0065871 | 0.99996 | -0.0007432 | 1 | 0 | 1.8097
46 | -0.0050935 | -0.0012765 | 0.0050938 | 0.0012766 | 3.6364e-07 | 3.3708e-08 | 0.0077845 | 0.0077845 | 0.0077845 | 0.97362 | -0.50821 | 0.9737 | -0.50672 | 2.1386
47 | 0.3501 | 0.089514 | -0.35 | -0.089457 | 9.0313e-05 | 5.752e-05 | 0.5265 | 0.5265 | 0.5265 | 0.99065 | -0.17764 | 0.99037 | -0.18298 | 28.9285
48 | 0.25304 | 0.063847 | -0.25295 | -0.063791 | 8.8452e-05 | 5.611e-05 | 0.385 | 0.385 | 0.385 | 0.97841 | -0.41418 | 0.97803 | -0.42149 | 21.1536
49 | 0.2468 | 0.062248 | -0.24675 | -0.062218 | 4.6597e-05 | 2.9546e-05 | 0.37563 | 0.37563 | 0.37563 | 0.97803 | -0.42149 | 0.97783 | -0.42543 | 20.639
50 | 0.24315 | 0.061315 | -0.24306 | -0.061262 | 8.3137e-05 | 5.2701e-05 | 0.37014 | 0.37014 | 0.37014 | 0.97783 | -0.42543 | 0.97747 | -0.43258 | 20.3376
51 | 0.0044666 | 0.0011194 | -0.0044666 | -0.0011194 | 2.8475e-08 | -2.1862e-09 | 0.0068142 | 0.0068142 | 0.0068142 | 0.97537 | -0.47377 | 0.97536 | -0.4739 | 1.872
52 | 0.31335 | 0.079626 | -0.31319 | -0.07952 | 0.00016655 | 0.00010597 | 0.47383 | 0.47383 | 0.47383 | 0.98487 | -0.28868 | 0.98429 | -0.29972 | 26.0347
53 | -0.31839 | -0.080889 | 0.31856 | 0.080995 | 0.00016675 | 0.00010611 | 0.48145 | 0.48145 | 0.48145 | 0.98487 | -0.28868 | 0.98543 | -0.2778 | 26.4531
54 | 0.30915 | 0.078507 | -0.309 | -0.078416 | 0.00014443 | 9.1874e-05 | 0.46773 | 0.46773 | 0.46773 | 0.98429 | -0.29972 | 0.98379 | -0.30943 | 25.6992
55 | -0.32241 | -0.08196 | 0.32299 | 0.082326 | 0.00057415 | 0.0003654 | 0.48726 | 0.48726 | 0.48726 | 0.98543 | -0.2778 | 0.98735 | -0.2409 | 26.7727
56 | 0.30502 | 0.077417 | -0.30492 | -0.077356 | 9.6196e-05 | 6.1183e-05 | 0.4617 | 0.4617 | 0.4617 | 0.98379 | -0.30943 | 0.98345 | -0.31599 | 25.3681
57 | -0.32299 | -0.082326 | 0.32332 | 0.082537 | 0.00033158 | 0.00021102 | 0.48726 | 0.48726 | 0.48726 | 0.98735 | -0.2409 | 0.98845 | -0.21965 | 26.7726
58 | 0.29647 | 0.075237 | -0.2964 | -0.075196 | 6.4951e-05 | 4.1296e-05 | 0.44891 | 0.44891 | 0.44891 | 0.98345 | -0.31599 | 0.98322 | -0.32055 | 24.6652
59 | -0.33398 | -0.085208 | 0.33427 | 0.085397 | 0.0002971 | 0.00018914 | 0.50331 | 0.50331 | 0.50331 | 0.98845 | -0.21965 | 0.98941 | -0.20125 | 27.6542
60 | 0.29134 | 0.073927 | -0.29113 | -0.073796 | 0.00020605 | 0.00013098 | 0.44124 | 0.44124 | 0.44124 | 0.98322 | -0.32055 | 0.98246 | -0.33526 | 24.2442
61 | -0.34204 | -0.087343 | 0.34234 | 0.087536 | 0.00030245 | 0.00019259 | 0.51499 | 0.51498 | 0.51499 | 0.98941 | -0.20125 | 0.99037 | -0.18298 | 28.2959

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57191 | 0.14637

## res_load
| p_mw | q_mvar
0 | 0.0070543 | 0.001768
1 | 0.0054065 | 0.001355
2 | 0.0041985 | 0.0010522
3 | 0.010942 | 0.0027424
4 | 0.0047636 | 0.0011939
5 | 0.037991 | 0.0095214
6 | 0.028115 | 0.0070463
7 | 0.0063514 | 0.0015918
8 | 0.0065932 | 0.0016524
9 | 0.030675 | 0.0076878
10 | 0.0052498 | 0.0013157
11 | 0.0038977 | 0.00097687
12 | 0.0038856 | 0.00097383
13 | 0.0046103 | 0.0011554
14 | 0.011072 | 0.0027749
15 | 0.0056481 | 0.0014155
16 | 0.0053062 | 0.0013298
17 | 0.036951 | 0.0092609
18 | 0.0055709 | 0.0013962
19 | 0.0065438 | 0.00164
20 | 0.020552 | 0.0051509
21 | 0.0044266 | 0.0011094
22 | 0.0038499 | 0.00096487
23 | 0.0050935 | 0.0012765
24 | 0.0077156 | 0.0019337
25 | 0.030315 | 0.0075977
26 | 0.097863 | 0.024527
27 | 0.0051197 | 0.0012831
28 | 0.034489 | 0.0086438
29 | 0.0077681 | 0.0019469
30 | 0.0038884 | 0.00097452
31 | 0.008566 | 0.0021468
32 | 0.0061566 | 0.001543
33 | 0.0036049 | 0.00090346
34 | 0.018475 | 0.0046302
35 | 0.0044666 | 0.0011194
36 | 0.004405 | 0.001104
37 | 0.0050397 | 0.0012631
38 | 0.0040389 | 0.0010123
39 | 0.0038522 | 0.00096545
40 | 0.0039841 | 0.0009985
41 | 0.0084551 | 0.002119
42 | 0.010658 | 0.0026712
43 | 0.0050633 | 0.001269
44 | 0.0077662 | 0.0019464
45 | 0.0072024 | 0.0018051
46 | 0.0076631 | 0.0019206

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1