## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-307_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-307_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-307_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-307_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-307_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-307_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2701-307_0_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_2701-307_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2701-307_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2701-307_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-307_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-307_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2701-307_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2701-307_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2701-307_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_2701-307_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2701-307_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2701-307_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-307_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-307_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2701-307_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2701-307_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2701-307_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2701-307_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2701-307_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2701-307_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2701-307_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2701-307_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2701-307_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-307_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2701-307_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2701-307_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2701-307_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2701-307_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2701-307_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2701-307_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2701-307_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2701-307_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-307_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2701-307_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2701-307_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2701-307_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2701-307_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_2701-307_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2701-307_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2701-307_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2701-307_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2701-307_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2701-307_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2701-307_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2701-307_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2701-307_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_2701-307_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2701-307_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2701-307_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_2701-307_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_2701-307_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_2701-307_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2701-307_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_2701-307_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_564_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-307_0_3_load_0 | 0 | 0.022339 | 0.0055986 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-307_0_3_load_1 | 1 | 0.030607 | 0.0076708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-307_0_3_load_2 | 2 | 0.030347 | 0.0076056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-307_0_3_load_3 | 3 | 0.023853 | 0.005978 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-307_0_3_load_4 | 4 | 0.032043 | 0.0080306 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-307_0_3_load_63 | 6 | 0.018448 | 0.0046234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-307_0_3_load_9 | 7 | 0.0045517 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-307_0_3_load_10 | 8 | 0.0076332 | 0.0019131 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-307_0_3_load_5 | 9 | 0.0042712 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-307_0_3_load_6 | 10 | 0.0072352 | 0.0018133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-307_0_3_load_8 | 11 | 0.0042776 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-307_0_3_load_11 | 12 | 0.0043228 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-307_0_3_load_14 | 13 | 0.0064977 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-307_0_3_load_33 | 14 | 0.0069857 | 0.0017508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-307_0_3_load_12 | 15 | 0.0073284 | 0.0018367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-307_0_3_load_15 | 16 | 0.0062307 | 0.0015616 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-307_0_3_load_32 | 17 | 0.0058071 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-307_0_3_load_18 | 19 | 0.018305 | 0.0045877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-307_0_3_load_31 | 21 | 0.010435 | 0.0026153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-307_0_3_load_16 | 22 | 0.0043874 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-307_0_3_load_17 | 23 | 0.0044964 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-307_0_3_load_22 | 24 | 0.0069811 | 0.0017496 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-307_0_3_load_21 | 25 | 0.0069723 | 0.0017474 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-307_0_3_load_34 | 26 | 0.0036031 | 0.00090303 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-307_0_3_load_35 | 27 | 0.0020584 | 0.00051589 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-307_0_3_load_41 | 30 | 0.0021722 | 0.0005444 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-307_0_3_load_38 | 31 | 0.0021063 | 0.00052788 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-307_0_3_load_49 | 32 | 0.0019288 | 0.00048341 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-307_0_3_load_39 | 33 | 0.0013975 | 0.00035024 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-307_0_3_load_36 | 34 | 0.0088394 | 0.0022154 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-307_0_3_load_37 | 35 | 0.0031654 | 0.00079333 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-307_0_3_load_26 | 36 | 0.0070809 | 0.0017746 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-307_0_3_load_27 | 37 | 0.0066172 | 0.0016584 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-307_0_3_load_28 | 38 | 0.011319 | 0.0028369 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-307_0_3_load_29 | 39 | 0.0045092 | 0.0011301 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-307_0_3_load_30 | 40 | 0.0074675 | 0.0018715 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-307_0_3_load_40 | 41 | 0.0013962 | 0.00034993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-307_0_3_load_64 | 42 | 0.0020819 | 0.00052176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-307_0_3_load_62 | 43 | 0.0019052 | 0.00047748 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-307_0_3_load_48 | 44 | 0.0017062 | 0.00042761 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-307_0_3_load_42 | 45 | 0.0020503 | 0.00051385 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-307_0_3_load_43 | 46 | 0.0018426 | 0.00046181 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-307_0_3_load_45 | 47 | 0.0017073 | 0.0004279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-307_0_3_load_51 | 48 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-307_0_3_load_46 | 49 | 0.0017076 | 0.00042797 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-307_0_3_load_50 | 50 | 0.0016218 | 0.00040647 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-307_0_3_load_52 | 51 | 0.001378 | 0.00034536 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-307_0_3_load_55 | 52 | 0.0020522 | 0.00051432 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-307_0_3_load_54 | 53 | 0.0019962 | 0.00050029 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-307_0_3_load_53 | 54 | 0.0018943 | 0.00047475 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-307_0_3_load_60 | 55 | 0.0019117 | 0.00047913 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-307_0_3_load_59 | 56 | 0.0019699 | 0.00049371 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-307_0_3_load_57 | 58 | 0.0020045 | 0.00050237 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-307_0_3_line_0 |  | 0 | 1 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-307_0_3_line_1 |  | 0 | 2 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-307_0_3_line_2 |  | 1 | 3 | 0.00069897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-307_0_3_line_3 |  | 2 | 4 | 0.00026205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-307_0_3_line_4 |  | 3 | 5 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-307_0_3_line_5 |  | 4 | 6 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-307_0_3_line_6 |  | 5 | 7 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-307_0_3_line_7 |  | 5 | 8 | 0.019341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-307_0_3_line_8 |  | 5 | 9 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-307_0_3_line_9 |  | 7 | 13 | 0.0036417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-307_0_3_line_10 |  | 8 | 14 | 0.00044305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-307_0_3_line_11 |  | 9 | 10 | 0.0045069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-307_0_3_line_12 |  | 10 | 11 | 0.0040493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-307_0_3_line_13 |  | 11 | 12 | 0.0085306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-307_0_3_line_14 |  | 12 | 15 | 0.0036916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-307_0_3_line_15 |  | 13 | 16 | 0.0073534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-307_0_3_line_16 |  | 14 | 17 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-307_0_3_line_17 |  | 15 | 18 | 0.046289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-307_0_3_line_18 |  | 16 | 22 | 0.0028076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-307_0_3_line_19 |  | 17 | 40 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-307_0_3_line_20 |  | 18 | 19 | 0.022615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-307_0_3_line_21 |  | 19 | 20 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-307_0_3_line_22 |  | 20 | 21 | 0.041767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-307_0_3_line_23 |  | 21 | 26 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-307_0_3_line_24 |  | 22 | 23 | 0.0076362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-307_0_3_line_25 |  | 23 | 24 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-307_0_3_line_26 |  | 24 | 25 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-307_0_3_line_27 |  | 25 | 28 | 0.024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-307_0_3_line_28 |  | 26 | 27 | 0.0035765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-307_0_3_line_29 |  | 28 | 29 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-307_0_3_line_30 |  | 29 | 30 | 0.036392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-307_0_3_line_31 |  | 29 | 31 | 0.027395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-307_0_3_line_32 |  | 30 | 32 | 0.0074151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-307_0_3_line_33 |  | 31 | 33 | 0.0067604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-307_0_3_line_34 |  | 32 | 44 | 0.0066669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-307_0_3_line_35 |  | 33 | 41 | 0.0051998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-307_0_3_line_36 |  | 34 | 35 | 0.00071975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-307_0_3_line_37 |  | 35 | 39 | 0.0063884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-307_0_3_line_38 |  | 36 | 37 | 0.0015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-307_0_3_line_39 |  | 36 | 38 | 0.0076516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-307_0_3_line_40 |  | 37 | 39 | 0.0078624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-307_0_3_line_41 |  | 38 | 40 | 0.0039745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-307_0_3_line_42 |  | 41 | 42 | 0.0062786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-307_0_3_line_43 |  | 42 | 43 | 0.0069698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-307_0_3_line_44 |  | 43 | 59 | 0.0221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-307_0_3_line_45 |  | 44 | 50 | 0.006434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-307_0_3_line_46 |  | 45 | 46 | 0.035691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-307_0_3_line_47 |  | 46 | 47 | 0.0018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-307_0_3_line_48 |  | 47 | 48 | 0.0065947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-307_0_3_line_49 |  | 48 | 51 | 0.0057621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-307_0_3_line_50 |  | 49 | 50 | 0.0065614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-307_0_3_line_51 |  | 51 | 54 | 0.0056283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-307_0_3_line_52 |  | 52 | 53 | 0.0071934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-307_0_3_line_53 |  | 53 | 57 | 0.046841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-307_0_3_line_54 |  | 54 | 55 | 0.00019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-307_0_3_line_55 |  | 55 | 56 | 0.0019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-307_0_3_line_56 |  | 56 | 59 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-307_0_3_line_57 |  | 57 | 58 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-307_0_3_line_58 |  | 58 | 59 | 0.017405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-307_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 60 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2609885.9401 | 1267283.7794 | 2609896.9307 | 1267284.6143
1 | 2609885.9401 | 1267283.7794 | 2609873.3862 | 1267282.8257
2 | 2609896.9307 | 1267284.6143 | 2609897.6276 | 1267284.6673
3 | 2609873.1249 | 1267282.8058 | 2609873.3862 | 1267282.8257
4 | 2609915.932 | 1267286.0579 | 2609897.6276 | 1267284.6673
5 | 2609862.233 | 1267281.9784 | 2609873.1249 | 1267282.8058
6 | 2609915.932 | 1267286.0579 | 2609917.4229 | 1267260.6757
7 | 2609915.932 | 1267286.0579 | 2609935.2726 | 1267286.1752
8 | 2609915.932 | 1267286.0579 | 2609913.8731 | 1267309.0623
9 | 2609917.6365 | 1267257.0403 | 2609917.4229 | 1267260.6757
10 | 2609935.7156 | 1267286.1778 | 2609935.2726 | 1267286.1752
11 | 2609913.8731 | 1267309.0623 | 2609913.4713 | 1267313.5512
12 | 2609913.1103 | 1267317.5844 | 2609913.4713 | 1267313.5512
13 | 2609912.3499 | 1267326.081 | 2609913.1103 | 1267317.5844
14 | 2609912.3499 | 1267326.081 | 2609912.0208 | 1267329.7579
15 | 2609917.6365 | 1267257.0403 | 2609918.0677 | 1267249.6995
16 | 2609935.7156 | 1267286.1778 | 2609952.3429 | 1267286.2787
17 | 2609907.8943 | 1267375.8628 | 2609912.0208 | 1267329.7579
18 | 2609918.2323 | 1267246.8968 | 2609918.0677 | 1267249.6995
19 | 2609966.826 | 1267286.3665 | 2609952.3429 | 1267286.2787
20 | 2609907.8943 | 1267375.8628 | 2609930.4158 | 1267377.913
21 | 2609948.4569 | 1267379.5553 | 2609930.4158 | 1267377.913
22 | 2609948.4569 | 1267379.5553 | 2609948.9544 | 1267374.6527 | 2609955.2385 | 1267375.0191 | 2609962.2832 | 1267375.2088 | 2609966.1639 | 1267372.5467 | 2609980.593 | 1267360.5093
23 | 2609980.593 | 1267360.5093 | 2609990.9769 | 1267351.8465
24 | 2609918.68 | 1267239.2737 | 2609918.2323 | 1267246.8968
25 | 2609919.2806 | 1267229.05 | 2609918.68 | 1267239.2737
26 | 2609919.2806 | 1267229.05 | 2609920.0243 | 1267216.3887
27 | 2609921.4711 | 1267191.7567 | 2609920.0243 | 1267216.3887
28 | 2609993.7231 | 1267349.5555 | 2609990.9769 | 1267351.8465
29 | 2609921.4711 | 1267191.7567 | 2609894.1651 | 1267181.7153
30 | 2609894.1651 | 1267181.7153 | 2609877.6642 | 1267149.2789
31 | 2609894.1651 | 1267181.7153 | 2609891.425 | 1267190.9283 | 2609881.715 | 1267195.6266 | 2609874.7351 | 1267195.1538
32 | 2609877.6642 | 1267149.2789 | 2609874.3021 | 1267142.6698
33 | 2609874.7351 | 1267195.1538 | 2609867.9902 | 1267194.6969
34 | 2609871.2792 | 1267136.7276 | 2609874.3021 | 1267142.6698
35 | 2609862.8022 | 1267194.3455 | 2609867.9902 | 1267194.6969
36 | 2609993.7001 | 1267279.1275 | 2609993.0726 | 1267279.48
37 | 2609993.0726 | 1267279.48 | 2609987.5026 | 1267282.6085
38 | 2609978.3161 | 1267284.8033 | 2609979.8554 | 1267284.4355
39 | 2609978.3161 | 1267284.8033 | 2609977.4277 | 1267285.0155 | 2609970.7781 | 1267286.1044
40 | 2609979.8554 | 1267284.4355 | 2609987.5026 | 1267282.6085 | 2609987.5026 | 1267282.6085
41 | 2609966.826 | 1267286.3665 | 2609969.0933 | 1267286.3803 | 2609970.7781 | 1267286.1044
42 | 2609862.8022 | 1267194.3455 | 2609856.538 | 1267193.9211
43 | 2609849.5842 | 1267193.4501 | 2609856.538 | 1267193.9211
44 | 2609827.5348 | 1267191.9565 | 2609849.5842 | 1267193.4501
45 | 2609871.2792 | 1267136.7276 | 2609868.3619 | 1267130.993
46 | 2609835.0921 | 1267128.1589 | 2609837.1902 | 1267147.5081 | 2609836.6174 | 1267157.0582 | 2609829.9641 | 1267156.7359 | 2609829.9641 | 1267156.7359
47 | 2609829.8382 | 1267158.5608 | 2609829.9641 | 1267156.7359
48 | 2609829.3844 | 1267165.1399 | 2609829.8382 | 1267158.5608
49 | 2609829.3844 | 1267165.1399 | 2609828.9879 | 1267170.8884
50 | 2609865.3869 | 1267125.1448 | 2609868.3619 | 1267130.993
51 | 2609828.6007 | 1267176.5034 | 2609828.9879 | 1267170.8884
52 | 2609797.7331 | 1267142.9939 | 2609798.2314 | 1267135.8179
53 | 2609794.4878 | 1267189.7227 | 2609797.7331 | 1267142.9939
54 | 2609828.5874 | 1267176.6958 | 2609828.6007 | 1267176.5034
55 | 2609828.4561 | 1267178.5992 | 2609828.5874 | 1267176.6958
56 | 2609827.5348 | 1267191.9565 | 2609828.4561 | 1267178.5992
57 | 2609794.4878 | 1267189.7227 | 2609810.1697 | 1267190.7827
58 | 2609827.5348 | 1267191.9565 | 2609810.1697 | 1267190.7827

## bus_geodata
| x | y | coords
0 | 2609885.9401 | 1267283.7794
1 | 2609896.9307 | 1267284.6143
2 | 2609873.3862 | 1267282.8257
3 | 2609897.6276 | 1267284.6673
4 | 2609873.1249 | 1267282.8058
5 | 2609915.932 | 1267286.0579
6 | 2609862.233 | 1267281.9784
7 | 2609917.4229 | 1267260.6757
8 | 2609935.2726 | 1267286.1752
9 | 2609913.8731 | 1267309.0623
10 | 2609913.4713 | 1267313.5512
11 | 2609913.1103 | 1267317.5844
12 | 2609912.3499 | 1267326.081
13 | 2609917.6365 | 1267257.0403
14 | 2609935.7156 | 1267286.1778
15 | 2609912.0208 | 1267329.7579
16 | 2609918.0677 | 1267249.6995
17 | 2609952.3429 | 1267286.2787
18 | 2609907.8943 | 1267375.8628
19 | 2609930.4158 | 1267377.913
20 | 2609948.4569 | 1267379.5553
21 | 2609980.593 | 1267360.5093
22 | 2609918.2323 | 1267246.8968
23 | 2609918.68 | 1267239.2737
24 | 2609919.2806 | 1267229.05
25 | 2609920.0243 | 1267216.3887
26 | 2609990.9769 | 1267351.8465
27 | 2609993.7231 | 1267349.5555
28 | 2609921.4711 | 1267191.7567
29 | 2609894.1651 | 1267181.7153
30 | 2609877.6642 | 1267149.2789
31 | 2609874.7351 | 1267195.1538
32 | 2609874.3021 | 1267142.6698
33 | 2609867.9902 | 1267194.6969
34 | 2609993.7001 | 1267279.1275
35 | 2609993.0726 | 1267279.48
36 | 2609978.3161 | 1267284.8033
37 | 2609979.8554 | 1267284.4355
38 | 2609970.7781 | 1267286.1044
39 | 2609987.5026 | 1267282.6085
40 | 2609966.826 | 1267286.3665
41 | 2609862.8022 | 1267194.3455
42 | 2609856.538 | 1267193.9211
43 | 2609849.5842 | 1267193.4501
44 | 2609871.2792 | 1267136.7276
45 | 2609835.0921 | 1267128.1589
46 | 2609829.9641 | 1267156.7359
47 | 2609829.8382 | 1267158.5608
48 | 2609829.3844 | 1267165.1399
49 | 2609865.3869 | 1267125.1448
50 | 2609868.3619 | 1267130.993
51 | 2609828.9879 | 1267170.8884
52 | 2609798.2314 | 1267135.8179
53 | 2609797.7331 | 1267142.9939
54 | 2609828.6007 | 1267176.5034
55 | 2609828.5874 | 1267176.6958
56 | 2609828.4561 | 1267178.5992
57 | 2609794.4878 | 1267189.7227
58 | 2609810.1697 | 1267190.7827
59 | 2609827.5348 | 1267191.9565
60 | 2609915.932 | 1267286.0579

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99888 | -0.021475 | 0.022339 | 0.0055986
1 | 0.99992 | -0.00163 | 0.030607 | 0.0076708
2 | 0.99796 | -0.03927 | 0.030347 | 0.0076056
3 | 1 | 0 | -0.34673 | -0.086965
4 | 0.99795 | -0.039502 | 0.032043 | 0.0080306
5 | 0.99824 | -0.033665 | 0 | 0
6 | 0.99776 | -0.043029 | 0.018448 | 0.0046234
7 | 0.99641 | -0.06877 | 0.0045517 | 0.0011408
8 | 0.99702 | -0.05718 | 0.0076332 | 0.0019131
9 | 0.99694 | -0.05868 | 0.0042712 | 0.0010705
10 | 0.9967 | -0.063232 | 0.0072352 | 0.0018133
11 | 0.99652 | -0.066808 | 0.0042776 | 0.0010721
12 | 0.99616 | -0.073707 | 0.0043228 | 0.0010834
13 | 0.99617 | -0.073518 | 0.0064977 | 0.0016285
14 | 0.99699 | -0.05766 | 0.0069857 | 0.0017508
15 | 0.99602 | -0.076413 | 0.0073284 | 0.0018367
16 | 0.99571 | -0.082271 | 0.0062307 | 0.0015616
17 | 0.99616 | -0.073653 | 0.0058071 | 0.0014554
18 | 0.99456 | -0.10443 | 0 | 0
19 | 0.99385 | -0.11815 | 0.018305 | 0.0045877
20 | 0.99359 | -0.1233 | 0 | 0
21 | 0.99297 | -0.13518 | 0.010435 | 0.0026153
22 | 0.99555 | -0.085308 | 0.0043874 | 0.0010996
23 | 0.99515 | -0.092982 | 0.0044964 | 0.0011269
24 | 0.99466 | -0.10247 | 0.0069811 | 0.0017496
25 | 0.99413 | -0.11268 | 0.0069723 | 0.0017474
26 | 0.9929 | -0.13653 | 0.0036031 | 0.00090303
27 | 0.9929 | -0.13666 | 0.0020584 | 0.00051589
28 | 0.99326 | -0.12952 | 0 | 0
29 | 0.99223 | -0.14937 | 0 | 0
30 | 0.99193 | -0.15526 | 0.0021722 | 0.0005444
31 | 0.99149 | -0.1637 | 0.0021063 | 0.00052788
32 | 0.99188 | -0.15617 | 0.0019288 | 0.00048341
33 | 0.99132 | -0.16699 | 0.0013975 | 0.00035024
34 | 0.99493 | -0.09749 | 0.0088394 | 0.0022154
35 | 0.99493 | -0.097378 | 0.0031654 | 0.00079333
36 | 0.99516 | -0.093097 | 0.0070809 | 0.0017746
37 | 0.99512 | -0.093742 | 0.0066172 | 0.0016584
38 | 0.99537 | -0.08903 | 0.011319 | 0.0028369
39 | 0.995 | -0.096027 | 0.0045092 | 0.0011301
40 | 0.99552 | -0.086126 | 0.0074675 | 0.0018715
41 | 0.9912 | -0.16939 | 0.0013962 | 0.00034993
42 | 0.99106 | -0.17213 | 0.0020819 | 0.00052176
43 | 0.99091 | -0.17492 | 0.0019052 | 0.00047748
44 | 0.99185 | -0.15677 | 0.0017062 | 0.00042761
45 | 0.9901 | -0.19069 | 0.0020503 | 0.00051385
46 | 0.99017 | -0.18939 | 0.0018426 | 0.00046181
47 | 0.99017 | -0.18926 | 0.0017073 | 0.0004279
48 | 0.99021 | -0.1886 | 0.0018323 | 0.00045923
49 | 0.99182 | -0.15734 | 0.0017076 | 0.00042797
50 | 0.99183 | -0.15715 | 0.0016218 | 0.00040647
51 | 0.99025 | -0.18784 | 0.001378 | 0.00034536
52 | 0.99015 | -0.18966 | 0.0020522 | 0.00051432
53 | 0.99017 | -0.1894 | 0.0019962 | 0.00050029
54 | 0.99029 | -0.18696 | 0.0018943 | 0.00047475
55 | 0.99029 | -0.18692 | 0.0019117 | 0.00047913
56 | 0.99032 | -0.1865 | 0.0019699 | 0.00049371
57 | 0.99034 | -0.18603 | 0 | 0
58 | 0.9904 | -0.1849 | 0.0020045 | 0.00050237
59 | 0.9905 | -0.18303 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10325 | -0.025904 | 0.10335 | 0.025967 | 9.7792e-05 | 6.2442e-05 | 0.15382 | 0.15382 | 0.15382 | 0.99888 | -0.021475 | 0.99992 | -0.00163 | 42.257
1 | 0.080909 | 0.020305 | -0.08084 | -0.020262 | 6.8598e-05 | 4.3738e-05 | 0.12054 | 0.12054 | 0.12054 | 0.99888 | -0.021475 | 0.99796 | -0.03927 | 33.1149
2 | -0.13395 | -0.033637 | 0.13396 | 0.033644 | 1.0418e-05 | 6.6582e-06 | 0.19936 | 0.19936 | 0.19936 | 0.99992 | -0.00163 | 1 | 0 | 54.7701
3 | 0.050494 | 0.012656 | -0.050493 | -0.012656 | 5.5703e-07 | 3.5308e-07 | 0.07529 | 0.07529 | 0.07529 | 0.99796 | -0.03927 | 0.99795 | -0.039502 | 20.684
4 | 0.21112 | 0.05332 | -0.21078 | -0.053103 | 0.00033999 | 0.00021711 | 0.31429 | 0.31429 | 0.31429 | 1 | 0 | 0.99824 | -0.033665 | 43.1718
5 | 0.018451 | 0.0046252 | -0.018448 | -0.0046234 | 3.1004e-06 | 1.8416e-06 | 0.027512 | 0.027512 | 0.027512 | 0.99795 | -0.039502 | 0.99776 | -0.043029 | 7.5582
6 | 0.079152 | 0.019977 | -0.07902 | -0.019892 | 0.00013284 | 8.4688e-05 | 0.11804 | 0.11804 | 0.11804 | 0.99824 | -0.033665 | 0.99641 | -0.06877 | 32.4277
7 | 0.06959 | 0.017504 | -0.069512 | -0.017455 | 7.8079e-05 | 4.9718e-05 | 0.10376 | 0.10376 | 0.10376 | 0.99824 | -0.033665 | 0.99702 | -0.05718 | 28.5045
8 | 0.062035 | 0.015622 | -0.061961 | -0.015575 | 7.4103e-05 | 4.7124e-05 | 0.092498 | 0.092498 | 0.092498 | 0.99824 | -0.033665 | 0.99694 | -0.05868 | 25.4114
9 | 0.074468 | 0.018751 | -0.074451 | -0.018741 | 1.6899e-05 | 1.0768e-05 | 0.11124 | 0.11124 | 0.11124 | 0.99641 | -0.06877 | 0.99617 | -0.073518 | 30.5603
10 | 0.061879 | 0.015542 | -0.061878 | -0.015541 | 1.4174e-06 | 9.0135e-07 | 0.092364 | 0.092364 | 0.092364 | 0.99702 | -0.05718 | 0.99699 | -0.05766 | 25.3748
11 | 0.057689 | 0.014504 | -0.057677 | -0.014496 | 1.2536e-05 | 7.964e-06 | 0.086123 | 0.086123 | 0.086123 | 0.99694 | -0.05868 | 0.9967 | -0.063232 | 23.66
12 | 0.050442 | 0.012683 | -0.050433 | -0.012678 | 8.6148e-06 | 5.4607e-06 | 0.075321 | 0.075321 | 0.075321 | 0.9967 | -0.063232 | 0.99652 | -0.066808 | 20.6926
13 | 0.046155 | 0.011606 | -0.04614 | -0.011596 | 1.5201e-05 | 9.6175e-06 | 0.068934 | 0.068934 | 0.068934 | 0.99652 | -0.066808 | 0.99616 | -0.073707 | 18.9378
14 | 0.041817 | 0.010513 | -0.041812 | -0.010509 | 5.4035e-06 | 3.4102e-06 | 0.062476 | 0.062476 | 0.062476 | 0.99616 | -0.073707 | 0.99602 | -0.076413 | 17.1638
15 | 0.067953 | 0.017112 | -0.067925 | -0.017094 | 2.8428e-05 | 1.8098e-05 | 0.10153 | 0.10153 | 0.10153 | 0.99617 | -0.073518 | 0.99571 | -0.082271 | 27.8939
16 | 0.054892 | 0.01379 | -0.05485 | -0.013763 | 4.1863e-05 | 2.6576e-05 | 0.081938 | 0.081938 | 0.081938 | 0.99699 | -0.05766 | 0.99616 | -0.073653 | 22.5104
17 | 0.034484 | 0.0086725 | -0.034438 | -0.0086436 | 4.6089e-05 | 2.8896e-05 | 0.051528 | 0.051528 | 0.051528 | 0.99602 | -0.076413 | 0.99456 | -0.10443 | 14.1561
18 | 0.061694 | 0.015533 | -0.061685 | -0.015527 | 8.9543e-06 | 5.6942e-06 | 0.092222 | 0.092222 | 0.092222 | 0.99571 | -0.082271 | 0.99555 | -0.085308 | 25.3358
19 | 0.049043 | 0.012308 | -0.049014 | -0.012289 | 2.9153e-05 | 1.8469e-05 | 0.073264 | 0.073264 | 0.073264 | 0.99616 | -0.073653 | 0.99552 | -0.086126 | 20.1274
20 | 0.034438 | 0.0086436 | -0.034415 | -0.0086295 | 2.2517e-05 | 1.4118e-05 | 0.051528 | 0.051528 | 0.051528 | 0.99456 | -0.10443 | 0.99385 | -0.11815 | 14.1561
21 | 0.01611 | 0.0040418 | -0.016106 | -0.0040395 | 3.9528e-06 | 2.2951e-06 | 0.024122 | 0.024122 | 0.024122 | 0.99385 | -0.11815 | 0.99359 | -0.1233 | 6.6268
22 | 0.016106 | 0.0040395 | -0.016097 | -0.0040342 | 9.1134e-06 | 5.292e-06 | 0.024122 | 0.024122 | 0.024122 | 0.99359 | -0.1233 | 0.99297 | -0.13518 | 6.6269
23 | 0.0056619 | 0.0014189 | -0.0056616 | -0.0014189 | 3.6506e-07 | 5.8727e-08 | 0.0084846 | 0.0084847 | 0.0084847 | 0.99297 | -0.13518 | 0.9929 | -0.13653 | 2.331
24 | 0.057298 | 0.014427 | -0.057277 | -0.014414 | 2.1014e-05 | 1.335e-05 | 0.085665 | 0.085665 | 0.085665 | 0.99555 | -0.085308 | 0.99515 | -0.092982 | 23.5343
25 | 0.05278 | 0.013287 | -0.052756 | -0.013272 | 2.3933e-05 | 1.5184e-05 | 0.078941 | 0.078941 | 0.078941 | 0.99515 | -0.092982 | 0.99466 | -0.10247 | 21.6872
26 | 0.045775 | 0.011522 | -0.045753 | -0.011508 | 2.2316e-05 | 1.4117e-05 | 0.068498 | 0.068498 | 0.068498 | 0.99466 | -0.10247 | 0.99413 | -0.11268 | 18.8181
27 | 0.038781 | 0.0097607 | -0.03875 | -0.009741 | 3.1193e-05 | 1.9644e-05 | 0.058062 | 0.058062 | 0.058062 | 0.99413 | -0.11268 | 0.99326 | -0.12952 | 15.951
28 | 0.0020585 | 0.00051586 | -0.0020584 | -0.00051589 | 1.2763e-08 | -3.8088e-08 | 0.0030849 | 0.0030849 | 0.0030849 | 0.9929 | -0.13653 | 0.9929 | -0.13666 | 0.8475
29 | 0.03875 | 0.009741 | -0.038713 | -0.0097179 | 3.6683e-05 | 2.3102e-05 | 0.058062 | 0.058062 | 0.058062 | 0.99326 | -0.12952 | 0.99223 | -0.14937 | 15.9511
30 | 0.0091397 | 0.002291 | -0.0091372 | -0.0022898 | 2.5639e-06 | 1.171e-06 | 0.013707 | 0.013707 | 0.013707 | 0.99223 | -0.14937 | 0.99193 | -0.15526 | 3.7656
31 | 0.029573 | 0.0074269 | -0.029553 | -0.0074143 | 2.0211e-05 | 1.2581e-05 | 0.044355 | 0.044355 | 0.044355 | 0.99223 | -0.14937 | 0.99149 | -0.1637 | 12.1855
32 | 0.006965 | 0.0017454 | -0.0069647 | -0.0017453 | 3.0356e-07 | 9.8563e-08 | 0.010448 | 0.010448 | 0.010448 | 0.99193 | -0.15526 | 0.99188 | -0.15617 | 2.8704
33 | 0.027447 | 0.0068865 | -0.027442 | -0.0068838 | 4.3021e-06 | 2.6661e-06 | 0.041194 | 0.041194 | 0.041194 | 0.99149 | -0.1637 | 0.99132 | -0.16699 | 11.3171
34 | 0.0050358 | 0.0012619 | -0.0050357 | -0.0012619 | 1.4269e-07 | 5.2729e-09 | 0.0075547 | 0.0075547 | 0.0075547 | 0.99188 | -0.15617 | 0.99185 | -0.15677 | 2.0755
35 | 0.026045 | 0.0065336 | -0.026042 | -0.0065317 | 2.9806e-06 | 1.8405e-06 | 0.039097 | 0.039097 | 0.039097 | 0.99132 | -0.16699 | 0.9912 | -0.16939 | 10.7409
36 | -0.0088394 | -0.0022154 | 0.0088395 | 0.0022154 | 4.7173e-08 | 2.0844e-08 | 0.01322 | 0.01322 | 0.01322 | 0.99493 | -0.09749 | 0.99493 | -0.097378 | 3.6319
37 | -0.012005 | -0.0030087 | 0.012006 | 0.0030091 | 7.7227e-07 | 4.1128e-07 | 0.017954 | 0.017954 | 0.017954 | 0.99493 | -0.097378 | 0.995 | -0.096027 | 4.9325
38 | 0.023135 | 0.0057992 | -0.023134 | -0.0057987 | 7.1021e-07 | 4.3397e-07 | 0.034593 | 0.034593 | 0.034593 | 0.99516 | -0.093097 | 0.99512 | -0.093742 | 9.5035
39 | -0.030215 | -0.0075738 | 0.030221 | 0.0075774 | 5.8571e-06 | 3.6491e-06 | 0.04518 | 0.04518 | 0.04518 | 0.99516 | -0.093097 | 0.99537 | -0.08903 | 12.4122
40 | 0.016517 | 0.0041403 | -0.016515 | -0.0041392 | 1.7985e-06 | 1.0489e-06 | 0.024698 | 0.024698 | 0.024698 | 0.99512 | -0.093742 | 0.995 | -0.096027 | 6.7851
41 | -0.041541 | -0.010414 | 0.041546 | 0.010418 | 5.7482e-06 | 3.6271e-06 | 0.062102 | 0.062102 | 0.062102 | 0.99537 | -0.08903 | 0.99552 | -0.086126 | 17.061
42 | 0.024646 | 0.0061818 | -0.024642 | -0.0061798 | 3.2234e-06 | 1.9821e-06 | 0.037001 | 0.037001 | 0.037001 | 0.9912 | -0.16939 | 0.99106 | -0.17213 | 10.165
43 | 0.022561 | 0.0056581 | -0.022558 | -0.0056562 | 2.9992e-06 | 1.8297e-06 | 0.033875 | 0.033875 | 0.033875 | 0.99106 | -0.17213 | 0.99091 | -0.17492 | 9.3063
44 | 0.020652 | 0.0051787 | -0.020645 | -0.0051739 | 7.9715e-06 | 4.8172e-06 | 0.031014 | 0.031014 | 0.031014 | 0.99091 | -0.17492 | 0.9905 | -0.18303 | 8.5204
45 | 0.0033295 | 0.00083432 | -0.0033295 | -0.00083436 | 6.02e-08 | -4.451e-08 | 0.0049951 | 0.0049951 | 0.0049951 | 0.99185 | -0.15677 | 0.99183 | -0.15715 | 1.3723
46 | -0.0020503 | -0.00051385 | 0.0020504 | 0.00051347 | 1.2707e-07 | -3.7772e-07 | 0.0030814 | 0.0030812 | 0.0030814 | 0.9901 | -0.19069 | 0.99017 | -0.18939 | 0.84653
47 | -0.003893 | -0.00097528 | 0.0038931 | 0.00097527 | 2.3478e-08 | -8.5035e-09 | 0.0058503 | 0.0058503 | 0.0058503 | 0.99017 | -0.18939 | 0.99017 | -0.18926 | 1.6072
48 | -0.0056004 | -0.0014032 | 0.0056006 | 0.0014032 | 1.7516e-07 | 2.7275e-08 | 0.0084161 | 0.008416 | 0.0084161 | 0.99017 | -0.18926 | 0.99021 | -0.1886 | 2.3121
49 | -0.0074329 | -0.0018624 | 0.0074332 | 0.0018625 | 2.6958e-07 | 9.8405e-08 | 0.01117 | 0.01117 | 0.01117 | 0.99021 | -0.1886 | 0.99025 | -0.18784 | 3.0686
50 | -0.0017076 | -0.00042797 | 0.0017076 | 0.0004279 | 1.615e-08 | -7.4344e-08 | 0.0025619 | 0.0025619 | 0.0025619 | 0.99182 | -0.15734 | 0.99183 | -0.15715 | 0.70383
51 | -0.0088112 | -0.0022079 | 0.0088116 | 0.002208 | 3.7e-07 | 1.6439e-07 | 0.01324 | 0.01324 | 0.01324 | 0.99025 | -0.18784 | 0.99029 | -0.18696 | 3.6374
52 | -0.0020522 | -0.00051432 | 0.0020522 | 0.00051425 | 2.5657e-08 | -7.6104e-08 | 0.003084 | 0.003084 | 0.003084 | 0.99015 | -0.18966 | 0.99017 | -0.1894 | 0.84726
53 | -0.0040484 | -0.0010145 | 0.004049 | 0.0010143 | 6.5013e-07 | -1.8652e-07 | 0.0060838 | 0.0060836 | 0.0060838 | 0.99017 | -0.1894 | 0.99034 | -0.18603 | 1.6714
54 | -0.010706 | -0.0026828 | 0.010706 | 0.0026828 | 1.8723e-08 | 9.5001e-09 | 0.016087 | 0.016087 | 0.016087 | 0.99029 | -0.18696 | 0.99029 | -0.18692 | 4.4194
55 | -0.012618 | -0.0031619 | 0.012618 | 0.0031621 | 2.5717e-07 | 1.4004e-07 | 0.018959 | 0.018959 | 0.018959 | 0.99029 | -0.18692 | 0.99032 | -0.1865 | 5.2085
56 | -0.014588 | -0.0036558 | 0.01459 | 0.0036572 | 2.4123e-06 | 1.3715e-06 | 0.021919 | 0.021919 | 0.021919 | 0.99032 | -0.1865 | 0.9905 | -0.18303 | 6.0217
57 | -0.004049 | -0.0010143 | 0.0040492 | 0.0010143 | 2.1814e-07 | -6.2641e-08 | 0.0060836 | 0.0060836 | 0.0060836 | 0.99034 | -0.18603 | 0.9904 | -0.1849 | 1.6713
58 | -0.0060537 | -0.0015167 | 0.0060543 | 0.0015168 | 5.3991e-07 | 1.2154e-07 | 0.0090952 | 0.0090951 | 0.0090952 | 0.9904 | -0.1849 | 0.9905 | -0.18303 | 2.4987

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37058 | 0.092943

## res_load
| p_mw | q_mvar
0 | 0.022339 | 0.0055986
1 | 0.030607 | 0.0076708
2 | 0.030347 | 0.0076056
3 | 0.023853 | 0.005978
4 | 0.032043 | 0.0080306
5 | 0.018448 | 0.0046234
6 | 0.0045517 | 0.0011408
7 | 0.0076332 | 0.0019131
8 | 0.0042712 | 0.0010705
9 | 0.0072352 | 0.0018133
10 | 0.0042776 | 0.0010721
11 | 0.0043228 | 0.0010834
12 | 0.0064977 | 0.0016285
13 | 0.0069857 | 0.0017508
14 | 0.0073284 | 0.0018367
15 | 0.0062307 | 0.0015616
16 | 0.0058071 | 0.0014554
17 | 0.018305 | 0.0045877
18 | 0.010435 | 0.0026153
19 | 0.0043874 | 0.0010996
20 | 0.0044964 | 0.0011269
21 | 0.0069811 | 0.0017496
22 | 0.0069723 | 0.0017474
23 | 0.0036031 | 0.00090303
24 | 0.0020584 | 0.00051589
25 | 0.0021722 | 0.0005444
26 | 0.0021063 | 0.00052788
27 | 0.0019288 | 0.00048341
28 | 0.0013975 | 0.00035024
29 | 0.0088394 | 0.0022154
30 | 0.0031654 | 0.00079333
31 | 0.0070809 | 0.0017746
32 | 0.0066172 | 0.0016584
33 | 0.011319 | 0.0028369
34 | 0.0045092 | 0.0011301
35 | 0.0074675 | 0.0018715
36 | 0.0013962 | 0.00034993
37 | 0.0020819 | 0.00052176
38 | 0.0019052 | 0.00047748
39 | 0.0017062 | 0.00042761
40 | 0.0020503 | 0.00051385
41 | 0.0018426 | 0.00046181
42 | 0.0017073 | 0.0004279
43 | 0.0018323 | 0.00045923
44 | 0.0017076 | 0.00042797
45 | 0.0016218 | 0.00040647
46 | 0.001378 | 0.00034536
47 | 0.0020522 | 0.00051432
48 | 0.0019962 | 0.00050029
49 | 0.0018943 | 0.00047475
50 | 0.0019117 | 0.00047913
51 | 0.0019699 | 0.00049371
52 | 0.0020045 | 0.00050237

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1