## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-310_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-310_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-310_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-310_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-310_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-310_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2701-310_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2701-310_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2701-310_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2701-310_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-310_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-310_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-310_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-310_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-310_0_3_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_2701-310_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_2701-310_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_2701-310_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-310_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-310_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_2701-310_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-310_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2701-310_0_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_2701-310_0_3_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_2701-310_0_3_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_2701-310_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2701-310_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2701-310_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2701-310_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2701-310_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2701-310_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2701-310_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2701-310_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_2701-310_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2701-310_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_2701-310_0_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_2701-310_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2701-310_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2701-310_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2701-310_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2701-310_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2701-310_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_2701-310_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_2701-310_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2701-310_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_2701-310_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2701-310_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2701-310_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2701-310_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_2701-310_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2701-310_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_2701-310_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2701-310_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2701-310_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2701-310_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2701-310_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2701-310_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2701-310_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2701-310_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2701-310_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_562_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-310_0_3_load_0 | 0 | 0.0050614 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-310_0_3_load_1 | 1 | 0.0047976 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-310_0_3_load_2 | 2 | 0.012917 | 0.0032373 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-310_0_3_load_3 | 3 | 0.0055578 | 0.0013929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-310_0_3_load_4 | 4 | 0.0045133 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-310_0_3_load_36 | 5 | 0.014149 | 0.003546 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-310_0_3_load_26 | 6 | 0.0041973 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-310_0_3_load_34 | 7 | 0.0042288 | 0.0010598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-310_0_3_load_25 | 8 | 0.0058003 | 0.0014537 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-310_0_3_load_5 | 9 | 0.018101 | 0.0045366 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-310_0_3_load_6 | 10 | 0.0067136 | 0.0016826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-310_0_3_load_9 | 13 | 0.0079863 | 0.0020016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-310_0_3_load_44 | 14 | 0.002333 | 0.00058471 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-310_0_3_load_45 | 15 | 0.0017401 | 0.00043612 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-310_0_3_load_31 | 16 | 0.0067667 | 0.0016959 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-310_0_3_load_59 | 19 | 0.0059707 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-310_0_3_load_55 | 22 | 0.0065576 | 0.0016435 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-310_0_3_load_57 | 23 | 0.0026902 | 0.00067423 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-310_0_3_load_53 | 24 | 0.010867 | 0.0027235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-310_0_3_load_32 | 26 | 0.0078602 | 0.00197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-310_0_3_load_27 | 28 | 0.0047133 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-310_0_3_load_17 | 29 | 0.0040756 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-310_0_3_load_47 | 30 | 0.0070558 | 0.0017683 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-310_0_3_load_48 | 31 | 0.0045615 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-310_0_3_load_58 | 32 | 0.0051059 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-310_0_3_load_19 | 33 | 0.0034089 | 0.00085436 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-310_0_3_load_15 | 34 | 0.0053462 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-310_0_3_load_56 | 35 | 0.0037149 | 0.00093103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-310_0_3_load_28 | 36 | 0.0054194 | 0.0013582 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-310_0_3_load_29 | 37 | 0.0035146 | 0.00088085 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-310_0_3_load_20 | 38 | 0.0088367 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-310_0_3_load_21 | 39 | 0.02592 | 0.0064963 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-310_0_3_load_22 | 40 | 0.013345 | 0.0033445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-310_0_3_load_23 | 41 | 0.014147 | 0.0035457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-310_0_3_load_24 | 42 | 0.0093707 | 0.0023485 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-310_0_3_load_50 | 43 | 0.0076926 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-310_0_3_load_49 | 44 | 0.013346 | 0.0033448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-310_0_3_load_30 | 45 | 0.0021691 | 0.00054364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-310_0_3_load_40 | 46 | 0.0017438 | 0.00043705 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-310_0_3_load_38 | 47 | 0.0034245 | 0.00085825 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-310_0_3_load_33 | 48 | 0.0041593 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-310_0_3_load_35 | 49 | 0.003644 | 0.00091327 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-310_0_3_load_37 | 50 | 0.0022158 | 0.00055533 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-310_0_3_load_42 | 51 | 0.0037886 | 0.00094952 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-310_0_3_load_39 | 52 | 0.0017412 | 0.00043638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-310_0_3_load_41 | 53 | 0.0017392 | 0.00043589 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-310_0_3_load_46 | 54 | 0.0017388 | 0.00043578 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-310_0_3_load_51 | 55 | 0.0049097 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-310_0_3_load_52 | 56 | 0.0091832 | 0.0023015 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-310_0_3_load_54 | 57 | 0.014498 | 0.0036336 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-310_0_3_load_60 | 58 | 0.0023976 | 0.0006009 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-310_0_3_load_61 | 59 | 0.0068267 | 0.0017109 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-310_0_3_line_0 |  | 0 | 1 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-310_0_3_line_1 |  | 0 | 2 | 0.00037473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-310_0_3_line_2 |  | 1 | 3 | 0.0027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-310_0_3_line_3 |  | 2 | 4 | 0.013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-310_0_3_line_4 |  | 3 | 5 | 0.0097738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-310_0_3_line_5 |  | 4 | 6 | 0.0021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-310_0_3_line_6 |  | 5 | 7 | 0.00010516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-310_0_3_line_7 |  | 6 | 8 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-310_0_3_line_8 |  | 7 | 48 | 0.0087188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-310_0_3_line_9 |  | 8 | 28 | 0.00034959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-310_0_3_line_10 |  | 9 | 10 | 0.012734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2701-310_0_3_line_11 |  | 9 | 11 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-310_0_3_line_12 |  | 10 | 12 | 0.0037671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2701-310_0_3_line_13 |  | 11 | 13 | 0.019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-310_0_3_line_14 |  | 12 | 14 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-310_0_3_line_15 |  | 12 | 15 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2701-310_0_3_line_16 |  | 13 | 16 | 0.0085534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-310_0_3_line_17 |  | 14 | 24 | 0.0018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-310_0_3_line_18 |  | 15 | 25 | 0.0058124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2701-310_0_3_line_19 |  | 16 | 26 | 0.00017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-310_0_3_line_20 |  | 17 | 18 | 0.096617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-310_0_3_line_21 |  | 17 | 19 | 0.041385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-310_0_3_line_22 |  | 18 | 23 | 0.03391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-310_0_3_line_23 |  | 19 | 32 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-310_0_3_line_24 |  | 20 | 21 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-310_0_3_line_25 |  | 20 | 22 | 0.031159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-310_0_3_line_26 |  | 21 | 33 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-310_0_3_line_27 |  | 21 | 34 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-310_0_3_line_28 |  | 22 | 35 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-310_0_3_line_29 |  | 23 | 35 | 0.010343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-310_0_3_line_30 |  | 24 | 55 | 0.017291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-310_0_3_line_31 |  | 25 | 51 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-310_0_3_line_32 |  | 25 | 54 | 0.0012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-310_0_3_line_33 |  | 26 | 41 | 0.0077468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-310_0_3_line_34 |  | 27 | 28 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-310_0_3_line_35 |  | 27 | 29 | 0.023413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-310_0_3_line_36 |  | 30 | 31 | 0.0033573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-310_0_3_line_37 |  | 31 | 44 | 0.009598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-310_0_3_line_38 |  | 32 | 58 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-310_0_3_line_39 |  | 33 | 36 | 0.0043261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-310_0_3_line_40 |  | 36 | 37 | 0.0082591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-310_0_3_line_41 |  | 37 | 45 | 0.0038632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-310_0_3_line_42 |  | 38 | 39 | 0.0078266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-310_0_3_line_43 |  | 38 | 40 | 0.0017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-310_0_3_line_44 |  | 39 | 41 | 0.00043048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-310_0_3_line_45 |  | 40 | 42 | 0.0082507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-310_0_3_line_46 |  | 42 | 43 | 0.0033021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-310_0_3_line_47 |  | 43 | 44 | 0.0049572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-310_0_3_line_48 |  | 45 | 46 | 0.0053388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-310_0_3_line_49 |  | 46 | 47 | 0.0056551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-310_0_3_line_50 |  | 47 | 52 | 0.00083203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-310_0_3_line_51 |  | 48 | 49 | 0.0036771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-310_0_3_line_52 |  | 49 | 50 | 0.0045371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-310_0_3_line_53 |  | 50 | 51 | 0.0082148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2701-310_0_3_line_54 |  | 52 | 53 | 0.0069174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-310_0_3_line_55 |  | 53 | 54 | 0.0064812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-310_0_3_line_56 |  | 55 | 56 | 0.029286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-310_0_3_line_57 |  | 56 | 57 | 0.00019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-310_0_3_line_58 |  | 58 | 59 | 0.0021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-310_0_3_trafo_37 | 0.63 MVA 20/0.4 kV | 60 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610005.0091 | 1267225.1054 | 2609998.836 | 1267213.5469
1 | 2610005.1857 | 1267225.436 | 2610005.0091 | 1267225.1054
2 | 2609998.836 | 1267213.5469 | 2609997.553 | 1267211.1446
3 | 2610005.1857 | 1267225.436 | 2610011.3293 | 1267236.9394
4 | 2609992.9486 | 1267202.5233 | 2609997.553 | 1267211.1446
5 | 2610012.3417 | 1267238.8351 | 2610011.3293 | 1267236.9394
6 | 2609992.9486 | 1267202.5233 | 2609992.8991 | 1267202.4305
7 | 2610012.3417 | 1267238.8351 | 2610017.9126 | 1267249.2661
8 | 2609992.8991 | 1267202.4305 | 2609988.7917 | 1267194.7398
9 | 2610018.0773 | 1267249.5745 | 2610017.9126 | 1267249.2661
10 | 2610008.6091 | 1267151.9945 | 2609997.047 | 1267157.3314
11 | 2610024.3003 | 1267144.7518 | 2610008.6091 | 1267151.9945
12 | 2609993.6266 | 1267158.9101 | 2609997.047 | 1267157.3314
13 | 2610024.3003 | 1267144.7518 | 2610033.401 | 1267161.967
14 | 2609993.6266 | 1267158.9101 | 2609986.8438 | 1267146.3872
15 | 2609993.6266 | 1267158.9101 | 2609979.6731 | 1267165.3487
16 | 2610037.3985 | 1267169.5288 | 2610033.401 | 1267161.967
17 | 2609985.9768 | 1267144.7866 | 2609986.8438 | 1267146.3872
18 | 2609974.3954 | 1267167.784 | 2609979.6731 | 1267165.3487
19 | 2610037.3985 | 1267169.5288 | 2610037.479 | 1267169.6811
20 | 2609853.5466 | 1267101.8699 | 2609839.1485 | 1267073.9488 | 2609866.8118 | 1267059.5401 | 2609876.8133 | 1267078.8591 | 2609887.0992 | 1267085.5253
21 | 2609887.0992 | 1267085.5253 | 2609891.5328 | 1267089.958 | 2609901.0053 | 1267101.4484 | 2609910.1476 | 1267119.4875
22 | 2609853.5466 | 1267101.8699 | 2609868.9219 | 1267132.0937
23 | 2609919.5273 | 1267137.9949 | 2609910.1476 | 1267119.4875
24 | 2609921.4711 | 1267191.7567 | 2609894.1651 | 1267181.7153
25 | 2609894.1651 | 1267181.7153 | 2609880.0371 | 1267153.9433
26 | 2609921.4711 | 1267191.7567 | 2609935.3405 | 1267185.4744
27 | 2609921.4711 | 1267191.7567 | 2609920.6681 | 1267205.4275
28 | 2609880.0371 | 1267153.9433 | 2609873.6114 | 1267141.312
29 | 2609868.9219 | 1267132.0937 | 2609873.6114 | 1267141.312
30 | 2609975.4923 | 1267131.0753 | 2609984.9224 | 1267142.8398 | 2609985.9768 | 1267144.7866
31 | 2609974.3954 | 1267167.784 | 2609981.0521 | 1267180.248
32 | 2609974.3954 | 1267167.784 | 2609973.3008 | 1267168.2798
33 | 2610041.0996 | 1267176.5298 | 2610037.479 | 1267169.6811
34 | 2610025.35 | 1267263.1919 | 2610018.0773 | 1267249.5745
35 | 2610025.35 | 1267263.1919 | 2610004.4085 | 1267273.6626
36 | 2610059.5284 | 1267211.3903 | 2610057.9594 | 1267208.4223
37 | 2610053.4737 | 1267199.937 | 2610057.9594 | 1267208.4223
38 | 2609919.5273 | 1267137.9949 | 2609921.9293 | 1267142.7343 | 2609923.1226 | 1267153.8107 | 2609919.4723 | 1267162.8698
39 | 2609935.3405 | 1267185.4744 | 2609939.2813 | 1267183.6894
40 | 2609946.8046 | 1267180.2816 | 2609939.2813 | 1267183.6894
41 | 2609950.3236 | 1267178.6876 | 2609946.8046 | 1267180.2816
42 | 2610041.3008 | 1267176.9104 | 2610044.9586 | 1267183.8296
43 | 2610045.7576 | 1267185.3411 | 2610044.9586 | 1267183.8296
44 | 2610041.0996 | 1267176.5298 | 2610041.3008 | 1267176.9104
45 | 2610049.6136 | 1267192.6353 | 2610045.7576 | 1267185.3411
46 | 2610051.1569 | 1267195.5545 | 2610049.6136 | 1267192.6353
47 | 2610051.1569 | 1267195.5545 | 2610053.4737 | 1267199.937
48 | 2609950.3236 | 1267178.6876 | 2609955.1868 | 1267176.4848
49 | 2609960.338 | 1267174.1515 | 2609955.1868 | 1267176.4848
50 | 2609960.338 | 1267174.1515 | 2609961.0959 | 1267173.8082
51 | 2609987.0594 | 1267191.4962 | 2609988.7917 | 1267194.7398
52 | 2609984.922 | 1267187.4941 | 2609987.0594 | 1267191.4962
53 | 2609984.922 | 1267187.4941 | 2609981.0521 | 1267180.248
54 | 2609967.3971 | 1267170.954 | 2609961.0959 | 1267173.8082
55 | 2609967.3971 | 1267170.954 | 2609973.3008 | 1267168.2798
56 | 2609975.4923 | 1267131.0753 | 2609964.5743 | 1267117.4546 | 2609952.8543 | 1267115.8488
57 | 2609952.8543 | 1267115.8488 | 2609952.6618 | 1267115.8224
58 | 2609918.6632 | 1267164.8777 | 2609919.4723 | 1267162.8698

## bus_geodata
| x | y | coords
0 | 2610005.0091 | 1267225.1054
1 | 2609998.836 | 1267213.5469
2 | 2610005.1857 | 1267225.436
3 | 2609997.553 | 1267211.1446
4 | 2610011.3293 | 1267236.9394
5 | 2609992.9486 | 1267202.5233
6 | 2610012.3417 | 1267238.8351
7 | 2609992.8991 | 1267202.4305
8 | 2610017.9126 | 1267249.2661
9 | 2610008.6091 | 1267151.9945
10 | 2609997.047 | 1267157.3314
11 | 2610024.3003 | 1267144.7518
12 | 2609993.6266 | 1267158.9101
13 | 2610033.401 | 1267161.967
14 | 2609986.8438 | 1267146.3872
15 | 2609979.6731 | 1267165.3487
16 | 2610037.3985 | 1267169.5288
17 | 2609887.0992 | 1267085.5253
18 | 2609853.5466 | 1267101.8699
19 | 2609910.1476 | 1267119.4875
20 | 2609894.1651 | 1267181.7153
21 | 2609921.4711 | 1267191.7567
22 | 2609880.0371 | 1267153.9433
23 | 2609868.9219 | 1267132.0937
24 | 2609985.9768 | 1267144.7866
25 | 2609974.3954 | 1267167.784
26 | 2610037.479 | 1267169.6811
27 | 2610025.35 | 1267263.1919
28 | 2610018.0773 | 1267249.5745
29 | 2610004.4085 | 1267273.6626
30 | 2610059.5284 | 1267211.3903
31 | 2610057.9594 | 1267208.4223
32 | 2609919.5273 | 1267137.9949
33 | 2609935.3405 | 1267185.4744
34 | 2609920.6681 | 1267205.4275
35 | 2609873.6114 | 1267141.312
36 | 2609939.2813 | 1267183.6894
37 | 2609946.8046 | 1267180.2816
38 | 2610044.9586 | 1267183.8296
39 | 2610041.3008 | 1267176.9104
40 | 2610045.7576 | 1267185.3411
41 | 2610041.0996 | 1267176.5298
42 | 2610049.6136 | 1267192.6353
43 | 2610051.1569 | 1267195.5545
44 | 2610053.4737 | 1267199.937
45 | 2609950.3236 | 1267178.6876
46 | 2609955.1868 | 1267176.4848
47 | 2609960.338 | 1267174.1515
48 | 2609988.7917 | 1267194.7398
49 | 2609987.0594 | 1267191.4962
50 | 2609984.922 | 1267187.4941
51 | 2609981.0521 | 1267180.248
52 | 2609961.0959 | 1267173.8082
53 | 2609967.3971 | 1267170.954
54 | 2609973.3008 | 1267168.2798
55 | 2609975.4923 | 1267131.0753
56 | 2609952.8543 | 1267115.8488
57 | 2609952.6618 | 1267115.8224
58 | 2609919.4723 | 1267162.8698
59 | 2609918.6632 | 1267164.8777
60 | 2609974.3954 | 1267167.784

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99781 | -0.042172 | 0.0050614 | 0.0012685
1 | 0.9983 | -0.032707 | 0.0047976 | 0.0012024
2 | 0.99779 | -0.04241 | 0.012917 | 0.0032373
3 | 0.99841 | -0.030513 | 0.0055578 | 0.0013929
4 | 0.99752 | -0.047731 | 0.0045133 | 0.0011311
5 | 0.99887 | -0.021692 | 0.014149 | 0.003546
6 | 0.99748 | -0.048438 | 0.0041973 | 0.001052
7 | 0.99888 | -0.021571 | 0.0042288 | 0.0010598
8 | 0.99732 | -0.051461 | 0.0058003 | 0.0014537
9 | 0.99435 | -0.10815 | 0.018101 | 0.0045366
10 | 0.9952 | -0.091886 | 0.0067136 | 0.0016826
11 | 0.99234 | -0.14688 | 0 | 0
12 | 0.99546 | -0.086859 | 0 | 0
13 | 0.99007 | -0.19072 | 0.0079863 | 0.0020016
14 | 0.99491 | -0.097334 | 0.002333 | 0.00058471
15 | 0.99682 | -0.060744 | 0.0017401 | 0.00043612
16 | 0.98913 | -0.20882 | 0.0067667 | 0.0016959
17 | 0.98987 | -0.1949 | 0 | 0
18 | 0.99167 | -0.16007 | 0 | 0
19 | 0.9891 | -0.20986 | 0.0059707 | 0.0014964
20 | 0.99381 | -0.11865 | 0 | 0
21 | 0.99469 | -0.10163 | 0 | 0
22 | 0.99286 | -0.13696 | 0.0065576 | 0.0016435
23 | 0.9923 | -0.14787 | 0.0026902 | 0.00067423
24 | 0.99485 | -0.098599 | 0.010867 | 0.0027235
25 | 0.99734 | -0.050796 | 0 | 0
26 | 0.98912 | -0.20916 | 0.0078602 | 0.00197
27 | 0.99726 | -0.052618 | 0 | 0
28 | 0.99732 | -0.051515 | 0.0047133 | 0.0011813
29 | 0.99718 | -0.054291 | 0.0040756 | 0.0010214
30 | 0.98714 | -0.24767 | 0.0070558 | 0.0017683
31 | 0.98716 | -0.24725 | 0.0045615 | 0.0011432
32 | 0.98882 | -0.21516 | 0.0051059 | 0.0012797
33 | 0.99523 | -0.091275 | 0.0034089 | 0.00085436
34 | 0.99463 | -0.10292 | 0.0053462 | 0.0013399
35 | 0.99251 | -0.14366 | 0.0037149 | 0.00093103
36 | 0.9954 | -0.088076 | 0.0054194 | 0.0013582
37 | 0.99576 | -0.081184 | 0.0035146 | 0.00088085
38 | 0.98788 | -0.23323 | 0.0088367 | 0.0022147
39 | 0.98834 | -0.22426 | 0.02592 | 0.0064963
40 | 0.98779 | -0.23492 | 0.013345 | 0.0033445
41 | 0.98837 | -0.22356 | 0.014147 | 0.0035457
42 | 0.98747 | -0.24112 | 0.0093707 | 0.0023485
43 | 0.98737 | -0.24304 | 0.0076926 | 0.0019279
44 | 0.98726 | -0.24526 | 0.013346 | 0.0033448
45 | 0.99594 | -0.077724 | 0.0021691 | 0.00054364
46 | 0.9962 | -0.072741 | 0.0017438 | 0.00043705
47 | 0.99648 | -0.067292 | 0.0034245 | 0.00085825
48 | 0.99943 | -0.010914 | 0.0041593 | 0.0010424
49 | 0.99968 | -0.0061557 | 0.003644 | 0.00091327
50 | 1 | 0 | -0.3443 | -0.086762
51 | 0.99901 | -0.018815 | 0.0037886 | 0.00094952
52 | 0.99652 | -0.06644 | 0.0017412 | 0.00043638
53 | 0.9969 | -0.059153 | 0.0017392 | 0.00043589
54 | 0.99727 | -0.052133 | 0.0017388 | 0.00043578
55 | 0.9944 | -0.10731 | 0.0049097 | 0.0012305
56 | 0.99377 | -0.11954 | 0.0091832 | 0.0023015
57 | 0.99376 | -0.11959 | 0.014498 | 0.0036336
58 | 0.9886 | -0.21947 | 0.0023976 | 0.0006009
59 | 0.98859 | -0.21973 | 0.0068267 | 0.0017109
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.041288 | -0.010351 | 0.041306 | 0.010362 | 1.863e-05 | 1.1752e-05 | 0.061573 | 0.061573 | 0.061573 | 0.99781 | -0.042172 | 0.9983 | -0.032707 | 16.9157
1 | 0.036226 | 0.0090821 | -0.036226 | -0.0090818 | 4.1014e-07 | 2.576e-07 | 0.054025 | 0.054025 | 0.054025 | 0.99781 | -0.042172 | 0.99779 | -0.04241 | 14.842
2 | -0.046104 | -0.011565 | 0.046109 | 0.011568 | 4.8235e-06 | 3.0514e-06 | 0.068724 | 0.068724 | 0.068724 | 0.9983 | -0.032707 | 0.99841 | -0.030513 | 18.8803
3 | 0.023309 | 0.0058445 | -0.023303 | -0.0058409 | 5.9096e-06 | 3.6119e-06 | 0.034762 | 0.034762 | 0.034762 | 0.99779 | -0.04241 | 0.99752 | -0.047731 | 9.55
4 | -0.051667 | -0.012961 | 0.051689 | 0.012975 | 2.1735e-05 | 1.3783e-05 | 0.077007 | 0.077007 | 0.077007 | 0.99841 | -0.030513 | 0.99887 | -0.021692 | 21.1559
5 | 0.01879 | 0.0047098 | -0.018789 | -0.0047094 | 6.3316e-07 | 3.7717e-07 | 0.028029 | 0.028029 | 0.028029 | 0.99752 | -0.047731 | 0.99748 | -0.048438 | 7.7004
6 | -0.065837 | -0.01652 | 0.065838 | 0.016521 | 3.794e-07 | 2.4144e-07 | 0.098085 | 0.098085 | 0.098085 | 0.99887 | -0.021692 | 0.99888 | -0.021571 | 26.9463
7 | 0.014592 | 0.0036575 | -0.01459 | -0.0036563 | 2.1013e-06 | 1.1905e-06 | 0.021768 | 0.021768 | 0.021768 | 0.99748 | -0.048438 | 0.99732 | -0.051461 | 5.9802
8 | -0.070066 | -0.017581 | 0.070102 | 0.017603 | 3.5625e-05 | 2.2686e-05 | 0.10438 | 0.10438 | 0.10438 | 0.99888 | -0.021571 | 0.99943 | -0.010914 | 28.677
9 | 0.0087895 | 0.0022026 | -0.0087895 | -0.0022026 | 2.2545e-08 | 9.8669e-09 | 0.013114 | 0.013114 | 0.013114 | 0.99732 | -0.051461 | 0.99732 | -0.051515 | 3.6027
10 | -0.14572 | -0.036807 | 0.14584 | 0.036879 | 0.00011365 | 7.2408e-05 | 0.21817 | 0.21817 | 0.21817 | 0.99435 | -0.10815 | 0.9952 | -0.091886 | 29.9689
11 | 0.12762 | 0.03227 | -0.12739 | -0.032119 | 0.00023664 | 0.00015122 | 0.19109 | 0.19109 | 0.19109 | 0.99435 | -0.10815 | 0.99234 | -0.14688 | 52.496
12 | -0.15255 | -0.038562 | 0.15259 | 0.038585 | 3.6786e-05 | 2.3445e-05 | 0.22821 | 0.22821 | 0.22821 | 0.9952 | -0.091886 | 0.99546 | -0.086859 | 31.3478
13 | 0.12739 | 0.032119 | -0.12712 | -0.031948 | 0.00026663 | 0.00017039 | 0.19109 | 0.19109 | 0.19109 | 0.99234 | -0.14688 | 0.99007 | -0.19072 | 52.496
14 | 0.04184 | 0.010504 | -0.041819 | -0.010491 | 2.0895e-05 | 1.3188e-05 | 0.062549 | 0.062549 | 0.062549 | 0.99546 | -0.086859 | 0.99491 | -0.097334 | 17.1838
15 | -0.19443 | -0.049089 | 0.19467 | 0.049245 | 0.0002436 | 0.0001555 | 0.29076 | 0.29076 | 0.29076 | 0.99546 | -0.086859 | 0.99682 | -0.060744 | 39.9397
16 | 0.11913 | 0.029947 | -0.11903 | -0.029881 | 0.00010287 | 6.5725e-05 | 0.17908 | 0.17908 | 0.17908 | 0.99007 | -0.19072 | 0.98913 | -0.20882 | 49.1985
17 | 0.039486 | 0.0099064 | -0.039484 | -0.0099049 | 2.381e-06 | 1.5002e-06 | 0.05906 | 0.05906 | 0.05906 | 0.99491 | -0.097334 | 0.99485 | -0.098599 | 16.2252
18 | -0.19641 | -0.049681 | 0.19651 | 0.049741 | 9.379e-05 | 5.9874e-05 | 0.29336 | 0.29336 | 0.29336 | 0.99682 | -0.060744 | 0.99734 | -0.050796 | 40.2964
19 | 0.11226 | 0.028185 | -0.11226 | -0.028184 | 1.8426e-06 | 1.1771e-06 | 0.1689 | 0.1689 | 0.1689 | 0.98913 | -0.20882 | 0.98912 | -0.20916 | 46.4019
20 | -0.020321 | -0.0050996 | 0.020355 | 0.00512 | 3.3814e-05 | 2.0397e-05 | 0.03055 | 0.030549 | 0.03055 | 0.98987 | -0.1949 | 0.99167 | -0.16007 | 8.3928
21 | 0.020321 | 0.0050996 | -0.020307 | -0.0050908 | 1.4484e-05 | 8.7383e-06 | 0.03055 | 0.03055 | 0.03055 | 0.98987 | -0.1949 | 0.9891 | -0.20986 | 8.3929
22 | -0.020355 | -0.00512 | 0.020367 | 0.0051271 | 1.1868e-05 | 7.1575e-06 | 0.030549 | 0.030549 | 0.030549 | 0.99167 | -0.16007 | 0.9923 | -0.14787 | 8.3927
23 | 0.014336 | 0.0035944 | -0.014332 | -0.0035924 | 3.6193e-06 | 2.0501e-06 | 0.021568 | 0.021568 | 0.021568 | 0.9891 | -0.20986 | 0.98882 | -0.21516 | 5.9252
24 | -0.033372 | -0.0084023 | 0.033399 | 0.0084193 | 2.7182e-05 | 1.702e-05 | 0.049981 | 0.049981 | 0.049981 | 0.99381 | -0.11865 | 0.99469 | -0.10163 | 13.7309
25 | 0.033372 | 0.0084023 | -0.033343 | -0.008384 | 2.9189e-05 | 1.8278e-05 | 0.049981 | 0.049981 | 0.049981 | 0.99381 | -0.11865 | 0.99286 | -0.13696 | 13.731
26 | -0.038746 | -0.0097593 | 0.038765 | 0.0097713 | 1.9193e-05 | 1.2086e-05 | 0.057979 | 0.057979 | 0.057979 | 0.99469 | -0.10163 | 0.99523 | -0.091275 | 15.9282
27 | 0.0053466 | 0.0013399 | -0.0053462 | -0.0013399 | 3.2852e-07 | 3.2505e-08 | 0.0079982 | 0.0079983 | 0.0079983 | 0.99469 | -0.10163 | 0.99463 | -0.10292 | 2.1973
28 | 0.026785 | 0.0067405 | -0.026776 | -0.0067352 | 8.5681e-06 | 5.3004e-06 | 0.040153 | 0.040153 | 0.040153 | 0.99286 | -0.13696 | 0.99251 | -0.14366 | 11.031
29 | -0.023057 | -0.0058014 | 0.023062 | 0.0058042 | 4.6387e-06 | 2.8351e-06 | 0.034583 | 0.034583 | 0.034583 | 0.9923 | -0.14787 | 0.99251 | -0.14366 | 9.501
30 | 0.028617 | 0.0071815 | -0.028605 | -0.0071741 | 1.1882e-05 | 7.3799e-06 | 0.042806 | 0.042806 | 0.042806 | 0.99485 | -0.098599 | 0.9944 | -0.10731 | 11.76
31 | -0.26028 | -0.06582 | 0.26068 | 0.066075 | 0.00039996 | 0.0002556 | 0.38854 | 0.38854 | 0.38854 | 0.99734 | -0.050796 | 0.99901 | -0.018815 | 53.3704
32 | 0.06377 | 0.016079 | -0.063766 | -0.016076 | 4.0821e-06 | 2.5969e-06 | 0.095179 | 0.095179 | 0.095179 | 0.99734 | -0.050796 | 0.99727 | -0.052133 | 26.148
33 | 0.1044 | 0.026214 | -0.10433 | -0.026168 | 7.1678e-05 | 4.5775e-05 | 0.15708 | 0.15708 | 0.15708 | 0.98912 | -0.20916 | 0.98837 | -0.22356 | 43.1534
34 | -0.0040759 | -0.0010213 | 0.0040762 | 0.0010213 | 2.1412e-07 | -6.4403e-08 | 0.0060816 | 0.0060816 | 0.0060816 | 0.99726 | -0.052618 | 0.99732 | -0.051515 | 1.6708
35 | 0.0040759 | 0.0010213 | -0.0040756 | -0.0010214 | 3.2475e-07 | -9.7624e-08 | 0.0060816 | 0.0060817 | 0.0060817 | 0.99726 | -0.052618 | 0.99718 | -0.054291 | 1.6708
36 | -0.0070558 | -0.0017683 | 0.0070559 | 0.0017684 | 1.4242e-07 | 4.8228e-08 | 0.010636 | 0.010636 | 0.010636 | 0.98714 | -0.24767 | 0.98716 | -0.24725 | 2.922
37 | -0.011617 | -0.0029116 | 0.011618 | 0.0029122 | 1.1037e-06 | 5.8368e-07 | 0.017512 | 0.017512 | 0.017512 | 0.98716 | -0.24725 | 0.98726 | -0.24526 | 4.8109
38 | 0.0092263 | 0.0023127 | -0.0092244 | -0.0023119 | 1.8955e-06 | 8.7683e-07 | 0.013884 | 0.013884 | 0.013884 | 0.98882 | -0.21516 | 0.9886 | -0.21947 | 3.8144
39 | -0.042174 | -0.010626 | 0.04218 | 0.01063 | 6.4544e-06 | 4.0746e-06 | 0.063075 | 0.063075 | 0.063075 | 0.99523 | -0.091275 | 0.9954 | -0.088076 | 17.3284
40 | -0.0476 | -0.011988 | 0.047615 | 0.011998 | 1.5691e-05 | 9.9347e-06 | 0.071177 | 0.071177 | 0.071177 | 0.9954 | -0.088076 | 0.99576 | -0.081184 | 19.5541
41 | -0.05113 | -0.012879 | 0.051138 | 0.012884 | 8.4625e-06 | 5.3657e-06 | 0.076429 | 0.076429 | 0.076429 | 0.99576 | -0.081184 | 0.99594 | -0.077724 | 20.997
42 | -0.064232 | -0.016107 | 0.064259 | 0.016124 | 2.7475e-05 | 1.7484e-05 | 0.096754 | 0.096754 | 0.096754 | 0.98788 | -0.23323 | 0.98834 | -0.22426 | 26.5808
43 | 0.055395 | 0.013892 | -0.055391 | -0.013889 | 4.4643e-06 | 2.8353e-06 | 0.083443 | 0.083443 | 0.083443 | 0.98788 | -0.23323 | 0.98779 | -0.23492 | 22.924
44 | -0.09018 | -0.022621 | 0.090183 | 0.022623 | 2.9761e-06 | 1.8992e-06 | 0.13578 | 0.13578 | 0.13578 | 0.98834 | -0.22426 | 0.98837 | -0.22356 | 37.3019
45 | 0.042046 | 0.010545 | -0.042033 | -0.010537 | 1.2413e-05 | 7.8389e-06 | 0.063341 | 0.063341 | 0.063341 | 0.98779 | -0.23492 | 0.98747 | -0.24112 | 17.4013
46 | 0.032663 | 0.0081885 | -0.03266 | -0.0081866 | 2.9999e-06 | 1.8777e-06 | 0.04922 | 0.04922 | 0.04922 | 0.98747 | -0.24112 | 0.98737 | -0.24304 | 13.522
47 | 0.024967 | 0.0062586 | -0.024965 | -0.006257 | 2.6319e-06 | 1.621e-06 | 0.037627 | 0.037627 | 0.037627 | 0.98737 | -0.24304 | 0.98726 | -0.24526 | 10.3371
48 | -0.053307 | -0.013428 | 0.05332 | 0.013436 | 1.2707e-05 | 8.0633e-06 | 0.07967 | 0.07967 | 0.07967 | 0.99594 | -0.077724 | 0.9962 | -0.072741 | 21.8873
49 | -0.055064 | -0.013873 | 0.055078 | 0.013882 | 1.4355e-05 | 9.1135e-06 | 0.082275 | 0.082275 | 0.082275 | 0.9962 | -0.072741 | 0.99648 | -0.067292 | 22.6029
50 | -0.058503 | -0.01474 | 0.058505 | 0.014742 | 2.3827e-06 | 1.5141e-06 | 0.087388 | 0.087388 | 0.087388 | 0.99648 | -0.067292 | 0.99652 | -0.06644 | 24.0078
51 | -0.074261 | -0.018646 | 0.074278 | 0.018656 | 1.686e-05 | 1.0742e-05 | 0.11058 | 0.11058 | 0.11058 | 0.99943 | -0.010914 | 0.99968 | -0.0061557 | 30.3782
52 | -0.077922 | -0.01957 | 0.077945 | 0.019584 | 2.2894e-05 | 1.4593e-05 | 0.116 | 0.116 | 0.116 | 0.99968 | -0.0061557 | 1 | 0 | 31.8683
53 | 0.2647 | 0.067178 | -0.26446 | -0.067025 | 0.00023932 | 0.00015295 | 0.39418 | 0.39418 | 0.39418 | 1 | 0 | 0.99901 | -0.018815 | 54.1455
54 | -0.060246 | -0.015178 | 0.060267 | 0.015192 | 2.1006e-05 | 1.3354e-05 | 0.089988 | 0.089988 | 0.089988 | 0.99652 | -0.06644 | 0.9969 | -0.059153 | 24.722
55 | -0.062007 | -0.015627 | 0.062027 | 0.015641 | 2.0833e-05 | 1.3249e-05 | 0.092584 | 0.092584 | 0.092584 | 0.9969 | -0.059153 | 0.99727 | -0.052133 | 25.4352
56 | 0.023695 | 0.0059436 | -0.023682 | -0.0059352 | 1.3809e-05 | 8.458e-06 | 0.035459 | 0.03546 | 0.03546 | 0.9944 | -0.10731 | 0.99377 | -0.11954 | 9.7416
57 | 0.014498 | 0.0036336 | -0.014498 | -0.0036336 | 3.433e-08 | 1.9455e-08 | 0.021709 | 0.021709 | 0.021709 | 0.99377 | -0.11954 | 0.99376 | -0.11959 | 5.9641
58 | 0.0068268 | 0.001711 | -0.0068267 | -0.0017109 | 8.5713e-08 | 2.71e-08 | 0.010275 | 0.010275 | 0.010275 | 0.9886 | -0.21947 | 0.98859 | -0.21973 | 2.8229

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34651 | 0.087318

## res_load
| p_mw | q_mvar
0 | 0.0050614 | 0.0012685
1 | 0.0047976 | 0.0012024
2 | 0.012917 | 0.0032373
3 | 0.0055578 | 0.0013929
4 | 0.0045133 | 0.0011311
5 | 0.014149 | 0.003546
6 | 0.0041973 | 0.001052
7 | 0.0042288 | 0.0010598
8 | 0.0058003 | 0.0014537
9 | 0.018101 | 0.0045366
10 | 0.0067136 | 0.0016826
11 | 0.0079863 | 0.0020016
12 | 0.002333 | 0.00058471
13 | 0.0017401 | 0.00043612
14 | 0.0067667 | 0.0016959
15 | 0.0059707 | 0.0014964
16 | 0.0065576 | 0.0016435
17 | 0.0026902 | 0.00067423
18 | 0.010867 | 0.0027235
19 | 0.0078602 | 0.00197
20 | 0.0047133 | 0.0011813
21 | 0.0040756 | 0.0010214
22 | 0.0070558 | 0.0017683
23 | 0.0045615 | 0.0011432
24 | 0.0051059 | 0.0012797
25 | 0.0034089 | 0.00085436
26 | 0.0053462 | 0.0013399
27 | 0.0037149 | 0.00093103
28 | 0.0054194 | 0.0013582
29 | 0.0035146 | 0.00088085
30 | 0.0088367 | 0.0022147
31 | 0.02592 | 0.0064963
32 | 0.013345 | 0.0033445
33 | 0.014147 | 0.0035457
34 | 0.0093707 | 0.0023485
35 | 0.0076926 | 0.0019279
36 | 0.013346 | 0.0033448
37 | 0.0021691 | 0.00054364
38 | 0.0017438 | 0.00043705
39 | 0.0034245 | 0.00085825
40 | 0.0041593 | 0.0010424
41 | 0.003644 | 0.00091327
42 | 0.0022158 | 0.00055533
43 | 0.0037886 | 0.00094952
44 | 0.0017412 | 0.00043638
45 | 0.0017392 | 0.00043589
46 | 0.0017388 | 0.00043578
47 | 0.0049097 | 0.0012305
48 | 0.0091832 | 0.0023015
49 | 0.014498 | 0.0036336
50 | 0.0023976 | 0.0006009
51 | 0.0068267 | 0.0017109

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1