## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-311_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-311_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-311_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-311_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2701-311_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2701-311_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2701-311_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2701-311_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2701-311_0_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_2701-311_0_3_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_2701-311_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2701-311_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2701-311_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_2701-311_0_3_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_2701-311_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_2701-311_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_2701-311_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_2701-311_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-311_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_2701-311_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-311_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2701-311_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2701-311_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2701-311_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-311_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2701-311_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2701-311_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2701-311_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2701-311_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_2701-311_0_3_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_2701-311_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2701-311_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-311_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2701-311_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2701-311_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2701-311_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2701-311_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2701-311_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2701-311_0_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_2701-311_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2701-311_0_3_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_2701-311_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2701-311_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2701-311_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2701-311_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_2701-311_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2701-311_0_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_2701-311_0_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_2701-311_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_2701-311_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2701-311_0_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2701-311_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_2701-311_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2701-311_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2701-311_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2701-311_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2701-311_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2701-311_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2701-311_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2701-311_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2701-311_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2701-311_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_2701-311_0_3_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_2701-311_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2701-311_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2701-311_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2701-311_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2701-311_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2701-311_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2701-311_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2701-311_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_2701-311_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_2701-311_0_3_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_2701-311_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_2701-311_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_2701-311_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2701-311_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2701-311_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2701-311_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2701-311_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_MV_564_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-311_0_3_load_0 | 0 | 0.0019846 | 0.00049738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-311_0_3_load_1 | 1 | 0.0022164 | 0.00055549 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-311_0_3_load_5 | 3 | 0.0030501 | 0.00076442 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-311_0_3_load_6 | 4 | 0.0037084 | 0.00092942 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-311_0_3_load_18 | 5 | 0.0032007 | 0.00080216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-311_0_3_load_20 | 6 | 0.0036381 | 0.0009118 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-311_0_3_load_45 | 8 | 0.0038496 | 0.0009648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-311_0_3_load_46 | 9 | 0.0036103 | 0.00090482 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-311_0_3_load_10 | 10 | 0.0016247 | 0.0004072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-311_0_3_load_12 | 11 | 0.001997 | 0.0005005 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-311_0_3_load_60 | 13 | 0.0071402 | 0.0017895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-311_0_3_load_34 | 15 | 0.0047368 | 0.0011871 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-311_0_3_load_32 | 17 | 0.0053086 | 0.0013305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-311_0_3_load_31 | 18 | 0.0054068 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-311_0_3_load_30 | 19 | 0.006311 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-311_0_3_load_22 | 20 | 0.0026764 | 0.00067077 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-311_0_3_load_19 | 21 | 0.0026779 | 0.00067116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-311_0_3_load_11 | 22 | 0.0040289 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-311_0_3_load_13 | 23 | 0.0018565 | 0.00046527 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-311_0_3_load_16 | 25 | 0.0038079 | 0.00095435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-311_0_3_load_17 | 26 | 0.0016976 | 0.00042545 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-311_0_3_load_21 | 27 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-311_0_3_load_61 | 28 | 0.0016688 | 0.00041825 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-311_0_3_load_62 | 29 | 0.0023174 | 0.00058079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-311_0_3_load_23 | 30 | 0.0049098 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-311_0_3_load_24 | 31 | 0.0063785 | 0.0015986 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-311_0_3_load_25 | 32 | 0.0049296 | 0.0012355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-311_0_3_load_26 | 33 | 0.0067279 | 0.0016862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-311_0_3_load_27 | 34 | 0.018227 | 0.004568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-311_0_3_load_28 | 35 | 0.0036788 | 0.000922 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-311_0_3_load_29 | 36 | 0.005065 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-311_0_3_load_41 | 37 | 0.011712 | 0.0029353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-311_0_3_load_59 | 38 | 0.0062677 | 0.0015708 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-311_0_3_load_40 | 39 | 0.0048442 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-311_0_3_load_82 | 40 | 0.0082418 | 0.0020656 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-311_0_3_load_44 | 44 | 0.0047563 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-311_0_3_load_56 | 45 | 0.0067155 | 0.0016831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-311_0_3_load_83 | 46 | 0.0039744 | 0.00099609 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-311_0_3_load_81 | 47 | 0.0070304 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-311_0_3_load_58 | 48 | 0.0049385 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-311_0_3_load_43 | 49 | 0.012382 | 0.0031031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-311_0_3_load_85 | 50 | 0.005724 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-311_0_3_load_84 | 51 | 0.0039047 | 0.00097861 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-311_0_3_load_54 | 52 | 0.0055054 | 0.0013798 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-311_0_3_load_42 | 53 | 0.0036936 | 0.00092569 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-311_0_3_load_47 | 54 | 0.0027678 | 0.00069368 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-311_0_3_load_48 | 55 | 0.0023138 | 0.0005799 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-311_0_3_load_49 | 56 | 0.0023168 | 0.00058065 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-311_0_3_load_50 | 57 | 0.0027682 | 0.00069377 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-311_0_3_load_51 | 58 | 0.0034727 | 0.00087033 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-311_0_3_load_52 | 59 | 0.0063246 | 0.0015851 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-311_0_3_load_75 | 61 | 0.0022497 | 0.00056382 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-311_0_3_load_78 | 62 | 0.0028328 | 0.00070997 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-311_0_3_load_73 | 63 | 0.010927 | 0.0027384 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-311_0_3_load_67 | 64 | 0.0038398 | 0.00096234 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-311_0_3_load_55 | 65 | 0.0062745 | 0.0015725 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-311_0_3_load_57 | 66 | 0.0062614 | 0.0015692 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-311_0_3_load_63 | 67 | 0.0086515 | 0.0021683 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-311_0_3_load_65 | 69 | 0.0038119 | 0.00095535 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-311_0_3_load_66 | 70 | 0.0027734 | 0.00069507 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-311_0_3_load_68 | 71 | 0.0025748 | 0.00064531 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-311_0_3_load_79 | 72 | 0.0095946 | 0.0024046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-311_0_3_load_69 | 73 | 0.0053208 | 0.0013335 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-311_0_3_load_70 | 74 | 0.0022254 | 0.00055773 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-311_0_3_load_71 | 75 | 0.0020505 | 0.00051392 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-311_0_3_load_72 | 76 | 0.0025014 | 0.0006269 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-311_0_3_load_74 | 77 | 0.002309 | 0.0005787 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-311_0_3_load_76 | 78 | 0.0023059 | 0.00057792 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-311_0_3_load_77 | 79 | 0.00272 | 0.0006817 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-311_0_3_line_0 |  | 0 | 1 | 0.0070029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-311_0_3_line_1 |  | 1 | 2 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-311_0_3_line_2 |  | 2 | 3 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-311_0_3_line_3 |  | 2 | 4 | 0.026184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-311_0_3_line_4 |  | 3 | 5 | 0.0046999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-311_0_3_line_5 |  | 4 | 6 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-311_0_3_line_6 |  | 5 | 12 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-311_0_3_line_7 |  | 6 | 9 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-311_0_3_line_8 |  | 7 | 8 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-311_0_3_line_9 |  | 7 | 9 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-311_0_3_line_10 |  | 8 | 13 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-311_0_3_line_11 |  | 10 | 11 | 0.0067519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-311_0_3_line_12 |  | 11 | 22 | 0.0069011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-311_0_3_line_13 |  | 12 | 26 | 0.0076641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-311_0_3_line_14 |  | 12 | 24 | 0.031396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-311_0_3_line_15 |  | 13 | 38 | 0.0025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2701-311_0_3_line_16 |  | 14 | 15 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-311_0_3_line_17 |  | 14 | 16 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-311_0_3_line_18 |  | 14 | 17 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-311_0_3_line_19 |  | 15 | 40 | 0.0015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-311_0_3_line_20 |  | 16 | 46 | 0.039974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-311_0_3_line_21 |  | 17 | 19 | 0.008745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-311_0_3_line_22 |  | 18 | 19 | 0.0090163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-311_0_3_line_23 |  | 20 | 21 | 0.0085079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-311_0_3_line_24 |  | 21 | 25 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-311_0_3_line_25 |  | 22 | 23 | 0.0082413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-311_0_3_line_26 |  | 23 | 24 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-311_0_3_line_27 |  | 24 | 25 | 0.0065566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-311_0_3_line_28 |  | 26 | 27 | 0.004443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-311_0_3_line_29 |  | 27 | 28 | 0.0052694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-311_0_3_line_30 |  | 28 | 29 | 0.00679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-311_0_3_line_31 |  | 29 | 60 | 0.0070244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-311_0_3_line_32 |  | 30 | 31 | 0.0081042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-311_0_3_line_33 |  | 30 | 32 | 0.0084978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-311_0_3_line_34 |  | 31 | 33 | 0.0013117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-311_0_3_line_35 |  | 32 | 34 | 0.00022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2701-311_0_3_line_36 |  | 33 | 35 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-311_0_3_line_37 |  | 34 | 36 | 0.008331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2701-311_0_3_line_38 |  | 35 | 37 | 0.00069769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-311_0_3_line_39 |  | 36 | 38 | 0.0089279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-311_0_3_line_40 |  | 37 | 39 | 0.0068166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-311_0_3_line_41 |  | 39 | 53 | 0.0074774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-311_0_3_line_42 |  | 40 | 48 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-311_0_3_line_43 |  | 41 | 42 | 0.007125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-311_0_3_line_44 |  | 41 | 43 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-311_0_3_line_45 |  | 41 | 44 | 0.027516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-311_0_3_line_46 |  | 42 | 47 | 0.032482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-311_0_3_line_47 |  | 43 | 45 | 0.03114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-311_0_3_line_48 |  | 44 | 49 | 0.0043084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-311_0_3_line_49 |  | 45 | 52 | 0.0090379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-311_0_3_line_50 |  | 46 | 51 | 0.008077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-311_0_3_line_51 |  | 48 | 66 | 0.0095015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-311_0_3_line_52 |  | 49 | 53 | 0.003179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-311_0_3_line_53 |  | 50 | 51 | 0.010251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-311_0_3_line_54 |  | 52 | 65 | 0.0094757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-311_0_3_line_55 |  | 54 | 55 | 0.0016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-311_0_3_line_56 |  | 54 | 56 | 0.0064077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-311_0_3_line_57 |  | 55 | 57 | 0.0068953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-311_0_3_line_58 |  | 56 | 58 | 0.0079696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-311_0_3_line_59 |  | 57 | 59 | 0.0011752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-311_0_3_line_60 |  | 58 | 60 | 0.00090129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-311_0_3_line_61 |  | 59 | 61 | 0.0073252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-311_0_3_line_62 |  | 60 | 62 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-311_0_3_line_63 |  | 61 | 63 | 0.0056207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-311_0_3_line_64 |  | 62 | 64 | 0.00037904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-311_0_3_line_65 |  | 63 | 75 | 0.001497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-311_0_3_line_66 |  | 64 | 69 | 0.00802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-311_0_3_line_67 |  | 65 | 66 | 0.009753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-311_0_3_line_68 |  | 67 | 68 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-311_0_3_line_69 |  | 68 | 69 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-311_0_3_line_70 |  | 68 | 70 | 0.016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-311_0_3_line_71 |  | 70 | 71 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-311_0_3_line_72 |  | 71 | 72 | 0.00089666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-311_0_3_line_73 |  | 73 | 74 | 0.0014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-311_0_3_line_74 |  | 73 | 75 | 0.0047313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-311_0_3_line_75 |  | 74 | 76 | 0.0068138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-311_0_3_line_76 |  | 76 | 77 | 0.0050146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-311_0_3_line_77 |  | 77 | 78 | 0.0054724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-311_0_3_line_78 |  | 78 | 79 | 0.0074517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-311_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 80 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2609800.6872 | 1267100.4571 | 2609801.1723 | 1267093.4711
1 | 2609802.8737 | 1267070.4754 | 2609802.0359 | 1267081.0369 | 2609801.1723 | 1267093.4711
2 | 2609802.8737 | 1267070.4754 | 2609809.4216 | 1267070.8865 | 2609819.5483 | 1267071.9297
3 | 2609802.8737 | 1267070.4754 | 2609804.8456 | 1267044.3662
4 | 2609819.5483 | 1267071.9297 | 2609824.2234 | 1267072.4113
5 | 2609805.6119 | 1267034.2192 | 2609804.8456 | 1267044.3662
6 | 2609839.1485 | 1267073.9488 | 2609824.2234 | 1267072.4113
7 | 2609805.6119 | 1267034.2192 | 2609806.3763 | 1267024.0967
8 | 2609807.814 | 1267005.0601 | 2609817.0593 | 1266999.3046 | 2609818.5738 | 1266998.5301
9 | 2609807.814 | 1267005.0601 | 2609806.3763 | 1267024.0967
10 | 2609818.5738 | 1266998.5301 | 2609830.145 | 1266992.6124
11 | 2609834.331 | 1267121.1398 | 2609835.0588 | 1267127.8523
12 | 2609833.587 | 1267114.2789 | 2609834.331 | 1267121.1398
13 | 2609839.1485 | 1267073.9488 | 2609845.9458 | 1267070.4083
14 | 2609853.5466 | 1267101.8699 | 2609839.1485 | 1267073.9488
15 | 2609832.4595 | 1266991.4287 | 2609830.145 | 1266992.6124
16 | 2609814.3928 | 1266909.2485 | 2609832.8974 | 1266912.3121
17 | 2609814.3928 | 1266909.2485 | 2609815.4642 | 1266898.6206 | 2609817.7977 | 1266889.507
18 | 2609814.3928 | 1266909.2485 | 2609812.603 | 1266935.3288
19 | 2609832.8974 | 1266912.3121 | 2609834.4048 | 1266912.5617
20 | 2609817.7977 | 1266889.507 | 2609857.166 | 1266896.4394
21 | 2609812.603 | 1266935.3288 | 2609812.0042 | 1266944.0532
22 | 2609811.3869 | 1266953.0484 | 2609812.0042 | 1266944.0532
23 | 2609865.0664 | 1267124.5148 | 2609861.2088 | 1267116.9318
24 | 2609856.5195 | 1267107.7138 | 2609861.2088 | 1267116.9318
25 | 2609839.9985 | 1267109.4485 | 2609834.7192 | 1267112.4017 | 2609833.587 | 1267114.2789 | 2609833.587 | 1267114.2789
26 | 2609853.5466 | 1267101.8699 | 2609839.9985 | 1267109.4485
27 | 2609853.5466 | 1267101.8699 | 2609856.5195 | 1267107.7138
28 | 2609845.9458 | 1267070.4083 | 2609849.8863 | 1267068.3559
29 | 2609849.8863 | 1267068.3559 | 2609854.5597 | 1267065.9217
30 | 2609854.5597 | 1267065.9217 | 2609860.5818 | 1267062.785
31 | 2609866.8118 | 1267059.5401 | 2609860.5818 | 1267062.785
32 | 2609862.804 | 1266975.9101 | 2609855.5886 | 1266979.6002
33 | 2609848.0229 | 1266983.4694 | 2609855.5886 | 1266979.6002
34 | 2609862.804 | 1266975.9101 | 2609863.9719 | 1266975.3128
35 | 2609847.8255 | 1266983.5703 | 2609848.0229 | 1266983.4694
36 | 2609872.9932 | 1266970.6992 | 2609863.9719 | 1266975.3128
37 | 2609840.4082 | 1266987.3637 | 2609847.8255 | 1266983.5703
38 | 2609872.9932 | 1266970.6992 | 2609873.6144 | 1266970.3815
39 | 2609832.4595 | 1266991.4287 | 2609840.4082 | 1266987.3637
40 | 2609879.6833 | 1266967.2778 | 2609873.6144 | 1266970.3815
41 | 2609879.6833 | 1266967.2778 | 2609886.3407 | 1266963.8731
42 | 2609847.0823 | 1266914.6606 | 2609834.4048 | 1266912.5617
43 | 2609917.5047 | 1266947.9353 | 2609921.1226 | 1266954.079
44 | 2609917.5047 | 1266947.9353 | 2609915.065 | 1266925.9159
45 | 2609917.5047 | 1266947.9353 | 2609893.0069 | 1266960.4639
46 | 2609921.1226 | 1266954.079 | 2609936.4964 | 1266982.6926
47 | 2609915.065 | 1266925.9159 | 2609884.3433 | 1266920.8296
48 | 2609889.171 | 1266962.4256 | 2609893.0069 | 1266960.4639
49 | 2609875.4267 | 1266919.3533 | 2609884.3433 | 1266920.8296
50 | 2609857.166 | 1266896.4394 | 2609865.1206 | 1266897.8401
51 | 2609856.4562 | 1266916.2125 | 2609847.0823 | 1266914.6606
52 | 2609889.171 | 1266962.4256 | 2609886.3407 | 1266963.8731
53 | 2609865.1206 | 1266897.8401 | 2609875.2167 | 1266899.618
54 | 2609875.4267 | 1266919.3533 | 2609866.0783 | 1266917.8056
55 | 2609880.3994 | 1267052.5537 | 2609881.8258 | 1267051.8203
56 | 2609880.3994 | 1267052.5537 | 2609874.7009 | 1267055.4837
57 | 2609881.8258 | 1267051.8203 | 2609887.958 | 1267048.6673
58 | 2609874.7009 | 1267055.4837 | 2609867.6133 | 1267059.128
59 | 2609889.0031 | 1267048.1299 | 2609887.958 | 1267048.6673
60 | 2609867.6133 | 1267059.128 | 2609866.8118 | 1267059.5401
61 | 2609895.5176 | 1267044.7803 | 2609889.0031 | 1267048.1299
62 | 2609866.8118 | 1267059.5401 | 2609872.9519 | 1267071.4003
63 | 2609895.5176 | 1267044.7803 | 2609900.5163 | 1267042.2102
64 | 2609872.9519 | 1267071.4003 | 2609873.1261 | 1267071.7369
65 | 2609901.8476 | 1267041.5256 | 2609900.5163 | 1267042.2102
66 | 2609873.1261 | 1267071.7369 | 2609876.8133 | 1267078.8591
67 | 2609866.0783 | 1266917.8056 | 2609856.4562 | 1266916.2125
68 | 2609887.0992 | 1267085.5253 | 2609891.5328 | 1267089.958 | 2609901.0053 | 1267101.4484
69 | 2609887.0992 | 1267085.5253 | 2609876.8133 | 1267078.8591 | 2609876.8133 | 1267078.8591
70 | 2609887.0992 | 1267085.5253 | 2609902.0511 | 1267079.1012 | 2609902.0511 | 1267079.1012
71 | 2609910.3968 | 1267084.7079 | 2609906.6167 | 1267081.0769 | 2609902.0511 | 1267079.1012
72 | 2609910.8014 | 1267085.5081 | 2609910.3968 | 1267084.7079 | 2609910.3968 | 1267084.7079
73 | 2609906.0553 | 1267039.3622 | 2609907.3803 | 1267038.6809
74 | 2609906.0553 | 1267039.3622 | 2609901.8476 | 1267041.5256
75 | 2609913.44 | 1267035.5651 | 2609907.3803 | 1267038.6809
76 | 2609913.44 | 1267035.5651 | 2609917.8996 | 1267033.2721
77 | 2609917.8996 | 1267033.2721 | 2609922.7664 | 1267030.7698
78 | 2609922.7664 | 1267030.7698 | 2609929.3934 | 1267027.3624

## bus_geodata
| x | y | coords
0 | 2609800.6872 | 1267100.4571
1 | 2609801.1723 | 1267093.4711
2 | 2609802.8737 | 1267070.4754
3 | 2609819.5483 | 1267071.9297
4 | 2609804.8456 | 1267044.3662
5 | 2609824.2234 | 1267072.4113
6 | 2609805.6119 | 1267034.2192
7 | 2609807.814 | 1267005.0601
8 | 2609818.5738 | 1266998.5301
9 | 2609806.3763 | 1267024.0967
10 | 2609835.0588 | 1267127.8523
11 | 2609834.331 | 1267121.1398
12 | 2609839.1485 | 1267073.9488
13 | 2609830.145 | 1266992.6124
14 | 2609814.3928 | 1266909.2485
15 | 2609832.8974 | 1266912.3121
16 | 2609817.7977 | 1266889.507
17 | 2609812.603 | 1266935.3288
18 | 2609811.3869 | 1266953.0484
19 | 2609812.0042 | 1266944.0532
20 | 2609865.0664 | 1267124.5148
21 | 2609861.2088 | 1267116.9318
22 | 2609833.587 | 1267114.2789
23 | 2609839.9985 | 1267109.4485
24 | 2609853.5466 | 1267101.8699
25 | 2609856.5195 | 1267107.7138
26 | 2609845.9458 | 1267070.4083
27 | 2609849.8863 | 1267068.3559
28 | 2609854.5597 | 1267065.9217
29 | 2609860.5818 | 1267062.785
30 | 2609855.5886 | 1266979.6002
31 | 2609862.804 | 1266975.9101
32 | 2609848.0229 | 1266983.4694
33 | 2609863.9719 | 1266975.3128
34 | 2609847.8255 | 1266983.5703
35 | 2609872.9932 | 1266970.6992
36 | 2609840.4082 | 1266987.3637
37 | 2609873.6144 | 1266970.3815
38 | 2609832.4595 | 1266991.4287
39 | 2609879.6833 | 1266967.2778
40 | 2609834.4048 | 1266912.5617
41 | 2609917.5047 | 1266947.9353
42 | 2609921.1226 | 1266954.079
43 | 2609915.065 | 1266925.9159
44 | 2609893.0069 | 1266960.4639
45 | 2609884.3433 | 1266920.8296
46 | 2609857.166 | 1266896.4394
47 | 2609936.4964 | 1266982.6926
48 | 2609847.0823 | 1266914.6606
49 | 2609889.171 | 1266962.4256
50 | 2609875.2167 | 1266899.618
51 | 2609865.1206 | 1266897.8401
52 | 2609875.4267 | 1266919.3533
53 | 2609886.3407 | 1266963.8731
54 | 2609880.3994 | 1267052.5537
55 | 2609881.8258 | 1267051.8203
56 | 2609874.7009 | 1267055.4837
57 | 2609887.958 | 1267048.6673
58 | 2609867.6133 | 1267059.128
59 | 2609889.0031 | 1267048.1299
60 | 2609866.8118 | 1267059.5401
61 | 2609895.5176 | 1267044.7803
62 | 2609872.9519 | 1267071.4003
63 | 2609900.5163 | 1267042.2102
64 | 2609873.1261 | 1267071.7369
65 | 2609866.0783 | 1266917.8056
66 | 2609856.4562 | 1266916.2125
67 | 2609901.0053 | 1267101.4484
68 | 2609887.0992 | 1267085.5253
69 | 2609876.8133 | 1267078.8591
70 | 2609902.0511 | 1267079.1012
71 | 2609910.3968 | 1267084.7079
72 | 2609910.8014 | 1267085.5081
73 | 2609906.0553 | 1267039.3622
74 | 2609907.3803 | 1267038.6809
75 | 2609901.8476 | 1267041.5256
76 | 2609913.44 | 1267035.5651
77 | 2609917.8996 | 1267033.2721
78 | 2609922.7663 | 1267030.7698
79 | 2609929.3934 | 1267027.3624
80 | 2609807.814 | 1267005.0601

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98679 | -0.25225 | 0.0019846 | 0.00049738
1 | 0.98681 | -0.252 | 0.0022164 | 0.00055549
2 | 0.98689 | -0.25027 | 0 | 0
3 | 0.98505 | -0.28594 | 0.0030501 | 0.00076442
4 | 0.98988 | -0.19278 | 0.0037084 | 0.00092942
5 | 0.98455 | -0.29572 | 0.0032007 | 0.00080216
6 | 0.99107 | -0.16986 | 0.0036381 | 0.0009118
7 | 0.99466 | -0.10122 | 0 | 0
8 | 0.99622 | -0.071536 | 0.0038496 | 0.0009648
9 | 0.9923 | -0.1464 | 0.0036103 | 0.00090482
10 | 0.98222 | -0.34118 | 0.0016247 | 0.0004072
11 | 0.98223 | -0.34099 | 0.001997 | 0.0005005
12 | 0.98299 | -0.32615 | 0 | 0
13 | 0.99788 | -0.040121 | 0.0071402 | 0.0017895
14 | 0.98696 | -0.25094 | 0 | 0
15 | 0.98749 | -0.24066 | 0.0047368 | 0.0011871
16 | 0.98671 | -0.25583 | 0 | 0
17 | 0.98655 | -0.25891 | 0.0053086 | 0.0013305
18 | 0.98641 | -0.26162 | 0.0054068 | 0.0013551
19 | 0.98646 | -0.26074 | 0.006311 | 0.0015817
20 | 0.98232 | -0.33923 | 0.0026764 | 0.00067077
21 | 0.98234 | -0.33882 | 0.0026779 | 0.00067116
22 | 0.98225 | -0.34054 | 0.0040289 | 0.0010097
23 | 0.98231 | -0.3394 | 0.0018565 | 0.00046527
24 | 0.98245 | -0.33673 | 0 | 0
25 | 0.98239 | -0.33782 | 0.0038079 | 0.00095435
26 | 0.98232 | -0.33914 | 0.0016976 | 0.00042545
27 | 0.98194 | -0.34655 | 0.0015912 | 0.00039879
28 | 0.9815 | -0.35519 | 0.0016688 | 0.00041825
29 | 0.98094 | -0.36612 | 0.0023174 | 0.00058079
30 | 1 | 0 | -0.31906 | -0.080872
31 | 0.999 | -0.01902 | 0.0063785 | 0.0015986
32 | 0.9993 | -0.013302 | 0.0049296 | 0.0012355
33 | 0.99885 | -0.021956 | 0.0067279 | 0.0016862
34 | 0.99928 | -0.01364 | 0.018227 | 0.004568
35 | 0.99772 | -0.043471 | 0.0036788 | 0.000922
36 | 0.99868 | -0.025014 | 0.005065 | 0.0012694
37 | 0.99765 | -0.04491 | 0.011712 | 0.0029353
38 | 0.99805 | -0.036822 | 0.0062677 | 0.0015708
39 | 0.99699 | -0.057574 | 0.0048442 | 0.0012141
40 | 0.98754 | -0.2397 | 0.0082418 | 0.0020656
41 | 0.99364 | -0.12168 | 0 | 0
42 | 0.9936 | -0.12257 | 0 | 0
43 | 0.99215 | -0.1504 | 0 | 0
44 | 0.99567 | -0.082736 | 0.0047563 | 0.0011921
45 | 0.99005 | -0.1909 | 0.0067155 | 0.0016831
46 | 0.98621 | -0.26557 | 0.0039744 | 0.00099609
47 | 0.99339 | -0.1266 | 0.0070304 | 0.001762
48 | 0.98806 | -0.22969 | 0.0049385 | 0.0012377
49 | 0.99601 | -0.076292 | 0.012382 | 0.0031031
50 | 0.98609 | -0.26802 | 0.005724 | 0.0014346
51 | 0.98614 | -0.26696 | 0.0039047 | 0.00097861
52 | 0.9895 | -0.20161 | 0.0055054 | 0.0013798
53 | 0.99629 | -0.070849 | 0.0036936 | 0.00092569
54 | 0.97969 | -0.39056 | 0.0027678 | 0.00069368
55 | 0.97963 | -0.39184 | 0.0023138 | 0.0005799
56 | 0.97997 | -0.38512 | 0.0023168 | 0.00058065
57 | 0.97936 | -0.39706 | 0.0027682 | 0.00069377
58 | 0.98033 | -0.37802 | 0.0034727 | 0.00087033
59 | 0.97932 | -0.3979 | 0.0063246 | 0.0015851
60 | 0.98038 | -0.37716 | 0 | 0
61 | 0.9791 | -0.40224 | 0.0022497 | 0.00056382
62 | 0.97995 | -0.38541 | 0.0028328 | 0.00070997
63 | 0.97894 | -0.40534 | 0.010927 | 0.0027384
64 | 0.97994 | -0.38563 | 0.0038398 | 0.00096234
65 | 0.98897 | -0.21192 | 0.0062745 | 0.0015725
66 | 0.98848 | -0.22145 | 0.0062614 | 0.0015692
67 | 0.9793 | -0.3982 | 0.0086515 | 0.0021683
68 | 0.97947 | -0.39487 | 0 | 0
69 | 0.97974 | -0.38962 | 0.0038119 | 0.00095535
70 | 0.97925 | -0.39929 | 0.0027734 | 0.00069507
71 | 0.97913 | -0.40155 | 0.0025748 | 0.00064531
72 | 0.97912 | -0.40171 | 0.0095946 | 0.0024046
73 | 0.97883 | -0.40737 | 0.0053208 | 0.0013335
74 | 0.97882 | -0.40769 | 0.0022254 | 0.00055773
75 | 0.97891 | -0.40587 | 0.0020505 | 0.00051392
76 | 0.97876 | -0.40891 | 0.0025014 | 0.0006269
77 | 0.97872 | -0.40958 | 0.002309 | 0.0005787
78 | 0.9787 | -0.41008 | 0.0023059 | 0.00057792
79 | 0.97868 | -0.41045 | 0.00272 | 0.0006817
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019846 | -0.00049738 | 0.0019846 | 0.0004973 | 2.3518e-08 | -7.4412e-08 | 0.0029926 | 0.0029926 | 0.0029926 | 0.98679 | -0.25225 | 0.98681 | -0.252 | 0.82214
1 | -0.004201 | -0.0010528 | 0.0042014 | 0.0010527 | 3.4699e-07 | -7.2537e-08 | 0.0063347 | 0.0063346 | 0.0063347 | 0.98681 | -0.252 | 0.98689 | -0.25027 | 1.7403
2 | 0.11959 | 0.03026 | -0.11939 | -0.030129 | 0.00020436 | 0.00013058 | 0.18042 | 0.18042 | 0.18042 | 0.98689 | -0.25027 | 0.98505 | -0.28594 | 49.5668
3 | -0.1238 | -0.031312 | 0.12414 | 0.031531 | 0.00034246 | 0.00021884 | 0.18676 | 0.18676 | 0.18676 | 0.98689 | -0.25027 | 0.98988 | -0.19278 | 51.307
4 | 0.11634 | 0.029365 | -0.11628 | -0.02933 | 5.448e-05 | 3.4807e-05 | 0.17582 | 0.17582 | 0.17582 | 0.98505 | -0.28594 | 0.98455 | -0.29572 | 48.301
5 | -0.12785 | -0.032461 | 0.12799 | 0.032551 | 0.00014116 | 9.021e-05 | 0.19233 | 0.19233 | 0.19233 | 0.98988 | -0.19278 | 0.99107 | -0.16986 | 52.8385
6 | 0.11308 | 0.028528 | -0.11292 | -0.028423 | 0.00016448 | 0.00010508 | 0.17098 | 0.17098 | 0.17098 | 0.98455 | -0.29572 | 0.98299 | -0.32615 | 46.9721
7 | -0.13163 | -0.033463 | 0.13177 | 0.033558 | 0.00014893 | 9.5184e-05 | 0.19779 | 0.19779 | 0.19779 | 0.99107 | -0.16986 | 0.9923 | -0.1464 | 54.3391
8 | -0.13568 | -0.034652 | 0.13588 | 0.034776 | 0.00019498 | 0.00012462 | 0.20321 | 0.20321 | 0.20321 | 0.99466 | -0.10122 | 0.99622 | -0.071536 | 55.8264
9 | 0.13568 | 0.034652 | -0.13538 | -0.034463 | 0.00029562 | 0.00018895 | 0.20321 | 0.20321 | 0.20321 | 0.99466 | -0.10122 | 0.9923 | -0.1464 | 55.8264
10 | -0.13972 | -0.035741 | 0.13994 | 0.035877 | 0.0002128 | 0.00013602 | 0.20896 | 0.20896 | 0.20896 | 0.99622 | -0.071536 | 0.99788 | -0.040121 | 57.406
11 | -0.0016247 | -0.0004072 | 0.0016248 | 0.00040712 | 1.534e-08 | -7.5641e-08 | 0.0024614 | 0.0024614 | 0.0024614 | 0.98222 | -0.34118 | 0.98223 | -0.34099 | 0.67622
12 | -0.0036218 | -0.00090763 | 0.0036219 | 0.00090759 | 7.7908e-08 | -3.7489e-08 | 0.0054868 | 0.0054867 | 0.0054868 | 0.98223 | -0.34099 | 0.98225 | -0.34054 | 1.5074
13 | 0.094238 | 0.023737 | -0.09418 | -0.0237 | 5.8523e-05 | 3.7358e-05 | 0.1427 | 0.1427 | 0.1427 | 0.98299 | -0.32615 | 0.98232 | -0.33914 | 39.2027
14 | 0.018681 | 0.0046854 | -0.018672 | -0.0046798 | 9.4163e-06 | 5.6287e-06 | 0.028281 | 0.028281 | 0.028281 | 0.98299 | -0.32615 | 0.98245 | -0.33673 | 7.7694
15 | -0.14708 | -0.037667 | 0.1471 | 0.037682 | 2.3507e-05 | 1.4976e-05 | 0.2196 | 0.2196 | 0.2196 | 0.99788 | -0.040121 | 0.99805 | -0.036822 | 30.1655
16 | -0.030648 | -0.0076865 | 0.030663 | 0.0076959 | 1.5019e-05 | 9.3721e-06 | 0.046209 | 0.046209 | 0.046209 | 0.98696 | -0.25094 | 0.98749 | -0.24066 | 12.6947
17 | 0.013614 | 0.0034149 | -0.01361 | -0.0034132 | 3.174e-06 | 1.7747e-06 | 0.020526 | 0.020526 | 0.020526 | 0.98696 | -0.25094 | 0.98671 | -0.25583 | 5.639
18 | 0.017034 | 0.0042716 | -0.017028 | -0.0042678 | 6.4662e-06 | 3.8044e-06 | 0.025683 | 0.025683 | 0.025683 | 0.98696 | -0.25094 | 0.98655 | -0.25891 | 7.0557
19 | -0.0354 | -0.0088831 | 0.035401 | 0.0088841 | 1.6305e-06 | 1.024e-06 | 0.053346 | 0.053346 | 0.053346 | 0.98749 | -0.24066 | 0.98754 | -0.2397 | 14.6556
20 | 0.01361 | 0.0034132 | -0.013604 | -0.0034096 | 6.3157e-06 | 3.5317e-06 | 0.020526 | 0.020526 | 0.020526 | 0.98671 | -0.25583 | 0.98621 | -0.26557 | 5.6391
21 | 0.011719 | 0.0029373 | -0.011718 | -0.0029368 | 1.0246e-06 | 5.4409e-07 | 0.017676 | 0.017676 | 0.017676 | 0.98655 | -0.25891 | 0.98646 | -0.26074 | 4.856
22 | -0.0054068 | -0.0013551 | 0.0054071 | 0.0013551 | 2.2493e-07 | 2.8852e-08 | 0.0081563 | 0.0081562 | 0.0081563 | 0.98641 | -0.26162 | 0.98646 | -0.26074 | 2.2407
23 | -0.0026764 | -0.00067077 | 0.0026765 | 0.0006707 | 5.244e-08 | -7.4145e-08 | 0.0040542 | 0.0040542 | 0.0040542 | 0.98232 | -0.33923 | 0.98234 | -0.33882 | 1.1138
24 | -0.0053544 | -0.0013419 | 0.0053547 | 0.0013419 | 2.5512e-07 | 3.2341e-08 | 0.0081107 | 0.0081106 | 0.0081107 | 0.98234 | -0.33882 | 0.98239 | -0.33782 | 2.2282
25 | -0.0076508 | -0.0019173 | 0.0076512 | 0.0019175 | 4.1515e-07 | 1.6137e-07 | 0.01159 | 0.01159 | 0.01159 | 0.98225 | -0.34054 | 0.98231 | -0.3394 | 3.1841
26 | -0.0095077 | -0.0023828 | 0.0095089 | 0.0023833 | 1.2075e-06 | 5.7626e-07 | 0.014402 | 0.014402 | 0.014402 | 0.98231 | -0.3394 | 0.98245 | -0.33673 | 3.9567
27 | 0.009163 | 0.0022965 | -0.0091626 | -0.0022962 | 4.7358e-07 | 2.2007e-07 | 0.013878 | 0.013878 | 0.013878 | 0.98245 | -0.33673 | 0.98239 | -0.33782 | 3.8128
28 | 0.092482 | 0.023274 | -0.09245 | -0.023254 | 3.2715e-05 | 2.0881e-05 | 0.14013 | 0.14013 | 0.14013 | 0.98232 | -0.33914 | 0.98194 | -0.34655 | 38.4963
29 | 0.090858 | 0.022855 | -0.090821 | -0.022831 | 3.7476e-05 | 2.3918e-05 | 0.13772 | 0.13772 | 0.13772 | 0.98194 | -0.34655 | 0.9815 | -0.35519 | 37.8338
30 | 0.089152 | 0.022413 | -0.089105 | -0.022383 | 4.6533e-05 | 2.9695e-05 | 0.13519 | 0.13519 | 0.13519 | 0.9815 | -0.35519 | 0.98094 | -0.36612 | 37.1388
31 | 0.086788 | 0.021802 | -0.086742 | -0.021773 | 4.5668e-05 | 2.9139e-05 | 0.13167 | 0.13167 | 0.13167 | 0.98094 | -0.36612 | 0.98038 | -0.37716 | 36.173
32 | 0.13553 | 0.034358 | -0.1354 | -0.034279 | 0.00012376 | 7.9103e-05 | 0.2018 | 0.2018 | 0.2018 | 1 | 0 | 0.999 | -0.01902 | 55.4402
33 | 0.18189 | 0.046514 | -0.18177 | -0.046439 | 0.000117 | 7.4655e-05 | 0.27098 | 0.27098 | 0.27098 | 1 | 0 | 0.9993 | -0.013302 | 37.2221
34 | 0.12902 | 0.03268 | -0.129 | -0.032669 | 1.819e-05 | 1.1625e-05 | 0.1923 | 0.1923 | 0.1923 | 0.999 | -0.01902 | 0.99885 | -0.021956 | 52.8301
35 | 0.17684 | 0.045203 | -0.17684 | -0.045202 | 2.8886e-06 | 1.8429e-06 | 0.26364 | 0.26364 | 0.26364 | 0.9993 | -0.013302 | 0.99928 | -0.01364 | 36.2138
36 | 0.12228 | 0.030982 | -0.12215 | -0.030902 | 0.00012625 | 8.0666e-05 | 0.18228 | 0.18228 | 0.18228 | 0.99885 | -0.021956 | 0.99772 | -0.043471 | 50.0766
37 | 0.15861 | 0.040634 | -0.15852 | -0.040578 | 8.7367e-05 | 5.5697e-05 | 0.2365 | 0.2365 | 0.2365 | 0.99928 | -0.01364 | 0.99868 | -0.025014 | 32.4857
38 | 0.11847 | 0.02998 | -0.11846 | -0.029975 | 8.1776e-06 | 5.2245e-06 | 0.17679 | 0.17679 | 0.17679 | 0.99772 | -0.043471 | 0.99765 | -0.04491 | 48.5693
39 | 0.15346 | 0.039308 | -0.15337 | -0.039252 | 8.7746e-05 | 5.5924e-05 | 0.22895 | 0.22895 | 0.22895 | 0.99868 | -0.025014 | 0.99805 | -0.036822 | 31.4491
40 | 0.10675 | 0.027039 | -0.10669 | -0.026998 | 6.4887e-05 | 4.1439e-05 | 0.15932 | 0.15932 | 0.15932 | 0.99765 | -0.04491 | 0.99699 | -0.057574 | 43.7702
41 | 0.10184 | 0.025784 | -0.10178 | -0.025742 | 6.4864e-05 | 4.1415e-05 | 0.15209 | 0.15209 | 0.15209 | 0.99699 | -0.057574 | 0.99629 | -0.070849 | 41.7839
42 | -0.043643 | -0.01095 | 0.043664 | 0.010963 | 2.0841e-05 | 1.3174e-05 | 0.065765 | 0.065765 | 0.065765 | 0.98754 | -0.2397 | 0.98806 | -0.22969 | 18.0673
43 | 0.007032 | 0.0017625 | -0.0070317 | -0.0017624 | 2.963e-07 | 9.7348e-08 | 0.010531 | 0.010531 | 0.010531 | 0.99364 | -0.12168 | 0.9936 | -0.12257 | 2.8931
44 | 0.073711 | 0.018629 | -0.07361 | -0.018565 | 0.00010134 | 6.4568e-05 | 0.11044 | 0.11044 | 0.11044 | 0.99364 | -0.12168 | 0.99215 | -0.1504 | 30.3408
45 | -0.080743 | -0.020392 | 0.080894 | 0.020488 | 0.000151 | 9.6282e-05 | 0.12097 | 0.12097 | 0.12097 | 0.99364 | -0.12168 | 0.99567 | -0.082736 | 33.2338
46 | 0.0070317 | 0.0017624 | -0.0070304 | -0.001762 | 1.3508e-06 | 4.4392e-07 | 0.010531 | 0.010531 | 0.010531 | 0.9936 | -0.12257 | 0.99339 | -0.1266 | 2.8931
47 | 0.07361 | 0.018565 | -0.073467 | -0.018474 | 0.00014243 | 9.0755e-05 | 0.11044 | 0.11044 | 0.11044 | 0.99215 | -0.1504 | 0.99005 | -0.1909 | 30.3408
48 | -0.085651 | -0.02168 | 0.085677 | 0.021697 | 2.6504e-05 | 1.6906e-05 | 0.12808 | 0.12808 | 0.12808 | 0.99567 | -0.082736 | 0.99601 | -0.076292 | 35.1866
49 | 0.066752 | 0.016791 | -0.066718 | -0.016769 | 3.4128e-05 | 2.1726e-05 | 0.10035 | 0.10035 | 0.10035 | 0.99005 | -0.1909 | 0.9895 | -0.20161 | 27.568
50 | 0.0096297 | 0.0024136 | -0.009629 | -0.0024132 | 6.3941e-07 | 3.0617e-07 | 0.014529 | 0.01453 | 0.01453 | 0.98621 | -0.26557 | 0.98614 | -0.26696 | 3.9916
51 | -0.048602 | -0.012201 | 0.048621 | 0.012213 | 1.9093e-05 | 1.2098e-05 | 0.073202 | 0.073202 | 0.073202 | 0.98806 | -0.22969 | 0.98848 | -0.22145 | 20.1105
52 | -0.098059 | -0.0248 | 0.098084 | 0.024817 | 2.5612e-05 | 1.635e-05 | 0.14658 | 0.14658 | 0.14658 | 0.99601 | -0.076292 | 0.99629 | -0.070849 | 40.2684
53 | -0.005724 | -0.0014346 | 0.0057243 | 0.0014346 | 2.8682e-07 | 5.278e-08 | 0.0086376 | 0.0086376 | 0.0086376 | 0.98609 | -0.26802 | 0.98614 | -0.26696 | 2.373
54 | 0.061212 | 0.015389 | -0.061182 | -0.01537 | 3.0121e-05 | 1.9156e-05 | 0.092068 | 0.092069 | 0.092069 | 0.9895 | -0.20161 | 0.98897 | -0.21192 | 25.2936
55 | 0.044045 | 0.011049 | -0.044042 | -0.011047 | 2.692e-06 | 1.7027e-06 | 0.066901 | 0.066901 | 0.066901 | 0.97969 | -0.39056 | 0.97963 | -0.39184 | 18.3795
56 | -0.046812 | -0.011743 | 0.046825 | 0.01175 | 1.2149e-05 | 7.6945e-06 | 0.071105 | 0.071105 | 0.071105 | 0.97969 | -0.39056 | 0.97997 | -0.38512 | 19.5344
57 | 0.041728 | 0.010468 | -0.041718 | -0.010461 | 1.0389e-05 | 6.5623e-06 | 0.063387 | 0.063387 | 0.063387 | 0.97963 | -0.39184 | 0.97936 | -0.39706 | 17.414
58 | -0.049141 | -0.012331 | 0.049158 | 0.012342 | 1.6642e-05 | 1.0551e-05 | 0.074623 | 0.074623 | 0.074623 | 0.97997 | -0.38512 | 0.98033 | -0.37802 | 20.5009
59 | 0.03895 | 0.0097672 | -0.038948 | -0.0097662 | 1.5435e-06 | 9.7306e-07 | 0.059181 | 0.059181 | 0.059181 | 0.97936 | -0.39706 | 0.97932 | -0.3979 | 16.2585
60 | -0.052631 | -0.013212 | 0.052633 | 0.013213 | 2.1574e-06 | 1.3694e-06 | 0.079894 | 0.079894 | 0.079894 | 0.98033 | -0.37802 | 0.98038 | -0.37716 | 21.949
61 | 0.032623 | 0.0081811 | -0.032617 | -0.0081769 | 6.7501e-06 | 4.2279e-06 | 0.049571 | 0.049571 | 0.049571 | 0.97932 | -0.3979 | 0.9791 | -0.40224 | 13.6184
62 | 0.03411 | 0.0085596 | -0.034096 | -0.0085512 | 1.3426e-05 | 8.4241e-06 | 0.051776 | 0.051776 | 0.051776 | 0.98038 | -0.37716 | 0.97995 | -0.38541 | 14.2241
63 | 0.030367 | 0.0076131 | -0.030362 | -0.0076103 | 4.4896e-06 | 2.8027e-06 | 0.046152 | 0.046152 | 0.046152 | 0.9791 | -0.40224 | 0.97894 | -0.40534 | 12.6792
64 | 0.031263 | 0.0078412 | -0.031263 | -0.007841 | 3.2035e-07 | 2.0025e-07 | 0.047474 | 0.047474 | 0.047474 | 0.97995 | -0.38541 | 0.97994 | -0.38563 | 13.0424
65 | 0.019436 | 0.0048718 | -0.019435 | -0.0048715 | 4.8999e-07 | 2.9477e-07 | 0.029543 | 0.029544 | 0.029544 | 0.97894 | -0.40534 | 0.97891 | -0.40587 | 8.1163
66 | 0.027423 | 0.0068787 | -0.027418 | -0.0068755 | 5.2156e-06 | 3.2369e-06 | 0.041644 | 0.041644 | 0.041644 | 0.97994 | -0.38563 | 0.97974 | -0.38962 | 11.4406
67 | 0.054908 | 0.013798 | -0.054883 | -0.013782 | 2.497e-05 | 1.5856e-05 | 0.082628 | 0.082628 | 0.082628 | 0.98897 | -0.21192 | 0.98848 | -0.22145 | 22.7
68 | -0.0086515 | -0.0021683 | 0.0086529 | 0.0021689 | 1.3713e-06 | 6.1134e-07 | 0.013146 | 0.013146 | 0.013146 | 0.9793 | -0.3982 | 0.97947 | -0.39487 | 3.6115
69 | -0.0236 | -0.0059165 | 0.023606 | 0.0059201 | 5.9088e-06 | 3.6273e-06 | 0.035854 | 0.035854 | 0.035854 | 0.97947 | -0.39487 | 0.97974 | -0.38962 | 9.8501
70 | 0.014947 | 0.0037476 | -0.014944 | -0.0037458 | 3.147e-06 | 1.8093e-06 | 0.022709 | 0.022709 | 0.022709 | 0.97947 | -0.39487 | 0.97925 | -0.39929 | 6.2386
71 | 0.012171 | 0.0030507 | -0.01217 | -0.00305 | 1.3104e-06 | 7.1015e-07 | 0.018494 | 0.018494 | 0.018494 | 0.97925 | -0.39929 | 0.97913 | -0.40155 | 5.0809
72 | 0.0095947 | 0.0024047 | -0.0095946 | -0.0024046 | 7.1492e-08 | 3.4477e-08 | 0.014581 | 0.014581 | 0.014581 | 0.97913 | -0.40155 | 0.97912 | -0.40171 | 4.0059
73 | 0.012063 | 0.0030234 | -0.012063 | -0.0030232 | 1.8788e-07 | 1.0152e-07 | 0.018338 | 0.018338 | 0.018338 | 0.97883 | -0.40737 | 0.97882 | -0.40769 | 5.0379
74 | -0.017384 | -0.0043569 | 0.017385 | 0.0043576 | 1.2391e-06 | 7.3352e-07 | 0.026427 | 0.026427 | 0.026427 | 0.97883 | -0.40737 | 0.97891 | -0.40587 | 7.26
75 | 0.0098373 | 0.0024655 | -0.0098367 | -0.0024652 | 5.7146e-07 | 2.8009e-07 | 0.014955 | 0.014955 | 0.014955 | 0.97882 | -0.40769 | 0.97876 | -0.40891 | 4.1085
76 | 0.0073353 | 0.0018383 | -0.0073351 | -0.0018383 | 2.3387e-07 | 8.6655e-08 | 0.011152 | 0.011152 | 0.011152 | 0.97876 | -0.40891 | 0.97872 | -0.40958 | 3.0637
77 | 0.0050261 | 0.0012596 | -0.005026 | -0.0012595 | 1.1983e-07 | 7.921e-09 | 0.0076414 | 0.0076415 | 0.0076415 | 0.97872 | -0.40958 | 0.9787 | -0.41008 | 2.0993
78 | 0.00272 | 0.00068163 | -0.00272 | -0.0006817 | 4.7792e-08 | -6.3051e-08 | 0.0041355 | 0.0041356 | 0.0041356 | 0.9787 | -0.41008 | 0.97868 | -0.41045 | 1.1361

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32397 | 0.082102

## res_load
| p_mw | q_mvar
0 | 0.0019846 | 0.00049738
1 | 0.0022164 | 0.00055549
2 | 0.0030501 | 0.00076442
3 | 0.0037084 | 0.00092942
4 | 0.0032007 | 0.00080216
5 | 0.0036381 | 0.0009118
6 | 0.0038496 | 0.0009648
7 | 0.0036103 | 0.00090482
8 | 0.0016247 | 0.0004072
9 | 0.001997 | 0.0005005
10 | 0.0071402 | 0.0017895
11 | 0.0047368 | 0.0011871
12 | 0.0053086 | 0.0013305
13 | 0.0054068 | 0.0013551
14 | 0.006311 | 0.0015817
15 | 0.0026764 | 0.00067077
16 | 0.0026779 | 0.00067116
17 | 0.0040289 | 0.0010097
18 | 0.0018565 | 0.00046527
19 | 0.0038079 | 0.00095435
20 | 0.0016976 | 0.00042545
21 | 0.0015912 | 0.00039879
22 | 0.0016688 | 0.00041825
23 | 0.0023174 | 0.00058079
24 | 0.0049098 | 0.0012305
25 | 0.0063785 | 0.0015986
26 | 0.0049296 | 0.0012355
27 | 0.0067279 | 0.0016862
28 | 0.018227 | 0.004568
29 | 0.0036788 | 0.000922
30 | 0.005065 | 0.0012694
31 | 0.011712 | 0.0029353
32 | 0.0062677 | 0.0015708
33 | 0.0048442 | 0.0012141
34 | 0.0082418 | 0.0020656
35 | 0.0047563 | 0.0011921
36 | 0.0067155 | 0.0016831
37 | 0.0039744 | 0.00099609
38 | 0.0070304 | 0.001762
39 | 0.0049385 | 0.0012377
40 | 0.012382 | 0.0031031
41 | 0.005724 | 0.0014346
42 | 0.0039047 | 0.00097861
43 | 0.0055054 | 0.0013798
44 | 0.0036936 | 0.00092569
45 | 0.0027678 | 0.00069368
46 | 0.0023138 | 0.0005799
47 | 0.0023168 | 0.00058065
48 | 0.0027682 | 0.00069377
49 | 0.0034727 | 0.00087033
50 | 0.0063246 | 0.0015851
51 | 0.0022497 | 0.00056382
52 | 0.0028328 | 0.00070997
53 | 0.010927 | 0.0027384
54 | 0.0038398 | 0.00096234
55 | 0.0062745 | 0.0015725
56 | 0.0062614 | 0.0015692
57 | 0.0086515 | 0.0021683
58 | 0.0038119 | 0.00095535
59 | 0.0027734 | 0.00069507
60 | 0.0025748 | 0.00064531
61 | 0.0095946 | 0.0024046
62 | 0.0053208 | 0.0013335
63 | 0.0022254 | 0.00055773
64 | 0.0020505 | 0.00051392
65 | 0.0025014 | 0.0006269
66 | 0.002309 | 0.0005787
67 | 0.0023059 | 0.00057792
68 | 0.00272 | 0.0006817

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1