## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-317_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-317_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-317_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-317_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-317_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-317_0_3_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_2701-317_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2701-317_0_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2701-317_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2701-317_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-317_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-317_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-317_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-317_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-317_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2701-317_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_2701-317_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-317_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2701-317_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2701-317_0_3_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_2701-317_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2701-317_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-317_0_3_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_2701-317_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_2701-317_0_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_2701-317_0_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_2701-317_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2701-317_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2701-317_0_3_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_2701-317_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2701-317_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2701-317_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_2701-317_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2701-317_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2701-317_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2701-317_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2701-317_0_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_2701-317_0_3_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_2701-317_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2701-317_0_3_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_2701-317_0_3_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_2701-317_0_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_2701-317_0_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2701-317_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_2701-317_0_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_2701-317_0_3_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_2701-317_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2701-317_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2701-317_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2701-317_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_2701-317_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2701-317_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2701-317_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2701-317_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_2701-317_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_2701-317_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_2701-317_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_2701-317_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_2701-317_0_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_2701-317_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2701-317_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_2701-317_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_2701-317_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2701-317_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_2701-317_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2701-317_0_3_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_2701-317_0_3_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2701-317_0_3_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_2701-317_0_3_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_2701-317_0_3_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_2701-317_0_3_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_2701-317_0_3_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_2701-317_0_3_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_2701-317_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2701-317_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_2701-317_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_2701-317_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2701-317_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2701-317_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_2701-317_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_2701-317_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2701-317_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2701-317_0_3_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_2701-317_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_2701-317_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2701-317_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_2701-317_0_3_node_93 | 0.4 | n |  | TRUE
87 | bus_MV_568_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-317_0_3_load_0 | 0 | 0.0021474 | 0.00053818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-317_0_3_load_1 | 1 | 0.0022429 | 0.00056212 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-317_0_3_load_2 | 2 | 0.002301 | 0.00057669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-317_0_3_load_3 | 3 | 0.0023163 | 0.00058052 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-317_0_3_load_4 | 4 | 0.0028952 | 0.0007256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-317_0_3_load_32 | 5 | 0.0086292 | 0.0021627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-317_0_3_load_5 | 9 | 0.0069109 | 0.001732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-317_0_3_load_6 | 10 | 0.0069075 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-317_0_3_load_8 | 12 | 0.0065796 | 0.001649 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-317_0_3_load_9 | 13 | 0.0039277 | 0.00098438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-317_0_3_load_55 | 15 | 0.011816 | 0.0029615 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-317_0_3_load_90 | 19 | 0.0011151 | 0.00027948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-317_0_3_load_94 | 22 | 0.0091951 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-317_0_3_load_46 | 23 | 0.0072126 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-317_0_3_load_82 | 24 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-317_0_3_load_63 | 25 | 0.001288 | 0.0003228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-317_0_3_load_78 | 28 | 0.0019133 | 0.00047952 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-317_0_3_load_50 | 31 | 0.0084841 | 0.0021263 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-317_0_3_load_52 | 33 | 0.0084526 | 0.0021184 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-317_0_3_load_47 | 34 | 0.014079 | 0.0035285 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-317_0_3_load_91 | 36 | 0.0027773 | 0.00069604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-317_0_3_load_80 | 37 | 0.0023034 | 0.00057728 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-317_0_3_load_61 | 38 | 0.0013104 | 0.00032843 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-317_0_3_load_88 | 39 | 0.0038948 | 0.00097612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-317_0_3_load_87 | 40 | 0.0038961 | 0.00097646 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-317_0_3_load_76 | 41 | 0.016872 | 0.0042284 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-317_0_3_load_73 | 42 | 0.021895 | 0.0054873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-317_0_3_load_75 | 43 | 0.0057582 | 0.0014431 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-317_0_3_load_72 | 44 | 0.0058892 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-317_0_3_load_92 | 45 | 0.001227 | 0.00030752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-317_0_3_load_25 | 46 | 0.0065881 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-317_0_3_load_26 | 47 | 0.002651 | 0.00066441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-317_0_3_load_28 | 49 | 0.0070065 | 0.001756 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-317_0_3_load_29 | 50 | 0.0039628 | 0.00099317 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-317_0_3_load_30 | 51 | 0.0051617 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-317_0_3_load_31 | 52 | 0.0062607 | 0.0015691 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-317_0_3_load_60 | 53 | 0.0027822 | 0.00069727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-317_0_3_load_48 | 54 | 0.010183 | 0.0025522 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-317_0_3_load_69 | 55 | 0.0026478 | 0.00066361 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-317_0_3_load_65 | 56 | 0.0067397 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-317_0_3_load_49 | 57 | 0.0037805 | 0.00094748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-317_0_3_load_68 | 58 | 0.0024162 | 0.00060555 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-317_0_3_load_34 | 59 | 0.0029068 | 0.0007285 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-317_0_3_load_35 | 60 | 0.0059163 | 0.0014828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-317_0_3_load_36 | 61 | 0.0029459 | 0.00073832 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-317_0_3_load_58 | 62 | 0.0037036 | 0.0009282 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-317_0_3_load_37 | 63 | 0.0024435 | 0.0006124 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-317_0_3_load_54 | 64 | 0.005971 | 0.0014965 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-317_0_3_load_38 | 65 | 0.0036021 | 0.00090278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-317_0_3_load_44 | 66 | 0.0047137 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-317_0_3_load_45 | 67 | 0.0024613 | 0.00061685 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-317_0_3_load_39 | 68 | 0.0067807 | 0.0016994 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-317_0_3_load_40 | 69 | 0.0036366 | 0.00091142 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-317_0_3_load_41 | 70 | 0.003635 | 0.00091103 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-317_0_3_load_42 | 71 | 0.0030312 | 0.00075969 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-317_0_3_load_43 | 72 | 0.003258 | 0.00081652 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-317_0_3_load_59 | 73 | 0.0036393 | 0.00091209 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-317_0_3_load_70 | 74 | 0.0030607 | 0.00076707 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-317_0_3_load_74 | 75 | 0.009473 | 0.0023742 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-317_0_3_load_66 | 76 | 0.015614 | 0.0039132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-317_0_3_load_62 | 77 | 0.0013143 | 0.00032939 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-317_0_3_load_67 | 78 | 0.0096822 | 0.0024266 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-317_0_3_load_71 | 79 | 0.010008 | 0.0025083 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-317_0_3_load_77 | 80 | 0.0011675 | 0.0002926 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-317_0_3_load_79 | 81 | 0.0010942 | 0.00027422 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-317_0_3_load_89 | 82 | 0.001097 | 0.00027493 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-317_0_3_load_81 | 83 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-317_0_3_load_83 | 84 | 0.0015722 | 0.00039402 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-317_0_3_load_84 | 85 | 0.0015753 | 0.0003948 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-317_0_3_load_93 | 86 | 0.004054 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-317_0_3_line_0 |  | 0 | 1 | 0.00098884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-317_0_3_line_1 |  | 0 | 2 | 0.0074873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-317_0_3_line_2 |  | 1 | 3 | 0.0083906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-317_0_3_line_3 |  | 2 | 4 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-317_0_3_line_4 |  | 3 | 5 | 0.0094588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-317_0_3_line_5 |  | 4 | 6 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-317_0_3_line_6 |  | 5 | 7 | 0.00029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-317_0_3_line_7 |  | 6 | 8 | 0.002977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-317_0_3_line_8 |  | 7 | 59 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-317_0_3_line_9 |  | 7 | 60 | 0.0098381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-317_0_3_line_10 |  | 8 | 25 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-317_0_3_line_11 |  | 9 | 10 | 0.0090165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-317_0_3_line_12 |  | 9 | 11 | 0.0080224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-317_0_3_line_13 |  | 10 | 12 | 0.0088105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-317_0_3_line_14 |  | 11 | 13 | 0.0029037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-317_0_3_line_15 |  | 12 | 14 | 0.0024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-317_0_3_line_16 |  | 13 | 15 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-317_0_3_line_17 |  | 14 | 23 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-317_0_3_line_18 |  | 15 | 21 | 0.0066792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-317_0_3_line_19 |  | 16 | 17 | 0.057268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-317_0_3_line_20 |  | 16 | 18 | 0.036801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-317_0_3_line_21 |  | 16 | 19 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-317_0_3_line_22 |  | 17 | 22 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-317_0_3_line_23 |  | 18 | 24 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-317_0_3_line_24 |  | 19 | 35 | 0.0029012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-317_0_3_line_25 |  | 20 | 21 | 0.037446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-317_0_3_line_26 |  | 20 | 22 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-317_0_3_line_27 |  | 23 | 27 | 0.0031549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-317_0_3_line_28 |  | 24 | 37 | 0.0072194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-317_0_3_line_29 |  | 25 | 38 | 0.0060527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-317_0_3_line_30 |  | 26 | 27 | 0.036649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-317_0_3_line_31 |  | 26 | 28 | 0.0050941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-317_0_3_line_32 |  | 27 | 34 | 0.0073041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-317_0_3_line_33 |  | 28 | 41 | 0.004334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-317_0_3_line_34 |  | 29 | 30 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-317_0_3_line_35 |  | 29 | 31 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-317_0_3_line_36 |  | 30 | 32 | 0.007125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-317_0_3_line_37 |  | 30 | 33 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-317_0_3_line_38 |  | 32 | 42 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2701-317_0_3_line_39 |  | 32 | 43 | 0.0061654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-317_0_3_line_40 |  | 34 | 44 | 0.00079404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-317_0_3_line_41 |  | 35 | 36 | 0.045652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-317_0_3_line_42 |  | 36 | 45 | 0.023367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-317_0_3_line_43 |  | 37 | 83 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-317_0_3_line_44 |  | 38 | 77 | 0.0061012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-317_0_3_line_45 |  | 39 | 40 | 0.0079991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-317_0_3_line_46 |  | 40 | 82 | 0.0079997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-317_0_3_line_47 |  | 41 | 80 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-317_0_3_line_48 |  | 42 | 44 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2701-317_0_3_line_49 |  | 43 | 75 | 0.0096304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2701-317_0_3_line_50 |  | 45 | 86 | 0.025651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-317_0_3_line_51 |  | 46 | 47 | 0.0039672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-317_0_3_line_52 |  | 46 | 48 | 0.011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-317_0_3_line_53 |  | 47 | 49 | 0.005025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-317_0_3_line_54 |  | 48 | 50 | 0.021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-317_0_3_line_55 |  | 48 | 51 | 0.015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-317_0_3_line_56 |  | 48 | 52 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-317_0_3_line_57 |  | 49 | 53 | 0.00073761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-317_0_3_line_58 |  | 50 | 54 | 0.0018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-317_0_3_line_59 |  | 52 | 55 | 0.00026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-317_0_3_line_60 |  | 53 | 56 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-317_0_3_line_61 |  | 54 | 57 | 0.0061843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-317_0_3_line_62 |  | 55 | 58 | 0.0058792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-317_0_3_line_63 |  | 56 | 76 | 0.00033812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2701-317_0_3_line_64 |  | 57 | 64 | 0.0062612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-317_0_3_line_65 |  | 58 | 73 | 0.004846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-317_0_3_line_66 |  | 59 | 61 | 0.0024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-317_0_3_line_67 |  | 60 | 62 | 0.0064527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-317_0_3_line_68 |  | 61 | 63 | 0.016089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-317_0_3_line_69 |  | 62 | 64 | 0.0017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-317_0_3_line_70 |  | 63 | 65 | 5.2819e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-317_0_3_line_71 |  | 65 | 66 | 0.0048185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-317_0_3_line_72 |  | 66 | 67 | 0.0026545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-317_0_3_line_73 |  | 67 | 74 | 0.0019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-317_0_3_line_74 |  | 68 | 69 | 0.0028817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-317_0_3_line_75 |  | 68 | 70 | 0.0053146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-317_0_3_line_76 |  | 69 | 71 | 0.0059357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-317_0_3_line_77 |  | 70 | 72 | 0.0023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-317_0_3_line_78 |  | 71 | 73 | 0.0022617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-317_0_3_line_79 |  | 75 | 79 | 0.005482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2701-317_0_3_line_80 |  | 76 | 78 | 0.0082798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_2701-317_0_3_line_81 |  | 78 | 79 | 0.0061142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_2701-317_0_3_line_82 |  | 80 | 81 | 0.0082072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-317_0_3_line_83 |  | 81 | 82 | 0.0080197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-317_0_3_line_84 |  | 83 | 84 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-317_0_3_line_85 |  | 84 | 85 | 0.010631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-317_0_3_trafo_72 | 0.63 MVA 20/0.4 kV | 87 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610020.096 | 1266983.5039 | 2610019.2142 | 1266983.9514
1 | 2610020.096 | 1266983.5039 | 2610026.7727 | 1266980.1155
2 | 2610019.2142 | 1266983.9514 | 2610011.732 | 1266987.7486
3 | 2610026.7727 | 1266980.1155 | 2610038.89 | 1266973.9659
4 | 2610003.2973 | 1266992.0293 | 2610011.732 | 1266987.7486
5 | 2610053.6032 | 1266966.499 | 2610038.89 | 1266973.9659
6 | 2610003.2973 | 1266992.0293 | 2610003.0299 | 1266992.165
7 | 2610053.6032 | 1266966.499 | 2610054.8029 | 1266969.2251
8 | 2610003.0299 | 1266992.165 | 2610008.2572 | 1267002.7618
9 | 2610003.0299 | 1266992.165 | 2609994.0924 | 1266996.277
10 | 2610054.8029 | 1266969.2251 | 2610060.5269 | 1266981.6342
11 | 2609993.9984 | 1266935.4766 | 2609985.1393 | 1266933.7993
12 | 2610001.8808 | 1266936.9689 | 2609993.9984 | 1266935.4766
13 | 2609976.4825 | 1266932.1604 | 2609985.1393 | 1266933.7993
14 | 2610001.8808 | 1266936.9689 | 2610004.7341 | 1266937.5079
15 | 2609974.0313 | 1266931.6963 | 2609976.4825 | 1266932.1604
16 | 2610028.1034 | 1266941.9221 | 2610004.7341 | 1266937.5079
17 | 2609974.0313 | 1266931.6963 | 2609964.1274 | 1266933.1507
18 | 2610034.6665 | 1266943.1618 | 2610028.1034 | 1266941.9221
19 | 2610003.7288 | 1266872.0378 | 2610021.457 | 1266875.748 | 2610032.4758 | 1266867.5275 | 2610038.9918 | 1266878.0125 | 2610041.5825 | 1266881.6861 | 2610044.0455 | 1266885.1927 | 2610046.7272 | 1266888.5329
20 | 2609974.6264 | 1266877.6151 | 2609982.6296 | 1266872.1136 | 2609991.1873 | 1266863.6776 | 2610003.7288 | 1266872.0378
21 | 2610003.7288 | 1266872.0378 | 2610013.6369 | 1266855.4884
22 | 2610046.7272 | 1266888.5329 | 2610041.5636 | 1266892.905 | 2610038.5001 | 1266901.7505 | 2610037.7111 | 1266906.1734
23 | 2609974.6264 | 1266877.6151 | 2609963.5495 | 1266866.6444 | 2609959.2382 | 1266863.4041
24 | 2610015.1272 | 1266852.9993 | 2610013.6369 | 1266855.4884
25 | 2610034.6665 | 1266943.1618 | 2610030.0674 | 1266934.2145 | 2610024.8235 | 1266923.7873 | 2610029.6009 | 1266920.7376 | 2610038.7385 | 1266916.5612
26 | 2610038.7385 | 1266916.5612 | 2610037.0942 | 1266909.6314 | 2610037.7111 | 1266906.1734
27 | 2609961.006 | 1266933.6091 | 2609964.1274 | 1266933.1507
28 | 2609953.4671 | 1266859.0666 | 2609959.2382 | 1266863.4041
29 | 2610063.0621 | 1266987.1304 | 2610060.5269 | 1266981.6342
30 | 2609944.6469 | 1266912.4892 | 2609943.091 | 1266920.1475 | 2609941.4434 | 1266928.6396 | 2609951.2848 | 1266931.1912 | 2609961.006 | 1266933.6091
31 | 2609944.6469 | 1266912.4892 | 2609939.6513 | 1266911.4928
32 | 2609961.006 | 1266933.6091 | 2609954.5078 | 1266936.9443
33 | 2609935.401 | 1266910.645 | 2609939.6513 | 1266911.4928
34 | 2609917.5047 | 1266947.9353 | 2609915.065 | 1266925.9159
35 | 2609915.065 | 1266925.9159 | 2609901.7798 | 1266923.7164
36 | 2609917.5047 | 1266947.9353 | 2609921.1226 | 1266954.079
37 | 2609917.5047 | 1266947.9353 | 2609908.3681 | 1266952.6079
38 | 2609921.1226 | 1266954.079 | 2609939.1882 | 1266944.807
39 | 2609921.1226 | 1266954.079 | 2609924.0406 | 1266959.5101
40 | 2609953.8014 | 1266937.3068 | 2609954.5078 | 1266936.9443
41 | 2610015.1272 | 1266852.9993 | 2610024.6507 | 1266847.6894 | 2610034.456 | 1266849.3849 | 2610038.7717 | 1266847.9022 | 2610040.136 | 1266851.218 | 2610051.4677 | 1266844.9661 | 2610054.3407 | 1266842.6239
42 | 2610070.013 | 1266825.652 | 2610064.003 | 1266834.7468 | 2610054.3407 | 1266842.6239
43 | 2609953.4671 | 1266859.0666 | 2609942.9207 | 1266851.14
44 | 2610063.0621 | 1266987.1304 | 2610065.6176 | 1266992.6706
45 | 2609893.1865 | 1266902.7823 | 2609885.3086 | 1266901.3951
46 | 2609893.1865 | 1266902.7823 | 2609901.065 | 1266904.1696
47 | 2609935.401 | 1266910.645 | 2609917.0461 | 1266906.9838
48 | 2609953.8014 | 1266937.3068 | 2609939.1882 | 1266944.807
49 | 2609928.5987 | 1266967.9935 | 2609924.0406 | 1266959.5101
50 | 2610070.013 | 1266825.652 | 2610070.4102 | 1266825.0509 | 2610073.5191 | 1266816.1166 | 2610074.7174 | 1266800.6926
51 | 2609946.3339 | 1267001.0022 | 2609948.2116 | 1267004.497
52 | 2609953.7642 | 1267014.8315 | 2609948.2116 | 1267004.497
53 | 2609946.3339 | 1267001.0022 | 2609943.9556 | 1266996.5757
54 | 2609953.7642 | 1267014.8315 | 2609973.5906 | 1267005.7096
55 | 2609953.7642 | 1267014.8315 | 2609939.6838 | 1267022.0713
56 | 2609953.7642 | 1267014.8315 | 2609961.275 | 1267028.6655
57 | 2609943.6065 | 1266995.9259 | 2609943.9556 | 1266996.5757
58 | 2609975.298 | 1267004.9241 | 2609973.5906 | 1267005.7096
59 | 2609961.275 | 1267028.6655 | 2609961.399 | 1267028.894
60 | 2609938.166 | 1266985.8002 | 2609943.6065 | 1266995.9259
61 | 2609975.298 | 1267004.9241 | 2609980.9163 | 1267002.3392
62 | 2609961.399 | 1267028.894 | 2609964.2042 | 1267034.0608
63 | 2609938.006 | 1266985.5023 | 2609938.166 | 1266985.8002
64 | 2609986.6043 | 1266999.7222 | 2609980.9163 | 1267002.3392
65 | 2609966.5163 | 1267038.3196 | 2609964.2042 | 1267034.0608
66 | 2610008.2572 | 1267002.7618 | 2610009.322 | 1267004.9202
67 | 2609988.2303 | 1266998.9741 | 2609994.0924 | 1266996.277
68 | 2610016.4398 | 1267019.3493 | 2610009.322 | 1267004.9202
69 | 2609988.2303 | 1266998.9741 | 2609986.6043 | 1266999.7222
70 | 2610016.4631 | 1267019.3967 | 2610016.4398 | 1267019.3493
71 | 2610018.5948 | 1267023.718 | 2610016.4631 | 1267019.3967
72 | 2610019.7691 | 1267026.0986 | 2610018.5948 | 1267023.718
73 | 2610019.7691 | 1267026.0986 | 2610020.6398 | 1267027.8636
74 | 2609970.4276 | 1267045.5237 | 2609971.8025 | 1267048.0562
75 | 2609974.3383 | 1267052.7268 | 2609971.8025 | 1267048.0562
76 | 2609970.4276 | 1267045.5237 | 2609967.5955 | 1267040.3072
77 | 2609975.4646 | 1267054.8013 | 2609974.3383 | 1267052.7268
78 | 2609966.5163 | 1267038.3196 | 2609967.5955 | 1267040.3072
79 | 2609931.1933 | 1266972.8226 | 2609928.5987 | 1266967.9935
80 | 2609938.006 | 1266985.5023 | 2609934.0872 | 1266978.2087
81 | 2609934.0872 | 1266978.2087 | 2609931.1933 | 1266972.8226
82 | 2609917.0461 | 1266906.9838 | 2609917.0461 | 1266906.9838 | 2609908.9632 | 1266905.5604
83 | 2609901.065 | 1266904.1696 | 2609908.9632 | 1266905.5604
84 | 2609942.9207 | 1266851.14 | 2609934.5697 | 1266844.8635
85 | 2609926.0713 | 1266838.4762 | 2609934.5697 | 1266844.8635

## bus_geodata
| x | y | coords
0 | 2610020.096 | 1266983.5039
1 | 2610019.2142 | 1266983.9514
2 | 2610026.7727 | 1266980.1155
3 | 2610011.732 | 1266987.7486
4 | 2610038.89 | 1266973.9659
5 | 2610003.2973 | 1266992.0293
6 | 2610053.6032 | 1266966.499
7 | 2610003.0299 | 1266992.165
8 | 2610054.803 | 1266969.2251
9 | 2609993.9984 | 1266935.4766
10 | 2609985.1393 | 1266933.7993
11 | 2610001.8808 | 1266936.9689
12 | 2609976.4825 | 1266932.1604
13 | 2610004.7341 | 1266937.5079
14 | 2609974.0313 | 1266931.6963
15 | 2610028.1034 | 1266941.9221
16 | 2610003.7288 | 1266872.0378
17 | 2610046.7271 | 1266888.5329
18 | 2609974.6264 | 1266877.6151
19 | 2610013.6369 | 1266855.4884
20 | 2610038.7385 | 1266916.5612
21 | 2610034.6665 | 1266943.1618
22 | 2610037.7111 | 1266906.1734
23 | 2609964.1274 | 1266933.1507
24 | 2609959.2382 | 1266863.4041
25 | 2610060.5269 | 1266981.6342
26 | 2609944.6469 | 1266912.4892
27 | 2609961.006 | 1266933.6091
28 | 2609939.6513 | 1266911.4928
29 | 2609915.065 | 1266925.9159
30 | 2609917.5047 | 1266947.9353
31 | 2609901.7798 | 1266923.7164
32 | 2609921.1226 | 1266954.079
33 | 2609908.3681 | 1266952.6079
34 | 2609954.5078 | 1266936.9443
35 | 2610015.1272 | 1266852.9993
36 | 2610054.3407 | 1266842.6239
37 | 2609953.4671 | 1266859.0666
38 | 2610063.0621 | 1266987.1304
39 | 2609885.3086 | 1266901.3951
40 | 2609893.1865 | 1266902.7823
41 | 2609935.401 | 1266910.645
42 | 2609939.1882 | 1266944.807
43 | 2609924.0406 | 1266959.5101
44 | 2609953.8014 | 1266937.3068
45 | 2610070.013 | 1266825.652
46 | 2609948.2116 | 1267004.497
47 | 2609946.3339 | 1267001.0022
48 | 2609953.7642 | 1267014.8315
49 | 2609943.9556 | 1266996.5757
50 | 2609973.5906 | 1267005.7096
51 | 2609939.6838 | 1267022.0713
52 | 2609961.275 | 1267028.6655
53 | 2609943.6065 | 1266995.9259
54 | 2609975.298 | 1267004.9241
55 | 2609961.399 | 1267028.894
56 | 2609938.166 | 1266985.8002
57 | 2609980.9163 | 1267002.3392
58 | 2609964.2042 | 1267034.0608
59 | 2610008.2572 | 1267002.7618
60 | 2609994.0924 | 1266996.277
61 | 2610009.322 | 1267004.9202
62 | 2609988.2303 | 1266998.9741
63 | 2610016.4398 | 1267019.3493
64 | 2609986.6043 | 1266999.7222
65 | 2610016.4631 | 1267019.3967
66 | 2610018.5948 | 1267023.718
67 | 2610019.7691 | 1267026.0986
68 | 2609971.8025 | 1267048.0562
69 | 2609970.4276 | 1267045.5237
70 | 2609974.3383 | 1267052.7268
71 | 2609967.5955 | 1267040.3072
72 | 2609975.4646 | 1267054.8013
73 | 2609966.5163 | 1267038.3196
74 | 2610020.6398 | 1267027.8636
75 | 2609928.5987 | 1266967.9935
76 | 2609938.006 | 1266985.5023
77 | 2610065.6176 | 1266992.6706
78 | 2609934.0872 | 1266978.2087
79 | 2609931.1933 | 1266972.8226
80 | 2609917.0461 | 1266906.9838
81 | 2609908.9632 | 1266905.5604
82 | 2609901.065 | 1266904.1696
83 | 2609942.9207 | 1266851.14
84 | 2609934.5697 | 1266844.8635
85 | 2609926.0713 | 1266838.4762
86 | 2610074.7174 | 1266800.6926
87 | 2609961.006 | 1266933.6091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1