## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-31_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-31_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2701-31_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-31_0_4_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_2701-31_0_4_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2701-31_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2701-31_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2701-31_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_2701-31_0_4_node_97 | 0.4 | n |  | TRUE
10 | bus_LV_2701-31_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2701-31_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_2701-31_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_2701-31_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2701-31_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2701-31_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2701-31_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2701-31_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-31_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_2701-31_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-31_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2701-31_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2701-31_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2701-31_0_4_node_95 | 0.4 | n |  | TRUE
24 | bus_LV_2701-31_0_4_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_2701-31_0_4_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_2701-31_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_2701-31_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2701-31_0_4_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_2701-31_0_4_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_2701-31_0_4_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_2701-31_0_4_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_2701-31_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2701-31_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2701-31_0_4_node_6 | 0.4 | n |  | TRUE
35 | bus_LV_2701-31_0_4_node_7 | 0.4 | n |  | TRUE
36 | bus_LV_2701-31_0_4_node_8 | 0.4 | n |  | TRUE
37 | bus_LV_2701-31_0_4_node_9 | 0.4 | n |  | TRUE
38 | bus_LV_2701-31_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2701-31_0_4_node_12 | 0.4 | n |  | TRUE
40 | bus_LV_2701-31_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2701-31_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_2701-31_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_2701-31_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2701-31_0_4_node_13 | 0.4 | n |  | TRUE
45 | bus_LV_2701-31_0_4_node_15 | 0.4 | n |  | TRUE
46 | bus_LV_2701-31_0_4_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_2701-31_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2701-31_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2701-31_0_4_node_18 | 0.4 | n |  | TRUE
50 | bus_LV_2701-31_0_4_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_2701-31_0_4_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_2701-31_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2701-31_0_4_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_2701-31_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_2701-31_0_4_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_2701-31_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_2701-31_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_2701-31_0_4_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_2701-31_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_2701-31_0_4_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_2701-31_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_2701-31_0_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_2701-31_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_2701-31_0_4_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_2701-31_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_2701-31_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_2701-31_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_2701-31_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_2701-31_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_2701-31_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2701-31_0_4_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_2701-31_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_2701-31_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_2701-31_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2701-31_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_2701-31_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2701-31_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_2701-31_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_2701-31_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_2701-31_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_2701-31_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_2701-31_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_2701-31_0_4_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_2701-31_0_4_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_2701-31_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_2701-31_0_4_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_2701-31_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_2701-31_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_2701-31_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_2701-31_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_2701-31_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_2701-31_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_2701-31_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_2701-31_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_2701-31_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_MV_559_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-31_0_4_load_0 | 0 | 0.013723 | 0.0034393 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-31_0_4_load_11 | 6 | 0.0030303 | 0.00075946 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-31_0_4_load_97 | 9 | 0.0047268 | 0.0011847 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-31_0_4_load_14 | 13 | 0.0027528 | 0.00068991 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-31_0_4_load_28 | 15 | 0.012304 | 0.0030836 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-31_0_4_load_23 | 16 | 0.0032224 | 0.0008076 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-31_0_4_load_49 | 18 | 0.0049996 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-31_0_4_load_95 | 23 | 0.0086944 | 0.002179 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-31_0_4_load_89 | 24 | 0.0039739 | 0.00099595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-31_0_4_load_88 | 25 | 0.0030951 | 0.00077571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-31_0_4_load_43 | 26 | 0.013483 | 0.0033791 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-31_0_4_load_47 | 27 | 0.01518 | 0.0038045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-31_0_4_load_85 | 28 | 0.024854 | 0.0062289 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-31_0_4_load_82 | 29 | 0.009461 | 0.0023711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-31_0_4_load_96 | 30 | 0.0061192 | 0.0015336 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-31_0_4_load_37 | 32 | 0.0019089 | 0.00047842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-31_0_4_load_19 | 33 | 0.0031852 | 0.00079828 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-31_0_4_load_6 | 34 | 0.0037192 | 0.00093213 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-31_0_4_load_7 | 35 | 0.0029449 | 0.00073806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-31_0_4_load_8 | 36 | 0.0083707 | 0.0020979 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-31_0_4_load_9 | 37 | 0.0027661 | 0.00069325 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-31_0_4_load_38 | 38 | 0.0027631 | 0.0006925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-31_0_4_load_57 | 40 | 0.002863 | 0.00071753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-31_0_4_load_56 | 41 | 0.0032049 | 0.00080321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-31_0_4_load_68 | 42 | 0.0017706 | 0.00044375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-31_0_4_load_55 | 43 | 0.0017067 | 0.00042774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-31_0_4_load_13 | 44 | 0.010385 | 0.0026028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-31_0_4_load_15 | 45 | 0.0016775 | 0.00042043 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-31_0_4_load_17 | 46 | 0.0015882 | 0.00039803 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-31_0_4_load_42 | 47 | 0.0015971 | 0.00040026 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-31_0_4_load_41 | 48 | 0.012413 | 0.0031111 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-31_0_4_load_18 | 49 | 0.0034845 | 0.00087329 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-31_0_4_load_20 | 50 | 0.0053551 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-31_0_4_load_22 | 51 | 0.035691 | 0.008945 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-31_0_4_load_70 | 52 | 0.0018078 | 0.00045308 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-31_0_4_load_24 | 53 | 0.0059178 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-31_0_4_load_26 | 54 | 0.0014793 | 0.00037075 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-31_0_4_load_86 | 55 | 0.0034552 | 0.00086596 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-31_0_4_load_27 | 56 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-31_0_4_load_84 | 57 | 0.0095538 | 0.0023944 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-31_0_4_load_87 | 58 | 0.0021185 | 0.00053093 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-31_0_4_load_83 | 59 | 0.0095271 | 0.0023877 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-31_0_4_load_93 | 60 | 0.0046151 | 0.0011567 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-31_0_4_load_66 | 61 | 0.011622 | 0.0029126 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-31_0_4_load_72 | 62 | 0.0019004 | 0.00047628 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-31_0_4_load_71 | 63 | 0.0017005 | 0.00042617 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-31_0_4_load_77 | 64 | 0.0018441 | 0.00046218 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-31_0_4_load_75 | 65 | 0.0020416 | 0.00051166 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-31_0_4_load_81 | 66 | 0.0034008 | 0.00085232 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-31_0_4_load_45 | 67 | 0.011281 | 0.0028274 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-31_0_4_load_69 | 68 | 0.0017013 | 0.0004264 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-31_0_4_load_44 | 69 | 0.011279 | 0.0028268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-31_0_4_load_46 | 70 | 0.01128 | 0.002827 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-31_0_4_load_48 | 71 | 0.015372 | 0.0038525 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-31_0_4_load_54 | 72 | 0.011316 | 0.0028359 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-31_0_4_load_52 | 73 | 0.0017278 | 0.00043304 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-31_0_4_load_67 | 74 | 0.0059227 | 0.0014844 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-31_0_4_load_53 | 75 | 0.0032335 | 0.00081039 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-31_0_4_load_62 | 76 | 0.0023637 | 0.00059241 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-31_0_4_load_58 | 77 | 0.0059025 | 0.0014793 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-31_0_4_load_59 | 78 | 0.0035217 | 0.00088261 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-31_0_4_load_60 | 79 | 0.0058865 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-31_0_4_load_63 | 81 | 0.0046777 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-31_0_4_load_99 | 83 | 0.0138 | 0.0034587 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-31_0_4_load_100 | 84 | 0.012888 | 0.00323 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-31_0_4_load_98 | 86 | 0.011739 | 0.002942 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-31_0_4_load_73 | 87 | 0.0033959 | 0.00085109 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-31_0_4_load_74 | 88 | 0.0034001 | 0.00085215 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-31_0_4_load_76 | 89 | 0.0035421 | 0.00088774 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-31_0_4_load_78 | 90 | 0.0035484 | 0.00088932 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-31_0_4_load_79 | 91 | 0.0034018 | 0.00085257 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-31_0_4_load_80 | 92 | 0.0034075 | 0.00085399 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-31_0_4_load_90 | 93 | 0.0014872 | 0.00037272 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-31_0_4_load_91 | 94 | 0.0014872 | 0.00037273 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-31_0_4_load_92 | 95 | 0.014901 | 0.0037345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-31_0_4_line_0 |  | 0 | 1 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-31_0_4_line_1 |  | 1 | 2 | 0.18668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-31_0_4_line_2 |  | 2 | 6 | 0.02749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-31_0_4_line_3 |  | 3 | 4 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-31_0_4_line_4 |  | 3 | 5 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-31_0_4_line_5 |  | 4 | 26 | 0.02867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-31_0_4_line_6 |  | 4 | 27 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-31_0_4_line_7 |  | 5 | 28 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-31_0_4_line_8 |  | 5 | 29 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-31_0_4_line_9 |  | 6 | 31 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-31_0_4_line_10 |  | 7 | 8 | 0.004191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-31_0_4_line_11 |  | 7 | 9 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-31_0_4_line_12 |  | 8 | 32 | 0.032629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-31_0_4_line_13 |  | 8 | 33 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-31_0_4_line_14 |  | 9 | 30 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-31_0_4_line_15 |  | 10 | 11 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-31_0_4_line_16 |  | 10 | 12 | 0.005439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-31_0_4_line_17 |  | 10 | 13 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-31_0_4_line_18 |  | 11 | 24 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-31_0_4_line_19 |  | 11 | 25 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-31_0_4_line_20 |  | 12 | 17 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-31_0_4_line_21 |  | 12 | 18 | 0.0051932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-31_0_4_line_22 |  | 13 | 44 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-31_0_4_line_23 |  | 14 | 15 | 0.015968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-31_0_4_line_24 |  | 14 | 16 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-31_0_4_line_25 |  | 15 | 25 | 0.020603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-31_0_4_line_26 |  | 16 | 53 | 0.0054992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-31_0_4_line_27 |  | 17 | 23 | 0.018386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-31_0_4_line_28 |  | 18 | 19 | 0.028965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-31_0_4_line_29 |  | 19 | 20 | 0.048758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-31_0_4_line_30 |  | 20 | 61 | 0.027988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-31_0_4_line_31 |  | 21 | 22 | 0.008312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-31_0_4_line_32 |  | 21 | 23 | 0.02207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-31_0_4_line_33 |  | 22 | 60 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-31_0_4_line_34 |  | 24 | 66 | 0.007263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-31_0_4_line_35 |  | 26 | 48 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-31_0_4_line_36 |  | 27 | 67 | 0.0074187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-31_0_4_line_37 |  | 28 | 51 | 0.016245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-31_0_4_line_38 |  | 29 | 59 | 0.0053306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-31_0_4_line_39 |  | 31 | 39 | 0.005268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-31_0_4_line_40 |  | 31 | 36 | 0.0010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-31_0_4_line_41 |  | 32 | 52 | 0.0072034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-31_0_4_line_42 |  | 33 | 49 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-31_0_4_line_43 |  | 34 | 35 | 0.0082057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-31_0_4_line_44 |  | 34 | 36 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-31_0_4_line_45 |  | 35 | 37 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-31_0_4_line_46 |  | 37 | 38 | 0.0079853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-31_0_4_line_47 |  | 39 | 40 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-31_0_4_line_48 |  | 39 | 41 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-31_0_4_line_49 |  | 40 | 42 | 0.0079985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-31_0_4_line_50 |  | 41 | 43 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-31_0_4_line_51 |  | 42 | 76 | 0.00028757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-31_0_4_line_52 |  | 43 | 75 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-31_0_4_line_53 |  | 44 | 45 | 0.035928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-31_0_4_line_54 |  | 45 | 46 | 0.0061695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-31_0_4_line_55 |  | 46 | 47 | 0.0060178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-31_0_4_line_56 |  | 47 | 48 | 0.0062687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-31_0_4_line_57 |  | 49 | 50 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-31_0_4_line_58 |  | 50 | 51 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-31_0_4_line_59 |  | 52 | 68 | 0.0067979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-31_0_4_line_60 |  | 53 | 54 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-31_0_4_line_61 |  | 54 | 55 | 0.0011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-31_0_4_line_62 |  | 55 | 58 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-31_0_4_line_63 |  | 56 | 57 | 0.0053323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-31_0_4_line_64 |  | 57 | 59 | 0.0053486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-31_0_4_line_65 |  | 58 | 93 | 0.0029282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-31_0_4_line_66 |  | 61 | 74 | 0.0049731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-31_0_4_line_67 |  | 62 | 63 | 0.0069964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-31_0_4_line_68 |  | 63 | 68 | 0.006602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-31_0_4_line_69 |  | 64 | 65 | 0.0071989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-31_0_4_line_70 |  | 65 | 87 | 0.0067068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-31_0_4_line_71 |  | 66 | 92 | 0.0068797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-31_0_4_line_72 |  | 67 | 69 | 0.0065983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2701-31_0_4_line_73 |  | 69 | 70 | 0.0065971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2701-31_0_4_line_74 |  | 70 | 71 | 0.0073679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-31_0_4_line_75 |  | 71 | 72 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-31_0_4_line_76 |  | 72 | 73 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-31_0_4_line_77 |  | 73 | 75 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-31_0_4_line_78 |  | 76 | 79 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-31_0_4_line_79 |  | 77 | 78 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-31_0_4_line_80 |  | 77 | 79 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-31_0_4_line_81 |  | 78 | 80 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-31_0_4_line_82 |  | 80 | 81 | 0.0034503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-31_0_4_line_83 |  | 80 | 82 | 0.028476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-31_0_4_line_84 |  | 82 | 83 | 0.007083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-31_0_4_line_85 |  | 82 | 84 | 0.040817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-31_0_4_line_86 |  | 82 | 85 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-31_0_4_line_87 |  | 85 | 86 | 0.008643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-31_0_4_line_88 |  | 87 | 88 | 0.0068752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-31_0_4_line_89 |  | 88 | 89 | 0.0070222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-31_0_4_line_90 |  | 89 | 90 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-31_0_4_line_91 |  | 90 | 91 | 0.0070255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-31_0_4_line_92 |  | 91 | 92 | 0.0068773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-31_0_4_line_93 |  | 93 | 94 | 0.0034152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-31_0_4_line_94 |  | 94 | 95 | 0.00017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-31_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 96 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2613208.898 | 1268369.2921 | 2613216.3441 | 1268379.6277
1 | 2613093.6659 | 1268370.5488 | 2613097.4855 | 1268375.4718 | 2613101.0359 | 1268372.7778 | 2613108.0626 | 1268366.9003 | 2613113.0289 | 1268360.2955 | 2613126.4797 | 1268348.7838 | 2613140.3043 | 1268338.4515 | 2613154.0752 | 1268335.391 | 2613165.1436 | 1268329.3223 | 2613172.8338 | 1268322.9016 | 2613185.07 | 1268319.6375 | 2613194.2321 | 1268321.4369 | 2613204.067 | 1268325.217 | 2613212.7223 | 1268338.2899 | 2613222.3398 | 1268351.8208 | 2613208.898 | 1268369.2921
2 | 2613093.6659 | 1268370.5488 | 2613076.5298 | 1268349.0538
3 | 2613152.0174 | 1268455.6933 | 2613156.6641 | 1268460.8739 | 2613161.6518 | 1268458.1831
4 | 2613160.5676 | 1268465.219 | 2613156.6641 | 1268460.8739 | 2613161.6518 | 1268458.1831
5 | 2613152.0174 | 1268455.6933 | 2613126.3951 | 1268468.5557
6 | 2613152.0174 | 1268455.6933 | 2613152.167 | 1268452.7138 | 2613139.72 | 1268437.0563
7 | 2613160.5676 | 1268465.219 | 2613169.1392 | 1268472.9077
8 | 2613160.5676 | 1268465.219 | 2613141.2886 | 1268474.9745
9 | 2613065.6058 | 1268335.3512 | 2613076.5298 | 1268349.0538
10 | 2613234.2059 | 1268531.2736 | 2613236.9372 | 1268528.0886
11 | 2613236.9372 | 1268528.0886 | 2613223.0572 | 1268515.2005
12 | 2613234.2059 | 1268531.2736 | 2613212.9408 | 1268556.021
13 | 2613234.2059 | 1268531.2736 | 2613221.4431 | 1268519.8251
14 | 2613209.2885 | 1268502.4157 | 2613223.0572 | 1268515.2005
15 | 2613018.5745 | 1268522.6575 | 2613024.1997 | 1268527.7734 | 2613028.7584 | 1268531.9308
16 | 2613013.7186 | 1268520.1784 | 2613018.5745 | 1268522.6575
17 | 2613018.5745 | 1268522.6575 | 2613031.7651 | 1268516.0388
18 | 2613028.7584 | 1268531.9308 | 2613045.6424 | 1268546.8477
19 | 2613028.7584 | 1268531.9308 | 2613057.5364 | 1268517.3621
20 | 2613013.7186 | 1268520.1784 | 2613010.1287 | 1268523.7953 | 2613007.4505 | 1268526.8583 | 2613006.8998 | 1268527.4797 | 2613004.0608 | 1268524.9606 | 2613003.5478 | 1268525.5377 | 2613002.401 | 1268526.8806 | 2613000.5301 | 1268529.0002 | 2612999.7758 | 1268529.8324 | 2612998.7273 | 1268530.9643 | 2612997.8145 | 1268531.9963
21 | 2613013.7186 | 1268520.1784 | 2613009.7354 | 1268516.8463
22 | 2613031.7651 | 1268516.0388 | 2613061.7854 | 1268500.9757
23 | 2613090.165 | 1268500.844 | 2613075.9184 | 1268508.0563
24 | 2613090.165 | 1268500.844 | 2613106.3888 | 1268514.6575
25 | 2613057.5364 | 1268517.3621 | 2613075.9184 | 1268508.0563
26 | 2613110.5759 | 1268518.2226 | 2613106.3888 | 1268514.6575
27 | 2612997.8145 | 1268531.9963 | 2612983.7914 | 1268520.1059
28 | 2612987.5186 | 1268498.2612 | 2613009.7354 | 1268516.8463
29 | 2612987.5186 | 1268498.2612 | 2612975.1396 | 1268487.9046 | 2612971.957 | 1268484.1839 | 2612967.1715 | 1268480.4819 | 2612949.4476 | 1268470.9921 | 2612948.0645 | 1268470.2553
30 | 2612948.0645 | 1268470.2553 | 2612951.0901 | 1268466.6149 | 2612965.186 | 1268448.9332 | 2612965.5319 | 1268448.3923
31 | 2612963.3371 | 1268513.3189 | 2612966.9581 | 1268505.8327
32 | 2612966.9581 | 1268505.8327 | 2612983.7914 | 1268520.1059
33 | 2612963.3371 | 1268513.3189 | 2612955.9821 | 1268528.5324
34 | 2613051.0855 | 1268551.6565 | 2613045.6424 | 1268546.8477
35 | 2613110.3939 | 1268476.5855 | 2613122.6662 | 1268470.4276 | 2613126.3951 | 1268468.5557
36 | 2613139.72 | 1268437.0563 | 2613135.1035 | 1268431.2489
37 | 2613181.2317 | 1268483.755 | 2613169.1392 | 1268472.9077
38 | 2613141.2886 | 1268474.9745 | 2613136.5323 | 1268477.3813
39 | 2613061.6022 | 1268338.7892 | 2613065.6058 | 1268335.3512
40 | 2613065.6058 | 1268335.3512 | 2613066.4542 | 1268334.7033
41 | 2613208.2461 | 1268561.4845 | 2613212.9408 | 1268556.021
42 | 2613207.7943 | 1268507.582 | 2613221.4431 | 1268519.8251
43 | 2613078.2069 | 1268325.7286 | 2613084.7285 | 1268320.7485
44 | 2613078.2069 | 1268325.7286 | 2613066.4542 | 1268334.7033
45 | 2613093.0724 | 1268314.3769 | 2613084.7285 | 1268320.7485
46 | 2613093.0724 | 1268314.3769 | 2613099.4189 | 1268309.5305
47 | 2613061.6022 | 1268338.7892 | 2613049.1014 | 1268349.5248
48 | 2613061.6022 | 1268338.7892 | 2613071.7652 | 1268351.5736
49 | 2613043.189 | 1268354.9117 | 2613049.1014 | 1268349.5248
50 | 2613082.8336 | 1268365.4969 | 2613071.7652 | 1268351.5736
51 | 2613043.189 | 1268354.9117 | 2613042.9764 | 1268355.1054
52 | 2613082.8336 | 1268365.4969 | 2613090.2532 | 1268374.8302
53 | 2613093.898 | 1268484.8626 | 2613061.7854 | 1268500.9757
54 | 2613099.4123 | 1268482.0957 | 2613093.898 | 1268484.8626
55 | 2613104.7909 | 1268479.3969 | 2613099.4123 | 1268482.0957
56 | 2613110.3939 | 1268476.5855 | 2613104.7909 | 1268479.3969
57 | 2613192.3359 | 1268493.7156 | 2613207.7943 | 1268507.582
58 | 2613181.2317 | 1268483.755 | 2613192.3359 | 1268493.7156
59 | 2613203.8157 | 1268566.6404 | 2613208.2461 | 1268561.4845
60 | 2613118.6605 | 1268525.1062 | 2613110.5759 | 1268518.2226
61 | 2613118.6605 | 1268525.1062 | 2613119.4997 | 1268525.8207
62 | 2613127.8858 | 1268532.961 | 2613119.4997 | 1268525.8207
63 | 2613127.0021 | 1268482.2038 | 2613131.7599 | 1268479.7962
64 | 2613131.7599 | 1268479.7962 | 2613136.5323 | 1268477.3813
65 | 2613130.8096 | 1268533.1223 | 2613127.8858 | 1268532.961 | 2613127.8858 | 1268532.961
66 | 2612965.5319 | 1268448.3923 | 2612968.211 | 1268444.2026
67 | 2613194.9532 | 1268576.9542 | 2613199.513 | 1268571.6477
68 | 2613203.8157 | 1268566.6404 | 2613199.513 | 1268571.6477
69 | 2613100.3347 | 1268595.1676 | 2613094.9397 | 1268590.4012
70 | 2613089.9135 | 1268585.9606 | 2613094.9397 | 1268590.4012
71 | 2613051.0855 | 1268551.6565 | 2613056.2412 | 1268556.2115
72 | 2613130.9974 | 1268426.0838 | 2613135.1035 | 1268431.2489
73 | 2613130.9974 | 1268426.0838 | 2613126.8922 | 1268420.9197
74 | 2613126.8922 | 1268420.9197 | 2613122.3072 | 1268415.1521
75 | 2613122.3072 | 1268415.1521 | 2613115.9092 | 1268407.1039
76 | 2613102.843 | 1268390.6674 | 2613115.9092 | 1268407.1039
77 | 2613102.843 | 1268390.6674 | 2613090.2532 | 1268374.8302
78 | 2613028.2881 | 1268370.3633 | 2613035.174 | 1268362.2143 | 2613042.9764 | 1268355.1054
79 | 2613018.8237 | 1268382.0114 | 2613009.7872 | 1268393.3093
80 | 2613018.8237 | 1268382.0114 | 2613025.5239 | 1268373.6345 | 2613028.2881 | 1268370.3633
81 | 2613001.8291 | 1268403.2589 | 2613009.7872 | 1268393.3093
82 | 2613001.8291 | 1268403.2589 | 2612999.5836 | 1268405.8785
83 | 2613001.8291 | 1268403.2589 | 2613011.246 | 1268419.2353 | 2613009.314 | 1268421.7439 | 2613014.1876 | 1268426.4357
84 | 2613019.5958 | 1268431.0285 | 2613014.1876 | 1268426.4357
85 | 2613001.4674 | 1268461.8772 | 2613008.3481 | 1268453.8422 | 2613006.5671 | 1268435.5254 | 2613014.1876 | 1268426.4357
86 | 2613028.4422 | 1268408.621 | 2613014.8683 | 1268424.8805 | 2613014.1876 | 1268426.4357
87 | 2613028.4422 | 1268408.621 | 2613033.9954 | 1268401.9841
88 | 2613089.9135 | 1268585.9606 | 2613084.7611 | 1268581.4085
89 | 2613084.7611 | 1268581.4085 | 2613079.4986 | 1268576.7591
90 | 2613079.4986 | 1268576.7591 | 2613066.6602 | 1268565.4166
91 | 2613061.3952 | 1268560.765 | 2613066.6602 | 1268565.4166
92 | 2613061.3952 | 1268560.765 | 2613056.2412 | 1268556.2115
93 | 2613130.8096 | 1268533.1223 | 2613134.2197 | 1268533.3104
94 | 2613134.3944 | 1268533.3201 | 2613134.2197 | 1268533.3104

## bus_geodata
| x | y | coords
0 | 2613216.3441 | 1268379.6277
1 | 2613208.898 | 1268369.2921
2 | 2613093.6659 | 1268370.5488
3 | 2613161.6518 | 1268458.1831
4 | 2613152.0174 | 1268455.6933
5 | 2613160.5676 | 1268465.219
6 | 2613076.5298 | 1268349.0538
7 | 2613236.9372 | 1268528.0886
8 | 2613234.2059 | 1268531.2736
9 | 2613223.0572 | 1268515.2005
10 | 2613018.5745 | 1268522.6575
11 | 2613028.7584 | 1268531.9308
12 | 2613013.7186 | 1268520.1784
13 | 2613031.7651 | 1268516.0388
14 | 2613090.165 | 1268500.844
15 | 2613075.9184 | 1268508.0563
16 | 2613106.3888 | 1268514.6575
17 | 2612997.8145 | 1268531.9963
18 | 2613009.7354 | 1268516.8463
19 | 2612987.5186 | 1268498.2612
20 | 2612948.0645 | 1268470.2553
21 | 2612966.9581 | 1268505.8327
22 | 2612963.3371 | 1268513.3189
23 | 2612983.7914 | 1268520.1059
24 | 2613045.6424 | 1268546.8477
25 | 2613057.5364 | 1268517.3621
26 | 2613126.3951 | 1268468.5557
27 | 2613139.72 | 1268437.0563
28 | 2613169.1392 | 1268472.9077
29 | 2613141.2886 | 1268474.9745
30 | 2613209.2885 | 1268502.4157
31 | 2613065.6058 | 1268335.3511
32 | 2613212.9408 | 1268556.021
33 | 2613221.4431 | 1268519.8251
34 | 2613078.2069 | 1268325.7286
35 | 2613084.7285 | 1268320.7485
36 | 2613066.4542 | 1268334.7033
37 | 2613093.0724 | 1268314.3769
38 | 2613099.4189 | 1268309.5305
39 | 2613061.6022 | 1268338.7892
40 | 2613049.1014 | 1268349.5248
41 | 2613071.7652 | 1268351.5736
42 | 2613043.189 | 1268354.9117
43 | 2613082.8336 | 1268365.4969
44 | 2613061.7854 | 1268500.9757
45 | 2613093.898 | 1268484.8626
46 | 2613099.4123 | 1268482.0957
47 | 2613104.7909 | 1268479.3969
48 | 2613110.3939 | 1268476.5855
49 | 2613207.7943 | 1268507.582
50 | 2613192.3359 | 1268493.7156
51 | 2613181.2317 | 1268483.755
52 | 2613208.2461 | 1268561.4845
53 | 2613110.5759 | 1268518.2226
54 | 2613118.6605 | 1268525.1062
55 | 2613119.4997 | 1268525.8207
56 | 2613127.0021 | 1268482.2038
57 | 2613131.7599 | 1268479.7962
58 | 2613127.8858 | 1268532.961
59 | 2613136.5323 | 1268477.3813
60 | 2612955.9821 | 1268528.5324
61 | 2612965.5319 | 1268448.3923
62 | 2613194.9532 | 1268576.9542
63 | 2613199.513 | 1268571.6477
64 | 2613100.3347 | 1268595.1676
65 | 2613094.9397 | 1268590.4012
66 | 2613051.0855 | 1268551.6565
67 | 2613135.1035 | 1268431.2489
68 | 2613203.8157 | 1268566.6404
69 | 2613130.9974 | 1268426.0838
70 | 2613126.8922 | 1268420.9197
71 | 2613122.3072 | 1268415.1521
72 | 2613115.9092 | 1268407.1039
73 | 2613102.843 | 1268390.6674
74 | 2612968.211 | 1268444.2026
75 | 2613090.2532 | 1268374.8302
76 | 2613042.9764 | 1268355.1054
77 | 2613018.8237 | 1268382.0114
78 | 2613009.7872 | 1268393.3093
79 | 2613028.2881 | 1268370.3633
80 | 2613001.8291 | 1268403.2589
81 | 2612999.5836 | 1268405.8785
82 | 2613014.1876 | 1268426.4357
83 | 2613019.5958 | 1268431.0285
84 | 2613001.4674 | 1268461.8772
85 | 2613028.4422 | 1268408.621
86 | 2613033.9954 | 1268401.9841
87 | 2613089.9135 | 1268585.9606
88 | 2613084.7611 | 1268581.4085
89 | 2613079.4986 | 1268576.7591
90 | 2613066.6602 | 1268565.4166
91 | 2613061.3952 | 1268560.765
92 | 2613056.2412 | 1268556.2115
93 | 2613130.8096 | 1268533.1223
94 | 2613134.2197 | 1268533.3104
95 | 2613134.3944 | 1268533.3201
96 | 2613152.0174 | 1268455.6933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1