## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-320_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-320_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-320_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-320_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-320_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-320_0_5_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_2701-320_0_5_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_2701-320_0_5_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_2701-320_0_5_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_2701-320_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-320_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-320_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-320_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-320_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-320_0_5_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_2701-320_0_5_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_2701-320_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-320_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2701-320_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2701-320_0_5_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_2701-320_0_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2701-320_0_5_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_2701-320_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2701-320_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2701-320_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2701-320_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2701-320_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2701-320_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2701-320_0_5_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2701-320_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2701-320_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_2701-320_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-320_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2701-320_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2701-320_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2701-320_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2701-320_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2701-320_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2701-320_0_5_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2701-320_0_5_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_2701-320_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2701-320_0_5_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_2701-320_0_5_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_2701-320_0_5_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_2701-320_0_5_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_2701-320_0_5_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_2701-320_0_5_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_2701-320_0_5_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_2701-320_0_5_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_2701-320_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_2701-320_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_2701-320_0_5_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2701-320_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2701-320_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_2701-320_0_5_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_2701-320_0_5_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_2701-320_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_2701-320_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_2701-320_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_2701-320_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2701-320_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_2701-320_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2701-320_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_2701-320_0_5_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2701-320_0_5_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_2701-320_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2701-320_0_5_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_2701-320_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_2701-320_0_5_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_2701-320_0_5_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_2701-320_0_5_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_2701-320_0_5_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_2701-320_0_5_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_2701-320_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_2701-320_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_2701-320_0_5_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_2701-320_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_2701-320_0_5_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_2701-320_0_5_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_2701-320_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_2701-320_0_5_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_2701-320_0_5_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_2701-320_0_5_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_2701-320_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_2701-320_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_2701-320_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_2701-320_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_2701-320_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_2701-320_0_5_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_2701-320_0_5_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_2701-320_0_5_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_2701-320_0_5_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_2701-320_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_2701-320_0_5_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_2701-320_0_5_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_2701-320_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_2701-320_0_5_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_2701-320_0_5_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_2701-320_0_5_node_97 | 0.4 | n |  | TRUE
99 | bus_MV_564_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-320_0_5_load_0 | 0 | 0.0072047 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-320_0_5_load_1 | 1 | 0.0072301 | 0.001812 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-320_0_5_load_2 | 2 | 0.0071304 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-320_0_5_load_3 | 3 | 0.0066769 | 0.0016734 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-320_0_5_load_4 | 4 | 0.0040489 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-320_0_5_load_52 | 5 | 0.0049366 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-320_0_5_load_96 | 6 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-320_0_5_load_80 | 7 | 0.0060705 | 0.0015214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-320_0_5_load_95 | 8 | 0.0040615 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-320_0_5_load_5 | 9 | 0.004147 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-320_0_5_load_6 | 10 | 0.008258 | 0.0020696 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-320_0_5_load_8 | 12 | 0.005684 | 0.0014245 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-320_0_5_load_9 | 13 | 0.0041021 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-320_0_5_load_93 | 15 | 0.0040541 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-320_0_5_load_31 | 17 | 0.0055204 | 0.0013836 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-320_0_5_load_28 | 18 | 0.0034924 | 0.00087528 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-320_0_5_load_35 | 19 | 0.0062257 | 0.0015603 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-320_0_5_load_32 | 20 | 0.0045848 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-320_0_5_load_94 | 21 | 0.004081 | 0.0010228 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-320_0_5_load_29 | 22 | 0.0034084 | 0.00085424 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-320_0_5_load_12 | 23 | 0.010981 | 0.0027522 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-320_0_5_load_13 | 24 | 0.0050725 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-320_0_5_load_14 | 25 | 0.0058831 | 0.0014744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-320_0_5_load_15 | 26 | 0.0058857 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-320_0_5_load_16 | 27 | 0.0040126 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-320_0_5_load_51 | 28 | 0.0064259 | 0.0016105 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-320_0_5_load_26 | 29 | 0.0048643 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-320_0_5_load_45 | 30 | 0.0058917 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-320_0_5_load_24 | 31 | 0.0058734 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-320_0_5_load_17 | 32 | 0.0031153 | 0.00078076 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-320_0_5_load_18 | 33 | 0.0030647 | 0.00076809 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-320_0_5_load_20 | 35 | 0.0030693 | 0.00076924 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-320_0_5_load_21 | 36 | 0.0027839 | 0.00069771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-320_0_5_load_81 | 39 | 0.006191 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-320_0_5_load_30 | 40 | 0.0033983 | 0.00085169 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-320_0_5_load_59 | 41 | 0.0033461 | 0.00083862 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-320_0_5_load_101 | 43 | 0.0049722 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-320_0_5_load_103 | 44 | 0.0036749 | 0.00092102 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-320_0_5_load_70 | 47 | 0.0038001 | 0.00095239 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-320_0_5_load_78 | 48 | 0.0035573 | 0.00089153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-320_0_5_load_23 | 49 | 0.0085176 | 0.0021347 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-320_0_5_load_25 | 50 | 0.0056155 | 0.0014074 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-320_0_5_load_53 | 51 | 0.0096173 | 0.0024103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-320_0_5_load_33 | 52 | 0.0069794 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-320_0_5_load_34 | 53 | 0.0073279 | 0.0018365 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-320_0_5_load_69 | 54 | 0.0039699 | 0.00099495 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-320_0_5_load_79 | 55 | 0.0040852 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-320_0_5_load_54 | 56 | 0.0024529 | 0.00061475 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-320_0_5_load_36 | 57 | 0.0056438 | 0.0014145 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-320_0_5_load_37 | 58 | 0.0026592 | 0.00066646 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-320_0_5_load_39 | 60 | 0.0026588 | 0.00066635 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-320_0_5_load_41 | 62 | 0.005858 | 0.0014682 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-320_0_5_load_73 | 63 | 0.0034538 | 0.00086561 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-320_0_5_load_68 | 64 | 0.001765 | 0.00044234 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-320_0_5_load_43 | 65 | 0.0050043 | 0.0012542 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-320_0_5_load_99 | 66 | 0.026689 | 0.0066888 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-320_0_5_load_71 | 67 | 0.0049707 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-320_0_5_load_102 | 68 | 0.0034348 | 0.00086084 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-320_0_5_load_42 | 69 | 0.0094684 | 0.002373 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-320_0_5_load_100 | 70 | 0.0049159 | 0.001232 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-320_0_5_load_44 | 71 | 0.0047574 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-320_0_5_load_46 | 72 | 0.0061935 | 0.0015522 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-320_0_5_load_47 | 73 | 0.00529 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-320_0_5_load_48 | 74 | 0.0076117 | 0.0019077 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-320_0_5_load_49 | 75 | 0.0044584 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-320_0_5_load_50 | 76 | 0.007638 | 0.0019143 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-320_0_5_load_57 | 79 | 0.0024929 | 0.00062478 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-320_0_5_load_88 | 80 | 0.0024609 | 0.00061677 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-320_0_5_load_90 | 82 | 0.0043288 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-320_0_5_load_89 | 85 | 0.0026523 | 0.00066472 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-320_0_5_load_86 | 86 | 0.0076459 | 0.0019162 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-320_0_5_load_91 | 87 | 0.0055432 | 0.0013893 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-320_0_5_load_58 | 88 | 0.0028098 | 0.00070421 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-320_0_5_load_60 | 89 | 0.002805 | 0.000703 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-320_0_5_load_62 | 90 | 0.003338 | 0.00083657 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-320_0_5_load_63 | 91 | 0.0027993 | 0.00070158 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-320_0_5_load_83 | 92 | 0.0056176 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-320_0_5_load_82 | 93 | 0.0067338 | 0.0016877 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-320_0_5_load_85 | 94 | 0.0070403 | 0.0017645 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-320_0_5_load_84 | 95 | 0.0061624 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-320_0_5_load_92 | 96 | 0.0040112 | 0.0010053 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-320_0_5_load_98 | 97 | 0.0040458 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-320_0_5_load_97 | 98 | 0.0040852 | 0.0010239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-320_0_5_line_0 |  | 0 | 1 | 2.1669e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2701-320_0_5_line_1 |  | 0 | 2 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2701-320_0_5_line_2 |  | 1 | 3 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2701-320_0_5_line_3 |  | 2 | 4 | 5.8312e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2701-320_0_5_line_4 |  | 3 | 5 | 0.0073499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2701-320_0_5_line_5 |  | 4 | 6 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2701-320_0_5_line_6 |  | 5 | 7 | 0.014246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-320_0_5_line_7 |  | 6 | 8 | 8.9269e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2701-320_0_5_line_8 |  | 7 | 39 | 0.016131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-320_0_5_line_9 |  | 8 | 98 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2701-320_0_5_line_10 |  | 9 | 10 | 0.01052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2701-320_0_5_line_11 |  | 9 | 11 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-320_0_5_line_12 |  | 10 | 12 | 0.024127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2701-320_0_5_line_13 |  | 11 | 13 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2701-320_0_5_line_14 |  | 12 | 14 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2701-320_0_5_line_15 |  | 13 | 15 | 0.015179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2701-320_0_5_line_16 |  | 14 | 19 | 0.009355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-320_0_5_line_17 |  | 14 | 20 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2701-320_0_5_line_18 |  | 15 | 21 | 0.00011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2701-320_0_5_line_19 |  | 16 | 17 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-320_0_5_line_20 |  | 16 | 18 | 0.013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-320_0_5_line_21 |  | 18 | 22 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-320_0_5_line_22 |  | 19 | 51 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-320_0_5_line_23 |  | 20 | 52 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2701-320_0_5_line_24 |  | 21 | 97 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2701-320_0_5_line_25 |  | 22 | 40 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-320_0_5_line_26 |  | 23 | 24 | 0.0013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2701-320_0_5_line_27 |  | 23 | 25 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-320_0_5_line_28 |  | 24 | 26 | 0.0027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2701-320_0_5_line_29 |  | 25 | 27 | 0.00026414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-320_0_5_line_30 |  | 26 | 28 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2701-320_0_5_line_31 |  | 27 | 29 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-320_0_5_line_32 |  | 28 | 30 | 0.00428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2701-320_0_5_line_33 |  | 29 | 31 | 0.00082044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-320_0_5_line_34 |  | 30 | 71 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2701-320_0_5_line_35 |  | 31 | 49 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-320_0_5_line_36 |  | 32 | 33 | 0.017034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-320_0_5_line_37 |  | 32 | 34 | 0.0055507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-320_0_5_line_38 |  | 33 | 35 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-320_0_5_line_39 |  | 34 | 36 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-320_0_5_line_40 |  | 34 | 37 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-320_0_5_line_41 |  | 35 | 38 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-320_0_5_line_42 |  | 37 | 39 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-320_0_5_line_43 |  | 38 | 40 | 0.0053968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-320_0_5_line_44 |  | 38 | 41 | 0.016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-320_0_5_line_45 |  | 41 | 88 | 0.00061501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-320_0_5_line_46 |  | 42 | 43 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-320_0_5_line_47 |  | 42 | 44 | 0.050581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-320_0_5_line_48 |  | 43 | 70 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-320_0_5_line_49 |  | 45 | 46 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2701-320_0_5_line_50 |  | 45 | 47 | 0.0056221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2701-320_0_5_line_51 |  | 46 | 48 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2701-320_0_5_line_52 |  | 47 | 67 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2701-320_0_5_line_53 |  | 48 | 83 | 0.0075444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_2701-320_0_5_line_54 |  | 49 | 50 | 0.00072479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-320_0_5_line_55 |  | 51 | 56 | 0.00073554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-320_0_5_line_56 |  | 52 | 53 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2701-320_0_5_line_57 |  | 53 | 54 | 0.0018955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2701-320_0_5_line_58 |  | 54 | 55 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2701-320_0_5_line_59 |  | 55 | 75 | 0.002412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_2701-320_0_5_line_60 |  | 56 | 80 | 0.0080112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-320_0_5_line_61 |  | 57 | 58 | 0.011589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2701-320_0_5_line_62 |  | 57 | 59 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2701-320_0_5_line_63 |  | 58 | 60 | 0.006451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2701-320_0_5_line_64 |  | 59 | 61 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_2701-320_0_5_line_65 |  | 59 | 62 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-320_0_5_line_66 |  | 60 | 63 | 0.0087428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2701-320_0_5_line_67 |  | 61 | 64 | 0.0034612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-320_0_5_line_68 |  | 61 | 65 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2701-320_0_5_line_69 |  | 62 | 66 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-320_0_5_line_70 |  | 63 | 67 | 0.0092622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_2701-320_0_5_line_71 |  | 64 | 68 | 0.0076952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-320_0_5_line_72 |  | 65 | 69 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2701-320_0_5_line_73 |  | 66 | 70 | 0.005439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-320_0_5_line_74 |  | 68 | 94 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-320_0_5_line_75 |  | 69 | 71 | 0.00037172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2701-320_0_5_line_76 |  | 72 | 73 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_2701-320_0_5_line_77 |  | 72 | 74 | 0.0033206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2701-320_0_5_line_78 |  | 73 | 75 | 0.010084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2701-320_0_5_line_79 |  | 74 | 76 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2701-320_0_5_line_80 |  | 76 | 77 | 0.0081432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2701-320_0_5_line_81 |  | 77 | 78 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-320_0_5_line_82 |  | 77 | 79 | 0.0073324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2701-320_0_5_line_83 |  | 78 | 82 | 0.023621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-320_0_5_line_84 |  | 79 | 83 | 0.016567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_2701-320_0_5_line_85 |  | 80 | 81 | 0.028907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-320_0_5_line_86 |  | 81 | 86 | 0.045861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-320_0_5_line_87 |  | 82 | 87 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-320_0_5_line_88 |  | 84 | 85 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-320_0_5_line_89 |  | 84 | 86 | 0.039458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-320_0_5_line_90 |  | 87 | 96 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-320_0_5_line_91 |  | 88 | 89 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-320_0_5_line_92 |  | 89 | 90 | 0.0023667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-320_0_5_line_93 |  | 90 | 91 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-320_0_5_line_94 |  | 92 | 93 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-320_0_5_line_95 |  | 93 | 95 | 1.1409e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-320_0_5_line_96 |  | 94 | 95 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-320_0_5_line_97 |  | 97 | 98 | 0.00011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-320_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 99 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2609225.9492 | 1268291.164 | 2609225.962 | 1268291.1815
1 | 2609225.962 | 1268291.1815 | 2609234.9372 | 1268303.3884
2 | 2609225.9492 | 1268291.164 | 2609220.1295 | 1268283.2489 | 2609216.0545 | 1268280.7741
3 | 2609234.9372 | 1268303.3884 | 2609234.9717 | 1268303.4354
4 | 2609216.0545 | 1268280.7741 | 2609216.0545 | 1268280.7741 | 2609210.5227 | 1268281.1659 | 2609208.8629 | 1268281.8731
5 | 2609243.8594 | 1268315.5233 | 2609234.9717 | 1268303.4354
6 | 2609195.7568 | 1268287.4572 | 2609208.8629 | 1268281.8731
7 | 2609243.8594 | 1268315.5233 | 2609243.9123 | 1268315.5952
8 | 2609195.7568 | 1268287.4572 | 2609180.9164 | 1268293.7804
9 | 2609243.9123 | 1268315.5952 | 2609252.7893 | 1268327.6686
10 | 2609291.6941 | 1268354.9198 | 2609300.0053 | 1268348.47
11 | 2609279.6805 | 1268364.2428 | 2609291.6941 | 1268354.9198
12 | 2609319.066 | 1268333.6782 | 2609300.0053 | 1268348.47
13 | 2609279.6805 | 1268364.2428 | 2609270.784 | 1268352.1428
14 | 2609337.0339 | 1268319.7345 | 2609319.066 | 1268333.6782
15 | 2609270.784 | 1268352.1428 | 2609261.7921 | 1268339.9132
16 | 2609337.0339 | 1268319.7345 | 2609342.518 | 1268327.3135
17 | 2609337.0339 | 1268319.7345 | 2609344.1632 | 1268299.6102
18 | 2609261.7221 | 1268339.8179 | 2609261.7921 | 1268339.9132
19 | 2609219.3091 | 1268404.7218 | 2609218.401 | 1268407.9449 | 2609208.3724 | 1268414.7254
20 | 2609219.3091 | 1268404.7218 | 2609220.2323 | 1268401.4432 | 2609214.053 | 1268392.9877
21 | 2609204.0314 | 1268379.2746 | 2609214.053 | 1268392.9877
22 | 2609342.518 | 1268327.3135 | 2609350.1036 | 1268337.7968
23 | 2609348.5093 | 1268287.3423 | 2609344.1632 | 1268299.6102
24 | 2609252.8545 | 1268327.7573 | 2609261.7221 | 1268339.8179
25 | 2609204.0314 | 1268379.2746 | 2609194.1145 | 1268365.7047
26 | 2609289.3853 | 1268261.8477 | 2609288.6296 | 1268260.7811
27 | 2609289.3853 | 1268261.8477 | 2609295.7045 | 1268270.7664
28 | 2609287.0321 | 1268258.5264 | 2609288.6296 | 1268260.7811
29 | 2609295.7045 | 1268270.7664 | 2609295.8572 | 1268270.982
30 | 2609280.8349 | 1268249.7798 | 2609287.0321 | 1268258.5264
31 | 2609303.9037 | 1268282.3386 | 2609295.8572 | 1268270.982
32 | 2609280.8349 | 1268249.7798 | 2609278.3605 | 1268246.2875
33 | 2609303.9037 | 1268282.3386 | 2609304.3781 | 1268283.0081
34 | 2609270.7619 | 1268235.5631 | 2609278.3605 | 1268246.2875
35 | 2609313.4932 | 1268295.8729 | 2609304.3781 | 1268283.0081
36 | 2609164.9877 | 1268323.4958 | 2609174.6177 | 1268337.5466
37 | 2609161.8496 | 1268318.9172 | 2609164.9877 | 1268323.4958
38 | 2609174.6177 | 1268337.5466 | 2609184.2107 | 1268351.5433
39 | 2609161.8496 | 1268318.9172 | 2609148.327 | 1268326.4304
40 | 2609153.1104 | 1268305.6278 | 2609161.8496 | 1268318.9172
41 | 2609190.9302 | 1268361.3474 | 2609184.2107 | 1268351.5433
42 | 2609153.1104 | 1268305.6278 | 2609180.9164 | 1268293.7804
43 | 2609190.9302 | 1268361.3474 | 2609194.1145 | 1268365.7047
44 | 2609190.9302 | 1268361.3474 | 2609177.2394 | 1268369.9655
45 | 2609176.719 | 1268370.2932 | 2609177.2394 | 1268369.9655
46 | 2609255.0348 | 1268136.9559 | 2609259.5554 | 1268143.3341 | 2609261.7056 | 1268148.6338
47 | 2609255.0348 | 1268136.9559 | 2609251.1035 | 1268133.9699 | 2609245.4477 | 1268131.6929 | 2609240.8044 | 1268131.6523 | 2609235.4662 | 1268133.2451 | 2609208.3015 | 1268144.3142
48 | 2609268.6512 | 1268165.752 | 2609261.7056 | 1268148.6338
49 | 2609346.4032 | 1268176.0484 | 2609348.9108 | 1268175.0294 | 2609361.1872 | 1268173.7255 | 2609367.6692 | 1268172.2458 | 2609369.1706 | 1268174.5831
50 | 2609346.4032 | 1268176.0484 | 2609341.1957 | 1268178.1674
51 | 2609369.1706 | 1268174.5831 | 2609371.0889 | 1268179.8232 | 2609374.5706 | 1268188.3235
52 | 2609341.1957 | 1268178.1674 | 2609328.1117 | 1268183.4915 | 2609327.199 | 1268183.875
53 | 2609377.4162 | 1268195.3107 | 2609376.4117 | 1268192.8184 | 2609374.5706 | 1268188.3235
54 | 2609313.4932 | 1268295.8729 | 2609313.9122 | 1268296.4643
55 | 2609350.5347 | 1268338.3927 | 2609350.1036 | 1268337.7968
56 | 2609348.5093 | 1268287.3423 | 2609352.4635 | 1268276.1805
57 | 2609352.4635 | 1268276.1805 | 2609353.0964 | 1268274.3939
58 | 2609356.8291 | 1268263.8574 | 2609353.0964 | 1268274.3939
59 | 2609356.8291 | 1268263.8574 | 2609357.6345 | 1268261.5838
60 | 2609355.231 | 1268344.883 | 2609350.5347 | 1268338.3927
61 | 2609304.6541 | 1268193.3526 | 2609302.1311 | 1268194.4141 | 2609293.9701 | 1268197.8427
62 | 2609283.4628 | 1268202.2571 | 2609293.9701 | 1268197.8427
63 | 2609304.6541 | 1268193.3526 | 2609310.6002 | 1268190.8508
64 | 2609283.4628 | 1268202.2571 | 2609265.2692 | 1268209.7896 | 2609255.3967 | 1268213.8771
65 | 2609283.4628 | 1268202.2571 | 2609275.9348 | 1268183.7033
66 | 2609318.66 | 1268187.463 | 2609312.5836 | 1268190.0163 | 2609310.6002 | 1268190.8508
67 | 2609255.3967 | 1268213.8771 | 2609252.1963 | 1268215.1951
68 | 2609255.3967 | 1268213.8771 | 2609264.0549 | 1268226.097
69 | 2609275.9348 | 1268183.7033 | 2609270.6961 | 1268170.7919
70 | 2609327.199 | 1268183.875 | 2609318.66 | 1268187.463
71 | 2609245.0809 | 1268218.1253 | 2609252.1963 | 1268215.1951
72 | 2609264.0549 | 1268226.097 | 2609270.547 | 1268235.2598
73 | 2609270.6961 | 1268170.7919 | 2609268.6512 | 1268165.752
74 | 2609233.7055 | 1268222.8098 | 2609245.0809 | 1268218.1253
75 | 2609270.547 | 1268235.2598 | 2609270.7619 | 1268235.5631
76 | 2609361.0019 | 1268252.0786 | 2609365.3425 | 1268239.826
77 | 2609366.4514 | 1268236.696 | 2609365.3425 | 1268239.826
78 | 2609357.6345 | 1268261.5838 | 2609361.0019 | 1268252.0786
79 | 2609370.3609 | 1268225.7543 | 2609370.241 | 1268225.9987 | 2609366.4514 | 1268236.696
80 | 2609373.948 | 1268218.4437 | 2609370.3609 | 1268225.7543
81 | 2609373.948 | 1268218.4437 | 2609377.46 | 1268215.247 | 2609382.1905 | 1268212.408 | 2609387.6189 | 1268210.8821 | 2609390.5325 | 1268210.1084
82 | 2609373.948 | 1268218.4437 | 2609373.6488 | 1268212.5391 | 2609374.1317 | 1268211.2035
83 | 2609390.5325 | 1268210.1084 | 2609395.5608 | 1268233.1881
84 | 2609377.4162 | 1268195.3107 | 2609378.0203 | 1268198.7363 | 2609377.2013 | 1268202.7155 | 2609374.1317 | 1268211.2035
85 | 2609372.1766 | 1268368.3017 | 2609355.231 | 1268344.883
86 | 2609372.1766 | 1268368.3017 | 2609408.9495 | 1268340.897
87 | 2609395.5608 | 1268233.1881 | 2609395.5608 | 1268233.1881 | 2609400.8151 | 1268245.7996
88 | 2609440.5883 | 1268317.3185 | 2609429.3861 | 1268298.4342
89 | 2609440.5883 | 1268317.3185 | 2609408.9495 | 1268340.897
90 | 2609400.8151 | 1268245.7996 | 2609403.0055 | 1268251.0569 | 2609406.2804 | 1268257.6536
91 | 2609176.719 | 1268370.2932 | 2609162.2307 | 1268379.4133
92 | 2609160.2278 | 1268380.6741 | 2609162.2307 | 1268379.4133
93 | 2609141.3873 | 1268392.5338 | 2609160.2278 | 1268380.6741
94 | 2609219.5454 | 1268228.6411 | 2609206.3236 | 1268234.0859
95 | 2609219.5559 | 1268228.6367 | 2609219.5454 | 1268228.6411
96 | 2609219.5559 | 1268228.6367 | 2609233.7055 | 1268222.8098
97 | 2609252.7893 | 1268327.6686 | 2609252.8545 | 1268327.7573

## bus_geodata
| x | y | coords
0 | 2609225.962 | 1268291.1815
1 | 2609225.9492 | 1268291.164
2 | 2609234.9372 | 1268303.3884
3 | 2609216.0545 | 1268280.7742
4 | 2609234.9717 | 1268303.4354
5 | 2609208.8629 | 1268281.8731
6 | 2609243.8594 | 1268315.5233
7 | 2609195.7568 | 1268287.4572
8 | 2609243.9123 | 1268315.5952
9 | 2609291.6941 | 1268354.9198
10 | 2609300.0053 | 1268348.47
11 | 2609279.6805 | 1268364.2428
12 | 2609319.066 | 1268333.6782
13 | 2609270.784 | 1268352.1428
14 | 2609337.0339 | 1268319.7345
15 | 2609261.7921 | 1268339.9132
16 | 2609219.3091 | 1268404.7218
17 | 2609208.3724 | 1268414.7254
18 | 2609214.053 | 1268392.9877
19 | 2609342.518 | 1268327.3135
20 | 2609344.1632 | 1268299.6102
21 | 2609261.7221 | 1268339.8179
22 | 2609204.0314 | 1268379.2746
23 | 2609289.3853 | 1268261.8477
24 | 2609288.6296 | 1268260.7811
25 | 2609295.7045 | 1268270.7664
26 | 2609287.0321 | 1268258.5264
27 | 2609295.8572 | 1268270.982
28 | 2609280.8349 | 1268249.7798
29 | 2609303.9037 | 1268282.3386
30 | 2609278.3605 | 1268246.2875
31 | 2609304.3781 | 1268283.0081
32 | 2609164.9877 | 1268323.4958
33 | 2609174.6177 | 1268337.5466
34 | 2609161.8496 | 1268318.9172
35 | 2609184.2107 | 1268351.5433
36 | 2609148.327 | 1268326.4304
37 | 2609153.1104 | 1268305.6278
38 | 2609190.9302 | 1268361.3474
39 | 2609180.9164 | 1268293.7804
40 | 2609194.1145 | 1268365.7047
41 | 2609177.2394 | 1268369.9655
42 | 2609255.0348 | 1268136.9559
43 | 2609261.7056 | 1268148.6338
44 | 2609208.3015 | 1268144.3142
45 | 2609346.4032 | 1268176.0484
46 | 2609369.1706 | 1268174.5831
47 | 2609341.1957 | 1268178.1674
48 | 2609374.5706 | 1268188.3235
49 | 2609313.4932 | 1268295.8729
50 | 2609313.9122 | 1268296.4643
51 | 2609350.1036 | 1268337.7968
52 | 2609348.5093 | 1268287.3423
53 | 2609352.4635 | 1268276.1805
54 | 2609353.0964 | 1268274.3939
55 | 2609356.8291 | 1268263.8574
56 | 2609350.5347 | 1268338.3927
57 | 2609293.9701 | 1268197.8427
58 | 2609304.6541 | 1268193.3526
59 | 2609283.4628 | 1268202.2571
60 | 2609310.6002 | 1268190.8508
61 | 2609255.3967 | 1268213.8771
62 | 2609275.9348 | 1268183.7033
63 | 2609318.66 | 1268187.463
64 | 2609252.1963 | 1268215.1951
65 | 2609264.0549 | 1268226.097
66 | 2609270.6961 | 1268170.7919
67 | 2609327.199 | 1268183.875
68 | 2609245.0809 | 1268218.1253
69 | 2609270.547 | 1268235.2598
70 | 2609268.6512 | 1268165.752
71 | 2609270.7619 | 1268235.5631
72 | 2609365.3425 | 1268239.826
73 | 2609361.0019 | 1268252.0786
74 | 2609366.4514 | 1268236.696
75 | 2609357.6345 | 1268261.5838
76 | 2609370.3609 | 1268225.7543
77 | 2609373.948 | 1268218.4437
78 | 2609390.5325 | 1268210.1084
79 | 2609374.1317 | 1268211.2035
80 | 2609355.231 | 1268344.883
81 | 2609372.1766 | 1268368.3017
82 | 2609395.5608 | 1268233.1881
83 | 2609377.4162 | 1268195.3107
84 | 2609440.5883 | 1268317.3185
85 | 2609429.3861 | 1268298.4342
86 | 2609408.9495 | 1268340.897
87 | 2609400.8151 | 1268245.7996
88 | 2609176.719 | 1268370.2932
89 | 2609162.2307 | 1268379.4133
90 | 2609160.2278 | 1268380.6741
91 | 2609141.3873 | 1268392.5338
92 | 2609206.3236 | 1268234.0859
93 | 2609219.5454 | 1268228.6411
94 | 2609233.7055 | 1268222.8098
95 | 2609219.5559 | 1268228.6367
96 | 2609406.2804 | 1268257.6536
97 | 2609252.8545 | 1268327.7573
98 | 2609252.7893 | 1268327.6686
99 | 2609255.3967 | 1268213.8771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1