## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-323_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-323_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-323_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-323_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-323_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-323_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2701-323_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2701-323_0_4_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_2701-323_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-323_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2701-323_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2701-323_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_2701-323_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_2701-323_0_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_2701-323_0_4_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_2701-323_0_4_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_2701-323_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-323_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-323_0_4_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_2701-323_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_2701-323_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2701-323_0_4_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_2701-323_0_4_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_2701-323_0_4_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_2701-323_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2701-323_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_2701-323_0_4_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_2701-323_0_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_2701-323_0_4_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_2701-323_0_4_node_106 | 0.4 | n |  | TRUE
30 | bus_LV_2701-323_0_4_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_2701-323_0_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_2701-323_0_4_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_2701-323_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2701-323_0_4_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_2701-323_0_4_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_2701-323_0_4_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_2701-323_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_2701-323_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_2701-323_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2701-323_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_2701-323_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_2701-323_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2701-323_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2701-323_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2701-323_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_2701-323_0_4_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_2701-323_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_2701-323_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_2701-323_0_4_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2701-323_0_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_2701-323_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2701-323_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2701-323_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_2701-323_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_2701-323_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_2701-323_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_2701-323_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_2701-323_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_2701-323_0_4_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_2701-323_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_2701-323_0_4_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_2701-323_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2701-323_0_4_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_2701-323_0_4_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_2701-323_0_4_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_2701-323_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_2701-323_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_2701-323_0_4_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_2701-323_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_2701-323_0_4_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_2701-323_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_2701-323_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_2701-323_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2701-323_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2701-323_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2701-323_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_2701-323_0_4_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_2701-323_0_4_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_2701-323_0_4_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_2701-323_0_4_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_2701-323_0_4_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_2701-323_0_4_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_2701-323_0_4_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_2701-323_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2701-323_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_2701-323_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_2701-323_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2701-323_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_2701-323_0_4_node_99 | 0.4 | n |  | TRUE
90 | bus_LV_2701-323_0_4_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_2701-323_0_4_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_2701-323_0_4_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_2701-323_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_2701-323_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_2701-323_0_4_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_2701-323_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_2701-323_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_2701-323_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_2701-323_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_2701-323_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_2701-323_0_4_node_100 | 0.4 | n |  | TRUE
102 | bus_MV_564_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-323_0_4_load_0 | 0 | 0.011723 | 0.0029381 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-323_0_4_load_1 | 1 | 0.060689 | 0.01521 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-323_0_4_load_4 | 3 | 0.0051556 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-323_0_4_load_5 | 4 | 0.0016391 | 0.00041079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-323_0_4_load_15 | 6 | 0.0056233 | 0.0014093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-323_0_4_load_84 | 7 | 0.011514 | 0.0028858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-323_0_4_load_20 | 10 | 0.0041845 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-323_0_4_load_56 | 11 | 0.0068117 | 0.0017072 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-323_0_4_load_60 | 12 | 0.0024145 | 0.00060513 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-323_0_4_load_61 | 13 | 0.0015105 | 0.00037857 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-323_0_4_load_58 | 14 | 0.0037932 | 0.00095066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-323_0_4_load_105 | 15 | 0.0071769 | 0.0017987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-323_0_4_load_78 | 18 | 0.0031233 | 0.00078276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-323_0_4_load_36 | 19 | 0.0025908 | 0.00064931 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-323_0_4_load_16 | 20 | 0.0070151 | 0.0017582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-323_0_4_load_82 | 21 | 0.0041118 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-323_0_4_load_87 | 22 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-323_0_4_load_85 | 23 | 0.0023455 | 0.00058785 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-323_0_4_load_18 | 24 | 0.0054422 | 0.0013639 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-323_0_4_load_54 | 25 | 0.005191 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-323_0_4_load_95 | 26 | 0.0023409 | 0.00058669 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-323_0_4_load_67 | 27 | 0.0019294 | 0.00048354 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-323_0_4_load_59 | 28 | 0.0027663 | 0.0006933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-323_0_4_load_106 | 29 | 0.017084 | 0.0042817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-323_0_4_load_70 | 30 | 0.0019636 | 0.00049212 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-323_0_4_load_69 | 31 | 0.01339 | 0.0033559 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-323_0_4_load_79 | 32 | 0.0018527 | 0.00046433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-323_0_4_load_34 | 33 | 0.0038594 | 0.00096725 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-323_0_4_load_94 | 34 | 0.0014976 | 0.00037533 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-323_0_4_load_93 | 35 | 0.0018698 | 0.00046862 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-323_0_4_load_83 | 36 | 0.0091007 | 0.0022809 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-323_0_4_load_81 | 37 | 0.012857 | 0.0032222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-323_0_4_load_52 | 38 | 0.0025786 | 0.00064625 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-323_0_4_load_51 | 39 | 0.0049374 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-323_0_4_load_17 | 40 | 0.0032273 | 0.00080884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-323_0_4_load_19 | 41 | 0.0038059 | 0.00095384 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-323_0_4_load_21 | 42 | 0.0041928 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-323_0_4_load_53 | 43 | 0.0038206 | 0.00095754 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-323_0_4_load_45 | 44 | 0.0038052 | 0.00095368 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-323_0_4_load_22 | 45 | 0.0039201 | 0.00098247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-323_0_4_load_23 | 46 | 0.0039204 | 0.00098256 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-323_0_4_load_24 | 47 | 0.0044751 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-323_0_4_load_25 | 48 | 0.0056095 | 0.0014059 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-323_0_4_load_26 | 49 | 0.0039016 | 0.00097783 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-323_0_4_load_72 | 50 | 0.0039588 | 0.00099218 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-323_0_4_load_44 | 51 | 0.0037821 | 0.00094788 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-323_0_4_load_37 | 52 | 0.0056086 | 0.0014056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-323_0_4_load_27 | 53 | 0.007033 | 0.0017626 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-323_0_4_load_28 | 54 | 0.0023271 | 0.00058323 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-323_0_4_load_30 | 56 | 0.0023305 | 0.00058409 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-323_0_4_load_31 | 57 | 0.0049037 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-323_0_4_load_32 | 58 | 0.0023776 | 0.00059588 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-323_0_4_load_104 | 59 | 0.0023278 | 0.00058341 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-323_0_4_load_64 | 60 | 0.0050594 | 0.001268 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-323_0_4_load_102 | 61 | 0.0026726 | 0.00066981 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-323_0_4_load_62 | 62 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-323_0_4_load_33 | 63 | 0.0092253 | 0.0023121 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-323_0_4_load_35 | 64 | 0.003853 | 0.00096564 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-323_0_4_load_38 | 65 | 0.0026015 | 0.00065199 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-323_0_4_load_39 | 66 | 0.0048303 | 0.0012106 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-323_0_4_load_41 | 68 | 0.0023652 | 0.00059279 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-323_0_4_load_42 | 69 | 0.0023914 | 0.00059933 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-323_0_4_load_43 | 70 | 0.0043362 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-323_0_4_load_68 | 71 | 0.0024341 | 0.00061004 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-323_0_4_load_63 | 72 | 0.0049777 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-323_0_4_load_66 | 73 | 0.0035332 | 0.0008855 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-323_0_4_load_71 | 74 | 0.0024267 | 0.0006082 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-323_0_4_load_65 | 75 | 0.0029559 | 0.00074082 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-323_0_4_load_46 | 76 | 0.0037947 | 0.00095105 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-323_0_4_load_47 | 77 | 0.0037846 | 0.00094852 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-323_0_4_load_48 | 78 | 0.0044675 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-323_0_4_load_49 | 79 | 0.0016563 | 0.00041512 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-323_0_4_load_50 | 80 | 0.004465 | 0.001119 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-323_0_4_load_57 | 81 | 0.0037873 | 0.0009492 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-323_0_4_load_55 | 82 | 0.0051962 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-323_0_4_load_96 | 83 | 0.0023507 | 0.00058914 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-323_0_4_load_73 | 84 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-323_0_4_load_74 | 85 | 0.0011857 | 0.00029716 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-323_0_4_load_75 | 86 | 0.0011753 | 0.00029456 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-323_0_4_load_76 | 87 | 0.0012592 | 0.00031559 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-323_0_4_load_77 | 88 | 0.0017882 | 0.00044816 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-323_0_4_load_99 | 89 | 0.0019132 | 0.00047949 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-323_0_4_load_103 | 90 | 0.0011843 | 0.00029681 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-323_0_4_load_80 | 91 | 0.0012552 | 0.00031458 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-323_0_4_load_98 | 92 | 0.0018597 | 0.00046607 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-323_0_4_load_92 | 93 | 0.0018493 | 0.00046348 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-323_0_4_load_86 | 94 | 0.0023437 | 0.00058738 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-323_0_4_load_88 | 95 | 0.0023431 | 0.00058724 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-323_0_4_load_97 | 96 | 0.0023514 | 0.00058931 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-323_0_4_load_89 | 97 | 0.0018686 | 0.00046831 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-323_0_4_load_90 | 98 | 0.001865 | 0.00046741 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-323_0_4_load_91 | 99 | 0.0018732 | 0.00046948 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-323_0_4_load_101 | 100 | 0.0020625 | 0.00051691 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-323_0_4_load_100 | 101 | 0.001868 | 0.00046815 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-323_0_4_line_0 |  | 0 | 1 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-323_0_4_line_1 |  | 0 | 2 | 0.032924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-323_0_4_line_2 |  | 2 | 3 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-323_0_4_line_3 |  | 2 | 4 | 0.034241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-323_0_4_line_4 |  | 2 | 5 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-323_0_4_line_5 |  | 3 | 6 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-323_0_4_line_6 |  | 4 | 7 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-323_0_4_line_7 |  | 5 | 12 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-323_0_4_line_8 |  | 5 | 13 | 0.028266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-323_0_4_line_9 |  | 5 | 14 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-323_0_4_line_10 |  | 6 | 20 | 0.017998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-323_0_4_line_11 |  | 7 | 21 | 0.014608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-323_0_4_line_12 |  | 8 | 9 | 0.11976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-323_0_4_line_13 |  | 8 | 10 | 0.023688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-323_0_4_line_14 |  | 8 | 11 | 0.021602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-323_0_4_line_15 |  | 9 | 15 | 0.050506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-323_0_4_line_16 |  | 10 | 24 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-323_0_4_line_17 |  | 11 | 25 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-323_0_4_line_18 |  | 12 | 26 | 0.0072595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-323_0_4_line_19 |  | 13 | 27 | 0.0092072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-323_0_4_line_20 |  | 14 | 28 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2701-323_0_4_line_21 |  | 15 | 29 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-323_0_4_line_22 |  | 16 | 17 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-323_0_4_line_23 |  | 16 | 18 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-323_0_4_line_24 |  | 17 | 19 | 0.026467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-323_0_4_line_25 |  | 18 | 32 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-323_0_4_line_26 |  | 19 | 33 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-323_0_4_line_27 |  | 21 | 37 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-323_0_4_line_28 |  | 22 | 23 | 0.0071483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-323_0_4_line_29 |  | 23 | 94 | 0.0071521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-323_0_4_line_30 |  | 24 | 40 | 0.0094653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-323_0_4_line_31 |  | 25 | 82 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-323_0_4_line_32 |  | 26 | 83 | 0.007154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-323_0_4_line_33 |  | 27 | 75 | 0.0013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-323_0_4_line_34 |  | 28 | 80 | 0.010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-323_0_4_line_35 |  | 30 | 31 | 0.0037002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-323_0_4_line_36 |  | 31 | 74 | 0.0046621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-323_0_4_line_37 |  | 32 | 91 | 0.0051234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-323_0_4_line_38 |  | 33 | 63 | 0.0076733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-323_0_4_line_39 |  | 34 | 35 | 0.0074622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-323_0_4_line_40 |  | 35 | 99 | 0.0079987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-323_0_4_line_41 |  | 36 | 37 | 0.0014415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-323_0_4_line_42 |  | 38 | 39 | 0.008388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-323_0_4_line_43 |  | 39 | 57 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-323_0_4_line_44 |  | 40 | 41 | 0.0034066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-323_0_4_line_45 |  | 41 | 42 | 0.0085106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-323_0_4_line_46 |  | 42 | 43 | 0.003157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-323_0_4_line_47 |  | 43 | 44 | 0.005256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-323_0_4_line_48 |  | 44 | 51 | 0.0073246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-323_0_4_line_49 |  | 45 | 46 | 0.012601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-323_0_4_line_50 |  | 45 | 47 | 0.00021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-323_0_4_line_51 |  | 46 | 48 | 0.0012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-323_0_4_line_52 |  | 47 | 49 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-323_0_4_line_53 |  | 48 | 50 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-323_0_4_line_54 |  | 49 | 51 | 0.0012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-323_0_4_line_55 |  | 50 | 52 | 0.0034263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-323_0_4_line_56 |  | 52 | 64 | 0.0092585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-323_0_4_line_57 |  | 53 | 54 | 0.0023704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-323_0_4_line_58 |  | 53 | 55 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-323_0_4_line_59 |  | 54 | 56 | 0.0079979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-323_0_4_line_60 |  | 55 | 57 | 0.0012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-323_0_4_line_61 |  | 55 | 58 | 0.011135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-323_0_4_line_62 |  | 56 | 59 | 0.0079979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-323_0_4_line_63 |  | 58 | 60 | 0.0035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-323_0_4_line_64 |  | 59 | 61 | 0.00061749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-323_0_4_line_65 |  | 60 | 62 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-323_0_4_line_66 |  | 61 | 101 | 0.0073845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-323_0_4_line_67 |  | 62 | 72 | 0.016031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-323_0_4_line_68 |  | 63 | 64 | 0.0050748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-323_0_4_line_69 |  | 65 | 66 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-323_0_4_line_70 |  | 65 | 67 | 0.00094048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-323_0_4_line_71 |  | 66 | 68 | 0.0030818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-323_0_4_line_72 |  | 67 | 69 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-323_0_4_line_73 |  | 67 | 70 | 0.0087469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-323_0_4_line_74 |  | 68 | 71 | 0.0080013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-323_0_4_line_75 |  | 69 | 72 | 0.0032623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-323_0_4_line_76 |  | 70 | 73 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-323_0_4_line_77 |  | 71 | 74 | 0.0066823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-323_0_4_line_78 |  | 73 | 75 | 0.0098729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-323_0_4_line_79 |  | 76 | 77 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2701-323_0_4_line_80 |  | 76 | 78 | 0.012275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2701-323_0_4_line_81 |  | 77 | 79 | 0.0091401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2701-323_0_4_line_82 |  | 78 | 80 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2701-323_0_4_line_83 |  | 79 | 81 | 0.0034668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2701-323_0_4_line_84 |  | 81 | 82 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2701-323_0_4_line_85 |  | 83 | 96 | 0.0071404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-323_0_4_line_86 |  | 84 | 85 | 0.0046502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-323_0_4_line_87 |  | 84 | 86 | 0.0046242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-323_0_4_line_88 |  | 85 | 87 | 0.00054478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-323_0_4_line_89 |  | 86 | 88 | 0.00036349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-323_0_4_line_90 |  | 87 | 89 | 0.0020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-323_0_4_line_91 |  | 89 | 90 | 0.0020508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-323_0_4_line_92 |  | 90 | 100 | 0.0058651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-323_0_4_line_93 |  | 91 | 92 | 0.0028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-323_0_4_line_94 |  | 92 | 93 | 0.0079395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-323_0_4_line_95 |  | 93 | 98 | 0.0079643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-323_0_4_line_96 |  | 94 | 95 | 0.0071557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-323_0_4_line_97 |  | 95 | 96 | 0.0071523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-323_0_4_line_98 |  | 97 | 98 | 0.0080013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-323_0_4_line_99 |  | 97 | 99 | 0.008001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-323_0_4_line_100 |  | 100 | 101 | 0.0001824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-323_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 102 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2609482.2977 | 1267560.2936 | 2609483.5923 | 1267546.0127 | 2609485.1236 | 1267528.98
1 | 2609479.325 | 1267593.0833 | 2609482.2977 | 1267560.2936
2 | 2609479.325 | 1267593.0833 | 2609478.0411 | 1267608.2517
3 | 2609479.325 | 1267593.0833 | 2609445.2096 | 1267590.1528
4 | 2609479.325 | 1267593.0833 | 2609487.8061 | 1267593.8195 | 2609496.3101 | 1267594.3779
5 | 2609478.0411 | 1267608.2517 | 2609476.7344 | 1267623.6887
6 | 2609426.1356 | 1267588.5144 | 2609445.2096 | 1267590.1528
7 | 2609496.3101 | 1267594.3779 | 2609495.3108 | 1267605.8656
8 | 2609496.3101 | 1267594.3779 | 2609524.515 | 1267596.2414
9 | 2609496.3101 | 1267594.3779 | 2609497.5261 | 1267580.0418
10 | 2609475.2163 | 1267641.6226 | 2609476.7344 | 1267623.6887
11 | 2609411.5808 | 1267587.2642 | 2609426.1356 | 1267588.5144
12 | 2609515.0933 | 1267450.2293 | 2609516.4562 | 1267440.4468 | 2609516.5507 | 1267433.1641 | 2609514.4778 | 1267430.3366 | 2609516.7011 | 1267404.9779 | 2609517.5295 | 1267400.0202 | 2609521.2532 | 1267396.5794 | 2609584.5969 | 1267401.5957
13 | 2609515.0933 | 1267450.2293 | 2609521.4724 | 1267452.4076 | 2609526.9367 | 1267457.0975 | 2609532.0568 | 1267465.3901
14 | 2609515.0933 | 1267450.2293 | 2609513.8994 | 1267457.8771 | 2609508.6905 | 1267467.5756 | 2609508.3352 | 1267470.4063
15 | 2609584.5969 | 1267401.5957 | 2609584.5343 | 1267403.0633 | 2609592.4127 | 1267451.4629
16 | 2609532.0568 | 1267465.3901 | 2609537.6341 | 1267474.4232
17 | 2609506.5477 | 1267484.645 | 2609508.3352 | 1267470.4063
18 | 2609494.6817 | 1267613.0978 | 2609495.3108 | 1267605.8656
19 | 2609524.515 | 1267596.2414 | 2609533.7022 | 1267596.8484
20 | 2609497.5261 | 1267580.0418 | 2609498.4258 | 1267569.4357
21 | 2609591.1383 | 1267471.1104 | 2609593.6809 | 1267467.323 | 2609594.3049 | 1267463.0877 | 2609592.4127 | 1267451.4629
22 | 2609636.3438 | 1267591.2675 | 2609628.009 | 1267588.5188 | 2609622.7661 | 1267582.028
23 | 2609636.3438 | 1267591.2675 | 2609636.0204 | 1267600.3845 | 2609638.6939 | 1267608.7149
24 | 2609622.7661 | 1267582.028 | 2609606.145 | 1267561.4314
25 | 2609638.6939 | 1267608.7149 | 2609641.9511 | 1267618.8643
26 | 2609599.5671 | 1267553.2802 | 2609606.145 | 1267561.4314
27 | 2609395.7372 | 1267585.9033 | 2609411.5808 | 1267587.2642
28 | 2609491.5832 | 1267648.7177 | 2609490.9638 | 1267655.8392
29 | 2609491.5832 | 1267648.7177 | 2609492.203 | 1267641.5925
30 | 2609542.6068 | 1267482.477 | 2609537.6341 | 1267474.4232
31 | 2609506.5477 | 1267484.645 | 2609504.9794 | 1267497.1373
32 | 2609494.6817 | 1267613.0978 | 2609494.0617 | 1267620.2249
33 | 2609535.0016 | 1267596.9342 | 2609533.7022 | 1267596.8484
34 | 2609499.2834 | 1267559.3254 | 2609498.4258 | 1267569.4357
35 | 2609601.1049 | 1267600.642 | 2609604.8021 | 1267600.4929
36 | 2609601.1049 | 1267600.642 | 2609596.4465 | 1267600.8299
37 | 2609641.9511 | 1267618.8643 | 2609643.5167 | 1267623.7426
38 | 2609599.5671 | 1267553.2802 | 2609594.7483 | 1267547.3088
39 | 2609658.8563 | 1267671.5401 | 2609656.576 | 1267664.4348
40 | 2609654.1318 | 1267656.8187 | 2609656.576 | 1267664.4348
41 | 2609395.7372 | 1267585.9033 | 2609394.301 | 1267585.7799
42 | 2609557.9687 | 1267680.0049 | 2609557.1242 | 1267688.3502
43 | 2609559.5704 | 1267664.1785 | 2609557.9687 | 1267680.0049
44 | 2609542.6068 | 1267482.477 | 2609543.182 | 1267483.4086 | 2609544.6337 | 1267485.2076
45 | 2609549.9784 | 1267491.8306 | 2609544.6337 | 1267485.2076
46 | 2609551.9611 | 1267494.2875 | 2609549.9784 | 1267491.8306
47 | 2609551.9611 | 1267494.2875 | 2609555.2618 | 1267498.3777
48 | 2609559.8617 | 1267504.0778 | 2609555.2618 | 1267498.3777
49 | 2609567.774 | 1267513.8826 | 2609575.6873 | 1267523.6887
50 | 2609567.774 | 1267513.8826 | 2609567.6396 | 1267513.7161
51 | 2609576.4866 | 1267524.6791 | 2609575.6873 | 1267523.6887
52 | 2609567.6396 | 1267513.7161 | 2609560.6543 | 1267505.06
53 | 2609583.5952 | 1267533.488 | 2609576.4866 | 1267524.6791
54 | 2609559.8617 | 1267504.0778 | 2609560.6543 | 1267505.06
55 | 2609583.5952 | 1267533.488 | 2609585.7469 | 1267536.1544
56 | 2609591.5612 | 1267543.3595 | 2609585.7469 | 1267536.1544
57 | 2609573.6519 | 1267664.0664 | 2609576.015 | 1267664.2517
58 | 2609559.6925 | 1267662.9719 | 2609573.6519 | 1267664.0664
59 | 2609576.015 | 1267664.2517 | 2609583.9884 | 1267664.8769
60 | 2609559.6925 | 1267662.9719 | 2609559.5704 | 1267664.1785
61 | 2609559.6925 | 1267662.9719 | 2609560.8129 | 1267651.8935
62 | 2609583.9884 | 1267664.8769 | 2609591.9618 | 1267665.5021
63 | 2609561.1707 | 1267648.3547 | 2609560.8129 | 1267651.8935
64 | 2609592.5774 | 1267665.5504 | 2609591.9618 | 1267665.5021
65 | 2609562.7719 | 1267632.5215 | 2609561.1707 | 1267648.3547
66 | 2609599.9393 | 1267666.1277 | 2609592.5774 | 1267665.5504
67 | 2609562.7719 | 1267632.5215 | 2609564.385 | 1267616.5716
68 | 2609591.5612 | 1267543.3595 | 2609594.7483 | 1267547.3088
69 | 2609578.7303 | 1267600.1143 | 2609567.0995 | 1267599.0766
70 | 2609567.0995 | 1267599.0766 | 2609566.1627 | 1267598.993
71 | 2609578.7303 | 1267600.1143 | 2609581.7999 | 1267600.3881
72 | 2609566.1627 | 1267598.993 | 2609564.7132 | 1267613.3258
73 | 2609566.1627 | 1267598.993 | 2609557.4348 | 1267598.4164
74 | 2609589.7696 | 1267601.0992 | 2609581.7999 | 1267600.3881
75 | 2609564.385 | 1267616.5716 | 2609564.7132 | 1267613.3258
76 | 2609544.853 | 1267597.5851 | 2609557.4348 | 1267598.4164
77 | 2609589.7696 | 1267601.0992 | 2609589.7696 | 1267601.0992 | 2609596.4465 | 1267600.8299
78 | 2609535.0016 | 1267596.9342 | 2609544.853 | 1267597.5851
79 | 2609502.3957 | 1267522.6349 | 2609501.331 | 1267535.1872
80 | 2609500.2935 | 1267547.4183 | 2609501.331 | 1267535.1872
81 | 2609502.3957 | 1267522.6349 | 2609503.1683 | 1267513.5275
82 | 2609500.2935 | 1267547.4183 | 2609499.2834 | 1267559.3254
83 | 2609503.4613 | 1267510.0732 | 2609503.1683 | 1267513.5275
84 | 2609503.4613 | 1267510.0732 | 2609503.6818 | 1267507.4733 | 2609504.9794 | 1267497.1373
85 | 2609493.443 | 1267627.3384 | 2609494.0617 | 1267620.2249
86 | 2609615.239 | 1267667.3273 | 2609610.6031 | 1267666.9638
87 | 2609615.239 | 1267667.3273 | 2609619.8491 | 1267667.6888
88 | 2609610.6031 | 1267666.9638 | 2609610.06 | 1267666.9212
89 | 2609620.2114 | 1267667.7172 | 2609619.8491 | 1267667.6888
90 | 2609608.0128 | 1267666.7607 | 2609610.06 | 1267666.9212
91 | 2609608.0128 | 1267666.7607 | 2609605.9683 | 1267666.6004
92 | 2609605.9683 | 1267666.6004 | 2609600.1212 | 1267666.1419
93 | 2609643.5167 | 1267623.7426 | 2609644.382 | 1267626.4387
94 | 2609644.382 | 1267626.4387 | 2609646.8081 | 1267633.9984
95 | 2609649.2418 | 1267641.5818 | 2609646.8081 | 1267633.9984
96 | 2609492.203 | 1267641.5925 | 2609492.8231 | 1267634.4638
97 | 2609493.443 | 1267627.3384 | 2609492.8231 | 1267634.4638
98 | 2609651.6868 | 1267649.2004 | 2609649.2418 | 1267641.5818
99 | 2609651.6868 | 1267649.2004 | 2609654.1318 | 1267656.8187
100 | 2609600.1212 | 1267666.1419 | 2609599.9393 | 1267666.1277

## bus_geodata
| x | y | coords
0 | 2609482.2977 | 1267560.2936
1 | 2609485.1236 | 1267528.98
2 | 2609479.325 | 1267593.0833
3 | 2609478.0411 | 1267608.2517
4 | 2609445.2096 | 1267590.1528
5 | 2609496.3101 | 1267594.3779
6 | 2609476.7344 | 1267623.6887
7 | 2609426.1356 | 1267588.5144
8 | 2609515.0933 | 1267450.2293
9 | 2609584.5969 | 1267401.5957
10 | 2609532.0568 | 1267465.3901
11 | 2609508.3352 | 1267470.4063
12 | 2609495.3108 | 1267605.8656
13 | 2609524.515 | 1267596.2414
14 | 2609497.5261 | 1267580.0418
15 | 2609592.4127 | 1267451.4629
16 | 2609636.3438 | 1267591.2675
17 | 2609622.7661 | 1267582.028
18 | 2609638.6939 | 1267608.7149
19 | 2609606.145 | 1267561.4314
20 | 2609475.2163 | 1267641.6226
21 | 2609411.5808 | 1267587.2642
22 | 2609490.9638 | 1267655.8392
23 | 2609491.5832 | 1267648.7177
24 | 2609537.6341 | 1267474.4232
25 | 2609506.5477 | 1267484.645
26 | 2609494.6817 | 1267613.0978
27 | 2609533.7022 | 1267596.8484
28 | 2609498.4258 | 1267569.4357
29 | 2609591.1383 | 1267471.1104
30 | 2609604.8021 | 1267600.4929
31 | 2609601.1049 | 1267600.642
32 | 2609641.9511 | 1267618.8643
33 | 2609599.5671 | 1267553.2802
34 | 2609658.8563 | 1267671.5401
35 | 2609656.576 | 1267664.4348
36 | 2609394.301 | 1267585.7799
37 | 2609395.7372 | 1267585.9033
38 | 2609557.1242 | 1267688.3502
39 | 2609557.9687 | 1267680.0049
40 | 2609542.6068 | 1267482.477
41 | 2609544.6337 | 1267485.2076
42 | 2609549.9784 | 1267491.8307
43 | 2609551.9611 | 1267494.2875
44 | 2609555.2618 | 1267498.3777
45 | 2609567.774 | 1267513.8826
46 | 2609575.6873 | 1267523.6887
47 | 2609567.6396 | 1267513.7161
48 | 2609576.4866 | 1267524.6791
49 | 2609560.6543 | 1267505.06
50 | 2609583.5952 | 1267533.488
51 | 2609559.8617 | 1267504.0778
52 | 2609585.7469 | 1267536.1544
53 | 2609573.6519 | 1267664.0664
54 | 2609576.015 | 1267664.2517
55 | 2609559.6925 | 1267662.9719
56 | 2609583.9884 | 1267664.8769
57 | 2609559.5704 | 1267664.1785
58 | 2609560.8129 | 1267651.8935
59 | 2609591.9618 | 1267665.5021
60 | 2609561.1707 | 1267648.3547
61 | 2609592.5774 | 1267665.5504
62 | 2609562.7719 | 1267632.5215
63 | 2609594.7483 | 1267547.3088
64 | 2609591.5613 | 1267543.3595
65 | 2609567.0995 | 1267599.0766
66 | 2609578.7303 | 1267600.1143
67 | 2609566.1627 | 1267598.993
68 | 2609581.7999 | 1267600.3881
69 | 2609564.7132 | 1267613.3258
70 | 2609557.4348 | 1267598.4164
71 | 2609589.7696 | 1267601.0992
72 | 2609564.385 | 1267616.5716
73 | 2609544.853 | 1267597.5851
74 | 2609596.4465 | 1267600.8299
75 | 2609535.0016 | 1267596.9342
76 | 2609501.331 | 1267535.1872
77 | 2609502.3957 | 1267522.6349
78 | 2609500.2935 | 1267547.4183
79 | 2609503.1683 | 1267513.5275
80 | 2609499.2834 | 1267559.3254
81 | 2609503.4613 | 1267510.0732
82 | 2609504.9794 | 1267497.1373
83 | 2609494.0617 | 1267620.2249
84 | 2609615.239 | 1267667.3273
85 | 2609610.6031 | 1267666.9638
86 | 2609619.8491 | 1267667.6888
87 | 2609610.06 | 1267666.9212
88 | 2609620.2114 | 1267667.7172
89 | 2609608.0128 | 1267666.7607
90 | 2609605.9683 | 1267666.6004
91 | 2609643.5167 | 1267623.7426
92 | 2609644.382 | 1267626.4387
93 | 2609646.8081 | 1267633.9984
94 | 2609492.203 | 1267641.5925
95 | 2609492.8231 | 1267634.4638
96 | 2609493.443 | 1267627.3384
97 | 2609651.6868 | 1267649.2004
98 | 2609649.2418 | 1267641.5818
99 | 2609654.1318 | 1267656.8187
100 | 2609600.1212 | 1267666.1419
101 | 2609599.9393 | 1267666.1277
102 | 2609566.1627 | 1267598.993

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1