## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-327_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-327_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-327_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-327_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-327_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2701-327_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2701-327_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2701-327_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-327_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-327_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2701-327_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2701-327_0_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_2701-327_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2701-327_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_2701-327_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_2701-327_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2701-327_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-327_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-327_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-327_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2701-327_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2701-327_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2701-327_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2701-327_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_2701-327_0_3_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_2701-327_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_2701-327_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2701-327_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2701-327_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-327_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2701-327_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2701-327_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_2701-327_0_3_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_2701-327_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2701-327_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2701-327_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_2701-327_0_3_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_2701-327_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2701-327_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_2701-327_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2701-327_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2701-327_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2701-327_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2701-327_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2701-327_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2701-327_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2701-327_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_2701-327_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_2701-327_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2701-327_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_2701-327_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_2701-327_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_2701-327_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_2701-327_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2701-327_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_2701-327_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_2701-327_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2701-327_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_2701-327_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2701-327_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_2701-327_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2701-327_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_2701-327_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2701-327_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_MV_564_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-327_0_3_load_0 | 0 | 0.0091616 | 0.0022961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-327_0_3_load_1 | 1 | 0.0062483 | 0.001566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-327_0_3_load_2 | 2 | 0.0037258 | 0.00093376 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-327_0_3_load_3 | 3 | 0.0037203 | 0.0009324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-327_0_3_load_14 | 4 | 0.0062532 | 0.0015672 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-327_0_3_load_12 | 5 | 0.0029618 | 0.00074229 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-327_0_3_load_5 | 6 | 0.005645 | 0.0014148 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-327_0_3_load_6 | 7 | 0.0082801 | 0.0020752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-327_0_3_load_7 | 8 | 0.0062581 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-327_0_3_load_8 | 9 | 0.0075311 | 0.0018875 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-327_0_3_load_9 | 10 | 0.0032352 | 0.00081083 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-327_0_3_load_22 | 12 | 0.0096409 | 0.0024162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-327_0_3_load_40 | 13 | 0.0039787 | 0.00099715 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-327_0_3_load_10 | 16 | 0.010143 | 0.002542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-327_0_3_load_11 | 17 | 0.0029615 | 0.00074221 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-327_0_3_load_13 | 18 | 0.0049778 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-327_0_3_load_18 | 19 | 0.0029598 | 0.00074179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-327_0_3_load_19 | 20 | 0.0029575 | 0.00074122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-327_0_3_load_25 | 21 | 0.010759 | 0.0026964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-327_0_3_load_26 | 22 | 0.010926 | 0.0027383 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-327_0_3_load_69 | 23 | 0.0041503 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-327_0_3_load_70 | 24 | 0.0018918 | 0.00047413 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-327_0_3_load_49 | 25 | 0.0016389 | 0.00041075 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-327_0_3_load_48 | 26 | 0.0015912 | 0.0003988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-327_0_3_load_20 | 27 | 0.0078363 | 0.001964 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-327_0_3_load_23 | 28 | 0.0071717 | 0.0017974 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-327_0_3_load_24 | 29 | 0.006072 | 0.0015218 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-327_0_3_load_31 | 30 | 0.005664 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-327_0_3_load_47 | 31 | 0.0060895 | 0.0015262 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-327_0_3_load_46 | 32 | 0.0132 | 0.0033082 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-327_0_3_load_27 | 33 | 0.0022771 | 0.00057071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-327_0_3_load_50 | 35 | 0.0016544 | 0.00041464 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-327_0_3_load_51 | 36 | 0.001145 | 0.00028696 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-327_0_3_load_55 | 37 | 0.0050454 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-327_0_3_load_65 | 38 | 0.0012196 | 0.00030565 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-327_0_3_load_41 | 39 | 0.0067898 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-327_0_3_load_43 | 40 | 0.016716 | 0.0041893 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-327_0_3_load_44 | 41 | 0.007928 | 0.0019869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-327_0_3_load_34 | 42 | 0.008167 | 0.0020469 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-327_0_3_load_35 | 43 | 0.003404 | 0.00085313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-327_0_3_load_37 | 44 | 0.0034051 | 0.00085339 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-327_0_3_load_42 | 45 | 0.0052695 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-327_0_3_load_52 | 46 | 0.0076516 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-327_0_3_load_53 | 47 | 0.0014299 | 0.00035836 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-327_0_3_load_61 | 48 | 0.017091 | 0.0042835 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-327_0_3_load_45 | 50 | 0.0061009 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-327_0_3_load_56 | 51 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-327_0_3_load_64 | 52 | 0.00103 | 0.00025815 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-327_0_3_load_54 | 53 | 0.0014037 | 0.0003518 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-327_0_3_load_63 | 54 | 0.0010302 | 0.0002582 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-327_0_3_load_66 | 55 | 0.00098285 | 0.00024633 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-327_0_3_load_57 | 56 | 0.0085595 | 0.0021452 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-327_0_3_load_58 | 57 | 0.0082934 | 0.0020785 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-327_0_3_load_60 | 58 | 0.0014123 | 0.00035395 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-327_0_3_load_62 | 59 | 0.0019875 | 0.00049811 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-327_0_3_load_67 | 60 | 0.0019401 | 0.00048624 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-327_0_3_load_72 | 61 | 0.001797 | 0.00045036 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-327_0_3_load_68 | 62 | 0.0012605 | 0.0003159 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-327_0_3_load_73 | 63 | 0.0018361 | 0.00046018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-327_0_3_line_0 |  | 0 | 1 | 1.2153e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-327_0_3_line_1 |  | 0 | 2 | 0.0033022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-327_0_3_line_2 |  | 1 | 3 | 0.004689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-327_0_3_line_3 |  | 3 | 4 | 0.0079116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-327_0_3_line_4 |  | 4 | 5 | 8.9771e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-327_0_3_line_5 |  | 5 | 16 | 0.0017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-327_0_3_line_6 |  | 6 | 7 | 0.017408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2701-327_0_3_line_7 |  | 6 | 8 | 0.001571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-327_0_3_line_8 |  | 7 | 9 | 0.00022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-327_0_3_line_9 |  | 8 | 10 | 0.0085211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2701-327_0_3_line_10 |  | 9 | 11 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-327_0_3_line_11 |  | 10 | 12 | 0.0093903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-327_0_3_line_12 |  | 11 | 13 | 0.021538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-327_0_3_line_13 |  | 11 | 14 | 0.017845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-327_0_3_line_14 |  | 12 | 15 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-327_0_3_line_15 |  | 13 | 39 | 0.0093955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-327_0_3_line_16 |  | 14 | 34 | 0.008067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-327_0_3_line_17 |  | 14 | 33 | 0.0057355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-327_0_3_line_18 |  | 15 | 28 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-327_0_3_line_19 |  | 15 | 29 | 0.028204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-327_0_3_line_20 |  | 15 | 27 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-327_0_3_line_21 |  | 16 | 17 | 0.00624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-327_0_3_line_22 |  | 17 | 18 | 0.0045063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-327_0_3_line_23 |  | 18 | 19 | 0.0034912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-327_0_3_line_24 |  | 19 | 20 | 0.0079982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-327_0_3_line_25 |  | 20 | 27 | 0.0037785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-327_0_3_line_26 |  | 21 | 22 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-327_0_3_line_27 |  | 22 | 33 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-327_0_3_line_28 |  | 23 | 24 | 0.0080246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-327_0_3_line_29 |  | 24 | 62 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-327_0_3_line_30 |  | 25 | 26 | 0.0079128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-327_0_3_line_31 |  | 26 | 34 | 0.026344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-327_0_3_line_32 |  | 28 | 30 | 0.00040769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-327_0_3_line_33 |  | 29 | 31 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-327_0_3_line_34 |  | 31 | 32 | 0.00099317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-327_0_3_line_35 |  | 32 | 50 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-327_0_3_line_36 |  | 34 | 35 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-327_0_3_line_37 |  | 34 | 36 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-327_0_3_line_38 |  | 35 | 37 | 0.0059608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-327_0_3_line_39 |  | 36 | 38 | 0.0052559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-327_0_3_line_40 |  | 37 | 51 | 0.015876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-327_0_3_line_41 |  | 38 | 52 | 0.005163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-327_0_3_line_42 |  | 39 | 45 | 0.008401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-327_0_3_line_43 |  | 40 | 41 | 0.0025645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-327_0_3_line_44 |  | 41 | 50 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-327_0_3_line_45 |  | 42 | 43 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-327_0_3_line_46 |  | 43 | 44 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-327_0_3_line_47 |  | 44 | 45 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-327_0_3_line_48 |  | 46 | 47 | 0.020582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-327_0_3_line_49 |  | 47 | 53 | 0.0064659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-327_0_3_line_50 |  | 48 | 49 | 0.034292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-327_0_3_line_51 |  | 49 | 58 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-327_0_3_line_52 |  | 49 | 59 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-327_0_3_line_53 |  | 49 | 57 | 0.036268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-327_0_3_line_54 |  | 51 | 56 | 0.003175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-327_0_3_line_55 |  | 52 | 55 | 0.0053093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-327_0_3_line_56 |  | 53 | 54 | 0.0054093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-327_0_3_line_57 |  | 54 | 55 | 0.004942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-327_0_3_line_58 |  | 56 | 57 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-327_0_3_line_59 |  | 58 | 60 | 0.0031629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-327_0_3_line_60 |  | 59 | 61 | 0.0075956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-327_0_3_line_61 |  | 60 | 62 | 0.0033393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-327_0_3_line_62 |  | 61 | 63 | 0.0077644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-327_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 64 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2609285.5879 | 1266114.3547 | 2609285.576 | 1266114.3522
1 | 2609285.576 | 1266114.3522 | 2609282.345 | 1266113.67
2 | 2609285.5879 | 1266114.3547 | 2609290.1757 | 1266115.3234
3 | 2609297.9167 | 1266116.958 | 2609290.1757 | 1266115.3234
4 | 2609298.0045 | 1266116.9765 | 2609297.9167 | 1266116.958
5 | 2609299.7283 | 1266117.3405 | 2609298.0045 | 1266116.9765
6 | 2609332.9712 | 1266162.422 | 2609332.7408 | 1266163.5207 | 2609330.146 | 1266179.5976
7 | 2609332.9712 | 1266162.422 | 2609333.2936 | 1266160.8845
8 | 2609330.1098 | 1266179.8221 | 2609330.146 | 1266179.5976
9 | 2609335.0423 | 1266152.5448 | 2609333.2936 | 1266160.8845
10 | 2609326.8718 | 1266200.0036 | 2609327.0696 | 1266198.6585 | 2609330.1098 | 1266179.8221
11 | 2609335.0423 | 1266152.5448 | 2609336.9695 | 1266143.3544
12 | 2609326.8718 | 1266200.0036 | 2609347.9698 | 1266204.3357
13 | 2609326.8718 | 1266200.0036 | 2609321.34 | 1266199.072 | 2609309.2153 | 1266197.0739
14 | 2609340.614 | 1266125.9736 | 2609336.9695 | 1266143.3544
15 | 2609347.9698 | 1266204.3357 | 2609357.1732 | 1266206.2255
16 | 2609309.2153 | 1266197.0739 | 2609309.078 | 1266198.1744 | 2609307.5618 | 1266204.9657
17 | 2609309.2153 | 1266197.0739 | 2609303.5364 | 1266196.2699
18 | 2609340.614 | 1266125.9736 | 2609343.8432 | 1266112.9353
19 | 2609340.614 | 1266125.9736 | 2609367.7441 | 1266133.681
20 | 2609340.614 | 1266125.9736 | 2609325.1813 | 1266122.715
21 | 2609299.7283 | 1266117.3405 | 2609305.8337 | 1266118.6297
22 | 2609310.2428 | 1266119.5607 | 2609305.8337 | 1266118.6297
23 | 2609310.2428 | 1266119.5607 | 2609313.6587 | 1266120.2819
24 | 2609321.4844 | 1266121.9343 | 2609313.6587 | 1266120.2819
25 | 2609321.4844 | 1266121.9343 | 2609325.1813 | 1266122.715
26 | 2609271.2647 | 1266191.7012 | 2609290.5516 | 1266194.4316
27 | 2609303.5364 | 1266196.2699 | 2609290.5516 | 1266194.4316
28 | 2609246.8319 | 1266282.8664 | 2609254.7077 | 1266284.4045
29 | 2609270.9763 | 1266287.5816 | 2609254.7077 | 1266284.4045
30 | 2609281.4821 | 1266201.2414 | 2609273.6488 | 1266200.1228
31 | 2609307.5618 | 1266204.9657 | 2609281.4821 | 1266201.2414
32 | 2609343.9412 | 1266112.5395 | 2609343.8432 | 1266112.9353
33 | 2609382.0634 | 1266137.7489 | 2609367.7441 | 1266133.681
34 | 2609383.0188 | 1266138.0203 | 2609382.0634 | 1266137.7489
35 | 2609383.0188 | 1266138.0203 | 2609396.4157 | 1266141.8262
36 | 2609307.5618 | 1266204.9657 | 2609305.2529 | 1266215.2989
37 | 2609307.5618 | 1266204.9657 | 2609324.02 | 1266208.0523
38 | 2609305.2529 | 1266215.2989 | 2609303.953 | 1266221.1162
39 | 2609324.02 | 1266208.0523 | 2609329.1858 | 1266209.0211
40 | 2609300.4909 | 1266236.6102 | 2609303.953 | 1266221.1162
41 | 2609334.2604 | 1266209.9728 | 2609329.1858 | 1266209.0211
42 | 2609365.3901 | 1266207.9706 | 2609363.8684 | 1266207.6003 | 2609357.1732 | 1266206.2255
43 | 2609413.2286 | 1266146.6026 | 2609410.7617 | 1266145.9017
44 | 2609410.7617 | 1266145.9017 | 2609396.4157 | 1266141.8262
45 | 2609401.8492 | 1266216.8815 | 2609400.4262 | 1266216.4974 | 2609385.9335 | 1266212.9703
46 | 2609376.0553 | 1266210.5662 | 2609385.9335 | 1266212.9703
47 | 2609365.3901 | 1266207.9706 | 2609376.0553 | 1266210.5662
48 | 2609376.0508 | 1266218.7347 | 2609355.9958 | 1266214.1087
49 | 2609355.9958 | 1266214.1087 | 2609354.614 | 1266213.79 | 2609349.6527 | 1266212.8595
50 | 2609288.3436 | 1266290.9733 | 2609321.8152 | 1266298.4274
51 | 2609288.3436 | 1266290.9733 | 2609277.358 | 1266288.8279
52 | 2609288.3436 | 1266290.9733 | 2609283.7701 | 1266311.6442
53 | 2609288.3436 | 1266290.9733 | 2609296.2526 | 1266255.578
54 | 2609300.4909 | 1266236.6102 | 2609299.7985 | 1266239.7088
55 | 2609334.2604 | 1266209.9728 | 2609339.4787 | 1266210.9515
56 | 2609349.6527 | 1266212.8595 | 2609344.336 | 1266211.8624
57 | 2609339.4787 | 1266210.9515 | 2609344.336 | 1266211.8624
58 | 2609296.2526 | 1266255.578 | 2609299.7985 | 1266239.7088
59 | 2609277.358 | 1266288.8279 | 2609274.2537 | 1266288.2216
60 | 2609283.7701 | 1266311.6442 | 2609282.1293 | 1266319.0605
61 | 2609270.9763 | 1266287.5816 | 2609274.2537 | 1266288.2216
62 | 2609282.1293 | 1266319.0605 | 2609280.452 | 1266326.6416

## bus_geodata
| x | y | coords
0 | 2609285.576 | 1266114.3522
1 | 2609285.5879 | 1266114.3547
2 | 2609282.345 | 1266113.67
3 | 2609290.1757 | 1266115.3234
4 | 2609297.9167 | 1266116.958
5 | 2609298.0045 | 1266116.9765
6 | 2609332.9712 | 1266162.422
7 | 2609330.146 | 1266179.5976
8 | 2609333.2936 | 1266160.8845
9 | 2609330.1098 | 1266179.8221
10 | 2609335.0423 | 1266152.5448
11 | 2609326.8718 | 1266200.0036
12 | 2609336.9695 | 1266143.3544
13 | 2609347.9698 | 1266204.3357
14 | 2609309.2153 | 1266197.0739
15 | 2609340.614 | 1266125.9736
16 | 2609299.7283 | 1266117.3405
17 | 2609305.8337 | 1266118.6297
18 | 2609310.2428 | 1266119.5607
19 | 2609313.6587 | 1266120.2819
20 | 2609321.4844 | 1266121.9343
21 | 2609271.2647 | 1266191.7012
22 | 2609290.5516 | 1266194.4316
23 | 2609246.8319 | 1266282.8664
24 | 2609254.7077 | 1266284.4045
25 | 2609273.6488 | 1266200.1228
26 | 2609281.4821 | 1266201.2414
27 | 2609325.1813 | 1266122.715
28 | 2609343.8432 | 1266112.9353
29 | 2609367.7441 | 1266133.681
30 | 2609343.9412 | 1266112.5395
31 | 2609382.0634 | 1266137.7489
32 | 2609383.0188 | 1266138.0203
33 | 2609303.5364 | 1266196.2699
34 | 2609307.5618 | 1266204.9657
35 | 2609305.2529 | 1266215.2989
36 | 2609324.02 | 1266208.0523
37 | 2609303.953 | 1266221.1162
38 | 2609329.1858 | 1266209.0211
39 | 2609357.1732 | 1266206.2255
40 | 2609413.2286 | 1266146.6026
41 | 2609410.7617 | 1266145.9017
42 | 2609401.8492 | 1266216.8815
43 | 2609385.9335 | 1266212.9703
44 | 2609376.0553 | 1266210.5662
45 | 2609365.3901 | 1266207.9706
46 | 2609376.0508 | 1266218.7347
47 | 2609355.9958 | 1266214.1087
48 | 2609321.8152 | 1266298.4274
49 | 2609288.3436 | 1266290.9733
50 | 2609396.4157 | 1266141.8262
51 | 2609300.4909 | 1266236.6102
52 | 2609334.2604 | 1266209.9728
53 | 2609349.6527 | 1266212.8595
54 | 2609344.336 | 1266211.8624
55 | 2609339.4787 | 1266210.9515
56 | 2609299.7985 | 1266239.7088
57 | 2609296.2526 | 1266255.578
58 | 2609277.358 | 1266288.8279
59 | 2609283.7701 | 1266311.6442
60 | 2609274.2537 | 1266288.2216
61 | 2609282.1293 | 1266319.0605
62 | 2609270.9763 | 1266287.5816
63 | 2609280.452 | 1266326.6416
64 | 2609326.8718 | 1266200.0036

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1