## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-32_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-32_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2701-32_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2701-32_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2701-32_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2701-32_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_2701-32_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_2701-32_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2701-32_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2701-32_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2701-32_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_2701-32_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_2701-32_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-32_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_2701-32_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_2701-32_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_2701-32_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_2701-32_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2701-32_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2701-32_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2701-32_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_2701-32_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_2701-32_0_4_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_2701-32_0_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2701-32_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2701-32_0_4_node_5 | 0.4 | n |  | TRUE
30 | bus_LV_2701-32_0_4_node_6 | 0.4 | n |  | TRUE
31 | bus_LV_2701-32_0_4_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_2701-32_0_4_node_7 | 0.4 | n |  | TRUE
33 | bus_LV_2701-32_0_4_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_2701-32_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2701-32_0_4_node_8 | 0.4 | n |  | TRUE
36 | bus_LV_2701-32_0_4_node_9 | 0.4 | n |  | TRUE
37 | bus_LV_2701-32_0_4_node_11 | 0.4 | n |  | TRUE
38 | bus_LV_2701-32_0_4_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_2701-32_0_4_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_2701-32_0_4_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_2701-32_0_4_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_2701-32_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_2701-32_0_4_node_14 | 0.4 | n |  | TRUE
44 | bus_LV_2701-32_0_4_node_16 | 0.4 | n |  | TRUE
45 | bus_LV_2701-32_0_4_node_15 | 0.4 | n |  | TRUE
46 | bus_LV_2701-32_0_4_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_2701-32_0_4_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_2701-32_0_4_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_2701-32_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2701-32_0_4_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_2701-32_0_4_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_2701-32_0_4_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_2701-32_0_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_2701-32_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2701-32_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_2701-32_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2701-32_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2701-32_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2701-32_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_2701-32_0_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_2701-32_0_4_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_2701-32_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2701-32_0_4_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_2701-32_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2701-32_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2701-32_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2701-32_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2701-32_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2701-32_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2701-32_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2701-32_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_2701-32_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2701-32_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_2701-32_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2701-32_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2701-32_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2701-32_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_2701-32_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_2701-32_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2701-32_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2701-32_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_2701-32_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_2701-32_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2701-32_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_2701-32_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_2701-32_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_2701-32_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_2701-32_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_2701-32_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_2701-32_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_2701-32_0_4_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_2701-32_0_4_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_2701-32_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_2701-32_0_4_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_2701-32_0_4_node_102 | 0.4 | n |  | TRUE
96 | bus_LV_2701-32_0_4_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_2701-32_0_4_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_2701-32_0_4_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_2701-32_0_4_node_108 | 0.4 | n |  | TRUE
100 | bus_LV_2701-32_0_4_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_2701-32_0_4_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_2701-32_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_2701-32_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_2701-32_0_4_node_94 | 0.4 | n |  | TRUE
105 | bus_MV_559_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-32_0_4_load_0 | 0 | 0.021519 | 0.0053931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-32_0_4_load_1 | 1 | 0.014299 | 0.0035837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-32_0_4_load_2 | 2 | 0.0076999 | 0.0019298 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-32_0_4_load_3 | 3 | 0.038097 | 0.009548 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-32_0_4_load_38 | 7 | 0.0034678 | 0.00086911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-32_0_4_load_27 | 10 | 0.0022024 | 0.00055197 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-32_0_4_load_12 | 13 | 0.030849 | 0.0077315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-32_0_4_load_39 | 14 | 0.0016095 | 0.00040338 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-32_0_4_load_26 | 17 | 0.011763 | 0.0029481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-32_0_4_load_51 | 19 | 0.0066594 | 0.001669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-32_0_4_load_52 | 20 | 0.0006989 | 0.00017516 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-32_0_4_load_47 | 21 | 0.010564 | 0.0026476 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-32_0_4_load_28 | 22 | 0.0066272 | 0.0016609 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-32_0_4_load_31 | 23 | 0.0014329 | 0.00035911 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-32_0_4_load_33 | 24 | 0.0019743 | 0.00049481 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-32_0_4_load_37 | 25 | 0.0041305 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-32_0_4_load_109 | 26 | 0.0011342 | 0.00028425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-32_0_4_load_41 | 28 | 0.0031877 | 0.00079891 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-32_0_4_load_5 | 29 | 0.0036736 | 0.00092069 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-32_0_4_load_6 | 30 | 0.0027539 | 0.0006902 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-32_0_4_load_111 | 31 | 0.0029789 | 0.00074657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-32_0_4_load_7 | 32 | 0.0042084 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-32_0_4_load_97 | 33 | 0.0035174 | 0.00088153 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-32_0_4_load_8 | 35 | 0.0047588 | 0.0011927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-32_0_4_load_9 | 36 | 0.0030547 | 0.00076558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-32_0_4_load_11 | 37 | 0.0030928 | 0.00077514 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-32_0_4_load_13 | 38 | 0.0087503 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-32_0_4_load_98 | 39 | 0.0054603 | 0.0013685 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-32_0_4_load_88 | 40 | 0.0066291 | 0.0016614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-32_0_4_load_99 | 41 | 0.0030519 | 0.00076488 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-32_0_4_load_89 | 42 | 0.0028524 | 0.00071488 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-32_0_4_load_14 | 43 | 0.0025296 | 0.00063397 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-32_0_4_load_17 | 46 | 0.0029435 | 0.00073772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-32_0_4_load_42 | 49 | 0.0063631 | 0.0015947 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-32_0_4_load_21 | 50 | 0.002988 | 0.00074887 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-32_0_4_load_23 | 52 | 0.0099881 | 0.0025032 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-32_0_4_load_110 | 53 | 0.002356 | 0.00059048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-32_0_4_load_44 | 55 | 0.00049117 | 0.0001231 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-32_0_4_load_48 | 56 | 0.00053737 | 0.00013468 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-32_0_4_load_50 | 57 | 0.0023252 | 0.00058276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-32_0_4_load_64 | 58 | 0.017579 | 0.0044056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-32_0_4_load_74 | 59 | 0.0066594 | 0.001669 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-32_0_4_load_81 | 60 | 0.00059732 | 0.0001497 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-32_0_4_load_87 | 61 | 0.040047 | 0.010037 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-32_0_4_load_61 | 62 | 0.0066556 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-32_0_4_load_79 | 63 | 0.00053237 | 0.00013342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-32_0_4_load_53 | 64 | 0.00060337 | 0.00015122 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-32_0_4_load_54 | 65 | 0.00053361 | 0.00013374 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-32_0_4_load_55 | 66 | 0.00059619 | 0.00014942 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-32_0_4_load_56 | 67 | 0.00053001 | 0.00013283 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-32_0_4_load_57 | 68 | 0.0005312 | 0.00013313 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-32_0_4_load_73 | 69 | 0.00060136 | 0.00015072 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-32_0_4_load_65 | 70 | 0.00052975 | 0.00013277 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-32_0_4_load_72 | 71 | 0.000594 | 0.00014887 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-32_0_4_load_66 | 72 | 0.0005945 | 0.000149 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-32_0_4_load_58 | 73 | 0.00049149 | 0.00012318 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-32_0_4_load_59 | 74 | 0.00049064 | 0.00012297 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-32_0_4_load_62 | 76 | 0.00052584 | 0.00013179 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-32_0_4_load_63 | 77 | 0.0065117 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-32_0_4_load_80 | 78 | 0.00078404 | 0.0001965 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-32_0_4_load_77 | 80 | 0.00059803 | 0.00014988 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-32_0_4_load_78 | 81 | 0.00053328 | 0.00013365 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-32_0_4_load_67 | 82 | 0.00060528 | 0.0001517 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-32_0_4_load_68 | 83 | 0.00059817 | 0.00014991 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-32_0_4_load_69 | 84 | 0.00053397 | 0.00013382 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-32_0_4_load_71 | 86 | 0.00053102 | 0.00013309 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-32_0_4_load_75 | 87 | 0.00069536 | 0.00017427 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-32_0_4_load_82 | 88 | 0.0018489 | 0.00046337 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-32_0_4_load_83 | 90 | 0.0035169 | 0.00088142 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-32_0_4_load_106 | 91 | 0.0023729 | 0.00059471 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-32_0_4_load_96 | 92 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-32_0_4_load_95 | 93 | 0.0031125 | 0.00078008 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-32_0_4_load_105 | 94 | 0.0027021 | 0.00067721 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-32_0_4_load_104 | 96 | 0.003212 | 0.000805 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-32_0_4_load_100 | 97 | 0.0036866 | 0.00092394 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-32_0_4_load_107 | 98 | 0.003301 | 0.0008273 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-32_0_4_load_108 | 99 | 0.0040263 | 0.0010091 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-32_0_4_load_90 | 100 | 0.0017455 | 0.00043747 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-32_0_4_load_91 | 101 | 0.0028525 | 0.00071491 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-32_0_4_load_92 | 102 | 0.0011374 | 0.00028507 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-32_0_4_load_93 | 103 | 0.0011397 | 0.00028565 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-32_0_4_load_94 | 104 | 0.0022076 | 0.00055327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-32_0_4_line_0 |  | 0 | 1 | 0.0057399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-32_0_4_line_1 |  | 0 | 2 | 0.0041194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-32_0_4_line_2 |  | 1 | 3 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-32_0_4_line_3 |  | 2 | 4 | 0.034882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-32_0_4_line_4 |  | 3 | 13 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-32_0_4_line_5 |  | 4 | 15 | 0.079634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-32_0_4_line_6 |  | 5 | 6 | 0.065564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-32_0_4_line_7 |  | 5 | 7 | 0.037558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-32_0_4_line_8 |  | 6 | 28 | 0.029063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-32_0_4_line_9 |  | 6 | 27 | 0.048823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-32_0_4_line_10 |  | 7 | 14 | 0.0075956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-32_0_4_line_11 |  | 8 | 9 | 0.00748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-32_0_4_line_12 |  | 8 | 10 | 0.058189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-32_0_4_line_13 |  | 8 | 11 | 0.088697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-32_0_4_line_14 |  | 9 | 12 | 0.1869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-32_0_4_line_15 |  | 10 | 22 | 0.031112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-32_0_4_line_16 |  | 11 | 51 | 0.035006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-32_0_4_line_17 |  | 11 | 46 | 0.061042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-32_0_4_line_18 |  | 12 | 53 | 0.039563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-32_0_4_line_19 |  | 12 | 54 | 0.24596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-32_0_4_line_20 |  | 13 | 16 | 0.03068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-32_0_4_line_21 |  | 14 | 17 | 0.021255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-32_0_4_line_22 |  | 15 | 26 | 0.00992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-32_0_4_line_23 |  | 15 | 27 | 0.073784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-32_0_4_line_24 |  | 16 | 38 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2701-32_0_4_line_25 |  | 16 | 35 | 0.0086129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-32_0_4_line_26 |  | 17 | 52 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-32_0_4_line_27 |  | 17 | 48 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-32_0_4_line_28 |  | 18 | 19 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-32_0_4_line_29 |  | 18 | 20 | 0.024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-32_0_4_line_30 |  | 18 | 21 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-32_0_4_line_31 |  | 19 | 59 | 0.0049984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-32_0_4_line_32 |  | 20 | 60 | 0.00094122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-32_0_4_line_33 |  | 21 | 56 | 0.0037691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-32_0_4_line_34 |  | 23 | 24 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-32_0_4_line_35 |  | 24 | 25 | 0.026687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-32_0_4_line_36 |  | 25 | 28 | 0.0015564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-32_0_4_line_37 |  | 29 | 30 | 0.034178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-32_0_4_line_38 |  | 29 | 31 | 0.024937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-32_0_4_line_39 |  | 30 | 32 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-32_0_4_line_40 |  | 32 | 33 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-32_0_4_line_41 |  | 33 | 34 | 0.043955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-32_0_4_line_42 |  | 34 | 44 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-32_0_4_line_43 |  | 35 | 36 | 0.0095341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-32_0_4_line_44 |  | 36 | 37 | 0.0078029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-32_0_4_line_45 |  | 37 | 39 | 0.00075756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-32_0_4_line_46 |  | 38 | 40 | 0.0013625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2701-32_0_4_line_47 |  | 39 | 41 | 0.0018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-32_0_4_line_48 |  | 40 | 42 | 0.011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2701-32_0_4_line_49 |  | 41 | 96 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-32_0_4_line_50 |  | 42 | 100 | 0.0063227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2701-32_0_4_line_51 |  | 43 | 44 | 0.032176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-32_0_4_line_52 |  | 44 | 48 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-32_0_4_line_53 |  | 45 | 46 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-32_0_4_line_54 |  | 45 | 47 | 0.069289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-32_0_4_line_55 |  | 47 | 49 | 0.042854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-32_0_4_line_56 |  | 48 | 50 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-32_0_4_line_57 |  | 51 | 52 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-32_0_4_line_58 |  | 54 | 55 | 0.057082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-32_0_4_line_59 |  | 56 | 57 | 0.001221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-32_0_4_line_60 |  | 57 | 58 | 0.002717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-32_0_4_line_61 |  | 58 | 61 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-32_0_4_line_62 |  | 59 | 62 | 0.0049948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-32_0_4_line_63 |  | 60 | 63 | 0.0053191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-32_0_4_line_64 |  | 62 | 74 | 0.0049938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-32_0_4_line_65 |  | 63 | 81 | 0.00040651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-32_0_4_line_66 |  | 64 | 65 | 0.0052591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-32_0_4_line_67 |  | 64 | 66 | 0.00047143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-32_0_4_line_68 |  | 65 | 67 | 0.00048817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-32_0_4_line_69 |  | 66 | 68 | 0.0052821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-32_0_4_line_70 |  | 67 | 69 | 0.005268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-32_0_4_line_71 |  | 68 | 70 | 0.00042412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-32_0_4_line_72 |  | 69 | 71 | 0.00043389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-32_0_4_line_73 |  | 70 | 72 | 0.005295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-32_0_4_line_74 |  | 71 | 86 | 0.0053049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-32_0_4_line_75 |  | 72 | 80 | 0.00040905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-32_0_4_line_76 |  | 73 | 74 | 0.0049971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-32_0_4_line_77 |  | 75 | 76 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-32_0_4_line_78 |  | 75 | 77 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-32_0_4_line_79 |  | 76 | 78 | 0.0036028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-32_0_4_line_80 |  | 78 | 79 | 0.009508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-32_0_4_line_81 |  | 79 | 89 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-32_0_4_line_82 |  | 79 | 85 | 0.009577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-32_0_4_line_83 |  | 80 | 81 | 0.0053104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-32_0_4_line_84 |  | 82 | 83 | 0.00038521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-32_0_4_line_85 |  | 82 | 84 | 0.0053481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-32_0_4_line_86 |  | 83 | 85 | 0.015893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-32_0_4_line_87 |  | 84 | 86 | 0.00040271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-32_0_4_line_88 |  | 85 | 87 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-32_0_4_line_89 |  | 87 | 88 | 0.035832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-32_0_4_line_90 |  | 88 | 90 | 0.0090299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-32_0_4_line_91 |  | 89 | 91 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-32_0_4_line_92 |  | 90 | 92 | 0.0033956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-32_0_4_line_93 |  | 91 | 94 | 0.00013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-32_0_4_line_94 |  | 92 | 93 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-32_0_4_line_95 |  | 93 | 104 | 0.0017265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-32_0_4_line_96 |  | 94 | 98 | 0.017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-32_0_4_line_97 |  | 95 | 96 | 0.029512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-32_0_4_line_98 |  | 95 | 97 | 0.01255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-32_0_4_line_99 |  | 98 | 99 | 0.0097211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-32_0_4_line_100 |  | 100 | 101 | 0.0021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_2701-32_0_4_line_101 |  | 101 | 102 | 0.0084994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2701-32_0_4_line_102 |  | 102 | 103 | 9.021e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2701-32_0_4_line_103 |  | 103 | 104 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-32_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 105 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2612875.9056 | 1269148.7885 | 2612881.6454 | 1269148.8067
1 | 2612875.9056 | 1269148.7885 | 2612871.7862 | 1269148.7755
2 | 2612901.4155 | 1269146.9379 | 2612886.4785 | 1269148.822 | 2612881.6454 | 1269148.8067
3 | 2612836.9238 | 1269148.2476 | 2612841.8514 | 1269148.6808 | 2612871.7862 | 1269148.7755
4 | 2612901.4155 | 1269146.9379 | 2612915.0419 | 1269145.2191
5 | 2612836.9238 | 1269148.2476 | 2612786.6629 | 1269210.0161
6 | 2612832.0414 | 1269283.5104 | 2612841.0308 | 1269277.5144 | 2612858.456 | 1269288.3709 | 2612866.5579 | 1269296.1273 | 2612872.0214 | 1269302.6438 | 2612877.5828 | 1269316.0431
7 | 2612877.5828 | 1269316.0431 | 2612887.3713 | 1269309.3707 | 2612898.066 | 1269301.1548 | 2612902.1542 | 1269289.6333 | 2612902.1542 | 1269289.6333
8 | 2612832.0414 | 1269283.5104 | 2612822.2959 | 1269287.7145 | 2612808.6015 | 1269291.3097 | 2612804.367 | 1269292.004
9 | 2612823.813 | 1269243.7311 | 2612829.8936 | 1269257.1982 | 2612836.1259 | 1269266.6628 | 2612841.0308 | 1269277.5144 | 2612832.0414 | 1269283.5104
10 | 2612909.7377 | 1269290.0612 | 2612902.1542 | 1269289.6333
11 | 2612874.4273 | 1269404.0429 | 2612874.8208 | 1269399.5405 | 2612875.2109 | 1269396.606
12 | 2612875.2109 | 1269396.606 | 2612870.7618 | 1269394.2169 | 2612865.4154 | 1269389.2684 | 2612859.1455 | 1269383.3729 | 2612852.202 | 1269375.8526 | 2612843.9878 | 1269371.3761 | 2612837.0299 | 1269366.9801 | 2612833.0567 | 1269363.7248 | 2612830.7697 | 1269360.0951 | 2612830.7697 | 1269360.0951
13 | 2612936.0461 | 1269357.4216 | 2612933.6413 | 1269373.3165 | 2612929.3127 | 1269388.162 | 2612922.3453 | 1269395.0962 | 2612911.7988 | 1269397.4972 | 2612896.419 | 1269397.6972 | 2612881.9382 | 1269396.2537 | 2612875.2109 | 1269396.606
14 | 2612874.4273 | 1269404.0429 | 2612873.7631 | 1269408.4668 | 2612873.3713 | 1269412.1797 | 2612872.2351 | 1269419.171 | 2612865.2978 | 1269467.7681 | 2612865.5094 | 1269470.8263 | 2612878.8552 | 1269478.5719 | 2612897.8398 | 1269495.1804 | 2612911.2806 | 1269507.6517 | 2612914.0502 | 1269514.2069 | 2612966.6839 | 1269522.9278
15 | 2612830.7697 | 1269360.0951 | 2612806.0684 | 1269363.3107 | 2612799.8826 | 1269363.7658
16 | 2612923.9821 | 1269331.0434 | 2612923.1279 | 1269343.2168 | 2612922.9363 | 1269351.7224 | 2612936.0461 | 1269357.4216
17 | 2612936.0461 | 1269357.4216 | 2612951.8141 | 1269362.0815 | 2612967.699 | 1269371.7786 | 2612985.7199 | 1269385.2498 | 2612988.873 | 1269386.7444
18 | 2612973.1179 | 1269549.9832 | 2612964.8829 | 1269548.2751 | 2612957.4459 | 1269542.9551 | 2612962.0182 | 1269533.6474 | 2612966.6839 | 1269522.9278
19 | 2612966.6839 | 1269522.9278 | 2613036.1825 | 1269533.2762 | 2613038.7925 | 1269533.66 | 2613057.7762 | 1269536.715 | 2613064.6952 | 1269538.0978 | 2613069.6271 | 1269546.6481 | 2613073.4275 | 1269563.3572 | 2613076.9896 | 1269592.5412 | 2613082.4183 | 1269604.4171 | 2613102.1504 | 1269622.7737 | 2613106.9888 | 1269625.9088 | 2613113.5749 | 1269628.0915 | 2613150.83 | 1269622.5923
20 | 2612945.2043 | 1269139.6099 | 2612915.3351 | 1269145.1821 | 2612915.0419 | 1269145.2191
21 | 2612927.5847 | 1269297.2273 | 2612912.0742 | 1269295.1588 | 2612909.7377 | 1269290.0612
22 | 2612782.3322 | 1269218.9464 | 2612786.6629 | 1269210.0161
23 | 2612823.813 | 1269243.7311 | 2612827.1037 | 1269239.0794 | 2612829.9594 | 1269226.8102 | 2612827.56 | 1269215.9418 | 2612822.4694 | 1269210.905 | 2612810.6295 | 1269205.8537 | 2612786.6629 | 1269210.0161
24 | 2612945.2043 | 1269139.6099 | 2612937.4419 | 1269121.3102
25 | 2612945.2043 | 1269139.6099 | 2612953.6115 | 1269137.739
26 | 2612927.5847 | 1269297.2273 | 2612925.5596 | 1269316.2356
27 | 2612927.5847 | 1269297.2273 | 2612949.4083 | 1269299.1429
28 | 2612836.7488 | 1269110.9097 | 2612828.7878 | 1269101.6013
29 | 2612836.7488 | 1269110.9097 | 2612836.9464 | 1269096.0997 | 2612841.4965 | 1269087.3582
30 | 2612836.7488 | 1269110.9097 | 2612849.1487 | 1269110.7383
31 | 2612825.5391 | 1269097.8027 | 2612828.7878 | 1269101.6013
32 | 2612841.4965 | 1269087.3582 | 2612841.9311 | 1269086.5233
33 | 2612849.1487 | 1269110.7383 | 2612852.9175 | 1269110.6863
34 | 2612776.2437 | 1269292.9189 | 2612764.3831 | 1269290.5584 | 2612757.97 | 1269288.7357
35 | 2612776.2437 | 1269292.9189 | 2612784.4214 | 1269293.4591 | 2612796.8219 | 1269293.2412 | 2612802.8311 | 1269292.2559
36 | 2612804.367 | 1269292.004 | 2612802.8311 | 1269292.2559
37 | 2613039.1507 | 1269232.0329 | 2613007.0331 | 1269243.7198
38 | 2613052.4513 | 1269210.9396 | 2613039.1507 | 1269232.0329
39 | 2613007.0331 | 1269243.7198 | 2612999.0178 | 1269246.6364 | 2612989.0787 | 1269246.4145 | 2612987.0495 | 1269246.4714
40 | 2612976.7933 | 1269246.7589 | 2612987.0495 | 1269246.4714
41 | 2612942.6335 | 1269272.9207 | 2612947.8758 | 1269267.0057 | 2612960.3074 | 1269255.9695 | 2612965.1708 | 1269251.3102 | 2612973.9915 | 1269246.8374 | 2612976.7933 | 1269246.7589
42 | 2612942.6335 | 1269272.9207 | 2612951.1303 | 1269282.4126
43 | 2612953.6115 | 1269137.739 | 2612962.9179 | 1269135.668 | 2612962.9179 | 1269135.668
44 | 2612970.1957 | 1269132.8541 | 2612962.9179 | 1269135.668
45 | 2612970.9023 | 1269132.5809 | 2612970.1957 | 1269132.8541
46 | 2612936.9098 | 1269120.0558 | 2612937.4419 | 1269121.3102
47 | 2612972.6619 | 1269131.9006 | 2612970.9023 | 1269132.5809
48 | 2612936.9098 | 1269120.0558 | 2612932.5153 | 1269109.6958
49 | 2612972.6619 | 1269131.9006 | 2612981.391 | 1269128.5256 | 2612982.2567 | 1269128.1908
50 | 2612932.5153 | 1269109.6958 | 2612930.0463 | 1269103.8751
51 | 2612951.1303 | 1269282.4126 | 2612960.1883 | 1269293.2956 | 2612969.7269 | 1269308.5797
52 | 2612951.1303 | 1269282.4126 | 2612949.4083 | 1269299.1429
53 | 2613000.3542 | 1269392.1867 | 2612988.873 | 1269386.7444
54 | 2613000.3542 | 1269392.1867 | 2613006.611 | 1269393.6904 | 2613013.8048 | 1269393.3392 | 2613016.6351 | 1269392.7784 | 2613024.3686 | 1269389.96 | 2613033.8478 | 1269387.0676 | 2613041.3277 | 1269420.8746
55 | 2613041.3277 | 1269420.8746 | 2613038.8133 | 1269421.514 | 2613030.3138 | 1269423.708 | 2613023.9322 | 1269424.2277 | 2613019.8695 | 1269424.0742 | 2612999.0608 | 1269421.1474
56 | 2612949.4083 | 1269299.1429 | 2612947.0999 | 1269321.0465
57 | 2612923.9821 | 1269331.0434 | 2612925.5596 | 1269316.2356
58 | 2613150.83 | 1269622.5923 | 2613171.172 | 1269620.3136 | 2613188.3245 | 1269621.1522 | 2613207.1727 | 1269625.9117
59 | 2612852.9175 | 1269110.6863 | 2612854.1384 | 1269110.6694
60 | 2612855.6459 | 1269112.9298 | 2612854.1384 | 1269110.6694
61 | 2612855.4766 | 1269126.4782 | 2612855.6459 | 1269112.9298 | 2612855.6459 | 1269112.9298
62 | 2612822.2926 | 1269094.0068 | 2612825.5391 | 1269097.8027
63 | 2612844.3871 | 1269081.8051 | 2612841.9311 | 1269086.5233
64 | 2612819.0469 | 1269090.2117 | 2612822.2926 | 1269094.0068
65 | 2612844.3871 | 1269081.8051 | 2612844.5748 | 1269081.4445
66 | 2612852.5127 | 1269066.1947 | 2612854.9409 | 1269061.5297
67 | 2612852.295 | 1269066.6129 | 2612852.5127 | 1269066.1947
68 | 2612854.9409 | 1269061.5297 | 2612855.1663 | 1269061.0967
69 | 2612849.8562 | 1269071.2982 | 2612852.295 | 1269066.6129
70 | 2612857.5986 | 1269056.4239 | 2612855.1663 | 1269061.0967
71 | 2612849.6603 | 1269071.6744 | 2612849.8562 | 1269071.2982
72 | 2612857.5986 | 1269056.4239 | 2612857.799 | 1269056.039
73 | 2612849.6603 | 1269071.6744 | 2612847.2155 | 1269076.3712
74 | 2612860.2484 | 1269051.3334 | 2612857.799 | 1269056.039
75 | 2612847.0267 | 1269076.734 | 2612847.2155 | 1269076.3712
76 | 2612815.799 | 1269086.4141 | 2612819.0469 | 1269090.2117
77 | 2612841.5336 | 1269017.3874 | 2612851.7103 | 1269022.7576 | 2612853.5294 | 1269022.786
78 | 2612841.5336 | 1269017.3874 | 2612842.5101 | 1269011.2073 | 2612840.6008 | 1269003.3755
79 | 2612853.5294 | 1269022.786 | 2612857.1318 | 1269022.8421
80 | 2612866.6386 | 1269022.9901 | 2612857.1318 | 1269022.8421
81 | 2612866.6386 | 1269022.9901 | 2612875.8918 | 1269003.1073
82 | 2612866.6386 | 1269022.9901 | 2612870.4194 | 1269031.7934
83 | 2612847.0267 | 1269076.734 | 2612844.5748 | 1269081.4445
84 | 2612862.9036 | 1269046.2323 | 2612863.0814 | 1269045.8906
85 | 2612862.9036 | 1269046.2323 | 2612860.4343 | 1269050.9762
86 | 2612870.4194 | 1269031.7934 | 2612863.0814 | 1269045.8906
87 | 2612860.2484 | 1269051.3334 | 2612860.4343 | 1269050.9762
88 | 2612870.4194 | 1269031.7934 | 2612876.0415 | 1269034.6966 | 2612883.8694 | 1269038.5451
89 | 2612883.8694 | 1269038.5451 | 2612885.2643 | 1269039.2309 | 2612896.555 | 1269044.4146 | 2612906.404 | 1269048.1386 | 2612910.8263 | 1269058.5642
90 | 2612914.3525 | 1269066.8771 | 2612910.8263 | 1269058.5642
91 | 2612875.8918 | 1269003.1073 | 2612892.8198 | 1269009.4959
92 | 2612914.3525 | 1269066.8771 | 2612915.6785 | 1269070.003
93 | 2612892.9484 | 1269009.5444 | 2612892.8198 | 1269009.4959
94 | 2612920.4423 | 1269081.2337 | 2612915.6785 | 1269070.003
95 | 2612920.4423 | 1269081.2337 | 2612921.1164 | 1269082.8231
96 | 2612909.2286 | 1269015.6885 | 2612892.9484 | 1269009.5444
97 | 2613009.7823 | 1269117.5466 | 2612982.2567 | 1269128.1908
98 | 2613009.7823 | 1269117.5466 | 2613011.9528 | 1269122.8106 | 2613017.7009 | 1269126.5481
99 | 2612909.2286 | 1269015.6885 | 2612918.6615 | 1269013.3391
100 | 2612929.1954 | 1269101.8691 | 2612930.0463 | 1269103.8751
101 | 2612929.1954 | 1269101.8691 | 2612925.8763 | 1269094.0445
102 | 2612925.8411 | 1269093.9614 | 2612925.8763 | 1269094.0445
103 | 2612925.8411 | 1269093.9614 | 2612921.1164 | 1269082.8231

## bus_geodata
| x | y | coords
0 | 2612875.9056 | 1269148.7885
1 | 2612881.6454 | 1269148.8067
2 | 2612871.7862 | 1269148.7755
3 | 2612901.4155 | 1269146.9379
4 | 2612836.9238 | 1269148.2476
5 | 2612877.5828 | 1269316.0431
6 | 2612832.0414 | 1269283.5104
7 | 2612902.1542 | 1269289.6333
8 | 2612875.2109 | 1269396.606
9 | 2612874.4273 | 1269404.0429
10 | 2612830.7697 | 1269360.0951
11 | 2612936.0461 | 1269357.4216
12 | 2612966.6839 | 1269522.9278
13 | 2612915.0419 | 1269145.2191
14 | 2612909.7377 | 1269290.0612
15 | 2612786.6629 | 1269210.0161
16 | 2612945.2043 | 1269139.6099
17 | 2612927.5847 | 1269297.2273
18 | 2612836.7488 | 1269110.9097
19 | 2612828.7878 | 1269101.6013
20 | 2612841.4965 | 1269087.3582
21 | 2612849.1487 | 1269110.7383
22 | 2612799.8826 | 1269363.7658
23 | 2612757.97 | 1269288.7357
24 | 2612776.2437 | 1269292.9189
25 | 2612802.8311 | 1269292.2559
26 | 2612782.3322 | 1269218.9464
27 | 2612823.813 | 1269243.7311
28 | 2612804.3669 | 1269292.004
29 | 2613039.1507 | 1269232.0329
30 | 2613007.0331 | 1269243.7198
31 | 2613052.4513 | 1269210.9396
32 | 2612987.0495 | 1269246.4714
33 | 2612976.7933 | 1269246.7589
34 | 2612942.6335 | 1269272.9207
35 | 2612953.6115 | 1269137.739
36 | 2612962.9179 | 1269135.668
37 | 2612970.1957 | 1269132.8541
38 | 2612937.4419 | 1269121.3102
39 | 2612970.9023 | 1269132.5809
40 | 2612936.9098 | 1269120.0558
41 | 2612972.6619 | 1269131.9006
42 | 2612932.5153 | 1269109.6958
43 | 2612969.7269 | 1269308.5797
44 | 2612951.1303 | 1269282.4126
45 | 2613000.3542 | 1269392.1867
46 | 2612988.873 | 1269386.7444
47 | 2613041.3277 | 1269420.8746
48 | 2612949.4083 | 1269299.1429
49 | 2612999.0608 | 1269421.1474
50 | 2612947.0999 | 1269321.0465
51 | 2612923.9821 | 1269331.0434
52 | 2612925.5596 | 1269316.2356
53 | 2612973.1179 | 1269549.9832
54 | 2613150.83 | 1269622.5923
55 | 2613207.1727 | 1269625.9117
56 | 2612852.9175 | 1269110.6863
57 | 2612854.1384 | 1269110.6694
58 | 2612855.6459 | 1269112.9298
59 | 2612825.5391 | 1269097.8027
60 | 2612841.9311 | 1269086.5233
61 | 2612855.4766 | 1269126.4782
62 | 2612822.2926 | 1269094.0068
63 | 2612844.3871 | 1269081.8051
64 | 2612852.5127 | 1269066.1947
65 | 2612854.9409 | 1269061.5297
66 | 2612852.295 | 1269066.6129
67 | 2612855.1663 | 1269061.0967
68 | 2612849.8562 | 1269071.2982
69 | 2612857.5986 | 1269056.4239
70 | 2612849.6603 | 1269071.6744
71 | 2612857.799 | 1269056.039
72 | 2612847.2155 | 1269076.3712
73 | 2612815.799 | 1269086.4141
74 | 2612819.0469 | 1269090.2117
75 | 2612841.5336 | 1269017.3874
76 | 2612853.5294 | 1269022.786
77 | 2612840.6008 | 1269003.3755
78 | 2612857.1318 | 1269022.8421
79 | 2612866.6386 | 1269022.9901
80 | 2612847.0267 | 1269076.734
81 | 2612844.5748 | 1269081.4445
82 | 2612862.9036 | 1269046.2323
83 | 2612863.0814 | 1269045.8906
84 | 2612860.4343 | 1269050.9762
85 | 2612870.4194 | 1269031.7934
86 | 2612860.2484 | 1269051.3334
87 | 2612883.8694 | 1269038.5451
88 | 2612910.8263 | 1269058.5642
89 | 2612875.8918 | 1269003.1073
90 | 2612914.3525 | 1269066.8771
91 | 2612892.8198 | 1269009.4959
92 | 2612915.6785 | 1269070.003
93 | 2612920.4423 | 1269081.2337
94 | 2612892.9484 | 1269009.5444
95 | 2613009.7823 | 1269117.5466
96 | 2612982.2567 | 1269128.1908
97 | 2613017.7009 | 1269126.5481
98 | 2612909.2286 | 1269015.6885
99 | 2612918.6615 | 1269013.3391
100 | 2612930.0463 | 1269103.8751
101 | 2612929.1954 | 1269101.8691
102 | 2612925.8763 | 1269094.0445
103 | 2612925.8411 | 1269093.9614
104 | 2612921.1164 | 1269082.8231
105 | 2612945.2043 | 1269139.6099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1