## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-330_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-330_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-330_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-330_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-330_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-330_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-330_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2701-330_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2701-330_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2701-330_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2701-330_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2701-330_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2701-330_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2701-330_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2701-330_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2701-330_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2701-330_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_2701-330_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2701-330_0_4_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_2701-330_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2701-330_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_2701-330_0_4_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_2701-330_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_2701-330_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_2701-330_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_2701-330_0_4_node_141 | 0.4 | n |  | TRUE
26 | bus_LV_2701-330_0_4_node_145 | 0.4 | n |  | TRUE
27 | bus_LV_2701-330_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2701-330_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2701-330_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2701-330_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2701-330_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2701-330_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2701-330_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2701-330_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2701-330_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2701-330_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2701-330_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2701-330_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2701-330_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_2701-330_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2701-330_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2701-330_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2701-330_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2701-330_0_4_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_2701-330_0_4_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_2701-330_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_2701-330_0_4_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_2701-330_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2701-330_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2701-330_0_4_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_2701-330_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_2701-330_0_4_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_2701-330_0_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_2701-330_0_4_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_2701-330_0_4_node_108 | 0.4 | n |  | TRUE
56 | bus_LV_2701-330_0_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_2701-330_0_4_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_2701-330_0_4_node_157 | 0.4 | n |  | TRUE
59 | bus_LV_2701-330_0_4_node_158 | 0.4 | n |  | TRUE
60 | bus_LV_2701-330_0_4_node_149 | 0.4 | n |  | TRUE
61 | bus_LV_2701-330_0_4_node_150 | 0.4 | n |  | TRUE
62 | bus_LV_2701-330_0_4_node_142 | 0.4 | n |  | TRUE
63 | bus_LV_2701-330_0_4_node_144 | 0.4 | n |  | TRUE
64 | bus_LV_2701-330_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_2701-330_0_4_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_2701-330_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_2701-330_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2701-330_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_2701-330_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_2701-330_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_2701-330_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2701-330_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_2701-330_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_2701-330_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_2701-330_0_4_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_2701-330_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2701-330_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_2701-330_0_4_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_2701-330_0_4_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_2701-330_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_2701-330_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_2701-330_0_4_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_2701-330_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_2701-330_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_2701-330_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_2701-330_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_2701-330_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2701-330_0_4_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_2701-330_0_4_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_2701-330_0_4_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_2701-330_0_4_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_2701-330_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_2701-330_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_2701-330_0_4_node_115 | 0.4 | n |  | TRUE
95 | bus_LV_2701-330_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_2701-330_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_2701-330_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_2701-330_0_4_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_2701-330_0_4_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_2701-330_0_4_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_2701-330_0_4_node_116 | 0.4 | n |  | TRUE
102 | bus_LV_2701-330_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_2701-330_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_2701-330_0_4_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_2701-330_0_4_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_2701-330_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_2701-330_0_4_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_2701-330_0_4_node_128 | 0.4 | n |  | TRUE
109 | bus_LV_2701-330_0_4_node_105 | 0.4 | n |  | TRUE
110 | bus_LV_2701-330_0_4_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_2701-330_0_4_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_2701-330_0_4_node_107 | 0.4 | n |  | TRUE
113 | bus_LV_2701-330_0_4_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_2701-330_0_4_node_154 | 0.4 | n |  | TRUE
115 | bus_LV_2701-330_0_4_node_156 | 0.4 | n |  | TRUE
116 | bus_LV_2701-330_0_4_node_153 | 0.4 | n |  | TRUE
117 | bus_LV_2701-330_0_4_node_126 | 0.4 | n |  | TRUE
118 | bus_LV_2701-330_0_4_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_2701-330_0_4_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_2701-330_0_4_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_2701-330_0_4_node_113 | 0.4 | n |  | TRUE
122 | bus_LV_2701-330_0_4_node_114 | 0.4 | n |  | TRUE
123 | bus_LV_2701-330_0_4_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_2701-330_0_4_node_118 | 0.4 | n |  | TRUE
125 | bus_LV_2701-330_0_4_node_122 | 0.4 | n |  | TRUE
126 | bus_LV_2701-330_0_4_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_2701-330_0_4_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_2701-330_0_4_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_2701-330_0_4_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_2701-330_0_4_node_127 | 0.4 | n |  | TRUE
131 | bus_LV_2701-330_0_4_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_2701-330_0_4_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_2701-330_0_4_node_129 | 0.4 | n |  | TRUE
134 | bus_LV_2701-330_0_4_node_137 | 0.4 | n |  | TRUE
135 | bus_LV_2701-330_0_4_node_130 | 0.4 | n |  | TRUE
136 | bus_LV_2701-330_0_4_node_136 | 0.4 | n |  | TRUE
137 | bus_LV_2701-330_0_4_node_131 | 0.4 | n |  | TRUE
138 | bus_LV_2701-330_0_4_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_2701-330_0_4_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_2701-330_0_4_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_2701-330_0_4_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_2701-330_0_4_node_147 | 0.4 | n |  | TRUE
143 | bus_LV_2701-330_0_4_node_148 | 0.4 | n |  | TRUE
144 | bus_LV_2701-330_0_4_node_138 | 0.4 | n |  | TRUE
145 | bus_LV_2701-330_0_4_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_2701-330_0_4_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_2701-330_0_4_node_152 | 0.4 | n |  | TRUE
148 | bus_LV_2701-330_0_4_node_161 | 0.4 | n |  | TRUE
149 | bus_LV_2701-330_0_4_node_160 | 0.4 | n |  | TRUE
150 | bus_LV_2701-330_0_4_node_143 | 0.4 | n |  | TRUE
151 | bus_LV_2701-330_0_4_node_146 | 0.4 | n |  | TRUE
152 | bus_LV_2701-330_0_4_node_151 | 0.4 | n |  | TRUE
153 | bus_LV_2701-330_0_4_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_2701-330_0_4_node_164 | 0.4 | n |  | TRUE
155 | bus_LV_2701-330_0_4_node_163 | 0.4 | n |  | TRUE
156 | bus_LV_2701-330_0_4_node_159 | 0.4 | n |  | TRUE
157 | bus_LV_2701-330_0_4_node_162 | 0.4 | n |  | TRUE
158 | bus_MV_564_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-330_0_4_load_0 | 0 | 0.003753 | 0.00094059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-330_0_4_load_1 | 1 | 0.0020247 | 0.00050744 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-330_0_4_load_2 | 2 | 0.0020204 | 0.00050635 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-330_0_4_load_3 | 3 | 0.0021517 | 0.00053926 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-330_0_4_load_4 | 4 | 0.0013857 | 0.0003473 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-330_0_4_load_5 | 5 | 0.0020882 | 0.00052335 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-330_0_4_load_6 | 6 | 0.0023261 | 0.00058297 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-330_0_4_load_12 | 7 | 0.0060546 | 0.0015174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-330_0_4_load_32 | 8 | 0.0037809 | 0.00094759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-330_0_4_load_13 | 9 | 0.015498 | 0.0038841 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-330_0_4_load_7 | 10 | 0.00608 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-330_0_4_load_8 | 11 | 0.0029854 | 0.00074822 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-330_0_4_load_9 | 12 | 0.003027 | 0.00075865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-330_0_4_load_10 | 13 | 0.003811 | 0.00095513 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-330_0_4_load_11 | 14 | 0.0037582 | 0.00094188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-330_0_4_load_20 | 15 | 0.0030882 | 0.00077397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-330_0_4_load_34 | 16 | 0.0041521 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-330_0_4_load_18 | 17 | 0.00098126 | 0.00024593 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-330_0_4_load_35 | 18 | 0.0030148 | 0.00075559 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-330_0_4_load_97 | 21 | 0.0043271 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-330_0_4_load_45 | 22 | 0.0034525 | 0.00086528 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-330_0_4_load_141 | 25 | 0.0020587 | 0.00051597 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-330_0_4_load_145 | 26 | 0.0038807 | 0.0009726 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-330_0_4_load_15 | 27 | 0.0018222 | 0.00045669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-330_0_4_load_16 | 28 | 0.0014116 | 0.00035377 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-330_0_4_load_17 | 29 | 0.0036178 | 0.00090671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-330_0_4_load_19 | 30 | 0.0028808 | 0.00072198 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-330_0_4_load_21 | 31 | 0.0030496 | 0.0007643 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-330_0_4_load_29 | 32 | 0.0031624 | 0.00079257 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-330_0_4_load_22 | 34 | 0.0020783 | 0.00052087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-330_0_4_load_23 | 35 | 0.0044252 | 0.0011091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-330_0_4_load_24 | 36 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-330_0_4_load_25 | 37 | 0.0022472 | 0.00056319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-330_0_4_load_26 | 38 | 0.0020772 | 0.00052058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-330_0_4_load_43 | 39 | 0.0027707 | 0.0006944 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-330_0_4_load_27 | 40 | 0.002426 | 0.000608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-330_0_4_load_44 | 41 | 0.0044047 | 0.0011039 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-330_0_4_load_31 | 42 | 0.0047042 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-330_0_4_load_30 | 43 | 0.0022441 | 0.00056242 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-330_0_4_load_84 | 44 | 0.0034493 | 0.00086446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-330_0_4_load_98 | 45 | 0.0032804 | 0.00082215 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-330_0_4_load_82 | 46 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-330_0_4_load_46 | 48 | 0.0030804 | 0.00077201 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-330_0_4_load_47 | 49 | 0.0031704 | 0.00079458 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-330_0_4_load_73 | 50 | 0.0038254 | 0.00095874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-330_0_4_load_71 | 52 | 0.0047808 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-330_0_4_load_68 | 53 | 0.0018013 | 0.00045146 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-330_0_4_load_108 | 55 | 0.0086523 | 0.0021685 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-330_0_4_load_99 | 56 | 0.0061435 | 0.0015397 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-330_0_4_load_100 | 57 | 0.0021093 | 0.00052865 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-330_0_4_load_157 | 58 | 0.0045054 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-330_0_4_load_158 | 59 | 0.0040782 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-330_0_4_load_149 | 60 | 0.0016827 | 0.00042173 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-330_0_4_load_150 | 61 | 0.002081 | 0.00052155 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-330_0_4_load_142 | 62 | 0.00092104 | 0.00023084 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-330_0_4_load_144 | 63 | 0.010661 | 0.002672 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-330_0_4_load_70 | 64 | 0.0038205 | 0.00095751 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-330_0_4_load_91 | 65 | 0.002027 | 0.00050803 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-330_0_4_load_89 | 66 | 0.0018281 | 0.00045817 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-330_0_4_load_74 | 67 | 0.0016183 | 0.00040559 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-330_0_4_load_69 | 68 | 0.0014892 | 0.00037322 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-330_0_4_load_50 | 69 | 0.0015211 | 0.00038122 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-330_0_4_load_51 | 70 | 0.0019923 | 0.00049931 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-330_0_4_load_52 | 71 | 0.0015956 | 0.00039989 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-330_0_4_load_53 | 72 | 0.0018992 | 0.00047599 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-330_0_4_load_54 | 73 | 0.0014511 | 0.00036367 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-330_0_4_load_60 | 74 | 0.0018303 | 0.00045871 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-330_0_4_load_78 | 75 | 0.0019183 | 0.00048076 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-330_0_4_load_61 | 76 | 0.0014533 | 0.00036424 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-330_0_4_load_79 | 77 | 0.0019403 | 0.00048627 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-330_0_4_load_55 | 78 | 0.0065444 | 0.0016402 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-330_0_4_load_56 | 79 | 0.0042295 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-330_0_4_load_57 | 80 | 0.0054935 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-330_0_4_load_58 | 81 | 0.0173 | 0.0043358 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-330_0_4_load_59 | 82 | 0.0021016 | 0.0005267 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-330_0_4_load_62 | 83 | 0.0017652 | 0.00044241 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-330_0_4_load_77 | 84 | 0.0067059 | 0.0016807 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-330_0_4_load_75 | 86 | 0.001834 | 0.00045966 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-330_0_4_load_76 | 87 | 0.0019659 | 0.0004927 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-330_0_4_load_63 | 88 | 0.0024243 | 0.00060757 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-330_0_4_load_64 | 89 | 0.0023156 | 0.00058035 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-330_0_4_load_65 | 90 | 0.0027931 | 0.00070001 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-330_0_4_load_67 | 91 | 0.0023143 | 0.00058001 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-330_0_4_load_86 | 92 | 0.0043388 | 0.0010874 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-330_0_4_load_80 | 93 | 0.0027961 | 0.00070076 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-330_0_4_load_115 | 94 | 0.0022311 | 0.00055917 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-330_0_4_load_81 | 95 | 0.0021463 | 0.00053792 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-330_0_4_load_90 | 96 | 0.0018307 | 0.00045881 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-330_0_4_load_88 | 97 | 0.0019407 | 0.00048639 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-330_0_4_load_87 | 98 | 0.0019021 | 0.00047672 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-330_0_4_load_85 | 99 | 0.0018983 | 0.00047575 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-330_0_4_load_83 | 100 | 0.0019416 | 0.00048662 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-330_0_4_load_116 | 101 | 0.0019165 | 0.00048033 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-330_0_4_load_92 | 102 | 0.005745 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2701-330_0_4_load_93 | 103 | 0.0039508 | 0.00099016 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2701-330_0_4_load_94 | 104 | 0.0040086 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2701-330_0_4_load_96 | 105 | 0.0029631 | 0.00074263 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2701-330_0_4_load_109 | 106 | 0.0029586 | 0.00074149 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2701-330_0_4_load_104 | 107 | 0.0040668 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2701-330_0_4_load_128 | 108 | 0.0027781 | 0.00069626 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2701-330_0_4_load_105 | 109 | 0.0029223 | 0.0007324 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2701-330_0_4_load_101 | 110 | 0.0032461 | 0.00081355 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2701-330_0_4_load_103 | 111 | 0.0021943 | 0.00054995 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2701-330_0_4_load_107 | 112 | 0.0040006 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2701-330_0_4_load_156 | 115 | 0.0020381 | 0.00051081 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2701-330_0_4_load_153 | 116 | 0.0022475 | 0.00056328 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2701-330_0_4_load_126 | 117 | 0.0028947 | 0.00072548 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2701-330_0_4_load_110 | 118 | 0.0028158 | 0.00070571 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2701-330_0_4_load_111 | 119 | 0.0021605 | 0.00054147 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2701-330_0_4_load_112 | 120 | 0.0032635 | 0.00081792 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2701-330_0_4_load_113 | 121 | 0.0026991 | 0.00067646 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2701-330_0_4_load_114 | 122 | 0.0037256 | 0.00093374 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2701-330_0_4_load_125 | 123 | 0.0014303 | 0.00035846 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2701-330_0_4_load_118 | 124 | 0.0031052 | 0.00077823 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2701-330_0_4_load_119 | 126 | 0.0032665 | 0.00081867 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2701-330_0_4_load_117 | 127 | 0.0018098 | 0.00045358 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2701-330_0_4_load_120 | 128 | 0.0018114 | 0.00045398 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2701-330_0_4_load_121 | 129 | 0.0018576 | 0.00046556 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2701-330_0_4_load_127 | 130 | 0.0027788 | 0.00069643 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2701-330_0_4_load_123 | 131 | 0.0013994 | 0.00035072 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2701-330_0_4_load_124 | 132 | 0.0015881 | 0.00039801 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2701-330_0_4_load_129 | 133 | 0.0049685 | 0.0012452 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2701-330_0_4_load_137 | 134 | 0.0029315 | 0.00073471 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2701-330_0_4_load_130 | 135 | 0.00092092 | 0.00023081 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2701-330_0_4_load_136 | 136 | 0.0028225 | 0.00070737 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2701-330_0_4_load_131 | 137 | 0.00095904 | 0.00024036 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2701-330_0_4_load_134 | 138 | 0.0012129 | 0.00030397 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2701-330_0_4_load_132 | 139 | 0.0049398 | 0.001238 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2701-330_0_4_load_133 | 140 | 0.0012147 | 0.00030444 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2701-330_0_4_load_135 | 141 | 0.0009195 | 0.00023045 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2701-330_0_4_load_147 | 142 | 0.0012309 | 0.0003085 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2701-330_0_4_load_148 | 143 | 0.00137 | 0.00034335 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2701-330_0_4_load_140 | 145 | 0.0016338 | 0.00040947 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2701-330_0_4_load_139 | 146 | 0.0025842 | 0.00064767 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2701-330_0_4_load_152 | 147 | 0.0018611 | 0.00046643 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2701-330_0_4_load_161 | 148 | 0.0016551 | 0.00041481 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2701-330_0_4_load_160 | 149 | 0.0016308 | 0.00040871 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2701-330_0_4_load_143 | 150 | 0.00091923 | 0.00023038 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2701-330_0_4_load_146 | 151 | 0.0015042 | 0.00037699 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_2701-330_0_4_load_151 | 152 | 0.0018801 | 0.00047119 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_2701-330_0_4_load_155 | 153 | 0.0018469 | 0.00046289 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_2701-330_0_4_load_164 | 154 | 0.0021031 | 0.0005271 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_2701-330_0_4_load_163 | 155 | 0.0021099 | 0.00052879 | 0 | 0 |  | 1 | TRUE | wye
143 | LV_2701-330_0_4_load_159 | 156 | 0.0041443 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
144 | LV_2701-330_0_4_load_162 | 157 | 0.0020393 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-330_0_4_line_0 |  | 0 | 1 | 0.00086172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-330_0_4_line_1 |  | 0 | 2 | 0.0059533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-330_0_4_line_2 |  | 1 | 3 | 0.0067369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-330_0_4_line_3 |  | 2 | 4 | 0.0065662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-330_0_4_line_4 |  | 3 | 5 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-330_0_4_line_5 |  | 4 | 6 | 0.0081827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-330_0_4_line_6 |  | 5 | 7 | 0.0040048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-330_0_4_line_7 |  | 6 | 8 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-330_0_4_line_8 |  | 7 | 9 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-330_0_4_line_9 |  | 9 | 19 | 0.0088331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-330_0_4_line_10 |  | 10 | 11 | 0.0079126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-330_0_4_line_11 |  | 10 | 12 | 0.0013148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-330_0_4_line_12 |  | 11 | 13 | 0.0090472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-330_0_4_line_13 |  | 12 | 14 | 0.00011533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-330_0_4_line_14 |  | 13 | 15 | 4.8412e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-330_0_4_line_15 |  | 14 | 16 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-330_0_4_line_16 |  | 15 | 17 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-330_0_4_line_17 |  | 16 | 18 | 0.011204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-330_0_4_line_18 |  | 17 | 28 | 0.0065768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-330_0_4_line_19 |  | 18 | 48 | 0.0091182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-330_0_4_line_20 |  | 19 | 20 | 0.031333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-330_0_4_line_21 |  | 20 | 21 | 0.0046406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-330_0_4_line_22 |  | 20 | 22 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-330_0_4_line_23 |  | 21 | 54 | 0.018101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-330_0_4_line_24 |  | 22 | 41 | 0.0088749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-330_0_4_line_25 |  | 23 | 24 | 0.006791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-330_0_4_line_26 |  | 23 | 25 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-330_0_4_line_27 |  | 24 | 26 | 0.042486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-330_0_4_line_28 |  | 25 | 62 | 0.0058658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-330_0_4_line_29 |  | 26 | 63 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-330_0_4_line_30 |  | 27 | 28 | 0.0078837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-330_0_4_line_31 |  | 27 | 29 | 0.0087714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-330_0_4_line_32 |  | 29 | 30 | 0.0018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-330_0_4_line_33 |  | 30 | 31 | 0.0029361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-330_0_4_line_34 |  | 31 | 32 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-330_0_4_line_35 |  | 32 | 33 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-330_0_4_line_36 |  | 33 | 42 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-330_0_4_line_37 |  | 33 | 40 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-330_0_4_line_38 |  | 34 | 35 | 0.0063138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-330_0_4_line_39 |  | 34 | 36 | 0.0027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-330_0_4_line_40 |  | 35 | 37 | 0.0011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-330_0_4_line_41 |  | 36 | 38 | 0.0048497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-330_0_4_line_42 |  | 37 | 39 | 0.0074955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-330_0_4_line_43 |  | 38 | 40 | 0.0075953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-330_0_4_line_44 |  | 39 | 41 | 0.00031113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-330_0_4_line_45 |  | 42 | 45 | 0.016297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-330_0_4_line_46 |  | 43 | 44 | 0.0052924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2701-330_0_4_line_47 |  | 44 | 46 | 0.00062966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2701-330_0_4_line_48 |  | 45 | 47 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2701-330_0_4_line_49 |  | 46 | 100 | 0.0061032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2701-330_0_4_line_50 |  | 47 | 106 | 0.0038583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2701-330_0_4_line_51 |  | 47 | 103 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-330_0_4_line_52 |  | 49 | 50 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-330_0_4_line_53 |  | 50 | 64 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-330_0_4_line_54 |  | 51 | 52 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-330_0_4_line_55 |  | 51 | 53 | 0.025501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-330_0_4_line_56 |  | 52 | 67 | 0.028065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-330_0_4_line_57 |  | 53 | 68 | 0.0021337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-330_0_4_line_58 |  | 54 | 55 | 0.007185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-330_0_4_line_59 |  | 56 | 57 | 0.0074977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-330_0_4_line_60 |  | 57 | 110 | 0.007023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-330_0_4_line_61 |  | 58 | 59 | 0.012515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-330_0_4_line_62 |  | 59 | 156 | 0.0069606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-330_0_4_line_63 |  | 60 | 61 | 0.0067714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-330_0_4_line_64 |  | 61 | 152 | 0.002904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-330_0_4_line_65 |  | 62 | 150 | 0.004997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-330_0_4_line_66 |  | 64 | 68 | 0.0081704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-330_0_4_line_67 |  | 65 | 66 | 0.006741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-330_0_4_line_68 |  | 66 | 97 | 0.004475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-330_0_4_line_69 |  | 67 | 83 | 0.0062315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-330_0_4_line_70 |  | 69 | 70 | 0.0013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-330_0_4_line_71 |  | 69 | 71 | 0.0047441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-330_0_4_line_72 |  | 70 | 72 | 0.0038737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-330_0_4_line_73 |  | 71 | 73 | 0.00048964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-330_0_4_line_74 |  | 72 | 74 | 0.0027913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-330_0_4_line_75 |  | 73 | 75 | 0.0047134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-330_0_4_line_76 |  | 74 | 76 | 0.0024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-330_0_4_line_77 |  | 75 | 77 | 0.0012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-330_0_4_line_78 |  | 76 | 86 | 0.0041348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-330_0_4_line_79 |  | 77 | 96 | 0.0045036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-330_0_4_line_80 |  | 78 | 79 | 9.161e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-330_0_4_line_81 |  | 78 | 80 | 0.01678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-330_0_4_line_82 |  | 79 | 81 | 0.0068246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-330_0_4_line_83 |  | 80 | 82 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-330_0_4_line_84 |  | 81 | 83 | 0.00082719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-330_0_4_line_85 |  | 82 | 84 | 0.0021483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-330_0_4_line_86 |  | 84 | 85 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-330_0_4_line_87 |  | 85 | 92 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2701-330_0_4_line_88 |  | 85 | 87 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-330_0_4_line_89 |  | 85 | 89 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_2701-330_0_4_line_90 |  | 86 | 87 | 0.0068377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-330_0_4_line_91 |  | 88 | 89 | 0.0075022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_2701-330_0_4_line_92 |  | 88 | 90 | 0.001923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_2701-330_0_4_line_93 |  | 90 | 91 | 0.0047751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_2701-330_0_4_line_94 |  | 91 | 93 | 0.001589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_2701-330_0_4_line_95 |  | 92 | 94 | 0.023778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_2701-330_0_4_line_96 |  | 93 | 95 | 0.0056019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_2701-330_0_4_line_97 |  | 94 | 101 | 0.0079665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_2701-330_0_4_line_98 |  | 95 | 98 | 0.00052598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_2701-330_0_4_line_99 |  | 96 | 97 | 0.0021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-330_0_4_line_100 |  | 98 | 99 | 0.0052491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_2701-330_0_4_line_101 |  | 99 | 100 | 0.00020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_2701-330_0_4_line_102 |  | 101 | 127 | 0.0068798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_2701-330_0_4_line_103 |  | 102 | 103 | 0.0022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2701-330_0_4_line_104 |  | 102 | 104 | 0.0083927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2701-330_0_4_line_105 |  | 104 | 105 | 0.0096374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2701-330_0_4_line_106 |  | 105 | 107 | 0.0082427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2701-330_0_4_line_107 |  | 106 | 108 | 0.0062864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_2701-330_0_4_line_108 |  | 107 | 109 | 0.0024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2701-330_0_4_line_109 |  | 108 | 117 | 0.0064568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_2701-330_0_4_line_110 |  | 109 | 113 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2701-330_0_4_line_111 |  | 110 | 111 | 0.0003385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2701-330_0_4_line_112 |  | 111 | 112 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2701-330_0_4_line_113 |  | 112 | 113 | 0.0072788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2701-330_0_4_line_114 |  | 113 | 114 | 0.014405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2701-330_0_4_line_115 |  | 114 | 115 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2701-330_0_4_line_116 |  | 114 | 116 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2701-330_0_4_line_117 |  | 115 | 154 | 0.0022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2701-330_0_4_line_118 |  | 116 | 147 | 0.0067861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2701-330_0_4_line_119 |  | 117 | 130 | 0.0061446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_2701-330_0_4_line_120 |  | 118 | 119 | 0.0051849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_2701-330_0_4_line_121 |  | 118 | 120 | 0.0025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_2701-330_0_4_line_122 |  | 119 | 121 | 0.0013791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_2701-330_0_4_line_123 |  | 120 | 122 | 0.0050579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_2701-330_0_4_line_124 |  | 121 | 123 | 0.0063117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_2701-330_0_4_line_125 |  | 122 | 124 | 0.001389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_2701-330_0_4_line_126 |  | 123 | 125 | 0.017413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
127 | LV_2701-330_0_4_line_127 |  | 124 | 126 | 0.0066012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_2701-330_0_4_line_128 |  | 125 | 131 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2701-330_0_4_line_129 |  | 125 | 132 | 0.015632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2701-330_0_4_line_130 |  | 125 | 129 | 0.030954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_2701-330_0_4_line_131 |  | 126 | 130 | 0.0064658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_2701-330_0_4_line_132 |  | 127 | 128 | 0.0072468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_2701-330_0_4_line_133 |  | 128 | 129 | 0.0068331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_2701-330_0_4_line_134 |  | 131 | 133 | 0.0006548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2701-330_0_4_line_135 |  | 132 | 134 | 0.024272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2701-330_0_4_line_136 |  | 133 | 135 | 0.0058669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2701-330_0_4_line_137 |  | 134 | 136 | 0.0041589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2701-330_0_4_line_138 |  | 135 | 137 | 0.0050953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2701-330_0_4_line_139 |  | 136 | 144 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2701-330_0_4_line_140 |  | 137 | 138 | 0.0059004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2701-330_0_4_line_141 |  | 138 | 139 | 0.0055485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2701-330_0_4_line_142 |  | 139 | 140 | 0.0010525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2701-330_0_4_line_143 |  | 140 | 141 | 0.0058037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2701-330_0_4_line_144 |  | 141 | 142 | 0.0050008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2701-330_0_4_line_145 |  | 142 | 143 | 0.0056364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2701-330_0_4_line_146 |  | 143 | 151 | 0.007293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2701-330_0_4_line_147 |  | 144 | 145 | 0.00064403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2701-330_0_4_line_148 |  | 145 | 148 | 0.0063989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2701-330_0_4_line_149 |  | 146 | 147 | 0.0072099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2701-330_0_4_line_150 |  | 148 | 149 | 0.0063652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2701-330_0_4_line_151 |  | 149 | 153 | 0.0065259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2701-330_0_4_line_152 |  | 150 | 151 | 0.0059692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2701-330_0_4_line_153 |  | 152 | 153 | 0.0063665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2701-330_0_4_line_154 |  | 154 | 155 | 0.0074159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2701-330_0_4_line_155 |  | 155 | 157 | 0.0066853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2701-330_0_4_line_156 |  | 156 | 157 | 0.0037451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-330_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 158 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2609413.8633 | 1266228.4408 | 2609414.6975 | 1266228.6572
1 | 2609413.8633 | 1266228.4408 | 2609408.1007 | 1266226.9463
2 | 2609414.6975 | 1266228.6572 | 2609421.2186 | 1266230.3484
3 | 2609408.1007 | 1266226.9463 | 2609401.7448 | 1266225.2978
4 | 2609421.2186 | 1266230.3484 | 2609424.1619 | 1266231.1118 | 2609435.4889 | 1266234.6736
5 | 2609393.8241 | 1266223.2436 | 2609401.7448 | 1266225.2978
6 | 2609435.4889 | 1266234.6736 | 2609439.3093 | 1266235.8749
7 | 2609393.8241 | 1266223.2436 | 2609379.5608 | 1266219.5444 | 2609372.3689 | 1266217.8854
8 | 2609461.1619 | 1266242.7466 | 2609439.3093 | 1266235.8749
9 | 2609469.5714 | 1266245.4494 | 2609461.5129 | 1266242.857 | 2609461.1619 | 1266242.7466
10 | 2609354.1334 | 1266305.6246 | 2609361.8568 | 1266307.3446
11 | 2609354.1334 | 1266305.6246 | 2609352.8501 | 1266305.3388
12 | 2609370.6877 | 1266309.3113 | 2609361.8568 | 1266307.3446
13 | 2609352.7375 | 1266305.3138 | 2609352.8501 | 1266305.3388
14 | 2609370.6877 | 1266309.3113 | 2609370.7349 | 1266309.3218
15 | 2609352.7375 | 1266305.3138 | 2609341.8939 | 1266302.8989
16 | 2609370.7349 | 1266309.3218 | 2609381.1172 | 1266311.6339
17 | 2609341.8939 | 1266302.8989 | 2609330.958 | 1266300.4635
18 | 2609387.5367 | 1266313.0635 | 2609381.1172 | 1266311.6339
19 | 2609322.0579 | 1266298.4814 | 2609330.958 | 1266300.4635
20 | 2609469.5714 | 1266245.4494 | 2609475.0335 | 1266247.5262 | 2609478.4683 | 1266250.9674 | 2609479.3693 | 1266252.481 | 2609479.9616 | 1266254.0052 | 2609479.7577 | 1266259.1195 | 2609476.8872 | 1266265.2748 | 2609480.7659 | 1266268.9169
21 | 2609480.7659 | 1266268.9169 | 2609483.8921 | 1266272.3464
22 | 2609480.7659 | 1266268.9169 | 2609466.916 | 1266284.5575
23 | 2609499.4776 | 1266275.6069 | 2609495.908 | 1266271.7096 | 2609493.1854 | 1266270.093 | 2609489.4812 | 1266270.3428 | 2609483.8921 | 1266272.3464
24 | 2609466.916 | 1266284.5575 | 2609461.0323 | 1266291.2018
25 | 2609459.4769 | 1266524.2385 | 2609461.2037 | 1266517.67
26 | 2609461.2037 | 1266517.67 | 2609464.5306 | 1266505.006
27 | 2609459.4769 | 1266524.2385 | 2609420.0326 | 1266508.4532
28 | 2609464.5306 | 1266505.006 | 2609466.0211 | 1266499.3327
29 | 2609420.0326 | 1266508.4532 | 2609399.3961 | 1266500.1946
30 | 2609395.2319 | 1266314.7772 | 2609387.5367 | 1266313.0635
31 | 2609395.2319 | 1266314.7772 | 2609403.7936 | 1266316.6839
32 | 2609405.5866 | 1266317.0832 | 2609403.7936 | 1266316.6839
33 | 2609408.4525 | 1266317.7215 | 2609405.5866 | 1266317.0832
34 | 2609420.1117 | 1266320.318 | 2609408.4525 | 1266317.7215
35 | 2609432.7561 | 1266323.1339 | 2609420.1117 | 1266320.318
36 | 2609432.7561 | 1266323.1339 | 2609446.2913 | 1266333.5555
37 | 2609432.7561 | 1266323.1339 | 2609440.8816 | 1266313.9578
38 | 2609455.1081 | 1266297.8919 | 2609450.9224 | 1266302.6188
39 | 2609449.132 | 1266304.6407 | 2609450.9224 | 1266302.6188
40 | 2609455.8569 | 1266297.0463 | 2609455.1081 | 1266297.8919
41 | 2609445.9169 | 1266308.2715 | 2609449.132 | 1266304.6407
42 | 2609455.8569 | 1266297.0463 | 2609460.8261 | 1266291.4347
43 | 2609445.9169 | 1266308.2715 | 2609440.8816 | 1266313.9578
44 | 2609461.0323 | 1266291.2018 | 2609460.8261 | 1266291.4347
45 | 2609446.2913 | 1266333.5555 | 2609459.2043 | 1266343.4982
46 | 2609414.0983 | 1266351.1091 | 2609411.1618 | 1266355.5121
47 | 2609410.8124 | 1266356.0359 | 2609411.1618 | 1266355.5121
48 | 2609465.6574 | 1266353.8519 | 2609464.0268 | 1266347.2114 | 2609459.2043 | 1266343.4982
49 | 2609410.8124 | 1266356.0359 | 2609407.426 | 1266361.1134
50 | 2609465.6574 | 1266353.8519 | 2609466.5734 | 1266357.5999
51 | 2609465.6574 | 1266353.8519 | 2609478.2393 | 1266350.2942
52 | 2609283.9488 | 1266310.8366 | 2609281.0629 | 1266323.8803
53 | 2609281.0629 | 1266323.8803 | 2609278.0649 | 1266337.4309
54 | 2609270.33 | 1266372.3908 | 2609285.478 | 1266375.8076
55 | 2609270.33 | 1266372.3908 | 2609275.8389 | 1266347.4917
56 | 2609285.478 | 1266375.8076 | 2609312.8547 | 1266381.9827
57 | 2609275.8389 | 1266347.4917 | 2609276.2998 | 1266345.4084
58 | 2609499.4776 | 1266275.6069 | 2609501.6028 | 1266278.8904 | 2609502.7798 | 1266281.9499
59 | 2609514.3796 | 1266303.6029 | 2609516.3238 | 1266310.8441
60 | 2609518.1449 | 1266317.627 | 2609516.3238 | 1266310.8441
61 | 2609573.7835 | 1266369.1173 | 2609562.9679 | 1266362.8203
62 | 2609556.9525 | 1266359.3181 | 2609562.9679 | 1266362.8203
63 | 2609548.9512 | 1266440.7043 | 2609550.5291 | 1266447.2893
64 | 2609548.9512 | 1266440.7043 | 2609548.2745 | 1266437.8802
65 | 2609466.0211 | 1266499.3327 | 2609467.2907 | 1266494.4996
66 | 2609278.0649 | 1266337.4309 | 2609276.2998 | 1266345.4084
67 | 2609355.3585 | 1266454.599 | 2609358.3047 | 1266448.5359
68 | 2609360.2606 | 1266444.5109 | 2609358.3047 | 1266448.5359
69 | 2609312.8547 | 1266381.9827 | 2609318.9335 | 1266383.3539
70 | 2609368.0715 | 1266428.437 | 2609368.6778 | 1266427.1892
71 | 2609365.998 | 1266432.704 | 2609368.0715 | 1266428.437
72 | 2609370.3709 | 1266423.7051 | 2609368.6778 | 1266427.1892
73 | 2609365.998 | 1266432.704 | 2609365.784 | 1266433.1444
74 | 2609370.3709 | 1266423.7051 | 2609371.5909 | 1266421.1944
75 | 2609365.784 | 1266433.1444 | 2609363.7239 | 1266437.3838
76 | 2609372.6681 | 1266418.9777 | 2609371.5909 | 1266421.1944
77 | 2609363.1569 | 1266438.5507 | 2609363.7239 | 1266437.3838
78 | 2609372.6681 | 1266418.9777 | 2609374.4752 | 1266415.2587
79 | 2609363.1569 | 1266438.5507 | 2609361.1885 | 1266442.6014
80 | 2609326.3978 | 1266385.0375 | 2609326.4871 | 1266385.0577
81 | 2609326.4871 | 1266385.0577 | 2609342.8559 | 1266388.7499
82 | 2609319.7404 | 1266383.5359 | 2609326.3978 | 1266385.0375
83 | 2609342.8559 | 1266388.7499 | 2609363.2557 | 1266393.3513
84 | 2609318.9335 | 1266383.3539 | 2609319.7404 | 1266383.5359
85 | 2609363.2557 | 1266393.3513 | 2609365.3513 | 1266393.824
86 | 2609382.9609 | 1266397.796 | 2609365.3513 | 1266393.824
87 | 2609382.9609 | 1266397.796 | 2609403.1101 | 1266403.6112
88 | 2609382.9609 | 1266397.796 | 2609377.4638 | 1266409.1086
89 | 2609382.9609 | 1266397.796 | 2609392.2387 | 1266383.885
90 | 2609377.4638 | 1266409.1086 | 2609374.4752 | 1266415.2587
91 | 2609396.4013 | 1266377.6436 | 2609392.2387 | 1266383.885
92 | 2609397.4683 | 1266376.0438 | 2609396.4013 | 1266377.6436
93 | 2609397.4683 | 1266376.0438 | 2609400.1178 | 1266372.0712
94 | 2609400.9995 | 1266370.7492 | 2609400.1178 | 1266372.0712
95 | 2609425.9553 | 1266410.2046 | 2609403.1101 | 1266403.6112
96 | 2609400.9995 | 1266370.7492 | 2609404.1077 | 1266366.0888
97 | 2609433.6095 | 1266412.4136 | 2609425.9553 | 1266410.2046
98 | 2609404.1077 | 1266366.0888 | 2609404.3996 | 1266365.6512
99 | 2609360.2606 | 1266444.5109 | 2609361.1885 | 1266442.6014
100 | 2609407.3121 | 1266361.2842 | 2609404.3996 | 1266365.6512
101 | 2609407.3121 | 1266361.2842 | 2609407.426 | 1266361.1134
102 | 2609433.6095 | 1266412.4136 | 2609440.2195 | 1266414.3213
103 | 2609478.2393 | 1266350.2942 | 2609480.3698 | 1266349.6917
104 | 2609488.4459 | 1266347.4081 | 2609480.3698 | 1266349.6917
105 | 2609497.7197 | 1266344.7858 | 2609488.4459 | 1266347.4081
106 | 2609497.7197 | 1266344.7858 | 2609505.6513 | 1266342.5429
107 | 2609466.5734 | 1266357.5999 | 2609468.0658 | 1266363.7066
108 | 2609507.9961 | 1266341.8799 | 2609505.6513 | 1266342.5429
109 | 2609468.0658 | 1266363.7066 | 2609469.5987 | 1266369.9788
110 | 2609523.5283 | 1266337.6774 | 2609519.4993 | 1266338.6272 | 2609507.9961 | 1266341.8799
111 | 2609518.2327 | 1266317.9539 | 2609518.1449 | 1266317.627
112 | 2609521.6409 | 1266330.6476 | 2609518.2327 | 1266317.9539
113 | 2609523.5283 | 1266337.6774 | 2609521.6409 | 1266330.6476
114 | 2609523.5283 | 1266337.6774 | 2609527.0441 | 1266351.6483
115 | 2609527.0441 | 1266351.6483 | 2609530.1245 | 1266350.697 | 2609534.3574 | 1266349.3807 | 2609539.6122 | 1266349.2223
116 | 2609527.0441 | 1266351.6483 | 2609531.3947 | 1266369.1225
117 | 2609541.5297 | 1266350.3388 | 2609539.6122 | 1266349.2223
118 | 2609531.3947 | 1266369.1225 | 2609533.0342 | 1266375.7076
119 | 2609471.0575 | 1266375.9477 | 2609469.5987 | 1266369.9788
120 | 2609476.297 | 1266397.3863 | 2609477.5279 | 1266402.423
121 | 2609475.6902 | 1266394.9036 | 2609476.297 | 1266397.3863
122 | 2609477.8553 | 1266403.7626 | 2609477.5279 | 1266402.423
123 | 2609475.6902 | 1266394.9036 | 2609474.4895 | 1266389.9904
124 | 2609477.8553 | 1266403.7626 | 2609479.3538 | 1266409.8939
125 | 2609474.1597 | 1266388.6411 | 2609474.4895 | 1266389.9904
126 | 2609483.4878 | 1266426.8089 | 2609479.3538 | 1266409.8939
127 | 2609474.1597 | 1266388.6411 | 2609472.5925 | 1266382.2286
128 | 2609483.4878 | 1266426.8089 | 2609483.7907 | 1266430.3674 | 2609482.9328 | 1266434.9581 | 2609480.966 | 1266442.4444
129 | 2609483.4878 | 1266426.8089 | 2609498.6629 | 1266423.0563
130 | 2609483.4878 | 1266426.8089 | 2609453.7472 | 1266418.2255
131 | 2609472.5925 | 1266382.2286 | 2609471.0575 | 1266375.9477
132 | 2609440.2195 | 1266414.3213 | 2609447.1821 | 1266416.3308
133 | 2609447.1821 | 1266416.3308 | 2609453.7472 | 1266418.2255
134 | 2609480.7997 | 1266443.0777 | 2609480.966 | 1266442.4444
135 | 2609498.6629 | 1266423.0563 | 2609522.2253 | 1266417.2297
136 | 2609480.7997 | 1266443.0777 | 2609479.309 | 1266448.7521
137 | 2609526.2626 | 1266416.2313 | 2609522.2253 | 1266417.2297
138 | 2609478.0143 | 1266453.6802 | 2609479.309 | 1266448.7521
139 | 2609542.1458 | 1266412.3036 | 2609526.2626 | 1266416.2313
140 | 2609478.0143 | 1266453.6802 | 2609476.5151 | 1266459.3869
141 | 2609476.5151 | 1266459.3869 | 2609475.1053 | 1266464.7534
142 | 2609475.1053 | 1266464.7534 | 2609474.8379 | 1266465.7714
143 | 2609473.3632 | 1266471.3846 | 2609474.8379 | 1266465.7714
144 | 2609472.0926 | 1266476.2213 | 2609473.3632 | 1266471.3846
145 | 2609470.6605 | 1266481.6726 | 2609472.0926 | 1266476.2213
146 | 2609470.6605 | 1266481.6726 | 2609468.8074 | 1266488.7263
147 | 2609542.1458 | 1266412.3036 | 2609542.2958 | 1266412.9299
148 | 2609542.2958 | 1266412.9299 | 2609543.7869 | 1266419.1527
149 | 2609534.7762 | 1266382.7039 | 2609533.0342 | 1266375.7076
150 | 2609545.2702 | 1266425.3427 | 2609543.7869 | 1266419.1527
151 | 2609546.7909 | 1266431.689 | 2609545.2702 | 1266425.3427
152 | 2609468.8074 | 1266488.7263 | 2609467.2907 | 1266494.4996
153 | 2609548.2745 | 1266437.8802 | 2609546.7909 | 1266431.689
154 | 2609547.9385 | 1266354.07 | 2609541.5297 | 1266350.3388
155 | 2609547.9385 | 1266354.07 | 2609553.716 | 1266357.4337
156 | 2609556.9525 | 1266359.3181 | 2609553.716 | 1266357.4337

## bus_geodata
| x | y | coords
0 | 2609413.8633 | 1266228.4408
1 | 2609414.6975 | 1266228.6572
2 | 2609408.1007 | 1266226.9463
3 | 2609421.2186 | 1266230.3484
4 | 2609401.7448 | 1266225.2978
5 | 2609435.4889 | 1266234.6736
6 | 2609393.8241 | 1266223.2436
7 | 2609439.3093 | 1266235.8749
8 | 2609372.3689 | 1266217.8854
9 | 2609461.1619 | 1266242.7466
10 | 2609354.1334 | 1266305.6246
11 | 2609361.8568 | 1266307.3446
12 | 2609352.8501 | 1266305.3388
13 | 2609370.6877 | 1266309.3113
14 | 2609352.7375 | 1266305.3138
15 | 2609370.7349 | 1266309.3218
16 | 2609341.8939 | 1266302.8989
17 | 2609381.1172 | 1266311.6339
18 | 2609330.958 | 1266300.4635
19 | 2609469.5714 | 1266245.4494
20 | 2609480.7659 | 1266268.9169
21 | 2609483.8921 | 1266272.3464
22 | 2609466.916 | 1266284.5575
23 | 2609461.2037 | 1266517.67
24 | 2609459.4769 | 1266524.2385
25 | 2609464.5306 | 1266505.006
26 | 2609420.0326 | 1266508.4532
27 | 2609395.2319 | 1266314.7772
28 | 2609387.5367 | 1266313.0635
29 | 2609403.7936 | 1266316.6839
30 | 2609405.5865 | 1266317.0832
31 | 2609408.4525 | 1266317.7215
32 | 2609420.1117 | 1266320.318
33 | 2609432.7561 | 1266323.1339
34 | 2609450.9224 | 1266302.6188
35 | 2609455.1081 | 1266297.8919
36 | 2609449.132 | 1266304.6407
37 | 2609455.8569 | 1266297.0463
38 | 2609445.9169 | 1266308.2715
39 | 2609460.8261 | 1266291.4347
40 | 2609440.8816 | 1266313.9579
41 | 2609461.0323 | 1266291.2018
42 | 2609446.2913 | 1266333.5555
43 | 2609414.0983 | 1266351.1091
44 | 2609411.1618 | 1266355.5121
45 | 2609459.2043 | 1266343.4982
46 | 2609410.8124 | 1266356.0359
47 | 2609465.6574 | 1266353.8519
48 | 2609322.0579 | 1266298.4814
49 | 2609283.9488 | 1266310.8366
50 | 2609281.0629 | 1266323.8803
51 | 2609270.33 | 1266372.3908
52 | 2609285.478 | 1266375.8076
53 | 2609275.8389 | 1266347.4917
54 | 2609499.4776 | 1266275.6069
55 | 2609502.7798 | 1266281.9499
56 | 2609514.3796 | 1266303.6029
57 | 2609516.3238 | 1266310.8441
58 | 2609573.7835 | 1266369.1173
59 | 2609562.9679 | 1266362.8203
60 | 2609550.5291 | 1266447.2893
61 | 2609548.9512 | 1266440.7043
62 | 2609466.0211 | 1266499.3327
63 | 2609399.3961 | 1266500.1946
64 | 2609278.0649 | 1266337.4309
65 | 2609355.3585 | 1266454.599
66 | 2609358.3047 | 1266448.5359
67 | 2609312.8547 | 1266381.9827
68 | 2609276.2998 | 1266345.4084
69 | 2609368.0715 | 1266428.437
70 | 2609368.6778 | 1266427.1892
71 | 2609365.998 | 1266432.704
72 | 2609370.3709 | 1266423.7051
73 | 2609365.784 | 1266433.1444
74 | 2609371.5909 | 1266421.1944
75 | 2609363.7239 | 1266437.3838
76 | 2609372.6681 | 1266418.9777
77 | 2609363.1569 | 1266438.5507
78 | 2609326.4871 | 1266385.0577
79 | 2609326.3978 | 1266385.0375
80 | 2609342.8559 | 1266388.7499
81 | 2609319.7404 | 1266383.5359
82 | 2609363.2557 | 1266393.3513
83 | 2609318.9335 | 1266383.3539
84 | 2609365.3513 | 1266393.824
85 | 2609382.9609 | 1266397.796
86 | 2609374.4752 | 1266415.2587
87 | 2609377.4638 | 1266409.1086
88 | 2609396.4013 | 1266377.6436
89 | 2609392.2387 | 1266383.885
90 | 2609397.4683 | 1266376.0438
91 | 2609400.1178 | 1266372.0712
92 | 2609403.1101 | 1266403.6112
93 | 2609400.9995 | 1266370.7492
94 | 2609425.9553 | 1266410.2046
95 | 2609404.1077 | 1266366.0888
96 | 2609361.1885 | 1266442.6014
97 | 2609360.2606 | 1266444.5109
98 | 2609404.3996 | 1266365.6512
99 | 2609407.3121 | 1266361.2842
100 | 2609407.426 | 1266361.1134
101 | 2609433.6095 | 1266412.4136
102 | 2609480.3698 | 1266349.6917
103 | 2609478.2393 | 1266350.2942
104 | 2609488.4459 | 1266347.4081
105 | 2609497.7197 | 1266344.7858
106 | 2609466.5734 | 1266357.5999
107 | 2609505.6513 | 1266342.5429
108 | 2609468.0658 | 1266363.7066
109 | 2609507.9961 | 1266341.8799
110 | 2609518.1449 | 1266317.627
111 | 2609518.2327 | 1266317.9539
112 | 2609521.6409 | 1266330.6476
113 | 2609523.5283 | 1266337.6774
114 | 2609527.0441 | 1266351.6483
115 | 2609539.6122 | 1266349.2223
116 | 2609531.3947 | 1266369.1225
117 | 2609469.5987 | 1266369.9788
118 | 2609476.297 | 1266397.3863
119 | 2609477.5279 | 1266402.423
120 | 2609475.6902 | 1266394.9036
121 | 2609477.8553 | 1266403.7626
122 | 2609474.4895 | 1266389.9904
123 | 2609479.3538 | 1266409.8939
124 | 2609474.1597 | 1266388.6411
125 | 2609483.4878 | 1266426.8089
126 | 2609472.5925 | 1266382.2286
127 | 2609440.2195 | 1266414.3213
128 | 2609447.1821 | 1266416.3308
129 | 2609453.7472 | 1266418.2255
130 | 2609471.0575 | 1266375.9477
131 | 2609480.966 | 1266442.4444
132 | 2609498.6629 | 1266423.0563
133 | 2609480.7997 | 1266443.0777
134 | 2609522.2253 | 1266417.2297
135 | 2609479.309 | 1266448.7521
136 | 2609526.2626 | 1266416.2313
137 | 2609478.0143 | 1266453.6802
138 | 2609476.5151 | 1266459.3869
139 | 2609475.1053 | 1266464.7534
140 | 2609474.8379 | 1266465.7714
141 | 2609473.3632 | 1266471.3846
142 | 2609472.0926 | 1266476.2213
143 | 2609470.6605 | 1266481.6726
144 | 2609542.1458 | 1266412.3036
145 | 2609542.2958 | 1266412.9299
146 | 2609534.7762 | 1266382.7039
147 | 2609533.0342 | 1266375.7076
148 | 2609543.7869 | 1266419.1527
149 | 2609545.2702 | 1266425.3427
150 | 2609467.2907 | 1266494.4996
151 | 2609468.8074 | 1266488.7263
152 | 2609548.2745 | 1266437.8802
153 | 2609546.7909 | 1266431.689
154 | 2609541.5297 | 1266350.3388
155 | 2609547.9385 | 1266354.07
156 | 2609556.9525 | 1266359.3181
157 | 2609553.716 | 1266357.4337
158 | 2609432.7561 | 1266323.1339

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1