## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-338_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-338_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-338_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-338_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-338_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-338_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-338_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2701-338_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-338_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_2701-338_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2701-338_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2701-338_0_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_2701-338_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2701-338_0_3_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_2701-338_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2701-338_0_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_2701-338_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2701-338_0_3_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_2701-338_0_3_node_111 | 0.4 | n |  | TRUE
19 | bus_LV_2701-338_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2701-338_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2701-338_0_3_node_100 | 0.4 | n |  | TRUE
22 | bus_LV_2701-338_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2701-338_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_2701-338_0_3_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_2701-338_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2701-338_0_3_node_115 | 0.4 | n |  | TRUE
27 | bus_LV_2701-338_0_3_node_114 | 0.4 | n |  | TRUE
28 | bus_LV_2701-338_0_3_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_2701-338_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2701-338_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2701-338_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2701-338_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2701-338_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2701-338_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_2701-338_0_3_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_2701-338_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_2701-338_0_3_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_2701-338_0_3_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_2701-338_0_3_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_2701-338_0_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_2701-338_0_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_2701-338_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2701-338_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2701-338_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2701-338_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2701-338_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2701-338_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2701-338_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2701-338_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2701-338_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2701-338_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2701-338_0_3_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_2701-338_0_3_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_2701-338_0_3_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_2701-338_0_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2701-338_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_2701-338_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2701-338_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_2701-338_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2701-338_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_2701-338_0_3_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_2701-338_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_2701-338_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_2701-338_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2701-338_0_3_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_2701-338_0_3_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_2701-338_0_3_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_2701-338_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_2701-338_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_2701-338_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_2701-338_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_2701-338_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_2701-338_0_3_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_2701-338_0_3_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_2701-338_0_3_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_2701-338_0_3_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_2701-338_0_3_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_2701-338_0_3_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_2701-338_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_2701-338_0_3_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_2701-338_0_3_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_2701-338_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_2701-338_0_3_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_2701-338_0_3_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_2701-338_0_3_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_2701-338_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2701-338_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_2701-338_0_3_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_2701-338_0_3_node_109 | 0.4 | n |  | TRUE
90 | bus_LV_2701-338_0_3_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_2701-338_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_2701-338_0_3_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_2701-338_0_3_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_2701-338_0_3_node_110 | 0.4 | n |  | TRUE
95 | bus_LV_2701-338_0_3_node_113 | 0.4 | n |  | TRUE
96 | bus_LV_2701-338_0_3_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_2701-338_0_3_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_2701-338_0_3_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_2701-338_0_3_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_2701-338_0_3_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_2701-338_0_3_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_2701-338_0_3_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_2701-338_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_2701-338_0_3_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_2701-338_0_3_node_90 | 0.4 | n |  | TRUE
106 | bus_LV_2701-338_0_3_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_2701-338_0_3_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_2701-338_0_3_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_2701-338_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_2701-338_0_3_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_2701-338_0_3_node_105 | 0.4 | n |  | TRUE
112 | bus_MV_568_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-338_0_3_load_0 | 0 | 0.0025856 | 0.00064801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-338_0_3_load_1 | 1 | 0.0025829 | 0.00064734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-338_0_3_load_2 | 2 | 0.002779 | 0.00069648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-338_0_3_load_3 | 3 | 0.002363 | 0.00059221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-338_0_3_load_4 | 4 | 0.0012549 | 0.00031452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-338_0_3_load_5 | 5 | 0.0030778 | 0.00077136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-338_0_3_load_18 | 6 | 0.0046793 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-338_0_3_load_19 | 8 | 0.0045945 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-338_0_3_load_7 | 9 | 0.0056498 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-338_0_3_load_8 | 10 | 0.0050088 | 0.0012553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-338_0_3_load_36 | 11 | 0.0057025 | 0.0014292 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-338_0_3_load_67 | 13 | 0.0030882 | 0.00077399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-338_0_3_load_20 | 14 | 0.0028808 | 0.00072201 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-338_0_3_load_64 | 15 | 0.0025456 | 0.00063799 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-338_0_3_load_112 | 17 | 0.0024972 | 0.00062586 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-338_0_3_load_111 | 18 | 0.0024139 | 0.00060497 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-338_0_3_load_100 | 21 | 0.0037471 | 0.00093911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-338_0_3_load_74 | 24 | 0.0074299 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-338_0_3_load_115 | 26 | 0.003588 | 0.00089923 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-338_0_3_load_114 | 27 | 0.0026885 | 0.00067379 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-338_0_3_load_65 | 28 | 0.002901 | 0.00072706 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-338_0_3_load_41 | 30 | 0.0052563 | 0.0013174 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-338_0_3_load_39 | 31 | 0.0062121 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-338_0_3_load_27 | 32 | 0.007412 | 0.0018576 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-338_0_3_load_44 | 33 | 0.0045466 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-338_0_3_load_43 | 34 | 0.004613 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-338_0_3_load_91 | 35 | 0.0066625 | 0.0016698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-338_0_3_load_49 | 36 | 0.0032028 | 0.0008027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-338_0_3_load_99 | 37 | 0.0048512 | 0.0012158 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-338_0_3_load_86 | 38 | 0.003646 | 0.00091378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-338_0_3_load_87 | 39 | 0.0025454 | 0.00063795 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-338_0_3_load_61 | 40 | 0.0040247 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-338_0_3_load_75 | 41 | 0.0041075 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-338_0_3_load_21 | 42 | 0.0025321 | 0.0006346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-338_0_3_load_22 | 43 | 0.006128 | 0.0015358 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-338_0_3_load_23 | 44 | 0.0056174 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-338_0_3_load_24 | 45 | 0.0061915 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-338_0_3_load_25 | 46 | 0.0057051 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-338_0_3_load_40 | 47 | 0.0018276 | 0.00045805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-338_0_3_load_42 | 48 | 0.001791 | 0.00044888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-338_0_3_load_26 | 49 | 0.0061362 | 0.0015379 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-338_0_3_load_28 | 50 | 0.0062149 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-338_0_3_load_30 | 51 | 0.0078856 | 0.0019763 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-338_0_3_load_92 | 53 | 0.00277 | 0.00069423 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-338_0_3_load_83 | 54 | 0.0023228 | 0.00058215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-338_0_3_load_71 | 55 | 0.0023662 | 0.00059303 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-338_0_3_load_31 | 56 | 0.002888 | 0.00072381 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-338_0_3_load_32 | 57 | 0.002319 | 0.00058118 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-338_0_3_load_34 | 58 | 0.0034934 | 0.00087553 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-338_0_3_load_56 | 59 | 0.0058726 | 0.0014718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-338_0_3_load_35 | 60 | 0.0062039 | 0.0015548 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-338_0_3_load_37 | 61 | 0.0022789 | 0.00057113 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-338_0_3_load_57 | 62 | 0.0032428 | 0.00081273 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-338_0_3_load_38 | 63 | 0.0023014 | 0.00057678 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-338_0_3_load_59 | 64 | 0.0023223 | 0.00058201 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-338_0_3_load_101 | 65 | 0.0024313 | 0.00060935 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-338_0_3_load_93 | 66 | 0.0046367 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-338_0_3_load_45 | 67 | 0.0055153 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-338_0_3_load_46 | 68 | 0.0071755 | 0.0017983 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-338_0_3_load_48 | 70 | 0.002298 | 0.00057593 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-338_0_3_load_50 | 71 | 0.0054437 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-338_0_3_load_84 | 72 | 0.002406 | 0.000603 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-338_0_3_load_85 | 73 | 0.0045269 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-338_0_3_load_97 | 74 | 0.0018269 | 0.00045786 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-338_0_3_load_82 | 75 | 0.0041461 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-338_0_3_load_51 | 76 | 0.0050914 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-338_0_3_load_52 | 77 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-338_0_3_load_53 | 78 | 0.0022456 | 0.00056279 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-338_0_3_load_54 | 79 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-338_0_3_load_55 | 80 | 0.0027031 | 0.00067746 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-338_0_3_load_62 | 81 | 0.0049114 | 0.0012309 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-338_0_3_load_69 | 82 | 0.002168 | 0.00054334 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-338_0_3_load_60 | 83 | 0.0057832 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-338_0_3_load_68 | 84 | 0.002217 | 0.00055564 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-338_0_3_load_58 | 85 | 0.0033151 | 0.00083085 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-338_0_3_load_79 | 86 | 0.0026335 | 0.00066001 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-338_0_3_load_77 | 87 | 0.0033506 | 0.00083973 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-338_0_3_load_98 | 88 | 0.0044602 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-338_0_3_load_109 | 89 | 0.0031939 | 0.00080047 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-338_0_3_load_66 | 90 | 0.0040726 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-338_0_3_load_72 | 91 | 0.0029003 | 0.00072689 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-338_0_3_load_73 | 92 | 0.0025783 | 0.00064619 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-338_0_3_load_70 | 93 | 0.0054793 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-338_0_3_load_110 | 94 | 0.0025045 | 0.00062767 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-338_0_3_load_113 | 95 | 0.0025243 | 0.00063266 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-338_0_3_load_76 | 96 | 0.0041602 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-338_0_3_load_95 | 97 | 0.0018278 | 0.0004581 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-338_0_3_load_94 | 98 | 0.0050232 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-338_0_3_load_78 | 99 | 0.0034117 | 0.00085505 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-338_0_3_load_80 | 100 | 0.0032913 | 0.00082488 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-338_0_3_load_88 | 101 | 0.0032752 | 0.00082084 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-338_0_3_load_89 | 102 | 0.0026552 | 0.00066545 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-338_0_3_load_96 | 103 | 0.0018307 | 0.00045881 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-338_0_3_load_107 | 104 | 0.0033733 | 0.00084544 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2701-338_0_3_load_102 | 106 | 0.0025252 | 0.00063288 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2701-338_0_3_load_103 | 107 | 0.0025058 | 0.00062802 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2701-338_0_3_load_108 | 108 | 0.0025032 | 0.00062737 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2701-338_0_3_load_106 | 109 | 0.0041724 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2701-338_0_3_load_104 | 110 | 0.0026547 | 0.00066534 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2701-338_0_3_load_105 | 111 | 0.0035142 | 0.00088075 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-338_0_3_line_0 |  | 0 | 1 | 0.0084478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-338_0_3_line_1 |  | 0 | 2 | 0.0085703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-338_0_3_line_2 |  | 1 | 3 | 0.0085212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-338_0_3_line_3 |  | 2 | 4 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-338_0_3_line_4 |  | 3 | 5 | 0.0092172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-338_0_3_line_5 |  | 4 | 6 | 0.0068371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-338_0_3_line_6 |  | 5 | 7 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-338_0_3_line_7 |  | 6 | 8 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-338_0_3_line_8 |  | 7 | 9 | 0.006048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-338_0_3_line_9 |  | 8 | 14 | 0.029732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-338_0_3_line_10 |  | 10 | 11 | 0.036708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-338_0_3_line_11 |  | 11 | 25 | 0.00015666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-338_0_3_line_12 |  | 12 | 13 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-338_0_3_line_13 |  | 12 | 14 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-338_0_3_line_14 |  | 12 | 15 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-338_0_3_line_15 |  | 13 | 27 | 0.00866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-338_0_3_line_16 |  | 15 | 28 | 0.007659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-338_0_3_line_17 |  | 16 | 17 | 0.0039065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-338_0_3_line_18 |  | 16 | 18 | 0.0029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-338_0_3_line_19 |  | 18 | 22 | 0.0055788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-338_0_3_line_20 |  | 19 | 20 | 0.004566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-338_0_3_line_21 |  | 19 | 21 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-338_0_3_line_22 |  | 20 | 24 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-338_0_3_line_23 |  | 21 | 37 | 0.0088117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-338_0_3_line_24 |  | 22 | 23 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-338_0_3_line_25 |  | 23 | 38 | 0.02386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-338_0_3_line_26 |  | 23 | 39 | 0.018663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-338_0_3_line_27 |  | 23 | 40 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-338_0_3_line_28 |  | 24 | 41 | 0.013224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-338_0_3_line_29 |  | 25 | 56 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-338_0_3_line_30 |  | 26 | 27 | 0.0089407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-338_0_3_line_31 |  | 28 | 90 | 0.0081916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-338_0_3_line_32 |  | 29 | 30 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-338_0_3_line_33 |  | 29 | 31 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-338_0_3_line_34 |  | 29 | 32 | 0.039635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-338_0_3_line_35 |  | 30 | 53 | 0.024448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-338_0_3_line_36 |  | 31 | 47 | 0.018569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-338_0_3_line_37 |  | 32 | 49 | 0.001744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-338_0_3_line_38 |  | 33 | 34 | 0.0012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-338_0_3_line_39 |  | 34 | 48 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-338_0_3_line_40 |  | 35 | 36 | 0.02529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-338_0_3_line_41 |  | 36 | 69 | 0.0083217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-338_0_3_line_42 |  | 37 | 88 | 0.0096014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-338_0_3_line_43 |  | 38 | 88 | 0.0083524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-338_0_3_line_44 |  | 39 | 89 | 0.002553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-338_0_3_line_45 |  | 40 | 83 | 0.001196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2701-338_0_3_line_46 |  | 41 | 96 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-338_0_3_line_47 |  | 42 | 43 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-338_0_3_line_48 |  | 42 | 44 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-338_0_3_line_49 |  | 43 | 45 | 0.00063156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-338_0_3_line_50 |  | 44 | 46 | 1.8409e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-338_0_3_line_51 |  | 45 | 47 | 0.01817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-338_0_3_line_52 |  | 46 | 48 | 0.022711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-338_0_3_line_53 |  | 49 | 50 | 0.020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-338_0_3_line_54 |  | 50 | 51 | 0.00073951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-338_0_3_line_55 |  | 51 | 52 | 0.028377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-338_0_3_line_56 |  | 52 | 54 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-338_0_3_line_57 |  | 52 | 55 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-338_0_3_line_58 |  | 53 | 66 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-338_0_3_line_59 |  | 54 | 65 | 0.0068868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-338_0_3_line_60 |  | 55 | 93 | 0.0020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-338_0_3_line_61 |  | 56 | 57 | 0.0021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-338_0_3_line_62 |  | 57 | 58 | 0.0094328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-338_0_3_line_63 |  | 58 | 59 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-338_0_3_line_64 |  | 59 | 62 | 0.006777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-338_0_3_line_65 |  | 60 | 61 | 0.0074688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-338_0_3_line_66 |  | 61 | 63 | 0.0072972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-338_0_3_line_67 |  | 62 | 85 | 0.0094979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-338_0_3_line_68 |  | 63 | 64 | 0.0067926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-338_0_3_line_69 |  | 64 | 65 | 0.0071099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-338_0_3_line_70 |  | 67 | 68 | 0.0052696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-338_0_3_line_71 |  | 67 | 69 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-338_0_3_line_72 |  | 68 | 70 | 0.0064162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-338_0_3_line_73 |  | 69 | 71 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-338_0_3_line_74 |  | 70 | 72 | 0.0068936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-338_0_3_line_75 |  | 71 | 73 | 0.00035293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-338_0_3_line_76 |  | 72 | 74 | 0.0070047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-338_0_3_line_77 |  | 73 | 75 | 0.028532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-338_0_3_line_78 |  | 74 | 103 | 0.0069961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-338_0_3_line_79 |  | 76 | 77 | 0.0036344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2701-338_0_3_line_80 |  | 76 | 78 | 0.0036618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_2701-338_0_3_line_81 |  | 77 | 79 | 0.0070768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_2701-338_0_3_line_82 |  | 78 | 80 | 0.0091034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_2701-338_0_3_line_83 |  | 79 | 81 | 0.0030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_2701-338_0_3_line_84 |  | 80 | 82 | 0.0092862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2701-338_0_3_line_85 |  | 81 | 83 | 0.029938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_2701-338_0_3_line_86 |  | 82 | 84 | 0.0062454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-338_0_3_line_87 |  | 84 | 93 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-338_0_3_line_88 |  | 85 | 86 | 0.0086134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-338_0_3_line_89 |  | 86 | 87 | 0.0026543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-338_0_3_line_90 |  | 87 | 99 | 0.0064807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-338_0_3_line_91 |  | 89 | 104 | 0.0090199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-338_0_3_line_92 |  | 90 | 91 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-338_0_3_line_93 |  | 91 | 92 | 0.0078192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-338_0_3_line_94 |  | 92 | 94 | 0.0068542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-338_0_3_line_95 |  | 94 | 95 | 0.0072171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-338_0_3_line_96 |  | 95 | 106 | 0.0069984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-338_0_3_line_97 |  | 96 | 97 | 0.012655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-338_0_3_line_98 |  | 97 | 98 | 0.0068557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-338_0_3_line_99 |  | 98 | 103 | 0.00014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-338_0_3_line_100 |  | 99 | 100 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2701-338_0_3_line_101 |  | 100 | 101 | 0.00054453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2701-338_0_3_line_102 |  | 101 | 102 | 0.0004144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2701-338_0_3_line_103 |  | 102 | 105 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2701-338_0_3_line_104 |  | 104 | 111 | 0.0096849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2701-338_0_3_line_105 |  | 105 | 106 | 0.0010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2701-338_0_3_line_106 |  | 105 | 107 | 0.0056855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2701-338_0_3_line_107 |  | 107 | 108 | 0.0068019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2701-338_0_3_line_108 |  | 108 | 109 | 0.0082324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2701-338_0_3_line_109 |  | 109 | 110 | 0.0010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2701-338_0_3_line_110 |  | 110 | 111 | 0.0084153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-338_0_3_trafo_69 | 0.63 MVA 20/0.4 kV | 112 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2609920.5827 | 1266506.1423 | 2609913.7823 | 1266501.1304
1 | 2609920.5827 | 1266506.1423 | 2609927.4818 | 1266511.2268
2 | 2609913.7823 | 1266501.1304 | 2609906.9228 | 1266496.075
3 | 2609927.4818 | 1266511.2268 | 2609936.6386 | 1266517.9753
4 | 2609906.9228 | 1266496.075 | 2609899.503 | 1266490.6066
5 | 2609942.1425 | 1266522.0316 | 2609936.6386 | 1266517.9753
6 | 2609884.7164 | 1266476.8522 | 2609891.4599 | 1266482.245 | 2609891.7879 | 1266484.2136 | 2609893.1852 | 1266485.9504 | 2609899.503 | 1266490.6066
7 | 2609942.1425 | 1266522.0316 | 2609953.4263 | 1266530.3477
8 | 2609879.9877 | 1266473.064 | 2609884.7164 | 1266476.8522
9 | 2609953.4263 | 1266530.3477 | 2609977.3607 | 1266547.9872
10 | 2609949.716 | 1266417.0406 | 2609923.6901 | 1266442.9282
11 | 2609949.716 | 1266417.0406 | 2609949.827 | 1266416.9301
12 | 2609990.5348 | 1266557.6964 | 2610005.7504 | 1266567.141
13 | 2609990.5348 | 1266557.6964 | 2609977.3607 | 1266547.9872
14 | 2609990.5348 | 1266557.6964 | 2610003.7366 | 1266544.3157
15 | 2610013.1082 | 1266571.7081 | 2610005.7504 | 1266567.141
16 | 2610003.7366 | 1266544.3157 | 2610009.1158 | 1266538.8636
17 | 2610107.7589 | 1266476.5824 | 2610109.8952 | 1266479.853
18 | 2610107.7589 | 1266476.5824 | 2610106.0596 | 1266474.1522
19 | 2610102.8627 | 1266469.5803 | 2610106.0596 | 1266474.1522
20 | 2610156.1922 | 1266410.9747 | 2610152.3712 | 1266413.4922
21 | 2610152.3712 | 1266413.4922 | 2610134.611 | 1266425.2078
22 | 2610156.1922 | 1266410.9747 | 2610145.9092 | 1266396.6424
23 | 2610127.2556 | 1266430.0598 | 2610134.611 | 1266425.2078
24 | 2610092.3517 | 1266453.0843 | 2610102.8627 | 1266469.5803
25 | 2610092.3517 | 1266453.0843 | 2610112.2688 | 1266439.9459
26 | 2610092.3517 | 1266453.0843 | 2610079.4338 | 1266466.5538
27 | 2610092.3517 | 1266453.0843 | 2610082.9751 | 1266441.0655
28 | 2610145.9092 | 1266396.6424 | 2610138.2004 | 1266385.8979
29 | 2609949.827 | 1266416.9301 | 2609962.8332 | 1266428.9422
30 | 2610013.1082 | 1266571.7081 | 2610020.7045 | 1266576.4232
31 | 2610014.869 | 1266533.0325 | 2610009.1158 | 1266538.8636
32 | 2609958.862 | 1266290.2126 | 2609973.5882 | 1266278.3192
33 | 2609958.862 | 1266290.2126 | 2609943.112 | 1266306.0925
34 | 2609958.862 | 1266290.2126 | 2609984.9353 | 1266320.0644
35 | 2609973.5882 | 1266278.3192 | 2609992.6079 | 1266262.9582
36 | 2609943.112 | 1266306.0925 | 2609930.0355 | 1266319.2768
37 | 2609984.9353 | 1266320.0644 | 2609986.0826 | 1266321.378
38 | 2609865.8056 | 1266389.3412 | 2609865.002 | 1266390.3442
39 | 2609876.4574 | 1266376.0471 | 2609865.8056 | 1266389.3412
40 | 2610116.0473 | 1266297.4173 | 2610094.8762 | 1266311.2513
41 | 2610087.9099 | 1266315.8034 | 2610094.8762 | 1266311.2513
42 | 2610119.2409 | 1266435.3467 | 2610127.2556 | 1266430.0598
43 | 2610112.2688 | 1266439.9459 | 2610119.2409 | 1266435.3467
44 | 2610077.6667 | 1266468.3964 | 2610079.4338 | 1266466.5538
45 | 2610082.2394 | 1266440.1226 | 2610082.9751 | 1266441.0655
46 | 2610138.2004 | 1266385.8979 | 2610128.9614 | 1266373.0206
47 | 2609916.7954 | 1266332.6261 | 2609899.6018 | 1266349.9614
48 | 2609891.016 | 1266358.618 | 2609899.6018 | 1266349.9614
49 | 2609916.7954 | 1266332.6261 | 2609917.2401 | 1266332.1777
50 | 2609891.003 | 1266358.6311 | 2609891.016 | 1266358.618
51 | 2609917.2401 | 1266332.1777 | 2609930.0355 | 1266319.2768
52 | 2609876.4574 | 1266376.0471 | 2609887.9265 | 1266361.733 | 2609891.003 | 1266358.6311
53 | 2609999.8622 | 1266337.1546 | 2609986.0826 | 1266321.378
54 | 2609999.8622 | 1266337.1546 | 2610000.3487 | 1266337.7115
55 | 2610019.0156 | 1266359.0837 | 2610000.3487 | 1266337.7115
56 | 2610019.0156 | 1266359.0837 | 2610013.2562 | 1266363.8996 | 2610002.8354 | 1266372.612
57 | 2610019.0156 | 1266359.0837 | 2610029.8691 | 1266372.9954
58 | 2610016.036 | 1266244.0369 | 2609992.6079 | 1266262.9582
59 | 2609997.5519 | 1266377.0293 | 2610002.8354 | 1266372.612
60 | 2610029.8691 | 1266372.9954 | 2610031.1576 | 1266374.6471
61 | 2609964.4006 | 1266430.3898 | 2609962.8332 | 1266428.9422
62 | 2609964.4006 | 1266430.3898 | 2609971.3302 | 1266436.7897
63 | 2609983.6796 | 1266448.1952 | 2609971.3302 | 1266436.7897
64 | 2609983.6796 | 1266448.1952 | 2609988.6581 | 1266452.7932
65 | 2609975.5577 | 1266395.4177 | 2609981.2877 | 1266390.6271
66 | 2609981.2877 | 1266390.6271 | 2609986.8861 | 1266385.9466
67 | 2609995.6355 | 1266459.2373 | 2609988.6581 | 1266452.7932
68 | 2609986.8861 | 1266385.9466 | 2609992.0973 | 1266381.5897
69 | 2609997.5519 | 1266377.0293 | 2609992.0973 | 1266381.5897
70 | 2610098.513 | 1266330.5819 | 2610101.5849 | 1266334.8635
71 | 2610087.9099 | 1266315.8034 | 2610098.513 | 1266330.5819
72 | 2610101.5849 | 1266334.8635 | 2610105.3252 | 1266340.0767
73 | 2610087.9099 | 1266315.8034 | 2610072.4606 | 1266325.3699
74 | 2610109.3438 | 1266345.6779 | 2610105.3252 | 1266340.0767
75 | 2610072.1606 | 1266325.5558 | 2610072.4606 | 1266325.3699
76 | 2610113.4272 | 1266351.3692 | 2610109.3438 | 1266345.6779
77 | 2610047.9025 | 1266340.577 | 2610072.1606 | 1266325.5558
78 | 2610113.4272 | 1266351.3692 | 2610117.5056 | 1266357.0537
79 | 2610055.3803 | 1266405.6951 | 2610057.6159 | 1266408.5607
80 | 2610055.3803 | 1266405.6951 | 2610053.1279 | 1266402.8081
81 | 2610061.9689 | 1266414.1403 | 2610057.6159 | 1266408.5607
82 | 2610047.5282 | 1266395.6306 | 2610053.1279 | 1266402.8081
83 | 2610063.824 | 1266416.5181 | 2610061.9689 | 1266414.1403
84 | 2610047.5282 | 1266395.6306 | 2610041.8162 | 1266388.309
85 | 2610082.2394 | 1266440.1226 | 2610063.824 | 1266416.5181
86 | 2610037.9745 | 1266383.3848 | 2610041.8162 | 1266388.309
87 | 2610037.9745 | 1266383.3848 | 2610031.1576 | 1266374.6471
88 | 2609995.6355 | 1266459.2373 | 2610001.9631 | 1266465.0812
89 | 2610003.913 | 1266466.8821 | 2610001.9631 | 1266465.0812
90 | 2610003.913 | 1266466.8821 | 2610008.6738 | 1266471.2791
91 | 2610071.4233 | 1266474.9063 | 2610077.6667 | 1266468.3964
92 | 2610014.869 | 1266533.0325 | 2610022.7626 | 1266525.0318
93 | 2610022.7626 | 1266525.0318 | 2610028.2543 | 1266519.4657
94 | 2610028.2543 | 1266519.4657 | 2610033.0682 | 1266514.5866
95 | 2610038.137 | 1266509.4491 | 2610033.0682 | 1266514.5866
96 | 2610038.137 | 1266509.4491 | 2610043.0522 | 1266504.4673
97 | 2610121.5842 | 1266362.7384 | 2610128.9614 | 1266373.0206
98 | 2610117.5877 | 1266357.1681 | 2610121.5842 | 1266362.7384
99 | 2610117.5877 | 1266357.1681 | 2610117.5056 | 1266357.0537
100 | 2610030.9706 | 1266491.8716 | 2610008.6738 | 1266471.2791
101 | 2610030.9706 | 1266491.8716 | 2610031.3706 | 1266492.2411
102 | 2610031.3706 | 1266492.2411 | 2610031.6751 | 1266492.5223
103 | 2610043.7943 | 1266503.7152 | 2610031.6751 | 1266492.5223
104 | 2610064.7197 | 1266481.8962 | 2610071.4233 | 1266474.9063
105 | 2610043.7943 | 1266503.7152 | 2610043.0522 | 1266504.4673
106 | 2610043.7943 | 1266503.7152 | 2610047.7297 | 1266499.6117
107 | 2610047.7297 | 1266499.6117 | 2610052.4378 | 1266494.7026
108 | 2610052.4378 | 1266494.7026 | 2610058.1361 | 1266488.761
109 | 2610058.8948 | 1266487.9698 | 2610058.1361 | 1266488.761
110 | 2610058.8948 | 1266487.9698 | 2610064.7197 | 1266481.8962

## bus_geodata
| x | y | coords
0 | 2609920.5827 | 1266506.1423
1 | 2609913.7823 | 1266501.1304
2 | 2609927.4818 | 1266511.2268
3 | 2609906.9228 | 1266496.075
4 | 2609936.6386 | 1266517.9753
5 | 2609899.503 | 1266490.6066
6 | 2609942.1425 | 1266522.0316
7 | 2609884.7164 | 1266476.8522
8 | 2609953.4263 | 1266530.3477
9 | 2609879.9877 | 1266473.064
10 | 2609923.6901 | 1266442.9282
11 | 2609949.716 | 1266417.0406
12 | 2609990.5348 | 1266557.6964
13 | 2610005.7504 | 1266567.141
14 | 2609977.3607 | 1266547.9872
15 | 2610003.7366 | 1266544.3157
16 | 2610107.7589 | 1266476.5824
17 | 2610109.8952 | 1266479.853
18 | 2610106.0596 | 1266474.1522
19 | 2610152.3712 | 1266413.4922
20 | 2610156.1922 | 1266410.9747
21 | 2610134.611 | 1266425.2078
22 | 2610102.8627 | 1266469.5803
23 | 2610092.3517 | 1266453.0843
24 | 2610145.9092 | 1266396.6424
25 | 2609949.827 | 1266416.9301
26 | 2610020.7045 | 1266576.4232
27 | 2610013.1082 | 1266571.7081
28 | 2610009.1158 | 1266538.8636
29 | 2609958.862 | 1266290.2126
30 | 2609973.5882 | 1266278.3192
31 | 2609943.112 | 1266306.0925
32 | 2609984.9353 | 1266320.0644
33 | 2609865.002 | 1266390.3442
34 | 2609865.8056 | 1266389.3412
35 | 2610116.0473 | 1266297.4173
36 | 2610094.8762 | 1266311.2513
37 | 2610127.2556 | 1266430.0598
38 | 2610112.2688 | 1266439.9459
39 | 2610079.4338 | 1266466.5538
40 | 2610082.9751 | 1266441.0655
41 | 2610138.2004 | 1266385.8979
42 | 2609899.6018 | 1266349.9614
43 | 2609916.7954 | 1266332.6261
44 | 2609891.016 | 1266358.618
45 | 2609917.2401 | 1266332.1777
46 | 2609891.003 | 1266358.6311
47 | 2609930.0355 | 1266319.2768
48 | 2609876.4574 | 1266376.0471
49 | 2609986.0826 | 1266321.378
50 | 2609999.8622 | 1266337.1546
51 | 2610000.3487 | 1266337.7115
52 | 2610019.0156 | 1266359.0837
53 | 2609992.6079 | 1266262.9582
54 | 2610002.8354 | 1266372.612
55 | 2610029.8691 | 1266372.9954
56 | 2609962.8332 | 1266428.9422
57 | 2609964.4006 | 1266430.3898
58 | 2609971.3302 | 1266436.7897
59 | 2609983.6796 | 1266448.1952
60 | 2609975.5577 | 1266395.4177
61 | 2609981.2877 | 1266390.6271
62 | 2609988.6581 | 1266452.7932
63 | 2609986.8861 | 1266385.9466
64 | 2609992.0973 | 1266381.5897
65 | 2609997.5519 | 1266377.0293
66 | 2610016.036 | 1266244.0369
67 | 2610098.513 | 1266330.5819
68 | 2610101.5849 | 1266334.8635
69 | 2610087.9099 | 1266315.8034
70 | 2610105.3252 | 1266340.0767
71 | 2610072.4606 | 1266325.3699
72 | 2610109.3438 | 1266345.6779
73 | 2610072.1606 | 1266325.5558
74 | 2610113.4272 | 1266351.3692
75 | 2610047.9025 | 1266340.577
76 | 2610055.3803 | 1266405.6951
77 | 2610057.6159 | 1266408.5607
78 | 2610053.1279 | 1266402.8081
79 | 2610061.9689 | 1266414.1403
80 | 2610047.5282 | 1266395.6306
81 | 2610063.824 | 1266416.5181
82 | 2610041.8162 | 1266388.309
83 | 2610082.2394 | 1266440.1226
84 | 2610037.9745 | 1266383.3848
85 | 2609995.6355 | 1266459.2373
86 | 2610001.9631 | 1266465.0812
87 | 2610003.913 | 1266466.8821
88 | 2610119.2409 | 1266435.3467
89 | 2610077.6667 | 1266468.3964
90 | 2610014.869 | 1266533.0325
91 | 2610022.7626 | 1266525.0318
92 | 2610028.2543 | 1266519.4657
93 | 2610031.1576 | 1266374.6471
94 | 2610033.0682 | 1266514.5866
95 | 2610038.137 | 1266509.4491
96 | 2610128.9614 | 1266373.0206
97 | 2610121.5842 | 1266362.7384
98 | 2610117.5877 | 1266357.1681
99 | 2610008.6738 | 1266471.2791
100 | 2610030.9706 | 1266491.8716
101 | 2610031.3706 | 1266492.2411
102 | 2610031.6751 | 1266492.5223
103 | 2610117.5056 | 1266357.0537
104 | 2610071.4233 | 1266474.9063
105 | 2610043.7943 | 1266503.7152
106 | 2610043.0522 | 1266504.4673
107 | 2610047.7297 | 1266499.6117
108 | 2610052.4378 | 1266494.7026
109 | 2610058.1361 | 1266488.761
110 | 2610058.8948 | 1266487.9698
111 | 2610064.7197 | 1266481.8962
112 | 2610019.0156 | 1266359.0837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1