## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-358_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-358_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-358_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-358_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-358_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-358_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2701-358_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_2701-358_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2701-358_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-358_0_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_2701-358_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2701-358_0_4_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_2701-358_0_4_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_2701-358_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2701-358_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2701-358_0_4_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_2701-358_0_4_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_2701-358_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-358_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2701-358_0_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_2701-358_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_2701-358_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2701-358_0_4_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_2701-358_0_4_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_2701-358_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_2701-358_0_4_node_5 | 0.4 | n |  | TRUE
26 | bus_LV_2701-358_0_4_node_6 | 0.4 | n |  | TRUE
27 | bus_LV_2701-358_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_2701-358_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2701-358_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2701-358_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2701-358_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2701-358_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2701-358_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_2701-358_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2701-358_0_4_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_2701-358_0_4_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_2701-358_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2701-358_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2701-358_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2701-358_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_2701-358_0_4_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_2701-358_0_4_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_2701-358_0_4_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_2701-358_0_4_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_2701-358_0_4_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_2701-358_0_4_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_2701-358_0_4_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_2701-358_0_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_2701-358_0_4_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_2701-358_0_4_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_2701-358_0_4_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_2701-358_0_4_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_2701-358_0_4_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_2701-358_0_4_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_2701-358_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_2701-358_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_2701-358_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2701-358_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2701-358_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2701-358_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_2701-358_0_4_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_2701-358_0_4_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_2701-358_0_4_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_2701-358_0_4_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_2701-358_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2701-358_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_2701-358_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_2701-358_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2701-358_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2701-358_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_2701-358_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2701-358_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_2701-358_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2701-358_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2701-358_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_2701-358_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_2701-358_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_2701-358_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_2701-358_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_2701-358_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_2701-358_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_2701-358_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_2701-358_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_2701-358_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_2701-358_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_2701-358_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_2701-358_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_2701-358_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2701-358_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_2701-358_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_2701-358_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_2701-358_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_MV_567_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-358_0_4_load_0 | 0 | 0.0026215 | 0.00065701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-358_0_4_load_1 | 1 | 0.0024637 | 0.00061746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-358_0_4_load_2 | 2 | 0.0028614 | 0.00071715 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-358_0_4_load_3 | 3 | 0.0023006 | 0.00057659 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-358_0_4_load_10 | 5 | 0.0023014 | 0.0005768 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-358_0_4_load_37 | 6 | 0.0048342 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-358_0_4_load_38 | 7 | 0.0050593 | 0.001268 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-358_0_4_load_41 | 9 | 0.002306 | 0.00057793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-358_0_4_load_97 | 11 | 0.0076982 | 0.0019294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-358_0_4_load_96 | 12 | 0.0037185 | 0.00093196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-358_0_4_load_79 | 15 | 0.0043527 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-358_0_4_load_85 | 16 | 0.0026003 | 0.0006517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-358_0_4_load_29 | 18 | 0.0025261 | 0.00063309 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-358_0_4_load_60 | 19 | 0.0067681 | 0.0016962 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-358_0_4_load_68 | 20 | 0.0041239 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-358_0_4_load_91 | 22 | 0.0037196 | 0.00093221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-358_0_4_load_87 | 23 | 0.0069983 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-358_0_4_load_9 | 24 | 0.005963 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-358_0_4_load_5 | 25 | 0.0044575 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-358_0_4_load_6 | 26 | 0.0031799 | 0.00079696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-358_0_4_load_8 | 27 | 0.00278 | 0.00069674 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-358_0_4_load_39 | 28 | 0.0026838 | 0.00067262 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-358_0_4_load_26 | 29 | 0.0034766 | 0.00087131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-358_0_4_load_24 | 30 | 0.0020897 | 0.00052372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-358_0_4_load_27 | 31 | 0.0026807 | 0.00067184 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-358_0_4_load_28 | 32 | 0.0033794 | 0.00084697 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-358_0_4_load_53 | 33 | 0.0020732 | 0.00051958 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-358_0_4_load_51 | 34 | 0.002166 | 0.00054285 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-358_0_4_load_78 | 35 | 0.0028512 | 0.00071457 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-358_0_4_load_84 | 36 | 0.0028579 | 0.00071625 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-358_0_4_load_44 | 37 | 0.0044234 | 0.0011086 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-358_0_4_load_42 | 38 | 0.0016037 | 0.00040192 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-358_0_4_load_58 | 39 | 0.0041361 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-358_0_4_load_67 | 40 | 0.0041284 | 0.0010347 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-358_0_4_load_95 | 41 | 0.0037123 | 0.00093039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-358_0_4_load_86 | 42 | 0.0059231 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-358_0_4_load_100 | 43 | 0.0054141 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-358_0_4_load_94 | 44 | 0.0037201 | 0.00093234 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-358_0_4_load_99 | 45 | 0.0049985 | 0.0012527 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-358_0_4_load_98 | 46 | 0.0072573 | 0.0018189 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-358_0_4_load_75 | 47 | 0.012917 | 0.0032372 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-358_0_4_load_73 | 48 | 0.0088383 | 0.0022151 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-358_0_4_load_90 | 49 | 0.0075069 | 0.0018814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-358_0_4_load_89 | 50 | 0.0059425 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-358_0_4_load_21 | 51 | 0.0023752 | 0.00059529 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-358_0_4_load_22 | 52 | 0.0017258 | 0.00043252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-358_0_4_load_23 | 53 | 0.0078418 | 0.0019654 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-358_0_4_load_40 | 56 | 0.0017493 | 0.00043841 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-358_0_4_load_46 | 57 | 0.0022195 | 0.00055626 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-358_0_4_load_55 | 58 | 0.0017153 | 0.00042988 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-358_0_4_load_56 | 59 | 0.0024354 | 0.00061036 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-358_0_4_load_31 | 60 | 0.0024179 | 0.00060598 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-358_0_4_load_30 | 61 | 0.0027132 | 0.00068 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-358_0_4_load_32 | 62 | 0.0022978 | 0.00057589 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-358_0_4_load_33 | 63 | 0.0020454 | 0.00051263 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-358_0_4_load_35 | 64 | 0.0020476 | 0.00051317 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-358_0_4_load_54 | 66 | 0.0021497 | 0.00053877 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-358_0_4_load_43 | 67 | 0.0012805 | 0.00032093 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-358_0_4_load_48 | 68 | 0.0016496 | 0.00041342 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-358_0_4_load_49 | 69 | 0.0017009 | 0.00042628 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-358_0_4_load_50 | 70 | 0.0052337 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-358_0_4_load_52 | 71 | 0.0015687 | 0.00039316 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-358_0_4_load_57 | 72 | 0.0046511 | 0.0011657 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-358_0_4_load_59 | 73 | 0.0036887 | 0.00092447 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-358_0_4_load_61 | 74 | 0.0028483 | 0.00071386 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-358_0_4_load_62 | 75 | 0.0051925 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-358_0_4_load_63 | 76 | 0.0050721 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-358_0_4_load_64 | 77 | 0.021481 | 0.0053837 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-358_0_4_load_66 | 78 | 0.0051902 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-358_0_4_load_71 | 79 | 0.0048991 | 0.0012278 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-358_0_4_load_72 | 80 | 0.0035463 | 0.00088879 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-358_0_4_load_69 | 81 | 0.0043371 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-358_0_4_load_70 | 82 | 0.0059438 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-358_0_4_load_77 | 83 | 0.0040489 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-358_0_4_load_76 | 84 | 0.0042198 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-358_0_4_load_82 | 85 | 0.0035265 | 0.00088382 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-358_0_4_load_80 | 86 | 0.0035351 | 0.00088599 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-358_0_4_load_74 | 87 | 0.0031519 | 0.00078995 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-358_0_4_load_81 | 88 | 0.0035248 | 0.0008834 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-358_0_4_load_83 | 89 | 0.0028655 | 0.00071815 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-358_0_4_load_88 | 90 | 0.028797 | 0.0072171 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-358_0_4_load_93 | 91 | 0.0050921 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-358_0_4_load_92 | 92 | 0.0056442 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-358_0_4_line_0 |  | 0 | 1 | 0.0061779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-358_0_4_line_1 |  | 0 | 2 | 0.016301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-358_0_4_line_2 |  | 1 | 3 | 0.0064272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-358_0_4_line_3 |  | 2 | 4 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-358_0_4_line_4 |  | 3 | 5 | 0.0056805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-358_0_4_line_5 |  | 4 | 6 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-358_0_4_line_6 |  | 4 | 7 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-358_0_4_line_7 |  | 5 | 8 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-358_0_4_line_8 |  | 6 | 9 | 0.0091974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-358_0_4_line_9 |  | 8 | 24 | 0.012365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-358_0_4_line_10 |  | 8 | 25 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-358_0_4_line_11 |  | 9 | 64 | 0.0070976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-358_0_4_line_12 |  | 10 | 11 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-358_0_4_line_13 |  | 10 | 12 | 0.016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-358_0_4_line_14 |  | 10 | 13 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-358_0_4_line_15 |  | 11 | 43 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-358_0_4_line_16 |  | 12 | 44 | 0.0079999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-358_0_4_line_17 |  | 13 | 19 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2701-358_0_4_line_18 |  | 13 | 20 | 0.021407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2701-358_0_4_line_19 |  | 14 | 15 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-358_0_4_line_20 |  | 14 | 16 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-358_0_4_line_21 |  | 14 | 17 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-358_0_4_line_22 |  | 15 | 35 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-358_0_4_line_23 |  | 16 | 36 | 0.0084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-358_0_4_line_24 |  | 17 | 18 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-358_0_4_line_25 |  | 18 | 32 | 0.0076923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-358_0_4_line_26 |  | 19 | 39 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2701-358_0_4_line_27 |  | 20 | 40 | 0.0088619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-358_0_4_line_28 |  | 21 | 22 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-358_0_4_line_29 |  | 21 | 23 | 0.019994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-358_0_4_line_30 |  | 22 | 41 | 0.0079994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-358_0_4_line_31 |  | 23 | 42 | 0.017634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-358_0_4_line_32 |  | 24 | 29 | 0.0092641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-358_0_4_line_33 |  | 25 | 26 | 0.02452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-358_0_4_line_34 |  | 26 | 27 | 0.00073625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-358_0_4_line_35 |  | 27 | 28 | 0.0077741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-358_0_4_line_36 |  | 28 | 30 | 0.00015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-358_0_4_line_37 |  | 29 | 31 | 0.0071668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-358_0_4_line_38 |  | 30 | 52 | 0.0067142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-358_0_4_line_39 |  | 31 | 59 | 0.0074334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-358_0_4_line_40 |  | 32 | 61 | 0.007579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-358_0_4_line_41 |  | 33 | 34 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-358_0_4_line_42 |  | 34 | 69 | 0.0060562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-358_0_4_line_43 |  | 35 | 74 | 0.0088005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2701-358_0_4_line_44 |  | 36 | 89 | 0.0088016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-358_0_4_line_45 |  | 37 | 38 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-358_0_4_line_46 |  | 38 | 67 | 0.0033258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-358_0_4_line_47 |  | 39 | 72 | 0.0088061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2701-358_0_4_line_48 |  | 40 | 81 | 0.0087648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-358_0_4_line_49 |  | 41 | 91 | 0.0090017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-358_0_4_line_50 |  | 42 | 90 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-358_0_4_line_51 |  | 43 | 46 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-358_0_4_line_52 |  | 44 | 92 | 0.0098886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-358_0_4_line_53 |  | 45 | 46 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-358_0_4_line_54 |  | 47 | 48 | 0.021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-358_0_4_line_55 |  | 48 | 87 | 0.0027577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-358_0_4_line_56 |  | 49 | 50 | 0.014232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-358_0_4_line_57 |  | 50 | 90 | 0.0029249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-358_0_4_line_58 |  | 51 | 52 | 0.0075095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-358_0_4_line_59 |  | 51 | 53 | 0.0051531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-358_0_4_line_60 |  | 53 | 54 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-358_0_4_line_61 |  | 54 | 55 | 0.007578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-358_0_4_line_62 |  | 54 | 56 | 0.012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-358_0_4_line_63 |  | 55 | 57 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-358_0_4_line_64 |  | 56 | 58 | 0.007053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-358_0_4_line_65 |  | 57 | 65 | 0.038813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-358_0_4_line_66 |  | 58 | 66 | 0.0072106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-358_0_4_line_67 |  | 59 | 60 | 0.0077483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-358_0_4_line_68 |  | 60 | 61 | 0.0074629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-358_0_4_line_69 |  | 62 | 63 | 0.0068599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-358_0_4_line_70 |  | 63 | 64 | 0.0063829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-358_0_4_line_71 |  | 65 | 67 | 0.054411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-358_0_4_line_72 |  | 66 | 71 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-358_0_4_line_73 |  | 68 | 69 | 0.0085349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-358_0_4_line_74 |  | 68 | 70 | 0.0085752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-358_0_4_line_75 |  | 70 | 71 | 0.00063838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-358_0_4_line_76 |  | 72 | 73 | 0.0088798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2701-358_0_4_line_77 |  | 73 | 74 | 0.008799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2701-358_0_4_line_78 |  | 75 | 76 | 0.0082917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-358_0_4_line_79 |  | 75 | 77 | 0.00028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-358_0_4_line_80 |  | 77 | 78 | 0.0081177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-358_0_4_line_81 |  | 78 | 79 | 0.0085251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-358_0_4_line_82 |  | 79 | 80 | 0.0088294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-358_0_4_line_83 |  | 80 | 85 | 0.0088303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-358_0_4_line_84 |  | 81 | 82 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-358_0_4_line_85 |  | 82 | 83 | 0.0097803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-358_0_4_line_86 |  | 83 | 84 | 0.0087288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-358_0_4_line_87 |  | 84 | 87 | 0.0076285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-358_0_4_line_88 |  | 85 | 86 | 0.0088145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-358_0_4_line_89 |  | 86 | 88 | 0.0088158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-358_0_4_line_90 |  | 88 | 89 | 0.0088103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-358_0_4_line_91 |  | 91 | 92 | 0.011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-358_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 93 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2612061.2576 | 1265304.2461 | 2612055.5832 | 1265306.6887
1 | 2612061.2576 | 1265304.2461 | 2612076.2301 | 1265297.8009
2 | 2612049.6796 | 1265309.23 | 2612055.5832 | 1265306.6887
3 | 2612088.7476 | 1265292.4126 | 2612076.2301 | 1265297.8009
4 | 2612044.462 | 1265311.476 | 2612049.6796 | 1265309.23
5 | 2612088.7476 | 1265292.4126 | 2612083.6087 | 1265278.9933
6 | 2612088.7476 | 1265292.4126 | 2612111.6015 | 1265282.5868
7 | 2612026.8928 | 1265319.0389 | 2612044.462 | 1265311.476
8 | 2612083.6087 | 1265278.9933 | 2612080.3195 | 1265270.4042
9 | 2612026.8928 | 1265319.0389 | 2612015.5082 | 1265323.8652
10 | 2612026.8928 | 1265319.0389 | 2612022.2051 | 1265307.4819
11 | 2612080.3195 | 1265270.4042 | 2612077.7812 | 1265263.776
12 | 2612053.954 | 1265322.3516 | 2612071.837 | 1265314.4104
13 | 2612053.954 | 1265322.3516 | 2612060.4261 | 1265337.643
14 | 2612039.4849 | 1265328.6822 | 2612046.6817 | 1265325.5835 | 2612053.954 | 1265322.3516
15 | 2612087.9668 | 1265307.2477 | 2612071.837 | 1265314.4104
16 | 2612060.4261 | 1265337.643 | 2612063.5443 | 1265345.0102
17 | 2612039.4849 | 1265328.6822 | 2612023.6286 | 1265335.4972
18 | 2612039.4849 | 1265328.6822 | 2612047.915 | 1265348.359
19 | 2611958.5049 | 1265363.4873 | 2611971.5151 | 1265357.8955
20 | 2611958.5049 | 1265363.4873 | 2611966.6563 | 1265382.2126
21 | 2611952.9835 | 1265349.7333 | 2611955.0278 | 1265355.2968 | 2611955.7392 | 1265357.2329 | 2611956.5114 | 1265358.9023 | 2611958.5049 | 1265363.4873
22 | 2611981.0314 | 1265353.8054 | 2611971.5151 | 1265357.8955
23 | 2611966.6563 | 1265382.2126 | 2611970.009 | 1265389.9146
24 | 2611952.9835 | 1265349.7333 | 2611965.4082 | 1265344.9217
25 | 2611965.4082 | 1265344.9217 | 2611968.8074 | 1265343.6053 | 2611972.5457 | 1265342.0546
26 | 2612013.4494 | 1265339.8722 | 2612023.6286 | 1265335.4972
27 | 2612051.4049 | 1265356.5048 | 2612047.915 | 1265348.359
28 | 2612087.1792 | 1265400.8513 | 2612078.3544 | 1265380.0013
29 | 2612087.1792 | 1265400.8513 | 2612105.5396 | 1265392.9358
30 | 2612075.2364 | 1265372.6346 | 2612078.3544 | 1265380.0013
31 | 2612121.7326 | 1265385.9546 | 2612105.5396 | 1265392.9358
32 | 2612006.9789 | 1265327.4811 | 2612015.5082 | 1265323.8652
33 | 2612022.2051 | 1265307.4819 | 2612012.9887 | 1265284.7601
34 | 2612012.7119 | 1265284.0779 | 2612012.9887 | 1265284.7601
35 | 2612009.7899 | 1265276.8739 | 2612012.7119 | 1265284.0779
36 | 2612009.7314 | 1265276.7297 | 2612009.7899 | 1265276.8739
37 | 2612006.9789 | 1265327.4811 | 2612000.3806 | 1265330.2784
38 | 2612007.2077 | 1265270.5079 | 2612009.7314 | 1265276.7297
39 | 2612000.3806 | 1265330.2784 | 2611993.5367 | 1265333.1797
40 | 2611979.532 | 1265339.1168 | 2611975.1825 | 1265340.9608 | 2611972.5457 | 1265342.0546
41 | 2611947.4487 | 1265294.8427 | 2611945.2534 | 1265299.8609 | 2611944.643 | 1265304.6838
42 | 2611947.4487 | 1265294.8427 | 2611949.8759 | 1265289.2942
43 | 2611989.1167 | 1265350.3304 | 2611981.0314 | 1265353.8054
44 | 2611970.009 | 1265389.9146 | 2611973.522 | 1265397.9847
45 | 2611930.6713 | 1265232.5075 | 2611929.4098 | 1265233.3163 | 2611925.2836 | 1265237.0995 | 2611922.8852 | 1265240.3929
46 | 2611930.6713 | 1265232.5075 | 2611933.471 | 1265230.7124
47 | 2612005.3588 | 1265343.3495 | 2612013.4494 | 1265339.8722
48 | 2612051.4049 | 1265356.5048 | 2612054.8566 | 1265364.5614
49 | 2612075.2364 | 1265372.6346 | 2612071.7277 | 1265364.3448
50 | 2612121.7326 | 1265385.9546 | 2612130.9849 | 1265381.9657
51 | 2612102.8512 | 1265300.6548 | 2612100.0148 | 1265301.8976 | 2612087.9668 | 1265307.2477
52 | 2612067.3987 | 1265354.1167 | 2612063.5443 | 1265345.0102
53 | 2612102.8512 | 1265300.6548 | 2612117.5017 | 1265294.235
54 | 2612070.1803 | 1265400.3286 | 2612078.4712 | 1265419.6803
55 | 2612070.1803 | 1265400.3286 | 2612069.0943 | 1265397.7937
56 | 2612146.7404 | 1265375.1732 | 2612133.6708 | 1265380.8078
57 | 2612130.9849 | 1265381.9657 | 2612133.6708 | 1265380.8078
58 | 2612004.3851 | 1265263.5491 | 2612007.2077 | 1265270.5079
59 | 2612004.3851 | 1265263.5491 | 2612002.4481 | 1265258.7739
60 | 2611995.5428 | 1265247.2146 | 2612000.9705 | 1265255.1311 | 2612002.4481 | 1265258.7739
61 | 2612001.4404 | 1265242.4343 | 2611995.5428 | 1265247.2146
62 | 2611995.5428 | 1265247.2146 | 2611985.792 | 1265254.3679
63 | 2612001.4404 | 1265242.4343 | 2611998.1438 | 1265238.0913 | 2612001.9821 | 1265235.1971 | 2612000.5628 | 1265233.3262 | 2611997.094 | 1265235.9433 | 2611992.0441 | 1265229.3354
64 | 2611985.792 | 1265254.3679 | 2611980.1052 | 1265258.5398
65 | 2611974.7364 | 1265199.9732 | 2611978.8827 | 1265201.1935 | 2611980.5081 | 1265201.6749 | 2611979.4447 | 1265206.2426 | 2611977.9841 | 1265209.9089 | 2611978.0647 | 1265211.0432 | 2611992.0441 | 1265229.3354
66 | 2611974.2913 | 1265262.805 | 2611980.1052 | 1265258.5398
67 | 2611986.403 | 1265336.204 | 2611993.5367 | 1265333.1797
68 | 2611986.403 | 1265336.204 | 2611979.532 | 1265339.1168
69 | 2612075.4985 | 1265257.8152 | 2612073.0452 | 1265251.409
70 | 2612077.7812 | 1265263.776 | 2612075.4985 | 1265257.8152
71 | 2611974.7364 | 1265199.9732 | 2611972.9007 | 1265206.6742 | 2611969.3494 | 1265212.8713 | 2611965.0053 | 1265216.4206 | 2611957.9813 | 1265219.6643 | 2611947.8845 | 1265223.3465 | 2611938.1401 | 1265227.7188 | 2611933.471 | 1265230.7124
72 | 2611959.814 | 1265274.7015 | 2611964.9809 | 1265269.6352 | 2611974.2913 | 1265262.805
73 | 2611954.2682 | 1265282.0018 | 2611950.6769 | 1265287.4632 | 2611949.8759 | 1265289.2942
74 | 2611954.2682 | 1265282.0018 | 2611957.7158 | 1265276.7589 | 2611959.3582 | 1265275.1484
75 | 2611959.3582 | 1265275.1484 | 2611959.814 | 1265274.7015
76 | 2612005.3588 | 1265343.3495 | 2611997.2006 | 1265346.8559
77 | 2611989.1167 | 1265350.3304 | 2611997.2006 | 1265346.8559
78 | 2611997.8804 | 1265453.941 | 2612001.1899 | 1265461.5436
79 | 2611997.7666 | 1265453.6797 | 2611997.8804 | 1265453.941
80 | 2611994.5266 | 1265446.2366 | 2611997.7666 | 1265453.6797
81 | 2611994.5266 | 1265446.2366 | 2611991.1239 | 1265438.42
82 | 2611991.1239 | 1265438.42 | 2611987.5998 | 1265430.3244
83 | 2611987.5998 | 1265430.3244 | 2611984.0753 | 1265422.2279
84 | 2612058.8011 | 1265373.7682 | 2612054.8566 | 1265364.5614
85 | 2612058.8011 | 1265373.7682 | 2612062.6527 | 1265382.7583
86 | 2612062.6527 | 1265382.7583 | 2612066.0901 | 1265390.7817
87 | 2612069.0943 | 1265397.7937 | 2612066.0901 | 1265390.7817
88 | 2611980.5572 | 1265414.146 | 2611984.0753 | 1265422.2279
89 | 2611980.5572 | 1265414.146 | 2611977.0385 | 1265406.0628
90 | 2611977.0385 | 1265406.0628 | 2611973.522 | 1265397.9847
91 | 2612067.3987 | 1265354.1167 | 2612071.7277 | 1265364.3448

## bus_geodata
| x | y | coords
0 | 2612061.2576 | 1265304.2461
1 | 2612055.5832 | 1265306.6887
2 | 2612076.2301 | 1265297.8009
3 | 2612049.6796 | 1265309.23
4 | 2612088.7476 | 1265292.4126
5 | 2612044.462 | 1265311.476
6 | 2612083.6087 | 1265278.9933
7 | 2612111.6015 | 1265282.5868
8 | 2612026.8928 | 1265319.0389
9 | 2612080.3195 | 1265270.4042
10 | 2612053.954 | 1265322.3516
11 | 2612071.837 | 1265314.4104
12 | 2612060.4261 | 1265337.643
13 | 2612039.4849 | 1265328.6822
14 | 2611958.5049 | 1265363.4873
15 | 2611971.5151 | 1265357.8955
16 | 2611966.6563 | 1265382.2126
17 | 2611952.9835 | 1265349.7333
18 | 2611965.4082 | 1265344.9217
19 | 2612023.6286 | 1265335.4972
20 | 2612047.915 | 1265348.359
21 | 2612087.1792 | 1265400.8513
22 | 2612078.3544 | 1265380.0013
23 | 2612105.5396 | 1265392.9358
24 | 2612015.5082 | 1265323.8652
25 | 2612022.2051 | 1265307.4819
26 | 2612012.9887 | 1265284.7601
27 | 2612012.7119 | 1265284.0779
28 | 2612009.7899 | 1265276.8739
29 | 2612006.9789 | 1265327.4811
30 | 2612009.7314 | 1265276.7297
31 | 2612000.3806 | 1265330.2784
32 | 2611972.5457 | 1265342.0546
33 | 2611944.643 | 1265304.6838
34 | 2611947.4487 | 1265294.8427
35 | 2611981.0314 | 1265353.8054
36 | 2611970.009 | 1265389.9146
37 | 2611922.8852 | 1265240.3929
38 | 2611930.6713 | 1265232.5075
39 | 2612013.4494 | 1265339.8722
40 | 2612051.4049 | 1265356.5048
41 | 2612075.2364 | 1265372.6346
42 | 2612121.7326 | 1265385.9546
43 | 2612087.9669 | 1265307.2477
44 | 2612063.5443 | 1265345.0102
45 | 2612117.5017 | 1265294.235
46 | 2612102.8512 | 1265300.6548
47 | 2612078.4712 | 1265419.6803
48 | 2612070.1803 | 1265400.3286
49 | 2612146.7404 | 1265375.1732
50 | 2612133.6708 | 1265380.8078
51 | 2612004.3851 | 1265263.5491
52 | 2612007.2077 | 1265270.5079
53 | 2612002.4481 | 1265258.7739
54 | 2611995.5428 | 1265247.2146
55 | 2612001.4404 | 1265242.4343
56 | 2611985.792 | 1265254.3679
57 | 2611992.0441 | 1265229.3354
58 | 2611980.1052 | 1265258.5398
59 | 2611993.5367 | 1265333.1797
60 | 2611986.403 | 1265336.204
61 | 2611979.532 | 1265339.1168
62 | 2612073.0452 | 1265251.409
63 | 2612075.4985 | 1265257.8152
64 | 2612077.7812 | 1265263.776
65 | 2611974.7364 | 1265199.9732
66 | 2611974.2913 | 1265262.805
67 | 2611933.471 | 1265230.7124
68 | 2611954.2682 | 1265282.0018
69 | 2611949.8759 | 1265289.2942
70 | 2611959.3582 | 1265275.1484
71 | 2611959.814 | 1265274.7015
72 | 2612005.3588 | 1265343.3495
73 | 2611997.2006 | 1265346.8559
74 | 2611989.1167 | 1265350.3304
75 | 2611997.8804 | 1265453.941
76 | 2612001.1899 | 1265461.5436
77 | 2611997.7666 | 1265453.6797
78 | 2611994.5266 | 1265446.2366
79 | 2611991.1239 | 1265438.42
80 | 2611987.5998 | 1265430.3244
81 | 2612054.8566 | 1265364.5614
82 | 2612058.8011 | 1265373.7682
83 | 2612062.6527 | 1265382.7583
84 | 2612066.0901 | 1265390.7817
85 | 2611984.0753 | 1265422.2279
86 | 2611980.5572 | 1265414.146
87 | 2612069.0943 | 1265397.7937
88 | 2611977.0385 | 1265406.0628
89 | 2611973.522 | 1265397.9847
90 | 2612130.9849 | 1265381.9657
91 | 2612071.7277 | 1265364.3448
92 | 2612067.3987 | 1265354.1167
93 | 2612039.4849 | 1265328.6822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1