## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-36_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-36_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-36_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-36_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-36_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-36_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2701-36_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2701-36_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2701-36_0_6_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2701-36_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-36_0_6_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_2701-36_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2701-36_0_6_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_2701-36_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-36_0_6_node_129 | 0.4 | n |  | TRUE
15 | bus_LV_2701-36_0_6_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_2701-36_0_6_node_131 | 0.4 | n |  | TRUE
17 | bus_LV_2701-36_0_6_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_2701-36_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2701-36_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2701-36_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2701-36_0_6_node_152 | 0.4 | n |  | TRUE
22 | bus_LV_2701-36_0_6_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_2701-36_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-36_0_6_node_151 | 0.4 | n |  | TRUE
25 | bus_LV_2701-36_0_6_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_2701-36_0_6_node_115 | 0.4 | n |  | TRUE
27 | bus_LV_2701-36_0_6_node_110 | 0.4 | n |  | TRUE
28 | bus_LV_2701-36_0_6_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_2701-36_0_6_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_2701-36_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2701-36_0_6_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_2701-36_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_2701-36_0_6_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_2701-36_0_6_node_127 | 0.4 | n |  | TRUE
35 | bus_LV_2701-36_0_6_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_2701-36_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2701-36_0_6_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_2701-36_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2701-36_0_6_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_2701-36_0_6_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_2701-36_0_6_node_143 | 0.4 | n |  | TRUE
42 | bus_LV_2701-36_0_6_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_2701-36_0_6_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_2701-36_0_6_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_2701-36_0_6_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_2701-36_0_6_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_2701-36_0_6_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_2701-36_0_6_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_2701-36_0_6_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_2701-36_0_6_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_2701-36_0_6_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_2701-36_0_6_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_2701-36_0_6_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_2701-36_0_6_node_135 | 0.4 | n |  | TRUE
55 | bus_LV_2701-36_0_6_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_2701-36_0_6_node_153 | 0.4 | n |  | TRUE
57 | bus_LV_2701-36_0_6_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2701-36_0_6_node_133 | 0.4 | n |  | TRUE
59 | bus_LV_2701-36_0_6_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_2701-36_0_6_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_2701-36_0_6_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_2701-36_0_6_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_2701-36_0_6_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_2701-36_0_6_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_2701-36_0_6_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_2701-36_0_6_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_2701-36_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_2701-36_0_6_node_156 | 0.4 | n |  | TRUE
69 | bus_LV_2701-36_0_6_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_2701-36_0_6_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_2701-36_0_6_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_2701-36_0_6_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2701-36_0_6_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_2701-36_0_6_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_2701-36_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2701-36_0_6_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_2701-36_0_6_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2701-36_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_2701-36_0_6_node_108 | 0.4 | n |  | TRUE
80 | bus_LV_2701-36_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_2701-36_0_6_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_2701-36_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_2701-36_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2701-36_0_6_node_46 | 0.4 | n |  | TRUE
85 | bus_LV_2701-36_0_6_node_47 | 0.4 | n |  | TRUE
86 | bus_LV_2701-36_0_6_node_48 | 0.4 | n |  | TRUE
87 | bus_LV_2701-36_0_6_node_49 | 0.4 | n |  | TRUE
88 | bus_LV_2701-36_0_6_node_50 | 0.4 | n |  | TRUE
89 | bus_LV_2701-36_0_6_node_51 | 0.4 | n |  | TRUE
90 | bus_LV_2701-36_0_6_node_52 | 0.4 | n |  | TRUE
91 | bus_LV_2701-36_0_6_node_53 | 0.4 | n |  | TRUE
92 | bus_LV_2701-36_0_6_node_54 | 0.4 | n |  | TRUE
93 | bus_LV_2701-36_0_6_node_55 | 0.4 | n |  | TRUE
94 | bus_LV_2701-36_0_6_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_2701-36_0_6_node_61 | 0.4 | n |  | TRUE
96 | bus_LV_2701-36_0_6_node_58 | 0.4 | n |  | TRUE
97 | bus_LV_2701-36_0_6_node_148 | 0.4 | n |  | TRUE
98 | bus_LV_2701-36_0_6_node_57 | 0.4 | n |  | TRUE
99 | bus_LV_2701-36_0_6_node_56 | 0.4 | n |  | TRUE
100 | bus_LV_2701-36_0_6_node_59 | 0.4 | n |  | TRUE
101 | bus_LV_2701-36_0_6_node_157 | 0.4 | n |  | TRUE
102 | bus_LV_2701-36_0_6_node_147 | 0.4 | n |  | TRUE
103 | bus_LV_2701-36_0_6_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_2701-36_0_6_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_2701-36_0_6_node_75 | 0.4 | n |  | TRUE
106 | bus_LV_2701-36_0_6_node_76 | 0.4 | n |  | TRUE
107 | bus_LV_2701-36_0_6_node_77 | 0.4 | n |  | TRUE
108 | bus_LV_2701-36_0_6_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_2701-36_0_6_node_79 | 0.4 | n |  | TRUE
110 | bus_LV_2701-36_0_6_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_2701-36_0_6_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_2701-36_0_6_node_85 | 0.4 | n |  | TRUE
113 | bus_LV_2701-36_0_6_node_100 | 0.4 | n |  | TRUE
114 | bus_LV_2701-36_0_6_node_84 | 0.4 | n |  | TRUE
115 | bus_LV_2701-36_0_6_node_82 | 0.4 | n |  | TRUE
116 | bus_LV_2701-36_0_6_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_2701-36_0_6_node_89 | 0.4 | n |  | TRUE
118 | bus_LV_2701-36_0_6_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_2701-36_0_6_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_2701-36_0_6_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_2701-36_0_6_node_114 | 0.4 | n |  | TRUE
122 | bus_LV_2701-36_0_6_node_113 | 0.4 | n |  | TRUE
123 | bus_LV_2701-36_0_6_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_2701-36_0_6_node_102 | 0.4 | n |  | TRUE
125 | bus_LV_2701-36_0_6_node_103 | 0.4 | n |  | TRUE
126 | bus_LV_2701-36_0_6_node_104 | 0.4 | n |  | TRUE
127 | bus_LV_2701-36_0_6_node_105 | 0.4 | n |  | TRUE
128 | bus_LV_2701-36_0_6_node_106 | 0.4 | n |  | TRUE
129 | bus_LV_2701-36_0_6_node_107 | 0.4 | n |  | TRUE
130 | bus_LV_2701-36_0_6_node_116 | 0.4 | n |  | TRUE
131 | bus_LV_2701-36_0_6_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_2701-36_0_6_node_119 | 0.4 | n |  | TRUE
133 | bus_LV_2701-36_0_6_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_2701-36_0_6_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_2701-36_0_6_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_2701-36_0_6_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_2701-36_0_6_node_130 | 0.4 | n |  | TRUE
138 | bus_LV_2701-36_0_6_node_124 | 0.4 | n |  | TRUE
139 | bus_LV_2701-36_0_6_node_125 | 0.4 | n |  | TRUE
140 | bus_LV_2701-36_0_6_node_126 | 0.4 | n |  | TRUE
141 | bus_LV_2701-36_0_6_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_2701-36_0_6_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_2701-36_0_6_node_134 | 0.4 | n |  | TRUE
144 | bus_LV_2701-36_0_6_node_136 | 0.4 | n |  | TRUE
145 | bus_LV_2701-36_0_6_node_137 | 0.4 | n |  | TRUE
146 | bus_LV_2701-36_0_6_node_149 | 0.4 | n |  | TRUE
147 | bus_LV_2701-36_0_6_node_139 | 0.4 | n |  | TRUE
148 | bus_LV_2701-36_0_6_node_140 | 0.4 | n |  | TRUE
149 | bus_LV_2701-36_0_6_node_141 | 0.4 | n |  | TRUE
150 | bus_LV_2701-36_0_6_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_2701-36_0_6_node_144 | 0.4 | n |  | TRUE
152 | bus_LV_2701-36_0_6_node_154 | 0.4 | n |  | TRUE
153 | bus_MV_347_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-36_0_6_load_0 | 0 | 0.013185 | 0.0033044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-36_0_6_load_1 | 1 | 0.0057368 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-36_0_6_load_3 | 3 | 0.00095207 | 0.00023861 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-36_0_6_load_16 | 8 | 0.0050512 | 0.0012659 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-36_0_6_load_95 | 10 | 0.0050584 | 0.0012678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-36_0_6_load_129 | 14 | 0.0017104 | 0.00042868 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-36_0_6_load_90 | 15 | 0.0049444 | 0.0012392 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-36_0_6_load_131 | 16 | 0.0023943 | 0.00060008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-36_0_6_load_72 | 17 | 0.0021808 | 0.00054657 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-36_0_6_load_152 | 21 | 0.0023897 | 0.00059891 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-36_0_6_load_92 | 22 | 0.0041134 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-36_0_6_load_145 | 25 | 0.0012511 | 0.00031355 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-36_0_6_load_115 | 26 | 0.0034645 | 0.00086828 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-36_0_6_load_110 | 27 | 0.0059564 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-36_0_6_load_87 | 28 | 0.0040002 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-36_0_6_load_94 | 29 | 0.0083224 | 0.0020858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-36_0_6_load_66 | 31 | 0.014905 | 0.0037356 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-36_0_6_load_155 | 33 | 0.00044979 | 0.00011273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-36_0_6_load_127 | 34 | 0.0023294 | 0.0005838 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-36_0_6_load_73 | 37 | 0.0020058 | 0.00050271 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-36_0_6_load_38 | 38 | 0.0019099 | 0.00047867 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-36_0_6_load_91 | 39 | 0.0040885 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-36_0_6_load_150 | 40 | 0.0023351 | 0.00058522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-36_0_6_load_143 | 41 | 0.0012195 | 0.00030564 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-36_0_6_load_109 | 42 | 0.0059425 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-36_0_6_load_88 | 43 | 0.003901 | 0.00097767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-36_0_6_load_17 | 44 | 0.008976 | 0.0022496 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-36_0_6_load_20 | 47 | 0.0023999 | 0.00060147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-36_0_6_load_21 | 48 | 0.0033373 | 0.00083641 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-36_0_6_load_24 | 50 | 0.0023403 | 0.00058655 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-36_0_6_load_25 | 51 | 0.0036244 | 0.00090836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-36_0_6_load_135 | 54 | 0.0023414 | 0.00058682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-36_0_6_load_120 | 55 | 0.0032631 | 0.0008178 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-36_0_6_load_62 | 57 | 0.001482 | 0.00037142 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-36_0_6_load_133 | 58 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-36_0_6_load_118 | 59 | 0.0023495 | 0.00058885 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-36_0_6_load_26 | 60 | 0.0057297 | 0.001436 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-36_0_6_load_27 | 61 | 0.0031807 | 0.00079716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-36_0_6_load_28 | 62 | 0.0018254 | 0.00045748 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-36_0_6_load_29 | 63 | 0.0051869 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-36_0_6_load_35 | 66 | 0.0047901 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-36_0_6_load_65 | 67 | 0.013424 | 0.0033643 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-36_0_6_load_156 | 68 | 0.00023552 | 5.9027e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-36_0_6_load_39 | 71 | 0.0012283 | 0.00030785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-36_0_6_load_40 | 72 | 0.038171 | 0.0095666 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-36_0_6_load_45 | 73 | 0.00082338 | 0.00020636 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-36_0_6_load_41 | 74 | 0.0014201 | 0.00035591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-36_0_6_load_69 | 75 | 0.0025841 | 0.00064763 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-36_0_6_load_44 | 76 | 0.00090856 | 0.00022771 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-36_0_6_load_67 | 77 | 0.0045241 | 0.0011338 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-36_0_6_load_70 | 78 | 0.006503 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-36_0_6_load_108 | 79 | 0.0060498 | 0.0015162 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-36_0_6_load_86 | 81 | 0.0046517 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-36_0_6_load_68 | 83 | 0.00072124 | 0.00018076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-36_0_6_load_46 | 84 | 0.0029608 | 0.00074203 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-36_0_6_load_47 | 85 | 0.02566 | 0.006431 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-36_0_6_load_53 | 91 | 0.072183 | 0.018091 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-36_0_6_load_55 | 93 | 0.0060296 | 0.0015112 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-36_0_6_load_63 | 94 | 0.0013513 | 0.00033867 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-36_0_6_load_61 | 95 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-36_0_6_load_148 | 97 | 0.0014462 | 0.00036245 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-36_0_6_load_56 | 99 | 0.02128 | 0.0053333 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-36_0_6_load_157 | 101 | 0.061197 | 0.015337 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-36_0_6_load_147 | 102 | 0.0014584 | 0.00036552 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-36_0_6_load_97 | 103 | 0.0046842 | 0.001174 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-36_0_6_load_81 | 104 | 0.0049884 | 0.0012502 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-36_0_6_load_75 | 105 | 0.0016261 | 0.00040754 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-36_0_6_load_77 | 107 | 0.0023891 | 0.00059876 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-36_0_6_load_78 | 108 | 0.0050112 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-36_0_6_load_79 | 109 | 0.0039219 | 0.00098293 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-36_0_6_load_80 | 110 | 0.004929 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-36_0_6_load_99 | 111 | 0.0039961 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-36_0_6_load_85 | 112 | 0.004999 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-36_0_6_load_100 | 113 | 0.0017837 | 0.00044703 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-36_0_6_load_82 | 115 | 0.0049242 | 0.0012341 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-36_0_6_load_98 | 116 | 0.017468 | 0.004378 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-36_0_6_load_89 | 117 | 0.012765 | 0.0031993 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-36_0_6_load_111 | 119 | 0.0039973 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-36_0_6_load_112 | 120 | 0.0016479 | 0.00041299 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-36_0_6_load_114 | 121 | 0.0040041 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-36_0_6_load_101 | 123 | 0.0021396 | 0.00053623 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-36_0_6_load_102 | 124 | 0.0021466 | 0.00053799 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-36_0_6_load_103 | 125 | 0.0015287 | 0.00038313 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-36_0_6_load_104 | 126 | 0.0017414 | 0.00043643 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-36_0_6_load_105 | 127 | 0.001233 | 0.00030901 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-36_0_6_load_106 | 128 | 0.0017827 | 0.00044678 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-36_0_6_load_107 | 129 | 0.001448 | 0.00036291 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-36_0_6_load_116 | 130 | 0.0023479 | 0.00058844 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-36_0_6_load_117 | 131 | 0.0023565 | 0.00059059 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-36_0_6_load_119 | 132 | 0.0023476 | 0.00058835 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-36_0_6_load_121 | 133 | 0.0023493 | 0.00058879 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-36_0_6_load_122 | 134 | 0.0023359 | 0.00058542 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-36_0_6_load_123 | 135 | 0.0023355 | 0.00058533 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-36_0_6_load_138 | 136 | 0.0023269 | 0.00058318 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2701-36_0_6_load_130 | 137 | 0.0023588 | 0.00059117 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2701-36_0_6_load_124 | 138 | 0.0023424 | 0.00058706 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2701-36_0_6_load_125 | 139 | 0.0023472 | 0.00058826 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2701-36_0_6_load_126 | 140 | 0.0023569 | 0.0005907 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2701-36_0_6_load_128 | 141 | 0.0023494 | 0.00058883 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2701-36_0_6_load_132 | 142 | 0.0023568 | 0.00059068 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2701-36_0_6_load_134 | 143 | 0.0023398 | 0.00058641 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2701-36_0_6_load_136 | 144 | 0.0023284 | 0.00058356 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2701-36_0_6_load_137 | 145 | 0.0023546 | 0.00059011 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2701-36_0_6_load_149 | 146 | 0.0023584 | 0.00059106 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2701-36_0_6_load_139 | 147 | 0.0023496 | 0.00058887 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2701-36_0_6_load_140 | 148 | 0.001444 | 0.0003619 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2701-36_0_6_load_141 | 149 | 0.0023462 | 0.00058802 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2701-36_0_6_load_142 | 150 | 0.001445 | 0.00036215 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2701-36_0_6_load_144 | 151 | 0.0014567 | 0.00036509 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2701-36_0_6_load_154 | 152 | 0.0063116 | 0.0015818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 130 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-36_0_6_line_0 |  | 0 | 1 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-36_0_6_line_1 |  | 0 | 2 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-36_0_6_line_2 |  | 1 | 3 | 0.01464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-36_0_6_line_3 |  | 2 | 4 | 0.043862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2701-36_0_6_line_4 |  | 2 | 5 | 0.072109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2701-36_0_6_line_5 |  | 3 | 6 | 0.0068535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-36_0_6_line_6 |  | 4 | 7 | 0.00814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2701-36_0_6_line_7 |  | 4 | 8 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-36_0_6_line_8 |  | 5 | 17 | 0.041669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2701-36_0_6_line_9 |  | 6 | 26 | 0.052577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-36_0_6_line_10 |  | 6 | 27 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-36_0_6_line_11 |  | 7 | 15 | 0.020244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2701-36_0_6_line_12 |  | 8 | 28 | 0.034064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-36_0_6_line_13 |  | 9 | 10 | 0.0073308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2701-36_0_6_line_14 |  | 9 | 11 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2701-36_0_6_line_15 |  | 9 | 12 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2701-36_0_6_line_16 |  | 10 | 15 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2701-36_0_6_line_17 |  | 11 | 16 | 0.0029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_2701-36_0_6_line_18 |  | 11 | 13 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2701-36_0_6_line_19 |  | 12 | 29 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2701-36_0_6_line_20 |  | 13 | 14 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_2701-36_0_6_line_21 |  | 14 | 34 | 0.0086481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2701-36_0_6_line_22 |  | 16 | 23 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_2701-36_0_6_line_23 |  | 17 | 37 | 0.035086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2701-36_0_6_line_24 |  | 18 | 19 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-36_0_6_line_25 |  | 18 | 20 | 0.008024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2701-36_0_6_line_26 |  | 18 | 21 | 0.026289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2701-36_0_6_line_27 |  | 19 | 22 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-36_0_6_line_28 |  | 20 | 25 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_2701-36_0_6_line_29 |  | 21 | 24 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_2701-36_0_6_line_30 |  | 22 | 39 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-36_0_6_line_31 |  | 23 | 24 | 0.004262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2701-36_0_6_line_32 |  | 24 | 40 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-36_0_6_line_33 |  | 25 | 41 | 0.0086694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2701-36_0_6_line_34 |  | 27 | 42 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-36_0_6_line_35 |  | 28 | 43 | 0.00034491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-36_0_6_line_36 |  | 29 | 118 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-36_0_6_line_37 |  | 30 | 31 | 0.11963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-36_0_6_line_38 |  | 30 | 32 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-36_0_6_line_39 |  | 30 | 33 | 0.063273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-36_0_6_line_40 |  | 32 | 67 | 0.046481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-36_0_6_line_41 |  | 33 | 68 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-36_0_6_line_42 |  | 34 | 139 | 0.00013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2701-36_0_6_line_43 |  | 35 | 36 | 0.051732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2701-36_0_6_line_44 |  | 35 | 37 | 0.0062261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2701-36_0_6_line_45 |  | 36 | 38 | 0.076059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2701-36_0_6_line_46 |  | 38 | 69 | 0.11717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-36_0_6_line_47 |  | 40 | 146 | 0.0085944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-36_0_6_line_48 |  | 41 | 149 | 0.0085913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2701-36_0_6_line_49 |  | 42 | 79 | 0.014488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-36_0_6_line_50 |  | 43 | 117 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-36_0_6_line_51 |  | 44 | 45 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-36_0_6_line_52 |  | 44 | 46 | 0.039588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-36_0_6_line_53 |  | 45 | 47 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-36_0_6_line_54 |  | 45 | 48 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-36_0_6_line_55 |  | 46 | 49 | 0.006406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-36_0_6_line_56 |  | 48 | 50 | 0.0085319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-36_0_6_line_57 |  | 49 | 51 | 0.004071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-36_0_6_line_58 |  | 50 | 55 | 0.00012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-36_0_6_line_59 |  | 52 | 53 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-36_0_6_line_60 |  | 52 | 54 | 0.020341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-36_0_6_line_61 |  | 53 | 56 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-36_0_6_line_62 |  | 53 | 57 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-36_0_6_line_63 |  | 54 | 58 | 0.0085873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-36_0_6_line_64 |  | 55 | 59 | 0.0084542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-36_0_6_line_65 |  | 56 | 152 | 0.031135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-36_0_6_line_66 |  | 58 | 142 | 0.0086229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-36_0_6_line_67 |  | 59 | 130 | 0.00013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-36_0_6_line_68 |  | 60 | 61 | 0.0057614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-36_0_6_line_69 |  | 60 | 62 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-36_0_6_line_70 |  | 61 | 63 | 0.038043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-36_0_6_line_71 |  | 63 | 64 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-36_0_6_line_72 |  | 64 | 65 | 0.14203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-36_0_6_line_73 |  | 65 | 66 | 0.0838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-36_0_6_line_74 |  | 66 | 69 | 0.012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-36_0_6_line_75 |  | 67 | 92 | 0.0029369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-36_0_6_line_76 |  | 69 | 70 | 0.007222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-36_0_6_line_77 |  | 70 | 71 | 0.016373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-36_0_6_line_78 |  | 70 | 72 | 0.071708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-36_0_6_line_79 |  | 71 | 73 | 0.10993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-36_0_6_line_80 |  | 72 | 74 | 0.0094194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-36_0_6_line_81 |  | 73 | 75 | 0.0034128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-36_0_6_line_82 |  | 75 | 83 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-36_0_6_line_83 |  | 76 | 77 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-36_0_6_line_84 |  | 77 | 83 | 0.02524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-36_0_6_line_85 |  | 78 | 79 | 0.044593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-36_0_6_line_86 |  | 80 | 81 | 0.094432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-36_0_6_line_87 |  | 80 | 82 | 0.060416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-36_0_6_line_88 |  | 81 | 103 | 0.016287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-36_0_6_line_89 |  | 82 | 104 | 0.08161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-36_0_6_line_90 |  | 84 | 85 | 0.042044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_2701-36_0_6_line_91 |  | 84 | 86 | 0.030412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_2701-36_0_6_line_92 |  | 85 | 87 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_2701-36_0_6_line_93 |  | 86 | 88 | 0.050293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_2701-36_0_6_line_94 |  | 86 | 89 | 0.044629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-36_0_6_line_95 |  | 87 | 90 | 0.15415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_2701-36_0_6_line_96 |  | 87 | 91 | 0.040756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_2701-36_0_6_line_97 |  | 88 | 92 | 0.06182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-36_0_6_line_98 |  | 88 | 93 | 0.030902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-36_0_6_line_99 |  | 89 | 94 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-36_0_6_line_100 |  | 90 | 95 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_2701-36_0_6_line_101 |  | 91 | 96 | 0.073716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_2701-36_0_6_line_102 |  | 95 | 97 | 0.0086404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_2701-36_0_6_line_103 |  | 96 | 98 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_2701-36_0_6_line_104 |  | 97 | 102 | 0.0085895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_2701-36_0_6_line_105 |  | 98 | 100 | 0.065671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_2701-36_0_6_line_106 |  | 98 | 99 | 0.032892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2701-36_0_6_line_107 |  | 100 | 101 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_2701-36_0_6_line_108 |  | 102 | 151 | 0.0086388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_2701-36_0_6_line_109 |  | 103 | 116 | 0.0092927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2701-36_0_6_line_110 |  | 104 | 115 | 8.792e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2701-36_0_6_line_111 |  | 105 | 106 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2701-36_0_6_line_112 |  | 106 | 107 | 0.016515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2701-36_0_6_line_113 |  | 106 | 108 | 0.039628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2701-36_0_6_line_114 |  | 107 | 109 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2701-36_0_6_line_115 |  | 108 | 110 | 9.2265e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2701-36_0_6_line_116 |  | 109 | 111 | 0.00015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2701-36_0_6_line_117 |  | 110 | 112 | 9.0657e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2701-36_0_6_line_118 |  | 111 | 113 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2701-36_0_6_line_119 |  | 112 | 114 | 0.030837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2701-36_0_6_line_120 |  | 113 | 121 | 0.0085493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2701-36_0_6_line_121 |  | 114 | 115 | 0.0031613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2701-36_0_6_line_122 |  | 118 | 119 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2701-36_0_6_line_123 |  | 119 | 120 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2701-36_0_6_line_124 |  | 120 | 122 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2701-36_0_6_line_125 |  | 121 | 122 | 0.0068622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2701-36_0_6_line_126 |  | 122 | 129 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2701-36_0_6_line_127 |  | 123 | 124 | 0.0085004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2701-36_0_6_line_128 |  | 123 | 125 | 0.0070678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2701-36_0_6_line_129 |  | 125 | 126 | 0.00033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2701-36_0_6_line_130 |  | 126 | 127 | 0.0060684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2701-36_0_6_line_131 |  | 127 | 128 | 0.0045594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2701-36_0_6_line_132 |  | 128 | 129 | 0.0011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2701-36_0_6_line_133 |  | 130 | 131 | 0.0084744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_2701-36_0_6_line_134 |  | 131 | 132 | 0.00015664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_2701-36_0_6_line_135 |  | 132 | 133 | 0.0084438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_2701-36_0_6_line_136 |  | 133 | 134 | 0.00014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
137 | LV_2701-36_0_6_line_137 |  | 134 | 135 | 0.0084159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_2701-36_0_6_line_138 |  | 135 | 136 | 0.00015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_2701-36_0_6_line_139 |  | 136 | 137 | 0.0084349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_2701-36_0_6_line_140 |  | 137 | 141 | 0.00014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
141 | LV_2701-36_0_6_line_141 |  | 138 | 139 | 0.0084501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_2701-36_0_6_line_142 |  | 138 | 140 | 0.00014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
143 | LV_2701-36_0_6_line_143 |  | 140 | 141 | 0.008477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_2701-36_0_6_line_144 |  | 142 | 143 | 0.0086042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2701-36_0_6_line_145 |  | 143 | 144 | 0.0085529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2701-36_0_6_line_146 |  | 144 | 145 | 0.0085794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2701-36_0_6_line_147 |  | 145 | 146 | 0.0086379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2701-36_0_6_line_148 |  | 147 | 148 | 0.0085952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
149 | LV_2701-36_0_6_line_149 |  | 147 | 149 | 0.0086381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_2701-36_0_6_line_150 |  | 148 | 150 | 0.0085585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_2701-36_0_6_line_151 |  | 150 | 151 | 0.0085952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-36_0_6_trafo_116 | 0.63 MVA 20/0.4 kV | 153 | 130 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2613851.5908 | 1268208.9219 | 2613843.6099 | 1268200.8643 | 2613836.2111 | 1268191.6295 | 2613834.5724 | 1268189.3973
1 | 2613866.5028 | 1268220.2425 | 2613851.5908 | 1268208.9219 | 2613851.5908 | 1268208.9219
2 | 2613834.5724 | 1268189.3973 | 2613825.9084 | 1268177.5957
3 | 2613840.3292 | 1268255.4951 | 2613866.5028 | 1268220.2425
4 | 2613866.5028 | 1268220.2425 | 2613868.2773 | 1268217.6448 | 2613875.0939 | 1268208.6878 | 2613879.3294 | 1268202.8825 | 2613906.7695 | 1268163.708 | 2613908.37 | 1268161.5436
5 | 2613821.8526 | 1268172.0711 | 2613825.9084 | 1268177.5957
6 | 2613840.3292 | 1268255.4951 | 2613835.5726 | 1268262.1109
7 | 2613840.3292 | 1268255.4951 | 2613824.5317 | 1268245.3875
8 | 2613908.37 | 1268161.5436 | 2613932.3947 | 1268127.4977
9 | 2613821.8526 | 1268172.0711 | 2613839.9399 | 1268180.4303 | 2613856.8684 | 1268191.9223 | 2613866.8477 | 1268198.9243
10 | 2613821.8526 | 1268172.0711 | 2613812.5556 | 1268162.9401
11 | 2613835.5726 | 1268262.1109 | 2613823.7593 | 1268278.551
12 | 2613824.5317 | 1268245.3875 | 2613795.838 | 1268227.0285
13 | 2613811.1331 | 1268296.1223 | 2613815.4109 | 1268290.1691
14 | 2613811.1331 | 1268296.1223 | 2613817.3238 | 1268300.5843 | 2613820.8173 | 1268303.1054 | 2613827.9094 | 1268308.2255
15 | 2613811.1331 | 1268296.1223 | 2613804.6014 | 1268305.6472
16 | 2613815.4109 | 1268290.1691 | 2613823.7593 | 1268278.551
17 | 2613827.9094 | 1268308.2255 | 2613826.1941 | 1268310.6073
18 | 2613837.0147 | 1268295.5822 | 2613827.9094 | 1268308.2255
19 | 2613804.6014 | 1268305.6472 | 2613788.7125 | 1268295.0233
20 | 2613837.0147 | 1268295.5822 | 2613846.4679 | 1268302.4131
21 | 2613846.4679 | 1268302.4131 | 2613853.4775 | 1268307.4782
22 | 2613808.8912 | 1268334.6331 | 2613826.1941 | 1268310.6073
23 | 2613932.3947 | 1268127.4977 | 2613938.747 | 1268118.4957 | 2613951.2857 | 1268097.9513
24 | 2613764.5307 | 1268362.8611 | 2613770.2555 | 1268367.0106 | 2613777.1439 | 1268372.3192 | 2613780.4359 | 1268374.1393
25 | 2613775.7399 | 1268380.6552 | 2613780.4359 | 1268374.1393
26 | 2613780.4359 | 1268374.1393 | 2613795.8018 | 1268352.8084
27 | 2613764.5307 | 1268362.8611 | 2613771.7869 | 1268352.4059
28 | 2613775.7399 | 1268380.6552 | 2613785.559 | 1268387.6782
29 | 2613806.3997 | 1268338.0964 | 2613795.8018 | 1268352.8084
30 | 2613782.3115 | 1268337.2416 | 2613771.7869 | 1268352.4059
31 | 2613806.3997 | 1268338.0964 | 2613808.8912 | 1268334.6331
32 | 2613806.3997 | 1268338.0964 | 2613823.091 | 1268349.9168
33 | 2613792.6104 | 1268392.7216 | 2613785.559 | 1268387.6782
34 | 2613794.2732 | 1268148.6641 | 2613805.3414 | 1268155.8546 | 2613812.5556 | 1268162.9401
35 | 2613795.5475 | 1268226.8426 | 2613795.838 | 1268227.0285
36 | 2613775.8158 | 1268286.4001 | 2613788.7125 | 1268295.0233
37 | 2614135.1242 | 1268380.5335 | 2614214.0367 | 1268436.6503 | 2614232.6575 | 1268449.8024
38 | 2614135.1242 | 1268380.5335 | 2614141.8419 | 1268416.2857
39 | 2614135.1242 | 1268380.5335 | 2614185.8615 | 1268342.7292
40 | 2614141.8419 | 1268416.2857 | 2614126.2205 | 1268406.2859 | 2614110.7156 | 1268429.521
41 | 2614196.8863 | 1268344.1898 | 2614196.7015 | 1268344.1659 | 2614185.8615 | 1268342.7292
42 | 2613853.5855 | 1268307.5563 | 2613853.4775 | 1268307.4782
43 | 2613977.8551 | 1268046.4481 | 2613966.3437 | 1268070.6825 | 2613954.5292 | 1268092.6368
44 | 2613954.5292 | 1268092.6368 | 2613951.2857 | 1268097.9513
45 | 2613977.8551 | 1268046.4481 | 2613947.5771 | 1268031.0994 | 2613908.678 | 1268014.963
46 | 2613800.4529 | 1267970.0682 | 2613908.678 | 1268014.963
47 | 2613823.091 | 1268349.9168 | 2613830.1048 | 1268354.8838
48 | 2613792.6104 | 1268392.7216 | 2613799.5983 | 1268397.7196
49 | 2613782.323 | 1268140.4915 | 2613785.5711 | 1268143.0108 | 2613794.2732 | 1268148.6641
50 | 2613773.9468 | 1268213.0219 | 2613795.5475 | 1268226.8426
51 | 2613918.6787 | 1268354.5925 | 2613927.3029 | 1268343.2852
52 | 2613950.9663 | 1268311.5491 | 2613932.9005 | 1268335.9461 | 2613927.3029 | 1268343.2852
53 | 2613918.6787 | 1268354.5925 | 2613908.1941 | 1268369.2825
54 | 2613918.6787 | 1268354.5925 | 2613909.2679 | 1268347.7923
55 | 2613950.9663 | 1268311.5491 | 2613956.2482 | 1268315.1974
56 | 2613902.3525 | 1268342.7952 | 2613909.2679 | 1268347.7923
57 | 2613956.2482 | 1268315.1974 | 2613959.5959 | 1268317.5138
58 | 2613902.3525 | 1268342.7952 | 2613902.2484 | 1268342.72
59 | 2613884.5064 | 1268402.4684 | 2613888.8025 | 1268396.452
60 | 2613888.8025 | 1268396.452 | 2613872.2022 | 1268384.6961
61 | 2613884.5064 | 1268402.4684 | 2613898.2174 | 1268412.2296
62 | 2613884.5064 | 1268402.4684 | 2613877.9845 | 1268411.6082
63 | 2613865.1942 | 1268379.7332 | 2613872.2022 | 1268384.6961
64 | 2613895.3959 | 1268337.7684 | 2613902.2484 | 1268342.72
65 | 2613898.2174 | 1268412.2296 | 2613916.7285 | 1268387.1553
66 | 2613858.1572 | 1268374.7498 | 2613865.1942 | 1268379.7332
67 | 2613895.3959 | 1268337.7684 | 2613895.2835 | 1268337.6872
68 | 2613770.8515 | 1267915.7502 | 2613768.474 | 1267920.9981
69 | 2613762.8405 | 1267933.4329 | 2613768.474 | 1267920.9981
70 | 2613770.8515 | 1267915.7502 | 2613770.8515 | 1267915.7502 | 2613768.7318 | 1267895.1641 | 2613775.7317 | 1267879.2912
71 | 2613786.0895 | 1267855.1874 | 2613785.3251 | 1267857.0092 | 2613779.082 | 1267871.6939 | 2613775.7317 | 1267879.2912
72 | 2613710.4983 | 1267936.2137 | 2613716.5665 | 1267922.2179 | 2613746.8683 | 1267849.8594 | 2613750.0923 | 1267842.1615 | 2613750.7658 | 1267840.5508 | 2613786.0895 | 1267855.1874
73 | 2613710.4983 | 1267936.2137 | 2613766.2118 | 1267959.5035 | 2613788.5855 | 1267966.4066
74 | 2613800.4529 | 1267970.0682 | 2613788.5855 | 1267966.4066
75 | 2614112.8178 | 1268431.5719 | 2614110.7156 | 1268429.521
76 | 2613797.5852 | 1267976.6995 | 2613800.4529 | 1267970.0682
77 | 2613797.5852 | 1267976.6995 | 2613812.611 | 1267983.204
78 | 2613797.5852 | 1267976.6995 | 2613765.1578 | 1267962.9034 | 2613761.8663 | 1267964.0633 | 2613748.69 | 1267994.2951
79 | 2613850.7405 | 1268050.9644 | 2613850.7405 | 1268050.9644 | 2613851.569 | 1268047.4639 | 2613852.2752 | 1268044.7748 | 2613853.3424 | 1268042.1977 | 2613864.8965 | 1268018.8304 | 2613868.3193 | 1268009.821 | 2613867.86 | 1268006.6621 | 2613866.924 | 1268004.6697 | 2613864.3486 | 1268002.0952 | 2613860.8298 | 1268000.686 | 2613855.3171 | 1267999.0275 | 2613851.6843 | 1267998.085 | 2613821.7853 | 1267984.5614 | 2613819.094 | 1267983.2653 | 2613815.8052 | 1267983.2576 | 2613814.6293 | 1267984.0777 | 2613812.611 | 1267983.204
80 | 2613744.9266 | 1268002.93 | 2613748.69 | 1267994.2951
81 | 2613850.7405 | 1268050.9644 | 2613849.4387 | 1268054.1191 | 2613849.4387 | 1268054.1191
82 | 2613844.337 | 1268063.154 | 2613845.7906 | 1268059.7257 | 2613848.2603 | 1268055.9955 | 2613849.4387 | 1268054.1191
83 | 2613835.2537 | 1268086.6431 | 2613834.813 | 1268087.6642 | 2613833.2801 | 1268089.8844 | 2613832.2157 | 1268091.2829 | 2613831.6305 | 1268093.7388 | 2613830.3284 | 1268097.0159
84 | 2613835.2537 | 1268086.6431 | 2613835.8724 | 1268085.2094 | 2613836.231 | 1268083.1087 | 2613837.292 | 1268079.9534 | 2613840.2442 | 1268072.5885 | 2613843.3085 | 1268065.5796 | 2613844.337 | 1268063.154
85 | 2613782.323 | 1268140.4915 | 2613750.6167 | 1268115.8995 | 2613746.8243 | 1268113.5376
86 | 2613580.0316 | 1268082.5167 | 2613597.1242 | 1268055.5924 | 2613648.8962 | 1268090.678
87 | 2613580.0316 | 1268082.5167 | 2613553.4694 | 1268136.8164
88 | 2613648.8962 | 1268090.678 | 2613662.3784 | 1268099.8148
89 | 2613553.4694 | 1268136.8164 | 2613621.4713 | 1268181.937
90 | 2614018.9542 | 1268477.9767 | 2613995.1792 | 1268512.6529
91 | 2614036.1517 | 1268452.894 | 2614018.9542 | 1268477.9767
92 | 2613984.2969 | 1268528.5248 | 2613995.1792 | 1268512.6529
93 | 2614077.178 | 1268482.1562 | 2614036.1517 | 1268452.894
94 | 2613998.3851 | 1268448.4016 | 2614001.8267 | 1268447.3534 | 2614011.0921 | 1268440.2592 | 2614015.5865 | 1268439.4804 | 2614019.5499 | 1268440.546 | 2614025.8819 | 1268445.5645 | 2614036.1517 | 1268452.894
95 | 2613858.0584 | 1268439.5327 | 2613984.2969 | 1268528.5248
96 | 2613984.2969 | 1268528.5248 | 2614017.6066 | 1268552.0097
97 | 2614077.178 | 1268482.1562 | 2614112.8178 | 1268431.5719
98 | 2614077.178 | 1268482.1562 | 2614102.4715 | 1268499.9097
99 | 2613998.3851 | 1268448.4016 | 2613989.1216 | 1268460.1805
100 | 2613858.0584 | 1268439.5327 | 2613848.6082 | 1268432.7735
101 | 2614077.7388 | 1268594.6479 | 2614057.4178 | 1268580.0784 | 2614017.6066 | 1268552.0097
102 | 2613841.5804 | 1268427.747 | 2613848.6082 | 1268432.7735
103 | 2614088.3162 | 1268602.2339 | 2614077.7388 | 1268594.6479
104 | 2613834.5939 | 1268422.75 | 2613841.5804 | 1268427.747
105 | 2614088.3162 | 1268602.2339 | 2614089.6253 | 1268608.6749 | 2614086.7107 | 1268615.9954 | 2614075.303 | 1268631.7016 | 2614101.2812 | 1268650.054
106 | 2614088.3162 | 1268602.2339 | 2614095.6889 | 1268606.1875 | 2614113.5426 | 1268617.1154 | 2614116.8956 | 1268618.4076
107 | 2614101.2812 | 1268650.054 | 2614091.3852 | 1268663.9792
108 | 2613834.5939 | 1268422.75 | 2613827.5675 | 1268417.7244
109 | 2613670.071 | 1268105.028 | 2613662.3784 | 1268099.8148
110 | 2613621.4713 | 1268181.937 | 2613621.5446 | 1268181.9856
111 | 2613683.0447 | 1268222.7963 | 2613670.8258 | 1268237.7878
112 | 2613683.0447 | 1268222.7963 | 2613696.6443 | 1268232.166
113 | 2613683.0447 | 1268222.7963 | 2613650.0253 | 1268200.8849
114 | 2613696.6443 | 1268232.166 | 2613705.8649 | 1268238.5186
115 | 2613649.9484 | 1268200.8339 | 2613650.0253 | 1268200.8849
116 | 2613705.8649 | 1268238.5186 | 2613705.9894 | 1268238.6044
117 | 2613649.8728 | 1268200.7838 | 2613649.9484 | 1268200.8339
118 | 2613727.029 | 1268253.0999 | 2613705.9894 | 1268238.6044
119 | 2613624.1787 | 1268183.7334 | 2613649.8728 | 1268200.7838
120 | 2613727.029 | 1268253.0999 | 2613734.0691 | 1268257.9503
121 | 2613624.1787 | 1268183.7334 | 2613621.5446 | 1268181.9856
122 | 2613775.8158 | 1268286.4001 | 2613762.2955 | 1268277.202
123 | 2613762.2955 | 1268277.202 | 2613752.9151 | 1268270.8204
124 | 2613739.72 | 1268261.8436 | 2613752.9151 | 1268270.8204
125 | 2613739.72 | 1268261.8436 | 2613734.0691 | 1268257.9503
126 | 2613739.72 | 1268261.8436 | 2613730.1447 | 1268275.9813
127 | 2613719.3791 | 1268291.8764 | 2613714.6122 | 1268298.9145
128 | 2613719.3791 | 1268291.8764 | 2613723.3425 | 1268286.0245
129 | 2613723.3425 | 1268286.0245 | 2613723.5295 | 1268285.7484
130 | 2613723.5295 | 1268285.7484 | 2613726.9325 | 1268280.724
131 | 2613726.9325 | 1268280.724 | 2613729.4893 | 1268276.9489
132 | 2613729.4893 | 1268276.9489 | 2613730.1447 | 1268275.9813
133 | 2613895.2835 | 1268337.6872 | 2613888.4147 | 1268332.7238
134 | 2613888.4147 | 1268332.7238 | 2613888.2877 | 1268332.6321
135 | 2613888.2877 | 1268332.6321 | 2613881.4437 | 1268327.6866
136 | 2613881.4437 | 1268327.6866 | 2613881.3237 | 1268327.5999
137 | 2613874.5024 | 1268322.6708 | 2613881.3237 | 1268327.5999
138 | 2613874.5024 | 1268322.6708 | 2613874.3784 | 1268322.5812
139 | 2613874.3784 | 1268322.5812 | 2613867.5416 | 1268317.641
140 | 2613867.5416 | 1268317.641 | 2613867.4214 | 1268317.5541
141 | 2613860.4346 | 1268312.5055 | 2613853.5855 | 1268307.5563
142 | 2613860.5505 | 1268312.5892 | 2613860.4346 | 1268312.5055
143 | 2613867.4214 | 1268317.5541 | 2613860.5505 | 1268312.5892
144 | 2613858.1572 | 1268374.7498 | 2613851.1354 | 1268369.7772
145 | 2613844.1555 | 1268364.8342 | 2613851.1354 | 1268369.7772
146 | 2613844.1555 | 1268364.8342 | 2613837.154 | 1268359.8759
147 | 2613837.154 | 1268359.8759 | 2613830.1048 | 1268354.8838
148 | 2613806.6242 | 1268402.7449 | 2613813.6152 | 1268407.7451
149 | 2613806.6242 | 1268402.7449 | 2613799.5983 | 1268397.7196
150 | 2613813.6152 | 1268407.7451 | 2613820.5764 | 1268412.7241
151 | 2613827.5675 | 1268417.7244 | 2613820.5764 | 1268412.7241

## bus_geodata
| x | y | coords
0 | 2613851.5908 | 1268208.9219
1 | 2613834.5724 | 1268189.3973
2 | 2613866.5028 | 1268220.2425
3 | 2613825.9084 | 1268177.5957
4 | 2613840.3292 | 1268255.4951
5 | 2613908.37 | 1268161.5436
6 | 2613821.8526 | 1268172.0711
7 | 2613835.5726 | 1268262.1109
8 | 2613824.5317 | 1268245.3875
9 | 2613811.1331 | 1268296.1223
10 | 2613815.4109 | 1268290.1691
11 | 2613827.9094 | 1268308.2255
12 | 2613804.6014 | 1268305.6472
13 | 2613837.0147 | 1268295.5822
14 | 2613846.4679 | 1268302.4131
15 | 2613823.7593 | 1268278.551
16 | 2613826.1941 | 1268310.6073
17 | 2613932.3947 | 1268127.4977
18 | 2613780.4359 | 1268374.1393
19 | 2613764.5307 | 1268362.8611
20 | 2613775.7399 | 1268380.6552
21 | 2613795.8018 | 1268352.8084
22 | 2613771.7869 | 1268352.4059
23 | 2613808.8912 | 1268334.6331
24 | 2613806.3997 | 1268338.0964
25 | 2613785.559 | 1268387.6782
26 | 2613866.8477 | 1268198.9243
27 | 2613812.5556 | 1268162.9401
28 | 2613795.838 | 1268227.0285
29 | 2613788.7125 | 1268295.0233
30 | 2614135.1242 | 1268380.5335
31 | 2614232.6575 | 1268449.8024
32 | 2614141.8419 | 1268416.2857
33 | 2614185.8615 | 1268342.7292
34 | 2613853.4775 | 1268307.4782
35 | 2613954.5292 | 1268092.6368
36 | 2613977.8551 | 1268046.4481
37 | 2613951.2857 | 1268097.9513
38 | 2613908.678 | 1268014.963
39 | 2613782.3115 | 1268337.2416
40 | 2613823.091 | 1268349.9168
41 | 2613792.6104 | 1268392.7216
42 | 2613794.2732 | 1268148.6641
43 | 2613795.5475 | 1268226.8426
44 | 2613927.3029 | 1268343.2852
45 | 2613918.6787 | 1268354.5925
46 | 2613950.9663 | 1268311.5491
47 | 2613908.1941 | 1268369.2825
48 | 2613909.2679 | 1268347.7923
49 | 2613956.2482 | 1268315.1974
50 | 2613902.3525 | 1268342.7952
51 | 2613959.5959 | 1268317.5138
52 | 2613888.8025 | 1268396.452
53 | 2613884.5064 | 1268402.4684
54 | 2613872.2022 | 1268384.6961
55 | 2613902.2484 | 1268342.72
56 | 2613898.2174 | 1268412.2296
57 | 2613877.9845 | 1268411.6082
58 | 2613865.1942 | 1268379.7332
59 | 2613895.3959 | 1268337.7684
60 | 2613768.474 | 1267920.9981
61 | 2613770.8516 | 1267915.7502
62 | 2613762.8405 | 1267933.4329
63 | 2613775.7317 | 1267879.2912
64 | 2613786.0895 | 1267855.1874
65 | 2613710.4983 | 1267936.2137
66 | 2613788.5855 | 1267966.4066
67 | 2614110.7156 | 1268429.521
68 | 2614196.8863 | 1268344.1898
69 | 2613800.4529 | 1267970.0682
70 | 2613797.5852 | 1267976.6995
71 | 2613812.611 | 1267983.204
72 | 2613748.69 | 1267994.2951
73 | 2613850.7405 | 1268050.9644
74 | 2613744.9266 | 1268002.93
75 | 2613849.4387 | 1268054.1191
76 | 2613830.3284 | 1268097.0159
77 | 2613835.2537 | 1268086.6431
78 | 2613746.8243 | 1268113.5376
79 | 2613782.323 | 1268140.4915
80 | 2613580.0316 | 1268082.5167
81 | 2613648.8962 | 1268090.678
82 | 2613553.4694 | 1268136.8164
83 | 2613844.337 | 1268063.154
84 | 2614018.9542 | 1268477.9767
85 | 2613995.1792 | 1268512.6529
86 | 2614036.1517 | 1268452.894
87 | 2613984.2969 | 1268528.5248
88 | 2614077.178 | 1268482.1562
89 | 2613998.3851 | 1268448.4016
90 | 2613858.0584 | 1268439.5327
91 | 2614017.6066 | 1268552.0097
92 | 2614112.8178 | 1268431.5719
93 | 2614102.4715 | 1268499.9097
94 | 2613989.1216 | 1268460.1805
95 | 2613848.6082 | 1268432.7735
96 | 2614077.7388 | 1268594.6479
97 | 2613841.5804 | 1268427.747
98 | 2614088.3162 | 1268602.2339
99 | 2614116.8956 | 1268618.4076
100 | 2614101.2812 | 1268650.054
101 | 2614091.3852 | 1268663.9792
102 | 2613834.5939 | 1268422.75
103 | 2613662.3784 | 1268099.8148
104 | 2613621.4713 | 1268181.937
105 | 2613670.8258 | 1268237.7878
106 | 2613683.0447 | 1268222.7963
107 | 2613696.6443 | 1268232.166
108 | 2613650.0253 | 1268200.8849
109 | 2613705.8649 | 1268238.5186
110 | 2613649.9484 | 1268200.8339
111 | 2613705.9894 | 1268238.6044
112 | 2613649.8728 | 1268200.7838
113 | 2613727.029 | 1268253.0999
114 | 2613624.1787 | 1268183.7334
115 | 2613621.5446 | 1268181.9856
116 | 2613670.071 | 1268105.028
117 | 2613773.9468 | 1268213.0219
118 | 2613775.8158 | 1268286.4001
119 | 2613762.2955 | 1268277.202
120 | 2613752.9151 | 1268270.8204
121 | 2613734.0691 | 1268257.9503
122 | 2613739.72 | 1268261.8436
123 | 2613719.3791 | 1268291.8764
124 | 2613714.6122 | 1268298.9145
125 | 2613723.3425 | 1268286.0245
126 | 2613723.5295 | 1268285.7484
127 | 2613726.9325 | 1268280.724
128 | 2613729.4893 | 1268276.9489
129 | 2613730.1447 | 1268275.9813
130 | 2613895.2835 | 1268337.6872
131 | 2613888.4147 | 1268332.7238
132 | 2613888.2877 | 1268332.6321
133 | 2613881.4437 | 1268327.6866
134 | 2613881.3237 | 1268327.5999
135 | 2613874.5024 | 1268322.6708
136 | 2613874.3784 | 1268322.5812
137 | 2613867.5416 | 1268317.641
138 | 2613860.4346 | 1268312.5055
139 | 2613853.5855 | 1268307.5563
140 | 2613860.5505 | 1268312.5892
141 | 2613867.4214 | 1268317.5541
142 | 2613858.1572 | 1268374.7498
143 | 2613851.1354 | 1268369.7772
144 | 2613844.1555 | 1268364.8342
145 | 2613837.154 | 1268359.8759
146 | 2613830.1048 | 1268354.8838
147 | 2613806.6242 | 1268402.7449
148 | 2613813.6152 | 1268407.7451
149 | 2613799.5983 | 1268397.7196
150 | 2613820.5764 | 1268412.7241
151 | 2613827.5675 | 1268417.7244
152 | 2613916.7285 | 1268387.1553
153 | 2613918.6787 | 1268354.5925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1