## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-388_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-388_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-388_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-388_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-388_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-388_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2701-388_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2701-388_0_5_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_2701-388_0_5_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_2701-388_0_5_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_2701-388_0_5_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_2701-388_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2701-388_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_2701-388_0_5_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_2701-388_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_2701-388_0_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2701-388_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2701-388_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_2701-388_0_5_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_2701-388_0_5_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2701-388_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-388_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2701-388_0_5_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2701-388_0_5_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2701-388_0_5_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2701-388_0_5_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2701-388_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2701-388_0_5_node_6 | 0.4 | n |  | TRUE
28 | bus_LV_2701-388_0_5_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_2701-388_0_5_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_2701-388_0_5_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_2701-388_0_5_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_2701-388_0_5_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_2701-388_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_2701-388_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2701-388_0_5_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2701-388_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2701-388_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2701-388_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_2701-388_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2701-388_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2701-388_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2701-388_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2701-388_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2701-388_0_5_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_2701-388_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_2701-388_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2701-388_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2701-388_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2701-388_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2701-388_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2701-388_0_5_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2701-388_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_MV_555_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-388_0_5_load_0 | 0 | 0.011243 | 0.0028177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-388_0_5_load_13 | 5 | 0.0048436 | 0.0012139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-388_0_5_load_51 | 8 | 0.017621 | 0.0044163 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-388_0_5_load_55 | 12 | 0.080043 | 0.020061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-388_0_5_load_37 | 14 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-388_0_5_load_57 | 16 | 0.025671 | 0.0064339 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-388_0_5_load_53 | 19 | 0.097994 | 0.02456 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-388_0_5_load_12 | 20 | 0.0021445 | 0.00053745 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-388_0_5_load_15 | 21 | 0.0041883 | 0.0010497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-388_0_5_load_26 | 24 | 0.014234 | 0.0035674 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-388_0_5_load_48 | 25 | 0.010989 | 0.002754 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-388_0_5_load_6 | 27 | 0.0059304 | 0.0014863 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-388_0_5_load_11 | 32 | 0.0089054 | 0.0022319 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-388_0_5_load_49 | 33 | 0.070956 | 0.017783 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-388_0_5_load_35 | 36 | 0.011734 | 0.0029408 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-388_0_5_load_36 | 39 | 0.0069313 | 0.0017372 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-388_0_5_load_32 | 41 | 0.0087583 | 0.002195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-388_0_5_load_33 | 42 | 0.012292 | 0.0030806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-388_0_5_load_50 | 44 | 0.0088256 | 0.0022119 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-388_0_5_load_58 | 45 | 0.008055 | 0.0020188 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-388_0_5_load_40 | 46 | 0.022602 | 0.0056646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-388_0_5_load_39 | 47 | 0.017341 | 0.004346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-388_0_5_load_43 | 48 | 0.015239 | 0.0038193 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-388_0_5_load_47 | 51 | 0.0046049 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-388_0_5_load_56 | 52 | 0.0065251 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-388_0_5_line_0 |  | 0 | 1 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-388_0_5_line_1 |  | 1 | 2 | 0.004432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-388_0_5_line_2 |  | 2 | 3 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-388_0_5_line_3 |  | 2 | 4 | 0.035267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-388_0_5_line_4 |  | 3 | 5 | 0.0075539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-388_0_5_line_5 |  | 4 | 8 | 0.071727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-388_0_5_line_6 |  | 5 | 20 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-388_0_5_line_7 |  | 6 | 7 | 0.0582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-388_0_5_line_8 |  | 6 | 8 | 0.076923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-388_0_5_line_9 |  | 7 | 25 | 0.034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-388_0_5_line_10 |  | 9 | 10 | 0.10302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-388_0_5_line_11 |  | 9 | 11 | 0.079522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-388_0_5_line_12 |  | 9 | 12 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2701-388_0_5_line_13 |  | 10 | 16 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-388_0_5_line_14 |  | 10 | 17 | 0.060379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-388_0_5_line_15 |  | 11 | 37 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-388_0_5_line_16 |  | 11 | 23 | 0.089714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-388_0_5_line_17 |  | 12 | 31 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2701-388_0_5_line_18 |  | 13 | 14 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-388_0_5_line_19 |  | 13 | 15 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-388_0_5_line_20 |  | 14 | 40 | 0.040033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-388_0_5_line_21 |  | 15 | 21 | 0.022995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-388_0_5_line_22 |  | 17 | 18 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-388_0_5_line_23 |  | 17 | 19 | 0.027056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-388_0_5_line_24 |  | 18 | 45 | 0.002197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-388_0_5_line_25 |  | 20 | 26 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-388_0_5_line_26 |  | 21 | 26 | 0.011787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-388_0_5_line_27 |  | 22 | 23 | 0.044482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-388_0_5_line_28 |  | 22 | 24 | 0.030702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-388_0_5_line_29 |  | 23 | 36 | 0.041299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-388_0_5_line_30 |  | 25 | 35 | 0.0094107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-388_0_5_line_31 |  | 27 | 28 | 0.0061354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-388_0_5_line_32 |  | 28 | 32 | 0.040286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-388_0_5_line_33 |  | 28 | 30 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-388_0_5_line_34 |  | 29 | 30 | 0.000874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-388_0_5_line_35 |  | 29 | 31 | 0.044075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-388_0_5_line_36 |  | 30 | 33 | 0.077234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-388_0_5_line_37 |  | 32 | 34 | 0.075938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-388_0_5_line_38 |  | 33 | 35 | 0.0083644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2701-388_0_5_line_39 |  | 34 | 38 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-388_0_5_line_40 |  | 35 | 48 | 0.05989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-388_0_5_line_41 |  | 37 | 46 | 0.017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-388_0_5_line_42 |  | 38 | 43 | 0.037241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-388_0_5_line_43 |  | 38 | 44 | 0.056749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-388_0_5_line_44 |  | 39 | 40 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-388_0_5_line_45 |  | 41 | 42 | 0.040863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-388_0_5_line_46 |  | 42 | 43 | 0.049309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-388_0_5_line_47 |  | 46 | 47 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-388_0_5_line_48 |  | 48 | 49 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-388_0_5_line_49 |  | 49 | 50 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-388_0_5_line_50 |  | 49 | 51 | 0.011658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-388_0_5_line_51 |  | 50 | 52 | 0.00339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-388_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 53 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2613359.2975 | 1266264.9546 | 2613363.3445 | 1266263.0068 | 2613365.2016 | 1266267.3807 | 2613367.0553 | 1266266.5954
1 | 2613359.2975 | 1266264.9546 | 2613357.4697 | 1266260.9143
2 | 2613357.4697 | 1266260.9143 | 2613356.1666 | 1266257.9315 | 2613381.2467 | 1266246.1576
3 | 2613330.8486 | 1266261.6884 | 2613333.8598 | 1266268.4109 | 2613356.1666 | 1266257.9315 | 2613357.4697 | 1266260.9143
4 | 2613381.2467 | 1266246.1576 | 2613377.8327 | 1266239.4191
5 | 2613330.8486 | 1266261.6884 | 2613302.4591 | 1266272.1987 | 2613299.9267 | 1266280.1986 | 2613311.7779 | 1266311.0646
6 | 2613367.6436 | 1266219.3082 | 2613377.8327 | 1266239.4191
7 | 2613361.9435 | 1266333.5417 | 2613370.8184 | 1266367.2519 | 2613375.8351 | 1266375.9359 | 2613381.9064 | 1266380.9086 | 2613386.167 | 1266384.3873
8 | 2613361.9435 | 1266333.5417 | 2613325.4483 | 1266346.6689 | 2613311.7779 | 1266311.0646
9 | 2613386.167 | 1266384.3873 | 2613414.307 | 1266404.2482
10 | 2613474.1611 | 1266311.5688 | 2613479.002 | 1266331.2713 | 2613482.2737 | 1266335.8931 | 2613486.1459 | 1266341.3057 | 2613487.409 | 1266345.3113 | 2613486.8613 | 1266351.1253 | 2613483.9047 | 1266356.9226 | 2613479.9412 | 1266361.9171 | 2613485.0802 | 1266369.6786 | 2613494.438 | 1266376.0487 | 2613504.0135 | 1266379.4062 | 2613497.9256 | 1266394.9699
11 | 2613497.9256 | 1266394.9699 | 2613515.7666 | 1266401.6929 | 2613529.1285 | 1266365.4759 | 2613536.3786 | 1266368.4834 | 2613549.9208 | 1266372.0501
12 | 2613497.9256 | 1266394.9699 | 2613490.7551 | 1266413.233
13 | 2613474.1611 | 1266311.5688 | 2613475.2202 | 1266305.9562 | 2613473.3543 | 1266298.8804 | 2613477.7302 | 1266297.9341
14 | 2613422.9298 | 1266299.5 | 2613423.5347 | 1266298.3227 | 2613431.7746 | 1266296.4845 | 2613434.2451 | 1266295.9342 | 2613445.4975 | 1266293.5024 | 2613450.6864 | 1266302.576 | 2613455.0344 | 1266307.3114 | 2613459.7652 | 1266309.2123 | 2613470.4664 | 1266310.8377 | 2613474.1611 | 1266311.5688
15 | 2613549.9208 | 1266372.0501 | 2613558.1891 | 1266374.2371 | 2613561.8274 | 1266376.5248
16 | 2613558.2507 | 1266311.0043 | 2613547.8313 | 1266311.2807 | 2613545.0778 | 1266323.6942 | 2613529.1285 | 1266365.4759 | 2613536.3786 | 1266368.4834 | 2613549.9208 | 1266372.0501
17 | 2613505.6707 | 1266428.5665 | 2613498.705 | 1266422.9912 | 2613490.7551 | 1266413.233
18 | 2613433.1042 | 1266194.6387 | 2613427.8826 | 1266183.5892
19 | 2613433.1042 | 1266194.6387 | 2613429.7745 | 1266198.9898 | 2613417.157 | 1266209.0572
20 | 2613403.1698 | 1266152.3416 | 2613406.4041 | 1266156.9077 | 2613416.1543 | 1266166.403 | 2613427.2078 | 1266182.1612 | 2613427.8826 | 1266183.5892
21 | 2613417.157 | 1266209.0572 | 2613405.4606 | 1266211.3435 | 2613401.3433 | 1266201.0604
22 | 2613422.9298 | 1266299.5 | 2613418.8756 | 1266297.9786 | 2613411.3418 | 1266300.5189
23 | 2613422.9298 | 1266299.5 | 2613418.6728 | 1266307.7739 | 2613422.2776 | 1266318.256 | 2613424.0579 | 1266324.6808
24 | 2613409.2549 | 1266301.2258 | 2613411.3418 | 1266300.5189
25 | 2613390.9794 | 1266206.6742 | 2613367.6436 | 1266219.3082 | 2613367.6436 | 1266219.3082
26 | 2613390.9794 | 1266206.6742 | 2613401.3433 | 1266201.0604
27 | 2613550.7393 | 1266277.3526 | 2613549.0139 | 1266301.0763 | 2613547.8313 | 1266311.2807 | 2613558.2507 | 1266311.0043
28 | 2613550.7393 | 1266277.3526 | 2613552.9656 | 1266246.7315
29 | 2613558.2507 | 1266311.0043 | 2613558.068 | 1266305.311 | 2613556.754 | 1266303.8292 | 2613555.0973 | 1266300.7677 | 2613554.6221 | 1266297.8869 | 2613555.5661 | 1266286.659 | 2613557.0361 | 1266270.7731
30 | 2613421.9956 | 1266409.6747 | 2613414.307 | 1266404.2482
31 | 2613474.8302 | 1266481.0108 | 2613479.9792 | 1266484.347
32 | 2613474.8302 | 1266481.0108 | 2613472.6185 | 1266483.6854 | 2613465.6645 | 1266492.8872 | 2613447.7982 | 1266510.7748
33 | 2613484.3823 | 1266468.1012 | 2613474.8302 | 1266481.0108
34 | 2613484.8432 | 1266467.3573 | 2613484.3823 | 1266468.1012
35 | 2613505.6707 | 1266428.5665 | 2613495.023 | 1266449.8682 | 2613491.6199 | 1266456.6764 | 2613484.8432 | 1266467.3573
36 | 2613484.3823 | 1266468.1012 | 2613477.4171 | 1266462.3036 | 2613470.6633 | 1266456.2507 | 2613443.2743 | 1266427.5019 | 2613431.4855 | 1266417.5683 | 2613428.4261 | 1266415.0236
37 | 2613391.4806 | 1266561.6896 | 2613439.725 | 1266518.8576 | 2613447.7982 | 1266510.7748
38 | 2613421.9956 | 1266409.6747 | 2613428.4261 | 1266415.0236
39 | 2613378.4393 | 1266573.146 | 2613389.9268 | 1266563.0538 | 2613391.4806 | 1266561.6896
40 | 2613421.9956 | 1266409.6747 | 2613405.2625 | 1266428.9726 | 2613401.4153 | 1266445.8423 | 2613403.756 | 1266462.726
41 | 2613561.8274 | 1266376.5248 | 2613565.8338 | 1266372.5757 | 2613569.1038 | 1266368.0244 | 2613570.773 | 1266362.3354
42 | 2613378.4393 | 1266573.146 | 2613350.0955 | 1266597.3992
43 | 2613378.4393 | 1266573.146 | 2613383.5867 | 1266577.1827 | 2613397.7506 | 1266578.6156 | 2613412.1831 | 1266577.7809 | 2613433.6039 | 1266575.7726
44 | 2613403.1698 | 1266152.3416 | 2613389.0856 | 1266158.4808
45 | 2613337.3537 | 1266549.765 | 2613334.9565 | 1266540.8034 | 2613336.2373 | 1266536.9925 | 2613329.4393 | 1266510.2783
46 | 2613350.0955 | 1266597.3992 | 2613337.3537 | 1266549.765
47 | 2613563.2555 | 1266351.1437 | 2613568.559 | 1266356.0593 | 2613570.773 | 1266362.3354
48 | 2613388.0019 | 1266471.9636 | 2613403.756 | 1266462.726
49 | 2613388.0019 | 1266471.9636 | 2613392.0574 | 1266489.5517
50 | 2613376.3321 | 1266472.7045 | 2613388.0019 | 1266471.9636
51 | 2613392.8178 | 1266492.8557 | 2613392.0574 | 1266489.5517

## bus_geodata
| x | y | coords
0 | 2613367.0553 | 1266266.5954
1 | 2613359.2975 | 1266264.9546
2 | 2613357.4697 | 1266260.9143
3 | 2613381.2467 | 1266246.1576
4 | 2613330.8486 | 1266261.6884
5 | 2613377.8327 | 1266239.4191
6 | 2613361.9435 | 1266333.5417
7 | 2613386.167 | 1266384.3873
8 | 2613311.7779 | 1266311.0646
9 | 2613497.9256 | 1266394.9699
10 | 2613474.1611 | 1266311.5688
11 | 2613549.9208 | 1266372.0501
12 | 2613490.7551 | 1266413.233
13 | 2613433.1042 | 1266194.6387
14 | 2613427.8826 | 1266183.5892
15 | 2613417.157 | 1266209.0572
16 | 2613477.7302 | 1266297.9341
17 | 2613422.9298 | 1266299.4999
18 | 2613411.3418 | 1266300.5189
19 | 2613424.0579 | 1266324.6808
20 | 2613367.6436 | 1266219.3082
21 | 2613401.3433 | 1266201.0604
22 | 2613550.7393 | 1266277.3526
23 | 2613558.2507 | 1266311.0043
24 | 2613552.9656 | 1266246.7315
25 | 2613414.307 | 1266404.2482
26 | 2613390.9794 | 1266206.6742
27 | 2613479.9792 | 1266484.347
28 | 2613474.8302 | 1266481.0108
29 | 2613484.8432 | 1266467.3573
30 | 2613484.3823 | 1266468.1012
31 | 2613505.6707 | 1266428.5665
32 | 2613447.7982 | 1266510.7748
33 | 2613428.4261 | 1266415.0236
34 | 2613391.4806 | 1266561.6896
35 | 2613421.9956 | 1266409.6747
36 | 2613557.0361 | 1266270.7731
37 | 2613561.8274 | 1266376.5248
38 | 2613378.4393 | 1266573.146
39 | 2613389.0856 | 1266158.4808
40 | 2613403.1698 | 1266152.3416
41 | 2613329.4393 | 1266510.2783
42 | 2613337.3537 | 1266549.765
43 | 2613350.0955 | 1266597.3992
44 | 2613433.6039 | 1266575.7726
45 | 2613409.2549 | 1266301.2258
46 | 2613570.773 | 1266362.3354
47 | 2613563.2555 | 1266351.1437
48 | 2613403.756 | 1266462.726
49 | 2613388.0019 | 1266471.9636
50 | 2613392.0574 | 1266489.5517
51 | 2613376.3321 | 1266472.7045
52 | 2613392.8178 | 1266492.8557
53 | 2613386.167 | 1266384.3873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1