## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-391_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-391_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-391_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-391_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2701-391_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-391_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-391_0_2_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_2701-391_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-391_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-391_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2701-391_0_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_2701-391_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2701-391_0_2_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_2701-391_0_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_2701-391_0_2_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_2701-391_0_2_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_2701-391_0_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_2701-391_0_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-391_0_2_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_2701-391_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-391_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_2701-391_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2701-391_0_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2701-391_0_2_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_2701-391_0_2_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_2701-391_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_2701-391_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2701-391_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_2701-391_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2701-391_0_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2701-391_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2701-391_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2701-391_0_2_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2701-391_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2701-391_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2701-391_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2701-391_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2701-391_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-391_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2701-391_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2701-391_0_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_2701-391_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2701-391_0_2_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2701-391_0_2_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2701-391_0_2_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2701-391_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2701-391_0_2_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2701-391_0_2_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2701-391_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2701-391_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2701-391_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2701-391_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_2701-391_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2701-391_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2701-391_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2701-391_0_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_2701-391_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2701-391_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2701-391_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_2701-391_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2701-391_0_2_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2701-391_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_MV_557_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-391_0_2_load_0 | 0 | 0.0065653 | 0.0016454 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-391_0_2_load_4 | 4 | 0.0045222 | 0.0011334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-391_0_2_load_56 | 6 | 0.0012047 | 0.00030192 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-391_0_2_load_6 | 7 | 0.0028364 | 0.00071086 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-391_0_2_load_7 | 8 | 0.0065825 | 0.0016497 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-391_0_2_load_55 | 10 | 0.00083729 | 0.00020984 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-391_0_2_load_54 | 12 | 0.0025485 | 0.00063871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-391_0_2_load_62 | 14 | 0.081176 | 0.020345 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-391_0_2_load_30 | 19 | 0.001165 | 0.00029197 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-391_0_2_load_38 | 20 | 0.0022263 | 0.00055795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-391_0_2_load_50 | 22 | 0.0044983 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-391_0_2_load_48 | 23 | 0.014833 | 0.0037176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-391_0_2_load_10 | 24 | 0.015021 | 0.0037646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-391_0_2_load_13 | 27 | 0.011141 | 0.0027923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-391_0_2_load_45 | 28 | 0.0081564 | 0.0020442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-391_0_2_load_14 | 30 | 0.0020406 | 0.00051143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-391_0_2_load_15 | 31 | 0.0050253 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-391_0_2_load_16 | 32 | 0.0026294 | 0.00065899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-391_0_2_load_19 | 34 | 0.0015269 | 0.00038267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-391_0_2_load_20 | 35 | 0.0013895 | 0.00034825 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-391_0_2_load_35 | 36 | 0.00088175 | 0.00022099 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-391_0_2_load_27 | 37 | 0.0012554 | 0.00031463 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-391_0_2_load_36 | 38 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-391_0_2_load_37 | 39 | 0.0015066 | 0.00037759 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-391_0_2_load_53 | 40 | 0.0011777 | 0.00029517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-391_0_2_load_28 | 41 | 0.00092983 | 0.00023304 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-391_0_2_load_21 | 42 | 0.0021536 | 0.00053975 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-391_0_2_load_22 | 43 | 0.00062276 | 0.00015608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-391_0_2_load_24 | 45 | 0.0085027 | 0.002131 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-391_0_2_load_26 | 47 | 0.00055157 | 0.00013824 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-391_0_2_load_43 | 48 | 0.0048622 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-391_0_2_load_41 | 49 | 0.0038453 | 0.00096373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-391_0_2_load_49 | 51 | 0.011213 | 0.0028102 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-391_0_2_load_47 | 52 | 0.0020338 | 0.00050973 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-391_0_2_load_52 | 53 | 0.0043198 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-391_0_2_load_46 | 56 | 0.0054567 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-391_0_2_load_42 | 57 | 0.0029698 | 0.00074429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-391_0_2_load_61 | 60 | 0.0061661 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-391_0_2_load_57 | 61 | 0.01067 | 0.0026742 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-391_0_2_line_0 |  | 0 | 1 | 0.042427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-391_0_2_line_1 |  | 1 | 2 | 0.059164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-391_0_2_line_2 |  | 2 | 6 | 0.042921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-391_0_2_line_3 |  | 3 | 4 | 0.033881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-391_0_2_line_4 |  | 3 | 5 | 0.003168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-391_0_2_line_5 |  | 4 | 7 | 0.0082902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-391_0_2_line_6 |  | 5 | 8 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-391_0_2_line_7 |  | 6 | 9 | 0.030327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-391_0_2_line_8 |  | 7 | 10 | 0.003407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-391_0_2_line_9 |  | 8 | 11 | 0.028931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-391_0_2_line_10 |  | 9 | 11 | 0.016724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-391_0_2_line_11 |  | 10 | 12 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-391_0_2_line_12 |  | 12 | 40 | 0.013341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-391_0_2_line_13 |  | 13 | 14 | 0.074217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-391_0_2_line_14 |  | 13 | 15 | 0.024025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-391_0_2_line_15 |  | 14 | 54 | 0.07403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-391_0_2_line_16 |  | 15 | 22 | 0.0093756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-391_0_2_line_17 |  | 15 | 23 | 0.027896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-391_0_2_line_18 |  | 16 | 17 | 0.029932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-391_0_2_line_19 |  | 16 | 18 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-391_0_2_line_20 |  | 16 | 19 | 0.0058191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-391_0_2_line_21 |  | 17 | 38 | 0.00029139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-391_0_2_line_22 |  | 18 | 20 | 0.033041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-391_0_2_line_23 |  | 18 | 21 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-391_0_2_line_24 |  | 20 | 51 | 0.0029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-391_0_2_line_25 |  | 21 | 39 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-391_0_2_line_26 |  | 22 | 53 | 0.039607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-391_0_2_line_27 |  | 23 | 56 | 0.0067375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-391_0_2_line_28 |  | 24 | 25 | 0.15799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-391_0_2_line_29 |  | 25 | 26 | 0.13019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-391_0_2_line_30 |  | 26 | 27 | 0.063493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-391_0_2_line_31 |  | 27 | 28 | 0.0497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-391_0_2_line_32 |  | 28 | 29 | 0.0010572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-391_0_2_line_33 |  | 29 | 57 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-391_0_2_line_34 |  | 30 | 31 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-391_0_2_line_35 |  | 31 | 32 | 0.00029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-391_0_2_line_36 |  | 32 | 33 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-391_0_2_line_37 |  | 33 | 34 | 0.027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-391_0_2_line_38 |  | 33 | 35 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-391_0_2_line_39 |  | 34 | 36 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-391_0_2_line_40 |  | 35 | 37 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-391_0_2_line_41 |  | 36 | 40 | 0.0055448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-391_0_2_line_42 |  | 37 | 41 | 0.0094914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-391_0_2_line_43 |  | 38 | 50 | 0.0099811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-391_0_2_line_44 |  | 39 | 47 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-391_0_2_line_45 |  | 41 | 50 | 0.002869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-391_0_2_line_46 |  | 42 | 43 | 0.00079219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-391_0_2_line_47 |  | 42 | 44 | 0.0022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-391_0_2_line_48 |  | 43 | 45 | 0.0069043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-391_0_2_line_49 |  | 44 | 46 | 0.10133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-391_0_2_line_50 |  | 45 | 47 | 0.0057966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-391_0_2_line_51 |  | 46 | 48 | 0.054301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-391_0_2_line_52 |  | 48 | 49 | 0.036222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-391_0_2_line_53 |  | 49 | 57 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-391_0_2_line_54 |  | 51 | 52 | 0.011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-391_0_2_line_55 |  | 52 | 56 | 0.029409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-391_0_2_line_56 |  | 54 | 55 | 0.14701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-391_0_2_line_57 |  | 55 | 60 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-391_0_2_line_58 |  | 55 | 58 | 0.049256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-391_0_2_line_59 |  | 58 | 59 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-391_0_2_line_60 |  | 59 | 61 | 0.056345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-391_0_2_trafo_48 | 0.63 MVA 20/0.4 kV | 62 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2610257.7536 | 1269509.5561 | 2610246.7551 | 1269513.0173 | 2610217.8738 | 1269523.9935
1 | 2610226.9897 | 1269464.916 | 2610242.5696 | 1269479.3419 | 2610261.5772 | 1269504.359 | 2610259.3084 | 1269506.7012 | 2610257.7536 | 1269509.5561
2 | 2610226.9897 | 1269464.916 | 2610216.0076 | 1269467.5879 | 2610200.2736 | 1269472.6978 | 2610185.9933 | 1269477.5304
3 | 2610161.2417 | 1269545.9272 | 2610132.2256 | 1269557.0077 | 2610129.6021 | 1269558.0449
4 | 2610159.9224 | 1269543.0451 | 2610161.2417 | 1269545.9272
5 | 2610121.8926 | 1269561.0928 | 2610129.6021 | 1269558.0449
6 | 2610159.9224 | 1269543.0451 | 2610151.3791 | 1269519.7512
7 | 2610157.2641 | 1269487.2456 | 2610168.8577 | 1269483.3293 | 2610185.9933 | 1269477.5304
8 | 2610121.8926 | 1269561.0928 | 2610118.7242 | 1269562.3454
9 | 2610141.4169 | 1269492.589 | 2610151.3791 | 1269519.7512
10 | 2610141.4169 | 1269492.589 | 2610150.9553 | 1269489.403 | 2610157.2641 | 1269487.2456
11 | 2610118.7242 | 1269562.3454 | 2610107.0991 | 1269566.9414
12 | 2610094.6695 | 1269571.7878 | 2610105.3698 | 1269567.6251 | 2610107.0991 | 1269566.9414
13 | 2610154.8388 | 1269427.1101 | 2610182.7537 | 1269387.2074 | 2610190.2504 | 1269372.5321 | 2610195.1675 | 1269364.9462
14 | 2610135.1115 | 1269413.4001 | 2610139.1168 | 1269416.3201 | 2610141.0408 | 1269417.6354 | 2610143.2503 | 1269419.1513 | 2610144.3926 | 1269419.9427 | 2610145.858 | 1269420.9459 | 2610147.038 | 1269421.7485 | 2610148.2479 | 1269422.5845 | 2610150.262 | 1269423.9667 | 2610151.2315 | 1269424.6355 | 2610154.8388 | 1269427.1101
15 | 2610237.4767 | 1269304.2094 | 2610202.6906 | 1269353.3399 | 2610195.1675 | 1269364.9462
16 | 2610135.1115 | 1269413.4001 | 2610139.9957 | 1269405.3971
17 | 2610135.1115 | 1269413.4001 | 2610120.7248 | 1269437.2999
18 | 2610066.0076 | 1269539.3383 | 2610070.3012 | 1269531.9959 | 2610070.0749 | 1269527.8927 | 2610073.676 | 1269525.1635 | 2610077.8482 | 1269522.8245 | 2610085.1861 | 1269526.0503
19 | 2610081.397 | 1269511.011 | 2610077.8482 | 1269522.8245 | 2610085.1861 | 1269526.0503
20 | 2610085.1861 | 1269526.0503 | 2610082.3566 | 1269530.7488 | 2610082.1865 | 1269531.0367
21 | 2610065.8604 | 1269539.5897 | 2610066.0076 | 1269539.3383
22 | 2610081.397 | 1269511.011 | 2610085.8385 | 1269496.2748 | 2610088.8437 | 1269490.0422 | 2610094.3963 | 1269480.8604
23 | 2610081.397 | 1269511.011 | 2610078.085 | 1269511.8393 | 2610063.6179 | 1269515.4507
24 | 2610094.3963 | 1269480.8604 | 2610095.9099 | 1269478.3577
25 | 2610063.6179 | 1269515.4507 | 2610050.1383 | 1269519.2856
26 | 2610139.9957 | 1269405.3971 | 2610146.3237 | 1269395.0284 | 2610155.3307 | 1269385.8151 | 2610164.0872 | 1269374.1637
27 | 2610117.249 | 1269443.0716 | 2610117.5533 | 1269442.5685 | 2610120.7248 | 1269437.2999
28 | 2610110.3317 | 1269229.4391 | 2609976.9622 | 1269314.1346
29 | 2610110.3317 | 1269229.4391 | 2610070.4108 | 1269298.6424 | 2610042.9962 | 1269340.9259
30 | 2610042.9962 | 1269340.9259 | 2610034.9093 | 1269353.3988 | 2610020.3424 | 1269384.6964 | 2610013.2186 | 1269396.8718
31 | 2609988.12 | 1269439.7683 | 2610013.2186 | 1269396.8718
32 | 2609987.5861 | 1269440.6808 | 2609988.12 | 1269439.7683
33 | 2609987.5861 | 1269440.6808 | 2609982.5607 | 1269449.2562 | 2609977.0636 | 1269457.4004
34 | 2610038.1698 | 1269593.5295 | 2610036.908 | 1269595.4955 | 2610032.7439 | 1269601.993 | 2610030.4582 | 1269605.5584
35 | 2610038.1698 | 1269593.5295 | 2610038.3309 | 1269593.2784
36 | 2610054.8707 | 1269575.7897 | 2610043.5088 | 1269585.2104 | 2610038.3309 | 1269593.2784
37 | 2610054.8707 | 1269575.7897 | 2610063.3362 | 1269584.0431 | 2610071.6481 | 1269580.7438 | 2610078.0974 | 1269578.2348
38 | 2610054.8707 | 1269575.7897 | 2610046.7585 | 1269572.229 | 2610049.1615 | 1269568.122
39 | 2610089.502 | 1269573.7981 | 2610078.0974 | 1269578.2348
40 | 2610049.1615 | 1269568.122 | 2610054.5741 | 1269558.8709
41 | 2610089.502 | 1269573.7981 | 2610094.6695 | 1269571.7878
42 | 2610054.5741 | 1269558.8709 | 2610059.3673 | 1269550.6788
43 | 2610060.8162 | 1269548.2024 | 2610065.8604 | 1269539.5897
44 | 2610050.1383 | 1269519.2856 | 2610034.2137 | 1269523.8162
45 | 2610060.8162 | 1269548.2024 | 2610059.3673 | 1269550.6788
46 | 2610021.2356 | 1269527.5084 | 2610021.9976 | 1269527.2916
47 | 2610019.0547 | 1269528.1289 | 2610021.2356 | 1269527.5084
48 | 2610021.9976 | 1269527.2916 | 2610028.6383 | 1269525.4023
49 | 2610019.0547 | 1269528.1289 | 2609946.5458 | 1269546.5312 | 2609920.0233 | 1269546.9428
50 | 2610034.2137 | 1269523.8162 | 2610028.6383 | 1269525.4023
51 | 2609920.0233 | 1269546.9428 | 2609919.1555 | 1269543.9948 | 2609918.1462 | 1269540.146 | 2609917.9543 | 1269537.8663 | 2609917.9123 | 1269535.9871 | 2609918.6562 | 1269532.0967 | 2609943.4591 | 1269507.1872 | 2609945.6796 | 1269503.8975
52 | 2609965.9443 | 1269473.8743 | 2609945.6796 | 1269503.8975
53 | 2609965.9443 | 1269473.8743 | 2609977.0636 | 1269457.4004
54 | 2610102.0306 | 1269468.2366 | 2610095.9099 | 1269478.3577
55 | 2610117.249 | 1269443.0716 | 2610102.0306 | 1269468.2366
56 | 2610217.3754 | 1269402.8223 | 2610211.8858 | 1269405.4703 | 2610201.0904 | 1269400.148 | 2610250.326 | 1269327.2034 | 2610259.7478 | 1269313.2542 | 2610237.4767 | 1269304.2094
57 | 2610217.3754 | 1269402.8223 | 2610225.1837 | 1269403.8253 | 2610236.7722 | 1269399.9538
58 | 2610176.1426 | 1269403.2741 | 2610185.1434 | 1269393.3269 | 2610197.4337 | 1269400.1417 | 2610201.0904 | 1269400.148 | 2610211.8858 | 1269405.4703 | 2610217.3754 | 1269402.8223
59 | 2610166.1533 | 1269419.3017 | 2610176.1426 | 1269403.2741
60 | 2610166.1533 | 1269419.3017 | 2610177.6086 | 1269425.9482 | 2610168.6066 | 1269441.0212 | 2610167.7659 | 1269448.6363 | 2610184.835 | 1269443.3017

## bus_geodata
| x | y | coords
0 | 2610217.8738 | 1269523.9935
1 | 2610257.7536 | 1269509.5561
2 | 2610226.9897 | 1269464.916
3 | 2610161.2417 | 1269545.9272
4 | 2610129.6021 | 1269558.0449
5 | 2610159.9224 | 1269543.0451
6 | 2610185.9933 | 1269477.5304
7 | 2610121.8926 | 1269561.0928
8 | 2610151.3791 | 1269519.7512
9 | 2610157.2641 | 1269487.2456
10 | 2610118.7242 | 1269562.3454
11 | 2610141.4169 | 1269492.589
12 | 2610107.0991 | 1269566.9414
13 | 2610154.8388 | 1269427.1101
14 | 2610195.1675 | 1269364.9462
15 | 2610135.1115 | 1269413.4001
16 | 2610085.1861 | 1269526.0503
17 | 2610066.0076 | 1269539.3383
18 | 2610081.397 | 1269511.011
19 | 2610082.1865 | 1269531.0367
20 | 2610094.3963 | 1269480.8604
21 | 2610063.6179 | 1269515.4507
22 | 2610139.9957 | 1269405.3971
23 | 2610120.7248 | 1269437.2999
24 | 2609976.9622 | 1269314.1346
25 | 2610110.3317 | 1269229.4391
26 | 2610042.9962 | 1269340.9259
27 | 2610013.2186 | 1269396.8718
28 | 2609988.12 | 1269439.7683
29 | 2609987.5861 | 1269440.6808
30 | 2610030.4582 | 1269605.5584
31 | 2610038.1698 | 1269593.5295
32 | 2610038.3309 | 1269593.2784
33 | 2610054.8707 | 1269575.7897
34 | 2610078.0974 | 1269578.2348
35 | 2610049.1615 | 1269568.122
36 | 2610089.502 | 1269573.7981
37 | 2610054.5741 | 1269558.8709
38 | 2610065.8604 | 1269539.5897
39 | 2610050.1383 | 1269519.2856
40 | 2610094.6695 | 1269571.7878
41 | 2610059.3673 | 1269550.6788
42 | 2610021.2356 | 1269527.5084
43 | 2610021.9976 | 1269527.2916
44 | 2610019.0547 | 1269528.1289
45 | 2610028.6383 | 1269525.4023
46 | 2609920.0233 | 1269546.9428
47 | 2610034.2137 | 1269523.8161
48 | 2609945.6796 | 1269503.8975
49 | 2609965.9443 | 1269473.8743
50 | 2610060.8162 | 1269548.2024
51 | 2610095.9099 | 1269478.3577
52 | 2610102.0306 | 1269468.2366
53 | 2610164.0872 | 1269374.1637
54 | 2610237.4767 | 1269304.2094
55 | 2610217.3754 | 1269402.8223
56 | 2610117.249 | 1269443.0716
57 | 2609977.0636 | 1269457.4004
58 | 2610176.1426 | 1269403.2741
59 | 2610166.1533 | 1269419.3017
60 | 2610236.7722 | 1269399.9538
61 | 2610184.835 | 1269443.3017
62 | 2610135.1115 | 1269413.4001

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1