## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-5_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2701-5_0_6_node_141 | 0.4 | n |  | TRUE
7 | bus_LV_2701-5_0_6_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_2701-5_0_6_node_123 | 0.4 | n |  | TRUE
9 | bus_LV_2701-5_0_6_node_149 | 0.4 | n |  | TRUE
10 | bus_LV_2701-5_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2701-5_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-5_0_6_node_143 | 0.4 | n |  | TRUE
13 | bus_LV_2701-5_0_6_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_2701-5_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2701-5_0_6_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_2701-5_0_6_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_2701-5_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2701-5_0_6_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_2701-5_0_6_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_2701-5_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-5_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2701-5_0_6_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_2701-5_0_6_node_126 | 0.4 | n |  | TRUE
24 | bus_LV_2701-5_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_2701-5_0_6_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_2701-5_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2701-5_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2701-5_0_6_node_159 | 0.4 | n |  | TRUE
29 | bus_LV_2701-5_0_6_node_139 | 0.4 | n |  | TRUE
30 | bus_LV_2701-5_0_6_node_140 | 0.4 | n |  | TRUE
31 | bus_LV_2701-5_0_6_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_2701-5_0_6_node_121 | 0.4 | n |  | TRUE
33 | bus_LV_2701-5_0_6_node_148 | 0.4 | n |  | TRUE
34 | bus_LV_2701-5_0_6_node_142 | 0.4 | n |  | TRUE
35 | bus_LV_2701-5_0_6_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_2701-5_0_6_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_2701-5_0_6_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_2701-5_0_6_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_2701-5_0_6_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_2701-5_0_6_node_144 | 0.4 | n |  | TRUE
41 | bus_LV_2701-5_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_2701-5_0_6_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_2701-5_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2701-5_0_6_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_2701-5_0_6_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_2701-5_0_6_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_2701-5_0_6_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_2701-5_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2701-5_0_6_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_2701-5_0_6_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_2701-5_0_6_node_18 | 0.4 | n |  | TRUE
52 | bus_LV_2701-5_0_6_node_160 | 0.4 | n |  | TRUE
53 | bus_LV_2701-5_0_6_node_16 | 0.4 | n |  | TRUE
54 | bus_LV_2701-5_0_6_node_14 | 0.4 | n |  | TRUE
55 | bus_LV_2701-5_0_6_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_2701-5_0_6_node_22 | 0.4 | n |  | TRUE
57 | bus_LV_2701-5_0_6_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_2701-5_0_6_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_2701-5_0_6_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_2701-5_0_6_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_2701-5_0_6_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_2701-5_0_6_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_2701-5_0_6_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_2701-5_0_6_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_2701-5_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2701-5_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2701-5_0_6_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_2701-5_0_6_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_2701-5_0_6_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_2701-5_0_6_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_2701-5_0_6_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_2701-5_0_6_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2701-5_0_6_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_2701-5_0_6_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_2701-5_0_6_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_2701-5_0_6_node_109 | 0.4 | n |  | TRUE
77 | bus_LV_2701-5_0_6_node_115 | 0.4 | n |  | TRUE
78 | bus_LV_2701-5_0_6_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_2701-5_0_6_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_2701-5_0_6_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_2701-5_0_6_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_2701-5_0_6_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_2701-5_0_6_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_2701-5_0_6_node_48 | 0.4 | n |  | TRUE
85 | bus_LV_2701-5_0_6_node_49 | 0.4 | n |  | TRUE
86 | bus_LV_2701-5_0_6_node_50 | 0.4 | n |  | TRUE
87 | bus_LV_2701-5_0_6_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_2701-5_0_6_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_2701-5_0_6_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_2701-5_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_2701-5_0_6_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_2701-5_0_6_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_2701-5_0_6_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_2701-5_0_6_node_59 | 0.4 | n |  | TRUE
95 | bus_LV_2701-5_0_6_node_60 | 0.4 | n |  | TRUE
96 | bus_LV_2701-5_0_6_node_62 | 0.4 | n |  | TRUE
97 | bus_LV_2701-5_0_6_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_2701-5_0_6_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_2701-5_0_6_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_2701-5_0_6_node_67 | 0.4 | n |  | TRUE
101 | bus_LV_2701-5_0_6_node_147 | 0.4 | n |  | TRUE
102 | bus_LV_2701-5_0_6_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_2701-5_0_6_node_68 | 0.4 | n |  | TRUE
104 | bus_LV_2701-5_0_6_node_69 | 0.4 | n |  | TRUE
105 | bus_LV_2701-5_0_6_node_70 | 0.4 | n |  | TRUE
106 | bus_LV_2701-5_0_6_node_71 | 0.4 | n |  | TRUE
107 | bus_LV_2701-5_0_6_node_72 | 0.4 | n |  | TRUE
108 | bus_LV_2701-5_0_6_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_2701-5_0_6_node_125 | 0.4 | n |  | TRUE
110 | bus_LV_2701-5_0_6_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_2701-5_0_6_node_146 | 0.4 | n |  | TRUE
112 | bus_LV_2701-5_0_6_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_2701-5_0_6_node_145 | 0.4 | n |  | TRUE
114 | bus_LV_2701-5_0_6_node_105 | 0.4 | n |  | TRUE
115 | bus_LV_2701-5_0_6_node_102 | 0.4 | n |  | TRUE
116 | bus_LV_2701-5_0_6_node_86 | 0.4 | n |  | TRUE
117 | bus_LV_2701-5_0_6_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_2701-5_0_6_node_135 | 0.4 | n |  | TRUE
119 | bus_LV_2701-5_0_6_node_134 | 0.4 | n |  | TRUE
120 | bus_LV_2701-5_0_6_node_91 | 0.4 | n |  | TRUE
121 | bus_LV_2701-5_0_6_node_92 | 0.4 | n |  | TRUE
122 | bus_LV_2701-5_0_6_node_93 | 0.4 | n |  | TRUE
123 | bus_LV_2701-5_0_6_node_94 | 0.4 | n |  | TRUE
124 | bus_LV_2701-5_0_6_node_104 | 0.4 | n |  | TRUE
125 | bus_LV_2701-5_0_6_node_127 | 0.4 | n |  | TRUE
126 | bus_LV_2701-5_0_6_node_151 | 0.4 | n |  | TRUE
127 | bus_LV_2701-5_0_6_node_152 | 0.4 | n |  | TRUE
128 | bus_LV_2701-5_0_6_node_158 | 0.4 | n |  | TRUE
129 | bus_LV_2701-5_0_6_node_157 | 0.4 | n |  | TRUE
130 | bus_LV_2701-5_0_6_node_156 | 0.4 | n |  | TRUE
131 | bus_LV_2701-5_0_6_node_155 | 0.4 | n |  | TRUE
132 | bus_LV_2701-5_0_6_node_133 | 0.4 | n |  | TRUE
133 | bus_LV_2701-5_0_6_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_2701-5_0_6_node_100 | 0.4 | n |  | TRUE
135 | bus_LV_2701-5_0_6_node_101 | 0.4 | n |  | TRUE
136 | bus_LV_2701-5_0_6_node_137 | 0.4 | n |  | TRUE
137 | bus_LV_2701-5_0_6_node_138 | 0.4 | n |  | TRUE
138 | bus_LV_2701-5_0_6_node_110 | 0.4 | n |  | TRUE
139 | bus_LV_2701-5_0_6_node_112 | 0.4 | n |  | TRUE
140 | bus_LV_2701-5_0_6_node_113 | 0.4 | n |  | TRUE
141 | bus_LV_2701-5_0_6_node_117 | 0.4 | n |  | TRUE
142 | bus_LV_2701-5_0_6_node_116 | 0.4 | n |  | TRUE
143 | bus_LV_2701-5_0_6_node_118 | 0.4 | n |  | TRUE
144 | bus_LV_2701-5_0_6_node_119 | 0.4 | n |  | TRUE
145 | bus_LV_2701-5_0_6_node_150 | 0.4 | n |  | TRUE
146 | bus_LV_2701-5_0_6_node_128 | 0.4 | n |  | TRUE
147 | bus_LV_2701-5_0_6_node_120 | 0.4 | n |  | TRUE
148 | bus_LV_2701-5_0_6_node_122 | 0.4 | n |  | TRUE
149 | bus_LV_2701-5_0_6_node_124 | 0.4 | n |  | TRUE
150 | bus_LV_2701-5_0_6_node_129 | 0.4 | n |  | TRUE
151 | bus_LV_2701-5_0_6_node_130 | 0.4 | n |  | TRUE
152 | bus_LV_2701-5_0_6_node_132 | 0.4 | n |  | TRUE
153 | bus_MV_568_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-5_0_6_load_0 | 0 | 0.024646 | 0.0061768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-5_0_6_load_141 | 6 | 0.0072654 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-5_0_6_load_123 | 8 | 0.0032515 | 0.0008149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-5_0_6_load_149 | 9 | 0.0028983 | 0.00072637 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-5_0_6_load_143 | 12 | 0.0018614 | 0.00046651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-5_0_6_load_32 | 13 | 0.0037828 | 0.00094806 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-5_0_6_load_78 | 15 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-5_0_6_load_75 | 16 | 0.0044632 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-5_0_6_load_73 | 18 | 0.0067583 | 0.0016938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-5_0_6_load_74 | 19 | 0.0030872 | 0.00077372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-5_0_6_load_65 | 22 | 0.0064297 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-5_0_6_load_126 | 23 | 0.0031134 | 0.00078029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-5_0_6_load_43 | 24 | 0.0039278 | 0.0009844 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-5_0_6_load_99 | 25 | 0.0084359 | 0.0021142 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-5_0_6_load_34 | 26 | 0.0085339 | 0.0021388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-5_0_6_load_159 | 28 | 0.0029009 | 0.00072703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-5_0_6_load_139 | 29 | 0.0038691 | 0.00096969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-5_0_6_load_140 | 30 | 0.0029782 | 0.00074641 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-5_0_6_load_63 | 31 | 0.004688 | 0.0011749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-5_0_6_load_121 | 32 | 0.0028392 | 0.00071158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-5_0_6_load_148 | 33 | 0.0028919 | 0.00072479 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-5_0_6_load_142 | 34 | 0.0039596 | 0.00099237 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-5_0_6_load_90 | 35 | 0.021545 | 0.0053996 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-5_0_6_load_89 | 36 | 0.0050572 | 0.0012675 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-5_0_6_load_81 | 37 | 0.002504 | 0.00062756 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-5_0_6_load_79 | 39 | 0.0041702 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-5_0_6_load_144 | 40 | 0.0030902 | 0.00077449 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-5_0_6_load_64 | 41 | 0.004771 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-5_0_6_load_136 | 42 | 0.0031169 | 0.00078118 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-5_0_6_load_42 | 43 | 0.0039968 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-5_0_6_load_77 | 44 | 0.0028614 | 0.00071715 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-5_0_6_load_82 | 45 | 0.0058323 | 0.0014617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-5_0_6_load_83 | 46 | 0.0061283 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-5_0_6_load_107 | 47 | 0.0042806 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-5_0_6_load_27 | 48 | 0.0033784 | 0.0008467 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-5_0_6_load_21 | 50 | 0.0051185 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-5_0_6_load_160 | 52 | 0.036442 | 0.0091332 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-5_0_6_load_14 | 54 | 0.010334 | 0.0025899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-5_0_6_load_23 | 55 | 0.0016714 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-5_0_6_load_22 | 56 | 0.0022985 | 0.00057605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-5_0_6_load_24 | 57 | 0.0030665 | 0.00076854 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-5_0_6_load_25 | 58 | 0.0030756 | 0.00077082 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-5_0_6_load_26 | 59 | 0.0032856 | 0.00082345 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-5_0_6_load_28 | 60 | 0.0029734 | 0.00074521 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-5_0_6_load_29 | 61 | 0.0036166 | 0.00090641 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-5_0_6_load_30 | 62 | 0.0039813 | 0.00099781 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-5_0_6_load_31 | 63 | 0.00367 | 0.00091979 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-5_0_6_load_33 | 64 | 0.0036221 | 0.00090778 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-5_0_6_load_56 | 65 | 0.0034822 | 0.00087272 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-5_0_6_load_55 | 66 | 0.0035014 | 0.00087754 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-5_0_6_load_35 | 67 | 0.0034388 | 0.00086185 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-5_0_6_load_36 | 68 | 0.0053619 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-5_0_6_load_38 | 70 | 0.0023866 | 0.00059815 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-5_0_6_load_39 | 71 | 0.001855 | 0.0004649 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-5_0_6_load_40 | 72 | 0.0034343 | 0.00086071 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-5_0_6_load_41 | 73 | 0.0040806 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-5_0_6_load_111 | 74 | 0.003829 | 0.00095964 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-5_0_6_load_114 | 75 | 0.01003 | 0.0025137 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-5_0_6_load_109 | 76 | 0.0016675 | 0.00041792 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-5_0_6_load_115 | 77 | 0.0018574 | 0.00046551 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-5_0_6_load_44 | 78 | 0.0033659 | 0.00084358 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-5_0_6_load_45 | 79 | 0.0036837 | 0.00092323 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-5_0_6_load_53 | 80 | 0.0031522 | 0.00079003 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-5_0_6_load_51 | 81 | 0.0032094 | 0.00080436 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-5_0_6_load_46 | 82 | 0.0033864 | 0.00084871 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-5_0_6_load_47 | 83 | 0.003197 | 0.00080125 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-5_0_6_load_48 | 84 | 0.0031868 | 0.00079868 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-5_0_6_load_49 | 85 | 0.0031981 | 0.00080153 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-5_0_6_load_50 | 86 | 0.0031905 | 0.00079961 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-5_0_6_load_106 | 87 | 0.0023967 | 0.00060067 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-5_0_6_load_52 | 88 | 0.0036111 | 0.00090504 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-5_0_6_load_85 | 91 | 0.0077 | 0.0019298 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-5_0_6_load_57 | 92 | 0.0038166 | 0.00095652 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-5_0_6_load_58 | 93 | 0.0026851 | 0.00067294 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-5_0_6_load_59 | 94 | 0.0053033 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-5_0_6_load_60 | 95 | 0.0042216 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-5_0_6_load_62 | 96 | 0.0031171 | 0.00078122 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-5_0_6_load_97 | 97 | 0.0031889 | 0.00079921 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-5_0_6_load_98 | 98 | 0.0031393 | 0.00078679 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-5_0_6_load_66 | 99 | 0.004677 | 0.0011722 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-5_0_6_load_67 | 100 | 0.0046817 | 0.0011733 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-5_0_6_load_147 | 101 | 0.0047605 | 0.0011931 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-5_0_6_load_84 | 102 | 0.0081145 | 0.0020337 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-5_0_6_load_68 | 103 | 0.0093075 | 0.0023327 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-5_0_6_load_69 | 104 | 0.0027475 | 0.0006886 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-5_0_6_load_70 | 105 | 0.0027542 | 0.00069026 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-5_0_6_load_71 | 106 | 0.0027475 | 0.00068858 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-5_0_6_load_72 | 107 | 0.0056399 | 0.0014135 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-5_0_6_load_125 | 109 | 0.0031814 | 0.00079734 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-5_0_6_load_108 | 110 | 0.002755 | 0.00069046 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-5_0_6_load_80 | 112 | 0.0054287 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-5_0_6_load_145 | 113 | 0.0030879 | 0.00077389 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-5_0_6_load_105 | 114 | 0.0097815 | 0.0024515 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-5_0_6_load_86 | 116 | 0.012002 | 0.003008 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2701-5_0_6_load_88 | 117 | 0.0051905 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2701-5_0_6_load_135 | 118 | 0.0051983 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2701-5_0_6_load_134 | 119 | 0.0051745 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2701-5_0_6_load_92 | 121 | 0.0032322 | 0.00081007 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2701-5_0_6_load_93 | 122 | 0.0020453 | 0.0005126 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2701-5_0_6_load_94 | 123 | 0.0094962 | 0.00238 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2701-5_0_6_load_104 | 124 | 0.0038028 | 0.00095308 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2701-5_0_6_load_127 | 125 | 0.0093032 | 0.0023316 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2701-5_0_6_load_151 | 126 | 0.0018854 | 0.00047252 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2701-5_0_6_load_152 | 127 | 0.0018786 | 0.00047083 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2701-5_0_6_load_158 | 128 | 0.0036449 | 0.00091349 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2701-5_0_6_load_157 | 129 | 0.0035285 | 0.00088433 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2701-5_0_6_load_156 | 130 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2701-5_0_6_load_155 | 131 | 0.0029543 | 0.00074042 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2701-5_0_6_load_133 | 132 | 0.0031345 | 0.00078558 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2701-5_0_6_load_131 | 133 | 0.0031325 | 0.00078507 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2701-5_0_6_load_100 | 134 | 0.0071756 | 0.0017984 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2701-5_0_6_load_101 | 135 | 0.0020387 | 0.00051095 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2701-5_0_6_load_137 | 136 | 0.0042676 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2701-5_0_6_load_138 | 137 | 0.0040416 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2701-5_0_6_load_110 | 138 | 0.0016583 | 0.00041562 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2701-5_0_6_load_112 | 139 | 0.0032633 | 0.00081785 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2701-5_0_6_load_113 | 140 | 0.0016579 | 0.0004155 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2701-5_0_6_load_117 | 141 | 0.0017059 | 0.00042754 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2701-5_0_6_load_116 | 142 | 0.0016947 | 0.00042472 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2701-5_0_6_load_118 | 143 | 0.0017094 | 0.00042842 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2701-5_0_6_load_150 | 145 | 0.0018363 | 0.00046023 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2701-5_0_6_load_128 | 146 | 0.00174 | 0.00043608 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2701-5_0_6_load_120 | 147 | 0.0028161 | 0.00070578 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2701-5_0_6_load_122 | 148 | 0.0030954 | 0.00077577 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2701-5_0_6_load_124 | 149 | 0.0027834 | 0.00069759 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2701-5_0_6_load_129 | 150 | 0.0016731 | 0.00041931 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2701-5_0_6_load_130 | 151 | 0.0051694 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2701-5_0_6_load_132 | 152 | 0.0051664 | 0.0012948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 113 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-5_0_6_line_0 |  | 0 | 1 | 0.013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-5_0_6_line_1 |  | 0 | 2 | 0.079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-5_0_6_line_2 |  | 1 | 3 | 0.027078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-5_0_6_line_3 |  | 1 | 4 | 0.004852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-5_0_6_line_4 |  | 2 | 5 | 0.050554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-5_0_6_line_5 |  | 3 | 6 | 0.032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-5_0_6_line_6 |  | 4 | 7 | 0.009427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-5_0_6_line_7 |  | 4 | 8 | 0.0086439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-5_0_6_line_8 |  | 4 | 9 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-5_0_6_line_9 |  | 5 | 27 | 0.11067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-5_0_6_line_10 |  | 5 | 28 | 0.0040343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-5_0_6_line_11 |  | 7 | 31 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-5_0_6_line_12 |  | 8 | 32 | 0.0088347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-5_0_6_line_13 |  | 9 | 33 | 0.0083565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2701-5_0_6_line_14 |  | 10 | 11 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-5_0_6_line_15 |  | 10 | 12 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-5_0_6_line_16 |  | 11 | 13 | 0.0096387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-5_0_6_line_17 |  | 12 | 34 | 0.0089161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-5_0_6_line_18 |  | 14 | 15 | 0.0044445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-5_0_6_line_19 |  | 14 | 16 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-5_0_6_line_20 |  | 15 | 37 | 0.0097755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-5_0_6_line_21 |  | 16 | 38 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-5_0_6_line_22 |  | 17 | 18 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-5_0_6_line_23 |  | 17 | 19 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-5_0_6_line_24 |  | 17 | 20 | 0.0090089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-5_0_6_line_25 |  | 17 | 21 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-5_0_6_line_26 |  | 17 | 22 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-5_0_6_line_27 |  | 18 | 39 | 0.0032066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-5_0_6_line_28 |  | 19 | 40 | 0.008378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-5_0_6_line_29 |  | 20 | 25 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-5_0_6_line_30 |  | 20 | 26 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-5_0_6_line_31 |  | 21 | 23 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-5_0_6_line_32 |  | 21 | 24 | 0.009973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-5_0_6_line_33 |  | 22 | 41 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-5_0_6_line_34 |  | 23 | 42 | 0.0083553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-5_0_6_line_35 |  | 24 | 43 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-5_0_6_line_36 |  | 25 | 47 | 0.012746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-5_0_6_line_37 |  | 26 | 48 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-5_0_6_line_38 |  | 27 | 49 | 0.12263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-5_0_6_line_39 |  | 27 | 50 | 0.0071835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-5_0_6_line_40 |  | 29 | 30 | 0.0086998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-5_0_6_line_41 |  | 30 | 77 | 0.0077308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-5_0_6_line_42 |  | 31 | 97 | 0.010348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-5_0_6_line_43 |  | 32 | 147 | 0.0085072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-5_0_6_line_44 |  | 33 | 111 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2701-5_0_6_line_45 |  | 34 | 86 | 0.0086108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-5_0_6_line_46 |  | 35 | 36 | 0.028445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-5_0_6_line_47 |  | 36 | 120 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-5_0_6_line_48 |  | 37 | 93 | 0.0066602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-5_0_6_line_49 |  | 38 | 44 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-5_0_6_line_50 |  | 39 | 112 | 0.0089769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-5_0_6_line_51 |  | 40 | 113 | 0.008098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2701-5_0_6_line_52 |  | 41 | 99 | 0.0081709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-5_0_6_line_53 |  | 42 | 96 | 0.0086427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-5_0_6_line_54 |  | 43 | 78 | 0.0085644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-5_0_6_line_55 |  | 44 | 60 | 0.0084258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-5_0_6_line_56 |  | 45 | 46 | 0.0083742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-5_0_6_line_57 |  | 46 | 102 | 0.0078185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-5_0_6_line_58 |  | 47 | 87 | 0.0074761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-5_0_6_line_59 |  | 48 | 58 | 0.0088846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-5_0_6_line_60 |  | 49 | 55 | 0.06591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-5_0_6_line_61 |  | 49 | 51 | 0.088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-5_0_6_line_62 |  | 50 | 53 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-5_0_6_line_63 |  | 51 | 52 | 0.031717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-5_0_6_line_64 |  | 53 | 54 | 0.038913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-5_0_6_line_65 |  | 55 | 56 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-5_0_6_line_66 |  | 57 | 58 | 0.0082734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-5_0_6_line_67 |  | 57 | 59 | 0.0085657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-5_0_6_line_68 |  | 59 | 60 | 0.0084563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-5_0_6_line_69 |  | 61 | 62 | 0.0086634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-5_0_6_line_70 |  | 61 | 63 | 0.0080318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-5_0_6_line_71 |  | 63 | 64 | 0.0080341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-5_0_6_line_72 |  | 64 | 65 | 0.0077519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-5_0_6_line_73 |  | 65 | 66 | 0.0074858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-5_0_6_line_74 |  | 66 | 92 | 0.0076511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-5_0_6_line_75 |  | 67 | 68 | 0.0023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-5_0_6_line_76 |  | 67 | 69 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-5_0_6_line_77 |  | 68 | 70 | 0.0097819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-5_0_6_line_78 |  | 69 | 71 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-5_0_6_line_79 |  | 69 | 72 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-5_0_6_line_80 |  | 69 | 73 | 0.020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-5_0_6_line_81 |  | 70 | 74 | 0.0074509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-5_0_6_line_82 |  | 71 | 75 | 0.0052069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-5_0_6_line_83 |  | 74 | 76 | 4.5596e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-5_0_6_line_84 |  | 75 | 77 | 0.0011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2701-5_0_6_line_85 |  | 76 | 138 | 0.0061471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-5_0_6_line_86 |  | 78 | 79 | 0.0087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-5_0_6_line_87 |  | 79 | 80 | 0.0081585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-5_0_6_line_88 |  | 80 | 81 | 0.0086881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-5_0_6_line_89 |  | 82 | 83 | 0.0083216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-5_0_6_line_90 |  | 82 | 84 | 0.0086889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-5_0_6_line_91 |  | 83 | 85 | 0.0086923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-5_0_6_line_92 |  | 84 | 86 | 0.0082985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-5_0_6_line_93 |  | 85 | 87 | 0.00092684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-5_0_6_line_94 |  | 88 | 89 | 0.018055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-5_0_6_line_95 |  | 89 | 90 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-5_0_6_line_96 |  | 90 | 91 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-5_0_6_line_97 |  | 91 | 116 | 0.014145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-5_0_6_line_98 |  | 92 | 93 | 0.0073634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-5_0_6_line_99 |  | 94 | 95 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-5_0_6_line_100 |  | 95 | 96 | 0.0084132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2701-5_0_6_line_101 |  | 97 | 98 | 0.008495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2701-5_0_6_line_102 |  | 98 | 132 | 0.0083655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2701-5_0_6_line_103 |  | 99 | 100 | 0.0078656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2701-5_0_6_line_104 |  | 100 | 101 | 0.0081565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2701-5_0_6_line_105 |  | 101 | 102 | 0.0079916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2701-5_0_6_line_106 |  | 103 | 104 | 0.0053725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2701-5_0_6_line_107 |  | 103 | 105 | 0.0031291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2701-5_0_6_line_108 |  | 104 | 106 | 0.0085102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2701-5_0_6_line_109 |  | 105 | 107 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2701-5_0_6_line_110 |  | 106 | 108 | 0.0028199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2701-5_0_6_line_111 |  | 107 | 109 | 0.0045027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2701-5_0_6_line_112 |  | 108 | 110 | 0.0056987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2701-5_0_6_line_113 |  | 109 | 111 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2701-5_0_6_line_114 |  | 110 | 136 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2701-5_0_6_line_115 |  | 111 | 113 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_2701-5_0_6_line_116 |  | 112 | 114 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2701-5_0_6_line_117 |  | 114 | 115 | 0.0034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2701-5_0_6_line_118 |  | 115 | 124 | 0.0098499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2701-5_0_6_line_119 |  | 115 | 134 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2701-5_0_6_line_120 |  | 116 | 117 | 0.01283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2701-5_0_6_line_121 |  | 117 | 118 | 0.0084006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2701-5_0_6_line_122 |  | 118 | 119 | 0.0086667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2701-5_0_6_line_123 |  | 119 | 152 | 0.0083583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2701-5_0_6_line_124 |  | 120 | 121 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2701-5_0_6_line_125 |  | 120 | 122 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2701-5_0_6_line_126 |  | 120 | 123 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2701-5_0_6_line_127 |  | 121 | 124 | 0.0079982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2701-5_0_6_line_128 |  | 122 | 125 | 0.0036082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2701-5_0_6_line_129 |  | 123 | 126 | 0.002923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2701-5_0_6_line_130 |  | 126 | 127 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2701-5_0_6_line_131 |  | 127 | 131 | 0.0074503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2701-5_0_6_line_132 |  | 128 | 129 | 0.013185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2701-5_0_6_line_133 |  | 129 | 145 | 0.0034514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2701-5_0_6_line_134 |  | 130 | 131 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2701-5_0_6_line_135 |  | 132 | 133 | 0.0086374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2701-5_0_6_line_136 |  | 133 | 150 | 0.0013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2701-5_0_6_line_137 |  | 134 | 135 | 0.0090191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2701-5_0_6_line_138 |  | 136 | 137 | 0.00045088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2701-5_0_6_line_139 |  | 137 | 144 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2701-5_0_6_line_140 |  | 138 | 139 | 0.0010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2701-5_0_6_line_141 |  | 139 | 140 | 0.0050807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2701-5_0_6_line_142 |  | 140 | 141 | 0.00079029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2701-5_0_6_line_143 |  | 141 | 142 | 0.0053461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2701-5_0_6_line_144 |  | 142 | 143 | 0.00065345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2701-5_0_6_line_145 |  | 143 | 144 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2701-5_0_6_line_146 |  | 144 | 145 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2701-5_0_6_line_147 |  | 144 | 146 | 0.015724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2701-5_0_6_line_148 |  | 147 | 148 | 0.0083193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2701-5_0_6_line_149 |  | 148 | 149 | 0.008906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2701-5_0_6_line_150 |  | 150 | 151 | 0.0069711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2701-5_0_6_line_151 |  | 151 | 152 | 0.0086404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-5_0_6_trafo_145 | 0.63 MVA 20/0.4 kV | 153 | 113 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2610541.91 | 1266418.0397 | 2610530.3486 | 1266411.6456
1 | 2610460.65 | 1266373.0982 | 2610530.3486 | 1266411.6456
2 | 2610541.91 | 1266418.0397 | 2610566.4 | 1266429.7468
3 | 2610541.91 | 1266418.0397 | 2610537.8702 | 1266420.7455
4 | 2610435.4817 | 1266340.1421 | 2610441.7669 | 1266344.7898 | 2610442.4975 | 1266348.905 | 2610440.8578 | 1266352.3823 | 2610441.7393 | 1266356.2421 | 2610441.8655 | 1266357.2653 | 2610439.1393 | 1266362.1305 | 2610460.65 | 1266373.0982
5 | 2610566.4 | 1266429.7468 | 2610591.2815 | 1266424.4874 | 2610597.8283 | 1266427.5931
6 | 2610529.5296 | 1266416.3054 | 2610537.8702 | 1266420.7455
7 | 2610537.8702 | 1266420.7455 | 2610543.7289 | 1266423.858 | 2610545.4976 | 1266424.8125
8 | 2610537.8702 | 1266420.7455 | 2610524.8737 | 1266429.1332
9 | 2610435.4817 | 1266340.1421 | 2610447.1389 | 1266329.3662 | 2610448.0492 | 1266325.4095 | 2610450.9241 | 1266313.0282 | 2610461.1703 | 1266304.2067 | 2610466.9355 | 1266304.9062 | 2610473.7621 | 1266297.1462 | 2610489.7447 | 1266305.3578 | 2610499.63 | 1266313.3697 | 2610513.0849 | 1266324.8237
10 | 2610435.4817 | 1266340.1421 | 2610431.4651 | 1266340.5194
11 | 2610529.5296 | 1266416.3054 | 2610519.338 | 1266410.8004
12 | 2610553.2723 | 1266429.0082 | 2610545.4976 | 1266424.8125
13 | 2610517.8525 | 1266433.6646 | 2610524.8737 | 1266429.1332
14 | 2610393.3107 | 1266374.0475 | 2610372.3956 | 1266375.4675
15 | 2610393.3107 | 1266374.0475 | 2610401.2227 | 1266389.6363
16 | 2610372.3956 | 1266375.4675 | 2610371.8729 | 1266377.3123 | 2610369.7011 | 1266384.7219
17 | 2610405.258 | 1266397.587 | 2610401.2227 | 1266389.6363
18 | 2610340.2106 | 1266485.3324 | 2610341.4608 | 1266481.0674
19 | 2610340.2106 | 1266485.3324 | 2610348.7189 | 1266501.6095
20 | 2610341.4608 | 1266481.0674 | 2610344.2104 | 1266471.6866
21 | 2610353.7532 | 1266511.2407 | 2610348.7189 | 1266501.6095
22 | 2610450.2137 | 1266477.3302 | 2610461.5576 | 1266493.6812
23 | 2610450.2137 | 1266477.3302 | 2610469.9573 | 1266464.583
24 | 2610444.0665 | 1266475.596 | 2610448.346 | 1266473.5132 | 2610450.2137 | 1266477.3302
25 | 2610450.2137 | 1266477.3302 | 2610448.346 | 1266473.5132 | 2610455.1569 | 1266470.2118
26 | 2610450.2137 | 1266477.3302 | 2610436.7926 | 1266482.8732
27 | 2610461.5576 | 1266493.6812 | 2610463.3855 | 1266496.3158
28 | 2610476.9958 | 1266460.0387 | 2610469.9573 | 1266464.583
29 | 2610444.0665 | 1266475.596 | 2610443.8066 | 1266473.5386 | 2610434.1154 | 1266454.4441
30 | 2610444.0665 | 1266475.596 | 2610443.16 | 1266477.3957 | 2610441.6075 | 1266478.4159 | 2610429.1748 | 1266483.0611
31 | 2610455.1569 | 1266470.2118 | 2610457.6415 | 1266469.9604 | 2610469.7285 | 1266462.0659
32 | 2610455.1569 | 1266470.2118 | 2610452.7124 | 1266469.0511 | 2610450.7825 | 1266466.3569 | 2610448.9999 | 1266462.8288
33 | 2610423.0372 | 1266488.5542 | 2610436.7926 | 1266482.8732
34 | 2610476.7239 | 1266457.497 | 2610469.7285 | 1266462.0659
35 | 2610448.9999 | 1266462.8288 | 2610438.1632 | 1266441.3803
36 | 2610434.1154 | 1266454.4441 | 2610428.3467 | 1266443.0781
37 | 2610409.7201 | 1266490.3299 | 2610429.1748 | 1266483.0611
38 | 2610513.0849 | 1266324.8237 | 2610519.2909 | 1266344.415 | 2610525.6453 | 1266348.2289 | 2610521.4777 | 1266355.1263 | 2610518.7991 | 1266362.8381 | 2610516.2219 | 1266372.8405 | 2610519.3206 | 1266374.4582 | 2610527.3605 | 1266374.4057 | 2610531.9274 | 1266375.8926 | 2610543.4134 | 1266381.0499 | 2610557.0188 | 1266388.1679 | 2610567.8169 | 1266394.9473 | 2610564.4934 | 1266405.5155
39 | 2610513.0849 | 1266324.8237 | 2610519.8293 | 1266322.3509
40 | 2610586.67 | 1266449.2517 | 2610591.5763 | 1266456.436
41 | 2610595.9361 | 1266462.8202 | 2610591.5763 | 1266456.436
42 | 2610519.338 | 1266410.8004 | 2610510.2331 | 1266405.8823
43 | 2610560.759 | 1266433.0485 | 2610553.2723 | 1266429.0082
44 | 2610500.8961 | 1266444.6078 | 2610517.8525 | 1266433.6646
45 | 2610405.258 | 1266397.587 | 2610409.1551 | 1266405.2654
46 | 2610482.1606 | 1266560.0903 | 2610455.3996 | 1266569.7319
47 | 2610501.7283 | 1266553.0404 | 2610482.1606 | 1266560.0903
48 | 2610344.2104 | 1266471.6866 | 2610346.0838 | 1266465.2953
49 | 2610353.7532 | 1266511.2407 | 2610369.809 | 1266505.2418
50 | 2610468.5025 | 1266503.6915 | 2610463.3855 | 1266496.3158
51 | 2610476.9958 | 1266460.0387 | 2610483.7991 | 1266455.6463
52 | 2610423.0372 | 1266488.5542 | 2610415.4851 | 1266491.6733
53 | 2610476.7239 | 1266457.497 | 2610483.96 | 1266452.7708
54 | 2610434.3011 | 1266433.7362 | 2610438.1632 | 1266441.3803
55 | 2610369.809 | 1266505.2418 | 2610377.7019 | 1266502.2928
56 | 2610378.3234 | 1266507.0212 | 2610386.0635 | 1266503.8245
57 | 2610393.2899 | 1266500.84 | 2610386.0635 | 1266503.8245
58 | 2610424.9631 | 1266436.4115 | 2610428.3467 | 1266443.0781
59 | 2610409.7201 | 1266490.3299 | 2610401.3974 | 1266493.4395
60 | 2610564.4934 | 1266405.5155 | 2610575.6315 | 1266411.5061 | 2610587.4139 | 1266415.074 | 2610596.4338 | 1266418.4813 | 2610611.4271 | 1266423.9785 | 2610620.3278 | 1266418.246 | 2610625.0813 | 1266418.1765
61 | 2610564.4934 | 1266405.5155 | 2610567.8169 | 1266394.9473 | 2610574.6724 | 1266387.8879 | 2610580.6522 | 1266386.4198 | 2610581.7057 | 1266369.6989 | 2610587.1872 | 1266369.086 | 2610592.2255 | 1266367.9053 | 2610600.1559 | 1266365.9847 | 2610603.1602 | 1266365.612 | 2610613.4587 | 1266365.5081 | 2610619.6507 | 1266367.465 | 2610623.8751 | 1266370.9861
62 | 2610536.5047 | 1266316.237 | 2610519.8293 | 1266322.3509
63 | 2610623.8751 | 1266370.9861 | 2610611.3753 | 1266393.9575 | 2610613.2705 | 1266399.209
64 | 2610536.5047 | 1266316.237 | 2610537.5541 | 1266310.3236 | 2610535.1518 | 1266302.2915 | 2610526.5926 | 1266289.4563 | 2610523.2939 | 1266280.9797
65 | 2610639.577 | 1266430.3961 | 2610637.4454 | 1266427.1383 | 2610631.7515 | 1266420.2678 | 2610626.4255 | 1266418.1568 | 2610625.0813 | 1266418.1765
66 | 2610393.6472 | 1266496.3352 | 2610401.3974 | 1266493.4395
67 | 2610393.6472 | 1266496.3352 | 2610385.6233 | 1266499.3332
68 | 2610377.7019 | 1266502.2928 | 2610385.6233 | 1266499.3332
69 | 2610361.5491 | 1266412.5336 | 2610359.1122 | 1266420.8472
70 | 2610356.853 | 1266428.5547 | 2610359.1122 | 1266420.8472
71 | 2610356.853 | 1266428.5547 | 2610354.5932 | 1266436.2645
72 | 2610354.5932 | 1266436.2645 | 2610352.4127 | 1266443.7034
73 | 2610350.3071 | 1266450.8869 | 2610352.4127 | 1266443.7034
74 | 2610350.3071 | 1266450.8869 | 2610348.155 | 1266458.2292
75 | 2610594.5147 | 1266491.6797 | 2610596.5078 | 1266490.3663
76 | 2610607.633 | 1266483.0351 | 2610596.5078 | 1266490.3663
77 | 2610594.5147 | 1266491.6797 | 2610586.3468 | 1266497.0621
78 | 2610607.633 | 1266483.0351 | 2610604.6489 | 1266476.3363 | 2610600.4231 | 1266469.3906 | 2610599.5287 | 1266468.0809
79 | 2610607.633 | 1266483.0351 | 2610614.0189 | 1266481.7456 | 2610619.7138 | 1266479.8491
80 | 2610607.633 | 1266483.0351 | 2610610.6874 | 1266492.5361 | 2610613.9415 | 1266502.2119
81 | 2610580.1252 | 1266501.1619 | 2610586.3468 | 1266497.0621
82 | 2610596.5922 | 1266463.7809 | 2610599.5287 | 1266468.0809
83 | 2610580.1252 | 1266501.1619 | 2610580.0872 | 1266501.187
84 | 2610596.5922 | 1266463.7809 | 2610595.9361 | 1266462.8202
85 | 2610580.0872 | 1266501.187 | 2610574.9543 | 1266504.5694
86 | 2610434.3011 | 1266433.7362 | 2610430.344 | 1266425.9043
87 | 2610430.344 | 1266425.9043 | 2610426.6649 | 1266418.6224
88 | 2610422.747 | 1266410.8678 | 2610426.6649 | 1266418.6224
89 | 2610416.8434 | 1266420.4134 | 2610420.6096 | 1266427.8339
90 | 2610416.8434 | 1266420.4134 | 2610412.9109 | 1266412.6654
91 | 2610424.5436 | 1266435.5851 | 2610420.6096 | 1266427.8339
92 | 2610412.9109 | 1266412.6654 | 2610409.1551 | 1266405.2654
93 | 2610424.9631 | 1266436.4115 | 2610424.5436 | 1266435.5851
94 | 2610401.9829 | 1266369.7708 | 2610410.1251 | 1266385.8861
95 | 2610401.9829 | 1266369.7708 | 2610416.605 | 1266355.3085
96 | 2610416.605 | 1266355.3085 | 2610426.7348 | 1266360.7802
97 | 2610426.7348 | 1266360.7802 | 2610439.18 | 1266367.5025
98 | 2610348.155 | 1266458.2292 | 2610346.0838 | 1266465.2953
99 | 2610500.0473 | 1266442.2636 | 2610491.0039 | 1266448.1702
100 | 2610491.0039 | 1266448.1702 | 2610483.96 | 1266452.7708
101 | 2610502.7587 | 1266401.845 | 2610510.2331 | 1266405.8823
102 | 2610495.3983 | 1266397.8692 | 2610502.7587 | 1266401.845
103 | 2610408.2151 | 1266494.6758 | 2610415.4851 | 1266491.6733
104 | 2610408.2151 | 1266494.6758 | 2610400.6763 | 1266497.7894
105 | 2610393.2899 | 1266500.84 | 2610400.6763 | 1266497.7894
106 | 2610521.923 | 1266476.435 | 2610524.8844 | 1266480.9176
107 | 2610521.923 | 1266476.435 | 2610520.1981 | 1266473.8243
108 | 2610524.8844 | 1266480.9176 | 2610529.5754 | 1266488.0182
109 | 2610520.1981 | 1266473.8243 | 2610511.2171 | 1266460.2302
110 | 2610531.1298 | 1266490.371 | 2610529.5754 | 1266488.0182
111 | 2610508.7352 | 1266456.4733 | 2610511.2171 | 1266460.2302
112 | 2610531.1298 | 1266490.371 | 2610534.2711 | 1266495.1257
113 | 2610500.8961 | 1266444.6078 | 2610508.7352 | 1266456.4733
114 | 2610541.9475 | 1266506.7449 | 2610534.2711 | 1266495.1257
115 | 2610500.8961 | 1266444.6078 | 2610483.7991 | 1266455.6463
116 | 2610468.5025 | 1266503.6915 | 2610476.0559 | 1266514.5787
117 | 2610478.0336 | 1266517.4294 | 2610476.0559 | 1266514.5787
118 | 2610478.0336 | 1266517.4294 | 2610483.4875 | 1266525.6316
119 | 2610478.0336 | 1266517.4294 | 2610492.3546 | 1266507.6742
120 | 2610439.18 | 1266367.5025 | 2610450.4684 | 1266373.6001
121 | 2610450.4684 | 1266373.6001 | 2610457.8597 | 1266377.5925
122 | 2610457.8597 | 1266377.5925 | 2610465.485 | 1266381.7114
123 | 2610472.8391 | 1266385.6837 | 2610465.485 | 1266381.7114
124 | 2610501.7283 | 1266553.0404 | 2610496.4128 | 1266545.0699 | 2610487.9162 | 1266532.2918
125 | 2610501.7283 | 1266553.0404 | 2610513.6196 | 1266545.1519
126 | 2610501.7283 | 1266553.0404 | 2610509.4036 | 1266564.5539
127 | 2610483.4875 | 1266525.6316 | 2610487.9162 | 1266532.2918
128 | 2610513.6196 | 1266545.1519 | 2610516.6264 | 1266543.1573
129 | 2610509.4036 | 1266564.5539 | 2610511.025 | 1266566.9861
130 | 2610511.025 | 1266566.9861 | 2610517.2536 | 1266576.3295
131 | 2610517.2536 | 1266576.3295 | 2610521.3862 | 1266582.5286
132 | 2610559.1122 | 1266532.6635 | 2610566.4056 | 1266543.6472
133 | 2610557.203 | 1266529.7882 | 2610559.1122 | 1266532.6635
134 | 2610527.1716 | 1266591.2072 | 2610521.3862 | 1266582.5286
135 | 2610487.7988 | 1266393.7642 | 2610495.3983 | 1266397.8692
136 | 2610486.5748 | 1266393.1031 | 2610487.7988 | 1266393.7642
137 | 2610492.3546 | 1266507.6742 | 2610493.8911 | 1266506.6276 | 2610497.8317 | 1266512.6056
138 | 2610542.196 | 1266507.1211 | 2610541.9475 | 1266506.7449
139 | 2610550.9575 | 1266520.3826 | 2610542.196 | 1266507.1211
140 | 2610574.0773 | 1266505.1473 | 2610574.9543 | 1266504.5694
141 | 2610574.0773 | 1266505.1473 | 2610569.8349 | 1266507.9429
142 | 2610569.8349 | 1266507.9429 | 2610569.1751 | 1266508.3777
143 | 2610569.1751 | 1266508.3777 | 2610564.711 | 1266511.3194
144 | 2610564.711 | 1266511.3194 | 2610564.1654 | 1266511.679
145 | 2610550.9575 | 1266520.3826 | 2610564.1654 | 1266511.679
146 | 2610550.9575 | 1266520.3826 | 2610557.203 | 1266529.7882
147 | 2610550.9575 | 1266520.3826 | 2610537.8545 | 1266529.0749
148 | 2610568.0802 | 1266436.9994 | 2610560.759 | 1266433.0485
149 | 2610568.0802 | 1266436.9994 | 2610575.9177 | 1266441.2291
150 | 2610486.5748 | 1266393.1031 | 2610480.4413 | 1266389.7901
151 | 2610480.4413 | 1266389.7901 | 2610472.8391 | 1266385.6837

## bus_geodata
| x | y | coords
0 | 2610530.3486 | 1266411.6456
1 | 2610541.91 | 1266418.0397
2 | 2610460.65 | 1266373.0982
3 | 2610566.4 | 1266429.7468
4 | 2610537.8702 | 1266420.7455
5 | 2610435.4817 | 1266340.1421
6 | 2610597.8283 | 1266427.5931
7 | 2610529.5296 | 1266416.3054
8 | 2610545.4976 | 1266424.8125
9 | 2610524.8737 | 1266429.1332
10 | 2610393.3107 | 1266374.0475
11 | 2610372.3956 | 1266375.4675
12 | 2610401.2227 | 1266389.6363
13 | 2610369.7011 | 1266384.7219
14 | 2610340.2106 | 1266485.3324
15 | 2610341.4608 | 1266481.0674
16 | 2610348.7189 | 1266501.6095
17 | 2610450.2137 | 1266477.3302
18 | 2610461.5576 | 1266493.6812
19 | 2610469.9573 | 1266464.583
20 | 2610444.0665 | 1266475.596
21 | 2610455.1569 | 1266470.2118
22 | 2610436.7926 | 1266482.8732
23 | 2610469.7285 | 1266462.0659
24 | 2610448.9999 | 1266462.8288
25 | 2610434.1154 | 1266454.4441
26 | 2610429.1748 | 1266483.0611
27 | 2610513.0849 | 1266324.8237
28 | 2610431.4651 | 1266340.5194
29 | 2610586.67 | 1266449.2517
30 | 2610591.5763 | 1266456.436
31 | 2610519.338 | 1266410.8004
32 | 2610553.2723 | 1266429.0082
33 | 2610517.8525 | 1266433.6646
34 | 2610405.258 | 1266397.587
35 | 2610455.3996 | 1266569.7319
36 | 2610482.1606 | 1266560.0903
37 | 2610344.2104 | 1266471.6866
38 | 2610353.7532 | 1266511.2407
39 | 2610463.3855 | 1266496.3158
40 | 2610476.9958 | 1266460.0387
41 | 2610423.0372 | 1266488.5542
42 | 2610476.7239 | 1266457.497
43 | 2610438.1632 | 1266441.3803
44 | 2610369.809 | 1266505.2418
45 | 2610378.3234 | 1266507.0212
46 | 2610386.0635 | 1266503.8245
47 | 2610428.3467 | 1266443.0781
48 | 2610409.7201 | 1266490.3299
49 | 2610564.4934 | 1266405.5155
50 | 2610519.8293 | 1266322.3509
51 | 2610623.8751 | 1266370.9861
52 | 2610613.2705 | 1266399.209
53 | 2610536.5047 | 1266316.237
54 | 2610523.2939 | 1266280.9797
55 | 2610625.0813 | 1266418.1765
56 | 2610639.577 | 1266430.3961
57 | 2610393.6472 | 1266496.3352
58 | 2610401.3974 | 1266493.4395
59 | 2610385.6233 | 1266499.3332
60 | 2610377.7019 | 1266502.2928
61 | 2610359.1122 | 1266420.8472
62 | 2610361.5491 | 1266412.5336
63 | 2610356.853 | 1266428.5547
64 | 2610354.5932 | 1266436.2645
65 | 2610352.4127 | 1266443.7034
66 | 2610350.3071 | 1266450.8869
67 | 2610596.5078 | 1266490.3663
68 | 2610594.5147 | 1266491.6797
69 | 2610607.633 | 1266483.0351
70 | 2610586.3468 | 1266497.0621
71 | 2610599.5287 | 1266468.0809
72 | 2610619.7138 | 1266479.8491
73 | 2610613.9415 | 1266502.2119
74 | 2610580.1252 | 1266501.1619
75 | 2610596.5922 | 1266463.7809
76 | 2610580.0872 | 1266501.187
77 | 2610595.9361 | 1266462.8202
78 | 2610434.3011 | 1266433.7362
79 | 2610430.344 | 1266425.9043
80 | 2610426.6649 | 1266418.6224
81 | 2610422.747 | 1266410.8678
82 | 2610416.8434 | 1266420.4134
83 | 2610420.6096 | 1266427.8339
84 | 2610412.9109 | 1266412.6654
85 | 2610424.5436 | 1266435.5851
86 | 2610409.1551 | 1266405.2654
87 | 2610424.9631 | 1266436.4115
88 | 2610410.1251 | 1266385.8861
89 | 2610401.9829 | 1266369.7708
90 | 2610416.605 | 1266355.3085
91 | 2610426.7348 | 1266360.7802
92 | 2610348.155 | 1266458.2292
93 | 2610346.0838 | 1266465.2953
94 | 2610500.0473 | 1266442.2636
95 | 2610491.0039 | 1266448.1702
96 | 2610483.96 | 1266452.7708
97 | 2610510.2331 | 1266405.8823
98 | 2610502.7587 | 1266401.845
99 | 2610415.4851 | 1266491.6733
100 | 2610408.2151 | 1266494.6758
101 | 2610400.6763 | 1266497.7894
102 | 2610393.2899 | 1266500.84
103 | 2610521.923 | 1266476.435
104 | 2610524.8844 | 1266480.9176
105 | 2610520.1981 | 1266473.8243
106 | 2610529.5754 | 1266488.0182
107 | 2610511.2171 | 1266460.2302
108 | 2610531.1298 | 1266490.371
109 | 2610508.7352 | 1266456.4733
110 | 2610534.2711 | 1266495.1257
111 | 2610500.8961 | 1266444.6078
112 | 2610468.5025 | 1266503.6915
113 | 2610483.799 | 1266455.6463
114 | 2610476.0559 | 1266514.5787
115 | 2610478.0336 | 1266517.4294
116 | 2610439.18 | 1266367.5025
117 | 2610450.4684 | 1266373.6001
118 | 2610457.8597 | 1266377.5925
119 | 2610465.485 | 1266381.7114
120 | 2610501.7283 | 1266553.0404
121 | 2610487.9162 | 1266532.2918
122 | 2610513.6196 | 1266545.1519
123 | 2610509.4036 | 1266564.5539
124 | 2610483.4875 | 1266525.6316
125 | 2610516.6264 | 1266543.1573
126 | 2610511.025 | 1266566.9861
127 | 2610517.2536 | 1266576.3295
128 | 2610566.4056 | 1266543.6472
129 | 2610559.1122 | 1266532.6635
130 | 2610527.1716 | 1266591.2072
131 | 2610521.3862 | 1266582.5286
132 | 2610495.3983 | 1266397.8692
133 | 2610487.7988 | 1266393.7642
134 | 2610492.3546 | 1266507.6742
135 | 2610497.8317 | 1266512.6056
136 | 2610541.9475 | 1266506.7449
137 | 2610542.196 | 1266507.1211
138 | 2610574.9543 | 1266504.5694
139 | 2610574.0773 | 1266505.1473
140 | 2610569.8349 | 1266507.9429
141 | 2610569.1751 | 1266508.3777
142 | 2610564.711 | 1266511.3194
143 | 2610564.1654 | 1266511.679
144 | 2610550.9575 | 1266520.3826
145 | 2610557.203 | 1266529.7882
146 | 2610537.8545 | 1266529.0749
147 | 2610560.759 | 1266433.0485
148 | 2610568.0802 | 1266436.9994
149 | 2610575.9177 | 1266441.2291
150 | 2610486.5748 | 1266393.1031
151 | 2610480.4413 | 1266389.7901
152 | 2610472.8391 | 1266385.6837
153 | 2610500.8961 | 1266444.6078

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1