## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-64_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-64_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-64_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-64_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-64_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-64_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-64_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2701-64_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2701-64_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2701-64_0_4_node_100 | 0.4 | n |  | TRUE
10 | bus_LV_2701-64_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-64_0_4_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_2701-64_0_4_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_2701-64_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-64_0_4_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_2701-64_0_4_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_2701-64_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2701-64_0_4_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_2701-64_0_4_node_107 | 0.4 | n |  | TRUE
19 | bus_LV_2701-64_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2701-64_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2701-64_0_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_2701-64_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2701-64_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2701-64_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2701-64_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2701-64_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_2701-64_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2701-64_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2701-64_0_4_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_2701-64_0_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_2701-64_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2701-64_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2701-64_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2701-64_0_4_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_2701-64_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2701-64_0_4_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_2701-64_0_4_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_2701-64_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_2701-64_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2701-64_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2701-64_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2701-64_0_4_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_2701-64_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2701-64_0_4_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_2701-64_0_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_2701-64_0_4_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_2701-64_0_4_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_2701-64_0_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_2701-64_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2701-64_0_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2701-64_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2701-64_0_4_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_2701-64_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_2701-64_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_2701-64_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2701-64_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_2701-64_0_4_node_21 | 0.4 | n |  | TRUE
58 | bus_LV_2701-64_0_4_node_109 | 0.4 | n |  | TRUE
59 | bus_LV_2701-64_0_4_node_22 | 0.4 | n |  | TRUE
60 | bus_LV_2701-64_0_4_node_23 | 0.4 | n |  | TRUE
61 | bus_LV_2701-64_0_4_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_2701-64_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_2701-64_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_2701-64_0_4_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_2701-64_0_4_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_2701-64_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_2701-64_0_4_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_2701-64_0_4_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_2701-64_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_2701-64_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2701-64_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2701-64_0_4_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2701-64_0_4_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_2701-64_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_2701-64_0_4_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_2701-64_0_4_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_2701-64_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2701-64_0_4_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_2701-64_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_2701-64_0_4_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_2701-64_0_4_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_2701-64_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_2701-64_0_4_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_2701-64_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_2701-64_0_4_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_2701-64_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_2701-64_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_2701-64_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_2701-64_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_2701-64_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_2701-64_0_4_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_2701-64_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_2701-64_0_4_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_2701-64_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_2701-64_0_4_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_2701-64_0_4_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_2701-64_0_4_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_2701-64_0_4_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_2701-64_0_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_2701-64_0_4_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_2701-64_0_4_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_2701-64_0_4_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_2701-64_0_4_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_2701-64_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_2701-64_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_MV_561_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-64_0_4_load_0 | 0 | 0.0019482 | 0.00048827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-64_0_4_load_1 | 1 | 0.0019454 | 0.00048756 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-64_0_4_load_5 | 5 | 0.0025548 | 0.0006403 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-64_0_4_load_18 | 6 | 0.0025967 | 0.0006508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-64_0_4_load_19 | 7 | 0.0067246 | 0.0016853 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-64_0_4_load_25 | 8 | 0.0025603 | 0.00064168 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-64_0_4_load_100 | 9 | 0.0058866 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-64_0_4_load_71 | 11 | 0.0060951 | 0.0015276 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-64_0_4_load_42 | 12 | 0.0040627 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-64_0_4_load_76 | 14 | 0.0045483 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-64_0_4_load_74 | 15 | 0.0053665 | 0.001345 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-64_0_4_load_101 | 17 | 0.004926 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-64_0_4_load_107 | 18 | 0.0052188 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-64_0_4_load_75 | 21 | 0.0050272 | 0.0012599 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-64_0_4_load_28 | 22 | 0.0043179 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-64_0_4_load_27 | 23 | 0.0057674 | 0.0014455 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-64_0_4_load_55 | 26 | 0.0039439 | 0.00098843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-64_0_4_load_30 | 27 | 0.0026915 | 0.00067455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-64_0_4_load_86 | 30 | 0.0096652 | 0.0024223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-64_0_4_load_26 | 32 | 0.0054991 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-64_0_4_load_20 | 33 | 0.002328 | 0.00058344 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-64_0_4_load_108 | 34 | 0.0017377 | 0.00043551 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-64_0_4_load_41 | 35 | 0.0069564 | 0.0017434 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-64_0_4_load_105 | 36 | 0.012709 | 0.0031851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-64_0_4_load_98 | 37 | 0.0050215 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-64_0_4_load_73 | 38 | 0.0091533 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-64_0_4_load_32 | 39 | 0.0043233 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-64_0_4_load_56 | 40 | 0.0068274 | 0.0017111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-64_0_4_load_29 | 41 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-64_0_4_load_99 | 42 | 0.011317 | 0.0028362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-64_0_4_load_54 | 43 | 0.0070032 | 0.0017552 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-64_0_4_load_106 | 44 | 0.012349 | 0.0030949 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-64_0_4_load_77 | 47 | 0.0048372 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-64_0_4_load_50 | 49 | 0.012582 | 0.0031534 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-64_0_4_load_97 | 52 | 0.00025083 | 6.2865e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-64_0_4_load_48 | 54 | 0.014358 | 0.0035985 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-64_0_4_load_47 | 55 | 0.014035 | 0.0035174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-64_0_4_load_62 | 56 | 0.010629 | 0.0026639 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-64_0_4_load_21 | 57 | 0.0013324 | 0.00033392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-64_0_4_load_109 | 58 | 0.0017315 | 0.00043397 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-64_0_4_load_22 | 59 | 0.0028274 | 0.00070862 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-64_0_4_load_23 | 60 | 0.0049859 | 0.0012496 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-64_0_4_load_31 | 61 | 0.0057478 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-64_0_4_load_33 | 62 | 0.018334 | 0.0045948 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-64_0_4_load_36 | 65 | 0.0040425 | 0.0010132 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-64_0_4_load_37 | 66 | 0.0029499 | 0.00073931 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-64_0_4_load_38 | 67 | 0.0026154 | 0.00065548 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-64_0_4_load_45 | 68 | 0.0033346 | 0.00083573 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-64_0_4_load_51 | 69 | 0.0033903 | 0.00084968 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-64_0_4_load_46 | 70 | 0.004251 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-64_0_4_load_40 | 72 | 0.009944 | 0.0024922 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-64_0_4_load_85 | 73 | 0.0058283 | 0.0014607 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-64_0_4_load_83 | 74 | 0.00043036 | 0.00010786 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-64_0_4_load_43 | 75 | 0.0051624 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-64_0_4_load_44 | 76 | 0.0086845 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-64_0_4_load_72 | 77 | 0.0093218 | 0.0023363 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-64_0_4_load_93 | 78 | 0.0041428 | 0.0010383 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-64_0_4_load_94 | 79 | 0.004126 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-64_0_4_load_49 | 80 | 0.0084548 | 0.002119 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-64_0_4_load_53 | 81 | 0.0064348 | 0.0016127 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-64_0_4_load_57 | 82 | 0.006062 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-64_0_4_load_58 | 83 | 0.0085475 | 0.0021422 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-64_0_4_load_59 | 84 | 0.0096816 | 0.0024264 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-64_0_4_load_60 | 85 | 0.0055788 | 0.0013982 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-64_0_4_load_61 | 86 | 0.0067189 | 0.0016839 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-64_0_4_load_79 | 87 | 0.0050257 | 0.0012596 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-64_0_4_load_88 | 88 | 0.0041131 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-64_0_4_load_80 | 89 | 0.0048323 | 0.0012111 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-64_0_4_load_89 | 90 | 0.0044404 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-64_0_4_load_63 | 91 | 0.0070264 | 0.001761 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-64_0_4_load_65 | 92 | 0.0047186 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-64_0_4_load_111 | 93 | 0.0078992 | 0.0019797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-64_0_4_load_96 | 94 | 0.00041432 | 0.00010384 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-64_0_4_load_90 | 95 | 0.0042317 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-64_0_4_load_102 | 96 | 0.0098566 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-64_0_4_load_103 | 97 | 0.0017308 | 0.00043377 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-64_0_4_load_91 | 98 | 0.0059679 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-64_0_4_load_95 | 99 | 0.0049868 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-64_0_4_load_81 | 100 | 0.014261 | 0.0035742 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-64_0_4_load_82 | 101 | 0.0021347 | 0.000535 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-64_0_4_load_84 | 102 | 0.0039528 | 0.00099066 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-64_0_4_load_110 | 103 | 0.038297 | 0.0095981 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-64_0_4_load_92 | 104 | 0.0075626 | 0.0018954 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-64_0_4_load_104 | 105 | 0.0047149 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-64_0_4_line_0 |  | 0 | 1 | 0.0074096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-64_0_4_line_1 |  | 0 | 2 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-64_0_4_line_2 |  | 1 | 3 | 0.0032637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-64_0_4_line_3 |  | 2 | 4 | 0.005158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-64_0_4_line_4 |  | 2 | 5 | 0.0058658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-64_0_4_line_5 |  | 3 | 6 | 0.0053975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-64_0_4_line_6 |  | 3 | 7 | 0.037011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-64_0_4_line_7 |  | 4 | 8 | 0.0052675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-64_0_4_line_8 |  | 5 | 9 | 0.006481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-64_0_4_line_9 |  | 6 | 33 | 0.0096288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-64_0_4_line_10 |  | 7 | 34 | 0.00069469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-64_0_4_line_11 |  | 8 | 32 | 0.0098442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-64_0_4_line_12 |  | 9 | 17 | 0.0081081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-64_0_4_line_13 |  | 10 | 11 | 0.0072143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-64_0_4_line_14 |  | 10 | 12 | 0.0012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2701-64_0_4_line_15 |  | 11 | 28 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2701-64_0_4_line_16 |  | 12 | 35 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2701-64_0_4_line_17 |  | 13 | 14 | 0.006837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2701-64_0_4_line_18 |  | 13 | 15 | 0.0015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2701-64_0_4_line_19 |  | 14 | 30 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-64_0_4_line_20 |  | 15 | 21 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-64_0_4_line_21 |  | 16 | 17 | 0.0079579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-64_0_4_line_22 |  | 16 | 18 | 0.00087407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-64_0_4_line_23 |  | 18 | 36 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-64_0_4_line_24 |  | 19 | 20 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2701-64_0_4_line_25 |  | 19 | 21 | 0.0027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2701-64_0_4_line_26 |  | 20 | 22 | 0.0082628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-64_0_4_line_27 |  | 20 | 23 | 0.006863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-64_0_4_line_28 |  | 22 | 39 | 0.0073816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-64_0_4_line_29 |  | 23 | 31 | 0.0025064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-64_0_4_line_30 |  | 24 | 25 | 0.18586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-64_0_4_line_31 |  | 24 | 26 | 0.11923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-64_0_4_line_32 |  | 25 | 27 | 0.0098204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-64_0_4_line_33 |  | 26 | 40 | 0.012755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-64_0_4_line_34 |  | 27 | 41 | 0.0019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-64_0_4_line_35 |  | 28 | 29 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2701-64_0_4_line_36 |  | 28 | 30 | 0.0065872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2701-64_0_4_line_37 |  | 29 | 42 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2701-64_0_4_line_38 |  | 29 | 43 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2701-64_0_4_line_39 |  | 31 | 32 | 0.0068893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2701-64_0_4_line_40 |  | 33 | 57 | 0.006229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-64_0_4_line_41 |  | 34 | 58 | 0.0055993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-64_0_4_line_42 |  | 35 | 75 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2701-64_0_4_line_43 |  | 36 | 44 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-64_0_4_line_44 |  | 37 | 38 | 0.0081004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-64_0_4_line_45 |  | 38 | 77 | 0.007951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-64_0_4_line_46 |  | 40 | 81 | 0.00168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2701-64_0_4_line_47 |  | 41 | 61 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-64_0_4_line_48 |  | 42 | 103 | 0.024048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2701-64_0_4_line_49 |  | 43 | 71 | 0.001529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2701-64_0_4_line_50 |  | 45 | 46 | 0.006578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-64_0_4_line_51 |  | 45 | 47 | 0.023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-64_0_4_line_52 |  | 46 | 95 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-64_0_4_line_53 |  | 46 | 48 | 0.017321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-64_0_4_line_54 |  | 47 | 92 | 0.006532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-64_0_4_line_55 |  | 48 | 49 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-64_0_4_line_56 |  | 49 | 80 | 0.014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-64_0_4_line_57 |  | 50 | 51 | 0.22926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-64_0_4_line_58 |  | 50 | 52 | 0.027706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-64_0_4_line_59 |  | 50 | 53 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-64_0_4_line_60 |  | 51 | 93 | 0.002347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-64_0_4_line_61 |  | 52 | 94 | 0.0077365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-64_0_4_line_62 |  | 53 | 56 | 0.0046875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-64_0_4_line_63 |  | 54 | 55 | 0.019541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-64_0_4_line_64 |  | 55 | 80 | 0.015955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-64_0_4_line_65 |  | 56 | 91 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-64_0_4_line_66 |  | 57 | 59 | 0.0040533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-64_0_4_line_67 |  | 58 | 105 | 0.0027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-64_0_4_line_68 |  | 59 | 60 | 0.0061296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-64_0_4_line_69 |  | 62 | 63 | 0.05689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2701-64_0_4_line_70 |  | 62 | 64 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2701-64_0_4_line_71 |  | 63 | 65 | 0.026686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-64_0_4_line_72 |  | 63 | 66 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2701-64_0_4_line_73 |  | 64 | 67 | 0.013531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2701-64_0_4_line_74 |  | 66 | 68 | 0.0083348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_2701-64_0_4_line_75 |  | 67 | 69 | 0.0095624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_2701-64_0_4_line_76 |  | 68 | 70 | 0.0035213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_2701-64_0_4_line_77 |  | 69 | 71 | 0.0094217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2701-64_0_4_line_78 |  | 70 | 78 | 0.0049277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2701-64_0_4_line_79 |  | 71 | 81 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2701-64_0_4_line_80 |  | 72 | 73 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-64_0_4_line_81 |  | 73 | 74 | 0.0099794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-64_0_4_line_82 |  | 74 | 100 | 0.0083138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2701-64_0_4_line_83 |  | 75 | 76 | 0.0087063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_2701-64_0_4_line_84 |  | 76 | 77 | 0.0077674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2701-64_0_4_line_85 |  | 78 | 79 | 0.0037146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_2701-64_0_4_line_86 |  | 79 | 99 | 0.0047267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_2701-64_0_4_line_87 |  | 82 | 83 | 0.0076286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_2701-64_0_4_line_88 |  | 82 | 84 | 0.006723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_2701-64_0_4_line_89 |  | 83 | 85 | 0.0012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_2701-64_0_4_line_90 |  | 84 | 86 | 0.0022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_2701-64_0_4_line_91 |  | 85 | 87 | 0.0088066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_2701-64_0_4_line_92 |  | 86 | 88 | 0.008928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_2701-64_0_4_line_93 |  | 87 | 89 | 0.0019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_2701-64_0_4_line_94 |  | 88 | 90 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_2701-64_0_4_line_95 |  | 89 | 99 | 0.0069194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_2701-64_0_4_line_96 |  | 90 | 104 | 0.0022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-64_0_4_line_97 |  | 91 | 92 | 0.0088317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-64_0_4_line_98 |  | 94 | 102 | 0.0081577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-64_0_4_line_99 |  | 95 | 98 | 0.0025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2701-64_0_4_line_100 |  | 96 | 97 | 0.0083234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2701-64_0_4_line_101 |  | 97 | 105 | 0.0028324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2701-64_0_4_line_102 |  | 98 | 104 | 0.0017675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2701-64_0_4_line_103 |  | 100 | 101 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2701-64_0_4_line_104 |  | 101 | 102 | 0.00093252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-64_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 106 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2611318.2666 | 1268407.4308 | 2611316.9771 | 1268414.7273
1 | 2611320.053 | 1268397.3226 | 2611318.2666 | 1268407.4308
2 | 2611316.4091 | 1268417.9412 | 2611316.9771 | 1268414.7273
3 | 2611324.3206 | 1268396.9971 | 2611324.138 | 1268398.0086 | 2611320.053 | 1268397.3226
4 | 2611320.053 | 1268397.3226 | 2611314.2831 | 1268396.2664
5 | 2611316.4091 | 1268417.9412 | 2611315.4871 | 1268423.2594
6 | 2611316.4091 | 1268417.9412 | 2611280.3349 | 1268409.667
7 | 2611324.3206 | 1268396.9971 | 2611328.8678 | 1268394.3384
8 | 2611311.8609 | 1268390.4801 | 2611314.4435 | 1268395.0103 | 2611314.2831 | 1268396.2664
9 | 2611315.4871 | 1268423.2594 | 2611313.8424 | 1268432.7467
10 | 2611279.6578 | 1268409.5117 | 2611280.3349 | 1268409.667
11 | 2611328.8678 | 1268394.3384 | 2611337.366 | 1268389.3695
12 | 2611311.8609 | 1268390.4801 | 2611309.7033 | 1268386.6954 | 2611307.9833 | 1268383.3613
13 | 2611311.8708 | 1268347.0716 | 2611318.3194 | 1268343.8371
14 | 2611311.8708 | 1268347.0716 | 2611310.7359 | 1268347.6403
15 | 2611330.7925 | 1268341.7039 | 2611325.4522 | 1268340.2594 | 2611318.3194 | 1268343.8371
16 | 2611296.4048 | 1268348.7882 | 2611302.6961 | 1268351.6685 | 2611310.7359 | 1268347.6403
17 | 2611345.7813 | 1268358.4999 | 2611342.4032 | 1268352.5557
18 | 2611345.7813 | 1268358.4999 | 2611346.5796 | 1268359.7707
19 | 2611337.0363 | 1268343.1118 | 2611342.4032 | 1268352.5557
20 | 2611346.5796 | 1268359.7707 | 2611351.6483 | 1268367.8399 | 2611352.4636 | 1268368.6112
21 | 2611304.3349 | 1268376.289 | 2611307.9833 | 1268383.3613
22 | 2611304.3349 | 1268376.289 | 2611303.9402 | 1268375.5091
23 | 2611292.6946 | 1268360.9836 | 2611297.6474 | 1268363.0781 | 2611303.9402 | 1268375.5091
24 | 2611351.3427 | 1268382.027 | 2611353.1008 | 1268375.6815 | 2611354.4277 | 1268370.4693
25 | 2611354.4277 | 1268370.4693 | 2611352.4636 | 1268368.6112
26 | 2611351.3427 | 1268382.027 | 2611359.3025 | 1268384.2442
27 | 2611351.3427 | 1268382.027 | 2611349.2964 | 1268381.7118 | 2611345.3678 | 1268384.4567
28 | 2611359.3025 | 1268384.2442 | 2611366.4134 | 1268386.2248
29 | 2611343.3133 | 1268385.8922 | 2611345.3678 | 1268384.4567
30 | 2611382.7516 | 1268449.9015 | 2611426.7644 | 1268459.1926 | 2611442.4123 | 1268461.6244 | 2611450.1675 | 1268463.385 | 2611454.8311 | 1268464.4725 | 2611456.4334 | 1268464.7758 | 2611465.7045 | 1268418.0609 | 2611467.9014 | 1268406.6237 | 2611469.7033 | 1268397.076 | 2611470.4332 | 1268393.2192 | 2611478.0075 | 1268356.23
31 | 2611478.0075 | 1268356.23 | 2611476.368 | 1268355.6931 | 2611425.7838 | 1268339.1507 | 2611364.7953 | 1268318.8469
32 | 2611382.7516 | 1268449.9015 | 2611373.1229 | 1268447.9706
33 | 2611364.7953 | 1268318.8469 | 2611352.6935 | 1268314.818
34 | 2611373.1229 | 1268447.9706 | 2611373.1229 | 1268447.9706 | 2611373.5012 | 1268446.0116
35 | 2611334.8068 | 1268324.2882 | 2611330.7925 | 1268341.7039
36 | 2611330.7925 | 1268341.7039 | 2611336.7735 | 1268342.6493 | 2611337.0363 | 1268343.1118
37 | 2611334.8068 | 1268324.2882 | 2611327.4117 | 1268322.9621 | 2611322.2389 | 1268321.866
38 | 2611334.8068 | 1268324.2882 | 2611337.7644 | 1268311.4522
39 | 2611343.3133 | 1268385.8922 | 2611337.366 | 1268389.3695
40 | 2611313.8424 | 1268432.7467 | 2611312.7785 | 1268438.8842
41 | 2611279.6578 | 1268409.5117 | 2611274.2002 | 1268408.2599
42 | 2611296.4048 | 1268348.7882 | 2611287.2968 | 1268344.6184
43 | 2611292.6946 | 1268360.9836 | 2611277.4744 | 1268354.5473
44 | 2611265.0889 | 1268334.4512 | 2611257.7237 | 1268331.0793
45 | 2611272.3183 | 1268337.761 | 2611265.0889 | 1268334.4512
46 | 2611351.0995 | 1268314.2874 | 2611352.6935 | 1268314.818
47 | 2611375.4563 | 1268435.8888 | 2611373.5012 | 1268446.0116
48 | 2611303.0919 | 1268309.7843 | 2611308.5926 | 1268317.9116 | 2611316.5569 | 1268320.662 | 2611322.2389 | 1268321.866
49 | 2611338.1077 | 1268309.9622 | 2611337.7644 | 1268311.4522
50 | 2611248.5175 | 1268138.6605 | 2611251.3208 | 1268132.706
51 | 2611251.3208 | 1268132.706 | 2611261.4315 | 1268111.2648
52 | 2611248.5175 | 1268138.6605 | 2611265.7739 | 1268148.7132
53 | 2611248.5175 | 1268138.6605 | 2611241.3458 | 1268154.4358
54 | 2611261.4315 | 1268111.2648 | 2611264.2174 | 1268105.3567
55 | 2611241.3458 | 1268154.4358 | 2611236.4118 | 1268165.2884
56 | 2611236.4118 | 1268165.2884 | 2611230.5703 | 1268178.1373
57 | 2611285.0667 | 1268061.142 | 2611285.1836 | 1268051.113 | 2611286.8951 | 1268045.5234 | 2611300.7869 | 1268018.2751 | 2611314.0656 | 1267996.9187 | 2611328.5777 | 1267972.1178 | 2611344.7435 | 1267944.5071 | 2611373.8531 | 1267960.6296 | 2611369.3884 | 1267969.4383 | 2611366.199 | 1267976.4928 | 2611361.7247 | 1267986.3578 | 2611360.2361 | 1267989.5127 | 2611347.8755 | 1268018.7096
58 | 2611285.0667 | 1268061.142 | 2611310.0594 | 1268073.1008
59 | 2611285.0667 | 1268061.142 | 2611276.0672 | 1268080.2272
60 | 2611347.8755 | 1268018.7096 | 2611345.8231 | 1268017.5604
61 | 2611317.0382 | 1268076.4401 | 2611310.0594 | 1268073.1008
62 | 2611276.0672 | 1268080.2272 | 2611274.068 | 1268084.467
63 | 2611223.967 | 1268192.662 | 2611215.8794 | 1268210.4512
64 | 2611223.967 | 1268192.662 | 2611230.5703 | 1268178.1373
65 | 2611274.068 | 1268084.467 | 2611267.9842 | 1268097.3686
66 | 2611312.0861 | 1268442.8779 | 2611312.7785 | 1268438.8842
67 | 2611274.2002 | 1268408.2599 | 2611271.5 | 1268407.6406
68 | 2611312.0861 | 1268442.8779 | 2611311.0391 | 1268448.9174
69 | 2611362.4428 | 1268205.0238 | 2611354.1165 | 1268241.9561 | 2611349.8708 | 1268260.5077
70 | 2611345.7839 | 1268278.3658 | 2611349.8708 | 1268260.5077
71 | 2611362.4428 | 1268205.0238 | 2611369.4079 | 1268179.2624
72 | 2611362.4428 | 1268205.0238 | 2611342.0915 | 1268193.1692
73 | 2611345.7839 | 1268278.3658 | 2611342.5894 | 1268291.5147
74 | 2611342.0915 | 1268193.1692 | 2611334.8894 | 1268188.9741
75 | 2611340.3319 | 1268300.8069 | 2611342.5894 | 1268291.5147
76 | 2611331.8467 | 1268187.2017 | 2611334.8894 | 1268188.9741
77 | 2611338.1077 | 1268309.9622 | 2611340.3319 | 1268300.8069
78 | 2611331.8467 | 1268187.2017 | 2611327.5887 | 1268184.7214
79 | 2611338.1077 | 1268309.9622 | 2611351.0995 | 1268314.2874
80 | 2611369.1872 | 1268101.3929 | 2611356.6048 | 1268095.3723
81 | 2611356.6048 | 1268095.3723 | 2611347.6028 | 1268091.065
82 | 2611340.1033 | 1268087.4766 | 2611347.6028 | 1268091.065
83 | 2611279.3807 | 1268340.9943 | 2611287.2968 | 1268344.6184
84 | 2611279.3807 | 1268340.9943 | 2611272.3183 | 1268337.761
85 | 2611324.3789 | 1268182.8517 | 2611327.5887 | 1268184.7214
86 | 2611324.3789 | 1268182.8517 | 2611320.2946 | 1268180.4726
87 | 2611297.3471 | 1268167.1057 | 2611303.9389 | 1268170.9454
88 | 2611297.3471 | 1268167.1057 | 2611291.5378 | 1268163.7218
89 | 2611305.0489 | 1268171.592 | 2611303.9389 | 1268170.9454
90 | 2611289.5979 | 1268162.5918 | 2611291.5378 | 1268163.7218
91 | 2611305.0489 | 1268171.592 | 2611312.6586 | 1268176.0246
92 | 2611289.5979 | 1268162.5918 | 2611286.5856 | 1268160.8371 | 2611281.8834 | 1268158.0978
93 | 2611314.3156 | 1268176.9898 | 2611312.6586 | 1268176.0246
94 | 2611271.4728 | 1268152.0331 | 2611281.8834 | 1268158.0978
95 | 2611314.3156 | 1268176.9898 | 2611320.2946 | 1268180.4726
96 | 2611271.4728 | 1268152.0331 | 2611269.5474 | 1268150.9115
97 | 2611267.9842 | 1268097.3686 | 2611264.2174 | 1268105.3567
98 | 2611317.0382 | 1268076.4401 | 2611324.3969 | 1268079.9611
99 | 2611265.7739 | 1268148.7132 | 2611268.0202 | 1268150.0218
100 | 2611260.6265 | 1268405.1465 | 2611268.7393 | 1268407.0073
101 | 2611268.7393 | 1268407.0073 | 2611271.5 | 1268407.6406
102 | 2611269.5474 | 1268150.9115 | 2611268.0202 | 1268150.0218
103 | 2611340.1033 | 1268087.4766 | 2611325.2381 | 1268080.3636
104 | 2611325.2381 | 1268080.3636 | 2611324.3969 | 1268079.9611

## bus_geodata
| x | y | coords
0 | 2611318.2666 | 1268407.4308
1 | 2611316.9771 | 1268414.7273
2 | 2611320.053 | 1268397.3226
3 | 2611316.4091 | 1268417.9412
4 | 2611324.3206 | 1268396.9971
5 | 2611314.2831 | 1268396.2664
6 | 2611315.4871 | 1268423.2594
7 | 2611280.3349 | 1268409.667
8 | 2611328.8678 | 1268394.3384
9 | 2611311.8609 | 1268390.4801
10 | 2611311.8708 | 1268347.0716
11 | 2611318.3194 | 1268343.8371
12 | 2611310.7359 | 1268347.6403
13 | 2611345.7813 | 1268358.4999
14 | 2611342.4032 | 1268352.5557
15 | 2611346.5796 | 1268359.7707
16 | 2611304.3349 | 1268376.289
17 | 2611307.9833 | 1268383.3613
18 | 2611303.9402 | 1268375.5091
19 | 2611354.4277 | 1268370.4693
20 | 2611351.3427 | 1268382.027
21 | 2611352.4636 | 1268368.6112
22 | 2611359.3025 | 1268384.2442
23 | 2611345.3678 | 1268384.4567
24 | 2611478.0075 | 1268356.23
25 | 2611382.7516 | 1268449.9015
26 | 2611364.7953 | 1268318.8469
27 | 2611373.1229 | 1268447.9706
28 | 2611330.7925 | 1268341.7039
29 | 2611334.8068 | 1268324.2882
30 | 2611337.0363 | 1268343.1118
31 | 2611343.3133 | 1268385.8922
32 | 2611337.366 | 1268389.3695
33 | 2611313.8424 | 1268432.7467
34 | 2611279.6578 | 1268409.5117
35 | 2611296.4048 | 1268348.7882
36 | 2611292.6946 | 1268360.9836
37 | 2611257.7237 | 1268331.0793
38 | 2611265.0889 | 1268334.4512
39 | 2611366.4134 | 1268386.2248
40 | 2611352.6935 | 1268314.818
41 | 2611373.5012 | 1268446.0116
42 | 2611322.2389 | 1268321.866
43 | 2611337.7644 | 1268311.4522
44 | 2611277.4744 | 1268354.5473
45 | 2611251.3208 | 1268132.706
46 | 2611248.5175 | 1268138.6605
47 | 2611261.4315 | 1268111.2648
48 | 2611241.3458 | 1268154.4358
49 | 2611236.4118 | 1268165.2884
50 | 2611285.0667 | 1268061.142
51 | 2611347.8755 | 1268018.7096
52 | 2611310.0594 | 1268073.1008
53 | 2611276.0672 | 1268080.2272
54 | 2611215.8794 | 1268210.4512
55 | 2611223.967 | 1268192.662
56 | 2611274.068 | 1268084.467
57 | 2611312.7785 | 1268438.8842
58 | 2611274.2002 | 1268408.2599
59 | 2611312.0861 | 1268442.8779
60 | 2611311.0391 | 1268448.9174
61 | 2611375.4563 | 1268435.8888
62 | 2611349.8708 | 1268260.5077
63 | 2611362.4428 | 1268205.0238
64 | 2611345.7839 | 1268278.3658
65 | 2611369.4079 | 1268179.2624
66 | 2611342.0915 | 1268193.1692
67 | 2611342.5894 | 1268291.5147
68 | 2611334.8894 | 1268188.9741
69 | 2611340.3319 | 1268300.8069
70 | 2611331.8467 | 1268187.2017
71 | 2611338.1077 | 1268309.9622
72 | 2611369.1872 | 1268101.3929
73 | 2611356.6048 | 1268095.3723
74 | 2611347.6029 | 1268091.065
75 | 2611287.2968 | 1268344.6184
76 | 2611279.3807 | 1268340.9943
77 | 2611272.3183 | 1268337.761
78 | 2611327.5887 | 1268184.7214
79 | 2611324.3789 | 1268182.8517
80 | 2611230.5703 | 1268178.1373
81 | 2611351.0995 | 1268314.2874
82 | 2611297.3471 | 1268167.1057
83 | 2611303.9389 | 1268170.9454
84 | 2611291.5378 | 1268163.7218
85 | 2611305.0489 | 1268171.592
86 | 2611289.5979 | 1268162.5918
87 | 2611312.6586 | 1268176.0246
88 | 2611281.8834 | 1268158.0978
89 | 2611314.3156 | 1268176.9898
90 | 2611271.4728 | 1268152.0331
91 | 2611267.9842 | 1268097.3686
92 | 2611264.2174 | 1268105.3567
93 | 2611345.8231 | 1268017.5604
94 | 2611317.0382 | 1268076.4401
95 | 2611265.7739 | 1268148.7132
96 | 2611260.6265 | 1268405.1465
97 | 2611268.7393 | 1268407.0073
98 | 2611268.0202 | 1268150.0218
99 | 2611320.2946 | 1268180.4726
100 | 2611340.1034 | 1268087.4766
101 | 2611325.2381 | 1268080.3636
102 | 2611324.3969 | 1268079.9611
103 | 2611303.0919 | 1268309.7843
104 | 2611269.5474 | 1268150.9115
105 | 2611271.5 | 1268407.6406
106 | 2611376.3043 | 1268283.9169

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1