## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-7_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-7_0_6_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_2701-7_0_6_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_2701-7_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2701-7_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2701-7_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2701-7_0_6_node_164 | 0.4 | n |  | TRUE
9 | bus_LV_2701-7_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2701-7_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2701-7_0_6_node_122 | 0.4 | n |  | TRUE
12 | bus_LV_2701-7_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2701-7_0_6_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_2701-7_0_6_node_165 | 0.4 | n |  | TRUE
15 | bus_LV_2701-7_0_6_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_2701-7_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2701-7_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2701-7_0_6_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_2701-7_0_6_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_2701-7_0_6_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_2701-7_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-7_0_6_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_2701-7_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-7_0_6_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_2701-7_0_6_node_133 | 0.4 | n |  | TRUE
26 | bus_LV_2701-7_0_6_node_147 | 0.4 | n |  | TRUE
27 | bus_LV_2701-7_0_6_node_166 | 0.4 | n |  | TRUE
28 | bus_LV_2701-7_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2701-7_0_6_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_2701-7_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-7_0_6_node_144 | 0.4 | n |  | TRUE
32 | bus_LV_2701-7_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2701-7_0_6_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2701-7_0_6_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2701-7_0_6_node_162 | 0.4 | n |  | TRUE
36 | bus_LV_2701-7_0_6_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_2701-7_0_6_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_2701-7_0_6_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_2701-7_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2701-7_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2701-7_0_6_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_2701-7_0_6_node_119 | 0.4 | n |  | TRUE
43 | bus_LV_2701-7_0_6_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_2701-7_0_6_node_163 | 0.4 | n |  | TRUE
45 | bus_LV_2701-7_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2701-7_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2701-7_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2701-7_0_6_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_2701-7_0_6_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_2701-7_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_2701-7_0_6_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_2701-7_0_6_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_2701-7_0_6_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_2701-7_0_6_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_2701-7_0_6_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_2701-7_0_6_node_146 | 0.4 | n |  | TRUE
57 | bus_LV_2701-7_0_6_node_158 | 0.4 | n |  | TRUE
58 | bus_LV_2701-7_0_6_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_2701-7_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_2701-7_0_6_node_127 | 0.4 | n |  | TRUE
61 | bus_LV_2701-7_0_6_node_125 | 0.4 | n |  | TRUE
62 | bus_LV_2701-7_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_2701-7_0_6_node_143 | 0.4 | n |  | TRUE
64 | bus_LV_2701-7_0_6_node_23 | 0.4 | n |  | TRUE
65 | bus_LV_2701-7_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2701-7_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2701-7_0_6_node_28 | 0.4 | n |  | TRUE
68 | bus_LV_2701-7_0_6_node_168 | 0.4 | n |  | TRUE
69 | bus_LV_2701-7_0_6_node_153 | 0.4 | n |  | TRUE
70 | bus_LV_2701-7_0_6_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_2701-7_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_2701-7_0_6_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_2701-7_0_6_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_2701-7_0_6_node_30 | 0.4 | n |  | TRUE
75 | bus_LV_2701-7_0_6_node_32 | 0.4 | n |  | TRUE
76 | bus_LV_2701-7_0_6_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_2701-7_0_6_node_37 | 0.4 | n |  | TRUE
78 | bus_LV_2701-7_0_6_node_34 | 0.4 | n |  | TRUE
79 | bus_LV_2701-7_0_6_node_35 | 0.4 | n |  | TRUE
80 | bus_LV_2701-7_0_6_node_36 | 0.4 | n |  | TRUE
81 | bus_LV_2701-7_0_6_node_38 | 0.4 | n |  | TRUE
82 | bus_LV_2701-7_0_6_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_2701-7_0_6_node_41 | 0.4 | n |  | TRUE
84 | bus_LV_2701-7_0_6_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_2701-7_0_6_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_2701-7_0_6_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_2701-7_0_6_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_2701-7_0_6_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_2701-7_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_2701-7_0_6_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_2701-7_0_6_node_49 | 0.4 | n |  | TRUE
92 | bus_LV_2701-7_0_6_node_50 | 0.4 | n |  | TRUE
93 | bus_LV_2701-7_0_6_node_52 | 0.4 | n |  | TRUE
94 | bus_LV_2701-7_0_6_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_2701-7_0_6_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_2701-7_0_6_node_57 | 0.4 | n |  | TRUE
97 | bus_LV_2701-7_0_6_node_58 | 0.4 | n |  | TRUE
98 | bus_LV_2701-7_0_6_node_64 | 0.4 | n |  | TRUE
99 | bus_LV_2701-7_0_6_node_65 | 0.4 | n |  | TRUE
100 | bus_LV_2701-7_0_6_node_61 | 0.4 | n |  | TRUE
101 | bus_LV_2701-7_0_6_node_62 | 0.4 | n |  | TRUE
102 | bus_LV_2701-7_0_6_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_2701-7_0_6_node_69 | 0.4 | n |  | TRUE
104 | bus_LV_2701-7_0_6_node_73 | 0.4 | n |  | TRUE
105 | bus_LV_2701-7_0_6_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_2701-7_0_6_node_70 | 0.4 | n |  | TRUE
107 | bus_LV_2701-7_0_6_node_74 | 0.4 | n |  | TRUE
108 | bus_LV_2701-7_0_6_node_81 | 0.4 | n |  | TRUE
109 | bus_LV_2701-7_0_6_node_88 | 0.4 | n |  | TRUE
110 | bus_LV_2701-7_0_6_node_87 | 0.4 | n |  | TRUE
111 | bus_LV_2701-7_0_6_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_2701-7_0_6_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_2701-7_0_6_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_2701-7_0_6_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_2701-7_0_6_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_2701-7_0_6_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_2701-7_0_6_node_109 | 0.4 | n |  | TRUE
118 | bus_LV_2701-7_0_6_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_2701-7_0_6_node_103 | 0.4 | n |  | TRUE
120 | bus_LV_2701-7_0_6_node_104 | 0.4 | n |  | TRUE
121 | bus_LV_2701-7_0_6_node_105 | 0.4 | n |  | TRUE
122 | bus_LV_2701-7_0_6_node_106 | 0.4 | n |  | TRUE
123 | bus_LV_2701-7_0_6_node_107 | 0.4 | n |  | TRUE
124 | bus_LV_2701-7_0_6_node_108 | 0.4 | n |  | TRUE
125 | bus_LV_2701-7_0_6_node_142 | 0.4 | n |  | TRUE
126 | bus_LV_2701-7_0_6_node_115 | 0.4 | n |  | TRUE
127 | bus_LV_2701-7_0_6_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_2701-7_0_6_node_141 | 0.4 | n |  | TRUE
129 | bus_LV_2701-7_0_6_node_116 | 0.4 | n |  | TRUE
130 | bus_LV_2701-7_0_6_node_111 | 0.4 | n |  | TRUE
131 | bus_LV_2701-7_0_6_node_112 | 0.4 | n |  | TRUE
132 | bus_LV_2701-7_0_6_node_114 | 0.4 | n |  | TRUE
133 | bus_LV_2701-7_0_6_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_2701-7_0_6_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_2701-7_0_6_node_117 | 0.4 | n |  | TRUE
136 | bus_LV_2701-7_0_6_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_2701-7_0_6_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_2701-7_0_6_node_124 | 0.4 | n |  | TRUE
139 | bus_LV_2701-7_0_6_node_129 | 0.4 | n |  | TRUE
140 | bus_LV_2701-7_0_6_node_130 | 0.4 | n |  | TRUE
141 | bus_LV_2701-7_0_6_node_132 | 0.4 | n |  | TRUE
142 | bus_LV_2701-7_0_6_node_151 | 0.4 | n |  | TRUE
143 | bus_LV_2701-7_0_6_node_150 | 0.4 | n |  | TRUE
144 | bus_LV_2701-7_0_6_node_134 | 0.4 | n |  | TRUE
145 | bus_LV_2701-7_0_6_node_135 | 0.4 | n |  | TRUE
146 | bus_LV_2701-7_0_6_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_2701-7_0_6_node_137 | 0.4 | n |  | TRUE
148 | bus_LV_2701-7_0_6_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_2701-7_0_6_node_139 | 0.4 | n |  | TRUE
150 | bus_LV_2701-7_0_6_node_148 | 0.4 | n |  | TRUE
151 | bus_LV_2701-7_0_6_node_140 | 0.4 | n |  | TRUE
152 | bus_LV_2701-7_0_6_node_149 | 0.4 | n |  | TRUE
153 | bus_LV_2701-7_0_6_node_167 | 0.4 | n |  | TRUE
154 | bus_LV_2701-7_0_6_node_157 | 0.4 | n |  | TRUE
155 | bus_LV_2701-7_0_6_node_152 | 0.4 | n |  | TRUE
156 | bus_LV_2701-7_0_6_node_154 | 0.4 | n |  | TRUE
157 | bus_LV_2701-7_0_6_node_155 | 0.4 | n |  | TRUE
158 | bus_LV_2701-7_0_6_node_156 | 0.4 | n |  | TRUE
159 | bus_LV_2701-7_0_6_node_159 | 0.4 | n |  | TRUE
160 | bus_LV_2701-7_0_6_node_160 | 0.4 | n |  | TRUE
161 | bus_LV_2701-7_0_6_node_161 | 0.4 | n |  | TRUE
162 | bus_MV_568_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-7_0_6_load_0 | 0 | 0.014308 | 0.0035858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-7_0_6_load_3 | 2 | 0.0021017 | 0.00052674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-7_0_6_load_46 | 3 | 0.0041202 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-7_0_6_load_47 | 4 | 0.0030196 | 0.00075678 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-7_0_6_load_164 | 8 | 0.0042189 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-7_0_6_load_122 | 11 | 0.0065195 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-7_0_6_load_99 | 13 | 0.0049996 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-7_0_6_load_165 | 14 | 0.0045997 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-7_0_6_load_145 | 15 | 0.011515 | 0.002886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-7_0_6_load_85 | 19 | 0.0041522 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-7_0_6_load_24 | 20 | 0.0031909 | 0.00079972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-7_0_6_load_90 | 22 | 0.0062608 | 0.0015691 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-7_0_6_load_86 | 24 | 0.0033607 | 0.00084227 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-7_0_6_load_133 | 25 | 0.0027695 | 0.0006941 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-7_0_6_load_147 | 26 | 0.0032114 | 0.00080485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-7_0_6_load_166 | 27 | 0.0040152 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-7_0_6_load_94 | 29 | 0.0029235 | 0.0007327 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-7_0_6_load_144 | 31 | 0.0068591 | 0.0017191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-7_0_6_load_44 | 34 | 0.0063976 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-7_0_6_load_162 | 35 | 0.0038097 | 0.00095481 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-7_0_6_load_123 | 36 | 0.0077575 | 0.0019442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-7_0_6_load_42 | 37 | 0.0043097 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-7_0_6_load_56 | 38 | 0.0026066 | 0.00065329 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-7_0_6_load_39 | 39 | 0.0067745 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-7_0_6_load_40 | 40 | 0.0032142 | 0.00080555 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-7_0_6_load_97 | 41 | 0.002622 | 0.00065714 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-7_0_6_load_119 | 42 | 0.0035396 | 0.00088711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-7_0_6_load_118 | 43 | 0.0026777 | 0.00067111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-7_0_6_load_163 | 44 | 0.0040049 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-7_0_6_load_33 | 46 | 0.0056406 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-7_0_6_load_29 | 47 | 0.0048439 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-7_0_6_load_72 | 48 | 0.0033792 | 0.00084692 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-7_0_6_load_83 | 49 | 0.0032648 | 0.00081823 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-7_0_6_load_27 | 50 | 0.0025522 | 0.00063964 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-7_0_6_load_21 | 51 | 0.0032278 | 0.00080896 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-7_0_6_load_22 | 52 | 0.0025843 | 0.0006477 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-7_0_6_load_89 | 53 | 0.0033826 | 0.00084776 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-7_0_6_load_84 | 54 | 0.0032805 | 0.00082218 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-7_0_6_load_131 | 55 | 0.0033254 | 0.00083342 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-7_0_6_load_146 | 56 | 0.0083553 | 0.002094 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-7_0_6_load_158 | 57 | 0.031487 | 0.0078914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-7_0_6_load_79 | 58 | 0.0024459 | 0.00061299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-7_0_6_load_80 | 59 | 0.0024466 | 0.00061318 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-7_0_6_load_127 | 60 | 0.0037476 | 0.00093925 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-7_0_6_load_125 | 61 | 0.0054233 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-7_0_6_load_63 | 62 | 0.0029264 | 0.00073342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-7_0_6_load_143 | 63 | 0.0076862 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-7_0_6_load_23 | 64 | 0.0042594 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-7_0_6_load_59 | 65 | 0.0029222 | 0.00073237 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-7_0_6_load_60 | 66 | 0.0029211 | 0.0007321 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-7_0_6_load_28 | 67 | 0.0034058 | 0.00085357 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-7_0_6_load_168 | 68 | 0.0034359 | 0.00086112 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-7_0_6_load_153 | 69 | 0.0026458 | 0.00066309 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-7_0_6_load_91 | 70 | 0.0033783 | 0.00084669 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-7_0_6_load_78 | 71 | 0.0034721 | 0.00087019 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-7_0_6_load_54 | 72 | 0.0026792 | 0.00067148 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-7_0_6_load_30 | 74 | 0.0047846 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-7_0_6_load_32 | 75 | 0.0027455 | 0.0006881 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-7_0_6_load_43 | 76 | 0.002787 | 0.00069849 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-7_0_6_load_37 | 77 | 0.0027502 | 0.00068926 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-7_0_6_load_34 | 78 | 0.0037991 | 0.00095214 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-7_0_6_load_35 | 79 | 0.0027518 | 0.00068966 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-7_0_6_load_36 | 80 | 0.002748 | 0.00068872 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-7_0_6_load_38 | 81 | 0.0027457 | 0.00068815 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-7_0_6_load_93 | 82 | 0.002745 | 0.00068796 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-7_0_6_load_41 | 83 | 0.0027462 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-7_0_6_load_55 | 84 | 0.0043015 | 0.001078 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-7_0_6_load_92 | 85 | 0.0034712 | 0.00086997 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-7_0_6_load_53 | 86 | 0.0058067 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-7_0_6_load_67 | 88 | 0.0057304 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-7_0_6_load_77 | 89 | 0.006115 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-7_0_6_load_68 | 90 | 0.0019553 | 0.00049004 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-7_0_6_load_49 | 91 | 0.0061928 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-7_0_6_load_50 | 92 | 0.002583 | 0.00064737 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2701-7_0_6_load_52 | 93 | 0.0053585 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2701-7_0_6_load_66 | 94 | 0.0050738 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2701-7_0_6_load_75 | 95 | 0.0060454 | 0.0015151 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2701-7_0_6_load_57 | 96 | 0.0032746 | 0.00082069 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2701-7_0_6_load_58 | 97 | 0.0043044 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2701-7_0_6_load_64 | 98 | 0.0032747 | 0.00082072 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2701-7_0_6_load_65 | 99 | 0.0032739 | 0.00082052 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2701-7_0_6_load_61 | 100 | 0.0042208 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2701-7_0_6_load_62 | 101 | 0.0029214 | 0.00073216 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2701-7_0_6_load_71 | 102 | 0.0032745 | 0.00082066 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2701-7_0_6_load_69 | 103 | 0.0080932 | 0.0020283 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2701-7_0_6_load_73 | 104 | 0.0044086 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2701-7_0_6_load_76 | 105 | 0.0044127 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2701-7_0_6_load_70 | 106 | 0.003275 | 0.0008208 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2701-7_0_6_load_74 | 107 | 0.0060387 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2701-7_0_6_load_81 | 108 | 0.003226 | 0.0008085 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2701-7_0_6_load_88 | 109 | 0.0032249 | 0.00080824 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2701-7_0_6_load_87 | 110 | 0.0032895 | 0.00082443 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2701-7_0_6_load_95 | 111 | 0.0029292 | 0.00073412 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2701-7_0_6_load_96 | 112 | 0.0029282 | 0.00073387 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2701-7_0_6_load_98 | 113 | 0.0029276 | 0.00073374 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2701-7_0_6_load_100 | 114 | 0.0023964 | 0.0006006 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2701-7_0_6_load_101 | 115 | 0.0028229 | 0.00070749 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2701-7_0_6_load_102 | 116 | 0.0028264 | 0.00070837 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2701-7_0_6_load_109 | 117 | 0.0021103 | 0.00052888 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2701-7_0_6_load_110 | 118 | 0.0021669 | 0.00054307 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2701-7_0_6_load_103 | 119 | 0.0038483 | 0.00096448 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2701-7_0_6_load_104 | 120 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2701-7_0_6_load_106 | 122 | 0.0030275 | 0.00075877 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2701-7_0_6_load_107 | 123 | 0.0040508 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2701-7_0_6_load_108 | 124 | 0.0040719 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2701-7_0_6_load_142 | 125 | 0.0022615 | 0.00056679 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2701-7_0_6_load_115 | 126 | 0.0045605 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2701-7_0_6_load_113 | 127 | 0.0040444 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2701-7_0_6_load_141 | 128 | 0.0035491 | 0.00088949 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2701-7_0_6_load_116 | 129 | 0.0036991 | 0.00092708 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2701-7_0_6_load_111 | 130 | 0.0031982 | 0.00080155 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2701-7_0_6_load_112 | 131 | 0.003737 | 0.00093659 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2701-7_0_6_load_114 | 132 | 0.003194 | 0.0008005 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2701-7_0_6_load_121 | 133 | 0.0026205 | 0.00065676 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2701-7_0_6_load_120 | 134 | 0.0036824 | 0.0009229 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2701-7_0_6_load_117 | 135 | 0.00446 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2701-7_0_6_load_128 | 136 | 0.0038583 | 0.00096698 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2701-7_0_6_load_126 | 137 | 0.0033713 | 0.00084492 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2701-7_0_6_load_124 | 138 | 0.0098835 | 0.002477 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2701-7_0_6_load_129 | 139 | 0.0029157 | 0.00073075 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2701-7_0_6_load_130 | 140 | 0.010334 | 0.0025901 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2701-7_0_6_load_132 | 141 | 0.0087492 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2701-7_0_6_load_151 | 142 | 0.010145 | 0.0025426 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2701-7_0_6_load_150 | 143 | 0.013176 | 0.0033023 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2701-7_0_6_load_134 | 144 | 0.0021822 | 0.00054691 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2701-7_0_6_load_135 | 145 | 0.0021028 | 0.00052701 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2701-7_0_6_load_136 | 146 | 0.0020541 | 0.00051481 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2701-7_0_6_load_137 | 147 | 0.0021841 | 0.00054738 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2701-7_0_6_load_138 | 148 | 0.0021858 | 0.00054782 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2701-7_0_6_load_139 | 149 | 0.0020542 | 0.00051484 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2701-7_0_6_load_148 | 150 | 0.0020581 | 0.00051581 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2701-7_0_6_load_140 | 151 | 0.0021816 | 0.00054675 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2701-7_0_6_load_149 | 152 | 0.0021502 | 0.0005389 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2701-7_0_6_load_167 | 153 | 0.0023168 | 0.00058065 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2701-7_0_6_load_157 | 154 | 0.0021822 | 0.00054691 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2701-7_0_6_load_152 | 155 | 0.0026644 | 0.00066777 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2701-7_0_6_load_154 | 156 | 0.002824 | 0.00070777 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2701-7_0_6_load_155 | 157 | 0.0021786 | 0.00054601 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2701-7_0_6_load_156 | 158 | 0.0044232 | 0.0011086 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_2701-7_0_6_load_159 | 159 | 0.0038001 | 0.0009524 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_2701-7_0_6_load_160 | 160 | 0.0040644 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_2701-7_0_6_load_161 | 161 | 0.0037882 | 0.00094942 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-7_0_6_line_0 |  | 0 | 1 | 0.064882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-7_0_6_line_1 |  | 0 | 2 | 0.078579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-7_0_6_line_2 |  | 1 | 3 | 0.12255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-7_0_6_line_3 |  | 3 | 4 | 0.03964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-7_0_6_line_4 |  | 3 | 5 | 0.022449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-7_0_6_line_5 |  | 4 | 87 | 0.0092688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-7_0_6_line_6 |  | 5 | 28 | 0.008115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-7_0_6_line_7 |  | 6 | 7 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-7_0_6_line_8 |  | 6 | 8 | 0.0034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-7_0_6_line_9 |  | 7 | 25 | 0.017933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-7_0_6_line_10 |  | 8 | 35 | 0.018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-7_0_6_line_11 |  | 9 | 10 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-7_0_6_line_12 |  | 9 | 11 | 0.0078764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2701-7_0_6_line_13 |  | 10 | 15 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-7_0_6_line_14 |  | 11 | 36 | 0.0083627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2701-7_0_6_line_15 |  | 12 | 13 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-7_0_6_line_16 |  | 12 | 14 | 0.014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-7_0_6_line_17 |  | 13 | 41 | 0.011432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-7_0_6_line_18 |  | 14 | 44 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-7_0_6_line_19 |  | 15 | 30 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2701-7_0_6_line_20 |  | 16 | 17 | 0.025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-7_0_6_line_21 |  | 16 | 18 | 0.009435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-7_0_6_line_22 |  | 16 | 19 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2701-7_0_6_line_23 |  | 17 | 20 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2701-7_0_6_line_24 |  | 18 | 46 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-7_0_6_line_25 |  | 18 | 48 | 0.02228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-7_0_6_line_26 |  | 19 | 49 | 0.00886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2701-7_0_6_line_27 |  | 20 | 50 | 0.0091827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2701-7_0_6_line_28 |  | 21 | 22 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-7_0_6_line_29 |  | 21 | 23 | 0.048973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-7_0_6_line_30 |  | 21 | 24 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-7_0_6_line_31 |  | 22 | 53 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-7_0_6_line_32 |  | 23 | 26 | 0.024938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2701-7_0_6_line_33 |  | 23 | 27 | 0.015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-7_0_6_line_34 |  | 24 | 54 | 0.008283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-7_0_6_line_35 |  | 25 | 55 | 0.0083161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-7_0_6_line_36 |  | 26 | 56 | 0.0098483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2701-7_0_6_line_37 |  | 27 | 57 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2701-7_0_6_line_38 |  | 28 | 29 | 0.030095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-7_0_6_line_39 |  | 29 | 62 | 0.0080028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-7_0_6_line_40 |  | 30 | 31 | 0.0030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-7_0_6_line_41 |  | 31 | 63 | 0.0071592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-7_0_6_line_42 |  | 32 | 33 | 0.003413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-7_0_6_line_43 |  | 32 | 34 | 0.057543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-7_0_6_line_44 |  | 33 | 70 | 0.038492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-7_0_6_line_45 |  | 33 | 71 | 0.028801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-7_0_6_line_46 |  | 35 | 160 | 0.01081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-7_0_6_line_47 |  | 36 | 138 | 0.0084343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2701-7_0_6_line_48 |  | 37 | 38 | 0.0097739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-7_0_6_line_49 |  | 38 | 84 | 0.0030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-7_0_6_line_50 |  | 39 | 40 | 0.064033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-7_0_6_line_51 |  | 40 | 83 | 0.0091569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-7_0_6_line_52 |  | 41 | 111 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-7_0_6_line_53 |  | 42 | 43 | 0.00075068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-7_0_6_line_54 |  | 43 | 134 | 0.0089831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-7_0_6_line_55 |  | 44 | 161 | 0.009238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-7_0_6_line_56 |  | 45 | 46 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-7_0_6_line_57 |  | 45 | 47 | 0.0076181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-7_0_6_line_58 |  | 47 | 74 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-7_0_6_line_59 |  | 48 | 106 | 0.0081266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-7_0_6_line_60 |  | 49 | 54 | 0.0080008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2701-7_0_6_line_61 |  | 50 | 67 | 0.0091287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2701-7_0_6_line_62 |  | 51 | 52 | 0.0088772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-7_0_6_line_63 |  | 52 | 64 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-7_0_6_line_64 |  | 53 | 110 | 0.0082803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-7_0_6_line_65 |  | 55 | 139 | 0.0077307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-7_0_6_line_66 |  | 56 | 138 | 0.0097286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2701-7_0_6_line_67 |  | 57 | 158 | 0.0018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-7_0_6_line_68 |  | 58 | 59 | 0.0079986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-7_0_6_line_69 |  | 59 | 108 | 0.0090969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-7_0_6_line_70 |  | 60 | 61 | 0.0013271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-7_0_6_line_71 |  | 61 | 137 | 0.0014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-7_0_6_line_72 |  | 62 | 101 | 0.0077461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-7_0_6_line_73 |  | 63 | 118 | 0.0083428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-7_0_6_line_74 |  | 64 | 65 | 0.010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-7_0_6_line_75 |  | 65 | 66 | 0.0077528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-7_0_6_line_76 |  | 66 | 100 | 0.010415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-7_0_6_line_77 |  | 67 | 72 | 0.0092503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_2701-7_0_6_line_78 |  | 68 | 69 | 0.0080145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-7_0_6_line_79 |  | 69 | 155 | 0.0075194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-7_0_6_line_80 |  | 70 | 85 | 0.020469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2701-7_0_6_line_81 |  | 71 | 86 | 0.036505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2701-7_0_6_line_82 |  | 72 | 73 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_2701-7_0_6_line_83 |  | 73 | 86 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2701-7_0_6_line_84 |  | 73 | 91 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_2701-7_0_6_line_85 |  | 74 | 75 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2701-7_0_6_line_86 |  | 75 | 76 | 0.0077541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2701-7_0_6_line_87 |  | 76 | 77 | 0.0082493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2701-7_0_6_line_88 |  | 77 | 79 | 0.0077521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2701-7_0_6_line_89 |  | 78 | 79 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2701-7_0_6_line_90 |  | 78 | 80 | 0.010381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2701-7_0_6_line_91 |  | 80 | 81 | 0.0077567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2701-7_0_6_line_92 |  | 81 | 82 | 0.0082409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2701-7_0_6_line_93 |  | 82 | 83 | 0.0077495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2701-7_0_6_line_94 |  | 84 | 96 | 0.0049688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2701-7_0_6_line_95 |  | 85 | 90 | 0.015592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2701-7_0_6_line_96 |  | 87 | 88 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2701-7_0_6_line_97 |  | 88 | 89 | 0.0029934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2701-7_0_6_line_98 |  | 89 | 105 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2701-7_0_6_line_99 |  | 91 | 92 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_2701-7_0_6_line_100 |  | 92 | 93 | 0.0046164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2701-7_0_6_line_101 |  | 93 | 94 | 0.0076183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2701-7_0_6_line_102 |  | 94 | 95 | 0.0078518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2701-7_0_6_line_103 |  | 95 | 104 | 0.0066406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2701-7_0_6_line_104 |  | 96 | 97 | 0.0078366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2701-7_0_6_line_105 |  | 97 | 98 | 0.00016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2701-7_0_6_line_106 |  | 98 | 99 | 0.0079989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2701-7_0_6_line_107 |  | 99 | 102 | 0.0079992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2701-7_0_6_line_108 |  | 100 | 101 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2701-7_0_6_line_109 |  | 102 | 103 | 0.00054562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2701-7_0_6_line_110 |  | 103 | 106 | 0.0074536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2701-7_0_6_line_111 |  | 104 | 107 | 0.0088256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2701-7_0_6_line_112 |  | 105 | 107 | 0.0040731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2701-7_0_6_line_113 |  | 108 | 109 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2701-7_0_6_line_114 |  | 109 | 110 | 0.0090999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2701-7_0_6_line_115 |  | 111 | 112 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2701-7_0_6_line_116 |  | 112 | 113 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2701-7_0_6_line_117 |  | 113 | 114 | 0.0097076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2701-7_0_6_line_118 |  | 114 | 115 | 0.0085639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2701-7_0_6_line_119 |  | 115 | 116 | 0.0088772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2701-7_0_6_line_120 |  | 116 | 117 | 0.0083657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2701-7_0_6_line_121 |  | 117 | 118 | 0.0084577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2701-7_0_6_line_122 |  | 119 | 120 | 0.0027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2701-7_0_6_line_123 |  | 119 | 121 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2701-7_0_6_line_124 |  | 120 | 122 | 0.0083701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2701-7_0_6_line_125 |  | 121 | 123 | 0.0064699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2701-7_0_6_line_126 |  | 121 | 124 | 0.0016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2701-7_0_6_line_127 |  | 122 | 125 | 0.0042514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2701-7_0_6_line_128 |  | 123 | 126 | 0.0087396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2701-7_0_6_line_129 |  | 124 | 127 | 0.0084937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2701-7_0_6_line_130 |  | 125 | 128 | 0.004398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2701-7_0_6_line_131 |  | 126 | 129 | 0.0063747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2701-7_0_6_line_132 |  | 127 | 130 | 0.0084552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2701-7_0_6_line_133 |  | 128 | 151 | 0.0047432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2701-7_0_6_line_134 |  | 129 | 135 | 3.3124e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2701-7_0_6_line_135 |  | 130 | 131 | 0.0066884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2701-7_0_6_line_136 |  | 131 | 132 | 0.0021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2701-7_0_6_line_137 |  | 132 | 133 | 0.0081137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2701-7_0_6_line_138 |  | 133 | 134 | 0.0012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2701-7_0_6_line_139 |  | 135 | 136 | 0.0016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2701-7_0_6_line_140 |  | 136 | 137 | 0.0081485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2701-7_0_6_line_141 |  | 139 | 140 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2701-7_0_6_line_142 |  | 140 | 141 | 0.0013489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2701-7_0_6_line_143 |  | 141 | 142 | 0.023735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2701-7_0_6_line_144 |  | 142 | 143 | 1.8233e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2701-7_0_6_line_145 |  | 143 | 155 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2701-7_0_6_line_146 |  | 144 | 145 | 0.0022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2701-7_0_6_line_147 |  | 144 | 146 | 0.0066567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2701-7_0_6_line_148 |  | 145 | 147 | 0.0054844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2701-7_0_6_line_149 |  | 146 | 148 | 0.0017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2701-7_0_6_line_150 |  | 147 | 149 | 0.0041366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2701-7_0_6_line_151 |  | 148 | 150 | 0.0071626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2701-7_0_6_line_152 |  | 149 | 151 | 0.004179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_2701-7_0_6_line_153 |  | 150 | 152 | 0.0015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2701-7_0_6_line_154 |  | 152 | 153 | 0.0086383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_2701-7_0_6_line_155 |  | 153 | 154 | 0.0064389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2701-7_0_6_line_156 |  | 154 | 157 | 0.0082928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2701-7_0_6_line_157 |  | 156 | 157 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2701-7_0_6_line_158 |  | 156 | 158 | 0.00096962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2701-7_0_6_line_159 |  | 159 | 160 | 0.0095422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2701-7_0_6_line_160 |  | 159 | 161 | 0.0093458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-7_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 162 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2610603.0911 | 1266286.1899 | 2610611.1485 | 1266280.6671 | 2610617.4241 | 1266273.8069 | 2610616.51 | 1266267.2007 | 2610615.1641 | 1266257.8139 | 2610611.8517 | 1266253.6384 | 2610607.6195 | 1266250.2174 | 2610593.0321 | 1266238.212
1 | 2610550.0214 | 1266172.4486 | 2610593.0321 | 1266238.212
2 | 2610673.7851 | 1266186.0801 | 2610603.0911 | 1266286.1899
3 | 2610641.0549 | 1266163.7174 | 2610673.7851 | 1266186.0801
4 | 2610692.3206 | 1266198.7444 | 2610673.7851 | 1266186.0801
5 | 2610633.4018 | 1266158.4885 | 2610641.0549 | 1266163.7174
6 | 2610692.3206 | 1266198.7444 | 2610693.5732 | 1266197.1455 | 2610695.2165 | 1266195.9476 | 2610697.1299 | 1266195.2506 | 2610699.1553 | 1266195.0986
7 | 2610976.2944 | 1265818.0859 | 2610966.5512 | 1265822.7712
8 | 2610966.5512 | 1265822.7712 | 2610963.48 | 1265824.2831
9 | 2610976.2944 | 1265818.0859 | 2610985.1826 | 1265833.6614
10 | 2610946.5835 | 1265832.6009 | 2610963.48 | 1265824.2831
11 | 2610759.1134 | 1265922.8285 | 2610760.4491 | 1265925.2215 | 2610766.7345 | 1265934.0946
12 | 2610766.7345 | 1265934.0946 | 2610771.273 | 1265940.5319
13 | 2610759.1134 | 1265922.8285 | 2610771.6619 | 1265915.8981
14 | 2610776.0917 | 1265947.3667 | 2610771.273 | 1265940.5319
15 | 2610889.8402 | 1265860.5343 | 2610878.4294 | 1265866.0645
16 | 2610889.8402 | 1265860.5343 | 2610902.4554 | 1265854.3241
17 | 2610878.4294 | 1265866.0645 | 2610868.1416 | 1265871.0504
18 | 2610911.651 | 1265849.7973 | 2610902.4554 | 1265854.3241
19 | 2610782.1809 | 1265910.3394 | 2610777.7351 | 1265912.5439 | 2610771.6619 | 1265915.8981
20 | 2610717.1453 | 1266050.2747 | 2610728.0902 | 1266046.9032 | 2610736.2813 | 1266042.5927 | 2610738.9019 | 1266046.3667
21 | 2610738.9019 | 1266046.3667 | 2610744.3008 | 1266054.1152
22 | 2610738.9019 | 1266046.3667 | 2610748.4321 | 1266039.6614
23 | 2610717.1453 | 1266050.2747 | 2610696.9515 | 1266051.1988
24 | 2610744.3008 | 1266054.1152 | 2610733.829 | 1266061.1969
25 | 2610744.3008 | 1266054.1152 | 2610757.0262 | 1266072.4031
26 | 2610755.6783 | 1266034.5631 | 2610748.4321 | 1266039.6614
27 | 2610687.7783 | 1266051.6186 | 2610696.9515 | 1266051.1988
28 | 2610781.4765 | 1266016.4118 | 2610784.8531 | 1266014.3054 | 2610787.1877 | 1266013.8649 | 2610788.9479 | 1266014.6797 | 2610793.3765 | 1266021.0093
29 | 2610781.4765 | 1266016.4118 | 2610778.9227 | 1266013.205 | 2610775.6628 | 1266009.0962 | 2610784.9278 | 1266002.1526 | 2610788.7801 | 1265999.2687 | 2610790.9114 | 1265998.8612 | 2610794.2928 | 1265998.2224 | 2610797.373 | 1265997.6499 | 2610803.7292 | 1265996.4606 | 2610802.4008 | 1265994.1454 | 2610806.5101 | 1265990.7061
30 | 2610781.4765 | 1266016.4118 | 2610768.996 | 1266025.1929
31 | 2610793.3765 | 1266021.0093 | 2610800.5224 | 1266031.2223
32 | 2610806.5101 | 1265990.7061 | 2610801.9299 | 1265984.0153 | 2610792.2322 | 1265970.2603
33 | 2610806.5101 | 1265990.7061 | 2610818.9686 | 1265981.7013
34 | 2610762.2217 | 1266029.9592 | 2610768.996 | 1266025.1929
35 | 2610985.1826 | 1265833.6614 | 2610989.3043 | 1265840.8842
36 | 2610792.2322 | 1265970.2603 | 2610786.5575 | 1265962.2113
37 | 2610818.9686 | 1265981.7013 | 2610831.7225 | 1265972.4831
38 | 2610699.1553 | 1266195.0986 | 2610702.8652 | 1266165.2329
39 | 2610703.8517 | 1266157.2912 | 2610702.8652 | 1266165.2329
40 | 2610782.1809 | 1265910.3394 | 2610784.9569 | 1265911.4785
41 | 2610791.3799 | 1265908.3165 | 2610784.9569 | 1265911.4785
42 | 2610563.45 | 1266056.504 | 2610562.7859 | 1266053.156
43 | 2610562.7859 | 1266053.156 | 2610551.6523 | 1265996.7009
44 | 2610563.45 | 1266056.504 | 2610574.8221 | 1266093.2777
45 | 2610563.45 | 1266056.504 | 2610592.2315 | 1266055.452
46 | 2610946.5835 | 1265832.6009 | 2610936.8851 | 1265837.3751
47 | 2610780.9517 | 1265954.2601 | 2610776.0917 | 1265947.3667
48 | 2610790.0947 | 1266119.9263 | 2610784.5122 | 1266111.9035
49 | 2610782.7814 | 1266109.4161 | 2610784.5122 | 1266111.9035
50 | 2610751.9265 | 1266176.4266 | 2610713.1009 | 1266193.1779 | 2610709.547 | 1266193.5495 | 2610707.1626 | 1266192.4111 | 2610705.5928 | 1266190.4069 | 2610704.9734 | 1266187.4037 | 2610706.3161 | 1266177.5749
51 | 2610707.5555 | 1266168.5023 | 2610706.3161 | 1266177.5749
52 | 2610868.1416 | 1265871.0504 | 2610858.2387 | 1265875.8498
53 | 2610902.8295 | 1265882.4603 | 2610903.2121 | 1265883.1062
54 | 2610907.7907 | 1265890.8349 | 2610903.2121 | 1265883.1062
55 | 2610919.9391 | 1265845.7173 | 2610911.651 | 1265849.7973
56 | 2610721.0323 | 1266069.8508 | 2610733.829 | 1266061.1969
57 | 2610721.0323 | 1266069.8508 | 2610720.0012 | 1266077.3988
58 | 2610720.0012 | 1266077.3988 | 2610718.1983 | 1266090.5961
59 | 2610761.6679 | 1266079.0737 | 2610757.0262 | 1266072.4031
60 | 2610755.6783 | 1266034.5631 | 2610762.2217 | 1266029.9592
61 | 2610687.7783 | 1266051.6186 | 2610678.6592 | 1266052.036
62 | 2610711.9715 | 1266091.925 | 2610710.8772 | 1266100.7345
63 | 2610709.591 | 1266111.0889 | 2610710.8772 | 1266100.7345
64 | 2610805.2694 | 1266038.0068 | 2610800.5224 | 1266031.2223
65 | 2610989.3043 | 1265840.8842 | 2610993.1358 | 1265847.5986
66 | 2610780.9517 | 1265954.2601 | 2610786.5575 | 1265962.2113
67 | 2610831.7225 | 1265972.4831 | 2610833.183 | 1265971.4275
68 | 2610826.1364 | 1266067.8304 | 2610821.5509 | 1266061.2767
69 | 2610821.5509 | 1266061.2767 | 2610816.3357 | 1266053.8231
70 | 2610943.6007 | 1265952.071 | 2610942.9378 | 1265950.9214
71 | 2610942.2361 | 1265949.7045 | 2610942.9378 | 1265950.9214
72 | 2610703.8517 | 1266157.2912 | 2610704.8066 | 1266149.6041
73 | 2610791.3799 | 1265908.3165 | 2610798.8649 | 1265904.6316
74 | 2610709.591 | 1266111.0889 | 2610708.3198 | 1266121.3218
75 | 2610707.3641 | 1266129.0154 | 2610708.3198 | 1266121.3218
76 | 2610706.0803 | 1266139.3507 | 2610707.3641 | 1266129.0154
77 | 2610669.4186 | 1266052.4589 | 2610678.6592 | 1266052.036
78 | 2611024.3917 | 1265902.3712 | 2611028.3639 | 1265909.3321
79 | 2611020.6649 | 1265895.8404 | 2611024.3917 | 1265902.3712
80 | 2610574.8221 | 1266093.2777 | 2610576.7813 | 1266099.6132 | 2610584.5482 | 1266111.0656
81 | 2610628.7121 | 1266054.1187 | 2610592.2315 | 1266055.452
82 | 2610650.7547 | 1266053.313 | 2610669.4186 | 1266052.4589
83 | 2610650.7547 | 1266053.313 | 2610628.7121 | 1266054.1187
84 | 2610650.7547 | 1266053.313 | 2610648.1208 | 1266069.2767
85 | 2610716.7936 | 1266100.8788 | 2610718.1983 | 1266090.5961
86 | 2610715.744 | 1266108.5616 | 2610716.7936 | 1266100.8788
87 | 2610714.6274 | 1266116.735 | 2610715.744 | 1266108.5616
88 | 2610714.6274 | 1266116.735 | 2610713.5782 | 1266124.4158
89 | 2610712.1749 | 1266134.6882 | 2610713.5782 | 1266124.4158
90 | 2610712.1749 | 1266134.6882 | 2610710.7697 | 1266144.9737
91 | 2610709.7198 | 1266152.6591 | 2610710.7697 | 1266144.9737
92 | 2610709.7198 | 1266152.6591 | 2610708.6044 | 1266160.8241
93 | 2610708.6044 | 1266160.8241 | 2610707.5555 | 1266168.5023
94 | 2610782.7814 | 1266109.4161 | 2610779.9433 | 1266105.3376
95 | 2610593.939 | 1266123.4832 | 2610589.163 | 1266117.8702 | 2610584.5482 | 1266111.0656
96 | 2610633.4018 | 1266158.4885 | 2610636.881 | 1266137.401
97 | 2610636.881 | 1266137.401 | 2610637.3683 | 1266134.4475
98 | 2610639.2395 | 1266123.1062 | 2610637.3683 | 1266134.4475
99 | 2610648.1208 | 1266069.2767 | 2610645.6902 | 1266084.009
100 | 2610645.6902 | 1266084.009 | 2610644.9387 | 1266088.5638
101 | 2610643.6985 | 1266096.0805 | 2610644.9387 | 1266088.5638
102 | 2610643.6985 | 1266096.0805 | 2610642.4203 | 1266103.8276
103 | 2610641.3393 | 1266110.3796 | 2610642.4203 | 1266103.8276
104 | 2610775.4673 | 1266098.905 | 2610779.9433 | 1266105.3376
105 | 2610775.3745 | 1266098.7716 | 2610775.4673 | 1266098.905
106 | 2610770.8057 | 1266092.2058 | 2610775.3745 | 1266098.7716
107 | 2610770.8057 | 1266092.2058 | 2610766.2368 | 1266085.6398
108 | 2610706.0803 | 1266139.3507 | 2610704.8066 | 1266149.6041
109 | 2610765.9252 | 1266085.1919 | 2610766.2368 | 1266085.6398
110 | 2610765.9252 | 1266085.1919 | 2610761.6679 | 1266079.0737
111 | 2610641.3393 | 1266110.3796 | 2610639.9026 | 1266119.0874
112 | 2610639.2395 | 1266123.1062 | 2610639.9026 | 1266119.0874
113 | 2610810.4863 | 1266045.4629 | 2610816.3357 | 1266053.8231
114 | 2610805.2694 | 1266038.0068 | 2610810.4863 | 1266045.4629
115 | 2610858.2387 | 1265875.8498 | 2610848.344 | 1265880.6453
116 | 2610838.4322 | 1265885.449 | 2610848.344 | 1265880.6453
117 | 2610838.4322 | 1265885.449 | 2610829.6965 | 1265889.6827
118 | 2610829.6965 | 1265889.6827 | 2610821.99 | 1265893.4177
119 | 2610814.0015 | 1265897.2893 | 2610821.99 | 1265893.4177
120 | 2610814.0015 | 1265897.2893 | 2610806.4733 | 1265900.9378
121 | 2610798.8649 | 1265904.6316 | 2610799.6959 | 1265904.2225 | 2610806.4733 | 1265900.9378
122 | 2610915.335 | 1265927.4386 | 2610912.7919 | 1265928.5553
123 | 2610926.5562 | 1265922.5114 | 2610915.335 | 1265927.4386
124 | 2610905.1281 | 1265931.9204 | 2610912.7919 | 1265928.5553
125 | 2610926.5562 | 1265922.5114 | 2610929.7881 | 1265928.1162
126 | 2610926.5562 | 1265922.5114 | 2610925.7101 | 1265921.083
127 | 2610905.1281 | 1265931.9204 | 2610901.2354 | 1265933.6297
128 | 2610929.7881 | 1265928.1162 | 2610934.1537 | 1265935.6873
129 | 2610925.7101 | 1265921.083 | 2610921.3809 | 1265913.7754
130 | 2610897.2085 | 1265935.3979 | 2610901.2354 | 1265933.6297
131 | 2610937.3379 | 1265941.2097 | 2610934.1537 | 1265935.6873
132 | 2610921.3809 | 1265913.7754 | 2610917.0714 | 1265906.5008
133 | 2610897.2085 | 1265935.3979 | 2610892.8655 | 1265937.3049
134 | 2610937.3379 | 1265941.2097 | 2610937.3545 | 1265941.2384
135 | 2610917.0714 | 1265906.5008 | 2610913.6624 | 1265900.7464
136 | 2610913.6624 | 1265900.7464 | 2610912.5799 | 1265898.9191
137 | 2610908.4444 | 1265891.9384 | 2610912.5799 | 1265898.9191
138 | 2610908.4444 | 1265891.9384 | 2610907.7907 | 1265890.8349
139 | 2610938.1658 | 1265942.6454 | 2610937.3545 | 1265941.2384
140 | 2610938.1658 | 1265942.6454 | 2610942.2361 | 1265949.7045
141 | 2611000.5368 | 1265860.568 | 2610993.1358 | 1265847.5986
142 | 2611001.2053 | 1265861.7395 | 2611000.5368 | 1265860.568
143 | 2611001.2053 | 1265861.7395 | 2611012.9691 | 1265882.3542
144 | 2611012.9781 | 1265882.3701 | 2611012.9691 | 1265882.3542
145 | 2611020.6649 | 1265895.8404 | 2611012.9781 | 1265882.3701
146 | 2610878.3209 | 1265944.1586 | 2610880.359 | 1265943.1263
147 | 2610872.3824 | 1265947.1664 | 2610878.3209 | 1265944.1586
148 | 2610885.2515 | 1265940.6482 | 2610885.2515 | 1265940.6482 | 2610880.359 | 1265943.1263
149 | 2610872.3824 | 1265947.1664 | 2610870.8202 | 1265947.9577
150 | 2610889.0391 | 1265938.9851 | 2610885.2515 | 1265940.6482
151 | 2610864.4305 | 1265951.1941 | 2610870.8202 | 1265947.9577
152 | 2610889.0391 | 1265938.9851 | 2610892.8655 | 1265937.3049
153 | 2610863.0339 | 1265951.9015 | 2610864.4305 | 1265951.1941
154 | 2610855.3277 | 1265955.8047 | 2610863.0339 | 1265951.9015
155 | 2610855.3277 | 1265955.8047 | 2610853.5573 | 1265956.7014 | 2610849.9472 | 1265959.3107
156 | 2610849.9472 | 1265959.3107 | 2610843.2262 | 1265964.1685
157 | 2610843.2262 | 1265964.1685 | 2610833.9689 | 1265970.8595
158 | 2610833.183 | 1265971.4275 | 2610833.9689 | 1265970.8595
159 | 2610928.3241 | 1265841.5896 | 2610936.8851 | 1265837.3751
160 | 2610919.9391 | 1265845.7173 | 2610928.3241 | 1265841.5896

## bus_geodata
| x | y | coords
0 | 2610593.0321 | 1266238.212
1 | 2610603.0911 | 1266286.1899
2 | 2610550.0214 | 1266172.4486
3 | 2610673.7851 | 1266186.0801
4 | 2610641.0549 | 1266163.7174
5 | 2610692.3206 | 1266198.7444
6 | 2610966.5512 | 1265822.7712
7 | 2610976.2944 | 1265818.0859
8 | 2610963.48 | 1265824.2831
9 | 2610766.7345 | 1265934.0946
10 | 2610759.1134 | 1265922.8285
11 | 2610771.273 | 1265940.5319
12 | 2610889.8402 | 1265860.5343
13 | 2610878.4294 | 1265866.0645
14 | 2610902.4554 | 1265854.3241
15 | 2610771.6619 | 1265915.8981
16 | 2610738.9019 | 1266046.3667
17 | 2610717.1453 | 1266050.2747
18 | 2610744.3008 | 1266054.1152
19 | 2610748.4321 | 1266039.6614
20 | 2610696.9515 | 1266051.1988
21 | 2610781.4765 | 1266016.4118
22 | 2610793.3765 | 1266021.0093
23 | 2610806.5101 | 1265990.7061
24 | 2610768.996 | 1266025.1929
25 | 2610985.1826 | 1265833.6614
26 | 2610792.2322 | 1265970.2603
27 | 2610818.9686 | 1265981.7013
28 | 2610699.1553 | 1266195.0986
29 | 2610702.8652 | 1266165.2329
30 | 2610782.1809 | 1265910.3394
31 | 2610784.9569 | 1265911.4785
32 | 2610562.7859 | 1266053.156
33 | 2610563.45 | 1266056.504
34 | 2610551.6523 | 1265996.7009
35 | 2610946.5835 | 1265832.6009
36 | 2610776.0917 | 1265947.3667
37 | 2610790.0947 | 1266119.9263
38 | 2610784.5122 | 1266111.9035
39 | 2610751.9265 | 1266176.4266
40 | 2610706.3161 | 1266177.5749
41 | 2610868.1416 | 1265871.0504
42 | 2610902.8295 | 1265882.4603
43 | 2610903.2121 | 1265883.1062
44 | 2610911.651 | 1265849.7973
45 | 2610721.0323 | 1266069.8508
46 | 2610733.829 | 1266061.1969
47 | 2610720.0012 | 1266077.3988
48 | 2610757.0262 | 1266072.4031
49 | 2610755.6783 | 1266034.5631
50 | 2610687.7783 | 1266051.6186
51 | 2610711.9715 | 1266091.925
52 | 2610710.8772 | 1266100.7345
53 | 2610800.5224 | 1266031.2223
54 | 2610762.2217 | 1266029.9592
55 | 2610989.3043 | 1265840.8842
56 | 2610786.5575 | 1265962.2113
57 | 2610831.7225 | 1265972.4831
58 | 2610826.1364 | 1266067.8304
59 | 2610821.5509 | 1266061.2767
60 | 2610943.6007 | 1265952.071
61 | 2610942.9378 | 1265950.9214
62 | 2610703.8517 | 1266157.2912
63 | 2610791.3799 | 1265908.3165
64 | 2610709.591 | 1266111.0889
65 | 2610708.3198 | 1266121.3218
66 | 2610707.3641 | 1266129.0154
67 | 2610678.6592 | 1266052.036
68 | 2611028.3639 | 1265909.3321
69 | 2611024.3917 | 1265902.3712
70 | 2610574.8221 | 1266093.2777
71 | 2610592.2315 | 1266055.452
72 | 2610669.4186 | 1266052.4589
73 | 2610650.7547 | 1266053.313
74 | 2610718.1983 | 1266090.5961
75 | 2610716.7936 | 1266100.8788
76 | 2610715.744 | 1266108.5616
77 | 2610714.6274 | 1266116.735
78 | 2610712.1749 | 1266134.6882
79 | 2610713.5782 | 1266124.4158
80 | 2610710.7697 | 1266144.9737
81 | 2610709.7198 | 1266152.6591
82 | 2610708.6044 | 1266160.8241
83 | 2610707.5555 | 1266168.5023
84 | 2610782.7814 | 1266109.4161
85 | 2610584.5482 | 1266111.0656
86 | 2610628.7121 | 1266054.1187
87 | 2610633.4018 | 1266158.4885
88 | 2610636.881 | 1266137.401
89 | 2610637.3683 | 1266134.4475
90 | 2610593.939 | 1266123.4832
91 | 2610648.1208 | 1266069.2767
92 | 2610645.6902 | 1266084.009
93 | 2610644.9387 | 1266088.5638
94 | 2610643.6985 | 1266096.0805
95 | 2610642.4203 | 1266103.8276
96 | 2610779.9433 | 1266105.3376
97 | 2610775.4673 | 1266098.905
98 | 2610775.3745 | 1266098.7716
99 | 2610770.8057 | 1266092.2058
100 | 2610706.0803 | 1266139.3507
101 | 2610704.8066 | 1266149.6041
102 | 2610766.2368 | 1266085.6398
103 | 2610765.9252 | 1266085.1919
104 | 2610641.3393 | 1266110.3796
105 | 2610639.2395 | 1266123.1062
106 | 2610761.6679 | 1266079.0737
107 | 2610639.9026 | 1266119.0874
108 | 2610816.3357 | 1266053.8231
109 | 2610810.4863 | 1266045.4629
110 | 2610805.2694 | 1266038.0068
111 | 2610858.2387 | 1265875.8498
112 | 2610848.344 | 1265880.6453
113 | 2610838.4322 | 1265885.449
114 | 2610829.6965 | 1265889.6827
115 | 2610821.99 | 1265893.4177
116 | 2610814.0015 | 1265897.2893
117 | 2610806.4733 | 1265900.9378
118 | 2610798.8649 | 1265904.6316
119 | 2610915.335 | 1265927.4386
120 | 2610912.7919 | 1265928.5553
121 | 2610926.5562 | 1265922.5114
122 | 2610905.1281 | 1265931.9204
123 | 2610929.7881 | 1265928.1162
124 | 2610925.7101 | 1265921.083
125 | 2610901.2354 | 1265933.6297
126 | 2610934.1537 | 1265935.6873
127 | 2610921.3809 | 1265913.7754
128 | 2610897.2085 | 1265935.3979
129 | 2610937.3379 | 1265941.2097
130 | 2610917.0714 | 1265906.5008
131 | 2610913.6624 | 1265900.7464
132 | 2610912.5799 | 1265898.9191
133 | 2610908.4444 | 1265891.9384
134 | 2610907.7907 | 1265890.8349
135 | 2610937.3545 | 1265941.2384
136 | 2610938.1658 | 1265942.6454
137 | 2610942.2361 | 1265949.7045
138 | 2610780.9517 | 1265954.2601
139 | 2610993.1358 | 1265847.5986
140 | 2611000.5368 | 1265860.568
141 | 2611001.2053 | 1265861.7395
142 | 2611012.9691 | 1265882.3542
143 | 2611012.9781 | 1265882.3701
144 | 2610878.3209 | 1265944.1586
145 | 2610880.359 | 1265943.1263
146 | 2610872.3824 | 1265947.1664
147 | 2610885.2515 | 1265940.6482
148 | 2610870.8202 | 1265947.9577
149 | 2610889.0391 | 1265938.9851
150 | 2610864.4305 | 1265951.1941
151 | 2610892.8655 | 1265937.3049
152 | 2610863.0339 | 1265951.9015
153 | 2610855.3277 | 1265955.8047
154 | 2610849.9472 | 1265959.3107
155 | 2611020.6649 | 1265895.8404
156 | 2610833.9689 | 1265970.8595
157 | 2610843.2262 | 1265964.1685
158 | 2610833.183 | 1265971.4275
159 | 2610928.3241 | 1265841.5896
160 | 2610936.8851 | 1265837.3751
161 | 2610919.9391 | 1265845.7173
162 | 2610802.4008 | 1265994.1454

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1