## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-8_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-8_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-8_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2701-8_0_5_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_2701-8_0_5_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_2701-8_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2701-8_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2701-8_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2701-8_0_5_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_2701-8_0_5_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_2701-8_0_5_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_2701-8_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_2701-8_0_5_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_2701-8_0_5_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2701-8_0_5_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_2701-8_0_5_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2701-8_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2701-8_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_2701-8_0_5_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_2701-8_0_5_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_2701-8_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2701-8_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2701-8_0_5_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_2701-8_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2701-8_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2701-8_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2701-8_0_5_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_2701-8_0_5_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_2701-8_0_5_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_2701-8_0_5_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2701-8_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2701-8_0_5_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_2701-8_0_5_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2701-8_0_5_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_2701-8_0_5_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_2701-8_0_5_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2701-8_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2701-8_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2701-8_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2701-8_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2701-8_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2701-8_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2701-8_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2701-8_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2701-8_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2701-8_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2701-8_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2701-8_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2701-8_0_5_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_2701-8_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2701-8_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_2701-8_0_5_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2701-8_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2701-8_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2701-8_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2701-8_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_2701-8_0_5_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2701-8_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_2701-8_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2701-8_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2701-8_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2701-8_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2701-8_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_MV_558_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-8_0_5_load_0 | 0 | 0.032846 | 0.0082321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-8_0_5_load_3 | 3 | 0.012546 | 0.0031443 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-8_0_5_load_4 | 4 | 0.018168 | 0.0045533 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-8_0_5_load_71 | 7 | 0.023732 | 0.0059479 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-8_0_5_load_72 | 8 | 0.024955 | 0.0062544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-8_0_5_load_21 | 9 | 0.025747 | 0.0064528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-8_0_5_load_22 | 10 | 0.0093617 | 0.0023463 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-8_0_5_load_19 | 11 | 0.04065 | 0.010188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-8_0_5_load_73 | 14 | 0.0067593 | 0.001694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-8_0_5_load_42 | 18 | 0.017136 | 0.0042948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-8_0_5_load_54 | 19 | 0.013614 | 0.0034119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-8_0_5_load_58 | 21 | 0.020352 | 0.0051008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-8_0_5_load_6 | 22 | 0.011992 | 0.0030056 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-8_0_5_load_17 | 24 | 0.0036431 | 0.00091305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-8_0_5_load_18 | 25 | 0.0086702 | 0.002173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-8_0_5_load_28 | 27 | 0.0028216 | 0.00070716 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-8_0_5_load_27 | 29 | 0.006162 | 0.0015443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-8_0_5_load_68 | 31 | 0.0015816 | 0.00039639 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-8_0_5_load_69 | 32 | 0.0060666 | 0.0015204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-8_0_5_load_25 | 34 | 0.014079 | 0.0035285 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-8_0_5_load_66 | 35 | 0.0076559 | 0.0019188 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-8_0_5_load_70 | 36 | 0.0017186 | 0.00043071 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-8_0_5_load_67 | 37 | 0.0040453 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-8_0_5_load_65 | 38 | 0.0044677 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-8_0_5_load_41 | 39 | 0.0068616 | 0.0017197 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-8_0_5_load_23 | 40 | 0.013502 | 0.0033839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-8_0_5_load_24 | 41 | 0.0053383 | 0.0013379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-8_0_5_load_26 | 42 | 0.0013178 | 0.00033026 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-8_0_5_load_43 | 43 | 0.0074679 | 0.0018716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-8_0_5_load_29 | 45 | 0.0028488 | 0.00071397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-8_0_5_load_30 | 46 | 0.0071826 | 0.0018001 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-8_0_5_load_32 | 48 | 0.008084 | 0.002026 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-8_0_5_load_33 | 49 | 0.0051768 | 0.0012974 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-8_0_5_load_44 | 51 | 0.0017885 | 0.00044824 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-8_0_5_load_51 | 52 | 0.0029004 | 0.00072691 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-8_0_5_load_45 | 53 | 0.00092392 | 0.00023156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-8_0_5_load_35 | 55 | 0.0051048 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-8_0_5_load_36 | 56 | 0.014214 | 0.0035624 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-8_0_5_load_37 | 57 | 0.040312 | 0.010103 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-8_0_5_load_38 | 58 | 0.0081635 | 0.002046 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-8_0_5_load_39 | 59 | 0.025165 | 0.0063068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-8_0_5_load_57 | 61 | 0.0101 | 0.0025312 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-8_0_5_load_62 | 62 | 0.032661 | 0.0081857 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-8_0_5_load_55 | 63 | 0.0028878 | 0.00072375 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-8_0_5_load_56 | 64 | 0.0028432 | 0.00071257 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-8_0_5_load_59 | 65 | 0.014496 | 0.0036332 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-8_0_5_load_60 | 66 | 0.020718 | 0.0051925 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-8_0_5_line_0 |  | 0 | 1 | 0.0083806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-8_0_5_line_1 |  | 0 | 2 | 0.017195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-8_0_5_line_2 |  | 1 | 3 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-8_0_5_line_3 |  | 2 | 4 | 0.0017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-8_0_5_line_4 |  | 2 | 5 | 0.008757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-8_0_5_line_5 |  | 3 | 6 | 0.020509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-8_0_5_line_6 |  | 4 | 7 | 0.026414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2701-8_0_5_line_7 |  | 5 | 8 | 0.025174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-8_0_5_line_8 |  | 6 | 9 | 0.045927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-8_0_5_line_9 |  | 6 | 10 | 0.0082635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-8_0_5_line_10 |  | 6 | 11 | 0.052635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-8_0_5_line_11 |  | 7 | 12 | 0.0094635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-8_0_5_line_12 |  | 8 | 15 | 0.032513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-8_0_5_line_13 |  | 12 | 62 | 0.02319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2701-8_0_5_line_14 |  | 12 | 20 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2701-8_0_5_line_15 |  | 13 | 14 | 0.044217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-8_0_5_line_16 |  | 13 | 15 | 0.07627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-8_0_5_line_17 |  | 16 | 17 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-8_0_5_line_18 |  | 16 | 18 | 0.016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-8_0_5_line_19 |  | 17 | 19 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-8_0_5_line_20 |  | 18 | 33 | 0.0021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-8_0_5_line_21 |  | 20 | 21 | 0.0073616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2701-8_0_5_line_22 |  | 21 | 59 | 0.0244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2701-8_0_5_line_23 |  | 22 | 23 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-8_0_5_line_24 |  | 23 | 24 | 0.0058506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2701-8_0_5_line_25 |  | 23 | 25 | 0.0069087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-8_0_5_line_26 |  | 24 | 33 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2701-8_0_5_line_27 |  | 25 | 34 | 0.0061183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-8_0_5_line_28 |  | 26 | 27 | 0.014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-8_0_5_line_29 |  | 26 | 28 | 0.06959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-8_0_5_line_30 |  | 26 | 29 | 0.019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-8_0_5_line_31 |  | 28 | 32 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-8_0_5_line_32 |  | 28 | 30 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-8_0_5_line_33 |  | 30 | 31 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-8_0_5_line_34 |  | 31 | 35 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-8_0_5_line_35 |  | 32 | 36 | 0.0050479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-8_0_5_line_36 |  | 33 | 39 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2701-8_0_5_line_37 |  | 34 | 40 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-8_0_5_line_38 |  | 35 | 38 | 0.012116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-8_0_5_line_39 |  | 36 | 54 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-8_0_5_line_40 |  | 37 | 38 | 0.0027224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-8_0_5_line_41 |  | 39 | 58 | 0.008168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2701-8_0_5_line_42 |  | 40 | 41 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-8_0_5_line_43 |  | 41 | 42 | 0.0012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-8_0_5_line_44 |  | 42 | 43 | 0.0020051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-8_0_5_line_45 |  | 43 | 44 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-8_0_5_line_46 |  | 44 | 52 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-8_0_5_line_47 |  | 44 | 54 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-8_0_5_line_48 |  | 45 | 46 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-8_0_5_line_49 |  | 45 | 47 | 0.0084555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-8_0_5_line_50 |  | 46 | 48 | 0.0094363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-8_0_5_line_51 |  | 47 | 49 | 0.009537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-8_0_5_line_52 |  | 47 | 50 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-8_0_5_line_53 |  | 49 | 51 | 0.0090791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-8_0_5_line_54 |  | 50 | 52 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-8_0_5_line_55 |  | 51 | 53 | 0.016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-8_0_5_line_56 |  | 53 | 60 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-8_0_5_line_57 |  | 55 | 56 | 0.011247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2701-8_0_5_line_58 |  | 55 | 57 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2701-8_0_5_line_59 |  | 56 | 58 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_2701-8_0_5_line_60 |  | 57 | 59 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2701-8_0_5_line_61 |  | 60 | 61 | 0.017719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-8_0_5_line_62 |  | 61 | 64 | 0.0062239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-8_0_5_line_63 |  | 62 | 66 | 0.010841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2701-8_0_5_line_64 |  | 63 | 64 | 4.1045e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-8_0_5_line_65 |  | 65 | 66 | 0.0080335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-8_0_5_trafo_59 | 0.63 MVA 20/0.4 kV | 67 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2612218.7538 | 1267104.7407 | 2612219.9335 | 1267113.0378
1 | 2612221.0423 | 1267130.1966 | 2612220.5925 | 1267122.001 | 2612219.9335 | 1267113.0378
2 | 2612218.7538 | 1267104.7407 | 2612223.3689 | 1267093.2755 | 2612226.4252 | 1267088.4592
3 | 2612221.0423 | 1267130.1966 | 2612222.7795 | 1267129.7364
4 | 2612213.1011 | 1267133.9384 | 2612221.0423 | 1267130.1966
5 | 2612238.7076 | 1267072.0701 | 2612229.901 | 1267082.9818 | 2612226.4252 | 1267088.4592
6 | 2612248.5212 | 1267127.8205 | 2612237.3698 | 1267125.8716 | 2612222.7795 | 1267129.7364
7 | 2612213.1011 | 1267133.9384 | 2612188.1419 | 1267137.2162
8 | 2612238.7076 | 1267072.0701 | 2612207.1962 | 1267080.8669 | 2612199.3258 | 1267079.4498 | 2612194.1485 | 1267080.0688
9 | 2612238.7076 | 1267072.0701 | 2612246.928 | 1267071.2265
10 | 2612238.7076 | 1267072.0701 | 2612244.5894 | 1267063.2204 | 2612245.8128 | 1267061.2883 | 2612272.378 | 1267045.7433 | 2612279.8985 | 1267040.9031
11 | 2612257.8434 | 1267129.4496 | 2612248.5212 | 1267127.8205
12 | 2612158.9762 | 1267147.7926 | 2612167.0009 | 1267139.9925 | 2612188.1419 | 1267137.2162
13 | 2612257.8434 | 1267129.4496 | 2612260.4605 | 1267108.7072 | 2612262.7421 | 1267108.6291
14 | 2612257.8434 | 1267129.4496 | 2612263.991 | 1267137.657
15 | 2612106.1796 | 1267112.0265 | 2612110.3542 | 1267113.4582 | 2612139.8252 | 1267115.8311 | 2612150.0201 | 1267114.9036
16 | 2612106.1796 | 1267112.0265 | 2612102.986 | 1267116.7566 | 2612100.9381 | 1267124.4578 | 2612118.8698 | 1267130.6654 | 2612137.1962 | 1267138.9419 | 2612158.9762 | 1267147.7926
17 | 2612370.5202 | 1267163.1401 | 2612386.0313 | 1267164.1176
18 | 2612370.5202 | 1267163.1401 | 2612370.8749 | 1267159.0936 | 2612371.9882 | 1267146.3301
19 | 2612386.0313 | 1267164.1176 | 2612406.8909 | 1267165.7839
20 | 2612372.1781 | 1267144.1525 | 2612371.9882 | 1267146.3301
21 | 2612263.991 | 1267137.657 | 2612271.3394 | 1267138.0981
22 | 2612295.6959 | 1267139.5605 | 2612271.3394 | 1267138.0981
23 | 2612376.1553 | 1267128.3164 | 2612390.2623 | 1267127.612 | 2612397.7353 | 1267128.2391 | 2612406.6671 | 1267129.327
24 | 2612376.1553 | 1267128.3164 | 2612375.3331 | 1267134.1089
25 | 2612376.1553 | 1267128.3164 | 2612377.1159 | 1267121.4748
26 | 2612372.1781 | 1267144.1525 | 2612374.8489 | 1267137.5201 | 2612375.3331 | 1267134.1089
27 | 2612377.1159 | 1267121.4748 | 2612377.9667 | 1267115.4159
28 | 2612420.3187 | 1267051.5771 | 2612426.3787 | 1267038.3087
29 | 2612420.3187 | 1267051.5771 | 2612441.5544 | 1267054.3346 | 2612444.2714 | 1267036.5167 | 2612436.0597 | 1267029.161 | 2612430.1444 | 1267025.0791 | 2612424.3415 | 1267021.231 | 2612420.0563 | 1267018.698
30 | 2612420.3187 | 1267051.5771 | 2612412.2829 | 1267069.1541
31 | 2612420.0563 | 1267018.698 | 2612415.4794 | 1267030.8274
32 | 2612420.0563 | 1267018.698 | 2612421.8651 | 1267014.0207 | 2612424.2876 | 1267007.399 | 2612427.8224 | 1267001.6468
33 | 2612427.8224 | 1267001.6468 | 2612415.2772 | 1266996.806 | 2612412.0891 | 1266995.8733
34 | 2612393.5492 | 1266992.0268 | 2612402.3007 | 1266993.0096 | 2612412.0891 | 1266995.8733
35 | 2612415.4794 | 1267030.8274 | 2612413.6973 | 1267035.5502
36 | 2612372.1781 | 1267144.1525 | 2612361.0391 | 1267143.4837
37 | 2612379.632 | 1267102.0985 | 2612378.7759 | 1267109.6532 | 2612377.9667 | 1267115.4159
38 | 2612381.49 | 1266990.9091 | 2612385.1503 | 1266991.0836 | 2612393.5492 | 1266992.0268
39 | 2612407.1044 | 1267046.4014 | 2612412.5856 | 1267038.4962 | 2612413.6973 | 1267035.5502
40 | 2612381.49 | 1266990.9091 | 2612378.7707 | 1266990.7794
41 | 2612361.0391 | 1267143.4837 | 2612352.8858 | 1267142.9942
42 | 2612379.632 | 1267102.0985 | 2612380.3556 | 1267095.7134 | 2612386.5784 | 1267085.3617
43 | 2612387.2028 | 1267084.3229 | 2612386.5784 | 1267085.3617
44 | 2612388.2358 | 1267082.6044 | 2612387.2028 | 1267084.3229
45 | 2612399.6785 | 1267062.8085 | 2612390.696 | 1267078.5119 | 2612388.2358 | 1267082.6044
46 | 2612399.6785 | 1267062.8085 | 2612395.9633 | 1267061.2775 | 2612385.3096 | 1267059.0537
47 | 2612399.6785 | 1267062.8085 | 2612407.1044 | 1267046.4014
48 | 2612369.0187 | 1267081.2861 | 2612362.556 | 1267060.3426
49 | 2612360.0628 | 1267052.263 | 2612362.556 | 1267060.3426
50 | 2612371.8011 | 1267090.3029 | 2612369.0187 | 1267081.2861
51 | 2612360.0628 | 1267052.263 | 2612351.1821 | 1267055.7398
52 | 2612383.9999 | 1267048.2323 | 2612376.7189 | 1267045.7153 | 2612360.0628 | 1267052.263
53 | 2612351.1821 | 1267055.7398 | 2612342.7278 | 1267059.0496
54 | 2612383.9999 | 1267048.2323 | 2612385.3096 | 1267059.0537
55 | 2612327.0775 | 1267065.1766 | 2612342.7278 | 1267059.0496
56 | 2612311.1195 | 1267071.3747 | 2612324.5512 | 1267066.1656 | 2612327.0775 | 1267065.1766
57 | 2612341.6956 | 1267142.3223 | 2612330.4684 | 1267141.6483
58 | 2612315.5511 | 1267140.7526 | 2612330.4684 | 1267141.6483
59 | 2612341.6956 | 1267142.3223 | 2612352.8858 | 1267142.9942
60 | 2612295.6959 | 1267139.5605 | 2612315.5511 | 1267140.7526
61 | 2612311.1195 | 1267071.3747 | 2612312.9779 | 1267088.9961
62 | 2612313.6306 | 1267095.1856 | 2612312.9779 | 1267088.9961
63 | 2612262.7421 | 1267108.6291 | 2612273.5766 | 1267108.2584
64 | 2612313.6349 | 1267095.2265 | 2612313.6306 | 1267095.1856
65 | 2612281.6054 | 1267107.9837 | 2612273.5766 | 1267108.2584

## bus_geodata
| x | y | coords
0 | 2612219.9335 | 1267113.0378
1 | 2612218.7538 | 1267104.7407
2 | 2612221.0423 | 1267130.1966
3 | 2612226.4252 | 1267088.4592
4 | 2612222.7795 | 1267129.7364
5 | 2612213.1011 | 1267133.9384
6 | 2612238.7076 | 1267072.0701
7 | 2612248.5212 | 1267127.8205
8 | 2612188.1419 | 1267137.2162
9 | 2612194.1485 | 1267080.0688
10 | 2612246.928 | 1267071.2265
11 | 2612279.8985 | 1267040.9031
12 | 2612257.8434 | 1267129.4496
13 | 2612106.1796 | 1267112.0265
14 | 2612150.0201 | 1267114.9036
15 | 2612158.9762 | 1267147.7926
16 | 2612370.5202 | 1267163.1401
17 | 2612386.0313 | 1267164.1176
18 | 2612371.9882 | 1267146.3301
19 | 2612406.8909 | 1267165.7839
20 | 2612263.991 | 1267137.657
21 | 2612271.3394 | 1267138.0981
22 | 2612406.6671 | 1267129.327
23 | 2612376.1553 | 1267128.3164
24 | 2612375.3331 | 1267134.1089
25 | 2612377.1159 | 1267121.4748
26 | 2612420.3187 | 1267051.5771
27 | 2612426.3787 | 1267038.3087
28 | 2612420.0563 | 1267018.698
29 | 2612412.2829 | 1267069.1541
30 | 2612427.8224 | 1267001.6468
31 | 2612412.0891 | 1266995.8733
32 | 2612415.4794 | 1267030.8274
33 | 2612372.1781 | 1267144.1525
34 | 2612377.9667 | 1267115.4159
35 | 2612393.5492 | 1266992.0268
36 | 2612413.6973 | 1267035.5502
37 | 2612378.7707 | 1266990.7794
38 | 2612381.49 | 1266990.9091
39 | 2612361.0391 | 1267143.4837
40 | 2612379.632 | 1267102.0985
41 | 2612386.5784 | 1267085.3617
42 | 2612387.2028 | 1267084.3229
43 | 2612388.2358 | 1267082.6044
44 | 2612399.6785 | 1267062.8085
45 | 2612362.556 | 1267060.3426
46 | 2612369.0187 | 1267081.2861
47 | 2612360.0628 | 1267052.263
48 | 2612371.8011 | 1267090.3029
49 | 2612351.1821 | 1267055.7398
50 | 2612383.9999 | 1267048.2323
51 | 2612342.7278 | 1267059.0496
52 | 2612385.3096 | 1267059.0537
53 | 2612327.0775 | 1267065.1766
54 | 2612407.1044 | 1267046.4014
55 | 2612330.4684 | 1267141.6483
56 | 2612341.6956 | 1267142.3223
57 | 2612315.5511 | 1267140.7526
58 | 2612352.8858 | 1267142.9942
59 | 2612295.6959 | 1267139.5605
60 | 2612311.1195 | 1267071.3747
61 | 2612312.9779 | 1267088.9961
62 | 2612262.7421 | 1267108.6291
63 | 2612313.6349 | 1267095.2265
64 | 2612313.6306 | 1267095.1856
65 | 2612281.6054 | 1267107.9837
66 | 2612273.5766 | 1267108.2584
67 | 2612273.2738 | 1267085.7398

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1