## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2702-2_1_3_node_44 | 0.4 | n |  | TRUE
1 | bus_LV_2702-2_1_3_node_47 | 0.4 | n |  | TRUE
2 | bus_LV_2702-2_1_3_node_33 | 0.4 | n |  | TRUE
3 | bus_LV_2702-2_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2702-2_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2702-2_1_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_2702-2_1_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2702-2_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2702-2_1_3_node_255 | 0.4 | n |  | TRUE
9 | bus_LV_2702-2_1_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2702-2_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2702-2_1_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2702-2_1_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2702-2_1_3_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_2702-2_1_3_node_198 | 0.4 | n |  | TRUE
15 | bus_LV_2702-2_1_3_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_2702-2_1_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2702-2_1_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_2702-2_1_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_2702-2_1_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_2702-2_1_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2702-2_1_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2702-2_1_3_node_130 | 0.4 | n |  | TRUE
23 | bus_LV_2702-2_1_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2702-2_1_3_node_129 | 0.4 | n |  | TRUE
25 | bus_LV_2702-2_1_3_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_2702-2_1_3_node_133 | 0.4 | n |  | TRUE
27 | bus_LV_2702-2_1_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2702-2_1_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2702-2_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2702-2_1_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2702-2_1_3_node_258 | 0.4 | n |  | TRUE
32 | bus_LV_2702-2_1_3_node_257 | 0.4 | n |  | TRUE
33 | bus_LV_2702-2_1_3_node_259 | 0.4 | n |  | TRUE
34 | bus_LV_2702-2_1_3_node_260 | 0.4 | n |  | TRUE
35 | bus_LV_2702-2_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2702-2_1_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2702-2_1_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2702-2_1_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2702-2_1_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2702-2_1_3_node_277 | 0.4 | n |  | TRUE
41 | bus_LV_2702-2_1_3_node_276 | 0.4 | n |  | TRUE
42 | bus_LV_2702-2_1_3_node_243 | 0.4 | n |  | TRUE
43 | bus_LV_2702-2_1_3_node_185 | 0.4 | n |  | TRUE
44 | bus_LV_2702-2_1_3_node_278 | 0.4 | n |  | TRUE
45 | bus_LV_2702-2_1_3_node_169 | 0.4 | n |  | TRUE
46 | bus_LV_2702-2_1_3_node_242 | 0.4 | n |  | TRUE
47 | bus_LV_2702-2_1_3_node_183 | 0.4 | n |  | TRUE
48 | bus_LV_2702-2_1_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_2702-2_1_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2702-2_1_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_2702-2_1_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2702-2_1_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2702-2_1_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_2702-2_1_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_2702-2_1_3_node_247 | 0.4 | n |  | TRUE
56 | bus_LV_2702-2_1_3_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_2702-2_1_3_node_155 | 0.4 | n |  | TRUE
58 | bus_LV_2702-2_1_3_node_245 | 0.4 | n |  | TRUE
59 | bus_LV_2702-2_1_3_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_2702-2_1_3_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_2702-2_1_3_node_153 | 0.4 | n |  | TRUE
62 | bus_LV_2702-2_1_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_2702-2_1_3_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_2702-2_1_3_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_2702-2_1_3_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_2702-2_1_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_2702-2_1_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_2702-2_1_3_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_2702-2_1_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_2702-2_1_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_2702-2_1_3_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_2702-2_1_3_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_2702-2_1_3_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_2702-2_1_3_node_246 | 0.4 | n |  | TRUE
75 | bus_LV_2702-2_1_3_node_219 | 0.4 | n |  | TRUE
76 | bus_LV_2702-2_1_3_node_207 | 0.4 | n |  | TRUE
77 | bus_LV_2702-2_1_3_node_212 | 0.4 | n |  | TRUE
78 | bus_LV_2702-2_1_3_node_248 | 0.4 | n |  | TRUE
79 | bus_LV_2702-2_1_3_node_218 | 0.4 | n |  | TRUE
80 | bus_LV_2702-2_1_3_node_158 | 0.4 | n |  | TRUE
81 | bus_LV_2702-2_1_3_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_2702-2_1_3_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_2702-2_1_3_node_100 | 0.4 | n |  | TRUE
84 | bus_LV_2702-2_1_3_node_101 | 0.4 | n |  | TRUE
85 | bus_LV_2702-2_1_3_node_102 | 0.4 | n |  | TRUE
86 | bus_LV_2702-2_1_3_node_103 | 0.4 | n |  | TRUE
87 | bus_LV_2702-2_1_3_node_160 | 0.4 | n |  | TRUE
88 | bus_LV_2702-2_1_3_node_267 | 0.4 | n |  | TRUE
89 | bus_LV_2702-2_1_3_node_124 | 0.4 | n |  | TRUE
90 | bus_LV_2702-2_1_3_node_268 | 0.4 | n |  | TRUE
91 | bus_LV_2702-2_1_3_node_104 | 0.4 | n |  | TRUE
92 | bus_LV_2702-2_1_3_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_2702-2_1_3_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_2702-2_1_3_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_2702-2_1_3_node_125 | 0.4 | n |  | TRUE
96 | bus_LV_2702-2_1_3_node_126 | 0.4 | n |  | TRUE
97 | bus_LV_2702-2_1_3_node_118 | 0.4 | n |  | TRUE
98 | bus_LV_2702-2_1_3_node_119 | 0.4 | n |  | TRUE
99 | bus_LV_2702-2_1_3_node_120 | 0.4 | n |  | TRUE
100 | bus_LV_2702-2_1_3_node_121 | 0.4 | n |  | TRUE
101 | bus_LV_2702-2_1_3_node_122 | 0.4 | n |  | TRUE
102 | bus_LV_2702-2_1_3_node_123 | 0.4 | n |  | TRUE
103 | bus_LV_2702-2_1_3_node_170 | 0.4 | n |  | TRUE
104 | bus_LV_2702-2_1_3_node_171 | 0.4 | n |  | TRUE
105 | bus_LV_2702-2_1_3_node_127 | 0.4 | n |  | TRUE
106 | bus_LV_2702-2_1_3_node_128 | 0.4 | n |  | TRUE
107 | bus_LV_2702-2_1_3_node_209 | 0.4 | n |  | TRUE
108 | bus_LV_2702-2_1_3_node_210 | 0.4 | n |  | TRUE
109 | bus_LV_2702-2_1_3_node_167 | 0.4 | n |  | TRUE
110 | bus_LV_2702-2_1_3_node_213 | 0.4 | n |  | TRUE
111 | bus_LV_2702-2_1_3_node_168 | 0.4 | n |  | TRUE
112 | bus_LV_2702-2_1_3_node_154 | 0.4 | n |  | TRUE
113 | bus_LV_2702-2_1_3_node_156 | 0.4 | n |  | TRUE
114 | bus_LV_2702-2_1_3_node_159 | 0.4 | n |  | TRUE
115 | bus_LV_2702-2_1_3_node_208 | 0.4 | n |  | TRUE
116 | bus_LV_2702-2_1_3_node_206 | 0.4 | n |  | TRUE
117 | bus_LV_2702-2_1_3_node_202 | 0.4 | n |  | TRUE
118 | bus_LV_2702-2_1_3_node_249 | 0.4 | n |  | TRUE
119 | bus_LV_2702-2_1_3_node_175 | 0.4 | n |  | TRUE
120 | bus_LV_2702-2_1_3_node_205 | 0.4 | n |  | TRUE
121 | bus_LV_2702-2_1_3_node_203 | 0.4 | n |  | TRUE
122 | bus_LV_2702-2_1_3_node_172 | 0.4 | n |  | TRUE
123 | bus_LV_2702-2_1_3_node_173 | 0.4 | n |  | TRUE
124 | bus_LV_2702-2_1_3_node_176 | 0.4 | n |  | TRUE
125 | bus_LV_2702-2_1_3_node_174 | 0.4 | n |  | TRUE
126 | bus_LV_2702-2_1_3_node_250 | 0.4 | n |  | TRUE
127 | bus_LV_2702-2_1_3_node_270 | 0.4 | n |  | TRUE
128 | bus_LV_2702-2_1_3_node_263 | 0.4 | n |  | TRUE
129 | bus_LV_2702-2_1_3_node_188 | 0.4 | n |  | TRUE
130 | bus_LV_2702-2_1_3_node_189 | 0.4 | n |  | TRUE
131 | bus_LV_2702-2_1_3_node_190 | 0.4 | n |  | TRUE
132 | bus_LV_2702-2_1_3_node_191 | 0.4 | n |  | TRUE
133 | bus_LV_2702-2_1_3_node_192 | 0.4 | n |  | TRUE
134 | bus_LV_2702-2_1_3_node_193 | 0.4 | n |  | TRUE
135 | bus_LV_2702-2_1_3_node_194 | 0.4 | n |  | TRUE
136 | bus_LV_2702-2_1_3_node_266 | 0.4 | n |  | TRUE
137 | bus_LV_2702-2_1_3_node_279 | 0.4 | n |  | TRUE
138 | bus_LV_2702-2_1_3_node_283 | 0.4 | n |  | TRUE
139 | bus_LV_2702-2_1_3_node_195 | 0.4 | n |  | TRUE
140 | bus_LV_2702-2_1_3_node_196 | 0.4 | n |  | TRUE
141 | bus_LV_2702-2_1_3_node_197 | 0.4 | n |  | TRUE
142 | bus_LV_2702-2_1_3_node_204 | 0.4 | n |  | TRUE
143 | bus_LV_2702-2_1_3_node_214 | 0.4 | n |  | TRUE
144 | bus_LV_2702-2_1_3_node_215 | 0.4 | n |  | TRUE
145 | bus_LV_2702-2_1_3_node_216 | 0.4 | n |  | TRUE
146 | bus_LV_2702-2_1_3_node_217 | 0.4 | n |  | TRUE
147 | bus_LV_2702-2_1_3_node_227 | 0.4 | n |  | TRUE
148 | bus_LV_2702-2_1_3_node_226 | 0.4 | n |  | TRUE
149 | bus_LV_2702-2_1_3_node_228 | 0.4 | n |  | TRUE
150 | bus_LV_2702-2_1_3_node_229 | 0.4 | n |  | TRUE
151 | bus_LV_2702-2_1_3_node_230 | 0.4 | n |  | TRUE
152 | bus_LV_2702-2_1_3_node_231 | 0.4 | n |  | TRUE
153 | bus_LV_2702-2_1_3_node_240 | 0.4 | n |  | TRUE
154 | bus_LV_2702-2_1_3_node_241 | 0.4 | n |  | TRUE
155 | bus_LV_2702-2_1_3_node_261 | 0.4 | n |  | TRUE
156 | bus_LV_2702-2_1_3_node_274 | 0.4 | n |  | TRUE
157 | bus_LV_2702-2_1_3_node_275 | 0.4 | n |  | TRUE
158 | bus_LV_2702-2_1_3_node_282 | 0.4 | n |  | TRUE
159 | bus_LV_2702-2_1_3_node_262 | 0.4 | n |  | TRUE
160 | bus_LV_2702-2_1_3_node_264 | 0.4 | n |  | TRUE
161 | bus_LV_2702-2_1_3_node_265 | 0.4 | n |  | TRUE
162 | bus_LV_2702-2_1_3_node_269 | 0.4 | n |  | TRUE
163 | bus_MV_347_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2702-2_1_3_load_47 | 1 | 0.0011132 | 0.00027899 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2702-2_1_3_load_33 | 2 | 0.0014758 | 0.00036988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2702-2_1_3_load_8 | 3 | 0.002619 | 0.00065639 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2702-2_1_3_load_13 | 6 | 0.00059449 | 0.00014899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2702-2_1_3_load_15 | 7 | 0.00051757 | 0.00012972 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2702-2_1_3_load_255 | 8 | 0.0015253 | 0.00038228 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2702-2_1_3_load_11 | 10 | 0.0010081 | 0.00025267 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2702-2_1_3_load_12 | 11 | 0.00047606 | 0.00011931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2702-2_1_3_load_14 | 12 | 0.0029001 | 0.00072682 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2702-2_1_3_load_61 | 13 | 0.0022809 | 0.00057166 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2702-2_1_3_load_62 | 15 | 0.0016682 | 0.00041809 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2702-2_1_3_load_28 | 16 | 0.0016368 | 0.00041022 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2702-2_1_3_load_29 | 17 | 0.0016129 | 0.00040423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2702-2_1_3_load_30 | 18 | 0.0037409 | 0.00093755 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2702-2_1_3_load_31 | 19 | 0.0014673 | 0.00036773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2702-2_1_3_load_32 | 20 | 0.0096208 | 0.0024112 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2702-2_1_3_load_34 | 21 | 0.0088037 | 0.0022064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2702-2_1_3_load_35 | 23 | 0.0076895 | 0.0019272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2702-2_1_3_load_133 | 26 | 0.0098704 | 0.0024738 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2702-2_1_3_load_36 | 27 | 0.0021103 | 0.0005289 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2702-2_1_3_load_37 | 28 | 0.0011865 | 0.00029736 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2702-2_1_3_load_257 | 32 | 0.00071124 | 0.00017825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2702-2_1_3_load_259 | 33 | 0.00099223 | 0.00024868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2702-2_1_3_load_43 | 35 | 0.00092304 | 0.00023133 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2702-2_1_3_load_42 | 36 | 0.0018094 | 0.00045347 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2702-2_1_3_load_46 | 37 | 0.0013042 | 0.00032686 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2702-2_1_3_load_277 | 40 | 0.001069 | 0.00026791 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2702-2_1_3_load_276 | 41 | 0.0055329 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2702-2_1_3_load_243 | 42 | 0.0019922 | 0.00049929 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2702-2_1_3_load_185 | 43 | 0.0012564 | 0.00031489 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2702-2_1_3_load_278 | 44 | 0.0032252 | 0.00080831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2702-2_1_3_load_169 | 45 | 0.0088868 | 0.0022272 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2702-2_1_3_load_242 | 46 | 0.0029598 | 0.00074179 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2702-2_1_3_load_183 | 47 | 0.0016879 | 0.00042303 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2702-2_1_3_load_54 | 48 | 0.0013438 | 0.00033679 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2702-2_1_3_load_55 | 49 | 0.00090919 | 0.00022786 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2702-2_1_3_load_56 | 50 | 0.0012988 | 0.00032551 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2702-2_1_3_load_57 | 51 | 0.0021349 | 0.00053505 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2702-2_1_3_load_58 | 52 | 0.0015409 | 0.00038618 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2702-2_1_3_load_59 | 53 | 0.00087812 | 0.00022008 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2702-2_1_3_load_247 | 55 | 0.0016519 | 0.00041401 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2702-2_1_3_load_107 | 56 | 0.00098586 | 0.00024708 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2702-2_1_3_load_245 | 58 | 0.0011111 | 0.00027848 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2702-2_1_3_load_105 | 59 | 0.0023355 | 0.00058532 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2702-2_1_3_load_157 | 60 | 0.004018 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2702-2_1_3_load_153 | 61 | 0.0012419 | 0.00031125 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2702-2_1_3_load_63 | 62 | 0.0012194 | 0.0003056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2702-2_1_3_load_99 | 63 | 0.0025916 | 0.00064952 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2702-2_1_3_load_97 | 64 | 0.0026097 | 0.00065404 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2702-2_1_3_load_73 | 65 | 0.0012542 | 0.00031433 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2702-2_1_3_load_74 | 66 | 0.0022483 | 0.00056347 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2702-2_1_3_load_75 | 67 | 0.001122 | 0.00028119 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2702-2_1_3_load_77 | 69 | 0.0020953 | 0.00052513 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2702-2_1_3_load_80 | 71 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2702-2_1_3_load_78 | 72 | 0.0029369 | 0.00073605 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2702-2_1_3_load_246 | 74 | 0.0014463 | 0.00036249 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2702-2_1_3_load_219 | 75 | 0.0030744 | 0.00077052 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2702-2_1_3_load_212 | 77 | 0.0061534 | 0.0015422 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2702-2_1_3_load_248 | 78 | 0.00098208 | 0.00024613 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2702-2_1_3_load_218 | 79 | 0.001015 | 0.00025437 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2702-2_1_3_load_96 | 81 | 0.00088412 | 0.00022158 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2702-2_1_3_load_100 | 83 | 0.0023597 | 0.00059141 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2702-2_1_3_load_101 | 84 | 0.0010944 | 0.00027428 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2702-2_1_3_load_102 | 85 | 0.0037775 | 0.00094673 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2702-2_1_3_load_160 | 87 | 0.0025729 | 0.00064482 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2702-2_1_3_load_267 | 88 | 0.00098993 | 0.0002481 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2702-2_1_3_load_124 | 89 | 0.0018347 | 0.00045982 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2702-2_1_3_load_268 | 90 | 0.00098939 | 0.00024796 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2702-2_1_3_load_104 | 91 | 0.0017495 | 0.00043847 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2702-2_1_3_load_106 | 92 | 0.00075538 | 0.00018932 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2702-2_1_3_load_108 | 93 | 0.00097579 | 0.00024456 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2702-2_1_3_load_109 | 94 | 0.0011337 | 0.00028414 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2702-2_1_3_load_125 | 95 | 0.003088 | 0.00077392 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2702-2_1_3_load_118 | 97 | 0.0015866 | 0.00039764 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2702-2_1_3_load_119 | 98 | 0.00083013 | 0.00020805 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2702-2_1_3_load_120 | 99 | 0.001352 | 0.00033885 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2702-2_1_3_load_121 | 100 | 0.0019988 | 0.00050096 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2702-2_1_3_load_122 | 101 | 0.0016288 | 0.00040821 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2702-2_1_3_load_123 | 102 | 0.0017125 | 0.00042918 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2702-2_1_3_load_170 | 103 | 0.0010513 | 0.00026349 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2702-2_1_3_load_127 | 105 | 0.0034577 | 0.00086658 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2702-2_1_3_load_128 | 106 | 0.001589 | 0.00039824 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2702-2_1_3_load_210 | 108 | 0.00071943 | 0.00018031 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2702-2_1_3_load_167 | 109 | 0.005614 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2702-2_1_3_load_168 | 111 | 0.004997 | 0.0012524 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2702-2_1_3_load_154 | 112 | 0.001841 | 0.00046141 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2702-2_1_3_load_156 | 113 | 0.0027393 | 0.00068653 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2702-2_1_3_load_159 | 114 | 0.0027398 | 0.00068666 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2702-2_1_3_load_206 | 116 | 0.00095516 | 0.00023939 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2702-2_1_3_load_202 | 117 | 0.009321 | 0.0023361 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2702-2_1_3_load_249 | 118 | 0.011027 | 0.0027636 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2702-2_1_3_load_175 | 119 | 0.0011239 | 0.00028168 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2702-2_1_3_load_205 | 120 | 0.053229 | 0.01334 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2702-2_1_3_load_203 | 121 | 0.0050327 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2702-2_1_3_load_173 | 123 | 0.00092755 | 0.00023247 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2702-2_1_3_load_176 | 124 | 0.00067692 | 0.00016965 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2702-2_1_3_load_174 | 125 | 0.00099281 | 0.00024882 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2702-2_1_3_load_250 | 126 | 0.00099414 | 0.00024916 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2702-2_1_3_load_270 | 127 | 0.0013646 | 0.00034201 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2702-2_1_3_load_263 | 128 | 0.00099036 | 0.00024821 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2702-2_1_3_load_188 | 129 | 0.001309 | 0.00032806 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2702-2_1_3_load_189 | 130 | 0.00072296 | 0.00018119 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2702-2_1_3_load_190 | 131 | 0.0010916 | 0.00027358 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2702-2_1_3_load_191 | 132 | 0.0011334 | 0.00028406 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2702-2_1_3_load_192 | 133 | 0.0011149 | 0.00027941 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2702-2_1_3_load_193 | 134 | 0.00085075 | 0.00021322 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2702-2_1_3_load_194 | 135 | 0.0014165 | 0.000355 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2702-2_1_3_load_266 | 136 | 0.0011027 | 0.00027636 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2702-2_1_3_load_279 | 137 | 0.0015801 | 0.00039601 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2702-2_1_3_load_283 | 138 | 0.0011036 | 0.00027659 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2702-2_1_3_load_195 | 139 | 0.0013183 | 0.00033039 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2702-2_1_3_load_197 | 141 | 0.0035708 | 0.00089492 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2702-2_1_3_load_204 | 142 | 0.0048394 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2702-2_1_3_load_214 | 143 | 0.0019214 | 0.00048155 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2702-2_1_3_load_215 | 144 | 0.0028167 | 0.00070593 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2702-2_1_3_load_216 | 145 | 0.0029945 | 0.00075048 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2702-2_1_3_load_217 | 146 | 0.0063942 | 0.0016025 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2702-2_1_3_load_227 | 147 | 0.0027868 | 0.00069843 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2702-2_1_3_load_226 | 148 | 0.0096643 | 0.0024221 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2702-2_1_3_load_229 | 150 | 0.0055632 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2702-2_1_3_load_230 | 151 | 0.0085325 | 0.0021384 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2702-2_1_3_load_231 | 152 | 0.0042339 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2702-2_1_3_load_240 | 153 | 0.0076089 | 0.001907 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2702-2_1_3_load_241 | 154 | 0.0022019 | 0.00055186 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2702-2_1_3_load_261 | 155 | 0.00099145 | 0.00024848 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2702-2_1_3_load_275 | 157 | 0.00095461 | 0.00023925 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2702-2_1_3_load_282 | 158 | 0.0010432 | 0.00026146 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2702-2_1_3_load_262 | 159 | 0.00098945 | 0.00024798 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2702-2_1_3_load_264 | 160 | 0.00096633 | 0.00024219 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2702-2_1_3_load_265 | 161 | 0.00096633 | 0.00024219 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2702-2_1_3_load_269 | 162 | 0.00085555 | 0.00021442 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 118 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2702-2_1_3_line_0 |  | 0 | 1 | 0.036221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2702-2_1_3_line_1 |  | 0 | 2 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2702-2_1_3_line_2 |  | 1 | 39 | 0.0077156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2702-2_1_3_line_3 |  | 2 | 19 | 0.010897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2702-2_1_3_line_4 |  | 3 | 4 | 0.008414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2702-2_1_3_line_5 |  | 3 | 5 | 0.064373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2702-2_1_3_line_6 |  | 4 | 6 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2702-2_1_3_line_7 |  | 5 | 7 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2702-2_1_3_line_8 |  | 6 | 8 | 0.073682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2702-2_1_3_line_9 |  | 7 | 11 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2702-2_1_3_line_10 |  | 8 | 14 | 0.053367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2702-2_1_3_line_11 |  | 9 | 10 | 0.0020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2702-2_1_3_line_12 |  | 9 | 11 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2702-2_1_3_line_13 |  | 10 | 12 | 0.030623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2702-2_1_3_line_14 |  | 12 | 13 | 0.0066155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2702-2_1_3_line_15 |  | 13 | 15 | 0.024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2702-2_1_3_line_16 |  | 14 | 141 | 0.03617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2702-2_1_3_line_17 |  | 15 | 62 | 0.0085804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2702-2_1_3_line_18 |  | 16 | 17 | 0.0075726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2702-2_1_3_line_19 |  | 16 | 18 | 0.0084069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2702-2_1_3_line_20 |  | 17 | 19 | 0.017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2702-2_1_3_line_21 |  | 18 | 20 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2702-2_1_3_line_22 |  | 20 | 21 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2702-2_1_3_line_23 |  | 21 | 22 | 0.019162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2702-2_1_3_line_24 |  | 22 | 25 | 0.043133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2702-2_1_3_line_25 |  | 22 | 26 | 0.014226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2702-2_1_3_line_26 |  | 22 | 24 | 0.025349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2702-2_1_3_line_27 |  | 23 | 24 | 0.0019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2702-2_1_3_line_28 |  | 25 | 45 | 0.015143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2702-2_1_3_line_29 |  | 26 | 109 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2702-2_1_3_line_30 |  | 27 | 28 | 0.024734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2702-2_1_3_line_31 |  | 28 | 29 | 0.064854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2702-2_1_3_line_32 |  | 29 | 30 | 0.035662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2702-2_1_3_line_33 |  | 30 | 31 | 0.02572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2702-2_1_3_line_34 |  | 30 | 32 | 0.046489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2702-2_1_3_line_35 |  | 31 | 33 | 0.016992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2702-2_1_3_line_36 |  | 31 | 34 | 0.064179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2702-2_1_3_line_37 |  | 32 | 35 | 0.030233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2702-2_1_3_line_38 |  | 33 | 86 | 0.019413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2702-2_1_3_line_39 |  | 34 | 156 | 0.01905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2702-2_1_3_line_40 |  | 34 | 157 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2702-2_1_3_line_41 |  | 35 | 36 | 0.028861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2702-2_1_3_line_42 |  | 37 | 38 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2702-2_1_3_line_43 |  | 38 | 40 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2702-2_1_3_line_44 |  | 38 | 41 | 0.0024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2702-2_1_3_line_45 |  | 39 | 42 | 0.0058393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2702-2_1_3_line_46 |  | 39 | 43 | 0.0074524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2702-2_1_3_line_47 |  | 40 | 44 | 0.0012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2702-2_1_3_line_48 |  | 41 | 45 | 0.0078511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2702-2_1_3_line_49 |  | 42 | 46 | 0.0063364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2702-2_1_3_line_50 |  | 43 | 47 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2702-2_1_3_line_51 |  | 46 | 154 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2702-2_1_3_line_52 |  | 48 | 49 | 0.0032776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2702-2_1_3_line_53 |  | 48 | 50 | 6.1742e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2702-2_1_3_line_54 |  | 49 | 51 | 0.0066347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2702-2_1_3_line_55 |  | 50 | 52 | 0.010729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2702-2_1_3_line_56 |  | 51 | 53 | 0.003734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2702-2_1_3_line_57 |  | 52 | 54 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2702-2_1_3_line_58 |  | 53 | 55 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2702-2_1_3_line_59 |  | 54 | 56 | 0.003275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2702-2_1_3_line_60 |  | 54 | 57 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2702-2_1_3_line_61 |  | 55 | 58 | 0.0059839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2702-2_1_3_line_62 |  | 56 | 59 | 0.011503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2702-2_1_3_line_63 |  | 57 | 60 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2702-2_1_3_line_64 |  | 57 | 61 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2702-2_1_3_line_65 |  | 58 | 70 | 0.0094383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2702-2_1_3_line_66 |  | 59 | 91 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2702-2_1_3_line_67 |  | 60 | 114 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2702-2_1_3_line_68 |  | 61 | 112 | 0.021843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2702-2_1_3_line_69 |  | 62 | 63 | 0.027532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2702-2_1_3_line_70 |  | 63 | 64 | 0.026419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2702-2_1_3_line_71 |  | 64 | 81 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2702-2_1_3_line_72 |  | 65 | 66 | 0.007953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2702-2_1_3_line_73 |  | 65 | 67 | 0.0020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2702-2_1_3_line_74 |  | 66 | 68 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2702-2_1_3_line_75 |  | 67 | 69 | 0.005194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2702-2_1_3_line_76 |  | 68 | 70 | 0.004275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2702-2_1_3_line_77 |  | 69 | 71 | 0.013093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2702-2_1_3_line_78 |  | 70 | 74 | 0.0046393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2702-2_1_3_line_79 |  | 70 | 75 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2702-2_1_3_line_80 |  | 71 | 76 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_2702-2_1_3_line_81 |  | 72 | 73 | 0.016322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2702-2_1_3_line_82 |  | 73 | 77 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2702-2_1_3_line_83 |  | 74 | 78 | 0.0072209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2702-2_1_3_line_84 |  | 75 | 79 | 0.011814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2702-2_1_3_line_85 |  | 76 | 80 | 0.007205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2702-2_1_3_line_86 |  | 77 | 110 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2702-2_1_3_line_87 |  | 78 | 138 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2702-2_1_3_line_88 |  | 79 | 145 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_2702-2_1_3_line_89 |  | 80 | 115 | 0.022883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_2702-2_1_3_line_90 |  | 80 | 116 | 0.056595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2702-2_1_3_line_91 |  | 81 | 82 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2702-2_1_3_line_92 |  | 82 | 83 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2702-2_1_3_line_93 |  | 82 | 84 | 0.027818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2702-2_1_3_line_94 |  | 83 | 85 | 0.001925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2702-2_1_3_line_95 |  | 84 | 86 | 0.011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2702-2_1_3_line_96 |  | 85 | 87 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2702-2_1_3_line_97 |  | 86 | 88 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2702-2_1_3_line_98 |  | 87 | 89 | 0.015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2702-2_1_3_line_99 |  | 88 | 90 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2702-2_1_3_line_100 |  | 89 | 101 | 0.0039009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2702-2_1_3_line_101 |  | 90 | 162 | 0.0034743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2702-2_1_3_line_102 |  | 91 | 92 | 0.0023915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2702-2_1_3_line_103 |  | 92 | 93 | 0.00052676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2702-2_1_3_line_104 |  | 93 | 94 | 0.007041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2702-2_1_3_line_105 |  | 94 | 95 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2702-2_1_3_line_106 |  | 95 | 96 | 0.0048618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2702-2_1_3_line_107 |  | 96 | 105 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2702-2_1_3_line_108 |  | 96 | 106 | 0.033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2702-2_1_3_line_109 |  | 97 | 98 | 0.0047655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2702-2_1_3_line_110 |  | 97 | 99 | 0.0081294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2702-2_1_3_line_111 |  | 98 | 100 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2702-2_1_3_line_112 |  | 99 | 101 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2702-2_1_3_line_113 |  | 100 | 102 | 0.0051472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2702-2_1_3_line_114 |  | 102 | 103 | 0.030206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2702-2_1_3_line_115 |  | 103 | 104 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2702-2_1_3_line_116 |  | 104 | 122 | 0.035161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2702-2_1_3_line_117 |  | 104 | 123 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2702-2_1_3_line_118 |  | 106 | 107 | 0.050756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2702-2_1_3_line_119 |  | 107 | 108 | 0.052691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2702-2_1_3_line_120 |  | 109 | 111 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2702-2_1_3_line_121 |  | 110 | 143 | 0.0018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_2702-2_1_3_line_122 |  | 110 | 144 | 0.0099354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_2702-2_1_3_line_123 |  | 112 | 113 | 0.0066146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2702-2_1_3_line_124 |  | 114 | 117 | 0.00011472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2702-2_1_3_line_125 |  | 115 | 118 | 0.021495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_2702-2_1_3_line_126 |  | 115 | 119 | 0.042052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2702-2_1_3_line_127 |  | 116 | 120 | 0.038085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2702-2_1_3_line_128 |  | 117 | 121 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2702-2_1_3_line_129 |  | 119 | 122 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2702-2_1_3_line_130 |  | 121 | 142 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2702-2_1_3_line_131 |  | 123 | 124 | 0.0040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2702-2_1_3_line_132 |  | 124 | 127 | 0.032908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2702-2_1_3_line_133 |  | 125 | 126 | 0.0063181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2702-2_1_3_line_134 |  | 126 | 128 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2702-2_1_3_line_135 |  | 128 | 155 | 0.006309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2702-2_1_3_line_136 |  | 129 | 130 | 0.0075176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2702-2_1_3_line_137 |  | 129 | 131 | 0.00012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2702-2_1_3_line_138 |  | 130 | 132 | 1.6472e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2702-2_1_3_line_139 |  | 131 | 133 | 0.007278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2702-2_1_3_line_140 |  | 132 | 134 | 0.00060563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2702-2_1_3_line_141 |  | 133 | 135 | 0.0080878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2702-2_1_3_line_142 |  | 134 | 136 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2702-2_1_3_line_143 |  | 135 | 137 | 0.033175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2702-2_1_3_line_144 |  | 136 | 138 | 0.005209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2702-2_1_3_line_145 |  | 139 | 140 | 0.02511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2702-2_1_3_line_146 |  | 140 | 141 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2702-2_1_3_line_147 |  | 143 | 145 | 0.017068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
148 | LV_2702-2_1_3_line_148 |  | 144 | 146 | 0.00036086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
149 | LV_2702-2_1_3_line_149 |  | 146 | 147 | 0.0092379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
150 | LV_2702-2_1_3_line_150 |  | 147 | 148 | 0.0051807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
151 | LV_2702-2_1_3_line_151 |  | 148 | 149 | 0.0039246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
152 | LV_2702-2_1_3_line_152 |  | 149 | 150 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
153 | LV_2702-2_1_3_line_153 |  | 149 | 151 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_2702-2_1_3_line_154 |  | 150 | 152 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
155 | LV_2702-2_1_3_line_155 |  | 152 | 153 | 0.0090684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_2702-2_1_3_line_156 |  | 153 | 154 | 0.002331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_2702-2_1_3_line_157 |  | 155 | 159 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_2702-2_1_3_line_158 |  | 156 | 158 | 0.014627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_2702-2_1_3_line_159 |  | 159 | 160 | 0.0062365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2702-2_1_3_line_160 |  | 160 | 161 | 0.0061599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2702-2_1_3_line_161 |  | 161 | 162 | 0.0027611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2702-2_1_3_trafo_249 | 0.63 MVA 20/0.4 kV | 163 | 118 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2616967.7206 | 1268858.2637 | 2616976.771 | 1268848.4382 | 2616990.3544 | 1268842.8287 | 2616998.4933 | 1268843.4981
1 | 2616967.7206 | 1268858.2637 | 2616983.3269 | 1268866.214 | 2616983.3269 | 1268866.214
2 | 2617006.1829 | 1268844.1306 | 2616998.4933 | 1268843.4981
3 | 2616983.3269 | 1268866.214 | 2616990.6116 | 1268874.3188
4 | 2616869.3199 | 1269307.0005 | 2616862.0874 | 1269302.7008
5 | 2616799.7405 | 1269286.6774 | 2616862.0874 | 1269302.7008
6 | 2616869.3199 | 1269307.0005 | 2616878.8896 | 1269312.6873 | 2616891.9008 | 1269320.1376
7 | 2616799.7405 | 1269286.6774 | 2616803.4167 | 1269272.8345
8 | 2616876.3457 | 1269392.1586 | 2616891.9008 | 1269320.1376
9 | 2616803.4167 | 1269272.8345 | 2616804.1517 | 1269270.067 | 2616811.0461 | 1269256.8299
10 | 2616876.3457 | 1269392.1586 | 2616920.1438 | 1269413.2317 | 2616924.8273 | 1269414.6572
11 | 2616826.0528 | 1269233.7145 | 2616827.3453 | 1269232.0854
12 | 2616826.0528 | 1269233.7145 | 2616814.4332 | 1269250.3266 | 2616811.0461 | 1269256.8299
13 | 2616827.3453 | 1269232.0854 | 2616839.8794 | 1269216.2859 | 2616847.3307 | 1269208.9519
14 | 2616852.0455 | 1269204.3112 | 2616847.3307 | 1269208.9519
15 | 2616864.9021 | 1269183.9186 | 2616855.6043 | 1269200.8085 | 2616852.0455 | 1269204.3112
16 | 2616924.8273 | 1269414.6572 | 2616928.0072 | 1269412.9762 | 2616944.6939 | 1269385.002
17 | 2616864.9021 | 1269183.9186 | 2616869.04 | 1269176.4019
18 | 2617001.0036 | 1268888.9733 | 2617005.3331 | 1268895.1862
19 | 2617010.1396 | 1268902.0836 | 2617005.3331 | 1268895.1862
20 | 2617001.0036 | 1268888.9733 | 2616991.4128 | 1268875.2102 | 2616990.6116 | 1268874.3188
21 | 2617020.9463 | 1268917.5915 | 2617010.1396 | 1268902.0836
22 | 2617020.9463 | 1268917.5915 | 2617020.9025 | 1268924.9855 | 2617020.8639 | 1268930.9859
23 | 2617020.7399 | 1268950.1473 | 2617020.7938 | 1268941.8749 | 2617020.8639 | 1268930.9859
24 | 2617020.7399 | 1268950.1473 | 2616978.3362 | 1268958.6984
25 | 2617020.7399 | 1268950.1473 | 2617021.0017 | 1268964.371
26 | 2617020.7399 | 1268950.1473 | 2617036.51 | 1268948.1245 | 2617044.8606 | 1268943.5564
27 | 2617044.8606 | 1268943.5564 | 2617043.4402 | 1268942.2368
28 | 2616978.3362 | 1268958.6984 | 2616974.4387 | 1268948.102 | 2616973.1079 | 1268944.4867
29 | 2617021.0017 | 1268964.371 | 2617021.2671 | 1268978.7913 | 2617021.3384 | 1268982.7943
30 | 2616825.0118 | 1269094.1101 | 2616821.9367 | 1269098.6517 | 2616811.3839 | 1269114.751
31 | 2616860.2811 | 1269045.99 | 2616851.0173 | 1269051.6343 | 2616848.5814 | 1269053.551 | 2616832.125 | 1269072.1507 | 2616831.6555 | 1269073.2057 | 2616831.5549 | 1269074.1727 | 2616832.0867 | 1269075.0304 | 2616834.17 | 1269078.0273 | 2616834.9034 | 1269079.4527 | 2616834.0645 | 1269080.7401 | 2616825.0118 | 1269094.1101
32 | 2616860.2811 | 1269045.99 | 2616869.9126 | 1269040.6803 | 2616883.7145 | 1269026.8765 | 2616888.8065 | 1269027.6026
33 | 2616888.8065 | 1269027.6026 | 2616908.4632 | 1269010.9468
34 | 2616888.8065 | 1269027.6026 | 2616868.5656 | 1269048.6599 | 2616857.6588 | 1269062.0642
35 | 2616908.4632 | 1269010.9468 | 2616907.8001 | 1269027.9261
36 | 2616908.4632 | 1269010.9468 | 2616932.5448 | 1268988.9222 | 2616936.3193 | 1268984.6744 | 2616926.7121 | 1268973.5169 | 2616921.3372 | 1268963.7613
37 | 2616838.5777 | 1269085.5148 | 2616857.6588 | 1269062.0642
38 | 2616907.0426 | 1269047.3241 | 2616907.8001 | 1269027.9261
39 | 2616921.3372 | 1268963.7613 | 2616902.8553 | 1268958.9274
40 | 2616921.3372 | 1268963.7613 | 2616918.1736 | 1268957.003 | 2616913.2231 | 1268943.4648
41 | 2616821.1208 | 1269108.4375 | 2616824.6795 | 1269102.5956 | 2616838.5777 | 1269085.5148
42 | 2616969.563 | 1268934.8565 | 2616964.2525 | 1268913.953
43 | 2616969.563 | 1268934.8565 | 2616948.5607 | 1268929.0872
44 | 2616969.563 | 1268934.8565 | 2616970.3958 | 1268937.119
45 | 2617006.1829 | 1268844.1306 | 2617010.9436 | 1268847.5119
46 | 2617006.1829 | 1268844.1306 | 2617000.6425 | 1268839.1464
47 | 2616947.3524 | 1268928.7553 | 2616948.5607 | 1268929.0872
48 | 2616970.3958 | 1268937.119 | 2616973.1079 | 1268944.4867
49 | 2617010.9436 | 1268847.5119 | 2617016.1095 | 1268851.1811
50 | 2617000.6425 | 1268839.1464 | 2616988.0575 | 1268827.825
51 | 2617029.757 | 1268860.8745 | 2617016.1095 | 1268851.1811
52 | 2617190.568 | 1268964.2473 | 2617192.8638 | 1268966.5865
53 | 2617192.8638 | 1268966.5865 | 2617192.907 | 1268966.6305
54 | 2617190.568 | 1268964.2473 | 2617185.9207 | 1268959.5121
55 | 2617198.835 | 1268975.446 | 2617195.6787 | 1268969.4547 | 2617192.907 | 1268966.6305
56 | 2617183.3052 | 1268956.8471 | 2617185.9207 | 1268959.5121
57 | 2617207.0834 | 1268991.1031 | 2617198.835 | 1268975.446
58 | 2617183.3052 | 1268956.8471 | 2617170.5302 | 1268943.8303 | 2617161.7101 | 1268937.6341
59 | 2617207.0834 | 1268991.1031 | 2617210.0256 | 1268989.6645
60 | 2617194.7031 | 1268994.4807 | 2617207.0834 | 1268991.1031
61 | 2617156.8137 | 1268934.1942 | 2617161.7101 | 1268937.6341
62 | 2617210.0256 | 1268989.6645 | 2617220.3591 | 1268984.6119
63 | 2617194.7031 | 1268994.4807 | 2617195.3852 | 1269000.5536 | 2617192.8943 | 1269004.4491
64 | 2617194.7031 | 1268994.4807 | 2617180.6101 | 1268995.9292
65 | 2617149.0907 | 1268928.7687 | 2617156.8137 | 1268934.1942
66 | 2617232.8103 | 1268976.0317 | 2617224.2189 | 1268982.7247 | 2617221.0992 | 1268984.25 | 2617220.3591 | 1268984.6119
67 | 2617188.6357 | 1269021.2709 | 2617186.9117 | 1269013.8051 | 2617192.8943 | 1269004.4491
68 | 2617158.863 | 1268994.8854 | 2617175.7654 | 1268996.4271 | 2617180.6101 | 1268995.9292
69 | 2616869.04 | 1269176.4019 | 2616870.5649 | 1269173.6318 | 2616879.1668 | 1269150.8303
70 | 2616888.4919 | 1269126.1116 | 2616879.1668 | 1269150.8303
71 | 2616899.5811 | 1269096.7167 | 2616888.4919 | 1269126.1116
72 | 2617137.6443 | 1268948.0636 | 2617140.9568 | 1268940.8333
73 | 2617137.6443 | 1268948.0636 | 2617136.7973 | 1268949.9122
74 | 2617145.4497 | 1268931.0265 | 2617140.9568 | 1268940.8333
75 | 2617134.1773 | 1268954.3038 | 2617135.2343 | 1268953.3238 | 2617136.7973 | 1268949.9122
76 | 2617149.0907 | 1268928.7687 | 2617145.4497 | 1268931.0265
77 | 2617124.576 | 1268963.2057 | 2617134.1773 | 1268954.3038
78 | 2617149.0907 | 1268928.7687 | 2617153.498 | 1268927.3201
79 | 2617149.0907 | 1268928.7687 | 2617133.9834 | 1268926.3231
80 | 2617111.6942 | 1268975.149 | 2617124.576 | 1268963.2057
81 | 2617092.2273 | 1268941.4468 | 2617098.2586 | 1268937.428 | 2617106.9561 | 1268934.8391
82 | 2617092.2273 | 1268941.4468 | 2617093.6081 | 1268925.6151
83 | 2617153.498 | 1268927.3201 | 2617160.3579 | 1268925.0653
84 | 2617122.5569 | 1268923.4089 | 2617130.3478 | 1268925.7346 | 2617133.9834 | 1268926.3231
85 | 2617111.6942 | 1268975.149 | 2617110.184 | 1268982.1941
86 | 2617091.6139 | 1268906.2757 | 2617092.4543 | 1268909.6806 | 2617094.2817 | 1268917.8916 | 2617093.6081 | 1268925.6151
87 | 2617184.3809 | 1268917.1693 | 2617160.3579 | 1268925.0653
88 | 2617122.5569 | 1268923.4089 | 2617115.9052 | 1268921.4232 | 2617107.6969 | 1268916.3047
89 | 2617110.184 | 1268982.1941 | 2617095.0999 | 1268999.4406
90 | 2617110.184 | 1268982.1941 | 2617109.0028 | 1268997.7684 | 2617110.9261 | 1269022.2468 | 2617115.7553 | 1269037.9432
91 | 2616903.3485 | 1269086.7303 | 2616899.5811 | 1269096.7167
92 | 2616903.3485 | 1269086.7303 | 2616920.1972 | 1269088.5168
93 | 2616903.3485 | 1269086.7303 | 2616905.9449 | 1269059.0336
94 | 2616922.1115 | 1269088.7197 | 2616920.1972 | 1269088.5168
95 | 2616907.0426 | 1269047.3241 | 2616905.9449 | 1269059.0336
96 | 2616922.1115 | 1269088.7197 | 2616947.3163 | 1269091.3921
97 | 2616907.0426 | 1269047.3241 | 2616928.8723 | 1269045.5208
98 | 2616962.9321 | 1269091.8138 | 2616956.0494 | 1269092.3181 | 2616947.3163 | 1269091.3921
99 | 2616938.9153 | 1269044.6911 | 2616928.8723 | 1269045.5208
100 | 2616966.8225 | 1269091.5288 | 2616962.9321 | 1269091.8138
101 | 2616938.9153 | 1269044.6911 | 2616942.3778 | 1269044.4051
102 | 2617234.6969 | 1268974.562 | 2617232.8103 | 1268976.0317
103 | 2617234.6969 | 1268974.562 | 2617235.1124 | 1268974.2383
104 | 2617235.1124 | 1268974.2383 | 2617240.6669 | 1268969.9112
105 | 2617252.8565 | 1268959.7894 | 2617242.2211 | 1268968.7004 | 2617240.6669 | 1268969.9112
106 | 2617256.5832 | 1268956.667 | 2617252.8565 | 1268959.7894
107 | 2617256.5832 | 1268956.667 | 2617273.4184 | 1268942.0102
108 | 2617256.5832 | 1268956.667 | 2617268.5064 | 1268970.7339 | 2617272.257 | 1268977.3495 | 2617272.0407 | 1268979.2947 | 2617271.2427 | 1268984.2841
109 | 2616994.0334 | 1269081.7985 | 2616989.4755 | 1269083.1898
110 | 2616981.8117 | 1269085.8903 | 2616986.8562 | 1269083.9893 | 2616989.4755 | 1269083.1898
111 | 2616994.0334 | 1269081.7985 | 2617003.8539 | 1269078.801 | 2617011.9049 | 1269077.7888
112 | 2616981.8117 | 1269085.8903 | 2616966.8569 | 1269091.5262 | 2616966.8225 | 1269091.5288
113 | 2617017.0119 | 1269077.1468 | 2617011.9049 | 1269077.7888
114 | 2617017.0119 | 1269077.1468 | 2617020.5419 | 1269076.703 | 2617047.1898 | 1269076.6462
115 | 2617062.7549 | 1269076.6131 | 2617047.1898 | 1269076.6462
116 | 2617062.7549 | 1269076.6131 | 2617063.1421 | 1269041.456
117 | 2617062.7549 | 1269076.6131 | 2617063.1321 | 1269099.5756
118 | 2617271.2427 | 1268984.2841 | 2617306.435 | 1269020.8578
119 | 2617306.435 | 1269020.8578 | 2617301.2949 | 1269033.9743 | 2617288.1716 | 1269059.8988 | 2617285.3082 | 1269069.0302
120 | 2617035.5397 | 1268993.7829 | 2617035.4504 | 1268992.1304 | 2617031.4659 | 1268983.0458 | 2617021.3384 | 1268982.7943 | 2617021.3384 | 1268982.7943
121 | 2617091.6139 | 1268906.2757 | 2617093.214 | 1268907.2735
122 | 2617091.6139 | 1268906.2757 | 2617083.761 | 1268900.1894
123 | 2617152.2758 | 1268994.2846 | 2617158.863 | 1268994.8854
124 | 2617188.6357 | 1269021.2709 | 2617188.6357 | 1269021.2709 | 2617188.7011 | 1269021.3652
125 | 2617074.6737 | 1268995.7235 | 2617087.9409 | 1268995.2837 | 2617095.0999 | 1268999.4406
126 | 2617095.0999 | 1268999.4406 | 2617067.4122 | 1269031.0917
127 | 2617115.7553 | 1269037.9432 | 2617126.9548 | 1269074.3445
128 | 2617198.7451 | 1269034.9603 | 2617194.4805 | 1269029.7049 | 2617188.7011 | 1269021.3652
129 | 2617063.1421 | 1269041.456 | 2617066.3136 | 1269032.3476 | 2617067.4122 | 1269031.0917
130 | 2617212.5602 | 1269051.9847 | 2617198.7451 | 1269034.9603
131 | 2617063.1993 | 1269103.6694 | 2617063.1321 | 1269099.5756
132 | 2617063.1993 | 1269103.6694 | 2617063.2479 | 1269106.6247 | 2617068.1218 | 1269109.8966 | 2617073.4893 | 1269116.8836 | 2617077.9935 | 1269131.4756
133 | 2616983.8811 | 1269040.9766 | 2616990.1777 | 1269040.4565
134 | 2616983.8811 | 1269040.9766 | 2616973.8249 | 1269041.8073
135 | 2616973.8249 | 1269041.8073 | 2616967.5374 | 1269042.3267
136 | 2617208.8037 | 1268906.5465 | 2617201.9507 | 1268909.6372
137 | 2617208.8037 | 1268906.5465 | 2617208.9143 | 1268906.4966
138 | 2617201.9357 | 1268909.644 | 2617201.9507 | 1268909.6372
139 | 2617215.5488 | 1268903.5044 | 2617208.9143 | 1268906.4966
140 | 2617201.3837 | 1268909.893 | 2617201.9357 | 1268909.644
141 | 2617215.5488 | 1268903.5044 | 2617222.9214 | 1268900.1792
142 | 2617189.259 | 1268915.3613 | 2617201.3837 | 1268909.893
143 | 2617222.9214 | 1268900.1792 | 2617227.196 | 1268898.2514 | 2617252.2937 | 1268884.7768
144 | 2617189.259 | 1268915.3613 | 2617187.5864 | 1268916.1157 | 2617184.3809 | 1268917.1693
145 | 2616960.0936 | 1269359.1853 | 2616973.8943 | 1269371.8449 | 2616978.304 | 1269376.4594
146 | 2616960.0936 | 1269359.1853 | 2616944.6939 | 1269385.002
147 | 2617093.214 | 1268907.2735 | 2617107.6969 | 1268916.3047
148 | 2617083.761 | 1268900.1894 | 2617083.4757 | 1268899.9683
149 | 2617083.4757 | 1268899.9683 | 2617076.1741 | 1268894.3093
150 | 2617072.0793 | 1268891.1356 | 2617076.1741 | 1268894.3093
151 | 2617068.9772 | 1268888.7314 | 2617072.0793 | 1268891.1356
152 | 2617068.9772 | 1268888.7314 | 2617055.3705 | 1268879.067
153 | 2617068.9772 | 1268888.7314 | 2617068.0702 | 1268879.6891 | 2617062.3629 | 1268864.5077
154 | 2617039.0507 | 1268867.4755 | 2617055.3705 | 1268879.067
155 | 2617039.0507 | 1268867.4755 | 2617031.6574 | 1268862.2243
156 | 2617029.757 | 1268860.8745 | 2617031.6574 | 1268862.2243
157 | 2616967.5374 | 1269042.3267 | 2616957.4838 | 1269043.1572
158 | 2616902.8553 | 1268958.9274 | 2616899.1299 | 1268973.0718
159 | 2616951.2685 | 1269043.6707 | 2616957.4838 | 1269043.1572
160 | 2616945.1295 | 1269044.1778 | 2616951.2685 | 1269043.6707
161 | 2616945.1295 | 1269044.1778 | 2616942.3778 | 1269044.4051

## bus_geodata
| x | y | coords
0 | 2616967.7206 | 1268858.2637
1 | 2616998.4933 | 1268843.4981
2 | 2616983.3269 | 1268866.214
3 | 2616862.0874 | 1269302.7008
4 | 2616869.3199 | 1269307.0005
5 | 2616799.7405 | 1269286.6774
6 | 2616891.9008 | 1269320.1376
7 | 2616803.4167 | 1269272.8345
8 | 2616876.3457 | 1269392.1586
9 | 2616826.0528 | 1269233.7145
10 | 2616827.3453 | 1269232.0854
11 | 2616811.0461 | 1269256.8299
12 | 2616847.3307 | 1269208.9519
13 | 2616852.0455 | 1269204.3112
14 | 2616924.8273 | 1269414.6572
15 | 2616864.9021 | 1269183.9186
16 | 2617005.3331 | 1268895.1862
17 | 2617001.0036 | 1268888.9733
18 | 2617010.1396 | 1268902.0836
19 | 2616990.6116 | 1268874.3188
20 | 2617020.9463 | 1268917.5915
21 | 2617020.8639 | 1268930.9859
22 | 2617020.7399 | 1268950.1473
23 | 2617043.4402 | 1268942.2368
24 | 2617044.8606 | 1268943.5564
25 | 2616978.3362 | 1268958.6984
26 | 2617021.0017 | 1268964.371
27 | 2616811.3839 | 1269114.751
28 | 2616825.0118 | 1269094.1101
29 | 2616860.2811 | 1269045.99
30 | 2616888.8065 | 1269027.6026
31 | 2616908.4632 | 1269010.9468
32 | 2616857.6588 | 1269062.0642
33 | 2616907.8001 | 1269027.9261
34 | 2616921.3372 | 1268963.7613
35 | 2616838.5777 | 1269085.5148
36 | 2616821.1208 | 1269108.4375
37 | 2616964.2525 | 1268913.953
38 | 2616969.563 | 1268934.8565
39 | 2617006.1829 | 1268844.1306
40 | 2616948.5607 | 1268929.0872
41 | 2616970.3958 | 1268937.119
42 | 2617010.9436 | 1268847.5119
43 | 2617000.6425 | 1268839.1464
44 | 2616947.3524 | 1268928.7553
45 | 2616973.1079 | 1268944.4867
46 | 2617016.1095 | 1268851.1811
47 | 2616988.0575 | 1268827.825
48 | 2617192.8638 | 1268966.5865
49 | 2617190.568 | 1268964.2473
50 | 2617192.907 | 1268966.6305
51 | 2617185.9207 | 1268959.5121
52 | 2617198.835 | 1268975.446
53 | 2617183.3052 | 1268956.8471
54 | 2617207.0834 | 1268991.1031
55 | 2617161.7101 | 1268937.6341
56 | 2617210.0256 | 1268989.6645
57 | 2617194.7031 | 1268994.4807
58 | 2617156.8137 | 1268934.1943
59 | 2617220.3591 | 1268984.6119
60 | 2617192.8943 | 1269004.4491
61 | 2617180.6101 | 1268995.9292
62 | 2616869.04 | 1269176.4019
63 | 2616879.1668 | 1269150.8303
64 | 2616888.4919 | 1269126.1116
65 | 2617137.6443 | 1268948.0636
66 | 2617140.9568 | 1268940.8333
67 | 2617136.7973 | 1268949.9122
68 | 2617145.4497 | 1268931.0265
69 | 2617134.1773 | 1268954.3038
70 | 2617149.0907 | 1268928.7687
71 | 2617124.576 | 1268963.2057
72 | 2617106.9561 | 1268934.8391
73 | 2617092.2273 | 1268941.4468
74 | 2617153.498 | 1268927.3201
75 | 2617133.9834 | 1268926.3231
76 | 2617111.6942 | 1268975.149
77 | 2617093.6081 | 1268925.6151
78 | 2617160.3579 | 1268925.0653
79 | 2617122.5569 | 1268923.4089
80 | 2617110.184 | 1268982.1941
81 | 2616899.5811 | 1269096.7167
82 | 2616903.3485 | 1269086.7303
83 | 2616920.1972 | 1269088.5168
84 | 2616905.9449 | 1269059.0336
85 | 2616922.1115 | 1269088.7197
86 | 2616907.0426 | 1269047.3241
87 | 2616947.3163 | 1269091.3921
88 | 2616928.8723 | 1269045.5208
89 | 2616962.9321 | 1269091.8138
90 | 2616938.9153 | 1269044.6911
91 | 2617232.8103 | 1268976.0317
92 | 2617234.6969 | 1268974.562
93 | 2617235.1124 | 1268974.2383
94 | 2617240.6669 | 1268969.9112
95 | 2617252.8565 | 1268959.7894
96 | 2617256.5832 | 1268956.667
97 | 2616989.4755 | 1269083.1898
98 | 2616994.0334 | 1269081.7985
99 | 2616981.8117 | 1269085.8903
100 | 2617011.9049 | 1269077.7888
101 | 2616966.8225 | 1269091.5288
102 | 2617017.0119 | 1269077.1468
103 | 2617047.1898 | 1269076.6462
104 | 2617062.7549 | 1269076.6131
105 | 2617273.4184 | 1268942.0102
106 | 2617271.2427 | 1268984.2841
107 | 2617306.435 | 1269020.8578
108 | 2617285.3082 | 1269069.0302
109 | 2617021.3384 | 1268982.7943
110 | 2617091.6139 | 1268906.2757
111 | 2617035.5397 | 1268993.7829
112 | 2617158.863 | 1268994.8854
113 | 2617152.2758 | 1268994.2846
114 | 2617188.6357 | 1269021.2709
115 | 2617095.0999 | 1268999.4406
116 | 2617115.7553 | 1269037.9432
117 | 2617188.7011 | 1269021.3652
118 | 2617074.6737 | 1268995.7235
119 | 2617067.4122 | 1269031.0917
120 | 2617126.9548 | 1269074.3445
121 | 2617198.7451 | 1269034.9603
122 | 2617063.1421 | 1269041.456
123 | 2617063.1321 | 1269099.5756
124 | 2617063.1993 | 1269103.6694
125 | 2616990.1777 | 1269040.4565
126 | 2616983.8811 | 1269040.9766
127 | 2617077.9935 | 1269131.4756
128 | 2616973.8249 | 1269041.8073
129 | 2617208.8037 | 1268906.5465
130 | 2617201.9507 | 1268909.6372
131 | 2617208.9143 | 1268906.4966
132 | 2617201.9357 | 1268909.644
133 | 2617215.5488 | 1268903.5044
134 | 2617201.3837 | 1268909.893
135 | 2617222.9214 | 1268900.1792
136 | 2617189.259 | 1268915.3613
137 | 2617252.2937 | 1268884.7768
138 | 2617184.3809 | 1268917.1693
139 | 2616978.304 | 1269376.4594
140 | 2616960.0936 | 1269359.1853
141 | 2616944.6939 | 1269385.002
142 | 2617212.5602 | 1269051.9847
143 | 2617093.214 | 1268907.2735
144 | 2617083.761 | 1268900.1894
145 | 2617107.6969 | 1268916.3047
146 | 2617083.4757 | 1268899.9683
147 | 2617076.1741 | 1268894.3093
148 | 2617072.0793 | 1268891.1356
149 | 2617068.9772 | 1268888.7314
150 | 2617055.3705 | 1268879.067
151 | 2617062.3629 | 1268864.5077
152 | 2617039.0507 | 1268867.4755
153 | 2617031.6574 | 1268862.2243
154 | 2617029.757 | 1268860.8745
155 | 2616967.5374 | 1269042.3267
156 | 2616902.8553 | 1268958.9274
157 | 2616913.2231 | 1268943.4648
158 | 2616899.1299 | 1268973.0718
159 | 2616957.4838 | 1269043.1572
160 | 2616951.2685 | 1269043.6707
161 | 2616945.1295 | 1269044.1778
162 | 2616942.3778 | 1269044.4051
163 | 2617095.0999 | 1268999.4406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1