## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2702-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2702-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2702-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2702-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2702-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2702-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2702-3_0_2_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_2702-3_0_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_2702-3_0_2_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2702-3_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_2702-3_0_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_2702-3_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2702-3_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2702-3_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2702-3_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2702-3_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2702-3_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2702-3_0_2_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_2702-3_0_2_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2702-3_0_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_2702-3_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2702-3_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2702-3_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2702-3_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2702-3_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2702-3_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2702-3_0_2_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_2702-3_0_2_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_2702-3_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2702-3_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2702-3_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2702-3_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2702-3_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2702-3_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2702-3_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2702-3_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2702-3_0_2_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_2702-3_0_2_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_2702-3_0_2_node_115 | 0.4 | n |  | TRUE
39 | bus_LV_2702-3_0_2_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_2702-3_0_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_2702-3_0_2_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_2702-3_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_2702-3_0_2_node_102 | 0.4 | n |  | TRUE
44 | bus_LV_2702-3_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2702-3_0_2_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2702-3_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2702-3_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2702-3_0_2_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_2702-3_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2702-3_0_2_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2702-3_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2702-3_0_2_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2702-3_0_2_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_2702-3_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_2702-3_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2702-3_0_2_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_2702-3_0_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2702-3_0_2_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_2702-3_0_2_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_2702-3_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2702-3_0_2_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_2702-3_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_2702-3_0_2_node_119 | 0.4 | n |  | TRUE
64 | bus_LV_2702-3_0_2_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_2702-3_0_2_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_2702-3_0_2_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_2702-3_0_2_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_2702-3_0_2_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_2702-3_0_2_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_2702-3_0_2_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_2702-3_0_2_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2702-3_0_2_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_2702-3_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2702-3_0_2_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_2702-3_0_2_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_2702-3_0_2_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_2702-3_0_2_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_2702-3_0_2_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_2702-3_0_2_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_2702-3_0_2_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_2702-3_0_2_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_2702-3_0_2_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_2702-3_0_2_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_2702-3_0_2_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_2702-3_0_2_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_2702-3_0_2_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_2702-3_0_2_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2702-3_0_2_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_2702-3_0_2_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_2702-3_0_2_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_2702-3_0_2_node_66 | 0.4 | n |  | TRUE
92 | bus_LV_2702-3_0_2_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_2702-3_0_2_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_2702-3_0_2_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_2702-3_0_2_node_116 | 0.4 | n |  | TRUE
96 | bus_LV_2702-3_0_2_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_2702-3_0_2_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_2702-3_0_2_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_2702-3_0_2_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_2702-3_0_2_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_2702-3_0_2_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_2702-3_0_2_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_2702-3_0_2_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_2702-3_0_2_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_2702-3_0_2_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_2702-3_0_2_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_2702-3_0_2_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_2702-3_0_2_node_96 | 0.4 | n |  | TRUE
109 | bus_LV_2702-3_0_2_node_97 | 0.4 | n |  | TRUE
110 | bus_LV_2702-3_0_2_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_2702-3_0_2_node_109 | 0.4 | n |  | TRUE
112 | bus_LV_2702-3_0_2_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_2702-3_0_2_node_118 | 0.4 | n |  | TRUE
114 | bus_MV_347_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2702-3_0_2_load_0 | 0 | 0.0014987 | 0.0003756 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2702-3_0_2_load_1 | 1 | 0.0012097 | 0.00030317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2702-3_0_2_load_3 | 3 | 0.0012057 | 0.00030218 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2702-3_0_2_load_4 | 4 | 0.0014966 | 0.00037509 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2702-3_0_2_load_5 | 5 | 0.0021422 | 0.0005369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2702-3_0_2_load_29 | 7 | 0.001159 | 0.00029047 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2702-3_0_2_load_37 | 8 | 0.0012524 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2702-3_0_2_load_54 | 9 | 0.0014907 | 0.00037361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2702-3_0_2_load_30 | 10 | 0.0021758 | 0.0005453 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2702-3_0_2_load_6 | 11 | 0.0016474 | 0.00041288 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2702-3_0_2_load_7 | 12 | 0.0016374 | 0.00041037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2702-3_0_2_load_8 | 13 | 0.0029686 | 0.00074399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2702-3_0_2_load_9 | 14 | 0.0038451 | 0.00096368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2702-3_0_2_load_10 | 15 | 0.0030968 | 0.00077613 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2702-3_0_2_load_17 | 16 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2702-3_0_2_load_52 | 17 | 0.0030869 | 0.00077365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2702-3_0_2_load_26 | 18 | 0.0016495 | 0.0004134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2702-3_0_2_load_11 | 20 | 0.001199 | 0.0003005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2702-3_0_2_load_12 | 21 | 0.0012292 | 0.00030806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2702-3_0_2_load_15 | 24 | 0.0013557 | 0.00033977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2702-3_0_2_load_16 | 25 | 0.0022214 | 0.00055673 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2702-3_0_2_load_114 | 26 | 0.00096253 | 0.00024123 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2702-3_0_2_load_113 | 27 | 0.00091358 | 0.00022896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2702-3_0_2_load_25 | 28 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2702-3_0_2_load_18 | 29 | 0.0017288 | 0.00043329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2702-3_0_2_load_21 | 32 | 0.0014995 | 0.00037581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2702-3_0_2_load_22 | 33 | 0.0015232 | 0.00038174 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2702-3_0_2_load_23 | 34 | 0.0025525 | 0.00063972 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2702-3_0_2_load_24 | 35 | 0.0022805 | 0.00057154 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2702-3_0_2_load_75 | 36 | 0.0017759 | 0.00044507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2702-3_0_2_load_111 | 37 | 0.0018845 | 0.0004723 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2702-3_0_2_load_115 | 38 | 0.00081422 | 0.00020406 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2702-3_0_2_load_103 | 39 | 0.00034285 | 8.5927e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2702-3_0_2_load_112 | 41 | 0.0013717 | 0.00034379 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2702-3_0_2_load_74 | 42 | 0.0018152 | 0.00045492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2702-3_0_2_load_102 | 43 | 0.0012419 | 0.00031126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2702-3_0_2_load_27 | 44 | 0.0016501 | 0.00041355 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2702-3_0_2_load_28 | 45 | 0.0022526 | 0.00056455 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2702-3_0_2_load_38 | 46 | 0.0016491 | 0.00041331 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2702-3_0_2_load_39 | 47 | 0.0016513 | 0.00041386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2702-3_0_2_load_69 | 48 | 0.0011571 | 0.00028999 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2702-3_0_2_load_31 | 50 | 0.0012158 | 0.00030472 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2702-3_0_2_load_32 | 51 | 0.0012131 | 0.00030404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2702-3_0_2_load_33 | 52 | 0.0015431 | 0.00038673 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2702-3_0_2_load_42 | 54 | 0.0008988 | 0.00022526 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2702-3_0_2_load_53 | 55 | 0.0043732 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2702-3_0_2_load_100 | 56 | 0.00089683 | 0.00022477 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2702-3_0_2_load_89 | 59 | 0.0016438 | 0.00041198 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2702-3_0_2_load_108 | 61 | 0.00082932 | 0.00020785 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2702-3_0_2_load_119 | 63 | 0.0021926 | 0.00054951 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2702-3_0_2_load_99 | 65 | 0.0011574 | 0.00029008 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2702-3_0_2_load_82 | 66 | 0.0011259 | 0.00028217 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2702-3_0_2_load_79 | 68 | 0.0011594 | 0.00029056 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2702-3_0_2_load_47 | 71 | 0.0012872 | 0.00032261 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2702-3_0_2_load_40 | 72 | 0.0013415 | 0.0003362 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2702-3_0_2_load_59 | 73 | 0.0037263 | 0.00093389 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2702-3_0_2_load_91 | 74 | 0.004522 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2702-3_0_2_load_51 | 75 | 0.0011937 | 0.00029916 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2702-3_0_2_load_43 | 76 | 0.0010751 | 0.00026946 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2702-3_0_2_load_44 | 77 | 0.00083666 | 0.00020969 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2702-3_0_2_load_45 | 78 | 0.00078596 | 0.00019698 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2702-3_0_2_load_46 | 79 | 0.0011678 | 0.00029267 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2702-3_0_2_load_49 | 80 | 0.0010954 | 0.00027454 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2702-3_0_2_load_48 | 81 | 0.00095974 | 0.00024053 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2702-3_0_2_load_50 | 82 | 0.0014015 | 0.00035125 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2702-3_0_2_load_92 | 83 | 0.0019062 | 0.00047773 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2702-3_0_2_load_55 | 84 | 0.0012241 | 0.00030679 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2702-3_0_2_load_60 | 85 | 0.0020353 | 0.00051009 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2702-3_0_2_load_61 | 86 | 0.0027936 | 0.00070015 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2702-3_0_2_load_88 | 87 | 0.0025456 | 0.00063799 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2702-3_0_2_load_63 | 88 | 0.0017333 | 0.00043442 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2702-3_0_2_load_64 | 89 | 0.0011032 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2702-3_0_2_load_66 | 91 | 0.0018034 | 0.00045199 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2702-3_0_2_load_67 | 92 | 0.0017165 | 0.0004302 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2702-3_0_2_load_68 | 93 | 0.0010664 | 0.00026726 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2702-3_0_2_load_116 | 95 | 0.001087 | 0.00027242 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2702-3_0_2_load_107 | 96 | 0.0016663 | 0.00041761 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2702-3_0_2_load_104 | 97 | 0.0016667 | 0.00041771 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2702-3_0_2_load_80 | 98 | 0.0010014 | 0.00025097 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2702-3_0_2_load_72 | 99 | 0.0013198 | 0.00033077 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2702-3_0_2_load_73 | 100 | 0.00081507 | 0.00020428 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2702-3_0_2_load_77 | 101 | 0.0017259 | 0.00043254 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2702-3_0_2_load_81 | 102 | 0.00091073 | 0.00022825 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2702-3_0_2_load_106 | 103 | 0.0011869 | 0.00029746 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2702-3_0_2_load_90 | 104 | 0.0034532 | 0.00086546 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2702-3_0_2_load_93 | 105 | 0.0019795 | 0.0004961 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2702-3_0_2_load_94 | 106 | 0.0020017 | 0.00050166 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2702-3_0_2_load_95 | 107 | 0.0011255 | 0.00028207 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2702-3_0_2_load_96 | 108 | 0.0010782 | 0.00027021 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2702-3_0_2_load_97 | 109 | 0.001649 | 0.00041328 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2702-3_0_2_load_101 | 110 | 0.0010585 | 0.00026528 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2702-3_0_2_load_109 | 111 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2702-3_0_2_load_117 | 112 | 0.0016091 | 0.00040329 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2702-3_0_2_load_118 | 113 | 0.00108 | 0.00027067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2702-3_0_2_line_0 |  | 0 | 1 | 0.016567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2702-3_0_2_line_1 |  | 0 | 2 | 0.0086144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2702-3_0_2_line_2 |  | 1 | 3 | 0.0069328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2702-3_0_2_line_3 |  | 2 | 4 | 0.0025528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2702-3_0_2_line_4 |  | 2 | 5 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2702-3_0_2_line_5 |  | 3 | 6 | 0.0024116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2702-3_0_2_line_6 |  | 4 | 7 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2702-3_0_2_line_7 |  | 6 | 8 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2702-3_0_2_line_8 |  | 6 | 9 | 0.013605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2702-3_0_2_line_9 |  | 7 | 10 | 0.0010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2702-3_0_2_line_10 |  | 8 | 23 | 0.013008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2702-3_0_2_line_11 |  | 9 | 84 | 0.0045547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2702-3_0_2_line_12 |  | 10 | 48 | 0.0046927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2702-3_0_2_line_13 |  | 11 | 12 | 0.0083803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2702-3_0_2_line_14 |  | 11 | 13 | 0.0044251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2702-3_0_2_line_15 |  | 12 | 14 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2702-3_0_2_line_16 |  | 13 | 15 | 0.0060526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2702-3_0_2_line_17 |  | 14 | 16 | 0.0016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2702-3_0_2_line_18 |  | 15 | 17 | 0.0083963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2702-3_0_2_line_19 |  | 16 | 18 | 0.0084043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2702-3_0_2_line_20 |  | 17 | 19 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2702-3_0_2_line_21 |  | 18 | 28 | 0.010483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2702-3_0_2_line_22 |  | 19 | 55 | 0.008593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2702-3_0_2_line_23 |  | 19 | 53 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2702-3_0_2_line_24 |  | 20 | 21 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2702-3_0_2_line_25 |  | 20 | 22 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2702-3_0_2_line_26 |  | 21 | 23 | 0.019259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2702-3_0_2_line_27 |  | 22 | 24 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2702-3_0_2_line_28 |  | 22 | 25 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2702-3_0_2_line_29 |  | 24 | 26 | 0.0070625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2702-3_0_2_line_30 |  | 26 | 27 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2702-3_0_2_line_31 |  | 27 | 102 | 0.006859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2702-3_0_2_line_32 |  | 28 | 44 | 0.0084127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2702-3_0_2_line_33 |  | 29 | 30 | 0.02495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2702-3_0_2_line_34 |  | 29 | 31 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2702-3_0_2_line_35 |  | 30 | 32 | 0.096927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2702-3_0_2_line_36 |  | 30 | 33 | 0.0030474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2702-3_0_2_line_37 |  | 31 | 34 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2702-3_0_2_line_38 |  | 31 | 35 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2702-3_0_2_line_39 |  | 32 | 36 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2702-3_0_2_line_40 |  | 33 | 37 | 0.0079913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2702-3_0_2_line_41 |  | 34 | 38 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2702-3_0_2_line_42 |  | 35 | 39 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2702-3_0_2_line_43 |  | 36 | 40 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2702-3_0_2_line_44 |  | 37 | 41 | 0.008537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2702-3_0_2_line_45 |  | 38 | 42 | 0.0019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2702-3_0_2_line_46 |  | 39 | 43 | 0.0071476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2702-3_0_2_line_47 |  | 40 | 101 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2702-3_0_2_line_48 |  | 41 | 96 | 0.0093941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2702-3_0_2_line_49 |  | 42 | 100 | 0.0078051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2702-3_0_2_line_50 |  | 43 | 110 | 0.0087741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2702-3_0_2_line_51 |  | 44 | 45 | 6.6153e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2702-3_0_2_line_52 |  | 45 | 46 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2702-3_0_2_line_53 |  | 46 | 47 | 0.0084206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2702-3_0_2_line_54 |  | 47 | 72 | 0.0035215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2702-3_0_2_line_55 |  | 48 | 49 | 0.010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2702-3_0_2_line_56 |  | 49 | 62 | 0.053644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2702-3_0_2_line_57 |  | 50 | 51 | 3.0886e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2702-3_0_2_line_58 |  | 50 | 52 | 0.00035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2702-3_0_2_line_59 |  | 51 | 53 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2702-3_0_2_line_60 |  | 53 | 54 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2702-3_0_2_line_61 |  | 54 | 56 | 0.0066607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2702-3_0_2_line_62 |  | 55 | 74 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2702-3_0_2_line_63 |  | 56 | 75 | 0.0067567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2702-3_0_2_line_64 |  | 57 | 58 | 0.004569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2702-3_0_2_line_65 |  | 57 | 59 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2702-3_0_2_line_66 |  | 57 | 60 | 0.045116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2702-3_0_2_line_67 |  | 58 | 61 | 0.0343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2702-3_0_2_line_68 |  | 59 | 87 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2702-3_0_2_line_69 |  | 60 | 73 | 0.016487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2702-3_0_2_line_70 |  | 60 | 72 | 0.0076805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2702-3_0_2_line_71 |  | 62 | 63 | 0.064327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2702-3_0_2_line_72 |  | 64 | 65 | 0.026089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2702-3_0_2_line_73 |  | 64 | 66 | 0.00016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2702-3_0_2_line_74 |  | 65 | 69 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2702-3_0_2_line_75 |  | 66 | 67 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2702-3_0_2_line_76 |  | 67 | 68 | 0.015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2702-3_0_2_line_77 |  | 68 | 98 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2702-3_0_2_line_78 |  | 69 | 70 | 0.004483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2702-3_0_2_line_79 |  | 69 | 71 | 0.028613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2702-3_0_2_line_80 |  | 70 | 103 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2702-3_0_2_line_81 |  | 70 | 97 | 0.047497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2702-3_0_2_line_82 |  | 71 | 78 | 0.019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2702-3_0_2_line_83 |  | 73 | 85 | 0.0056014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2702-3_0_2_line_84 |  | 74 | 83 | 0.019954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2702-3_0_2_line_85 |  | 75 | 82 | 0.0099629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2702-3_0_2_line_86 |  | 76 | 77 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2702-3_0_2_line_87 |  | 76 | 78 | 0.0092159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2702-3_0_2_line_88 |  | 77 | 79 | 0.0044257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2702-3_0_2_line_89 |  | 79 | 80 | 0.0045462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2702-3_0_2_line_90 |  | 80 | 81 | 0.0033447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2702-3_0_2_line_91 |  | 81 | 82 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2702-3_0_2_line_92 |  | 85 | 86 | 0.015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2702-3_0_2_line_93 |  | 87 | 104 | 0.020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2702-3_0_2_line_94 |  | 88 | 89 | 0.00842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2702-3_0_2_line_95 |  | 88 | 90 | 0.0070611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2702-3_0_2_line_96 |  | 89 | 91 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2702-3_0_2_line_97 |  | 90 | 92 | 0.004276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2702-3_0_2_line_98 |  | 90 | 93 | 0.001883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2702-3_0_2_line_99 |  | 91 | 94 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2702-3_0_2_line_100 |  | 92 | 95 | 0.0027929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2702-3_0_2_line_101 |  | 94 | 96 | 0.015569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2702-3_0_2_line_102 |  | 94 | 97 | 0.0015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2702-3_0_2_line_103 |  | 98 | 102 | 0.0025158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2702-3_0_2_line_104 |  | 99 | 100 | 0.028849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2702-3_0_2_line_105 |  | 103 | 112 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2702-3_0_2_line_106 |  | 105 | 106 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2702-3_0_2_line_107 |  | 105 | 107 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2702-3_0_2_line_108 |  | 106 | 108 | 0.0060644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2702-3_0_2_line_109 |  | 107 | 109 | 0.0076125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2702-3_0_2_line_110 |  | 108 | 110 | 0.022586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2702-3_0_2_line_111 |  | 109 | 111 | 0.029736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2702-3_0_2_line_112 |  | 112 | 113 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2702-3_0_2_trafo_45 | 0.63 MVA 20/0.4 kV | 114 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2617659.0334 | 1268730.8726 | 2617648.9913 | 1268717.6965
1 | 2617664.2551 | 1268737.724 | 2617659.0334 | 1268730.8726
2 | 2617644.7889 | 1268712.1825 | 2617648.9913 | 1268717.6965
3 | 2617664.2551 | 1268737.724 | 2617665.7493 | 1268739.7939
4 | 2617664.2551 | 1268737.724 | 2617674.3186 | 1268730.0431
5 | 2617643.3271 | 1268710.2645 | 2617644.7889 | 1268712.1825
6 | 2617675.6471 | 1268753.5055 | 2617665.7493 | 1268739.7939
7 | 2617643.3271 | 1268710.2645 | 2617649.3922 | 1268710.2826 | 2617655.7375 | 1268705.4934
8 | 2617643.3271 | 1268710.2645 | 2617637.7465 | 1268706.7454 | 2617633.7455 | 1268700.9918
9 | 2617675.6471 | 1268753.5055 | 2617676.277 | 1268754.378
10 | 2617666.1204 | 1268697.6568 | 2617655.7375 | 1268705.4934
11 | 2617631.1452 | 1268697.2524 | 2617633.7455 | 1268700.9918
12 | 2617679.0236 | 1268758.183 | 2617676.277 | 1268754.378
13 | 2617367.78 | 1268794.6608 | 2617361.1764 | 1268799.8203
14 | 2617367.78 | 1268794.6608 | 2617371.267 | 1268791.9363
15 | 2617361.1764 | 1268799.8203 | 2617352.1493 | 1268806.8734 | 2617351.0228 | 1268807.8294
16 | 2617376.0364 | 1268788.2099 | 2617371.267 | 1268791.9363
17 | 2617349.7379 | 1268808.9198 | 2617351.0228 | 1268807.8294
18 | 2617382.6526 | 1268783.0405 | 2617376.0364 | 1268788.2099
19 | 2617349.7379 | 1268808.9198 | 2617343.3301 | 1268814.3578
20 | 2617390.9539 | 1268776.5545 | 2617382.6526 | 1268783.0405
21 | 2617335.3371 | 1268821.1412 | 2617343.3301 | 1268814.3578
22 | 2617390.9539 | 1268776.5545 | 2617394.3708 | 1268768.6701 | 2617394.3708 | 1268768.6701
23 | 2617402.7718 | 1268767.594 | 2617390.9539 | 1268776.5545
24 | 2617654.8377 | 1268682.0483 | 2617645.0192 | 1268668.4653
25 | 2617635.754 | 1268655.6478 | 2617645.0192 | 1268668.4653
26 | 2617666.1204 | 1268697.6568 | 2617654.8377 | 1268682.0483
27 | 2617635.754 | 1268655.6478 | 2617626.1189 | 1268658.6652
28 | 2617635.754 | 1268655.6478 | 2617646.4341 | 1268651.8897
29 | 2617626.1189 | 1268658.6652 | 2617619.3792 | 1268660.7759
30 | 2617607.3096 | 1268664.5557 | 2617619.3792 | 1268660.7759
31 | 2617607.3096 | 1268664.5557 | 2617600.7641 | 1268666.6056
32 | 2617328.9229 | 1268826.5847 | 2617335.3371 | 1268821.1412
33 | 2617543.7573 | 1268575.1402 | 2617557.5444 | 1268554.346
34 | 2617571.1134 | 1268533.8809 | 2617557.5444 | 1268554.346
35 | 2617543.7573 | 1268575.1402 | 2617527.977 | 1268534.4314 | 2617527.592 | 1268527.1918 | 2617528.2802 | 1268520.9672 | 2617537.9136 | 1268482.3974
36 | 2617543.7573 | 1268575.1402 | 2617542.0872 | 1268577.6892
37 | 2617571.1134 | 1268533.8809 | 2617577.1113 | 1268548.0856
38 | 2617571.1134 | 1268533.8809 | 2617578.1336 | 1268520.4941
39 | 2617538.7243 | 1268461.7837 | 2617537.9291 | 1268482.3352 | 2617537.9136 | 1268482.3974
40 | 2617542.0872 | 1268577.6892 | 2617537.7076 | 1268584.3735
41 | 2617577.1113 | 1268548.0856 | 2617585.2087 | 1268567.2622
42 | 2617590.0623 | 1268497.7475 | 2617578.1336 | 1268520.4941
43 | 2617539.7626 | 1268434.9516 | 2617538.7243 | 1268461.7837
44 | 2617537.7076 | 1268584.3735 | 2617533.029 | 1268591.5142
45 | 2617585.9585 | 1268569.0379 | 2617585.2087 | 1268567.2622
46 | 2617593.3818 | 1268491.4175 | 2617590.0623 | 1268497.7475
47 | 2617539.7626 | 1268434.9516 | 2617553.1617 | 1268422.1752
48 | 2617527.8806 | 1268599.3719 | 2617533.029 | 1268591.5142
49 | 2617585.9585 | 1268569.0379 | 2617588.9946 | 1268576.2282
50 | 2617597.4567 | 1268483.647 | 2617593.3818 | 1268491.4175
51 | 2617328.8724 | 1268826.6275 | 2617328.9229 | 1268826.5847
52 | 2617320.9285 | 1268833.3692 | 2617328.8724 | 1268826.6275
53 | 2617320.9285 | 1268833.3692 | 2617314.5083 | 1268838.8178
54 | 2617314.5083 | 1268838.8178 | 2617311.8233 | 1268841.0964
55 | 2617685.2008 | 1268766.7403 | 2617679.0236 | 1268758.183
56 | 2617646.3297 | 1268803.695 | 2617658.7529 | 1268791.2232 | 2617685.2008 | 1268766.7403
57 | 2617411.7113 | 1268779.8658 | 2617411.6931 | 1268779.8409
58 | 2617411.919 | 1268780.1511 | 2617411.7113 | 1268779.8658
59 | 2617402.7718 | 1268767.594 | 2617411.6931 | 1268779.8409
60 | 2617402.7718 | 1268767.594 | 2617425.587 | 1268750.3168
61 | 2617425.587 | 1268750.3168 | 2617430.897 | 1268746.2957
62 | 2617408.3916 | 1268752.0787 | 2617394.3708 | 1268768.6701
63 | 2617430.897 | 1268746.2957 | 2617434.6131 | 1268743.4816 | 2617435.926 | 1268741.8486
64 | 2617326.2043 | 1268891.4684 | 2617324.3429 | 1268887.2934
65 | 2617324.3429 | 1268887.2934 | 2617316.246 | 1268895.0863
66 | 2617305.9673 | 1268846.0661 | 2617324.3429 | 1268887.2934
67 | 2617326.2043 | 1268891.4684 | 2617301.3199 | 1268915.0753
68 | 2617305.9382 | 1268905.5246 | 2617316.246 | 1268895.0863 | 2617316.246 | 1268895.0863
69 | 2617305.9673 | 1268846.0661 | 2617292.9494 | 1268856.1831
70 | 2617305.9673 | 1268846.0661 | 2617311.8233 | 1268841.0964
71 | 2617604.5849 | 1268756.9712 | 2617610.563 | 1268768.5305 | 2617616.0983 | 1268779.6993 | 2617629.1736 | 1268793.3367 | 2617646.3297 | 1268803.695
72 | 2617549.6686 | 1268672.8489 | 2617524.819 | 1268664.9038
73 | 2617549.6686 | 1268672.8489 | 2617549.8288 | 1268672.9001
74 | 2617507.8704 | 1268663.9857 | 2617515.26 | 1268664.0187 | 2617524.2203 | 1268664.7123 | 2617524.819 | 1268664.9038
75 | 2617565.0954 | 1268677.7759 | 2617549.8288 | 1268672.9001
76 | 2617565.0954 | 1268677.7759 | 2617579.7502 | 1268673.1865
77 | 2617579.7502 | 1268673.1865 | 2617598.3632 | 1268667.3574
78 | 2617507.8704 | 1268663.9857 | 2617508.2298 | 1268659.517
79 | 2617507.8704 | 1268663.9857 | 2617497.902 | 1268670.8501 | 2617486.7134 | 1268682.9899
80 | 2617508.2298 | 1268659.517 | 2617501.4958 | 1268656.6618 | 2617496.9897 | 1268651.9683
81 | 2617508.2298 | 1268659.517 | 2617508.4093 | 1268657.3382 | 2617509.7982 | 1268640.6194 | 2617510.6475 | 1268633.3278 | 2617514.9067 | 1268620.6092 | 2617518.6071 | 1268613.7652
82 | 2617486.7134 | 1268682.9899 | 2617473.5689 | 1268697.252
83 | 2617292.9494 | 1268856.1831 | 2617288.5265 | 1268859.6204
84 | 2617408.3916 | 1268752.0787 | 2617412.8637 | 1268746.7867 | 2617416.381 | 1268740.6149 | 2617415.4726 | 1268734.7636
85 | 2617442.1687 | 1268734.084 | 2617435.926 | 1268741.8486
86 | 2617467.3232 | 1268704.0287 | 2617459.5671 | 1268712.4442 | 2617456.8067 | 1268715.8775
87 | 2617467.3232 | 1268704.0287 | 2617473.5689 | 1268697.252
88 | 2617456.8067 | 1268715.8775 | 2617454.0336 | 1268719.3267
89 | 2617451.1849 | 1268722.8698 | 2617454.0336 | 1268719.3267
90 | 2617449.0892 | 1268725.4765 | 2617451.1849 | 1268722.8698
91 | 2617449.0892 | 1268725.4765 | 2617442.1687 | 1268734.084
92 | 2617288.5265 | 1268859.6204 | 2617275.9159 | 1268869.4208
93 | 2617291.8311 | 1268919.8103 | 2617305.9382 | 1268905.5246
94 | 2617556.6271 | 1268622.8008 | 2617548.2071 | 1268622.8133
95 | 2617558.4054 | 1268629.6332 | 2617557.4388 | 1268625.6719 | 2617556.6271 | 1268622.8008
96 | 2617534.2893 | 1268621.4431 | 2617536.5801 | 1268622.8304 | 2617548.2071 | 1268622.8133
97 | 2617558.4054 | 1268629.6332 | 2617559.3412 | 1268633.8055
98 | 2617556.5167 | 1268629.5942 | 2617558.4054 | 1268629.6332
99 | 2617519.3483 | 1268612.3943 | 2617534.2893 | 1268621.4431
100 | 2617556.5491 | 1268633.8751 | 2617559.3412 | 1268633.8055
101 | 2617519.3483 | 1268612.3943 | 2617527.8806 | 1268599.3719
102 | 2617519.3483 | 1268612.3943 | 2617518.6071 | 1268613.7652
103 | 2617598.3632 | 1268667.3574 | 2617600.7641 | 1268666.6056
104 | 2617600.2167 | 1268602.8049 | 2617588.9946 | 1268576.2282
105 | 2617487.2792 | 1268641.854 | 2617496.9897 | 1268651.9683
106 | 2617617.5834 | 1268445.2677 | 2617610.763 | 1268458.2735
107 | 2617617.5834 | 1268445.2677 | 2617621.1466 | 1268438.4732 | 2617623.3387 | 1268435.5853
108 | 2617610.763 | 1268458.2735 | 2617607.9465 | 1268463.6442
109 | 2617627.9412 | 1268429.5218 | 2617623.3387 | 1268435.5853
110 | 2617597.4567 | 1268483.647 | 2617607.9465 | 1268463.6442
111 | 2617627.9412 | 1268429.5218 | 2617645.9197 | 1268405.8367
112 | 2617478.2544 | 1268632.4539 | 2617487.2792 | 1268641.854

## bus_geodata
| x | y | coords
0 | 2617659.0334 | 1268730.8726
1 | 2617648.9913 | 1268717.6965
2 | 2617664.2551 | 1268737.724
3 | 2617644.7889 | 1268712.1825
4 | 2617665.7493 | 1268739.7939
5 | 2617674.3186 | 1268730.0431
6 | 2617643.3271 | 1268710.2645
7 | 2617675.6471 | 1268753.5055
8 | 2617655.7375 | 1268705.4934
9 | 2617633.7455 | 1268700.9918
10 | 2617676.277 | 1268754.378
11 | 2617367.78 | 1268794.6608
12 | 2617361.1764 | 1268799.8203
13 | 2617371.267 | 1268791.9363
14 | 2617351.0228 | 1268807.8294
15 | 2617376.0364 | 1268788.2099
16 | 2617349.7379 | 1268808.9198
17 | 2617382.6526 | 1268783.0405
18 | 2617343.3301 | 1268814.3578
19 | 2617390.9539 | 1268776.5545
20 | 2617645.0192 | 1268668.4653
21 | 2617654.8377 | 1268682.0483
22 | 2617635.754 | 1268655.6478
23 | 2617666.1204 | 1268697.6568
24 | 2617626.1189 | 1268658.6652
25 | 2617646.4341 | 1268651.8897
26 | 2617619.3792 | 1268660.7759
27 | 2617607.3096 | 1268664.5557
28 | 2617335.3371 | 1268821.1412
29 | 2617557.5444 | 1268554.346
30 | 2617543.7573 | 1268575.1402
31 | 2617571.1134 | 1268533.8809
32 | 2617537.9136 | 1268482.3974
33 | 2617542.0872 | 1268577.6892
34 | 2617577.1113 | 1268548.0856
35 | 2617578.1336 | 1268520.4941
36 | 2617538.7243 | 1268461.7837
37 | 2617537.7076 | 1268584.3735
38 | 2617585.2087 | 1268567.2622
39 | 2617590.0623 | 1268497.7475
40 | 2617539.7626 | 1268434.9516
41 | 2617533.029 | 1268591.5142
42 | 2617585.9585 | 1268569.0379
43 | 2617593.3818 | 1268491.4175
44 | 2617328.9229 | 1268826.5847
45 | 2617328.8724 | 1268826.6275
46 | 2617320.9285 | 1268833.3692
47 | 2617314.5083 | 1268838.8178
48 | 2617679.0236 | 1268758.183
49 | 2617685.2008 | 1268766.7403
50 | 2617411.7113 | 1268779.8658
51 | 2617411.6931 | 1268779.8409
52 | 2617411.919 | 1268780.1511
53 | 2617402.7718 | 1268767.594
54 | 2617425.587 | 1268750.3168
55 | 2617394.3708 | 1268768.6701
56 | 2617430.897 | 1268746.2957
57 | 2617324.3429 | 1268887.2934
58 | 2617326.2043 | 1268891.4684
59 | 2617316.246 | 1268895.0863
60 | 2617305.9673 | 1268846.0661
61 | 2617301.3199 | 1268915.0753
62 | 2617646.3297 | 1268803.695
63 | 2617604.5849 | 1268756.9712
64 | 2617549.6686 | 1268672.8489
65 | 2617524.819 | 1268664.9038
66 | 2617549.8288 | 1268672.9001
67 | 2617565.0954 | 1268677.7759
68 | 2617579.7502 | 1268673.1865
69 | 2617507.8704 | 1268663.9857
70 | 2617508.2298 | 1268659.517
71 | 2617486.7134 | 1268682.9899
72 | 2617311.8233 | 1268841.0964
73 | 2617292.9494 | 1268856.1831
74 | 2617408.3916 | 1268752.0787
75 | 2617435.926 | 1268741.8486
76 | 2617467.3232 | 1268704.0287
77 | 2617456.8067 | 1268715.8775
78 | 2617473.5689 | 1268697.252
79 | 2617454.0336 | 1268719.3267
80 | 2617451.1849 | 1268722.8698
81 | 2617449.0892 | 1268725.4765
82 | 2617442.1687 | 1268734.084
83 | 2617415.4726 | 1268734.7636
84 | 2617631.1452 | 1268697.2524
85 | 2617288.5265 | 1268859.6204
86 | 2617275.9159 | 1268869.4208
87 | 2617305.9382 | 1268905.5246
88 | 2617556.6271 | 1268622.8008
89 | 2617548.2071 | 1268622.8133
90 | 2617558.4054 | 1268629.6332
91 | 2617534.2893 | 1268621.4431
92 | 2617559.3412 | 1268633.8055
93 | 2617556.5167 | 1268629.5942
94 | 2617519.3483 | 1268612.3943
95 | 2617556.5491 | 1268633.8751
96 | 2617527.8806 | 1268599.3719
97 | 2617518.6071 | 1268613.7652
98 | 2617598.3632 | 1268667.3574
99 | 2617600.2167 | 1268602.8049
100 | 2617588.9946 | 1268576.2282
101 | 2617553.1617 | 1268422.1752
102 | 2617600.7641 | 1268666.6056
103 | 2617496.9897 | 1268651.9683
104 | 2617291.8311 | 1268919.8103
105 | 2617617.5834 | 1268445.2677
106 | 2617610.763 | 1268458.2735
107 | 2617623.3387 | 1268435.5853
108 | 2617607.9465 | 1268463.6442
109 | 2617627.9412 | 1268429.5218
110 | 2617597.4567 | 1268483.647
111 | 2617645.9197 | 1268405.8367
112 | 2617487.2792 | 1268641.854
113 | 2617478.2544 | 1268632.4539
114 | 2617507.8704 | 1268663.9857

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1