## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-11_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-11_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-11_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-11_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-11_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-11_0_7_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_2703-11_0_7_node_115 | 0.4 | n |  | TRUE
7 | bus_LV_2703-11_0_7_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_2703-11_0_7_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_2703-11_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2703-11_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2703-11_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2703-11_0_7_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2703-11_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2703-11_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2703-11_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2703-11_0_7_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_2703-11_0_7_node_103 | 0.4 | n |  | TRUE
18 | bus_LV_2703-11_0_7_node_105 | 0.4 | n |  | TRUE
19 | bus_LV_2703-11_0_7_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_2703-11_0_7_node_104 | 0.4 | n |  | TRUE
21 | bus_LV_2703-11_0_7_node_90 | 0.4 | n |  | TRUE
22 | bus_LV_2703-11_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2703-11_0_7_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2703-11_0_7_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2703-11_0_7_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2703-11_0_7_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2703-11_0_7_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2703-11_0_7_node_124 | 0.4 | n |  | TRUE
29 | bus_LV_2703-11_0_7_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2703-11_0_7_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2703-11_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2703-11_0_7_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2703-11_0_7_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_2703-11_0_7_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2703-11_0_7_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_2703-11_0_7_node_116 | 0.4 | n |  | TRUE
37 | bus_LV_2703-11_0_7_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2703-11_0_7_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2703-11_0_7_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2703-11_0_7_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2703-11_0_7_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2703-11_0_7_node_139 | 0.4 | n |  | TRUE
43 | bus_LV_2703-11_0_7_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2703-11_0_7_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2703-11_0_7_node_147 | 0.4 | n |  | TRUE
46 | bus_LV_2703-11_0_7_node_151 | 0.4 | n |  | TRUE
47 | bus_LV_2703-11_0_7_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_2703-11_0_7_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_2703-11_0_7_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2703-11_0_7_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_2703-11_0_7_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_2703-11_0_7_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_2703-11_0_7_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2703-11_0_7_node_128 | 0.4 | n |  | TRUE
55 | bus_LV_2703-11_0_7_node_145 | 0.4 | n |  | TRUE
56 | bus_LV_2703-11_0_7_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_2703-11_0_7_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_2703-11_0_7_node_154 | 0.4 | n |  | TRUE
59 | bus_LV_2703-11_0_7_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_2703-11_0_7_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2703-11_0_7_node_150 | 0.4 | n |  | TRUE
62 | bus_LV_2703-11_0_7_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_2703-11_0_7_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_2703-11_0_7_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_2703-11_0_7_node_130 | 0.4 | n |  | TRUE
66 | bus_LV_2703-11_0_7_node_126 | 0.4 | n |  | TRUE
67 | bus_LV_2703-11_0_7_node_144 | 0.4 | n |  | TRUE
68 | bus_LV_2703-11_0_7_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_2703-11_0_7_node_143 | 0.4 | n |  | TRUE
70 | bus_LV_2703-11_0_7_node_141 | 0.4 | n |  | TRUE
71 | bus_LV_2703-11_0_7_node_36 | 0.4 | n |  | TRUE
72 | bus_LV_2703-11_0_7_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_2703-11_0_7_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_2703-11_0_7_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_2703-11_0_7_node_106 | 0.4 | n |  | TRUE
76 | bus_LV_2703-11_0_7_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_2703-11_0_7_node_42 | 0.4 | n |  | TRUE
78 | bus_LV_2703-11_0_7_node_152 | 0.4 | n |  | TRUE
79 | bus_LV_2703-11_0_7_node_153 | 0.4 | n |  | TRUE
80 | bus_LV_2703-11_0_7_node_43 | 0.4 | n |  | TRUE
81 | bus_LV_2703-11_0_7_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_2703-11_0_7_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_2703-11_0_7_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_2703-11_0_7_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_2703-11_0_7_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_2703-11_0_7_node_49 | 0.4 | n |  | TRUE
87 | bus_LV_2703-11_0_7_node_50 | 0.4 | n |  | TRUE
88 | bus_LV_2703-11_0_7_node_51 | 0.4 | n |  | TRUE
89 | bus_LV_2703-11_0_7_node_52 | 0.4 | n |  | TRUE
90 | bus_LV_2703-11_0_7_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_2703-11_0_7_node_131 | 0.4 | n |  | TRUE
92 | bus_LV_2703-11_0_7_node_137 | 0.4 | n |  | TRUE
93 | bus_LV_2703-11_0_7_node_53 | 0.4 | n |  | TRUE
94 | bus_LV_2703-11_0_7_node_54 | 0.4 | n |  | TRUE
95 | bus_LV_2703-11_0_7_node_55 | 0.4 | n |  | TRUE
96 | bus_LV_2703-11_0_7_node_58 | 0.4 | n |  | TRUE
97 | bus_LV_2703-11_0_7_node_61 | 0.4 | n |  | TRUE
98 | bus_LV_2703-11_0_7_node_57 | 0.4 | n |  | TRUE
99 | bus_LV_2703-11_0_7_node_140 | 0.4 | n |  | TRUE
100 | bus_LV_2703-11_0_7_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_2703-11_0_7_node_60 | 0.4 | n |  | TRUE
102 | bus_LV_2703-11_0_7_node_62 | 0.4 | n |  | TRUE
103 | bus_LV_2703-11_0_7_node_138 | 0.4 | n |  | TRUE
104 | bus_LV_2703-11_0_7_node_156 | 0.4 | n |  | TRUE
105 | bus_LV_2703-11_0_7_node_120 | 0.4 | n |  | TRUE
106 | bus_LV_2703-11_0_7_node_63 | 0.4 | n |  | TRUE
107 | bus_LV_2703-11_0_7_node_64 | 0.4 | n |  | TRUE
108 | bus_LV_2703-11_0_7_node_155 | 0.4 | n |  | TRUE
109 | bus_LV_2703-11_0_7_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_2703-11_0_7_node_110 | 0.4 | n |  | TRUE
111 | bus_LV_2703-11_0_7_node_99 | 0.4 | n |  | TRUE
112 | bus_LV_2703-11_0_7_node_100 | 0.4 | n |  | TRUE
113 | bus_LV_2703-11_0_7_node_102 | 0.4 | n |  | TRUE
114 | bus_LV_2703-11_0_7_node_149 | 0.4 | n |  | TRUE
115 | bus_LV_2703-11_0_7_node_89 | 0.4 | n |  | TRUE
116 | bus_LV_2703-11_0_7_node_121 | 0.4 | n |  | TRUE
117 | bus_LV_2703-11_0_7_node_157 | 0.4 | n |  | TRUE
118 | bus_LV_2703-11_0_7_node_67 | 0.4 | n |  | TRUE
119 | bus_LV_2703-11_0_7_node_68 | 0.4 | n |  | TRUE
120 | bus_LV_2703-11_0_7_node_76 | 0.4 | n |  | TRUE
121 | bus_LV_2703-11_0_7_node_74 | 0.4 | n |  | TRUE
122 | bus_LV_2703-11_0_7_node_73 | 0.4 | n |  | TRUE
123 | bus_LV_2703-11_0_7_node_75 | 0.4 | n |  | TRUE
124 | bus_LV_2703-11_0_7_node_77 | 0.4 | n |  | TRUE
125 | bus_LV_2703-11_0_7_node_79 | 0.4 | n |  | TRUE
126 | bus_LV_2703-11_0_7_node_80 | 0.4 | n |  | TRUE
127 | bus_LV_2703-11_0_7_node_81 | 0.4 | n |  | TRUE
128 | bus_LV_2703-11_0_7_node_88 | 0.4 | n |  | TRUE
129 | bus_LV_2703-11_0_7_node_86 | 0.4 | n |  | TRUE
130 | bus_LV_2703-11_0_7_node_85 | 0.4 | n |  | TRUE
131 | bus_LV_2703-11_0_7_node_122 | 0.4 | n |  | TRUE
132 | bus_LV_2703-11_0_7_node_123 | 0.4 | n |  | TRUE
133 | bus_LV_2703-11_0_7_node_87 | 0.4 | n |  | TRUE
134 | bus_LV_2703-11_0_7_node_93 | 0.4 | n |  | TRUE
135 | bus_LV_2703-11_0_7_node_94 | 0.4 | n |  | TRUE
136 | bus_LV_2703-11_0_7_node_95 | 0.4 | n |  | TRUE
137 | bus_LV_2703-11_0_7_node_96 | 0.4 | n |  | TRUE
138 | bus_LV_2703-11_0_7_node_97 | 0.4 | n |  | TRUE
139 | bus_LV_2703-11_0_7_node_135 | 0.4 | n |  | TRUE
140 | bus_LV_2703-11_0_7_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_2703-11_0_7_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_2703-11_0_7_node_129 | 0.4 | n |  | TRUE
143 | bus_LV_2703-11_0_7_node_127 | 0.4 | n |  | TRUE
144 | bus_LV_2703-11_0_7_node_108 | 0.4 | n |  | TRUE
145 | bus_LV_2703-11_0_7_node_112 | 0.4 | n |  | TRUE
146 | bus_LV_2703-11_0_7_node_114 | 0.4 | n |  | TRUE
147 | bus_LV_2703-11_0_7_node_132 | 0.4 | n |  | TRUE
148 | bus_LV_2703-11_0_7_node_142 | 0.4 | n |  | TRUE
149 | bus_MV_347_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-11_0_7_load_0 | 0 | 0.0029742 | 0.00074539 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-11_0_7_load_1 | 1 | 0.00078793 | 0.00019747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-11_0_7_load_2 | 2 | 0.00086723 | 0.00021735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-11_0_7_load_3 | 3 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-11_0_7_load_4 | 4 | 0.0025266 | 0.00063324 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-11_0_7_load_69 | 5 | 0.0026726 | 0.00066981 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-11_0_7_load_115 | 6 | 0.002981 | 0.00074711 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-11_0_7_load_70 | 7 | 0.0014438 | 0.00036185 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-11_0_7_load_113 | 8 | 0.0034106 | 0.00085477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-11_0_7_load_5 | 9 | 0.0055223 | 0.001384 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-11_0_7_load_6 | 10 | 0.0093378 | 0.0023403 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-11_0_7_load_8 | 12 | 0.0041038 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-11_0_7_load_9 | 13 | 0.00356 | 0.00089223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-11_0_7_load_10 | 14 | 0.00091513 | 0.00022935 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-11_0_7_load_11 | 15 | 0.0049117 | 0.001231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-11_0_7_load_83 | 16 | 0.0086003 | 0.0021554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-11_0_7_load_103 | 17 | 0.0045922 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-11_0_7_load_105 | 18 | 0.0023874 | 0.00059835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-11_0_7_load_84 | 19 | 0.0054304 | 0.001361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-11_0_7_load_104 | 20 | 0.002877 | 0.00072104 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-11_0_7_load_90 | 21 | 0.00092028 | 0.00023064 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-11_0_7_load_12 | 22 | 0.0064724 | 0.0016221 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-11_0_7_load_13 | 23 | 0.0014206 | 0.00035603 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-11_0_7_load_15 | 24 | 0.0059985 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-11_0_7_load_17 | 27 | 0.0057706 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-11_0_7_load_124 | 28 | 0.0071271 | 0.0017862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-11_0_7_load_18 | 31 | 0.002449 | 0.00061378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-11_0_7_load_33 | 32 | 0.0058009 | 0.0014538 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-11_0_7_load_146 | 33 | 0.0046095 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-11_0_7_load_98 | 35 | 8.2892e-05 | 2.0775e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-11_0_7_load_116 | 36 | 7.9533e-05 | 1.9933e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-11_0_7_load_31 | 38 | 0.0057789 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-11_0_7_load_28 | 40 | 0.0046646 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-11_0_7_load_139 | 42 | 0.00012712 | 3.1858e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-11_0_7_load_151 | 46 | 0.0060201 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-11_0_7_load_117 | 47 | 9.7681e-05 | 2.4481e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-11_0_7_load_19 | 48 | 0.0021997 | 0.0005513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-11_0_7_load_34 | 49 | 0.0042947 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-11_0_7_load_20 | 50 | 0.0054266 | 0.00136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-11_0_7_load_72 | 51 | 0.005711 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-11_0_7_load_71 | 52 | 0.0057134 | 0.0014319 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-11_0_7_load_145 | 55 | 0.0046165 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-11_0_7_load_29 | 56 | 0.0046055 | 0.0011543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-11_0_7_load_154 | 58 | 0.0043232 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-11_0_7_load_45 | 60 | 0.002606 | 0.00065314 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-11_0_7_load_150 | 61 | 0.0074011 | 0.0018549 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-11_0_7_load_30 | 62 | 0.0046042 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-11_0_7_load_92 | 63 | 0.0055604 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-11_0_7_load_130 | 65 | 0.0020489 | 0.00051351 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-11_0_7_load_126 | 66 | 0.0055561 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-11_0_7_load_144 | 67 | 0.0054151 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-11_0_7_load_35 | 68 | 0.0042956 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-11_0_7_load_143 | 69 | 0.0057643 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-11_0_7_load_141 | 70 | 0.0045304 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-11_0_7_load_36 | 71 | 0.068894 | 0.017266 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-11_0_7_load_37 | 72 | 0.0025362 | 0.00063563 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-11_0_7_load_106 | 75 | 0.0019279 | 0.00048318 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-11_0_7_load_152 | 78 | 0.010599 | 0.0026563 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-11_0_7_load_153 | 79 | 0.0036296 | 0.00090967 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-11_0_7_load_43 | 80 | 0.02112 | 0.0052931 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-11_0_7_load_44 | 81 | 0.0084854 | 0.0021266 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-11_0_7_load_46 | 82 | 0.0084712 | 0.0021231 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-11_0_7_load_66 | 83 | 0.0084859 | 0.0021268 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-11_0_7_load_65 | 84 | 0.020405 | 0.0051141 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-11_0_7_load_48 | 85 | 0.00013084 | 3.2792e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-11_0_7_load_49 | 86 | 9.8655e-05 | 2.4725e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-11_0_7_load_50 | 87 | 0.0015347 | 0.00038462 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-11_0_7_load_51 | 88 | 0.00021139 | 5.2978e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-11_0_7_load_52 | 89 | 0.00057606 | 0.00014438 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-11_0_7_load_82 | 90 | 0.00011854 | 2.9709e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-11_0_7_load_131 | 91 | 0.0047644 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-11_0_7_load_53 | 93 | 0.0012807 | 0.00032098 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-11_0_7_load_140 | 99 | 0.0023462 | 0.00058802 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-11_0_7_load_78 | 100 | 0.0017474 | 0.00043793 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-11_0_7_load_138 | 103 | 0.0031123 | 0.00078003 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-11_0_7_load_156 | 104 | 0.00014424 | 3.6149e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-11_0_7_load_120 | 105 | 0.0034879 | 0.00087415 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-11_0_7_load_155 | 108 | 0.0019726 | 0.00049438 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-11_0_7_load_110 | 110 | 0.0031793 | 0.00079681 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2703-11_0_7_load_149 | 114 | 0.0030166 | 0.00075603 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2703-11_0_7_load_89 | 115 | 0.0035548 | 0.00089093 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2703-11_0_7_load_121 | 116 | 0.00015875 | 3.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2703-11_0_7_load_157 | 117 | 0.0023459 | 0.00058794 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2703-11_0_7_load_67 | 118 | 0.0086131 | 0.0021586 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2703-11_0_7_load_68 | 119 | 0.0086194 | 0.0021602 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2703-11_0_7_load_76 | 120 | 0.0026835 | 0.00067256 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2703-11_0_7_load_74 | 121 | 0.00078926 | 0.00019781 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2703-11_0_7_load_73 | 122 | 0.0043211 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2703-11_0_7_load_75 | 123 | 0.0029785 | 0.00074649 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2703-11_0_7_load_77 | 124 | 0.0026345 | 0.00066026 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2703-11_0_7_load_79 | 125 | 0.00087677 | 0.00021974 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2703-11_0_7_load_80 | 126 | 0.0031168 | 0.00078115 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2703-11_0_7_load_81 | 127 | 0.0030058 | 0.00075332 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2703-11_0_7_load_86 | 129 | 0.0035569 | 0.00089143 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2703-11_0_7_load_85 | 130 | 0.0012664 | 0.0003174 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2703-11_0_7_load_122 | 131 | 0.0043634 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2703-11_0_7_load_123 | 132 | 0.0066623 | 0.0016697 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2703-11_0_7_load_87 | 133 | 0.0030964 | 0.00077604 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2703-11_0_7_load_93 | 134 | 0.00077921 | 0.00019529 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2703-11_0_7_load_94 | 135 | 0.0066732 | 0.0016725 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2703-11_0_7_load_95 | 136 | 0.0029892 | 0.00074917 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2703-11_0_7_load_96 | 137 | 0.0026867 | 0.00067335 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2703-11_0_7_load_97 | 138 | 0.0026047 | 0.00065281 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2703-11_0_7_load_135 | 139 | 0.0025241 | 0.0006326 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2703-11_0_7_load_133 | 140 | 0.0026053 | 0.00065295 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2703-11_0_7_load_148 | 141 | 0.0029604 | 0.00074196 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2703-11_0_7_load_129 | 142 | 0.004605 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2703-11_0_7_load_127 | 143 | 0.004933 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2703-11_0_7_load_108 | 144 | 0.0043227 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2703-11_0_7_load_112 | 145 | 0.0042798 | 0.0010726 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2703-11_0_7_load_114 | 146 | 0.00079085 | 0.00019821 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2703-11_0_7_load_132 | 147 | 0.0029807 | 0.00074703 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2703-11_0_7_load_142 | 148 | 0.0045396 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 128 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-11_0_7_line_0 |  | 0 | 1 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-11_0_7_line_1 |  | 0 | 2 | 0.00064405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-11_0_7_line_2 |  | 1 | 3 | 0.0035736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-11_0_7_line_3 |  | 2 | 4 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-11_0_7_line_4 |  | 3 | 5 | 0.0080568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-11_0_7_line_5 |  | 4 | 6 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-11_0_7_line_6 |  | 5 | 7 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-11_0_7_line_7 |  | 6 | 8 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-11_0_7_line_8 |  | 7 | 120 | 0.0028338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-11_0_7_line_9 |  | 8 | 145 | 0.0032951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-11_0_7_line_10 |  | 9 | 10 | 0.0031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-11_0_7_line_11 |  | 9 | 11 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-11_0_7_line_12 |  | 10 | 12 | 0.013276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-11_0_7_line_13 |  | 11 | 13 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2703-11_0_7_line_14 |  | 11 | 14 | 0.03253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2703-11_0_7_line_15 |  | 11 | 15 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-11_0_7_line_16 |  | 12 | 16 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-11_0_7_line_17 |  | 13 | 17 | 0.0051708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2703-11_0_7_line_18 |  | 14 | 18 | 0.0023051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2703-11_0_7_line_19 |  | 16 | 19 | 0.0052055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-11_0_7_line_20 |  | 17 | 20 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2703-11_0_7_line_21 |  | 18 | 21 | 0.0071632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2703-11_0_7_line_22 |  | 19 | 130 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-11_0_7_line_23 |  | 20 | 142 | 0.0009284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2703-11_0_7_line_24 |  | 21 | 128 | 0.031863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2703-11_0_7_line_25 |  | 22 | 23 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-11_0_7_line_26 |  | 23 | 24 | 0.0039534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-11_0_7_line_27 |  | 24 | 28 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-11_0_7_line_28 |  | 25 | 26 | 0.047264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2703-11_0_7_line_29 |  | 25 | 27 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2703-11_0_7_line_30 |  | 26 | 29 | 0.11816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2703-11_0_7_line_31 |  | 26 | 30 | 0.30755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-11_0_7_line_32 |  | 26 | 31 | 0.024598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-11_0_7_line_33 |  | 27 | 32 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2703-11_0_7_line_34 |  | 28 | 33 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-11_0_7_line_35 |  | 29 | 34 | 0.002051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-11_0_7_line_36 |  | 29 | 35 | 0.29281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2703-11_0_7_line_37 |  | 30 | 41 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-11_0_7_line_38 |  | 30 | 42 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-11_0_7_line_39 |  | 31 | 48 | 0.0098339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-11_0_7_line_40 |  | 32 | 49 | 0.018412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2703-11_0_7_line_41 |  | 33 | 111 | 0.054296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-11_0_7_line_42 |  | 34 | 36 | 0.19279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-11_0_7_line_43 |  | 35 | 53 | 0.037303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2703-11_0_7_line_44 |  | 37 | 38 | 0.032201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-11_0_7_line_45 |  | 37 | 39 | 0.059796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2703-11_0_7_line_46 |  | 37 | 40 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2703-11_0_7_line_47 |  | 38 | 52 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-11_0_7_line_48 |  | 39 | 54 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2703-11_0_7_line_49 |  | 39 | 55 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2703-11_0_7_line_50 |  | 40 | 56 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2703-11_0_7_line_51 |  | 41 | 47 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-11_0_7_line_52 |  | 43 | 44 | 0.034703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-11_0_7_line_53 |  | 43 | 45 | 0.03232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-11_0_7_line_54 |  | 43 | 46 | 0.030024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-11_0_7_line_55 |  | 44 | 60 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-11_0_7_line_56 |  | 45 | 61 | 0.01552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-11_0_7_line_57 |  | 49 | 68 | 0.0033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2703-11_0_7_line_58 |  | 50 | 51 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-11_0_7_line_59 |  | 51 | 52 | 0.017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-11_0_7_line_60 |  | 53 | 97 | 0.19559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-11_0_7_line_61 |  | 53 | 94 | 0.20353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-11_0_7_line_62 |  | 54 | 65 | 0.032721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-11_0_7_line_63 |  | 54 | 66 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2703-11_0_7_line_64 |  | 55 | 67 | 0.03754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2703-11_0_7_line_65 |  | 56 | 62 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2703-11_0_7_line_66 |  | 57 | 58 | 0.031072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-11_0_7_line_67 |  | 57 | 59 | 0.040919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-11_0_7_line_68 |  | 59 | 73 | 0.18107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-11_0_7_line_69 |  | 59 | 74 | 0.09441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2703-11_0_7_line_70 |  | 59 | 75 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-11_0_7_line_71 |  | 60 | 80 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-11_0_7_line_72 |  | 62 | 63 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2703-11_0_7_line_73 |  | 63 | 64 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2703-11_0_7_line_74 |  | 64 | 119 | 0.01624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-11_0_7_line_75 |  | 66 | 143 | 0.002146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2703-11_0_7_line_76 |  | 67 | 148 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2703-11_0_7_line_77 |  | 68 | 69 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2703-11_0_7_line_78 |  | 69 | 70 | 0.01205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_2703-11_0_7_line_79 |  | 70 | 148 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2703-11_0_7_line_80 |  | 71 | 72 | 0.00083853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-11_0_7_line_81 |  | 72 | 73 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-11_0_7_line_82 |  | 73 | 76 | 0.008851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-11_0_7_line_83 |  | 74 | 113 | 0.12313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2703-11_0_7_line_84 |  | 74 | 114 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-11_0_7_line_85 |  | 75 | 144 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-11_0_7_line_86 |  | 76 | 77 | 0.035428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-11_0_7_line_87 |  | 76 | 78 | 0.013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-11_0_7_line_88 |  | 77 | 79 | 0.0077217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-11_0_7_line_89 |  | 80 | 81 | 0.0039831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-11_0_7_line_90 |  | 81 | 82 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-11_0_7_line_91 |  | 82 | 83 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-11_0_7_line_92 |  | 83 | 84 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-11_0_7_line_93 |  | 84 | 118 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2703-11_0_7_line_94 |  | 85 | 86 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2703-11_0_7_line_95 |  | 85 | 87 | 0.0091233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2703-11_0_7_line_96 |  | 86 | 88 | 0.0084049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-11_0_7_line_97 |  | 87 | 89 | 0.005811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2703-11_0_7_line_98 |  | 88 | 90 | 0.003016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2703-11_0_7_line_99 |  | 89 | 91 | 0.038115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2703-11_0_7_line_100 |  | 91 | 92 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-11_0_7_line_101 |  | 92 | 103 | 0.021757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2703-11_0_7_line_102 |  | 93 | 94 | 0.047454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2703-11_0_7_line_103 |  | 93 | 95 | 0.041991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2703-11_0_7_line_104 |  | 95 | 96 | 0.007172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2703-11_0_7_line_105 |  | 96 | 100 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2703-11_0_7_line_106 |  | 96 | 98 | 0.040373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2703-11_0_7_line_107 |  | 97 | 104 | 0.008775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2703-11_0_7_line_108 |  | 97 | 102 | 0.042241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2703-11_0_7_line_109 |  | 98 | 99 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2703-11_0_7_line_110 |  | 101 | 102 | 0.046358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2703-11_0_7_line_111 |  | 101 | 103 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2703-11_0_7_line_112 |  | 102 | 105 | 0.0050972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2703-11_0_7_line_113 |  | 103 | 106 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2703-11_0_7_line_114 |  | 105 | 116 | 0.0037155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2703-11_0_7_line_115 |  | 106 | 107 | 0.24932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2703-11_0_7_line_116 |  | 106 | 108 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2703-11_0_7_line_117 |  | 107 | 109 | 0.028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2703-11_0_7_line_118 |  | 107 | 110 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2703-11_0_7_line_119 |  | 109 | 117 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2703-11_0_7_line_120 |  | 111 | 112 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2703-11_0_7_line_121 |  | 112 | 113 | 0.006637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2703-11_0_7_line_122 |  | 113 | 115 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_2703-11_0_7_line_123 |  | 114 | 141 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2703-11_0_7_line_124 |  | 115 | 133 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_2703-11_0_7_line_125 |  | 118 | 119 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2703-11_0_7_line_126 |  | 120 | 121 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2703-11_0_7_line_127 |  | 121 | 122 | 0.0054634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2703-11_0_7_line_128 |  | 122 | 123 | 0.0070076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2703-11_0_7_line_129 |  | 123 | 124 | 0.015264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2703-11_0_7_line_130 |  | 124 | 125 | 0.00087166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2703-11_0_7_line_131 |  | 125 | 126 | 0.014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2703-11_0_7_line_132 |  | 126 | 127 | 0.0013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2703-11_0_7_line_133 |  | 127 | 128 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2703-11_0_7_line_134 |  | 128 | 129 | 0.023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_2703-11_0_7_line_135 |  | 129 | 133 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_2703-11_0_7_line_136 |  | 130 | 131 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2703-11_0_7_line_137 |  | 131 | 132 | 0.0032473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2703-11_0_7_line_138 |  | 132 | 137 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2703-11_0_7_line_139 |  | 134 | 135 | 0.0031844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2703-11_0_7_line_140 |  | 134 | 136 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2703-11_0_7_line_141 |  | 135 | 137 | 0.008399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2703-11_0_7_line_142 |  | 136 | 138 | 0.010127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2703-11_0_7_line_143 |  | 138 | 139 | 0.0051386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2703-11_0_7_line_144 |  | 139 | 140 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2703-11_0_7_line_145 |  | 140 | 147 | 0.0003962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2703-11_0_7_line_146 |  | 142 | 143 | 0.012722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
147 | LV_2703-11_0_7_line_147 |  | 145 | 146 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-11_0_7_trafo_88 | 0.63 MVA 20/0.4 kV | 149 | 128 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2614435.9139 | 1268743.522 | 2614427.3372 | 1268752.5823
1 | 2614435.9139 | 1268743.522 | 2614436.3566 | 1268743.0543
2 | 2614424.8806 | 1268755.1776 | 2614427.3372 | 1268752.5823
3 | 2614436.3566 | 1268743.0543 | 2614446.4099 | 1268732.434
4 | 2614424.8806 | 1268755.1776 | 2614419.3418 | 1268761.0287
5 | 2614456.8402 | 1268721.4154 | 2614446.4099 | 1268732.434
6 | 2614411.0809 | 1268769.7555 | 2614419.3418 | 1268761.0287
7 | 2614456.8402 | 1268721.4154 | 2614447.9614 | 1268711.8871 | 2614446.9569 | 1268710.3169 | 2614446.9569 | 1268710.3169
8 | 2614411.0809 | 1268769.7555 | 2614409.1328 | 1268771.8135
9 | 2614446.6 | 1268707.067 | 2614446.5657 | 1268707.1804 | 2614446.6143 | 1268708.8483 | 2614446.9569 | 1268710.3169
10 | 2614425.7692 | 1268860.4943 | 2614427.8217 | 1268858.1102
11 | 2614414.4884 | 1268873.5976 | 2614425.7692 | 1268860.4943
12 | 2614436.4837 | 1268848.0488 | 2614427.8217 | 1268858.1102
13 | 2614414.4884 | 1268873.5976 | 2614402.3627 | 1268886.979
14 | 2614414.4884 | 1268873.5976 | 2614390.9199 | 1268851.1756
15 | 2614414.4884 | 1268873.5976 | 2614426.3345 | 1268884.5375
16 | 2614436.4837 | 1268848.0488 | 2614443.6982 | 1268839.6689
17 | 2614402.3627 | 1268886.979 | 2614398.8907 | 1268890.8107
18 | 2614390.9199 | 1268851.1756 | 2614389.2498 | 1268849.5868
19 | 2614443.6982 | 1268839.6689 | 2614447.0944 | 1268835.724
20 | 2614391.7498 | 1268898.6911 | 2614398.8907 | 1268890.8107
21 | 2614384.0599 | 1268844.6494 | 2614389.2498 | 1268849.5868
22 | 2614455.8367 | 1268825.5693 | 2614447.0944 | 1268835.724
23 | 2614391.7498 | 1268898.6911 | 2614391.1264 | 1268899.3791
24 | 2614360.9749 | 1268822.6874 | 2614384.0599 | 1268844.6494
25 | 2614281.8677 | 1268966.8921 | 2614287.4853 | 1268960.8743 | 2614295.028 | 1268953.2965
26 | 2614295.028 | 1268953.2965 | 2614297.817 | 1268950.4945
27 | 2614313.2618 | 1268935.5116 | 2614310.0312 | 1268938.2237 | 2614297.817 | 1268950.4945
28 | 2614295.4353 | 1269109.0314 | 2614292.5557 | 1269104.966 | 2614272.0036 | 1269071.7042 | 2614270.9048 | 1269068.6772
29 | 2614270.9048 | 1269068.6772 | 2614271.9933 | 1269066.6228 | 2614285.637 | 1269054.0016
30 | 2614207.802 | 1269132.304 | 2614216.7456 | 1269124.1197 | 2614229.9119 | 1269118.4806 | 2614267.4339 | 1269119.5603 | 2614303.4336 | 1269124.7507 | 2614297.8487 | 1269116.0866 | 2614296.2772 | 1269112.5137 | 2614295.7546 | 1269110.789 | 2614295.4353 | 1269109.0314
31 | 2614049.1551 | 1269116.8821 | 2614204.3218 | 1269152.7546 | 2614217.9594 | 1269154.5218 | 2614231.9766 | 1269154.8446 | 2614306.9814 | 1269151.2557 | 2614307.1336 | 1269147.3978 | 2614307.27 | 1269143.8957 | 2614307.5011 | 1269138.5702 | 2614307.6765 | 1269134.4678 | 2614307.2485 | 1269130.9531 | 2614303.4336 | 1269124.7507 | 2614297.8487 | 1269116.0866 | 2614296.2772 | 1269112.5137 | 2614295.7546 | 1269110.789 | 2614295.4353 | 1269109.0314
32 | 2614295.4353 | 1269109.0314 | 2614295.9219 | 1269106.9644 | 2614298.3847 | 1269102.8675 | 2614310.8176 | 1269090.2777
33 | 2614298.8651 | 1269041.7649 | 2614285.637 | 1269054.0016
34 | 2614313.2618 | 1268935.5116 | 2614322.9472 | 1268927.3805 | 2614331.7582 | 1268920.9166
35 | 2614207.2179 | 1269134.2707 | 2614207.802 | 1269132.304
36 | 2614207.802 | 1269132.304 | 2614202.3257 | 1269109.6638 | 2614196.3413 | 1269082.3969 | 2614187.869 | 1269057.0921 | 2614178.7348 | 1269041.1145 | 2614118.3873 | 1268952.7971 | 2614088.1384 | 1268911.4627 | 2614081.7274 | 1268905.0986 | 2614080.6391 | 1268900.7596 | 2614078.4511 | 1268896.8405 | 2614075.9038 | 1268892.1868 | 2614067.5328 | 1268879.7156
37 | 2614038.8394 | 1269142.1422 | 2614047.2879 | 1269123.7269 | 2614049.1551 | 1269116.8821
38 | 2614049.1551 | 1269116.8821 | 2614034.6911 | 1269113.5748
39 | 2614317.7275 | 1269083.2807 | 2614310.8176 | 1269090.2777
40 | 2614312.3807 | 1269029.2622 | 2614298.8651 | 1269041.7649
41 | 2614299.945 | 1268889.5873 | 2614310.9126 | 1268897.2858 | 2614338.0234 | 1268916.3202 | 2614331.7582 | 1268920.9166
42 | 2614207.2179 | 1269134.2707 | 2614019.4198 | 1269090.6724
43 | 2614046.7428 | 1268848.7426 | 2614067.5328 | 1268879.7156
44 | 2614430.829 | 1268967.6481 | 2614423.7885 | 1268975.8813 | 2614408.7737 | 1268991.0855
45 | 2614381.6102 | 1268933.4823 | 2614407.7366 | 1268951.8587 | 2614426.2992 | 1268964.5572 | 2614430.829 | 1268967.6481
46 | 2614430.829 | 1268967.6481 | 2614434.3159 | 1268963.3647 | 2614441.1882 | 1268954.9145
47 | 2614396.6204 | 1269003.3922 | 2614408.7737 | 1268991.0855
48 | 2614368.5319 | 1268924.3442 | 2614381.6102 | 1268933.4823
49 | 2614381.6102 | 1268933.4823 | 2614375.0274 | 1268942.2837 | 2614367.1385 | 1268952.8387 | 2614365.694 | 1268954.3624
50 | 2614441.1882 | 1268954.9145 | 2614448.535 | 1268945.8809
51 | 2614038.8394 | 1269142.1422 | 2614035.4932 | 1269141.2447 | 2614026.8554 | 1269138.9686
52 | 2614575.0842 | 1268790.2755 | 2614592.7645 | 1268803.8063 | 2614597.4211 | 1268807.3758 | 2614602.6411 | 1268811.3693
53 | 2614602.6411 | 1268811.3693 | 2614597.4211 | 1268807.3758 | 2614592.7645 | 1268803.8063 | 2614604.723 | 1268787.9245
54 | 2614602.6411 | 1268811.3693 | 2614621.7803 | 1268788.2361
55 | 2614575.0842 | 1268790.2755 | 2614561.3817 | 1268807.1242
56 | 2614604.723 | 1268787.9245 | 2614614.2787 | 1268775.6949
57 | 2614312.3807 | 1269029.2622 | 2614314.8283 | 1269026.998
58 | 2614372.3784 | 1269027.9402 | 2614384.5428 | 1269015.6222
59 | 2614396.6204 | 1269003.3922 | 2614384.5428 | 1269015.6222
60 | 2614046.7428 | 1268848.7426 | 2614028.8633 | 1268823.5492 | 2614001.8702 | 1268785.9144 | 2613997.3556 | 1268788.9392 | 2613996.9485 | 1268789.2385 | 2613996.2701 | 1268789.7372 | 2613992.9689 | 1268798.3577 | 2613990.8339 | 1268797.4854 | 2613989.2673 | 1268801.3067 | 2613991.2444 | 1268802.123 | 2613986.5899 | 1268813.4422 | 2613985.7649 | 1268815.4639 | 2613985.2503 | 1268816.7081 | 2613982.6447 | 1268823.9292 | 2613980.1971 | 1268831.1508 | 2613982.7686 | 1268832.013 | 2613988.8465 | 1268832.9391 | 2613996.2364 | 1268835.8919 | 2613999.8065 | 1268840.8817 | 2613998.7765 | 1268850.0412 | 2613997.2429 | 1268855.8195 | 2613993.9978 | 1268863.0058 | 2613991.0117 | 1268868.8584 | 2613996.1766 | 1268870.8053 | 2613999.729 | 1268873.7269
61 | 2613930.1536 | 1268682.0057 | 2613972.8763 | 1268741.3702 | 2613974.2412 | 1268743.3304 | 2613987.8303 | 1268762.8873 | 2614000.0926 | 1268783.4418 | 2614001.8702 | 1268785.9144 | 2614028.8633 | 1268823.5492 | 2614046.7428 | 1268848.7426
62 | 2614368.5319 | 1268924.3442 | 2614343.9375 | 1268907.1614 | 2614341.6953 | 1268905.6243
63 | 2614368.5319 | 1268924.3442 | 2614372.5156 | 1268919.9173 | 2614381.1426 | 1268910.3969
64 | 2614339.8668 | 1268981.6058 | 2614365.694 | 1268954.3624
65 | 2614455.8366 | 1268936.9027 | 2614448.535 | 1268945.8809
66 | 2614351.2391 | 1268691.5269 | 2614373.2115 | 1268713.5623
67 | 2614351.2391 | 1268691.5269 | 2614322.3256 | 1268720.5664
68 | 2614322.3256 | 1268720.5664 | 2614174.0759 | 1268616.6038
69 | 2614309.0093 | 1268791.0729 | 2614306.9818 | 1268783.0846 | 2614285.0234 | 1268758.4032 | 2614322.3256 | 1268720.5664
70 | 2614322.3256 | 1268720.5664 | 2614334.0147 | 1268732.098
71 | 2614551.2793 | 1268819.5461 | 2614561.3817 | 1268807.1242
72 | 2614463.8571 | 1268927.0407 | 2614455.8366 | 1268936.9027
73 | 2614473.0865 | 1268915.6922 | 2614463.8571 | 1268927.0407
74 | 2614473.0865 | 1268915.6922 | 2614483.3333 | 1268903.0926
75 | 2614381.1426 | 1268910.3969 | 2614382.5836 | 1268908.8066
76 | 2614339.8668 | 1268981.6058 | 2614328.5197 | 1268993.5752
77 | 2614314.8283 | 1269026.998 | 2614314.8283 | 1269026.998 | 2614309.5626 | 1269020.136 | 2614309.8954 | 1269013.2208
78 | 2614318.1855 | 1269004.476 | 2614309.8954 | 1269013.2208
79 | 2614318.1855 | 1269004.476 | 2614328.5197 | 1268993.5752
80 | 2614163.4176 | 1268630.1163 | 2614164.1018 | 1268630.601
81 | 2614174.0759 | 1268616.6038 | 2614167.2881 | 1268626.1276 | 2614164.1018 | 1268630.601 | 2614164.1018 | 1268630.601
82 | 2614174.0759 | 1268616.6038 | 2614179.2178 | 1268609.3888
83 | 2614309.0093 | 1268791.0729 | 2614283.3741 | 1268824.557 | 2614267.9847 | 1268843.7669 | 2614266.7771 | 1268845.2761 | 2614311.2106 | 1268876.6831
84 | 2614309.0093 | 1268791.0729 | 2614320.7044 | 1268800.4275
85 | 2614341.3635 | 1268739.3479 | 2614334.0147 | 1268732.098
86 | 2614178.7286 | 1268584.2254 | 2614191.072 | 1268592.761 | 2614179.2178 | 1268609.3888
87 | 2614179.2178 | 1268609.3888 | 2614177.2045 | 1268607.9607 | 2614175.4465 | 1268606.7223 | 2614174.2897 | 1268605.8968 | 2614172.096 | 1268604.346 | 2614169.6262 | 1268607.9166
88 | 2614178.7286 | 1268584.2254 | 2614179.1418 | 1268584.5377 | 2614174.9498 | 1268590.3962
89 | 2614551.2793 | 1268819.5461 | 2614548.7661 | 1268822.6363
90 | 2614532.5273 | 1268842.6036 | 2614548.7661 | 1268822.6363
91 | 2614519.9099 | 1268858.1179 | 2614532.5273 | 1268842.6036
92 | 2614510.1684 | 1268870.0962 | 2614519.9099 | 1268858.1179
93 | 2614510.1684 | 1268870.0962 | 2614498.0556 | 1268884.9902
94 | 2614035.8652 | 1268961.9141 | 2614023.9437 | 1268956.8636
95 | 2614015.5431 | 1268953.3048 | 2614023.9437 | 1268956.8636
96 | 2614043.6043 | 1268965.1927 | 2614035.8652 | 1268961.9141
97 | 2614015.5431 | 1268953.3048 | 2614010.1925 | 1268951.0381
98 | 2614046.3814 | 1268966.3692 | 2614043.6043 | 1268965.1927
99 | 2613975.0122 | 1268936.3773 | 2613983.2748 | 1268939.6346 | 2614010.1925 | 1268951.0381
100 | 2613963.7814 | 1268931.9499 | 2613975.0122 | 1268936.3773
101 | 2613963.7814 | 1268931.9499 | 2613943.491 | 1268923.941
102 | 2613930.1536 | 1268682.0057 | 2613909.9605 | 1268724.9488
103 | 2613897.6544 | 1268761.6412 | 2613894.0492 | 1268758.7863 | 2613909.9605 | 1268724.9488
104 | 2613903.2877 | 1268766.102 | 2613897.6544 | 1268761.6412
105 | 2613903.2877 | 1268766.102 | 2613902.97 | 1268766.8129 | 2613901.1235 | 1268771.2339 | 2613898.4609 | 1268777.1652 | 2613898.7003 | 1268779.9754
106 | 2613903.2877 | 1268766.102 | 2613903.7158 | 1268766.4477 | 2613904.8433 | 1268763.7484 | 2613924.9359 | 1268772.9242 | 2613927.9528 | 1268766.7714 | 2613935.0328 | 1268770.4017
107 | 2614007.6889 | 1268877.4705 | 2614006.4937 | 1268876.9117 | 2613999.729 | 1268873.7269
108 | 2613999.729 | 1268873.7269 | 2613984.9998 | 1268913.3312
109 | 2613935.0328 | 1268770.4017 | 2613945.8542 | 1268747.7667 | 2613945.4948 | 1268747.5895
110 | 2613947.51 | 1268913.999 | 2613950.2512 | 1268906.6669 | 2613951.5909 | 1268903.3566 | 2613954.4926 | 1268904.5643 | 2613963.7724 | 1268906.999 | 2613970.5794 | 1268908.2159 | 2613978.0447 | 1268911.1021 | 2613984.9998 | 1268913.3312
111 | 2613943.491 | 1268923.941 | 2613947.51 | 1268913.999
112 | 2613984.9998 | 1268913.3312 | 2613988.3026 | 1268917.2136
113 | 2613943.491 | 1268923.941 | 2613922.6292 | 1268915.7196
114 | 2613991.4961 | 1268918.7059 | 2613989.1795 | 1268918.2445 | 2613988.3026 | 1268917.2136
115 | 2613922.6292 | 1268915.7196 | 2613904.3083 | 1268908.4937 | 2613823.9139 | 1268872.992 | 2613822.3352 | 1268872.3434 | 2613820.9566 | 1268876.243 | 2613820.5804 | 1268879.4777 | 2613819.9013 | 1268883.5123 | 2613819.3341 | 1268887.9252 | 2613820.3778 | 1268892.1306 | 2613822.3652 | 1268898.2173 | 2613827.6971 | 1268906.0464 | 2613831.179 | 1268910.1463 | 2613835.4985 | 1268913.2252 | 2613878.3915 | 1268931.6717 | 2613920.9827 | 1268950.3735
116 | 2613927.023 | 1268903.1655 | 2613922.6292 | 1268915.7196
117 | 2613920.9827 | 1268950.3735 | 2613939.4509 | 1268962.0807 | 2613945.563 | 1268964.3744
118 | 2613920.9827 | 1268950.3735 | 2613923.1072 | 1268949.3 | 2613924.4119 | 1268948.0355 | 2613924.821 | 1268946.8801 | 2613925.3072 | 1268944.8909 | 2613924.6719 | 1268943.0437 | 2613917.8323 | 1268939.703 | 2613915.3573 | 1268938.6474
119 | 2613945.563 | 1268964.3744 | 2613944.9375 | 1268961.5932 | 2613950.0614 | 1268952.1542
120 | 2614306.9693 | 1268881.7987 | 2614299.945 | 1268889.5873
121 | 2614306.9693 | 1268881.7987 | 2614311.2106 | 1268876.6831
122 | 2614311.2106 | 1268876.6831 | 2614323.559 | 1268861.9502
123 | 2614332.6098 | 1268809.9504 | 2614320.7044 | 1268800.4275
124 | 2614334.053 | 1268849.4298 | 2614323.559 | 1268861.9502
125 | 2614483.3333 | 1268903.0926 | 2614498.0556 | 1268884.9902
126 | 2614401.1226 | 1268780.2754 | 2614409.1328 | 1268771.8135
127 | 2614397.3668 | 1268784.2431 | 2614401.1226 | 1268780.2754
128 | 2614397.3668 | 1268784.2431 | 2614392.5494 | 1268789.3322
129 | 2614382.0564 | 1268800.417 | 2614392.5494 | 1268789.3322
130 | 2614381.4572 | 1268801.05 | 2614382.0564 | 1268800.417
131 | 2614381.4572 | 1268801.05 | 2614371.5677 | 1268811.4973
132 | 2614370.6631 | 1268812.4529 | 2614371.5677 | 1268811.4973
133 | 2614360.9749 | 1268822.6874 | 2614370.6631 | 1268812.4529
134 | 2614360.9749 | 1268822.6874 | 2614356.4298 | 1268822.732 | 2614344.5479 | 1268836.9084
135 | 2614344.5479 | 1268836.9084 | 2614334.053 | 1268849.4298
136 | 2614455.8367 | 1268825.5693 | 2614463.3847 | 1268816.802
137 | 2614463.3847 | 1268816.802 | 2614465.5034 | 1268814.341
138 | 2614473.08 | 1268805.5404 | 2614465.5034 | 1268814.341
139 | 2614480.6375 | 1268796.762 | 2614478.5599 | 1268799.1753
140 | 2614488.7225 | 1268787.3708 | 2614480.6375 | 1268796.762
141 | 2614473.08 | 1268805.5404 | 2614478.5599 | 1268799.1753
142 | 2614488.7225 | 1268787.3708 | 2614495.3299 | 1268779.6961
143 | 2614495.3299 | 1268779.6961 | 2614498.6825 | 1268775.8018
144 | 2614498.6825 | 1268775.8018 | 2614508.3755 | 1268764.5429
145 | 2614508.634 | 1268764.2426 | 2614508.3755 | 1268764.5429
146 | 2614391.1264 | 1268899.3791 | 2614382.5836 | 1268908.8066
147 | 2614453.0576 | 1268698.8014 | 2614447.8468 | 1268703.3363 | 2614447.0739 | 1268705.5026 | 2614446.6 | 1268707.067

## bus_geodata
| x | y | coords
0 | 2614435.9139 | 1268743.522
1 | 2614427.3372 | 1268752.5823
2 | 2614436.3566 | 1268743.0543
3 | 2614424.8806 | 1268755.1776
4 | 2614446.4099 | 1268732.434
5 | 2614419.3418 | 1268761.0287
6 | 2614456.8402 | 1268721.4154
7 | 2614411.0809 | 1268769.7555
8 | 2614446.9569 | 1268710.3169
9 | 2614425.7692 | 1268860.4943
10 | 2614427.8217 | 1268858.1102
11 | 2614414.4884 | 1268873.5976
12 | 2614436.4837 | 1268848.0488
13 | 2614402.3627 | 1268886.979
14 | 2614390.9199 | 1268851.1756
15 | 2614426.3345 | 1268884.5375
16 | 2614443.6982 | 1268839.6689
17 | 2614398.8907 | 1268890.8107
18 | 2614389.2498 | 1268849.5868
19 | 2614447.0944 | 1268835.724
20 | 2614391.7498 | 1268898.6911
21 | 2614384.0599 | 1268844.6494
22 | 2614281.8677 | 1268966.8921
23 | 2614295.028 | 1268953.2965
24 | 2614297.817 | 1268950.4945
25 | 2614270.9048 | 1269068.6772
26 | 2614295.4353 | 1269109.0314
27 | 2614285.637 | 1269054.0016
28 | 2614313.2618 | 1268935.5116
29 | 2614207.802 | 1269132.304
30 | 2614049.1551 | 1269116.8821
31 | 2614310.8176 | 1269090.2777
32 | 2614298.8651 | 1269041.7649
33 | 2614331.7582 | 1268920.9166
34 | 2614207.2179 | 1269134.2707
35 | 2614067.5328 | 1268879.7156
36 | 2614019.4198 | 1269090.6724
37 | 2614430.829 | 1268967.6481
38 | 2614408.7737 | 1268991.0855
39 | 2614381.6102 | 1268933.4823
40 | 2614441.1882 | 1268954.9145
41 | 2614038.8394 | 1269142.1422
42 | 2614034.6911 | 1269113.5748
43 | 2614602.6411 | 1268811.3693
44 | 2614575.0842 | 1268790.2755
45 | 2614604.723 | 1268787.9245
46 | 2614621.7803 | 1268788.2361
47 | 2614026.8554 | 1269138.9686
48 | 2614317.7275 | 1269083.2807
49 | 2614312.3807 | 1269029.2622
50 | 2614372.3784 | 1269027.9402
51 | 2614384.5428 | 1269015.6222
52 | 2614396.6204 | 1269003.3922
53 | 2614046.7428 | 1268848.7426
54 | 2614368.5319 | 1268924.3442
55 | 2614365.694 | 1268954.3624
56 | 2614448.535 | 1268945.8809
57 | 2614351.2391 | 1268691.5269
58 | 2614373.2115 | 1268713.5623
59 | 2614322.3256 | 1268720.5664
60 | 2614561.3817 | 1268807.1242
61 | 2614614.2787 | 1268775.6949
62 | 2614455.8366 | 1268936.9027
63 | 2614463.8571 | 1268927.0407
64 | 2614473.0865 | 1268915.6922
65 | 2614341.6953 | 1268905.6243
66 | 2614381.1426 | 1268910.3969
67 | 2614339.8668 | 1268981.6058
68 | 2614314.8283 | 1269026.998
69 | 2614309.8954 | 1269013.2208
70 | 2614318.1855 | 1269004.476
71 | 2614163.4176 | 1268630.1163
72 | 2614164.1018 | 1268630.601
73 | 2614174.0759 | 1268616.6038
74 | 2614309.0093 | 1268791.0729
75 | 2614334.0147 | 1268732.098
76 | 2614179.2178 | 1268609.3888
77 | 2614178.7286 | 1268584.2254
78 | 2614169.6262 | 1268607.9166
79 | 2614174.9498 | 1268590.3962
80 | 2614551.2793 | 1268819.5461
81 | 2614548.7661 | 1268822.6363
82 | 2614532.5273 | 1268842.6036
83 | 2614519.9099 | 1268858.1179
84 | 2614510.1684 | 1268870.0962
85 | 2614023.9437 | 1268956.8636
86 | 2614035.8652 | 1268961.9141
87 | 2614015.5431 | 1268953.3048
88 | 2614043.6043 | 1268965.1927
89 | 2614010.1925 | 1268951.0381
90 | 2614046.3814 | 1268966.3692
91 | 2613975.0122 | 1268936.3773
92 | 2613963.7814 | 1268931.9499
93 | 2613909.9605 | 1268724.9488
94 | 2613930.1536 | 1268682.0057
95 | 2613897.6544 | 1268761.6412
96 | 2613903.2877 | 1268766.102
97 | 2613999.729 | 1268873.7269
98 | 2613935.0328 | 1268770.4017
99 | 2613945.4948 | 1268747.5895
100 | 2613898.7003 | 1268779.9754
101 | 2613947.51 | 1268913.999
102 | 2613984.9998 | 1268913.3312
103 | 2613943.491 | 1268923.941
104 | 2614007.6889 | 1268877.4705
105 | 2613988.3026 | 1268917.2136
106 | 2613922.6292 | 1268915.7196
107 | 2613920.9827 | 1268950.3735
108 | 2613927.023 | 1268903.1655
109 | 2613945.563 | 1268964.3744
110 | 2613915.3573 | 1268938.6474
111 | 2614299.945 | 1268889.5873
112 | 2614306.9693 | 1268881.7987
113 | 2614311.2106 | 1268876.6831
114 | 2614320.7044 | 1268800.4275
115 | 2614323.559 | 1268861.9502
116 | 2613991.4961 | 1268918.7059
117 | 2613950.0614 | 1268952.1542
118 | 2614498.0556 | 1268884.9902
119 | 2614483.3333 | 1268903.0926
120 | 2614409.1328 | 1268771.8135
121 | 2614401.1226 | 1268780.2754
122 | 2614397.3668 | 1268784.2431
123 | 2614392.5494 | 1268789.3322
124 | 2614382.0564 | 1268800.417
125 | 2614381.4572 | 1268801.05
126 | 2614371.5677 | 1268811.4973
127 | 2614370.6631 | 1268812.4529
128 | 2614360.9749 | 1268822.6874
129 | 2614344.5479 | 1268836.9084
130 | 2614455.8367 | 1268825.5693
131 | 2614463.3847 | 1268816.802
132 | 2614465.5034 | 1268814.341
133 | 2614334.053 | 1268849.4298
134 | 2614480.6375 | 1268796.762
135 | 2614478.5599 | 1268799.1753
136 | 2614488.7225 | 1268787.3708
137 | 2614473.08 | 1268805.5404
138 | 2614495.3299 | 1268779.6961
139 | 2614498.6825 | 1268775.8018
140 | 2614508.3755 | 1268764.5429
141 | 2614332.6098 | 1268809.9504
142 | 2614391.1264 | 1268899.3791
143 | 2614382.5836 | 1268908.8066
144 | 2614341.3635 | 1268739.3479
145 | 2614446.6 | 1268707.067
146 | 2614453.0576 | 1268698.8014
147 | 2614508.634 | 1268764.2426
148 | 2614328.5197 | 1268993.5752
149 | 2614414.4884 | 1268873.5976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1