## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-16_1_3_node_150 | 0.4 | n |  | TRUE
1 | bus_LV_2703-16_1_3_node_148 | 0.4 | n |  | TRUE
2 | bus_LV_2703-16_1_3_node_74 | 0.4 | n |  | TRUE
3 | bus_LV_2703-16_1_3_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_2703-16_1_3_node_95 | 0.4 | n |  | TRUE
5 | bus_LV_2703-16_1_3_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_2703-16_1_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_2703-16_1_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_2703-16_1_3_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_2703-16_1_3_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_2703-16_1_3_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_2703-16_1_3_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_2703-16_1_3_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_2703-16_1_3_node_102 | 0.4 | n |  | TRUE
14 | bus_LV_2703-16_1_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_2703-16_1_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_2703-16_1_3_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_2703-16_1_3_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_2703-16_1_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_2703-16_1_3_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_2703-16_1_3_node_124 | 0.4 | n |  | TRUE
21 | bus_LV_2703-16_1_3_node_156 | 0.4 | n |  | TRUE
22 | bus_LV_2703-16_1_3_node_167 | 0.4 | n |  | TRUE
23 | bus_LV_2703-16_1_3_node_158 | 0.4 | n |  | TRUE
24 | bus_LV_2703-16_1_3_node_166 | 0.4 | n |  | TRUE
25 | bus_LV_2703-16_1_3_node_163 | 0.4 | n |  | TRUE
26 | bus_LV_2703-16_1_3_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_2703-16_1_3_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_2703-16_1_3_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_2703-16_1_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_2703-16_1_3_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_2703-16_1_3_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_2703-16_1_3_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_2703-16_1_3_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_2703-16_1_3_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_2703-16_1_3_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_2703-16_1_3_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_2703-16_1_3_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_2703-16_1_3_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_2703-16_1_3_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_2703-16_1_3_node_173 | 0.4 | n |  | TRUE
41 | bus_LV_2703-16_1_3_node_168 | 0.4 | n |  | TRUE
42 | bus_LV_2703-16_1_3_node_172 | 0.4 | n |  | TRUE
43 | bus_LV_2703-16_1_3_node_152 | 0.4 | n |  | TRUE
44 | bus_LV_2703-16_1_3_node_169 | 0.4 | n |  | TRUE
45 | bus_LV_2703-16_1_3_node_170 | 0.4 | n |  | TRUE
46 | bus_LV_2703-16_1_3_node_125 | 0.4 | n |  | TRUE
47 | bus_LV_2703-16_1_3_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_2703-16_1_3_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_2703-16_1_3_node_110 | 0.4 | n |  | TRUE
50 | bus_LV_2703-16_1_3_node_165 | 0.4 | n |  | TRUE
51 | bus_LV_2703-16_1_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_2703-16_1_3_node_171 | 0.4 | n |  | TRUE
53 | bus_LV_2703-16_1_3_node_174 | 0.4 | n |  | TRUE
54 | bus_LV_2703-16_1_3_node_164 | 0.4 | n |  | TRUE
55 | bus_LV_2703-16_1_3_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_2703-16_1_3_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_2703-16_1_3_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_2703-16_1_3_node_117 | 0.4 | n |  | TRUE
59 | bus_LV_2703-16_1_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_2703-16_1_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_2703-16_1_3_node_135 | 0.4 | n |  | TRUE
62 | bus_LV_2703-16_1_3_node_133 | 0.4 | n |  | TRUE
63 | bus_LV_2703-16_1_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_2703-16_1_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_2703-16_1_3_node_122 | 0.4 | n |  | TRUE
66 | bus_LV_2703-16_1_3_node_123 | 0.4 | n |  | TRUE
67 | bus_LV_2703-16_1_3_node_144 | 0.4 | n |  | TRUE
68 | bus_LV_2703-16_1_3_node_145 | 0.4 | n |  | TRUE
69 | bus_LV_2703-16_1_3_node_127 | 0.4 | n |  | TRUE
70 | bus_LV_2703-16_1_3_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_2703-16_1_3_node_129 | 0.4 | n |  | TRUE
72 | bus_LV_2703-16_1_3_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_2703-16_1_3_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_2703-16_1_3_node_143 | 0.4 | n |  | TRUE
75 | bus_LV_2703-16_1_3_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_2703-16_1_3_node_141 | 0.4 | n |  | TRUE
77 | bus_LV_2703-16_1_3_node_132 | 0.4 | n |  | TRUE
78 | bus_LV_2703-16_1_3_node_134 | 0.4 | n |  | TRUE
79 | bus_LV_2703-16_1_3_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_2703-16_1_3_node_153 | 0.4 | n |  | TRUE
81 | bus_LV_2703-16_1_3_node_146 | 0.4 | n |  | TRUE
82 | bus_LV_2703-16_1_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_2703-16_1_3_node_140 | 0.4 | n |  | TRUE
84 | bus_LV_2703-16_1_3_node_142 | 0.4 | n |  | TRUE
85 | bus_LV_2703-16_1_3_node_147 | 0.4 | n |  | TRUE
86 | bus_LV_2703-16_1_3_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_2703-16_1_3_node_151 | 0.4 | n |  | TRUE
88 | bus_LV_2703-16_1_3_node_159 | 0.4 | n |  | TRUE
89 | bus_LV_2703-16_1_3_node_160 | 0.4 | n |  | TRUE
90 | bus_LV_2703-16_1_3_node_161 | 0.4 | n |  | TRUE
91 | bus_LV_2703-16_1_3_node_175 | 0.4 | n |  | TRUE
92 | bus_LV_2703-16_1_3_node_176 | 0.4 | n |  | TRUE
93 | bus_LV_2703-16_1_3_node_177 | 0.4 | n |  | TRUE
94 | bus_LV_2703-16_1_3_node_178 | 0.4 | n |  | TRUE
95 | bus_LV_2703-16_1_3_node_179 | 0.4 | n |  | TRUE
96 | bus_MV_347_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-16_1_3_load_150 | 0 | 0.0041488 | 0.0010398 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-16_1_3_load_74 | 2 | 0.0072012 | 0.0018048 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-16_1_3_load_95 | 4 | 0.0027911 | 0.00069951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-16_1_3_load_96 | 5 | 0.0038234 | 0.00095824 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-16_1_3_load_47 | 6 | 0.00092153 | 0.00023096 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-16_1_3_load_103 | 10 | 0.0049211 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-16_1_3_load_89 | 11 | 0.00058576 | 0.0001468 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-16_1_3_load_102 | 13 | 0.036016 | 0.0090265 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-16_1_3_load_81 | 14 | 0.025498 | 0.0063905 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-16_1_3_load_157 | 19 | 0.0019661 | 0.00049276 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-16_1_3_load_124 | 20 | 0.023559 | 0.0059045 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-16_1_3_load_156 | 21 | 0.0067087 | 0.0016814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-16_1_3_load_167 | 22 | 0.0033097 | 0.00082948 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-16_1_3_load_158 | 23 | 0.036211 | 0.0090753 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-16_1_3_load_166 | 24 | 0.00098343 | 0.00024647 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-16_1_3_load_155 | 26 | 0.0012679 | 0.00031778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-16_1_3_load_90 | 28 | 0.0027897 | 0.00069916 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-16_1_3_load_91 | 29 | 0.0029017 | 0.00072723 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-16_1_3_load_92 | 30 | 0.0028151 | 0.00070554 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-16_1_3_load_93 | 31 | 0.0027868 | 0.00069845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-16_1_3_load_94 | 32 | 0.0027853 | 0.00069806 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-16_1_3_load_107 | 33 | 0.0029246 | 0.00073296 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-16_1_3_load_97 | 34 | 0.0027912 | 0.00069955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-16_1_3_load_105 | 35 | 0.0025717 | 0.00064452 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-16_1_3_load_100 | 36 | 0.033443 | 0.0083816 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-16_1_3_load_104 | 37 | 0.0030541 | 0.00076543 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-16_1_3_load_106 | 38 | 0.00305 | 0.00076441 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-16_1_3_load_173 | 40 | 0.0029292 | 0.00073412 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-16_1_3_load_172 | 42 | 0.0012448 | 0.00031198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-16_1_3_load_152 | 43 | 0.0025773 | 0.00064593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-16_1_3_load_169 | 44 | 0.00089523 | 0.00022437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-16_1_3_load_170 | 45 | 0.00090485 | 0.00022678 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-16_1_3_load_125 | 46 | 0.00090858 | 0.00022771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-16_1_3_load_109 | 48 | 0.0046246 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-16_1_3_load_165 | 50 | 0.0016849 | 0.00042227 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-16_1_3_load_171 | 52 | 0.0020359 | 0.00051025 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-16_1_3_load_174 | 53 | 0.0016848 | 0.00042226 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-16_1_3_load_164 | 54 | 0.0017285 | 0.00043321 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-16_1_3_load_162 | 55 | 0.0016849 | 0.00042228 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-16_1_3_load_115 | 56 | 0.0014122 | 0.00035394 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-16_1_3_load_116 | 57 | 0.0027405 | 0.00068683 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-16_1_3_load_117 | 58 | 0.00099866 | 0.00025029 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-16_1_3_load_118 | 59 | 0.0022902 | 0.00057398 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-16_1_3_load_119 | 60 | 0.0029368 | 0.00073604 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-16_1_3_load_135 | 61 | 0.00099772 | 0.00025005 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-16_1_3_load_133 | 62 | 0.0013398 | 0.00033579 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-16_1_3_load_120 | 63 | 0.0025746 | 0.00064525 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-16_1_3_load_121 | 64 | 0.0025682 | 0.00064366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-16_1_3_load_123 | 66 | 0.0022282 | 0.00055843 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-16_1_3_load_144 | 67 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-16_1_3_load_145 | 68 | 0.0013701 | 0.00034339 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-16_1_3_load_127 | 69 | 0.0025326 | 0.00063474 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-16_1_3_load_128 | 70 | 0.0015393 | 0.00038579 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-16_1_3_load_129 | 71 | 0.0015351 | 0.00038472 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-16_1_3_load_130 | 72 | 0.0015389 | 0.00038568 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-16_1_3_load_131 | 73 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-16_1_3_load_143 | 74 | 0.0025297 | 0.000634 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-16_1_3_load_154 | 75 | 0.002521 | 0.00063183 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-16_1_3_load_141 | 76 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-16_1_3_load_132 | 77 | 0.0029424 | 0.00073743 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-16_1_3_load_134 | 78 | 0.0013956 | 0.00034976 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-16_1_3_load_136 | 79 | 0.00099643 | 0.00024973 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-16_1_3_load_153 | 80 | 0.00099521 | 0.00024942 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-16_1_3_load_146 | 81 | 0.0029296 | 0.00073423 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-16_1_3_load_139 | 82 | 0.0025003 | 0.00062663 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-16_1_3_load_140 | 83 | 0.0015356 | 0.00038485 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-16_1_3_load_142 | 84 | 0.0012709 | 0.00031851 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-16_1_3_load_147 | 85 | 0.0057072 | 0.0014304 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-16_1_3_load_151 | 87 | 0.00090304 | 0.00022632 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-16_1_3_load_159 | 88 | 0.0016833 | 0.00042188 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-16_1_3_load_160 | 89 | 0.0020412 | 0.00051156 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-16_1_3_load_161 | 90 | 0.0020441 | 0.0005123 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-16_1_3_load_175 | 91 | 0.00089644 | 0.00022467 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-16_1_3_load_176 | 92 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-16_1_3_load_177 | 93 | 0.0017823 | 0.00044669 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-16_1_3_load_178 | 94 | 0.0017843 | 0.00044718 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-16_1_3_load_179 | 95 | 0.0018049 | 0.00045235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-16_1_3_line_0 |  | 0 | 1 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-16_1_3_line_1 |  | 1 | 85 | 0.039249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-16_1_3_line_2 |  | 2 | 3 | 0.068871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-16_1_3_line_3 |  | 3 | 8 | 0.038742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-16_1_3_line_4 |  | 3 | 7 | 0.00642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-16_1_3_line_5 |  | 4 | 5 | 0.0002834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-16_1_3_line_6 |  | 5 | 34 | 0.025893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-16_1_3_line_7 |  | 6 | 7 | 0.0029903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-16_1_3_line_8 |  | 8 | 9 | 0.002587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-16_1_3_line_9 |  | 8 | 10 | 0.058837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-16_1_3_line_10 |  | 9 | 11 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-16_1_3_line_11 |  | 9 | 12 | 0.02026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-16_1_3_line_12 |  | 10 | 13 | 0.052632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-16_1_3_line_13 |  | 11 | 16 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-16_1_3_line_14 |  | 12 | 22 | 0.0174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-16_1_3_line_15 |  | 13 | 36 | 0.015726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-16_1_3_line_16 |  | 14 | 15 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-16_1_3_line_17 |  | 14 | 16 | 0.051092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-16_1_3_line_18 |  | 15 | 17 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-16_1_3_line_19 |  | 17 | 18 | 0.006429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-16_1_3_line_20 |  | 17 | 19 | 0.024095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2703-16_1_3_line_21 |  | 18 | 20 | 0.028846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-16_1_3_line_22 |  | 18 | 21 | 0.022887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-16_1_3_line_23 |  | 19 | 23 | 0.036949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-16_1_3_line_24 |  | 21 | 26 | 0.0078738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-16_1_3_line_25 |  | 22 | 27 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-16_1_3_line_26 |  | 23 | 47 | 0.0056092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-16_1_3_line_27 |  | 24 | 25 | 0.0071381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-16_1_3_line_28 |  | 25 | 54 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-16_1_3_line_29 |  | 25 | 90 | 0.0034074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-16_1_3_line_30 |  | 26 | 75 | 0.0095718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-16_1_3_line_31 |  | 27 | 50 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-16_1_3_line_32 |  | 27 | 49 | 0.006278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-16_1_3_line_33 |  | 28 | 29 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-16_1_3_line_34 |  | 28 | 30 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-16_1_3_line_35 |  | 29 | 31 | 0.0051886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-16_1_3_line_36 |  | 30 | 32 | 1.2271e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-16_1_3_line_37 |  | 31 | 33 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-16_1_3_line_38 |  | 32 | 34 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-16_1_3_line_39 |  | 33 | 35 | 0.00046752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-16_1_3_line_40 |  | 35 | 37 | 0.0076709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-16_1_3_line_41 |  | 37 | 38 | 0.014681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-16_1_3_line_42 |  | 38 | 39 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-16_1_3_line_43 |  | 39 | 40 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-16_1_3_line_44 |  | 39 | 41 | 0.005632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-16_1_3_line_45 |  | 39 | 42 | 0.029538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-16_1_3_line_46 |  | 40 | 43 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-16_1_3_line_47 |  | 41 | 44 | 0.0094131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-16_1_3_line_48 |  | 41 | 45 | 0.030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-16_1_3_line_49 |  | 41 | 46 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-16_1_3_line_50 |  | 42 | 47 | 0.038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-16_1_3_line_51 |  | 43 | 86 | 0.030931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-16_1_3_line_52 |  | 44 | 87 | 0.025897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-16_1_3_line_53 |  | 45 | 91 | 0.0094941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-16_1_3_line_54 |  | 47 | 65 | 0.006505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-16_1_3_line_55 |  | 48 | 49 | 0.0075856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-16_1_3_line_56 |  | 50 | 54 | 7.3648e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-16_1_3_line_57 |  | 51 | 52 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-16_1_3_line_58 |  | 51 | 53 | 0.014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-16_1_3_line_59 |  | 52 | 55 | 0.005008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-16_1_3_line_60 |  | 55 | 89 | 0.0053255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-16_1_3_line_61 |  | 56 | 57 | 0.017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-16_1_3_line_62 |  | 56 | 58 | 0.0089096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-16_1_3_line_63 |  | 57 | 59 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-16_1_3_line_64 |  | 58 | 60 | 0.0011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-16_1_3_line_65 |  | 60 | 61 | 0.0051755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-16_1_3_line_66 |  | 61 | 62 | 0.0075298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-16_1_3_line_67 |  | 62 | 77 | 0.004327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-16_1_3_line_68 |  | 63 | 64 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-16_1_3_line_69 |  | 63 | 65 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-16_1_3_line_70 |  | 64 | 66 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-16_1_3_line_71 |  | 66 | 67 | 0.003072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-16_1_3_line_72 |  | 67 | 68 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-16_1_3_line_73 |  | 68 | 81 | 0.0047721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-16_1_3_line_74 |  | 69 | 70 | 0.0088465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-16_1_3_line_75 |  | 69 | 71 | 0.0024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-16_1_3_line_76 |  | 70 | 72 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-16_1_3_line_77 |  | 71 | 73 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-16_1_3_line_78 |  | 72 | 74 | 0.0063806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-16_1_3_line_79 |  | 73 | 75 | 0.00066786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-16_1_3_line_80 |  | 74 | 76 | 0.0049292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-16_1_3_line_81 |  | 76 | 82 | 0.011142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-16_1_3_line_82 |  | 77 | 78 | 0.0063232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-16_1_3_line_83 |  | 78 | 79 | 0.0074217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-16_1_3_line_84 |  | 79 | 80 | 0.0063635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-16_1_3_line_85 |  | 80 | 81 | 0.0028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-16_1_3_line_86 |  | 82 | 83 | 0.0018533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-16_1_3_line_87 |  | 83 | 84 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-16_1_3_line_88 |  | 85 | 86 | 0.027988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-16_1_3_line_89 |  | 88 | 89 | 0.00069503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-16_1_3_line_90 |  | 88 | 90 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-16_1_3_line_91 |  | 91 | 92 | 0.0096241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-16_1_3_line_92 |  | 92 | 93 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-16_1_3_line_93 |  | 93 | 94 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2703-16_1_3_line_94 |  | 94 | 95 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-16_1_3_trafo_157 | 0.63 MVA 20/0.4 kV | 96 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2615339.7451 | 1269236.9969 | 2615333.8164 | 1269236.8371 | 2615330.483 | 1269236.8729 | 2615325.9457 | 1269236.9168 | 2615319.8808 | 1269239.9143 | 2615315.6213 | 1269248.9542 | 2615314.8839 | 1269251.497
1 | 2615339.7451 | 1269236.9969 | 2615338.1831 | 1269197.7792
2 | 2615010.0172 | 1269164.2798 | 2615016.8323 | 1269168.0552 | 2615022.1726 | 1269168.8471 | 2615030.8609 | 1269169.8142 | 2615037.1555 | 1269171.12 | 2615043.1436 | 1269174.6265 | 2615065.2454 | 1269199.8958
3 | 2615010.0172 | 1269164.2798 | 2615022.3527 | 1269157.1726 | 2615029.7714 | 1269151.3873 | 2615042.5083 | 1269143.2805
4 | 2615010.0172 | 1269164.2798 | 2615007.2102 | 1269158.5019
5 | 2615225.6615 | 1269286.3429 | 2615225.8048 | 1269286.0984
6 | 2615238.3452 | 1269263.458 | 2615233.7412 | 1269272.56 | 2615225.8048 | 1269286.0984
7 | 2615007.2102 | 1269158.5019 | 2615004.3439 | 1269159.3544
8 | 2615044.6639 | 1269141.8405 | 2615042.5083 | 1269143.2805
9 | 2615042.5083 | 1269143.2805 | 2615082.6131 | 1269186.3313
10 | 2615044.6639 | 1269141.8405 | 2615048.252 | 1269145.2298 | 2615051.7181 | 1269143.315 | 2615055.9942 | 1269140.9981
11 | 2615044.6639 | 1269141.8405 | 2615042.4699 | 1269137.6431 | 2615055.194 | 1269128.6913
12 | 2615118.8712 | 1269224.4766 | 2615103.5378 | 1269208.7931 | 2615082.6131 | 1269186.3313
13 | 2615068.729 | 1269135.1969 | 2615066.6278 | 1269135.9366 | 2615060.0517 | 1269138.7997 | 2615055.9942 | 1269140.9981
14 | 2615055.194 | 1269128.6913 | 2615044.0243 | 1269115.35
15 | 2615118.8712 | 1269224.4766 | 2615129.865 | 1269235.7215
16 | 2615120.4275 | 1269127.1895 | 2615120.3832 | 1269132.7489 | 2615119.5666 | 1269137.2388 | 2615119.1697 | 1269139.4394 | 2615118.8262 | 1269141.351
17 | 2615068.729 | 1269135.1969 | 2615078.0642 | 1269133.2971 | 2615088.6597 | 1269135.8147 | 2615099.2112 | 1269137.9319 | 2615103.0617 | 1269138.7312 | 2615118.8262 | 1269141.351
18 | 2615120.4275 | 1269127.1895 | 2615135.5221 | 1269129.9188
19 | 2615135.1246 | 1269123.5021 | 2615135.5221 | 1269129.9188
20 | 2615135.5221 | 1269129.9188 | 2615159.2217 | 1269134.2642
21 | 2615135.1246 | 1269123.5021 | 2615143.5178 | 1269125.1469 | 2615163.4852 | 1269128.7671
22 | 2615135.1246 | 1269123.5021 | 2615131.0127 | 1269100.9877
23 | 2615195.5649 | 1269140.9278 | 2615159.2217 | 1269134.2642
24 | 2615131.0127 | 1269100.9877 | 2615129.598 | 1269093.242
25 | 2615036.3496 | 1269106.1831 | 2615044.0243 | 1269115.35
26 | 2615201.0821 | 1269141.9394 | 2615195.5649 | 1269140.9278
27 | 2615065.2492 | 1269098.0952 | 2615067.3498 | 1269104.9172
28 | 2615065.2492 | 1269098.0952 | 2615051.1348 | 1269102.0453
29 | 2615065.2492 | 1269098.0952 | 2615064.2906 | 1269094.8254
30 | 2615127.8783 | 1269083.8259 | 2615129.598 | 1269093.242
31 | 2615036.3496 | 1269106.1831 | 2615051.0639 | 1269102.0651
32 | 2615036.3496 | 1269106.1831 | 2615032.3212 | 1269101.3584
33 | 2615254.0328 | 1269225.0265 | 2615256.1829 | 1269218.2459 | 2615256.9573 | 1269215.4514
34 | 2615244.8822 | 1269249.9936 | 2615246.2595 | 1269247.0408 | 2615250.2432 | 1269236.9772 | 2615254.0328 | 1269225.0265
35 | 2615258.3429 | 1269210.4513 | 2615256.9573 | 1269215.4514
36 | 2615244.8771 | 1269250.0047 | 2615244.8822 | 1269249.9936
37 | 2615262.3845 | 1269193.4357 | 2615261.4386 | 1269199.2794 | 2615258.3429 | 1269210.4513
38 | 2615244.8771 | 1269250.0047 | 2615241.6442 | 1269256.9359 | 2615238.3452 | 1269263.458
39 | 2615262.3845 | 1269193.4357 | 2615262.4592 | 1269192.9742
40 | 2615262.4592 | 1269192.9742 | 2615263.685 | 1269185.4019
41 | 2615266.0107 | 1269170.9066 | 2615264.8335 | 1269178.3066 | 2615263.685 | 1269185.4019
42 | 2615268.1458 | 1269154.3204 | 2615267.9349 | 1269157.3442 | 2615266.5008 | 1269167.8257 | 2615266.0107 | 1269170.9066
43 | 2615268.1458 | 1269154.3204 | 2615286.1603 | 1269157.33
44 | 2615268.4086 | 1269148.6949 | 2615268.2968 | 1269151.1852 | 2615268.1458 | 1269154.3204
45 | 2615268.1458 | 1269154.3204 | 2615239.0984 | 1269148.9578
46 | 2615301.7888 | 1269159.9696 | 2615300.5923 | 1269159.7412 | 2615286.1603 | 1269157.33
47 | 2615268.4086 | 1269148.6949 | 2615277.6869 | 1269150.2828
48 | 2615268.4086 | 1269148.6949 | 2615270.1015 | 1269128.2737 | 2615270.1968 | 1269117.822
49 | 2615268.4086 | 1269148.6949 | 2615255.1221 | 1269146.1091
50 | 2615201.0821 | 1269141.9394 | 2615239.0984 | 1269148.9578
51 | 2615329.6354 | 1269171.8469 | 2615324.5908 | 1269167.2529 | 2615320.8415 | 1269165.1862 | 2615314.911 | 1269162.7691 | 2615310.0985 | 1269161.5559 | 2615301.7888 | 1269159.9696
52 | 2615277.6869 | 1269150.2828 | 2615303.2127 | 1269154.6513
53 | 2615270.1968 | 1269117.822 | 2615270.2799 | 1269108.7047 | 2615270.2749 | 1269108.3283
54 | 2615200.4366 | 1269135.4665 | 2615201.0821 | 1269141.9394
55 | 2615032.3212 | 1269101.3584 | 2615027.239 | 1269095.7271
56 | 2615051.0639 | 1269102.0651 | 2615051.1348 | 1269102.0453
57 | 2615054.119 | 1269060.129 | 2615057.4512 | 1269071.4953
58 | 2615054.119 | 1269060.129 | 2615040.0957 | 1269064.3054
59 | 2615057.4512 | 1269071.4953 | 2615058.86 | 1269076.3011
60 | 2615060.3582 | 1269081.4115 | 2615058.86 | 1269076.3011
61 | 2615187.3218 | 1269017.8151 | 2615184.2359 | 1269000.6656
62 | 2615188.5614 | 1269026.6327 | 2615188.0267 | 1269021.7321 | 2615187.3218 | 1269017.8151
63 | 2615179.3981 | 1268981.8353 | 2615183.3527 | 1268995.7573 | 2615184.2359 | 1269000.6656
64 | 2615188.5614 | 1269026.6327 | 2615188.6898 | 1269027.8096
65 | 2615189.2512 | 1269032.9546 | 2615188.6898 | 1269027.8096
66 | 2615189.2512 | 1269032.9546 | 2615190.0679 | 1269040.44
67 | 2615190.5373 | 1269044.7414 | 2615190.0679 | 1269040.44
68 | 2615199.2197 | 1269124.3143 | 2615197.3728 | 1269107.3873
69 | 2615200.4366 | 1269135.4665 | 2615199.2197 | 1269124.3143
70 | 2615197.3728 | 1269107.3873 | 2615195.2122 | 1269087.5862
71 | 2615194.879 | 1269084.5323 | 2615195.2122 | 1269087.5862
72 | 2615194.879 | 1269084.5323 | 2615193.5481 | 1269072.3353
73 | 2615193.5481 | 1269072.3353 | 2615193.0305 | 1269067.5914
74 | 2615123.3929 | 1269059.267 | 2615124.9823 | 1269067.9696
75 | 2615125.4237 | 1269070.3865 | 2615124.9823 | 1269067.9696
76 | 2615121.0596 | 1269046.4913 | 2615123.3929 | 1269059.267
77 | 2615127.7583 | 1269083.1689 | 2615125.4237 | 1269070.3865
78 | 2615121.0596 | 1269046.4913 | 2615119.9132 | 1269040.2145
79 | 2615127.8783 | 1269083.8259 | 2615127.7583 | 1269083.1689
80 | 2615119.0276 | 1269035.3655 | 2615119.9132 | 1269040.2145
81 | 2615119.0276 | 1269035.3655 | 2615117.0258 | 1269024.4049
82 | 2615190.5373 | 1269044.7414 | 2615191.2232 | 1269051.0273
83 | 2615192.0282 | 1269058.4053 | 2615191.2232 | 1269051.0273
84 | 2615192.0282 | 1269058.4053 | 2615192.7184 | 1269064.7312
85 | 2615192.7184 | 1269064.7312 | 2615193.0305 | 1269067.5914
86 | 2615116.6928 | 1269022.5818 | 2615117.0258 | 1269024.4049
87 | 2615116.6928 | 1269022.5818 | 2615114.853 | 1269012.5081
88 | 2615329.6354 | 1269171.8469 | 2615333.6473 | 1269177.1277 | 2615337.2571 | 1269186.5993 | 2615338.113 | 1269196.0193 | 2615338.1831 | 1269197.7792
89 | 2615060.3582 | 1269081.4115 | 2615060.5537 | 1269082.0784
90 | 2615064.2906 | 1269094.8254 | 2615060.5537 | 1269082.0784
91 | 2615270.2749 | 1269108.3283 | 2615270.1479 | 1269098.705
92 | 2615269.8297 | 1269085.7564 | 2615270.0218 | 1269089.1458 | 2615270.1479 | 1269098.705
93 | 2615269.8297 | 1269085.7564 | 2615269.1921 | 1269074.5061
94 | 2615269.1921 | 1269074.5061 | 2615268.5065 | 1269062.4072

## bus_geodata
| x | y | coords
0 | 2615314.8839 | 1269251.497
1 | 2615339.7451 | 1269236.9969
2 | 2615065.2454 | 1269199.8958
3 | 2615010.0172 | 1269164.2798
4 | 2615225.6615 | 1269286.3429
5 | 2615225.8048 | 1269286.0984
6 | 2615004.3439 | 1269159.3544
7 | 2615007.2102 | 1269158.5019
8 | 2615042.5083 | 1269143.2805
9 | 2615044.6639 | 1269141.8405
10 | 2615082.6131 | 1269186.3313
11 | 2615055.9942 | 1269140.9981
12 | 2615055.194 | 1269128.6913
13 | 2615118.8712 | 1269224.4766
14 | 2615118.8262 | 1269141.351
15 | 2615120.4275 | 1269127.1895
16 | 2615068.729 | 1269135.1969
17 | 2615135.5221 | 1269129.9188
18 | 2615135.1246 | 1269123.5021
19 | 2615159.2217 | 1269134.2642
20 | 2615163.4852 | 1269128.7671
21 | 2615131.0127 | 1269100.9877
22 | 2615044.0243 | 1269115.35
23 | 2615195.5649 | 1269140.9278
24 | 2615067.3498 | 1269104.9172
25 | 2615065.2492 | 1269098.0952
26 | 2615129.598 | 1269093.242
27 | 2615036.3496 | 1269106.1831
28 | 2615254.0328 | 1269225.0265
29 | 2615256.9573 | 1269215.4514
30 | 2615244.8822 | 1269249.9936
31 | 2615258.3429 | 1269210.4513
32 | 2615244.8771 | 1269250.0047
33 | 2615262.3845 | 1269193.4357
34 | 2615238.3452 | 1269263.458
35 | 2615262.4592 | 1269192.9742
36 | 2615129.865 | 1269235.7215
37 | 2615263.685 | 1269185.4019
38 | 2615266.0107 | 1269170.9066
39 | 2615268.1458 | 1269154.3204
40 | 2615286.1603 | 1269157.33
41 | 2615268.4086 | 1269148.6949
42 | 2615239.0984 | 1269148.9578
43 | 2615301.7888 | 1269159.9696
44 | 2615277.6869 | 1269150.2828
45 | 2615270.1968 | 1269117.822
46 | 2615255.1221 | 1269146.1091
47 | 2615201.0821 | 1269141.9394
48 | 2615027.239 | 1269095.7271
49 | 2615032.3212 | 1269101.3584
50 | 2615051.0639 | 1269102.0651
51 | 2615054.119 | 1269060.129
52 | 2615057.4512 | 1269071.4953
53 | 2615040.0957 | 1269064.3054
54 | 2615051.1348 | 1269102.0453
55 | 2615058.86 | 1269076.3011
56 | 2615187.3218 | 1269017.8151
57 | 2615184.2359 | 1269000.6656
58 | 2615188.5614 | 1269026.6327
59 | 2615179.3981 | 1268981.8353
60 | 2615188.6898 | 1269027.8096
61 | 2615189.2512 | 1269032.9546
62 | 2615190.0679 | 1269040.44
63 | 2615199.2197 | 1269124.3143
64 | 2615197.3728 | 1269107.3873
65 | 2615200.4366 | 1269135.4665
66 | 2615195.2122 | 1269087.5862
67 | 2615194.879 | 1269084.5323
68 | 2615193.5481 | 1269072.3353
69 | 2615124.9823 | 1269067.9696
70 | 2615123.3929 | 1269059.267
71 | 2615125.4237 | 1269070.3865
72 | 2615121.0596 | 1269046.4913
73 | 2615127.7583 | 1269083.1689
74 | 2615119.9132 | 1269040.2145
75 | 2615127.8783 | 1269083.8259
76 | 2615119.0276 | 1269035.3655
77 | 2615190.5373 | 1269044.7414
78 | 2615191.2232 | 1269051.0273
79 | 2615192.0282 | 1269058.4053
80 | 2615192.7184 | 1269064.7312
81 | 2615193.0305 | 1269067.5914
82 | 2615117.0258 | 1269024.4049
83 | 2615116.6928 | 1269022.5818
84 | 2615114.853 | 1269012.5081
85 | 2615338.1831 | 1269197.7792
86 | 2615329.6354 | 1269171.8469
87 | 2615303.2127 | 1269154.6513
88 | 2615060.5537 | 1269082.0784
89 | 2615060.3582 | 1269081.4115
90 | 2615064.2906 | 1269094.8254
91 | 2615270.2749 | 1269108.3283
92 | 2615270.1479 | 1269098.705
93 | 2615269.8297 | 1269085.7564
94 | 2615269.1921 | 1269074.5061
95 | 2615268.5065 | 1269062.4072
96 | 2615135.5221 | 1269129.9188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1