## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2703-18_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2703-18_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2703-18_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2703-18_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2703-18_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2703-18_0_4_node_96 | 0.4 | n |  | TRUE
9 | bus_LV_2703-18_0_4_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_2703-18_0_4_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_2703-18_0_4_node_157 | 0.4 | n |  | TRUE
12 | bus_LV_2703-18_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2703-18_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_2703-18_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_2703-18_0_4_node_106 | 0.4 | n |  | TRUE
16 | bus_LV_2703-18_0_4_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_2703-18_0_4_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_2703-18_0_4_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_2703-18_0_4_node_158 | 0.4 | n |  | TRUE
20 | bus_LV_2703-18_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_2703-18_0_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_2703-18_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2703-18_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_2703-18_0_4_node_156 | 0.4 | n |  | TRUE
25 | bus_LV_2703-18_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2703-18_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2703-18_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2703-18_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2703-18_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2703-18_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2703-18_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2703-18_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2703-18_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2703-18_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2703-18_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2703-18_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2703-18_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2703-18_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2703-18_0_4_node_146 | 0.4 | n |  | TRUE
40 | bus_LV_2703-18_0_4_node_135 | 0.4 | n |  | TRUE
41 | bus_LV_2703-18_0_4_node_152 | 0.4 | n |  | TRUE
42 | bus_LV_2703-18_0_4_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_2703-18_0_4_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_2703-18_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2703-18_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2703-18_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2703-18_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2703-18_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2703-18_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_2703-18_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2703-18_0_4_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_2703-18_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_2703-18_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2703-18_0_4_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_2703-18_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_2703-18_0_4_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_2703-18_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_2703-18_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_2703-18_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_2703-18_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_2703-18_0_4_node_114 | 0.4 | n |  | TRUE
62 | bus_LV_2703-18_0_4_node_113 | 0.4 | n |  | TRUE
63 | bus_LV_2703-18_0_4_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_2703-18_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_2703-18_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_2703-18_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_2703-18_0_4_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_2703-18_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_2703-18_0_4_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_2703-18_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_2703-18_0_4_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_2703-18_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_2703-18_0_4_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_2703-18_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_2703-18_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2703-18_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2703-18_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_2703-18_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_2703-18_0_4_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_2703-18_0_4_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_2703-18_0_4_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_2703-18_0_4_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_2703-18_0_4_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_2703-18_0_4_node_144 | 0.4 | n |  | TRUE
85 | bus_LV_2703-18_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_2703-18_0_4_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_2703-18_0_4_node_142 | 0.4 | n |  | TRUE
88 | bus_LV_2703-18_0_4_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_2703-18_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_2703-18_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_2703-18_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_2703-18_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_2703-18_0_4_node_153 | 0.4 | n |  | TRUE
94 | bus_LV_2703-18_0_4_node_118 | 0.4 | n |  | TRUE
95 | bus_LV_2703-18_0_4_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_2703-18_0_4_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_2703-18_0_4_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_2703-18_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_2703-18_0_4_node_115 | 0.4 | n |  | TRUE
100 | bus_LV_2703-18_0_4_node_159 | 0.4 | n |  | TRUE
101 | bus_LV_2703-18_0_4_node_116 | 0.4 | n |  | TRUE
102 | bus_LV_2703-18_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_2703-18_0_4_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_2703-18_0_4_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_2703-18_0_4_node_90 | 0.4 | n |  | TRUE
106 | bus_LV_2703-18_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_2703-18_0_4_node_124 | 0.4 | n |  | TRUE
108 | bus_LV_2703-18_0_4_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_2703-18_0_4_node_91 | 0.4 | n |  | TRUE
110 | bus_LV_2703-18_0_4_node_92 | 0.4 | n |  | TRUE
111 | bus_LV_2703-18_0_4_node_93 | 0.4 | n |  | TRUE
112 | bus_LV_2703-18_0_4_node_94 | 0.4 | n |  | TRUE
113 | bus_LV_2703-18_0_4_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_2703-18_0_4_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_2703-18_0_4_node_117 | 0.4 | n |  | TRUE
116 | bus_LV_2703-18_0_4_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_2703-18_0_4_node_104 | 0.4 | n |  | TRUE
118 | bus_LV_2703-18_0_4_node_101 | 0.4 | n |  | TRUE
119 | bus_LV_2703-18_0_4_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_2703-18_0_4_node_100 | 0.4 | n |  | TRUE
121 | bus_LV_2703-18_0_4_node_123 | 0.4 | n |  | TRUE
122 | bus_LV_2703-18_0_4_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_2703-18_0_4_node_107 | 0.4 | n |  | TRUE
124 | bus_LV_2703-18_0_4_node_121 | 0.4 | n |  | TRUE
125 | bus_LV_2703-18_0_4_node_122 | 0.4 | n |  | TRUE
126 | bus_LV_2703-18_0_4_node_108 | 0.4 | n |  | TRUE
127 | bus_LV_2703-18_0_4_node_110 | 0.4 | n |  | TRUE
128 | bus_LV_2703-18_0_4_node_109 | 0.4 | n |  | TRUE
129 | bus_LV_2703-18_0_4_node_111 | 0.4 | n |  | TRUE
130 | bus_LV_2703-18_0_4_node_147 | 0.4 | n |  | TRUE
131 | bus_LV_2703-18_0_4_node_148 | 0.4 | n |  | TRUE
132 | bus_LV_2703-18_0_4_node_149 | 0.4 | n |  | TRUE
133 | bus_LV_2703-18_0_4_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_2703-18_0_4_node_126 | 0.4 | n |  | TRUE
135 | bus_LV_2703-18_0_4_node_131 | 0.4 | n |  | TRUE
136 | bus_LV_2703-18_0_4_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_2703-18_0_4_node_127 | 0.4 | n |  | TRUE
138 | bus_LV_2703-18_0_4_node_128 | 0.4 | n |  | TRUE
139 | bus_LV_2703-18_0_4_node_130 | 0.4 | n |  | TRUE
140 | bus_LV_2703-18_0_4_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_2703-18_0_4_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_2703-18_0_4_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_2703-18_0_4_node_138 | 0.4 | n |  | TRUE
144 | bus_LV_2703-18_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_2703-18_0_4_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_2703-18_0_4_node_141 | 0.4 | n |  | TRUE
147 | bus_LV_2703-18_0_4_node_155 | 0.4 | n |  | TRUE
148 | bus_LV_2703-18_0_4_node_143 | 0.4 | n |  | TRUE
149 | bus_LV_2703-18_0_4_node_145 | 0.4 | n |  | TRUE
150 | bus_LV_2703-18_0_4_node_150 | 0.4 | n |  | TRUE
151 | bus_LV_2703-18_0_4_node_151 | 0.4 | n |  | TRUE
152 | bus_MV_347_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-18_0_4_load_0 | 0 | 0.012562 | 0.0031482 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-18_0_4_load_5 | 3 | 0.0010729 | 0.00026889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-18_0_4_load_7 | 6 | 0.0014604 | 0.00036601 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-18_0_4_load_96 | 8 | 0.0020407 | 0.00051144 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-18_0_4_load_84 | 9 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-18_0_4_load_157 | 11 | 0.0092209 | 0.002311 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-18_0_4_load_6 | 12 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-18_0_4_load_51 | 13 | 0.0039416 | 0.00098786 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-18_0_4_load_49 | 14 | 0.0010597 | 0.00026559 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-18_0_4_load_106 | 15 | 0.0020413 | 0.0005116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-18_0_4_load_82 | 16 | 0.0017297 | 0.00043349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-18_0_4_load_158 | 19 | 0.017566 | 0.0044024 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-18_0_4_load_75 | 21 | 0.045335 | 0.011362 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-18_0_4_load_81 | 23 | 0.0017517 | 0.00043901 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-18_0_4_load_156 | 24 | 0.018371 | 0.0046041 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-18_0_4_load_12 | 25 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-18_0_4_load_13 | 26 | 0.06128 | 0.015358 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-18_0_4_load_14 | 27 | 0.0011098 | 0.00027814 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-18_0_4_load_15 | 28 | 0.0011133 | 0.00027902 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-18_0_4_load_19 | 29 | 0.0011131 | 0.00027897 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-18_0_4_load_20 | 30 | 0.0011132 | 0.00027901 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-18_0_4_load_16 | 31 | 0.0015379 | 0.00038543 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-18_0_4_load_17 | 32 | 0.0011127 | 0.00027886 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-18_0_4_load_21 | 33 | 0.0011123 | 0.00027878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-18_0_4_load_22 | 34 | 0.0016388 | 0.00041071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-18_0_4_load_23 | 35 | 0.0011972 | 0.00030005 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-18_0_4_load_24 | 36 | 0.0017668 | 0.0004428 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-18_0_4_load_25 | 37 | 0.0015732 | 0.00039428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-18_0_4_load_26 | 38 | 0.00073728 | 0.00018478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-18_0_4_load_146 | 39 | 0.0012711 | 0.00031858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-18_0_4_load_152 | 41 | 0.0012936 | 0.00032421 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-18_0_4_load_136 | 42 | 0.00073869 | 0.00018513 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-18_0_4_load_112 | 43 | 0.00090218 | 0.00022611 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-18_0_4_load_27 | 44 | 0.0020252 | 0.00050756 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-18_0_4_load_28 | 45 | 0.0012685 | 0.00031791 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-18_0_4_load_29 | 46 | 0.0016061 | 0.00040253 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-18_0_4_load_30 | 47 | 0.0037034 | 0.00092816 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-18_0_4_load_85 | 49 | 0.0017062 | 0.00042761 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-18_0_4_load_43 | 50 | 0.0020966 | 0.00052545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-18_0_4_load_86 | 52 | 0.0012936 | 0.00032421 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-18_0_4_load_71 | 54 | 0.0016279 | 0.000408 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-18_0_4_load_67 | 55 | 0.0029195 | 0.00073169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-18_0_4_load_32 | 56 | 0.0047905 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-18_0_4_load_35 | 59 | 0.0010413 | 0.00026097 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-18_0_4_load_36 | 60 | 0.0029424 | 0.00073745 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-18_0_4_load_114 | 61 | 0.0010351 | 0.00025941 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-18_0_4_load_113 | 62 | 0.00099831 | 0.0002502 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-18_0_4_load_38 | 64 | 0.0056903 | 0.0014261 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-18_0_4_load_42 | 65 | 0.0022888 | 0.00057362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-18_0_4_load_41 | 66 | 0.0026661 | 0.00066818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-18_0_4_load_119 | 67 | 0.0019803 | 0.0004963 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-18_0_4_load_47 | 68 | 0.0022901 | 0.00057396 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-18_0_4_load_120 | 69 | 0.0019757 | 0.00049516 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-18_0_4_load_45 | 70 | 0.0022904 | 0.00057403 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-18_0_4_load_44 | 71 | 0.0022881 | 0.00057346 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-18_0_4_load_48 | 72 | 0.0025396 | 0.00063648 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-18_0_4_load_50 | 73 | 0.0012826 | 0.00032145 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-18_0_4_load_52 | 74 | 0.0012821 | 0.00032131 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-18_0_4_load_60 | 75 | 0.0025083 | 0.00062864 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-18_0_4_load_61 | 76 | 0.0012835 | 0.00032169 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-18_0_4_load_53 | 77 | 0.0024265 | 0.00060814 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-18_0_4_load_54 | 78 | 0.00092317 | 0.00023137 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-18_0_4_load_56 | 80 | 0.0013005 | 0.00032595 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-18_0_4_load_58 | 82 | 0.00098108 | 0.00024588 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-18_0_4_load_59 | 83 | 0.0016227 | 0.00040668 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-18_0_4_load_144 | 84 | 0.00096292 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-18_0_4_load_66 | 85 | 0.0013992 | 0.00035066 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-18_0_4_load_63 | 86 | 0.0087882 | 0.0022025 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-18_0_4_load_142 | 87 | 0.0018237 | 0.00045706 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-18_0_4_load_64 | 88 | 0.0014023 | 0.00035146 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-18_0_4_load_62 | 89 | 0.0025349 | 0.0006353 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-18_0_4_load_72 | 90 | 0.001281 | 0.00032105 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-18_0_4_load_73 | 91 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-18_0_4_load_65 | 92 | 0.004358 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-18_0_4_load_153 | 93 | 0.0014004 | 0.00035098 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-18_0_4_load_118 | 94 | 0.0014021 | 0.00035139 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-18_0_4_load_68 | 95 | 0.0012709 | 0.00031851 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-18_0_4_load_70 | 96 | 0.0012826 | 0.00032144 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-18_0_4_load_74 | 97 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2703-18_0_4_load_78 | 98 | 0.0011966 | 0.00029991 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2703-18_0_4_load_115 | 99 | 0.0011533 | 0.00028903 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2703-18_0_4_load_159 | 100 | 0.07496 | 0.018787 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2703-18_0_4_load_88 | 102 | 0.0016841 | 0.00042207 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2703-18_0_4_load_87 | 103 | 0.0017443 | 0.00043716 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2703-18_0_4_load_89 | 104 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2703-18_0_4_load_90 | 105 | 0.0016582 | 0.00041559 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2703-18_0_4_load_124 | 107 | 0.0020396 | 0.00051116 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2703-18_0_4_load_102 | 108 | 0.0013967 | 0.00035004 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2703-18_0_4_load_91 | 109 | 0.0011536 | 0.00028912 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2703-18_0_4_load_92 | 110 | 0.0011628 | 0.00029143 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2703-18_0_4_load_93 | 111 | 0.0014045 | 0.000352 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2703-18_0_4_load_94 | 112 | 0.0011453 | 0.00028704 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2703-18_0_4_load_95 | 113 | 0.0011537 | 0.00028915 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2703-18_0_4_load_97 | 114 | 0.0013581 | 0.00034038 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2703-18_0_4_load_117 | 115 | 0.0014006 | 0.00035102 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2703-18_0_4_load_98 | 116 | 0.0011586 | 0.00029036 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2703-18_0_4_load_104 | 117 | 0.0016841 | 0.00042208 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2703-18_0_4_load_101 | 118 | 0.0013983 | 0.00035045 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2703-18_0_4_load_99 | 119 | 0.001151 | 0.00028846 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2703-18_0_4_load_100 | 120 | 0.0011661 | 0.00029225 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2703-18_0_4_load_123 | 121 | 0.0020448 | 0.00051246 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2703-18_0_4_load_105 | 122 | 0.0016831 | 0.00042182 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2703-18_0_4_load_107 | 123 | 0.0019841 | 0.00049726 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2703-18_0_4_load_121 | 124 | 0.0016841 | 0.00042208 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2703-18_0_4_load_122 | 125 | 0.0016841 | 0.00042207 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2703-18_0_4_load_108 | 126 | 0.00070646 | 0.00017706 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2703-18_0_4_load_110 | 127 | 0.00082047 | 0.00020563 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2703-18_0_4_load_109 | 128 | 0.0010503 | 0.00026322 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2703-18_0_4_load_111 | 129 | 0.0013588 | 0.00034054 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2703-18_0_4_load_148 | 131 | 0.00092446 | 0.00023169 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2703-18_0_4_load_149 | 132 | 0.0010225 | 0.00025626 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2703-18_0_4_load_125 | 133 | 0.0024735 | 0.00061992 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2703-18_0_4_load_126 | 134 | 0.0019748 | 0.00049493 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2703-18_0_4_load_127 | 137 | 0.00097831 | 0.00024519 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2703-18_0_4_load_128 | 138 | 0.0012743 | 0.00031936 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2703-18_0_4_load_130 | 139 | 0.0007951 | 0.00019927 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2703-18_0_4_load_133 | 140 | 0.00081703 | 0.00020477 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2703-18_0_4_load_134 | 141 | 0.0007982 | 0.00020005 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2703-18_0_4_load_140 | 142 | 0.00088731 | 0.00022238 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2703-18_0_4_load_138 | 143 | 0.00089055 | 0.00022319 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2703-18_0_4_load_137 | 144 | 0.00089157 | 0.00022345 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2703-18_0_4_load_139 | 145 | 0.0010289 | 0.00025786 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2703-18_0_4_load_141 | 146 | 0.0010944 | 0.00027429 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2703-18_0_4_load_155 | 147 | 0.0013417 | 0.00033627 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2703-18_0_4_load_143 | 148 | 0.0011922 | 0.00029879 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2703-18_0_4_load_145 | 149 | 0.0012045 | 0.00030188 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2703-18_0_4_load_150 | 150 | 0.001297 | 0.00032507 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2703-18_0_4_load_151 | 151 | 0.0007874 | 0.00019734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-18_0_4_line_0 |  | 0 | 1 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-18_0_4_line_1 |  | 1 | 2 | 0.045834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-18_0_4_line_2 |  | 2 | 3 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-18_0_4_line_3 |  | 3 | 12 | 0.0072011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-18_0_4_line_4 |  | 4 | 5 | 0.13503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-18_0_4_line_5 |  | 4 | 6 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-18_0_4_line_6 |  | 5 | 10 | 0.033641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-18_0_4_line_7 |  | 5 | 11 | 0.03664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-18_0_4_line_8 |  | 6 | 12 | 0.0085725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-18_0_4_line_9 |  | 7 | 8 | 0.0022399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2703-18_0_4_line_10 |  | 7 | 9 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2703-18_0_4_line_11 |  | 8 | 15 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2703-18_0_4_line_12 |  | 9 | 16 | 2.6308e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2703-18_0_4_line_13 |  | 10 | 23 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-18_0_4_line_14 |  | 11 | 24 | 0.028409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-18_0_4_line_15 |  | 13 | 14 | 0.019333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-18_0_4_line_16 |  | 14 | 72 | 0.0091285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-18_0_4_line_17 |  | 15 | 117 | 0.0040217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2703-18_0_4_line_18 |  | 16 | 23 | 4.4327e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-18_0_4_line_19 |  | 17 | 18 | 0.028776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-18_0_4_line_20 |  | 17 | 19 | 0.0091824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-18_0_4_line_21 |  | 18 | 100 | 0.004253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-18_0_4_line_22 |  | 19 | 24 | 0.027819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-18_0_4_line_23 |  | 20 | 21 | 0.051196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-18_0_4_line_24 |  | 20 | 22 | 0.15136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-18_0_4_line_25 |  | 21 | 63 | 0.042535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-18_0_4_line_26 |  | 22 | 33 | 0.0013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-18_0_4_line_27 |  | 22 | 32 | 0.005238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-18_0_4_line_28 |  | 25 | 26 | 0.004486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-18_0_4_line_29 |  | 25 | 27 | 0.0027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-18_0_4_line_30 |  | 26 | 28 | 0.0018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-18_0_4_line_31 |  | 28 | 29 | 0.0065538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-18_0_4_line_32 |  | 29 | 30 | 0.006443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-18_0_4_line_33 |  | 30 | 33 | 0.0065577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-18_0_4_line_34 |  | 31 | 32 | 0.0065561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-18_0_4_line_35 |  | 34 | 35 | 0.0066569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-18_0_4_line_36 |  | 34 | 36 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-18_0_4_line_37 |  | 35 | 37 | 0.001086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-18_0_4_line_38 |  | 36 | 38 | 0.015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-18_0_4_line_39 |  | 37 | 39 | 0.0068923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-18_0_4_line_40 |  | 38 | 40 | 0.0031782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-18_0_4_line_41 |  | 39 | 41 | 0.00058699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-18_0_4_line_42 |  | 40 | 42 | 0.0048058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-18_0_4_line_43 |  | 40 | 43 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-18_0_4_line_44 |  | 41 | 52 | 0.021086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-18_0_4_line_45 |  | 42 | 141 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-18_0_4_line_46 |  | 43 | 127 | 0.00059489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-18_0_4_line_47 |  | 44 | 45 | 0.010896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-18_0_4_line_48 |  | 44 | 46 | 0.001454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-18_0_4_line_49 |  | 45 | 47 | 0.0077566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-18_0_4_line_50 |  | 46 | 48 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-18_0_4_line_51 |  | 47 | 49 | 4.7453e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-18_0_4_line_52 |  | 48 | 50 | 0.030322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-18_0_4_line_53 |  | 48 | 51 | 0.03302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-18_0_4_line_54 |  | 49 | 52 | 0.0082176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-18_0_4_line_55 |  | 50 | 53 | 0.0057831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-18_0_4_line_56 |  | 51 | 54 | 0.023794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-18_0_4_line_57 |  | 51 | 55 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-18_0_4_line_58 |  | 53 | 65 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-18_0_4_line_59 |  | 53 | 64 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-18_0_4_line_60 |  | 54 | 83 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-18_0_4_line_61 |  | 55 | 95 | 0.0053316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-18_0_4_line_62 |  | 56 | 57 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-18_0_4_line_63 |  | 56 | 58 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-18_0_4_line_64 |  | 57 | 59 | 0.074116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-18_0_4_line_65 |  | 58 | 60 | 0.067447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-18_0_4_line_66 |  | 59 | 61 | 0.0086745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-18_0_4_line_67 |  | 61 | 62 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-18_0_4_line_68 |  | 62 | 82 | 0.0085486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-18_0_4_line_69 |  | 63 | 98 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-18_0_4_line_70 |  | 65 | 68 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-18_0_4_line_71 |  | 66 | 67 | 0.027468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-18_0_4_line_72 |  | 67 | 69 | 9.2585e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-18_0_4_line_73 |  | 68 | 70 | 0.023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-18_0_4_line_74 |  | 69 | 133 | 0.030606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-18_0_4_line_75 |  | 70 | 71 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-18_0_4_line_76 |  | 72 | 73 | 0.001115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-18_0_4_line_77 |  | 73 | 74 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-18_0_4_line_78 |  | 74 | 75 | 0.001968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-18_0_4_line_79 |  | 75 | 76 | 0.0093268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-18_0_4_line_80 |  | 76 | 89 | 0.0069063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-18_0_4_line_81 |  | 77 | 78 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-18_0_4_line_82 |  | 77 | 79 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-18_0_4_line_83 |  | 78 | 80 | 0.0038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-18_0_4_line_84 |  | 79 | 81 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-18_0_4_line_85 |  | 79 | 82 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-18_0_4_line_86 |  | 79 | 83 | 0.046305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-18_0_4_line_87 |  | 80 | 84 | 0.0038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-18_0_4_line_88 |  | 81 | 85 | 0.00376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-18_0_4_line_89 |  | 81 | 86 | 0.0011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-18_0_4_line_90 |  | 84 | 87 | 0.0040733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-18_0_4_line_91 |  | 86 | 88 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-18_0_4_line_92 |  | 87 | 148 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-18_0_4_line_93 |  | 88 | 92 | 0.009405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2703-18_0_4_line_94 |  | 89 | 90 | 0.0058759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2703-18_0_4_line_95 |  | 90 | 91 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2703-18_0_4_line_96 |  | 91 | 97 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-18_0_4_line_97 |  | 92 | 93 | 0.0045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2703-18_0_4_line_98 |  | 93 | 94 | 0.010343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2703-18_0_4_line_99 |  | 94 | 101 | 0.0023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_2703-18_0_4_line_100 |  | 95 | 96 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-18_0_4_line_101 |  | 96 | 97 | 0.0019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2703-18_0_4_line_102 |  | 98 | 99 | 8.5036e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_2703-18_0_4_line_103 |  | 99 | 101 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_2703-18_0_4_line_104 |  | 101 | 115 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_2703-18_0_4_line_105 |  | 102 | 103 | 2.7202e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2703-18_0_4_line_106 |  | 103 | 104 | 1.9199e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2703-18_0_4_line_107 |  | 104 | 105 | 3.1436e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2703-18_0_4_line_108 |  | 105 | 106 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2703-18_0_4_line_109 |  | 106 | 107 | 0.00096105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_2703-18_0_4_line_110 |  | 106 | 108 | 0.0092505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_2703-18_0_4_line_111 |  | 107 | 121 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_2703-18_0_4_line_112 |  | 108 | 120 | 0.0073921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_2703-18_0_4_line_113 |  | 109 | 110 | 0.0060454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_2703-18_0_4_line_114 |  | 109 | 111 | 0.00072359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_2703-18_0_4_line_115 |  | 110 | 112 | 0.0060218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_2703-18_0_4_line_116 |  | 111 | 113 | 0.005298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_2703-18_0_4_line_117 |  | 112 | 114 | 0.0013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_2703-18_0_4_line_118 |  | 113 | 115 | 0.0050398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_2703-18_0_4_line_119 |  | 114 | 116 | 0.0046338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_2703-18_0_4_line_120 |  | 116 | 118 | 0.005516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_2703-18_0_4_line_121 |  | 117 | 122 | 0.0060185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_2703-18_0_4_line_122 |  | 118 | 119 | 0.0005127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_2703-18_0_4_line_123 |  | 119 | 120 | 0.0060511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_2703-18_0_4_line_124 |  | 121 | 125 | 0.002189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_2703-18_0_4_line_125 |  | 122 | 123 | 0.0041175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_2703-18_0_4_line_126 |  | 123 | 124 | 0.0019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_2703-18_0_4_line_127 |  | 124 | 125 | 0.0060218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_2703-18_0_4_line_128 |  | 126 | 127 | 0.013055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2703-18_0_4_line_129 |  | 128 | 129 | 0.00075107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2703-18_0_4_line_130 |  | 129 | 130 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2703-18_0_4_line_131 |  | 130 | 131 | 0.0052133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2703-18_0_4_line_132 |  | 130 | 132 | 0.0024384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2703-18_0_4_line_133 |  | 131 | 147 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2703-18_0_4_line_134 |  | 132 | 151 | 0.0036831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2703-18_0_4_line_135 |  | 133 | 134 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2703-18_0_4_line_136 |  | 134 | 135 | 0.065072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2703-18_0_4_line_137 |  | 135 | 136 | 0.079995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2703-18_0_4_line_138 |  | 136 | 137 | 0.067768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2703-18_0_4_line_139 |  | 137 | 138 | 0.0075046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2703-18_0_4_line_140 |  | 138 | 139 | 0.00016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2703-18_0_4_line_141 |  | 139 | 140 | 0.0099643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2703-18_0_4_line_142 |  | 140 | 141 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2703-18_0_4_line_143 |  | 142 | 143 | 0.0075648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2703-18_0_4_line_144 |  | 143 | 144 | 0.0077214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2703-18_0_4_line_145 |  | 144 | 145 | 0.009217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2703-18_0_4_line_146 |  | 145 | 146 | 0.0071793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2703-18_0_4_line_147 |  | 146 | 147 | 0.0052097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2703-18_0_4_line_148 |  | 148 | 149 | 0.007773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2703-18_0_4_line_149 |  | 149 | 150 | 0.0013331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2703-18_0_4_line_150 |  | 150 | 151 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-18_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 152 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2614915.3039 | 1269108.8016 | 2614915.1354 | 1269092.0338 | 2614920.2274 | 1269082.4857
1 | 2614961.1646 | 1269109.2174 | 2614956.4192 | 1269108.2047 | 2614915.3039 | 1269108.8016
2 | 2614961.1646 | 1269109.2174 | 2614965.7787 | 1269111.564 | 2614968.2656 | 1269116.0179 | 2614968.6392 | 1269120.4631
3 | 2614968.6392 | 1269120.4631 | 2614969.2421 | 1269127.639
4 | 2614972.8093 | 1269170.0898 | 2614986.3786 | 1269168.99 | 2614994.4096 | 1269168.0207 | 2615002.2616 | 1269166.4283 | 2615010.0172 | 1269164.2798 | 2615022.3527 | 1269157.1726 | 2615029.7714 | 1269151.3873 | 2615042.5083 | 1269143.2805 | 2615044.6639 | 1269141.8405 | 2615042.4699 | 1269137.6431 | 2615055.194 | 1269128.6913 | 2615036.3496 | 1269106.1831 | 2615032.3212 | 1269101.3584
5 | 2614972.8093 | 1269170.0898 | 2614969.96 | 1269136.1813
6 | 2615024.5402 | 1269068.938 | 2615032.7701 | 1269096.4227 | 2615032.3212 | 1269101.3584
7 | 2615032.3212 | 1269101.3584 | 2615007.7729 | 1269074.1577
8 | 2614969.2421 | 1269127.639 | 2614969.96 | 1269136.1813
9 | 2615054.119 | 1269060.129 | 2615053.5078 | 1269057.9741
10 | 2615054.119 | 1269060.129 | 2615040.1939 | 1269064.2761
11 | 2615050.6857 | 1269048.0241 | 2615053.5078 | 1269057.9741
12 | 2615040.1687 | 1269064.2836 | 2615040.1939 | 1269064.2761
13 | 2615024.5402 | 1269068.938 | 2615040.1262 | 1269064.2963
14 | 2614988.7393 | 1269053.0675 | 2615007.7729 | 1269074.1577
15 | 2615114.0399 | 1269008.0565 | 2615113.8935 | 1269007.2547 | 2615108.7437 | 1268989.4672
16 | 2615106.2051 | 1268980.6989 | 2615108.7437 | 1268989.4672
17 | 2615050.6857 | 1269048.0241 | 2615049.5883 | 1269044.155
18 | 2615040.1262 | 1269064.2963 | 2615040.1687 | 1269064.2836
19 | 2614963.9491 | 1269025.5987 | 2614984.94 | 1269005.8488
20 | 2614963.9491 | 1269025.5987 | 2614970.1011 | 1269032.4154
21 | 2614981.9604 | 1269002.8058 | 2614984.94 | 1269005.8488
22 | 2614988.7393 | 1269053.0675 | 2614970.1011 | 1269032.4154
23 | 2614915.0616 | 1269004.7052 | 2614952.6802 | 1268969.9798
24 | 2614904.7949 | 1268898.182 | 2614856.2636 | 1268941.8577 | 2614884.677 | 1268971.7834 | 2614915.0616 | 1269004.7052
25 | 2614990.1099 | 1268952.0794 | 2614963.8446 | 1268959.674 | 2614952.6802 | 1268969.9798
26 | 2614904.7949 | 1268898.182 | 2614906.1749 | 1268898.3326
27 | 2614904.7949 | 1268898.182 | 2614899.594 | 1268897.56
28 | 2614931.8868 | 1268901.14 | 2614927.4273 | 1268900.6531
29 | 2614934.6074 | 1268901.437 | 2614931.8868 | 1268901.14
30 | 2614927.4273 | 1268900.6531 | 2614925.6139 | 1268900.4551
31 | 2614919.0988 | 1268899.7437 | 2614925.6139 | 1268900.4551
32 | 2614912.6938 | 1268899.0444 | 2614919.0988 | 1268899.7437
33 | 2614912.6938 | 1268899.0444 | 2614906.1749 | 1268898.3326
34 | 2614899.594 | 1268897.56 | 2614893.0842 | 1268896.7814
35 | 2615089.3004 | 1268815.9418 | 2615087.1401 | 1268809.6452
36 | 2615083.3066 | 1268798.4713 | 2615087.1401 | 1268809.6452
37 | 2615089.6528 | 1268816.969 | 2615089.3004 | 1268815.9418
38 | 2615083.3066 | 1268798.4713 | 2615078.1345 | 1268783.3959
39 | 2615089.6528 | 1268816.969 | 2615091.8894 | 1268823.4883
40 | 2615077.1032 | 1268780.3898 | 2615078.1345 | 1268783.3959
41 | 2615091.8894 | 1268823.4883 | 2615092.0799 | 1268824.0435
42 | 2615077.1032 | 1268780.3898 | 2615075.445 | 1268775.8791
43 | 2615077.1032 | 1268780.3898 | 2615064.8767 | 1268784.3963
44 | 2615098.9224 | 1268843.9879 | 2615092.0799 | 1268824.0435
45 | 2615070.4393 | 1268762.2617 | 2615075.445 | 1268775.8791
46 | 2615064.8767 | 1268784.3963 | 2615064.3114 | 1268784.5816
47 | 2615104.1217 | 1268859.1425 | 2615107.6576 | 1268869.449
48 | 2615108.1294 | 1268870.8243 | 2615107.6576 | 1268869.449
49 | 2615101.6045 | 1268851.8057 | 2615104.1217 | 1268859.1425
50 | 2615113.8975 | 1268887.6369 | 2615108.1294 | 1268870.8243
51 | 2615101.5891 | 1268851.7608 | 2615101.6045 | 1268851.8057
52 | 2615113.8975 | 1268887.6369 | 2615129.9232 | 1268885.5096 | 2615143.7884 | 1268882.6558
53 | 2615080.8731 | 1268889.8767 | 2615097.6472 | 1268889.3078 | 2615113.8975 | 1268887.6369
54 | 2615098.9224 | 1268843.9879 | 2615101.5891 | 1268851.7608
55 | 2615149.4527 | 1268881.4899 | 2615143.7884 | 1268882.6558
56 | 2615080.8731 | 1268889.8767 | 2615057.154 | 1268887.9879
57 | 2615080.8731 | 1268889.8767 | 2615081.0877 | 1268894.2247 | 2615081.5658 | 1268898.5846 | 2615083.8167 | 1268905.9753
58 | 2615149.4527 | 1268881.4899 | 2615154.6946 | 1268898.4491
59 | 2615149.4527 | 1268881.4899 | 2615162.2862 | 1268878.5771
60 | 2615047.2186 | 1268886.8663 | 2615050.7274 | 1268887.4762 | 2615057.154 | 1268887.9879
61 | 2615083.8167 | 1268905.9753 | 2615085.3701 | 1268911.0756
62 | 2614886.1436 | 1268858.1958 | 2614888.8412 | 1268837.5379
63 | 2614890.7854 | 1268822.649 | 2614888.8412 | 1268837.5379
64 | 2614886.1436 | 1268858.1958 | 2614951.8186 | 1268867.8122 | 2614959.3824 | 1268869.4566
65 | 2614890.7854 | 1268822.649 | 2614897.6692 | 1268823.2556 | 2614902.1164 | 1268787.3192 | 2614918.3255 | 1268769.1804
66 | 2614959.3824 | 1268869.4566 | 2614967.8589 | 1268871.2993
67 | 2614981.9144 | 1268874.355 | 2614967.8589 | 1268871.2993
68 | 2614981.9144 | 1268874.355 | 2614990.2679 | 1268876.171
69 | 2614990.1099 | 1268952.0794 | 2615006.1238 | 1268947.6354
70 | 2615154.6946 | 1268898.4491 | 2615160.013 | 1268915.6557
71 | 2615184.6829 | 1268790.9501 | 2615183.5284 | 1268789.0673 | 2615171.2218 | 1268767.0084
72 | 2615171.2218 | 1268767.0084 | 2615171.1767 | 1268766.9275
73 | 2615160.013 | 1268915.6557 | 2615167.093 | 1268938.5615
74 | 2615156.269 | 1268740.1977 | 2615167.7683 | 1268760.8182 | 2615171.1767 | 1268766.9275
75 | 2615172.1106 | 1268956.1805 | 2615167.252 | 1268939.0761 | 2615167.093 | 1268938.5615
76 | 2615105.895 | 1268979.6279 | 2615106.2051 | 1268980.6989
77 | 2615105.895 | 1268979.6279 | 2615102.2848 | 1268967.1581
78 | 2615102.2848 | 1268967.1581 | 2615101.7375 | 1268965.2677
79 | 2615099.1437 | 1268956.3089 | 2615101.7375 | 1268965.2677
80 | 2615099.1437 | 1268956.3089 | 2615099.0874 | 1268956.1142 | 2615097.1342 | 1268949.7014
81 | 2614999.3298 | 1268867.8252 | 2614996.5636 | 1268854.9271 | 2614996.5363 | 1268854.8004
82 | 2615001.6505 | 1268878.6456 | 2614999.3298 | 1268867.8252
83 | 2614996.5363 | 1268854.8004 | 2614995.7234 | 1268851.0134
84 | 2615001.6505 | 1268878.6456 | 2615007.9494 | 1268902.1559 | 2615008.7176 | 1268904.8598
85 | 2615001.6505 | 1268878.6456 | 2614990.2679 | 1268876.171
86 | 2615001.6505 | 1268878.6456 | 2615019.957 | 1268882.1277 | 2615047.2186 | 1268886.8663
87 | 2614995.7234 | 1268851.0134 | 2614994.9242 | 1268847.291
88 | 2615012.3844 | 1268903.9796 | 2615008.7176 | 1268904.8598
89 | 2615008.7176 | 1268904.8598 | 2615009.0518 | 1268906.0031
90 | 2614994.0693 | 1268843.3084 | 2614994.9242 | 1268847.291
91 | 2615009.0518 | 1268906.0031 | 2615012.5979 | 1268918.1364
92 | 2614994.0693 | 1268843.3084 | 2614991.9091 | 1268833.2459
93 | 2615015.2362 | 1268927.1637 | 2615012.5979 | 1268918.1364
94 | 2615095.4223 | 1268944.0804 | 2615097.1342 | 1268949.7014
95 | 2615095.4223 | 1268944.0804 | 2615092.1302 | 1268933.2713
96 | 2615092.1302 | 1268933.2713 | 2615088.9155 | 1268922.7164
97 | 2615015.2362 | 1268927.1637 | 2615016.5142 | 1268931.5365
98 | 2615019.4157 | 1268941.4642 | 2615016.5142 | 1268931.5365
99 | 2615020.0868 | 1268943.7605 | 2615019.4157 | 1268941.4642
100 | 2615088.3467 | 1268920.8488 | 2615085.3701 | 1268911.0756
101 | 2615088.3467 | 1268920.8488 | 2615088.9155 | 1268922.7164
102 | 2615006.1238 | 1268947.6354 | 2615006.2058 | 1268947.6126
103 | 2615020.0868 | 1268943.7605 | 2615006.2058 | 1268947.6126
104 | 2615020.0868 | 1268943.7605 | 2615023.4123 | 1268954.9109
105 | 2615025.5891 | 1269014.6087 | 2615025.6152 | 1269014.601
106 | 2615025.6152 | 1269014.601 | 2615025.6336 | 1269014.5956
107 | 2615025.6336 | 1269014.5956 | 2615025.6637 | 1269014.5866
108 | 2615039.9486 | 1269010.3579 | 2615025.6637 | 1269014.5866
109 | 2615039.9486 | 1269010.3579 | 2615040.2138 | 1269011.2816
110 | 2615039.9486 | 1269010.3579 | 2615037.3049 | 1269001.4932
111 | 2615044.0593 | 1269024.6769 | 2615040.2138 | 1269011.2816
112 | 2615035.1922 | 1268994.4095 | 2615037.3049 | 1269001.4932
113 | 2615026.5736 | 1268965.5109 | 2615028.3013 | 1268971.3041
114 | 2615026.5736 | 1268965.5109 | 2615026.3668 | 1268964.8175
115 | 2615030.0223 | 1268977.0747 | 2615028.3013 | 1268971.3041
116 | 2615026.3668 | 1268964.8175 | 2615024.8526 | 1268959.7404
117 | 2615030.4155 | 1268978.393 | 2615030.0223 | 1268977.0747
118 | 2615024.8526 | 1268959.7404 | 2615023.4123 | 1268954.9109
119 | 2615030.4155 | 1268978.393 | 2615031.7398 | 1268982.8335
120 | 2615031.7398 | 1268982.8335 | 2615033.3163 | 1268988.1195
121 | 2615049.5883 | 1269044.155 | 2615047.946 | 1269038.3649
122 | 2615033.4628 | 1268988.6108 | 2615033.3163 | 1268988.1195
123 | 2615033.4628 | 1268988.6108 | 2615035.1922 | 1268994.4095
124 | 2615044.6606 | 1269026.7817 | 2615044.4238 | 1269025.9469 | 2615044.0593 | 1269024.6769
125 | 2615046.8224 | 1269034.4036 | 2615047.946 | 1269038.3649
126 | 2615046.8224 | 1269034.4036 | 2615046.3038 | 1269032.575
127 | 2615046.3038 | 1269032.575 | 2615044.6606 | 1269026.7817
128 | 2615064.3114 | 1268784.5816 | 2615055.2853 | 1268787.5394 | 2615051.9508 | 1268788.7777
129 | 2614999.8604 | 1268803.3533 | 2614999.1263 | 1268803.512
130 | 2614986.1291 | 1268806.322 | 2614999.1263 | 1268803.512
131 | 2614986.1291 | 1268806.322 | 2614985.0176 | 1268801.2285
132 | 2614986.1291 | 1268806.322 | 2614986.6409 | 1268808.7061
133 | 2614985.0176 | 1268801.2285 | 2614981.8425 | 1268786.6781
134 | 2614986.6409 | 1268808.7061 | 2614987.414 | 1268812.3071
135 | 2615156.269 | 1268740.1977 | 2615146.9225 | 1268723.4378
136 | 2615120.5225 | 1268665.1189 | 2615120.785 | 1268671.3462 | 2615121.1193 | 1268675.9948 | 2615122.2663 | 1268680.6454 | 2615142.6073 | 1268715.6998 | 2615146.9225 | 1268723.4378
137 | 2615040.407 | 1268669.5072 | 2615120.5225 | 1268665.1189
138 | 2615040.407 | 1268669.5072 | 2615040.8515 | 1268675.2346 | 2615041.2583 | 1268680.9953 | 2615043.2938 | 1268688.4168 | 2615060.046 | 1268733.9885
139 | 2615062.6353 | 1268741.0323 | 2615060.046 | 1268733.9885
140 | 2615062.6927 | 1268741.1882 | 2615062.6353 | 1268741.0323
141 | 2615066.1306 | 1268750.5407 | 2615062.6927 | 1268741.1882
142 | 2615070.4393 | 1268762.2617 | 2615066.1306 | 1268750.5407
143 | 2614975.59 | 1268758.025 | 2614973.9772 | 1268750.6342
144 | 2614977.2362 | 1268765.5689 | 2614975.59 | 1268758.025
145 | 2614979.2012 | 1268774.5739 | 2614977.2362 | 1268765.5689
146 | 2614980.7318 | 1268781.5882 | 2614979.2012 | 1268774.5739
147 | 2614980.7318 | 1268781.5882 | 2614981.8425 | 1268786.6781
148 | 2614990.2775 | 1268825.646 | 2614991.9091 | 1268833.2459
149 | 2614990.2775 | 1268825.646 | 2614989.9977 | 1268824.3426
150 | 2614987.414 | 1268812.3071 | 2614989.9977 | 1268824.3426

## bus_geodata
| x | y | coords
0 | 2614920.2274 | 1269082.4857
1 | 2614915.3039 | 1269108.8016
2 | 2614961.1646 | 1269109.2174
3 | 2614968.6392 | 1269120.4631
4 | 2614972.8093 | 1269170.0898
5 | 2615032.3212 | 1269101.3584
6 | 2614969.96 | 1269136.1813
7 | 2615054.119 | 1269060.129
8 | 2615053.5078 | 1269057.9741
9 | 2615040.1939 | 1269064.2761
10 | 2615024.5402 | 1269068.938
11 | 2615007.7729 | 1269074.1577
12 | 2614969.2421 | 1269127.639
13 | 2615114.0399 | 1269008.0565
14 | 2615108.7437 | 1268989.4672
15 | 2615050.6857 | 1269048.0241
16 | 2615040.1687 | 1269064.2836
17 | 2614963.9491 | 1269025.5987
18 | 2614984.94 | 1269005.8488
19 | 2614970.1011 | 1269032.4154
20 | 2614915.0616 | 1269004.7052
21 | 2614952.6802 | 1268969.9798
22 | 2614904.7949 | 1268898.182
23 | 2615040.1262 | 1269064.2963
24 | 2614988.7393 | 1269053.0675
25 | 2614931.8868 | 1268901.14
26 | 2614927.4273 | 1268900.6531
27 | 2614934.6074 | 1268901.437
28 | 2614925.6139 | 1268900.4551
29 | 2614919.0988 | 1268899.7437
30 | 2614912.6938 | 1268899.0444
31 | 2614893.0842 | 1268896.7814
32 | 2614899.594 | 1268897.56
33 | 2614906.1749 | 1268898.3326
34 | 2615087.1401 | 1268809.6452
35 | 2615089.3004 | 1268815.9418
36 | 2615083.3066 | 1268798.4713
37 | 2615089.6528 | 1268816.969
38 | 2615078.1345 | 1268783.3959
39 | 2615091.8894 | 1268823.4883
40 | 2615077.1032 | 1268780.3898
41 | 2615092.0799 | 1268824.0435
42 | 2615075.445 | 1268775.8791
43 | 2615064.8767 | 1268784.3963
44 | 2615107.6576 | 1268869.449
45 | 2615104.1217 | 1268859.1425
46 | 2615108.1294 | 1268870.8243
47 | 2615101.6045 | 1268851.8057
48 | 2615113.8975 | 1268887.6369
49 | 2615101.5891 | 1268851.7608
50 | 2615143.7884 | 1268882.6558
51 | 2615080.8731 | 1268889.8767
52 | 2615098.9224 | 1268843.9879
53 | 2615149.4527 | 1268881.4899
54 | 2615057.154 | 1268887.9879
55 | 2615083.8167 | 1268905.9753
56 | 2614888.8412 | 1268837.5379
57 | 2614886.1436 | 1268858.1958
58 | 2614890.7854 | 1268822.649
59 | 2614959.3824 | 1268869.4566
60 | 2614918.3255 | 1268769.1804
61 | 2614967.8589 | 1268871.2993
62 | 2614981.9144 | 1268874.355
63 | 2614990.1099 | 1268952.0794
64 | 2615162.2862 | 1268878.5771
65 | 2615154.6946 | 1268898.4491
66 | 2615184.6829 | 1268790.9501
67 | 2615171.2218 | 1268767.0084
68 | 2615160.013 | 1268915.6557
69 | 2615171.1767 | 1268766.9275
70 | 2615167.093 | 1268938.5615
71 | 2615172.1106 | 1268956.1805
72 | 2615106.2051 | 1268980.6989
73 | 2615105.895 | 1268979.6279
74 | 2615102.2848 | 1268967.1581
75 | 2615101.7375 | 1268965.2677
76 | 2615099.1437 | 1268956.3089
77 | 2614999.3298 | 1268867.8252
78 | 2614996.5363 | 1268854.8004
79 | 2615001.6505 | 1268878.6456
80 | 2614995.7234 | 1268851.0134
81 | 2615008.7176 | 1268904.8598
82 | 2614990.2679 | 1268876.171
83 | 2615047.2186 | 1268886.8663
84 | 2614994.9242 | 1268847.291
85 | 2615012.3844 | 1268903.9796
86 | 2615009.0518 | 1268906.0031
87 | 2614994.0693 | 1268843.3084
88 | 2615012.5979 | 1268918.1364
89 | 2615097.1342 | 1268949.7014
90 | 2615095.4223 | 1268944.0804
91 | 2615092.1302 | 1268933.2713
92 | 2615015.2362 | 1268927.1637
93 | 2615016.5142 | 1268931.5365
94 | 2615019.4157 | 1268941.4642
95 | 2615085.3701 | 1268911.0756
96 | 2615088.3467 | 1268920.8488
97 | 2615088.9155 | 1268922.7164
98 | 2615006.1238 | 1268947.6354
99 | 2615006.2058 | 1268947.6126
100 | 2614981.9604 | 1269002.8058
101 | 2615020.0868 | 1268943.7605
102 | 2615025.5891 | 1269014.6087
103 | 2615025.6152 | 1269014.601
104 | 2615025.6336 | 1269014.5956
105 | 2615025.6637 | 1269014.5866
106 | 2615039.9486 | 1269010.3579
107 | 2615040.2138 | 1269011.2816
108 | 2615037.3049 | 1269001.4932
109 | 2615026.5736 | 1268965.5109
110 | 2615028.3013 | 1268971.3041
111 | 2615026.3668 | 1268964.8175
112 | 2615030.0223 | 1268977.0747
113 | 2615024.8526 | 1268959.7404
114 | 2615030.4155 | 1268978.3929
115 | 2615023.4123 | 1268954.9109
116 | 2615031.7398 | 1268982.8335
117 | 2615049.5883 | 1269044.155
118 | 2615033.3163 | 1268988.1195
119 | 2615033.4628 | 1268988.6108
120 | 2615035.1922 | 1268994.4095
121 | 2615044.0593 | 1269024.6769
122 | 2615047.946 | 1269038.3649
123 | 2615046.8224 | 1269034.4036
124 | 2615046.3038 | 1269032.575
125 | 2615044.6606 | 1269026.7817
126 | 2615051.9508 | 1268788.7777
127 | 2615064.3114 | 1268784.5816
128 | 2614999.8604 | 1268803.3533
129 | 2614999.1263 | 1268803.512
130 | 2614986.1291 | 1268806.322
131 | 2614985.0176 | 1268801.2285
132 | 2614986.6409 | 1268808.7061
133 | 2615156.269 | 1268740.1977
134 | 2615146.9225 | 1268723.4378
135 | 2615120.5225 | 1268665.1189
136 | 2615040.407 | 1268669.5072
137 | 2615060.046 | 1268733.9885
138 | 2615062.6353 | 1268741.0323
139 | 2615062.6927 | 1268741.1882
140 | 2615066.1306 | 1268750.5407
141 | 2615070.4393 | 1268762.2617
142 | 2614973.9772 | 1268750.6342
143 | 2614975.59 | 1268758.025
144 | 2614977.2362 | 1268765.5689
145 | 2614979.2012 | 1268774.5739
146 | 2614980.7318 | 1268781.5882
147 | 2614981.8425 | 1268786.6781
148 | 2614991.9091 | 1268833.2459
149 | 2614990.2775 | 1268825.646
150 | 2614989.9977 | 1268824.3426
151 | 2614987.414 | 1268812.3071
152 | 2615006.1238 | 1268947.6354

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1