## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-1_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2703-1_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2703-1_0_5_node_93 | 0.4 | n |  | TRUE
5 | bus_LV_2703-1_0_5_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_2703-1_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2703-1_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2703-1_0_5_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_2703-1_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2703-1_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2703-1_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2703-1_0_5_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_2703-1_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2703-1_0_5_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_2703-1_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_2703-1_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2703-1_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_2703-1_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2703-1_0_5_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2703-1_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2703-1_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2703-1_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2703-1_0_5_node_122 | 0.4 | n |  | TRUE
24 | bus_LV_2703-1_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2703-1_0_5_node_128 | 0.4 | n |  | TRUE
26 | bus_LV_2703-1_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2703-1_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2703-1_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2703-1_0_5_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_2703-1_0_5_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_2703-1_0_5_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_2703-1_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_2703-1_0_5_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_2703-1_0_5_node_125 | 0.4 | n |  | TRUE
35 | bus_LV_2703-1_0_5_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_2703-1_0_5_node_124 | 0.4 | n |  | TRUE
37 | bus_LV_2703-1_0_5_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_2703-1_0_5_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_2703-1_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2703-1_0_5_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2703-1_0_5_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2703-1_0_5_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_2703-1_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_2703-1_0_5_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_2703-1_0_5_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_2703-1_0_5_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_2703-1_0_5_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_2703-1_0_5_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_2703-1_0_5_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_2703-1_0_5_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_2703-1_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2703-1_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_2703-1_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2703-1_0_5_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_2703-1_0_5_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_2703-1_0_5_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2703-1_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2703-1_0_5_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_2703-1_0_5_node_24 | 0.4 | n |  | TRUE
60 | bus_LV_2703-1_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2703-1_0_5_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_2703-1_0_5_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_2703-1_0_5_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_2703-1_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_2703-1_0_5_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_2703-1_0_5_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_2703-1_0_5_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_2703-1_0_5_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_2703-1_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_2703-1_0_5_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_2703-1_0_5_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_2703-1_0_5_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_2703-1_0_5_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_2703-1_0_5_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_2703-1_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_2703-1_0_5_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_2703-1_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_2703-1_0_5_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_2703-1_0_5_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_2703-1_0_5_node_119 | 0.4 | n |  | TRUE
81 | bus_LV_2703-1_0_5_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_2703-1_0_5_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_2703-1_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2703-1_0_5_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_2703-1_0_5_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_2703-1_0_5_node_112 | 0.4 | n |  | TRUE
87 | bus_LV_2703-1_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_2703-1_0_5_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_2703-1_0_5_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_2703-1_0_5_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_2703-1_0_5_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_2703-1_0_5_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_2703-1_0_5_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_2703-1_0_5_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_2703-1_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_2703-1_0_5_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_2703-1_0_5_node_118 | 0.4 | n |  | TRUE
98 | bus_LV_2703-1_0_5_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_2703-1_0_5_node_123 | 0.4 | n |  | TRUE
100 | bus_LV_2703-1_0_5_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_2703-1_0_5_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_2703-1_0_5_node_114 | 0.4 | n |  | TRUE
103 | bus_LV_2703-1_0_5_node_113 | 0.4 | n |  | TRUE
104 | bus_LV_2703-1_0_5_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_2703-1_0_5_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_2703-1_0_5_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_2703-1_0_5_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_2703-1_0_5_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_2703-1_0_5_node_120 | 0.4 | n |  | TRUE
110 | bus_LV_2703-1_0_5_node_117 | 0.4 | n |  | TRUE
111 | bus_LV_2703-1_0_5_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_2703-1_0_5_node_109 | 0.4 | n |  | TRUE
113 | bus_LV_2703-1_0_5_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_2703-1_0_5_node_115 | 0.4 | n |  | TRUE
115 | bus_LV_2703-1_0_5_node_116 | 0.4 | n |  | TRUE
116 | bus_MV_347_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-1_0_5_load_0 | 0 | 0.068788 | 0.01724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-1_0_5_load_93 | 4 | 0.0023778 | 0.00059593 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-1_0_5_load_126 | 5 | 0.011097 | 0.0027812 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-1_0_5_load_65 | 8 | 0.00044182 | 0.00011073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-1_0_5_load_39 | 12 | 0.010424 | 0.0026126 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-1_0_5_load_72 | 15 | 0.0091185 | 0.0022853 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-1_0_5_load_49 | 17 | 0.0016492 | 0.00041333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-1_0_5_load_43 | 20 | 0.016838 | 0.0042201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-1_0_5_load_122 | 23 | 0.0013728 | 0.00034407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-1_0_5_load_128 | 25 | 0.0037346 | 0.00093598 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-1_0_5_load_25 | 27 | 0.00067235 | 0.00016851 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-1_0_5_load_23 | 28 | 0.0021237 | 0.00053225 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-1_0_5_load_47 | 29 | 0.057469 | 0.014403 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-1_0_5_load_127 | 30 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-1_0_5_load_91 | 31 | 0.0022411 | 0.00056166 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-1_0_5_load_106 | 33 | 0.0016357 | 0.00040996 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-1_0_5_load_124 | 36 | 0.0012992 | 0.00032561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-1_0_5_load_88 | 38 | 0.0023921 | 0.00059951 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-1_0_5_load_56 | 40 | 0.0034764 | 0.00087128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-1_0_5_load_57 | 41 | 0.0018389 | 0.00046087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-1_0_5_load_81 | 44 | 0.0013687 | 0.00034303 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-1_0_5_load_92 | 45 | 0.0008129 | 0.00020373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-1_0_5_load_73 | 46 | 0.0047136 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-1_0_5_load_79 | 48 | 0.045573 | 0.011422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-1_0_5_load_77 | 49 | 0.0053449 | 0.0013396 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-1_0_5_load_46 | 52 | 0.0038693 | 0.00096973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-1_0_5_load_37 | 53 | 0.0053985 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-1_0_5_load_80 | 54 | 0.073605 | 0.018447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-1_0_5_load_51 | 56 | 0.0060189 | 0.0015085 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-1_0_5_load_50 | 57 | 0.0086396 | 0.0021653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-1_0_5_load_30 | 58 | 0.0054949 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-1_0_5_load_24 | 59 | 0.0038011 | 0.00095265 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-1_0_5_load_27 | 61 | 0.0075859 | 0.0019012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-1_0_5_load_28 | 62 | 0.018266 | 0.0045778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-1_0_5_load_29 | 63 | 0.0059784 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-1_0_5_load_31 | 64 | 0.0052663 | 0.0013199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-1_0_5_load_32 | 65 | 0.0041018 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-1_0_5_load_34 | 67 | 0.0035944 | 0.00090084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-1_0_5_load_35 | 68 | 0.004692 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-1_0_5_load_110 | 70 | 0.0063579 | 0.0015934 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-1_0_5_load_38 | 71 | 0.0060712 | 0.0015216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-1_0_5_load_108 | 72 | 0.0098163 | 0.0024602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-1_0_5_load_40 | 74 | 0.0059327 | 0.0014869 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-1_0_5_load_64 | 75 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-1_0_5_load_55 | 76 | 0.0044729 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-1_0_5_load_52 | 77 | 0.0013561 | 0.00033987 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-1_0_5_load_53 | 78 | 0.0030115 | 0.00075476 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-1_0_5_load_121 | 79 | 0.0048845 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-1_0_5_load_119 | 80 | 0.0028372 | 0.00071108 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-1_0_5_load_105 | 81 | 0.0048969 | 0.0012273 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-1_0_5_load_82 | 83 | 0.0029782 | 0.00074641 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-1_0_5_load_102 | 84 | 0.00088307 | 0.00022132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-1_0_5_load_90 | 85 | 0.0033449 | 0.0008383 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-1_0_5_load_112 | 86 | 0.0042068 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-1_0_5_load_86 | 87 | 0.0026419 | 0.00066211 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-1_0_5_load_66 | 88 | 0.0018555 | 0.00046504 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-1_0_5_load_67 | 89 | 0.0073446 | 0.0018407 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-1_0_5_load_70 | 92 | 0.0015089 | 0.00037816 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-1_0_5_load_71 | 93 | 0.0017469 | 0.00043781 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-1_0_5_load_103 | 94 | 0.0049172 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-1_0_5_load_104 | 95 | 0.0025261 | 0.00063309 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-1_0_5_load_89 | 96 | 0.0013463 | 0.00033741 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-1_0_5_load_99 | 98 | 0.0046297 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-1_0_5_load_123 | 99 | 0.0091984 | 0.0023053 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-1_0_5_load_94 | 101 | 0.0034723 | 0.00087023 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-1_0_5_load_114 | 102 | 0.0054095 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-1_0_5_load_113 | 103 | 0.0054325 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-1_0_5_load_101 | 104 | 0.0038052 | 0.00095368 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-1_0_5_load_85 | 105 | 0.0022185 | 0.000556 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-1_0_5_load_84 | 106 | 0.0022751 | 0.00057019 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-1_0_5_load_96 | 107 | 0.0052994 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-1_0_5_load_97 | 108 | 0.0040896 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-1_0_5_load_120 | 109 | 0.0082472 | 0.0020669 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-1_0_5_load_107 | 111 | 0.0094425 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-1_0_5_load_109 | 112 | 0.0060069 | 0.0015055 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-1_0_5_load_111 | 113 | 0.0058364 | 0.0014627 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-1_0_5_load_115 | 114 | 0.0036144 | 0.00090586 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-1_0_5_load_116 | 115 | 0.0028472 | 0.00071358 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-1_0_5_line_0 |  | 0 | 1 | 0.063174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-1_0_5_line_1 |  | 1 | 2 | 0.13644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2703-1_0_5_line_2 |  | 2 | 5 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-1_0_5_line_3 |  | 2 | 3 | 0.037722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2703-1_0_5_line_4 |  | 3 | 4 | 0.00574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2703-1_0_5_line_5 |  | 4 | 31 | 0.024899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-1_0_5_line_6 |  | 4 | 21 | 0.056678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2703-1_0_5_line_7 |  | 6 | 7 | 0.11393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-1_0_5_line_8 |  | 6 | 8 | 0.0059137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-1_0_5_line_9 |  | 7 | 25 | 0.002962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-1_0_5_line_10 |  | 8 | 16 | 0.0092821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-1_0_5_line_11 |  | 9 | 10 | 0.02983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-1_0_5_line_12 |  | 9 | 11 | 0.048149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-1_0_5_line_13 |  | 9 | 12 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-1_0_5_line_14 |  | 10 | 20 | 0.036479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2703-1_0_5_line_15 |  | 11 | 24 | 0.06263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-1_0_5_line_16 |  | 13 | 14 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-1_0_5_line_17 |  | 13 | 15 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-1_0_5_line_18 |  | 14 | 48 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-1_0_5_line_19 |  | 14 | 49 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-1_0_5_line_20 |  | 16 | 17 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-1_0_5_line_21 |  | 17 | 51 | 0.0017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-1_0_5_line_22 |  | 18 | 19 | 0.03855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2703-1_0_5_line_23 |  | 18 | 20 | 0.0097924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2703-1_0_5_line_24 |  | 19 | 52 | 0.0076095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-1_0_5_line_25 |  | 19 | 53 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2703-1_0_5_line_26 |  | 21 | 22 | 0.18664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-1_0_5_line_27 |  | 21 | 23 | 0.075723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2703-1_0_5_line_28 |  | 22 | 30 | 0.050838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-1_0_5_line_29 |  | 23 | 37 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2703-1_0_5_line_30 |  | 24 | 29 | 0.01482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-1_0_5_line_31 |  | 26 | 27 | 0.036175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-1_0_5_line_32 |  | 26 | 28 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-1_0_5_line_33 |  | 27 | 51 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-1_0_5_line_34 |  | 28 | 59 | 0.0034879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-1_0_5_line_35 |  | 31 | 45 | 0.0017068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-1_0_5_line_36 |  | 32 | 33 | 0.036279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-1_0_5_line_37 |  | 32 | 34 | 0.005927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-1_0_5_line_38 |  | 33 | 81 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-1_0_5_line_39 |  | 34 | 35 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-1_0_5_line_40 |  | 35 | 36 | 0.024254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-1_0_5_line_41 |  | 37 | 38 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2703-1_0_5_line_42 |  | 38 | 86 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-1_0_5_line_43 |  | 38 | 87 | 0.0017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2703-1_0_5_line_44 |  | 39 | 40 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-1_0_5_line_45 |  | 39 | 41 | 0.0076259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-1_0_5_line_46 |  | 40 | 79 | 0.004031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-1_0_5_line_47 |  | 42 | 43 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2703-1_0_5_line_48 |  | 42 | 44 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2703-1_0_5_line_49 |  | 43 | 82 | 0.025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2703-1_0_5_line_50 |  | 43 | 81 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-1_0_5_line_51 |  | 44 | 83 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2703-1_0_5_line_52 |  | 46 | 47 | 0.014666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-1_0_5_line_53 |  | 47 | 50 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-1_0_5_line_54 |  | 48 | 101 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2703-1_0_5_line_55 |  | 49 | 55 | 0.026972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-1_0_5_line_56 |  | 50 | 99 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-1_0_5_line_57 |  | 50 | 100 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2703-1_0_5_line_58 |  | 50 | 101 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2703-1_0_5_line_59 |  | 51 | 60 | 0.007842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-1_0_5_line_60 |  | 53 | 69 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2703-1_0_5_line_61 |  | 54 | 55 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-1_0_5_line_62 |  | 55 | 56 | 0.0090986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-1_0_5_line_63 |  | 57 | 58 | 0.0024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-1_0_5_line_64 |  | 58 | 62 | 0.0090407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-1_0_5_line_65 |  | 60 | 75 | 0.036674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-1_0_5_line_66 |  | 60 | 73 | 0.011605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-1_0_5_line_67 |  | 61 | 62 | 0.0083998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-1_0_5_line_68 |  | 61 | 63 | 0.0073568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-1_0_5_line_69 |  | 63 | 64 | 0.004109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-1_0_5_line_70 |  | 64 | 65 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-1_0_5_line_71 |  | 65 | 66 | 0.0078925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-1_0_5_line_72 |  | 66 | 67 | 0.0041967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2703-1_0_5_line_73 |  | 66 | 68 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2703-1_0_5_line_74 |  | 67 | 69 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2703-1_0_5_line_75 |  | 68 | 70 | 0.0026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2703-1_0_5_line_76 |  | 69 | 71 | 0.00087818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-1_0_5_line_77 |  | 70 | 72 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_2703-1_0_5_line_78 |  | 71 | 73 | 0.022213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-1_0_5_line_79 |  | 72 | 111 | 0.0065826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_2703-1_0_5_line_80 |  | 73 | 74 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-1_0_5_line_81 |  | 75 | 76 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-1_0_5_line_82 |  | 76 | 78 | 0.00012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-1_0_5_line_83 |  | 77 | 78 | 0.0068973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-1_0_5_line_84 |  | 79 | 80 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-1_0_5_line_85 |  | 80 | 110 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-1_0_5_line_86 |  | 82 | 104 | 0.012133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-1_0_5_line_87 |  | 82 | 105 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2703-1_0_5_line_88 |  | 83 | 93 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_2703-1_0_5_line_89 |  | 84 | 85 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-1_0_5_line_90 |  | 85 | 96 | 0.0070906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-1_0_5_line_91 |  | 86 | 103 | 0.0024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-1_0_5_line_92 |  | 87 | 106 | 0.015252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_2703-1_0_5_line_93 |  | 88 | 89 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_2703-1_0_5_line_94 |  | 88 | 90 | 0.0068403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_2703-1_0_5_line_95 |  | 89 | 91 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_2703-1_0_5_line_96 |  | 90 | 92 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-1_0_5_line_97 |  | 90 | 93 | 0.0038716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_2703-1_0_5_line_98 |  | 91 | 94 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_2703-1_0_5_line_99 |  | 91 | 95 | 0.0097094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_2703-1_0_5_line_100 |  | 92 | 96 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-1_0_5_line_101 |  | 94 | 97 | 0.0071488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_2703-1_0_5_line_102 |  | 95 | 98 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_2703-1_0_5_line_103 |  | 97 | 109 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2703-1_0_5_line_104 |  | 97 | 110 | 0.008742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_2703-1_0_5_line_105 |  | 98 | 108 | 0.011098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_2703-1_0_5_line_106 |  | 100 | 107 | 0.0090753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_2703-1_0_5_line_107 |  | 102 | 103 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2703-1_0_5_line_108 |  | 105 | 106 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_2703-1_0_5_line_109 |  | 107 | 108 | 0.0039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_2703-1_0_5_line_110 |  | 110 | 115 | 0.018769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_2703-1_0_5_line_111 |  | 111 | 112 | 0.0097212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_2703-1_0_5_line_112 |  | 112 | 113 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_2703-1_0_5_line_113 |  | 113 | 114 | 0.0019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_2703-1_0_5_line_114 |  | 114 | 115 | 0.0091007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-1_0_5_trafo_79 | 0.63 MVA 20/0.4 kV | 116 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2615936.2163 | 1270786.0478 | 2615937.8737 | 1270787.9313 | 2615955.9121 | 1270832.6896 | 2615960.3723 | 1270844.0652 | 2615960.4432 | 1270844.2415
1 | 2615936.2163 | 1270786.0478 | 2615933.6981 | 1270779.7921 | 2615930.5843 | 1270774.0129 | 2615924.4528 | 1270768.7149 | 2615920.0091 | 1270762.3318 | 2615917.8555 | 1270754.7539 | 2615918.2379 | 1270746.8271 | 2615922.0001 | 1270738.0643 | 2615926.8135 | 1270741.2017 | 2615933.0719 | 1270744.0983 | 2615938.9737 | 1270745.315 | 2615943.4355 | 1270744.9712 | 2615946.0941 | 1270743.7775 | 2615948.7478 | 1270741.6165 | 2615951.8921 | 1270738.8674 | 2615954.432 | 1270734.2487 | 2615944.4193 | 1270692.4587
2 | 2615944.4193 | 1270692.4587 | 2615934.1165 | 1270698.764
3 | 2615944.4193 | 1270692.4587 | 2615945.6248 | 1270691.7503 | 2615942.0005 | 1270685.5917 | 2615952.301 | 1270681.9724 | 2615954.3717 | 1270689.5945 | 2615954.9522 | 1270691.9311 | 2615955.4354 | 1270694.0672 | 2615961.0358 | 1270692.7036
4 | 2615961.0358 | 1270692.7036 | 2615966.6287 | 1270691.3399
5 | 2615966.6287 | 1270691.3399 | 2615967.5814 | 1270695.1007 | 2615972.084 | 1270715.632
6 | 2615949.3293 | 1270637.366 | 2615952.2094 | 1270646.1466 | 2615956.8732 | 1270660.1803 | 2615962.9845 | 1270678.5988 | 2615963.8725 | 1270681.2697 | 2615965.3856 | 1270686.4442 | 2615966.6287 | 1270691.3399
7 | 2616107.5756 | 1270343.4178 | 2616117.2989 | 1270339.2969 | 2616119.1849 | 1270337.3673 | 2616135.8394 | 1270346.13 | 2616139.4495 | 1270349.2309 | 2616142.073 | 1270352.7294 | 2616143.4715 | 1270358.5262 | 2616147.2498 | 1270363.3733 | 2616143.2111 | 1270379.5293 | 2616139.2713 | 1270395.2965 | 2616135.6313 | 1270408.7073 | 2616145.7239 | 1270418.1303
8 | 2616145.7239 | 1270418.1303 | 2616140.2228 | 1270420.3006
9 | 2616107.5756 | 1270343.4178 | 2616108.6815 | 1270346.1672
10 | 2616131.5883 | 1270423.7069 | 2616140.2228 | 1270420.3006
11 | 2616035.1817 | 1270340.9087 | 2616031.4439 | 1270343.2781 | 2616009.9441 | 1270356.9297
12 | 2615978.2793 | 1270351.685 | 2615985.1761 | 1270366.2584 | 2615987.5024 | 1270371.1793 | 2616009.9441 | 1270356.9297
13 | 2616009.9441 | 1270356.9297 | 2616003.5595 | 1270342.1568
14 | 2616035.1817 | 1270340.9087 | 2616037.3121 | 1270345.9625 | 2616046.1922 | 1270367.046 | 2616048.3748 | 1270372.2445 | 2616049.3581 | 1270374.5207
15 | 2615978.2793 | 1270351.685 | 2615985.1761 | 1270366.2584 | 2615987.5024 | 1270371.1793 | 2615987.0951 | 1270377.1602 | 2615986.4059 | 1270387.2211 | 2615987.9012 | 1270393.4629 | 2615972.7438 | 1270404.1852
16 | 2616009.2194 | 1270563.875 | 2616011.4916 | 1270563.7589 | 2616018.8408 | 1270563.9122 | 2616018.0657 | 1270558.4395
17 | 2616009.2194 | 1270563.875 | 2616009.9273 | 1270569.1585 | 2616011.3806 | 1270580.3714
18 | 2616018.0657 | 1270558.4395 | 2616036.4862 | 1270556.588 | 2616036.7735 | 1270556.6667
19 | 2616018.0657 | 1270558.4395 | 2616016.6355 | 1270548.3175
20 | 2616131.5883 | 1270423.7069 | 2616121.3188 | 1270429.5727
21 | 2616119.7893 | 1270430.4463 | 2616121.3188 | 1270429.5727
22 | 2616053.2417 | 1270383.5101 | 2616060.4784 | 1270400.2527 | 2616068.53 | 1270418.8989
23 | 2616053.2417 | 1270383.5101 | 2616049.3581 | 1270374.5207
24 | 2616068.53 | 1270418.8989 | 2616072.167 | 1270412.2149
25 | 2616068.53 | 1270418.8989 | 2616076.4542 | 1270437.2306
26 | 2615835.4284 | 1270759.1252 | 2615838.3098 | 1270739.3077 | 2615839.941 | 1270731.3063 | 2615841.6402 | 1270726.0071 | 2615843.6097 | 1270720.8976 | 2615845.4335 | 1270716.8107 | 2615853.8945 | 1270697.8086 | 2615856.8495 | 1270689.8553 | 2615871.0424 | 1270670.9465 | 2615891.9797 | 1270656.1476 | 2615911.5356 | 1270645.915 | 2615919.4419 | 1270643.0786 | 2615937.4905 | 1270636.767 | 2615942.5726 | 1270635.1351 | 2615943.8568 | 1270638.7078 | 2615945.212 | 1270638.2889 | 2615949.3293 | 1270637.366
27 | 2615949.3293 | 1270637.366 | 2615961.6136 | 1270634.6082 | 2616023.7882 | 1270645.5665
28 | 2615835.4284 | 1270759.1252 | 2615828.2173 | 1270809.4488
29 | 2616041.4425 | 1270648.6781 | 2616023.7882 | 1270645.5665
30 | 2615972.7438 | 1270404.1852 | 2615978.2812 | 1270417.9321
31 | 2616100.5959 | 1270381.5927 | 2616113.8237 | 1270415.262
32 | 2616100.5959 | 1270381.5927 | 2616112.8133 | 1270375.9775
33 | 2616119.7893 | 1270430.4463 | 2616113.8237 | 1270415.262
34 | 2616111.3173 | 1270372.8267 | 2616112.8133 | 1270375.9775
35 | 2615972.084 | 1270715.632 | 2615972.4496 | 1270717.2993
36 | 2616092.6666 | 1270702.9111 | 2616090.4729 | 1270699.1024 | 2616085.0758 | 1270689.303 | 2616079.4188 | 1270686.5635 | 2616071.7414 | 1270674.3229
37 | 2616098.0146 | 1270700.3238 | 2616092.6666 | 1270702.9111
38 | 2616071.7414 | 1270674.3229 | 2616090.9986 | 1270663.2064
39 | 2616098.0146 | 1270700.3238 | 2616107.2226 | 1270697.3689 | 2616109.3814 | 1270697.4415 | 2616112.9433 | 1270696.0613 | 2616119.8016 | 1270691.3321
40 | 2616119.8016 | 1270691.3321 | 2616113.8093 | 1270681.8869 | 2616111.6507 | 1270681.7587 | 2616109.679 | 1270682.0647 | 2616107.333 | 1270681.6803 | 2616106.3821 | 1270680.0321 | 2616104.046 | 1270676.034
41 | 2616041.4425 | 1270648.6781 | 2616052.6929 | 1270647.1297
42 | 2616052.6929 | 1270647.1297 | 2616049.1351 | 1270629.8369
43 | 2616052.6929 | 1270647.1297 | 2616054.3045 | 1270646.5752
44 | 2616153.9476 | 1270536.3258 | 2616149.5673 | 1270537.0922 | 2616146.2933 | 1270537.6725 | 2616135.5856 | 1270541.0489
45 | 2616153.9476 | 1270536.3258 | 2616161.5269 | 1270535.4846
46 | 2616135.5856 | 1270541.0489 | 2616131.7412 | 1270542.2611
47 | 2616104.6589 | 1270655.3209 | 2616114.2074 | 1270662.7299
48 | 2616114.2074 | 1270662.7299 | 2616116.3652 | 1270649.9338
49 | 2616104.6589 | 1270655.3209 | 2616088.9252 | 1270634.6634
50 | 2616104.6589 | 1270655.3209 | 2616090.9986 | 1270663.2064
51 | 2616116.3652 | 1270649.9338 | 2616119.6604 | 1270630.3922
52 | 2616048.9211 | 1270573.2668 | 2616045.0406 | 1270578.3822 | 2616040.506 | 1270585.2689
53 | 2616048.9211 | 1270573.2668 | 2616055.7517 | 1270578.7893 | 2616060.8681 | 1270583.9624 | 2616067.2789 | 1270580.644
54 | 2616036.7735 | 1270556.6667 | 2616043.2064 | 1270558.4297 | 2616053.1027 | 1270565.4744
55 | 2616012.8618 | 1270521.6103 | 2616016.6355 | 1270548.3175
56 | 2616067.2789 | 1270580.644 | 2616077.4287 | 1270575.3951
57 | 2616067.2789 | 1270580.644 | 2616075.4837 | 1270595.3768
58 | 2616067.2789 | 1270580.644 | 2616061.8051 | 1270574.0801 | 2616054.2134 | 1270566.2651 | 2616053.1027 | 1270565.4744
59 | 2616112.7983 | 1270434.041 | 2616119.7893 | 1270430.4463
60 | 2616081.9192 | 1270449.924 | 2616079.4822 | 1270444.2356 | 2616076.4542 | 1270437.2306
61 | 2616012.8618 | 1270521.6103 | 2616004.8177 | 1270522.4559 | 2615995.0538 | 1270523.485
62 | 2616012.8618 | 1270521.6103 | 2616011.6319 | 1270512.5952
63 | 2616016.2193 | 1270477.2977 | 2616016.9088 | 1270477.1674 | 2616018.5653 | 1270476.7644
64 | 2616027.3497 | 1270474.6271 | 2616027.3497 | 1270474.6271 | 2616018.5653 | 1270476.7644
65 | 2616112.7983 | 1270434.041 | 2616125.5107 | 1270468.4412
66 | 2616112.7983 | 1270434.041 | 2616109.6193 | 1270435.6668 | 2616106.7114 | 1270437.16 | 2616102.4475 | 1270439.35
67 | 2616035.104 | 1270471.398 | 2616027.3497 | 1270474.6271
68 | 2616035.104 | 1270471.398 | 2616041.8954 | 1270468.5698
69 | 2616045.6886 | 1270466.9901 | 2616041.8954 | 1270468.5698
70 | 2616045.6886 | 1270466.9901 | 2616055.054 | 1270463.09
71 | 2616062.34 | 1270460.0559 | 2616055.054 | 1270463.09
72 | 2616062.34 | 1270460.0559 | 2616066.0672 | 1270458.1271
73 | 2616062.34 | 1270460.0559 | 2616069.7929 | 1270474.4609
74 | 2616081.9192 | 1270449.924 | 2616066.0672 | 1270458.1271
75 | 2616069.7929 | 1270474.4609 | 2616070.9999 | 1270476.7939
76 | 2616082.6999 | 1270449.5219 | 2616081.9192 | 1270449.924
77 | 2616080.5874 | 1270495.3247 | 2616070.9999 | 1270476.7939
78 | 2616102.4475 | 1270439.35 | 2616082.6999 | 1270449.5219
79 | 2616083.6122 | 1270501.1711 | 2616080.5874 | 1270495.3247
80 | 2616102.4475 | 1270439.35 | 2616100.819 | 1270435.1203 | 2616098.1846 | 1270428.2927
81 | 2616130.3865 | 1270481.6352 | 2616125.5107 | 1270468.4412
82 | 2616130.4309 | 1270481.7556 | 2616130.3865 | 1270481.6352
83 | 2616132.8217 | 1270488.2252 | 2616130.4309 | 1270481.7556
84 | 2616131.7412 | 1270542.2611 | 2616118.3212 | 1270546.4926
85 | 2616108.6401 | 1270549.5452 | 2616118.3212 | 1270546.4926
86 | 2616088.9252 | 1270634.6634 | 2616083.506 | 1270623.8085
87 | 2616088.9252 | 1270634.6634 | 2616079.0033 | 1270638.0772
88 | 2616120.6765 | 1270608.9888 | 2616120.8211 | 1270623.5088 | 2616119.6604 | 1270630.3922
89 | 2616139.3797 | 1270631.3004 | 2616142.1158 | 1270643.4699 | 2616142.7226 | 1270644.3249
90 | 2616139.3797 | 1270631.3004 | 2616137.8244 | 1270624.3825
91 | 2616049.1351 | 1270629.8369 | 2616049.0696 | 1270629.5184 | 2616048.7072 | 1270627.429
92 | 2616068.7263 | 1270641.6132 | 2616054.3045 | 1270646.5752
93 | 2616120.5704 | 1270598.2774 | 2616120.4685 | 1270587.9554
94 | 2616120.638 | 1270605.1174 | 2616120.5704 | 1270598.2774
95 | 2616118.1185 | 1270577.2574 | 2616120.4198 | 1270583.0233 | 2616120.4685 | 1270587.9554
96 | 2616120.638 | 1270605.1174 | 2616128.6697 | 1270603.2379 | 2616133.415 | 1270609.3617
97 | 2616120.638 | 1270605.1174 | 2616120.6765 | 1270608.9888
98 | 2616118.1185 | 1270577.2574 | 2616113.6842 | 1270564.6154
99 | 2616118.1185 | 1270577.2574 | 2616108.7072 | 1270579.6448
100 | 2616133.415 | 1270609.3617 | 2616134.8691 | 1270611.2383 | 2616137.8244 | 1270624.3825
101 | 2616111.3181 | 1270557.8696 | 2616113.6842 | 1270564.6154
102 | 2616097.9193 | 1270586.7043 | 2616100.4937 | 1270585.293 | 2616106.1492 | 1270580.2937 | 2616108.7072 | 1270579.6448
103 | 2616111.3181 | 1270557.8696 | 2616097.6556 | 1270564.935
104 | 2616111.3181 | 1270557.8696 | 2616108.6401 | 1270549.5452
105 | 2616087.7861 | 1270591.1329 | 2616093.329 | 1270589.2208 | 2616097.9193 | 1270586.7043
106 | 2616075.4837 | 1270595.3768 | 2616084.0629 | 1270592.4173
107 | 2616045.8632 | 1270611.0295 | 2616048.7072 | 1270627.429
108 | 2616068.7263 | 1270641.6132 | 2616079.0033 | 1270638.0772
109 | 2616084.0629 | 1270592.4173 | 2616087.7861 | 1270591.1329
110 | 2616108.6401 | 1270549.5452 | 2616100.0155 | 1270532.8755
111 | 2616083.6122 | 1270501.1711 | 2616088.0793 | 1270509.8051
112 | 2616094.9194 | 1270523.0257 | 2616088.0793 | 1270509.8051
113 | 2616094.9194 | 1270523.0257 | 2616095.8335 | 1270524.7926
114 | 2616100.0155 | 1270532.8755 | 2616095.8335 | 1270524.7926

## bus_geodata
| x | y | coords
0 | 2615960.4432 | 1270844.2415
1 | 2615936.2163 | 1270786.0478
2 | 2615944.4193 | 1270692.4587
3 | 2615961.0358 | 1270692.7036
4 | 2615966.6287 | 1270691.3399
5 | 2615934.1165 | 1270698.764
6 | 2616145.7239 | 1270418.1303
7 | 2616107.5756 | 1270343.4178
8 | 2616140.2228 | 1270420.3006
9 | 2616009.9441 | 1270356.9297
10 | 2616035.1817 | 1270340.9087
11 | 2615978.2793 | 1270351.685
12 | 2616003.5595 | 1270342.1568
13 | 2616009.2194 | 1270563.875
14 | 2616018.0657 | 1270558.4395
15 | 2616011.3806 | 1270580.3714
16 | 2616131.5883 | 1270423.7069
17 | 2616121.3188 | 1270429.5727
18 | 2616053.2417 | 1270383.5101
19 | 2616068.53 | 1270418.8989
20 | 2616049.3581 | 1270374.5207
21 | 2615949.3293 | 1270637.366
22 | 2615835.4284 | 1270759.1252
23 | 2616023.7882 | 1270645.5665
24 | 2615972.7438 | 1270404.1852
25 | 2616108.6815 | 1270346.1672
26 | 2616100.5959 | 1270381.5927
27 | 2616113.8237 | 1270415.262
28 | 2616112.8133 | 1270375.9775
29 | 2615978.2812 | 1270417.9321
30 | 2615828.2173 | 1270809.4488
31 | 2615972.084 | 1270715.632
32 | 2616092.6666 | 1270702.9111
33 | 2616071.7414 | 1270674.3229
34 | 2616098.0146 | 1270700.3238
35 | 2616119.8016 | 1270691.3321
36 | 2616104.046 | 1270676.034
37 | 2616041.4425 | 1270648.6781
38 | 2616052.6929 | 1270647.1297
39 | 2616153.9476 | 1270536.3258
40 | 2616135.5856 | 1270541.0489
41 | 2616161.5269 | 1270535.4846
42 | 2616114.2074 | 1270662.7299
43 | 2616104.6589 | 1270655.3209
44 | 2616116.3652 | 1270649.9338
45 | 2615972.4496 | 1270717.2993
46 | 2616040.506 | 1270585.2689
47 | 2616048.9211 | 1270573.2668
48 | 2616036.7735 | 1270556.6667
49 | 2616016.6355 | 1270548.3175
50 | 2616067.2789 | 1270580.644
51 | 2616119.7893 | 1270430.4463
52 | 2616072.167 | 1270412.2149
53 | 2616076.4542 | 1270437.2306
54 | 2615995.0538 | 1270523.485
55 | 2616012.8618 | 1270521.6103
56 | 2616011.6319 | 1270512.5952
57 | 2616016.2193 | 1270477.2977
58 | 2616018.5653 | 1270476.7644
59 | 2616111.3173 | 1270372.8267
60 | 2616112.7983 | 1270434.041
61 | 2616035.104 | 1270471.398
62 | 2616027.3497 | 1270474.6271
63 | 2616041.8954 | 1270468.5698
64 | 2616045.6886 | 1270466.9901
65 | 2616055.054 | 1270463.09
66 | 2616062.34 | 1270460.0559
67 | 2616066.0672 | 1270458.1271
68 | 2616069.7929 | 1270474.4609
69 | 2616081.9192 | 1270449.924
70 | 2616070.9999 | 1270476.7939
71 | 2616082.6999 | 1270449.5219
72 | 2616080.5874 | 1270495.3247
73 | 2616102.4475 | 1270439.35
74 | 2616098.1846 | 1270428.2927
75 | 2616125.5107 | 1270468.4412
76 | 2616130.3865 | 1270481.6352
77 | 2616132.8217 | 1270488.2252
78 | 2616130.4309 | 1270481.7556
79 | 2616131.7412 | 1270542.2611
80 | 2616118.3212 | 1270546.4926
81 | 2616090.9986 | 1270663.2064
82 | 2616088.9252 | 1270634.6634
83 | 2616119.6604 | 1270630.3922
84 | 2616142.7226 | 1270644.3249
85 | 2616139.3797 | 1270631.3004
86 | 2616049.1351 | 1270629.8369
87 | 2616054.3045 | 1270646.5752
88 | 2616120.5704 | 1270598.2774
89 | 2616120.4685 | 1270587.9554
90 | 2616120.638 | 1270605.1174
91 | 2616118.1185 | 1270577.2574
92 | 2616133.415 | 1270609.3617
93 | 2616120.6765 | 1270608.9888
94 | 2616113.6842 | 1270564.6154
95 | 2616108.7072 | 1270579.6448
96 | 2616137.8244 | 1270624.3825
97 | 2616111.3181 | 1270557.8696
98 | 2616097.9193 | 1270586.7043
99 | 2616077.4287 | 1270575.3951
100 | 2616075.4837 | 1270595.3768
101 | 2616053.1027 | 1270565.4744
102 | 2616045.8632 | 1270611.0295
103 | 2616048.7072 | 1270627.429
104 | 2616083.506 | 1270623.8085
105 | 2616079.0033 | 1270638.0772
106 | 2616068.7263 | 1270641.6132
107 | 2616084.0629 | 1270592.4173
108 | 2616087.7861 | 1270591.1329
109 | 2616097.6556 | 1270564.935
110 | 2616108.6401 | 1270549.5452
111 | 2616083.6122 | 1270501.1711
112 | 2616088.0793 | 1270509.8051
113 | 2616094.9194 | 1270523.0257
114 | 2616095.8335 | 1270524.7926
115 | 2616100.0155 | 1270532.8755
116 | 2616018.0657 | 1270558.4395

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1