## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-25_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-25_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-25_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2703-25_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_2703-25_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2703-25_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2703-25_0_4_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_2703-25_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2703-25_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_2703-25_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_2703-25_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2703-25_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2703-25_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2703-25_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2703-25_0_4_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_2703-25_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_2703-25_0_4_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_2703-25_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_2703-25_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2703-25_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2703-25_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2703-25_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2703-25_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2703-25_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2703-25_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2703-25_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_2703-25_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_2703-25_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2703-25_0_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_2703-25_0_4_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_2703-25_0_4_node_109 | 0.4 | n |  | TRUE
34 | bus_LV_2703-25_0_4_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2703-25_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2703-25_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_2703-25_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_2703-25_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2703-25_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2703-25_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2703-25_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2703-25_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2703-25_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2703-25_0_4_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_2703-25_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2703-25_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2703-25_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2703-25_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2703-25_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_2703-25_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_2703-25_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2703-25_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2703-25_0_4_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_2703-25_0_4_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_2703-25_0_4_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_2703-25_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_2703-25_0_4_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_2703-25_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2703-25_0_4_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_2703-25_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2703-25_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2703-25_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_2703-25_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_2703-25_0_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_2703-25_0_4_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_2703-25_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_2703-25_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2703-25_0_4_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_2703-25_0_4_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_2703-25_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_2703-25_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_2703-25_0_4_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_2703-25_0_4_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_2703-25_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_2703-25_0_4_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_2703-25_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2703-25_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2703-25_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_2703-25_0_4_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_2703-25_0_4_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_2703-25_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_2703-25_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_2703-25_0_4_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_2703-25_0_4_node_106 | 0.4 | n |  | TRUE
85 | bus_LV_2703-25_0_4_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_2703-25_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_2703-25_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2703-25_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_2703-25_0_4_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_2703-25_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_2703-25_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_2703-25_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_2703-25_0_4_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_2703-25_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_2703-25_0_4_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_2703-25_0_4_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_2703-25_0_4_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_2703-25_0_4_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_2703-25_0_4_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_2703-25_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_2703-25_0_4_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_2703-25_0_4_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_2703-25_0_4_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_2703-25_0_4_node_97 | 0.4 | n |  | TRUE
105 | bus_MV_347_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-25_0_4_load_0 | 0 | 0.0015697 | 0.0003934 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-25_0_4_load_3 | 3 | 0.0031486 | 0.00078912 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-25_0_4_load_9 | 5 | 0.0085934 | 0.0021537 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-25_0_4_load_39 | 6 | 0.0025518 | 0.00063954 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-25_0_4_load_33 | 7 | 0.0028348 | 0.00071046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-25_0_4_load_85 | 9 | 0.0034517 | 0.00086507 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-25_0_4_load_32 | 12 | 0.00283 | 0.00070927 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-25_0_4_load_5 | 13 | 0.0019783 | 0.0004958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-25_0_4_load_6 | 14 | 0.0013561 | 0.00033988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-25_0_4_load_8 | 15 | 0.0015581 | 0.00039049 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-25_0_4_load_10 | 16 | 0.0015433 | 0.00038678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-25_0_4_load_71 | 17 | 0.0014909 | 0.00037365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-25_0_4_load_74 | 18 | 0.0014179 | 0.00035537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-25_0_4_load_72 | 19 | 0.0012147 | 0.00030443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-25_0_4_load_75 | 20 | 0.0014176 | 0.00035528 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-25_0_4_load_12 | 21 | 0.0082479 | 0.0020671 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-25_0_4_load_13 | 22 | 0.008595 | 0.0021541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-25_0_4_load_16 | 25 | 0.0045951 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-25_0_4_load_17 | 26 | 0.001556 | 0.00038997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-25_0_4_load_29 | 30 | 0.0020832 | 0.00052209 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-25_0_4_load_86 | 31 | 0.0028354 | 0.00071062 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-25_0_4_load_109 | 33 | 0.0017693 | 0.00044343 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-25_0_4_load_66 | 34 | 0.0066378 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-25_0_4_load_30 | 35 | 0.0022071 | 0.00055316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-25_0_4_load_18 | 36 | 0.0006076 | 0.00015228 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-25_0_4_load_19 | 37 | 0.0015709 | 0.00039371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-25_0_4_load_20 | 38 | 0.00059548 | 0.00014924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-25_0_4_load_21 | 39 | 0.00041177 | 0.0001032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-25_0_4_load_22 | 40 | 0.0037989 | 0.00095209 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-25_0_4_load_52 | 41 | 0.0017288 | 0.00043328 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-25_0_4_load_53 | 43 | 0.00044083 | 0.00011048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-25_0_4_load_100 | 44 | 0.0020458 | 0.00051272 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-25_0_4_load_23 | 45 | 0.0016977 | 0.00042548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-25_0_4_load_24 | 46 | 0.0010065 | 0.00025225 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-25_0_4_load_60 | 49 | 0.0034479 | 0.00086412 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-25_0_4_load_44 | 51 | 0.0035305 | 0.00088483 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-25_0_4_load_48 | 52 | 0.003262 | 0.00081752 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-25_0_4_load_105 | 53 | 0.0010875 | 0.00027254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-25_0_4_load_101 | 55 | 0.0030924 | 0.00077502 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-25_0_4_load_110 | 59 | 0.0063739 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-25_0_4_load_42 | 61 | 0.0034815 | 0.00087256 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-25_0_4_load_47 | 62 | 0.0033631 | 0.00084288 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-25_0_4_load_104 | 63 | 0.018157 | 0.0045506 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-25_0_4_load_103 | 64 | 0.0024245 | 0.00060762 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-25_0_4_load_31 | 65 | 0.0015222 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-25_0_4_load_69 | 66 | 0.0025058 | 0.00062801 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-25_0_4_load_70 | 67 | 0.002002 | 0.00050175 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-25_0_4_load_34 | 68 | 0.013073 | 0.0032765 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-25_0_4_load_35 | 69 | 0.0028092 | 0.00070406 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-25_0_4_load_36 | 70 | 0.0054368 | 0.0013626 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-25_0_4_load_38 | 71 | 0.0054343 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-25_0_4_load_99 | 72 | 0.0020702 | 0.00051884 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-25_0_4_load_41 | 73 | 0.011251 | 0.0028199 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-25_0_4_load_43 | 74 | 0.004752 | 0.001191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-25_0_4_load_46 | 75 | 0.0092239 | 0.0023117 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-25_0_4_load_65 | 76 | 0.0066229 | 0.0016599 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-25_0_4_load_67 | 77 | 0.07617 | 0.01909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-25_0_4_load_54 | 78 | 0.0020001 | 0.00050128 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-25_0_4_load_58 | 79 | 0.0019992 | 0.00050105 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-25_0_4_load_56 | 80 | 0.0011509 | 0.00028844 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-25_0_4_load_55 | 81 | 0.0067763 | 0.0016983 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-25_0_4_load_57 | 82 | 0.0089108 | 0.0022333 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-25_0_4_load_106 | 84 | 0.0089474 | 0.0022424 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-25_0_4_load_94 | 85 | 0.0065679 | 0.0016461 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-25_0_4_load_68 | 86 | 0.0091312 | 0.0022885 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-25_0_4_load_89 | 88 | 0.0094995 | 0.0023808 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-25_0_4_load_73 | 89 | 0.0018315 | 0.00045902 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-25_0_4_load_95 | 90 | 0.0019076 | 0.00047808 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-25_0_4_load_87 | 91 | 0.0021152 | 0.00053012 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-25_0_4_load_76 | 92 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-25_0_4_load_77 | 93 | 0.0011347 | 0.00028439 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-25_0_4_load_78 | 94 | 0.0018075 | 0.00045299 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-25_0_4_load_79 | 95 | 0.0012435 | 0.00031164 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-25_0_4_load_80 | 96 | 0.015986 | 0.0040065 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-25_0_4_load_83 | 97 | 0.0011346 | 0.00028436 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-25_0_4_load_81 | 98 | 0.0012863 | 0.00032238 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-25_0_4_load_82 | 99 | 0.0014569 | 0.00036514 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-25_0_4_load_84 | 100 | 0.0015411 | 0.00038624 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-25_0_4_load_92 | 101 | 0.0031333 | 0.00078528 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2703-25_0_4_load_93 | 102 | 0.0014291 | 0.00035816 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2703-25_0_4_load_96 | 103 | 0.0019815 | 0.0004966 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2703-25_0_4_load_97 | 104 | 0.0020351 | 0.00051003 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-25_0_4_line_0 |  | 0 | 1 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-25_0_4_line_1 |  | 1 | 2 | 0.021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-25_0_4_line_2 |  | 1 | 3 | 0.01291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-25_0_4_line_3 |  | 1 | 4 | 0.054324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-25_0_4_line_4 |  | 2 | 5 | 0.022997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-25_0_4_line_5 |  | 3 | 6 | 0.040207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-25_0_4_line_6 |  | 4 | 7 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-25_0_4_line_7 |  | 6 | 11 | 0.0247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-25_0_4_line_8 |  | 7 | 12 | 0.012915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-25_0_4_line_9 |  | 8 | 9 | 0.030171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-25_0_4_line_10 |  | 8 | 10 | 0.004452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-25_0_4_line_11 |  | 10 | 16 | 0.031079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-25_0_4_line_12 |  | 10 | 13 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-25_0_4_line_13 |  | 11 | 70 | 0.045761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-25_0_4_line_14 |  | 12 | 68 | 0.020761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-25_0_4_line_15 |  | 13 | 14 | 0.0072947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-25_0_4_line_16 |  | 14 | 15 | 0.0047913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-25_0_4_line_17 |  | 15 | 17 | 0.0014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-25_0_4_line_18 |  | 16 | 18 | 0.0056402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-25_0_4_line_19 |  | 17 | 19 | 0.0042983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-25_0_4_line_20 |  | 18 | 20 | 0.0054003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-25_0_4_line_21 |  | 19 | 89 | 0.0029533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-25_0_4_line_22 |  | 20 | 31 | 0.0087225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-25_0_4_line_23 |  | 21 | 22 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2703-25_0_4_line_24 |  | 21 | 23 | 0.038996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2703-25_0_4_line_25 |  | 22 | 24 | 0.0058972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2703-25_0_4_line_26 |  | 23 | 25 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2703-25_0_4_line_27 |  | 23 | 26 | 0.064234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-25_0_4_line_28 |  | 24 | 27 | 0.005835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2703-25_0_4_line_29 |  | 24 | 28 | 0.045988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-25_0_4_line_30 |  | 24 | 29 | 0.033777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-25_0_4_line_31 |  | 25 | 30 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2703-25_0_4_line_32 |  | 26 | 31 | 0.0083572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-25_0_4_line_33 |  | 27 | 32 | 0.065657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2703-25_0_4_line_34 |  | 28 | 33 | 0.069056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-25_0_4_line_35 |  | 29 | 34 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-25_0_4_line_36 |  | 30 | 35 | 0.0066043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-25_0_4_line_37 |  | 32 | 54 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2703-25_0_4_line_38 |  | 32 | 55 | 0.0034347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-25_0_4_line_39 |  | 33 | 56 | 0.054003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-25_0_4_line_40 |  | 34 | 77 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-25_0_4_line_41 |  | 35 | 65 | 0.00037297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-25_0_4_line_42 |  | 36 | 37 | 0.0184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-25_0_4_line_43 |  | 36 | 38 | 0.00070705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-25_0_4_line_44 |  | 37 | 39 | 0.0014246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-25_0_4_line_45 |  | 38 | 40 | 0.0039895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-25_0_4_line_46 |  | 39 | 41 | 0.0038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-25_0_4_line_47 |  | 40 | 42 | 0.018637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-25_0_4_line_48 |  | 41 | 43 | 0.0040948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-25_0_4_line_49 |  | 42 | 44 | 0.0014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-25_0_4_line_50 |  | 43 | 78 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-25_0_4_line_51 |  | 44 | 72 | 0.0076204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-25_0_4_line_52 |  | 45 | 46 | 0.027189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-25_0_4_line_53 |  | 46 | 47 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-25_0_4_line_54 |  | 47 | 48 | 0.009634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2703-25_0_4_line_55 |  | 47 | 49 | 0.028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2703-25_0_4_line_56 |  | 48 | 53 | 0.016489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2703-25_0_4_line_57 |  | 49 | 60 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-25_0_4_line_58 |  | 50 | 51 | 0.005308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-25_0_4_line_59 |  | 50 | 52 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-25_0_4_line_60 |  | 51 | 61 | 0.028012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-25_0_4_line_61 |  | 52 | 62 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-25_0_4_line_62 |  | 53 | 54 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_2703-25_0_4_line_63 |  | 54 | 64 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-25_0_4_line_64 |  | 56 | 57 | 0.035925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-25_0_4_line_65 |  | 56 | 58 | 0.071625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-25_0_4_line_66 |  | 57 | 85 | 0.007649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-25_0_4_line_67 |  | 58 | 59 | 0.002741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-25_0_4_line_68 |  | 60 | 74 | 0.01906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-25_0_4_line_69 |  | 61 | 73 | 0.005338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-25_0_4_line_70 |  | 62 | 69 | 0.03499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-25_0_4_line_71 |  | 63 | 64 | 0.024074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-25_0_4_line_72 |  | 65 | 66 | 0.0075533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-25_0_4_line_73 |  | 66 | 67 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-25_0_4_line_74 |  | 67 | 78 | 0.0091684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-25_0_4_line_75 |  | 68 | 69 | 0.0045382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-25_0_4_line_76 |  | 70 | 71 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-25_0_4_line_77 |  | 72 | 104 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-25_0_4_line_78 |  | 73 | 74 | 0.033527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-25_0_4_line_79 |  | 74 | 75 | 0.023008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-25_0_4_line_80 |  | 75 | 76 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-25_0_4_line_81 |  | 77 | 86 | 0.0017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-25_0_4_line_82 |  | 78 | 79 | 0.012746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-25_0_4_line_83 |  | 79 | 80 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-25_0_4_line_84 |  | 80 | 81 | 0.019148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-25_0_4_line_85 |  | 81 | 82 | 0.0017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-25_0_4_line_86 |  | 82 | 83 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-25_0_4_line_87 |  | 83 | 84 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-25_0_4_line_88 |  | 85 | 102 | 0.0051715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-25_0_4_line_89 |  | 86 | 87 | 0.04038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-25_0_4_line_90 |  | 87 | 88 | 0.0020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-25_0_4_line_91 |  | 89 | 90 | 0.0029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-25_0_4_line_92 |  | 90 | 91 | 0.0094101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-25_0_4_line_93 |  | 91 | 100 | 0.0039893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2703-25_0_4_line_94 |  | 92 | 93 | 0.0057246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2703-25_0_4_line_95 |  | 92 | 94 | 0.00073796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2703-25_0_4_line_96 |  | 93 | 95 | 0.0001345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-25_0_4_line_97 |  | 94 | 96 | 0.0060068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2703-25_0_4_line_98 |  | 95 | 97 | 0.0051633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2703-25_0_4_line_99 |  | 97 | 98 | 0.00081963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2703-25_0_4_line_100 |  | 98 | 99 | 0.0052329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-25_0_4_line_101 |  | 99 | 100 | 0.0066768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2703-25_0_4_line_102 |  | 101 | 102 | 0.044223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2703-25_0_4_line_103 |  | 103 | 104 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-25_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 105 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2615845.556 | 1269998.7001 | 2615836.5663 | 1269989.9699 | 2615829.9345 | 1269980.0896 | 2615826.5652 | 1269971.5781
1 | 2615845.556 | 1269998.7001 | 2615847.7673 | 1270010.1364 | 2615848.1841 | 1270020.278
2 | 2615845.556 | 1269998.7001 | 2615851.7408 | 1269987.3685
3 | 2615826.4315 | 1270049.4295 | 2615832.6089 | 1270029.4096 | 2615834.8924 | 1270022.3329 | 2615839.9805 | 1270010.2156 | 2615845.556 | 1269998.7001
4 | 2615848.1841 | 1270020.278 | 2615863.5404 | 1270037.3971
5 | 2615851.7408 | 1269987.3685 | 2615871.0035 | 1269952.0763
6 | 2615826.4315 | 1270049.4295 | 2615836.852 | 1270062.2389
7 | 2615882.8368 | 1269930.3958 | 2615871.0035 | 1269952.0763
8 | 2615845.0037 | 1270072.2564 | 2615841.9237 | 1270068.4733 | 2615836.852 | 1270062.2389
9 | 2615909.982 | 1270095.4969 | 2615930.367 | 1270117.739
10 | 2615909.982 | 1270095.4969 | 2615912.1816 | 1270091.6223
11 | 2615912.1816 | 1270091.6223 | 2615932.9385 | 1270114.7537
12 | 2615912.1816 | 1270091.6223 | 2615914.13 | 1270086.068 | 2615916.2884 | 1270079.9146
13 | 2615882.8368 | 1269930.3958 | 2615891.1977 | 1269935.1215 | 2615907.3074 | 1269939.9904 | 2615922.1807 | 1269940.2083 | 2615926.6329 | 1269940.2658
14 | 2615858.1111 | 1270088.3561 | 2615845.0037 | 1270072.2564
15 | 2615916.2884 | 1270079.9146 | 2615918.7029 | 1270073.0311
16 | 2615920.2888 | 1270068.5099 | 2615918.7029 | 1270073.0311
17 | 2615920.7561 | 1270067.1776 | 2615920.2888 | 1270068.5099
18 | 2615932.9385 | 1270114.7537 | 2615936.7054 | 1270118.9515
19 | 2615920.7561 | 1270067.1776 | 2615922.1788 | 1270063.1216
20 | 2615940.3121 | 1270122.9708 | 2615936.7054 | 1270118.9515
21 | 2615922.1788 | 1270063.1216 | 2615923.1563 | 1270060.3347
22 | 2615940.3121 | 1270122.9708 | 2615945.5975 | 1270128.8608 | 2615946.158 | 1270129.4439
23 | 2616033.223 | 1270224.884 | 2616022.9666 | 1270210.3688
24 | 2615996.462 | 1270181.7798 | 2616022.2444 | 1270209.3468 | 2616022.9666 | 1270210.3688
25 | 2616036.6262 | 1270229.7002 | 2616033.223 | 1270224.884
26 | 2615996.462 | 1270181.7798 | 2616005.7247 | 1270169.9742 | 2616005.7247 | 1270169.9742
27 | 2615996.462 | 1270181.7798 | 2615951.9493 | 1270135.4691
28 | 2616036.6262 | 1270229.7002 | 2616031.8549 | 1270233.0786
29 | 2616036.6262 | 1270229.7002 | 2616042.4249 | 1270238.6333 | 2616059.9607 | 1270269.3137
30 | 2616036.6262 | 1270229.7002 | 2616042.4249 | 1270238.6333 | 2616063.4628 | 1270229.0279
31 | 2616005.7247 | 1270169.9742 | 2616007.7956 | 1270155.1745
32 | 2615951.9493 | 1270135.4691 | 2615946.158 | 1270129.4439
33 | 2616021.894 | 1270283.3096 | 2616021.2272 | 1270279.5162 | 2616017.5555 | 1270262.9945 | 2616021.9357 | 1270259.515 | 2616032.6814 | 1270252.9394 | 2616040.5934 | 1270248.1907 | 2616038.1229 | 1270243.7364 | 2616035.3753 | 1270238.7922 | 2616031.8549 | 1270233.0786
34 | 2616059.9607 | 1270269.3137 | 2616065.8983 | 1270279.7039 | 2616072.7044 | 1270291.6197 | 2616081.4864 | 1270301.7174 | 2616089.1059 | 1270310.4887 | 2616103.6201 | 1270321.7411
35 | 2616063.4628 | 1270229.0279 | 2616076.0623 | 1270222.6977
36 | 2616007.7956 | 1270155.1745 | 2616008.7108 | 1270148.6339
37 | 2616011.9084 | 1270287.0297 | 2616018.1576 | 1270285.1564 | 2616021.894 | 1270283.3096
38 | 2616021.894 | 1270283.3096 | 2616025.0561 | 1270281.9688
39 | 2616151.3646 | 1270346.9061 | 2616148.3446 | 1270345.3412 | 2616144.5284 | 1270343.3628 | 2616142.7855 | 1270342.4574 | 2616140.607 | 1270341.3284 | 2616123.922 | 1270332.688 | 2616120.4664 | 1270330.8884 | 2616112.6835 | 1270326.8644 | 2616105.2688 | 1270323.0193 | 2616103.6201 | 1270321.7411
40 | 2616076.0623 | 1270222.6977 | 2616088.3872 | 1270216.5055
41 | 2616008.7625 | 1270148.2645 | 2616008.7108 | 1270148.6339
42 | 2616018.4426 | 1270071.1922 | 2616016.3761 | 1270089.4756
43 | 2616018.4426 | 1270071.1922 | 2616018.522 | 1270070.4897
44 | 2616016.3761 | 1270089.4756 | 2616016.2161 | 1270090.8911
45 | 2616018.522 | 1270070.4897 | 2616018.9701 | 1270066.5254
46 | 2616015.7819 | 1270094.733 | 2616016.2161 | 1270090.8911
47 | 2616021.0632 | 1270048.0067 | 2616018.9701 | 1270066.5254
48 | 2616015.7819 | 1270094.733 | 2616015.322 | 1270098.8019
49 | 2616021.0632 | 1270048.0067 | 2616021.2305 | 1270046.5321
50 | 2616013.8027 | 1270112.2439 | 2616015.322 | 1270098.8019
51 | 2616021.2305 | 1270046.5321 | 2616021.4794 | 1270044.3386 | 2616022.0873 | 1270038.9601
52 | 2615986.7022 | 1270262.6543 | 2615965.1758 | 1270279.263
53 | 2615994.8952 | 1270254.9499 | 2615991.009 | 1270259.3314 | 2615986.7022 | 1270262.6543
54 | 2615994.8952 | 1270254.9499 | 2615999.4086 | 1270263.4681
55 | 2615994.8952 | 1270254.9499 | 2615990.9632 | 1270248.4235 | 2615977.7667 | 1270232.4378
56 | 2615999.4086 | 1270263.4681 | 2616007.1363 | 1270278.0345
57 | 2615957.3467 | 1270207.8596 | 2615966.5479 | 1270218.8478 | 2615977.7667 | 1270232.4378
58 | 2615898.3417 | 1270138.2294 | 2615901.7701 | 1270142.2818
59 | 2615898.3417 | 1270138.2294 | 2615895.35 | 1270134.4743 | 2615891.9882 | 1270130.3072
60 | 2615919.8625 | 1270163.667 | 2615901.7701 | 1270142.2818
61 | 2615882.9506 | 1270119.1052 | 2615891.9882 | 1270130.3072
62 | 2616011.9084 | 1270287.0297 | 2616007.1363 | 1270278.0345
63 | 2616011.9084 | 1270287.0297 | 2616015.7182 | 1270294.2007 | 2616017.6505 | 1270298.8377
64 | 2616151.3646 | 1270346.9061 | 2616159.9907 | 1270312.027
65 | 2616107.0749 | 1270342.1823 | 2616107.5756 | 1270343.4178 | 2616117.2989 | 1270339.2969 | 2616119.1849 | 1270337.3673 | 2616135.8394 | 1270346.13 | 2616139.4495 | 1270349.2309 | 2616142.073 | 1270352.7294 | 2616143.4715 | 1270358.5262 | 2616147.2498 | 1270363.3733 | 2616148.52 | 1270358.2954 | 2616149.5164 | 1270354.2952 | 2616151.3646 | 1270346.9061
66 | 2616159.9907 | 1270312.027 | 2616161.8288 | 1270304.6021
67 | 2616105.2032 | 1270341.6323 | 2616105.6515 | 1270342.7566 | 2616107.0749 | 1270342.1823
68 | 2615957.3467 | 1270207.8596 | 2615944.9651 | 1270193.3382
69 | 2615923.3102 | 1270167.7422 | 2615919.8625 | 1270163.667
70 | 2615882.9506 | 1270119.1052 | 2615861.6376 | 1270092.6877 | 2615860.9764 | 1270091.8755
71 | 2616017.6505 | 1270298.8377 | 2616026.9106 | 1270321.0598
72 | 2616008.7625 | 1270148.2645 | 2616009.8092 | 1270140.7841
73 | 2616012.5321 | 1270121.3238 | 2616009.8092 | 1270140.7841
74 | 2616013.8027 | 1270112.2439 | 2616012.5321 | 1270121.3238
75 | 2615860.9764 | 1270091.8755 | 2615858.1111 | 1270088.3561
76 | 2615939.5592 | 1269940.4329 | 2615926.6329 | 1269940.2658
77 | 2616024.9627 | 1270013.5209 | 2616022.0873 | 1270038.9601
78 | 2615944.9651 | 1270193.3382 | 2615923.3102 | 1270167.7422
79 | 2615944.9651 | 1270193.3382 | 2615927.5003 | 1270208.316
80 | 2615919.2873 | 1270215.3595 | 2615927.5003 | 1270208.316
81 | 2616089.9832 | 1270215.7037 | 2616088.3872 | 1270216.5055
82 | 2616013.8027 | 1270112.2439 | 2616026.2968 | 1270114.7643
83 | 2616026.2968 | 1270114.7643 | 2616037.6743 | 1270117.0595
84 | 2616056.4442 | 1270120.846 | 2616037.6743 | 1270117.0595
85 | 2616056.4442 | 1270120.846 | 2616058.1827 | 1270121.1967
86 | 2616073.8052 | 1270124.3482 | 2616058.1827 | 1270121.1967
87 | 2616073.8052 | 1270124.3482 | 2616085.0862 | 1270125.7242
88 | 2616163.0715 | 1270299.5821 | 2616163.0715 | 1270299.5821 | 2616161.8288 | 1270304.6021
89 | 2616126.0652 | 1270197.5755 | 2616089.9832 | 1270215.7037
90 | 2616126.0652 | 1270197.5755 | 2616127.9127 | 1270196.6902
91 | 2615923.1563 | 1270060.3347 | 2615924.1481 | 1270057.5073
92 | 2615924.1481 | 1270057.5073 | 2615925.8584 | 1270052.6313 | 2615927.216 | 1270048.6115
93 | 2615928.4924 | 1270044.8318 | 2615927.216 | 1270048.6115
94 | 2615936.0921 | 1270022.3287 | 2615934.2604 | 1270027.7524
95 | 2615936.3282 | 1270021.6295 | 2615936.0921 | 1270022.3287
96 | 2615934.2604 | 1270027.7524 | 2615934.2174 | 1270027.8798
97 | 2615938.2502 | 1270015.9386 | 2615936.3282 | 1270021.6295
98 | 2615932.5653 | 1270032.7717 | 2615934.2174 | 1270027.8798
99 | 2615932.5653 | 1270032.7717 | 2615932.3031 | 1270033.5482
100 | 2615932.3031 | 1270033.5482 | 2615930.6287 | 1270038.506
101 | 2615930.6287 | 1270038.506 | 2615928.4924 | 1270044.8318
102 | 2616183.5372 | 1270260.6561 | 2616178.725 | 1270267.1907 | 2616171.9251 | 1270277.8797 | 2616163.0715 | 1270299.5821
103 | 2616026.982 | 1269995.6559 | 2616024.9627 | 1270013.5209

## bus_geodata
| x | y | coords
0 | 2615826.5652 | 1269971.5781
1 | 2615845.556 | 1269998.7001
2 | 2615848.1841 | 1270020.278
3 | 2615851.7408 | 1269987.3685
4 | 2615826.4315 | 1270049.4295
5 | 2615863.5404 | 1270037.3971
6 | 2615871.0035 | 1269952.0763
7 | 2615836.852 | 1270062.2389
8 | 2615909.982 | 1270095.4969
9 | 2615930.367 | 1270117.739
10 | 2615912.1816 | 1270091.6223
11 | 2615882.8368 | 1269930.3958
12 | 2615845.0037 | 1270072.2564
13 | 2615916.2884 | 1270079.9146
14 | 2615918.7029 | 1270073.0311
15 | 2615920.2888 | 1270068.5099
16 | 2615932.9385 | 1270114.7537
17 | 2615920.7561 | 1270067.1776
18 | 2615936.7054 | 1270118.9515
19 | 2615922.1788 | 1270063.1216
20 | 2615940.3121 | 1270122.9708
21 | 2616022.9666 | 1270210.3688
22 | 2616033.223 | 1270224.884
23 | 2615996.462 | 1270181.7798
24 | 2616036.6262 | 1270229.7002
25 | 2616005.7247 | 1270169.9742
26 | 2615951.9493 | 1270135.4691
27 | 2616031.8549 | 1270233.0786
28 | 2616059.9607 | 1270269.3137
29 | 2616063.4628 | 1270229.0279
30 | 2616007.7956 | 1270155.1745
31 | 2615946.158 | 1270129.4439
32 | 2616021.894 | 1270283.3096
33 | 2616103.6201 | 1270321.7411
34 | 2616076.0623 | 1270222.6977
35 | 2616008.7108 | 1270148.6339
36 | 2616018.4426 | 1270071.1922
37 | 2616016.3761 | 1270089.4756
38 | 2616018.522 | 1270070.4897
39 | 2616016.2161 | 1270090.8911
40 | 2616018.9701 | 1270066.5254
41 | 2616015.7819 | 1270094.733
42 | 2616021.0632 | 1270048.0067
43 | 2616015.322 | 1270098.8019
44 | 2616021.2305 | 1270046.5321
45 | 2615965.1758 | 1270279.263
46 | 2615986.7022 | 1270262.6543
47 | 2615994.8952 | 1270254.9499
48 | 2615999.4086 | 1270263.4681
49 | 2615977.7667 | 1270232.4378
50 | 2615898.3417 | 1270138.2294
51 | 2615901.7701 | 1270142.2818
52 | 2615891.9882 | 1270130.3072
53 | 2616007.1363 | 1270278.0345
54 | 2616011.9084 | 1270287.0297
55 | 2616025.0561 | 1270281.9688
56 | 2616151.3646 | 1270346.9061
57 | 2616159.9907 | 1270312.027
58 | 2616107.0749 | 1270342.1823
59 | 2616105.2032 | 1270341.6323
60 | 2615957.3467 | 1270207.8596
61 | 2615919.8625 | 1270163.667
62 | 2615882.9506 | 1270119.1052
63 | 2616026.9106 | 1270321.0598
64 | 2616017.6505 | 1270298.8377
65 | 2616008.7625 | 1270148.2645
66 | 2616009.8092 | 1270140.7841
67 | 2616012.5321 | 1270121.3238
68 | 2615858.1111 | 1270088.3561
69 | 2615860.9764 | 1270091.8755
70 | 2615926.6329 | 1269940.2658
71 | 2615939.5592 | 1269940.4329
72 | 2616022.0873 | 1270038.9601
73 | 2615923.3102 | 1270167.7422
74 | 2615944.9651 | 1270193.3382
75 | 2615927.5003 | 1270208.316
76 | 2615919.2873 | 1270215.3595
77 | 2616088.3872 | 1270216.5055
78 | 2616013.8027 | 1270112.2439
79 | 2616026.2968 | 1270114.7643
80 | 2616037.6743 | 1270117.0595
81 | 2616056.4442 | 1270120.846
82 | 2616058.1827 | 1270121.1967
83 | 2616073.8052 | 1270124.3482
84 | 2616085.0862 | 1270125.7242
85 | 2616161.8288 | 1270304.6021
86 | 2616089.9832 | 1270215.7037
87 | 2616126.0652 | 1270197.5755
88 | 2616127.9127 | 1270196.6902
89 | 2615923.1563 | 1270060.3347
90 | 2615924.1481 | 1270057.5073
91 | 2615927.216 | 1270048.6115
92 | 2615936.0921 | 1270022.3287
93 | 2615934.2604 | 1270027.7524
94 | 2615936.3282 | 1270021.6295
95 | 2615934.2174 | 1270027.8798
96 | 2615938.2502 | 1270015.9386
97 | 2615932.5653 | 1270032.7717
98 | 2615932.3031 | 1270033.5482
99 | 2615930.6287 | 1270038.506
100 | 2615928.4924 | 1270044.8318
101 | 2616183.5372 | 1270260.6561
102 | 2616163.0715 | 1270299.5821
103 | 2616026.982 | 1269995.6559
104 | 2616024.9627 | 1270013.5209
105 | 2615996.462 | 1270181.7798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1