## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-26_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-26_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2703-26_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2703-26_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2703-26_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_2703-26_0_4_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_2703-26_0_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_2703-26_0_4_node_103 | 0.4 | n |  | TRUE
12 | bus_LV_2703-26_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2703-26_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_2703-26_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_2703-26_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2703-26_0_4_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_2703-26_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2703-26_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_2703-26_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2703-26_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2703-26_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2703-26_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2703-26_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2703-26_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2703-26_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2703-26_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2703-26_0_4_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_2703-26_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2703-26_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_2703-26_0_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_2703-26_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_2703-26_0_4_node_101 | 0.4 | n |  | TRUE
33 | bus_LV_2703-26_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2703-26_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_2703-26_0_4_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_2703-26_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_2703-26_0_4_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_2703-26_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_2703-26_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2703-26_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2703-26_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_2703-26_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2703-26_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2703-26_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2703-26_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2703-26_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2703-26_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2703-26_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_2703-26_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2703-26_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2703-26_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2703-26_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2703-26_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2703-26_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2703-26_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2703-26_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2703-26_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_2703-26_0_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_2703-26_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_2703-26_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_2703-26_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_2703-26_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2703-26_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2703-26_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2703-26_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2703-26_0_4_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_2703-26_0_4_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_2703-26_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_2703-26_0_4_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_2703-26_0_4_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_2703-26_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2703-26_0_4_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_2703-26_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2703-26_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2703-26_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_2703-26_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2703-26_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_2703-26_0_4_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_2703-26_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2703-26_0_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_2703-26_0_4_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_2703-26_0_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_2703-26_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2703-26_0_4_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_2703-26_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_2703-26_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_2703-26_0_4_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_2703-26_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_2703-26_0_4_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_2703-26_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_2703-26_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_2703-26_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_2703-26_0_4_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_2703-26_0_4_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_2703-26_0_4_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_2703-26_0_4_node_80 | 0.4 | n |  | TRUE
97 | bus_MV_347_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-26_0_4_load_0 | 0 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-26_0_4_load_3 | 3 | 0.0031453 | 0.00078828 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-26_0_4_load_4 | 4 | 0.088471 | 0.022173 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-26_0_4_load_5 | 5 | 0.0059278 | 0.0014857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-26_0_4_load_38 | 10 | 0.001239 | 0.00031053 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-26_0_4_load_103 | 11 | 0.0011305 | 0.00028333 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-26_0_4_load_57 | 14 | 0.048287 | 0.012102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-26_0_4_load_37 | 15 | 0.048653 | 0.012194 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-26_0_4_load_90 | 18 | 0.00055928 | 0.00014017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-26_0_4_load_8 | 19 | 0.00048297 | 0.00012104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-26_0_4_load_33 | 26 | 0.0038269 | 0.00095911 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-26_0_4_load_99 | 27 | 0.0016637 | 0.00041695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-26_0_4_load_77 | 30 | 0.0016651 | 0.00041732 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-26_0_4_load_36 | 31 | 0.0018464 | 0.00046275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-26_0_4_load_101 | 32 | 0.040535 | 0.010159 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-26_0_4_load_61 | 34 | 0.0016673 | 0.00041786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-26_0_4_load_15 | 37 | 0.0018503 | 0.00046372 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-26_0_4_load_16 | 38 | 0.0043742 | 0.0010963 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-26_0_4_load_21 | 39 | 0.0035759 | 0.00089621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-26_0_4_load_30 | 42 | 0.0040898 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-26_0_4_load_42 | 43 | 0.0033733 | 0.00084542 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-26_0_4_load_28 | 44 | 0.003617 | 0.0009065 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-26_0_4_load_32 | 46 | 0.0018113 | 0.00045396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-26_0_4_load_26 | 47 | 0.0050852 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-26_0_4_load_56 | 48 | 0.0051061 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-26_0_4_load_48 | 51 | 0.0050355 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-26_0_4_load_49 | 52 | 0.0094876 | 0.0023778 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-26_0_4_load_46 | 53 | 0.0076098 | 0.0019072 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-26_0_4_load_74 | 58 | 0.018388 | 0.0046085 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-26_0_4_load_44 | 60 | 0.00096812 | 0.00024263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-26_0_4_load_53 | 61 | 0.0012239 | 0.00030673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-26_0_4_load_54 | 64 | 0.0098365 | 0.0024653 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-26_0_4_load_104 | 67 | 0.0011015 | 0.00027607 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-26_0_4_load_86 | 70 | 0.0016656 | 0.00041743 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-26_0_4_load_73 | 71 | 0.014903 | 0.0037351 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-26_0_4_load_84 | 72 | 0.01844 | 0.0046216 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-26_0_4_load_60 | 73 | 0.0016623 | 0.00041661 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-26_0_4_load_64 | 75 | 0.0013503 | 0.00033841 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-26_0_4_load_65 | 76 | 0.0013469 | 0.00033756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-26_0_4_load_81 | 77 | 0.0013502 | 0.00033839 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-26_0_4_load_97 | 78 | 0.001347 | 0.00033758 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-26_0_4_load_88 | 80 | 0.0010292 | 0.00025794 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-26_0_4_load_93 | 81 | 0.00086624 | 0.0002171 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-26_0_4_load_95 | 82 | 0.0013482 | 0.00033789 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-26_0_4_load_82 | 83 | 0.0016147 | 0.00040467 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-26_0_4_load_96 | 84 | 0.0016121 | 0.00040403 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-26_0_4_load_83 | 85 | 0.0013473 | 0.00033767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-26_0_4_load_92 | 86 | 0.0012694 | 0.00031813 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-26_0_4_load_94 | 87 | 0.0013474 | 0.00033768 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-26_0_4_load_68 | 88 | 0.0013484 | 0.00033794 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-26_0_4_load_69 | 89 | 0.01489 | 0.0037319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-26_0_4_load_70 | 90 | 0.017821 | 0.0044664 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-26_0_4_load_71 | 91 | 0.0013467 | 0.00033751 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-26_0_4_load_72 | 92 | 0.0016123 | 0.00040407 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-26_0_4_load_78 | 93 | 0.014904 | 0.0037352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-26_0_4_load_79 | 94 | 0.0013468 | 0.00033753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-26_0_4_load_76 | 95 | 0.0013468 | 0.00033754 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-26_0_4_load_80 | 96 | 0.014876 | 0.0037283 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-26_0_4_line_0 |  | 0 | 1 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-26_0_4_line_1 |  | 0 | 2 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-26_0_4_line_2 |  | 1 | 3 | 0.026895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-26_0_4_line_3 |  | 1 | 4 | 0.032424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-26_0_4_line_4 |  | 1 | 5 | 0.043361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-26_0_4_line_5 |  | 2 | 6 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-26_0_4_line_6 |  | 2 | 7 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-26_0_4_line_7 |  | 3 | 8 | 0.0018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-26_0_4_line_8 |  | 4 | 9 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2703-26_0_4_line_9 |  | 6 | 10 | 0.030533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-26_0_4_line_10 |  | 7 | 11 | 0.021152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-26_0_4_line_11 |  | 8 | 12 | 0.031042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-26_0_4_line_12 |  | 9 | 13 | 0.00875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2703-26_0_4_line_13 |  | 9 | 14 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-26_0_4_line_14 |  | 10 | 15 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-26_0_4_line_15 |  | 11 | 17 | 0.021191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-26_0_4_line_16 |  | 12 | 37 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-26_0_4_line_17 |  | 13 | 32 | 0.034698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2703-26_0_4_line_18 |  | 16 | 17 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-26_0_4_line_19 |  | 16 | 18 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-26_0_4_line_20 |  | 19 | 20 | 0.032998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-26_0_4_line_21 |  | 20 | 24 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-26_0_4_line_22 |  | 21 | 22 | 0.033917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2703-26_0_4_line_23 |  | 21 | 23 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2703-26_0_4_line_24 |  | 22 | 25 | 0.00176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2703-26_0_4_line_25 |  | 22 | 26 | 0.024911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-26_0_4_line_26 |  | 23 | 27 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2703-26_0_4_line_27 |  | 24 | 31 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-26_0_4_line_28 |  | 25 | 32 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2703-26_0_4_line_29 |  | 26 | 33 | 0.029164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-26_0_4_line_30 |  | 27 | 35 | 0.012764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2703-26_0_4_line_31 |  | 28 | 29 | 0.020778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2703-26_0_4_line_32 |  | 28 | 30 | 0.0096154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2703-26_0_4_line_33 |  | 29 | 34 | 0.019432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2703-26_0_4_line_34 |  | 30 | 36 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2703-26_0_4_line_35 |  | 31 | 33 | 0.046065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-26_0_4_line_36 |  | 34 | 73 | 0.00069789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2703-26_0_4_line_37 |  | 35 | 82 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2703-26_0_4_line_38 |  | 36 | 95 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2703-26_0_4_line_39 |  | 36 | 58 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2703-26_0_4_line_40 |  | 37 | 38 | 0.030876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-26_0_4_line_41 |  | 39 | 40 | 0.02957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-26_0_4_line_42 |  | 40 | 41 | 0.010813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-26_0_4_line_43 |  | 41 | 42 | 0.01921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-26_0_4_line_44 |  | 42 | 43 | 0.025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-26_0_4_line_45 |  | 43 | 54 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-26_0_4_line_46 |  | 44 | 45 | 0.0058202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-26_0_4_line_47 |  | 45 | 50 | 0.01055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-26_0_4_line_48 |  | 45 | 46 | 0.025878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-26_0_4_line_49 |  | 47 | 48 | 0.05245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-26_0_4_line_50 |  | 48 | 49 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-26_0_4_line_51 |  | 49 | 62 | 0.004756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-26_0_4_line_52 |  | 50 | 51 | 0.042982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-26_0_4_line_53 |  | 50 | 52 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-26_0_4_line_54 |  | 50 | 53 | 0.02312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-26_0_4_line_55 |  | 51 | 55 | 0.032717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-26_0_4_line_56 |  | 53 | 56 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-26_0_4_line_57 |  | 54 | 60 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-26_0_4_line_58 |  | 54 | 55 | 0.00987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-26_0_4_line_59 |  | 55 | 61 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-26_0_4_line_60 |  | 56 | 62 | 0.025894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-26_0_4_line_61 |  | 56 | 63 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-26_0_4_line_62 |  | 57 | 58 | 0.0038523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_2703-26_0_4_line_63 |  | 57 | 59 | 0.032267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_2703-26_0_4_line_64 |  | 62 | 64 | 0.0071376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-26_0_4_line_65 |  | 63 | 68 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-26_0_4_line_66 |  | 65 | 66 | 0.008137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-26_0_4_line_67 |  | 65 | 67 | 0.006536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-26_0_4_line_68 |  | 66 | 69 | 0.009659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-26_0_4_line_69 |  | 68 | 70 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-26_0_4_line_70 |  | 68 | 71 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-26_0_4_line_71 |  | 68 | 72 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-26_0_4_line_72 |  | 69 | 70 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-26_0_4_line_73 |  | 71 | 91 | 0.00078222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-26_0_4_line_74 |  | 73 | 74 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2703-26_0_4_line_75 |  | 74 | 75 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-26_0_4_line_76 |  | 74 | 76 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_2703-26_0_4_line_77 |  | 75 | 77 | 0.0052222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-26_0_4_line_78 |  | 76 | 78 | 0.0052171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_2703-26_0_4_line_79 |  | 77 | 83 | 0.0057327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-26_0_4_line_80 |  | 78 | 84 | 0.0057307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_2703-26_0_4_line_81 |  | 79 | 80 | 0.014232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-26_0_4_line_82 |  | 79 | 81 | 0.0091191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-26_0_4_line_83 |  | 80 | 85 | 0.0052157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-26_0_4_line_84 |  | 81 | 86 | 0.0029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-26_0_4_line_85 |  | 82 | 87 | 0.0052166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_2703-26_0_4_line_86 |  | 83 | 85 | 0.0057283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-26_0_4_line_87 |  | 84 | 87 | 0.0057312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_2703-26_0_4_line_88 |  | 88 | 89 | 0.00078552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-26_0_4_line_89 |  | 88 | 90 | 0.0049417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-26_0_4_line_90 |  | 89 | 91 | 0.0044317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-26_0_4_line_91 |  | 90 | 92 | 0.00078898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-26_0_4_line_92 |  | 92 | 93 | 0.0049418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-26_0_4_line_93 |  | 93 | 94 | 0.00078627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_2703-26_0_4_line_94 |  | 94 | 96 | 0.0044311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_2703-26_0_4_line_95 |  | 95 | 96 | 0.00078348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-26_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 97 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2616087.997 | 1269987.4561 | 2616085.143 | 1270008.5945
1 | 2616082.707 | 1270026.6362 | 2616085.143 | 1270008.5945
2 | 2616087.997 | 1269987.4561 | 2616080.0202 | 1269985.433 | 2616061.3819 | 1269984.4209
3 | 2616087.997 | 1269987.4561 | 2616096.0189 | 1269989.5015 | 2616118.6734 | 1269997.8535
4 | 2616087.997 | 1269987.4561 | 2616093.5814 | 1269944.4563
5 | 2616082.707 | 1270026.6362 | 2616086.2495 | 1270032.5389 | 2616092.5143 | 1270038.8715
6 | 2616082.707 | 1270026.6362 | 2616082.515 | 1270028.0812 | 2616080.0637 | 1270046.9991
7 | 2616059.5445 | 1269984.3212 | 2616061.3819 | 1269984.4209
8 | 2616135.5481 | 1270005.5648 | 2616128.0739 | 1270001.3192 | 2616118.6734 | 1269997.8535
9 | 2616092.5143 | 1270038.8715 | 2616094.0356 | 1270043.8347 | 2616097.2922 | 1270052.5053 | 2616103.7832 | 1270061.3848 | 2616107.5728 | 1270064.7698
10 | 2616080.0637 | 1270046.9991 | 2616079.7874 | 1270049.022 | 2616078.8543 | 1270049.0862 | 2616073.9636 | 1270049.3064 | 2616065.7456 | 1270050.2515 | 2616064.3819 | 1270045.4332
11 | 2616028.4549 | 1269982.6247 | 2616059.5445 | 1269984.3212
12 | 2616135.5481 | 1270005.5648 | 2616136.6838 | 1270002.9327 | 2616142.5426 | 1270003.6492
13 | 2616135.5481 | 1270005.5648 | 2616132.0633 | 1270019.9666
14 | 2616107.5728 | 1270064.7698 | 2616110.7254 | 1270067.5858 | 2616118.8356 | 1270073.0968
15 | 2616044.1751 | 1270042.3319 | 2616044.963 | 1270043.0901 | 2616045.9089 | 1270043.8599 | 2616046.9004 | 1270044.4519 | 2616047.9377 | 1270044.7882 | 2616055.6375 | 1270046.2879 | 2616059.0768 | 1270045.8525 | 2616064.3819 | 1270045.4332
16 | 2616028.4549 | 1269982.6247 | 2616030.7983 | 1269968.6568
17 | 2616142.5426 | 1270003.6492 | 2616176.9866 | 1270007.8364
18 | 2616044.1751 | 1270042.3319 | 2616045.0277 | 1270041.4224 | 2616045.3771 | 1270040.2114 | 2616046.7195 | 1270030.686 | 2616046.9313 | 1270030.2419 | 2616047.4291 | 1270029.7762 | 2616052.4054 | 1270028.5221 | 2616054.5744 | 1270027.7052
19 | 2616054.5744 | 1270027.7052 | 2616056.2493 | 1270013.0846
20 | 2616235.0168 | 1269916.8733 | 2616231.0394 | 1269949.6305
21 | 2616235.0168 | 1269916.8733 | 2616223.6155 | 1269915.2855
22 | 2616223.7227 | 1270013.5222 | 2616219.496 | 1270013.0103 | 2616189.9541 | 1270009.4159
23 | 2616223.7227 | 1270013.5222 | 2616227.2352 | 1270013.8765 | 2616234.8085 | 1270014.8535
24 | 2616188.2017 | 1270009.1998 | 2616189.9541 | 1270009.4159
25 | 2616189.9541 | 1270009.4159 | 2616193.3416 | 1269984.7362
26 | 2616234.8085 | 1270014.8535 | 2616254.314 | 1270017.3545
27 | 2616223.6155 | 1269915.2855 | 2616221.7147 | 1269931.4099
28 | 2616188.2017 | 1270009.1998 | 2616176.9866 | 1270007.8364
29 | 2616199.5589 | 1269958.0501 | 2616197.1131 | 1269958.2991 | 2616196.049 | 1269965.0121 | 2616193.3416 | 1269984.7362
30 | 2616266.9745 | 1270018.9779 | 2616254.314 | 1270017.3545
31 | 2616217.855 | 1270054.5575 | 2616228.3953 | 1270057.2549 | 2616227.3001 | 1270067.0923
32 | 2616217.855 | 1270054.5575 | 2616208.2713 | 1270053.7769
33 | 2616227.3001 | 1270067.0923 | 2616246.6201 | 1270069.1736
34 | 2616196.8095 | 1270052.8432 | 2616208.2713 | 1270053.7769
35 | 2616199.5589 | 1269958.0501 | 2616214.0325 | 1269958.6011 | 2616216.5673 | 1269942.3187 | 2616220.396 | 1269942.596 | 2616221.7147 | 1269931.4099
36 | 2616247.314 | 1270069.2484 | 2616246.6201 | 1270069.1736
37 | 2616266.9745 | 1270018.9779 | 2616265.0689 | 1270032.7138
38 | 2616196.8095 | 1270052.8432 | 2616194.7178 | 1270064.6255
39 | 2616196.8095 | 1270052.8432 | 2616186.1798 | 1270049.8454
40 | 2616030.7983 | 1269968.6568 | 2616035.9069 | 1269938.2066
41 | 2616200.2502 | 1270239.0183 | 2616218.2704 | 1270240.8466 | 2616229.6259 | 1270239.3212
42 | 2616207.0815 | 1270230.6199 | 2616200.2502 | 1270239.0183
43 | 2616207.0815 | 1270230.6199 | 2616219.2027 | 1270215.7174
44 | 2616235.0504 | 1270196.2332 | 2616219.2027 | 1270215.7174
45 | 2616246.1451 | 1270182.5926 | 2616235.0504 | 1270196.2332
46 | 2616182.1676 | 1270182.8734 | 2616184.4791 | 1270188.215
47 | 2616182.1676 | 1270182.8734 | 2616181.9659 | 1270182.3503 | 2616180.2701 | 1270177.9759 | 2616178.3502 | 1270173.0338
48 | 2616182.1676 | 1270182.8734 | 2616163.0127 | 1270200.2739
49 | 2616142.4628 | 1270121.2992 | 2616090.0861 | 1270118.5327
50 | 2616142.4628 | 1270121.2992 | 2616141.8936 | 1270125.8676 | 2616148.7293 | 1270126.9203
51 | 2616153.4444 | 1270127.6447 | 2616148.7293 | 1270126.9203
52 | 2616178.3502 | 1270173.0338 | 2616190.9924 | 1270169.0544 | 2616205.7362 | 1270166.882 | 2616220.1564 | 1270167.5219 | 2616220.5418 | 1270167.589
53 | 2616178.3502 | 1270173.0338 | 2616164.988 | 1270178.9238 | 2616164.2302 | 1270179.2869
54 | 2616178.3502 | 1270173.0338 | 2616177.7731 | 1270152.9179 | 2616177.9655 | 1270149.9284
55 | 2616252.3803 | 1270174.9265 | 2616235.9926 | 1270170.2783 | 2616220.5418 | 1270167.589
56 | 2616179.1716 | 1270131.1841 | 2616177.9655 | 1270149.9284
57 | 2616246.1451 | 1270182.5926 | 2616251.5013 | 1270188.178 | 2616256.3793 | 1270192.5722
58 | 2616246.1451 | 1270182.5926 | 2616252.3803 | 1270174.9265
59 | 2616252.3803 | 1270174.9265 | 2616261.1517 | 1270164.5996
60 | 2616179.1716 | 1270131.1841 | 2616160.7389 | 1270128.7654 | 2616153.4444 | 1270127.6447
61 | 2616179.1716 | 1270131.1841 | 2616183.8344 | 1270131.775 | 2616185.0192 | 1270119.4139
62 | 2616186.5438 | 1270046.0103 | 2616186.1798 | 1270049.8454
63 | 2616155.76 | 1270050.941 | 2616165.1418 | 1270048.1201 | 2616173.377 | 1270049.1655 | 2616176.0037 | 1270048.7724 | 2616177.423 | 1270046.9639 | 2616180.0438 | 1270045.9703 | 2616183.6775 | 1270045.9803 | 2616186.5438 | 1270046.0103
64 | 2616153.4444 | 1270127.6447 | 2616153.6985 | 1270125.4995 | 2616154.4266 | 1270120.5757
65 | 2616185.0192 | 1270119.4139 | 2616186.4562 | 1270111.1453 | 2616187.9843 | 1270102.5544
66 | 2616218.5802 | 1270116.6926 | 2616217.4461 | 1270121.5151 | 2616216.3341 | 1270123.7136 | 2616216.0314 | 1270124.3688
67 | 2616216.0314 | 1270124.3688 | 2616209.5784 | 1270123.3304
68 | 2616220.2538 | 1270107.1793 | 2616218.5802 | 1270116.6926
69 | 2616187.9843 | 1270102.5544 | 2616201.3837 | 1270104.4748
70 | 2616187.9843 | 1270102.5544 | 2616190.7547 | 1270086.9492
71 | 2616187.9843 | 1270102.5544 | 2616176.5504 | 1270100.7985
72 | 2616220.2538 | 1270107.1793 | 2616201.3837 | 1270104.4748
73 | 2616190.7547 | 1270086.9492 | 2616190.8914 | 1270086.1791
74 | 2616259.8136 | 1270070.5949 | 2616247.314 | 1270069.2484
75 | 2616259.8136 | 1270070.5949 | 2616257.6545 | 1270084.4006
76 | 2616259.8136 | 1270070.5949 | 2616262.0601 | 1270054.4017
77 | 2616256.8476 | 1270089.5602 | 2616257.6545 | 1270084.4006
78 | 2616262.7771 | 1270049.234 | 2616262.0601 | 1270054.4017
79 | 2616256.8476 | 1270089.5602 | 2616255.9618 | 1270095.224
80 | 2616262.7771 | 1270049.234 | 2616263.5645 | 1270043.5577
81 | 2616252.0718 | 1270120.0978 | 2616254.2708 | 1270106.0366
82 | 2616252.0718 | 1270120.0978 | 2616242.9994 | 1270119.1754
83 | 2616255.0767 | 1270100.8835 | 2616254.2708 | 1270106.0366
84 | 2616240.0809 | 1270118.8786 | 2616242.9994 | 1270119.1754
85 | 2616264.3521 | 1270037.8809 | 2616265.0689 | 1270032.7138
86 | 2616255.0767 | 1270100.8835 | 2616255.9618 | 1270095.224
87 | 2616264.3521 | 1270037.8809 | 2616263.5645 | 1270043.5577
88 | 2616191.6661 | 1270081.8155 | 2616191.8034 | 1270081.0421
89 | 2616191.8034 | 1270081.0421 | 2616192.6672 | 1270076.1765
90 | 2616191.6661 | 1270081.8155 | 2616190.8914 | 1270086.1791
91 | 2616192.6672 | 1270076.1765 | 2616192.8051 | 1270075.3996
92 | 2616193.6689 | 1270070.5339 | 2616192.8051 | 1270075.3996
93 | 2616193.6689 | 1270070.5339 | 2616193.8063 | 1270069.7597
94 | 2616193.8063 | 1270069.7597 | 2616194.5809 | 1270065.3969
95 | 2616194.5809 | 1270065.3969 | 2616194.7178 | 1270064.6255

## bus_geodata
| x | y | coords
0 | 2616085.143 | 1270008.5945
1 | 2616087.997 | 1269987.4561
2 | 2616082.707 | 1270026.6362
3 | 2616061.3819 | 1269984.4209
4 | 2616118.6734 | 1269997.8535
5 | 2616093.5814 | 1269944.4563
6 | 2616092.5143 | 1270038.8715
7 | 2616080.0637 | 1270046.9991
8 | 2616059.5445 | 1269984.3212
9 | 2616135.5481 | 1270005.5648
10 | 2616107.5728 | 1270064.7698
11 | 2616064.3819 | 1270045.4332
12 | 2616028.4549 | 1269982.6247
13 | 2616142.5426 | 1270003.6492
14 | 2616132.0633 | 1270019.9666
15 | 2616118.8356 | 1270073.0968
16 | 2616054.5744 | 1270027.7052
17 | 2616044.1751 | 1270042.3319
18 | 2616056.2493 | 1270013.0846
19 | 2616231.0394 | 1269949.6304
20 | 2616235.0168 | 1269916.8733
21 | 2616223.7227 | 1270013.5222
22 | 2616189.9541 | 1270009.4159
23 | 2616234.8085 | 1270014.8535
24 | 2616223.6155 | 1269915.2855
25 | 2616188.2017 | 1270009.1998
26 | 2616193.3417 | 1269984.7362
27 | 2616254.314 | 1270017.3545
28 | 2616217.855 | 1270054.5575
29 | 2616227.3001 | 1270067.0923
30 | 2616208.2713 | 1270053.7769
31 | 2616221.7147 | 1269931.4099
32 | 2616176.9866 | 1270007.8364
33 | 2616199.5589 | 1269958.0501
34 | 2616246.6201 | 1270069.1736
35 | 2616266.9745 | 1270018.9779
36 | 2616196.8095 | 1270052.8432
37 | 2616030.7983 | 1269968.6568
38 | 2616035.9069 | 1269938.2066
39 | 2616229.6259 | 1270239.3212
40 | 2616200.2502 | 1270239.0183
41 | 2616207.0815 | 1270230.6199
42 | 2616219.2027 | 1270215.7174
43 | 2616235.0504 | 1270196.2332
44 | 2616184.4791 | 1270188.215
45 | 2616182.1676 | 1270182.8734
46 | 2616163.0127 | 1270200.2739
47 | 2616090.0861 | 1270118.5327
48 | 2616142.4628 | 1270121.2992
49 | 2616148.7293 | 1270126.9203
50 | 2616178.3502 | 1270173.0338
51 | 2616220.5418 | 1270167.589
52 | 2616164.2302 | 1270179.2869
53 | 2616177.9655 | 1270149.9284
54 | 2616246.1451 | 1270182.5926
55 | 2616252.3803 | 1270174.9265
56 | 2616179.1716 | 1270131.1841
57 | 2616186.5438 | 1270046.0103
58 | 2616186.1798 | 1270049.8454
59 | 2616155.76 | 1270050.941
60 | 2616256.3793 | 1270192.5722
61 | 2616261.1517 | 1270164.5996
62 | 2616153.4444 | 1270127.6447
63 | 2616185.0192 | 1270119.4139
64 | 2616154.4266 | 1270120.5757
65 | 2616216.0314 | 1270124.3688
66 | 2616218.5802 | 1270116.6926
67 | 2616209.5784 | 1270123.3304
68 | 2616187.9843 | 1270102.5544
69 | 2616220.2538 | 1270107.1793
70 | 2616201.3837 | 1270104.4748
71 | 2616190.7547 | 1270086.9492
72 | 2616176.5504 | 1270100.7985
73 | 2616247.314 | 1270069.2484
74 | 2616259.8136 | 1270070.5949
75 | 2616257.6545 | 1270084.4006
76 | 2616262.0601 | 1270054.4017
77 | 2616256.8476 | 1270089.5602
78 | 2616262.777 | 1270049.234
79 | 2616252.0718 | 1270120.0978
80 | 2616254.2708 | 1270106.0366
81 | 2616242.9994 | 1270119.1754
82 | 2616265.0689 | 1270032.7138
83 | 2616255.9618 | 1270095.224
84 | 2616263.5645 | 1270043.5577
85 | 2616255.0767 | 1270100.8835
86 | 2616240.0809 | 1270118.8786
87 | 2616264.3521 | 1270037.8809
88 | 2616191.8034 | 1270081.0421
89 | 2616191.6661 | 1270081.8155
90 | 2616192.6672 | 1270076.1765
91 | 2616190.8914 | 1270086.1791
92 | 2616192.8051 | 1270075.3996
93 | 2616193.6689 | 1270070.5339
94 | 2616193.8063 | 1270069.7597
95 | 2616194.7178 | 1270064.6255
96 | 2616194.5809 | 1270065.3969
97 | 2616186.5438 | 1270046.0103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1