## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-29_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2703-29_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2703-29_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-29_0_4_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_2703-29_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2703-29_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_2703-29_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2703-29_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2703-29_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2703-29_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2703-29_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2703-29_0_4_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_2703-29_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2703-29_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2703-29_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_2703-29_0_4_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_2703-29_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2703-29_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2703-29_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2703-29_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2703-29_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_2703-29_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_2703-29_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2703-29_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2703-29_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2703-29_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2703-29_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2703-29_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2703-29_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2703-29_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2703-29_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2703-29_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2703-29_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2703-29_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2703-29_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2703-29_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2703-29_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2703-29_0_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_2703-29_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_2703-29_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_2703-29_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2703-29_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2703-29_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2703-29_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2703-29_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2703-29_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2703-29_0_4_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_2703-29_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2703-29_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2703-29_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2703-29_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2703-29_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2703-29_0_4_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_2703-29_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2703-29_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2703-29_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2703-29_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2703-29_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2703-29_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2703-29_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_2703-29_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_2703-29_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_2703-29_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2703-29_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2703-29_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2703-29_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2703-29_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2703-29_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_2703-29_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2703-29_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_MV_347_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-29_0_4_load_0 | 0 | 0.0056525 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-29_0_4_load_73 | 4 | 0.0028701 | 0.00071932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-29_0_4_load_23 | 6 | 0.0052935 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-29_0_4_load_25 | 9 | 0.0030013 | 0.00075221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-29_0_4_load_7 | 10 | 0.00089257 | 0.0002237 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-29_0_4_load_72 | 12 | 0.0047125 | 0.0011811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-29_0_4_load_24 | 14 | 0.0021031 | 0.0005271 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-29_0_4_load_54 | 16 | 0.0054713 | 0.0013712 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-29_0_4_load_31 | 17 | 0.00076782 | 0.00019243 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-29_0_4_load_10 | 19 | 0.0045262 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-29_0_4_load_15 | 20 | 0.0016808 | 0.00042125 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-29_0_4_load_51 | 21 | 0.002736 | 0.0006857 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-29_0_4_load_34 | 25 | 0.017019 | 0.0042654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-29_0_4_load_16 | 26 | 0.0013801 | 0.0003459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-29_0_4_load_49 | 27 | 0.0062078 | 0.0015558 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-29_0_4_load_21 | 28 | 0.013003 | 0.0032589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-29_0_4_load_32 | 30 | 0.011209 | 0.0028093 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-29_0_4_load_17 | 31 | 0.0079023 | 0.0019805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-29_0_4_load_18 | 32 | 0.0084333 | 0.0021136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-29_0_4_load_20 | 34 | 0.016459 | 0.004125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-29_0_4_load_22 | 35 | 0.010175 | 0.0025502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-29_0_4_load_26 | 36 | 0.0043242 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-29_0_4_load_67 | 39 | 0.0054887 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-29_0_4_load_61 | 40 | 0.012297 | 0.0030819 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-29_0_4_load_28 | 41 | 0.013564 | 0.0033995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-29_0_4_load_29 | 42 | 0.020498 | 0.0051372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-29_0_4_load_33 | 44 | 0.0034582 | 0.00086671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-29_0_4_load_46 | 45 | 0.0038019 | 0.00095285 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-29_0_4_load_47 | 46 | 0.0029909 | 0.00074959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-29_0_4_load_74 | 47 | 0.021992 | 0.0055118 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-29_0_4_load_38 | 48 | 0.091084 | 0.022828 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-29_0_4_load_40 | 50 | 0.0075588 | 0.0018944 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-29_0_4_load_41 | 51 | 0.0058744 | 0.0014723 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-29_0_4_load_42 | 52 | 0.0040617 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-29_0_4_load_70 | 53 | 0.0027931 | 0.00070002 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-29_0_4_load_43 | 54 | 0.003217 | 0.00080625 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-29_0_4_load_71 | 55 | 0.0035127 | 0.00088036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-29_0_4_load_44 | 56 | 0.0028388 | 0.00071146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-29_0_4_load_45 | 57 | 0.0052935 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-29_0_4_load_48 | 58 | 0.0037979 | 0.00095183 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-29_0_4_load_50 | 59 | 0.0032056 | 0.00080341 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-29_0_4_load_52 | 60 | 0.0021176 | 0.00053071 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-29_0_4_load_68 | 61 | 0.0024616 | 0.00061693 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-29_0_4_load_69 | 62 | 0.0081111 | 0.0020328 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-29_0_4_load_58 | 63 | 0.0053706 | 0.001346 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-29_0_4_load_56 | 64 | 0.0062754 | 0.0015728 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-29_0_4_load_55 | 65 | 0.0080053 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-29_0_4_load_57 | 66 | 0.0052936 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-29_0_4_load_59 | 67 | 0.0052513 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-29_0_4_load_64 | 69 | 0.012375 | 0.0031016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-29_0_4_load_60 | 70 | 0.0091073 | 0.0022825 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-29_0_4_line_0 |  | 0 | 1 | 0.036365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-29_0_4_line_1 |  | 1 | 2 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-29_0_4_line_2 |  | 2 | 6 | 0.075452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-29_0_4_line_3 |  | 3 | 4 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-29_0_4_line_4 |  | 3 | 5 | 0.052903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-29_0_4_line_5 |  | 5 | 10 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-29_0_4_line_6 |  | 6 | 8 | 0.0062477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-29_0_4_line_7 |  | 7 | 8 | 0.012907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-29_0_4_line_8 |  | 7 | 9 | 0.037793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-29_0_4_line_9 |  | 9 | 14 | 0.0047608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-29_0_4_line_10 |  | 10 | 18 | 0.039611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-29_0_4_line_11 |  | 11 | 12 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-29_0_4_line_12 |  | 11 | 13 | 0.039377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-29_0_4_line_13 |  | 13 | 21 | 0.0099833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-29_0_4_line_14 |  | 13 | 22 | 0.022649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-29_0_4_line_15 |  | 13 | 18 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-29_0_4_line_16 |  | 14 | 36 | 0.0097235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-29_0_4_line_17 |  | 15 | 16 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-29_0_4_line_18 |  | 15 | 17 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-29_0_4_line_19 |  | 16 | 63 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-29_0_4_line_20 |  | 17 | 42 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-29_0_4_line_21 |  | 18 | 19 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-29_0_4_line_22 |  | 19 | 20 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-29_0_4_line_23 |  | 20 | 26 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-29_0_4_line_24 |  | 21 | 27 | 0.0059614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-29_0_4_line_25 |  | 22 | 28 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-29_0_4_line_26 |  | 23 | 24 | 0.10638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-29_0_4_line_27 |  | 23 | 25 | 0.04281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-29_0_4_line_28 |  | 24 | 29 | 0.069231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-29_0_4_line_29 |  | 24 | 30 | 0.015548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-29_0_4_line_30 |  | 27 | 59 | 0.0033358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-29_0_4_line_31 |  | 28 | 33 | 0.0022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-29_0_4_line_32 |  | 29 | 47 | 0.003298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-29_0_4_line_33 |  | 30 | 43 | 0.0023303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-29_0_4_line_34 |  | 31 | 32 | 0.018383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-29_0_4_line_35 |  | 31 | 33 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-29_0_4_line_36 |  | 32 | 34 | 0.0033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-29_0_4_line_37 |  | 33 | 35 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-29_0_4_line_38 |  | 36 | 37 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-29_0_4_line_39 |  | 37 | 38 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-29_0_4_line_40 |  | 38 | 39 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-29_0_4_line_41 |  | 38 | 40 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-29_0_4_line_42 |  | 39 | 68 | 0.013111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-29_0_4_line_43 |  | 40 | 70 | 0.0012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-29_0_4_line_44 |  | 41 | 42 | 0.0046292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-29_0_4_line_45 |  | 41 | 43 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-29_0_4_line_46 |  | 43 | 44 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2703-29_0_4_line_47 |  | 44 | 45 | 0.00084714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2703-29_0_4_line_48 |  | 45 | 46 | 0.0064658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2703-29_0_4_line_49 |  | 46 | 58 | 0.0083359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2703-29_0_4_line_50 |  | 48 | 49 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-29_0_4_line_51 |  | 49 | 50 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2703-29_0_4_line_52 |  | 49 | 51 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-29_0_4_line_53 |  | 50 | 52 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2703-29_0_4_line_54 |  | 51 | 53 | 0.0087967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-29_0_4_line_55 |  | 52 | 54 | 0.0056904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2703-29_0_4_line_56 |  | 53 | 55 | 0.0078538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-29_0_4_line_57 |  | 54 | 56 | 0.0081659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2703-29_0_4_line_58 |  | 55 | 62 | 0.00079563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-29_0_4_line_59 |  | 56 | 57 | 0.01106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2703-29_0_4_line_60 |  | 57 | 58 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2703-29_0_4_line_61 |  | 59 | 60 | 0.0071916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-29_0_4_line_62 |  | 60 | 61 | 5.5046e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-29_0_4_line_63 |  | 61 | 62 | 0.0070342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-29_0_4_line_64 |  | 63 | 64 | 0.028779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-29_0_4_line_65 |  | 64 | 65 | 0.002443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-29_0_4_line_66 |  | 65 | 66 | 0.014068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-29_0_4_line_67 |  | 66 | 67 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-29_0_4_line_68 |  | 67 | 68 | 0.0033754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-29_0_4_line_69 |  | 68 | 69 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-29_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 71 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2616284.1191 | 1270282.1788 | 2616262.4552 | 1270270.3331 | 2616251.5842 | 1270266.0788
1 | 2616296.1002 | 1270288.7274 | 2616284.1191 | 1270282.1788
2 | 2616296.1002 | 1270288.7274 | 2616315.5333 | 1270301.957 | 2616343.2209 | 1270322.7036 | 2616349.9174 | 1270327.7589 | 2616355.5123 | 1270331.288 | 2616357.6245 | 1270332.2934
3 | 2616169.0791 | 1270331.0876 | 2616159.9907 | 1270312.027
4 | 2616147.2498 | 1270363.3733 | 2616148.52 | 1270358.2954 | 2616149.5164 | 1270354.2952 | 2616151.3646 | 1270346.9061 | 2616159.9907 | 1270312.027
5 | 2616147.2498 | 1270363.3733 | 2616153.4336 | 1270360.6437 | 2616157.0336 | 1270359.1525 | 2616160.2305 | 1270359.2502 | 2616177.9221 | 1270368.0985
6 | 2616363.2657 | 1270334.9787 | 2616357.6245 | 1270332.2934
7 | 2616357.666 | 1270344.1364 | 2616362.854 | 1270342.4051 | 2616363.0601 | 1270338.6363 | 2616363.2657 | 1270334.9787
8 | 2616357.666 | 1270344.1364 | 2616322.0364 | 1270356.7396
9 | 2616322.0364 | 1270356.7396 | 2616317.5481 | 1270358.3273
10 | 2616204.0135 | 1270395.1397 | 2616201.6464 | 1270391.4528 | 2616201.5243 | 1270389.3287 | 2616201.5321 | 1270386.4934 | 2616199.7183 | 1270384.0089 | 2616196.8824 | 1270381.1658 | 2616191.3522 | 1270376.0137 | 2616183.9029 | 1270371.0898 | 2616177.9221 | 1270368.0985
11 | 2616185.3272 | 1270364.678 | 2616195.0933 | 1270351.0281
12 | 2616214.1578 | 1270391.1423 | 2616208.1147 | 1270383.6872 | 2616203.5612 | 1270378.9714 | 2616199.1128 | 1270374.367 | 2616188.2795 | 1270366.2205 | 2616185.3272 | 1270364.678
13 | 2616214.1578 | 1270391.1423 | 2616218.1855 | 1270400.2771
14 | 2616214.1578 | 1270391.1423 | 2616235.5287 | 1270383.462
15 | 2616214.1578 | 1270391.1423 | 2616204.0135 | 1270395.1397
16 | 2616308.3863 | 1270361.5837 | 2616309.1334 | 1270361.3038 | 2616317.5481 | 1270358.3273
17 | 2616334.1516 | 1270509.7228 | 2616328.7555 | 1270494.585
18 | 2616334.1516 | 1270509.7228 | 2616317.0037 | 1270512.9582
19 | 2616328.7555 | 1270494.585 | 2616323.3106 | 1270479.3103
20 | 2616317.0037 | 1270512.9582 | 2616300.4271 | 1270516.0858
21 | 2616204.0135 | 1270395.1397 | 2616189.3602 | 1270400.9192
22 | 2616174.7285 | 1270406.6903 | 2616189.3602 | 1270400.9192
23 | 2616174.7285 | 1270406.6903 | 2616155.4918 | 1270414.2777
24 | 2616220.1563 | 1270405.9002 | 2616218.5165 | 1270401.0279 | 2616218.1855 | 1270400.2771
25 | 2616235.5287 | 1270383.462 | 2616224.5458 | 1270359.5361
26 | 2616259.894 | 1270523.7398 | 2616248.7493 | 1270525.0546 | 2616224.2851 | 1270527.9341 | 2616194.5297 | 1270531.8222 | 2616153.9476 | 1270536.3258
27 | 2616153.9476 | 1270536.3258 | 2616158.3414 | 1270547.1232 | 2616170.615 | 1270575.7566
28 | 2616259.894 | 1270523.7398 | 2616265.4762 | 1270540.0333 | 2616269.061 | 1270555.0205 | 2616273.3882 | 1270554.4209 | 2616283.1264 | 1270558.4949 | 2616289.5433 | 1270561.1812 | 2616293.0223 | 1270562.6362 | 2616299.7056 | 1270561.476 | 2616303.8443 | 1270561.0315
29 | 2616259.894 | 1270523.7398 | 2616275.1714 | 1270520.8518
30 | 2616220.1563 | 1270405.9002 | 2616221.2203 | 1270409.0618
31 | 2616223.6009 | 1270357.4775 | 2616224.5458 | 1270359.5361
32 | 2616304.1738 | 1270564.3125 | 2616303.8443 | 1270561.0315
33 | 2616277.4611 | 1270520.4189 | 2616275.1714 | 1270520.8518
34 | 2616236.3568 | 1270352.8295 | 2616253.6293 | 1270346.5357
35 | 2616223.6009 | 1270357.4775 | 2616236.3568 | 1270352.8295
36 | 2616256.7348 | 1270345.4041 | 2616253.6293 | 1270346.5357
37 | 2616230.0461 | 1270338.9487 | 2616231.5961 | 1270344.3456 | 2616219.4055 | 1270348.3373 | 2616223.6009 | 1270357.4775
38 | 2616284.5307 | 1270370.5205 | 2616308.3863 | 1270361.5837
39 | 2616284.5307 | 1270370.5205 | 2616291.8617 | 1270391.0775
40 | 2616291.8617 | 1270391.0775 | 2616297.285 | 1270406.2964
41 | 2616291.8617 | 1270391.0775 | 2616270.6423 | 1270398.2009
42 | 2616301.6859 | 1270418.6464 | 2616297.285 | 1270406.2964
43 | 2616269.4282 | 1270398.6085 | 2616270.6423 | 1270398.2009
44 | 2616295.8782 | 1270516.9441 | 2616300.4271 | 1270516.0858
45 | 2616277.4611 | 1270520.4189 | 2616295.8782 | 1270516.9441
46 | 2616277.4611 | 1270520.4189 | 2616274.2383 | 1270509.5494
47 | 2616273.9974 | 1270508.7372 | 2616274.2383 | 1270509.5494
48 | 2616273.9974 | 1270508.7372 | 2616272.1594 | 1270502.5381
49 | 2616272.1594 | 1270502.5381 | 2616269.7898 | 1270494.5461
50 | 2616238.7015 | 1270461.0037 | 2616245.0331 | 1270479.8153
51 | 2616238.7015 | 1270461.0037 | 2616251.4322 | 1270456.6431
52 | 2616238.7015 | 1270461.0037 | 2616231.3404 | 1270439.1316
53 | 2616259.1678 | 1270458.7218 | 2616257.8951 | 1270454.4294 | 2616251.4322 | 1270456.6431
54 | 2616231.3404 | 1270439.1316 | 2616228.5345 | 1270430.7943
55 | 2616259.1678 | 1270458.7218 | 2616260.7854 | 1270464.1775
56 | 2616226.0293 | 1270423.3508 | 2616228.5345 | 1270430.7943
57 | 2616260.7854 | 1270464.1775 | 2616263.1067 | 1270472.0065
58 | 2616226.0293 | 1270423.3508 | 2616225.7755 | 1270422.5967
59 | 2616266.2509 | 1270482.6107 | 2616263.1067 | 1270472.0065
60 | 2616269.7898 | 1270494.5461 | 2616266.2509 | 1270482.6107
61 | 2616223.5143 | 1270415.8777 | 2616221.2203 | 1270409.0618
62 | 2616223.5318 | 1270415.9299 | 2616223.5143 | 1270415.8777
63 | 2616225.7755 | 1270422.5967 | 2616223.5318 | 1270415.9299
64 | 2616323.3106 | 1270479.3103 | 2616313.6475 | 1270452.2023
65 | 2616312.8272 | 1270449.9011 | 2616313.6475 | 1270452.2023
66 | 2616312.8272 | 1270449.9011 | 2616308.1037 | 1270436.6502
67 | 2616308.1037 | 1270436.6502 | 2616302.8193 | 1270421.8258
68 | 2616301.6859 | 1270418.6464 | 2616302.8193 | 1270421.8258
69 | 2616301.6859 | 1270418.6464 | 2616281.2512 | 1270426.34

## bus_geodata
| x | y | coords
0 | 2616251.5842 | 1270266.0788
1 | 2616284.1191 | 1270282.1788
2 | 2616296.1002 | 1270288.7275
3 | 2616159.9907 | 1270312.027
4 | 2616169.0791 | 1270331.0876
5 | 2616147.2498 | 1270363.3733
6 | 2616357.6245 | 1270332.2934
7 | 2616357.666 | 1270344.1364
8 | 2616363.2657 | 1270334.9787
9 | 2616322.0364 | 1270356.7396
10 | 2616177.9221 | 1270368.0985
11 | 2616185.3272 | 1270364.678
12 | 2616195.0933 | 1270351.0281
13 | 2616214.1578 | 1270391.1423
14 | 2616317.5481 | 1270358.3273
15 | 2616334.1516 | 1270509.7228
16 | 2616328.7555 | 1270494.585
17 | 2616317.0037 | 1270512.9582
18 | 2616204.0135 | 1270395.1397
19 | 2616189.3602 | 1270400.9192
20 | 2616174.7285 | 1270406.6903
21 | 2616218.1855 | 1270400.2771
22 | 2616235.5287 | 1270383.462
23 | 2616153.9476 | 1270536.3258
24 | 2616259.894 | 1270523.7398
25 | 2616170.615 | 1270575.7566
26 | 2616155.4918 | 1270414.2777
27 | 2616220.1563 | 1270405.9002
28 | 2616224.5458 | 1270359.5361
29 | 2616303.8443 | 1270561.0315
30 | 2616275.1714 | 1270520.8518
31 | 2616236.3568 | 1270352.8295
32 | 2616253.6293 | 1270346.5357
33 | 2616223.6009 | 1270357.4775
34 | 2616256.7348 | 1270345.4041
35 | 2616230.0461 | 1270338.9487
36 | 2616308.3863 | 1270361.5837
37 | 2616284.5307 | 1270370.5205
38 | 2616291.8617 | 1270391.0775
39 | 2616297.285 | 1270406.2964
40 | 2616270.6423 | 1270398.2009
41 | 2616295.8782 | 1270516.9441
42 | 2616300.4271 | 1270516.0858
43 | 2616277.4611 | 1270520.4189
44 | 2616274.2383 | 1270509.5494
45 | 2616273.9974 | 1270508.7372
46 | 2616272.1594 | 1270502.5381
47 | 2616304.1738 | 1270564.3125
48 | 2616245.0331 | 1270479.8153
49 | 2616238.7015 | 1270461.0037
50 | 2616251.4322 | 1270456.6431
51 | 2616231.3404 | 1270439.1316
52 | 2616259.1678 | 1270458.7218
53 | 2616228.5345 | 1270430.7943
54 | 2616260.7854 | 1270464.1775
55 | 2616226.0293 | 1270423.3508
56 | 2616263.1067 | 1270472.0065
57 | 2616266.2509 | 1270482.6107
58 | 2616269.7898 | 1270494.5461
59 | 2616221.2203 | 1270409.0618
60 | 2616223.5143 | 1270415.8777
61 | 2616223.5318 | 1270415.9299
62 | 2616225.7755 | 1270422.5967
63 | 2616323.3106 | 1270479.3103
64 | 2616313.6475 | 1270452.2023
65 | 2616312.8272 | 1270449.9011
66 | 2616308.1037 | 1270436.6502
67 | 2616302.8193 | 1270421.8258
68 | 2616301.6859 | 1270418.6464
69 | 2616281.2512 | 1270426.34
70 | 2616269.4282 | 1270398.6085
71 | 2616238.7015 | 1270461.0037

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1