## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-30_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-30_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2703-30_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2703-30_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2703-30_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2703-30_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2703-30_0_4_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_2703-30_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2703-30_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2703-30_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2703-30_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2703-30_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2703-30_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2703-30_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_2703-30_0_4_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_2703-30_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2703-30_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2703-30_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2703-30_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2703-30_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_2703-30_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_2703-30_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2703-30_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2703-30_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2703-30_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2703-30_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2703-30_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2703-30_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2703-30_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2703-30_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2703-30_0_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_2703-30_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_2703-30_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2703-30_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2703-30_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2703-30_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2703-30_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2703-30_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2703-30_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2703-30_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2703-30_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2703-30_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2703-30_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2703-30_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2703-30_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2703-30_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2703-30_0_4_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2703-30_0_4_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_2703-30_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2703-30_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2703-30_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2703-30_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_2703-30_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2703-30_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2703-30_0_4_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2703-30_0_4_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_2703-30_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_2703-30_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_2703-30_0_4_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_2703-30_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_2703-30_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_2703-30_0_4_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_2703-30_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2703-30_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2703-30_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_2703-30_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_2703-30_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2703-30_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_2703-30_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2703-30_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2703-30_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2703-30_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2703-30_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_2703-30_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2703-30_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_2703-30_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2703-30_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2703-30_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2703-30_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_MV_347_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-30_0_4_load_0 | 0 | 0.0036197 | 0.00090719 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-30_0_4_load_1 | 1 | 0.0067139 | 0.0016827 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-30_0_4_load_4 | 4 | 0.0064807 | 0.0016242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-30_0_4_load_9 | 5 | 0.0059103 | 0.0014813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-30_0_4_load_17 | 7 | 0.014027 | 0.0035155 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-30_0_4_load_82 | 10 | 0.02184 | 0.0054737 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-30_0_4_load_16 | 11 | 0.0056695 | 0.0014209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-30_0_4_load_33 | 13 | 0.013928 | 0.0034906 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-30_0_4_load_71 | 18 | 0.0048281 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-30_0_4_load_19 | 19 | 0.0053216 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-30_0_4_load_23 | 20 | 0.079004 | 0.0198 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-30_0_4_load_72 | 23 | 0.0023928 | 0.00059968 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-30_0_4_load_20 | 25 | 0.012224 | 0.0030637 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-30_0_4_load_32 | 26 | 0.0056676 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-30_0_4_load_46 | 27 | 0.0017929 | 0.00044934 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-30_0_4_load_24 | 28 | 0.010482 | 0.0026271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-30_0_4_load_22 | 29 | 0.0065147 | 0.0016327 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-30_0_4_load_21 | 30 | 0.0027121 | 0.00067971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-30_0_4_load_31 | 31 | 0.0041105 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-30_0_4_load_27 | 32 | 0.041337 | 0.01036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-30_0_4_load_28 | 33 | 0.049407 | 0.012383 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-30_0_4_load_57 | 34 | 0.0025376 | 0.00063598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-30_0_4_load_56 | 35 | 0.0092093 | 0.0023081 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-30_0_4_load_30 | 37 | 0.0060285 | 0.0015109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-30_0_4_load_34 | 38 | 0.0045235 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-30_0_4_load_35 | 39 | 0.0093702 | 0.0023484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-30_0_4_load_36 | 40 | 0.00266 | 0.00066665 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-30_0_4_load_37 | 41 | 0.0035609 | 0.00089245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-30_0_4_load_39 | 43 | 0.001955 | 0.00048996 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-30_0_4_load_40 | 44 | 0.0014304 | 0.0003585 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-30_0_4_load_43 | 45 | 0.0057863 | 0.0014502 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-30_0_4_load_44 | 46 | 0.001324 | 0.00033182 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-30_0_4_load_58 | 49 | 0.0017153 | 0.0004299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-30_0_4_load_85 | 50 | 0.005537 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-30_0_4_load_81 | 51 | 0.0070965 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-30_0_4_load_45 | 52 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-30_0_4_load_54 | 55 | 0.0070259 | 0.0017609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-30_0_4_load_55 | 56 | 0.0014352 | 0.00035969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-30_0_4_load_86 | 58 | 0.0024529 | 0.00061475 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-30_0_4_load_84 | 59 | 0.0040332 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-30_0_4_load_87 | 62 | 0.0071874 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-30_0_4_load_88 | 63 | 0.054378 | 0.013628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-30_0_4_load_69 | 64 | 0.0020744 | 0.0005199 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-30_0_4_load_83 | 65 | 0.0048719 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-30_0_4_load_68 | 66 | 0.0017853 | 0.00044743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-30_0_4_load_60 | 67 | 0.0013725 | 0.00034397 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-30_0_4_load_61 | 68 | 0.0019261 | 0.00048274 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-30_0_4_load_62 | 69 | 0.0013643 | 0.00034193 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-30_0_4_load_63 | 70 | 0.0048123 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-30_0_4_load_65 | 72 | 0.0064464 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-30_0_4_load_66 | 73 | 0.0084039 | 0.0021062 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-30_0_4_load_67 | 74 | 0.0060604 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-30_0_4_load_70 | 75 | 0.0086316 | 0.0021633 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-30_0_4_load_77 | 76 | 0.0067113 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-30_0_4_load_74 | 77 | 0.007208 | 0.0018065 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-30_0_4_load_78 | 78 | 0.0043774 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-30_0_4_load_75 | 79 | 0.0021485 | 0.00053845 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-30_0_4_load_76 | 80 | 0.0072418 | 0.001815 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-30_0_4_load_79 | 81 | 0.0042262 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-30_0_4_load_80 | 82 | 0.0051711 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-30_0_4_line_0 |  | 0 | 1 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-30_0_4_line_1 |  | 0 | 2 | 0.037018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-30_0_4_line_2 |  | 1 | 3 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-30_0_4_line_3 |  | 2 | 4 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-30_0_4_line_4 |  | 3 | 5 | 0.015751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-30_0_4_line_5 |  | 4 | 6 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-30_0_4_line_6 |  | 5 | 11 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-30_0_4_line_7 |  | 6 | 7 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-30_0_4_line_8 |  | 8 | 9 | 0.044335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-30_0_4_line_9 |  | 8 | 10 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-30_0_4_line_10 |  | 9 | 15 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-30_0_4_line_11 |  | 9 | 11 | 0.005603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-30_0_4_line_12 |  | 12 | 13 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2703-30_0_4_line_13 |  | 12 | 14 | 0.007299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2703-30_0_4_line_14 |  | 13 | 17 | 0.020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2703-30_0_4_line_15 |  | 14 | 20 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2703-30_0_4_line_16 |  | 14 | 15 | 0.015527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-30_0_4_line_17 |  | 15 | 19 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-30_0_4_line_18 |  | 16 | 17 | 0.006298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2703-30_0_4_line_19 |  | 16 | 18 | 0.0029122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2703-30_0_4_line_20 |  | 17 | 24 | 0.00783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-30_0_4_line_21 |  | 18 | 23 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2703-30_0_4_line_22 |  | 19 | 25 | 0.0043186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-30_0_4_line_23 |  | 20 | 26 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-30_0_4_line_24 |  | 21 | 22 | 0.027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-30_0_4_line_25 |  | 21 | 23 | 0.020111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2703-30_0_4_line_26 |  | 22 | 27 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-30_0_4_line_27 |  | 24 | 65 | 0.013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-30_0_4_line_28 |  | 24 | 59 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-30_0_4_line_29 |  | 25 | 30 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-30_0_4_line_30 |  | 26 | 31 | 0.0086613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-30_0_4_line_31 |  | 27 | 52 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-30_0_4_line_32 |  | 28 | 29 | 0.0011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-30_0_4_line_33 |  | 29 | 30 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-30_0_4_line_34 |  | 31 | 36 | 0.0039576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-30_0_4_line_35 |  | 32 | 33 | 0.0032457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-30_0_4_line_36 |  | 33 | 36 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-30_0_4_line_37 |  | 34 | 35 | 0.0098137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-30_0_4_line_38 |  | 35 | 38 | 0.008157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-30_0_4_line_39 |  | 36 | 37 | 0.0090505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-30_0_4_line_40 |  | 37 | 38 | 0.0099551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-30_0_4_line_41 |  | 39 | 40 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-30_0_4_line_42 |  | 39 | 41 | 0.0016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-30_0_4_line_43 |  | 40 | 42 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-30_0_4_line_44 |  | 41 | 43 | 0.020361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-30_0_4_line_45 |  | 42 | 44 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-30_0_4_line_46 |  | 43 | 45 | 0.0026733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-30_0_4_line_47 |  | 44 | 46 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-30_0_4_line_48 |  | 45 | 50 | 0.00071516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-30_0_4_line_49 |  | 46 | 47 | 0.10351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-30_0_4_line_50 |  | 47 | 48 | 0.11661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-30_0_4_line_51 |  | 48 | 49 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-30_0_4_line_52 |  | 50 | 51 | 0.01452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-30_0_4_line_53 |  | 51 | 82 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-30_0_4_line_54 |  | 52 | 53 | 0.0030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-30_0_4_line_55 |  | 53 | 54 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-30_0_4_line_56 |  | 54 | 55 | 0.032546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-30_0_4_line_57 |  | 54 | 56 | 0.0081441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-30_0_4_line_58 |  | 55 | 64 | 0.0063876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-30_0_4_line_59 |  | 57 | 58 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-30_0_4_line_60 |  | 57 | 59 | 0.0082298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-30_0_4_line_61 |  | 60 | 61 | 0.026415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-30_0_4_line_62 |  | 60 | 62 | 0.024358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-30_0_4_line_63 |  | 61 | 63 | 0.000972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-30_0_4_line_64 |  | 62 | 65 | 0.0048215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-30_0_4_line_65 |  | 64 | 66 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-30_0_4_line_66 |  | 66 | 75 | 0.0063212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-30_0_4_line_67 |  | 67 | 68 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-30_0_4_line_68 |  | 67 | 69 | 0.0070383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-30_0_4_line_69 |  | 68 | 70 | 0.0045639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-30_0_4_line_70 |  | 69 | 71 | 0.0069554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-30_0_4_line_71 |  | 70 | 72 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-30_0_4_line_72 |  | 71 | 73 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-30_0_4_line_73 |  | 71 | 74 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-30_0_4_line_74 |  | 72 | 75 | 0.0042352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-30_0_4_line_75 |  | 73 | 76 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-30_0_4_line_76 |  | 74 | 77 | 0.00504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-30_0_4_line_77 |  | 76 | 78 | 0.0066069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-30_0_4_line_78 |  | 77 | 79 | 0.016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-30_0_4_line_79 |  | 78 | 81 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-30_0_4_line_80 |  | 79 | 80 | 0.018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-30_0_4_line_81 |  | 81 | 82 | 0.00068961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-30_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 83 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2615918.0225 | 1270416.2953 | 2615900.0929 | 1270428.1381
1 | 2615948.9111 | 1270395.8929 | 2615918.0225 | 1270416.2953
2 | 2615882.276 | 1270439.9009 | 2615884.665 | 1270438.3284 | 2615900.0929 | 1270428.1381
3 | 2615948.9111 | 1270395.8929 | 2615957.0644 | 1270413.5291
4 | 2615882.276 | 1270439.9009 | 2615886.0347 | 1270446.5379 | 2615889.5183 | 1270453.8766
5 | 2615964.0118 | 1270428.5568 | 2615957.0644 | 1270413.5291
6 | 2615889.5183 | 1270453.8766 | 2615889.6179 | 1270454.0862 | 2615894.2003 | 1270466.7479
7 | 2615964.0118 | 1270428.5568 | 2615969.2337 | 1270440.2924
8 | 2615866.0135 | 1270461.7285 | 2615870.7828 | 1270456.1373 | 2615874.0731 | 1270452.2767 | 2615875.8736 | 1270454.1272 | 2615886.1531 | 1270464.1063 | 2615889.8052 | 1270468.3858 | 2615891.6513 | 1270472.8495 | 2615893.4131 | 1270472.3316 | 2615896.1071 | 1270472.0164
9 | 2615866.0135 | 1270461.7285 | 2615861.9082 | 1270466.5431 | 2615858.2025 | 1270470.4714
10 | 2615902.6939 | 1270478.7833 | 2615902.4981 | 1270476.0364 | 2615902.33 | 1270474.2124 | 2615897.7582 | 1270473.4663 | 2615896.1071 | 1270472.0164
11 | 2615896.1071 | 1270472.0164 | 2615894.2003 | 1270466.7479
12 | 2615889.6839 | 1270491.1906 | 2615881.2871 | 1270494.4927 | 2615873.5632 | 1270498.1677
13 | 2615889.6839 | 1270491.1906 | 2615892.6376 | 1270492.1992 | 2615895.2424 | 1270491.4724 | 2615896.6878 | 1270491.0982
14 | 2615854.8185 | 1270507.0864 | 2615873.5632 | 1270498.1677
15 | 2615896.6878 | 1270491.0982 | 2615903.3612 | 1270514.7884
16 | 2615902.6939 | 1270478.7833 | 2615903.4344 | 1270483.1551 | 2615899.5184 | 1270490.3275 | 2615898.1331 | 1270490.724 | 2615896.6878 | 1270491.0982
17 | 2615902.6939 | 1270478.7833 | 2615914.6408 | 1270475.6798 | 2615919.156 | 1270476.0288
18 | 2615854.8185 | 1270507.0864 | 2615852.6076 | 1270501.1874
19 | 2615852.6076 | 1270501.1874 | 2615849.9225 | 1270502.3149
20 | 2615854.8185 | 1270507.0864 | 2615857.5673 | 1270514.4212
21 | 2615849.9225 | 1270502.3149 | 2615840.0832 | 1270506.4465 | 2615832.5949 | 1270509.5862
22 | 2615923.4617 | 1270476.3616 | 2615919.156 | 1270476.0288
23 | 2615903.3612 | 1270514.7884 | 2615906.4408 | 1270525.7206
24 | 2615814.0481 | 1270517.3626 | 2615788.2786 | 1270527.4233
25 | 2615814.0481 | 1270517.3626 | 2615832.5949 | 1270509.5862
26 | 2615788.2786 | 1270527.4233 | 2615766.3901 | 1270535.9755
27 | 2615857.5673 | 1270514.4212 | 2615862.1367 | 1270527.2953
28 | 2615857.5673 | 1270514.4212 | 2615833.1665 | 1270522.976
29 | 2615923.4617 | 1270476.3616 | 2615933.841 | 1270477.1639
30 | 2615906.4408 | 1270525.7206 | 2615908.7893 | 1270534.0575
31 | 2615749.3611 | 1270540.8373 | 2615755.3777 | 1270540.2783 | 2615766.3901 | 1270535.9755
32 | 2615959.9321 | 1270479.1126 | 2615958.7579 | 1270479.0386
33 | 2615958.7579 | 1270479.0386 | 2615955.1801 | 1270478.8132 | 2615933.841 | 1270477.1639
34 | 2615909.8624 | 1270537.8668 | 2615908.7893 | 1270534.0575
35 | 2615924.5815 | 1270534.1953 | 2615927.7933 | 1270533.7274
36 | 2615909.8624 | 1270537.8668 | 2615911.1798 | 1270537.5257 | 2615923.9996 | 1270534.28 | 2615924.5815 | 1270534.1953
37 | 2615920.652 | 1270573.2289 | 2615917.5868 | 1270563.9062
38 | 2615915.1881 | 1270556.111 | 2615916.4891 | 1270560.5675 | 2615917.5868 | 1270563.9062
39 | 2615909.8624 | 1270537.8668 | 2615912.3985 | 1270546.5547
40 | 2615915.1881 | 1270556.111 | 2615912.3985 | 1270546.5547
41 | 2615503.108 | 1270535.5014 | 2615491.0302 | 1270535.5512
42 | 2615503.108 | 1270535.5014 | 2615504.7728 | 1270535.4945
43 | 2615455.5884 | 1270535.6971 | 2615491.0302 | 1270535.5512
44 | 2615504.7728 | 1270535.4945 | 2615511.7459 | 1270535.4658 | 2615525.078 | 1270534.2404
45 | 2615455.5884 | 1270535.6971 | 2615448.9683 | 1270515.1367
46 | 2615527.7401 | 1270533.9957 | 2615525.078 | 1270534.2404
47 | 2615448.9683 | 1270515.1367 | 2615445.7069 | 1270505.0078
48 | 2615528.4523 | 1270533.9303 | 2615527.7401 | 1270533.9957
49 | 2615363.2029 | 1270462.972 | 2615380.5239 | 1270476.0818 | 2615421.0338 | 1270473.2294 | 2615442.216 | 1270494.1661 | 2615445.7069 | 1270505.0078
50 | 2615338.1777 | 1270546.0441 | 2615334.2729 | 1270537.5502 | 2615365.9333 | 1270535.6419 | 2615368.6415 | 1270535.6044 | 2615363.2029 | 1270462.972
51 | 2615338.1777 | 1270546.0441 | 2615334.2721 | 1270552.4052 | 2615338.225 | 1270559.2194
52 | 2615528.4523 | 1270533.9303 | 2615541.7385 | 1270532.7091 | 2615542.9047 | 1270532.5429
53 | 2615555.9866 | 1270530.6791 | 2615542.9047 | 1270532.5429
54 | 2615746.3031 | 1270541.1214 | 2615749.3611 | 1270540.8373
55 | 2615746.3031 | 1270541.1214 | 2615733.256 | 1270539.33
56 | 2615733.256 | 1270539.33 | 2615701.172 | 1270533.8655
57 | 2615733.256 | 1270539.33 | 2615729.1352 | 1270532.3053
58 | 2615694.8751 | 1270532.7931 | 2615701.172 | 1270533.8655
59 | 2615825.4001 | 1270525.6988 | 2615824.9004 | 1270524.0852 | 2615821.791 | 1270525.0554 | 2615820.18 | 1270525.4625 | 2615815.1683 | 1270527.1728
60 | 2615825.4001 | 1270525.6988 | 2615833.1665 | 1270522.976
61 | 2615828.7643 | 1270553.2719 | 2615827.909 | 1270549.6337 | 2615829.1661 | 1270549.3034 | 2615827.1779 | 1270541.7038 | 2615830.5055 | 1270540.7231 | 2615840.2167 | 1270538.125
62 | 2615840.2167 | 1270538.125 | 2615863.7494 | 1270531.839
63 | 2615828.7643 | 1270553.2719 | 2615828.9875 | 1270554.2176
64 | 2615863.7494 | 1270531.839 | 2615862.1367 | 1270527.2953
65 | 2615672.9984 | 1270529.0671 | 2615694.8751 | 1270532.7931
66 | 2615672.9984 | 1270529.0671 | 2615666.7669 | 1270528.0058
67 | 2615630.4397 | 1270522.4629 | 2615632.3686 | 1270522.5178 | 2615640.892 | 1270523.7218
68 | 2615630.4397 | 1270522.4629 | 2615623.4043 | 1270522.2625
69 | 2615640.892 | 1270523.7218 | 2615645.1224 | 1270524.3194 | 2615645.4098 | 1270524.3684
70 | 2615616.4518 | 1270522.0644 | 2615623.4043 | 1270522.2625
71 | 2615662.5919 | 1270527.2947 | 2615645.4098 | 1270524.3684
72 | 2615616.4518 | 1270522.0644 | 2615597.4279 | 1270524.7748
73 | 2615616.4518 | 1270522.0644 | 2615613.4469 | 1270505.9668
74 | 2615662.5919 | 1270527.2947 | 2615666.7669 | 1270528.0058
75 | 2615578.9157 | 1270527.4123 | 2615597.4279 | 1270524.7748
76 | 2615613.4469 | 1270505.9668 | 2615612.522 | 1270501.0124
77 | 2615572.3749 | 1270528.3442 | 2615578.9157 | 1270527.4123
78 | 2615609.471 | 1270484.6679 | 2615612.522 | 1270501.0124
79 | 2615572.3749 | 1270528.3442 | 2615556.6693 | 1270530.5818
80 | 2615609.471 | 1270484.6679 | 2615608.3884 | 1270478.868 | 2615605.602 | 1270466.6428
81 | 2615556.6693 | 1270530.5818 | 2615555.9866 | 1270530.6791

## bus_geodata
| x | y | coords
0 | 2615918.0225 | 1270416.2953
1 | 2615900.0929 | 1270428.1381
2 | 2615948.9111 | 1270395.8929
3 | 2615882.276 | 1270439.9009
4 | 2615957.0644 | 1270413.5291
5 | 2615889.5183 | 1270453.8766
6 | 2615964.0118 | 1270428.5568
7 | 2615969.2337 | 1270440.2924
8 | 2615866.0135 | 1270461.7285
9 | 2615896.1071 | 1270472.0164
10 | 2615858.2025 | 1270470.4714
11 | 2615894.2003 | 1270466.7479
12 | 2615889.6839 | 1270491.1906
13 | 2615873.5632 | 1270498.1677
14 | 2615896.6878 | 1270491.0982
15 | 2615902.6939 | 1270478.7833
16 | 2615852.6076 | 1270501.1874
17 | 2615854.8185 | 1270507.0864
18 | 2615849.9225 | 1270502.3149
19 | 2615919.156 | 1270476.0288
20 | 2615903.3612 | 1270514.7884
21 | 2615814.0481 | 1270517.3626
22 | 2615788.2786 | 1270527.4233
23 | 2615832.5949 | 1270509.5862
24 | 2615857.5673 | 1270514.4212
25 | 2615923.4617 | 1270476.3616
26 | 2615906.4408 | 1270525.7206
27 | 2615766.3901 | 1270535.9755
28 | 2615959.9321 | 1270479.1126
29 | 2615958.7579 | 1270479.0386
30 | 2615933.841 | 1270477.1639
31 | 2615908.7893 | 1270534.0575
32 | 2615927.7933 | 1270533.7274
33 | 2615924.5815 | 1270534.1953
34 | 2615920.652 | 1270573.2289
35 | 2615917.5868 | 1270563.9062
36 | 2615909.8624 | 1270537.8668
37 | 2615912.3985 | 1270546.5547
38 | 2615915.1881 | 1270556.111
39 | 2615503.108 | 1270535.5014
40 | 2615491.0302 | 1270535.5512
41 | 2615504.7728 | 1270535.4945
42 | 2615455.5884 | 1270535.6971
43 | 2615525.078 | 1270534.2404
44 | 2615448.9683 | 1270515.1367
45 | 2615527.7401 | 1270533.9957
46 | 2615445.7069 | 1270505.0078
47 | 2615363.2029 | 1270462.972
48 | 2615338.1777 | 1270546.0441
49 | 2615338.225 | 1270559.2194
50 | 2615528.4523 | 1270533.9303
51 | 2615542.9047 | 1270532.5429
52 | 2615749.3611 | 1270540.8373
53 | 2615746.3031 | 1270541.1214
54 | 2615733.256 | 1270539.33
55 | 2615701.172 | 1270533.8655
56 | 2615729.1352 | 1270532.3053
57 | 2615825.4001 | 1270525.6988
58 | 2615815.1683 | 1270527.1728
59 | 2615833.1665 | 1270522.976
60 | 2615840.2167 | 1270538.125
61 | 2615828.7643 | 1270553.2719
62 | 2615863.7494 | 1270531.839
63 | 2615828.9875 | 1270554.2176
64 | 2615694.8751 | 1270532.7931
65 | 2615862.1367 | 1270527.2953
66 | 2615672.9984 | 1270529.0671
67 | 2615630.4397 | 1270522.4629
68 | 2615640.892 | 1270523.7218
69 | 2615623.4043 | 1270522.2625
70 | 2615645.4098 | 1270524.3684
71 | 2615616.4518 | 1270522.0644
72 | 2615662.5919 | 1270527.2947
73 | 2615597.4279 | 1270524.7748
74 | 2615613.4469 | 1270505.9668
75 | 2615666.7669 | 1270528.0058
76 | 2615578.9157 | 1270527.4123
77 | 2615612.522 | 1270501.0124
78 | 2615572.3749 | 1270528.3442
79 | 2615609.471 | 1270484.6679
80 | 2615605.602 | 1270466.6428
81 | 2615556.6693 | 1270530.5818
82 | 2615555.9866 | 1270530.6791
83 | 2615788.2786 | 1270527.4233

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1