## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-34_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-34_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2703-34_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2703-34_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2703-34_0_3_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_2703-34_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_2703-34_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_2703-34_0_3_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_2703-34_0_3_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_2703-34_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2703-34_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2703-34_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2703-34_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2703-34_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2703-34_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2703-34_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2703-34_0_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2703-34_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2703-34_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_2703-34_0_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_2703-34_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2703-34_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_2703-34_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2703-34_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2703-34_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2703-34_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2703-34_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2703-34_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2703-34_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2703-34_0_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_2703-34_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2703-34_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2703-34_0_3_node_164 | 0.4 | n |  | TRUE
36 | bus_LV_2703-34_0_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_2703-34_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_2703-34_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2703-34_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2703-34_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2703-34_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_2703-34_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2703-34_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2703-34_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2703-34_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2703-34_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2703-34_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2703-34_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2703-34_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_2703-34_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2703-34_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_2703-34_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2703-34_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2703-34_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2703-34_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_2703-34_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2703-34_0_3_node_161 | 0.4 | n |  | TRUE
58 | bus_LV_2703-34_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2703-34_0_3_node_162 | 0.4 | n |  | TRUE
60 | bus_LV_2703-34_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2703-34_0_3_node_163 | 0.4 | n |  | TRUE
62 | bus_LV_2703-34_0_3_node_166 | 0.4 | n |  | TRUE
63 | bus_LV_2703-34_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2703-34_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2703-34_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2703-34_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2703-34_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2703-34_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2703-34_0_3_node_151 | 0.4 | n |  | TRUE
70 | bus_LV_2703-34_0_3_node_152 | 0.4 | n |  | TRUE
71 | bus_LV_2703-34_0_3_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_2703-34_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2703-34_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2703-34_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2703-34_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2703-34_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2703-34_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2703-34_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_2703-34_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_2703-34_0_3_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_2703-34_0_3_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_2703-34_0_3_node_130 | 0.4 | n |  | TRUE
83 | bus_LV_2703-34_0_3_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_2703-34_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_2703-34_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_2703-34_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_2703-34_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_2703-34_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_2703-34_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_2703-34_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_2703-34_0_3_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_2703-34_0_3_node_137 | 0.4 | n |  | TRUE
93 | bus_LV_2703-34_0_3_node_118 | 0.4 | n |  | TRUE
94 | bus_LV_2703-34_0_3_node_135 | 0.4 | n |  | TRUE
95 | bus_LV_2703-34_0_3_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_2703-34_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_2703-34_0_3_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_2703-34_0_3_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_2703-34_0_3_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_2703-34_0_3_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_2703-34_0_3_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_2703-34_0_3_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_2703-34_0_3_node_153 | 0.4 | n |  | TRUE
104 | bus_LV_2703-34_0_3_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_2703-34_0_3_node_126 | 0.4 | n |  | TRUE
106 | bus_LV_2703-34_0_3_node_140 | 0.4 | n |  | TRUE
107 | bus_LV_2703-34_0_3_node_124 | 0.4 | n |  | TRUE
108 | bus_LV_2703-34_0_3_node_141 | 0.4 | n |  | TRUE
109 | bus_LV_2703-34_0_3_node_154 | 0.4 | n |  | TRUE
110 | bus_LV_2703-34_0_3_node_97 | 0.4 | n |  | TRUE
111 | bus_LV_2703-34_0_3_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_2703-34_0_3_node_132 | 0.4 | n |  | TRUE
113 | bus_LV_2703-34_0_3_node_128 | 0.4 | n |  | TRUE
114 | bus_LV_2703-34_0_3_node_89 | 0.4 | n |  | TRUE
115 | bus_LV_2703-34_0_3_node_91 | 0.4 | n |  | TRUE
116 | bus_LV_2703-34_0_3_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_2703-34_0_3_node_94 | 0.4 | n |  | TRUE
118 | bus_LV_2703-34_0_3_node_95 | 0.4 | n |  | TRUE
119 | bus_LV_2703-34_0_3_node_150 | 0.4 | n |  | TRUE
120 | bus_LV_2703-34_0_3_node_160 | 0.4 | n |  | TRUE
121 | bus_LV_2703-34_0_3_node_149 | 0.4 | n |  | TRUE
122 | bus_LV_2703-34_0_3_node_155 | 0.4 | n |  | TRUE
123 | bus_LV_2703-34_0_3_node_136 | 0.4 | n |  | TRUE
124 | bus_LV_2703-34_0_3_node_98 | 0.4 | n |  | TRUE
125 | bus_LV_2703-34_0_3_node_99 | 0.4 | n |  | TRUE
126 | bus_LV_2703-34_0_3_node_100 | 0.4 | n |  | TRUE
127 | bus_LV_2703-34_0_3_node_101 | 0.4 | n |  | TRUE
128 | bus_LV_2703-34_0_3_node_103 | 0.4 | n |  | TRUE
129 | bus_LV_2703-34_0_3_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_2703-34_0_3_node_106 | 0.4 | n |  | TRUE
131 | bus_LV_2703-34_0_3_node_107 | 0.4 | n |  | TRUE
132 | bus_LV_2703-34_0_3_node_108 | 0.4 | n |  | TRUE
133 | bus_LV_2703-34_0_3_node_115 | 0.4 | n |  | TRUE
134 | bus_LV_2703-34_0_3_node_116 | 0.4 | n |  | TRUE
135 | bus_LV_2703-34_0_3_node_109 | 0.4 | n |  | TRUE
136 | bus_LV_2703-34_0_3_node_110 | 0.4 | n |  | TRUE
137 | bus_LV_2703-34_0_3_node_111 | 0.4 | n |  | TRUE
138 | bus_LV_2703-34_0_3_node_112 | 0.4 | n |  | TRUE
139 | bus_LV_2703-34_0_3_node_113 | 0.4 | n |  | TRUE
140 | bus_LV_2703-34_0_3_node_148 | 0.4 | n |  | TRUE
141 | bus_LV_2703-34_0_3_node_147 | 0.4 | n |  | TRUE
142 | bus_LV_2703-34_0_3_node_125 | 0.4 | n |  | TRUE
143 | bus_LV_2703-34_0_3_node_123 | 0.4 | n |  | TRUE
144 | bus_LV_2703-34_0_3_node_119 | 0.4 | n |  | TRUE
145 | bus_LV_2703-34_0_3_node_143 | 0.4 | n |  | TRUE
146 | bus_LV_2703-34_0_3_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_2703-34_0_3_node_120 | 0.4 | n |  | TRUE
148 | bus_LV_2703-34_0_3_node_121 | 0.4 | n |  | TRUE
149 | bus_LV_2703-34_0_3_node_122 | 0.4 | n |  | TRUE
150 | bus_LV_2703-34_0_3_node_129 | 0.4 | n |  | TRUE
151 | bus_LV_2703-34_0_3_node_131 | 0.4 | n |  | TRUE
152 | bus_LV_2703-34_0_3_node_133 | 0.4 | n |  | TRUE
153 | bus_LV_2703-34_0_3_node_134 | 0.4 | n |  | TRUE
154 | bus_LV_2703-34_0_3_node_138 | 0.4 | n |  | TRUE
155 | bus_LV_2703-34_0_3_node_139 | 0.4 | n |  | TRUE
156 | bus_LV_2703-34_0_3_node_156 | 0.4 | n |  | TRUE
157 | bus_LV_2703-34_0_3_node_157 | 0.4 | n |  | TRUE
158 | bus_LV_2703-34_0_3_node_144 | 0.4 | n |  | TRUE
159 | bus_LV_2703-34_0_3_node_145 | 0.4 | n |  | TRUE
160 | bus_LV_2703-34_0_3_node_146 | 0.4 | n |  | TRUE
161 | bus_LV_2703-34_0_3_node_159 | 0.4 | n |  | TRUE
162 | bus_LV_2703-34_0_3_node_158 | 0.4 | n |  | TRUE
163 | bus_MV_347_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-34_0_3_load_0 | 0 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-34_0_3_load_1 | 1 | 0.0016803 | 0.00042113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-34_0_3_load_2 | 2 | 0.00077138 | 0.00019333 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-34_0_3_load_3 | 3 | 0.0017584 | 0.00044069 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-34_0_3_load_5 | 4 | 0.0023337 | 0.00058487 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-34_0_3_load_25 | 5 | 0.0022192 | 0.00055619 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-34_0_3_load_43 | 7 | 0.0017989 | 0.00045084 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-34_0_3_load_44 | 8 | 0.0010282 | 0.00025769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-34_0_3_load_26 | 9 | 0.0010162 | 0.00025468 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-34_0_3_load_62 | 10 | 0.0023333 | 0.00058479 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-34_0_3_load_59 | 11 | 0.0010342 | 0.00025918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-34_0_3_load_7 | 12 | 0.0018331 | 0.00045941 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-34_0_3_load_8 | 13 | 0.0018185 | 0.00045576 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-34_0_3_load_10 | 15 | 0.004266 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-34_0_3_load_13 | 18 | 0.0018895 | 0.00047356 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-34_0_3_load_78 | 19 | 0.0012996 | 0.00032571 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-34_0_3_load_17 | 20 | 0.0013024 | 0.0003264 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-34_0_3_load_61 | 21 | 0.0010408 | 0.00026086 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-34_0_3_load_79 | 22 | 0.0013018 | 0.00032626 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-34_0_3_load_15 | 23 | 0.00086518 | 0.00021683 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-34_0_3_load_34 | 24 | 0.0013684 | 0.00034296 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-34_0_3_load_14 | 25 | 0.0013023 | 0.00032639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-34_0_3_load_16 | 26 | 0.002674 | 0.00067016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-34_0_3_load_19 | 28 | 0.0010675 | 0.00026755 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-34_0_3_load_20 | 29 | 0.0012403 | 0.00031085 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-34_0_3_load_24 | 30 | 0.0057542 | 0.0014421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-34_0_3_load_21 | 31 | 0.0011707 | 0.0002934 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-34_0_3_load_22 | 33 | 0.002489 | 0.0006238 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-34_0_3_load_23 | 34 | 0.0012644 | 0.00031689 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-34_0_3_load_164 | 35 | 0.0020533 | 0.00051461 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-34_0_3_load_63 | 36 | 0.0025215 | 0.00063196 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-34_0_3_load_42 | 38 | 0.0055969 | 0.0014027 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-34_0_3_load_27 | 39 | 0.0016906 | 0.0004237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-34_0_3_load_35 | 40 | 0.0019201 | 0.00048123 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-34_0_3_load_47 | 41 | 0.0017153 | 0.00042989 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-34_0_3_load_28 | 42 | 0.0018631 | 0.00046693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-34_0_3_load_29 | 43 | 0.0012675 | 0.00031765 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-34_0_3_load_30 | 44 | 0.0013879 | 0.00034785 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-34_0_3_load_31 | 45 | 0.0017474 | 0.00043794 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-34_0_3_load_32 | 46 | 0.00095482 | 0.0002393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-34_0_3_load_33 | 47 | 0.000923 | 0.00023133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-34_0_3_load_46 | 48 | 0.0013533 | 0.00033918 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-34_0_3_load_60 | 49 | 0.0011291 | 0.00028299 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-34_0_3_load_48 | 50 | 0.0014678 | 0.00036787 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-34_0_3_load_36 | 51 | 0.0064083 | 0.0016061 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-34_0_3_load_37 | 52 | 0.0064187 | 0.0016087 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-34_0_3_load_38 | 53 | 0.0040142 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-34_0_3_load_39 | 54 | 0.0011467 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-34_0_3_load_40 | 55 | 0.0099387 | 0.0024909 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-34_0_3_load_41 | 56 | 0.0064039 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-34_0_3_load_161 | 57 | 0.0019368 | 0.00048542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-34_0_3_load_45 | 58 | 0.0010643 | 0.00026675 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-34_0_3_load_54 | 60 | 0.0013295 | 0.0003332 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-34_0_3_load_166 | 62 | 0.0054996 | 0.0013783 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-34_0_3_load_57 | 63 | 0.001071 | 0.00026841 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-34_0_3_load_52 | 64 | 0.00641 | 0.0016065 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-34_0_3_load_58 | 65 | 0.0021589 | 0.00054107 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-34_0_3_load_49 | 66 | 0.0064193 | 0.0016088 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-34_0_3_load_50 | 67 | 0.0019683 | 0.00049331 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-34_0_3_load_51 | 68 | 0.0010501 | 0.00026318 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-34_0_3_load_151 | 69 | 0.003791 | 0.0009501 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-34_0_3_load_152 | 70 | 0.0039458 | 0.00098892 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-34_0_3_load_165 | 71 | 0.0028007 | 0.00070193 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-34_0_3_load_64 | 72 | 0.0012988 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-34_0_3_load_65 | 73 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-34_0_3_load_66 | 74 | 0.0013451 | 0.00033712 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-34_0_3_load_67 | 75 | 0.0012976 | 0.00032522 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-34_0_3_load_68 | 76 | 0.0013069 | 0.00032755 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-34_0_3_load_69 | 77 | 0.0012996 | 0.0003257 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-34_0_3_load_70 | 78 | 0.0012599 | 0.00031575 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-34_0_3_load_127 | 80 | 0.0012641 | 0.00031682 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-34_0_3_load_104 | 81 | 0.0030251 | 0.00075816 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-34_0_3_load_114 | 83 | 0.0012648 | 0.00031698 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-34_0_3_load_71 | 84 | 0.0014338 | 0.00035934 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-34_0_3_load_72 | 85 | 0.0014323 | 0.00035897 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-34_0_3_load_73 | 86 | 0.0016288 | 0.00040821 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-34_0_3_load_74 | 87 | 0.001497 | 0.00037519 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-34_0_3_load_75 | 88 | 0.0014345 | 0.00035952 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-34_0_3_load_76 | 89 | 0.0016228 | 0.00040671 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2703-34_0_3_load_77 | 90 | 0.0014336 | 0.00035929 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2703-34_0_3_load_117 | 91 | 0.0016121 | 0.00040402 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2703-34_0_3_load_137 | 92 | 0.0015694 | 0.00039333 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2703-34_0_3_load_118 | 93 | 0.0015646 | 0.00039214 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2703-34_0_3_load_135 | 94 | 0.001433 | 0.00035915 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2703-34_0_3_load_92 | 95 | 0.001302 | 0.0003263 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2703-34_0_3_load_90 | 96 | 0.0013005 | 0.00032592 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2703-34_0_3_load_80 | 97 | 0.0014969 | 0.00037515 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2703-34_0_3_load_81 | 98 | 0.0014345 | 0.00035953 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2703-34_0_3_load_84 | 100 | 0.001618 | 0.0004055 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2703-34_0_3_load_87 | 101 | 0.0015692 | 0.00039328 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2703-34_0_3_load_86 | 102 | 0.0016286 | 0.00040816 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2703-34_0_3_load_153 | 103 | 0.0015579 | 0.00039044 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2703-34_0_3_load_96 | 104 | 0.0015693 | 0.0003933 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2703-34_0_3_load_140 | 106 | 0.0014776 | 0.00037031 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2703-34_0_3_load_124 | 107 | 0.0014768 | 0.00037012 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2703-34_0_3_load_141 | 108 | 0.0015242 | 0.000382 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2703-34_0_3_load_154 | 109 | 0.001058 | 0.00026515 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2703-34_0_3_load_97 | 110 | 0.0014343 | 0.00035948 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2703-34_0_3_load_102 | 111 | 0.0030955 | 0.00077581 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2703-34_0_3_load_132 | 112 | 0.005082 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2703-34_0_3_load_128 | 113 | 0.0012977 | 0.00032523 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2703-34_0_3_load_89 | 114 | 0.0013752 | 0.00034467 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2703-34_0_3_load_91 | 115 | 0.0013101 | 0.00032834 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2703-34_0_3_load_94 | 117 | 0.0010848 | 0.00027188 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2703-34_0_3_load_150 | 119 | 0.0010584 | 0.00026525 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2703-34_0_3_load_160 | 120 | 0.0010574 | 0.000265 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2703-34_0_3_load_149 | 121 | 0.0014537 | 0.00036434 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2703-34_0_3_load_155 | 122 | 0.0010577 | 0.0002651 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2703-34_0_3_load_136 | 123 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2703-34_0_3_load_98 | 124 | 0.0029382 | 0.00073639 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2703-34_0_3_load_99 | 125 | 0.0029692 | 0.00074416 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2703-34_0_3_load_100 | 126 | 0.0026991 | 0.00067647 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2703-34_0_3_load_101 | 127 | 0.0017591 | 0.00044087 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2703-34_0_3_load_103 | 128 | 0.0016844 | 0.00042214 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2703-34_0_3_load_105 | 129 | 0.0016794 | 0.0004209 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2703-34_0_3_load_106 | 130 | 0.0017166 | 0.00043022 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2703-34_0_3_load_107 | 131 | 0.0014363 | 0.00035997 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2703-34_0_3_load_108 | 132 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2703-34_0_3_load_115 | 133 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2703-34_0_3_load_116 | 134 | 0.0013939 | 0.00034934 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2703-34_0_3_load_109 | 135 | 0.0040923 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2703-34_0_3_load_110 | 136 | 0.0013082 | 0.00032788 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2703-34_0_3_load_111 | 137 | 0.0015106 | 0.0003786 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2703-34_0_3_load_112 | 138 | 0.0012643 | 0.00031686 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_2703-34_0_3_load_148 | 140 | 0.001346 | 0.00033734 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_2703-34_0_3_load_147 | 141 | 0.0013462 | 0.0003374 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_2703-34_0_3_load_125 | 142 | 0.0013923 | 0.00034895 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_2703-34_0_3_load_123 | 143 | 0.0014386 | 0.00036054 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_2703-34_0_3_load_119 | 144 | 0.0015646 | 0.00039213 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_2703-34_0_3_load_143 | 145 | 0.0015657 | 0.00039241 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_2703-34_0_3_load_142 | 146 | 0.0015855 | 0.00039736 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_2703-34_0_3_load_120 | 147 | 0.0013921 | 0.00034888 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_2703-34_0_3_load_121 | 148 | 0.0014341 | 0.00035943 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_2703-34_0_3_load_122 | 149 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_2703-34_0_3_load_129 | 150 | 0.0025893 | 0.00064894 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_2703-34_0_3_load_131 | 151 | 0.0012967 | 0.00032498 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_2703-34_0_3_load_133 | 152 | 0.0013371 | 0.0003351 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_2703-34_0_3_load_134 | 153 | 0.0025741 | 0.00064514 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_2703-34_0_3_load_138 | 154 | 0.0025739 | 0.00064507 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_2703-34_0_3_load_139 | 155 | 0.002917 | 0.00073106 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_2703-34_0_3_load_156 | 156 | 0.0038183 | 0.00095697 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_2703-34_0_3_load_157 | 157 | 0.0038066 | 0.00095402 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_2703-34_0_3_load_144 | 158 | 0.001566 | 0.00039247 | 0 | 0 |  | 1 | TRUE | wye
143 | LV_2703-34_0_3_load_145 | 159 | 0.0016124 | 0.00040411 | 0 | 0 |  | 1 | TRUE | wye
144 | LV_2703-34_0_3_load_146 | 160 | 0.0013976 | 0.00035026 | 0 | 0 |  | 1 | TRUE | wye
145 | LV_2703-34_0_3_load_159 | 161 | 0.0047026 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
146 | LV_2703-34_0_3_load_158 | 162 | 0.0013225 | 0.00033145 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-34_0_3_line_0 |  | 0 | 1 | 0.0030966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-34_0_3_line_1 |  | 0 | 2 | 0.023662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-34_0_3_line_2 |  | 1 | 3 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-34_0_3_line_3 |  | 3 | 4 | 0.0026262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-34_0_3_line_4 |  | 4 | 5 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-34_0_3_line_5 |  | 5 | 9 | 0.00482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-34_0_3_line_6 |  | 6 | 7 | 0.0081001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-34_0_3_line_7 |  | 6 | 8 | 0.035565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-34_0_3_line_8 |  | 7 | 10 | 0.051359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-34_0_3_line_9 |  | 8 | 11 | 0.0049145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-34_0_3_line_10 |  | 9 | 39 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-34_0_3_line_11 |  | 10 | 15 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-34_0_3_line_12 |  | 11 | 63 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-34_0_3_line_13 |  | 12 | 13 | 0.003844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-34_0_3_line_14 |  | 13 | 14 | 0.040157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-34_0_3_line_15 |  | 14 | 15 | 0.00886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-34_0_3_line_16 |  | 16 | 17 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-34_0_3_line_17 |  | 16 | 18 | 0.0032009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-34_0_3_line_18 |  | 17 | 19 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-34_0_3_line_19 |  | 17 | 20 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-34_0_3_line_20 |  | 18 | 21 | 0.061139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-34_0_3_line_21 |  | 19 | 22 | 0.0046726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-34_0_3_line_22 |  | 20 | 23 | 0.0028696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-34_0_3_line_23 |  | 21 | 24 | 0.00096646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-34_0_3_line_24 |  | 22 | 95 | 0.0046761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-34_0_3_line_25 |  | 23 | 25 | 0.0043329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-34_0_3_line_26 |  | 24 | 46 | 0.0066827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-34_0_3_line_27 |  | 26 | 27 | 0.02226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2703-34_0_3_line_28 |  | 27 | 28 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2703-34_0_3_line_29 |  | 27 | 29 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-34_0_3_line_30 |  | 28 | 30 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2703-34_0_3_line_31 |  | 29 | 31 | 0.010515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-34_0_3_line_32 |  | 30 | 32 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2703-34_0_3_line_33 |  | 31 | 33 | 0.0074117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-34_0_3_line_34 |  | 32 | 37 | 0.008769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2703-34_0_3_line_35 |  | 32 | 38 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-34_0_3_line_36 |  | 33 | 34 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-34_0_3_line_37 |  | 34 | 35 | 0.0054262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-34_0_3_line_38 |  | 35 | 36 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-34_0_3_line_39 |  | 36 | 50 | 0.00013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-34_0_3_line_40 |  | 37 | 69 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-34_0_3_line_41 |  | 37 | 70 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2703-34_0_3_line_42 |  | 38 | 55 | 0.0084031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-34_0_3_line_43 |  | 39 | 40 | 0.0079644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-34_0_3_line_44 |  | 40 | 41 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-34_0_3_line_45 |  | 41 | 50 | 0.018113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-34_0_3_line_46 |  | 42 | 43 | 0.0066964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-34_0_3_line_47 |  | 42 | 44 | 0.0016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-34_0_3_line_48 |  | 43 | 45 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-34_0_3_line_49 |  | 44 | 46 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-34_0_3_line_50 |  | 45 | 47 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-34_0_3_line_51 |  | 47 | 48 | 0.009497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-34_0_3_line_52 |  | 48 | 49 | 0.0093098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-34_0_3_line_53 |  | 49 | 65 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-34_0_3_line_54 |  | 51 | 52 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-34_0_3_line_55 |  | 51 | 53 | 0.0022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-34_0_3_line_56 |  | 52 | 54 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-34_0_3_line_57 |  | 53 | 55 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-34_0_3_line_58 |  | 54 | 56 | 0.005589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-34_0_3_line_59 |  | 54 | 57 | 0.13654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-34_0_3_line_60 |  | 56 | 58 | 0.0024507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-34_0_3_line_61 |  | 57 | 59 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-34_0_3_line_62 |  | 58 | 60 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-34_0_3_line_63 |  | 59 | 61 | 0.035511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-34_0_3_line_64 |  | 60 | 64 | 0.0033387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-34_0_3_line_65 |  | 61 | 62 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-34_0_3_line_66 |  | 63 | 65 | 0.0052541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-34_0_3_line_67 |  | 64 | 67 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-34_0_3_line_68 |  | 66 | 67 | 0.0063107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-34_0_3_line_69 |  | 66 | 68 | 0.0027067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-34_0_3_line_70 |  | 70 | 71 | 0.0078489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2703-34_0_3_line_71 |  | 71 | 161 | 0.0019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2703-34_0_3_line_72 |  | 72 | 73 | 2.0484e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2703-34_0_3_line_73 |  | 72 | 74 | 1.0549e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2703-34_0_3_line_74 |  | 73 | 75 | 1.4329e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2703-34_0_3_line_75 |  | 74 | 76 | 0.0065404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2703-34_0_3_line_76 |  | 75 | 77 | 1.6536e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2703-34_0_3_line_77 |  | 76 | 78 | 2.4422e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2703-34_0_3_line_78 |  | 77 | 79 | 0.027073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_2703-34_0_3_line_79 |  | 78 | 80 | 2.5513e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2703-34_0_3_line_80 |  | 79 | 81 | 0.0053534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-34_0_3_line_81 |  | 79 | 82 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2703-34_0_3_line_82 |  | 80 | 83 | 1.5515e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2703-34_0_3_line_83 |  | 81 | 111 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-34_0_3_line_84 |  | 82 | 112 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-34_0_3_line_85 |  | 82 | 113 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2703-34_0_3_line_86 |  | 83 | 138 | 0.040562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_2703-34_0_3_line_87 |  | 84 | 85 | 0.0042602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-34_0_3_line_88 |  | 84 | 86 | 0.0036675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-34_0_3_line_89 |  | 85 | 87 | 0.0043498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-34_0_3_line_90 |  | 86 | 88 | 0.00059335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-34_0_3_line_91 |  | 87 | 89 | 0.0095338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2703-34_0_3_line_92 |  | 88 | 90 | 0.0042596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2703-34_0_3_line_93 |  | 89 | 91 | 0.0083869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2703-34_0_3_line_94 |  | 90 | 92 | 0.00030197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2703-34_0_3_line_95 |  | 91 | 93 | 0.0013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2703-34_0_3_line_96 |  | 92 | 94 | 0.0039563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2703-34_0_3_line_97 |  | 93 | 144 | 0.0060518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2703-34_0_3_line_98 |  | 94 | 123 | 0.0011038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2703-34_0_3_line_99 |  | 95 | 96 | 0.004673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2703-34_0_3_line_100 |  | 96 | 114 | 0.004804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2703-34_0_3_line_101 |  | 97 | 98 | 0.0023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2703-34_0_3_line_102 |  | 97 | 99 | 0.025623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2703-34_0_3_line_103 |  | 99 | 100 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2703-34_0_3_line_104 |  | 100 | 101 | 0.0051372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2703-34_0_3_line_105 |  | 101 | 104 | 0.0050604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2703-34_0_3_line_106 |  | 102 | 103 | 0.0097428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2703-34_0_3_line_107 |  | 103 | 109 | 0.0050078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2703-34_0_3_line_108 |  | 104 | 110 | 0.0019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_2703-34_0_3_line_109 |  | 105 | 106 | 0.0050698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2703-34_0_3_line_110 |  | 105 | 107 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_2703-34_0_3_line_111 |  | 106 | 108 | 0.00030811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2703-34_0_3_line_112 |  | 107 | 149 | 0.0057862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_2703-34_0_3_line_113 |  | 109 | 122 | 0.0052142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2703-34_0_3_line_114 |  | 110 | 123 | 0.0031579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2703-34_0_3_line_115 |  | 111 | 126 | 0.01716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_2703-34_0_3_line_116 |  | 112 | 153 | 0.0020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2703-34_0_3_line_117 |  | 113 | 150 | 0.0031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_2703-34_0_3_line_118 |  | 114 | 115 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2703-34_0_3_line_119 |  | 115 | 116 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2703-34_0_3_line_120 |  | 116 | 117 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2703-34_0_3_line_121 |  | 116 | 118 | 0.004214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2703-34_0_3_line_122 |  | 117 | 119 | 0.00021452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2703-34_0_3_line_123 |  | 118 | 120 | 0.015825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2703-34_0_3_line_124 |  | 119 | 121 | 5.1793e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2703-34_0_3_line_125 |  | 120 | 122 | 0.0049409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2703-34_0_3_line_126 |  | 121 | 139 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2703-34_0_3_line_127 |  | 124 | 125 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2703-34_0_3_line_128 |  | 124 | 126 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2703-34_0_3_line_129 |  | 125 | 127 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2703-34_0_3_line_130 |  | 127 | 128 | 0.0067628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_2703-34_0_3_line_131 |  | 128 | 129 | 0.00661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_2703-34_0_3_line_132 |  | 129 | 130 | 0.0066804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_2703-34_0_3_line_133 |  | 130 | 131 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_2703-34_0_3_line_134 |  | 131 | 132 | 0.0058766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_2703-34_0_3_line_135 |  | 132 | 133 | 0.0057896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_2703-34_0_3_line_136 |  | 133 | 134 | 0.0057909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2703-34_0_3_line_137 |  | 134 | 142 | 0.0057882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_2703-34_0_3_line_138 |  | 135 | 136 | 0.0037086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_2703-34_0_3_line_139 |  | 135 | 137 | 0.01128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_2703-34_0_3_line_140 |  | 136 | 138 | 0.0050963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_2703-34_0_3_line_141 |  | 137 | 139 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_2703-34_0_3_line_142 |  | 139 | 140 | 0.0070866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_2703-34_0_3_line_143 |  | 140 | 141 | 0.0049698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_2703-34_0_3_line_144 |  | 141 | 160 | 0.005063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_2703-34_0_3_line_145 |  | 142 | 143 | 0.0058817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_2703-34_0_3_line_146 |  | 143 | 148 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_2703-34_0_3_line_147 |  | 144 | 145 | 0.0057465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_2703-34_0_3_line_148 |  | 145 | 146 | 0.0025611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_2703-34_0_3_line_149 |  | 146 | 158 | 0.0034928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_2703-34_0_3_line_150 |  | 147 | 148 | 0.0058722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_2703-34_0_3_line_151 |  | 147 | 149 | 0.0057935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_2703-34_0_3_line_152 |  | 150 | 151 | 0.0015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
153 | LV_2703-34_0_3_line_153 |  | 151 | 152 | 0.0048345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
154 | LV_2703-34_0_3_line_154 |  | 152 | 154 | 0.0048402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
155 | LV_2703-34_0_3_line_155 |  | 154 | 155 | 0.0068655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
156 | LV_2703-34_0_3_line_156 |  | 155 | 156 | 0.013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
157 | LV_2703-34_0_3_line_157 |  | 156 | 157 | 0.006916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
158 | LV_2703-34_0_3_line_158 |  | 157 | 162 | 0.0083226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
159 | LV_2703-34_0_3_line_159 |  | 158 | 159 | 0.0058363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_2703-34_0_3_line_160 |  | 159 | 160 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_2703-34_0_3_line_161 |  | 161 | 162 | 0.0048477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-34_0_3_trafo_16 | 0.63 MVA 20/0.4 kV | 163 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2616785.0222 | 1270969.3616 | 2616787.8427 | 1270968.0833
1 | 2616785.0222 | 1270969.3616 | 2616776.9432 | 1270973.0231 | 2616763.1163 | 1270978.2789
2 | 2616787.8427 | 1270968.0833 | 2616802.6434 | 1270961.3754
3 | 2616805.0354 | 1270960.2913 | 2616802.6434 | 1270961.3754
4 | 2616805.0354 | 1270960.2913 | 2616812.3202 | 1270956.9897 | 2616825.9805 | 1270953.1517
5 | 2616830.6208 | 1270951.8479 | 2616825.9805 | 1270953.1517
6 | 2616754.6642 | 1271060.2224 | 2616750.2709 | 1271067.0275
7 | 2616754.6642 | 1271060.2224 | 2616765.6606 | 1271052.548 | 2616787.0356 | 1271046.7211
8 | 2616753.7297 | 1271115.8991 | 2616745.8985 | 1271093.0655 | 2616745.0178 | 1271082.6445 | 2616747.026 | 1271072.0537 | 2616750.2709 | 1271067.0275
9 | 2616791.7771 | 1271045.4286 | 2616787.0356 | 1271046.7211
10 | 2616845.9621 | 1270947.5376 | 2616830.6208 | 1270951.8479
11 | 2616753.7297 | 1271115.8991 | 2616760.5337 | 1271135.7374
12 | 2616791.7771 | 1271045.4286 | 2616803.9063 | 1271042.1222
13 | 2616807.3779 | 1271145.4606 | 2616803.5341 | 1271145.4293
14 | 2616763.4081 | 1271144.1181 | 2616785.3161 | 1271145.281 | 2616803.5341 | 1271145.4293
15 | 2616763.4081 | 1271144.1181 | 2616760.5337 | 1271135.7374
16 | 2616987.906 | 1271008.1602 | 2616969.4954 | 1271009.5752
17 | 2616969.4954 | 1271009.5752 | 2616966.3038 | 1271009.8195
18 | 2616987.906 | 1271008.1602 | 2617006.8078 | 1271008.9012
19 | 2616987.906 | 1271008.1602 | 2616981.6534 | 1270992.0837
20 | 2616966.3038 | 1271009.8195 | 2616938.4148 | 1271011.9546 | 2616905.6144 | 1271016.8845
21 | 2617006.8078 | 1271008.9012 | 2617011.4768 | 1271009.0843
22 | 2616981.6534 | 1270992.0837 | 2616980.6133 | 1270989.4093
23 | 2616905.6144 | 1271016.8845 | 2616904.6587 | 1271017.0281
24 | 2617011.4768 | 1271009.0843 | 2617016.1493 | 1271009.2674
25 | 2616979.0427 | 1270985.371 | 2616980.6133 | 1270989.4093
26 | 2616904.6587 | 1271017.0281 | 2616898.0502 | 1271018.0213
27 | 2616955.4016 | 1270924.5853 | 2616963.4705 | 1270945.3319
28 | 2616955.4016 | 1270924.5853 | 2616949.3888 | 1270907.4738
29 | 2616955.4016 | 1270924.5853 | 2616941.5841 | 1270927.3821
30 | 2616949.3888 | 1270907.4738 | 2616944.2511 | 1270892.8523
31 | 2616931.2782 | 1270929.4681 | 2616941.5841 | 1270927.3821
32 | 2616940.5906 | 1270882.435 | 2616944.2511 | 1270892.8523
33 | 2616931.2782 | 1270929.4681 | 2616924.0138 | 1270930.9385
34 | 2616940.5906 | 1270882.435 | 2616949.3846 | 1270882.2712
35 | 2616940.5906 | 1270882.435 | 2616937.989 | 1270882.0384 | 2616933.5211 | 1270881.9367 | 2616919.5393 | 1270882.1446
36 | 2616910.9647 | 1270933.5859 | 2616914.126 | 1270932.94 | 2616924.0138 | 1270930.9385
37 | 2616910.9647 | 1270933.5859 | 2616905.6483 | 1270934.6721
38 | 2616887.8825 | 1270938.3019 | 2616905.6483 | 1270934.6721
39 | 2616887.8825 | 1270938.3019 | 2616887.7509 | 1270938.3288
40 | 2616949.3846 | 1270882.2712 | 2616942.8607 | 1270872.49 | 2616940.0092 | 1270869.6532
41 | 2616949.3846 | 1270882.2712 | 2616955.6395 | 1270883.5122 | 2616961.1653 | 1270884.4287
42 | 2616911.1379 | 1270882.2974 | 2616912.1946 | 1270882.2538 | 2616919.5393 | 1270882.1446
43 | 2616845.9621 | 1270947.5376 | 2616853.6296 | 1270945.3833
44 | 2616870.0043 | 1270941.9548 | 2616854.7113 | 1270945.0794 | 2616853.6296 | 1270945.3833
45 | 2616870.0043 | 1270941.9548 | 2616887.7509 | 1270938.3288
46 | 2616871.6687 | 1271023.65 | 2616878.1294 | 1271021.8889
47 | 2616879.7596 | 1271021.4445 | 2616878.1294 | 1271021.8889
48 | 2616871.6687 | 1271023.65 | 2616854.0523 | 1271028.4523
49 | 2616879.7596 | 1271021.4445 | 2616885.2711 | 1271019.942 | 2616898.0502 | 1271018.0213
50 | 2616842.1234 | 1271031.7041 | 2616854.0523 | 1271028.4523
51 | 2616832.9607 | 1271034.2019 | 2616842.1234 | 1271031.7041
52 | 2616832.9607 | 1271034.2019 | 2616823.9787 | 1271036.6504
53 | 2616823.9787 | 1271036.6504 | 2616808.9754 | 1271040.7403
54 | 2616894.2567 | 1270883.4201 | 2616892.8888 | 1270883.5441 | 2616882.6161 | 1270885.2494 | 2616873.3589 | 1270886.9465 | 2616867.5486 | 1270888.0841
55 | 2616896.4741 | 1270883.219 | 2616894.2567 | 1270883.4201
56 | 2616867.5486 | 1270888.0841 | 2616861.7155 | 1270889.2261 | 2616855.8256 | 1270890.4198
57 | 2616911.1379 | 1270882.2974 | 2616902.8734 | 1270882.6386 | 2616896.4741 | 1270883.219
58 | 2616850.348 | 1270891.5299 | 2616855.8256 | 1270890.4198
59 | 2616855.8256 | 1270890.4198 | 2616829.2355 | 1270756.4946
60 | 2616847.9461 | 1270892.0167 | 2616850.348 | 1270891.5299
61 | 2616822.2471 | 1270748.558 | 2616829.2355 | 1270756.4946 | 2616829.2355 | 1270756.4946
62 | 2616826.7558 | 1270896.3112 | 2616847.9461 | 1270892.0167
63 | 2616806.7755 | 1270729.2893 | 2616801.8853 | 1270742.7739 | 2616822.2471 | 1270748.558
64 | 2616826.7558 | 1270896.3112 | 2616823.4836 | 1270896.9744
65 | 2616806.7755 | 1270729.2893 | 2616813.1842 | 1270729.4632 | 2616819.9042 | 1270728.6038
66 | 2616803.9063 | 1271042.1222 | 2616808.9754 | 1271040.7403
67 | 2616823.4836 | 1270896.9744 | 2616812.4055 | 1270899.2195
68 | 2616806.2205 | 1270900.473 | 2616812.4055 | 1270899.2195
69 | 2616806.2205 | 1270900.473 | 2616803.5677 | 1270901.0106
70 | 2616968.9085 | 1270885.713 | 2616961.1653 | 1270884.4287
71 | 2616970.7902 | 1270886.0251 | 2616968.9085 | 1270885.713
72 | 2617042.3001 | 1270932.9333 | 2617042.2948 | 1270932.9531
73 | 2617042.2948 | 1270932.9531 | 2617042.292 | 1270932.9633
74 | 2617042.3039 | 1270932.9195 | 2617042.3001 | 1270932.9333
75 | 2617042.292 | 1270932.9633 | 2617040.5796 | 1270939.2755
76 | 2617042.3082 | 1270932.9035 | 2617042.3039 | 1270932.9195
77 | 2617040.5796 | 1270939.2755 | 2617040.5732 | 1270939.299
78 | 2617053.5979 | 1270913.5925 | 2617049.8021 | 1270925.6457 | 2617044.6914 | 1270924.1188 | 2617042.3082 | 1270932.9035
79 | 2617040.5732 | 1270939.299 | 2617040.5665 | 1270939.3236
80 | 2617053.5979 | 1270913.5925 | 2617058.4053 | 1270915.9479
81 | 2617035.9915 | 1270904.6688 | 2617053.5979 | 1270913.5925
82 | 2617040.5665 | 1270939.3236 | 2617040.5625 | 1270939.3386
83 | 2617070.4741 | 1270921.861 | 2617058.4053 | 1270915.9479
84 | 2617035.9915 | 1270904.6688 | 2617039.0954 | 1270891.3367
85 | 2617035.9915 | 1270904.6688 | 2617023.4812 | 1270899.7389
86 | 2617056.5906 | 1270965.7747 | 2617035.8721 | 1270956.6278 | 2617040.5625 | 1270939.3386
87 | 2617154.1801 | 1271014.6471 | 2617150.0872 | 1271013.4649
88 | 2617154.1801 | 1271014.6471 | 2617157.7036 | 1271015.6649
89 | 2617150.0872 | 1271013.4649 | 2617145.9082 | 1271012.2577
90 | 2617157.7036 | 1271015.6649 | 2617158.2737 | 1271015.8296
91 | 2617136.7489 | 1271009.612 | 2617145.9082 | 1271012.2577
92 | 2617162.3659 | 1271017.0117 | 2617158.2737 | 1271015.8296
93 | 2617138.3975 | 1271001.3887 | 2617136.7489 | 1271009.612 | 2617136.7489 | 1271009.612
94 | 2617162.3659 | 1271017.0117 | 2617162.656 | 1271017.0955
95 | 2617137.1327 | 1271001.035 | 2617138.3975 | 1271001.3887 | 2617138.3975 | 1271001.3887
96 | 2617166.457 | 1271018.1934 | 2617162.656 | 1271017.0955
97 | 2617131.3046 | 1270999.4051 | 2617137.1327 | 1271001.035
98 | 2617166.457 | 1271018.1934 | 2617167.5174 | 1271018.4997
99 | 2617020.8187 | 1271009.4505 | 2617016.1493 | 1271009.2674
100 | 2617025.619 | 1271009.6387 | 2617020.8187 | 1271009.4505
101 | 2617181.3602 | 1271044.9824 | 2617179.5722 | 1271046.5558
102 | 2617200.5955 | 1271028.0546 | 2617181.3602 | 1271044.9824
103 | 2617200.5955 | 1271028.0546 | 2617182.1762 | 1271022.734
104 | 2617182.1762 | 1271022.734 | 2617177.2408 | 1271021.3084
105 | 2617177.2408 | 1271021.3084 | 2617172.3792 | 1271019.9041
106 | 2617096.6242 | 1271027.2229 | 2617103.0452 | 1271029.4955 | 2617105.7205 | 1271030.694
107 | 2617091.9034 | 1271025.5521 | 2617096.6242 | 1271027.2229
108 | 2617170.5513 | 1271019.3761 | 2617172.3792 | 1271019.9041
109 | 2617209.6965 | 1270999.8052 | 2617211.552 | 1270998.0761 | 2617213.9688 | 1270997.3159
110 | 2617209.6965 | 1270999.8052 | 2617197.8627 | 1270992.9764
111 | 2617213.9688 | 1270997.3159 | 2617214.2737 | 1270997.36
112 | 2617192.851 | 1270990.0843 | 2617197.8627 | 1270992.9764
113 | 2617091.9034 | 1271025.5521 | 2617086.988 | 1271023.8124
114 | 2617167.5174 | 1271018.4997 | 2617170.5513 | 1271019.3761
115 | 2617070.4741 | 1270921.861 | 2617085.8841 | 1270929.4111
116 | 2617039.5518 | 1270889.3765 | 2617039.0954 | 1270891.3367
117 | 2617020.5284 | 1270898.5753 | 2617023.4812 | 1270899.7389
118 | 2617048.0734 | 1271013.3093 | 2617028.6109 | 1271009.756 | 2617025.619 | 1271009.6387
119 | 2617063.262 | 1271016.0824 | 2617048.0734 | 1271013.3093
120 | 2617063.262 | 1271016.0824 | 2617068.0728 | 1271000.7418
121 | 2617067.4119 | 1271016.8838 | 2617063.262 | 1271016.0824
122 | 2617068.137 | 1271000.5372 | 2617068.0728 | 1271000.7418
123 | 2617067.4119 | 1271016.8838 | 2617082.3302 | 1271022.1638
124 | 2617068.1525 | 1271000.4877 | 2617068.137 | 1271000.5372
125 | 2617086.988 | 1271023.8124 | 2617082.3302 | 1271022.1638
126 | 2617073.5566 | 1270983.2552 | 2617068.1525 | 1271000.4877
127 | 2617096.3427 | 1270934.5353 | 2617097.9538 | 1270935.3247 | 2617105.4983 | 1270939.678
128 | 2617096.3427 | 1270934.5353 | 2617085.8841 | 1270929.4111
129 | 2617118.7637 | 1270947.3325 | 2617105.4983 | 1270939.678
130 | 2617124.6213 | 1270950.7125 | 2617118.7637 | 1270947.3325
131 | 2617124.6213 | 1270950.7125 | 2617130.3466 | 1270954.0161
132 | 2617130.3466 | 1270954.0161 | 2617136.1327 | 1270957.3549
133 | 2617147.2321 | 1270963.7595 | 2617136.1327 | 1270957.3549
134 | 2617147.2321 | 1270963.7595 | 2617150.8442 | 1270965.8437 | 2617152.322 | 1270966.6966
135 | 2617152.322 | 1270966.6966 | 2617157.3366 | 1270969.5903
136 | 2617162.3523 | 1270972.4847 | 2617157.3366 | 1270969.5903
137 | 2617162.3523 | 1270972.4847 | 2617167.3657 | 1270975.3777
138 | 2617064.6454 | 1270969.3307 | 2617064.6454 | 1270969.3307 | 2617061.2527 | 1270967.8329
139 | 2617062.3569 | 1270980.3765 | 2617062.3569 | 1270980.3765 | 2617064.6454 | 1270969.3307
140 | 2617056.5906 | 1270965.7747 | 2617061.2527 | 1270967.8329
141 | 2617073.5566 | 1270983.2552 | 2617062.3569 | 1270980.3765
142 | 2617073.5566 | 1270983.2552 | 2617080.3813 | 1270985.1638
143 | 2617085.1675 | 1270986.5023 | 2617080.3813 | 1270985.1638
144 | 2617085.1675 | 1270986.5023 | 2617090.0434 | 1270987.8659
145 | 2617172.4601 | 1270978.3175 | 2617167.3657 | 1270975.3777
146 | 2617172.4601 | 1270978.3175 | 2617182.747 | 1270984.2537
147 | 2617131.3046 | 1270999.4051 | 2617125.7705 | 1270997.8574
148 | 2617125.7705 | 1270997.8574 | 2617123.304 | 1270997.1676
149 | 2617119.9403 | 1270996.2269 | 2617123.304 | 1270997.1676
150 | 2617187.8331 | 1270987.1887 | 2617182.747 | 1270984.2537
151 | 2617187.8331 | 1270987.1887 | 2617192.851 | 1270990.0843
152 | 2617020.5284 | 1270898.5753 | 2617019.0521 | 1270897.9936
153 | 2617019.0521 | 1270897.9936 | 2617014.5542 | 1270896.2211
154 | 2617010.0196 | 1270894.5476 | 2617010.7229 | 1270894.7113 | 2617014.5542 | 1270896.2211
155 | 2617010.0196 | 1270894.5476 | 2617003.3329 | 1270892.9906
156 | 2617003.3329 | 1270892.9906 | 2616990.4698 | 1270889.9955
157 | 2616983.7339 | 1270888.4271 | 2616990.4698 | 1270889.9955
158 | 2616983.7339 | 1270888.4271 | 2616979.9248 | 1270887.5401 | 2616975.5726 | 1270886.8183
159 | 2617114.3197 | 1270994.655 | 2617119.9403 | 1270996.2269
160 | 2617114.3197 | 1270994.655 | 2617090.0434 | 1270987.8659
161 | 2616970.7902 | 1270886.0251 | 2616975.5726 | 1270886.8183

## bus_geodata
| x | y | coords
0 | 2616785.0222 | 1270969.3616
1 | 2616787.8427 | 1270968.0833
2 | 2616763.1163 | 1270978.2789
3 | 2616802.6434 | 1270961.3754
4 | 2616805.0354 | 1270960.2913
5 | 2616825.9805 | 1270953.1517
6 | 2616754.6642 | 1271060.2224
7 | 2616750.2709 | 1271067.0275
8 | 2616787.0356 | 1271046.7211
9 | 2616830.6208 | 1270951.8479
10 | 2616753.7297 | 1271115.8991
11 | 2616791.7771 | 1271045.4286
12 | 2616807.3779 | 1271145.4606
13 | 2616803.5341 | 1271145.4293
14 | 2616763.4081 | 1271144.1181
15 | 2616760.5337 | 1271135.7374
16 | 2616969.4954 | 1271009.5752
17 | 2616987.906 | 1271008.1602
18 | 2616966.3038 | 1271009.8195
19 | 2617006.8078 | 1271008.9012
20 | 2616981.6534 | 1270992.0837
21 | 2616905.6144 | 1271016.8845
22 | 2617011.4768 | 1271009.0843
23 | 2616980.6133 | 1270989.4093
24 | 2616904.6587 | 1271017.0281
25 | 2616979.0427 | 1270985.371
26 | 2616963.4705 | 1270945.3319
27 | 2616955.4016 | 1270924.5853
28 | 2616949.3888 | 1270907.4738
29 | 2616941.5841 | 1270927.3821
30 | 2616944.2511 | 1270892.8523
31 | 2616931.2782 | 1270929.4681
32 | 2616940.5906 | 1270882.435
33 | 2616924.0138 | 1270930.9385
34 | 2616910.9647 | 1270933.5859
35 | 2616905.6483 | 1270934.6721
36 | 2616887.8825 | 1270938.3019
37 | 2616949.3846 | 1270882.2712
38 | 2616919.5393 | 1270882.1446
39 | 2616845.9621 | 1270947.5376
40 | 2616853.6296 | 1270945.3833
41 | 2616870.0043 | 1270941.9548
42 | 2616878.1294 | 1271021.8889
43 | 2616871.6687 | 1271023.65
44 | 2616879.7596 | 1271021.4445
45 | 2616854.0523 | 1271028.4523
46 | 2616898.0502 | 1271018.0213
47 | 2616842.1234 | 1271031.7041
48 | 2616832.9607 | 1271034.2019
49 | 2616823.9787 | 1271036.6504
50 | 2616887.7509 | 1270938.3288
51 | 2616894.2567 | 1270883.4201
52 | 2616867.5486 | 1270888.0841
53 | 2616896.4741 | 1270883.219
54 | 2616855.8256 | 1270890.4198
55 | 2616911.1379 | 1270882.2974
56 | 2616850.348 | 1270891.5299
57 | 2616829.2355 | 1270756.4946
58 | 2616847.9461 | 1270892.0167
59 | 2616822.2471 | 1270748.558
60 | 2616826.7558 | 1270896.3112
61 | 2616806.7755 | 1270729.2893
62 | 2616819.9042 | 1270728.6038
63 | 2616803.9063 | 1271042.1222
64 | 2616823.4836 | 1270896.9744
65 | 2616808.9754 | 1271040.7403
66 | 2616806.2205 | 1270900.473
67 | 2616812.4055 | 1270899.2195
68 | 2616803.5677 | 1270901.0106
69 | 2616940.0092 | 1270869.6532
70 | 2616961.1653 | 1270884.4287
71 | 2616968.9085 | 1270885.713
72 | 2617042.2948 | 1270932.9531
73 | 2617042.3001 | 1270932.9333
74 | 2617042.292 | 1270932.9633
75 | 2617042.3039 | 1270932.9195
76 | 2617040.5796 | 1270939.2755
77 | 2617042.3082 | 1270932.9035
78 | 2617040.5732 | 1270939.299
79 | 2617053.5979 | 1270913.5925
80 | 2617040.5665 | 1270939.3236
81 | 2617058.4053 | 1270915.9479
82 | 2617035.9915 | 1270904.6688
83 | 2617040.5625 | 1270939.3386
84 | 2617154.1801 | 1271014.6471
85 | 2617150.0872 | 1271013.4649
86 | 2617157.7036 | 1271015.6649
87 | 2617145.9082 | 1271012.2577
88 | 2617158.2737 | 1271015.8296
89 | 2617136.7489 | 1271009.612
90 | 2617162.3659 | 1271017.0117
91 | 2617138.3975 | 1271001.3887
92 | 2617162.656 | 1271017.0955
93 | 2617137.1327 | 1271001.035
94 | 2617166.457 | 1271018.1934
95 | 2617016.1493 | 1271009.2674
96 | 2617020.8187 | 1271009.4505
97 | 2617181.3602 | 1271044.9824
98 | 2617179.5722 | 1271046.5558
99 | 2617200.5955 | 1271028.0546
100 | 2617182.1761 | 1271022.734
101 | 2617177.2408 | 1271021.3084
102 | 2617105.7205 | 1271030.694
103 | 2617096.6242 | 1271027.2229
104 | 2617172.3792 | 1271019.9041
105 | 2617209.6965 | 1270999.8052
106 | 2617213.9688 | 1270997.3159
107 | 2617197.8627 | 1270992.9764
108 | 2617214.2737 | 1270997.36
109 | 2617091.9034 | 1271025.5521
110 | 2617170.5513 | 1271019.3761
111 | 2617070.4741 | 1270921.861
112 | 2617039.0954 | 1270891.3367
113 | 2617023.4812 | 1270899.7389
114 | 2617025.619 | 1271009.6387
115 | 2617048.0734 | 1271013.3093
116 | 2617063.262 | 1271016.0824
117 | 2617068.0728 | 1271000.7418
118 | 2617067.4119 | 1271016.8838
119 | 2617068.137 | 1271000.5372
120 | 2617082.3302 | 1271022.1638
121 | 2617068.1525 | 1271000.4877
122 | 2617086.988 | 1271023.8124
123 | 2617167.5174 | 1271018.4997
124 | 2617096.3427 | 1270934.5353
125 | 2617105.4983 | 1270939.678
126 | 2617085.8841 | 1270929.4111
127 | 2617118.7637 | 1270947.3325
128 | 2617124.6213 | 1270950.7125
129 | 2617130.3466 | 1270954.0161
130 | 2617136.1327 | 1270957.3549
131 | 2617147.2321 | 1270963.7595
132 | 2617152.322 | 1270966.6966
133 | 2617157.3366 | 1270969.5903
134 | 2617162.3524 | 1270972.4847
135 | 2617064.6454 | 1270969.3307
136 | 2617061.2527 | 1270967.8329
137 | 2617062.3569 | 1270980.3765
138 | 2617056.5906 | 1270965.7747
139 | 2617073.5566 | 1270983.2552
140 | 2617080.3813 | 1270985.1638
141 | 2617085.1675 | 1270986.5023
142 | 2617167.3657 | 1270975.3777
143 | 2617172.4601 | 1270978.3175
144 | 2617131.3046 | 1270999.4051
145 | 2617125.7705 | 1270997.8574
146 | 2617123.304 | 1270997.1676
147 | 2617187.8331 | 1270987.1887
148 | 2617182.747 | 1270984.2537
149 | 2617192.851 | 1270990.0843
150 | 2617020.5284 | 1270898.5753
151 | 2617019.0521 | 1270897.9936
152 | 2617014.5542 | 1270896.2211
153 | 2617039.5518 | 1270889.3765
154 | 2617010.0196 | 1270894.5476
155 | 2617003.3329 | 1270892.9906
156 | 2616990.4698 | 1270889.9955
157 | 2616983.7339 | 1270888.4271
158 | 2617119.9403 | 1270996.2269
159 | 2617114.3197 | 1270994.655
160 | 2617090.0434 | 1270987.8659
161 | 2616970.7902 | 1270886.0251
162 | 2616975.5726 | 1270886.8183
163 | 2616955.4016 | 1270924.5853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1