## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-35_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-35_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-35_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-35_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-35_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-35_0_3_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_2703-35_0_3_node_91 | 0.4 | n |  | TRUE
7 | bus_LV_2703-35_0_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_2703-35_0_3_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_2703-35_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2703-35_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2703-35_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2703-35_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2703-35_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2703-35_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2703-35_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2703-35_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_2703-35_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2703-35_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2703-35_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2703-35_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2703-35_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_2703-35_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2703-35_0_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_2703-35_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2703-35_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2703-35_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2703-35_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2703-35_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2703-35_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2703-35_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2703-35_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_2703-35_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2703-35_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2703-35_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2703-35_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2703-35_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2703-35_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2703-35_0_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_2703-35_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_2703-35_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2703-35_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2703-35_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2703-35_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2703-35_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2703-35_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2703-35_0_3_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_2703-35_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2703-35_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2703-35_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_2703-35_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2703-35_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_2703-35_0_3_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_2703-35_0_3_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_2703-35_0_3_node_97 | 0.4 | n |  | TRUE
55 | bus_LV_2703-35_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2703-35_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2703-35_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_2703-35_0_3_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_2703-35_0_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_2703-35_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2703-35_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_2703-35_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2703-35_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2703-35_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_2703-35_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2703-35_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2703-35_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2703-35_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2703-35_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2703-35_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_2703-35_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_2703-35_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2703-35_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_2703-35_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2703-35_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_2703-35_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_2703-35_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_2703-35_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_2703-35_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_2703-35_0_3_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_2703-35_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2703-35_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_2703-35_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_2703-35_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_2703-35_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_2703-35_0_3_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_2703-35_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_2703-35_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_2703-35_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_2703-35_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_2703-35_0_3_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_2703-35_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_MV_347_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-35_0_3_load_0 | 0 | 0.0012011 | 0.00030102 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-35_0_3_load_1 | 1 | 0.0013898 | 0.00034831 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-35_0_3_load_2 | 2 | 0.0014158 | 0.00035484 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-35_0_3_load_3 | 3 | 0.0014685 | 0.00036803 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-35_0_3_load_4 | 4 | 0.0021127 | 0.00052949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-35_0_3_load_54 | 5 | 0.0033431 | 0.00083786 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-35_0_3_load_91 | 6 | 0.0037623 | 0.00094292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-35_0_3_load_92 | 8 | 0.002112 | 0.00052932 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-35_0_3_load_5 | 9 | 0.0015231 | 0.00038173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-35_0_3_load_6 | 10 | 0.00098067 | 0.00024578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-35_0_3_load_7 | 11 | 0.005014 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-35_0_3_load_8 | 12 | 0.0012066 | 0.00030241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-35_0_3_load_9 | 13 | 0.0034633 | 0.00086797 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-35_0_3_load_34 | 14 | 0.0028423 | 0.00071235 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-35_0_3_load_10 | 15 | 0.0011571 | 0.00029 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-35_0_3_load_35 | 16 | 0.0018732 | 0.00046946 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-35_0_3_load_11 | 17 | 0.0013406 | 0.00033599 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-35_0_3_load_12 | 18 | 0.0023023 | 0.00057701 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-35_0_3_load_13 | 19 | 0.0013046 | 0.00032697 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-35_0_3_load_43 | 21 | 0.0045277 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-35_0_3_load_40 | 22 | 0.0037698 | 0.00094479 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-35_0_3_load_53 | 23 | 0.0037236 | 0.00093323 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-35_0_3_load_41 | 24 | 0.021506 | 0.00539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-35_0_3_load_15 | 25 | 0.0021757 | 0.00054529 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-35_0_3_load_16 | 26 | 0.002097 | 0.00052555 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-35_0_3_load_18 | 28 | 0.002404 | 0.00060251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-35_0_3_load_19 | 29 | 0.0020015 | 0.00050162 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-35_0_3_load_20 | 30 | 0.0037163 | 0.00093139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-35_0_3_load_84 | 31 | 0.0036264 | 0.00090886 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-35_0_3_load_21 | 32 | 0.0011865 | 0.00029737 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-35_0_3_load_52 | 33 | 0.0068632 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-35_0_3_load_66 | 34 | 0.0036836 | 0.00092319 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-35_0_3_load_22 | 35 | 0.001596 | 0.00040001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-35_0_3_load_50 | 36 | 0.0036311 | 0.00091004 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-35_0_3_load_23 | 37 | 0.0016523 | 0.00041411 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-35_0_3_load_60 | 38 | 0.0068797 | 0.0017242 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-35_0_3_load_61 | 39 | 0.0068672 | 0.0017211 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-35_0_3_load_24 | 40 | 0.0014861 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-35_0_3_load_25 | 41 | 0.0043649 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-35_0_3_load_28 | 44 | 0.0020933 | 0.00052463 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-35_0_3_load_81 | 46 | 0.003243 | 0.00081278 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-35_0_3_load_37 | 47 | 0.0045656 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-35_0_3_load_38 | 49 | 0.0037203 | 0.0009324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-35_0_3_load_36 | 51 | 0.0039624 | 0.00099306 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-35_0_3_load_98 | 52 | 0.00072717 | 0.00018225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-35_0_3_load_82 | 53 | 0.0032421 | 0.00081254 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-35_0_3_load_57 | 55 | 0.0033543 | 0.00084066 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-35_0_3_load_56 | 56 | 0.0032484 | 0.00081412 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-35_0_3_load_80 | 57 | 0.0010751 | 0.00026946 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-35_0_3_load_85 | 58 | 0.0021967 | 0.00055054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-35_0_3_load_86 | 59 | 0.0032701 | 0.00081956 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-35_0_3_load_42 | 60 | 0.010007 | 0.002508 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-35_0_3_load_70 | 61 | 0.021519 | 0.0053931 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-35_0_3_load_68 | 62 | 0.004238 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-35_0_3_load_51 | 63 | 0.0036236 | 0.00090815 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-35_0_3_load_44 | 64 | 0.00088978 | 0.000223 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-35_0_3_load_45 | 65 | 0.00087444 | 0.00021915 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-35_0_3_load_46 | 66 | 0.0013264 | 0.00033244 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-35_0_3_load_47 | 67 | 0.00092473 | 0.00023176 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2703-35_0_3_load_48 | 68 | 0.0057447 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2703-35_0_3_load_49 | 69 | 0.0036378 | 0.00091173 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2703-35_0_3_load_58 | 70 | 0.0033766 | 0.00084625 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2703-35_0_3_load_59 | 71 | 0.021554 | 0.005402 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2703-35_0_3_load_69 | 72 | 0.0051764 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2703-35_0_3_load_67 | 73 | 0.0033562 | 0.00084114 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2703-35_0_3_load_62 | 74 | 0.0013867 | 0.00034754 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2703-35_0_3_load_63 | 75 | 0.0014955 | 0.0003748 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2703-35_0_3_load_64 | 76 | 0.0014134 | 0.00035423 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2703-35_0_3_load_87 | 80 | 0.0012535 | 0.00031415 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2703-35_0_3_load_94 | 82 | 0.0010802 | 0.00027073 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2703-35_0_3_load_71 | 83 | 0.0026816 | 0.00067208 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2703-35_0_3_load_76 | 85 | 0.0017943 | 0.0004497 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2703-35_0_3_load_93 | 86 | 0.0039087 | 0.00097962 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2703-35_0_3_load_83 | 87 | 0.0046845 | 0.001174 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2703-35_0_3_load_88 | 88 | 0.0033506 | 0.00083974 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2703-35_0_3_load_89 | 89 | 0.0049916 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2703-35_0_3_load_90 | 90 | 0.0052523 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2703-35_0_3_load_95 | 91 | 0.024393 | 0.0061136 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2703-35_0_3_load_96 | 92 | 0.0013332 | 0.00033413 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-35_0_3_line_0 |  | 0 | 1 | 0.0022356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-35_0_3_line_1 |  | 0 | 2 | 0.0049968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-35_0_3_line_2 |  | 1 | 3 | 0.0074075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-35_0_3_line_3 |  | 2 | 4 | 0.0091003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-35_0_3_line_4 |  | 3 | 5 | 7.3774e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-35_0_3_line_5 |  | 4 | 6 | 0.0051017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2703-35_0_3_line_6 |  | 5 | 7 | 0.0087015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2703-35_0_3_line_7 |  | 6 | 8 | 0.0059006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-35_0_3_line_8 |  | 7 | 57 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-35_0_3_line_9 |  | 8 | 86 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-35_0_3_line_10 |  | 9 | 10 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-35_0_3_line_11 |  | 9 | 11 | 0.0075259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-35_0_3_line_12 |  | 10 | 12 | 0.0011311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-35_0_3_line_13 |  | 11 | 13 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-35_0_3_line_14 |  | 12 | 14 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-35_0_3_line_15 |  | 13 | 15 | 0.0014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-35_0_3_line_16 |  | 14 | 16 | 0.0090586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-35_0_3_line_17 |  | 15 | 17 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-35_0_3_line_18 |  | 16 | 49 | 0.008958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-35_0_3_line_19 |  | 17 | 18 | 0.0069307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-35_0_3_line_20 |  | 18 | 19 | 0.0015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-35_0_3_line_21 |  | 19 | 20 | 0.008856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-35_0_3_line_22 |  | 20 | 21 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-35_0_3_line_23 |  | 20 | 22 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2703-35_0_3_line_24 |  | 21 | 23 | 0.002042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-35_0_3_line_25 |  | 22 | 24 | 0.0082516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2703-35_0_3_line_26 |  | 23 | 63 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-35_0_3_line_27 |  | 24 | 60 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-35_0_3_line_28 |  | 25 | 26 | 0.014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-35_0_3_line_29 |  | 25 | 27 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-35_0_3_line_30 |  | 26 | 28 | 0.0073526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-35_0_3_line_31 |  | 27 | 29 | 0.011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-35_0_3_line_32 |  | 27 | 30 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-35_0_3_line_33 |  | 28 | 31 | 0.0067269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-35_0_3_line_34 |  | 29 | 32 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-35_0_3_line_35 |  | 30 | 33 | 0.0076521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-35_0_3_line_36 |  | 31 | 34 | 0.0017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-35_0_3_line_37 |  | 32 | 35 | 0.0053366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-35_0_3_line_38 |  | 33 | 36 | 0.0068636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-35_0_3_line_39 |  | 34 | 76 | 0.022375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-35_0_3_line_40 |  | 35 | 37 | 0.022248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-35_0_3_line_41 |  | 36 | 69 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-35_0_3_line_42 |  | 37 | 38 | 0.0042207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-35_0_3_line_43 |  | 38 | 39 | 0.037707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-35_0_3_line_44 |  | 40 | 41 | 0.030313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-35_0_3_line_45 |  | 40 | 42 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-35_0_3_line_46 |  | 41 | 43 | 0.0012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-35_0_3_line_47 |  | 42 | 44 | 0.014245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-35_0_3_line_48 |  | 43 | 45 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-35_0_3_line_49 |  | 44 | 46 | 0.0049191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-35_0_3_line_50 |  | 45 | 47 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-35_0_3_line_51 |  | 46 | 53 | 0.0066786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-35_0_3_line_52 |  | 47 | 51 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-35_0_3_line_53 |  | 48 | 49 | 0.054618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-35_0_3_line_54 |  | 48 | 50 | 0.17153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-35_0_3_line_55 |  | 48 | 51 | 0.025207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-35_0_3_line_56 |  | 50 | 52 | 0.21198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-35_0_3_line_57 |  | 52 | 54 | 0.064592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-35_0_3_line_58 |  | 53 | 87 | 0.0040071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-35_0_3_line_59 |  | 54 | 92 | 0.040526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-35_0_3_line_60 |  | 55 | 56 | 0.0068042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-35_0_3_line_61 |  | 56 | 70 | 0.0067023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-35_0_3_line_62 |  | 57 | 67 | 0.0012649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-35_0_3_line_63 |  | 58 | 59 | 0.0085999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-35_0_3_line_64 |  | 59 | 68 | 0.0011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-35_0_3_line_65 |  | 60 | 61 | 0.0065807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-35_0_3_line_66 |  | 61 | 62 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-35_0_3_line_67 |  | 62 | 73 | 0.0078379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-35_0_3_line_68 |  | 63 | 69 | 0.00017973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-35_0_3_line_69 |  | 64 | 65 | 0.0072222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-35_0_3_line_70 |  | 64 | 66 | 0.0090766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-35_0_3_line_71 |  | 65 | 67 | 0.0041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-35_0_3_line_72 |  | 66 | 68 | 0.0012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-35_0_3_line_73 |  | 70 | 71 | 0.0061906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-35_0_3_line_74 |  | 71 | 72 | 0.002365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-35_0_3_line_75 |  | 72 | 73 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2703-35_0_3_line_76 |  | 74 | 75 | 0.00023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2703-35_0_3_line_77 |  | 74 | 76 | 0.00025113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2703-35_0_3_line_78 |  | 75 | 77 | 0.013724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2703-35_0_3_line_79 |  | 77 | 78 | 0.006122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2703-35_0_3_line_80 |  | 77 | 79 | 0.01926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2703-35_0_3_line_81 |  | 78 | 80 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2703-35_0_3_line_82 |  | 78 | 81 | 0.018663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2703-35_0_3_line_83 |  | 79 | 82 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2703-35_0_3_line_84 |  | 81 | 84 | 0.098677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2703-35_0_3_line_85 |  | 82 | 86 | 0.0032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2703-35_0_3_line_86 |  | 83 | 84 | 0.033295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2703-35_0_3_line_87 |  | 84 | 85 | 0.029011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2703-35_0_3_line_88 |  | 87 | 88 | 0.0016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2703-35_0_3_line_89 |  | 88 | 89 | 0.0085997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2703-35_0_3_line_90 |  | 89 | 90 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2703-35_0_3_line_91 |  | 90 | 91 | 0.0096123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-35_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 93 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2616236.5712 | 1271109.4434 | 2616234.4564 | 1271110.1685
1 | 2616236.5712 | 1271109.4434 | 2616241.2979 | 1271107.8229
2 | 2616227.4493 | 1271112.5708 | 2616234.4564 | 1271110.1685
3 | 2616241.2979 | 1271107.8229 | 2616249.9063 | 1271104.8715
4 | 2616227.3795 | 1271112.5947 | 2616227.4493 | 1271112.5708
5 | 2616249.9063 | 1271104.8715 | 2616254.7323 | 1271103.2169
6 | 2616219.1484 | 1271115.4168 | 2616227.3795 | 1271112.5947
7 | 2616260.314 | 1271101.3033 | 2616254.7323 | 1271103.2169
8 | 2616219.1484 | 1271115.4168 | 2616209.3903 | 1271118.5412
9 | 2616260.314 | 1271101.3033 | 2616281.965 | 1271093.8803
10 | 2616131.0309 | 1271034.0901 | 2616118.6714 | 1271037.4798
11 | 2616131.0309 | 1271034.0901 | 2616138.2888 | 1271032.0995
12 | 2616118.6714 | 1271037.4798 | 2616117.5806 | 1271037.7789
13 | 2616138.2888 | 1271032.0995 | 2616155.7885 | 1271027.3
14 | 2616091.0906 | 1271041.0873 | 2616102.5474 | 1271041.9019 | 2616117.5806 | 1271037.7789
15 | 2616157.1411 | 1271026.9291 | 2616155.7885 | 1271027.3
16 | 2616082.0548 | 1271040.4448 | 2616091.0906 | 1271041.0873
17 | 2616157.1411 | 1271026.9291 | 2616171.6326 | 1271022.9546
18 | 2616082.0548 | 1271040.4448 | 2616073.1194 | 1271039.8095 | 2616073.1194 | 1271039.8095
19 | 2616178.3164 | 1271021.1215 | 2616171.6326 | 1271022.9546
20 | 2616178.3164 | 1271021.1215 | 2616179.7923 | 1271020.7167
21 | 2616188.3329 | 1271018.3743 | 2616179.7923 | 1271020.7167
22 | 2616188.3329 | 1271018.3743 | 2616199.9438 | 1271014.954
23 | 2616188.3329 | 1271018.3743 | 2616183.6738 | 1271004.7219
24 | 2616201.9025 | 1271014.3769 | 2616199.9438 | 1271014.954
25 | 2616183.6738 | 1271004.7219 | 2616181.0087 | 1270996.9125
26 | 2616201.9025 | 1271014.3769 | 2616215.6596 | 1271010.3243
27 | 2616175.361 | 1270980.3631 | 2616181.0087 | 1270996.9125
28 | 2616264.9903 | 1271009.0866 | 2616270.5476 | 1271022.2128
29 | 2616259.9859 | 1270997.2665 | 2616264.9903 | 1271009.0866
30 | 2616270.5476 | 1271022.2128 | 2616273.4142 | 1271028.9835
31 | 2616259.9859 | 1270997.2665 | 2616255.5933 | 1270986.8613
32 | 2616259.9859 | 1270997.2665 | 2616243.5234 | 1271002.1161
33 | 2616276.0368 | 1271035.1781 | 2616273.4142 | 1271028.9835
34 | 2616249.8648 | 1270973.2917 | 2616255.5933 | 1270986.8613
35 | 2616243.5234 | 1271002.1161 | 2616236.1832 | 1271004.2784
36 | 2616276.0368 | 1271035.1781 | 2616276.7142 | 1271036.7782
37 | 2616249.8648 | 1270973.2917 | 2616247.7893 | 1270968.3752
38 | 2616229.5993 | 1271006.2179 | 2616236.1832 | 1271004.2784
39 | 2616285.4378 | 1271057.383 | 2616276.7142 | 1271036.7782
40 | 2616239.1365 | 1270947.8785 | 2616247.7893 | 1270968.3752
41 | 2616215.832 | 1271010.2736 | 2616229.5993 | 1271006.2179
42 | 2616239.1365 | 1270947.8785 | 2616238.0585 | 1270945.3249 | 2616237.4983 | 1270943.9886
43 | 2616222.9572 | 1270909.1984 | 2616223.4182 | 1270910.4043 | 2616237.4983 | 1270943.9886
44 | 2616065.1068 | 1270917.958 | 2616072.1535 | 1270913.4056 | 2616086.938 | 1270903.85 | 2616090.5735 | 1270901.5166
45 | 2616105.362 | 1270892.0249 | 2616090.5735 | 1270901.5166
46 | 2616064.0981 | 1270918.6097 | 2616065.1068 | 1270917.958
47 | 2616105.362 | 1270892.0249 | 2616113.278 | 1270903.8684
48 | 2616056.2557 | 1270936.857 | 2616056.312 | 1270929.9411 | 2616056.6056 | 1270927.0732 | 2616058.1411 | 1270923.9418 | 2616059.6064 | 1270921.7442 | 2616061.0613 | 1270920.5806 | 2616064.0981 | 1270918.6097
49 | 2616115.5204 | 1270908.2384 | 2616113.7827 | 1270904.6234 | 2616113.278 | 1270903.8684
50 | 2616056.2557 | 1270936.857 | 2616055.9658 | 1270956.7008
51 | 2616115.5204 | 1270908.2384 | 2616118.4138 | 1270914.2577
52 | 2616055.6867 | 1270982.2214 | 2616055.8955 | 1270961.5181 | 2616055.9658 | 1270956.7008
53 | 2616055.4326 | 1271007.4273 | 2616055.2985 | 1271020.8143 | 2616057.6505 | 1271043.9038 | 2616060.908 | 1271043.7125 | 2616060.8827 | 1271041.9556 | 2616061.5328 | 1271040.7677 | 2616063.5725 | 1271040.3284 | 2616073.1194 | 1271039.8095
54 | 2615916.7212 | 1271084.5639 | 2615922.8562 | 1271080.0549 | 2615936.1429 | 1271070.6172 | 2615949.9672 | 1271059.8578 | 2615957.5524 | 1271055.931 | 2615974.2701 | 1271048.9599 | 2616003.4582 | 1271036.8411 | 2616005.5366 | 1271036.0017 | 2616022.6831 | 1271029.0653 | 2616020.8315 | 1271023.9122 | 2616022.029 | 1271023.3594 | 2616025.0517 | 1271021.0326 | 2616027.1422 | 1271018.492 | 2616028.8507 | 1271015.3166 | 2616029.7418 | 1271011.2494 | 2616030.2271 | 1271007.0477 | 2616033.1755 | 1271007.1447 | 2616039.0199 | 1271007.2161 | 2616040.6973 | 1271007.2429 | 2616042.683 | 1271007.2705 | 2616044.6312 | 1271007.2869 | 2616046.8727 | 1271007.3152 | 2616051.5513 | 1271007.3835 | 2616055.4326 | 1271007.4273
55 | 2616055.4326 | 1271007.4273 | 2616055.6867 | 1270982.2214
56 | 2615916.7212 | 1271084.5639 | 2615883.9948 | 1271064.2728 | 2615848.9743 | 1271018.5464 | 2615839.2855 | 1270998.9732 | 2615835.9208 | 1270982.975 | 2615835.4991 | 1270943.7459 | 2615836.8932 | 1270905.3088
57 | 2615816.7144 | 1270848.6279 | 2615824.7414 | 1270854.0088 | 2615833.9652 | 1270864.7188 | 2615837.3262 | 1270893.3704 | 2615836.8932 | 1270905.3088
58 | 2616118.4138 | 1270914.2577 | 2616119.4449 | 1270916.4028 | 2616120.005 | 1270917.9304
59 | 2615816.7144 | 1270848.6279 | 2615797.264 | 1270884.1813
60 | 2616157.2947 | 1270927.4242 | 2616155.0971 | 1270920.9847
61 | 2616157.2947 | 1270927.4242 | 2616159.4594 | 1270933.7673
62 | 2616208.1856 | 1271118.927 | 2616209.3903 | 1271118.5412
63 | 2616180.9918 | 1271133.8923 | 2616187.6003 | 1271128.3891
64 | 2616187.6003 | 1271128.3891 | 2616188.4535 | 1271127.6786
65 | 2616175.361 | 1270980.3631 | 2616173.2355 | 1270974.135
66 | 2616168.4395 | 1270960.0815 | 2616173.2355 | 1270974.135
67 | 2616165.9081 | 1270952.6637 | 2616168.4395 | 1270960.0815
68 | 2616215.832 | 1271010.2736 | 2616215.6596 | 1271010.3243
69 | 2616197.6758 | 1271123.2207 | 2616204.2632 | 1271120.2599
70 | 2616197.6758 | 1271123.2207 | 2616189.397 | 1271126.9417
71 | 2616208.1856 | 1271118.927 | 2616204.8592 | 1271119.9921 | 2616204.2632 | 1271120.2599
72 | 2616189.397 | 1271126.9417 | 2616189.2697 | 1271126.9989 | 2616188.4535 | 1271127.6786
73 | 2616159.4594 | 1270933.7673 | 2616161.4589 | 1270939.6262
74 | 2616162.2227 | 1270941.8645 | 2616161.4589 | 1270939.6262
75 | 2616165.9081 | 1270952.6637 | 2616162.2227 | 1270941.8645
76 | 2616285.5357 | 1271057.6142 | 2616285.6281 | 1271057.8325
77 | 2616285.4378 | 1271057.383 | 2616285.5357 | 1271057.6142
78 | 2616290.9787 | 1271070.4705 | 2616285.6281 | 1271057.8325
79 | 2616296.6792 | 1271068.1957 | 2616290.9787 | 1271070.4705
80 | 2616298.4895 | 1271088.2149 | 2616290.9787 | 1271070.4705
81 | 2616296.6792 | 1271068.1957 | 2616292.0284 | 1271055.3181 | 2616295.3424 | 1271054.04
82 | 2616307.8533 | 1271077.6887 | 2616300.7491 | 1271078.9256 | 2616300.2861 | 1271077.7013 | 2616298.7104 | 1271073.5606 | 2616296.6792 | 1271068.1957
83 | 2616298.4895 | 1271088.2149 | 2616285.0567 | 1271092.8203
84 | 2616303.9431 | 1271000.723 | 2616310.8711 | 1271033.4432 | 2616315.9432 | 1271032.6455 | 2616324.3029 | 1271075.3101 | 2616307.8533 | 1271077.6887
85 | 2616285.0567 | 1271092.8203 | 2616281.965 | 1271093.8803
86 | 2616303.9431 | 1271000.723 | 2616335.5954 | 1270990.3948
87 | 2616303.9431 | 1271000.723 | 2616297.9329 | 1270972.3418
88 | 2616120.5748 | 1270919.4849 | 2616120.005 | 1270917.9304
89 | 2616120.5748 | 1270919.4849 | 2616123.5348 | 1270927.5591
90 | 2616123.5348 | 1270927.5591 | 2616127.9645 | 1270939.6425 | 2616128.4468 | 1270942.4372
91 | 2616128.4274 | 1270951.9859 | 2616128.9494 | 1270945.3493 | 2616128.4468 | 1270942.4372

## bus_geodata
| x | y | coords
0 | 2616236.5712 | 1271109.4434
1 | 2616234.4564 | 1271110.1685
2 | 2616241.2979 | 1271107.8229
3 | 2616227.4493 | 1271112.5708
4 | 2616249.9063 | 1271104.8715
5 | 2616227.3795 | 1271112.5947
6 | 2616254.7323 | 1271103.2169
7 | 2616219.1484 | 1271115.4168
8 | 2616260.314 | 1271101.3033
9 | 2616131.0309 | 1271034.0901
10 | 2616118.6714 | 1271037.4798
11 | 2616138.2888 | 1271032.0995
12 | 2616117.5806 | 1271037.7789
13 | 2616155.7885 | 1271027.3
14 | 2616091.0906 | 1271041.0873
15 | 2616157.1411 | 1271026.9291
16 | 2616082.0549 | 1271040.4448
17 | 2616171.6326 | 1271022.9546
18 | 2616178.3164 | 1271021.1215
19 | 2616179.7923 | 1271020.7167
20 | 2616188.3329 | 1271018.3743
21 | 2616199.9438 | 1271014.954
22 | 2616183.6738 | 1271004.7219
23 | 2616201.9025 | 1271014.3769
24 | 2616181.0087 | 1270996.9125
25 | 2616264.9903 | 1271009.0866
26 | 2616270.5476 | 1271022.2128
27 | 2616259.9859 | 1270997.2665
28 | 2616273.4142 | 1271028.9835
29 | 2616255.5933 | 1270986.8613
30 | 2616243.5234 | 1271002.1161
31 | 2616276.0368 | 1271035.1781
32 | 2616249.8648 | 1270973.2917
33 | 2616236.1832 | 1271004.2784
34 | 2616276.7142 | 1271036.7782
35 | 2616247.7893 | 1270968.3752
36 | 2616229.5993 | 1271006.2179
37 | 2616239.1365 | 1270947.8785
38 | 2616237.4983 | 1270943.9886
39 | 2616222.9572 | 1270909.1984
40 | 2616090.5735 | 1270901.5166
41 | 2616065.1068 | 1270917.958
42 | 2616105.362 | 1270892.0249
43 | 2616064.0981 | 1270918.6097
44 | 2616113.278 | 1270903.8684
45 | 2616056.2557 | 1270936.857
46 | 2616115.5204 | 1270908.2384
47 | 2616055.9658 | 1270956.7008
48 | 2616055.4326 | 1271007.4273
49 | 2616073.1194 | 1271039.8095
50 | 2615916.7212 | 1271084.5639
51 | 2616055.6867 | 1270982.2214
52 | 2615836.8932 | 1270905.3088
53 | 2616118.4138 | 1270914.2577
54 | 2615816.7144 | 1270848.6279
55 | 2616155.0971 | 1270920.9847
56 | 2616157.2947 | 1270927.4242
57 | 2616209.3903 | 1271118.5412
58 | 2616180.9918 | 1271133.8923
59 | 2616187.6003 | 1271128.3891
60 | 2616175.361 | 1270980.3631
61 | 2616173.2355 | 1270974.135
62 | 2616168.4395 | 1270960.0815
63 | 2616215.6596 | 1271010.3243
64 | 2616197.6758 | 1271123.2207
65 | 2616204.2632 | 1271120.2599
66 | 2616189.397 | 1271126.9417
67 | 2616208.1856 | 1271118.927
68 | 2616188.4535 | 1271127.6786
69 | 2616215.832 | 1271010.2736
70 | 2616159.4594 | 1270933.7673
71 | 2616161.4588 | 1270939.6262
72 | 2616162.2227 | 1270941.8645
73 | 2616165.9081 | 1270952.6637
74 | 2616285.5357 | 1271057.6142
75 | 2616285.6281 | 1271057.8325
76 | 2616285.4378 | 1271057.383
77 | 2616290.9787 | 1271070.4705
78 | 2616296.6792 | 1271068.1957
79 | 2616298.4895 | 1271088.2149
80 | 2616295.3424 | 1271054.04
81 | 2616307.8533 | 1271077.6887
82 | 2616285.0567 | 1271092.8203
83 | 2616335.5954 | 1270990.3948
84 | 2616303.9431 | 1271000.723
85 | 2616297.9329 | 1270972.3418
86 | 2616281.965 | 1271093.8803
87 | 2616120.005 | 1270917.9304
88 | 2616120.5748 | 1270919.4849
89 | 2616123.5348 | 1270927.5591
90 | 2616128.4468 | 1270942.4372
91 | 2616128.4274 | 1270951.9859
92 | 2615797.264 | 1270884.1813
93 | 2616188.3329 | 1271018.3743

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1