## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2703-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2703-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2703-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2703-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2703-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2703-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2703-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2703-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2703-3_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2703-3_0_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_2703-3_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2703-3_0_3_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2703-3_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2703-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2703-3_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2703-3_0_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2703-3_0_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_2703-3_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_2703-3_0_3_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_2703-3_0_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_2703-3_0_3_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_2703-3_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2703-3_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2703-3_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2703-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2703-3_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2703-3_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2703-3_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2703-3_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2703-3_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2703-3_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_2703-3_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2703-3_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2703-3_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2703-3_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2703-3_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2703-3_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2703-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2703-3_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2703-3_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2703-3_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2703-3_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2703-3_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2703-3_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2703-3_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2703-3_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2703-3_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2703-3_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2703-3_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2703-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2703-3_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2703-3_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2703-3_0_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_2703-3_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2703-3_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2703-3_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2703-3_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2703-3_0_3_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_2703-3_0_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_2703-3_0_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_2703-3_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2703-3_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2703-3_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_2703-3_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_2703-3_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2703-3_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2703-3_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2703-3_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_2703-3_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_2703-3_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2703-3_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2703-3_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2703-3_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_2703-3_0_3_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2703-3_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_2703-3_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_2703-3_0_3_node_78 | 0.4 | n |  | TRUE
77 | bus_MV_347_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2703-3_0_3_load_0 | 0 | 0.0045433 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2703-3_0_3_load_1 | 1 | 0.021319 | 0.0053431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2703-3_0_3_load_2 | 2 | 0.012162 | 0.0030482 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2703-3_0_3_load_3 | 3 | 0.0046417 | 0.0011633 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2703-3_0_3_load_5 | 5 | 0.0067134 | 0.0016825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2703-3_0_3_load_6 | 6 | 0.014608 | 0.0036611 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2703-3_0_3_load_7 | 7 | 0.015955 | 0.0039986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2703-3_0_3_load_10 | 8 | 0.032911 | 0.0082483 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2703-3_0_3_load_49 | 9 | 0.021002 | 0.0052635 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2703-3_0_3_load_9 | 10 | 0.0034529 | 0.00086539 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2703-3_0_3_load_47 | 11 | 0.015902 | 0.0039854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2703-3_0_3_load_11 | 12 | 0.0010459 | 0.00026212 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2703-3_0_3_load_12 | 13 | 0.001078 | 0.00027018 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2703-3_0_3_load_72 | 17 | 0.001272 | 0.0003188 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2703-3_0_3_load_83 | 18 | 0.0049953 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2703-3_0_3_load_68 | 20 | 0.0078818 | 0.0019754 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2703-3_0_3_load_14 | 21 | 0.00046009 | 0.00011531 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2703-3_0_3_load_15 | 22 | 0.0004606 | 0.00011544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2703-3_0_3_load_16 | 23 | 0.0022219 | 0.00055686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2703-3_0_3_load_17 | 24 | 0.00046435 | 0.00011638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2703-3_0_3_load_18 | 25 | 0.036428 | 0.0091297 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2703-3_0_3_load_20 | 27 | 0.0058689 | 0.0014709 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2703-3_0_3_load_35 | 28 | 0.00094981 | 0.00023804 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2703-3_0_3_load_36 | 29 | 0.0048054 | 0.0012043 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2703-3_0_3_load_46 | 30 | 0.0044903 | 0.0011254 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2703-3_0_3_load_34 | 31 | 0.00095247 | 0.00023871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2703-3_0_3_load_37 | 32 | 0.014943 | 0.0037451 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2703-3_0_3_load_44 | 33 | 0.00045914 | 0.00011507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2703-3_0_3_load_21 | 34 | 0.00094502 | 0.00023684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2703-3_0_3_load_25 | 36 | 0.00081239 | 0.0002036 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2703-3_0_3_load_29 | 37 | 0.00039456 | 9.8887e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2703-3_0_3_load_26 | 38 | 0.00095968 | 0.00024052 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2703-3_0_3_load_30 | 39 | 0.00095129 | 0.00023842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2703-3_0_3_load_27 | 40 | 0.00081222 | 0.00020356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2703-3_0_3_load_31 | 41 | 0.00081293 | 0.00020374 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2703-3_0_3_load_38 | 42 | 0.00039417 | 9.8789e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2703-3_0_3_load_33 | 43 | 0.00095177 | 0.00023854 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2703-3_0_3_load_32 | 44 | 0.0048024 | 0.0012036 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2703-3_0_3_load_39 | 45 | 0.00039391 | 9.8723e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2703-3_0_3_load_48 | 46 | 0.010958 | 0.0027464 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2703-3_0_3_load_45 | 47 | 0.00039344 | 9.8605e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2703-3_0_3_load_43 | 48 | 0.0003936 | 9.8645e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2703-3_0_3_load_40 | 49 | 0.00045856 | 0.00011493 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2703-3_0_3_load_41 | 50 | 0.00039312 | 9.8525e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2703-3_0_3_load_67 | 52 | 0.0020262 | 0.00050782 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2703-3_0_3_load_53 | 53 | 0.00090928 | 0.00022789 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2703-3_0_3_load_56 | 56 | 0.003054 | 0.00076539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2703-3_0_3_load_57 | 60 | 0.00048859 | 0.00012245 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2703-3_0_3_load_60 | 62 | 0.0016432 | 0.00041183 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2703-3_0_3_load_61 | 63 | 0.0017563 | 0.00044017 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2703-3_0_3_load_65 | 64 | 0.0022543 | 0.00056499 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2703-3_0_3_load_66 | 65 | 0.00047795 | 0.00011979 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2703-3_0_3_load_84 | 67 | 0.00041553 | 0.00010414 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2703-3_0_3_load_81 | 68 | 0.00064322 | 0.00016121 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2703-3_0_3_load_70 | 70 | 0.0034774 | 0.00087153 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2703-3_0_3_load_71 | 71 | 0.0013003 | 0.00032589 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2703-3_0_3_load_80 | 73 | 0.0027861 | 0.00069825 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2703-3_0_3_load_77 | 75 | 0.0087225 | 0.0021861 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2703-3_0_3_load_78 | 76 | 0.0082441 | 0.0020662 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2703-3_0_3_line_0 |  | 0 | 1 | 8.6796e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2703-3_0_3_line_1 |  | 0 | 2 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2703-3_0_3_line_2 |  | 1 | 3 | 0.0091878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2703-3_0_3_line_3 |  | 2 | 4 | 0.032941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2703-3_0_3_line_4 |  | 3 | 5 | 0.0064149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2703-3_0_3_line_5 |  | 4 | 6 | 0.018822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2703-3_0_3_line_6 |  | 4 | 7 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2703-3_0_3_line_7 |  | 6 | 8 | 0.038543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2703-3_0_3_line_8 |  | 7 | 9 | 0.0024706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2703-3_0_3_line_9 |  | 8 | 10 | 0.057354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2703-3_0_3_line_10 |  | 9 | 11 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2703-3_0_3_line_11 |  | 10 | 12 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2703-3_0_3_line_12 |  | 11 | 46 | 0.0050282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2703-3_0_3_line_13 |  | 12 | 13 | 0.0076527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2703-3_0_3_line_14 |  | 13 | 14 | 0.020297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2703-3_0_3_line_15 |  | 14 | 15 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2703-3_0_3_line_16 |  | 15 | 18 | 0.031343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2703-3_0_3_line_17 |  | 15 | 16 | 0.038704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2703-3_0_3_line_18 |  | 16 | 17 | 0.018016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2703-3_0_3_line_19 |  | 17 | 19 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2703-3_0_3_line_20 |  | 19 | 20 | 0.033128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2703-3_0_3_line_21 |  | 20 | 52 | 0.034924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2703-3_0_3_line_22 |  | 21 | 22 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2703-3_0_3_line_23 |  | 21 | 23 | 0.0075997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2703-3_0_3_line_24 |  | 22 | 24 | 0.0069737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2703-3_0_3_line_25 |  | 23 | 25 | 0.02455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2703-3_0_3_line_26 |  | 24 | 26 | 0.010299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2703-3_0_3_line_27 |  | 25 | 27 | 0.0018629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2703-3_0_3_line_28 |  | 26 | 28 | 0.0064195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2703-3_0_3_line_29 |  | 26 | 29 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2703-3_0_3_line_30 |  | 27 | 30 | 0.0082482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2703-3_0_3_line_31 |  | 28 | 31 | 0.007613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2703-3_0_3_line_32 |  | 29 | 32 | 0.0056201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2703-3_0_3_line_33 |  | 30 | 33 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2703-3_0_3_line_34 |  | 31 | 44 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2703-3_0_3_line_35 |  | 32 | 46 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2703-3_0_3_line_36 |  | 33 | 51 | 0.027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2703-3_0_3_line_37 |  | 34 | 35 | 0.0097767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2703-3_0_3_line_38 |  | 35 | 36 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2703-3_0_3_line_39 |  | 36 | 37 | 0.01459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2703-3_0_3_line_40 |  | 37 | 42 | 0.0066157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2703-3_0_3_line_41 |  | 38 | 39 | 2.3937e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2703-3_0_3_line_42 |  | 39 | 43 | 9.245e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2703-3_0_3_line_43 |  | 40 | 41 | 0.0060337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2703-3_0_3_line_44 |  | 41 | 44 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2703-3_0_3_line_45 |  | 41 | 43 | 0.017637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2703-3_0_3_line_46 |  | 42 | 45 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2703-3_0_3_line_47 |  | 45 | 47 | 0.006611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2703-3_0_3_line_48 |  | 47 | 48 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2703-3_0_3_line_49 |  | 48 | 50 | 0.006605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2703-3_0_3_line_50 |  | 49 | 50 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2703-3_0_3_line_51 |  | 49 | 51 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2703-3_0_3_line_52 |  | 52 | 69 | 0.033876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2703-3_0_3_line_53 |  | 53 | 54 | 0.037311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2703-3_0_3_line_54 |  | 54 | 55 | 0.043629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2703-3_0_3_line_55 |  | 55 | 56 | 0.053221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2703-3_0_3_line_56 |  | 56 | 57 | 0.022224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2703-3_0_3_line_57 |  | 57 | 58 | 0.081804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2703-3_0_3_line_58 |  | 57 | 59 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2703-3_0_3_line_59 |  | 58 | 75 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2703-3_0_3_line_60 |  | 59 | 64 | 0.092678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2703-3_0_3_line_61 |  | 59 | 66 | 0.12556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2703-3_0_3_line_62 |  | 60 | 61 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2703-3_0_3_line_63 |  | 61 | 62 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2703-3_0_3_line_64 |  | 61 | 63 | 0.013161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2703-3_0_3_line_65 |  | 62 | 64 | 0.032911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2703-3_0_3_line_66 |  | 63 | 65 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2703-3_0_3_line_67 |  | 65 | 68 | 0.21484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2703-3_0_3_line_68 |  | 66 | 67 | 0.082948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2703-3_0_3_line_69 |  | 69 | 70 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2703-3_0_3_line_70 |  | 69 | 71 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2703-3_0_3_line_71 |  | 70 | 72 | 0.123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2703-3_0_3_line_72 |  | 72 | 73 | 0.10532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2703-3_0_3_line_73 |  | 73 | 74 | 0.0029525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2703-3_0_3_line_74 |  | 74 | 76 | 0.021478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2703-3_0_3_line_75 |  | 75 | 76 | 0.082452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2703-3_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 77 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2616134.8197 | 1271266.93 | 2616134.8593 | 1271267.0072
1 | 2616134.8197 | 1271266.93 | 2616129.3679 | 1271256.2797
2 | 2616134.8593 | 1271267.0072 | 2616139.0459 | 1271275.1857
3 | 2616115.8187 | 1271226.2697 | 2616121.5953 | 1271240.1509 | 2616127.3464 | 1271252.3308 | 2616129.3679 | 1271256.2797
4 | 2616141.9855 | 1271280.8873 | 2616141.3451 | 1271279.6773 | 2616139.0459 | 1271275.1857
5 | 2616115.8187 | 1271226.2697 | 2616109.0769 | 1271208.6964
6 | 2616115.8187 | 1271226.2697 | 2616117.1811 | 1271225.9176 | 2616135.858 | 1271223.0886 | 2616141.6072 | 1271222.5871
7 | 2616095.2714 | 1271172.7107 | 2616109.0769 | 1271208.6964
8 | 2616141.6072 | 1271222.5871 | 2616144.0684 | 1271222.3725
9 | 2616074.7282 | 1271119.1622 | 2616095.2714 | 1271172.7107
10 | 2616157.9624 | 1271221.0529 | 2616153.9071 | 1271221.5144 | 2616144.0684 | 1271222.3725
11 | 2616074.7282 | 1271119.1622 | 2616068.0718 | 1271101.8117
12 | 2616157.9624 | 1271221.0529 | 2616162.9584 | 1271220.4844
13 | 2616068.0718 | 1271101.8117 | 2616065.3308 | 1271094.6668
14 | 2616058.0607 | 1271075.7165 | 2616065.3308 | 1271094.6668
15 | 2616043.3675 | 1271073.9533 | 2616054.3015 | 1271069.5019 | 2616055.4913 | 1271069.0159 | 2616058.0607 | 1271075.7165
16 | 2616043.3675 | 1271073.9533 | 2616044.1599 | 1271075.7567 | 2616046.4983 | 1271087.2268 | 2616047.2561 | 1271096.2575 | 2616045.5148 | 1271104.6837
17 | 2616025.7078 | 1271039.8478 | 2616028.0994 | 1271048.3604 | 2616040.1978 | 1271066.6951 | 2616043.3675 | 1271073.9533
18 | 2616025.7078 | 1271039.8478 | 2616008.7368 | 1271045.8952
19 | 2616005.5366 | 1271036.0017 | 2616008.7368 | 1271045.8952
20 | 2616005.5366 | 1271036.0017 | 2616003.4582 | 1271036.8411 | 2615974.9323 | 1271048.685
21 | 2615944.0069 | 1271064.4967 | 2615949.9672 | 1271059.8578 | 2615957.5524 | 1271055.931 | 2615974.2701 | 1271048.9599 | 2615974.9323 | 1271048.685
22 | 2616186.6142 | 1271186.8563 | 2616182.7712 | 1271173.849
23 | 2616180.618 | 1271166.5607 | 2616182.7712 | 1271173.849
24 | 2616186.6142 | 1271186.8563 | 2616187.5479 | 1271190.017 | 2616188.47 | 1271193.5775
25 | 2616180.618 | 1271166.5607 | 2616176.1002 | 1271151.2692 | 2616176.1237 | 1271142.664
26 | 2616191.5432 | 1271203.3597 | 2616190.4583 | 1271201.2552 | 2616188.47 | 1271193.5775
27 | 2616176.7709 | 1271140.9788 | 2616176.1253 | 1271142.0627 | 2616176.1237 | 1271142.664
28 | 2616191.5432 | 1271203.3597 | 2616194.1088 | 1271209.2441
29 | 2616191.5432 | 1271203.3597 | 2616187.7179 | 1271213.1562 | 2616179.0979 | 1271218.6477
30 | 2616180.9918 | 1271133.8923 | 2616176.7709 | 1271140.9788
31 | 2616194.1088 | 1271209.2441 | 2616197.1515 | 1271216.2227
32 | 2616179.0979 | 1271218.6477 | 2616179.0979 | 1271218.6477 | 2616173.5139 | 1271219.2832
33 | 2616193.0529 | 1271125.2985 | 2616189.2697 | 1271126.9989 | 2616180.9918 | 1271133.8923 | 2616180.9918 | 1271133.8923
34 | 2616197.1515 | 1271216.2227 | 2616202.1275 | 1271227.6357
35 | 2616162.9584 | 1271220.4844 | 2616173.5139 | 1271219.2832
36 | 2616219.1484 | 1271115.4168 | 2616204.8592 | 1271119.9921 | 2616193.0529 | 1271125.2985
37 | 2616258.5849 | 1271225.4478 | 2616261.8717 | 1271234.6554
38 | 2616258.5849 | 1271225.4478 | 2616252.8717 | 1271209.5076
39 | 2616252.8717 | 1271209.5076 | 2616247.949 | 1271195.7728
40 | 2616247.949 | 1271195.7728 | 2616245.7169 | 1271189.545
41 | 2616225.8647 | 1271237.7753 | 2616225.8871 | 1271237.7669
42 | 2616225.7781 | 1271237.8079 | 2616225.8647 | 1271237.7753
43 | 2616209.2737 | 1271244.0261 | 2616211.3927 | 1271249.6755
44 | 2616209.2737 | 1271244.0261 | 2616202.1275 | 1271227.6357
45 | 2616209.2737 | 1271244.0261 | 2616225.7781 | 1271237.8079
46 | 2616240.795 | 1271175.8127 | 2616245.7169 | 1271189.545
47 | 2616240.795 | 1271175.8127 | 2616238.5645 | 1271169.5894
48 | 2616238.5645 | 1271169.5894 | 2616233.6388 | 1271155.8461
49 | 2616231.4103 | 1271149.6285 | 2616233.6388 | 1271155.8461
50 | 2616225.479 | 1271133.0796 | 2616231.4103 | 1271149.6285
51 | 2616219.1484 | 1271115.4168 | 2616225.479 | 1271133.0796
52 | 2615916.7212 | 1271084.5639 | 2615922.8562 | 1271080.0549 | 2615936.1429 | 1271070.6172 | 2615944.0069 | 1271064.4967
53 | 2615462.2461 | 1271288.0065 | 2615437.5615 | 1271272.9203 | 2615440.4957 | 1271265.0692
54 | 2615462.2461 | 1271288.0065 | 2615499.5544 | 1271310.8091
55 | 2615499.5544 | 1271310.8091 | 2615525.9133 | 1271326.9118 | 2615536.2751 | 1271319.4781 | 2615539.7323 | 1271320.5434 | 2615543.5934 | 1271325.0873
56 | 2615552.8845 | 1271344.7063 | 2615551.9388 | 1271338.1992 | 2615547.8382 | 1271330.0826 | 2615543.5934 | 1271325.0873
57 | 2615552.8845 | 1271344.7063 | 2615560.2753 | 1271342.9467 | 2615566.1773 | 1271341.0608 | 2615570.2517 | 1271339.0923 | 2615575.3753 | 1271335.7034 | 2615578.2619 | 1271333.4983 | 2615618.4981 | 1271303.883 | 2615621.4302 | 1271301.5446
58 | 2615552.8845 | 1271344.7063 | 2615547.2113 | 1271345.3919 | 2615541.2624 | 1271345.1206 | 2615534.7361 | 1271344.1695
59 | 2615621.4302 | 1271301.5446 | 2615634.9281 | 1271291.5063 | 2615637.3275 | 1271289.7558
60 | 2615534.7361 | 1271344.1695 | 2615529.5728 | 1271342.6326 | 2615524.0802 | 1271340.45 | 2615519.0477 | 1271337.7571 | 2615499.2594 | 1271325.8079 | 2615493.4097 | 1271322.1122 | 2615490.1134 | 1271319.902 | 2615454.824 | 1271297.7453
61 | 2615492.7824 | 1271441.1957 | 2615484.1944 | 1271411.8078 | 2615483.3583 | 1271409.3705 | 2615481.2906 | 1271403.3386 | 2615491.6268 | 1271382.6286 | 2615506.9318 | 1271365.9122 | 2615514.6029 | 1271357.6931 | 2615516.9039 | 1271355.0528 | 2615523.5146 | 1271346.753 | 2615524.5342 | 1271345.1545 | 2615529.1856 | 1271346.868 | 2615533.0794 | 1271347.7788 | 2615534.7361 | 1271344.1695
62 | 2615405.979 | 1271281.0995 | 2615402.8715 | 1271293.8338
63 | 2615405.979 | 1271281.0995 | 2615418.6647 | 1271282.4557 | 2615425.1116 | 1271283.9638
64 | 2615405.979 | 1271281.0995 | 2615398.7506 | 1271281.1252 | 2615392.8329 | 1271281.5443
65 | 2615425.1116 | 1271283.9638 | 2615427.3169 | 1271284.4797 | 2615438.6639 | 1271288.6233 | 2615449.7805 | 1271294.5787 | 2615454.824 | 1271297.7453
66 | 2615392.8329 | 1271281.5443 | 2615391.7842 | 1271281.6186 | 2615381.3175 | 1271283.137 | 2615372.8811 | 1271284.883 | 2615366.4295 | 1271286.7114
67 | 2615366.4295 | 1271286.7114 | 2615257.9846 | 1271101.252
68 | 2615492.7824 | 1271441.1957 | 2615484.8364 | 1271439.5404 | 2615474.3801 | 1271428.5831 | 2615447.0224 | 1271414.8352 | 2615419.8128 | 1271404.6077
69 | 2615916.7212 | 1271084.5639 | 2615907.5154 | 1271091.3656
70 | 2615916.7212 | 1271084.5639 | 2615903.2068 | 1271076.1847
71 | 2615808.5901 | 1271164.4539 | 2615889.5807 | 1271104.6165 | 2615907.5154 | 1271091.3656
72 | 2615808.5901 | 1271164.4539 | 2615723.6673 | 1271226.7543
73 | 2615721.2867 | 1271228.5008 | 2615723.6673 | 1271226.7543
74 | 2615721.2867 | 1271228.5008 | 2615703.9359 | 1271241.1595
75 | 2615637.3275 | 1271289.7558 | 2615703.9359 | 1271241.1595

## bus_geodata
| x | y | coords
0 | 2616134.8197 | 1271266.93
1 | 2616134.8593 | 1271267.0072
2 | 2616129.3679 | 1271256.2797
3 | 2616139.0459 | 1271275.1857
4 | 2616115.8187 | 1271226.2697
5 | 2616141.9855 | 1271280.8873
6 | 2616109.0769 | 1271208.6964
7 | 2616141.6072 | 1271222.5871
8 | 2616095.2714 | 1271172.7107
9 | 2616144.0684 | 1271222.3725
10 | 2616074.7282 | 1271119.1622
11 | 2616157.9624 | 1271221.0529
12 | 2616068.0718 | 1271101.8117
13 | 2616065.3308 | 1271094.6668
14 | 2616058.0607 | 1271075.7165
15 | 2616043.3675 | 1271073.9533
16 | 2616025.7078 | 1271039.8478
17 | 2616008.7368 | 1271045.8952
18 | 2616045.5148 | 1271104.6837
19 | 2616005.5366 | 1271036.0017
20 | 2615974.9323 | 1271048.685
21 | 2616182.7712 | 1271173.849
22 | 2616186.6142 | 1271186.8563
23 | 2616180.618 | 1271166.5607
24 | 2616188.47 | 1271193.5775
25 | 2616176.1237 | 1271142.664
26 | 2616191.5432 | 1271203.3597
27 | 2616176.7709 | 1271140.9788
28 | 2616194.1088 | 1271209.2441
29 | 2616179.0979 | 1271218.6477
30 | 2616180.9918 | 1271133.8923
31 | 2616197.1515 | 1271216.2227
32 | 2616173.5139 | 1271219.2832
33 | 2616193.0529 | 1271125.2985
34 | 2616261.8717 | 1271234.6555
35 | 2616258.5849 | 1271225.4478
36 | 2616252.8717 | 1271209.5076
37 | 2616247.949 | 1271195.7728
38 | 2616225.8871 | 1271237.7669
39 | 2616225.8647 | 1271237.7753
40 | 2616211.3927 | 1271249.6755
41 | 2616209.2737 | 1271244.0261
42 | 2616245.7169 | 1271189.545
43 | 2616225.7781 | 1271237.8079
44 | 2616202.1275 | 1271227.6357
45 | 2616240.795 | 1271175.8127
46 | 2616162.9584 | 1271220.4844
47 | 2616238.5645 | 1271169.5894
48 | 2616233.6388 | 1271155.8461
49 | 2616225.479 | 1271133.0796
50 | 2616231.4103 | 1271149.6285
51 | 2616219.1484 | 1271115.4168
52 | 2615944.0069 | 1271064.4967
53 | 2615440.4957 | 1271265.0692
54 | 2615462.2461 | 1271288.0065
55 | 2615499.5544 | 1271310.8091
56 | 2615543.5934 | 1271325.0873
57 | 2615552.8845 | 1271344.7063
58 | 2615621.4302 | 1271301.5446
59 | 2615534.7361 | 1271344.1695
60 | 2615402.8715 | 1271293.8338
61 | 2615405.979 | 1271281.0995
62 | 2615425.1116 | 1271283.9638
63 | 2615392.8329 | 1271281.5443
64 | 2615454.824 | 1271297.7453
65 | 2615366.4295 | 1271286.7114
66 | 2615492.7824 | 1271441.1957
67 | 2615419.8128 | 1271404.6077
68 | 2615257.9846 | 1271101.252
69 | 2615916.7212 | 1271084.5639
70 | 2615907.5154 | 1271091.3656
71 | 2615903.2068 | 1271076.1847
72 | 2615808.5901 | 1271164.4539
73 | 2615723.6673 | 1271226.7543
74 | 2615721.2867 | 1271228.5008
75 | 2615637.3275 | 1271289.7558
76 | 2615703.9359 | 1271241.1595
77 | 2616115.8187 | 1271226.2697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1